## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_321-8_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_321-8_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_321-8_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_321-8_0_4_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_321-8_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_321-8_0_4_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_321-8_0_4_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_321-8_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_321-8_0_4_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_321-8_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_321-8_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_321-8_0_4_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_321-8_0_4_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_321-8_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_321-8_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_321-8_0_4_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_321-8_0_4_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_321-8_0_4_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_321-8_0_4_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_321-8_0_4_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_321-8_0_4_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_321-8_0_4_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_321-8_0_4_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_321-8_0_4_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_321-8_0_4_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_321-8_0_4_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_321-8_0_4_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_321-8_0_4_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_321-8_0_4_node_75 | 0.4 | n |  | TRUE
29 | bus_LV_321-8_0_4_node_72 | 0.4 | n |  | TRUE
30 | bus_LV_321-8_0_4_node_90 | 0.4 | n |  | TRUE
31 | bus_LV_321-8_0_4_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_321-8_0_4_node_98 | 0.4 | n |  | TRUE
33 | bus_LV_321-8_0_4_node_71 | 0.4 | n |  | TRUE
34 | bus_LV_321-8_0_4_node_89 | 0.4 | n |  | TRUE
35 | bus_LV_321-8_0_4_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_321-8_0_4_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_321-8_0_4_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_321-8_0_4_node_93 | 0.4 | n |  | TRUE
39 | bus_LV_321-8_0_4_node_94 | 0.4 | n |  | TRUE
40 | bus_LV_321-8_0_4_node_92 | 0.4 | n |  | TRUE
41 | bus_LV_321-8_0_4_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_321-8_0_4_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_321-8_0_4_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_321-8_0_4_node_107 | 0.4 | n |  | TRUE
45 | bus_LV_321-8_0_4_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_321-8_0_4_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_321-8_0_4_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_321-8_0_4_node_70 | 0.4 | n |  | TRUE
49 | bus_LV_321-8_0_4_node_100 | 0.4 | n |  | TRUE
50 | bus_LV_321-8_0_4_node_69 | 0.4 | n |  | TRUE
51 | bus_LV_321-8_0_4_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_321-8_0_4_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_321-8_0_4_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_321-8_0_4_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_321-8_0_4_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_321-8_0_4_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_321-8_0_4_node_77 | 0.4 | n |  | TRUE
58 | bus_LV_321-8_0_4_node_96 | 0.4 | n |  | TRUE
59 | bus_LV_321-8_0_4_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_321-8_0_4_node_97 | 0.4 | n |  | TRUE
61 | bus_LV_321-8_0_4_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_321-8_0_4_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_321-8_0_4_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_321-8_0_4_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_321-8_0_4_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_321-8_0_4_node_103 | 0.4 | n |  | TRUE
67 | bus_LV_321-8_0_4_node_104 | 0.4 | n |  | TRUE
68 | bus_LV_321-8_0_4_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_321-8_0_4_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_321-8_0_4_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_321-8_0_4_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_321-8_0_4_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_321-8_0_4_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_321-8_0_4_node_102 | 0.4 | n |  | TRUE
75 | bus_LV_321-8_0_4_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_321-8_0_4_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_321-8_0_4_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_321-8_0_4_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_321-8_0_4_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_321-8_0_4_node_64 | 0.4 | n |  | TRUE
81 | bus_LV_321-8_0_4_node_87 | 0.4 | n |  | TRUE
82 | bus_LV_321-8_0_4_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_321-8_0_4_node_65 | 0.4 | n |  | TRUE
84 | bus_LV_321-8_0_4_node_66 | 0.4 | n |  | TRUE
85 | bus_LV_321-8_0_4_node_67 | 0.4 | n |  | TRUE
86 | bus_LV_321-8_0_4_node_68 | 0.4 | n |  | TRUE
87 | bus_LV_321-8_0_4_node_101 | 0.4 | n |  | TRUE
88 | bus_LV_321-8_0_4_node_73 | 0.4 | n |  | TRUE
89 | bus_LV_321-8_0_4_node_74 | 0.4 | n |  | TRUE
90 | bus_LV_321-8_0_4_node_76 | 0.4 | n |  | TRUE
91 | bus_LV_321-8_0_4_node_105 | 0.4 | n |  | TRUE
92 | bus_LV_321-8_0_4_node_99 | 0.4 | n |  | TRUE
93 | bus_LV_321-8_0_4_node_95 | 0.4 | n |  | TRUE
94 | bus_LV_321-8_0_4_node_78 | 0.4 | n |  | TRUE
95 | bus_LV_321-8_0_4_node_79 | 0.4 | n |  | TRUE
96 | bus_LV_321-8_0_4_node_80 | 0.4 | n |  | TRUE
97 | bus_LV_321-8_0_4_node_81 | 0.4 | n |  | TRUE
98 | bus_LV_321-8_0_4_node_82 | 0.4 | n |  | TRUE
99 | bus_LV_321-8_0_4_node_84 | 0.4 | n |  | TRUE
100 | bus_LV_321-8_0_4_node_85 | 0.4 | n |  | TRUE
101 | bus_LV_321-8_0_4_node_86 | 0.4 | n |  | TRUE
102 | bus_LV_321-8_0_4_node_88 | 0.4 | n |  | TRUE
103 | bus_LV_321-8_0_4_node_91 | 0.4 | n |  | TRUE
104 | bus_LV_321-8_0_4_node_106 | 0.4 | n |  | TRUE
105 | bus_MV_481_0_node_70 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_321-8_0_4_load_0 | 0 | 0.0085464 | 0.0021419 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_321-8_0_4_load_6 | 3 | 0.010457 | 0.0026209 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_321-8_0_4_load_15 | 5 | 0.0032672 | 0.00081883 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_321-8_0_4_load_11 | 6 | 0.0029503 | 0.00073942 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_321-8_0_4_load_7 | 7 | 0.0033814 | 0.00084746 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_321-8_0_4_load_10 | 8 | 0.0056268 | 0.0014102 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_321-8_0_4_load_9 | 10 | 0.0023354 | 0.00058529 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_321-8_0_4_load_18 | 11 | 0.0053214 | 0.0013337 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_321-8_0_4_load_13 | 14 | 0.0045518 | 0.0011408 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_321-8_0_4_load_16 | 15 | 0.005876 | 0.0014727 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_321-8_0_4_load_19 | 17 | 0.0019605 | 0.00049134 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_321-8_0_4_load_26 | 18 | 0.00097432 | 0.00024419 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_321-8_0_4_load_27 | 19 | 0.0021122 | 0.00052938 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_321-8_0_4_load_36 | 21 | 0.00074707 | 0.00018723 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_321-8_0_4_load_32 | 22 | 0.0010351 | 0.00025941 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_321-8_0_4_load_22 | 24 | 0.0032403 | 0.00081209 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_321-8_0_4_load_24 | 26 | 0.0038547 | 0.00096609 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_321-8_0_4_load_25 | 27 | 0.0024174 | 0.00060586 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_321-8_0_4_load_75 | 28 | 0.0025141 | 0.0006301 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_321-8_0_4_load_72 | 29 | 0.0023878 | 0.00059843 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_321-8_0_4_load_90 | 30 | 0.0020381 | 0.00051078 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_321-8_0_4_load_28 | 31 | 0.0055697 | 0.0013959 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_321-8_0_4_load_71 | 33 | 0.002175 | 0.00054511 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_321-8_0_4_load_89 | 34 | 0.0011953 | 0.00029957 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_321-8_0_4_load_29 | 35 | 0.002171 | 0.00054411 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_321-8_0_4_load_31 | 37 | 0.0038001 | 0.0009524 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_321-8_0_4_load_94 | 39 | 0.0021453 | 0.00053767 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_321-8_0_4_load_92 | 40 | 0.003828 | 0.00095938 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_321-8_0_4_load_33 | 41 | 0.0013337 | 0.00033425 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_321-8_0_4_load_34 | 42 | 0.00086476 | 0.00021673 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_321-8_0_4_load_35 | 43 | 0.0012077 | 0.00030268 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_321-8_0_4_load_107 | 44 | 0.0013723 | 0.00034393 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_321-8_0_4_load_40 | 45 | 0.0037376 | 0.00093673 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_321-8_0_4_load_38 | 46 | 0.0017697 | 0.00044354 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_321-8_0_4_load_37 | 47 | 0.0069051 | 0.0017306 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_321-8_0_4_load_100 | 49 | 0.0016802 | 0.0004211 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_321-8_0_4_load_69 | 50 | 0.000922 | 0.00023108 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_321-8_0_4_load_41 | 51 | 0.0033158 | 0.00083103 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_321-8_0_4_load_42 | 52 | 0.0033753 | 0.00084593 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_321-8_0_4_load_43 | 53 | 0.0019154 | 0.00048005 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_321-8_0_4_load_45 | 54 | 0.0025182 | 0.00063112 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_321-8_0_4_load_44 | 55 | 0.003526 | 0.00088369 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_321-8_0_4_load_46 | 56 | 0.0031554 | 0.00079082 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_321-8_0_4_load_77 | 57 | 0.0037972 | 0.00095167 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_321-8_0_4_load_96 | 58 | 0.0036149 | 0.00090598 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_321-8_0_4_load_58 | 59 | 0.0038304 | 0.00095998 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_321-8_0_4_load_47 | 61 | 0.0020888 | 0.00052351 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_321-8_0_4_load_48 | 62 | 0.0024074 | 0.00060336 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_321-8_0_4_load_49 | 63 | 0.001201 | 0.00030101 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_321-8_0_4_load_50 | 64 | 0.00054215 | 0.00013588 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_321-8_0_4_load_103 | 66 | 0.0011598 | 0.00029068 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_321-8_0_4_load_104 | 67 | 0.0020773 | 0.00052062 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_321-8_0_4_load_52 | 68 | 0.003335 | 0.00083584 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_321-8_0_4_load_53 | 69 | 0.002922 | 0.00073231 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_321-8_0_4_load_54 | 70 | 0.0034673 | 0.00086898 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_321-8_0_4_load_55 | 71 | 0.0024579 | 0.000616 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_321-8_0_4_load_56 | 72 | 0.0035549 | 0.00089095 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_321-8_0_4_load_57 | 73 | 0.0027171 | 0.00068096 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_321-8_0_4_load_102 | 74 | 0.0035399 | 0.00088717 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_321-8_0_4_load_59 | 76 | 0.0021426 | 0.000537 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_321-8_0_4_load_60 | 77 | 0.0021988 | 0.00055107 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_321-8_0_4_load_61 | 78 | 0.0033828 | 0.00084782 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_321-8_0_4_load_64 | 80 | 0.00308 | 0.00077191 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_321-8_0_4_load_87 | 81 | 0.00268 | 0.00067167 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_321-8_0_4_load_83 | 82 | 0.0027137 | 0.00068013 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_321-8_0_4_load_65 | 83 | 0.0014284 | 0.000358 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_321-8_0_4_load_66 | 84 | 0.0018278 | 0.00045808 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_321-8_0_4_load_67 | 85 | 0.0013288 | 0.00033303 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_321-8_0_4_load_68 | 86 | 0.0027087 | 0.00067887 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_321-8_0_4_load_101 | 87 | 0.00097492 | 0.00024434 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_321-8_0_4_load_73 | 88 | 0.0023655 | 0.00059285 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_321-8_0_4_load_74 | 89 | 0.002197 | 0.00055063 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_321-8_0_4_load_76 | 90 | 0.0024305 | 0.00060914 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_321-8_0_4_load_105 | 91 | 0.0021348 | 0.00053502 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_321-8_0_4_load_99 | 92 | 0.0024749 | 0.00062028 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_321-8_0_4_load_95 | 93 | 0.0024165 | 0.00060562 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_321-8_0_4_load_78 | 94 | 0.0025222 | 0.00063212 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_321-8_0_4_load_79 | 95 | 0.001714 | 0.00042957 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_321-8_0_4_load_82 | 98 | 0.0022659 | 0.0005679 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_321-8_0_4_load_84 | 99 | 0.0025699 | 0.00064407 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_321-8_0_4_load_85 | 100 | 0.0017365 | 0.00043521 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_321-8_0_4_load_86 | 101 | 0.0018243 | 0.00045721 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_321-8_0_4_load_88 | 102 | 0.00055042 | 0.00013795 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_321-8_0_4_load_91 | 103 | 0.0028132 | 0.00070505 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_321-8_0_4_load_106 | 104 | 0.0017082 | 0.00042812 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_321-8_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.012051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_321-8_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.00759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_321-8_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.011419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_321-8_0_4_line_3 | NAYY 4x150 SE | 3 | 7 | 0.028154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_321-8_0_4_line_4 | NAYY 4x150 SE | 4 | 5 | 0.013618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_321-8_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0062851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_321-8_0_4_line_6 | NAYY 4x150 SE | 6 | 8 | 0.022258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_321-8_0_4_line_7 | NAYY 4x150 SE | 7 | 9 | 0.032551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_321-8_0_4_line_8 | NAYY 4x150 SE | 8 | 13 | 0.037272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_321-8_0_4_line_9 | NAYY 4x150 SE | 9 | 10 | 0.027503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_321-8_0_4_line_10 | NAYY 4x150 SE | 10 | 11 | 0.020057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_321-8_0_4_line_11 | NAYY 4x150 SE | 11 | 12 | 0.016336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_321-8_0_4_line_12 | NAYY 4x150 SE | 12 | 16 | 0.01729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_321-8_0_4_line_13 | NAYY 4x150 SE | 12 | 13 | 0.031268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_321-8_0_4_line_14 | NAYY 4x150 SE | 13 | 14 | 0.014319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_321-8_0_4_line_15 | NAYY 4x150 SE | 14 | 15 | 0.0062944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_321-8_0_4_line_16 | NAYY 4x150 SE | 15 | 17 | 0.02217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_321-8_0_4_line_17 | NAYY 4x150 SE | 16 | 18 | 0.0095394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_321-8_0_4_line_18 | NAYY 4x150 SE | 16 | 19 | 0.021542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_321-8_0_4_line_19 | NAYY 4x150 SE | 17 | 20 | 0.0026506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_321-8_0_4_line_20 | NAYY 4x150 SE | 18 | 21 | 0.02625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_321-8_0_4_line_21 | NAYY 4x150 SE | 19 | 22 | 0.018784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_321-8_0_4_line_22 | NAYY 4x150 SE | 20 | 23 | 0.030996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_321-8_0_4_line_23 | NAYY 4x150 SE | 20 | 24 | 0.012198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_321-8_0_4_line_24 | NAYY 4x150 SE | 21 | 36 | 0.036619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_321-8_0_4_line_25 | NAYY 4x150 SE | 22 | 37 | 0.018854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_321-8_0_4_line_26 | NAYY 4x150 SE | 23 | 25 | 0.022351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_321-8_0_4_line_27 | NAYY 4x150 SE | 23 | 26 | 0.02031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_321-8_0_4_line_28 | NAYY 4x150 SE | 24 | 27 | 0.028541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_321-8_0_4_line_29 | NAYY 4x150 SE | 25 | 28 | 0.013447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_321-8_0_4_line_30 | NAYY 4x150 SE | 25 | 29 | 0.0091805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_321-8_0_4_line_31 | NAYY 4x150 SE | 26 | 30 | 0.0013114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_321-8_0_4_line_32 | NAYY 4x150 SE | 27 | 31 | 0.018302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_321-8_0_4_line_33 | NAYY 4x150 SE | 28 | 32 | 0.014045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_321-8_0_4_line_34 | NAYY 4x150 SE | 29 | 33 | 0.0073186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_321-8_0_4_line_35 | NAYY 4x150 SE | 30 | 34 | 0.01819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_321-8_0_4_line_36 | NAYY 4x150 SE | 31 | 35 | 0.027782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_321-8_0_4_line_37 | NAYY 4x150 SE | 32 | 92 | 0.020407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_321-8_0_4_line_38 | NAYY 4x150 SE | 32 | 60 | 0.018516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_321-8_0_4_line_39 | NAYY 4x150 SE | 33 | 88 | 0.012343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_321-8_0_4_line_40 | NAYY 4x150 SE | 34 | 103 | 0.0041927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_321-8_0_4_line_41 | NAYY 4x150 SE | 36 | 45 | 0.0062528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_321-8_0_4_line_42 | NAYY 4x150 SE | 36 | 46 | 0.046878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_321-8_0_4_line_43 | NAYY 4x150 SE | 37 | 41 | 0.011232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_321-8_0_4_line_44 | NAYY 4x150 SE | 38 | 39 | 0.030672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_321-8_0_4_line_45 | NAYY 4x150 SE | 38 | 40 | 0.05353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_321-8_0_4_line_46 | NAYY 4x150 SE | 39 | 93 | 0.0073221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_321-8_0_4_line_47 | NAYY 4x150 SE | 41 | 42 | 0.026052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_321-8_0_4_line_48 | NAYY 4x150 SE | 42 | 43 | 0.021242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_321-8_0_4_line_49 | NAYY 4x150 SE | 43 | 44 | 0.022726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_321-8_0_4_line_50 | NAYY 4x150 SE | 45 | 48 | 0.026602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_321-8_0_4_line_51 | NAYY 4x150 SE | 46 | 47 | 0.0016247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_321-8_0_4_line_52 | NAYY 4x150 SE | 48 | 49 | 0.005688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_321-8_0_4_line_53 | NAYY 4x150 SE | 48 | 50 | 0.042374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_321-8_0_4_line_54 | NAYY 4x150 SE | 49 | 87 | 0.0011031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_321-8_0_4_line_55 | NAYY 4x150 SE | 50 | 85 | 0.02367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_321-8_0_4_line_56 | NAYY 4x150 SE | 51 | 52 | 0.010075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_321-8_0_4_line_57 | NAYY 4x150 SE | 51 | 53 | 0.0040717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_321-8_0_4_line_58 | NAYY 4x150 SE | 53 | 54 | 0.017497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_321-8_0_4_line_59 | NAYY 4x150 SE | 54 | 57 | 0.0064659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_321-8_0_4_line_60 | NAYY 4x150 SE | 55 | 56 | 0.0052376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_321-8_0_4_line_61 | NAYY 4x150 SE | 56 | 58 | 0.017232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_321-8_0_4_line_62 | NAYY 4x150 SE | 57 | 59 | 0.023278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_321-8_0_4_line_63 | NAYY 4x150 SE | 58 | 60 | 0.018129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_321-8_0_4_line_64 | NAYY 4x150 SE | 59 | 72 | 0.010407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_321-8_0_4_line_65 | NAYY 4x150 SE | 60 | 80 | 0.015609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_321-8_0_4_line_66 | NAYY 4x150 SE | 61 | 62 | 0.01285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_321-8_0_4_line_67 | NAYY 4x150 SE | 61 | 63 | 0.0024697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_321-8_0_4_line_68 | NAYY 4x150 SE | 62 | 64 | 0.011234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_321-8_0_4_line_69 | NAYY 4x150 SE | 64 | 65 | 0.019273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_321-8_0_4_line_70 | NAYY 4x150 SE | 65 | 66 | 0.048918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_321-8_0_4_line_71 | NAYY 4x150 SE | 66 | 67 | 0.024386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_321-8_0_4_line_72 | NAYY 4x150 SE | 67 | 87 | 0.024169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_321-8_0_4_line_73 | NAYY 4x150 SE | 68 | 69 | 0.024175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_321-8_0_4_line_74 | NAYY 4x150 SE | 68 | 70 | 0.0041795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_321-8_0_4_line_75 | NAYY 4x150 SE | 69 | 71 | 0.0012064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_321-8_0_4_line_76 | NAYY 4x150 SE | 70 | 72 | 0.017693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_321-8_0_4_line_77 | NAYY 4x150 SE | 71 | 73 | 0.022797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_321-8_0_4_line_78 | NAYY 4x150 SE | 73 | 74 | 0.00034962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_321-8_0_4_line_79 | NAYY 4x150 SE | 74 | 75 | 0.026359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_321-8_0_4_line_80 | NAYY 4x150 SE | 75 | 81 | 0.00722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_321-8_0_4_line_81 | NAYY 4x150 SE | 75 | 79 | 0.022125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_321-8_0_4_line_82 | NAYY 4x150 SE | 76 | 77 | 0.042012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_321-8_0_4_line_83 | NAYY 4x150 SE | 76 | 78 | 0.0047603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_321-8_0_4_line_84 | NAYY 4x150 SE | 77 | 79 | 0.010578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_321-8_0_4_line_85 | NAYY 4x150 SE | 79 | 80 | 0.026647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_321-8_0_4_line_86 | NAYY 4x150 SE | 81 | 82 | 0.0079195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_321-8_0_4_line_87 | NAYY 4x150 SE | 82 | 96 | 0.024235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_321-8_0_4_line_88 | NAYY 4x150 SE | 83 | 84 | 0.016219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_321-8_0_4_line_89 | NAYY 4x150 SE | 83 | 85 | 0.041592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_321-8_0_4_line_90 | NAYY 4x150 SE | 84 | 86 | 0.031735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_321-8_0_4_line_91 | NAYY 4x150 SE | 88 | 89 | 0.0073169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_321-8_0_4_line_92 | NAYY 4x150 SE | 89 | 90 | 0.013208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_321-8_0_4_line_93 | NAYY 4x150 SE | 90 | 91 | 0.007327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_321-8_0_4_line_94 | NAYY 4x150 SE | 91 | 93 | 0.012152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_321-8_0_4_line_95 | NAYY 4x150 SE | 92 | 104 | 0.01724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_321-8_0_4_line_96 | NAYY 4x150 SE | 94 | 95 | 0.021291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_321-8_0_4_line_97 | NAYY 4x150 SE | 94 | 96 | 0.014394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_321-8_0_4_line_98 | NAYY 4x150 SE | 95 | 97 | 0.026872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_321-8_0_4_line_99 | NAYY 4x150 SE | 96 | 98 | 0.032574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_321-8_0_4_line_100 | NAYY 4x150 SE | 97 | 99 | 0.013701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_321-8_0_4_line_101 | NAYY 4x150 SE | 97 | 100 | 0.015986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_321-8_0_4_line_102 | NAYY 4x150 SE | 98 | 101 | 0.038047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_321-8_0_4_line_103 | NAYY 4x150 SE | 101 | 102 | 0.013267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_321-8_0_4_trafo_90 | 0.25 MVA 20/0.4 kV | 105 | 30 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2625209.1853 | 1231849.3271 | 2625202.2166 | 1231859.1594
1 | 2625214.4626 | 1231854.7972 | 2625210.859 | 1231851.0686 | 2625209.1853 | 1231849.3271
2 | 2625214.4626 | 1231854.7972 | 2625221.1048 | 1231845.5088
3 | 2625221.1048 | 1231845.5088 | 2625237.4815 | 1231822.6077
4 | 2625211.9673 | 1231902.26 | 2625200.5673 | 1231909.7093
5 | 2625211.9673 | 1231902.26 | 2625216.8799 | 1231898.3396
6 | 2625234.23 | 1231884.4002 | 2625233.2258 | 1231885.2952 | 2625216.8799 | 1231898.3396
7 | 2625257.2297 | 1231797.7104 | 2625255.2837 | 1231797.7132 | 2625237.4815 | 1231822.6077
8 | 2625264.2392 | 1231862.5017 | 2625254.1812 | 1231868.396 | 2625244.1633 | 1231875.5468 | 2625234.23 | 1231884.4002
9 | 2625257.2297 | 1231797.7104 | 2625254.6621 | 1231801.4462 | 2625259.3464 | 1231807.4697 | 2625261.1073 | 1231811.8576 | 2625268.0254 | 1231819.9036
10 | 2625268.0254 | 1231819.9036 | 2625281.1015 | 1231835.1115
11 | 2625291.7518 | 1231847.4982 | 2625281.1015 | 1231835.1115
12 | 2625291.7518 | 1231847.4982 | 2625307.2696 | 1231839.7816
13 | 2625291.7518 | 1231847.4982 | 2625264.2392 | 1231862.5017
14 | 2625264.2392 | 1231862.5017 | 2625271.6301 | 1231874.7664
15 | 2625271.6301 | 1231874.7664 | 2625274.8788 | 1231880.1576 | 2625274.8788 | 1231880.1576
16 | 2625274.8788 | 1231880.1576 | 2625284.2759 | 1231900.2374
17 | 2625307.2696 | 1231839.7816 | 2625316.4108 | 1231837.0543
18 | 2625307.2696 | 1231839.7816 | 2625308.5157 | 1231833.4275 | 2625312.3954 | 1231827.4292 | 2625317.1101 | 1231821.0613
19 | 2625285.3994 | 1231902.6381 | 2625284.2759 | 1231900.2374
20 | 2625316.4108 | 1231837.0543 | 2625332.767 | 1231832.1743 | 2625341.8858 | 1231831.1006
21 | 2625317.1101 | 1231821.0613 | 2625328.2874 | 1231805.9644
22 | 2625285.3994 | 1231902.6381 | 2625296.3692 | 1231931.6356
23 | 2625285.3994 | 1231902.6381 | 2625276.0804 | 1231910.5095
24 | 2625378.2824 | 1231832.3459 | 2625365.8503 | 1231830.2472 | 2625348.5325 | 1231830.318 | 2625341.8858 | 1231831.1006
25 | 2625339.5064 | 1231790.8112 | 2625328.2874 | 1231805.9644
26 | 2625307.0228 | 1231951.2706 | 2625300.8274 | 1231940.9602 | 2625296.3692 | 1231931.6356
27 | 2625296.3692 | 1231931.6356 | 2625312.7516 | 1231919.6311
28 | 2625276.0804 | 1231910.5095 | 2625273.7041 | 1231912.5167 | 2625256.8316 | 1231931.5442
29 | 2625307.0228 | 1231951.2706 | 2625315.0506 | 1231961.6221 | 2625315.3097 | 1231961.8539
30 | 2625307.0228 | 1231951.2706 | 2625300.5622 | 1231957.793
31 | 2625313.8094 | 1231918.856 | 2625312.7516 | 1231919.6311
32 | 2625244.689 | 1231945.2376 | 2625256.8316 | 1231931.5442
33 | 2625325.7771 | 1231971.218 | 2625315.3097 | 1231961.8539
34 | 2625295.4118 | 1231962.9926 | 2625300.5622 | 1231957.793
35 | 2625328.482 | 1231908.1044 | 2625313.8094 | 1231918.856
36 | 2625244.689 | 1231945.2376 | 2625226.2565 | 1231966.0244
37 | 2625325.7771 | 1231971.218 | 2625322.913 | 1231975.2194 | 2625310.6629 | 1231984.693
38 | 2625325.7771 | 1231971.218 | 2625340.7532 | 1231982.1661
39 | 2625295.4118 | 1231962.9926 | 2625286.7254 | 1231971.762
40 | 2625331.8639 | 1231905.6262 | 2625328.482 | 1231908.1044
41 | 2625378.2824 | 1231832.3459 | 2625384.2902 | 1231834.0791
42 | 2625378.2824 | 1231832.3459 | 2625370.2587 | 1231860.1175 | 2625368.4134 | 1231863.1448 | 2625354.2501 | 1231865.8833
43 | 2625339.5064 | 1231790.8112 | 2625346.19 | 1231781.7837
44 | 2625234.3786 | 1232029.5656 | 2625254.7758 | 1232006.6585
45 | 2625234.3786 | 1232029.5656 | 2625272.9054 | 1232066.7291
46 | 2625254.7758 | 1232006.6585 | 2625259.645 | 1232001.19
47 | 2625346.19 | 1231781.7837 | 2625361.6919 | 1231760.8458
48 | 2625361.6919 | 1231760.8458 | 2625374.3314 | 1231743.774
49 | 2625374.3314 | 1231743.774 | 2625387.8541 | 1231725.5092
50 | 2625409.8496 | 1231841.4527 | 2625384.2902 | 1231834.0791
51 | 2625352.6549 | 1231866.1917 | 2625354.2501 | 1231865.8833
52 | 2625409.8496 | 1231841.4527 | 2625415.3163 | 1231843.0236
53 | 2625409.8496 | 1231841.4527 | 2625416.2105 | 1231859.1127 | 2625433.1373 | 1231875.562
54 | 2625415.3163 | 1231843.0236 | 2625416.3765 | 1231843.3283
55 | 2625433.1373 | 1231875.562 | 2625435.711 | 1231878.0631 | 2625447.6566 | 1231894.205
56 | 2625390.5466 | 1231921.7303 | 2625384.1399 | 1231929.5063
57 | 2625393.1273 | 1231924.8797 | 2625390.5466 | 1231921.7303 | 2625390.5466 | 1231921.7303
58 | 2625404.2171 | 1231938.4141 | 2625393.1273 | 1231924.8797
59 | 2625404.2171 | 1231938.4141 | 2625408.3151 | 1231943.4155
60 | 2625363.2388 | 1231954.8747 | 2625366.5693 | 1231950.8324
61 | 2625352.2813 | 1231968.1741 | 2625363.2388 | 1231954.8747
62 | 2625423.0683 | 1231961.4208 | 2625408.3151 | 1231943.4155
63 | 2625340.7532 | 1231982.1661 | 2625352.2813 | 1231968.1741
64 | 2625423.0683 | 1231961.4208 | 2625429.6642 | 1231969.4706
65 | 2625340.7532 | 1231982.1661 | 2625346.3222 | 1231986.6592 | 2625351.4729 | 1231993.363
66 | 2625507.6242 | 1231908.7395 | 2625506.004 | 1231907.7817 | 2625496.1049 | 1231903.0587
67 | 2625507.6242 | 1231908.7395 | 2625509.7502 | 1231909.9963
68 | 2625496.1049 | 1231903.0587 | 2625496.1049 | 1231903.0587 | 2625500.6327 | 1231892.7771
69 | 2625508.4003 | 1231875.1388 | 2625500.6327 | 1231892.7771
70 | 2625508.4003 | 1231875.1388 | 2625504.0177 | 1231873.0076 | 2625462.7802 | 1231857.5355
71 | 2625439.6056 | 1231850.0038 | 2625452.8519 | 1231853.8104 | 2625462.7802 | 1231857.5355
72 | 2625439.6056 | 1231850.0038 | 2625416.3765 | 1231843.3283
73 | 2625415.0555 | 1231985.7491 | 2625406.8931 | 1231994.8444 | 2625399.2989 | 1232004.0764
74 | 2625415.0555 | 1231985.7491 | 2625417.847 | 1231982.6385
75 | 2625398.5325 | 1232005.0081 | 2625399.2989 | 1232004.0764
76 | 2625429.6642 | 1231969.4706 | 2625429.6642 | 1231969.4706 | 2625417.847 | 1231982.6385
77 | 2625398.5325 | 1232005.0081 | 2625384.0501 | 1232022.6142
78 | 2625384.0501 | 1232022.6142 | 2625383.8279 | 1232022.8842
79 | 2625364.5851 | 1232040.1139 | 2625373.228 | 1232035.7703 | 2625383.8279 | 1232022.8842
80 | 2625364.5851 | 1232040.1139 | 2625366.0676 | 1232047.1801
81 | 2625364.5851 | 1232040.1139 | 2625359.3234 | 1232018.6229
82 | 2625316.8908 | 1232049.5616 | 2625332.3372 | 1232039.9655 | 2625351.0267 | 1232025.1845
83 | 2625316.8908 | 1232049.5616 | 2625312.8473 | 1232052.0736
84 | 2625359.3234 | 1232018.6229 | 2625351.0267 | 1232025.1845
85 | 2625359.3234 | 1232018.6229 | 2625357.2754 | 1232007.0071 | 2625355.001 | 1232000.5602 | 2625351.4729 | 1231993.363
86 | 2625367.6937 | 1232054.9309 | 2625366.0676 | 1232047.1801
87 | 2625376.1239 | 1232077.6081 | 2625368.3625 | 1232058.1187 | 2625367.6937 | 1232054.9309
88 | 2625469.2768 | 1231929.6146 | 2625474.2125 | 1231938.8201 | 2625476.0169 | 1231944.3042
89 | 2625469.2768 | 1231929.6146 | 2625457.2201 | 1231907.1282 | 2625447.6566 | 1231894.205
90 | 2625489.785 | 1231972.5078 | 2625481.4032 | 1231960.6752 | 2625476.0169 | 1231944.3042
91 | 2625281.5763 | 1231976.9603 | 2625286.7254 | 1231971.762
92 | 2625281.5763 | 1231976.9603 | 2625278.0494 | 1231980.5209 | 2625272.5987 | 1231986.6424
93 | 2625267.7261 | 1231992.1145 | 2625272.5987 | 1231986.6424
94 | 2625267.7261 | 1231992.1145 | 2625259.645 | 1232001.19
95 | 2625310.6629 | 1231984.693 | 2625301.824 | 1231991.5286 | 2625296.805 | 1231994.9359
96 | 2625365.2021 | 1232086.9832 | 2625349.0469 | 1232100.8506
97 | 2625376.1239 | 1232077.6081 | 2625365.2021 | 1232086.9832
98 | 2625328.6569 | 1232118.3531 | 2625349.0469 | 1232100.8506
99 | 2625376.1239 | 1232077.6081 | 2625382.0494 | 1232087.2281 | 2625395.2851 | 1232103.1831 | 2625395.6945 | 1232103.5425
100 | 2625328.6569 | 1232118.3531 | 2625322.3697 | 1232130.5269
101 | 2625328.6569 | 1232118.3531 | 2625317.1266 | 1232107.2798
102 | 2625424.2902 | 1232128.6399 | 2625424.0485 | 1232128.4323 | 2625395.6945 | 1232103.5425
103 | 2625434.3545 | 1232137.2842 | 2625424.2902 | 1232128.6399

## bus_geodata
| x | y | coords
0 | 2625202.2166 | 1231859.1594
1 | 2625209.1853 | 1231849.3271
2 | 2625214.4626 | 1231854.7972
3 | 2625221.1048 | 1231845.5088
4 | 2625211.9673 | 1231902.26
5 | 2625200.5673 | 1231909.7093
6 | 2625216.8799 | 1231898.3396
7 | 2625237.4815 | 1231822.6077
8 | 2625234.23 | 1231884.4002
9 | 2625257.2297 | 1231797.7104
10 | 2625268.0254 | 1231819.9036
11 | 2625281.1015 | 1231835.1115
12 | 2625291.7518 | 1231847.4982
13 | 2625264.2392 | 1231862.5017
14 | 2625271.6301 | 1231874.7664
15 | 2625274.8788 | 1231880.1576
16 | 2625307.2696 | 1231839.7816
17 | 2625284.2759 | 1231900.2374
18 | 2625316.4108 | 1231837.0543
19 | 2625317.1101 | 1231821.0613
20 | 2625285.3994 | 1231902.6381
21 | 2625341.8858 | 1231831.1006
22 | 2625328.2874 | 1231805.9644
23 | 2625296.3692 | 1231931.6356
24 | 2625276.0804 | 1231910.5095
25 | 2625307.0229 | 1231951.2706
26 | 2625312.7516 | 1231919.6311
27 | 2625256.8316 | 1231931.5442
28 | 2625315.3097 | 1231961.8539
29 | 2625300.5622 | 1231957.793
30 | 2625313.8094 | 1231918.856
31 | 2625244.689 | 1231945.2376
32 | 2625325.7771 | 1231971.218
33 | 2625295.4118 | 1231962.9926
34 | 2625328.482 | 1231908.1044
35 | 2625226.2565 | 1231966.0244
36 | 2625378.2824 | 1231832.3459
37 | 2625339.5064 | 1231790.8112
38 | 2625234.3786 | 1232029.5656
39 | 2625254.7758 | 1232006.6585
40 | 2625272.9054 | 1232066.7291
41 | 2625346.19 | 1231781.7837
42 | 2625361.6919 | 1231760.8458
43 | 2625374.3314 | 1231743.774
44 | 2625387.8541 | 1231725.5092
45 | 2625384.2902 | 1231834.0791
46 | 2625354.2501 | 1231865.8833
47 | 2625352.6549 | 1231866.1917
48 | 2625409.8496 | 1231841.4527
49 | 2625415.3163 | 1231843.0236
50 | 2625433.1373 | 1231875.562
51 | 2625390.5466 | 1231921.7303
52 | 2625384.1399 | 1231929.5063
53 | 2625393.1273 | 1231924.8797
54 | 2625404.2171 | 1231938.4141
55 | 2625366.5693 | 1231950.8324
56 | 2625363.2388 | 1231954.8747
57 | 2625408.3151 | 1231943.4155
58 | 2625352.2813 | 1231968.1741
59 | 2625423.0683 | 1231961.4208
60 | 2625340.7532 | 1231982.1661
61 | 2625507.6242 | 1231908.7395
62 | 2625496.1049 | 1231903.0587
63 | 2625509.7502 | 1231909.9963
64 | 2625500.6327 | 1231892.7771
65 | 2625508.4003 | 1231875.1388
66 | 2625462.7802 | 1231857.5355
67 | 2625439.6056 | 1231850.0038
68 | 2625415.0555 | 1231985.7491
69 | 2625399.2989 | 1232004.0764
70 | 2625417.847 | 1231982.6385
71 | 2625398.5325 | 1232005.0081
72 | 2625429.6642 | 1231969.4706
73 | 2625384.0501 | 1232022.6142
74 | 2625383.8279 | 1232022.8842
75 | 2625364.5851 | 1232040.1139
76 | 2625316.8908 | 1232049.5616
77 | 2625351.0267 | 1232025.1845
78 | 2625312.8473 | 1232052.0736
79 | 2625359.3234 | 1232018.6229
80 | 2625351.4729 | 1231993.363
81 | 2625366.0676 | 1232047.1801
82 | 2625367.6937 | 1232054.9309
83 | 2625469.2768 | 1231929.6146
84 | 2625476.0169 | 1231944.3042
85 | 2625447.6566 | 1231894.205
86 | 2625489.785 | 1231972.5078
87 | 2625416.3765 | 1231843.3283
88 | 2625286.7254 | 1231971.762
89 | 2625281.5763 | 1231976.9603
90 | 2625272.5987 | 1231986.6424
91 | 2625267.7261 | 1231992.1145
92 | 2625310.6629 | 1231984.693
93 | 2625259.645 | 1232001.19
94 | 2625365.2021 | 1232086.9832
95 | 2625349.0469 | 1232100.8506
96 | 2625376.1239 | 1232077.6081
97 | 2625328.6569 | 1232118.3531
98 | 2625395.6945 | 1232103.5425
99 | 2625322.3697 | 1232130.5269
100 | 2625317.1266 | 1232107.2798
101 | 2625424.2902 | 1232128.6399
102 | 2625434.3545 | 1232137.2842
103 | 2625331.8639 | 1231905.6262
104 | 2625296.805 | 1231994.9359
105 | 2625296.3692 | 1231931.6356

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1