## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_324-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_324-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_324-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_324-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_324-3_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_324-3_0_4_node_89 | 0.4 | n |  | TRUE
6 | bus_LV_324-3_0_4_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_324-3_0_4_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_324-3_0_4_node_71 | 0.4 | n |  | TRUE
9 | bus_LV_324-3_0_4_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_324-3_0_4_node_70 | 0.4 | n |  | TRUE
11 | bus_LV_324-3_0_4_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_324-3_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_324-3_0_4_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_324-3_0_4_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_324-3_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_324-3_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_324-3_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_324-3_0_4_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_324-3_0_4_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_324-3_0_4_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_324-3_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_324-3_0_4_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_324-3_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_324-3_0_4_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_324-3_0_4_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_324-3_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_324-3_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_324-3_0_4_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_324-3_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_324-3_0_4_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_324-3_0_4_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_324-3_0_4_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_324-3_0_4_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_324-3_0_4_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_324-3_0_4_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_324-3_0_4_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_324-3_0_4_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_324-3_0_4_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_324-3_0_4_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_324-3_0_4_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_324-3_0_4_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_324-3_0_4_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_324-3_0_4_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_324-3_0_4_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_324-3_0_4_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_324-3_0_4_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_324-3_0_4_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_324-3_0_4_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_324-3_0_4_node_83 | 0.4 | n |  | TRUE
50 | bus_LV_324-3_0_4_node_75 | 0.4 | n |  | TRUE
51 | bus_LV_324-3_0_4_node_76 | 0.4 | n |  | TRUE
52 | bus_LV_324-3_0_4_node_77 | 0.4 | n |  | TRUE
53 | bus_LV_324-3_0_4_node_80 | 0.4 | n |  | TRUE
54 | bus_LV_324-3_0_4_node_86 | 0.4 | n |  | TRUE
55 | bus_LV_324-3_0_4_node_79 | 0.4 | n |  | TRUE
56 | bus_LV_324-3_0_4_node_81 | 0.4 | n |  | TRUE
57 | bus_LV_324-3_0_4_node_82 | 0.4 | n |  | TRUE
58 | bus_LV_324-3_0_4_node_84 | 0.4 | n |  | TRUE
59 | bus_LV_324-3_0_4_node_85 | 0.4 | n |  | TRUE
60 | bus_LV_324-3_0_4_node_87 | 0.4 | n |  | TRUE
61 | bus_LV_324-3_0_4_node_88 | 0.4 | n |  | TRUE
62 | bus_LV_324-3_0_4_node_42 | 0.4 | n |  | TRUE
63 | bus_LV_324-3_0_4_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_324-3_0_4_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_324-3_0_4_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_324-3_0_4_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_324-3_0_4_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_324-3_0_4_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_324-3_0_4_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_324-3_0_4_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_324-3_0_4_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_324-3_0_4_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_324-3_0_4_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_324-3_0_4_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_324-3_0_4_node_58 | 0.4 | n |  | TRUE
76 | bus_LV_324-3_0_4_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_324-3_0_4_node_91 | 0.4 | n |  | TRUE
78 | bus_LV_324-3_0_4_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_324-3_0_4_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_324-3_0_4_node_92 | 0.4 | n |  | TRUE
81 | bus_LV_324-3_0_4_node_61 | 0.4 | n |  | TRUE
82 | bus_LV_324-3_0_4_node_62 | 0.4 | n |  | TRUE
83 | bus_LV_324-3_0_4_node_64 | 0.4 | n |  | TRUE
84 | bus_LV_324-3_0_4_node_66 | 0.4 | n |  | TRUE
85 | bus_LV_324-3_0_4_node_73 | 0.4 | n |  | TRUE
86 | bus_LV_324-3_0_4_node_67 | 0.4 | n |  | TRUE
87 | bus_LV_324-3_0_4_node_68 | 0.4 | n |  | TRUE
88 | bus_LV_324-3_0_4_node_69 | 0.4 | n |  | TRUE
89 | bus_LV_324-3_0_4_node_72 | 0.4 | n |  | TRUE
90 | bus_LV_324-3_0_4_node_95 | 0.4 | n |  | TRUE
91 | bus_LV_324-3_0_4_node_93 | 0.4 | n |  | TRUE
92 | bus_LV_324-3_0_4_node_94 | 0.4 | n |  | TRUE
93 | bus_MV_184_1_node_22 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_324-3_0_4_load_0 | 0 | 0.0012362 | 0.00030981 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_324-3_0_4_load_1 | 1 | 0.0015387 | 0.00038564 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_324-3_0_4_load_3 | 3 | 0.00046227 | 0.00011586 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_324-3_0_4_load_4 | 4 | 0.0010722 | 0.00026871 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_324-3_0_4_load_89 | 5 | 0.00073458 | 0.0001841 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_324-3_0_4_load_14 | 6 | 0.0007406 | 0.00018561 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_324-3_0_4_load_19 | 7 | 0.0017564 | 0.00044018 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_324-3_0_4_load_26 | 9 | 0.004353 | 0.001091 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_324-3_0_4_load_70 | 10 | 0.0017625 | 0.00044173 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_324-3_0_4_load_13 | 11 | 0.002098 | 0.00052582 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_324-3_0_4_load_11 | 12 | 0.00087541 | 0.0002194 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_324-3_0_4_load_5 | 13 | 0.0018848 | 0.00047238 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_324-3_0_4_load_6 | 14 | 0.0020086 | 0.00050341 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_324-3_0_4_load_7 | 15 | 0.0059162 | 0.0014827 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_324-3_0_4_load_8 | 16 | 0.0014922 | 0.00037398 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_324-3_0_4_load_9 | 17 | 0.0014171 | 0.00035516 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_324-3_0_4_load_22 | 18 | 0.0054685 | 0.0013705 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_324-3_0_4_load_23 | 19 | 0.0040448 | 0.0010137 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_324-3_0_4_load_20 | 20 | 0.0017855 | 0.00044748 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_324-3_0_4_load_21 | 22 | 0.0034277 | 0.00085906 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_324-3_0_4_load_15 | 23 | 0.00087145 | 0.00021841 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_324-3_0_4_load_10 | 24 | 0.00038256 | 9.588e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_324-3_0_4_load_12 | 25 | 0.0012902 | 0.00032335 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_324-3_0_4_load_18 | 27 | 0.0013289 | 0.00033306 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_324-3_0_4_load_24 | 28 | 0.0015273 | 0.00038277 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_324-3_0_4_load_25 | 29 | 0.0013781 | 0.00034538 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_324-3_0_4_load_33 | 30 | 0.0013353 | 0.00033466 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_324-3_0_4_load_27 | 32 | 0.012054 | 0.0030211 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_324-3_0_4_load_28 | 33 | 0.010364 | 0.0025974 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_324-3_0_4_load_31 | 36 | 0.0035049 | 0.00087842 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_324-3_0_4_load_32 | 37 | 0.00069806 | 0.00017495 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_324-3_0_4_load_34 | 39 | 0.0092811 | 0.0023261 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_324-3_0_4_load_46 | 40 | 0.0018909 | 0.0004739 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_324-3_0_4_load_47 | 41 | 0.0088014 | 0.0022058 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_324-3_0_4_load_48 | 42 | 0.016218 | 0.0040646 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_324-3_0_4_load_35 | 43 | 0.0076198 | 0.0019097 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_324-3_0_4_load_49 | 45 | 0.0015853 | 0.00039731 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_324-3_0_4_load_38 | 46 | 0.00021886 | 5.4852e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_324-3_0_4_load_41 | 48 | 0.0060044 | 0.0015049 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_324-3_0_4_load_75 | 50 | 0.001767 | 0.00044284 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_324-3_0_4_load_76 | 51 | 0.002283 | 0.00057218 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_324-3_0_4_load_77 | 52 | 0.00023705 | 5.9409e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_324-3_0_4_load_86 | 54 | 0.00079408 | 0.00019901 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_324-3_0_4_load_81 | 56 | 0.00020482 | 5.1333e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_324-3_0_4_load_82 | 57 | 0.00069112 | 0.00017321 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_324-3_0_4_load_84 | 58 | 0.00078426 | 0.00019655 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_324-3_0_4_load_85 | 59 | 0.0003576 | 8.9623e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_324-3_0_4_load_88 | 61 | 0.00054274 | 0.00013602 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_324-3_0_4_load_42 | 62 | 0.0017108 | 0.00042876 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_324-3_0_4_load_43 | 63 | 0.00076708 | 0.00019225 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_324-3_0_4_load_45 | 64 | 0.00045906 | 0.00011505 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_324-3_0_4_load_55 | 65 | 0.0010846 | 0.00027182 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_324-3_0_4_load_56 | 66 | 0.003641 | 0.00091252 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_324-3_0_4_load_50 | 67 | 0.0010164 | 0.00025474 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_324-3_0_4_load_57 | 68 | 0.0011088 | 0.0002779 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_324-3_0_4_load_51 | 69 | 0.0043298 | 0.0010852 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_324-3_0_4_load_53 | 71 | 0.0018033 | 0.00045196 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_324-3_0_4_load_54 | 72 | 0.0079335 | 0.0019883 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_324-3_0_4_load_58 | 75 | 0.0011216 | 0.0002811 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_324-3_0_4_load_91 | 77 | 0.0014462 | 0.00036244 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_324-3_0_4_load_74 | 78 | 0.0035778 | 0.00089669 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_324-3_0_4_load_61 | 81 | 0.0023531 | 0.00058975 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_324-3_0_4_load_62 | 82 | 0.0017289 | 0.00043329 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_324-3_0_4_load_64 | 83 | 0.0025333 | 0.0006349 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_324-3_0_4_load_66 | 84 | 0.0017348 | 0.00043477 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_324-3_0_4_load_67 | 86 | 0.00095698 | 0.00023984 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_324-3_0_4_load_68 | 87 | 0.0024861 | 0.00062307 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_324-3_0_4_load_69 | 88 | 0.002282 | 0.00057191 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_324-3_0_4_load_95 | 90 | 0.0019619 | 0.0004917 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_324-3_0_4_load_93 | 91 | 0.0014313 | 0.00035872 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_324-3_0_4_load_94 | 92 | 0.0013183 | 0.00033041 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_324-3_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.027558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_324-3_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.039387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_324-3_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.014242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_324-3_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_324-3_0_4_line_4 | NAYY 4x150 SE | 3 | 11 | 0.007703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_324-3_0_4_line_5 | NAYY 4x150 SE | 5 | 6 | 0.048873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_324-3_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.016577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_324-3_0_4_line_7 | NAYY 4x150 SE | 6 | 25 | 0.018779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_324-3_0_4_line_8 | NAYY 4x150 SE | 7 | 26 | 0.026521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_324-3_0_4_line_9 | NAYY 4x150 SE | 8 | 9 | 0.14671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_324-3_0_4_line_10 | NAYY 4x150 SE | 8 | 10 | 0.048261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_324-3_0_4_line_11 | NAYY 4x150 SE | 9 | 29 | 0.014407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_324-3_0_4_line_12 | NAYY 4x150 SE | 10 | 89 | 0.0018386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_324-3_0_4_line_13 | NAYY 4x150 SE | 11 | 12 | 0.024816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_324-3_0_4_line_14 | NAYY 4x150 SE | 12 | 24 | 0.011877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_324-3_0_4_line_15 | NAYY 4x150 SE | 13 | 14 | 0.022216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_324-3_0_4_line_16 | NAYY 4x150 SE | 13 | 15 | 0.040105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_324-3_0_4_line_17 | NAYY 4x150 SE | 14 | 16 | 0.028066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_324-3_0_4_line_18 | NAYY 4x150 SE | 15 | 17 | 0.025102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_324-3_0_4_line_19 | NAYY 4x150 SE | 16 | 21 | 0.029003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_324-3_0_4_line_20 | NAYY 4x150 SE | 17 | 22 | 0.0034346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_324-3_0_4_line_21 | NAYY 4x150 SE | 18 | 19 | 0.00095265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_324-3_0_4_line_22 | NAYY 4x150 SE | 18 | 20 | 0.073368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_324-3_0_4_line_23 | NAYY 4x150 SE | 19 | 30 | 0.018653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_324-3_0_4_line_24 | NAYY 4x150 SE | 20 | 22 | 0.022091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_324-3_0_4_line_25 | NAYY 4x150 SE | 21 | 23 | 0.014228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_324-3_0_4_line_26 | NAYY 4x150 SE | 23 | 26 | 0.038354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_324-3_0_4_line_27 | NAYY 4x150 SE | 24 | 25 | 0.029053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_324-3_0_4_line_28 | NAYY 4x150 SE | 26 | 27 | 0.01212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_324-3_0_4_line_29 | NAYY 4x150 SE | 27 | 28 | 0.012339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_324-3_0_4_line_30 | NAYY 4x150 SE | 28 | 29 | 0.030974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_324-3_0_4_line_31 | NAYY 4x150 SE | 30 | 31 | 0.0015959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_324-3_0_4_line_32 | NAYY 4x150 SE | 31 | 43 | 0.020161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_324-3_0_4_line_33 | NAYY 4x150 SE | 32 | 33 | 0.0087883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_324-3_0_4_line_34 | NAYY 4x150 SE | 32 | 34 | 0.006898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_324-3_0_4_line_35 | NAYY 4x150 SE | 33 | 35 | 0.030832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_324-3_0_4_line_36 | NAYY 4x150 SE | 34 | 36 | 0.014251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_324-3_0_4_line_37 | NAYY 4x150 SE | 34 | 37 | 0.017911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_324-3_0_4_line_38 | NAYY 4x150 SE | 35 | 38 | 0.010373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_324-3_0_4_line_39 | NAYY 4x150 SE | 35 | 39 | 0.026342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_324-3_0_4_line_40 | NAYY 4x150 SE | 36 | 40 | 0.033113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_324-3_0_4_line_41 | NAYY 4x150 SE | 37 | 41 | 0.0070109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_324-3_0_4_line_42 | NAYY 4x150 SE | 38 | 42 | 0.023378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_324-3_0_4_line_43 | NAYY 4x150 SE | 39 | 43 | 0.023134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_324-3_0_4_line_44 | NAYY 4x150 SE | 41 | 44 | 0.014127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_324-3_0_4_line_45 | NAYY 4x150 SE | 42 | 45 | 0.01826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_324-3_0_4_line_46 | NAYY 4x150 SE | 44 | 47 | 0.009381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_324-3_0_4_line_47 | NAYY 4x150 SE | 45 | 67 | 0.013765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_324-3_0_4_line_48 | NAYY 4x150 SE | 46 | 47 | 0.036372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_324-3_0_4_line_49 | NAYY 4x150 SE | 46 | 48 | 0.062662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_324-3_0_4_line_50 | NAYY 4x150 SE | 47 | 49 | 0.097865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_324-3_0_4_line_51 | NAYY 4x150 SE | 49 | 55 | 0.019878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_324-3_0_4_line_52 | NAYY 4x150 SE | 50 | 51 | 0.0041956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_324-3_0_4_line_53 | NAYY 4x150 SE | 51 | 52 | 0.02513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_324-3_0_4_line_54 | NAYY 4x150 SE | 52 | 53 | 0.021263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_324-3_0_4_line_55 | NAYY 4x150 SE | 52 | 54 | 0.091596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_324-3_0_4_line_56 | NAYY 4x150 SE | 53 | 56 | 0.019592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_324-3_0_4_line_57 | NAYY 4x150 SE | 53 | 57 | 0.0027808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_324-3_0_4_line_58 | NAYY 4x150 SE | 54 | 58 | 0.011918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_324-3_0_4_line_59 | NAYY 4x150 SE | 55 | 56 | 0.030131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_324-3_0_4_line_60 | NAYY 4x150 SE | 58 | 59 | 0.015028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_324-3_0_4_line_61 | NAYY 4x150 SE | 59 | 60 | 0.018751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_324-3_0_4_line_62 | NAYY 4x150 SE | 60 | 61 | 0.019358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_324-3_0_4_line_63 | NAYY 4x150 SE | 62 | 63 | 0.0044919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_324-3_0_4_line_64 | NAYY 4x150 SE | 63 | 64 | 0.00054623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_324-3_0_4_line_65 | NAYY 4x150 SE | 64 | 65 | 0.014576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_324-3_0_4_line_66 | NAYY 4x150 SE | 65 | 66 | 0.011511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_324-3_0_4_line_67 | NAYY 4x150 SE | 66 | 68 | 0.0054079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_324-3_0_4_line_68 | NAYY 4x150 SE | 67 | 68 | 0.020046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_324-3_0_4_line_69 | NAYY 4x150 SE | 69 | 70 | 0.0053798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_324-3_0_4_line_70 | NAYY 4x150 SE | 70 | 71 | 0.010934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_324-3_0_4_line_71 | NAYY 4x150 SE | 70 | 72 | 0.028438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_324-3_0_4_line_72 | NAYY 4x150 SE | 71 | 73 | 0.030975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_324-3_0_4_line_73 | NAYY 4x150 SE | 73 | 74 | 0.010623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_324-3_0_4_line_74 | NAYY 4x150 SE | 73 | 75 | 0.023921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_324-3_0_4_line_75 | NAYY 4x150 SE | 74 | 76 | 0.008861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_324-3_0_4_line_76 | NAYY 4x150 SE | 74 | 77 | 0.02542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_324-3_0_4_line_77 | NAYY 4x150 SE | 76 | 78 | 0.01676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_324-3_0_4_line_78 | NAYY 4x150 SE | 76 | 79 | 0.033348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_324-3_0_4_line_79 | NAYY 4x150 SE | 77 | 80 | 0.015953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_324-3_0_4_line_80 | NAYY 4x150 SE | 79 | 84 | 0.00061761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_324-3_0_4_line_81 | NAYY 4x150 SE | 79 | 81 | 0.015712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_324-3_0_4_line_82 | NAYY 4x150 SE | 80 | 91 | 0.0061691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_324-3_0_4_line_83 | NAYY 4x150 SE | 80 | 92 | 0.023851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_324-3_0_4_line_84 | NAYY 4x150 SE | 81 | 82 | 0.033354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_324-3_0_4_line_85 | NAYY 4x150 SE | 82 | 83 | 0.015554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_324-3_0_4_line_86 | NAYY 4x150 SE | 83 | 85 | 0.029079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_324-3_0_4_line_87 | NAYY 4x150 SE | 85 | 90 | 0.01382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_324-3_0_4_line_88 | NAYY 4x150 SE | 85 | 89 | 0.036144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_324-3_0_4_line_89 | NAYY 4x150 SE | 86 | 87 | 0.015173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_324-3_0_4_line_90 | NAYY 4x150 SE | 87 | 88 | 0.026474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_324-3_0_4_line_91 | NAYY 4x150 SE | 88 | 89 | 0.016885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_324-3_0_4_trafo_35 | 0.25 MVA 20/0.4 kV | 93 | 43 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2623589.3978 | 1225657.9744 | 2623588.8452 | 1225657.3563 | 2623570.1907 | 1225638.2131
1 | 2623615.6506 | 1225687.3357 | 2623589.3978 | 1225657.9744
2 | 2623615.6506 | 1225687.3357 | 2623626.3968 | 1225677.9887
3 | 2623615.6506 | 1225687.3357 | 2623623.354 | 1225696.3382 | 2623634.0466 | 1225710.6334
4 | 2623632.2089 | 1225672.9334 | 2623626.3968 | 1225677.9887
5 | 2623691.6951 | 1225700.0893 | 2623700.5121 | 1225652.0181
6 | 2623691.6951 | 1225700.0893 | 2623700.8383 | 1225713.917
7 | 2623700.5121 | 1225652.0181 | 2623693.6682 | 1225651.813 | 2623685.1854 | 1225643.4213
8 | 2623715.6795 | 1225735.8947 | 2623708.6404 | 1225725.7163 | 2623700.8383 | 1225713.917
9 | 2623894.5116 | 1225805.9612 | 2623748.1559 | 1225795.7595
10 | 2623894.5116 | 1225805.9612 | 2623882.5233 | 1225833.5962 | 2623886.9909 | 1225840.3848 | 2623896.2158 | 1225844.2727
11 | 2623748.1559 | 1225795.7595 | 2623742.0099 | 1225782.7293
12 | 2623897.91 | 1225844.9868 | 2623896.2158 | 1225844.2727
13 | 2623632.2089 | 1225672.9334 | 2623650.9332 | 1225656.647
14 | 2623660.039 | 1225649.0218 | 2623652.7536 | 1225655.0636 | 2623650.9332 | 1225656.647
15 | 2623708.355 | 1225836.6878 | 2623707.7658 | 1225835.0888 | 2623698.8952 | 1225816.5942
16 | 2623708.355 | 1225836.6878 | 2623722.222 | 1225874.3194
17 | 2623698.8952 | 1225816.5942 | 2623686.758 | 1225791.2887
18 | 2623722.222 | 1225874.3194 | 2623730.9014 | 1225897.8735
19 | 2623672.5669 | 1225765.9969 | 2623686.3635 | 1225790.4662 | 2623686.758 | 1225791.2887
20 | 2623732.089 | 1225901.0963 | 2623730.9014 | 1225897.8735
21 | 2623781.541 | 1225983.6068 | 2623780.8619 | 1225982.9387
22 | 2623780.8619 | 1225982.9387 | 2623741.4601 | 1225921.0487
23 | 2623794.8239 | 1225996.7031 | 2623789.4356 | 1225991.3734 | 2623781.541 | 1225983.6068
24 | 2623732.089 | 1225901.0963 | 2623734.8812 | 1225908.6736 | 2623741.4601 | 1225921.0487
25 | 2623672.5669 | 1225765.9969 | 2623684.2323 | 1225757.8518
26 | 2623715.6795 | 1225735.8947 | 2623684.2323 | 1225757.8518
27 | 2623685.1854 | 1225643.4213 | 2623682.4182 | 1225640.6839 | 2623677.6298 | 1225640.1535 | 2623668.7242 | 1225641.8191 | 2623660.039 | 1225649.0218
28 | 2623715.6795 | 1225735.8947 | 2623720.4579 | 1225737.0366 | 2623723.5324 | 1225743.5549
29 | 2623723.5324 | 1225743.5549 | 2623728.7964 | 1225754.7151
30 | 2623742.0099 | 1225782.7293 | 2623728.7964 | 1225754.7151
31 | 2623795.9585 | 1225997.8254 | 2623794.8239 | 1225996.7031
32 | 2623795.9585 | 1225997.8254 | 2623811.5009 | 1226010.0503 | 2623811.8286 | 1226010.2552
33 | 2623841.4351 | 1226070.6336 | 2623844.8215 | 1226062.5239
34 | 2623838.7772 | 1226076.999 | 2623841.4351 | 1226070.6336
35 | 2623855.2772 | 1226033.5614 | 2623850.9987 | 1226047.7305 | 2623844.8215 | 1226062.5239
36 | 2623838.7772 | 1226076.999 | 2623826.9588 | 1226069.9142 | 2623826.5366 | 1226069.7038
37 | 2623838.7772 | 1226076.999 | 2623832.6397 | 1226091.6832 | 2623831.6446 | 1226093.4136
38 | 2623855.2772 | 1226033.5614 | 2623865.3937 | 1226035.9811
39 | 2623855.2772 | 1226033.5614 | 2623845.3166 | 1226030.0306 | 2623835.6051 | 1226024.8887 | 2623831.504 | 1226022.4221
40 | 2623820.8815 | 1226045.5916 | 2623820.1503 | 1226047.696 | 2623813.6894 | 1226059.8552 | 2623815.2415 | 1226064.0751 | 2623826.5366 | 1226069.7038
41 | 2623831.6446 | 1226093.4136 | 2623828.1496 | 1226099.4913
42 | 2623865.3937 | 1226035.9811 | 2623884.8834 | 1226039.072 | 2623888.4923 | 1226039.5832
43 | 2623831.504 | 1226022.4221 | 2623825.798 | 1226018.9905 | 2623811.8286 | 1226010.2552
44 | 2623821.107 | 1226111.7379 | 2623828.1496 | 1226099.4913
45 | 2623888.4923 | 1226039.5832 | 2623905.4804 | 1226041.9896 | 2623906.5806 | 1226042.0571
46 | 2623816.4964 | 1226119.9132 | 2623821.107 | 1226111.7379
47 | 2623920.3195 | 1226042.8991 | 2623906.5806 | 1226042.0571
48 | 2623816.4964 | 1226119.9132 | 2623848.5788 | 1226137.0502
49 | 2623848.5788 | 1226137.0502 | 2623904.1798 | 1226165.9469
50 | 2623816.4964 | 1226119.9132 | 2623721.3601 | 1226096.9649
51 | 2623702.7178 | 1226090.4758 | 2623712.37 | 1226095.2837 | 2623721.3601 | 1226096.9649
52 | 2623667.6145 | 1226127.6661 | 2623669.9961 | 1226131.1202
53 | 2623689.4151 | 1226140.2525 | 2623679.4844 | 1226142.6034 | 2623672.8362 | 1226135.2393 | 2623669.9961 | 1226131.1202
54 | 2623704.0486 | 1226125.5686 | 2623701.2588 | 1226131.4388 | 2623689.4151 | 1226140.2525
55 | 2623689.4151 | 1226140.2525 | 2623721.2463 | 1226226.1401
56 | 2623704.0486 | 1226125.5686 | 2623692.6856 | 1226109.6086
57 | 2623704.0486 | 1226125.5686 | 2623705.2415 | 1226123.0567
58 | 2623730.8665 | 1226233.1741 | 2623726.727 | 1226230.0764 | 2623721.2463 | 1226226.1401
59 | 2623702.7178 | 1226090.4758 | 2623698.3377 | 1226092.1816 | 2623693.5441 | 1226093.0186 | 2623689.5873 | 1226096.9275 | 2623687.1726 | 1226101.8653 | 2623692.6856 | 1226109.6086
60 | 2623730.8665 | 1226233.1741 | 2623742.8986 | 1226242.1782
61 | 2623757.7841 | 1226253.5807 | 2623743.2612 | 1226242.4496 | 2623742.8986 | 1226242.1782
62 | 2623757.7841 | 1226253.5807 | 2623751.1071 | 1226271.751
63 | 2623975.8997 | 1226051.9019 | 2623971.642 | 1226050.4704
64 | 2623971.642 | 1226050.4704 | 2623971.1242 | 1226050.2963
65 | 2623957.0406 | 1226046.6343 | 2623965.6205 | 1226048.4459 | 2623971.1242 | 1226050.2963
66 | 2623957.0406 | 1226046.6343 | 2623949.7322 | 1226045.0912 | 2623945.7044 | 1226044.7575
67 | 2623940.315 | 1226044.3109 | 2623945.7044 | 1226044.7575
68 | 2623920.3195 | 1226042.8991 | 2623931.6839 | 1226043.5957 | 2623940.315 | 1226044.3109
69 | 2623913.4293 | 1225970.6903 | 2623909.4797 | 1225974.343
70 | 2623913.4293 | 1225970.6903 | 2623921.4582 | 1225963.2679
71 | 2623887.2568 | 1225959.3898 | 2623913.4293 | 1225970.6903
72 | 2623944.2031 | 1225942.2413 | 2623921.4582 | 1225963.2679
73 | 2623944.2031 | 1225942.2413 | 2623952.5294 | 1225935.6152
74 | 2623944.2031 | 1225942.2413 | 2623921.3833 | 1225935.0668
75 | 2623959.4718 | 1225930.0843 | 2623952.5294 | 1225935.6152
76 | 2623952.5294 | 1225935.6152 | 2623961.344 | 1225943.2774 | 2623974.3105 | 1225947.8261
77 | 2623959.4718 | 1225930.0843 | 2623943.7238 | 1225924.3481
78 | 2623985.6143 | 1225909.2881 | 2623959.4718 | 1225930.0843
79 | 2623989.3642 | 1225953.107 | 2623974.3105 | 1225947.8261
80 | 2623986.0976 | 1225908.9035 | 2623985.6143 | 1225909.2881
81 | 2623985.6143 | 1225909.2881 | 2623970.8314 | 1225903.9656
82 | 2623989.3642 | 1225953.107 | 2623995.1859 | 1225955.1484
83 | 2623981.9511 | 1225975.7795 | 2623989.3642 | 1225953.107
84 | 2623970.8314 | 1225903.9656 | 2623939.4495 | 1225892.6668
85 | 2623924.8147 | 1225887.3976 | 2623939.4495 | 1225892.6668
86 | 2623924.8147 | 1225887.3976 | 2623931.303 | 1225859.0513
87 | 2623935.502 | 1225845.8825 | 2623931.303 | 1225859.0513
88 | 2623897.91 | 1225844.9868 | 2623931.303 | 1225859.0513
89 | 2623878.0547 | 1225900.0486 | 2623883.2017 | 1225885.7752
90 | 2623883.2017 | 1225885.7752 | 2623892.1822 | 1225860.8709
91 | 2623897.91 | 1225844.9868 | 2623892.1822 | 1225860.8709

## bus_geodata
| x | y | coords
0 | 2623589.3978 | 1225657.9744
1 | 2623570.1907 | 1225638.2131
2 | 2623615.6506 | 1225687.3357
3 | 2623626.3968 | 1225677.9887
4 | 2623634.0466 | 1225710.6334
5 | 2623691.6951 | 1225700.0893
6 | 2623700.5121 | 1225652.0181
7 | 2623700.8383 | 1225713.917
8 | 2623894.5116 | 1225805.9612
9 | 2623748.1559 | 1225795.7595
10 | 2623896.2158 | 1225844.2727
11 | 2623632.2089 | 1225672.9334
12 | 2623650.9332 | 1225656.647
13 | 2623708.355 | 1225836.6878
14 | 2623698.8952 | 1225816.5942
15 | 2623722.222 | 1225874.3194
16 | 2623686.758 | 1225791.2887
17 | 2623730.9014 | 1225897.8735
18 | 2623780.8619 | 1225982.9387
19 | 2623781.541 | 1225983.6068
20 | 2623741.4601 | 1225921.0487
21 | 2623672.5669 | 1225765.9969
22 | 2623732.089 | 1225901.0963
23 | 2623684.2323 | 1225757.8518
24 | 2623660.039 | 1225649.0218
25 | 2623685.1854 | 1225643.4213
26 | 2623715.6795 | 1225735.8947
27 | 2623723.5324 | 1225743.5549
28 | 2623728.7964 | 1225754.7151
29 | 2623742.0099 | 1225782.7293
30 | 2623794.8239 | 1225996.7031
31 | 2623795.9585 | 1225997.8254
32 | 2623841.4351 | 1226070.6336
33 | 2623844.8214 | 1226062.5239
34 | 2623838.7772 | 1226076.999
35 | 2623855.2772 | 1226033.5614
36 | 2623826.5366 | 1226069.7038
37 | 2623831.6446 | 1226093.4136
38 | 2623865.3937 | 1226035.9811
39 | 2623831.504 | 1226022.4221
40 | 2623820.8815 | 1226045.5916
41 | 2623828.1496 | 1226099.4913
42 | 2623888.4923 | 1226039.5832
43 | 2623811.8286 | 1226010.2552
44 | 2623821.107 | 1226111.7379
45 | 2623906.5806 | 1226042.0571
46 | 2623848.5788 | 1226137.0502
47 | 2623816.4964 | 1226119.9132
48 | 2623904.1798 | 1226165.9469
49 | 2623721.3601 | 1226096.9649
50 | 2623667.6145 | 1226127.6661
51 | 2623669.9961 | 1226131.1202
52 | 2623689.4151 | 1226140.2525
53 | 2623704.0486 | 1226125.5686
54 | 2623721.2463 | 1226226.1401
55 | 2623702.7178 | 1226090.4758
56 | 2623692.6856 | 1226109.6086
57 | 2623705.2415 | 1226123.0567
58 | 2623730.8665 | 1226233.1741
59 | 2623742.8986 | 1226242.1782
60 | 2623757.7841 | 1226253.5807
61 | 2623751.1071 | 1226271.751
62 | 2623975.8997 | 1226051.9019
63 | 2623971.642 | 1226050.4704
64 | 2623971.1242 | 1226050.2963
65 | 2623957.0406 | 1226046.6343
66 | 2623945.7044 | 1226044.7575
67 | 2623920.3195 | 1226042.8991
68 | 2623940.315 | 1226044.3109
69 | 2623909.4797 | 1225974.343
70 | 2623913.4293 | 1225970.6903
71 | 2623921.4582 | 1225963.2679
72 | 2623887.2568 | 1225959.3898
73 | 2623944.2031 | 1225942.2413
74 | 2623952.5294 | 1225935.6152
75 | 2623921.3833 | 1225935.0668
76 | 2623959.4718 | 1225930.0843
77 | 2623974.3105 | 1225947.8261
78 | 2623943.7238 | 1225924.3481
79 | 2623985.6143 | 1225909.2881
80 | 2623989.3642 | 1225953.107
81 | 2623970.8314 | 1225903.9656
82 | 2623939.4495 | 1225892.6668
83 | 2623924.8147 | 1225887.3976
84 | 2623986.0976 | 1225908.9035
85 | 2623931.303 | 1225859.0513
86 | 2623878.0547 | 1225900.0486
87 | 2623883.2017 | 1225885.7752
88 | 2623892.1822 | 1225860.8709
89 | 2623897.91 | 1225844.9868
90 | 2623935.502 | 1225845.8825
91 | 2623995.1859 | 1225955.1484
92 | 2623981.9511 | 1225975.7795
93 | 2623795.9585 | 1225997.8254

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1