## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_332-16_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_332-16_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_332-16_0_3_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_332-16_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_332-16_0_3_node_65 | 0.4 | n |  | TRUE
5 | bus_LV_332-16_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_332-16_0_3_node_35 | 0.4 | n |  | TRUE
7 | bus_LV_332-16_0_3_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_332-16_0_3_node_2 | 0.4 | n |  | TRUE
9 | bus_LV_332-16_0_3_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_332-16_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_332-16_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_332-16_0_3_node_73 | 0.4 | n |  | TRUE
13 | bus_LV_332-16_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_332-16_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_332-16_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_332-16_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_332-16_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_332-16_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_332-16_0_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_332-16_0_3_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_332-16_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_332-16_0_3_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_332-16_0_3_node_72 | 0.4 | n |  | TRUE
24 | bus_LV_332-16_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_332-16_0_3_node_74 | 0.4 | n |  | TRUE
26 | bus_LV_332-16_0_3_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_332-16_0_3_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_332-16_0_3_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_332-16_0_3_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_332-16_0_3_node_75 | 0.4 | n |  | TRUE
31 | bus_LV_332-16_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_332-16_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_332-16_0_3_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_332-16_0_3_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_332-16_0_3_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_332-16_0_3_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_332-16_0_3_node_61 | 0.4 | n |  | TRUE
38 | bus_LV_332-16_0_3_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_332-16_0_3_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_332-16_0_3_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_332-16_0_3_node_59 | 0.4 | n |  | TRUE
42 | bus_LV_332-16_0_3_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_332-16_0_3_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_332-16_0_3_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_332-16_0_3_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_332-16_0_3_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_332-16_0_3_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_332-16_0_3_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_332-16_0_3_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_332-16_0_3_node_66 | 0.4 | n |  | TRUE
51 | bus_LV_332-16_0_3_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_332-16_0_3_node_69 | 0.4 | n |  | TRUE
53 | bus_LV_332-16_0_3_node_67 | 0.4 | n |  | TRUE
54 | bus_LV_332-16_0_3_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_332-16_0_3_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_332-16_0_3_node_70 | 0.4 | n |  | TRUE
57 | bus_LV_332-16_0_3_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_332-16_0_3_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_332-16_0_3_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_332-16_0_3_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_332-16_0_3_node_71 | 0.4 | n |  | TRUE
62 | bus_LV_332-16_0_3_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_332-16_0_3_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_332-16_0_3_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_332-16_0_3_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_332-16_0_3_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_332-16_0_3_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_332-16_0_3_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_332-16_0_3_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_332-16_0_3_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_332-16_0_3_node_68 | 0.4 | n |  | TRUE
72 | bus_MV_476_0_node_149 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_332-16_0_3_load_0 | 0 | 0.0016338 | 0.00040948 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_332-16_0_3_load_3 | 3 | 0.0013656 | 0.00034225 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_332-16_0_3_load_7 | 5 | 0.00053619 | 0.00013438 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_332-16_0_3_load_35 | 6 | 0.0011014 | 0.00027603 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_332-16_0_3_load_2 | 8 | 0.0023762 | 0.00059554 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_332-16_0_3_load_73 | 12 | 0.0024051 | 0.00060277 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_332-16_0_3_load_9 | 13 | 0.00065156 | 0.0001633 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_332-16_0_3_load_10 | 14 | 0.0016748 | 0.00041975 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_332-16_0_3_load_11 | 15 | 0.0056031 | 0.0014043 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_332-16_0_3_load_12 | 16 | 0.0030145 | 0.00075549 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_332-16_0_3_load_14 | 18 | 0.00071102 | 0.0001782 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_332-16_0_3_load_15 | 19 | 0.0098472 | 0.002468 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_332-16_0_3_load_27 | 20 | 0.00039351 | 9.8623e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_332-16_0_3_load_72 | 23 | 0.0037647 | 0.00094353 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_332-16_0_3_load_74 | 25 | 0.036857 | 0.0092373 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_332-16_0_3_load_28 | 29 | 0.0018645 | 0.00046728 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_332-16_0_3_load_75 | 30 | 0.001258 | 0.00031529 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_332-16_0_3_load_19 | 31 | 0.0033915 | 0.00084999 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_332-16_0_3_load_22 | 34 | 0.00089541 | 0.00022441 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_332-16_0_3_load_23 | 35 | 0.0019912 | 0.00049904 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_332-16_0_3_load_24 | 36 | 0.0012703 | 0.00031837 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_332-16_0_3_load_61 | 37 | 0.0027466 | 0.00068836 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_332-16_0_3_load_45 | 40 | 0.0038015 | 0.00095274 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_332-16_0_3_load_59 | 41 | 0.0019026 | 0.00047683 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_332-16_0_3_load_29 | 42 | 0.0020198 | 0.0005062 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_332-16_0_3_load_32 | 43 | 0.0009723 | 0.00024368 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_332-16_0_3_load_33 | 44 | 0.0020531 | 0.00051455 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_332-16_0_3_load_34 | 45 | 0.0014871 | 0.00037269 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_332-16_0_3_load_36 | 46 | 0.0018861 | 0.00047269 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_332-16_0_3_load_37 | 47 | 0.0029165 | 0.00073094 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_332-16_0_3_load_38 | 48 | 0.0018764 | 0.00047026 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_332-16_0_3_load_66 | 50 | 0.001433 | 0.00035914 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_332-16_0_3_load_69 | 52 | 0.002152 | 0.00053934 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_332-16_0_3_load_67 | 53 | 0.00095999 | 0.0002406 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_332-16_0_3_load_51 | 54 | 0.0022434 | 0.00056225 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_332-16_0_3_load_53 | 55 | 0.011185 | 0.0028031 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_332-16_0_3_load_41 | 57 | 0.00060847 | 0.0001525 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_332-16_0_3_load_42 | 58 | 0.0035767 | 0.0008964 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_332-16_0_3_load_43 | 59 | 0.00073867 | 0.00018513 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_332-16_0_3_load_44 | 60 | 0.0043111 | 0.0010805 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_332-16_0_3_load_71 | 61 | 0.0053082 | 0.0013304 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_332-16_0_3_load_46 | 62 | 0.0019375 | 0.00048557 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_332-16_0_3_load_48 | 63 | 0.0017564 | 0.00044019 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_332-16_0_3_load_60 | 64 | 0.0019997 | 0.00050116 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_332-16_0_3_load_57 | 65 | 0.0018189 | 0.00045586 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_332-16_0_3_load_52 | 67 | 0.0018569 | 0.00046538 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_332-16_0_3_load_58 | 68 | 0.0021827 | 0.00054704 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_332-16_0_3_load_54 | 69 | 0.01342 | 0.0033633 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_332-16_0_3_load_56 | 70 | 0.0099612 | 0.0024965 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_332-16_0_3_load_68 | 71 | 0.0013146 | 0.00032948 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_332-16_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.060263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_332-16_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.14634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_332-16_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.010142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_332-16_0_3_line_3 | NAYY 4x150 SE | 3 | 8 | 0.040347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_332-16_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.24004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_332-16_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.025372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_332-16_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.061216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_332-16_0_3_line_7 | NAYY 4x150 SE | 5 | 11 | 0.014622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_332-16_0_3_line_8 | NAYY 4x150 SE | 6 | 44 | 0.0066255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_332-16_0_3_line_9 | NAYY 4x150 SE | 7 | 50 | 0.030698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_332-16_0_3_line_10 | NAYY 4x150 SE | 7 | 47 | 0.0159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_332-16_0_3_line_11 | NAYY 4x150 SE | 8 | 9 | 0.052958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_332-16_0_3_line_12 | NAYY 4x150 SE | 9 | 10 | 0.016125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_332-16_0_3_line_13 | NAYY 4x150 SE | 10 | 11 | 0.02049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_332-16_0_3_line_14 | NAYY 4x150 SE | 10 | 12 | 0.003672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_332-16_0_3_line_15 | NAYY 4x150 SE | 11 | 13 | 0.00556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_332-16_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.019094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_332-16_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.019293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_332-16_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.040695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_332-16_0_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.0041177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_332-16_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.027038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_332-16_0_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.016069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_332-16_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.016585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_332-16_0_3_line_23 | NAYY 4x150 SE | 20 | 27 | 0.032908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_332-16_0_3_line_24 | NAYY 4x150 SE | 21 | 24 | 0.032395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_332-16_0_3_line_25 | NAYY 4x150 SE | 21 | 22 | 0.048772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_332-16_0_3_line_26 | NAYY 4x150 SE | 22 | 23 | 0.20043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_332-16_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.005986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_332-16_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.028926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_332-16_0_3_line_29 | NAYY 4x150 SE | 26 | 28 | 0.035252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_332-16_0_3_line_30 | NAYY 4x150 SE | 26 | 29 | 0.041262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_332-16_0_3_line_31 | NAYY 4x150 SE | 27 | 33 | 0.010396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_332-16_0_3_line_32 | NAYY 4x150 SE | 28 | 30 | 0.007981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_332-16_0_3_line_33 | NAYY 4x150 SE | 29 | 42 | 0.0070117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_332-16_0_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.088074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_332-16_0_3_line_35 | NAYY 4x150 SE | 31 | 33 | 0.021473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_332-16_0_3_line_36 | NAYY 4x150 SE | 32 | 34 | 0.02232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_332-16_0_3_line_37 | NAYY 4x150 SE | 32 | 35 | 0.024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_332-16_0_3_line_38 | NAYY 4x150 SE | 32 | 36 | 0.01146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_332-16_0_3_line_39 | NAYY 4x150 SE | 35 | 37 | 0.00088166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_332-16_0_3_line_40 | NAYY 4x150 SE | 37 | 41 | 0.0053013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_332-16_0_3_line_41 | NAYY 4x150 SE | 38 | 39 | 0.016323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_332-16_0_3_line_42 | NAYY 4x150 SE | 38 | 40 | 0.00050962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_332-16_0_3_line_43 | NAYY 4x150 SE | 39 | 41 | 0.012305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_332-16_0_3_line_44 | NAYY 4x150 SE | 39 | 64 | 0.019557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_332-16_0_3_line_45 | NAYY 4x150 SE | 39 | 65 | 0.010916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_332-16_0_3_line_46 | NAYY 4x150 SE | 40 | 62 | 0.026312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_332-16_0_3_line_47 | NAYY 4x150 SE | 43 | 44 | 0.03381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_332-16_0_3_line_48 | NAYY 4x150 SE | 43 | 45 | 0.0054886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_332-16_0_3_line_49 | NAYY 4x150 SE | 46 | 47 | 0.002557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_332-16_0_3_line_50 | NAYY 4x150 SE | 46 | 48 | 0.0080827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_332-16_0_3_line_51 | NAYY 4x150 SE | 48 | 49 | 0.017688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_332-16_0_3_line_52 | NAYY 4x150 SE | 49 | 51 | 0.032004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_332-16_0_3_line_53 | NAYY 4x150 SE | 49 | 52 | 0.0070091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_332-16_0_3_line_54 | NAYY 4x150 SE | 50 | 53 | 0.01449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_332-16_0_3_line_55 | NAYY 4x150 SE | 51 | 54 | 0.038915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_332-16_0_3_line_56 | NAYY 4x150 SE | 51 | 55 | 0.016441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_332-16_0_3_line_57 | NAYY 4x150 SE | 52 | 56 | 0.012662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_332-16_0_3_line_58 | NAYY 4x150 SE | 53 | 71 | 0.0043854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_332-16_0_3_line_59 | NAYY 4x150 SE | 54 | 66 | 0.013491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_332-16_0_3_line_60 | NAYY 4x150 SE | 55 | 69 | 0.014342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_332-16_0_3_line_61 | NAYY 4x150 SE | 56 | 61 | 0.03166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_332-16_0_3_line_62 | NAYY 4x150 SE | 56 | 60 | 0.026321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_332-16_0_3_line_63 | NAYY 4x150 SE | 57 | 58 | 0.011176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_332-16_0_3_line_64 | NAYY 4x150 SE | 57 | 59 | 0.010233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_332-16_0_3_line_65 | NAYY 4x150 SE | 58 | 60 | 0.022371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_332-16_0_3_line_66 | NAYY 4x150 SE | 62 | 63 | 0.00055664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_332-16_0_3_line_67 | NAYY 4x150 SE | 65 | 68 | 0.016985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_332-16_0_3_line_68 | NAYY 4x150 SE | 66 | 67 | 0.011801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
69 | LV_332-16_0_3_line_69 | NAYY 4x150 SE | 67 | 68 | 0.0009227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_332-16_0_3_line_70 | NAYY 4x150 SE | 69 | 70 | 0.019189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_332-16_0_3_trafo_50 | 0.25 MVA 20/0.4 kV | 72 | 66 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2627274.9982 | 1221557.332 | 2627275.6692 | 1221521.7365 | 2627278.3971 | 1221504.1164 | 2627281.8496 | 1221500.5412 | 2627283.4227 | 1221499.5476
1 | 2627339.3558 | 1221688.7593 | 2627274.9982 | 1221557.332
2 | 2627339.3558 | 1221688.7593 | 2627340.0021 | 1221691.7195 | 2627339.3152 | 1221694.2957 | 2627336.851 | 1221697.9958
3 | 2627306.1665 | 1221723.7745 | 2627312.0116 | 1221720.1969 | 2627322.2584 | 1221712.0613 | 2627327.9233 | 1221707.34 | 2627334.2515 | 1221701.8991 | 2627336.851 | 1221697.9958
4 | 2626996.4214 | 1221714.9464 | 2627235.4896 | 1221736.551
5 | 2626996.4214 | 1221714.9464 | 2626992.4037 | 1221724.4782 | 2626985.8637 | 1221738.0086
6 | 2626946.5203 | 1221679.4778 | 2626951.1937 | 1221682.6229 | 2626974.475 | 1221697.1255 | 2626996.4214 | 1221714.9464
7 | 2627237.0481 | 1221750.1829 | 2627238.6327 | 1221742.0298 | 2627235.4896 | 1221736.551
8 | 2626982.9804 | 1221743.9737 | 2626985.8637 | 1221738.0086
9 | 2626946.5203 | 1221679.4778 | 2626938.9467 | 1221705.481 | 2626937.0874 | 1221708.5799
10 | 2626946.5203 | 1221679.4778 | 2626935.0877 | 1221673.1669 | 2626932.5005 | 1221671.9916
11 | 2627263.3774 | 1221754.7948 | 2627270.3094 | 1221748.3004 | 2627282.6841 | 1221739.2406 | 2627300.6173 | 1221727.1711 | 2627306.1665 | 1221723.7745
12 | 2627254.945 | 1221741.0371 | 2627263.3774 | 1221754.7948
13 | 2627254.945 | 1221741.0371 | 2627249.2525 | 1221741.856 | 2627243.925 | 1221745.8006 | 2627237.0481 | 1221750.1829
14 | 2627253.0252 | 1221737.9042 | 2627254.945 | 1221741.0371
15 | 2627237.0481 | 1221750.1829 | 2627233.9324 | 1221754.7936
16 | 2626812.0958 | 1221806.2968 | 2626829.178 | 1221814.8273
17 | 2626794.6424 | 1221798.0776 | 2626808.8265 | 1221804.6642 | 2626812.0958 | 1221806.2968
18 | 2626864.4923 | 1221834.9768 | 2626862.579 | 1221833.7119 | 2626848.4276 | 1221824.843 | 2626833.7855 | 1221817.1282 | 2626829.178 | 1221814.8273
19 | 2626794.6424 | 1221798.0776 | 2626794.4905 | 1221798.007 | 2626790.828 | 1221796.5271
20 | 2626864.4923 | 1221834.9768 | 2626868.998 | 1221831.5507 | 2626872.799 | 1221831.3454 | 2626875.3589 | 1221832.1686 | 2626883.9477 | 1221834.9533 | 2626889.5174 | 1221836.7534
21 | 2626790.828 | 1221796.5271 | 2626776.5164 | 1221790.7443 | 2626775.9231 | 1221790.5235
22 | 2626905.2984 | 1221841.8536 | 2626889.5174 | 1221836.7534
23 | 2626744.8532 | 1221779.718 | 2626756.677 | 1221783.3621 | 2626775.9231 | 1221790.5235
24 | 2626905.2984 | 1221841.8536 | 2626904.2671 | 1221845.162 | 2626906.729 | 1221845.8513 | 2626912.629 | 1221847.7791 | 2626915.5979 | 1221848.7486 | 2626921.1696 | 1221832.642
25 | 2626905.2984 | 1221841.8536 | 2626904.2671 | 1221845.162 | 2626900.0957 | 1221858.54 | 2626910.327 | 1221865.4235 | 2626914.4482 | 1221868.1992 | 2626926.1015 | 1221875.9453
26 | 2626926.1015 | 1221875.9453 | 2626911.3403 | 1222075.8261
27 | 2626921.1696 | 1221832.642 | 2626926.8649 | 1221834.5355
28 | 2626913.7126 | 1221816.0653 | 2626917.2987 | 1221814.7474 | 2626923.7663 | 1221816.9334 | 2626926.1974 | 1221817.756 | 2626921.1696 | 1221832.642
29 | 2626913.7126 | 1221816.0653 | 2626917.2987 | 1221814.7474 | 2626923.7663 | 1221816.9334 | 2626926.1974 | 1221817.756 | 2626928.0981 | 1221816.7529 | 2626932.1023 | 1221805.153 | 2626939.2736 | 1221807.7202
30 | 2626913.7126 | 1221816.0653 | 2626892.7895 | 1221808.5221 | 2626884.6787 | 1221805.7061 | 2626874.8225 | 1221802.2794
31 | 2626744.8532 | 1221779.718 | 2626734.8157 | 1221776.9047
32 | 2626939.2736 | 1221807.7202 | 2626941.8033 | 1221800.1495
33 | 2626874.8225 | 1221802.2794 | 2626868.1997 | 1221799.9768
34 | 2626797.7154 | 1221711.6375 | 2626784.5432 | 1221712.6456 | 2626776.5534 | 1221713.2657 | 2626771.9709 | 1221713.5008 | 2626767.6496 | 1221713.0256 | 2626764.9078 | 1221712.1461 | 2626762.4681 | 1221711.5348 | 2626760.3894 | 1221711.6255 | 2626758.1944 | 1221712.2716 | 2626756.6133 | 1221713.0316 | 2626754.8305 | 1221714.7914 | 2626753.1334 | 1221717.7299 | 2626746.104 | 1221737.6101 | 2626740.7444 | 1221756.2667
35 | 2626734.8157 | 1221776.9047 | 2626740.7444 | 1221756.2667
36 | 2626797.7154 | 1221711.6375 | 2626799.0086 | 1221719.2478 | 2626801.5258 | 1221724.54 | 2626804.87 | 1221728.1015 | 2626807.9855 | 1221730.3721
37 | 2626797.7154 | 1221711.6375 | 2626802.5982 | 1221712.0708 | 2626816.6183 | 1221716.492 | 2626820.7375 | 1221718.0315
38 | 2626797.7154 | 1221711.6375 | 2626798.7695 | 1221704.9494 | 2626800.7385 | 1221700.693
39 | 2626821.5634 | 1221718.3402 | 2626820.7375 | 1221718.0315
40 | 2626826.5292 | 1221720.1962 | 2626821.5634 | 1221718.3402
41 | 2626832.8887 | 1221739.99 | 2626838.0555 | 1221724.5042
42 | 2626833.3645 | 1221740.1725 | 2626832.8887 | 1221739.99
43 | 2626838.0555 | 1221724.5042 | 2626826.5292 | 1221720.1962
44 | 2626838.0555 | 1221724.5042 | 2626844.2411 | 1221705.9512
45 | 2626838.0555 | 1221724.5042 | 2626848.261 | 1221728.3768
46 | 2626833.3645 | 1221740.1725 | 2626857.9317 | 1221749.5955
47 | 2626974.0389 | 1221776.4389 | 2626980.0764 | 1221749.9819 | 2626982.9804 | 1221743.9737
48 | 2626972.8177 | 1221781.7899 | 2626974.0389 | 1221776.4389
49 | 2626930.1724 | 1221670.934 | 2626932.5005 | 1221671.9916
50 | 2626930.1724 | 1221670.934 | 2626922.8134 | 1221667.5911
51 | 2626906.7093 | 1221660.2757 | 2626922.8134 | 1221667.5911
52 | 2626906.7093 | 1221660.2757 | 2626894.7578 | 1221689.9726
53 | 2626906.7093 | 1221660.2757 | 2626901.0548 | 1221657.7154 | 2626900.333 | 1221657.3658
54 | 2626937.0874 | 1221708.5799 | 2626932.1677 | 1221716.7793 | 2626927.8147 | 1221719.0891
55 | 2626894.7578 | 1221689.9726 | 2626890.6415 | 1221701.205 | 2626885.7015 | 1221713.4566 | 2626880.8247 | 1221726.3043
56 | 2626894.7578 | 1221689.9726 | 2626879.2374 | 1221684.548
57 | 2626888.9375 | 1221651.8462 | 2626900.333 | 1221657.3658
58 | 2626923.941 | 1221721.1447 | 2626927.8147 | 1221719.0891
59 | 2626876.0371 | 1221738.9169 | 2626880.8247 | 1221726.3043
60 | 2626879.2374 | 1221684.548 | 2626865.6983 | 1221679.8159
61 | 2626888.9375 | 1221651.8462 | 2626869.7424 | 1221641.0979 | 2626861.3201 | 1221636.3653
62 | 2626888.9375 | 1221651.8462 | 2626899.8314 | 1221627.8857
63 | 2626913.7165 | 1221597.3462 | 2626909.0907 | 1221607.5205
64 | 2626913.7165 | 1221597.3462 | 2626917.9519 | 1221588.0309
65 | 2626899.8314 | 1221627.8857 | 2626909.0907 | 1221607.5205
66 | 2626858.4514 | 1221749.7949 | 2626857.9317 | 1221749.5955
67 | 2626848.261 | 1221728.3768 | 2626864.1413 | 1221734.4028
68 | 2626876.0371 | 1221738.9169 | 2626865.004 | 1221734.7302
69 | 2626865.004 | 1221734.7302 | 2626864.1413 | 1221734.4028
70 | 2626847.8199 | 1221672.8963 | 2626849.2827 | 1221673.6693 | 2626856.0664 | 1221676.457 | 2626864.6923 | 1221679.4643 | 2626865.6983 | 1221679.8159

## bus_geodata
| x | y | coords
0 | 2627283.4227 | 1221499.5476
1 | 2627274.9982 | 1221557.332
2 | 2627339.3558 | 1221688.7593
3 | 2627336.851 | 1221697.9958
4 | 2626996.4214 | 1221714.9464
5 | 2627235.4896 | 1221736.551
6 | 2626985.8637 | 1221738.0086
7 | 2626946.5203 | 1221679.4778
8 | 2627306.1665 | 1221723.7745
9 | 2627263.3774 | 1221754.7948
10 | 2627254.945 | 1221741.0371
11 | 2627237.0481 | 1221750.1829
12 | 2627253.0252 | 1221737.9042
13 | 2627233.9324 | 1221754.7936
14 | 2626812.0958 | 1221806.2968
15 | 2626829.178 | 1221814.8273
16 | 2626794.6424 | 1221798.0776
17 | 2626864.4923 | 1221834.9768
18 | 2626790.828 | 1221796.5271
19 | 2626889.5174 | 1221836.7534
20 | 2626775.9231 | 1221790.5235
21 | 2626905.2984 | 1221841.8536
22 | 2626926.1015 | 1221875.9453
23 | 2626911.3403 | 1222075.8261
24 | 2626921.1696 | 1221832.642
25 | 2626926.8649 | 1221834.5355
26 | 2626913.7126 | 1221816.0653
27 | 2626744.8532 | 1221779.718
28 | 2626939.2736 | 1221807.7202
29 | 2626874.8225 | 1221802.2794
30 | 2626941.8033 | 1221800.1495
31 | 2626740.7444 | 1221756.2667
32 | 2626797.7154 | 1221711.6375
33 | 2626734.8157 | 1221776.9047
34 | 2626807.9855 | 1221730.3721
35 | 2626820.7375 | 1221718.0315
36 | 2626800.7385 | 1221700.693
37 | 2626821.5634 | 1221718.3402
38 | 2626832.8887 | 1221739.99
39 | 2626838.0555 | 1221724.5042
40 | 2626833.3645 | 1221740.1725
41 | 2626826.5292 | 1221720.1962
42 | 2626868.1997 | 1221799.9768
43 | 2626974.0389 | 1221776.4389
44 | 2626982.9804 | 1221743.9737
45 | 2626972.8177 | 1221781.7899
46 | 2626930.1724 | 1221670.934
47 | 2626932.5005 | 1221671.9916
48 | 2626922.8134 | 1221667.5911
49 | 2626906.7093 | 1221660.2757
50 | 2626937.0874 | 1221708.5799
51 | 2626894.7578 | 1221689.9726
52 | 2626900.333 | 1221657.3658
53 | 2626927.8147 | 1221719.0891
54 | 2626880.8247 | 1221726.3043
55 | 2626879.2374 | 1221684.548
56 | 2626888.9375 | 1221651.8462
57 | 2626913.7165 | 1221597.3462
58 | 2626909.0907 | 1221607.5205
59 | 2626917.9519 | 1221588.0309
60 | 2626899.8314 | 1221627.8857
61 | 2626861.3201 | 1221636.3653
62 | 2626857.9317 | 1221749.5955
63 | 2626858.4514 | 1221749.7949
64 | 2626844.2411 | 1221705.9512
65 | 2626848.261 | 1221728.3768
66 | 2626876.0371 | 1221738.9169
67 | 2626865.004 | 1221734.7302
68 | 2626864.1413 | 1221734.4028
69 | 2626865.6983 | 1221679.8159
70 | 2626847.8199 | 1221672.8963
71 | 2626923.941 | 1221721.1447
72 | 2626838.0555 | 1221724.5042

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1