## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_332-17_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_332-17_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_332-17_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_332-17_0_3_node_118 | 0.4 | n |  | TRUE
4 | bus_LV_332-17_0_3_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_332-17_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_332-17_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_332-17_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_332-17_0_3_node_114 | 0.4 | n |  | TRUE
9 | bus_LV_332-17_0_3_node_115 | 0.4 | n |  | TRUE
10 | bus_LV_332-17_0_3_node_116 | 0.4 | n |  | TRUE
11 | bus_LV_332-17_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_332-17_0_3_node_117 | 0.4 | n |  | TRUE
13 | bus_LV_332-17_0_3_node_50 | 0.4 | n |  | TRUE
14 | bus_LV_332-17_0_3_node_51 | 0.4 | n |  | TRUE
15 | bus_LV_332-17_0_3_node_52 | 0.4 | n |  | TRUE
16 | bus_LV_332-17_0_3_node_53 | 0.4 | n |  | TRUE
17 | bus_LV_332-17_0_3_node_77 | 0.4 | n |  | TRUE
18 | bus_LV_332-17_0_3_node_105 | 0.4 | n |  | TRUE
19 | bus_LV_332-17_0_3_node_98 | 0.4 | n |  | TRUE
20 | bus_LV_332-17_0_3_node_75 | 0.4 | n |  | TRUE
21 | bus_LV_332-17_0_3_node_104 | 0.4 | n |  | TRUE
22 | bus_LV_332-17_0_3_node_58 | 0.4 | n |  | TRUE
23 | bus_LV_332-17_0_3_node_60 | 0.4 | n |  | TRUE
24 | bus_LV_332-17_0_3_node_61 | 0.4 | n |  | TRUE
25 | bus_LV_332-17_0_3_node_90 | 0.4 | n |  | TRUE
26 | bus_LV_332-17_0_3_node_92 | 0.4 | n |  | TRUE
27 | bus_LV_332-17_0_3_node_89 | 0.4 | n |  | TRUE
28 | bus_LV_332-17_0_3_node_93 | 0.4 | n |  | TRUE
29 | bus_LV_332-17_0_3_node_66 | 0.4 | n |  | TRUE
30 | bus_LV_332-17_0_3_node_67 | 0.4 | n |  | TRUE
31 | bus_LV_332-17_0_3_node_68 | 0.4 | n |  | TRUE
32 | bus_LV_332-17_0_3_node_69 | 0.4 | n |  | TRUE
33 | bus_LV_332-17_0_3_node_70 | 0.4 | n |  | TRUE
34 | bus_LV_332-17_0_3_node_71 | 0.4 | n |  | TRUE
35 | bus_LV_332-17_0_3_node_72 | 0.4 | n |  | TRUE
36 | bus_LV_332-17_0_3_node_73 | 0.4 | n |  | TRUE
37 | bus_LV_332-17_0_3_node_84 | 0.4 | n |  | TRUE
38 | bus_LV_332-17_0_3_node_83 | 0.4 | n |  | TRUE
39 | bus_LV_332-17_0_3_node_79 | 0.4 | n |  | TRUE
40 | bus_LV_332-17_0_3_node_85 | 0.4 | n |  | TRUE
41 | bus_LV_332-17_0_3_node_88 | 0.4 | n |  | TRUE
42 | bus_LV_332-17_0_3_node_80 | 0.4 | n |  | TRUE
43 | bus_LV_332-17_0_3_node_74 | 0.4 | n |  | TRUE
44 | bus_LV_332-17_0_3_node_76 | 0.4 | n |  | TRUE
45 | bus_LV_332-17_0_3_node_78 | 0.4 | n |  | TRUE
46 | bus_LV_332-17_0_3_node_91 | 0.4 | n |  | TRUE
47 | bus_LV_332-17_0_3_node_97 | 0.4 | n |  | TRUE
48 | bus_LV_332-17_0_3_node_81 | 0.4 | n |  | TRUE
49 | bus_LV_332-17_0_3_node_100 | 0.4 | n |  | TRUE
50 | bus_LV_332-17_0_3_node_109 | 0.4 | n |  | TRUE
51 | bus_LV_332-17_0_3_node_86 | 0.4 | n |  | TRUE
52 | bus_LV_332-17_0_3_node_87 | 0.4 | n |  | TRUE
53 | bus_LV_332-17_0_3_node_96 | 0.4 | n |  | TRUE
54 | bus_LV_332-17_0_3_node_94 | 0.4 | n |  | TRUE
55 | bus_LV_332-17_0_3_node_111 | 0.4 | n |  | TRUE
56 | bus_LV_332-17_0_3_node_95 | 0.4 | n |  | TRUE
57 | bus_LV_332-17_0_3_node_110 | 0.4 | n |  | TRUE
58 | bus_LV_332-17_0_3_node_112 | 0.4 | n |  | TRUE
59 | bus_LV_332-17_0_3_node_108 | 0.4 | n |  | TRUE
60 | bus_LV_332-17_0_3_node_99 | 0.4 | n |  | TRUE
61 | bus_LV_332-17_0_3_node_107 | 0.4 | n |  | TRUE
62 | bus_LV_332-17_0_3_node_101 | 0.4 | n |  | TRUE
63 | bus_LV_332-17_0_3_node_102 | 0.4 | n |  | TRUE
64 | bus_LV_332-17_0_3_node_103 | 0.4 | n |  | TRUE
65 | bus_LV_332-17_0_3_node_106 | 0.4 | n |  | TRUE
66 | bus_MV_0_node_77 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_332-17_0_3_load_0 | 0 | 0.0041267 | 0.0010343 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_332-17_0_3_load_3 | 2 | 0.00031369 | 7.8618e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_332-17_0_3_load_118 | 3 | 0.0010329 | 0.00025886 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_332-17_0_3_load_5 | 5 | 0.00070012 | 0.00017547 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_332-17_0_3_load_6 | 7 | 0.0015436 | 0.00038686 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_332-17_0_3_load_114 | 8 | 0.0010892 | 0.00027298 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_332-17_0_3_load_117 | 12 | 0.0011272 | 0.00028252 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_332-17_0_3_load_52 | 15 | 0.00083209 | 0.00020854 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_332-17_0_3_load_53 | 16 | 0.0015175 | 0.00038031 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_332-17_0_3_load_105 | 18 | 0.0045547 | 0.0011415 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_332-17_0_3_load_98 | 19 | 0.00066434 | 0.0001665 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_332-17_0_3_load_104 | 21 | 0.0012389 | 0.00031049 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_332-17_0_3_load_60 | 23 | 0.000343 | 8.5965e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_332-17_0_3_load_61 | 24 | 0.00031745 | 7.9561e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_332-17_0_3_load_90 | 25 | 0.0002631 | 6.5938e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_332-17_0_3_load_89 | 27 | 0.00028649 | 7.1802e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_332-17_0_3_load_93 | 28 | 0.00016665 | 4.1767e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_332-17_0_3_load_66 | 29 | 0.0011821 | 0.00029627 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_332-17_0_3_load_67 | 30 | 0.00052833 | 0.00013241 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_332-17_0_3_load_68 | 31 | 0.00036218 | 9.077e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_332-17_0_3_load_69 | 32 | 0.00074818 | 0.00018751 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_332-17_0_3_load_71 | 34 | 0.0017749 | 0.00044482 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_332-17_0_3_load_73 | 36 | 0.0010932 | 0.00027398 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_332-17_0_3_load_84 | 37 | 0.00031057 | 7.7835e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_332-17_0_3_load_83 | 38 | 0.00053835 | 0.00013492 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_332-17_0_3_load_79 | 39 | 0.00084103 | 0.00021078 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_332-17_0_3_load_85 | 40 | 0.0012651 | 0.00031707 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_332-17_0_3_load_80 | 42 | 0.00063133 | 0.00015823 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_332-17_0_3_load_74 | 43 | 0.00084607 | 0.00021205 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_332-17_0_3_load_76 | 44 | 0.00043707 | 0.00010954 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_332-17_0_3_load_78 | 45 | 0.00083432 | 0.0002091 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_332-17_0_3_load_91 | 46 | 0.00085218 | 0.00021358 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_332-17_0_3_load_97 | 47 | 0.0013974 | 0.00035023 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_332-17_0_3_load_81 | 48 | 0.00066389 | 0.00016639 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_332-17_0_3_load_100 | 49 | 0.00081481 | 0.00020421 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_332-17_0_3_load_109 | 50 | 0.00072214 | 0.00018099 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_332-17_0_3_load_86 | 51 | 0.00056277 | 0.00014104 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_332-17_0_3_load_87 | 52 | 0.00058656 | 0.00014701 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_332-17_0_3_load_96 | 53 | 0.00095475 | 0.00023928 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_332-17_0_3_load_110 | 57 | 0.0017768 | 0.00044531 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_332-17_0_3_load_112 | 58 | 0.0022432 | 0.00056221 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_332-17_0_3_load_108 | 59 | 0.00064718 | 0.0001622 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_332-17_0_3_load_99 | 60 | 0.00085121 | 0.00021333 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_332-17_0_3_load_107 | 61 | 0.00075645 | 0.00018958 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_332-17_0_3_load_101 | 62 | 0.0018188 | 0.00045584 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_332-17_0_3_load_102 | 63 | 0.002507 | 0.00062831 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_332-17_0_3_load_103 | 64 | 0.00066012 | 0.00016544 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_332-17_0_3_load_106 | 65 | 0.00035637 | 8.9315e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_332-17_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.029532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_332-17_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.030248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_332-17_0_3_line_2 | NAYY 4x150 SE | 2 | 5 | 0.011251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_332-17_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.031056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_332-17_0_3_line_4 | NAYY 4x150 SE | 4 | 11 | 0.27828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_332-17_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.061101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_332-17_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.02344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_332-17_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.023177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_332-17_0_3_line_8 | NAYY 4x150 SE | 7 | 12 | 0.15713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_332-17_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.045571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_332-17_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.24248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_332-17_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.050531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_332-17_0_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.35949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_332-17_0_3_line_13 | NAYY 4x150 SE | 13 | 14 | 0.019773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_332-17_0_3_line_14 | NAYY 4x150 SE | 14 | 15 | 0.005417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_332-17_0_3_line_15 | NAYY 4x150 SE | 14 | 16 | 0.011804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_332-17_0_3_line_16 | NAYY 4x150 SE | 15 | 17 | 0.15533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_332-17_0_3_line_17 | NAYY 4x150 SE | 16 | 18 | 0.020328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_332-17_0_3_line_18 | NAYY 4x150 SE | 17 | 19 | 0.013349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_332-17_0_3_line_19 | NAYY 4x150 SE | 17 | 20 | 0.033827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_332-17_0_3_line_20 | NAYY 4x150 SE | 18 | 21 | 0.0020217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_332-17_0_3_line_21 | NAYY 4x150 SE | 19 | 47 | 0.0291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_332-17_0_3_line_22 | NAYY 4x150 SE | 20 | 44 | 0.0059355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_332-17_0_3_line_23 | NAYY 4x150 SE | 20 | 43 | 0.013431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_332-17_0_3_line_24 | NAYY 4x150 SE | 21 | 64 | 0.00098557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_332-17_0_3_line_25 | NAYY 4x150 SE | 22 | 23 | 0.04425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_332-17_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.014375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_332-17_0_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.068145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_332-17_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.056872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_332-17_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.02533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_332-17_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.019881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_332-17_0_3_line_31 | NAYY 4x150 SE | 27 | 52 | 0.025127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_332-17_0_3_line_32 | NAYY 4x150 SE | 28 | 53 | 0.027291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_332-17_0_3_line_33 | NAYY 4x150 SE | 29 | 30 | 0.015608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_332-17_0_3_line_34 | NAYY 4x150 SE | 29 | 31 | 0.025913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_332-17_0_3_line_35 | NAYY 4x150 SE | 30 | 32 | 0.016112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_332-17_0_3_line_36 | NAYY 4x150 SE | 31 | 33 | 0.022769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_332-17_0_3_line_37 | NAYY 4x150 SE | 32 | 34 | 0.0073728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_332-17_0_3_line_38 | NAYY 4x150 SE | 33 | 35 | 0.011151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_332-17_0_3_line_39 | NAYY 4x150 SE | 33 | 36 | 0.044881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_332-17_0_3_line_40 | NAYY 4x150 SE | 34 | 37 | 0.036004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_332-17_0_3_line_41 | NAYY 4x150 SE | 35 | 38 | 0.01477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_332-17_0_3_line_42 | NAYY 4x150 SE | 36 | 39 | 0.025919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_332-17_0_3_line_43 | NAYY 4x150 SE | 37 | 40 | 0.0044257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_332-17_0_3_line_44 | NAYY 4x150 SE | 38 | 41 | 0.02588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_332-17_0_3_line_45 | NAYY 4x150 SE | 39 | 42 | 0.03877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_332-17_0_3_line_46 | NAYY 4x150 SE | 41 | 51 | 0.0050318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_332-17_0_3_line_47 | NAYY 4x150 SE | 42 | 48 | 0.029625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_332-17_0_3_line_48 | NAYY 4x150 SE | 44 | 45 | 0.015067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_332-17_0_3_line_49 | NAYY 4x150 SE | 45 | 46 | 0.010646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_332-17_0_3_line_50 | NAYY 4x150 SE | 46 | 48 | 0.0089631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_332-17_0_3_line_51 | NAYY 4x150 SE | 47 | 60 | 0.018688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_332-17_0_3_line_52 | NAYY 4x150 SE | 49 | 50 | 0.019874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_332-17_0_3_line_53 | NAYY 4x150 SE | 50 | 61 | 0.020708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_332-17_0_3_line_54 | NAYY 4x150 SE | 51 | 52 | 0.011512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_332-17_0_3_line_55 | NAYY 4x150 SE | 53 | 56 | 0.025252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_332-17_0_3_line_56 | NAYY 4x150 SE | 54 | 55 | 0.18979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_332-17_0_3_line_57 | NAYY 4x150 SE | 54 | 56 | 0.19838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_332-17_0_3_line_58 | NAYY 4x150 SE | 54 | 57 | 0.21499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_332-17_0_3_line_59 | NAYY 4x150 SE | 55 | 58 | 0.035681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_332-17_0_3_line_60 | NAYY 4x150 SE | 57 | 59 | 0.032061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_332-17_0_3_line_61 | NAYY 4x150 SE | 59 | 65 | 0.085443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_332-17_0_3_line_62 | NAYY 4x150 SE | 61 | 65 | 0.0092004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_332-17_0_3_line_63 | NAYY 4x150 SE | 62 | 63 | 0.029078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_332-17_0_3_line_64 | NAYY 4x150 SE | 63 | 64 | 0.014263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_332-17_0_3_trafo_77 | 0.25 MVA 20/0.4 kV | 66 | 17 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2627295.7078 | 1221112.8107 | 2627271.0362 | 1221129.041
1 | 2627295.7078 | 1221112.8107 | 2627300.2075 | 1221119.1572 | 2627309.5199 | 1221129.7505 | 2627312.9734 | 1221130.9781 | 2627317.3432 | 1221129.2527
2 | 2627326.4341 | 1221122.6236 | 2627317.3432 | 1221129.2527
3 | 2627306.798 | 1221033.3705 | 2627301.9234 | 1221031.0135 | 2627293.5904 | 1221030.1638 | 2627289.7142 | 1221031.7692 | 2627279.5036 | 1221040.0385
4 | 2627141.1289 | 1221198.3668 | 2627334.5039 | 1221070.9749 | 2627312.3647 | 1221040.2889 | 2627306.798 | 1221033.3705
5 | 2627306.798 | 1221033.3705 | 2627334.1984 | 1221087.9835
6 | 2627326.4341 | 1221122.6236 | 2627328.6763 | 1221120.9886 | 2627339.8474 | 1221113.3353 | 2627343.8947 | 1221107.4727
7 | 2627334.1984 | 1221087.9835 | 2627338.4221 | 1221093.2948 | 2627342.9164 | 1221099.1522 | 2627345.0815 | 1221103.4202 | 2627343.8947 | 1221107.4727 | 2627343.8947 | 1221107.4727
8 | 2627343.8947 | 1221107.4727 | 2627444.5344 | 1221228.1499
9 | 2627397.0255 | 1221378.3418 | 2627401.0734 | 1221383.8858 | 2627403.8071 | 1221391.5028 | 2627404.8062 | 1221401.8802 | 2627401.5591 | 1221421.8103
10 | 2627488.7491 | 1221205.5957 | 2627484.7278 | 1221210.7247 | 2627471.4297 | 1221227.2731 | 2627462.595 | 1221234.9369 | 2627455.666 | 1221247.1789 | 2627443.8015 | 1221272.0166 | 2627426.9878 | 1221312.4519 | 2627420.9099 | 1221339.2508 | 2627419.3665 | 1221354.864 | 2627419.8269 | 1221365.2611 | 2627420.8566 | 1221395.3834 | 2627419.0982 | 1221401.6679 | 2627416.7326 | 1221408.0386 | 2627412.7855 | 1221413.557 | 2627401.5591 | 1221421.8103
11 | 2627488.7491 | 1221205.5957 | 2627472.3006 | 1221219.3391 | 2627458.4161 | 1221224.8674 | 2627444.5344 | 1221228.1499
12 | 2626781.9877 | 1221214.2644 | 2627141.1289 | 1221198.3668
13 | 2626781.9877 | 1221214.2644 | 2626781.2732 | 1221206.1342 | 2626781.1812 | 1221194.527
14 | 2626781.1812 | 1221194.527 | 2626781.3502 | 1221189.1127
15 | 2626781.1812 | 1221194.527 | 2626774.8716 | 1221194.1429 | 2626769.389 | 1221194.0868
16 | 2626787.2882 | 1221033.9827 | 2626782.0933 | 1221113.0612 | 2626781.4702 | 1221135.2603 | 2626782.2003 | 1221161.868 | 2626781.3502 | 1221189.1127
17 | 2626749.0621 | 1221193.8786 | 2626769.389 | 1221194.0868
18 | 2626787.2882 | 1221033.9827 | 2626781.8445 | 1221033.3134 | 2626774.1245 | 1221034.8138
19 | 2626787.2882 | 1221033.9827 | 2626787.7065 | 1221032.0723 | 2626788.214 | 1221025.4708 | 2626787.6653 | 1221017.5859 | 2626783.8269 | 1221000.6699
20 | 2626749.0621 | 1221193.8786 | 2626747.0405 | 1221193.8579
21 | 2626748.6874 | 1221048.7151 | 2626761.0544 | 1221041.1247 | 2626772.1716 | 1221035.1933 | 2626774.1245 | 1221034.8138
22 | 2626783.8269 | 1221000.6699 | 2626782.3381 | 1220994.9241
23 | 2626783.8269 | 1221000.6699 | 2626772.3547 | 1221007.6532
24 | 2626746.055 | 1221193.8478 | 2626747.0405 | 1221193.8579
25 | 2626529.9753 | 1221038.7693 | 2626545.4502 | 1221006.4525 | 2626549.7112 | 1220999.1907
26 | 2626529.9753 | 1221038.7693 | 2626519.4234 | 1221029.0078
27 | 2626587.7827 | 1220942.7537 | 2626570.0323 | 1220966.4941 | 2626555.8995 | 1220988.6442 | 2626549.7112 | 1220999.1907
28 | 2626475.2402 | 1220993.244 | 2626496.8025 | 1221011.3614 | 2626516.1726 | 1221026.0005 | 2626519.4234 | 1221029.0078
29 | 2626587.7827 | 1220942.7537 | 2626602.161 | 1220923.5233 | 2626602.9957 | 1220922.5029
30 | 2626475.2402 | 1220993.244 | 2626477.054 | 1220987.9378 | 2626479.3198 | 1220981.6553 | 2626483.2327 | 1220975.1467
31 | 2626620.5784 | 1220904.6657 | 2626619.9107 | 1220905.2139 | 2626609.7811 | 1220914.2073 | 2626602.9957 | 1220922.5029
32 | 2626483.2327 | 1220975.1467 | 2626483.2327 | 1220975.1467 | 2626488.5326 | 1220968.9221 | 2626494.6744 | 1220964.4468 | 2626500.1855 | 1220960.2132 | 2626503.235 | 1220956.8136
33 | 2626700.2845 | 1220830.7911 | 2626708.7738 | 1220817.6932
34 | 2626700.2845 | 1220830.7911 | 2626699.1388 | 1220832.5588 | 2626689.4859 | 1220845.1674 | 2626684.7099 | 1220851.4943
35 | 2626708.7738 | 1220817.6932 | 2626712.1938 | 1220812.4165 | 2626714.797 | 1220807.0917 | 2626715.5045 | 1220803.2593
36 | 2626672.069 | 1220870.3931 | 2626678.3364 | 1220859.9373 | 2626684.7099 | 1220851.4943
37 | 2626715.5045 | 1220803.2593 | 2626715.5045 | 1220803.2593 | 2626714.5527 | 1220798.9637 | 2626713.1916 | 1220796.3206
38 | 2626662.0471 | 1220865.4455 | 2626672.069 | 1220870.3931
39 | 2626672.069 | 1220870.3931 | 2626683.3436 | 1220878.515 | 2626710.3267 | 1220893.7476
40 | 2626710.8666 | 1220761.7433 | 2626708.7548 | 1220768.9313 | 2626707.7138 | 1220776.0863 | 2626708.047 | 1220782.9808 | 2626709.9274 | 1220789.9821 | 2626713.1916 | 1220796.3206
41 | 2626662.0471 | 1220865.4455 | 2626654.2834 | 1220874.6273 | 2626652.2768 | 1220876.5016
42 | 2626710.3267 | 1220893.7476 | 2626711.175 | 1220894.2264 | 2626724.397 | 1220902.824 | 2626731.4415 | 1220908.6997
43 | 2626710.8666 | 1220761.7433 | 2626712.1141 | 1220757.4971
44 | 2626633.3646 | 1220894.1675 | 2626652.2768 | 1220876.5016
45 | 2626758.26 | 1220936.6612 | 2626758.1781 | 1220936.5729 | 2626734.3809 | 1220911.1514 | 2626731.4415 | 1220908.6997
46 | 2626633.3646 | 1220894.1675 | 2626629.4757 | 1220897.3605
47 | 2626758.26 | 1220936.6612 | 2626766.1278 | 1220945.1469 | 2626770.3555 | 1220951.3806 | 2626772.1704 | 1220956.047 | 2626773.4244 | 1220961.4162
48 | 2626778.485 | 1220980.3584 | 2626779.7257 | 1220984.8422 | 2626782.3381 | 1220994.9241
49 | 2626778.485 | 1220980.3584 | 2626775.6459 | 1220970.0977
50 | 2626775.6459 | 1220970.0977 | 2626774.4033 | 1220965.6071 | 2626773.4244 | 1220961.4162
51 | 2626732.4935 | 1221058.0399 | 2626746.7763 | 1221049.8881 | 2626748.6874 | 1221048.7151
52 | 2626480.8924 | 1220723.5683 | 2626479.2091 | 1220728.0733 | 2626475.9524 | 1220742.7816
53 | 2626467.5696 | 1220761.5559 | 2626468.8283 | 1220759.4567 | 2626474.8119 | 1220747.9321 | 2626475.9524 | 1220742.7816
54 | 2626629.4757 | 1220897.3605 | 2626620.5784 | 1220904.6657
55 | 2626479.7673 | 1220947.4929 | 2626490.5882 | 1220951.8991 | 2626503.235 | 1220956.8136
56 | 2626297.9317 | 1220904.1412 | 2626293.8055 | 1220900.5654 | 2626292.2 | 1220894.7772 | 2626294.9988 | 1220888.0078 | 2626302.7947 | 1220883.4283 | 2626319.5429 | 1220876.9984 | 2626337.7729 | 1220873.4212 | 2626350.4036 | 1220870.0306 | 2626360.7988 | 1220866.1186 | 2626374.4541 | 1220860.9092 | 2626384.683 | 1220853.4056 | 2626387.119 | 1220849.8032 | 2626386.1339 | 1220846.1078 | 2626381.669 | 1220843.6533 | 2626369.649 | 1220839.2865 | 2626353.7046 | 1220832.0452 | 2626334.2498 | 1220822.5871 | 2626326.0521 | 1220818.4818
57 | 2626297.9317 | 1220904.1412 | 2626309.6524 | 1220910.9858 | 2626328.6398 | 1220919.6968 | 2626350.1527 | 1220926.8293 | 2626370.4944 | 1220932.9116 | 2626390.9509 | 1220943.8862 | 2626424.4023 | 1220963.4012 | 2626437.7537 | 1220956.5341 | 2626445.8153 | 1220953.6571 | 2626469.0312 | 1220949.6354 | 2626479.7673 | 1220947.4929
58 | 2626297.9317 | 1220904.1412 | 2626307.658 | 1220897.0577 | 2626317.3417 | 1220894.4656 | 2626345.5011 | 1220897.9363 | 2626387.015 | 1220897.3083 | 2626418.5474 | 1220899.6825 | 2626463.7147 | 1220896.3362 | 2626472.8089 | 1220896.6768 | 2626483.0549 | 1220897.3115 | 2626490.8473 | 1220895.2782 | 2626494.4037 | 1220893.9043 | 2626495.8473 | 1220888.2741 | 2626493.1637 | 1220879.5897
59 | 2626326.0521 | 1220818.4818 | 2626322.9274 | 1220821.7366 | 2626304.0528 | 1220826.9342 | 2626300.2831 | 1220826.7953 | 2626292.62 | 1220828.7627
60 | 2626493.1637 | 1220879.5897 | 2626490.687 | 1220871.5748 | 2626487.5475 | 1220864.49 | 2626479.8366 | 1220850.5582
61 | 2626462.8382 | 1220769.4465 | 2626460.9562 | 1220772.585 | 2626459.1858 | 1220783.4724 | 2626460.0256 | 1220795.9612 | 2626463.1284 | 1220807.9264 | 2626469.1539 | 1220826.2527 | 2626476.8082 | 1220845.0866 | 2626479.8366 | 1220850.5582
62 | 2626462.8382 | 1220769.4465 | 2626467.5696 | 1220761.5559
63 | 2626706.8971 | 1221206.2951 | 2626710.3194 | 1221205.5047 | 2626718.3044 | 1221204.4287 | 2626721.7693 | 1221203.1212 | 2626724.3283 | 1221200.8536 | 2626726.8853 | 1221197.3185 | 2626729.2837 | 1221195.3503 | 2626731.8594 | 1221193.973
64 | 2626746.055 | 1221193.8478 | 2626732.3557 | 1221193.7076 | 2626731.8594 | 1221193.973

## bus_geodata
| x | y | coords
0 | 2627271.0362 | 1221129.041
1 | 2627295.7078 | 1221112.8107
2 | 2627317.3432 | 1221129.2527
3 | 2627279.5036 | 1221040.0385
4 | 2627306.798 | 1221033.3705
5 | 2627326.4341 | 1221122.6236
6 | 2627334.1984 | 1221087.9835
7 | 2627343.8947 | 1221107.4727
8 | 2627397.0255 | 1221378.3418
9 | 2627401.5591 | 1221421.8103
10 | 2627488.7491 | 1221205.5957
11 | 2627141.1289 | 1221198.3668
12 | 2627444.5344 | 1221228.1499
13 | 2626781.9877 | 1221214.2644
14 | 2626781.1812 | 1221194.527
15 | 2626781.3502 | 1221189.1127
16 | 2626769.389 | 1221194.0868
17 | 2626787.2882 | 1221033.9827
18 | 2626749.0621 | 1221193.8786
19 | 2626774.1245 | 1221034.8138
20 | 2626783.8269 | 1221000.6699
21 | 2626747.0405 | 1221193.8579
22 | 2626529.9753 | 1221038.7693
23 | 2626549.7112 | 1220999.1907
24 | 2626519.4234 | 1221029.0078
25 | 2626587.7827 | 1220942.7537
26 | 2626475.2402 | 1220993.244
27 | 2626602.9957 | 1220922.5029
28 | 2626483.2327 | 1220975.1467
29 | 2626700.2845 | 1220830.7911
30 | 2626708.7738 | 1220817.6932
31 | 2626684.7099 | 1220851.4943
32 | 2626715.5045 | 1220803.2593
33 | 2626672.069 | 1220870.3931
34 | 2626713.1916 | 1220796.3206
35 | 2626662.0471 | 1220865.4455
36 | 2626710.3267 | 1220893.7476
37 | 2626710.8666 | 1220761.7433
38 | 2626652.2768 | 1220876.5016
39 | 2626731.4415 | 1220908.6997
40 | 2626712.1141 | 1220757.4971
41 | 2626633.3646 | 1220894.1675
42 | 2626758.26 | 1220936.6612
43 | 2626772.3547 | 1221007.6532
44 | 2626782.3381 | 1220994.9241
45 | 2626778.485 | 1220980.3584
46 | 2626775.6459 | 1220970.0977
47 | 2626748.6874 | 1221048.7151
48 | 2626773.4244 | 1220961.4162
49 | 2626480.8924 | 1220723.5683
50 | 2626475.9524 | 1220742.7816
51 | 2626629.4757 | 1220897.3605
52 | 2626620.5784 | 1220904.6657
53 | 2626503.235 | 1220956.8136
54 | 2626297.9317 | 1220904.1412
55 | 2626326.0521 | 1220818.4818
56 | 2626479.7673 | 1220947.4929
57 | 2626493.1637 | 1220879.5897
58 | 2626292.62 | 1220828.7627
59 | 2626479.8366 | 1220850.5582
60 | 2626732.4935 | 1221058.0399
61 | 2626467.5696 | 1220761.5559
62 | 2626706.8971 | 1221206.2951
63 | 2626731.8594 | 1221193.973
64 | 2626746.055 | 1221193.8478
65 | 2626462.8382 | 1220769.4465
66 | 2626787.2882 | 1221033.9827

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1