## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_332-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_332-2_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_332-2_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_332-2_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_332-2_0_2_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_332-2_0_2_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_332-2_0_2_node_168 | 0.4 | n |  | TRUE
7 | bus_LV_332-2_0_2_node_167 | 0.4 | n |  | TRUE
8 | bus_LV_332-2_0_2_node_178 | 0.4 | n |  | TRUE
9 | bus_LV_332-2_0_2_node_132 | 0.4 | n |  | TRUE
10 | bus_LV_332-2_0_2_node_133 | 0.4 | n |  | TRUE
11 | bus_LV_332-2_0_2_node_134 | 0.4 | n |  | TRUE
12 | bus_LV_332-2_0_2_node_135 | 0.4 | n |  | TRUE
13 | bus_LV_332-2_0_2_node_136 | 0.4 | n |  | TRUE
14 | bus_LV_332-2_0_2_node_137 | 0.4 | n |  | TRUE
15 | bus_LV_332-2_0_2_node_138 | 0.4 | n |  | TRUE
16 | bus_LV_332-2_0_2_node_139 | 0.4 | n |  | TRUE
17 | bus_LV_332-2_0_2_node_140 | 0.4 | n |  | TRUE
18 | bus_LV_332-2_0_2_node_141 | 0.4 | n |  | TRUE
19 | bus_LV_332-2_0_2_node_147 | 0.4 | n |  | TRUE
20 | bus_LV_332-2_0_2_node_146 | 0.4 | n |  | TRUE
21 | bus_LV_332-2_0_2_node_180 | 0.4 | n |  | TRUE
22 | bus_LV_332-2_0_2_node_142 | 0.4 | n |  | TRUE
23 | bus_LV_332-2_0_2_node_143 | 0.4 | n |  | TRUE
24 | bus_LV_332-2_0_2_node_144 | 0.4 | n |  | TRUE
25 | bus_LV_332-2_0_2_node_145 | 0.4 | n |  | TRUE
26 | bus_LV_332-2_0_2_node_148 | 0.4 | n |  | TRUE
27 | bus_LV_332-2_0_2_node_150 | 0.4 | n |  | TRUE
28 | bus_LV_332-2_0_2_node_151 | 0.4 | n |  | TRUE
29 | bus_LV_332-2_0_2_node_149 | 0.4 | n |  | TRUE
30 | bus_LV_332-2_0_2_node_152 | 0.4 | n |  | TRUE
31 | bus_LV_332-2_0_2_node_153 | 0.4 | n |  | TRUE
32 | bus_LV_332-2_0_2_node_154 | 0.4 | n |  | TRUE
33 | bus_LV_332-2_0_2_node_158 | 0.4 | n |  | TRUE
34 | bus_LV_332-2_0_2_node_160 | 0.4 | n |  | TRUE
35 | bus_LV_332-2_0_2_node_202 | 0.4 | n |  | TRUE
36 | bus_LV_332-2_0_2_node_155 | 0.4 | n |  | TRUE
37 | bus_LV_332-2_0_2_node_156 | 0.4 | n |  | TRUE
38 | bus_LV_332-2_0_2_node_157 | 0.4 | n |  | TRUE
39 | bus_LV_332-2_0_2_node_159 | 0.4 | n |  | TRUE
40 | bus_LV_332-2_0_2_node_166 | 0.4 | n |  | TRUE
41 | bus_LV_332-2_0_2_node_161 | 0.4 | n |  | TRUE
42 | bus_LV_332-2_0_2_node_162 | 0.4 | n |  | TRUE
43 | bus_LV_332-2_0_2_node_163 | 0.4 | n |  | TRUE
44 | bus_LV_332-2_0_2_node_164 | 0.4 | n |  | TRUE
45 | bus_LV_332-2_0_2_node_188 | 0.4 | n |  | TRUE
46 | bus_LV_332-2_0_2_node_170 | 0.4 | n |  | TRUE
47 | bus_LV_332-2_0_2_node_169 | 0.4 | n |  | TRUE
48 | bus_LV_332-2_0_2_node_171 | 0.4 | n |  | TRUE
49 | bus_LV_332-2_0_2_node_172 | 0.4 | n |  | TRUE
50 | bus_LV_332-2_0_2_node_173 | 0.4 | n |  | TRUE
51 | bus_LV_332-2_0_2_node_174 | 0.4 | n |  | TRUE
52 | bus_LV_332-2_0_2_node_175 | 0.4 | n |  | TRUE
53 | bus_LV_332-2_0_2_node_176 | 0.4 | n |  | TRUE
54 | bus_LV_332-2_0_2_node_177 | 0.4 | n |  | TRUE
55 | bus_LV_332-2_0_2_node_182 | 0.4 | n |  | TRUE
56 | bus_LV_332-2_0_2_node_179 | 0.4 | n |  | TRUE
57 | bus_LV_332-2_0_2_node_181 | 0.4 | n |  | TRUE
58 | bus_LV_332-2_0_2_node_189 | 0.4 | n |  | TRUE
59 | bus_LV_332-2_0_2_node_190 | 0.4 | n |  | TRUE
60 | bus_LV_332-2_0_2_node_191 | 0.4 | n |  | TRUE
61 | bus_LV_332-2_0_2_node_192 | 0.4 | n |  | TRUE
62 | bus_LV_332-2_0_2_node_193 | 0.4 | n |  | TRUE
63 | bus_LV_332-2_0_2_node_199 | 0.4 | n |  | TRUE
64 | bus_LV_332-2_0_2_node_200 | 0.4 | n |  | TRUE
65 | bus_LV_332-2_0_2_node_201 | 0.4 | n |  | TRUE
66 | bus_MV_0_node_150 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_332-2_0_2_load_0 | 0 | 0.0012513 | 0.00031359 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_332-2_0_2_load_1 | 1 | 0.00039262 | 9.84e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_332-2_0_2_load_7 | 5 | 0.00049367 | 0.00012373 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_332-2_0_2_load_167 | 7 | 0.00059475 | 0.00014906 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_332-2_0_2_load_178 | 8 | 0.00055026 | 0.00013791 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_332-2_0_2_load_132 | 9 | 0.0016098 | 0.00040344 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_332-2_0_2_load_133 | 10 | 0.00026284 | 6.5874e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_332-2_0_2_load_136 | 13 | 0.00066479 | 0.00016661 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_332-2_0_2_load_137 | 14 | 0.00063783 | 0.00015986 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_332-2_0_2_load_139 | 16 | 0.00021534 | 5.3971e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_332-2_0_2_load_140 | 17 | 0.0030985 | 0.00077656 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_332-2_0_2_load_141 | 18 | 0.00041307 | 0.00010353 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_332-2_0_2_load_147 | 19 | 0.00047063 | 0.00011795 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_332-2_0_2_load_146 | 20 | 0.0012778 | 0.00032024 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_332-2_0_2_load_142 | 22 | 0.00068897 | 0.00017267 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_332-2_0_2_load_143 | 23 | 0.00099122 | 0.00024842 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_332-2_0_2_load_144 | 24 | 0.0006327 | 0.00015857 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_332-2_0_2_load_145 | 25 | 0.0026178 | 0.00065608 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_332-2_0_2_load_149 | 29 | 0.00028603 | 7.1685e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_332-2_0_2_load_152 | 30 | 0.0036329 | 0.00091048 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_332-2_0_2_load_153 | 31 | 0.0019816 | 0.00049665 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_332-2_0_2_load_154 | 32 | 0.00038591 | 9.6718e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_332-2_0_2_load_202 | 35 | 0.015991 | 0.0040077 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_332-2_0_2_load_155 | 36 | 0.0014619 | 0.00036639 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_332-2_0_2_load_157 | 38 | 0.00034643 | 8.6824e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_332-2_0_2_load_159 | 39 | 0.00070909 | 0.00017771 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_332-2_0_2_load_166 | 40 | 0.00061768 | 0.00015481 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_332-2_0_2_load_162 | 42 | 0.00092506 | 0.00023184 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_332-2_0_2_load_163 | 43 | 0.0015994 | 0.00040084 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_332-2_0_2_load_164 | 44 | 0.0013317 | 0.00033376 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_332-2_0_2_load_188 | 45 | 0.0012148 | 0.00030446 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_332-2_0_2_load_170 | 46 | 0.00071757 | 0.00017984 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_332-2_0_2_load_169 | 47 | 0.0019337 | 0.00048464 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_332-2_0_2_load_171 | 48 | 0.00086006 | 0.00021555 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_332-2_0_2_load_172 | 49 | 0.0023297 | 0.00058387 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_332-2_0_2_load_173 | 50 | 0.0011359 | 0.0002847 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_332-2_0_2_load_174 | 51 | 0.0023229 | 0.00058216 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_332-2_0_2_load_175 | 52 | 0.00069118 | 0.00017323 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_332-2_0_2_load_176 | 53 | 0.0014409 | 0.00036112 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_332-2_0_2_load_177 | 54 | 0.0016429 | 0.00041175 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_332-2_0_2_load_182 | 55 | 0.00057631 | 0.00014444 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_332-2_0_2_load_181 | 57 | 0.00068503 | 0.00017169 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_332-2_0_2_load_190 | 59 | 0.0007958 | 0.00019945 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_332-2_0_2_load_191 | 60 | 0.0019493 | 0.00048855 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_332-2_0_2_load_193 | 62 | 0.0021163 | 0.00053039 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_332-2_0_2_load_199 | 63 | 0.0027966 | 0.0007009 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_332-2_0_2_load_201 | 65 | 0.0026436 | 0.00066255 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_332-2_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.049606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_332-2_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.015176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_332-2_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.025728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_332-2_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.019274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_332-2_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.023583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_332-2_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.020201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_332-2_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.077206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_332-2_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.015172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_332-2_0_2_line_8 | NAYY 4x150 SE | 6 | 46 | 0.015018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_332-2_0_2_line_9 | NAYY 4x150 SE | 7 | 40 | 0.032144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_332-2_0_2_line_10 | NAYY 4x150 SE | 8 | 56 | 0.05612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_332-2_0_2_line_11 | NAYY 4x150 SE | 9 | 10 | 0.012024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_332-2_0_2_line_12 | NAYY 4x150 SE | 9 | 11 | 0.018059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_332-2_0_2_line_13 | NAYY 4x150 SE | 10 | 12 | 0.029017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_332-2_0_2_line_14 | NAYY 4x150 SE | 11 | 13 | 0.020683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_332-2_0_2_line_15 | NAYY 4x150 SE | 11 | 14 | 0.013843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_332-2_0_2_line_16 | NAYY 4x150 SE | 12 | 15 | 0.026057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_332-2_0_2_line_17 | NAYY 4x150 SE | 12 | 16 | 0.041258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_332-2_0_2_line_18 | NAYY 4x150 SE | 13 | 17 | 0.017448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_332-2_0_2_line_19 | NAYY 4x150 SE | 14 | 18 | 0.027229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_332-2_0_2_line_20 | NAYY 4x150 SE | 15 | 19 | 0.021001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_332-2_0_2_line_21 | NAYY 4x150 SE | 17 | 20 | 0.0091114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_332-2_0_2_line_22 | NAYY 4x150 SE | 18 | 21 | 0.019944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_332-2_0_2_line_23 | NAYY 4x150 SE | 19 | 26 | 0.02184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_332-2_0_2_line_24 | NAYY 4x150 SE | 20 | 24 | 0.0055505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_332-2_0_2_line_25 | NAYY 4x150 SE | 21 | 55 | 0.010108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_332-2_0_2_line_26 | NAYY 4x150 SE | 21 | 56 | 0.024821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_332-2_0_2_line_27 | NAYY 4x150 SE | 22 | 23 | 0.0018232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_332-2_0_2_line_28 | NAYY 4x150 SE | 22 | 24 | 0.0041783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_332-2_0_2_line_29 | NAYY 4x150 SE | 23 | 25 | 0.0064928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_332-2_0_2_line_30 | NAYY 4x150 SE | 26 | 27 | 0.023131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_332-2_0_2_line_31 | NAYY 4x150 SE | 26 | 28 | 0.17884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_332-2_0_2_line_32 | NAYY 4x150 SE | 27 | 31 | 0.10196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_332-2_0_2_line_33 | NAYY 4x150 SE | 28 | 32 | 0.024225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_332-2_0_2_line_34 | NAYY 4x150 SE | 29 | 30 | 0.020241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_332-2_0_2_line_35 | NAYY 4x150 SE | 30 | 33 | 0.015468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_332-2_0_2_line_36 | NAYY 4x150 SE | 31 | 34 | 0.34155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_332-2_0_2_line_37 | NAYY 4x150 SE | 32 | 35 | 0.34476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_332-2_0_2_line_38 | NAYY 4x150 SE | 33 | 39 | 0.037126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_332-2_0_2_line_39 | NAYY 4x150 SE | 33 | 37 | 0.019968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_332-2_0_2_line_40 | NAYY 4x150 SE | 34 | 41 | 0.008443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_332-2_0_2_line_41 | NAYY 4x150 SE | 34 | 42 | 0.43967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_332-2_0_2_line_42 | NAYY 4x150 SE | 35 | 65 | 0.028344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_332-2_0_2_line_43 | NAYY 4x150 SE | 36 | 37 | 0.027295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_332-2_0_2_line_44 | NAYY 4x150 SE | 37 | 38 | 0.052327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_332-2_0_2_line_45 | NAYY 4x150 SE | 39 | 40 | 0.025651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_332-2_0_2_line_46 | NAYY 4x150 SE | 41 | 43 | 0.039932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_332-2_0_2_line_47 | NAYY 4x150 SE | 42 | 44 | 0.022174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_332-2_0_2_line_48 | NAYY 4x150 SE | 43 | 45 | 0.0034334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_332-2_0_2_line_49 | NAYY 4x150 SE | 45 | 58 | 0.010123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_332-2_0_2_line_50 | NAYY 4x150 SE | 46 | 47 | 0.00097861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_332-2_0_2_line_51 | NAYY 4x150 SE | 48 | 49 | 0.014176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_332-2_0_2_line_52 | NAYY 4x150 SE | 48 | 50 | 0.0099029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_332-2_0_2_line_53 | NAYY 4x150 SE | 49 | 51 | 0.03645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_332-2_0_2_line_54 | NAYY 4x150 SE | 50 | 52 | 0.0067491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_332-2_0_2_line_55 | NAYY 4x150 SE | 51 | 53 | 0.032753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_332-2_0_2_line_56 | NAYY 4x150 SE | 52 | 54 | 0.02208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_332-2_0_2_line_57 | NAYY 4x150 SE | 54 | 55 | 0.0095213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_332-2_0_2_line_58 | NAYY 4x150 SE | 56 | 57 | 0.072356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_332-2_0_2_line_59 | NAYY 4x150 SE | 58 | 59 | 0.026927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_332-2_0_2_line_60 | NAYY 4x150 SE | 59 | 60 | 0.048689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_332-2_0_2_line_61 | NAYY 4x150 SE | 60 | 61 | 0.028872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_332-2_0_2_line_62 | NAYY 4x150 SE | 61 | 62 | 0.050256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_332-2_0_2_line_63 | NAYY 4x150 SE | 63 | 64 | 0.070293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_332-2_0_2_line_64 | NAYY 4x150 SE | 64 | 65 | 0.012309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_332-2_0_2_trafo_150 | 0.25 MVA 20/0.4 kV | 66 | 27 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26
0 | 2626453.612 | 1222613.0548 | 2626458.1862 | 1222605.4247 | 2626469.3376 | 1222604.7405 | 2626476.0764 | 1222596.9436 | 2626494.705 | 1222592.9795 | 2626494.7604 | 1222592.8011
1 | 2626445.8087 | 1222626.0709 | 2626453.612 | 1222613.0548
2 | 2626465.7272 | 1222642.4244 | 2626445.8087 | 1222626.0709
3 | 2626480.9176 | 1222630.507 | 2626465.7272 | 1222642.4244
4 | 2626465.7272 | 1222642.4244 | 2626477.6848 | 1222662.7505
5 | 2626480.9176 | 1222630.507 | 2626487.9661 | 1222638.3429 | 2626494.1898 | 1222645.7638
6 | 2626480.9176 | 1222630.507 | 2626541.9551 | 1222583.23
7 | 2626477.6848 | 1222662.7505 | 2626482.5276 | 1222670.9824 | 2626486.2672 | 1222675.1799
8 | 2626494.1898 | 1222645.7638 | 2626506.2359 | 1222636.7959
9 | 2626567.3678 | 1222563.5465 | 2626541.9551 | 1222583.23
10 | 2626525.47 | 1222714.6767 | 2626521.5103 | 1222713.1915 | 2626515.3836 | 1222707.8612 | 2626486.2672 | 1222675.1799
11 | 2626640.9844 | 1222709.7743 | 2626632.8645 | 1222711.142 | 2626629.0876 | 1222711.4568
12 | 2626611.091 | 1222712.957 | 2626629.0876 | 1222711.4568
13 | 2626667.766 | 1222699.0575 | 2626646.8823 | 1222708.781 | 2626640.9844 | 1222709.7743
14 | 2626611.091 | 1222712.957 | 2626611.6011 | 1222722.6983 | 2626607.9831 | 1222733.0105
15 | 2626611.091 | 1222712.957 | 2626597.2823 | 1222713.9372
16 | 2626659.4433 | 1222674.3613 | 2626667.766 | 1222699.0575
17 | 2626667.766 | 1222699.0575 | 2626670.7012 | 1222709.1876 | 2626679.53 | 1222738.6022
18 | 2626597.5643 | 1222746.3163 | 2626600.2723 | 1222739.3798 | 2626607.9831 | 1222733.0105 | 2626607.9831 | 1222733.0105
19 | 2626570.1215 | 1222715.8651 | 2626597.2823 | 1222713.9372
20 | 2626659.4433 | 1222674.3613 | 2626677.157 | 1222671.4499 | 2626680.1944 | 1222671.7197
21 | 2626597.5643 | 1222746.3163 | 2626597.5643 | 1222746.3163 | 2626598.3014 | 1222755.3979
22 | 2626550.2271 | 1222717.2772 | 2626570.1215 | 1222715.8651
23 | 2626701.9144 | 1222673.9843 | 2626687.8602 | 1222672.5984 | 2626686.3974 | 1222672.4029 | 2626685.1316 | 1222672.2416 | 2626682.9563 | 1222671.965 | 2626680.1944 | 1222671.7197
24 | 2626598.7505 | 1222760.9302 | 2626598.7505 | 1222760.9302 | 2626598.3014 | 1222755.3979
25 | 2626550.2271 | 1222717.2772 | 2626549.1743 | 1222727.3299
26 | 2626550.2271 | 1222717.2772 | 2626525.47 | 1222714.6767
27 | 2626595.5231 | 1222763.584 | 2626593.7035 | 1222763.6978
28 | 2626598.7505 | 1222760.9302 | 2626595.5231 | 1222763.584 | 2626595.5231 | 1222763.584
29 | 2626593.7035 | 1222763.6978 | 2626587.2233 | 1222764.1031
30 | 2626701.9144 | 1222673.9843 | 2626711.3632 | 1222675.8166 | 2626724.9037 | 1222676.7556
31 | 2626670.8229 | 1222500.5766 | 2626669.4549 | 1222528.3424 | 2626669.5189 | 1222549.6441 | 2626670.8872 | 1222569.2728 | 2626674.4873 | 1222590.1234 | 2626679.8235 | 1222616.1848 | 2626684.1365 | 1222635.3265 | 2626689.5429 | 1222650.782 | 2626696.2777 | 1222662.5524 | 2626701.9144 | 1222673.9843
32 | 2626724.9037 | 1222676.7556 | 2626724.8884 | 1222686.9504 | 2626734.8517 | 1222726.2626 | 2626741.8857 | 1222754.1439 | 2626747.4878 | 1222775.8931
33 | 2626670.8229 | 1222500.5766 | 2626672.5933 | 1222476.416
34 | 2626627.1938 | 1222563.6185 | 2626622.7666 | 1222543.868
35 | 2626619.3833 | 1222528.7745 | 2626622.7666 | 1222543.868
36 | 2626946.1703 | 1222911.478 | 2626940.7558 | 1222913.1323 | 2626854.3077 | 1222950.9315 | 2626832.4789 | 1222958.471 | 2626820.4647 | 1222962.2748 | 2626814.5649 | 1222962.2482 | 2626809.5554 | 1222959.8577 | 2626806.4835 | 1222954.941 | 2626790.3126 | 1222908.3409 | 2626768.2917 | 1222843.7818 | 2626754.7958 | 1222804.2646 | 2626747.4878 | 1222775.8931
37 | 2626672.5933 | 1222476.416 | 2626930.7698 | 1222247.9403
38 | 2626619.3833 | 1222528.7745 | 2626612.0927 | 1222532.6999 | 2626596.0748 | 1222541.3113 | 2626587.6472 | 1222547.8389
39 | 2626619.3833 | 1222528.7745 | 2626615.8383 | 1222509.125
40 | 2626953.9684 | 1222914.3483 | 2626950.1792 | 1222912.0965 | 2626946.1703 | 1222911.478
41 | 2626946.1703 | 1222911.478 | 2626956.8514 | 1222903.9997 | 2626966.5108 | 1222891.0357 | 2626969.4446 | 1222877.8523 | 2626966.2867 | 1222855.0691 | 2626955.0918 | 1222826.8908 | 2626933.7333 | 1222797.3324 | 2626919.0506 | 1222775.6534 | 2626910.7104 | 1222753.4138 | 2626908.7007 | 1222729.8798 | 2626910.5118 | 1222711.7106 | 2626913.5198 | 1222705.5983 | 2626917.0099 | 1222701.9119 | 2626922.7956 | 1222700.3815 | 2626927.1683 | 1222701.0906 | 2626935.1966 | 1222703.406 | 2626951.0697 | 1222708.3917 | 2626967.9645 | 1222712.1592 | 2626987.5665 | 1222714.3046 | 2627004.8739 | 1222715.706 | 2627021.0442 | 1222715.3457 | 2627040.9942 | 1222714.3133 | 2627050.7914 | 1222711.2114 | 2627056.7393 | 1222707.3806 | 2627071.1918 | 1222699.5082 | 2627101.3453 | 1222682.7574 | 2627109.5844 | 1222678.6461
42 | 2626930.7698 | 1222247.9403 | 2626934.6441 | 1222251.5822 | 2626939.332 | 1222253.082 | 2626945.7909 | 1222253.756 | 2626950.7486 | 1222250.9546 | 2626953.6617 | 1222245.8048
43 | 2626615.8383 | 1222509.125 | 2626642.8735 | 1222505.368
44 | 2626615.8383 | 1222509.125 | 2626609.5677 | 1222457.1751
45 | 2626567.3678 | 1222563.5465 | 2626587.6472 | 1222547.8389
46 | 2626953.9684 | 1222914.3483 | 2626956.6727 | 1222920.0305 | 2626957.8361 | 1222926.0505 | 2626961.0095 | 1222953.3745
47 | 2627129.3909 | 1222668.681 | 2627127.9719 | 1222669.4707 | 2627109.5844 | 1222678.6461
48 | 2626961.4056 | 1222956.785 | 2626961.0095 | 1222953.3745
49 | 2626962.5734 | 1222966.8403 | 2626961.4056 | 1222956.785
50 | 2626507.0209 | 1222636.2115 | 2626506.2359 | 1222636.7959
51 | 2626541.3939 | 1222774.7636 | 2626537.2762 | 1222788.3281
52 | 2626544.2704 | 1222765.2876 | 2626541.3939 | 1222774.7636
53 | 2626507.9543 | 1222809.8791 | 2626513.1909 | 1222806.9875 | 2626537.2762 | 1222788.3281 | 2626537.2762 | 1222788.3281
54 | 2626544.2704 | 1222765.2876 | 2626545.6886 | 1222760.6159 | 2626545.883 | 1222758.7591
55 | 2626507.9543 | 1222809.8791 | 2626479.2821 | 1222825.7112
56 | 2626548.1827 | 1222736.7994 | 2626545.883 | 1222758.7591
57 | 2626549.1743 | 1222727.3299 | 2626548.1827 | 1222736.7994
58 | 2626525.47 | 1222714.6767 | 2626513.6975 | 1222725.4751 | 2626503.0128 | 1222730.4083 | 2626502.6215 | 1222746.7829 | 2626499.7882 | 1222759.7557 | 2626494.2212 | 1222764.9896 | 2626487.404 | 1222767.6379
59 | 2626962.5734 | 1222966.8403 | 2626964.4435 | 1222993.7024
60 | 2626974.7887 | 1223041.0807 | 2626974.2325 | 1223039.8361 | 2626968.8613 | 1223023.5577 | 2626964.5245 | 1222994.8657 | 2626964.4435 | 1222993.7024
61 | 2626986.567 | 1223067.4415 | 2626974.7887 | 1223041.0807
62 | 2626986.567 | 1223067.4415 | 2626938.3901 | 1223081.7468
63 | 2626958.5739 | 1222234.5692 | 2626958.4987 | 1222227.7092 | 2626954.7517 | 1222217.7198 | 2626950.9444 | 1222202.5937 | 2626948.016 | 1222185.9818 | 2626947.687 | 1222169.8486 | 2626947.3872 | 1222165.6987
64 | 2626958.5739 | 1222234.5692 | 2626956.1998 | 1222241.318 | 2626953.6617 | 1222245.8048

## bus_geodata
| x | y | coords
0 | 2626453.612 | 1222613.0548
1 | 2626494.7604 | 1222592.8011
2 | 2626445.8087 | 1222626.0709
3 | 2626465.7272 | 1222642.4244
4 | 2626480.9176 | 1222630.507
5 | 2626477.6848 | 1222662.7505
6 | 2626494.1898 | 1222645.7638
7 | 2626541.9551 | 1222583.23
8 | 2626486.2672 | 1222675.1799
9 | 2626629.0876 | 1222711.4568
10 | 2626640.9844 | 1222709.7743
11 | 2626611.0909 | 1222712.957
12 | 2626667.766 | 1222699.0575
13 | 2626607.9831 | 1222733.0105
14 | 2626597.2823 | 1222713.9372
15 | 2626659.4433 | 1222674.3613
16 | 2626679.53 | 1222738.6022
17 | 2626597.5643 | 1222746.3163
18 | 2626570.1215 | 1222715.8651
19 | 2626680.1944 | 1222671.7197
20 | 2626598.3014 | 1222755.3979
21 | 2626550.2271 | 1222717.2772
22 | 2626595.5231 | 1222763.584
23 | 2626593.7035 | 1222763.6978
24 | 2626598.7505 | 1222760.9302
25 | 2626587.2233 | 1222764.1031
26 | 2626701.9144 | 1222673.9843
27 | 2626724.9037 | 1222676.7556
28 | 2626670.8229 | 1222500.5766
29 | 2626627.1938 | 1222563.6185
30 | 2626622.7666 | 1222543.868
31 | 2626747.4878 | 1222775.8931
32 | 2626672.5933 | 1222476.416
33 | 2626619.3833 | 1222528.7745
34 | 2626946.1703 | 1222911.478
35 | 2626930.7698 | 1222247.9403
36 | 2626642.8735 | 1222505.368
37 | 2626615.8383 | 1222509.125
38 | 2626609.5677 | 1222457.1751
39 | 2626587.6472 | 1222547.8389
40 | 2626567.3678 | 1222563.5465
41 | 2626953.9684 | 1222914.3483
42 | 2627109.5844 | 1222678.6461
43 | 2626961.0095 | 1222953.3745
44 | 2627129.3909 | 1222668.681
45 | 2626961.4056 | 1222956.785
46 | 2626506.2359 | 1222636.7959
47 | 2626507.0209 | 1222636.2115
48 | 2626541.3939 | 1222774.7636
49 | 2626537.2762 | 1222788.3281
50 | 2626544.2704 | 1222765.2876
51 | 2626507.9543 | 1222809.8791
52 | 2626545.883 | 1222758.7591
53 | 2626479.282 | 1222825.7112
54 | 2626548.1827 | 1222736.7994
55 | 2626549.1743 | 1222727.3299
56 | 2626525.47 | 1222714.6767
57 | 2626487.404 | 1222767.6379
58 | 2626962.5734 | 1222966.8403
59 | 2626964.4435 | 1222993.7024
60 | 2626974.7887 | 1223041.0808
61 | 2626986.567 | 1223067.4415
62 | 2626938.3901 | 1223081.7468
63 | 2626947.3872 | 1222165.6987
64 | 2626958.5739 | 1222234.5692
65 | 2626953.6617 | 1222245.8048
66 | 2626724.9037 | 1222676.7556

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1