## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_332-2_1_6_node_111 | 0.4 | n |  | TRUE
1 | bus_LV_332-2_1_6_node_197 | 0.4 | n |  | TRUE
2 | bus_LV_332-2_1_6_node_195 | 0.4 | n |  | TRUE
3 | bus_LV_332-2_1_6_node_107 | 0.4 | n |  | TRUE
4 | bus_LV_332-2_1_6_node_115 | 0.4 | n |  | TRUE
5 | bus_LV_332-2_1_6_node_116 | 0.4 | n |  | TRUE
6 | bus_LV_332-2_1_6_node_117 | 0.4 | n |  | TRUE
7 | bus_LV_332-2_1_6_node_118 | 0.4 | n |  | TRUE
8 | bus_LV_332-2_1_6_node_119 | 0.4 | n |  | TRUE
9 | bus_LV_332-2_1_6_node_120 | 0.4 | n |  | TRUE
10 | bus_LV_332-2_1_6_node_129 | 0.4 | n |  | TRUE
11 | bus_LV_332-2_1_6_node_194 | 0.4 | n |  | TRUE
12 | bus_LV_332-2_1_6_node_127 | 0.4 | n |  | TRUE
13 | bus_LV_332-2_1_6_node_128 | 0.4 | n |  | TRUE
14 | bus_LV_332-2_1_6_node_126 | 0.4 | n |  | TRUE
15 | bus_LV_332-2_1_6_node_130 | 0.4 | n |  | TRUE
16 | bus_LV_332-2_1_6_node_196 | 0.4 | n |  | TRUE
17 | bus_LV_332-2_1_6_node_198 | 0.4 | n |  | TRUE
18 | bus_LV_332-2_1_6_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_332-2_1_6_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_332-2_1_6_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_332-2_1_6_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_332-2_1_6_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_332-2_1_6_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_332-2_1_6_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_332-2_1_6_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_332-2_1_6_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_332-2_1_6_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_332-2_1_6_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_332-2_1_6_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_332-2_1_6_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_332-2_1_6_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_332-2_1_6_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_332-2_1_6_node_49 | 0.4 | n |  | TRUE
34 | bus_LV_332-2_1_6_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_332-2_1_6_node_100 | 0.4 | n |  | TRUE
36 | bus_LV_332-2_1_6_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_332-2_1_6_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_332-2_1_6_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_332-2_1_6_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_332-2_1_6_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_332-2_1_6_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_332-2_1_6_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_332-2_1_6_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_332-2_1_6_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_332-2_1_6_node_101 | 0.4 | n |  | TRUE
46 | bus_LV_332-2_1_6_node_71 | 0.4 | n |  | TRUE
47 | bus_LV_332-2_1_6_node_69 | 0.4 | n |  | TRUE
48 | bus_LV_332-2_1_6_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_332-2_1_6_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_332-2_1_6_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_332-2_1_6_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_332-2_1_6_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_332-2_1_6_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_332-2_1_6_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_332-2_1_6_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_332-2_1_6_node_70 | 0.4 | n |  | TRUE
57 | bus_LV_332-2_1_6_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_332-2_1_6_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_332-2_1_6_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_332-2_1_6_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_332-2_1_6_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_332-2_1_6_node_64 | 0.4 | n |  | TRUE
63 | bus_LV_332-2_1_6_node_33 | 0.4 | n |  | TRUE
64 | bus_LV_332-2_1_6_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_332-2_1_6_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_332-2_1_6_node_94 | 0.4 | n |  | TRUE
67 | bus_LV_332-2_1_6_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_332-2_1_6_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_332-2_1_6_node_39 | 0.4 | n |  | TRUE
70 | bus_LV_332-2_1_6_node_41 | 0.4 | n |  | TRUE
71 | bus_LV_332-2_1_6_node_89 | 0.4 | n |  | TRUE
72 | bus_LV_332-2_1_6_node_88 | 0.4 | n |  | TRUE
73 | bus_LV_332-2_1_6_node_53 | 0.4 | n |  | TRUE
74 | bus_LV_332-2_1_6_node_54 | 0.4 | n |  | TRUE
75 | bus_LV_332-2_1_6_node_55 | 0.4 | n |  | TRUE
76 | bus_LV_332-2_1_6_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_332-2_1_6_node_56 | 0.4 | n |  | TRUE
78 | bus_LV_332-2_1_6_node_58 | 0.4 | n |  | TRUE
79 | bus_LV_332-2_1_6_node_59 | 0.4 | n |  | TRUE
80 | bus_LV_332-2_1_6_node_60 | 0.4 | n |  | TRUE
81 | bus_LV_332-2_1_6_node_61 | 0.4 | n |  | TRUE
82 | bus_LV_332-2_1_6_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_332-2_1_6_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_332-2_1_6_node_74 | 0.4 | n |  | TRUE
85 | bus_LV_332-2_1_6_node_63 | 0.4 | n |  | TRUE
86 | bus_LV_332-2_1_6_node_68 | 0.4 | n |  | TRUE
87 | bus_LV_332-2_1_6_node_95 | 0.4 | n |  | TRUE
88 | bus_LV_332-2_1_6_node_96 | 0.4 | n |  | TRUE
89 | bus_LV_332-2_1_6_node_72 | 0.4 | n |  | TRUE
90 | bus_LV_332-2_1_6_node_73 | 0.4 | n |  | TRUE
91 | bus_LV_332-2_1_6_node_75 | 0.4 | n |  | TRUE
92 | bus_LV_332-2_1_6_node_77 | 0.4 | n |  | TRUE
93 | bus_LV_332-2_1_6_node_78 | 0.4 | n |  | TRUE
94 | bus_LV_332-2_1_6_node_79 | 0.4 | n |  | TRUE
95 | bus_LV_332-2_1_6_node_81 | 0.4 | n |  | TRUE
96 | bus_LV_332-2_1_6_node_82 | 0.4 | n |  | TRUE
97 | bus_LV_332-2_1_6_node_76 | 0.4 | n |  | TRUE
98 | bus_LV_332-2_1_6_node_83 | 0.4 | n |  | TRUE
99 | bus_LV_332-2_1_6_node_84 | 0.4 | n |  | TRUE
100 | bus_LV_332-2_1_6_node_203 | 0.4 | n |  | TRUE
101 | bus_LV_332-2_1_6_node_204 | 0.4 | n |  | TRUE
102 | bus_LV_332-2_1_6_node_131 | 0.4 | n |  | TRUE
103 | bus_LV_332-2_1_6_node_85 | 0.4 | n |  | TRUE
104 | bus_LV_332-2_1_6_node_90 | 0.4 | n |  | TRUE
105 | bus_LV_332-2_1_6_node_91 | 0.4 | n |  | TRUE
106 | bus_LV_332-2_1_6_node_92 | 0.4 | n |  | TRUE
107 | bus_LV_332-2_1_6_node_93 | 0.4 | n |  | TRUE
108 | bus_LV_332-2_1_6_node_183 | 0.4 | n |  | TRUE
109 | bus_LV_332-2_1_6_node_186 | 0.4 | n |  | TRUE
110 | bus_LV_332-2_1_6_node_185 | 0.4 | n |  | TRUE
111 | bus_LV_332-2_1_6_node_86 | 0.4 | n |  | TRUE
112 | bus_LV_332-2_1_6_node_98 | 0.4 | n |  | TRUE
113 | bus_LV_332-2_1_6_node_102 | 0.4 | n |  | TRUE
114 | bus_LV_332-2_1_6_node_184 | 0.4 | n |  | TRUE
115 | bus_LV_332-2_1_6_node_87 | 0.4 | n |  | TRUE
116 | bus_LV_332-2_1_6_node_99 | 0.4 | n |  | TRUE
117 | bus_LV_332-2_1_6_node_97 | 0.4 | n |  | TRUE
118 | bus_LV_332-2_1_6_node_114 | 0.4 | n |  | TRUE
119 | bus_LV_332-2_1_6_node_104 | 0.4 | n |  | TRUE
120 | bus_LV_332-2_1_6_node_106 | 0.4 | n |  | TRUE
121 | bus_LV_332-2_1_6_node_103 | 0.4 | n |  | TRUE
122 | bus_LV_332-2_1_6_node_109 | 0.4 | n |  | TRUE
123 | bus_LV_332-2_1_6_node_108 | 0.4 | n |  | TRUE
124 | bus_LV_332-2_1_6_node_105 | 0.4 | n |  | TRUE
125 | bus_LV_332-2_1_6_node_125 | 0.4 | n |  | TRUE
126 | bus_LV_332-2_1_6_node_110 | 0.4 | n |  | TRUE
127 | bus_LV_332-2_1_6_node_112 | 0.4 | n |  | TRUE
128 | bus_LV_332-2_1_6_node_113 | 0.4 | n |  | TRUE
129 | bus_LV_332-2_1_6_node_122 | 0.4 | n |  | TRUE
130 | bus_LV_332-2_1_6_node_123 | 0.4 | n |  | TRUE
131 | bus_LV_332-2_1_6_node_121 | 0.4 | n |  | TRUE
132 | bus_LV_332-2_1_6_node_124 | 0.4 | n |  | TRUE
133 | bus_MV_476_0_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_332-2_1_6_load_197 | 1 | 0.00080818 | 0.00020255 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_332-2_1_6_load_115 | 4 | 0.00026094 | 6.5398e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_332-2_1_6_load_119 | 8 | 0.005019 | 0.0012579 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_332-2_1_6_load_120 | 9 | 0.00011619 | 2.9119e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_332-2_1_6_load_194 | 11 | 0.00011715 | 2.936e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_332-2_1_6_load_128 | 13 | 0.0033955 | 0.00085099 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_332-2_1_6_load_126 | 14 | 0.019737 | 0.0049466 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_332-2_1_6_load_130 | 15 | 0.0034024 | 0.00085273 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_332-2_1_6_load_198 | 17 | 0.00026567 | 6.6582e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_332-2_1_6_load_8 | 18 | 4.6149e-05 | 1.1566e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_332-2_1_6_load_9 | 19 | 0.00041922 | 0.00010507 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_332-2_1_6_load_11 | 21 | 5.7686e-05 | 1.4458e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_332-2_1_6_load_12 | 22 | 6.6449e-05 | 1.6654e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_332-2_1_6_load_15 | 25 | 0.00020005 | 5.0138e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_332-2_1_6_load_16 | 26 | 0.00039865 | 9.9911e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_332-2_1_6_load_20 | 29 | 0.00026426 | 6.623e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_332-2_1_6_load_47 | 31 | 0.00021743 | 5.4494e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_332-2_1_6_load_49 | 33 | 0.00014227 | 3.5655e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_332-2_1_6_load_48 | 34 | 0.00047369 | 0.00011872 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_332-2_1_6_load_100 | 35 | 0.00064063 | 0.00016056 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_332-2_1_6_load_43 | 36 | 0.00017216 | 4.3148e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_332-2_1_6_load_40 | 37 | 0.00015151 | 3.7973e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_332-2_1_6_load_46 | 38 | 0.00020395 | 5.1115e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_332-2_1_6_load_22 | 39 | 0.00052743 | 0.00013219 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_332-2_1_6_load_27 | 43 | 0.00026381 | 6.6118e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_332-2_1_6_load_28 | 44 | 0.0004588 | 0.00011499 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_332-2_1_6_load_101 | 45 | 0.00017638 | 4.4206e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_332-2_1_6_load_71 | 46 | 0.00032409 | 8.1225e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_332-2_1_6_load_69 | 47 | 0.00094242 | 0.00023619 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_332-2_1_6_load_29 | 49 | 0.0018286 | 0.00045828 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_332-2_1_6_load_30 | 50 | 0.00029737 | 7.4529e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_332-2_1_6_load_34 | 55 | 0.00021091 | 5.286e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_332-2_1_6_load_70 | 56 | 0.00044026 | 0.00011034 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_332-2_1_6_load_45 | 58 | 0.0011309 | 0.00028342 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_332-2_1_6_load_51 | 59 | 0.00044912 | 0.00011256 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_332-2_1_6_load_50 | 60 | 0.00082393 | 0.0002065 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_332-2_1_6_load_66 | 61 | 0.00010628 | 2.6635e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_332-2_1_6_load_33 | 63 | 0.00047681 | 0.0001195 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_332-2_1_6_load_44 | 64 | 0.00027812 | 6.9703e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_332-2_1_6_load_52 | 65 | 0.00066507 | 0.00016668 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_332-2_1_6_load_62 | 68 | 0.00010697 | 2.681e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_332-2_1_6_load_39 | 69 | 0.0013178 | 0.00033028 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_332-2_1_6_load_41 | 70 | 0.00026083 | 6.5369e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_332-2_1_6_load_89 | 71 | 0.00070954 | 0.00017783 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_332-2_1_6_load_88 | 72 | 0.0009056 | 0.00022697 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_332-2_1_6_load_53 | 73 | 0.00042179 | 0.00010571 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_332-2_1_6_load_54 | 74 | 0.00047177 | 0.00011824 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_332-2_1_6_load_55 | 75 | 0.00045895 | 0.00011502 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_332-2_1_6_load_58 | 78 | 0.00047546 | 0.00011916 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_332-2_1_6_load_59 | 79 | 0.00057542 | 0.00014422 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_332-2_1_6_load_60 | 80 | 0.00032485 | 8.1414e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_332-2_1_6_load_61 | 81 | 0.00079271 | 0.00019867 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_332-2_1_6_load_67 | 82 | 0.0015448 | 0.00038717 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_332-2_1_6_load_63 | 85 | 0.0007819 | 0.00019596 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_332-2_1_6_load_68 | 86 | 0.00033342 | 8.3562e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_332-2_1_6_load_95 | 87 | 0.00010921 | 2.737e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_332-2_1_6_load_96 | 88 | 0.0001925 | 4.8246e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_332-2_1_6_load_72 | 89 | 0.00085135 | 0.00021337 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_332-2_1_6_load_73 | 90 | 0.0012654 | 0.00031713 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_332-2_1_6_load_83 | 98 | 0.00031814 | 7.9733e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_332-2_1_6_load_203 | 100 | 0.0002066 | 5.178e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_332-2_1_6_load_204 | 101 | 0.00081477 | 0.0002042 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_332-2_1_6_load_131 | 102 | 0.00035045 | 8.7831e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_332-2_1_6_load_85 | 103 | 0.00064728 | 0.00016222 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_332-2_1_6_load_90 | 104 | 0.0030718 | 0.00076987 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_332-2_1_6_load_92 | 106 | 0.0017989 | 0.00045085 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_332-2_1_6_load_183 | 108 | 0.0011639 | 0.00029171 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_332-2_1_6_load_186 | 109 | 0.00065469 | 0.00016408 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_332-2_1_6_load_185 | 110 | 0.00025985 | 6.5124e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_332-2_1_6_load_86 | 111 | 0.0020919 | 0.00052427 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_332-2_1_6_load_98 | 112 | 0.00038746 | 9.7106e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_332-2_1_6_load_102 | 113 | 0.00049601 | 0.00012431 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_332-2_1_6_load_184 | 114 | 0.00061948 | 0.00015526 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_332-2_1_6_load_87 | 115 | 0.00068813 | 0.00017246 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_332-2_1_6_load_99 | 116 | 0.0024298 | 0.00060896 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_332-2_1_6_load_97 | 117 | 0.0016319 | 0.00040899 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_332-2_1_6_load_114 | 118 | 0.00041103 | 0.00010301 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_332-2_1_6_load_104 | 119 | 0.0014356 | 0.0003598 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_332-2_1_6_load_106 | 120 | 0.0002103 | 5.2706e-05 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_332-2_1_6_load_103 | 121 | 0.00042562 | 0.00010667 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_332-2_1_6_load_109 | 122 | 0.0016362 | 0.00041006 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_332-2_1_6_load_125 | 125 | 0.00077071 | 0.00019316 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_332-2_1_6_load_110 | 126 | 0.00063666 | 0.00015956 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_332-2_1_6_load_112 | 127 | 0.002237 | 0.00056064 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_332-2_1_6_load_113 | 128 | 0.0008362 | 0.00020957 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_332-2_1_6_load_121 | 131 | 0.00016347 | 4.097e-05 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_332-2_1_6_load_124 | 132 | 0.00015253 | 3.8228e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 104 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_332-2_1_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.029687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_332-2_1_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.073562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_332-2_1_6_line_2 | NAYY 4x150 SE | 0 | 3 | 0.2817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_332-2_1_6_line_3 | NAYY 4x150 SE | 2 | 16 | 0.010518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_332-2_1_6_line_4 | NAYY 4x150 SE | 2 | 11 | 0.035824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_332-2_1_6_line_5 | NAYY 4x150 SE | 3 | 126 | 0.009209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_332-2_1_6_line_6 | NAYY 4x150 SE | 3 | 124 | 0.019125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_332-2_1_6_line_7 | NAYY 4x150 SE | 4 | 5 | 0.14778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_332-2_1_6_line_8 | NAYY 4x150 SE | 5 | 6 | 0.04475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_332-2_1_6_line_9 | NAYY 4x150 SE | 5 | 7 | 0.036256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_332-2_1_6_line_10 | NAYY 4x150 SE | 6 | 8 | 0.05391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_332-2_1_6_line_11 | NAYY 4x150 SE | 7 | 9 | 0.27228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_332-2_1_6_line_12 | NAYY 4x150 SE | 8 | 10 | 0.0059585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_332-2_1_6_line_13 | NAYY 4x150 SE | 9 | 11 | 0.024638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_332-2_1_6_line_14 | NAYY 4x150 SE | 10 | 15 | 0.017518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_332-2_1_6_line_15 | NAYY 4x150 SE | 10 | 12 | 0.014364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_332-2_1_6_line_16 | NAYY 4x150 SE | 12 | 13 | 0.0071297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_332-2_1_6_line_17 | NAYY 4x150 SE | 12 | 14 | 0.028454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_332-2_1_6_line_18 | NAYY 4x150 SE | 16 | 17 | 0.015846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_332-2_1_6_line_19 | NAYY 4x150 SE | 18 | 19 | 0.0075548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_332-2_1_6_line_20 | NAYY 4x150 SE | 18 | 20 | 0.02245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_332-2_1_6_line_21 | NAYY 4x150 SE | 19 | 21 | 0.0073596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_332-2_1_6_line_22 | NAYY 4x150 SE | 20 | 22 | 0.0035166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_332-2_1_6_line_23 | NAYY 4x150 SE | 20 | 23 | 0.19555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_332-2_1_6_line_24 | NAYY 4x150 SE | 21 | 24 | 0.38107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_332-2_1_6_line_25 | NAYY 4x150 SE | 23 | 25 | 0.075849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_332-2_1_6_line_26 | NAYY 4x150 SE | 23 | 26 | 0.035282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_332-2_1_6_line_27 | NAYY 4x150 SE | 24 | 27 | 0.18049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_332-2_1_6_line_28 | NAYY 4x150 SE | 27 | 28 | 0.095761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_332-2_1_6_line_29 | NAYY 4x150 SE | 27 | 29 | 0.33926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_332-2_1_6_line_30 | NAYY 4x150 SE | 28 | 33 | 0.27284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_332-2_1_6_line_31 | NAYY 4x150 SE | 29 | 34 | 0.060167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_332-2_1_6_line_32 | NAYY 4x150 SE | 30 | 31 | 0.13191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_332-2_1_6_line_33 | NAYY 4x150 SE | 30 | 32 | 0.048158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_332-2_1_6_line_34 | NAYY 4x150 SE | 31 | 35 | 0.021161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_332-2_1_6_line_35 | NAYY 4x150 SE | 32 | 36 | 0.023207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_332-2_1_6_line_36 | NAYY 4x150 SE | 32 | 37 | 0.022276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_332-2_1_6_line_37 | NAYY 4x150 SE | 33 | 38 | 0.17615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_332-2_1_6_line_38 | NAYY 4x150 SE | 35 | 45 | 0.025424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_332-2_1_6_line_39 | NAYY 4x150 SE | 36 | 64 | 0.05183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_332-2_1_6_line_40 | NAYY 4x150 SE | 37 | 69 | 0.031122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_332-2_1_6_line_41 | NAYY 4x150 SE | 38 | 53 | 0.062678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_332-2_1_6_line_42 | NAYY 4x150 SE | 39 | 40 | 0.12405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_332-2_1_6_line_43 | NAYY 4x150 SE | 40 | 41 | 0.42272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_332-2_1_6_line_44 | NAYY 4x150 SE | 41 | 42 | 0.15298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_332-2_1_6_line_45 | NAYY 4x150 SE | 42 | 43 | 0.010852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_332-2_1_6_line_46 | NAYY 4x150 SE | 42 | 44 | 0.0058414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_332-2_1_6_line_47 | NAYY 4x150 SE | 43 | 46 | 0.057427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_332-2_1_6_line_48 | NAYY 4x150 SE | 44 | 47 | 0.017646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_332-2_1_6_line_49 | NAYY 4x150 SE | 47 | 48 | 0.013794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_332-2_1_6_line_50 | NAYY 4x150 SE | 48 | 56 | 0.21053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_332-2_1_6_line_51 | NAYY 4x150 SE | 48 | 57 | 0.066754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_332-2_1_6_line_52 | NAYY 4x150 SE | 49 | 50 | 0.053124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_332-2_1_6_line_53 | NAYY 4x150 SE | 50 | 51 | 0.049247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_332-2_1_6_line_54 | NAYY 4x150 SE | 51 | 52 | 0.032786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_332-2_1_6_line_55 | NAYY 4x150 SE | 52 | 53 | 0.16297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_332-2_1_6_line_56 | NAYY 4x150 SE | 52 | 54 | 0.2989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_332-2_1_6_line_57 | NAYY 4x150 SE | 52 | 55 | 0.064422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_332-2_1_6_line_58 | NAYY 4x150 SE | 53 | 58 | 0.030733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_332-2_1_6_line_59 | NAYY 4x150 SE | 54 | 59 | 0.065822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_332-2_1_6_line_60 | NAYY 4x150 SE | 54 | 60 | 0.051334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_332-2_1_6_line_61 | NAYY 4x150 SE | 55 | 63 | 0.014213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_332-2_1_6_line_62 | NAYY 4x150 SE | 57 | 61 | 0.0086104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_332-2_1_6_line_63 | NAYY 4x150 SE | 57 | 62 | 0.051679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_332-2_1_6_line_64 | NAYY 4x150 SE | 58 | 64 | 0.11191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_332-2_1_6_line_65 | NAYY 4x150 SE | 59 | 65 | 0.085663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_332-2_1_6_line_66 | NAYY 4x150 SE | 61 | 66 | 0.012662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_332-2_1_6_line_67 | NAYY 4x150 SE | 62 | 67 | 0.099919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_332-2_1_6_line_68 | NAYY 4x150 SE | 62 | 68 | 0.0093078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_332-2_1_6_line_69 | NAYY 4x150 SE | 65 | 71 | 0.035203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_332-2_1_6_line_70 | NAYY 4x150 SE | 66 | 87 | 0.016562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_332-2_1_6_line_71 | NAYY 4x150 SE | 66 | 88 | 0.015716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_332-2_1_6_line_72 | NAYY 4x150 SE | 67 | 86 | 0.021691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_332-2_1_6_line_73 | NAYY 4x150 SE | 67 | 82 | 0.016145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_332-2_1_6_line_74 | NAYY 4x150 SE | 68 | 85 | 0.027176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_332-2_1_6_line_75 | NAYY 4x150 SE | 69 | 70 | 0.026956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_332-2_1_6_line_76 | NAYY 4x150 SE | 71 | 72 | 0.056274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_332-2_1_6_line_77 | NAYY 4x150 SE | 72 | 115 | 0.0072415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_332-2_1_6_line_78 | NAYY 4x150 SE | 73 | 74 | 0.01072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_332-2_1_6_line_79 | NAYY 4x150 SE | 73 | 75 | 0.019688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_332-2_1_6_line_80 | NAYY 4x150 SE | 75 | 76 | 0.036421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_332-2_1_6_line_81 | NAYY 4x150 SE | 76 | 80 | 0.013045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_332-2_1_6_line_82 | NAYY 4x150 SE | 76 | 81 | 0.009856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_332-2_1_6_line_83 | NAYY 4x150 SE | 77 | 78 | 0.029613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_332-2_1_6_line_84 | NAYY 4x150 SE | 77 | 79 | 0.019244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_332-2_1_6_line_85 | NAYY 4x150 SE | 78 | 82 | 0.042796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_332-2_1_6_line_86 | NAYY 4x150 SE | 79 | 83 | 0.025925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_332-2_1_6_line_87 | NAYY 4x150 SE | 80 | 83 | 0.0229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_332-2_1_6_line_88 | NAYY 4x150 SE | 83 | 84 | 0.16367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_332-2_1_6_line_89 | NAYY 4x150 SE | 84 | 92 | 0.17575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_332-2_1_6_line_90 | NAYY 4x150 SE | 84 | 93 | 0.12357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
91 | LV_332-2_1_6_line_91 | NAYY 4x150 SE | 84 | 94 | 0.35419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
92 | LV_332-2_1_6_line_92 | NAYY 4x150 SE | 89 | 90 | 0.039139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_332-2_1_6_line_93 | NAYY 4x150 SE | 90 | 91 | 0.0023959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_332-2_1_6_line_94 | NAYY 4x150 SE | 91 | 95 | 0.028029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
95 | LV_332-2_1_6_line_95 | NAYY 4x150 SE | 91 | 96 | 0.003799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
96 | LV_332-2_1_6_line_96 | NAYY 4x150 SE | 92 | 100 | 0.02382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_332-2_1_6_line_97 | NAYY 4x150 SE | 92 | 101 | 0.023423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_332-2_1_6_line_98 | NAYY 4x150 SE | 93 | 102 | 0.049293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
99 | LV_332-2_1_6_line_99 | NAYY 4x150 SE | 94 | 103 | 0.14717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_332-2_1_6_line_100 | NAYY 4x150 SE | 95 | 104 | 0.083113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
101 | LV_332-2_1_6_line_101 | NAYY 4x150 SE | 95 | 105 | 0.031693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_332-2_1_6_line_102 | NAYY 4x150 SE | 96 | 106 | 0.028526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_332-2_1_6_line_103 | NAYY 4x150 SE | 96 | 107 | 0.26015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
104 | LV_332-2_1_6_line_104 | NAYY 4x150 SE | 97 | 98 | 0.015215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_332-2_1_6_line_105 | NAYY 4x150 SE | 97 | 99 | 0.17566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_332-2_1_6_line_106 | NAYY 4x150 SE | 98 | 108 | 0.025677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_332-2_1_6_line_107 | NAYY 4x150 SE | 99 | 109 | 0.006398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_332-2_1_6_line_108 | NAYY 4x150 SE | 99 | 110 | 0.0085389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_332-2_1_6_line_109 | NAYY 4x150 SE | 102 | 107 | 0.011092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
110 | LV_332-2_1_6_line_110 | NAYY 4x150 SE | 103 | 111 | 0.024045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_332-2_1_6_line_111 | NAYY 4x150 SE | 104 | 112 | 0.048461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
112 | LV_332-2_1_6_line_112 | NAYY 4x150 SE | 105 | 113 | 0.050421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_332-2_1_6_line_113 | NAYY 4x150 SE | 108 | 114 | 0.0099863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_332-2_1_6_line_114 | NAYY 4x150 SE | 111 | 115 | 0.018106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_332-2_1_6_line_115 | NAYY 4x150 SE | 112 | 116 | 0.034736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
116 | LV_332-2_1_6_line_116 | NAYY 4x150 SE | 113 | 117 | 0.027941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_332-2_1_6_line_117 | NAYY 4x150 SE | 114 | 125 | 0.25854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_332-2_1_6_line_118 | NAYY 4x150 SE | 116 | 118 | 0.29291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
119 | LV_332-2_1_6_line_119 | NAYY 4x150 SE | 118 | 123 | 0.012283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
120 | LV_332-2_1_6_line_120 | NAYY 4x150 SE | 119 | 120 | 0.044015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_332-2_1_6_line_121 | NAYY 4x150 SE | 119 | 121 | 0.0049218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_332-2_1_6_line_122 | NAYY 4x150 SE | 120 | 122 | 0.024273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_332-2_1_6_line_123 | NAYY 4x150 SE | 121 | 124 | 0.020683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_332-2_1_6_line_124 | NAYY 4x150 SE | 123 | 127 | 0.018184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_332-2_1_6_line_125 | NAYY 4x150 SE | 123 | 128 | 0.015462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
126 | LV_332-2_1_6_line_126 | NAYY 4x150 SE | 125 | 127 | 0.031008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_332-2_1_6_line_127 | NAYY 4x150 SE | 126 | 129 | 0.019855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
128 | LV_332-2_1_6_line_128 | NAYY 4x150 SE | 128 | 130 | 0.0076287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
129 | LV_332-2_1_6_line_129 | NAYY 4x150 SE | 129 | 130 | 0.02766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
130 | LV_332-2_1_6_line_130 | NAYY 4x150 SE | 129 | 131 | 0.026088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_332-2_1_6_line_131 | NAYY 4x150 SE | 130 | 132 | 0.023503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_332-2_1_6_trafo_90 | 0.25 MVA 20/0.4 kV | 133 | 104 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29
0 | 2626015.9672 | 1222004.2159 | 2626021.4981 | 1222009.0651 | 2626040.0562 | 1222021.5867
1 | 2626088.8912 | 1221999.6427 | 2626079.5081 | 1222003.3038 | 2626072.8282 | 1222004.5198 | 2626063.7005 | 1222005.2915 | 2626034.7057 | 1222004.9758 | 2626015.9672 | 1222004.2159
2 | 2625789.1416 | 1222156.4093 | 2625793.4458 | 1222148.5233 | 2625880.2259 | 1222075.4896 | 2625912.1998 | 1222042.9648 | 2625934.4513 | 1222025.9293 | 2625948.124 | 1222017.784 | 2625958.505 | 1222013.093 | 2625970.7233 | 1222009.7553 | 2625987.0601 | 1222006.3912 | 2626007.9951 | 1222004.359 | 2626015.9672 | 1222004.2159
3 | 2626088.8912 | 1221999.6427 | 2626097.6317 | 1221993.7553
4 | 2626088.8912 | 1221999.6427 | 2626098.7911 | 1222034.0717
5 | 2625789.1416 | 1222156.4093 | 2625783.828 | 1222160.9446 | 2625781.9959 | 1222162.2036
6 | 2625792.5225 | 1222174.3678 | 2625793.7139 | 1222168.9475 | 2625792.77 | 1222162.7176 | 2625789.1416 | 1222156.4093
7 | 2626184.5441 | 1222344.4975 | 2626181.9452 | 1222335.314 | 2626178.0527 | 1222328.8042 | 2626168.5525 | 1222316.0439 | 2626148.5551 | 1222294.766 | 2626103.5665 | 1222256.2908 | 2626089.124 | 1222234.2541
8 | 2626184.5441 | 1222344.4975 | 2626190.1512 | 1222364.7006 | 2626195.1193 | 1222380.1426 | 2626197.4311 | 1222387.3459
9 | 2626193.0227 | 1222313.5609 | 2626193.6494 | 1222333.1863 | 2626192.9618 | 1222339.5204 | 2626189.2811 | 1222343.5066 | 2626184.5441 | 1222344.4975
10 | 2626197.4311 | 1222387.3459 | 2626195.0583 | 1222394.0283 | 2626181.1194 | 1222418.0034 | 2626166.7421 | 1222430.5559
11 | 2626193.0227 | 1222313.5609 | 2626170.865 | 1222252.2722 | 2626151.048 | 1222214.0073 | 2626143.2542 | 1222182.1878 | 2626133.121 | 1222161.509 | 2626124.6725 | 1222138.8587 | 2626122.8978 | 1222126.7327 | 2626121.6705 | 1222105.6372 | 2626119.2825 | 1222093.2528 | 2626106.403 | 1222060.5439 | 2626105.5998 | 1222057.7504
12 | 2626162.2536 | 1222434.4747 | 2626166.7421 | 1222430.5559
13 | 2626098.7911 | 1222034.0717 | 2626105.5998 | 1222057.7504
14 | 2626162.2536 | 1222434.4747 | 2626154.6428 | 1222426.7368 | 2626148.1897 | 1222425.0709
15 | 2626162.2536 | 1222434.4747 | 2626151.4124 | 1222443.9328
16 | 2626151.4124 | 1222443.9328 | 2626158.5077 | 1222444.6313
17 | 2626151.4124 | 1222443.9328 | 2626147.2753 | 1222449.9737 | 2626143.7158 | 1222454.0161 | 2626139.8285 | 1222456.7117 | 2626135.04 | 1222457.3689 | 2626128.8616 | 1222457.5784
18 | 2626100.8863 | 1222009.1785 | 2626099.632 | 1221999.4229 | 2626097.6317 | 1221993.7553
19 | 2625787.6528 | 1223742.6809 | 2625780.2334 | 1223741.2569
20 | 2625809.9386 | 1223745.2562 | 2625792.0363 | 1223743.5222 | 2625787.6528 | 1223742.6809
21 | 2625773.0057 | 1223739.8698 | 2625780.2334 | 1223741.2569
22 | 2625809.9386 | 1223745.2562 | 2625813.2246 | 1223746.5086
23 | 2625809.9386 | 1223745.2562 | 2625819.7338 | 1223721.051 | 2625822.5725 | 1223715.1264 | 2625824.7351 | 1223711.278 | 2625827.5654 | 1223707.3101 | 2625830.0198 | 1223704.3412 | 2625832.9519 | 1223701.3744 | 2625836.164 | 1223698.5533 | 2625840.8565 | 1223695.2828 | 2625876.3284 | 1223675.8696 | 2625883.6034 | 1223671.6208 | 2625890.3475 | 1223667.3698 | 2625896.0824 | 1223663.3145 | 2625903.3569 | 1223657.4315 | 2625910.0973 | 1223650.5679 | 2625936.3495 | 1223622.3764 | 2625939.5502 | 1223618.6882 | 2625941.4751 | 1223615.4724 | 2625942.3132 | 1223612.7967 | 2625942.6903 | 1223609.7855
24 | 2625610.6199 | 1223556.1078 | 2625612.6071 | 1223566.5558 | 2625613.8655 | 1223580.7585 | 2625614.9272 | 1223594.8602 | 2625615.7879 | 1223606.3151 | 2625615.3302 | 1223619.2875 | 2625613.2383 | 1223631.4412 | 2625609.4264 | 1223643.2874 | 2625603.8871 | 1223654.826 | 2625590.4669 | 1223677.5707 | 2625584.4166 | 1223689.8075 | 2625580.9155 | 1223699.9318 | 2625579.5622 | 1223707.8418 | 2625579.4291 | 1223714.1227 | 2625580.4117 | 1223721.9315 | 2625581.9203 | 1223727.3078 | 2625585.5458 | 1223734.1163 | 2625590.9151 | 1223739.209 | 2625596.8979 | 1223742.6811 | 2625603.8038 | 1223744.8454 | 2625612.8532 | 1223745.7959 | 2625625.5598 | 1223746.1507 | 2625657.2013 | 1223742.6402 | 2625673.9945 | 1223739.5662 | 2625710.4348 | 1223731.007 | 2625721.4211 | 1223729.4312 | 2625732.506 | 1223729.5791 | 2625741.6509 | 1223731.2417 | 2625765.0121 | 1223738.3357 | 2625773.0057 | 1223739.8698
25 | 2626006.9524 | 1223590.8097 | 2625990.2664 | 1223586.5455 | 2625979.0244 | 1223584.0951 | 2625975.2201 | 1223583.6116 | 2625972.5588 | 1223583.5444 | 2625969.6903 | 1223584.0656 | 2625967.5546 | 1223585.2014 | 2625965.1812 | 1223586.9476 | 2625962.6759 | 1223589.3826 | 2625951.6496 | 1223603.5763 | 2625949.5318 | 1223605.8463 | 2625947.4856 | 1223607.3271 | 2625945.3035 | 1223608.6851 | 2625942.6903 | 1223609.7855
26 | 2625942.6903 | 1223609.7855 | 2625942.1558 | 1223607.1483 | 2625941.3559 | 1223604.5099 | 2625940.1459 | 1223602.0365 | 2625937.8527 | 1223599.3027 | 2625934.2635 | 1223596.4187 | 2625923.5802 | 1223589.2903 | 2625918.4742 | 1223586.0167
27 | 2625610.6199 | 1223556.1078 | 2625609.4789 | 1223560.461 | 2625606.8126 | 1223565.119 | 2625602.7764 | 1223569.1596 | 2625596.6661 | 1223572.3686 | 2625589.5949 | 1223573.3499 | 2625581.049 | 1223571.6345 | 2625569.6921 | 1223567.639 | 2625549.8607 | 1223559.427 | 2625520.9759 | 1223547.563 | 2625454.2428 | 1223525.7317 | 2625446.9275 | 1223523.4769
28 | 2625446.9275 | 1223523.4769 | 2625421.0688 | 1223530.9711 | 2625386.2834 | 1223537.1044 | 2625352.964 | 1223542.6882
29 | 2625446.9275 | 1223523.4769 | 2625430.8079 | 1223485.8416 | 2625425.78 | 1223473.524 | 2625414.4711 | 1223435.0865 | 2625428.9121 | 1223425.4201 | 2625410.1074 | 1223387.8734 | 2625385.1069 | 1223353.9581 | 2625347.6124 | 1223330.0291 | 2625325.1975 | 1223322.7852 | 2625284.6463 | 1223306.07 | 2625256.0711 | 1223292.7024
30 | 2625352.964 | 1223542.6882 | 2625372.3503 | 1223509.4732 | 2625373.7001 | 1223502.3303 | 2625373.3053 | 1223488.187 | 2625371.3014 | 1223479.7624 | 2625352.5771 | 1223435.7346 | 2625340.1189 | 1223399.9495 | 2625337.4988 | 1223393.757 | 2625333.8128 | 1223388.5716 | 2625326.1638 | 1223380.9346 | 2625322.9289 | 1223376.6628 | 2625312.0215 | 1223359.5286 | 2625298.3531 | 1223344.3729 | 2625278.3562 | 1223324.8655 | 2625270.9626 | 1223317.7411 | 2625267.4189 | 1223312.9566 | 2625265.6113 | 1223308.9065
31 | 2625227.9304 | 1223331.5652 | 2625227.2018 | 1223324.7711 | 2625229.1417 | 1223308.9478 | 2625246.7533 | 1223288.3435 | 2625256.0711 | 1223292.7024
32 | 2625480.8209 | 1223273.6411 | 2625484.1255 | 1223274.0221 | 2625488.8395 | 1223272.8638 | 2625495.7225 | 1223269.8692 | 2625502.9583 | 1223264.1857 | 2625507.0947 | 1223259.8119 | 2625512.7714 | 1223251.6536 | 2625517.6025 | 1223242.6356 | 2625522.724 | 1223229.5387 | 2625526.6547 | 1223214.7691 | 2625530.5668 | 1223197.231 | 2625533.3728 | 1223190.1055 | 2625537.9437 | 1223185.1889 | 2625545.3963 | 1223182.03 | 2625551.5481 | 1223181.6117 | 2625556.4227 | 1223181.9464
33 | 2625443.0247 | 1223243.9623 | 2625462.9869 | 1223257.3443 | 2625477.5997 | 1223271.4816 | 2625480.8209 | 1223273.6411
34 | 2625556.4227 | 1223181.9464 | 2625558.6287 | 1223182.0978 | 2625567.5855 | 1223185.3826 | 2625575.9666 | 1223189.6592
35 | 2625443.0247 | 1223243.9623 | 2625422.7164 | 1223232.7317
36 | 2625443.0247 | 1223243.9623 | 2625437.9967 | 1223251.1785 | 2625424.8769 | 1223254.28
37 | 2625265.6113 | 1223308.9065 | 2625264.6997 | 1223306.8637 | 2625263.0017 | 1223299.5633 | 2625263.5394 | 1223292.5726 | 2625265.5014 | 1223285.8881 | 2625275.7474 | 1223267.6763 | 2625280.0712 | 1223254.8204 | 2625284.8084 | 1223230.3038 | 2625294.9971 | 1223189.901 | 2625298.5536 | 1223164.8792 | 2625301.1768 | 1223147.1465 | 2625304.0711 | 1223139.5313
38 | 2625600.5453 | 1223194.7408 | 2625596.0817 | 1223194.5213 | 2625585.7343 | 1223193.6764 | 2625578.3301 | 1223190.8652 | 2625575.9666 | 1223189.6592
39 | 2625374.3502 | 1223216.2754 | 2625374.4774 | 1223216.343 | 2625382.1436 | 1223218.1878 | 2625393.4983 | 1223219.3368 | 2625402.1193 | 1223221.3414 | 2625422.7164 | 1223232.7317
40 | 2625394.3696 | 1223260.1836 | 2625405.1516 | 1223258.9431 | 2625424.8769 | 1223254.28
41 | 2625327.8879 | 1223087.5137 | 2625321.4502 | 1223090.9662 | 2625313.2886 | 1223096.8016 | 2625308.889 | 1223102.4641 | 2625306.618 | 1223110.4703 | 2625308.2798 | 1223126.2866 | 2625307.4499 | 1223130.6412 | 2625304.0711 | 1223139.5313
42 | 2626024.2427 | 1223310.7088 | 2626030.3041 | 1223297.9833 | 2626037.9218 | 1223291.7796 | 2626072.0386 | 1223267.3253 | 2626090.9901 | 1223249.6756 | 2626100.519 | 1223241.7014 | 2626103.0139 | 1223238.2325 | 2626108.719 | 1223228.9743 | 2626110.5351 | 1223224.6574
43 | 2625824.6158 | 1222984.3047 | 2625818.2723 | 1223016.6852 | 2625811.375 | 1223061.415 | 2625823.3009 | 1223093.5299 | 2625831.9514 | 1223106.2527 | 2625904.0154 | 1223176.0396 | 2625941.3956 | 1223210.2666 | 2625952.6486 | 1223241.7118 | 2625977.3499 | 1223261.8646 | 2625981.4474 | 1223294.3126 | 2625997.7517 | 1223301.0988 | 2626024.2427 | 1223310.7088
44 | 2625718.5802 | 1222874.5043 | 2625731.8344 | 1222883.7224 | 2625737.2312 | 1222887.8592 | 2625744.361 | 1222894.6051 | 2625758.695 | 1222910.1427 | 2625773.3059 | 1222926.5044 | 2625802.1654 | 1222960.5714 | 2625805.8925 | 1222964.9901 | 2625810.6329 | 1222970.0691 | 2625817.0177 | 1222977.1787 | 2625824.6158 | 1222984.3047
45 | 2625718.5802 | 1222874.5043 | 2625719.3648 | 1222873.7072 | 2625719.9691 | 1222872.498 | 2625720.3091 | 1222871.0208 | 2625720.4866 | 1222868.5534 | 2625720.1836 | 1222864.1718
46 | 2625718.5802 | 1222874.5043 | 2625717.001 | 1222874.9199 | 2625714.3468 | 1222874.9196 | 2625712.8009 | 1222874.7588
47 | 2625720.1836 | 1222864.1718 | 2625719.73 | 1222857.6104 | 2625719.7838 | 1222855.6873 | 2625720.2548 | 1222853.7326 | 2625721.0575 | 1222852.2463 | 2625722.2601 | 1222851.2287 | 2625733.7772 | 1222846.4978 | 2625761.6268 | 1222832.4327
48 | 2625712.8009 | 1222874.7588 | 2625710.5567 | 1222874.5253 | 2625705.8828 | 1222873.3377 | 2625699.0228 | 1222870.8512 | 2625696.0549 | 1222869.4768
49 | 2625683.5377 | 1222863.6803 | 2625696.0549 | 1222869.4768
50 | 2625683.5377 | 1222863.6803 | 2625679.9937 | 1222869.524 | 2625677.2698 | 1222873.3812 | 2625673.4139 | 1222877.7005 | 2625668.9136 | 1222881.9725 | 2625663.7831 | 1222886.442 | 2625653.8682 | 1222894.2373 | 2625644.8617 | 1222900.6579 | 2625629.1293 | 1222910.4293 | 2625583.27 | 1222935.5918 | 2625574.7165 | 1222940.747 | 2625568.0222 | 1222945.6101 | 2625564.0793 | 1222949.0285 | 2625560.5459 | 1222952.4487 | 2625542.5269 | 1222973.8619 | 2625536.309 | 1222979.0383 | 2625528.6934 | 1222983.0081 | 2625517.3045 | 1222988.4144
51 | 2625681.1672 | 1222815.3972 | 2625680.9853 | 1222817.153 | 2625680.3864 | 1222818.8515 | 2625679.438 | 1222820.7263 | 2625677.2378 | 1222824.4523 | 2625674.0886 | 1222830.2088 | 2625672.3469 | 1222833.1364 | 2625670.3411 | 1222837.5303 | 2625668.7992 | 1222841.6261 | 2625667.5931 | 1222845.223 | 2625666.1375 | 1222850.3976 | 2625665.2634 | 1222852.6174 | 2625664.3539 | 1222854.2588 | 2625662.8848 | 1222855.5311 | 2625673.1445 | 1222859.2663 | 2625683.5377 | 1222863.6803
52 | 2625190.249 | 1223020.7573 | 2625177.1249 | 1223013.81 | 2625160.9936 | 1223005.1813 | 2625155.2018 | 1223001.1323 | 2625145.9817 | 1222992.0911
53 | 2625236.5442 | 1223036.2742 | 2625229.342 | 1223035.799 | 2625204.1986 | 1223027.9104 | 2625192.1141 | 1223021.7446 | 2625190.249 | 1223020.7573
54 | 2625255.9783 | 1223009.8965 | 2625251.2472 | 1223015.0462 | 2625236.5442 | 1223036.2742
55 | 2625255.9783 | 1223009.8965 | 2625265.561 | 1223001.5878 | 2625287.6924 | 1222981.1917 | 2625285.8931 | 1222985.2643 | 2625285.7725 | 1222990.4335 | 2625286.5341 | 1223011.1267 | 2625287.4306 | 1223025.0498 | 2625289.0447 | 1223034.2509 | 2625292.0619 | 1223041.6347 | 2625299.101 | 1223051.9484 | 2625307.042 | 1223060.5983 | 2625316.0752 | 1223069.1639 | 2625323.3303 | 1223078.6002 | 2625327.8879 | 1223087.5137
56 | 2625253.9013 | 1222875.4087 | 2625290.1335 | 1222884.8232 | 2625322.2891 | 1222891.6525 | 2625364.5701 | 1222905.2512 | 2625376.0192 | 1222909.3023 | 2625380.5715 | 1222912.3345 | 2625383.2126 | 1222915.4254 | 2625384.6888 | 1222917.8108 | 2625382.7818 | 1222922.2164 | 2625377.5629 | 1222926.1187 | 2625368.4997 | 1222931.6835 | 2625346.065 | 1222946.5969 | 2625313.8774 | 1222965.2601 | 2625292.6248 | 1222976.8768 | 2625289.7876 | 1222978.8993 | 2625287.6924 | 1222981.1917 | 2625265.561 | 1223001.5878 | 2625255.9783 | 1223009.8965
57 | 2625255.9783 | 1223009.8965 | 2625250.9266 | 1223006.5954 | 2625243.5138 | 1223002.1281 | 2625236.3598 | 1222999.2072 | 2625229.2497 | 1222996.6868 | 2625222.3489 | 1222994.8676 | 2625199.9304 | 1222991.7488 | 2625195.2441 | 1222991.5526
58 | 2625327.8879 | 1223087.5137 | 2625342.9316 | 1223112.8591 | 2625343.4603 | 1223114.0015
59 | 2625253.9013 | 1222875.4087 | 2625238.9424 | 1222872.7883 | 2625215.1051 | 1222866.1391 | 2625206.9593 | 1222862.7916 | 2625201.5144 | 1222859.1776 | 2625197.6594 | 1222854.4141 | 2625195.7999 | 1222850.4058
60 | 2625253.9013 | 1222875.4087 | 2625265.6058 | 1222871.1112 | 2625298.5857 | 1222862.4014 | 2625303.1818 | 1222861.184
61 | 2625195.2441 | 1222991.5526 | 2625193.1368 | 1222991.4644 | 2625184.5429 | 1222991.9284 | 2625181.1763 | 1222990.9791
62 | 2625681.1672 | 1222815.3972 | 2625687.8711 | 1222813.6473 | 2625689.408 | 1222812.9642
63 | 2625681.1672 | 1222815.3972 | 2625680.7809 | 1222813.5389 | 2625679.8699 | 1222812.0008 | 2625678.6549 | 1222810.6058 | 2625675.3951 | 1222808.5795 | 2625660.7474 | 1222800.6229 | 2625637.2377 | 1222790.1268
64 | 2625374.3502 | 1223216.2754 | 2625366.1926 | 1223211.9385 | 2625359.926 | 1223201.9393 | 2625355.0318 | 1223191.946 | 2625351.9671 | 1223183.3056 | 2625349.674 | 1223173.3011 | 2625349.0976 | 1223164.4046 | 2625349.2126 | 1223140.9246 | 2625348.8844 | 1223128.9161 | 2625345.9373 | 1223119.3535 | 2625343.4603 | 1223114.0015
65 | 2625195.7999 | 1222850.4058 | 2625195.4424 | 1222849.6352 | 2625195.4679 | 1222843.6096 | 2625202.1456 | 1222804.9484 | 2625210.3648 | 1222766.2572
66 | 2625699.9012 | 1222806.0391 | 2625697.084 | 1222808.6618 | 2625691.4879 | 1222812.0397 | 2625689.408 | 1222812.9642
67 | 2625637.2377 | 1222790.1268 | 2625613.7507 | 1222779.6308 | 2625575.8776 | 1222763.759 | 2625555.2647 | 1222756.7777 | 2625545.2185 | 1222750.9535
68 | 2625637.2377 | 1222790.1268 | 2625645.6049 | 1222786.0492
69 | 2625217.9491 | 1222731.8944 | 2625217.1102 | 1222734.5036 | 2625210.3648 | 1222766.2572
70 | 2625699.9012 | 1222806.0391 | 2625700.4443 | 1222804.9741 | 2625700.7522 | 1222803.9082 | 2625701.1013 | 1222802.0864 | 2625702.9288 | 1222789.8204
71 | 2625699.9012 | 1222806.0391 | 2625714.4496 | 1222800.094
72 | 2625545.2185 | 1222750.9535 | 2625541.2081 | 1222761.2313 | 2625540.1229 | 1222764.9621 | 2625539.9119 | 1222771.7319
73 | 2625545.2185 | 1222750.9535 | 2625533.4599 | 1222739.8907
74 | 2625645.6049 | 1222786.0492 | 2625658.9671 | 1222791.3876 | 2625664.2679 | 1222793.1781 | 2625665.7769 | 1222786.1465
75 | 2625369.6257 | 1223251.6209 | 2625388.2862 | 1223260.8835 | 2625394.3696 | 1223260.1836
76 | 2625236.508 | 1222678.7795 | 2625236.4103 | 1222679.086 | 2625224.0958 | 1222712.7759 | 2625217.9491 | 1222731.8944
77 | 2625236.508 | 1222678.7795 | 2625238.7084 | 1222671.8803 | 2625238.7084 | 1222671.8803
78 | 2625434.8847 | 1222698.1644 | 2625438.1427 | 1222699.6992 | 2625443.0191 | 1222699.6755 | 2625445.144 | 1222698.9591
79 | 2625434.8847 | 1222698.1644 | 2625433.594 | 1222697.5563 | 2625426.5644 | 1222692.0787 | 2625421.5088 | 1222687.8658 | 2625420.0172 | 1222685.5338
80 | 2625420.7413 | 1222654.4318 | 2625416.5731 | 1222657.3046 | 2625413.9477 | 1222659.4169 | 2625412.256 | 1222663.0896 | 2625412.8209 | 1222667.5502 | 2625418.0433 | 1222682.4479 | 2625420.0172 | 1222685.5338
81 | 2625420.7413 | 1222654.4318 | 2625424.9968 | 1222652.4154 | 2625433.0748 | 1222650.3597
82 | 2625413.3827 | 1222647.8521 | 2625420.7413 | 1222654.4318
83 | 2625482.8607 | 1222688.1055 | 2625503.4511 | 1222709.3886
84 | 2625482.8607 | 1222688.1055 | 2625471.3466 | 1222672.6861
85 | 2625503.4511 | 1222709.3886 | 2625527.8987 | 1222734.6587 | 2625533.4599 | 1222739.8907
86 | 2625455.8349 | 1222651.9133 | 2625471.3466 | 1222672.6861
87 | 2625455.8349 | 1222651.9133 | 2625450.107 | 1222652.3891 | 2625433.0748 | 1222650.3597
88 | 2625455.8349 | 1222651.9133 | 2625413.1607 | 1222594.9534 | 2625410.2373 | 1222588.6595 | 2625410.0585 | 1222582.5774 | 2625411.7067 | 1222578.4264 | 2625426.5774 | 1222552.0743 | 2625428.0315 | 1222548.9898 | 2625466.1868 | 1222564.8952
89 | 2625347.3201 | 1222654.9086 | 2625353.4359 | 1222643.4389 | 2625356.695 | 1222638.5499 | 2625381.6222 | 1222610.2615 | 2625398.6232 | 1222592.9682 | 2625410.0585 | 1222582.5774 | 2625411.7067 | 1222578.4264 | 2625426.5774 | 1222552.0743 | 2625428.0315 | 1222548.9898 | 2625466.1868 | 1222564.8952
90 | 2625466.1868 | 1222564.8952 | 2625428.0315 | 1222548.9898 | 2625426.5774 | 1222552.0743 | 2625499.5672 | 1222581.8366
91 | 2625181.5008 | 1222494.768 | 2625188.4296 | 1222490.0945 | 2625199.1518 | 1222483.2913 | 2625208.4446 | 1222473.7805 | 2625217.5428 | 1222458.2543 | 2625223.8996 | 1222441.816 | 2625226.1653 | 1222435.0994 | 2625261.9894 | 1222459.154 | 2625326.4059 | 1222499.0727 | 2625354.1007 | 1222515.6223 | 2625393.0679 | 1222536.8782 | 2625426.5774 | 1222552.0743 | 2625428.0315 | 1222548.9898 | 2625466.1868 | 1222564.8952
92 | 2625771.0595 | 1222637.2268 | 2625810.1575 | 1222639.0177
93 | 2625812.5509 | 1222639.1273 | 2625810.1575 | 1222639.0177
94 | 2625812.5509 | 1222639.1273 | 2625840.6363 | 1222640.3385
95 | 2625812.5509 | 1222639.1273 | 2625811.2614 | 1222642.7016
96 | 2625347.3201 | 1222654.9086 | 2625344.4251 | 1222663.3457 | 2625338.1111 | 1222676.849
97 | 2625347.3201 | 1222654.9086 | 2625348.0031 | 1222661.9378 | 2625350.2904 | 1222669.7744 | 2625350.0736 | 1222677.9672
98 | 2625499.5672 | 1222581.8366 | 2625545.6511 | 1222599.3317
99 | 2625181.5008 | 1222494.768 | 2625179.4307 | 1222500.0735 | 2625179.2538 | 1222504.2418 | 2625181.8841 | 1222511.7351 | 2625202.0051 | 1222545.6956 | 2625206.9024 | 1222555.1329 | 2625210.2812 | 1222563.1741 | 2625214.321 | 1222576.2989 | 2625222.3653 | 1222614.4886 | 2625226.7759 | 1222631.703
100 | 2625840.6363 | 1222640.3385 | 2625839.6532 | 1222636.1873 | 2625839.0451 | 1222634.7728 | 2625837.9395 | 1222632.6334 | 2625832.8838 | 1222625.007 | 2625820.1397 | 1222608.2197 | 2625790.6825 | 1222574.6356
101 | 2625840.6363 | 1222640.3385 | 2625868.7292 | 1222641.572 | 2625868.8805 | 1222645.1415
102 | 2625811.2614 | 1222642.7016 | 2625810.0362 | 1222647.1656 | 2625808.8522 | 1222652.6303 | 2625808.0816 | 1222657.2075 | 2625807.689 | 1222660.2965 | 2625807.5321 | 1222663.2531 | 2625807.5565 | 1222666.3884 | 2625807.7452 | 1222670.1025 | 2625807.8104 | 1222670.8344
103 | 2625556.0212 | 1222603.2685 | 2625599.3907 | 1222618.0632 | 2625635.7926 | 1222628.8258 | 2625654.1411 | 1222633.3962 | 2625669.8003 | 1222635.4981 | 2625701.4215 | 1222638.0691 | 2625811.2614 | 1222642.7016
104 | 2625450.7381 | 1222273.5361 | 2625458.3829 | 1222282.4517 | 2625461.0217 | 1222284.7054
105 | 2625350.8758 | 1222228.7958 | 2625349.8143 | 1222225.1559 | 2625345.7895 | 1222219.2242 | 2625341.214 | 1222214.3574 | 2625341.1171 | 1222206.8193 | 2625342.3643 | 1222198.8866 | 2625345.3769 | 1222191.3839 | 2625367.6299 | 1222203.7857 | 2625375.3389 | 1222208.3767 | 2625383.2475 | 1222214.1916 | 2625390.4516 | 1222219.7922 | 2625409.9037 | 1222238.0301 | 2625449.0216 | 1222270.5381 | 2625450.7381 | 1222273.5361
106 | 2625481.0528 | 1222300.7544 | 2625469.5291 | 1222291.9715 | 2625461.0217 | 1222284.7054
107 | 2625344.9477 | 1222226.347 | 2625350.8758 | 1222228.7958
108 | 2625350.8758 | 1222228.7958 | 2625347.9371 | 1222236.8131
109 | 2625556.0212 | 1222603.2685 | 2625545.6511 | 1222599.3317
110 | 2625226.7759 | 1222631.703 | 2625227.2073 | 1222633.3869 | 2625234.7981 | 1222654.3622
111 | 2625790.6825 | 1222574.6356 | 2625786.0362 | 1222569.3383 | 2625782.0852 | 1222565.7747 | 2625778.1307 | 1222563.0226 | 2625755.9619 | 1222547.4177 | 2625752.6362 | 1222544.9096
112 | 2625868.8805 | 1222645.1415 | 2625869.2326 | 1222647.9002 | 2625869.8885 | 1222650.549 | 2625871.0485 | 1222654.1117 | 2625872.9877 | 1222658.1225 | 2625875.3378 | 1222661.8348 | 2625878.2727 | 1222665.3385 | 2625881.0579 | 1222668.3746 | 2625883.7934 | 1222670.6434 | 2625886.8944 | 1222672.5802 | 2625890.8218 | 1222674.5539 | 2625895.7127 | 1222676.4652 | 2625902.1516 | 1222678.5518
113 | 2625488.9953 | 1222306.8078 | 2625481.0528 | 1222300.7544
114 | 2625238.7084 | 1222671.8803 | 2625238.6379 | 1222667.0216 | 2625237.0273 | 1222660.5221 | 2625234.7981 | 1222654.3622
115 | 2625736.6401 | 1222518.7953 | 2625745.0094 | 1222523.1117 | 2625746.3468 | 1222524.2515 | 2625746.9381 | 1222526.0662 | 2625746.8621 | 1222527.867 | 2625746.1754 | 1222532.3444 | 2625745.8946 | 1222535.8897 | 2625746.3541 | 1222538.371 | 2625747.1505 | 1222540.1087 | 2625748.6822 | 1222541.9275 | 2625752.6362 | 1222544.9096
116 | 2625902.1516 | 1222678.5518 | 2625911.4648 | 1222681.5699 | 2625916.2726 | 1222683.3919 | 2625920.3447 | 1222685.2328 | 2625923.3248 | 1222687.0691 | 2625924.9649 | 1222688.3436 | 2625926.1044 | 1222689.6494 | 2625926.7315 | 1222690.7074
117 | 2625488.9953 | 1222306.8078 | 2625733.8168 | 1222223.7094
118 | 2625736.6401 | 1222518.7953 | 2625782.5398 | 1222229.5065
119 | 2625779.1078 | 1222217.713 | 2625782.5398 | 1222229.5065
120 | 2625854.4578 | 1222159.4111 | 2625847.5087 | 1222160.6199 | 2625836.6294 | 1222164.853 | 2625830.1176 | 1222172.8518 | 2625815.5108 | 1222176.1451
121 | 2625810.7095 | 1222177.2276 | 2625815.5108 | 1222176.1451
122 | 2625878.597 | 1222157.2304 | 2625861.6644 | 1222158.1576 | 2625854.4578 | 1222159.4111
123 | 2625792.5225 | 1222174.3678 | 2625798.5734 | 1222179.9639 | 2625810.7095 | 1222177.2276
124 | 2625779.1078 | 1222217.713 | 2625771.2523 | 1222224.2718 | 2625763.729 | 1222226.8418
125 | 2625779.1078 | 1222217.713 | 2625770.9278 | 1222204.5922
126 | 2625733.8168 | 1222223.7094 | 2625744.3821 | 1222227.5022 | 2625757.4967 | 1222228.9707 | 2625763.729 | 1222226.8418
127 | 2625764.0608 | 1222170.1979 | 2625775.4679 | 1222166.6896 | 2625781.9959 | 1222162.2036
128 | 2625767.9092 | 1222197.5862 | 2625770.9278 | 1222204.5922
129 | 2625767.9092 | 1222197.5862 | 2625764.0608 | 1222170.1979
130 | 2625764.0608 | 1222170.1979 | 2625750.0183 | 1222171.0489 | 2625738.1007 | 1222169.4879
131 | 2625746.3344 | 1222188.1208 | 2625761.4286 | 1222194.8677 | 2625767.9092 | 1222197.5862

## bus_geodata
| x | y | coords
0 | 2626015.9672 | 1222004.2159
1 | 2626040.0562 | 1222021.5867
2 | 2626088.8912 | 1221999.6427
3 | 2625789.1416 | 1222156.4093
4 | 2626089.124 | 1222234.2541
5 | 2626184.5441 | 1222344.4975
6 | 2626197.4311 | 1222387.3459
7 | 2626193.0227 | 1222313.5609
8 | 2626166.7421 | 1222430.5559
9 | 2626105.5998 | 1222057.7504
10 | 2626162.2536 | 1222434.4747
11 | 2626098.7911 | 1222034.0717
12 | 2626151.4124 | 1222443.9328
13 | 2626158.5077 | 1222444.6313
14 | 2626128.8616 | 1222457.5784
15 | 2626148.1897 | 1222425.0709
16 | 2626097.6317 | 1221993.7553
17 | 2626100.8863 | 1222009.1785
18 | 2625787.6528 | 1223742.6809
19 | 2625780.2334 | 1223741.2569
20 | 2625809.9386 | 1223745.2562
21 | 2625773.0057 | 1223739.8698
22 | 2625813.2246 | 1223746.5086
23 | 2625942.6903 | 1223609.7855
24 | 2625610.6199 | 1223556.1078
25 | 2626006.9524 | 1223590.8097
26 | 2625918.4742 | 1223586.0167
27 | 2625446.9275 | 1223523.4769
28 | 2625352.964 | 1223542.6882
29 | 2625256.0711 | 1223292.7024
30 | 2625480.8209 | 1223273.6411
31 | 2625556.4227 | 1223181.9464
32 | 2625443.0247 | 1223243.9623
33 | 2625265.6113 | 1223308.9065
34 | 2625227.9304 | 1223331.5652
35 | 2625575.9666 | 1223189.6592
36 | 2625422.7164 | 1223232.7317
37 | 2625424.8769 | 1223254.28
38 | 2625304.0711 | 1223139.5313
39 | 2626110.5351 | 1223224.6574
40 | 2626024.2427 | 1223310.7088
41 | 2625824.6158 | 1222984.3047
42 | 2625718.5802 | 1222874.5043
43 | 2625720.1836 | 1222864.1718
44 | 2625712.8009 | 1222874.7588
45 | 2625600.5453 | 1223194.7408
46 | 2625761.6268 | 1222832.4327
47 | 2625696.0549 | 1222869.4768
48 | 2625683.5377 | 1222863.6803
49 | 2625145.9817 | 1222992.0911
50 | 2625190.249 | 1223020.7573
51 | 2625236.5442 | 1223036.2742
52 | 2625255.9783 | 1223009.8965
53 | 2625327.8879 | 1223087.5137
54 | 2625253.9013 | 1222875.4087
55 | 2625195.2441 | 1222991.5527
56 | 2625517.3045 | 1222988.4144
57 | 2625681.1672 | 1222815.3972
58 | 2625343.4603 | 1223114.0015
59 | 2625195.7999 | 1222850.4058
60 | 2625303.1818 | 1222861.184
61 | 2625689.408 | 1222812.9642
62 | 2625637.2377 | 1222790.1268
63 | 2625181.1763 | 1222990.9791
64 | 2625374.3502 | 1223216.2754
65 | 2625210.3648 | 1222766.2572
66 | 2625699.9012 | 1222806.0391
67 | 2625545.2185 | 1222750.9535
68 | 2625645.6049 | 1222786.0492
69 | 2625394.3696 | 1223260.1836
70 | 2625369.6257 | 1223251.6209
71 | 2625217.9491 | 1222731.8944
72 | 2625236.508 | 1222678.7795
73 | 2625434.8847 | 1222698.1644
74 | 2625445.144 | 1222698.9591
75 | 2625420.0172 | 1222685.5338
76 | 2625420.7413 | 1222654.4318
77 | 2625482.8607 | 1222688.1055
78 | 2625503.4511 | 1222709.3886
79 | 2625471.3466 | 1222672.6861
80 | 2625433.0748 | 1222650.3597
81 | 2625413.3827 | 1222647.8521
82 | 2625533.4599 | 1222739.8907
83 | 2625455.8349 | 1222651.9133
84 | 2625466.1868 | 1222564.8952
85 | 2625665.7769 | 1222786.1465
86 | 2625539.9119 | 1222771.7319
87 | 2625702.9288 | 1222789.8204
88 | 2625714.4496 | 1222800.094
89 | 2625771.0595 | 1222637.2268
90 | 2625810.1575 | 1222639.0177
91 | 2625812.5509 | 1222639.1273
92 | 2625347.3201 | 1222654.9086
93 | 2625499.5672 | 1222581.8366
94 | 2625181.5008 | 1222494.768
95 | 2625840.6363 | 1222640.3385
96 | 2625811.2614 | 1222642.7016
97 | 2625450.7381 | 1222273.5361
98 | 2625461.0217 | 1222284.7054
99 | 2625350.8758 | 1222228.7958
100 | 2625338.1111 | 1222676.849
101 | 2625350.0736 | 1222677.9672
102 | 2625545.6511 | 1222599.3317
103 | 2625226.7759 | 1222631.703
104 | 2625790.6825 | 1222574.6356
105 | 2625868.8805 | 1222645.1415
106 | 2625807.8104 | 1222670.8344
107 | 2625556.0212 | 1222603.2685
108 | 2625481.0528 | 1222300.7544
109 | 2625344.9477 | 1222226.347
110 | 2625347.9371 | 1222236.8131
111 | 2625234.7981 | 1222654.3622
112 | 2625752.6362 | 1222544.9096
113 | 2625902.1516 | 1222678.5518
114 | 2625488.9953 | 1222306.8078
115 | 2625238.7084 | 1222671.8803
116 | 2625736.6401 | 1222518.7953
117 | 2625926.7315 | 1222690.7074
118 | 2625782.5398 | 1222229.5065
119 | 2625815.5108 | 1222176.1451
120 | 2625854.4578 | 1222159.4111
121 | 2625810.7095 | 1222177.2276
122 | 2625878.597 | 1222157.2304
123 | 2625779.1078 | 1222217.713
124 | 2625792.5225 | 1222174.3678
125 | 2625733.8168 | 1222223.7094
126 | 2625781.9959 | 1222162.2036
127 | 2625763.729 | 1222226.8418
128 | 2625770.9278 | 1222204.5922
129 | 2625764.0608 | 1222170.1979
130 | 2625767.9092 | 1222197.5862
131 | 2625738.1007 | 1222169.4879
132 | 2625746.3344 | 1222188.1208
133 | 2625840.6363 | 1222640.3385

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1