## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_332-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_332-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_332-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_332-3_0_3_node_49 | 0.4 | n |  | TRUE
4 | bus_LV_332-3_0_3_node_55 | 0.4 | n |  | TRUE
5 | bus_LV_332-3_0_3_node_48 | 0.4 | n |  | TRUE
6 | bus_LV_332-3_0_3_node_56 | 0.4 | n |  | TRUE
7 | bus_LV_332-3_0_3_node_54 | 0.4 | n |  | TRUE
8 | bus_LV_332-3_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_332-3_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_332-3_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_332-3_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_332-3_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_332-3_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_332-3_0_3_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_332-3_0_3_node_32 | 0.4 | n |  | TRUE
16 | bus_LV_332-3_0_3_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_332-3_0_3_node_70 | 0.4 | n |  | TRUE
18 | bus_LV_332-3_0_3_node_58 | 0.4 | n |  | TRUE
19 | bus_LV_332-3_0_3_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_332-3_0_3_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_332-3_0_3_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_332-3_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_332-3_0_3_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_332-3_0_3_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_332-3_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_332-3_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_332-3_0_3_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_332-3_0_3_node_57 | 0.4 | n |  | TRUE
29 | bus_LV_332-3_0_3_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_332-3_0_3_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_332-3_0_3_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_332-3_0_3_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_332-3_0_3_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_332-3_0_3_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_332-3_0_3_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_332-3_0_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_332-3_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_332-3_0_3_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_332-3_0_3_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_332-3_0_3_node_82 | 0.4 | n |  | TRUE
41 | bus_LV_332-3_0_3_node_79 | 0.4 | n |  | TRUE
42 | bus_LV_332-3_0_3_node_81 | 0.4 | n |  | TRUE
43 | bus_LV_332-3_0_3_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_332-3_0_3_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_332-3_0_3_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_332-3_0_3_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_332-3_0_3_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_332-3_0_3_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_332-3_0_3_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_332-3_0_3_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_332-3_0_3_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_332-3_0_3_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_332-3_0_3_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_332-3_0_3_node_69 | 0.4 | n |  | TRUE
55 | bus_LV_332-3_0_3_node_83 | 0.4 | n |  | TRUE
56 | bus_LV_332-3_0_3_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_332-3_0_3_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_332-3_0_3_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_332-3_0_3_node_68 | 0.4 | n |  | TRUE
60 | bus_LV_332-3_0_3_node_84 | 0.4 | n |  | TRUE
61 | bus_LV_332-3_0_3_node_97 | 0.4 | n |  | TRUE
62 | bus_LV_332-3_0_3_node_42 | 0.4 | n |  | TRUE
63 | bus_LV_332-3_0_3_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_332-3_0_3_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_332-3_0_3_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_332-3_0_3_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_332-3_0_3_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_332-3_0_3_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_332-3_0_3_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_332-3_0_3_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_332-3_0_3_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_332-3_0_3_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_332-3_0_3_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_332-3_0_3_node_75 | 0.4 | n |  | TRUE
75 | bus_LV_332-3_0_3_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_332-3_0_3_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_332-3_0_3_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_332-3_0_3_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_332-3_0_3_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_332-3_0_3_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_332-3_0_3_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_332-3_0_3_node_85 | 0.4 | n |  | TRUE
83 | bus_LV_332-3_0_3_node_86 | 0.4 | n |  | TRUE
84 | bus_LV_332-3_0_3_node_87 | 0.4 | n |  | TRUE
85 | bus_LV_332-3_0_3_node_88 | 0.4 | n |  | TRUE
86 | bus_LV_332-3_0_3_node_90 | 0.4 | n |  | TRUE
87 | bus_LV_332-3_0_3_node_95 | 0.4 | n |  | TRUE
88 | bus_LV_332-3_0_3_node_94 | 0.4 | n |  | TRUE
89 | bus_LV_332-3_0_3_node_89 | 0.4 | n |  | TRUE
90 | bus_LV_332-3_0_3_node_91 | 0.4 | n |  | TRUE
91 | bus_LV_332-3_0_3_node_92 | 0.4 | n |  | TRUE
92 | bus_LV_332-3_0_3_node_93 | 0.4 | n |  | TRUE
93 | bus_LV_332-3_0_3_node_96 | 0.4 | n |  | TRUE
94 | bus_LV_332-3_0_3_node_98 | 0.4 | n |  | TRUE
95 | bus_MV_476_0_node_40 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_332-3_0_3_load_0 | 0 | 0.00070529 | 0.00017676 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_332-3_0_3_load_49 | 3 | 0.00028601 | 7.1681e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_332-3_0_3_load_48 | 5 | 0.00082821 | 0.00020757 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_332-3_0_3_load_56 | 6 | 0.00047705 | 0.00011956 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_332-3_0_3_load_54 | 7 | 0.0029084 | 0.00072891 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_332-3_0_3_load_4 | 8 | 0.0044577 | 0.0011172 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_332-3_0_3_load_5 | 9 | 0.0004699 | 0.00011777 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_332-3_0_3_load_7 | 11 | 0.00053848 | 0.00013496 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_332-3_0_3_load_32 | 15 | 0.016576 | 0.0041544 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_332-3_0_3_load_41 | 16 | 0.0096908 | 0.0024288 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_332-3_0_3_load_70 | 17 | 0.0019736 | 0.00049464 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_332-3_0_3_load_58 | 18 | 0.0025453 | 0.00063791 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_332-3_0_3_load_30 | 19 | 0.0060629 | 0.0015195 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_332-3_0_3_load_27 | 20 | 0.00073571 | 0.00018439 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_332-3_0_3_load_10 | 21 | 0.0010768 | 0.00026986 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_332-3_0_3_load_11 | 22 | 0.00038914 | 9.7528e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_332-3_0_3_load_21 | 24 | 0.0029613 | 0.00074216 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_332-3_0_3_load_19 | 25 | 0.0013447 | 0.00033701 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_332-3_0_3_load_57 | 28 | 0.0041698 | 0.0010451 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_332-3_0_3_load_14 | 29 | 0.0012168 | 0.00030495 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_332-3_0_3_load_15 | 30 | 0.00084746 | 0.00021239 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_332-3_0_3_load_16 | 31 | 0.00093239 | 0.00023368 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_332-3_0_3_load_20 | 33 | 0.00093046 | 0.0002332 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_332-3_0_3_load_28 | 34 | 0.005124 | 0.0012842 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_332-3_0_3_load_31 | 37 | 0.079758 | 0.019989 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_332-3_0_3_load_29 | 38 | 0.01753 | 0.0043935 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_332-3_0_3_load_23 | 39 | 0.0013851 | 0.00034714 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_332-3_0_3_load_82 | 40 | 0.0032477 | 0.00081396 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_332-3_0_3_load_79 | 41 | 0.00053826 | 0.0001349 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_332-3_0_3_load_24 | 43 | 0.00056962 | 0.00014276 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_332-3_0_3_load_25 | 44 | 0.0014868 | 0.00037261 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_332-3_0_3_load_33 | 45 | 0.019544 | 0.0048981 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_332-3_0_3_load_39 | 49 | 0.0033995 | 0.00085201 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_332-3_0_3_load_40 | 50 | 0.00037108 | 9.3002e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_332-3_0_3_load_53 | 52 | 0.0018028 | 0.00045182 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_332-3_0_3_load_69 | 54 | 0.0010732 | 0.00026898 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_332-3_0_3_load_50 | 56 | 0.0023356 | 0.00058536 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_332-3_0_3_load_44 | 57 | 0.000687 | 0.00017218 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_332-3_0_3_load_84 | 60 | 0.00081819 | 0.00020506 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_332-3_0_3_load_42 | 62 | 0.006306 | 0.0015804 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_332-3_0_3_load_45 | 64 | 0.0011602 | 0.00029077 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_332-3_0_3_load_43 | 65 | 0.0043482 | 0.0010898 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_332-3_0_3_load_52 | 66 | 0.00077215 | 0.00019352 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_332-3_0_3_load_67 | 67 | 0.0012256 | 0.00030716 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_332-3_0_3_load_61 | 68 | 0.00055413 | 0.00013888 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_332-3_0_3_load_63 | 71 | 0.0034855 | 0.00087354 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_332-3_0_3_load_64 | 72 | 0.00067905 | 0.00017019 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_332-3_0_3_load_65 | 73 | 0.00048344 | 0.00012116 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_332-3_0_3_load_71 | 75 | 0.0030642 | 0.00076797 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_332-3_0_3_load_72 | 76 | 0.0019255 | 0.00048258 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_332-3_0_3_load_74 | 78 | 0.00055996 | 0.00014034 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_332-3_0_3_load_76 | 79 | 0.0032231 | 0.00080778 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_332-3_0_3_load_77 | 80 | 0.0017432 | 0.00043689 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_332-3_0_3_load_78 | 81 | 0.00068208 | 0.00017095 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_332-3_0_3_load_85 | 82 | 0.0015968 | 0.0004002 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_332-3_0_3_load_95 | 87 | 0.0029649 | 0.00074308 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_332-3_0_3_load_94 | 88 | 0.0003245 | 8.1327e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_332-3_0_3_load_91 | 90 | 0.00099012 | 0.00024815 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_332-3_0_3_load_92 | 91 | 0.001412 | 0.00035387 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_332-3_0_3_load_93 | 92 | 0.00027303 | 6.8428e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_332-3_0_3_load_96 | 93 | 0.00038917 | 9.7536e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_332-3_0_3_load_98 | 94 | 0.00037572 | 9.4165e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_332-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.014664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_332-3_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.007201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_332-3_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.011242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_332-3_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.009605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_332-3_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0088784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_332-3_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.02605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_332-3_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.032658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_332-3_0_3_line_7 | NAYY 4x150 SE | 5 | 63 | 0.014512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_332-3_0_3_line_8 | NAYY 4x150 SE | 6 | 68 | 0.01211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_332-3_0_3_line_9 | NAYY 4x150 SE | 7 | 53 | 0.001986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_332-3_0_3_line_10 | NAYY 4x150 SE | 8 | 9 | 0.02404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_332-3_0_3_line_11 | NAYY 4x150 SE | 8 | 10 | 0.02848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_332-3_0_3_line_12 | NAYY 4x150 SE | 9 | 11 | 0.007452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_332-3_0_3_line_13 | NAYY 4x150 SE | 10 | 12 | 0.002294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_332-3_0_3_line_14 | NAYY 4x150 SE | 10 | 13 | 0.018689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_332-3_0_3_line_15 | NAYY 4x150 SE | 12 | 14 | 0.047703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_332-3_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.007597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_332-3_0_3_line_17 | NAYY 4x150 SE | 13 | 16 | 0.019439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_332-3_0_3_line_18 | NAYY 4x150 SE | 14 | 17 | 0.023214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_332-3_0_3_line_19 | NAYY 4x150 SE | 14 | 18 | 0.014931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_332-3_0_3_line_20 | NAYY 4x150 SE | 15 | 19 | 0.021794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_332-3_0_3_line_21 | NAYY 4x150 SE | 16 | 20 | 0.03096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_332-3_0_3_line_22 | NAYY 4x150 SE | 17 | 27 | 0.021343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_332-3_0_3_line_23 | NAYY 4x150 SE | 18 | 28 | 0.00033927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_332-3_0_3_line_24 | NAYY 4x150 SE | 19 | 38 | 0.015857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_332-3_0_3_line_25 | NAYY 4x150 SE | 20 | 36 | 0.032908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_332-3_0_3_line_26 | NAYY 4x150 SE | 21 | 22 | 0.0021993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_332-3_0_3_line_27 | NAYY 4x150 SE | 22 | 23 | 0.032977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_332-3_0_3_line_28 | NAYY 4x150 SE | 23 | 24 | 0.033588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_332-3_0_3_line_29 | NAYY 4x150 SE | 23 | 25 | 0.05571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_332-3_0_3_line_30 | NAYY 4x150 SE | 25 | 26 | 0.037781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_332-3_0_3_line_31 | NAYY 4x150 SE | 26 | 33 | 0.052944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_332-3_0_3_line_32 | NAYY 4x150 SE | 26 | 30 | 0.025551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_332-3_0_3_line_33 | NAYY 4x150 SE | 27 | 53 | 0.025853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_332-3_0_3_line_34 | NAYY 4x150 SE | 28 | 69 | 0.016953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_332-3_0_3_line_35 | NAYY 4x150 SE | 29 | 30 | 0.013917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_332-3_0_3_line_36 | NAYY 4x150 SE | 29 | 31 | 0.0062195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_332-3_0_3_line_37 | NAYY 4x150 SE | 31 | 32 | 0.010602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_332-3_0_3_line_38 | NAYY 4x150 SE | 32 | 34 | 0.02081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_332-3_0_3_line_39 | NAYY 4x150 SE | 33 | 35 | 0.010791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_332-3_0_3_line_40 | NAYY 4x150 SE | 34 | 36 | 0.021445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_332-3_0_3_line_41 | NAYY 4x150 SE | 35 | 39 | 0.019008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_332-3_0_3_line_42 | NAYY 4x150 SE | 35 | 40 | 0.24285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_332-3_0_3_line_43 | NAYY 4x150 SE | 36 | 44 | 0.0063679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_332-3_0_3_line_44 | NAYY 4x150 SE | 37 | 38 | 0.034126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_332-3_0_3_line_45 | NAYY 4x150 SE | 40 | 42 | 0.044445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_332-3_0_3_line_46 | NAYY 4x150 SE | 41 | 42 | 0.007007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_332-3_0_3_line_47 | NAYY 4x150 SE | 43 | 44 | 0.016264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_332-3_0_3_line_48 | NAYY 4x150 SE | 45 | 46 | 0.03698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_332-3_0_3_line_49 | NAYY 4x150 SE | 46 | 47 | 0.014115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_332-3_0_3_line_50 | NAYY 4x150 SE | 47 | 51 | 0.008052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_332-3_0_3_line_51 | NAYY 4x150 SE | 47 | 52 | 0.019994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_332-3_0_3_line_52 | NAYY 4x150 SE | 48 | 49 | 0.027854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_332-3_0_3_line_53 | NAYY 4x150 SE | 48 | 50 | 0.059204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_332-3_0_3_line_54 | NAYY 4x150 SE | 49 | 54 | 0.019777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_332-3_0_3_line_55 | NAYY 4x150 SE | 50 | 55 | 0.029535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_332-3_0_3_line_56 | NAYY 4x150 SE | 51 | 56 | 0.018469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_332-3_0_3_line_57 | NAYY 4x150 SE | 51 | 57 | 0.017457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_332-3_0_3_line_58 | NAYY 4x150 SE | 52 | 58 | 0.023241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_332-3_0_3_line_59 | NAYY 4x150 SE | 54 | 59 | 0.02143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_332-3_0_3_line_60 | NAYY 4x150 SE | 55 | 60 | 0.036956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_332-3_0_3_line_61 | NAYY 4x150 SE | 55 | 61 | 0.19735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_332-3_0_3_line_62 | NAYY 4x150 SE | 57 | 65 | 0.0101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_332-3_0_3_line_63 | NAYY 4x150 SE | 58 | 66 | 0.0029304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_332-3_0_3_line_64 | NAYY 4x150 SE | 59 | 74 | 0.098713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_332-3_0_3_line_65 | NAYY 4x150 SE | 59 | 67 | 0.027874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_332-3_0_3_line_66 | NAYY 4x150 SE | 61 | 94 | 0.020349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_332-3_0_3_line_67 | NAYY 4x150 SE | 61 | 93 | 0.034172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_332-3_0_3_line_68 | NAYY 4x150 SE | 62 | 63 | 0.062358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_332-3_0_3_line_69 | NAYY 4x150 SE | 63 | 64 | 0.026021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_332-3_0_3_line_70 | NAYY 4x150 SE | 64 | 65 | 0.0090576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_332-3_0_3_line_71 | NAYY 4x150 SE | 66 | 67 | 0.011228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_332-3_0_3_line_72 | NAYY 4x150 SE | 69 | 70 | 0.03955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_332-3_0_3_line_73 | NAYY 4x150 SE | 70 | 71 | 0.069776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_332-3_0_3_line_74 | NAYY 4x150 SE | 71 | 72 | 0.032716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_332-3_0_3_line_75 | NAYY 4x150 SE | 72 | 73 | 0.008446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_332-3_0_3_line_76 | NAYY 4x150 SE | 74 | 81 | 0.018179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_332-3_0_3_line_77 | NAYY 4x150 SE | 74 | 77 | 0.05813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_332-3_0_3_line_78 | NAYY 4x150 SE | 75 | 76 | 0.019522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_332-3_0_3_line_79 | NAYY 4x150 SE | 75 | 77 | 0.035347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_332-3_0_3_line_80 | NAYY 4x150 SE | 78 | 79 | 0.01971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_332-3_0_3_line_81 | NAYY 4x150 SE | 78 | 80 | 0.046835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_332-3_0_3_line_82 | NAYY 4x150 SE | 79 | 81 | 0.038878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_332-3_0_3_line_83 | NAYY 4x150 SE | 82 | 83 | 0.029629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_332-3_0_3_line_84 | NAYY 4x150 SE | 82 | 84 | 0.03705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_332-3_0_3_line_85 | NAYY 4x150 SE | 83 | 85 | 0.007154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_332-3_0_3_line_86 | NAYY 4x150 SE | 84 | 86 | 0.0184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_332-3_0_3_line_87 | NAYY 4x150 SE | 85 | 87 | 0.028423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_332-3_0_3_line_88 | NAYY 4x150 SE | 85 | 88 | 0.014482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_332-3_0_3_line_89 | NAYY 4x150 SE | 86 | 91 | 0.011654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_332-3_0_3_line_90 | NAYY 4x150 SE | 86 | 89 | 0.042791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_332-3_0_3_line_91 | NAYY 4x150 SE | 87 | 93 | 0.0074635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_332-3_0_3_line_92 | NAYY 4x150 SE | 89 | 90 | 0.0089888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_332-3_0_3_line_93 | NAYY 4x150 SE | 91 | 92 | 0.019921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_332-3_0_3_trafo_29 | 0.25 MVA 20/0.4 kV | 95 | 38 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2626724.8247 | 1221773.8804 | 2626728.8495 | 1221759.7794
1 | 2626717.9089 | 1221771.8038 | 2626724.8247 | 1221773.8804
2 | 2626717.9089 | 1221771.8038 | 2626715.6436 | 1221782.8155
3 | 2626717.9089 | 1221771.8038 | 2626708.8058 | 1221768.6612
4 | 2626713.8546 | 1221791.5118 | 2626715.6436 | 1221782.8155
5 | 2626708.8058 | 1221768.6612 | 2626712.9388 | 1221755.3163 | 2626717.178 | 1221744.0048
6 | 2626708.8058 | 1221768.6612 | 2626680.5707 | 1221759.3405 | 2626677.677 | 1221758.917
7 | 2626710.9305 | 1221805.7258 | 2626713.8546 | 1221791.5118
8 | 2626721.4278 | 1221732.6654 | 2626717.178 | 1221744.0048
9 | 2626675.7119 | 1221758.6295 | 2626677.677 | 1221758.917
10 | 2626615.058 | 1221725.9552 | 2626628.0755 | 1221746.1661
11 | 2626599.6367 | 1221702.0122 | 2626615.058 | 1221725.9552
12 | 2626632.1107 | 1221752.4311 | 2626628.0755 | 1221746.1661
13 | 2626601.8542 | 1221701.3995 | 2626599.6367 | 1221702.0122
14 | 2626582.3267 | 1221709.0058 | 2626586.8352 | 1221706.6356 | 2626593.7965 | 1221703.6315 | 2626599.6367 | 1221702.0122
15 | 2626601.8542 | 1221701.3995 | 2626609.2678 | 1221700.7322 | 2626613.9929 | 1221700.8199 | 2626620.5048 | 1221701.6384 | 2626649.3485 | 1221705.5583
16 | 2626582.3267 | 1221709.0058 | 2626579.4114 | 1221711.3053 | 2626576.7333 | 1221714.1183
17 | 2626582.3267 | 1221709.0058 | 2626567.6644 | 1221696.2431
18 | 2626649.3485 | 1221705.5583 | 2626648.8178 | 1221710.6033 | 2626648.6954 | 1221715.917 | 2626648.8891 | 1221721.788 | 2626649.2199 | 1221727.5484 | 2626649.3709 | 1221728.7211
19 | 2626649.3485 | 1221705.5583 | 2626650.0946 | 1221701.5593 | 2626650.7405 | 1221697.8934 | 2626652.418 | 1221692.5422 | 2626652.9131 | 1221691.0912
20 | 2626562.6381 | 1221730.738 | 2626575.8068 | 1221715.0914 | 2626576.7333 | 1221714.1183
21 | 2626567.6644 | 1221696.2431 | 2626544.3117 | 1221675.9161
22 | 2626651.5242 | 1221749.9496 | 2626650.4808 | 1221737.3376 | 2626649.3709 | 1221728.7211
23 | 2626652.9131 | 1221691.0912 | 2626653.0227 | 1221690.7701
24 | 2626562.6381 | 1221730.738 | 2626552.4273 | 1221742.8703
25 | 2626517.2674 | 1221660.0543 | 2626520.3652 | 1221659.3454 | 2626522.7543 | 1221659.4116 | 2626524.6552 | 1221660.0649 | 2626526.9029 | 1221661.22 | 2626529.0356 | 1221662.6192 | 2626544.3117 | 1221675.9161
26 | 2626538.3256 | 1221611.8975 | 2626536.8308 | 1221610.2842
27 | 2626525.0606 | 1221580.8647 | 2626525.9118 | 1221592.4309 | 2626527.1838 | 1221598.0731 | 2626532.4299 | 1221605.5342 | 2626536.8308 | 1221610.2842
28 | 2626525.0606 | 1221580.8647 | 2626528.1926 | 1221574.197 | 2626534.4588 | 1221562.0844 | 2626541.6754 | 1221551.776
29 | 2626525.0606 | 1221580.8647 | 2626520.2832 | 1221589.0928 | 2626517.1511 | 1221594.0929 | 2626512.4138 | 1221600.142 | 2626502.1605 | 1221611.6477 | 2626490.2839 | 1221624.0902
30 | 2626461.3796 | 1221648.2326 | 2626467.3354 | 1221644.4679 | 2626473.1732 | 1221639.9578 | 2626479.9338 | 1221634.3401 | 2626488.5501 | 1221625.9067 | 2626490.2839 | 1221624.0902
31 | 2626461.3796 | 1221648.2326 | 2626454.057 | 1221650.5904 | 2626449.0774 | 1221651.4355 | 2626442.7583 | 1221651.5964 | 2626429.4222 | 1221650.2032 | 2626408.9615 | 1221649.552
32 | 2626461.3796 | 1221648.2326 | 2626462.2871 | 1221653.9622 | 2626462.971 | 1221669.0629 | 2626463.7424 | 1221671.2788 | 2626465.13 | 1221673.0971
33 | 2626675.7119 | 1221758.6295 | 2626663.3021 | 1221755.4054 | 2626659.8851 | 1221754.5452 | 2626655.6384 | 1221752.6585 | 2626651.5242 | 1221749.9496
34 | 2626659.6482 | 1221675.1976 | 2626656.748 | 1221680.8991 | 2626654.8159 | 1221685.5154 | 2626653.0227 | 1221690.7701
35 | 2626465.13 | 1221673.0971 | 2626475.9027 | 1221681.9083
36 | 2626480.7169 | 1221685.846 | 2626475.9027 | 1221681.9083
37 | 2626489.6469 | 1221691.4833 | 2626483.5254 | 1221688.1431 | 2626480.7169 | 1221685.846
38 | 2626489.6469 | 1221691.4833 | 2626490.4739 | 1221689.7082 | 2626491.8947 | 1221687.4576 | 2626502.3804 | 1221675.1218
39 | 2626398.1759 | 1221649.2087 | 2626408.9615 | 1221649.552
40 | 2626517.2674 | 1221660.0543 | 2626515.5123 | 1221660.7024 | 2626513.2752 | 1221662.3045 | 2626502.3804 | 1221675.1218
41 | 2626398.1759 | 1221649.2087 | 2626396.1312 | 1221663.875 | 2626396.1841 | 1221668.0749
42 | 2626398.1759 | 1221649.2087 | 2626266.2202 | 1221445.3403
43 | 2626517.2674 | 1221660.0543 | 2626518.198 | 1221653.7547 | 2626518.198 | 1221653.7547
44 | 2626524.1153 | 1221729.8241 | 2626539.2908 | 1221742.7118 | 2626541.6134 | 1221744.0562 | 2626543.6729 | 1221744.8547 | 2626545.2644 | 1221745.1731 | 2626547.6315 | 1221745.028 | 2626549.9399 | 1221744.4602 | 2626552.4273 | 1221742.8703 | 2626552.4273 | 1221742.8703
45 | 2626266.2202 | 1221445.3403 | 2626264.0648 | 1221426.6644 | 2626266.5811 | 1221416.803 | 2626272.2515 | 1221414.1375 | 2626278.376 | 1221413.453 | 2626281.3455 | 1221412.6433
46 | 2626281.3455 | 1221412.6433 | 2626279.8717 | 1221405.7931
47 | 2626527.4348 | 1221640.4776 | 2626521.418 | 1221647.7544 | 2626519.5537 | 1221650.8035 | 2626518.198 | 1221653.7547
48 | 2626645.8902 | 1221788.6249 | 2626620.7147 | 1221804.1439 | 2626613.9473 | 1221807.1519
49 | 2626641.9992 | 1221802.1933 | 2626645.8902 | 1221788.6249
50 | 2626641.9992 | 1221802.1933 | 2626649.3186 | 1221805.5946
51 | 2626641.9992 | 1221802.1933 | 2626641.0323 | 1221804.6904 | 2626634.985 | 1221820.9161
52 | 2626576.0419 | 1221824.0008 | 2626586.1984 | 1221847.7711 | 2626587.1124 | 1221849.5551
53 | 2626576.0419 | 1221824.0008 | 2626546.4133 | 1221836.365 | 2626520.7623 | 1221845.1056
54 | 2626597.4283 | 1221866.3645 | 2626593.9629 | 1221861.914 | 2626589.8754 | 1221854.9472 | 2626587.1124 | 1221849.5551
55 | 2626493.781 | 1221857.021 | 2626513.4981 | 1221847.5808 | 2626520.7623 | 1221845.1056
56 | 2626649.3186 | 1221805.5946 | 2626642.668 | 1221822.825
57 | 2626649.3186 | 1221805.5946 | 2626655.4662 | 1221808.1347 | 2626660.7013 | 1221809.5144 | 2626666.0612 | 1221810.0943
58 | 2626626.8684 | 1221842.6939 | 2626634.985 | 1221820.9161
59 | 2626612.0237 | 1221882.0174 | 2626607.0628 | 1221877.0146 | 2626600.7127 | 1221870.5825 | 2626597.4283 | 1221866.3645
60 | 2626493.781 | 1221857.021 | 2626509.8039 | 1221890.3228
61 | 2626493.781 | 1221857.021 | 2626314.3773 | 1221939.2419
62 | 2626676.0959 | 1221809.0297 | 2626671.0156 | 1221809.7829 | 2626666.0612 | 1221810.0943 | 2626666.0612 | 1221810.0943
63 | 2626626.8684 | 1221842.6939 | 2626625.8335 | 1221845.4355
64 | 2626612.0237 | 1221882.0174 | 2626568.8724 | 1221970.7994
65 | 2626612.0237 | 1221882.0174 | 2626621.8682 | 1221855.9396
66 | 2626314.3773 | 1221939.2419 | 2626310.4313 | 1221934.5329 | 2626301.4474 | 1221923.5288
67 | 2626314.3773 | 1221939.2419 | 2626282.5183 | 1221951.5989
68 | 2626710.9305 | 1221805.7258 | 2626718.1054 | 1221867.6693
69 | 2626710.9305 | 1221805.7258 | 2626702.3985 | 1221805.4763 | 2626686.8103 | 1221807.4411 | 2626685.0556 | 1221807.7012
70 | 2626676.0959 | 1221809.0297 | 2626685.0556 | 1221807.7012
71 | 2626621.8682 | 1221855.9396 | 2626625.8335 | 1221845.4355
72 | 2626680.1808 | 1221641.3696 | 2626671.9683 | 1221654.4294 | 2626659.6482 | 1221675.1976
73 | 2626680.1808 | 1221641.3696 | 2626620.4863 | 1221605.2405
74 | 2626592.3298 | 1221588.5909 | 2626599.1626 | 1221592.3347 | 2626620.4863 | 1221605.2405
75 | 2626584.8533 | 1221584.6219 | 2626592.3298 | 1221588.5909
76 | 2626568.8724 | 1221970.7994 | 2626584.5147 | 1221980.0616
77 | 2626544.3742 | 1222023.5213 | 2626560.2867 | 1221987.7823 | 2626568.8724 | 1221970.7994
78 | 2626576.6459 | 1222037.9419 | 2626588.202 | 1222043.1057 | 2626594.6416 | 1222045.4833
79 | 2626544.3742 | 1222023.5213 | 2626576.6459 | 1222037.9419
80 | 2626637.9426 | 1222003.9268 | 2626626.2597 | 1221999.3943 | 2626619.6795 | 1221996.5253
81 | 2626637.9426 | 1222003.9268 | 2626658.5758 | 1222010.067 | 2626683.1337 | 1222016.1831
82 | 2626584.5147 | 1221980.0616 | 2626591.7633 | 1221984.3538 | 2626619.6795 | 1221996.5253
83 | 2626246.2694 | 1221972.9617 | 2626239.1434 | 1221975.5986 | 2626235.7577 | 1221977.974 | 2626231.8469 | 1221979.0463 | 2626229.9751 | 1221978.6823 | 2626227.464 | 1221977.0814 | 2626220.4668 | 1221971.4931
84 | 2626192.5235 | 1221947.2104 | 2626203.2259 | 1221957.4746 | 2626213.5645 | 1221965.9805 | 2626220.4668 | 1221971.4931
85 | 2626250.3305 | 1221967.065 | 2626246.2694 | 1221972.9617
86 | 2626178.91 | 1221946.9394 | 2626181.7038 | 1221944.617 | 2626188.9195 | 1221950.9301 | 2626192.5235 | 1221947.2104
87 | 2626250.3305 | 1221967.065 | 2626255.8478 | 1221962.8868 | 2626275.2945 | 1221954.4008 | 2626275.5599 | 1221954.2979
88 | 2626250.3305 | 1221967.065 | 2626259.1014 | 1221978.5891
89 | 2626178.91 | 1221946.9394 | 2626169.2973 | 1221953.5283
90 | 2626178.91 | 1221946.9394 | 2626197.8354 | 1221963.8769 | 2626208.052 | 1221972.5268 | 2626210.9214 | 1221975.4189
91 | 2626275.5599 | 1221954.2979 | 2626282.5183 | 1221951.5989
92 | 2626210.9214 | 1221975.4189 | 2626203.3481 | 1221980.2608
93 | 2626169.2973 | 1221953.5283 | 2626165.0337 | 1221956.4508 | 2626151.3834 | 1221962.0457

## bus_geodata
| x | y | coords
0 | 2626728.8495 | 1221759.7794
1 | 2626724.8247 | 1221773.8804
2 | 2626717.9089 | 1221771.8038
3 | 2626715.6436 | 1221782.8155
4 | 2626708.8058 | 1221768.6612
5 | 2626713.8546 | 1221791.5118
6 | 2626717.178 | 1221744.0048
7 | 2626677.677 | 1221758.917
8 | 2626615.058 | 1221725.9552
9 | 2626628.0755 | 1221746.1661
10 | 2626599.6367 | 1221702.0122
11 | 2626632.1107 | 1221752.431
12 | 2626601.8542 | 1221701.3995
13 | 2626582.3267 | 1221709.0058
14 | 2626649.3485 | 1221705.5583
15 | 2626576.7333 | 1221714.1183
16 | 2626567.6644 | 1221696.2431
17 | 2626649.3709 | 1221728.7211
18 | 2626652.9131 | 1221691.0912
19 | 2626562.6381 | 1221730.738
20 | 2626544.3117 | 1221675.9161
21 | 2626538.3256 | 1221611.8975
22 | 2626536.8308 | 1221610.2842
23 | 2626525.0606 | 1221580.8647
24 | 2626541.6754 | 1221551.776
25 | 2626490.2839 | 1221624.0902
26 | 2626461.3796 | 1221648.2326
27 | 2626651.5242 | 1221749.9496
28 | 2626653.0227 | 1221690.7701
29 | 2626475.9027 | 1221681.9083
30 | 2626465.13 | 1221673.0971
31 | 2626480.7169 | 1221685.846
32 | 2626489.6468 | 1221691.4833
33 | 2626408.9615 | 1221649.552
34 | 2626502.3804 | 1221675.1218
35 | 2626398.1759 | 1221649.2087
36 | 2626517.2674 | 1221660.0543
37 | 2626524.1153 | 1221729.8241
38 | 2626552.4273 | 1221742.8703
39 | 2626396.1841 | 1221668.0749
40 | 2626266.2202 | 1221445.3403
41 | 2626279.8717 | 1221405.7931
42 | 2626281.3455 | 1221412.6433
43 | 2626527.4348 | 1221640.4776
44 | 2626518.198 | 1221653.7547
45 | 2626613.9473 | 1221807.1519
46 | 2626645.8902 | 1221788.6249
47 | 2626641.9992 | 1221802.1933
48 | 2626576.0419 | 1221824.0008
49 | 2626587.1124 | 1221849.5551
50 | 2626520.7623 | 1221845.1056
51 | 2626649.3186 | 1221805.5946
52 | 2626634.985 | 1221820.9161
53 | 2626675.7119 | 1221758.6295
54 | 2626597.4283 | 1221866.3645
55 | 2626493.781 | 1221857.021
56 | 2626642.668 | 1221822.825
57 | 2626666.0612 | 1221810.0943
58 | 2626626.8684 | 1221842.6939
59 | 2626612.0237 | 1221882.0174
60 | 2626509.8039 | 1221890.3228
61 | 2626314.3773 | 1221939.2419
62 | 2626718.1054 | 1221867.6693
63 | 2626710.9305 | 1221805.7258
64 | 2626685.0556 | 1221807.7012
65 | 2626676.0959 | 1221809.0297
66 | 2626625.8335 | 1221845.4355
67 | 2626621.8682 | 1221855.9396
68 | 2626721.4278 | 1221732.6654
69 | 2626659.6482 | 1221675.1976
70 | 2626680.1808 | 1221641.3696
71 | 2626620.4863 | 1221605.2405
72 | 2626592.3298 | 1221588.5909
73 | 2626584.8533 | 1221584.6219
74 | 2626568.8724 | 1221970.7994
75 | 2626576.6459 | 1222037.9419
76 | 2626594.6416 | 1222045.4833
77 | 2626544.3742 | 1222023.5213
78 | 2626637.9426 | 1222003.9268
79 | 2626619.6795 | 1221996.5253
80 | 2626683.1337 | 1222016.1831
81 | 2626584.5147 | 1221980.0616
82 | 2626220.4668 | 1221971.4931
83 | 2626246.2694 | 1221972.9617
84 | 2626192.5235 | 1221947.2104
85 | 2626250.3305 | 1221967.065
86 | 2626178.91 | 1221946.9394
87 | 2626275.5599 | 1221954.2979
88 | 2626259.1014 | 1221978.5891
89 | 2626210.9214 | 1221975.4189
90 | 2626203.3481 | 1221980.2608
91 | 2626169.2973 | 1221953.5283
92 | 2626151.3834 | 1221962.0457
93 | 2626282.5183 | 1221951.5989
94 | 2626301.4474 | 1221923.5288
95 | 2626582.3267 | 1221709.0058

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1