## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_332-7_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_332-7_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_332-7_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_332-7_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_332-7_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_332-7_0_3_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_332-7_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_332-7_0_3_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_332-7_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_332-7_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_332-7_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_332-7_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_332-7_0_3_node_88 | 0.4 | n |  | TRUE
13 | bus_LV_332-7_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_332-7_0_3_node_80 | 0.4 | n |  | TRUE
15 | bus_LV_332-7_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_332-7_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_332-7_0_3_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_332-7_0_3_node_49 | 0.4 | n |  | TRUE
19 | bus_LV_332-7_0_3_node_69 | 0.4 | n |  | TRUE
20 | bus_LV_332-7_0_3_node_70 | 0.4 | n |  | TRUE
21 | bus_LV_332-7_0_3_node_47 | 0.4 | n |  | TRUE
22 | bus_LV_332-7_0_3_node_92 | 0.4 | n |  | TRUE
23 | bus_LV_332-7_0_3_node_90 | 0.4 | n |  | TRUE
24 | bus_LV_332-7_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_332-7_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_332-7_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_332-7_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_332-7_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_332-7_0_3_node_79 | 0.4 | n |  | TRUE
30 | bus_LV_332-7_0_3_node_84 | 0.4 | n |  | TRUE
31 | bus_LV_332-7_0_3_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_332-7_0_3_node_86 | 0.4 | n |  | TRUE
33 | bus_LV_332-7_0_3_node_77 | 0.4 | n |  | TRUE
34 | bus_LV_332-7_0_3_node_82 | 0.4 | n |  | TRUE
35 | bus_LV_332-7_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_332-7_0_3_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_332-7_0_3_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_332-7_0_3_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_332-7_0_3_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_332-7_0_3_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_332-7_0_3_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_332-7_0_3_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_332-7_0_3_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_332-7_0_3_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_332-7_0_3_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_332-7_0_3_node_75 | 0.4 | n |  | TRUE
47 | bus_LV_332-7_0_3_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_332-7_0_3_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_332-7_0_3_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_332-7_0_3_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_332-7_0_3_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_332-7_0_3_node_73 | 0.4 | n |  | TRUE
53 | bus_LV_332-7_0_3_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_332-7_0_3_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_332-7_0_3_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_332-7_0_3_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_332-7_0_3_node_71 | 0.4 | n |  | TRUE
58 | bus_LV_332-7_0_3_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_332-7_0_3_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_332-7_0_3_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_332-7_0_3_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_332-7_0_3_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_332-7_0_3_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_332-7_0_3_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_332-7_0_3_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_332-7_0_3_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_332-7_0_3_node_89 | 0.4 | n |  | TRUE
68 | bus_LV_332-7_0_3_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_332-7_0_3_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_332-7_0_3_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_332-7_0_3_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_332-7_0_3_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_332-7_0_3_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_332-7_0_3_node_57 | 0.4 | n |  | TRUE
75 | bus_LV_332-7_0_3_node_58 | 0.4 | n |  | TRUE
76 | bus_LV_332-7_0_3_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_332-7_0_3_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_332-7_0_3_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_332-7_0_3_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_332-7_0_3_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_332-7_0_3_node_99 | 0.4 | n |  | TRUE
82 | bus_LV_332-7_0_3_node_91 | 0.4 | n |  | TRUE
83 | bus_LV_332-7_0_3_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_332-7_0_3_node_74 | 0.4 | n |  | TRUE
85 | bus_LV_332-7_0_3_node_76 | 0.4 | n |  | TRUE
86 | bus_LV_332-7_0_3_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_332-7_0_3_node_87 | 0.4 | n |  | TRUE
88 | bus_LV_332-7_0_3_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_332-7_0_3_node_83 | 0.4 | n |  | TRUE
90 | bus_LV_332-7_0_3_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_332-7_0_3_node_93 | 0.4 | n |  | TRUE
92 | bus_LV_332-7_0_3_node_94 | 0.4 | n |  | TRUE
93 | bus_LV_332-7_0_3_node_95 | 0.4 | n |  | TRUE
94 | bus_LV_332-7_0_3_node_97 | 0.4 | n |  | TRUE
95 | bus_LV_332-7_0_3_node_98 | 0.4 | n |  | TRUE
96 | bus_LV_332-7_0_3_node_100 | 0.4 | n |  | TRUE
97 | bus_MV_476_0_node_49 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_332-7_0_3_load_0 | 0 | 0.0012204 | 0.00030586 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_332-7_0_3_load_4 | 4 | 0.0027034 | 0.00067754 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_332-7_0_3_load_14 | 5 | 0.0010242 | 0.00025668 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_332-7_0_3_load_5 | 6 | 0.00049343 | 0.00012366 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_332-7_0_3_load_15 | 7 | 0.00098723 | 0.00024742 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_332-7_0_3_load_6 | 8 | 0.0010846 | 0.00027183 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_332-7_0_3_load_7 | 9 | 0.0033508 | 0.0008398 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_332-7_0_3_load_8 | 10 | 0.0069294 | 0.0017367 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_332-7_0_3_load_88 | 12 | 0.0022635 | 0.00056729 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_332-7_0_3_load_11 | 13 | 0.00036011 | 9.0252e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_332-7_0_3_load_80 | 14 | 0.003009 | 0.00075413 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_332-7_0_3_load_10 | 15 | 0.0032254 | 0.00080837 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_332-7_0_3_load_13 | 16 | 0.0030519 | 0.00076488 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_332-7_0_3_load_69 | 19 | 0.0085246 | 0.0021365 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_332-7_0_3_load_47 | 21 | 0.0040395 | 0.0010124 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_332-7_0_3_load_92 | 22 | 0.0017946 | 0.00044976 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_332-7_0_3_load_90 | 23 | 0.0034047 | 0.0008533 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_332-7_0_3_load_17 | 24 | 0.0018972 | 0.00047547 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_332-7_0_3_load_19 | 26 | 0.0023534 | 0.00058983 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_332-7_0_3_load_21 | 28 | 0.0025363 | 0.00063566 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_332-7_0_3_load_84 | 30 | 0.0015896 | 0.00039838 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_332-7_0_3_load_27 | 31 | 0.0017844 | 0.00044722 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_332-7_0_3_load_86 | 32 | 0.002021 | 0.00050651 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_332-7_0_3_load_77 | 33 | 0.0021764 | 0.00054545 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_332-7_0_3_load_28 | 35 | 0.0018188 | 0.00045582 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_332-7_0_3_load_22 | 36 | 0.0016779 | 0.00042052 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_332-7_0_3_load_23 | 37 | 0.0013867 | 0.00034754 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_332-7_0_3_load_24 | 38 | 0.0021081 | 0.00052834 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_332-7_0_3_load_25 | 39 | 0.002081 | 0.00052155 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_332-7_0_3_load_26 | 40 | 0.0028064 | 0.00070335 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_332-7_0_3_load_45 | 41 | 0.0012933 | 0.00032412 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_332-7_0_3_load_44 | 42 | 0.0024616 | 0.00061695 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_332-7_0_3_load_33 | 44 | 0.0022103 | 0.00055397 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_332-7_0_3_load_30 | 45 | 0.0024162 | 0.00060555 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_332-7_0_3_load_75 | 46 | 0.0022332 | 0.00055969 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_332-7_0_3_load_31 | 47 | 0.0025771 | 0.00064587 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_332-7_0_3_load_32 | 48 | 0.0027286 | 0.00068385 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_332-7_0_3_load_39 | 50 | 0.0023674 | 0.00059332 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_332-7_0_3_load_34 | 51 | 0.0040618 | 0.001018 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_332-7_0_3_load_73 | 52 | 0.0022402 | 0.00056146 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_332-7_0_3_load_37 | 54 | 0.0022546 | 0.00056506 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_332-7_0_3_load_42 | 56 | 0.0022861 | 0.00057295 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_332-7_0_3_load_71 | 57 | 0.005589 | 0.0014007 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_332-7_0_3_load_56 | 58 | 0.0040832 | 0.0010234 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_332-7_0_3_load_40 | 60 | 0.0026117 | 0.00065456 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_332-7_0_3_load_50 | 62 | 0.0028772 | 0.00072109 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_332-7_0_3_load_46 | 63 | 0.0039467 | 0.00098913 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_332-7_0_3_load_41 | 64 | 0.0029555 | 0.00074071 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_332-7_0_3_load_43 | 65 | 0.0014151 | 0.00035466 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_332-7_0_3_load_89 | 67 | 0.0034396 | 0.00086205 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_332-7_0_3_load_62 | 69 | 0.0021603 | 0.00054142 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_332-7_0_3_load_51 | 70 | 0.0014852 | 0.00037224 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_332-7_0_3_load_52 | 71 | 0.0027436 | 0.00068761 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_332-7_0_3_load_54 | 72 | 0.001684 | 0.00042204 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_332-7_0_3_load_55 | 73 | 0.0016786 | 0.00042069 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_332-7_0_3_load_57 | 74 | 0.0013324 | 0.00033393 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_332-7_0_3_load_58 | 75 | 0.0031083 | 0.00077902 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_332-7_0_3_load_59 | 76 | 0.0023058 | 0.00057789 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_332-7_0_3_load_60 | 77 | 0.0028526 | 0.00071492 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_332-7_0_3_load_66 | 79 | 0.0056945 | 0.0014272 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_332-7_0_3_load_67 | 80 | 0.0021341 | 0.00053485 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_332-7_0_3_load_99 | 81 | 0.0029774 | 0.0007462 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_332-7_0_3_load_72 | 83 | 0.0018376 | 0.00046055 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_332-7_0_3_load_74 | 84 | 0.0020441 | 0.00051231 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_332-7_0_3_load_76 | 85 | 0.0030376 | 0.00076129 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_332-7_0_3_load_87 | 87 | 0.0056323 | 0.0014116 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_332-7_0_3_load_81 | 88 | 0.0022066 | 0.00055303 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_332-7_0_3_load_83 | 89 | 0.0022703 | 0.000569 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_332-7_0_3_load_85 | 90 | 0.0020806 | 0.00052145 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_332-7_0_3_load_93 | 91 | 0.0014666 | 0.00036755 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_332-7_0_3_load_95 | 93 | 0.0010034 | 0.00025149 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_332-7_0_3_load_97 | 94 | 0.0018041 | 0.00045215 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_332-7_0_3_load_100 | 96 | 0.0016183 | 0.00040559 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_332-7_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.060986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_332-7_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.076289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_332-7_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.12897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_332-7_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0081537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_332-7_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.02875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_332-7_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.001598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_332-7_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.065261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_332-7_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.022568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_332-7_0_3_line_8 | NAYY 4x150 SE | 7 | 17 | 0.031072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_332-7_0_3_line_9 | NAYY 4x150 SE | 9 | 10 | 0.013959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_332-7_0_3_line_10 | NAYY 4x150 SE | 10 | 11 | 0.038164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_332-7_0_3_line_11 | NAYY 4x150 SE | 11 | 15 | 0.043906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_332-7_0_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.019132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_332-7_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.22158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_332-7_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.01534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_332-7_0_3_line_15 | NAYY 4x150 SE | 14 | 86 | 0.013049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_332-7_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.0028657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_332-7_0_3_line_17 | NAYY 4x150 SE | 17 | 20 | 0.23241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_332-7_0_3_line_18 | NAYY 4x150 SE | 18 | 19 | 0.026402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_332-7_0_3_line_19 | NAYY 4x150 SE | 18 | 20 | 0.021349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_332-7_0_3_line_20 | NAYY 4x150 SE | 18 | 21 | 0.07112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_332-7_0_3_line_21 | NAYY 4x150 SE | 19 | 67 | 0.022243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_332-7_0_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.015571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_332-7_0_3_line_23 | NAYY 4x150 SE | 20 | 23 | 0.038828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_332-7_0_3_line_24 | NAYY 4x150 SE | 21 | 63 | 0.051484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_332-7_0_3_line_25 | NAYY 4x150 SE | 23 | 82 | 0.019767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_332-7_0_3_line_26 | NAYY 4x150 SE | 24 | 25 | 0.0087006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_332-7_0_3_line_27 | NAYY 4x150 SE | 24 | 26 | 0.056083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_332-7_0_3_line_28 | NAYY 4x150 SE | 25 | 27 | 0.008416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_332-7_0_3_line_29 | NAYY 4x150 SE | 25 | 28 | 0.011239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_332-7_0_3_line_30 | NAYY 4x150 SE | 27 | 29 | 0.038018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_332-7_0_3_line_31 | NAYY 4x150 SE | 27 | 30 | 0.013841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_332-7_0_3_line_32 | NAYY 4x150 SE | 28 | 31 | 0.0036006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_332-7_0_3_line_33 | NAYY 4x150 SE | 29 | 32 | 0.010713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_332-7_0_3_line_34 | NAYY 4x150 SE | 29 | 33 | 0.010848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_332-7_0_3_line_35 | NAYY 4x150 SE | 30 | 34 | 0.018136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_332-7_0_3_line_36 | NAYY 4x150 SE | 31 | 35 | 0.025235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_332-7_0_3_line_37 | NAYY 4x150 SE | 32 | 87 | 0.017303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_332-7_0_3_line_38 | NAYY 4x150 SE | 33 | 85 | 0.0062492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_332-7_0_3_line_39 | NAYY 4x150 SE | 34 | 89 | 0.0061494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_332-7_0_3_line_40 | NAYY 4x150 SE | 34 | 88 | 0.0093158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_332-7_0_3_line_41 | NAYY 4x150 SE | 35 | 43 | 0.0085796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_332-7_0_3_line_42 | NAYY 4x150 SE | 36 | 37 | 0.019907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_332-7_0_3_line_43 | NAYY 4x150 SE | 36 | 38 | 0.014431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_332-7_0_3_line_44 | NAYY 4x150 SE | 37 | 39 | 0.010441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_332-7_0_3_line_45 | NAYY 4x150 SE | 38 | 40 | 0.0048179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_332-7_0_3_line_46 | NAYY 4x150 SE | 40 | 41 | 0.011537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_332-7_0_3_line_47 | NAYY 4x150 SE | 41 | 42 | 0.01105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_332-7_0_3_line_48 | NAYY 4x150 SE | 42 | 65 | 0.0035796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_332-7_0_3_line_49 | NAYY 4x150 SE | 43 | 44 | 0.012634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_332-7_0_3_line_50 | NAYY 4x150 SE | 43 | 45 | 0.018646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_332-7_0_3_line_51 | NAYY 4x150 SE | 44 | 46 | 0.022539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_332-7_0_3_line_52 | NAYY 4x150 SE | 45 | 47 | 0.0037642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_332-7_0_3_line_53 | NAYY 4x150 SE | 46 | 52 | 0.0055588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_332-7_0_3_line_54 | NAYY 4x150 SE | 47 | 48 | 0.019155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_332-7_0_3_line_55 | NAYY 4x150 SE | 48 | 49 | 0.019481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_332-7_0_3_line_56 | NAYY 4x150 SE | 49 | 50 | 0.014685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_332-7_0_3_line_57 | NAYY 4x150 SE | 49 | 51 | 0.057639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_332-7_0_3_line_58 | NAYY 4x150 SE | 50 | 59 | 0.0041059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_332-7_0_3_line_59 | NAYY 4x150 SE | 51 | 53 | 0.0042992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_332-7_0_3_line_60 | NAYY 4x150 SE | 52 | 83 | 0.0094304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_332-7_0_3_line_61 | NAYY 4x150 SE | 53 | 54 | 0.016632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_332-7_0_3_line_62 | NAYY 4x150 SE | 53 | 55 | 0.01782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_332-7_0_3_line_63 | NAYY 4x150 SE | 54 | 56 | 0.013647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_332-7_0_3_line_64 | NAYY 4x150 SE | 55 | 57 | 0.031961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_332-7_0_3_line_65 | NAYY 4x150 SE | 55 | 58 | 0.015313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_332-7_0_3_line_66 | NAYY 4x150 SE | 56 | 60 | 0.009058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_332-7_0_3_line_67 | NAYY 4x150 SE | 58 | 61 | 0.011603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_332-7_0_3_line_68 | NAYY 4x150 SE | 59 | 62 | 0.029218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_332-7_0_3_line_69 | NAYY 4x150 SE | 59 | 63 | 0.044584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_332-7_0_3_line_70 | NAYY 4x150 SE | 60 | 64 | 0.017361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_332-7_0_3_line_71 | NAYY 4x150 SE | 61 | 73 | 0.0234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_332-7_0_3_line_72 | NAYY 4x150 SE | 61 | 70 | 0.010444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_332-7_0_3_line_73 | NAYY 4x150 SE | 62 | 66 | 0.090788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_332-7_0_3_line_74 | NAYY 4x150 SE | 64 | 65 | 0.013207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_332-7_0_3_line_75 | NAYY 4x150 SE | 66 | 68 | 0.10154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_332-7_0_3_line_76 | NAYY 4x150 SE | 66 | 69 | 0.043106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_332-7_0_3_line_77 | NAYY 4x150 SE | 68 | 81 | 0.018534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_332-7_0_3_line_78 | NAYY 4x150 SE | 68 | 78 | 0.084102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_332-7_0_3_line_79 | NAYY 4x150 SE | 70 | 71 | 0.006729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_332-7_0_3_line_80 | NAYY 4x150 SE | 71 | 72 | 0.010979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_332-7_0_3_line_81 | NAYY 4x150 SE | 74 | 75 | 0.053628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_332-7_0_3_line_82 | NAYY 4x150 SE | 74 | 76 | 0.014512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_332-7_0_3_line_83 | NAYY 4x150 SE | 75 | 77 | 0.053846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_332-7_0_3_line_84 | NAYY 4x150 SE | 76 | 78 | 0.037307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_332-7_0_3_line_85 | NAYY 4x150 SE | 77 | 79 | 0.023514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_332-7_0_3_line_86 | NAYY 4x150 SE | 79 | 80 | 0.0033022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_332-7_0_3_line_87 | NAYY 4x150 SE | 82 | 91 | 0.091549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_332-7_0_3_line_88 | NAYY 4x150 SE | 82 | 92 | 0.042806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_332-7_0_3_line_89 | NAYY 4x150 SE | 83 | 84 | 0.004649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_332-7_0_3_line_90 | NAYY 4x150 SE | 85 | 86 | 0.0027867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_332-7_0_3_line_91 | NAYY 4x150 SE | 89 | 90 | 0.014061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_332-7_0_3_line_92 | NAYY 4x150 SE | 91 | 93 | 0.0074007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_332-7_0_3_line_93 | NAYY 4x150 SE | 92 | 94 | 0.022425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_332-7_0_3_line_94 | NAYY 4x150 SE | 94 | 95 | 0.034937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_332-7_0_3_line_95 | NAYY 4x150 SE | 95 | 96 | 0.40365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_332-7_0_3_trafo_31 | 0.25 MVA 20/0.4 kV | 97 | 47 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2627944.485 | 1224343.8074 | 2627951.239 | 1224347.3078 | 2627962.4376 | 1224350.451 | 2627974.4259 | 1224350.1182 | 2628002.1035 | 1224339.1954
1 | 2628076.294 | 1224346.8394 | 2628035.5926 | 1224336.1416 | 2628021.1039 | 1224334.5281 | 2628006.7764 | 1224337.3513 | 2628002.1035 | 1224339.1954
2 | 2627944.485 | 1224343.8074 | 2627937.122 | 1224344.0508 | 2627933.5527 | 1224345.3015 | 2627930.3632 | 1224348.0215 | 2627929.4859 | 1224352.4089 | 2627952.6229 | 1224399.8009 | 2627981.9879 | 1224447.9672
3 | 2628076.294 | 1224346.8394 | 2628075.3371 | 1224350.4037 | 2628070.88 | 1224350.1692
4 | 2627981.9879 | 1224447.9672 | 2627975.4579 | 1224458.1426 | 2627965.5392 | 1224471.5272
5 | 2628070.88 | 1224350.1692 | 2628069.2842 | 1224350.0853
6 | 2627965.5392 | 1224471.5272 | 2627953.4381 | 1224487.857 | 2627935.9765 | 1224509.1545 | 2627928.9736 | 1224516.7373 | 2627925.4252 | 1224522.856
7 | 2628047.0616 | 1224352.7053 | 2628052.8703 | 1224350.8649 | 2628063.7323 | 1224349.7932 | 2628069.2842 | 1224350.0853
8 | 2627910.8862 | 1224550.2947 | 2627918.2807 | 1224535.1759 | 2627925.4252 | 1224522.856
9 | 2627105.3251 | 1224589.1779 | 2627106.8114 | 1224575.2984
10 | 2627110.8751 | 1224537.3518 | 2627106.8114 | 1224575.2984
11 | 2627110.8751 | 1224537.3518 | 2627112.1584 | 1224533.5554 | 2627114.0837 | 1224528.639 | 2627114.9274 | 1224524.8406 | 2627118.2403 | 1224496.5611 | 2627118.5129 | 1224494.3227
12 | 2627110.8751 | 1224537.3518 | 2627121.0355 | 1224538.7321 | 2627125.4234 | 1224539.119 | 2627129.8852 | 1224538.802
13 | 2627351.2664 | 1224529.4448 | 2627129.8852 | 1224538.802
14 | 2627362.7722 | 1224539.5901 | 2627351.2664 | 1224529.4448 | 2627351.2664 | 1224529.4448
15 | 2627372.5599 | 1224548.2203 | 2627362.7722 | 1224539.5901
16 | 2627118.5129 | 1224494.3227 | 2627118.8594 | 1224491.478
17 | 2627682.6034 | 1224593.8786 | 2627910.8862 | 1224550.2947
18 | 2627678.4165 | 1224573.0913 | 2627653.5056 | 1224581.84
19 | 2627678.4165 | 1224573.0913 | 2627681.9648 | 1224584.4701 | 2627682.6034 | 1224593.8786
20 | 2627678.4165 | 1224573.0913 | 2627675.2013 | 1224565.0605 | 2627669.8707 | 1224558.732 | 2627659.6569 | 1224552.5254 | 2627621.959 | 1224533.462
21 | 2627632.5196 | 1224589.2102 | 2627653.5056 | 1224581.84
22 | 2627682.6034 | 1224593.8786 | 2627670.2696 | 1224603.4271
23 | 2627682.6034 | 1224593.8786 | 2627685.5814 | 1224618.6738 | 2627686.0245 | 1224632.5213
24 | 2627576.3665 | 1224509.5604 | 2627597.1956 | 1224520.9395 | 2627621.959 | 1224533.462
25 | 2627685.7286 | 1224652.2834 | 2627686.1044 | 1224635.0193 | 2627686.0245 | 1224632.5213
26 | 2627434.5497 | 1224527.6041 | 2627426.3997 | 1224530.65
27 | 2627407.399 | 1224565.8352 | 2627408.9446 | 1224564.4082 | 2627409.4211 | 1224562.9984 | 2627401.4153 | 1224549.7649 | 2627400.0101 | 1224545.3891 | 2627400.7586 | 1224540.901 | 2627403.8869 | 1224538.2138 | 2627420.3859 | 1224532.8976 | 2627426.3997 | 1224530.65
28 | 2627434.5497 | 1224527.6041 | 2627426.1314 | 1224528.2213
29 | 2627434.5497 | 1224527.6041 | 2627445.5105 | 1224525.1172
30 | 2627389.2358 | 1224537.3905 | 2627403.3825 | 1224532.497 | 2627410.1143 | 1224530.9715 | 2627426.1314 | 1224528.2213
31 | 2627426.1314 | 1224528.2213 | 2627423.5194 | 1224514.629
32 | 2627449.0219 | 1224524.3205 | 2627445.5105 | 1224525.1172
33 | 2627389.2358 | 1224537.3905 | 2627383.4791 | 1224528.3554
34 | 2627389.2358 | 1224537.3905 | 2627380.1379 | 1224543.2989
35 | 2627420.097 | 1224496.8193 | 2627423.5194 | 1224514.629
36 | 2627449.0219 | 1224524.3205 | 2627473.6318 | 1224518.7368
37 | 2627374.1814 | 1224513.7629 | 2627383.4791 | 1224528.3554
38 | 2627374.897 | 1224546.7025 | 2627380.1379 | 1224543.2989
39 | 2627420.097 | 1224496.8193 | 2627415.2064 | 1224496.9303 | 2627413.9489 | 1224496.9225
40 | 2627420.097 | 1224496.8193 | 2627429.0502 | 1224494.2458
41 | 2627481.9987 | 1224516.8384 | 2627473.6318 | 1224518.7368
42 | 2627456.2399 | 1224578.2729 | 2627436.538 | 1224581.123
43 | 2627456.2399 | 1224578.2729 | 2627470.5226 | 1224576.2067
44 | 2627426.2049 | 1224582.6179 | 2627436.538 | 1224581.123
45 | 2627475.2909 | 1224575.5169 | 2627470.5226 | 1224576.2067
46 | 2627475.2909 | 1224575.5169 | 2627486.7094 | 1224573.865
47 | 2627497.6458 | 1224572.2829 | 2627486.7094 | 1224573.865
48 | 2627497.6458 | 1224572.2829 | 2627501.1885 | 1224571.7704
49 | 2627481.9987 | 1224516.8384 | 2627480.1539 | 1224504.3394
50 | 2627481.9987 | 1224516.8384 | 2627500.3855 | 1224513.7415
51 | 2627480.1539 | 1224504.3394 | 2627478.117 | 1224490.5382 | 2627473.6629 | 1224484.7587 | 2627472.4263 | 1224484.3853
52 | 2627500.3855 | 1224513.7415 | 2627504.0974 | 1224513.1162
53 | 2627472.4263 | 1224484.3853 | 2627468.8781 | 1224483.3136 | 2627467.0435 | 1224483.5687
54 | 2627522.9868 | 1224509.9347 | 2627504.0974 | 1224513.1162
55 | 2627542.1971 | 1224506.699 | 2627522.9868 | 1224509.9347
56 | 2627542.1971 | 1224506.699 | 2627538.1327 | 1224492.5875
57 | 2627542.1971 | 1224506.699 | 2627546.6033 | 1224512.9675 | 2627568.4902 | 1224557.8969
58 | 2627536.9962 | 1224488.6421 | 2627538.1327 | 1224492.5875
59 | 2627570.373 | 1224561.7619 | 2627568.4902 | 1224557.8969
60 | 2627457.7029 | 1224484.8673 | 2627467.0435 | 1224483.5687
61 | 2627570.373 | 1224561.7619 | 2627553.9122 | 1224564.1432
62 | 2627577.7657 | 1224577.9834 | 2627570.373 | 1224561.7619
63 | 2627553.9122 | 1224564.1432 | 2627540.406 | 1224566.097
64 | 2627577.7657 | 1224577.9834 | 2627573.7764 | 1224584.8468 | 2627564.7332 | 1224587.8179 | 2627550.6598 | 1224591.5996
65 | 2627577.7657 | 1224577.9834 | 2627582.6912 | 1224592.4826
66 | 2627531.4413 | 1224567.3939 | 2627540.406 | 1224566.097
67 | 2627585.4782 | 1224603.7122 | 2627584.3402 | 1224597.3364 | 2627582.6912 | 1224592.4826
68 | 2627536.9962 | 1224488.6421 | 2627529.0703 | 1224479.5 | 2627521.3813 | 1224465.0004 | 2627521.0981 | 1224464.3533
69 | 2627536.9962 | 1224488.6421 | 2627561.6676 | 1224501.5303 | 2627576.3665 | 1224509.5604
70 | 2627531.4413 | 1224567.3939 | 2627514.2595 | 1224569.8795
71 | 2627585.4782 | 1224603.7122 | 2627602.4778 | 1224606.5147 | 2627608.7083 | 1224606.8215
72 | 2627585.4782 | 1224603.7122 | 2627584.5587 | 1224607.4546 | 2627578.5112 | 1224610.0729
73 | 2627493.7908 | 1224378.1772 | 2627499.1849 | 1224406.9747 | 2627508.8448 | 1224436.3589 | 2627514.2315 | 1224448.6688 | 2627521.0981 | 1224464.3533
74 | 2627514.2595 | 1224569.8795 | 2627501.1885 | 1224571.7704
75 | 2627505.782 | 1224278.618 | 2627505.727 | 1224288.8794 | 2627500.043 | 1224308.0867 | 2627493.5048 | 1224333.3493 | 2627491.0349 | 1224349.3919 | 2627492.5974 | 1224365.6865 | 2627493.7908 | 1224378.1772
76 | 2627493.7908 | 1224378.1772 | 2627482.4855 | 1224380.0373 | 2627481.2971 | 1224381.277 | 2627480.1058 | 1224383.1171 | 2627479.504 | 1224385.3823 | 2627480.935 | 1224400.5979 | 2627479.3442 | 1224403.5924 | 2627477.1181 | 1224404.616 | 2627472.9425 | 1224405.5172
77 | 2627505.782 | 1224278.618 | 2627524.1626 | 1224281.3822
78 | 2627505.782 | 1224278.618 | 2627503.6048 | 1224270.6588 | 2627468.5383 | 1224203.3573
79 | 2627578.5112 | 1224610.0729 | 2627577.6989 | 1224610.4246 | 2627571.8877 | 1224611.0404
80 | 2627561.0029 | 1224612.4597 | 2627567.3453 | 1224611.5218 | 2627571.8877 | 1224611.0404
81 | 2627519.0881 | 1224214.6077 | 2627547.4325 | 1224220.398 | 2627568.2254 | 1224227.854 | 2627570.5317 | 1224229.0742
82 | 2627519.0881 | 1224214.6077 | 2627510.7935 | 1224212.9133 | 2627504.9354 | 1224211.4163
83 | 2627570.5317 | 1224229.0742 | 2627588.0035 | 1224238.3183 | 2627614.7017 | 1224259.499
84 | 2627468.5383 | 1224203.3573 | 2627483.5006 | 1224205.9389 | 2627504.9354 | 1224211.4163
85 | 2627633.7699 | 1224273.1682 | 2627626.7256 | 1224269.038 | 2627614.7017 | 1224259.499
86 | 2627633.7699 | 1224273.1682 | 2627636.6185 | 1224274.8384
87 | 2627685.7286 | 1224652.2834 | 2627602.4559 | 1224665.2606 | 2627598.3975 | 1224659.2271 | 2627598.3975 | 1224659.2271
88 | 2627685.7286 | 1224652.2834 | 2627683.4148 | 1224695.0202
89 | 2627453.8023 | 1224482.4659 | 2627457.4226 | 1224484.9063 | 2627457.7029 | 1224484.8673
90 | 2627372.5599 | 1224548.2203 | 2627374.897 | 1224546.7025
91 | 2627399.9118 | 1224497.5159 | 2627408.08 | 1224496.8864 | 2627413.9489 | 1224496.9225
92 | 2627598.3975 | 1224659.2271 | 2627594.4717 | 1224657.3078 | 2627591.4672 | 1224656.9091
93 | 2627683.4148 | 1224695.0202 | 2627678.4762 | 1224702.246 | 2627668.8147 | 1224711.9203
94 | 2627644.0198 | 1224736.4732 | 2627646.7272 | 1224733.017 | 2627663.1363 | 1224717.6062 | 2627668.8147 | 1224711.9203
95 | 2627644.0198 | 1224736.4732 | 2627655.3461 | 1225139.9653

## bus_geodata
| x | y | coords
0 | 2628002.1035 | 1224339.1954
1 | 2627944.485 | 1224343.8074
2 | 2628076.294 | 1224346.8394
3 | 2627981.9879 | 1224447.9672
4 | 2628070.88 | 1224350.1692
5 | 2627965.5392 | 1224471.5272
6 | 2628069.2842 | 1224350.0852
7 | 2627925.4252 | 1224522.856
8 | 2628047.0616 | 1224352.7053
9 | 2627105.3251 | 1224589.1779
10 | 2627106.8114 | 1224575.2984
11 | 2627110.8751 | 1224537.3518
12 | 2627351.2664 | 1224529.4448
13 | 2627129.8852 | 1224538.802
14 | 2627362.7722 | 1224539.5901
15 | 2627118.5129 | 1224494.3227
16 | 2627118.8594 | 1224491.478
17 | 2627910.8862 | 1224550.2947
18 | 2627678.4165 | 1224573.0913
19 | 2627653.5056 | 1224581.84
20 | 2627682.6034 | 1224593.8786
21 | 2627621.959 | 1224533.462
22 | 2627670.2696 | 1224603.4271
23 | 2627686.0245 | 1224632.5213
24 | 2627426.3997 | 1224530.65
25 | 2627434.5497 | 1224527.6041
26 | 2627407.399 | 1224565.8352
27 | 2627426.1314 | 1224528.2213
28 | 2627445.5105 | 1224525.1172
29 | 2627389.2358 | 1224537.3905
30 | 2627423.5194 | 1224514.629
31 | 2627449.0219 | 1224524.3205
32 | 2627383.4791 | 1224528.3554
33 | 2627380.1379 | 1224543.2989
34 | 2627420.097 | 1224496.8193
35 | 2627473.6318 | 1224518.7368
36 | 2627456.2399 | 1224578.2729
37 | 2627436.538 | 1224581.123
38 | 2627470.5226 | 1224576.2067
39 | 2627426.2049 | 1224582.6179
40 | 2627475.2909 | 1224575.5169
41 | 2627486.7094 | 1224573.865
42 | 2627497.6458 | 1224572.2829
43 | 2627481.9987 | 1224516.8384
44 | 2627480.1539 | 1224504.3394
45 | 2627500.3855 | 1224513.7415
46 | 2627472.4263 | 1224484.3853
47 | 2627504.0974 | 1224513.1162
48 | 2627522.9868 | 1224509.9347
49 | 2627542.1971 | 1224506.699
50 | 2627538.1327 | 1224492.5875
51 | 2627568.4902 | 1224557.8969
52 | 2627467.0435 | 1224483.5687
53 | 2627570.373 | 1224561.7619
54 | 2627553.9122 | 1224564.1432
55 | 2627577.7657 | 1224577.9834
56 | 2627540.406 | 1224566.097
57 | 2627550.6598 | 1224591.5996
58 | 2627582.6912 | 1224592.4826
59 | 2627536.9962 | 1224488.6421
60 | 2627531.4413 | 1224567.3939
61 | 2627585.4782 | 1224603.7122
62 | 2627521.0981 | 1224464.3533
63 | 2627576.3665 | 1224509.5604
64 | 2627514.2595 | 1224569.8795
65 | 2627501.1885 | 1224571.7704
66 | 2627493.7908 | 1224378.1772
67 | 2627632.5196 | 1224589.2102
68 | 2627505.782 | 1224278.618
69 | 2627472.9425 | 1224405.5172
70 | 2627578.5112 | 1224610.0729
71 | 2627571.8877 | 1224611.0404
72 | 2627561.0029 | 1224612.4597
73 | 2627608.7083 | 1224606.8215
74 | 2627519.0881 | 1224214.6077
75 | 2627570.5317 | 1224229.0742
76 | 2627504.9354 | 1224211.4163
77 | 2627614.7017 | 1224259.499
78 | 2627468.5383 | 1224203.3573
79 | 2627633.7699 | 1224273.1682
80 | 2627636.6185 | 1224274.8384
81 | 2627524.1626 | 1224281.3822
82 | 2627685.7285 | 1224652.2834
83 | 2627457.7029 | 1224484.8673
84 | 2627453.8023 | 1224482.4659
85 | 2627374.897 | 1224546.7025
86 | 2627372.5599 | 1224548.2203
87 | 2627374.1814 | 1224513.7629
88 | 2627429.0502 | 1224494.2458
89 | 2627413.9489 | 1224496.9225
90 | 2627399.9118 | 1224497.5159
91 | 2627598.3975 | 1224659.2271
92 | 2627683.4148 | 1224695.0202
93 | 2627591.4672 | 1224656.9091
94 | 2627668.8147 | 1224711.9203
95 | 2627644.0198 | 1224736.4732
96 | 2627655.3461 | 1225139.9653
97 | 2627481.9987 | 1224516.8384

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1