## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_333-5_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_333-5_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_333-5_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_333-5_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_333-5_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_333-5_0_7_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_333-5_0_7_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_333-5_0_7_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_333-5_0_7_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_333-5_0_7_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_333-5_0_7_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_333-5_0_7_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_333-5_0_7_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_333-5_0_7_node_37 | 0.4 | n |  | TRUE
14 | bus_LV_333-5_0_7_node_38 | 0.4 | n |  | TRUE
15 | bus_LV_333-5_0_7_node_39 | 0.4 | n |  | TRUE
16 | bus_LV_333-5_0_7_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_333-5_0_7_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_333-5_0_7_node_33 | 0.4 | n |  | TRUE
19 | bus_LV_333-5_0_7_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_333-5_0_7_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_333-5_0_7_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_333-5_0_7_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_333-5_0_7_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_333-5_0_7_node_78 | 0.4 | n |  | TRUE
25 | bus_LV_333-5_0_7_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_333-5_0_7_node_76 | 0.4 | n |  | TRUE
27 | bus_LV_333-5_0_7_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_333-5_0_7_node_57 | 0.4 | n |  | TRUE
29 | bus_LV_333-5_0_7_node_59 | 0.4 | n |  | TRUE
30 | bus_LV_333-5_0_7_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_333-5_0_7_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_333-5_0_7_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_333-5_0_7_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_333-5_0_7_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_333-5_0_7_node_53 | 0.4 | n |  | TRUE
36 | bus_LV_333-5_0_7_node_50 | 0.4 | n |  | TRUE
37 | bus_LV_333-5_0_7_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_333-5_0_7_node_72 | 0.4 | n |  | TRUE
39 | bus_LV_333-5_0_7_node_105 | 0.4 | n |  | TRUE
40 | bus_LV_333-5_0_7_node_103 | 0.4 | n |  | TRUE
41 | bus_LV_333-5_0_7_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_333-5_0_7_node_73 | 0.4 | n |  | TRUE
43 | bus_LV_333-5_0_7_node_56 | 0.4 | n |  | TRUE
44 | bus_LV_333-5_0_7_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_333-5_0_7_node_64 | 0.4 | n |  | TRUE
46 | bus_LV_333-5_0_7_node_63 | 0.4 | n |  | TRUE
47 | bus_LV_333-5_0_7_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_333-5_0_7_node_65 | 0.4 | n |  | TRUE
49 | bus_LV_333-5_0_7_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_333-5_0_7_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_333-5_0_7_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_333-5_0_7_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_333-5_0_7_node_24 | 0.4 | n |  | TRUE
54 | bus_LV_333-5_0_7_node_26 | 0.4 | n |  | TRUE
55 | bus_LV_333-5_0_7_node_27 | 0.4 | n |  | TRUE
56 | bus_LV_333-5_0_7_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_333-5_0_7_node_28 | 0.4 | n |  | TRUE
58 | bus_LV_333-5_0_7_node_29 | 0.4 | n |  | TRUE
59 | bus_LV_333-5_0_7_node_30 | 0.4 | n |  | TRUE
60 | bus_LV_333-5_0_7_node_32 | 0.4 | n |  | TRUE
61 | bus_LV_333-5_0_7_node_34 | 0.4 | n |  | TRUE
62 | bus_LV_333-5_0_7_node_36 | 0.4 | n |  | TRUE
63 | bus_LV_333-5_0_7_node_99 | 0.4 | n |  | TRUE
64 | bus_LV_333-5_0_7_node_100 | 0.4 | n |  | TRUE
65 | bus_LV_333-5_0_7_node_98 | 0.4 | n |  | TRUE
66 | bus_LV_333-5_0_7_node_94 | 0.4 | n |  | TRUE
67 | bus_LV_333-5_0_7_node_69 | 0.4 | n |  | TRUE
68 | bus_LV_333-5_0_7_node_71 | 0.4 | n |  | TRUE
69 | bus_LV_333-5_0_7_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_333-5_0_7_node_47 | 0.4 | n |  | TRUE
71 | bus_LV_333-5_0_7_node_49 | 0.4 | n |  | TRUE
72 | bus_LV_333-5_0_7_node_52 | 0.4 | n |  | TRUE
73 | bus_LV_333-5_0_7_node_54 | 0.4 | n |  | TRUE
74 | bus_LV_333-5_0_7_node_79 | 0.4 | n |  | TRUE
75 | bus_LV_333-5_0_7_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_333-5_0_7_node_83 | 0.4 | n |  | TRUE
77 | bus_LV_333-5_0_7_node_80 | 0.4 | n |  | TRUE
78 | bus_LV_333-5_0_7_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_333-5_0_7_node_60 | 0.4 | n |  | TRUE
80 | bus_LV_333-5_0_7_node_61 | 0.4 | n |  | TRUE
81 | bus_LV_333-5_0_7_node_62 | 0.4 | n |  | TRUE
82 | bus_LV_333-5_0_7_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_333-5_0_7_node_67 | 0.4 | n |  | TRUE
84 | bus_LV_333-5_0_7_node_68 | 0.4 | n |  | TRUE
85 | bus_LV_333-5_0_7_node_85 | 0.4 | n |  | TRUE
86 | bus_LV_333-5_0_7_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_333-5_0_7_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_333-5_0_7_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_333-5_0_7_node_102 | 0.4 | n |  | TRUE
90 | bus_LV_333-5_0_7_node_86 | 0.4 | n |  | TRUE
91 | bus_LV_333-5_0_7_node_87 | 0.4 | n |  | TRUE
92 | bus_LV_333-5_0_7_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_333-5_0_7_node_92 | 0.4 | n |  | TRUE
94 | bus_LV_333-5_0_7_node_89 | 0.4 | n |  | TRUE
95 | bus_LV_333-5_0_7_node_101 | 0.4 | n |  | TRUE
96 | bus_LV_333-5_0_7_node_97 | 0.4 | n |  | TRUE
97 | bus_LV_333-5_0_7_node_95 | 0.4 | n |  | TRUE
98 | bus_LV_333-5_0_7_node_90 | 0.4 | n |  | TRUE
99 | bus_LV_333-5_0_7_node_91 | 0.4 | n |  | TRUE
100 | bus_LV_333-5_0_7_node_93 | 0.4 | n |  | TRUE
101 | bus_LV_333-5_0_7_node_96 | 0.4 | n |  | TRUE
102 | bus_MV_476_0_node_150 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_333-5_0_7_load_0 | 0 | 0.003101 | 0.00077719 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_333-5_0_7_load_1 | 1 | 0.0051899 | 0.0013007 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_333-5_0_7_load_8 | 6 | 0.0018456 | 0.00046256 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_333-5_0_7_load_12 | 7 | 0.0012326 | 0.00030891 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_333-5_0_7_load_14 | 8 | 0.0022019 | 0.00055185 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_333-5_0_7_load_25 | 10 | 0.0031296 | 0.00078435 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_333-5_0_7_load_22 | 12 | 0.0010713 | 0.0002685 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_333-5_0_7_load_37 | 13 | 0.0054177 | 0.0013578 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_333-5_0_7_load_38 | 14 | 0.0058164 | 0.0014577 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_333-5_0_7_load_39 | 15 | 0.0037951 | 0.00095115 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_333-5_0_7_load_11 | 16 | 0.00094531 | 0.00023692 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_333-5_0_7_load_13 | 17 | 0.0026038 | 0.00065258 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_333-5_0_7_load_33 | 18 | 0.00085284 | 0.00021374 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_333-5_0_7_load_23 | 19 | 0.00096209 | 0.00024112 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_333-5_0_7_load_9 | 21 | 0.00052344 | 0.00013119 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_333-5_0_7_load_10 | 22 | 0.00062174 | 0.00015582 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_333-5_0_7_load_76 | 26 | 0.0019225 | 0.00048181 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_333-5_0_7_load_59 | 29 | 0.025503 | 0.0063916 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_333-5_0_7_load_48 | 31 | 0.0026343 | 0.00066021 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_333-5_0_7_load_45 | 32 | 0.0050899 | 0.0012756 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_333-5_0_7_load_50 | 36 | 0.0018677 | 0.00046809 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_333-5_0_7_load_105 | 39 | 0.007798 | 0.0019544 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_333-5_0_7_load_103 | 40 | 0.00056284 | 0.00014106 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_333-5_0_7_load_73 | 42 | 0.0052732 | 0.0013216 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_333-5_0_7_load_56 | 43 | 0.0045502 | 0.0011404 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_333-5_0_7_load_64 | 45 | 0.0046955 | 0.0011768 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_333-5_0_7_load_63 | 46 | 0.0037628 | 0.00094306 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_333-5_0_7_load_65 | 48 | 0.0013413 | 0.00033615 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_333-5_0_7_load_58 | 49 | 0.007297 | 0.0018288 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_333-5_0_7_load_46 | 50 | 0.0014638 | 0.00036686 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_333-5_0_7_load_55 | 51 | 0.0065132 | 0.0016324 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_333-5_0_7_load_51 | 52 | 0.0021783 | 0.00054592 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_333-5_0_7_load_24 | 53 | 0.00094606 | 0.00023711 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_333-5_0_7_load_26 | 54 | 0.00077997 | 0.00019548 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_333-5_0_7_load_27 | 55 | 0.00049822 | 0.00012487 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_333-5_0_7_load_28 | 57 | 0.00079131 | 0.00019832 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_333-5_0_7_load_29 | 58 | 0.0033646 | 0.00084325 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_333-5_0_7_load_30 | 59 | 0.00055568 | 0.00013927 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_333-5_0_7_load_32 | 60 | 0.0031398 | 0.0007869 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_333-5_0_7_load_34 | 61 | 0.0027384 | 0.0006863 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_333-5_0_7_load_99 | 63 | 0.0016756 | 0.00041994 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_333-5_0_7_load_100 | 64 | 0.0019968 | 0.00050044 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_333-5_0_7_load_98 | 65 | 0.0025516 | 0.00063949 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_333-5_0_7_load_94 | 66 | 0.0016098 | 0.00040346 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_333-5_0_7_load_69 | 67 | 0.014011 | 0.0035115 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_333-5_0_7_load_71 | 68 | 0.0036928 | 0.0009255 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_333-5_0_7_load_66 | 69 | 0.0068701 | 0.0017218 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_333-5_0_7_load_47 | 70 | 0.0015708 | 0.00039367 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_333-5_0_7_load_49 | 71 | 0.0049357 | 0.001237 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_333-5_0_7_load_52 | 72 | 0.00075801 | 0.00018998 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_333-5_0_7_load_54 | 73 | 0.0037117 | 0.00093025 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_333-5_0_7_load_74 | 75 | 0.00113 | 0.0002832 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_333-5_0_7_load_83 | 76 | 0.0020897 | 0.00052374 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_333-5_0_7_load_80 | 77 | 0.0014416 | 0.0003613 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_333-5_0_7_load_75 | 78 | 0.00090111 | 0.00022584 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_333-5_0_7_load_60 | 79 | 0.011441 | 0.0028675 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_333-5_0_7_load_61 | 80 | 0.0071614 | 0.0017948 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_333-5_0_7_load_62 | 81 | 0.0081267 | 0.0020367 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_333-5_0_7_load_70 | 82 | 0.0028992 | 0.0007266 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_333-5_0_7_load_67 | 83 | 0.0025521 | 0.00063961 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_333-5_0_7_load_85 | 85 | 0.0015164 | 0.00038005 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_333-5_0_7_load_81 | 86 | 0.0019385 | 0.00048582 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_333-5_0_7_load_82 | 87 | 0.0013327 | 0.000334 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_333-5_0_7_load_84 | 88 | 0.0015425 | 0.00038659 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_333-5_0_7_load_102 | 89 | 0.0009228 | 0.00023128 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_333-5_0_7_load_88 | 92 | 0.0018661 | 0.0004677 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_333-5_0_7_load_89 | 94 | 0.00092942 | 0.00023294 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_333-5_0_7_load_101 | 95 | 0.0016046 | 0.00040214 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_333-5_0_7_load_97 | 96 | 0.00196 | 0.00049122 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_333-5_0_7_load_95 | 97 | 0.0020803 | 0.00052136 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_333-5_0_7_load_90 | 98 | 0.0013838 | 0.00034681 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_333-5_0_7_load_91 | 99 | 0.0010852 | 0.00027199 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_333-5_0_7_load_93 | 100 | 0.0017583 | 0.00044067 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_333-5_0_7_load_96 | 101 | 0.0014956 | 0.00037483 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_333-5_0_7_line_0 | NAYY 4x150 SE | 0 | 1 | 0.021287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_333-5_0_7_line_1 | NAYY 4x150 SE | 0 | 2 | 0.025418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_333-5_0_7_line_2 | NAYY 4x150 SE | 1 | 3 | 0.031555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_333-5_0_7_line_3 | NAYY 4x150 SE | 2 | 4 | 0.006377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_333-5_0_7_line_4 | NAYY 4x150 SE | 3 | 5 | 0.018765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_333-5_0_7_line_5 | NAYY 4x150 SE | 3 | 6 | 0.032977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_333-5_0_7_line_6 | NAYY 4x150 SE | 4 | 7 | 0.017037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_333-5_0_7_line_7 | NAYY 4x150 SE | 4 | 8 | 0.021448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_333-5_0_7_line_8 | NAYY 4x150 SE | 5 | 14 | 0.012179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_333-5_0_7_line_9 | NAYY 4x150 SE | 5 | 13 | 0.017505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_333-5_0_7_line_10 | NAYY 4x150 SE | 6 | 15 | 0.0050993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_333-5_0_7_line_11 | NAYY 4x150 SE | 7 | 16 | 0.026313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_333-5_0_7_line_12 | NAYY 4x150 SE | 8 | 17 | 0.019945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_333-5_0_7_line_13 | NAYY 4x150 SE | 9 | 10 | 0.014795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_333-5_0_7_line_14 | NAYY 4x150 SE | 9 | 11 | 0.018526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_333-5_0_7_line_15 | NAYY 4x150 SE | 9 | 12 | 0.021012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_333-5_0_7_line_16 | NAYY 4x150 SE | 10 | 18 | 0.032369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_333-5_0_7_line_17 | NAYY 4x150 SE | 11 | 13 | 0.016109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_333-5_0_7_line_18 | NAYY 4x150 SE | 12 | 19 | 0.024736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_333-5_0_7_line_19 | NAYY 4x150 SE | 15 | 20 | 0.0084763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_333-5_0_7_line_20 | NAYY 4x150 SE | 16 | 21 | 0.031866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_333-5_0_7_line_21 | NAYY 4x150 SE | 18 | 56 | 0.020034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_333-5_0_7_line_22 | NAYY 4x150 SE | 19 | 53 | 0.024081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_333-5_0_7_line_23 | NAYY 4x150 SE | 20 | 30 | 0.066983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_333-5_0_7_line_24 | NAYY 4x150 SE | 21 | 22 | 0.028743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_333-5_0_7_line_25 | NAYY 4x150 SE | 23 | 24 | 0.35612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_333-5_0_7_line_26 | NAYY 4x150 SE | 23 | 25 | 0.1935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_333-5_0_7_line_27 | NAYY 4x150 SE | 23 | 26 | 0.034113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_333-5_0_7_line_28 | NAYY 4x150 SE | 24 | 40 | 0.057212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_333-5_0_7_line_29 | NAYY 4x150 SE | 25 | 41 | 0.038098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_333-5_0_7_line_30 | NAYY 4x150 SE | 25 | 42 | 0.010273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_333-5_0_7_line_31 | NAYY 4x150 SE | 26 | 33 | 0.038098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_333-5_0_7_line_32 | NAYY 4x150 SE | 27 | 28 | 0.021396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_333-5_0_7_line_33 | NAYY 4x150 SE | 27 | 29 | 0.033645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_333-5_0_7_line_34 | NAYY 4x150 SE | 28 | 49 | 0.027528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_333-5_0_7_line_35 | NAYY 4x150 SE | 28 | 43 | 0.014833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_333-5_0_7_line_36 | NAYY 4x150 SE | 30 | 31 | 0.01698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_333-5_0_7_line_37 | NAYY 4x150 SE | 30 | 32 | 0.017956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_333-5_0_7_line_38 | NAYY 4x150 SE | 31 | 36 | 0.0032736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_333-5_0_7_line_39 | NAYY 4x150 SE | 32 | 50 | 0.019552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_333-5_0_7_line_40 | NAYY 4x150 SE | 33 | 34 | 0.012099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_333-5_0_7_line_41 | NAYY 4x150 SE | 33 | 35 | 0.009107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_333-5_0_7_line_42 | NAYY 4x150 SE | 34 | 36 | 0.019397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_333-5_0_7_line_43 | NAYY 4x150 SE | 35 | 51 | 0.013054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_333-5_0_7_line_44 | NAYY 4x150 SE | 35 | 52 | 0.0084261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_333-5_0_7_line_45 | NAYY 4x150 SE | 37 | 38 | 0.12924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_333-5_0_7_line_46 | NAYY 4x150 SE | 37 | 39 | 0.0011762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_333-5_0_7_line_47 | NAYY 4x150 SE | 38 | 67 | 0.077218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_333-5_0_7_line_48 | NAYY 4x150 SE | 38 | 68 | 0.02037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_333-5_0_7_line_49 | NAYY 4x150 SE | 41 | 43 | 0.041238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_333-5_0_7_line_50 | NAYY 4x150 SE | 44 | 45 | 0.01719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_333-5_0_7_line_51 | NAYY 4x150 SE | 44 | 46 | 0.062206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_333-5_0_7_line_52 | NAYY 4x150 SE | 45 | 69 | 0.026542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_333-5_0_7_line_53 | NAYY 4x150 SE | 46 | 47 | 0.061112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_333-5_0_7_line_54 | NAYY 4x150 SE | 47 | 48 | 0.079958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_333-5_0_7_line_55 | NAYY 4x150 SE | 49 | 79 | 0.016516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_333-5_0_7_line_56 | NAYY 4x150 SE | 50 | 70 | 0.0021188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_333-5_0_7_line_57 | NAYY 4x150 SE | 51 | 75 | 0.0179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_333-5_0_7_line_58 | NAYY 4x150 SE | 52 | 72 | 0.042828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_333-5_0_7_line_59 | NAYY 4x150 SE | 53 | 54 | 0.0062039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_333-5_0_7_line_60 | NAYY 4x150 SE | 54 | 55 | 0.005988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_333-5_0_7_line_61 | NAYY 4x150 SE | 55 | 57 | 0.020799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_333-5_0_7_line_62 | NAYY 4x150 SE | 56 | 60 | 0.027622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_333-5_0_7_line_63 | NAYY 4x150 SE | 56 | 58 | 0.058148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_333-5_0_7_line_64 | NAYY 4x150 SE | 58 | 59 | 0.18196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_333-5_0_7_line_65 | NAYY 4x150 SE | 60 | 61 | 0.0022925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_333-5_0_7_line_66 | NAYY 4x150 SE | 62 | 63 | 0.043989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_333-5_0_7_line_67 | NAYY 4x150 SE | 62 | 64 | 0.0085783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_333-5_0_7_line_68 | NAYY 4x150 SE | 63 | 65 | 0.048381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_333-5_0_7_line_69 | NAYY 4x150 SE | 64 | 66 | 0.0077411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_333-5_0_7_line_70 | NAYY 4x150 SE | 66 | 100 | 0.017288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_333-5_0_7_line_71 | NAYY 4x150 SE | 67 | 84 | 0.0089757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_333-5_0_7_line_72 | NAYY 4x150 SE | 68 | 82 | 0.020072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_333-5_0_7_line_73 | NAYY 4x150 SE | 69 | 83 | 0.034328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_333-5_0_7_line_74 | NAYY 4x150 SE | 70 | 71 | 0.011325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_333-5_0_7_line_75 | NAYY 4x150 SE | 72 | 73 | 0.02552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_333-5_0_7_line_76 | NAYY 4x150 SE | 73 | 74 | 0.014801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_333-5_0_7_line_77 | NAYY 4x150 SE | 74 | 76 | 0.020556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_333-5_0_7_line_78 | NAYY 4x150 SE | 74 | 77 | 0.038794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_333-5_0_7_line_79 | NAYY 4x150 SE | 75 | 78 | 0.0061646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_333-5_0_7_line_80 | NAYY 4x150 SE | 76 | 85 | 0.02229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_333-5_0_7_line_81 | NAYY 4x150 SE | 77 | 86 | 0.0076687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_333-5_0_7_line_82 | NAYY 4x150 SE | 79 | 80 | 0.00538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
83 | LV_333-5_0_7_line_83 | NAYY 4x150 SE | 80 | 81 | 0.033454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
84 | LV_333-5_0_7_line_84 | NAYY 4x150 SE | 81 | 82 | 0.025352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_333-5_0_7_line_85 | NAYY 4x150 SE | 83 | 84 | 0.0051644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_333-5_0_7_line_86 | NAYY 4x150 SE | 85 | 90 | 0.019946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_333-5_0_7_line_87 | NAYY 4x150 SE | 86 | 87 | 0.010587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_333-5_0_7_line_88 | NAYY 4x150 SE | 87 | 88 | 0.089916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_333-5_0_7_line_89 | NAYY 4x150 SE | 88 | 89 | 0.017108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_333-5_0_7_line_90 | NAYY 4x150 SE | 90 | 91 | 0.008258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_333-5_0_7_line_91 | NAYY 4x150 SE | 90 | 92 | 0.026837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_333-5_0_7_line_92 | NAYY 4x150 SE | 91 | 93 | 0.028831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_333-5_0_7_line_93 | NAYY 4x150 SE | 91 | 94 | 0.013077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_333-5_0_7_line_94 | NAYY 4x150 SE | 92 | 95 | 0.028808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_333-5_0_7_line_95 | NAYY 4x150 SE | 93 | 96 | 0.014843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_333-5_0_7_line_96 | NAYY 4x150 SE | 93 | 97 | 0.0092376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_333-5_0_7_line_97 | NAYY 4x150 SE | 94 | 98 | 0.0046637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_333-5_0_7_line_98 | NAYY 4x150 SE | 97 | 101 | 0.025274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_333-5_0_7_line_99 | NAYY 4x150 SE | 98 | 99 | 0.020358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_333-5_0_7_line_100 | NAYY 4x150 SE | 99 | 100 | 0.004753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_333-5_0_7_trafo_16 | 0.25 MVA 20/0.4 kV | 102 | 23 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41
0 | 2631433.2451 | 1225247.3154 | 2631433.6897 | 1225247.8103 | 2631445.5068 | 1225264.7108
1 | 2631416.2581 | 1225228.4068 | 2631433.2451 | 1225247.3154
2 | 2631467.836 | 1225257.2516 | 2631457.3284 | 1225267.4578 | 2631450.543 | 1225271.9136 | 2631445.5068 | 1225264.7108
3 | 2631416.2581 | 1225228.4068 | 2631410.1607 | 1225230.3313
4 | 2631467.836 | 1225257.2516 | 2631483.063 | 1225246.2255
5 | 2631467.836 | 1225257.2516 | 2631479.4227 | 1225276.6578 | 2631483.7733 | 1225286.0771
6 | 2631410.1607 | 1225230.3313 | 2631395.0615 | 1225222.439
7 | 2631410.1607 | 1225230.3313 | 2631395.2622 | 1225245.7603
8 | 2631492.9405 | 1225239.0622 | 2631483.063 | 1225246.2255
9 | 2631483.063 | 1225246.2255 | 2631469.1936 | 1225235.5451
10 | 2631483.7733 | 1225286.0771 | 2631485.9115 | 1225290.7065
11 | 2631372.6249 | 1225208.8323 | 2631381.562 | 1225215.3829 | 2631395.0615 | 1225222.439
12 | 2631395.2622 | 1225245.7603 | 2631381.4078 | 1225260.1078
13 | 2631450.618 | 1225214.6353 | 2631456.0677 | 1225203.3128 | 2631457.5546 | 1225201.6512
14 | 2631450.618 | 1225214.6353 | 2631450.5589 | 1225217.2254 | 2631450.4049 | 1225223.4172 | 2631453.6692 | 1225232.5955
15 | 2631450.618 | 1225214.6353 | 2631444.04 | 1225202.7713 | 2631441.5324 | 1225195.7596
16 | 2631477.9561 | 1225176.5493 | 2631465.6226 | 1225192.6347 | 2631457.5546 | 1225201.6512
17 | 2631453.6692 | 1225232.5955 | 2631467.2611 | 1225234.057 | 2631469.1936 | 1225235.5451
18 | 2631432.7319 | 1225172.6622 | 2631434.9933 | 1225177.4751 | 2631441.5324 | 1225195.7596
19 | 2631489.4657 | 1225298.4016 | 2631485.9115 | 1225290.7065
20 | 2631346.9227 | 1225189.9956 | 2631357.1479 | 1225197.4881 | 2631372.6249 | 1225208.8323
21 | 2631486.2862 | 1225158.4678 | 2631480.4465 | 1225173.3014 | 2631477.9561 | 1225176.5493
22 | 2631432.7319 | 1225172.6622 | 2631424.813 | 1225155.8085 | 2631421.6831 | 1225151.3356
23 | 2631489.4657 | 1225298.4016 | 2631504.2014 | 1225331.5437 | 2631506.8723 | 1225339.6516 | 2631507.4671 | 1225344.7133 | 2631517.6781 | 1225346.1348 | 2631524.3976 | 1225346.9597
24 | 2631346.9227 | 1225189.9956 | 2631323.7379 | 1225173.0068
25 | 2631599.3475 | 1225430.9624 | 2631639.8743 | 1225412.0105 | 2631648.9374 | 1225409.7239 | 2631658.1299 | 1225414.4756 | 2631668.3299 | 1225423.6353 | 2631676.0799 | 1225431.6701 | 2631677.4034 | 1225430.81 | 2631678.4819 | 1225421.877 | 2631683.1815 | 1225424.7704 | 2631687.6382 | 1225429.1412 | 2631689.1084 | 1225433.496 | 2631688.7433 | 1225436.5848 | 2631691.3899 | 1225436.3766 | 2631693.1337 | 1225432.0388 | 2631693.9963 | 1225420.9367 | 2631694.7269 | 1225413.2694 | 2631693.6077 | 1225407.0708 | 2631692.6237 | 1225398.2492 | 2631693.6789 | 1225393.6854 | 2631698.3686 | 1225397.0235 | 2631703.1813 | 1225400.0286 | 2631707.0973 | 1225397.7592 | 2631708.5117 | 1225391.2406 | 2631711.5019 | 1225390.5672 | 2631716.3095 | 1225393.1166 | 2631715.2021 | 1225386.1287 | 2631716.6034 | 1225380.6329 | 2631724.4874 | 1225387.679 | 2631733.5458 | 1225397.6888 | 2631740.7351 | 1225401.3849 | 2631747.6047 | 1225408.17 | 2631754.0198 | 1225417.721 | 2631761.9109 | 1225426.2681 | 2631774.3403 | 1225439.5201 | 2631786.4805 | 1225450.1356 | 2631790.2133 | 1225453.7688 | 2631794.9643 | 1225458.3858 | 2631796.4286 | 1225459.5721 | 2631800.6816 | 1225460.9067 | 2631808.7601 | 1225462.7176 | 2631815.2229 | 1225463.3302 | 2631828.0565 | 1225456.2167
26 | 2631599.3475 | 1225430.9624 | 2631602.3121 | 1225443.6857 | 2631608.0644 | 1225469.6318 | 2631617.8026 | 1225487.2495 | 2631645.8885 | 1225511.3241 | 2631655.5247 | 1225519.5802 | 2631683.6114 | 1225534.9053 | 2631679.8942 | 1225542.579 | 2631678.5298 | 1225545.429 | 2631675.3101 | 1225552.1937 | 2631669.2336 | 1225564.4799 | 2631664.68 | 1225565.523 | 2631661.0312 | 1225576.021 | 2631659.8924 | 1225579.2058
27 | 2631599.3475 | 1225430.9624 | 2631588.023 | 1225398.7835
28 | 2631828.0565 | 1225456.2167 | 2631823.0344 | 1225445.6057 | 2631828.3119 | 1225436.7953 | 2631820.1809 | 1225430.6037 | 2631813.0283 | 1225417.2242 | 2631809.7252 | 1225407.9859
29 | 2631646.4369 | 1225605.0053 | 2631651.4069 | 1225606.9106 | 2631659.8696 | 1225582.0629 | 2631662.7902 | 1225580.2107 | 2631659.8924 | 1225579.2058
30 | 2631659.8924 | 1225579.2058 | 2631650.1824 | 1225575.8519
31 | 2631572.1465 | 1225364.2339 | 2631584.001 | 1225387.355 | 2631588.023 | 1225398.7835
32 | 2631609.23 | 1225652.8143 | 2631629.9007 | 1225658.5607
33 | 2631609.23 | 1225652.8143 | 2631606.4102 | 1225686.3409
34 | 2631629.9007 | 1225658.5607 | 2631656.4504 | 1225665.8326
35 | 2631629.9007 | 1225658.5607 | 2631634.0575 | 1225644.3225
36 | 2631524.3976 | 1225346.9597 | 2631532.5413 | 1225347.9701 | 2631541.1234 | 1225349.7956
37 | 2631524.3976 | 1225346.9597 | 2631526.2246 | 1225339.7762 | 2631532.182 | 1225331.0761
38 | 2631544.3253 | 1225350.4767 | 2631541.1234 | 1225349.7956
39 | 2631532.182 | 1225331.0761 | 2631543.2287 | 1225314.9438
40 | 2631562.5128 | 1225356.8785 | 2631572.1465 | 1225364.2339
41 | 2631572.1465 | 1225364.2339 | 2631580.9601 | 1225361.8458
42 | 2631562.5128 | 1225356.8785 | 2631552.2662 | 1225352.1659 | 2631544.3253 | 1225350.4767
43 | 2631580.9601 | 1225361.8458 | 2631588.8144 | 1225361.654 | 2631593.5019 | 1225359.4095
44 | 2631580.9601 | 1225361.8458 | 2631587.0144 | 1225355.9855
45 | 2631773.706 | 1225696.2593 | 2631773.1747 | 1225669.4071 | 2631771.1433 | 1225567.0683
46 | 2631771.1433 | 1225567.0683 | 2631772.2708 | 1225567.4033
47 | 2631773.706 | 1225696.2593 | 2631773.5138 | 1225747.9337 | 2631772.5968 | 1225759.2578 | 2631758.9699 | 1225763.1875
48 | 2631773.706 | 1225696.2593 | 2631753.9599 | 1225691.255
49 | 2631646.4369 | 1225605.0053 | 2631641.7749 | 1225617.8883 | 2631634.0575 | 1225644.3225
50 | 2631669.3929 | 1225751.2259 | 2631686.2563 | 1225754.5629
51 | 2631669.3929 | 1225751.2259 | 2631660.4364 | 1225754.9361 | 2631629.8463 | 1225758.7204 | 2631609.2213 | 1225760.1452 | 2631608.2101 | 1225760.2136
52 | 2631686.2563 | 1225754.5629 | 2631712.2931 | 1225759.715
53 | 2631551.595 | 1225779.4069 | 2631558.6524 | 1225773.5852 | 2631571.2229 | 1225767.3147 | 2631590.3253 | 1225761.4235 | 2631608.2101 | 1225760.2136
54 | 2631551.595 | 1225779.4069 | 2631561.1813 | 1225791.287 | 2631586.4834 | 1225816.9475 | 2631598.5362 | 1225828.2293 | 2631606.1053 | 1225837.4083 | 2631606.1947 | 1225837.6414
55 | 2631672.3797 | 1225670.1955 | 2631656.4504 | 1225665.8326
56 | 2631544.4258 | 1225313.1956 | 2631543.2287 | 1225314.9438
57 | 2631593.5019 | 1225359.4095 | 2631606.8183 | 1225353.0332 | 2631608.9722 | 1225350.7543
58 | 2631587.0144 | 1225355.9855 | 2631595.102 | 1225348.157 | 2631614.3187 | 1225323.1064
59 | 2631421.6831 | 1225151.3356 | 2631418.1263 | 1225146.2526
60 | 2631414.6932 | 1225141.3465 | 2631414.6932 | 1225141.3465 | 2631418.1263 | 1225146.2526
61 | 2631398.1824 | 1225128.6973 | 2631399.1019 | 1225129.4017 | 2631414.6932 | 1225141.3465
62 | 2631486.2862 | 1225158.4678 | 2631510.0459 | 1225172.5549
63 | 2631486.2862 | 1225158.4678 | 2631487.2422 | 1225145.3984 | 2631483.0359 | 1225100.5521
64 | 2631483.0359 | 1225100.5521 | 2631481.3935 | 1225083.0413 | 2631481.4846 | 1225065.7982 | 2631481.6561 | 1225031.9122 | 2631485.4245 | 1224950.0276 | 2631486.7297 | 1224918.7786
65 | 2631512.0179 | 1225173.724 | 2631510.0459 | 1225172.5549
66 | 2631688.6196 | 1225157.7285 | 2631703.1995 | 1225145.9212 | 2631714.6207 | 1225142.2131 | 2631723.0587 | 1225144.9485 | 2631723.1529 | 1225149.2968
67 | 2631688.6196 | 1225157.7285 | 2631688.3644 | 1225166.303
68 | 2631724.2015 | 1225197.666 | 2631723.1529 | 1225149.2968
69 | 2631688.1341 | 1225174.0407 | 2631688.3644 | 1225166.303
70 | 2631687.0297 | 1225191.2862 | 2631687.9181 | 1225181.2944 | 2631688.1341 | 1225174.0407
71 | 2631751.034 | 1225767.3811 | 2631758.9699 | 1225763.1875
72 | 2631734.5034 | 1225686.3241 | 2631753.9599 | 1225691.255
73 | 2631712.2931 | 1225759.715 | 2631745.9678 | 1225766.3786
74 | 2631550.8241 | 1225303.8515 | 2631544.4258 | 1225313.1956
75 | 2631614.3187 | 1225323.1064 | 2631619.1316 | 1225316.8324 | 2631630.678 | 1225303.5321
76 | 2631640.4036 | 1225292.3751 | 2631636.5979 | 1225296.713 | 2631630.678 | 1225303.5321
77 | 2631640.4036 | 1225292.3751 | 2631649.202 | 1225277.1794 | 2631650.6293 | 1225274.5441
78 | 2631640.4036 | 1225292.3751 | 2631661.7116 | 1225288.2747 | 2631678.8043 | 1225287.9956
79 | 2631613.2066 | 1225346.2741 | 2631608.9722 | 1225350.7543
80 | 2631661.6366 | 1225255.2029 | 2631659.9736 | 1225257.2914 | 2631650.6293 | 1225274.5441
81 | 2631678.8043 | 1225287.9956 | 2631682.7722 | 1225287.9308 | 2631686.3998 | 1225288.6608
82 | 2631672.3797 | 1225670.1955 | 2631677.5685 | 1225671.6167
83 | 2631709.9287 | 1225680.0961 | 2631691.1646 | 1225675.3406 | 2631677.5685 | 1225671.6167
84 | 2631709.9287 | 1225680.0961 | 2631734.5034 | 1225686.3241
85 | 2631751.034 | 1225767.3811 | 2631745.9678 | 1225766.3786
86 | 2631674.0614 | 1225239.6001 | 2631661.6366 | 1225255.2029
87 | 2631686.3998 | 1225288.6608 | 2631696.7786 | 1225290.7491
88 | 2631783.1398 | 1225315.6615 | 2631758.1868 | 1225308.6557 | 2631709.3424 | 1225293.5755 | 2631698.947 | 1225291.1854 | 2631696.7786 | 1225290.7491
89 | 2631783.1398 | 1225315.6615 | 2631788.5014 | 1225317.1668 | 2631799.6813 | 1225320.0242
90 | 2631679.2127 | 1225233.1347 | 2631674.0614 | 1225239.6001
91 | 2631674.0614 | 1225239.6001 | 2631661.6611 | 1225230.7511 | 2631662.021 | 1225219.1532
92 | 2631679.2127 | 1225233.1347 | 2631683.7009 | 1225234.4816 | 2631687.8106 | 1225235.7153 | 2631707.5947 | 1225237.3881
93 | 2631679.2127 | 1225233.1347 | 2631683.3355 | 1225220.7247
94 | 2631659.872 | 1225190.8177 | 2631662.649 | 1225198.9151 | 2631662.021 | 1225219.1532
95 | 2631707.5947 | 1225237.3881 | 2631707.1093 | 1225241.6993 | 2631708.3155 | 1225245.8081 | 2631707.8125 | 1225252.0092
96 | 2631707.5947 | 1225237.3881 | 2631716.7998 | 1225238.163
97 | 2631683.3355 | 1225220.7247 | 2631684.8058 | 1225216.2988 | 2631684.8058 | 1225216.2988
98 | 2631716.7998 | 1225238.163 | 2631723.3856 | 1225238.7174 | 2631737.3883 | 1225239.8927 | 2631741.9907 | 1225240.2014
99 | 2631686.6088 | 1225196.0205 | 2631684.8058 | 1225216.2988
100 | 2631686.6088 | 1225196.0205 | 2631687.0297 | 1225191.2862

## bus_geodata
| x | y | coords
0 | 2631433.2451 | 1225247.3154
1 | 2631445.5068 | 1225264.7108
2 | 2631416.2581 | 1225228.4068
3 | 2631467.836 | 1225257.2516
4 | 2631410.1607 | 1225230.3313
5 | 2631483.063 | 1225246.2255
6 | 2631483.7733 | 1225286.0771
7 | 2631395.0615 | 1225222.439
8 | 2631395.2622 | 1225245.7603
9 | 2631450.618 | 1225214.6353
10 | 2631457.5546 | 1225201.6512
11 | 2631453.6692 | 1225232.5955
12 | 2631441.5324 | 1225195.7596
13 | 2631469.1936 | 1225235.5451
14 | 2631492.9405 | 1225239.0622
15 | 2631485.9115 | 1225290.7065
16 | 2631372.6249 | 1225208.8323
17 | 2631381.4078 | 1225260.1078
18 | 2631477.9561 | 1225176.5493
19 | 2631432.7319 | 1225172.6622
20 | 2631489.4657 | 1225298.4016
21 | 2631346.9227 | 1225189.9956
22 | 2631323.7379 | 1225173.0068
23 | 2631599.3475 | 1225430.9624
24 | 2631828.0565 | 1225456.2167
25 | 2631659.8924 | 1225579.2058
26 | 2631588.023 | 1225398.7835
27 | 2631609.23 | 1225652.8143
28 | 2631629.9007 | 1225658.5607
29 | 2631606.4102 | 1225686.3409
30 | 2631524.3976 | 1225346.9597
31 | 2631541.1234 | 1225349.7956
32 | 2631532.182 | 1225331.0761
33 | 2631572.1465 | 1225364.2339
34 | 2631562.5128 | 1225356.8785
35 | 2631580.9601 | 1225361.8458
36 | 2631544.3253 | 1225350.4767
37 | 2631771.1433 | 1225567.0683
38 | 2631773.706 | 1225696.2593
39 | 2631772.2708 | 1225567.4033
40 | 2631809.7252 | 1225407.9859
41 | 2631646.4369 | 1225605.0053
42 | 2631650.1824 | 1225575.8519
43 | 2631634.0575 | 1225644.3225
44 | 2631669.3929 | 1225751.2259
45 | 2631686.2563 | 1225754.5629
46 | 2631608.2101 | 1225760.2136
47 | 2631551.595 | 1225779.4069
48 | 2631606.1947 | 1225837.6414
49 | 2631656.4504 | 1225665.8326
50 | 2631543.2287 | 1225314.9438
51 | 2631593.5019 | 1225359.4095
52 | 2631587.0144 | 1225355.9855
53 | 2631421.6831 | 1225151.3356
54 | 2631418.1263 | 1225146.2526
55 | 2631414.6932 | 1225141.3465
56 | 2631486.2862 | 1225158.4678
57 | 2631398.1824 | 1225128.6973
58 | 2631483.0359 | 1225100.5521
59 | 2631486.7297 | 1224918.7786
60 | 2631510.0459 | 1225172.5549
61 | 2631512.0179 | 1225173.724
62 | 2631688.6196 | 1225157.7285
63 | 2631723.1529 | 1225149.2968
64 | 2631688.3644 | 1225166.303
65 | 2631724.2015 | 1225197.666
66 | 2631688.1341 | 1225174.0407
67 | 2631758.9699 | 1225763.1875
68 | 2631753.9599 | 1225691.255
69 | 2631712.2931 | 1225759.715
70 | 2631544.4258 | 1225313.1956
71 | 2631550.8241 | 1225303.8515
72 | 2631614.3187 | 1225323.1064
73 | 2631630.678 | 1225303.5321
74 | 2631640.4036 | 1225292.3751
75 | 2631608.9722 | 1225350.7543
76 | 2631650.6293 | 1225274.5441
77 | 2631678.8043 | 1225287.9956
78 | 2631613.2066 | 1225346.2741
79 | 2631672.3797 | 1225670.1955
80 | 2631677.5685 | 1225671.6167
81 | 2631709.9287 | 1225680.0961
82 | 2631734.5034 | 1225686.3241
83 | 2631745.9678 | 1225766.3786
84 | 2631751.034 | 1225767.3811
85 | 2631661.6366 | 1225255.2029
86 | 2631686.3998 | 1225288.6608
87 | 2631696.7786 | 1225290.7491
88 | 2631783.1398 | 1225315.6615
89 | 2631799.6813 | 1225320.0242
90 | 2631674.0614 | 1225239.6001
91 | 2631679.2127 | 1225233.1347
92 | 2631662.021 | 1225219.1532
93 | 2631707.5947 | 1225237.3881
94 | 2631683.3355 | 1225220.7247
95 | 2631659.872 | 1225190.8177
96 | 2631707.8125 | 1225252.0092
97 | 2631716.7998 | 1225238.163
98 | 2631684.8058 | 1225216.2988
99 | 2631686.6088 | 1225196.0205
100 | 2631687.0297 | 1225191.2862
101 | 2631741.9907 | 1225240.2014
102 | 2631608.0644 | 1225469.6318

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1