## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_333-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_333-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_333-6_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_333-6_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_333-6_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_333-6_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_333-6_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_333-6_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_333-6_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_333-6_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_333-6_0_4_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_333-6_0_4_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_333-6_0_4_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_333-6_0_4_node_70 | 0.4 | n |  | TRUE
14 | bus_LV_333-6_0_4_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_333-6_0_4_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_333-6_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_333-6_0_4_node_68 | 0.4 | n |  | TRUE
18 | bus_LV_333-6_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_333-6_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_333-6_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_333-6_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_333-6_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_333-6_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_333-6_0_4_node_86 | 0.4 | n |  | TRUE
25 | bus_LV_333-6_0_4_node_87 | 0.4 | n |  | TRUE
26 | bus_LV_333-6_0_4_node_88 | 0.4 | n |  | TRUE
27 | bus_LV_333-6_0_4_node_89 | 0.4 | n |  | TRUE
28 | bus_LV_333-6_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_333-6_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_333-6_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_333-6_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_333-6_0_4_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_333-6_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_333-6_0_4_node_96 | 0.4 | n |  | TRUE
35 | bus_LV_333-6_0_4_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_333-6_0_4_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_333-6_0_4_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_333-6_0_4_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_333-6_0_4_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_333-6_0_4_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_333-6_0_4_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_333-6_0_4_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_333-6_0_4_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_333-6_0_4_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_333-6_0_4_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_333-6_0_4_node_78 | 0.4 | n |  | TRUE
47 | bus_LV_333-6_0_4_node_83 | 0.4 | n |  | TRUE
48 | bus_LV_333-6_0_4_node_76 | 0.4 | n |  | TRUE
49 | bus_LV_333-6_0_4_node_84 | 0.4 | n |  | TRUE
50 | bus_LV_333-6_0_4_node_81 | 0.4 | n |  | TRUE
51 | bus_LV_333-6_0_4_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_333-6_0_4_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_333-6_0_4_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_333-6_0_4_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_333-6_0_4_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_333-6_0_4_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_333-6_0_4_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_333-6_0_4_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_333-6_0_4_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_333-6_0_4_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_333-6_0_4_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_333-6_0_4_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_333-6_0_4_node_71 | 0.4 | n |  | TRUE
64 | bus_LV_333-6_0_4_node_69 | 0.4 | n |  | TRUE
65 | bus_LV_333-6_0_4_node_72 | 0.4 | n |  | TRUE
66 | bus_LV_333-6_0_4_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_333-6_0_4_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_333-6_0_4_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_333-6_0_4_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_333-6_0_4_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_333-6_0_4_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_333-6_0_4_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_333-6_0_4_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_333-6_0_4_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_333-6_0_4_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_333-6_0_4_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_333-6_0_4_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_333-6_0_4_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_333-6_0_4_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_333-6_0_4_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_333-6_0_4_node_74 | 0.4 | n |  | TRUE
82 | bus_LV_333-6_0_4_node_82 | 0.4 | n |  | TRUE
83 | bus_LV_333-6_0_4_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_333-6_0_4_node_75 | 0.4 | n |  | TRUE
85 | bus_LV_333-6_0_4_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_333-6_0_4_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_333-6_0_4_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_333-6_0_4_node_92 | 0.4 | n |  | TRUE
89 | bus_LV_333-6_0_4_node_93 | 0.4 | n |  | TRUE
90 | bus_LV_333-6_0_4_node_94 | 0.4 | n |  | TRUE
91 | bus_MV_476_0_node_69 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_333-6_0_4_load_0 | 0 | 0.0042503 | 0.0010652 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_333-6_0_4_load_1 | 1 | 0.0043589 | 0.0010924 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_333-6_0_4_load_3 | 3 | 0.00076688 | 0.0001922 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_333-6_0_4_load_5 | 5 | 0.0020497 | 0.0005137 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_333-6_0_4_load_6 | 6 | 0.0033462 | 0.00083863 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_333-6_0_4_load_7 | 7 | 0.009134 | 0.0022892 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_333-6_0_4_load_8 | 8 | 0.0042188 | 0.0010573 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_333-6_0_4_load_9 | 9 | 0.0010686 | 0.00026782 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_333-6_0_4_load_26 | 10 | 0.005294 | 0.0013268 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_333-6_0_4_load_25 | 11 | 0.0064993 | 0.0016289 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_333-6_0_4_load_15 | 12 | 0.001331 | 0.00033357 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_333-6_0_4_load_70 | 13 | 0.0028565 | 0.00071591 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_333-6_0_4_load_27 | 14 | 0.0038108 | 0.00095507 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_333-6_0_4_load_24 | 15 | 0.0047518 | 0.0011909 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_333-6_0_4_load_14 | 16 | 0.0012155 | 0.00030463 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_333-6_0_4_load_10 | 18 | 0.0038665 | 0.00096904 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_333-6_0_4_load_11 | 19 | 0.0016785 | 0.00042068 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_333-6_0_4_load_12 | 20 | 0.0045348 | 0.0011365 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_333-6_0_4_load_13 | 21 | 0.0035622 | 0.00089277 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_333-6_0_4_load_16 | 22 | 0.00087875 | 0.00022024 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_333-6_0_4_load_17 | 23 | 0.0008908 | 0.00022326 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_333-6_0_4_load_86 | 24 | 0.0010448 | 0.00026185 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_333-6_0_4_load_87 | 25 | 0.0010368 | 0.00025984 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_333-6_0_4_load_88 | 26 | 0.0011651 | 0.00029199 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_333-6_0_4_load_89 | 27 | 0.0012397 | 0.00031071 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_333-6_0_4_load_18 | 28 | 0.0061617 | 0.0015443 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_333-6_0_4_load_19 | 29 | 0.0045387 | 0.0011375 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_333-6_0_4_load_20 | 30 | 0.0053538 | 0.0013418 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_333-6_0_4_load_21 | 31 | 0.0018468 | 0.00046285 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_333-6_0_4_load_22 | 32 | 0.0044502 | 0.0011153 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_333-6_0_4_load_23 | 33 | 0.011849 | 0.0029697 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_333-6_0_4_load_96 | 34 | 0.0022525 | 0.00056452 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_333-6_0_4_load_29 | 35 | 0.0018463 | 0.00046273 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_333-6_0_4_load_30 | 36 | 0.0021131 | 0.00052958 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_333-6_0_4_load_32 | 38 | 0.0029942 | 0.00075041 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_333-6_0_4_load_33 | 39 | 0.0042733 | 0.001071 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_333-6_0_4_load_35 | 41 | 0.0019931 | 0.00049952 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_333-6_0_4_load_36 | 42 | 0.0032813 | 0.00082238 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_333-6_0_4_load_37 | 43 | 0.0021373 | 0.00053565 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_333-6_0_4_load_39 | 45 | 0.0022214 | 0.00055672 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_333-6_0_4_load_78 | 46 | 0.0016176 | 0.0004054 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_333-6_0_4_load_76 | 48 | 0.0016205 | 0.00040615 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_333-6_0_4_load_84 | 49 | 0.0011727 | 0.00029391 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_333-6_0_4_load_81 | 50 | 0.0014923 | 0.00037401 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_333-6_0_4_load_43 | 51 | 0.0016005 | 0.00040112 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_333-6_0_4_load_42 | 52 | 0.0014823 | 0.0003715 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_333-6_0_4_load_44 | 53 | 0.0025724 | 0.00064471 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_333-6_0_4_load_45 | 54 | 0.0011572 | 0.00029002 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_333-6_0_4_load_46 | 55 | 0.00094911 | 0.00023787 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_333-6_0_4_load_49 | 56 | 0.001534 | 0.00038445 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_333-6_0_4_load_51 | 57 | 0.0039078 | 0.00097938 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_333-6_0_4_load_47 | 58 | 0.0019788 | 0.00049592 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_333-6_0_4_load_48 | 59 | 0.002612 | 0.00065463 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_333-6_0_4_load_50 | 60 | 0.0023571 | 0.00059075 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_333-6_0_4_load_52 | 61 | 0.0025748 | 0.0006453 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_333-6_0_4_load_53 | 62 | 0.0018912 | 0.00047398 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_333-6_0_4_load_71 | 63 | 0.0010537 | 0.00026408 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_333-6_0_4_load_69 | 64 | 0.0077233 | 0.0019356 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_333-6_0_4_load_72 | 65 | 0.0016778 | 0.0004205 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_333-6_0_4_load_54 | 66 | 0.0058353 | 0.0014625 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_333-6_0_4_load_55 | 67 | 0.0020946 | 0.00052495 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_333-6_0_4_load_56 | 68 | 0.0019468 | 0.00048791 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_333-6_0_4_load_57 | 69 | 0.0027984 | 0.00070134 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_333-6_0_4_load_58 | 70 | 0.0028773 | 0.00072111 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_333-6_0_4_load_59 | 71 | 0.0051678 | 0.0012952 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_333-6_0_4_load_60 | 72 | 0.0030009 | 0.00075209 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_333-6_0_4_load_67 | 73 | 0.0074243 | 0.0018607 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_333-6_0_4_load_61 | 74 | 0.0026656 | 0.00066806 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_333-6_0_4_load_62 | 75 | 0.0014739 | 0.0003694 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_333-6_0_4_load_63 | 76 | 0.0026556 | 0.00066556 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_333-6_0_4_load_64 | 77 | 0.0030317 | 0.00075982 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_333-6_0_4_load_66 | 79 | 0.0028054 | 0.00070311 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_333-6_0_4_load_73 | 80 | 0.0018258 | 0.00045758 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_333-6_0_4_load_74 | 81 | 0.0013967 | 0.00035004 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_333-6_0_4_load_82 | 82 | 0.0017534 | 0.00043944 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_333-6_0_4_load_80 | 83 | 0.0015892 | 0.00039828 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_333-6_0_4_load_75 | 84 | 0.0013251 | 0.00033209 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_333-6_0_4_load_77 | 85 | 0.0016193 | 0.00040582 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_333-6_0_4_load_79 | 86 | 0.005232 | 0.0013113 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_333-6_0_4_load_85 | 87 | 0.0033195 | 0.00083194 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_333-6_0_4_load_92 | 88 | 0.0011238 | 0.00028164 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_333-6_0_4_load_93 | 89 | 0.0033399 | 0.00083705 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_333-6_0_4_load_94 | 90 | 0.0012831 | 0.00032156 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_333-6_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.01544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_333-6_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.015575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_333-6_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0080361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_333-6_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.021918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_333-6_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.017701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_333-6_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.01908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_333-6_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.006429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_333-6_0_4_line_7 | NAYY 4x150 SE | 4 | 8 | 0.026076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_333-6_0_4_line_8 | NAYY 4x150 SE | 5 | 9 | 0.0062027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_333-6_0_4_line_9 | NAYY 4x150 SE | 6 | 10 | 0.019083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_333-6_0_4_line_10 | NAYY 4x150 SE | 7 | 11 | 0.0094524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_333-6_0_4_line_11 | NAYY 4x150 SE | 8 | 12 | 0.020982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_333-6_0_4_line_12 | NAYY 4x150 SE | 9 | 13 | 0.019898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_333-6_0_4_line_13 | NAYY 4x150 SE | 10 | 14 | 0.030342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_333-6_0_4_line_14 | NAYY 4x150 SE | 11 | 15 | 0.026015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_333-6_0_4_line_15 | NAYY 4x150 SE | 12 | 16 | 0.013047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_333-6_0_4_line_16 | NAYY 4x150 SE | 13 | 17 | 0.012042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_333-6_0_4_line_17 | NAYY 4x150 SE | 15 | 32 | 0.0019019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_333-6_0_4_line_18 | NAYY 4x150 SE | 16 | 20 | 0.015306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_333-6_0_4_line_19 | NAYY 4x150 SE | 17 | 64 | 0.017655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_333-6_0_4_line_20 | NAYY 4x150 SE | 17 | 61 | 0.029976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_333-6_0_4_line_21 | NAYY 4x150 SE | 18 | 19 | 0.035535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_333-6_0_4_line_22 | NAYY 4x150 SE | 18 | 20 | 0.02244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_333-6_0_4_line_23 | NAYY 4x150 SE | 19 | 21 | 0.007264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_333-6_0_4_line_24 | NAYY 4x150 SE | 19 | 22 | 0.033736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_333-6_0_4_line_25 | NAYY 4x150 SE | 22 | 23 | 0.028607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_333-6_0_4_line_26 | NAYY 4x150 SE | 23 | 24 | 0.041263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_333-6_0_4_line_27 | NAYY 4x150 SE | 24 | 25 | 0.021123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_333-6_0_4_line_28 | NAYY 4x150 SE | 25 | 26 | 0.018271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_333-6_0_4_line_29 | NAYY 4x150 SE | 26 | 27 | 0.011152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_333-6_0_4_line_30 | NAYY 4x150 SE | 28 | 29 | 0.00064951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_333-6_0_4_line_31 | NAYY 4x150 SE | 28 | 30 | 0.024531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_333-6_0_4_line_32 | NAYY 4x150 SE | 29 | 31 | 0.017853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_333-6_0_4_line_33 | NAYY 4x150 SE | 30 | 32 | 0.014502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_333-6_0_4_line_34 | NAYY 4x150 SE | 31 | 33 | 0.015913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_333-6_0_4_line_35 | NAYY 4x150 SE | 33 | 34 | 0.03564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_333-6_0_4_line_36 | NAYY 4x150 SE | 35 | 36 | 0.011528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_333-6_0_4_line_37 | NAYY 4x150 SE | 35 | 37 | 0.057081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_333-6_0_4_line_38 | NAYY 4x150 SE | 36 | 38 | 0.01525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_333-6_0_4_line_39 | NAYY 4x150 SE | 37 | 39 | 0.035246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_333-6_0_4_line_40 | NAYY 4x150 SE | 38 | 40 | 0.0061705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_333-6_0_4_line_41 | NAYY 4x150 SE | 40 | 41 | 0.042688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_333-6_0_4_line_42 | NAYY 4x150 SE | 40 | 42 | 0.088609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_333-6_0_4_line_43 | NAYY 4x150 SE | 41 | 43 | 0.0096507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_333-6_0_4_line_44 | NAYY 4x150 SE | 42 | 44 | 0.025374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_333-6_0_4_line_45 | NAYY 4x150 SE | 43 | 45 | 0.017919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_333-6_0_4_line_46 | NAYY 4x150 SE | 44 | 46 | 0.011355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_333-6_0_4_line_47 | NAYY 4x150 SE | 44 | 47 | 0.012572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_333-6_0_4_line_48 | NAYY 4x150 SE | 46 | 48 | 0.015321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_333-6_0_4_line_49 | NAYY 4x150 SE | 47 | 49 | 0.016669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_333-6_0_4_line_50 | NAYY 4x150 SE | 47 | 50 | 0.026847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_333-6_0_4_line_51 | NAYY 4x150 SE | 48 | 84 | 0.0093641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_333-6_0_4_line_52 | NAYY 4x150 SE | 49 | 87 | 0.016061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_333-6_0_4_line_53 | NAYY 4x150 SE | 50 | 83 | 0.0039787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_333-6_0_4_line_54 | NAYY 4x150 SE | 51 | 52 | 0.00036782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_333-6_0_4_line_55 | NAYY 4x150 SE | 52 | 53 | 0.0064817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_333-6_0_4_line_56 | NAYY 4x150 SE | 53 | 54 | 0.049685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_333-6_0_4_line_57 | NAYY 4x150 SE | 54 | 55 | 0.0048477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_333-6_0_4_line_58 | NAYY 4x150 SE | 55 | 56 | 0.015516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_333-6_0_4_line_59 | NAYY 4x150 SE | 56 | 57 | 0.018934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_333-6_0_4_line_60 | NAYY 4x150 SE | 56 | 58 | 0.0092936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_333-6_0_4_line_61 | NAYY 4x150 SE | 57 | 62 | 0.0068193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_333-6_0_4_line_62 | NAYY 4x150 SE | 58 | 59 | 0.013118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_333-6_0_4_line_63 | NAYY 4x150 SE | 59 | 60 | 0.0035635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_333-6_0_4_line_64 | NAYY 4x150 SE | 60 | 61 | 0.0073995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_333-6_0_4_line_65 | NAYY 4x150 SE | 62 | 63 | 0.014923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_333-6_0_4_line_66 | NAYY 4x150 SE | 63 | 65 | 0.016363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_333-6_0_4_line_67 | NAYY 4x150 SE | 64 | 73 | 0.0065724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_333-6_0_4_line_68 | NAYY 4x150 SE | 65 | 80 | 0.0015411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_333-6_0_4_line_69 | NAYY 4x150 SE | 66 | 67 | 0.0072299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_333-6_0_4_line_70 | NAYY 4x150 SE | 66 | 68 | 0.023958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_333-6_0_4_line_71 | NAYY 4x150 SE | 67 | 69 | 0.017821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_333-6_0_4_line_72 | NAYY 4x150 SE | 68 | 70 | 0.001847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_333-6_0_4_line_73 | NAYY 4x150 SE | 69 | 71 | 0.0053823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_333-6_0_4_line_74 | NAYY 4x150 SE | 70 | 72 | 0.0022156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_333-6_0_4_line_75 | NAYY 4x150 SE | 71 | 73 | 0.0065127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_333-6_0_4_line_76 | NAYY 4x150 SE | 72 | 74 | 0.011454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_333-6_0_4_line_77 | NAYY 4x150 SE | 74 | 75 | 0.00069614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_333-6_0_4_line_78 | NAYY 4x150 SE | 75 | 76 | 0.033565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_333-6_0_4_line_79 | NAYY 4x150 SE | 76 | 77 | 0.0038445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_333-6_0_4_line_80 | NAYY 4x150 SE | 77 | 78 | 0.036906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_333-6_0_4_line_81 | NAYY 4x150 SE | 78 | 79 | 0.0032312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_333-6_0_4_line_82 | NAYY 4x150 SE | 80 | 81 | 0.0155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_333-6_0_4_line_83 | NAYY 4x150 SE | 81 | 82 | 0.0099652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_333-6_0_4_line_84 | NAYY 4x150 SE | 82 | 83 | 0.019832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_333-6_0_4_line_85 | NAYY 4x150 SE | 84 | 85 | 0.016775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_333-6_0_4_line_86 | NAYY 4x150 SE | 85 | 86 | 0.019469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_333-6_0_4_line_87 | NAYY 4x150 SE | 87 | 88 | 0.024005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_333-6_0_4_line_88 | NAYY 4x150 SE | 88 | 89 | 0.011984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_333-6_0_4_line_89 | NAYY 4x150 SE | 89 | 90 | 0.02578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_333-6_0_4_trafo_70 | 0.25 MVA 20/0.4 kV | 91 | 13 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2631292.1449 | 1225790.8522 | 2631281.9909 | 1225802.4833
1 | 2631300.8506 | 1225778.0395 | 2631296.527 | 1225785.8326 | 2631292.1449 | 1225790.8522
2 | 2631281.9909 | 1225802.4833 | 2631276.7059 | 1225808.537
3 | 2631300.8506 | 1225778.0395 | 2631313.8494 | 1225776.7404 | 2631322.758 | 1225776.3203
4 | 2631300.8506 | 1225778.0395 | 2631302.4594 | 1225769.0315 | 2631302.7625 | 1225760.4864
5 | 2631276.7059 | 1225808.537 | 2631264.1579 | 1225822.9104
6 | 2631322.758 | 1225776.3203 | 2631328.874 | 1225774.3385
7 | 2631322.758 | 1225776.3203 | 2631327.8661 | 1225790.878 | 2631337.6305 | 1225795.1244
8 | 2631302.7625 | 1225760.4864 | 2631302.9823 | 1225754.2877
9 | 2631251.237 | 1225836.9356 | 2631255.8131 | 1225832.4691 | 2631264.1579 | 1225822.9104
10 | 2631337.8661 | 1225771.4247 | 2631328.874 | 1225774.3385
11 | 2631351.8695 | 1225808.5815 | 2631351.8695 | 1225808.5815 | 2631347.7407 | 1225799.5211 | 2631337.6305 | 1225795.1244
12 | 2631303.6876 | 1225734.4024 | 2631302.9823 | 1225754.2877
13 | 2631229.5238 | 1225858.129 | 2631251.237 | 1225836.9356
14 | 2631337.8661 | 1225771.4247 | 2631362.6145 | 1225763.4053
15 | 2631351.8695 | 1225808.5815 | 2631347.1985 | 1225820.7639
16 | 2631304.1145 | 1225722.3678 | 2631303.6876 | 1225734.4024
17 | 2631362.6145 | 1225763.4053 | 2631364.4238 | 1225762.819
18 | 2631347.1985 | 1225820.7639 | 2631347.143 | 1225820.9085 | 2631336.9475 | 1225832.1155
19 | 2631304.1145 | 1225722.3678 | 2631308.1356 | 1225713.0055 | 2631309.5914 | 1225711.4789 | 2631313.2845 | 1225707.5988
20 | 2631304.1145 | 1225722.3678 | 2631297.4221 | 1225720.7761 | 2631288.2576 | 1225715.069 | 2631283.868 | 1225712.3332 | 2631278.9885 | 1225707.137
21 | 2631321.8468 | 1225848.7144 | 2631321.8468 | 1225848.7144 | 2631316.6419 | 1225862.6621 | 2631303.0827 | 1225878.2344
22 | 2631321.8468 | 1225848.7144 | 2631336.9475 | 1225832.1155
23 | 2631298.3126 | 1225883.7127 | 2631303.0827 | 1225878.2344
24 | 2631303.0827 | 1225878.2344 | 2631331.6403 | 1225896.1943
25 | 2631331.6403 | 1225896.1943 | 2631353.7053 | 1225891.8188 | 2631359.8028 | 1225892.2519
26 | 2631359.8028 | 1225892.2519 | 2631374.1631 | 1225893.2718 | 2631387.0094 | 1225896.4191 | 2631400.1712 | 1225899.9993
27 | 2631400.1712 | 1225899.9993 | 2631420.5533 | 1225905.5435
28 | 2631420.5533 | 1225905.5435 | 2631421.1452 | 1225905.7045 | 2631437.7212 | 1225911.7884
29 | 2631448.1905 | 1225915.6309 | 2631437.7212 | 1225911.7884
30 | 2631402.3977 | 1225751.3105 | 2631401.7746 | 1225751.4937
31 | 2631401.7746 | 1225751.4937 | 2631378.2406 | 1225758.4159
32 | 2631419.5252 | 1225746.2727 | 2631402.3977 | 1225751.3105
33 | 2631364.4238 | 1225762.819 | 2631375.764 | 1225759.1443 | 2631378.2406 | 1225758.4159
34 | 2631419.5252 | 1225746.2727 | 2631434.7914 | 1225741.7824
35 | 2631434.7914 | 1225741.7824 | 2631454.348 | 1225771.5771
36 | 2631067.3185 | 1225679.7756 | 2631078.8393 | 1225680.1799
37 | 2631011.4224 | 1225689.9627 | 2631037.8771 | 1225682.6183 | 2631062.6644 | 1225679.6123 | 2631067.3185 | 1225679.7756
38 | 2631078.8393 | 1225680.1799 | 2631094.0803 | 1225680.7148
39 | 2631011.4224 | 1225689.9627 | 2631013.8754 | 1225700.7264 | 2631012.0702 | 1225712.5908 | 2631009.8171 | 1225724.5862
40 | 2631100.247 | 1225680.9313 | 2631094.0803 | 1225680.7148
41 | 2631100.247 | 1225680.9313 | 2631116.664 | 1225676.8367 | 2631123.4412 | 1225669.4566 | 2631131.6449 | 1225656.0136
42 | 2631100.247 | 1225680.9313 | 2631076.3569 | 1225689.2227 | 2631075.3092 | 1225690.985 | 2631075.8158 | 1225692.6887 | 2631106.0261 | 1225718.0725 | 2631114.653 | 1225723.721 | 2631123.846 | 1225726.8868
43 | 2631131.6429 | 1225646.3629 | 2631131.6449 | 1225656.0136 | 2631131.6449 | 1225656.0136
44 | 2631148.0559 | 1225734.2684 | 2631142.9436 | 1225733.4634 | 2631123.846 | 1225726.8868
45 | 2631131.6429 | 1225646.3629 | 2631131.6408 | 1225636.5019 | 2631128.5091 | 1225629.077
46 | 2631148.0559 | 1225734.2684 | 2631147.0518 | 1225727.7037 | 2631148.3901 | 1225723.1836
47 | 2631148.0559 | 1225734.2684 | 2631155.6299 | 1225741.201 | 2631157.0149 | 1225743.0649
48 | 2631152.7398 | 1225708.4931 | 2631148.3901 | 1225723.1836
49 | 2631157.0149 | 1225743.0649 | 2631159.7548 | 1225746.7481 | 2631157.9869 | 1225754.3323 | 2631155.818 | 1225758.0349
50 | 2631157.0149 | 1225743.0649 | 2631160.0734 | 1225740.8907 | 2631164.027 | 1225741.5007 | 2631167.1005 | 1225742.2616 | 2631169.9745 | 1225742.021 | 2631182.4396 | 1225745.8642
51 | 2631155.3983 | 1225699.5144 | 2631152.7398 | 1225708.4931
52 | 2631147.7001 | 1225771.8935 | 2631155.818 | 1225758.0349
53 | 2631186.3192 | 1225746.7177 | 2631183.6571 | 1225746.2395 | 2631182.4396 | 1225745.8642
54 | 2631209.4412 | 1225622.2168 | 2631209.2047 | 1225621.935
55 | 2631209.4412 | 1225622.2168 | 2631213.6079 | 1225627.1817
56 | 2631245.548 | 1225665.2406 | 2631213.6079 | 1225627.1817
57 | 2631248.6517 | 1225668.9636 | 2631248.5535 | 1225668.8219 | 2631245.548 | 1225665.2406
58 | 2631257.4986 | 1225681.7099 | 2631254.2636 | 1225677.0568 | 2631248.6517 | 1225668.9636
59 | 2631257.4986 | 1225681.7099 | 2631242.8902 | 1225693.7551
60 | 2631257.4986 | 1225681.7099 | 2631262.7988 | 1225689.344
61 | 2631242.8902 | 1225693.7551 | 2631237.6288 | 1225698.0933
62 | 2631262.7988 | 1225689.344 | 2631264.2695 | 1225691.4624 | 2631271.4839 | 1225699.1452
63 | 2631273.9233 | 1225701.7429 | 2631271.4839 | 1225699.1452
64 | 2631278.9885 | 1225707.137 | 2631273.9233 | 1225701.7429
65 | 2631228.6295 | 1225709.9977 | 2631237.6288 | 1225698.0933 | 2631237.6288 | 1225698.0933
66 | 2631228.6295 | 1225709.9977 | 2631228.6295 | 1225709.9977 | 2631221.9362 | 1225724.9286
67 | 2631317.8157 | 1225702.838 | 2631313.2845 | 1225707.5988
68 | 2631221.3058 | 1225726.3349 | 2631221.9362 | 1225724.9286
69 | 2631343.2872 | 1225676.0759 | 2631338.3027 | 1225681.3129
70 | 2631343.2872 | 1225676.0759 | 2631351.8335 | 1225667.0966 | 2631361.3954 | 1225660.5965
71 | 2631338.3027 | 1225681.3129 | 2631326.0164 | 1225694.2217
72 | 2631362.9229 | 1225659.5582 | 2631361.3954 | 1225660.5965
73 | 2631322.3057 | 1225698.1204 | 2631326.0164 | 1225694.2217
74 | 2631364.7552 | 1225658.3126 | 2631362.9229 | 1225659.5582
75 | 2631317.8157 | 1225702.838 | 2631322.3057 | 1225698.1204
76 | 2631364.7552 | 1225658.3126 | 2631374.2278 | 1225651.8732
77 | 2631374.2278 | 1225651.8732 | 2631374.8035 | 1225651.4819
78 | 2631402.5618 | 1225632.6121 | 2631374.8035 | 1225651.4819
79 | 2631402.5618 | 1225632.6121 | 2631405.7412 | 1225630.4508
80 | 2631418.5062 | 1225596.9724 | 2631416.201 | 1225612.9365 | 2631408.5538 | 1225628.5388 | 2631405.7412 | 1225630.4508
81 | 2631418.5062 | 1225596.9724 | 2631417.8029 | 1225593.8187
82 | 2631221.3058 | 1225726.3349 | 2631218.9734 | 1225731.5378 | 2631213.9115 | 1225739.9274 | 2631213.9115 | 1225739.9274
83 | 2631205.5677 | 1225745.3759 | 2631205.5677 | 1225745.3759 | 2631213.9115 | 1225739.9274
84 | 2631186.3192 | 1225746.7177 | 2631195.5161 | 1225748.3695 | 2631205.5677 | 1225745.3759
85 | 2631155.3983 | 1225699.5144 | 2631158.6803 | 1225688.4298 | 2631162.8885 | 1225685.3493
86 | 2631178.4807 | 1225673.6912 | 2631169.4473 | 1225680.5481 | 2631162.8885 | 1225685.3493
87 | 2631147.7001 | 1225771.8935 | 2631135.5673 | 1225792.6064
88 | 2631129.5103 | 1225802.9467 | 2631135.5673 | 1225792.6064
89 | 2631129.5103 | 1225802.9467 | 2631116.48 | 1225825.1916

## bus_geodata
| x | y | coords
0 | 2631292.1449 | 1225790.8522
1 | 2631281.9909 | 1225802.4833
2 | 2631300.8506 | 1225778.0395
3 | 2631276.7059 | 1225808.537
4 | 2631322.758 | 1225776.3203
5 | 2631302.7625 | 1225760.4864
6 | 2631264.1579 | 1225822.9104
7 | 2631328.874 | 1225774.3385
8 | 2631337.6305 | 1225795.1244
9 | 2631302.9823 | 1225754.2877
10 | 2631251.237 | 1225836.9356
11 | 2631337.8661 | 1225771.4247
12 | 2631351.8695 | 1225808.5815
13 | 2631303.6876 | 1225734.4024
14 | 2631229.5238 | 1225858.129
15 | 2631362.6145 | 1225763.4053
16 | 2631347.1985 | 1225820.7639
17 | 2631304.1145 | 1225722.3678
18 | 2631321.8468 | 1225848.7144
19 | 2631303.0827 | 1225878.2344
20 | 2631336.9475 | 1225832.1155
21 | 2631298.3126 | 1225883.7127
22 | 2631331.6403 | 1225896.1943
23 | 2631359.8028 | 1225892.2519
24 | 2631400.1712 | 1225899.9993
25 | 2631420.5533 | 1225905.5435
26 | 2631437.7212 | 1225911.7884
27 | 2631448.1905 | 1225915.6309
28 | 2631401.7746 | 1225751.4937
29 | 2631402.3977 | 1225751.3105
30 | 2631378.2406 | 1225758.4159
31 | 2631419.5252 | 1225746.2727
32 | 2631364.4238 | 1225762.819
33 | 2631434.7914 | 1225741.7824
34 | 2631454.348 | 1225771.5771
35 | 2631067.3185 | 1225679.7756
36 | 2631078.8393 | 1225680.1799
37 | 2631011.4224 | 1225689.9627
38 | 2631094.0803 | 1225680.7148
39 | 2631009.8171 | 1225724.5862
40 | 2631100.247 | 1225680.9313
41 | 2631131.6449 | 1225656.0136
42 | 2631123.846 | 1225726.8868
43 | 2631131.6429 | 1225646.3629
44 | 2631148.0559 | 1225734.2684
45 | 2631128.5091 | 1225629.077
46 | 2631148.3901 | 1225723.1836
47 | 2631157.0149 | 1225743.0649
48 | 2631152.7398 | 1225708.4931
49 | 2631155.818 | 1225758.0349
50 | 2631182.4396 | 1225745.8642
51 | 2631209.2047 | 1225621.935
52 | 2631209.4412 | 1225622.2168
53 | 2631213.6079 | 1225627.1817
54 | 2631245.548 | 1225665.2406
55 | 2631248.6517 | 1225668.9636
56 | 2631257.4986 | 1225681.7099
57 | 2631242.8902 | 1225693.7551
58 | 2631262.7988 | 1225689.344
59 | 2631271.4839 | 1225699.1452
60 | 2631273.9233 | 1225701.7429
61 | 2631278.9885 | 1225707.137
62 | 2631237.6288 | 1225698.0933
63 | 2631228.6295 | 1225709.9977
64 | 2631313.2845 | 1225707.5988
65 | 2631221.9362 | 1225724.9286
66 | 2631343.2872 | 1225676.0759
67 | 2631338.3027 | 1225681.3129
68 | 2631361.3954 | 1225660.5965
69 | 2631326.0164 | 1225694.2217
70 | 2631362.9229 | 1225659.5582
71 | 2631322.3057 | 1225698.1204
72 | 2631364.7552 | 1225658.3126
73 | 2631317.8157 | 1225702.838
74 | 2631374.2278 | 1225651.8732
75 | 2631374.8035 | 1225651.4819
76 | 2631402.5618 | 1225632.6121
77 | 2631405.7412 | 1225630.4508
78 | 2631418.5062 | 1225596.9724
79 | 2631417.8029 | 1225593.8187
80 | 2631221.3058 | 1225726.3349
81 | 2631213.9115 | 1225739.9274
82 | 2631205.5677 | 1225745.3759
83 | 2631186.3192 | 1225746.7177
84 | 2631155.3983 | 1225699.5144
85 | 2631162.8885 | 1225685.3493
86 | 2631178.4807 | 1225673.6912
87 | 2631147.7001 | 1225771.8935
88 | 2631135.5673 | 1225792.6064
89 | 2631129.5103 | 1225802.9467
90 | 2631116.48 | 1225825.1916
91 | 2631304.1145 | 1225722.3678

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1