## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_333-8_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_333-8_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_333-8_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_333-8_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_333-8_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_333-8_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_333-8_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_333-8_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_333-8_0_4_node_77 | 0.4 | n |  | TRUE
9 | bus_LV_333-8_0_4_node_76 | 0.4 | n |  | TRUE
10 | bus_LV_333-8_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_333-8_0_4_node_78 | 0.4 | n |  | TRUE
12 | bus_LV_333-8_0_4_node_75 | 0.4 | n |  | TRUE
13 | bus_LV_333-8_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_333-8_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_333-8_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_333-8_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_333-8_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_333-8_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_333-8_0_4_node_124 | 0.4 | n |  | TRUE
20 | bus_LV_333-8_0_4_node_125 | 0.4 | n |  | TRUE
21 | bus_LV_333-8_0_4_node_122 | 0.4 | n |  | TRUE
22 | bus_LV_333-8_0_4_node_121 | 0.4 | n |  | TRUE
23 | bus_LV_333-8_0_4_node_41 | 0.4 | n |  | TRUE
24 | bus_LV_333-8_0_4_node_42 | 0.4 | n |  | TRUE
25 | bus_LV_333-8_0_4_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_333-8_0_4_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_333-8_0_4_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_333-8_0_4_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_333-8_0_4_node_47 | 0.4 | n |  | TRUE
30 | bus_LV_333-8_0_4_node_68 | 0.4 | n |  | TRUE
31 | bus_LV_333-8_0_4_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_333-8_0_4_node_69 | 0.4 | n |  | TRUE
33 | bus_LV_333-8_0_4_node_70 | 0.4 | n |  | TRUE
34 | bus_LV_333-8_0_4_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_333-8_0_4_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_333-8_0_4_node_51 | 0.4 | n |  | TRUE
37 | bus_LV_333-8_0_4_node_52 | 0.4 | n |  | TRUE
38 | bus_LV_333-8_0_4_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_333-8_0_4_node_54 | 0.4 | n |  | TRUE
40 | bus_LV_333-8_0_4_node_55 | 0.4 | n |  | TRUE
41 | bus_LV_333-8_0_4_node_56 | 0.4 | n |  | TRUE
42 | bus_LV_333-8_0_4_node_67 | 0.4 | n |  | TRUE
43 | bus_LV_333-8_0_4_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_333-8_0_4_node_106 | 0.4 | n |  | TRUE
45 | bus_LV_333-8_0_4_node_58 | 0.4 | n |  | TRUE
46 | bus_LV_333-8_0_4_node_105 | 0.4 | n |  | TRUE
47 | bus_LV_333-8_0_4_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_333-8_0_4_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_333-8_0_4_node_62 | 0.4 | n |  | TRUE
50 | bus_LV_333-8_0_4_node_63 | 0.4 | n |  | TRUE
51 | bus_LV_333-8_0_4_node_64 | 0.4 | n |  | TRUE
52 | bus_LV_333-8_0_4_node_65 | 0.4 | n |  | TRUE
53 | bus_LV_333-8_0_4_node_66 | 0.4 | n |  | TRUE
54 | bus_LV_333-8_0_4_node_95 | 0.4 | n |  | TRUE
55 | bus_LV_333-8_0_4_node_96 | 0.4 | n |  | TRUE
56 | bus_LV_333-8_0_4_node_80 | 0.4 | n |  | TRUE
57 | bus_LV_333-8_0_4_node_79 | 0.4 | n |  | TRUE
58 | bus_LV_333-8_0_4_node_71 | 0.4 | n |  | TRUE
59 | bus_LV_333-8_0_4_node_72 | 0.4 | n |  | TRUE
60 | bus_LV_333-8_0_4_node_73 | 0.4 | n |  | TRUE
61 | bus_LV_333-8_0_4_node_74 | 0.4 | n |  | TRUE
62 | bus_LV_333-8_0_4_node_81 | 0.4 | n |  | TRUE
63 | bus_LV_333-8_0_4_node_86 | 0.4 | n |  | TRUE
64 | bus_LV_333-8_0_4_node_83 | 0.4 | n |  | TRUE
65 | bus_LV_333-8_0_4_node_82 | 0.4 | n |  | TRUE
66 | bus_LV_333-8_0_4_node_85 | 0.4 | n |  | TRUE
67 | bus_LV_333-8_0_4_node_87 | 0.4 | n |  | TRUE
68 | bus_LV_333-8_0_4_node_88 | 0.4 | n |  | TRUE
69 | bus_LV_333-8_0_4_node_128 | 0.4 | n |  | TRUE
70 | bus_LV_333-8_0_4_node_89 | 0.4 | n |  | TRUE
71 | bus_LV_333-8_0_4_node_91 | 0.4 | n |  | TRUE
72 | bus_LV_333-8_0_4_node_92 | 0.4 | n |  | TRUE
73 | bus_LV_333-8_0_4_node_93 | 0.4 | n |  | TRUE
74 | bus_LV_333-8_0_4_node_94 | 0.4 | n |  | TRUE
75 | bus_LV_333-8_0_4_node_123 | 0.4 | n |  | TRUE
76 | bus_LV_333-8_0_4_node_97 | 0.4 | n |  | TRUE
77 | bus_LV_333-8_0_4_node_115 | 0.4 | n |  | TRUE
78 | bus_LV_333-8_0_4_node_117 | 0.4 | n |  | TRUE
79 | bus_LV_333-8_0_4_node_113 | 0.4 | n |  | TRUE
80 | bus_LV_333-8_0_4_node_98 | 0.4 | n |  | TRUE
81 | bus_LV_333-8_0_4_node_99 | 0.4 | n |  | TRUE
82 | bus_LV_333-8_0_4_node_100 | 0.4 | n |  | TRUE
83 | bus_LV_333-8_0_4_node_101 | 0.4 | n |  | TRUE
84 | bus_LV_333-8_0_4_node_102 | 0.4 | n |  | TRUE
85 | bus_LV_333-8_0_4_node_103 | 0.4 | n |  | TRUE
86 | bus_LV_333-8_0_4_node_118 | 0.4 | n |  | TRUE
87 | bus_LV_333-8_0_4_node_104 | 0.4 | n |  | TRUE
88 | bus_LV_333-8_0_4_node_116 | 0.4 | n |  | TRUE
89 | bus_LV_333-8_0_4_node_107 | 0.4 | n |  | TRUE
90 | bus_LV_333-8_0_4_node_108 | 0.4 | n |  | TRUE
91 | bus_LV_333-8_0_4_node_109 | 0.4 | n |  | TRUE
92 | bus_LV_333-8_0_4_node_110 | 0.4 | n |  | TRUE
93 | bus_LV_333-8_0_4_node_111 | 0.4 | n |  | TRUE
94 | bus_LV_333-8_0_4_node_112 | 0.4 | n |  | TRUE
95 | bus_LV_333-8_0_4_node_119 | 0.4 | n |  | TRUE
96 | bus_LV_333-8_0_4_node_120 | 0.4 | n |  | TRUE
97 | bus_LV_333-8_0_4_node_126 | 0.4 | n |  | TRUE
98 | bus_LV_333-8_0_4_node_114 | 0.4 | n |  | TRUE
99 | bus_MV_476_0_node_73 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_333-8_0_4_load_0 | 0 | 0.0019289 | 0.00048343 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_333-8_0_4_load_1 | 1 | 0.0028583 | 0.00071635 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_333-8_0_4_load_2 | 2 | 0.0021902 | 0.00054893 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_333-8_0_4_load_4 | 4 | 0.0027499 | 0.0006892 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_333-8_0_4_load_5 | 5 | 0.0049659 | 0.0012446 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_333-8_0_4_load_6 | 6 | 0.0018665 | 0.00046778 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_333-8_0_4_load_7 | 7 | 0.0021402 | 0.00053638 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_333-8_0_4_load_77 | 8 | 0.0061615 | 0.0015442 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_333-8_0_4_load_76 | 9 | 0.0018624 | 0.00046677 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_333-8_0_4_load_8 | 10 | 0.0021784 | 0.00054596 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_333-8_0_4_load_78 | 11 | 0.001895 | 0.00047493 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_333-8_0_4_load_75 | 12 | 0.0018665 | 0.00046778 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_333-8_0_4_load_10 | 13 | 0.0024235 | 0.00060738 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_333-8_0_4_load_9 | 14 | 0.0036392 | 0.00091208 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_333-8_0_4_load_11 | 15 | 0.0018762 | 0.00047022 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_333-8_0_4_load_12 | 16 | 0.0050506 | 0.0012658 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_333-8_0_4_load_13 | 17 | 0.0024677 | 0.00061846 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_333-8_0_4_load_14 | 18 | 0.005179 | 0.001298 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_333-8_0_4_load_124 | 19 | 0.0045723 | 0.0011459 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_333-8_0_4_load_122 | 21 | 0.0028766 | 0.00072094 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_333-8_0_4_load_121 | 22 | 0.0049993 | 0.0012529 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_333-8_0_4_load_41 | 23 | 0.0019861 | 0.00049775 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_333-8_0_4_load_42 | 24 | 0.0019498 | 0.00048867 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_333-8_0_4_load_43 | 25 | 0.0021454 | 0.00053769 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_333-8_0_4_load_44 | 26 | 0.0026116 | 0.00065453 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_333-8_0_4_load_46 | 28 | 0.0034349 | 0.00086087 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_333-8_0_4_load_47 | 29 | 0.00295 | 0.00073933 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_333-8_0_4_load_49 | 31 | 0.0029059 | 0.00072829 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_333-8_0_4_load_69 | 32 | 0.0018059 | 0.00045261 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_333-8_0_4_load_70 | 33 | 0.0016635 | 0.00041692 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_333-8_0_4_load_48 | 34 | 0.0020222 | 0.00050682 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_333-8_0_4_load_50 | 35 | 0.0027173 | 0.00068103 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_333-8_0_4_load_51 | 36 | 0.0017857 | 0.00044755 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_333-8_0_4_load_52 | 37 | 0.0012492 | 0.00031307 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_333-8_0_4_load_54 | 39 | 0.0013253 | 0.00033215 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_333-8_0_4_load_55 | 40 | 0.0012477 | 0.00031271 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_333-8_0_4_load_56 | 41 | 0.0029409 | 0.00073707 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_333-8_0_4_load_67 | 42 | 0.0016166 | 0.00040515 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_333-8_0_4_load_57 | 43 | 0.0018016 | 0.00045152 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_333-8_0_4_load_106 | 44 | 0.0014658 | 0.00036736 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_333-8_0_4_load_58 | 45 | 0.0022699 | 0.00056888 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_333-8_0_4_load_105 | 46 | 0.0015319 | 0.00038392 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_333-8_0_4_load_59 | 47 | 0.0022439 | 0.00056239 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_333-8_0_4_load_60 | 48 | 0.0007926 | 0.00019864 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_333-8_0_4_load_62 | 49 | 0.0020563 | 0.00051536 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_333-8_0_4_load_63 | 50 | 0.0023974 | 0.00060083 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_333-8_0_4_load_64 | 51 | 0.0021719 | 0.00054432 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_333-8_0_4_load_65 | 52 | 0.0016898 | 0.00042349 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_333-8_0_4_load_66 | 53 | 0.0022798 | 0.00057138 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_333-8_0_4_load_95 | 54 | 0.0035892 | 0.00089955 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_333-8_0_4_load_96 | 55 | 0.0024489 | 0.00061375 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_333-8_0_4_load_80 | 56 | 0.0019399 | 0.00048619 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_333-8_0_4_load_79 | 57 | 0.0012185 | 0.00030539 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_333-8_0_4_load_71 | 58 | 0.0016939 | 0.00042452 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_333-8_0_4_load_72 | 59 | 0.0024719 | 0.00061952 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_333-8_0_4_load_73 | 60 | 0.00097943 | 0.00024547 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_333-8_0_4_load_81 | 62 | 0.0012116 | 0.00030366 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_333-8_0_4_load_86 | 63 | 0.0021136 | 0.00052972 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_333-8_0_4_load_82 | 65 | 0.0027064 | 0.00067828 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_333-8_0_4_load_85 | 66 | 0.0012312 | 0.00030856 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_333-8_0_4_load_87 | 67 | 0.0014755 | 0.0003698 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_333-8_0_4_load_128 | 69 | 0.0032323 | 0.00081008 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_333-8_0_4_load_89 | 70 | 0.0025952 | 0.00065041 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_333-8_0_4_load_91 | 71 | 0.0018632 | 0.00046695 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_333-8_0_4_load_92 | 72 | 0.0041692 | 0.0010449 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_333-8_0_4_load_93 | 73 | 0.00064065 | 0.00016056 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_333-8_0_4_load_123 | 75 | 0.0023345 | 0.00058508 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_333-8_0_4_load_117 | 78 | 0.00081795 | 0.000205 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_333-8_0_4_load_113 | 79 | 0.001147 | 0.00028747 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_333-8_0_4_load_98 | 80 | 0.0013652 | 0.00034216 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_333-8_0_4_load_99 | 81 | 0.0012275 | 0.00030763 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_333-8_0_4_load_100 | 82 | 0.0017237 | 0.000432 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_333-8_0_4_load_101 | 83 | 0.0034063 | 0.0008537 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_333-8_0_4_load_102 | 84 | 0.0012164 | 0.00030485 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_333-8_0_4_load_103 | 85 | 0.0016411 | 0.00041129 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_333-8_0_4_load_118 | 86 | 0.0014203 | 0.00035596 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_333-8_0_4_load_104 | 87 | 0.0024395 | 0.00061139 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_333-8_0_4_load_116 | 88 | 0.00072539 | 0.0001818 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_333-8_0_4_load_107 | 89 | 0.0022857 | 0.00057285 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_333-8_0_4_load_108 | 90 | 0.0022733 | 0.00056973 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_333-8_0_4_load_109 | 91 | 0.0011499 | 0.0002882 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_333-8_0_4_load_110 | 92 | 0.0020171 | 0.00050554 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_333-8_0_4_load_111 | 93 | 0.0013032 | 0.00032662 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_333-8_0_4_load_112 | 94 | 0.0023894 | 0.00059884 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_333-8_0_4_load_120 | 96 | 0.0020295 | 0.00050864 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_333-8_0_4_load_126 | 97 | 0.001105 | 0.00027694 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_333-8_0_4_load_114 | 98 | 0.0012239 | 0.00030675 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_333-8_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.021728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_333-8_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.016835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_333-8_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.013955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_333-8_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0041226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_333-8_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.011758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_333-8_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0021708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_333-8_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0066486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_333-8_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.013146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_333-8_0_4_line_8 | NAYY 4x150 SE | 6 | 9 | 0.00064909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_333-8_0_4_line_9 | NAYY 4x150 SE | 7 | 10 | 0.0071364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_333-8_0_4_line_10 | NAYY 4x150 SE | 8 | 11 | 0.016349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_333-8_0_4_line_11 | NAYY 4x150 SE | 9 | 12 | 0.00064908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_333-8_0_4_line_12 | NAYY 4x150 SE | 10 | 13 | 0.02452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_333-8_0_4_line_13 | NAYY 4x150 SE | 11 | 32 | 0.010699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_333-8_0_4_line_14 | NAYY 4x150 SE | 12 | 52 | 0.0043519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_333-8_0_4_line_15 | NAYY 4x150 SE | 13 | 14 | 0.007083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_333-8_0_4_line_16 | NAYY 4x150 SE | 14 | 15 | 0.02743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_333-8_0_4_line_17 | NAYY 4x150 SE | 15 | 16 | 0.0058441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_333-8_0_4_line_18 | NAYY 4x150 SE | 16 | 17 | 0.023147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_333-8_0_4_line_19 | NAYY 4x150 SE | 17 | 18 | 0.018284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_333-8_0_4_line_20 | NAYY 4x150 SE | 19 | 20 | 0.023843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_333-8_0_4_line_21 | NAYY 4x150 SE | 20 | 97 | 0.006855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_333-8_0_4_line_22 | NAYY 4x150 SE | 20 | 93 | 0.15205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_333-8_0_4_line_23 | NAYY 4x150 SE | 21 | 22 | 0.028887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_333-8_0_4_line_24 | NAYY 4x150 SE | 22 | 96 | 0.11813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_333-8_0_4_line_25 | NAYY 4x150 SE | 23 | 24 | 0.0076772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_333-8_0_4_line_26 | NAYY 4x150 SE | 23 | 25 | 0.0040074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_333-8_0_4_line_27 | NAYY 4x150 SE | 24 | 26 | 0.017896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_333-8_0_4_line_28 | NAYY 4x150 SE | 26 | 27 | 0.013472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_333-8_0_4_line_29 | NAYY 4x150 SE | 27 | 28 | 0.017705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_333-8_0_4_line_30 | NAYY 4x150 SE | 27 | 29 | 0.0083795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_333-8_0_4_line_31 | NAYY 4x150 SE | 28 | 30 | 0.040254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_333-8_0_4_line_32 | NAYY 4x150 SE | 29 | 31 | 0.013174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_333-8_0_4_line_33 | NAYY 4x150 SE | 30 | 32 | 0.0098902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_333-8_0_4_line_34 | NAYY 4x150 SE | 30 | 33 | 0.019139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_333-8_0_4_line_35 | NAYY 4x150 SE | 31 | 34 | 0.01413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_333-8_0_4_line_36 | NAYY 4x150 SE | 33 | 56 | 0.0045164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_333-8_0_4_line_37 | NAYY 4x150 SE | 35 | 36 | 0.014784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_333-8_0_4_line_38 | NAYY 4x150 SE | 35 | 37 | 0.035639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_333-8_0_4_line_39 | NAYY 4x150 SE | 36 | 38 | 0.010554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_333-8_0_4_line_40 | NAYY 4x150 SE | 37 | 39 | 0.010133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_333-8_0_4_line_41 | NAYY 4x150 SE | 38 | 40 | 0.024172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_333-8_0_4_line_42 | NAYY 4x150 SE | 38 | 41 | 0.044417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_333-8_0_4_line_43 | NAYY 4x150 SE | 39 | 42 | 0.053419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_333-8_0_4_line_44 | NAYY 4x150 SE | 40 | 43 | 0.0094969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_333-8_0_4_line_45 | NAYY 4x150 SE | 41 | 44 | 0.035644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_333-8_0_4_line_46 | NAYY 4x150 SE | 43 | 45 | 0.040412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_333-8_0_4_line_47 | NAYY 4x150 SE | 44 | 46 | 0.03098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_333-8_0_4_line_48 | NAYY 4x150 SE | 45 | 47 | 0.033709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_333-8_0_4_line_49 | NAYY 4x150 SE | 46 | 87 | 0.018735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_333-8_0_4_line_50 | NAYY 4x150 SE | 47 | 48 | 0.06523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_333-8_0_4_line_51 | NAYY 4x150 SE | 49 | 50 | 0.0037956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_333-8_0_4_line_52 | NAYY 4x150 SE | 49 | 51 | 0.044389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_333-8_0_4_line_53 | NAYY 4x150 SE | 50 | 52 | 0.027709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_333-8_0_4_line_54 | NAYY 4x150 SE | 51 | 53 | 0.012589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_333-8_0_4_line_55 | NAYY 4x150 SE | 53 | 54 | 0.015185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_333-8_0_4_line_56 | NAYY 4x150 SE | 54 | 55 | 0.021335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_333-8_0_4_line_57 | NAYY 4x150 SE | 55 | 73 | 0.090941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_333-8_0_4_line_58 | NAYY 4x150 SE | 56 | 57 | 0.00033263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_333-8_0_4_line_59 | NAYY 4x150 SE | 57 | 61 | 0.016022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_333-8_0_4_line_60 | NAYY 4x150 SE | 58 | 59 | 0.031259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_333-8_0_4_line_61 | NAYY 4x150 SE | 58 | 60 | 0.0017427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_333-8_0_4_line_62 | NAYY 4x150 SE | 59 | 61 | 0.016038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_333-8_0_4_line_63 | NAYY 4x150 SE | 61 | 62 | 0.010776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_333-8_0_4_line_64 | NAYY 4x150 SE | 62 | 63 | 0.024555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_333-8_0_4_line_65 | NAYY 4x150 SE | 63 | 64 | 0.036607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_333-8_0_4_line_66 | NAYY 4x150 SE | 64 | 66 | 0.02176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_333-8_0_4_line_67 | NAYY 4x150 SE | 64 | 65 | 0.031101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_333-8_0_4_line_68 | NAYY 4x150 SE | 66 | 67 | 0.071112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_333-8_0_4_line_69 | NAYY 4x150 SE | 67 | 68 | 0.049437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_333-8_0_4_line_70 | NAYY 4x150 SE | 67 | 69 | 0.08221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_333-8_0_4_line_71 | NAYY 4x150 SE | 68 | 70 | 0.021762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_333-8_0_4_line_72 | NAYY 4x150 SE | 70 | 71 | 0.063655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_333-8_0_4_line_73 | NAYY 4x150 SE | 71 | 72 | 0.043419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_333-8_0_4_line_74 | NAYY 4x150 SE | 73 | 74 | 0.027172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
75 | LV_333-8_0_4_line_75 | NAYY 4x150 SE | 74 | 75 | 0.024847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_333-8_0_4_line_76 | NAYY 4x150 SE | 74 | 76 | 0.10857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
77 | LV_333-8_0_4_line_77 | NAYY 4x150 SE | 76 | 77 | 0.13265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
78 | LV_333-8_0_4_line_78 | NAYY 4x150 SE | 77 | 78 | 0.036106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
79 | LV_333-8_0_4_line_79 | NAYY 4x150 SE | 77 | 79 | 0.013377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
80 | LV_333-8_0_4_line_80 | NAYY 4x150 SE | 78 | 95 | 0.018433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
81 | LV_333-8_0_4_line_81 | NAYY 4x150 SE | 79 | 98 | 0.0052671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
82 | LV_333-8_0_4_line_82 | NAYY 4x150 SE | 80 | 81 | 0.026125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
83 | LV_333-8_0_4_line_83 | NAYY 4x150 SE | 80 | 82 | 0.0020354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
84 | LV_333-8_0_4_line_84 | NAYY 4x150 SE | 81 | 83 | 0.0039507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
85 | LV_333-8_0_4_line_85 | NAYY 4x150 SE | 82 | 84 | 0.019593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
86 | LV_333-8_0_4_line_86 | NAYY 4x150 SE | 83 | 85 | 0.014353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
87 | LV_333-8_0_4_line_87 | NAYY 4x150 SE | 84 | 86 | 0.017273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
88 | LV_333-8_0_4_line_88 | NAYY 4x150 SE | 85 | 87 | 0.021677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
89 | LV_333-8_0_4_line_89 | NAYY 4x150 SE | 86 | 88 | 0.0057194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
90 | LV_333-8_0_4_line_90 | NAYY 4x150 SE | 88 | 98 | 0.018952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
91 | LV_333-8_0_4_line_91 | NAYY 4x150 SE | 89 | 90 | 0.025075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_333-8_0_4_line_92 | NAYY 4x150 SE | 89 | 91 | 0.021617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_333-8_0_4_line_93 | NAYY 4x150 SE | 90 | 92 | 0.024443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_333-8_0_4_line_94 | NAYY 4x150 SE | 91 | 93 | 0.026346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_333-8_0_4_line_95 | NAYY 4x150 SE | 92 | 94 | 0.0253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_333-8_0_4_line_96 | NAYY 4x150 SE | 93 | 95 | 0.051096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
97 | LV_333-8_0_4_line_97 | NAYY 4x150 SE | 94 | 96 | 0.024136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_333-8_0_4_trafo_8 | 0.25 MVA 20/0.4 kV | 99 | 10 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2630861.5384 | 1225576.6025 | 2630861.0331 | 1225593.6801 | 2630860.4339 | 1225598.2846
1 | 2630861.5384 | 1225576.6025 | 2630861.7406 | 1225569.7695 | 2630857.2387 | 1225560.8409
2 | 2630858.6332 | 1225612.1232 | 2630860.4339 | 1225598.2846
3 | 2630857.2387 | 1225560.8409 | 2630857.2387 | 1225560.8409 | 2630853.8065 | 1225558.5571
4 | 2630858.6332 | 1225612.1232 | 2630869.9424 | 1225615.3393
5 | 2630858.6332 | 1225612.1232 | 2630856.5128 | 1225611.6577
6 | 2630848.2713 | 1225554.8739 | 2630853.8065 | 1225558.5571
7 | 2630882.5868 | 1225618.9351 | 2630869.9424 | 1225615.3393
8 | 2630855.8788 | 1225611.5186 | 2630856.5128 | 1225611.6577
9 | 2630841.3334 | 1225553.5876 | 2630847.5392 | 1225554.3868 | 2630848.2713 | 1225554.8739
10 | 2630882.5868 | 1225618.9351 | 2630885.7906 | 1225619.8462 | 2630898.3012 | 1225623.4469
11 | 2630855.2448 | 1225611.3794 | 2630855.8788 | 1225611.5186
12 | 2630841.3334 | 1225553.5876 | 2630817.0137 | 1225550.4558
13 | 2630908.5824 | 1225626.406 | 2630898.3012 | 1225623.4469
14 | 2630855.2448 | 1225611.3794 | 2630850.9941 | 1225610.4463
15 | 2630809.9887 | 1225549.5512 | 2630817.0137 | 1225550.4558
16 | 2630809.9887 | 1225549.5512 | 2630808.2317 | 1225549.3249 | 2630782.574 | 1225549.1923
17 | 2630782.574 | 1225549.1923 | 2630776.73 | 1225549.1621
18 | 2630776.73 | 1225549.1621 | 2630758.6129 | 1225549.0685 | 2630753.614 | 1225549.6255
19 | 2630735.4421 | 1225551.6505 | 2630753.614 | 1225549.6255
20 | 2630660.8222 | 1225299.8602 | 2630648.9271 | 1225279.1968
21 | 2630660.8222 | 1225299.8602 | 2630663.0917 | 1225293.3902
22 | 2630669.3516 | 1225451.6734 | 2630660.8222 | 1225299.8602
23 | 2630932.5546 | 1225467.5169 | 2630944.0786 | 1225471.6266 | 2630959.7693 | 1225477.2036
24 | 2630816.1116 | 1225454.5046 | 2630847.6898 | 1225453.5717 | 2630864.9025 | 1225454.0167 | 2630882.0312 | 1225456.0288 | 2630912.2849 | 1225460.2882 | 2630932.5546 | 1225467.5169
25 | 2630908.2273 | 1225560.5966 | 2630900.8555 | 1225558.4528
26 | 2630897.0075 | 1225557.3337 | 2630900.8555 | 1225558.4528
27 | 2630908.2273 | 1225560.5966 | 2630914.4838 | 1225562.4162 | 2630923.7842 | 1225568.9748
28 | 2630935.9438 | 1225574.0011 | 2630929.1433 | 1225572.754 | 2630923.7842 | 1225568.9748
29 | 2630935.9438 | 1225574.0011 | 2630930.4889 | 1225590.8453
30 | 2630935.9438 | 1225574.0011 | 2630944.025 | 1225576.2173
31 | 2630918.0868 | 1225629.1415 | 2630930.4889 | 1225590.8453
32 | 2630944.025 | 1225576.2173 | 2630956.7295 | 1225579.7013
33 | 2630918.0868 | 1225629.1415 | 2630908.5824 | 1225626.406
34 | 2630918.0868 | 1225629.1415 | 2630934.6437 | 1225638.7417
35 | 2630970.356 | 1225583.4381 | 2630956.7295 | 1225579.7013
36 | 2630934.6437 | 1225638.7417 | 2630938.5508 | 1225641.0071
37 | 2630865.3678 | 1225517.8128 | 2630877.9119 | 1225509.9897
38 | 2630830.7592 | 1225526.3193 | 2630865.3678 | 1225517.8128 | 2630865.3678 | 1225517.8128
39 | 2630886.8667 | 1225504.405 | 2630877.9119 | 1225509.9897
40 | 2630830.7592 | 1225526.3193 | 2630828.7769 | 1225526.8066 | 2630820.7265 | 1225525.9898
41 | 2630886.8667 | 1225504.405 | 2630909.3411 | 1225507.5456 | 2630910.7752 | 1225507.9068
42 | 2630886.8667 | 1225504.405 | 2630842.4793 | 1225502.7976
43 | 2630820.7265 | 1225525.9898 | 2630788.4787 | 1225522.7181 | 2630773.0396 | 1225523.8279 | 2630767.6022 | 1225524.8186
44 | 2630919.9845 | 1225510.2265 | 2630910.7752 | 1225507.9068
45 | 2630806.8433 | 1225502.2772 | 2630831.3365 | 1225502.3941 | 2630842.4793 | 1225502.7976
46 | 2630919.9845 | 1225510.2265 | 2630959.1721 | 1225520.097
47 | 2630806.8433 | 1225502.2772 | 2630775.8637 | 1225502.1294
48 | 2630959.1721 | 1225520.097 | 2630976.8989 | 1225524.5621 | 2630991.8179 | 1225528.4955
49 | 2630757.2238 | 1225504.0145 | 2630775.7593 | 1225502.1289 | 2630775.8637 | 1225502.1294
50 | 2630991.8179 | 1225528.4955 | 2631008.2154 | 1225532.8187 | 2631043.9951 | 1225541.3656 | 2631054.8049 | 1225545.2487
51 | 2630820.096 | 1225605.3045 | 2630823.8846 | 1225605.0751
52 | 2630820.096 | 1225605.3045 | 2630775.7877 | 1225607.9871
53 | 2630823.8846 | 1225605.0751 | 2630825.9544 | 1225604.9498 | 2630850.9941 | 1225610.4463
54 | 2630775.7877 | 1225607.9871 | 2630768.6003 | 1225608.4222 | 2630763.2134 | 1225608.5269
55 | 2630763.2134 | 1225608.5269 | 2630748.031 | 1225608.8219
56 | 2630726.7001 | 1225609.2363 | 2630748.031 | 1225608.8219
57 | 2630726.7001 | 1225609.2363 | 2630660.4778 | 1225671.5653
58 | 2630938.8386 | 1225641.174 | 2630938.5508 | 1225641.0071
59 | 2630952.6994 | 1225649.2109 | 2630938.8386 | 1225641.174
60 | 2630978.9813 | 1225609.8881 | 2630961.6115 | 1225635.8766
61 | 2630979.9496 | 1225608.4392 | 2630978.9813 | 1225609.8881
62 | 2630952.6994 | 1225649.2109 | 2630961.6115 | 1225635.8766
63 | 2630952.6994 | 1225649.2109 | 2630956.5688 | 1225651.4546 | 2630961.4667 | 1225655.4222
64 | 2630961.4667 | 1225655.4222 | 2630980.5468 | 1225670.8783
65 | 2631011.4224 | 1225689.9627 | 2630995.08 | 1225682.6511 | 2630980.5468 | 1225670.8783
66 | 2631011.4224 | 1225689.9627 | 2631013.8754 | 1225700.7264 | 2631012.2628 | 1225711.3249
67 | 2631011.4224 | 1225689.9627 | 2631037.8771 | 1225682.6183 | 2631041.4965 | 1225682.1794
68 | 2630955.5425 | 1225718.611 | 2630956.5895 | 1225718.9395 | 2630974.8228 | 1225724.104 | 2630994.9621 | 1225730.0789 | 2631004.5483 | 1225729.0948 | 2631009.8171 | 1225724.5862 | 2631012.0702 | 1225712.5908 | 2631012.2628 | 1225711.3249
69 | 2630910.4114 | 1225722.0017 | 2630917.9472 | 1225714.4585 | 2630928.7616 | 1225711.9575 | 2630939.4033 | 1225713.547 | 2630955.5425 | 1225718.611
70 | 2630955.5425 | 1225718.611 | 2630953.4353 | 1225800.7943
71 | 2630910.4114 | 1225722.0017 | 2630892.0169 | 1225710.3733
72 | 2630834.1112 | 1225684.9365 | 2630872.3934 | 1225697.968 | 2630892.0169 | 1225710.3733
73 | 2630834.1112 | 1225684.9365 | 2630829.8762 | 1225683.4948 | 2630792.2686 | 1225673.3742
74 | 2630634.8067 | 1225679.9758 | 2630655.1087 | 1225672.0977 | 2630660.4778 | 1225671.5653
75 | 2630634.8067 | 1225679.9758 | 2630655.1769 | 1225694.204
76 | 2630546.3821 | 1225617.0733 | 2630565.3569 | 1225634.4699 | 2630634.8067 | 1225679.9758
77 | 2630610.6213 | 1225501.0113 | 2630546.3821 | 1225617.0733
78 | 2630610.6213 | 1225501.0113 | 2630613.8233 | 1225484.1732 | 2630616.1768 | 1225465.3541
79 | 2630610.6213 | 1225501.0113 | 2630623.3757 | 1225505.0454
80 | 2630618.4636 | 1225447.0637 | 2630616.2897 | 1225464.4519 | 2630616.1768 | 1225465.3541
81 | 2630623.3757 | 1225505.0454 | 2630623.6987 | 1225505.1476 | 2630628.4638 | 1225506.4057
82 | 2630691.4679 | 1225510.8016 | 2630717.4506 | 1225508.0793
83 | 2630691.4679 | 1225510.8016 | 2630689.4436 | 1225511.0137
84 | 2630717.4506 | 1225508.0793 | 2630721.3798 | 1225507.6676
85 | 2630669.939 | 1225511.6879 | 2630677.4288 | 1225512.2726 | 2630689.4436 | 1225511.0137
86 | 2630735.6583 | 1225506.2082 | 2630723.6479 | 1225507.4299 | 2630721.3798 | 1225507.6676
87 | 2630669.939 | 1225511.6879 | 2630652.7184 | 1225510.3438
88 | 2630735.6583 | 1225506.2082 | 2630757.2238 | 1225504.0145
89 | 2630647.0164 | 1225509.8987 | 2630652.7184 | 1225510.3438
90 | 2630647.0164 | 1225509.8987 | 2630639.4594 | 1225509.3088 | 2630628.4638 | 1225506.4057
91 | 2630717.1722 | 1225455.025 | 2630742.2464 | 1225455.1651
92 | 2630717.1722 | 1225455.025 | 2630707.5904 | 1225454.9714 | 2630695.5997 | 1225453.9372
93 | 2630742.2464 | 1225455.1651 | 2630766.6891 | 1225455.3017
94 | 2630669.3516 | 1225451.6734 | 2630695.5997 | 1225453.9372
95 | 2630766.6891 | 1225455.3017 | 2630785.5595 | 1225455.4072 | 2630791.9858 | 1225455.2173
96 | 2630618.4636 | 1225447.0637 | 2630656.0443 | 1225450.5256 | 2630669.3516 | 1225451.6734
97 | 2630791.9858 | 1225455.2173 | 2630816.1116 | 1225454.5046

## bus_geodata
| x | y | coords
0 | 2630861.5384 | 1225576.6025
1 | 2630860.4339 | 1225598.2846
2 | 2630857.2387 | 1225560.8409
3 | 2630858.6332 | 1225612.1232
4 | 2630853.8065 | 1225558.5571
5 | 2630869.9424 | 1225615.3393
6 | 2630856.5128 | 1225611.6577
7 | 2630848.2713 | 1225554.8739
8 | 2630882.5868 | 1225618.9351
9 | 2630855.8788 | 1225611.5186
10 | 2630841.3334 | 1225553.5876
11 | 2630898.3012 | 1225623.4469
12 | 2630855.2448 | 1225611.3794
13 | 2630817.0137 | 1225550.4558
14 | 2630809.9887 | 1225549.5512
15 | 2630782.574 | 1225549.1923
16 | 2630776.73 | 1225549.1621
17 | 2630753.614 | 1225549.6255
18 | 2630735.4421 | 1225551.6505
19 | 2630648.9271 | 1225279.1968
20 | 2630660.8222 | 1225299.8602
21 | 2630959.7693 | 1225477.2036
22 | 2630932.5546 | 1225467.5169
23 | 2630900.8555 | 1225558.4528
24 | 2630908.2273 | 1225560.5966
25 | 2630897.0075 | 1225557.3337
26 | 2630923.7842 | 1225568.9748
27 | 2630935.9438 | 1225574.0011
28 | 2630930.4889 | 1225590.8453
29 | 2630944.025 | 1225576.2173
30 | 2630918.0868 | 1225629.1415
31 | 2630956.7295 | 1225579.7013
32 | 2630908.5824 | 1225626.406
33 | 2630934.6437 | 1225638.7417
34 | 2630970.356 | 1225583.4381
35 | 2630865.3678 | 1225517.8128
36 | 2630877.9119 | 1225509.9897
37 | 2630830.7592 | 1225526.3193
38 | 2630886.8667 | 1225504.405
39 | 2630820.7265 | 1225525.9898
40 | 2630910.7752 | 1225507.9068
41 | 2630842.4793 | 1225502.7976
42 | 2630767.6022 | 1225524.8186
43 | 2630919.9845 | 1225510.2265
44 | 2630806.8433 | 1225502.2772
45 | 2630959.1721 | 1225520.097
46 | 2630775.8637 | 1225502.1294
47 | 2630991.8179 | 1225528.4955
48 | 2631054.8049 | 1225545.2487
49 | 2630820.096 | 1225605.3045
50 | 2630823.8846 | 1225605.0751
51 | 2630775.7877 | 1225607.9871
52 | 2630850.9941 | 1225610.4463
53 | 2630763.2134 | 1225608.5269
54 | 2630748.031 | 1225608.8219
55 | 2630726.7002 | 1225609.2363
56 | 2630938.5508 | 1225641.0071
57 | 2630938.8386 | 1225641.174
58 | 2630978.9812 | 1225609.8881
59 | 2630961.6115 | 1225635.8766
60 | 2630979.9496 | 1225608.4392
61 | 2630952.6994 | 1225649.2109
62 | 2630961.4667 | 1225655.4222
63 | 2630980.5468 | 1225670.8783
64 | 2631011.4224 | 1225689.9627
65 | 2631041.4965 | 1225682.1794
66 | 2631012.2628 | 1225711.3249
67 | 2630955.5425 | 1225718.611
68 | 2630910.4114 | 1225722.0017
69 | 2630953.4353 | 1225800.7943
70 | 2630892.0169 | 1225710.3733
71 | 2630834.1112 | 1225684.9365
72 | 2630792.2686 | 1225673.3742
73 | 2630660.4778 | 1225671.5653
74 | 2630634.8067 | 1225679.9758
75 | 2630655.1769 | 1225694.204
76 | 2630546.3821 | 1225617.0733
77 | 2630610.6213 | 1225501.0113
78 | 2630616.1768 | 1225465.3541
79 | 2630623.3757 | 1225505.0454
80 | 2630691.4679 | 1225510.8016
81 | 2630717.4506 | 1225508.0793
82 | 2630689.4436 | 1225511.0137
83 | 2630721.3798 | 1225507.6676
84 | 2630669.939 | 1225511.6879
85 | 2630735.6583 | 1225506.2082
86 | 2630652.7184 | 1225510.3438
87 | 2630757.2238 | 1225504.0145
88 | 2630647.0164 | 1225509.8987
89 | 2630717.1722 | 1225455.025
90 | 2630742.2464 | 1225455.1651
91 | 2630695.5997 | 1225453.9372
92 | 2630766.6891 | 1225455.3017
93 | 2630669.3516 | 1225451.6734
94 | 2630791.9858 | 1225455.2173
95 | 2630618.4636 | 1225447.0637
96 | 2630816.1116 | 1225454.5046
97 | 2630663.0917 | 1225293.3902
98 | 2630628.4638 | 1225506.4057
99 | 2630858.6332 | 1225612.1232

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1