## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_333-9_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_333-9_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_333-9_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_333-9_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_333-9_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_333-9_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_333-9_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_333-9_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_333-9_0_3_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_333-9_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_333-9_0_3_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_333-9_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_333-9_0_3_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_333-9_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_333-9_0_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_333-9_0_3_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_333-9_0_3_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_333-9_0_3_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_333-9_0_3_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_333-9_0_3_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_333-9_0_3_node_71 | 0.4 | n |  | TRUE
21 | bus_LV_333-9_0_3_node_72 | 0.4 | n |  | TRUE
22 | bus_LV_333-9_0_3_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_333-9_0_3_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_333-9_0_3_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_333-9_0_3_node_74 | 0.4 | n |  | TRUE
26 | bus_LV_333-9_0_3_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_333-9_0_3_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_333-9_0_3_node_50 | 0.4 | n |  | TRUE
29 | bus_LV_333-9_0_3_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_333-9_0_3_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_333-9_0_3_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_333-9_0_3_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_333-9_0_3_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_333-9_0_3_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_333-9_0_3_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_333-9_0_3_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_333-9_0_3_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_333-9_0_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_333-9_0_3_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_333-9_0_3_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_333-9_0_3_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_333-9_0_3_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_333-9_0_3_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_333-9_0_3_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_333-9_0_3_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_333-9_0_3_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_333-9_0_3_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_333-9_0_3_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_333-9_0_3_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_333-9_0_3_node_56 | 0.4 | n |  | TRUE
51 | bus_LV_333-9_0_3_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_333-9_0_3_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_333-9_0_3_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_333-9_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_333-9_0_3_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_333-9_0_3_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_333-9_0_3_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_333-9_0_3_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_333-9_0_3_node_73 | 0.4 | n |  | TRUE
60 | bus_LV_333-9_0_3_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_333-9_0_3_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_333-9_0_3_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_333-9_0_3_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_333-9_0_3_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_333-9_0_3_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_333-9_0_3_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_333-9_0_3_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_333-9_0_3_node_70 | 0.4 | n |  | TRUE
69 | bus_LV_333-9_0_3_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_333-9_0_3_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_333-9_0_3_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_333-9_0_3_node_67 | 0.4 | n |  | TRUE
73 | bus_MV_476_0_node_74 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_333-9_0_3_load_0 | 0 | 0.0065536 | 0.0016425 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_333-9_0_3_load_1 | 1 | 0.0011566 | 0.00028987 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_333-9_0_3_load_2 | 2 | 0.0032132 | 0.0008053 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_333-9_0_3_load_4 | 3 | 0.0027457 | 0.00068814 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_333-9_0_3_load_3 | 4 | 0.0022498 | 0.00056384 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_333-9_0_3_load_5 | 5 | 0.0053751 | 0.0013471 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_333-9_0_3_load_6 | 6 | 0.0016576 | 0.00041543 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_333-9_0_3_load_8 | 9 | 0.0025124 | 0.00062967 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_333-9_0_3_load_13 | 10 | 0.0009662 | 0.00024215 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_333-9_0_3_load_10 | 11 | 0.0015214 | 0.00038129 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_333-9_0_3_load_20 | 12 | 0.0030323 | 0.00075997 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_333-9_0_3_load_11 | 13 | 0.0016179 | 0.00040548 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_333-9_0_3_load_12 | 14 | 0.00033528 | 8.4029e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_333-9_0_3_load_14 | 15 | 0.00042332 | 0.00010609 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_333-9_0_3_load_15 | 16 | 0.00095607 | 0.00023961 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_333-9_0_3_load_16 | 18 | 0.00040088 | 0.00010047 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_333-9_0_3_load_18 | 19 | 0.00053769 | 0.00013476 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_333-9_0_3_load_71 | 20 | 0.0044088 | 0.001105 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_333-9_0_3_load_72 | 21 | 0.0012325 | 0.00030888 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_333-9_0_3_load_22 | 22 | 0.0027736 | 0.00069513 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_333-9_0_3_load_23 | 23 | 0.0036537 | 0.00091571 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_333-9_0_3_load_74 | 25 | 0.0030384 | 0.00076151 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_333-9_0_3_load_25 | 26 | 0.0028323 | 0.00070985 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_333-9_0_3_load_26 | 27 | 0.0021813 | 0.00054669 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_333-9_0_3_load_27 | 29 | 0.0029618 | 0.00074229 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_333-9_0_3_load_29 | 30 | 0.0022763 | 0.00057048 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_333-9_0_3_load_28 | 31 | 0.0021154 | 0.00053018 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_333-9_0_3_load_30 | 32 | 0.0025582 | 0.00064115 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_333-9_0_3_load_31 | 33 | 0.00088359 | 0.00022145 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_333-9_0_3_load_34 | 34 | 0.00044967 | 0.0001127 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_333-9_0_3_load_33 | 36 | 0.0036686 | 0.00091943 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_333-9_0_3_load_40 | 37 | 0.0018861 | 0.0004727 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_333-9_0_3_load_35 | 38 | 0.0028142 | 0.0007053 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_333-9_0_3_load_36 | 39 | 0.0026901 | 0.00067421 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_333-9_0_3_load_37 | 41 | 0.00048773 | 0.00012224 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_333-9_0_3_load_38 | 42 | 0.00046895 | 0.00011753 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_333-9_0_3_load_41 | 43 | 0.0083969 | 0.0021045 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_333-9_0_3_load_42 | 44 | 0.0080226 | 0.0020106 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_333-9_0_3_load_44 | 46 | 0.0079961 | 0.002004 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_333-9_0_3_load_45 | 47 | 0.002401 | 0.00060174 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_333-9_0_3_load_55 | 48 | 0.0034393 | 0.00086197 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_333-9_0_3_load_56 | 50 | 0.003163 | 0.00079272 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_333-9_0_3_load_57 | 51 | 0.014304 | 0.003585 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_333-9_0_3_load_46 | 54 | 0.0087152 | 0.0021842 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_333-9_0_3_load_47 | 55 | 0.0081677 | 0.002047 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_333-9_0_3_load_49 | 56 | 0.008168 | 0.0020471 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_333-9_0_3_load_53 | 57 | 0.0083315 | 0.0020881 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_333-9_0_3_load_52 | 58 | 0.0081229 | 0.0020358 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_333-9_0_3_load_73 | 59 | 0.0020893 | 0.00052364 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_333-9_0_3_load_54 | 60 | 0.0033448 | 0.00083828 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_333-9_0_3_load_65 | 62 | 0.0021459 | 0.00053781 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_333-9_0_3_load_62 | 63 | 0.00029016 | 7.272e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_333-9_0_3_load_59 | 64 | 0.00043689 | 0.0001095 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_333-9_0_3_load_60 | 65 | 0.0020408 | 0.00051148 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_333-9_0_3_load_61 | 66 | 0.00057505 | 0.00014412 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_333-9_0_3_load_63 | 67 | 0.0014851 | 0.00037219 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_333-9_0_3_load_70 | 68 | 0.0019774 | 0.00049557 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_333-9_0_3_load_69 | 69 | 0.001573 | 0.00039424 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_333-9_0_3_load_68 | 70 | 0.00033871 | 8.4888e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_333-9_0_3_load_66 | 71 | 0.00062846 | 0.00015751 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_333-9_0_3_load_67 | 72 | 0.00042327 | 0.00010608 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_333-9_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.037881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_333-9_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.00075876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_333-9_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.015487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_333-9_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.00060624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_333-9_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.0039958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_333-9_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.045423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_333-9_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.02365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_333-9_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.0373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_333-9_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.051061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_333-9_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.021955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_333-9_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.019793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_333-9_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.032145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_333-9_0_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.027636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_333-9_0_3_line_13 | NAYY 4x150 SE | 12 | 17 | 0.0057273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_333-9_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.012703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_333-9_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.0082222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_333-9_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.00057831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_333-9_0_3_line_17 | NAYY 4x150 SE | 16 | 18 | 0.011899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_333-9_0_3_line_18 | NAYY 4x150 SE | 17 | 22 | 0.026152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_333-9_0_3_line_19 | NAYY 4x150 SE | 17 | 23 | 0.041599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_333-9_0_3_line_20 | NAYY 4x150 SE | 19 | 20 | 0.051241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_333-9_0_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.015853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_333-9_0_3_line_22 | NAYY 4x150 SE | 21 | 59 | 0.032629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_333-9_0_3_line_23 | NAYY 4x150 SE | 21 | 28 | 0.22251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_333-9_0_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.025824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_333-9_0_3_line_25 | NAYY 4x150 SE | 23 | 25 | 0.024172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_333-9_0_3_line_26 | NAYY 4x150 SE | 24 | 26 | 0.011855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_333-9_0_3_line_27 | NAYY 4x150 SE | 24 | 27 | 0.017028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_333-9_0_3_line_28 | NAYY 4x150 SE | 25 | 28 | 0.066926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_333-9_0_3_line_29 | NAYY 4x150 SE | 26 | 29 | 0.028921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_333-9_0_3_line_30 | NAYY 4x150 SE | 27 | 30 | 0.025595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_333-9_0_3_line_31 | NAYY 4x150 SE | 28 | 49 | 0.039563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_333-9_0_3_line_32 | NAYY 4x150 SE | 29 | 31 | 0.0038555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_333-9_0_3_line_33 | NAYY 4x150 SE | 30 | 32 | 0.013767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_333-9_0_3_line_34 | NAYY 4x150 SE | 31 | 33 | 0.026884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_333-9_0_3_line_35 | NAYY 4x150 SE | 32 | 35 | 0.0046389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_333-9_0_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.022731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_333-9_0_3_line_37 | NAYY 4x150 SE | 34 | 37 | 0.0021651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_333-9_0_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.025163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_333-9_0_3_line_39 | NAYY 4x150 SE | 36 | 38 | 0.022695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_333-9_0_3_line_40 | NAYY 4x150 SE | 37 | 40 | 0.04379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_333-9_0_3_line_41 | NAYY 4x150 SE | 38 | 39 | 0.020407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_333-9_0_3_line_42 | NAYY 4x150 SE | 40 | 41 | 0.028055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_333-9_0_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.035033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_333-9_0_3_line_44 | NAYY 4x150 SE | 43 | 44 | 0.033405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_333-9_0_3_line_45 | NAYY 4x150 SE | 43 | 45 | 0.019195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_333-9_0_3_line_46 | NAYY 4x150 SE | 44 | 46 | 0.021932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_333-9_0_3_line_47 | NAYY 4x150 SE | 45 | 47 | 0.011524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_333-9_0_3_line_48 | NAYY 4x150 SE | 45 | 48 | 0.10289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_333-9_0_3_line_49 | NAYY 4x150 SE | 47 | 49 | 0.034635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_333-9_0_3_line_50 | NAYY 4x150 SE | 48 | 50 | 0.0039075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_333-9_0_3_line_51 | NAYY 4x150 SE | 49 | 53 | 0.053302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_333-9_0_3_line_52 | NAYY 4x150 SE | 50 | 51 | 0.017727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_333-9_0_3_line_53 | NAYY 4x150 SE | 51 | 52 | 0.065303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_333-9_0_3_line_54 | NAYY 4x150 SE | 52 | 61 | 0.16156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_333-9_0_3_line_55 | NAYY 4x150 SE | 53 | 56 | 0.0041172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_333-9_0_3_line_56 | NAYY 4x150 SE | 53 | 54 | 0.018933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_333-9_0_3_line_57 | NAYY 4x150 SE | 54 | 55 | 0.0010338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_333-9_0_3_line_58 | NAYY 4x150 SE | 56 | 57 | 0.033618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_333-9_0_3_line_59 | NAYY 4x150 SE | 57 | 58 | 0.032383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_333-9_0_3_line_60 | NAYY 4x150 SE | 58 | 60 | 0.014853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_333-9_0_3_line_61 | NAYY 4x150 SE | 61 | 62 | 0.020751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_333-9_0_3_line_62 | NAYY 4x150 SE | 61 | 63 | 0.025223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_333-9_0_3_line_63 | NAYY 4x150 SE | 62 | 70 | 0.0099126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_333-9_0_3_line_64 | NAYY 4x150 SE | 63 | 65 | 0.0031013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_333-9_0_3_line_65 | NAYY 4x150 SE | 64 | 65 | 0.016212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_333-9_0_3_line_66 | NAYY 4x150 SE | 64 | 66 | 0.033329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_333-9_0_3_line_67 | NAYY 4x150 SE | 66 | 67 | 0.0038304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_333-9_0_3_line_68 | NAYY 4x150 SE | 67 | 68 | 0.012882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_333-9_0_3_line_69 | NAYY 4x150 SE | 68 | 69 | 0.0016979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_333-9_0_3_line_70 | NAYY 4x150 SE | 70 | 71 | 0.0028118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_333-9_0_3_line_71 | NAYY 4x150 SE | 71 | 72 | 0.022788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_333-9_0_3_trafo_49 | 0.25 MVA 20/0.4 kV | 73 | 56 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2631072.2295 | 1226378.327 | 2631072.8361 | 1226406.2118 | 2631073.0545 | 1226416.1989
1 | 2631073.0545 | 1226416.1989 | 2631073.0711 | 1226416.9574
2 | 2631073.0711 | 1226416.9574 | 2631073.4096 | 1226432.4407
3 | 2631073.4096 | 1226432.4407 | 2631073.4228 | 1226433.0468
4 | 2631073.4228 | 1226433.0468 | 2631073.5102 | 1226437.0417
5 | 2631073.5102 | 1226437.0417 | 2631073.7662 | 1226448.7533 | 2631073.8213 | 1226451.2662 | 2631074.4096 | 1226467.7903 | 2631074.8136 | 1226478.9769 | 2631074.937 | 1226482.4414
6 | 2631075.7787 | 1226506.076 | 2631074.937 | 1226482.4414
7 | 2631079.8068 | 1226543.1526 | 2631075.7787 | 1226506.076
8 | 2631075.7787 | 1226506.076 | 2631126.6498 | 1226501.6792
9 | 2631079.8068 | 1226543.1526 | 2631081.7179 | 1226565.0247
10 | 2631079.8068 | 1226543.1526 | 2631070.0639 | 1226543.9022 | 2631062.2427 | 1226545.3067 | 2631060.1815 | 1226545.546
11 | 2631081.7179 | 1226565.0247 | 2631081.9809 | 1226568.0344 | 2631081.8801 | 1226572.8256 | 2631081.544 | 1226589.3004 | 2631081.7266 | 1226597.1512
12 | 2631060.1815 | 1226545.546 | 2631056.7446 | 1226545.9451 | 2631050.4875 | 1226545.3455 | 2631044.898 | 1226544.6382 | 2631035.6568 | 1226542.1886 | 2631033.0632 | 1226541.453
13 | 2631081.8597 | 1226602.8769 | 2631081.7266 | 1226597.1512
14 | 2631020.8418 | 1226537.9872 | 2631033.0632 | 1226541.453
15 | 2631012.8351 | 1226536.1551 | 2631017.3655 | 1226537.0013 | 2631020.8418 | 1226537.9872
16 | 2631012.2666 | 1226536.0489 | 2631012.8351 | 1226536.1551
17 | 2631012.2666 | 1226536.0489 | 2631006.7729 | 1226535.0228 | 2631000.5502 | 1226533.9753
18 | 2631081.8597 | 1226602.8769 | 2631089.8065 | 1226603.5299 | 2631107.1139 | 1226609.0906
19 | 2631081.8597 | 1226602.8769 | 2631078.1443 | 1226626.4495 | 2631073.9337 | 1226638.9128 | 2631071.625 | 1226642.8689
20 | 2630774.9829 | 1226568.5154 | 2630781.0815 | 1226584.4158 | 2630786.0733 | 1226596.6712 | 2630788.0762 | 1226617.5532
21 | 2630789.5898 | 1226633.3335 | 2630788.0762 | 1226617.5532
22 | 2630789.5898 | 1226633.3335 | 2630757.0001 | 1226634.944
23 | 2631002.1905 | 1226698.9863 | 2630789.5898 | 1226633.3335
24 | 2631131.7004 | 1226616.99 | 2631107.1139 | 1226609.0906
25 | 2631071.625 | 1226642.8689 | 2631067.7241 | 1226649.5534 | 2631058.0601 | 1226662.8444
26 | 2631131.7004 | 1226616.99 | 2631142.8981 | 1226620.8811
27 | 2631131.7004 | 1226616.99 | 2631130.5133 | 1226622.2536 | 2631131.2268 | 1226633.8643
28 | 2631002.1905 | 1226698.9863 | 2631020.2725 | 1226690.4308 | 2631045.557 | 1226674.0971 | 2631058.0601 | 1226662.8444
29 | 2631142.8981 | 1226620.8811 | 2631162.1045 | 1226627.5552 | 2631170.0288 | 1226630.8653
30 | 2631131.2268 | 1226633.8643 | 2631132.7344 | 1226658.398 | 2631132.6824 | 1226659.4114
31 | 2631002.1905 | 1226698.9863 | 2631005.9496 | 1226707.7222 | 2631008.6514 | 1226723.001 | 2631010.3269 | 1226737.4406
32 | 2631170.0288 | 1226630.8653 | 2631173.5864 | 1226632.3514
33 | 2631131.9766 | 1226673.1605 | 2631132.6824 | 1226659.4114
34 | 2631173.5864 | 1226632.3514 | 2631198.3934 | 1226642.7137
35 | 2631131.7388 | 1226677.7934 | 2631131.9766 | 1226673.1605
36 | 2631219.3679 | 1226651.4751 | 2631198.3934 | 1226642.7137
37 | 2631221.3657 | 1226652.3096 | 2631219.3679 | 1226651.4751
38 | 2631131.7388 | 1226677.7934 | 2631155.8084 | 1226685.1308
39 | 2631155.8084 | 1226685.1308 | 2631162.278 | 1226687.103 | 2631177.4066 | 1226692.0977
40 | 2631262.359 | 1226667.6822 | 2631230.5129 | 1226656.1305 | 2631221.3657 | 1226652.3096
41 | 2631177.4066 | 1226692.0977 | 2631196.7849 | 1226698.4953
42 | 2631262.359 | 1226667.6822 | 2631247.9414 | 1226686.9849 | 2631245.5452 | 1226690.141
43 | 2631245.5452 | 1226690.141 | 2631231.7322 | 1226708.3349 | 2631229.6931 | 1226711.3038 | 2631224.9932 | 1226718.4917
44 | 2631041.3438 | 1226780.0678 | 2631067.0865 | 1226777.6048 | 2631074.5957 | 1226776.8707
45 | 2631022.2364 | 1226781.896 | 2631041.3438 | 1226780.0678
46 | 2631074.5957 | 1226776.8707 | 2631096.4237 | 1226774.7369
47 | 2631022.2364 | 1226781.896 | 2631018.6181 | 1226770.9552
48 | 2631022.2364 | 1226781.896 | 2631022.7073 | 1226884.7823
49 | 2631010.3269 | 1226737.4406 | 2631011.8063 | 1226748.7885 | 2631016.7301 | 1226765.2462 | 2631018.6181 | 1226770.9552
50 | 2631022.7073 | 1226884.7823 | 2631022.5251 | 1226888.6856
51 | 2631010.3269 | 1226737.4406 | 2631008.6514 | 1226723.001 | 2631047.2604 | 1226719.5222
52 | 2631022.4435 | 1226906.4023 | 2631022.2184 | 1226901.7457 | 2631022.3332 | 1226892.7965 | 2631022.5251 | 1226888.6856
53 | 2631041.6956 | 1226968.5317 | 2631035.0593 | 1226947.7291 | 2631028.5227 | 1226932.4859 | 2631023.6456 | 1226915.8282 | 2631022.6426 | 1226910.5198 | 2631022.4435 | 1226906.4023
54 | 2630883.958 | 1226933.5911 | 2631041.6956 | 1226968.5317
55 | 2631047.2604 | 1226719.5222 | 2631049.9445 | 1226719.2804 | 2631051.3663 | 1226719.246
56 | 2631047.2604 | 1226719.5222 | 2631048.8424 | 1226738.3889
57 | 2631048.8424 | 1226738.3889 | 2631048.9288 | 1226739.4191
58 | 2631051.3663 | 1226719.246 | 2631084.9748 | 1226718.4314
59 | 2631103.882 | 1226734.6805 | 2631102.5477 | 1226725.225 | 2631101.8943 | 1226721.1858 | 2631100.9449 | 1226718.6794 | 2631099.0154 | 1226718.0912 | 2631084.9748 | 1226718.4314
60 | 2631103.882 | 1226734.6805 | 2631105.9575 | 1226749.3877
61 | 2630883.958 | 1226933.5911 | 2630881.1643 | 1226940.3807 | 2630876.5991 | 1226946.7942 | 2630872.632 | 1226950.6566
62 | 2630883.958 | 1226933.5911 | 2630885.2629 | 1226930.4071 | 2630888.211 | 1226920.1495 | 2630889.5969 | 1226913.0413 | 2630889.9283 | 1226909.1881
63 | 2630872.632 | 1226950.6566 | 2630869.4316 | 1226953.7724 | 2630865.0717 | 1226957.0358
64 | 2630889.9283 | 1226909.1881 | 2630890.1941 | 1226906.0981
65 | 2630891.5013 | 1226889.9393 | 2630890.9276 | 1226897.5722 | 2630890.1941 | 1226906.0981
66 | 2630891.5013 | 1226889.9393 | 2630891.7579 | 1226886.5255 | 2630893.0403 | 1226861.3614 | 2630893.7039 | 1226856.6993
67 | 2630893.7039 | 1226856.6993 | 2630894.2437 | 1226852.907 | 2630894.2437 | 1226852.907
68 | 2630894.2437 | 1226852.907 | 2630896.698 | 1226844.3702 | 2630898.2545 | 1226840.6859
69 | 2630898.9153 | 1226839.1219 | 2630898.2545 | 1226840.6859
70 | 2630862.8207 | 1226958.7207 | 2630865.0717 | 1226957.0358
71 | 2630862.8207 | 1226958.7207 | 2630844.5768 | 1226972.3763

## bus_geodata
| x | y | coords
0 | 2631072.2295 | 1226378.327
1 | 2631073.0545 | 1226416.1989
2 | 2631073.0711 | 1226416.9574
3 | 2631073.4096 | 1226432.4407
4 | 2631073.4228 | 1226433.0468
5 | 2631073.5102 | 1226437.0417
6 | 2631074.937 | 1226482.4414
7 | 2631075.7787 | 1226506.076
8 | 2631079.8068 | 1226543.1526
9 | 2631126.6498 | 1226501.6792
10 | 2631081.7179 | 1226565.0247
11 | 2631060.1815 | 1226545.546
12 | 2631081.7266 | 1226597.1512
13 | 2631033.0632 | 1226541.453
14 | 2631020.8418 | 1226537.9872
15 | 2631012.8351 | 1226536.1551
16 | 2631012.2666 | 1226536.0489
17 | 2631081.8597 | 1226602.8769
18 | 2631000.5502 | 1226533.9753
19 | 2630774.9829 | 1226568.5154
20 | 2630788.0762 | 1226617.5532
21 | 2630789.5898 | 1226633.3335
22 | 2631107.1139 | 1226609.0906
23 | 2631071.625 | 1226642.8689
24 | 2631131.7004 | 1226616.99
25 | 2631058.0601 | 1226662.8444
26 | 2631142.8981 | 1226620.8811
27 | 2631131.2268 | 1226633.8643
28 | 2631002.1905 | 1226698.9863
29 | 2631170.0288 | 1226630.8653
30 | 2631132.6824 | 1226659.4114
31 | 2631173.5864 | 1226632.3514
32 | 2631131.9766 | 1226673.1605
33 | 2631198.3934 | 1226642.7137
34 | 2631219.3679 | 1226651.4751
35 | 2631131.7388 | 1226677.7934
36 | 2631155.8084 | 1226685.1308
37 | 2631221.3657 | 1226652.3096
38 | 2631177.4066 | 1226692.0977
39 | 2631196.7849 | 1226698.4953
40 | 2631262.359 | 1226667.6822
41 | 2631245.5452 | 1226690.141
42 | 2631224.9932 | 1226718.4917
43 | 2631041.3438 | 1226780.0678
44 | 2631074.5957 | 1226776.8707
45 | 2631022.2364 | 1226781.896
46 | 2631096.4237 | 1226774.7369
47 | 2631018.6181 | 1226770.9552
48 | 2631022.7073 | 1226884.7823
49 | 2631010.3269 | 1226737.4406
50 | 2631022.5251 | 1226888.6856
51 | 2631022.4435 | 1226906.4023
52 | 2631041.6956 | 1226968.5317
53 | 2631047.2604 | 1226719.5222
54 | 2631048.8424 | 1226738.3889
55 | 2631048.9288 | 1226739.4191
56 | 2631051.3663 | 1226719.246
57 | 2631084.9748 | 1226718.4314
58 | 2631103.882 | 1226734.6805
59 | 2630757.0001 | 1226634.944
60 | 2631105.9575 | 1226749.3877
61 | 2630883.958 | 1226933.5911
62 | 2630872.632 | 1226950.6566
63 | 2630889.9283 | 1226909.1881
64 | 2630891.5013 | 1226889.9393
65 | 2630890.1941 | 1226906.0981
66 | 2630893.7039 | 1226856.6993
67 | 2630894.2437 | 1226852.907
68 | 2630898.2545 | 1226840.6859
69 | 2630898.9153 | 1226839.1219
70 | 2630865.0717 | 1226957.0358
71 | 2630862.8207 | 1226958.7207
72 | 2630844.5768 | 1226972.3763
73 | 2631047.2604 | 1226719.5222

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1