## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_337-14_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_337-14_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_337-14_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_337-14_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_337-14_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_337-14_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_337-14_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_337-14_0_3_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_337-14_0_3_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_337-14_0_3_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_337-14_0_3_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_337-14_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_337-14_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_337-14_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_337-14_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_337-14_0_3_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_337-14_0_3_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_337-14_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_337-14_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_337-14_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_337-14_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_337-14_0_3_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_337-14_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_337-14_0_3_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_337-14_0_3_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_337-14_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_337-14_0_3_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_337-14_0_3_node_59 | 0.4 | n |  | TRUE
28 | bus_LV_337-14_0_3_node_77 | 0.4 | n |  | TRUE
29 | bus_LV_337-14_0_3_node_78 | 0.4 | n |  | TRUE
30 | bus_LV_337-14_0_3_node_79 | 0.4 | n |  | TRUE
31 | bus_LV_337-14_0_3_node_80 | 0.4 | n |  | TRUE
32 | bus_LV_337-14_0_3_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_337-14_0_3_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_337-14_0_3_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_337-14_0_3_node_64 | 0.4 | n |  | TRUE
36 | bus_LV_337-14_0_3_node_65 | 0.4 | n |  | TRUE
37 | bus_LV_337-14_0_3_node_63 | 0.4 | n |  | TRUE
38 | bus_LV_337-14_0_3_node_66 | 0.4 | n |  | TRUE
39 | bus_LV_337-14_0_3_node_67 | 0.4 | n |  | TRUE
40 | bus_LV_337-14_0_3_node_68 | 0.4 | n |  | TRUE
41 | bus_LV_337-14_0_3_node_69 | 0.4 | n |  | TRUE
42 | bus_LV_337-14_0_3_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_337-14_0_3_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_337-14_0_3_node_61 | 0.4 | n |  | TRUE
45 | bus_LV_337-14_0_3_node_62 | 0.4 | n |  | TRUE
46 | bus_LV_337-14_0_3_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_337-14_0_3_node_23 | 0.4 | n |  | TRUE
48 | bus_LV_337-14_0_3_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_337-14_0_3_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_337-14_0_3_node_26 | 0.4 | n |  | TRUE
51 | bus_LV_337-14_0_3_node_27 | 0.4 | n |  | TRUE
52 | bus_LV_337-14_0_3_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_337-14_0_3_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_337-14_0_3_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_337-14_0_3_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_337-14_0_3_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_337-14_0_3_node_70 | 0.4 | n |  | TRUE
58 | bus_LV_337-14_0_3_node_71 | 0.4 | n |  | TRUE
59 | bus_LV_337-14_0_3_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_337-14_0_3_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_337-14_0_3_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_337-14_0_3_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_337-14_0_3_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_337-14_0_3_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_337-14_0_3_node_74 | 0.4 | n |  | TRUE
66 | bus_LV_337-14_0_3_node_76 | 0.4 | n |  | TRUE
67 | bus_LV_337-14_0_3_node_72 | 0.4 | n |  | TRUE
68 | bus_LV_337-14_0_3_node_46 | 0.4 | n |  | TRUE
69 | bus_LV_337-14_0_3_node_47 | 0.4 | n |  | TRUE
70 | bus_LV_337-14_0_3_node_49 | 0.4 | n |  | TRUE
71 | bus_LV_337-14_0_3_node_54 | 0.4 | n |  | TRUE
72 | bus_LV_337-14_0_3_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_337-14_0_3_node_86 | 0.4 | n |  | TRUE
74 | bus_LV_337-14_0_3_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_337-14_0_3_node_52 | 0.4 | n |  | TRUE
76 | bus_LV_337-14_0_3_node_56 | 0.4 | n |  | TRUE
77 | bus_LV_337-14_0_3_node_51 | 0.4 | n |  | TRUE
78 | bus_LV_337-14_0_3_node_53 | 0.4 | n |  | TRUE
79 | bus_LV_337-14_0_3_node_84 | 0.4 | n |  | TRUE
80 | bus_LV_337-14_0_3_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_337-14_0_3_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_337-14_0_3_node_98 | 0.4 | n |  | TRUE
83 | bus_LV_337-14_0_3_node_99 | 0.4 | n |  | TRUE
84 | bus_LV_337-14_0_3_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_337-14_0_3_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_337-14_0_3_node_95 | 0.4 | n |  | TRUE
87 | bus_LV_337-14_0_3_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_337-14_0_3_node_94 | 0.4 | n |  | TRUE
89 | bus_LV_337-14_0_3_node_85 | 0.4 | n |  | TRUE
90 | bus_LV_337-14_0_3_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_337-14_0_3_node_88 | 0.4 | n |  | TRUE
92 | bus_LV_337-14_0_3_node_89 | 0.4 | n |  | TRUE
93 | bus_LV_337-14_0_3_node_90 | 0.4 | n |  | TRUE
94 | bus_LV_337-14_0_3_node_91 | 0.4 | n |  | TRUE
95 | bus_LV_337-14_0_3_node_96 | 0.4 | n |  | TRUE
96 | bus_LV_337-14_0_3_node_97 | 0.4 | n |  | TRUE
97 | bus_LV_337-14_0_3_node_92 | 0.4 | n |  | TRUE
98 | bus_LV_337-14_0_3_node_93 | 0.4 | n |  | TRUE
99 | bus_LV_337-14_0_3_node_103 | 0.4 | n |  | TRUE
100 | bus_LV_337-14_0_3_node_102 | 0.4 | n |  | TRUE
101 | bus_LV_337-14_0_3_node_100 | 0.4 | n |  | TRUE
102 | bus_LV_337-14_0_3_node_101 | 0.4 | n |  | TRUE
103 | bus_MV_475_1_node_287 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_337-14_0_3_load_0 | 0 | 0.0024367 | 0.00061069 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_337-14_0_3_load_1 | 1 | 0.00045887 | 0.000115 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_337-14_0_3_load_2 | 2 | 0.002374 | 0.00059499 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_337-14_0_3_load_3 | 3 | 0.0011883 | 0.00029782 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_337-14_0_3_load_5 | 5 | 0.0002272 | 5.6942e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_337-14_0_3_load_6 | 6 | 0.00061235 | 0.00015347 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_337-14_0_3_load_21 | 7 | 0.0023043 | 0.0005775 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_337-14_0_3_load_29 | 8 | 0.00019005 | 4.7632e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_337-14_0_3_load_28 | 10 | 0.00034383 | 8.6173e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_337-14_0_3_load_7 | 11 | 0.0010668 | 0.00026736 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_337-14_0_3_load_8 | 12 | 0.0024286 | 0.00060867 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_337-14_0_3_load_10 | 14 | 0.0030405 | 0.00076201 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_337-14_0_3_load_16 | 16 | 0.0017597 | 0.00044103 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_337-14_0_3_load_14 | 17 | 0.0019407 | 0.00048639 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_337-14_0_3_load_15 | 18 | 0.0037934 | 0.00095071 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_337-14_0_3_load_12 | 19 | 0.0023221 | 0.00058197 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_337-14_0_3_load_11 | 20 | 0.0028806 | 0.00072195 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_337-14_0_3_load_18 | 21 | 0.00027629 | 6.9246e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_337-14_0_3_load_13 | 22 | 0.0027989 | 0.00070147 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_337-14_0_3_load_24 | 23 | 0.00031179 | 7.8142e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_337-14_0_3_load_25 | 24 | 0.0002732 | 6.847e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_337-14_0_3_load_20 | 26 | 0.0047134 | 0.0011813 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_337-14_0_3_load_59 | 27 | 0.0020296 | 0.00050865 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_337-14_0_3_load_77 | 28 | 0.0012655 | 0.00031717 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_337-14_0_3_load_78 | 29 | 0.0028945 | 0.00072544 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_337-14_0_3_load_79 | 30 | 0.0024281 | 0.00060854 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_337-14_0_3_load_80 | 31 | 0.0024605 | 0.00061665 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_337-14_0_3_load_39 | 32 | 0.0027148 | 0.00068038 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_337-14_0_3_load_40 | 33 | 0.0028602 | 0.00071684 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_337-14_0_3_load_41 | 34 | 0.0036336 | 0.00091066 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_337-14_0_3_load_64 | 35 | 0.0023518 | 0.00058941 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_337-14_0_3_load_65 | 36 | 0.0020944 | 0.00052489 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_337-14_0_3_load_63 | 37 | 0.0011845 | 0.00029687 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_337-14_0_3_load_66 | 38 | 0.0029804 | 0.00074695 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_337-14_0_3_load_67 | 39 | 0.0018286 | 0.00045828 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_337-14_0_3_load_68 | 40 | 0.0018434 | 0.000462 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_337-14_0_3_load_69 | 41 | 0.0028643 | 0.00071787 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_337-14_0_3_load_57 | 42 | 0.0015763 | 0.00039507 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_337-14_0_3_load_42 | 43 | 0.0029067 | 0.0007285 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_337-14_0_3_load_61 | 44 | 0.001239 | 0.00031052 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_337-14_0_3_load_62 | 45 | 0.0031105 | 0.00077955 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_337-14_0_3_load_55 | 46 | 0.0028015 | 0.00070211 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_337-14_0_3_load_23 | 47 | 0.00041499 | 0.00010401 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_337-14_0_3_load_31 | 48 | 0.00040943 | 0.00010261 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_337-14_0_3_load_30 | 49 | 0.0030049 | 0.00075311 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_337-14_0_3_load_26 | 50 | 0.00048038 | 0.00012039 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_337-14_0_3_load_27 | 51 | 0.0030283 | 0.00075896 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_337-14_0_3_load_32 | 52 | 0.002458 | 0.00061603 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_337-14_0_3_load_33 | 53 | 0.0032684 | 0.00081914 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_337-14_0_3_load_35 | 54 | 0.005985 | 0.0015 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_337-14_0_3_load_37 | 55 | 0.0025036 | 0.00062746 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_337-14_0_3_load_34 | 56 | 0.0020527 | 0.00051445 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_337-14_0_3_load_70 | 57 | 0.0010472 | 0.00026247 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_337-14_0_3_load_71 | 58 | 0.0073305 | 0.0018372 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_337-14_0_3_load_38 | 59 | 0.0042985 | 0.0010773 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_337-14_0_3_load_50 | 60 | 0.0028069 | 0.00070348 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_337-14_0_3_load_48 | 61 | 0.0025586 | 0.00064126 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_337-14_0_3_load_43 | 62 | 0.0014936 | 0.00037434 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_337-14_0_3_load_44 | 63 | 0.00088377 | 0.00022149 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_337-14_0_3_load_45 | 64 | 0.0011646 | 0.00029188 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_337-14_0_3_load_76 | 66 | 0.0020906 | 0.00052394 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_337-14_0_3_load_72 | 67 | 0.001168 | 0.00029272 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_337-14_0_3_load_46 | 68 | 0.00097713 | 0.00024489 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_337-14_0_3_load_49 | 70 | 0.0015193 | 0.00038078 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_337-14_0_3_load_54 | 71 | 0.0016974 | 0.0004254 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_337-14_0_3_load_86 | 73 | 0.0016551 | 0.00041481 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_337-14_0_3_load_58 | 74 | 0.0016247 | 0.0004072 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_337-14_0_3_load_52 | 75 | 0.001462 | 0.00036641 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_337-14_0_3_load_56 | 76 | 0.001564 | 0.00039199 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_337-14_0_3_load_51 | 77 | 0.0019515 | 0.00048908 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_337-14_0_3_load_53 | 78 | 0.0017324 | 0.00043417 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_337-14_0_3_load_84 | 79 | 0.0028072 | 0.00070355 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_337-14_0_3_load_73 | 80 | 0.001342 | 0.00033634 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_337-14_0_3_load_75 | 81 | 0.0010154 | 0.00025448 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_337-14_0_3_load_98 | 82 | 0.00095168 | 0.00023851 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_337-14_0_3_load_99 | 83 | 0.0020309 | 0.00050899 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_337-14_0_3_load_81 | 84 | 0.0020542 | 0.00051484 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_337-14_0_3_load_82 | 85 | 0.001558 | 0.00039046 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_337-14_0_3_load_95 | 86 | 0.0034841 | 0.00087321 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_337-14_0_3_load_83 | 87 | 0.001879 | 0.00047093 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_337-14_0_3_load_94 | 88 | 0.0020889 | 0.00052353 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_337-14_0_3_load_85 | 89 | 0.0020133 | 0.00050457 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_337-14_0_3_load_87 | 90 | 0.001831 | 0.00045888 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_337-14_0_3_load_88 | 91 | 0.0021514 | 0.0005392 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_337-14_0_3_load_89 | 92 | 0.0030803 | 0.000772 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_337-14_0_3_load_90 | 93 | 0.001791 | 0.00044886 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_337-14_0_3_load_91 | 94 | 0.0023282 | 0.00058351 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_337-14_0_3_load_96 | 95 | 0.0009331 | 0.00023386 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_337-14_0_3_load_97 | 96 | 0.0039931 | 0.0010008 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_337-14_0_3_load_92 | 97 | 0.0022767 | 0.0005706 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_337-14_0_3_load_93 | 98 | 0.0021156 | 0.00053021 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_337-14_0_3_load_103 | 99 | 0.00083788 | 0.00020999 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_337-14_0_3_load_102 | 100 | 0.00081777 | 0.00020495 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_337-14_0_3_load_100 | 101 | 0.0009427 | 0.00023626 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_337-14_0_3_load_101 | 102 | 0.0012156 | 0.00030467 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_337-14_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0040953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_337-14_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.013274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_337-14_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.00096384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_337-14_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.014172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_337-14_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.018406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_337-14_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.01558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_337-14_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0028945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_337-14_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0085007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_337-14_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.029465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_337-14_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.022848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_337-14_0_3_line_10 | NAYY 4x150 SE | 9 | 47 | 0.014073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_337-14_0_3_line_11 | NAYY 4x150 SE | 10 | 51 | 0.0040954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_337-14_0_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.018628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_337-14_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.03098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_337-14_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.023358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_337-14_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.068316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_337-14_0_3_line_16 | NAYY 4x150 SE | 15 | 21 | 0.028673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_337-14_0_3_line_17 | NAYY 4x150 SE | 15 | 18 | 0.018881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_337-14_0_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.0069999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_337-14_0_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.021972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_337-14_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.008063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_337-14_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.015967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_337-14_0_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.0027491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_337-14_0_3_line_23 | NAYY 4x150 SE | 21 | 23 | 0.0086163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_337-14_0_3_line_24 | NAYY 4x150 SE | 23 | 24 | 0.023938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_337-14_0_3_line_25 | NAYY 4x150 SE | 24 | 50 | 0.0039961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_337-14_0_3_line_26 | NAYY 4x150 SE | 25 | 26 | 0.018072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_337-14_0_3_line_27 | NAYY 4x150 SE | 26 | 27 | 0.025325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_337-14_0_3_line_28 | NAYY 4x150 SE | 27 | 42 | 0.021687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_337-14_0_3_line_29 | NAYY 4x150 SE | 28 | 29 | 0.0080255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_337-14_0_3_line_30 | NAYY 4x150 SE | 28 | 30 | 0.0053094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_337-14_0_3_line_31 | NAYY 4x150 SE | 29 | 31 | 0.002021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_337-14_0_3_line_32 | NAYY 4x150 SE | 30 | 84 | 0.023594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_337-14_0_3_line_33 | NAYY 4x150 SE | 32 | 33 | 0.017331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_337-14_0_3_line_34 | NAYY 4x150 SE | 32 | 34 | 0.023075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_337-14_0_3_line_35 | NAYY 4x150 SE | 34 | 43 | 0.023092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_337-14_0_3_line_36 | NAYY 4x150 SE | 35 | 36 | 0.0010734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_337-14_0_3_line_37 | NAYY 4x150 SE | 35 | 37 | 0.022594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_337-14_0_3_line_38 | NAYY 4x150 SE | 36 | 38 | 0.0093222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_337-14_0_3_line_39 | NAYY 4x150 SE | 37 | 45 | 0.0039079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_337-14_0_3_line_40 | NAYY 4x150 SE | 38 | 39 | 0.014032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_337-14_0_3_line_41 | NAYY 4x150 SE | 39 | 40 | 0.00020667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_337-14_0_3_line_42 | NAYY 4x150 SE | 40 | 41 | 0.034621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_337-14_0_3_line_43 | NAYY 4x150 SE | 41 | 58 | 0.055709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_337-14_0_3_line_44 | NAYY 4x150 SE | 41 | 59 | 0.017368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_337-14_0_3_line_45 | NAYY 4x150 SE | 42 | 76 | 0.023492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_337-14_0_3_line_46 | NAYY 4x150 SE | 43 | 60 | 0.035249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_337-14_0_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.0042274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_337-14_0_3_line_48 | NAYY 4x150 SE | 44 | 46 | 0.018207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_337-14_0_3_line_49 | NAYY 4x150 SE | 46 | 78 | 0.025272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_337-14_0_3_line_50 | NAYY 4x150 SE | 47 | 48 | 0.0078626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_337-14_0_3_line_51 | NAYY 4x150 SE | 48 | 49 | 0.021949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_337-14_0_3_line_52 | NAYY 4x150 SE | 49 | 52 | 0.019806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_337-14_0_3_line_53 | NAYY 4x150 SE | 50 | 51 | 0.032884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_337-14_0_3_line_54 | NAYY 4x150 SE | 52 | 53 | 0.015706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_337-14_0_3_line_55 | NAYY 4x150 SE | 53 | 57 | 0.010329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_337-14_0_3_line_56 | NAYY 4x150 SE | 54 | 55 | 0.022212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_337-14_0_3_line_57 | NAYY 4x150 SE | 54 | 56 | 0.024636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_337-14_0_3_line_58 | NAYY 4x150 SE | 55 | 59 | 0.004706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_337-14_0_3_line_59 | NAYY 4x150 SE | 57 | 58 | 0.0079603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_337-14_0_3_line_60 | NAYY 4x150 SE | 60 | 61 | 0.022922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_337-14_0_3_line_61 | NAYY 4x150 SE | 61 | 69 | 0.016074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_337-14_0_3_line_62 | NAYY 4x150 SE | 62 | 63 | 0.02192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_337-14_0_3_line_63 | NAYY 4x150 SE | 63 | 64 | 0.038437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_337-14_0_3_line_64 | NAYY 4x150 SE | 64 | 68 | 0.031572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_337-14_0_3_line_65 | NAYY 4x150 SE | 65 | 66 | 0.030892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_337-14_0_3_line_66 | NAYY 4x150 SE | 65 | 67 | 0.011733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_337-14_0_3_line_67 | NAYY 4x150 SE | 66 | 72 | 0.01699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_337-14_0_3_line_68 | NAYY 4x150 SE | 67 | 80 | 0.0063939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_337-14_0_3_line_69 | NAYY 4x150 SE | 68 | 69 | 0.039165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_337-14_0_3_line_70 | NAYY 4x150 SE | 69 | 70 | 0.017911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_337-14_0_3_line_71 | NAYY 4x150 SE | 70 | 71 | 0.012395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_337-14_0_3_line_72 | NAYY 4x150 SE | 71 | 75 | 0.013568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_337-14_0_3_line_73 | NAYY 4x150 SE | 72 | 73 | 0.040279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_337-14_0_3_line_74 | NAYY 4x150 SE | 72 | 74 | 0.017107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_337-14_0_3_line_75 | NAYY 4x150 SE | 73 | 79 | 0.010929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_337-14_0_3_line_76 | NAYY 4x150 SE | 74 | 75 | 0.039552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
77 | LV_337-14_0_3_line_77 | NAYY 4x150 SE | 74 | 76 | 0.00055295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
78 | LV_337-14_0_3_line_78 | NAYY 4x150 SE | 75 | 77 | 0.026433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
79 | LV_337-14_0_3_line_79 | NAYY 4x150 SE | 77 | 78 | 0.0041933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
80 | LV_337-14_0_3_line_80 | NAYY 4x150 SE | 79 | 89 | 0.00034883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_337-14_0_3_line_81 | NAYY 4x150 SE | 80 | 81 | 0.024563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_337-14_0_3_line_82 | NAYY 4x150 SE | 81 | 82 | 0.024449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_337-14_0_3_line_83 | NAYY 4x150 SE | 82 | 83 | 0.0016263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_337-14_0_3_line_84 | NAYY 4x150 SE | 83 | 101 | 0.0051119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_337-14_0_3_line_85 | NAYY 4x150 SE | 84 | 85 | 0.0032255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_337-14_0_3_line_86 | NAYY 4x150 SE | 85 | 87 | 0.023825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_337-14_0_3_line_87 | NAYY 4x150 SE | 86 | 87 | 0.025858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_337-14_0_3_line_88 | NAYY 4x150 SE | 86 | 88 | 0.0102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_337-14_0_3_line_89 | NAYY 4x150 SE | 88 | 98 | 0.0025148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_337-14_0_3_line_90 | NAYY 4x150 SE | 89 | 90 | 0.024132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_337-14_0_3_line_91 | NAYY 4x150 SE | 90 | 91 | 0.01144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_337-14_0_3_line_92 | NAYY 4x150 SE | 91 | 92 | 0.024461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_337-14_0_3_line_93 | NAYY 4x150 SE | 92 | 93 | 0.021118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_337-14_0_3_line_94 | NAYY 4x150 SE | 93 | 94 | 0.021231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_337-14_0_3_line_95 | NAYY 4x150 SE | 94 | 97 | 0.0019954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_337-14_0_3_line_96 | NAYY 4x150 SE | 95 | 96 | 0.017655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_337-14_0_3_line_97 | NAYY 4x150 SE | 96 | 99 | 0.067243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_337-14_0_3_line_98 | NAYY 4x150 SE | 97 | 98 | 0.017851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_337-14_0_3_line_99 | NAYY 4x150 SE | 99 | 100 | 0.0076266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_337-14_0_3_line_100 | NAYY 4x150 SE | 100 | 102 | 0.009078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_337-14_0_3_line_101 | NAYY 4x150 SE | 101 | 102 | 0.027278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_337-14_0_3_trafo_19 | 0.25 MVA 20/0.4 kV | 103 | 25 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2628512.3444 | 1232057.032 | 2628508.8292 | 1232054.9309
1 | 2628512.3444 | 1232057.032 | 2628520.0809 | 1232061.6565 | 2628523.7376 | 1232063.8432
2 | 2628508.0019 | 1232054.4364 | 2628508.8292 | 1232054.9309
3 | 2628495.837 | 1232047.1649 | 2628508.0019 | 1232054.4364
4 | 2628495.837 | 1232047.1649 | 2628479.158 | 1232039.3819
5 | 2628495.837 | 1232047.1649 | 2628499.3513 | 1232031.9867
6 | 2628476.535 | 1232038.1579 | 2628479.158 | 1232039.3819
7 | 2628499.3513 | 1232031.9867 | 2628501.2688 | 1232023.7051
8 | 2628449.8343 | 1232025.6985 | 2628476.535 | 1232038.1579
9 | 2628506.4226 | 1232001.4456 | 2628501.2688 | 1232023.7051
10 | 2628449.8343 | 1232025.6985 | 2628452.8889 | 1232011.9614
11 | 2628506.4226 | 1232001.4456 | 2628507.3464 | 1231997.4557
12 | 2628517.2768 | 1231820.9664 | 2628504.1237 | 1231814.1067 | 2628500.5784 | 1231812.7558
13 | 2628544.7454 | 1231835.292 | 2628517.2768 | 1231820.9664
14 | 2628479.7031 | 1231802.4111 | 2628492.7181 | 1231809.7606 | 2628500.5784 | 1231812.7558
15 | 2628529.2896 | 1231901.8363 | 2628544.7454 | 1231835.292
16 | 2628529.2896 | 1231901.8363 | 2628527.9169 | 1231908.6116 | 2628523.0085 | 1231929.811
17 | 2628529.2896 | 1231901.8363 | 2628511.3569 | 1231895.9274
18 | 2628483.8398 | 1231886.8604 | 2628490.4881 | 1231889.051
19 | 2628511.3569 | 1231895.9274 | 2628490.4881 | 1231889.051
20 | 2628476.1819 | 1231884.3371 | 2628483.8398 | 1231886.8604
21 | 2628460.9615 | 1231879.5369 | 2628463.3801 | 1231880.1188 | 2628476.1819 | 1231884.3371
22 | 2628460.9615 | 1231879.5369 | 2628458.2887 | 1231878.8938
23 | 2628521.065 | 1231938.2052 | 2628523.0085 | 1231929.811
24 | 2628521.065 | 1231938.2052 | 2628515.6653 | 1231961.5265
25 | 2628514.7639 | 1231965.4196 | 2628515.6653 | 1231961.5265
26 | 2628359.5012 | 1231860.4445 | 2628341.5982 | 1231857.9821
27 | 2628341.5982 | 1231857.9821 | 2628316.5093 | 1231854.5313
28 | 2628316.5093 | 1231854.5313 | 2628295.0244 | 1231851.5761
29 | 2628371.3839 | 1231802.6017 | 2628369.7689 | 1231810.4631
30 | 2628371.3839 | 1231802.6017 | 2628372.4523 | 1231797.4009
31 | 2628369.7689 | 1231810.4631 | 2628369.3622 | 1231812.4427
32 | 2628376.0071 | 1231774.1049 | 2628374.734 | 1231786.2941 | 2628372.4523 | 1231797.4009
33 | 2628342.8774 | 1231972.9865 | 2628358.323 | 1231980.8477
34 | 2628342.8774 | 1231972.9865 | 2628322.3125 | 1231962.5197
35 | 2628301.7331 | 1231952.0455 | 2628322.3125 | 1231962.5197
36 | 2628363.7541 | 1231902.9201 | 2628362.6945 | 1231902.7485
37 | 2628340.3915 | 1231899.1366 | 2628362.6945 | 1231902.7485
38 | 2628372.946 | 1231904.4672 | 2628371.5596 | 1231904.1842 | 2628363.7541 | 1231902.9201
39 | 2628340.3915 | 1231899.1366 | 2628336.5339 | 1231898.5118
40 | 2628372.946 | 1231904.4672 | 2628386.6947 | 1231907.2731
41 | 2628386.8971 | 1231907.3144 | 2628386.6947 | 1231907.2731
42 | 2628386.8971 | 1231907.3144 | 2628412.0005 | 1231912.4376 | 2628416.2256 | 1231920.3849
43 | 2628471.0376 | 1231930.3416 | 2628416.2256 | 1231920.3849
44 | 2628412.4147 | 1231937.3294 | 2628416.2256 | 1231920.3849 | 2628416.2256 | 1231920.3849
45 | 2628271.7518 | 1231848.3751 | 2628295.0244 | 1231851.5761
46 | 2628301.7331 | 1231952.0455 | 2628270.3193 | 1231936.057
47 | 2628332.3608 | 1231897.836 | 2628336.5339 | 1231898.5118
48 | 2628314.3884 | 1231894.9254 | 2628332.3608 | 1231897.836
49 | 2628289.441 | 1231890.8851 | 2628314.3884 | 1231894.9254
50 | 2628452.8889 | 1232011.9614 | 2628454.5955 | 1232004.2863
51 | 2628459.3596 | 1231982.8605 | 2628454.5955 | 1232004.2863
52 | 2628459.3596 | 1231982.8605 | 2628463.6587 | 1231963.5266
53 | 2628514.7639 | 1231965.4196 | 2628507.3464 | 1231997.4557
54 | 2628463.6587 | 1231963.5266 | 2628467.0677 | 1231948.1953
55 | 2628469.3097 | 1231938.1121 | 2628467.0677 | 1231948.1953
56 | 2628406.5083 | 1231963.591 | 2628411.3821 | 1231941.9207
57 | 2628401.1025 | 1231987.6268 | 2628406.5083 | 1231963.591
58 | 2628412.4147 | 1231937.3294 | 2628411.3821 | 1231941.9207
59 | 2628471.0376 | 1231930.3416 | 2628469.3097 | 1231938.1121
60 | 2628270.3193 | 1231936.057 | 2628249.8913 | 1231925.6599
61 | 2628235.5659 | 1231918.3688 | 2628249.8913 | 1231925.6599
62 | 2628117.8688 | 1231860.6377 | 2628137.5491 | 1231870.291
63 | 2628137.5491 | 1231870.291 | 2628172.0582 | 1231887.2179
64 | 2628172.0582 | 1231887.2179 | 2628200.4036 | 1231901.1214
65 | 2628206.9664 | 1231838.4623 | 2628237.4765 | 1231843.3052
66 | 2628206.9664 | 1231838.4623 | 2628209.0994 | 1231826.9244
67 | 2628254.2567 | 1231845.9688 | 2628237.4765 | 1231843.3052
68 | 2628209.0994 | 1231826.9244 | 2628210.2618 | 1231820.637
69 | 2628235.5659 | 1231918.3688 | 2628200.4036 | 1231901.1214
70 | 2628235.5659 | 1231918.3688 | 2628242.2635 | 1231901.7568
71 | 2628242.2635 | 1231901.7568 | 2628246.8984 | 1231890.2609
72 | 2628246.8984 | 1231890.2609 | 2628246.8984 | 1231890.2609 | 2628255.8488 | 1231885.4449 | 2628259.2091 | 1231885.9891
73 | 2628254.2567 | 1231845.9688 | 2628261.7257 | 1231806.3886
74 | 2628254.2567 | 1231845.9688 | 2628271.204 | 1231848.2998
75 | 2628263.7523 | 1231795.6488 | 2628261.7257 | 1231806.3886
76 | 2628271.204 | 1231848.2998 | 2628259.2091 | 1231885.9891
77 | 2628271.7518 | 1231848.3751 | 2628271.204 | 1231848.2998
78 | 2628285.3017 | 1231890.2148 | 2628259.2091 | 1231885.9891
79 | 2628285.3017 | 1231890.2148 | 2628289.441 | 1231890.8851
80 | 2628263.817 | 1231795.306 | 2628263.7523 | 1231795.6488
81 | 2628214.7271 | 1231796.4834 | 2628210.2618 | 1231820.637
82 | 2628214.7271 | 1231796.4834 | 2628219.1716 | 1231772.4421
83 | 2628219.4673 | 1231770.8429 | 2628219.1716 | 1231772.4421
84 | 2628219.4673 | 1231770.8429 | 2628220.3966 | 1231765.8162
85 | 2628376.0071 | 1231774.1049 | 2628376.3422 | 1231770.8969
86 | 2628370.8297 | 1231752.2992 | 2628378.0267 | 1231754.7683 | 2628376.3422 | 1231770.8969
87 | 2628346.0429 | 1231744.9322 | 2628370.8297 | 1231752.2992
88 | 2628346.0429 | 1231744.9322 | 2628335.9878 | 1231743.22
89 | 2628333.5087 | 1231742.7978 | 2628335.9878 | 1231743.22
90 | 2628263.817 | 1231795.306 | 2628268.2918 | 1231771.5929
91 | 2628268.2918 | 1231771.5929 | 2628270.413 | 1231760.3518
92 | 2628270.413 | 1231760.3518 | 2628274.9488 | 1231736.3153
93 | 2628293.0139 | 1231735.902 | 2628275.5868 | 1231732.9344 | 2628274.9488 | 1231736.3153
94 | 2628313.9436 | 1231739.4661 | 2628293.0139 | 1231735.902
95 | 2628313.9436 | 1231739.4661 | 2628315.9107 | 1231739.8011
96 | 2628281.4499 | 1231668.7342 | 2628264.0803 | 1231665.5753
97 | 2628228.3922 | 1231722.5664 | 2628264.0803 | 1231665.5753
98 | 2628333.5087 | 1231742.7978 | 2628315.9107 | 1231739.8011
99 | 2628228.3922 | 1231722.5664 | 2628227.0058 | 1231730.0659
100 | 2628225.3555 | 1231738.9926 | 2628227.0058 | 1231730.0659
101 | 2628225.3555 | 1231738.9926 | 2628220.3966 | 1231765.8162

## bus_geodata
| x | y | coords
0 | 2628512.3444 | 1232057.032
1 | 2628508.8292 | 1232054.9309
2 | 2628523.7376 | 1232063.8432
3 | 2628508.0019 | 1232054.4364
4 | 2628495.837 | 1232047.1649
5 | 2628479.158 | 1232039.3819
6 | 2628499.3513 | 1232031.9867
7 | 2628476.535 | 1232038.1579
8 | 2628501.2688 | 1232023.7051
9 | 2628449.8343 | 1232025.6985
10 | 2628506.4226 | 1232001.4456
11 | 2628517.2768 | 1231820.9664
12 | 2628500.5784 | 1231812.7558
13 | 2628544.7454 | 1231835.292
14 | 2628479.7031 | 1231802.4111
15 | 2628529.2896 | 1231901.8363
16 | 2628490.4881 | 1231889.051
17 | 2628483.8398 | 1231886.8604
18 | 2628511.3569 | 1231895.9274
19 | 2628476.1819 | 1231884.3371
20 | 2628460.9615 | 1231879.5369
21 | 2628523.0085 | 1231929.811
22 | 2628458.2887 | 1231878.8937
23 | 2628521.065 | 1231938.2052
24 | 2628515.6653 | 1231961.5265
25 | 2628359.5012 | 1231860.4445
26 | 2628341.5982 | 1231857.9821
27 | 2628316.5093 | 1231854.5313
28 | 2628371.3839 | 1231802.6017
29 | 2628369.7689 | 1231810.4631
30 | 2628372.4523 | 1231797.4009
31 | 2628369.3622 | 1231812.4427
32 | 2628342.8774 | 1231972.9865
33 | 2628358.323 | 1231980.8477
34 | 2628322.3125 | 1231962.5197
35 | 2628362.6945 | 1231902.7485
36 | 2628363.7541 | 1231902.9201
37 | 2628340.3915 | 1231899.1366
38 | 2628372.946 | 1231904.4672
39 | 2628386.6947 | 1231907.2731
40 | 2628386.8971 | 1231907.3144
41 | 2628416.2256 | 1231920.3849
42 | 2628295.0244 | 1231851.5761
43 | 2628301.7331 | 1231952.0455
44 | 2628332.3608 | 1231897.836
45 | 2628336.5339 | 1231898.5118
46 | 2628314.3884 | 1231894.9254
47 | 2628452.8889 | 1232011.9614
48 | 2628454.5955 | 1232004.2863
49 | 2628459.3596 | 1231982.8605
50 | 2628514.7639 | 1231965.4196
51 | 2628507.3464 | 1231997.4557
52 | 2628463.6587 | 1231963.5266
53 | 2628467.0677 | 1231948.1953
54 | 2628406.5083 | 1231963.591
55 | 2628411.3821 | 1231941.9207
56 | 2628401.1025 | 1231987.6268
57 | 2628469.3097 | 1231938.1121
58 | 2628471.0376 | 1231930.3416
59 | 2628412.4147 | 1231937.3294
60 | 2628270.3193 | 1231936.057
61 | 2628249.8913 | 1231925.6599
62 | 2628117.8688 | 1231860.6377
63 | 2628137.5491 | 1231870.291
64 | 2628172.0582 | 1231887.2179
65 | 2628206.9664 | 1231838.4623
66 | 2628237.4765 | 1231843.3052
67 | 2628209.0994 | 1231826.9244
68 | 2628200.4036 | 1231901.1214
69 | 2628235.5659 | 1231918.3688
70 | 2628242.2635 | 1231901.7568
71 | 2628246.8984 | 1231890.2609
72 | 2628254.2567 | 1231845.9688
73 | 2628261.7257 | 1231806.3886
74 | 2628271.204 | 1231848.2998
75 | 2628259.2091 | 1231885.9891
76 | 2628271.7518 | 1231848.3751
77 | 2628285.3017 | 1231890.2148
78 | 2628289.441 | 1231890.8852
79 | 2628263.7523 | 1231795.6488
80 | 2628210.2618 | 1231820.637
81 | 2628214.7271 | 1231796.4834
82 | 2628219.1716 | 1231772.4421
83 | 2628219.4673 | 1231770.8429
84 | 2628376.0071 | 1231774.1049
85 | 2628376.3422 | 1231770.8969
86 | 2628346.0429 | 1231744.9322
87 | 2628370.8297 | 1231752.2992
88 | 2628335.9878 | 1231743.22
89 | 2628263.817 | 1231795.306
90 | 2628268.2918 | 1231771.5929
91 | 2628270.413 | 1231760.3518
92 | 2628274.9488 | 1231736.3153
93 | 2628293.0139 | 1231735.902
94 | 2628313.9436 | 1231739.4661
95 | 2628281.4499 | 1231668.7342
96 | 2628264.0803 | 1231665.5753
97 | 2628315.9107 | 1231739.8011
98 | 2628333.5087 | 1231742.7978
99 | 2628228.3922 | 1231722.5664
100 | 2628227.0058 | 1231730.0659
101 | 2628220.3966 | 1231765.8162
102 | 2628225.3555 | 1231738.9926
103 | 2628254.2567 | 1231845.9688

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1