## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_337-23_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_337-23_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_337-23_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_337-23_0_3_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_337-23_0_3_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_337-23_0_3_node_65 | 0.4 | n |  | TRUE
6 | bus_LV_337-23_0_3_node_66 | 0.4 | n |  | TRUE
7 | bus_LV_337-23_0_3_node_101 | 0.4 | n |  | TRUE
8 | bus_LV_337-23_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_337-23_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_337-23_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_337-23_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_337-23_0_3_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_337-23_0_3_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_337-23_0_3_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_337-23_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_337-23_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_337-23_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_337-23_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_337-23_0_3_node_76 | 0.4 | n |  | TRUE
20 | bus_LV_337-23_0_3_node_75 | 0.4 | n |  | TRUE
21 | bus_LV_337-23_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_337-23_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_337-23_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_337-23_0_3_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_337-23_0_3_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_337-23_0_3_node_63 | 0.4 | n |  | TRUE
27 | bus_LV_337-23_0_3_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_337-23_0_3_node_61 | 0.4 | n |  | TRUE
29 | bus_LV_337-23_0_3_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_337-23_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_337-23_0_3_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_337-23_0_3_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_337-23_0_3_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_337-23_0_3_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_337-23_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_337-23_0_3_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_337-23_0_3_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_337-23_0_3_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_337-23_0_3_node_86 | 0.4 | n |  | TRUE
40 | bus_LV_337-23_0_3_node_83 | 0.4 | n |  | TRUE
41 | bus_LV_337-23_0_3_node_89 | 0.4 | n |  | TRUE
42 | bus_LV_337-23_0_3_node_85 | 0.4 | n |  | TRUE
43 | bus_LV_337-23_0_3_node_81 | 0.4 | n |  | TRUE
44 | bus_LV_337-23_0_3_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_337-23_0_3_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_337-23_0_3_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_337-23_0_3_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_337-23_0_3_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_337-23_0_3_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_337-23_0_3_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_337-23_0_3_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_337-23_0_3_node_88 | 0.4 | n |  | TRUE
53 | bus_LV_337-23_0_3_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_337-23_0_3_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_337-23_0_3_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_337-23_0_3_node_106 | 0.4 | n |  | TRUE
57 | bus_LV_337-23_0_3_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_337-23_0_3_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_337-23_0_3_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_337-23_0_3_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_337-23_0_3_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_337-23_0_3_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_337-23_0_3_node_104 | 0.4 | n |  | TRUE
64 | bus_LV_337-23_0_3_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_337-23_0_3_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_337-23_0_3_node_105 | 0.4 | n |  | TRUE
67 | bus_LV_337-23_0_3_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_337-23_0_3_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_337-23_0_3_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_337-23_0_3_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_337-23_0_3_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_337-23_0_3_node_90 | 0.4 | n |  | TRUE
73 | bus_LV_337-23_0_3_node_100 | 0.4 | n |  | TRUE
74 | bus_LV_337-23_0_3_node_91 | 0.4 | n |  | TRUE
75 | bus_LV_337-23_0_3_node_99 | 0.4 | n |  | TRUE
76 | bus_LV_337-23_0_3_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_337-23_0_3_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_337-23_0_3_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_337-23_0_3_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_337-23_0_3_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_337-23_0_3_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_337-23_0_3_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_337-23_0_3_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_337-23_0_3_node_96 | 0.4 | n |  | TRUE
85 | bus_LV_337-23_0_3_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_337-23_0_3_node_67 | 0.4 | n |  | TRUE
87 | bus_LV_337-23_0_3_node_68 | 0.4 | n |  | TRUE
88 | bus_LV_337-23_0_3_node_71 | 0.4 | n |  | TRUE
89 | bus_LV_337-23_0_3_node_73 | 0.4 | n |  | TRUE
90 | bus_LV_337-23_0_3_node_69 | 0.4 | n |  | TRUE
91 | bus_LV_337-23_0_3_node_70 | 0.4 | n |  | TRUE
92 | bus_LV_337-23_0_3_node_72 | 0.4 | n |  | TRUE
93 | bus_LV_337-23_0_3_node_74 | 0.4 | n |  | TRUE
94 | bus_LV_337-23_0_3_node_82 | 0.4 | n |  | TRUE
95 | bus_LV_337-23_0_3_node_95 | 0.4 | n |  | TRUE
96 | bus_LV_337-23_0_3_node_87 | 0.4 | n |  | TRUE
97 | bus_LV_337-23_0_3_node_92 | 0.4 | n |  | TRUE
98 | bus_LV_337-23_0_3_node_93 | 0.4 | n |  | TRUE
99 | bus_LV_337-23_0_3_node_94 | 0.4 | n |  | TRUE
100 | bus_LV_337-23_0_3_node_97 | 0.4 | n |  | TRUE
101 | bus_LV_337-23_0_3_node_98 | 0.4 | n |  | TRUE
102 | bus_MV_475_1_node_169 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_337-23_0_3_load_0 | 0 | 0.0037795 | 0.00094723 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_337-23_0_3_load_1 | 1 | 0.0034429 | 0.00086288 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_337-23_0_3_load_2 | 2 | 0.0084694 | 0.0021226 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_337-23_0_3_load_5 | 3 | 0.0026301 | 0.00065917 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_337-23_0_3_load_6 | 4 | 0.002241 | 0.00056165 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_337-23_0_3_load_65 | 5 | 0.0033358 | 0.00083602 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_337-23_0_3_load_66 | 6 | 0.0029907 | 0.00074955 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_337-23_0_3_load_101 | 7 | 0.0023345 | 0.00058508 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_337-23_0_3_load_7 | 8 | 0.0014879 | 0.00037291 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_337-23_0_3_load_8 | 9 | 0.0025207 | 0.00063175 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_337-23_0_3_load_16 | 12 | 0.0038098 | 0.00095483 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_337-23_0_3_load_14 | 13 | 0.0022485 | 0.00056352 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_337-23_0_3_load_22 | 14 | 0.004297 | 0.0010769 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_337-23_0_3_load_12 | 15 | 0.0026869 | 0.00067341 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_337-23_0_3_load_11 | 16 | 0.0014976 | 0.00037533 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_337-23_0_3_load_13 | 17 | 0.0015524 | 0.00038906 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_337-23_0_3_load_15 | 18 | 0.0018936 | 0.00047459 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_337-23_0_3_load_76 | 19 | 0.001936 | 0.00048521 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_337-23_0_3_load_75 | 20 | 0.0018846 | 0.00047234 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_337-23_0_3_load_17 | 21 | 0.0093927 | 0.002354 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_337-23_0_3_load_18 | 22 | 0.0022701 | 0.00056893 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_337-23_0_3_load_19 | 23 | 0.003209 | 0.00080426 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_337-23_0_3_load_20 | 24 | 0.0027433 | 0.00068753 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_337-23_0_3_load_21 | 25 | 0.0022618 | 0.00056685 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_337-23_0_3_load_63 | 26 | 0.0028536 | 0.00071517 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_337-23_0_3_load_32 | 27 | 0.0022484 | 0.00056349 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_337-23_0_3_load_31 | 29 | 0.0041793 | 0.0010474 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_337-23_0_3_load_24 | 30 | 0.00097147 | 0.00024347 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_337-23_0_3_load_33 | 31 | 0.00095002 | 0.0002381 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_337-23_0_3_load_34 | 32 | 0.002858 | 0.00071627 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_337-23_0_3_load_25 | 33 | 0.0020516 | 0.00051417 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_337-23_0_3_load_26 | 34 | 0.0022118 | 0.00055432 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_337-23_0_3_load_29 | 36 | 0.0021423 | 0.00053691 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_337-23_0_3_load_30 | 37 | 0.0021054 | 0.00052767 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_337-23_0_3_load_28 | 38 | 0.0020518 | 0.00051424 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_337-23_0_3_load_86 | 39 | 0.0023312 | 0.00058426 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_337-23_0_3_load_89 | 41 | 0.0024848 | 0.00062276 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_337-23_0_3_load_85 | 42 | 0.0023049 | 0.00057765 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_337-23_0_3_load_81 | 43 | 0.0030303 | 0.00075946 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_337-23_0_3_load_35 | 44 | 0.0012518 | 0.00031374 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_337-23_0_3_load_41 | 46 | 0.0016923 | 0.00042412 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_337-23_0_3_load_36 | 47 | 0.0012141 | 0.00030429 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_337-23_0_3_load_39 | 49 | 0.0011352 | 0.00028452 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_337-23_0_3_load_40 | 50 | 0.0021623 | 0.00054193 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_337-23_0_3_load_42 | 51 | 0.0016907 | 0.00042374 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_337-23_0_3_load_88 | 52 | 0.0019645 | 0.00049235 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_337-23_0_3_load_44 | 53 | 0.0010438 | 0.00026159 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_337-23_0_3_load_45 | 55 | 0.0014095 | 0.00035326 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_337-23_0_3_load_106 | 56 | 0.0024458 | 0.00061297 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_337-23_0_3_load_47 | 57 | 0.0013489 | 0.00033807 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_337-23_0_3_load_48 | 58 | 0.0020759 | 0.00052027 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_337-23_0_3_load_50 | 59 | 0.0015489 | 0.00038819 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_337-23_0_3_load_53 | 60 | 0.001962 | 0.00049174 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_337-23_0_3_load_46 | 61 | 0.0012141 | 0.00030429 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_337-23_0_3_load_104 | 63 | 0.0011081 | 0.00027772 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_337-23_0_3_load_51 | 64 | 0.0014508 | 0.0003636 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_337-23_0_3_load_52 | 65 | 0.00099674 | 0.00024981 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_337-23_0_3_load_105 | 66 | 0.0012078 | 0.00030271 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_337-23_0_3_load_54 | 67 | 0.0024299 | 0.00060899 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_337-23_0_3_load_55 | 68 | 0.0011389 | 0.00028543 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_337-23_0_3_load_57 | 70 | 0.0027529 | 0.00068993 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_337-23_0_3_load_58 | 71 | 0.0016234 | 0.00040687 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_337-23_0_3_load_90 | 72 | 0.0020892 | 0.00052361 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_337-23_0_3_load_100 | 73 | 0.0011933 | 0.00029908 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_337-23_0_3_load_91 | 74 | 0.0034109 | 0.00085486 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_337-23_0_3_load_99 | 75 | 0.0011107 | 0.00027837 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_337-23_0_3_load_59 | 76 | 0.0033336 | 0.00083547 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_337-23_0_3_load_60 | 77 | 0.0029587 | 0.00074151 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_337-23_0_3_load_64 | 79 | 0.0026079 | 0.0006536 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_337-23_0_3_load_79 | 80 | 0.0019184 | 0.00048079 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_337-23_0_3_load_80 | 81 | 0.01216 | 0.0030476 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_337-23_0_3_load_77 | 82 | 0.0028004 | 0.00070186 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_337-23_0_3_load_84 | 83 | 0.001909 | 0.00047843 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_337-23_0_3_load_96 | 84 | 0.010006 | 0.0025078 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_337-23_0_3_load_78 | 85 | 0.0036622 | 0.00091784 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_337-23_0_3_load_68 | 87 | 0.0039498 | 0.00098991 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_337-23_0_3_load_73 | 89 | 0.004332 | 0.0010857 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_337-23_0_3_load_69 | 90 | 0.0016424 | 0.00041163 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_337-23_0_3_load_70 | 91 | 0.0017444 | 0.0004372 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_337-23_0_3_load_72 | 92 | 0.0025777 | 0.00064604 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_337-23_0_3_load_74 | 93 | 0.0024301 | 0.00060904 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_337-23_0_3_load_82 | 94 | 0.0018872 | 0.00047299 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_337-23_0_3_load_95 | 95 | 0.0021633 | 0.00054216 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_337-23_0_3_load_87 | 96 | 0.0020816 | 0.00052171 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_337-23_0_3_load_92 | 97 | 0.0021775 | 0.00054574 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_337-23_0_3_load_93 | 98 | 0.0019886 | 0.00049838 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_337-23_0_3_load_94 | 99 | 0.0018882 | 0.00047323 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_337-23_0_3_load_97 | 100 | 0.0014363 | 0.00035997 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_337-23_0_3_load_98 | 101 | 0.0012184 | 0.00030535 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_337-23_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.029157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_337-23_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.021174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_337-23_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.0013926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_337-23_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.0080245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_337-23_0_3_line_4 | NAYY 4x150 SE | 4 | 8 | 0.03679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_337-23_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.034835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_337-23_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.054832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_337-23_0_3_line_7 | NAYY 4x150 SE | 6 | 86 | 0.0055669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_337-23_0_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.014117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_337-23_0_3_line_9 | NAYY 4x150 SE | 9 | 10 | 0.040852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_337-23_0_3_line_10 | NAYY 4x150 SE | 10 | 11 | 0.015458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_337-23_0_3_line_11 | NAYY 4x150 SE | 11 | 12 | 0.010992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_337-23_0_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.017424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_337-23_0_3_line_13 | NAYY 4x150 SE | 12 | 14 | 0.028066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_337-23_0_3_line_14 | NAYY 4x150 SE | 13 | 15 | 0.033344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_337-23_0_3_line_15 | NAYY 4x150 SE | 15 | 16 | 0.018537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_337-23_0_3_line_16 | NAYY 4x150 SE | 16 | 17 | 0.024068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_337-23_0_3_line_17 | NAYY 4x150 SE | 17 | 18 | 0.012521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_337-23_0_3_line_18 | NAYY 4x150 SE | 18 | 19 | 0.009033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_337-23_0_3_line_19 | NAYY 4x150 SE | 19 | 20 | 0.013858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_337-23_0_3_line_20 | NAYY 4x150 SE | 20 | 93 | 0.011547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_337-23_0_3_line_21 | NAYY 4x150 SE | 21 | 22 | 0.018209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_337-23_0_3_line_22 | NAYY 4x150 SE | 21 | 23 | 0.0068449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_337-23_0_3_line_23 | NAYY 4x150 SE | 22 | 24 | 0.02204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_337-23_0_3_line_24 | NAYY 4x150 SE | 23 | 25 | 0.018408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_337-23_0_3_line_25 | NAYY 4x150 SE | 24 | 26 | 0.012282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_337-23_0_3_line_26 | NAYY 4x150 SE | 25 | 27 | 0.0070765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_337-23_0_3_line_27 | NAYY 4x150 SE | 26 | 28 | 0.022086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_337-23_0_3_line_28 | NAYY 4x150 SE | 27 | 29 | 0.0013323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_337-23_0_3_line_29 | NAYY 4x150 SE | 28 | 79 | 0.0017449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_337-23_0_3_line_30 | NAYY 4x150 SE | 29 | 36 | 0.0099129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_337-23_0_3_line_31 | NAYY 4x150 SE | 30 | 31 | 0.0044785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_337-23_0_3_line_32 | NAYY 4x150 SE | 31 | 32 | 0.002092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_337-23_0_3_line_33 | NAYY 4x150 SE | 32 | 44 | 0.024132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_337-23_0_3_line_34 | NAYY 4x150 SE | 33 | 34 | 0.013783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_337-23_0_3_line_35 | NAYY 4x150 SE | 33 | 35 | 0.0093828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_337-23_0_3_line_36 | NAYY 4x150 SE | 35 | 36 | 0.01019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_337-23_0_3_line_37 | NAYY 4x150 SE | 35 | 37 | 0.0099237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_337-23_0_3_line_38 | NAYY 4x150 SE | 37 | 40 | 0.016585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_337-23_0_3_line_39 | NAYY 4x150 SE | 38 | 39 | 0.0042626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_337-23_0_3_line_40 | NAYY 4x150 SE | 39 | 41 | 0.0051656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_337-23_0_3_line_41 | NAYY 4x150 SE | 40 | 42 | 0.012368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_337-23_0_3_line_42 | NAYY 4x150 SE | 40 | 43 | 0.010296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_337-23_0_3_line_43 | NAYY 4x150 SE | 41 | 52 | 0.0042228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_337-23_0_3_line_44 | NAYY 4x150 SE | 42 | 96 | 0.0043229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_337-23_0_3_line_45 | NAYY 4x150 SE | 43 | 94 | 0.0074862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_337-23_0_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.014278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_337-23_0_3_line_47 | NAYY 4x150 SE | 45 | 46 | 0.014351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_337-23_0_3_line_48 | NAYY 4x150 SE | 46 | 53 | 0.019235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_337-23_0_3_line_49 | NAYY 4x150 SE | 47 | 48 | 0.014063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_337-23_0_3_line_50 | NAYY 4x150 SE | 48 | 49 | 0.0088174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_337-23_0_3_line_51 | NAYY 4x150 SE | 48 | 50 | 0.019134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_337-23_0_3_line_52 | NAYY 4x150 SE | 49 | 51 | 0.018254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_337-23_0_3_line_53 | NAYY 4x150 SE | 50 | 52 | 0.0039404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_337-23_0_3_line_54 | NAYY 4x150 SE | 51 | 54 | 0.026261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_337-23_0_3_line_55 | NAYY 4x150 SE | 53 | 55 | 0.015332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_337-23_0_3_line_56 | NAYY 4x150 SE | 53 | 56 | 0.042427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_337-23_0_3_line_57 | NAYY 4x150 SE | 54 | 57 | 0.015529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_337-23_0_3_line_58 | NAYY 4x150 SE | 54 | 58 | 0.0067521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_337-23_0_3_line_59 | NAYY 4x150 SE | 55 | 61 | 0.023738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_337-23_0_3_line_60 | NAYY 4x150 SE | 57 | 59 | 0.027343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_337-23_0_3_line_61 | NAYY 4x150 SE | 58 | 60 | 0.0070317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_337-23_0_3_line_62 | NAYY 4x150 SE | 59 | 64 | 0.004147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_337-23_0_3_line_63 | NAYY 4x150 SE | 60 | 65 | 0.0011329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_337-23_0_3_line_64 | NAYY 4x150 SE | 61 | 62 | 0.024506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_337-23_0_3_line_65 | NAYY 4x150 SE | 62 | 63 | 0.019718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_337-23_0_3_line_66 | NAYY 4x150 SE | 63 | 66 | 0.014142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_337-23_0_3_line_67 | NAYY 4x150 SE | 64 | 66 | 0.018291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_337-23_0_3_line_68 | NAYY 4x150 SE | 65 | 67 | 0.0064929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_337-23_0_3_line_69 | NAYY 4x150 SE | 67 | 68 | 0.015017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_337-23_0_3_line_70 | NAYY 4x150 SE | 68 | 69 | 0.015352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_337-23_0_3_line_71 | NAYY 4x150 SE | 69 | 70 | 0.020868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_337-23_0_3_line_72 | NAYY 4x150 SE | 69 | 71 | 0.0056772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_337-23_0_3_line_73 | NAYY 4x150 SE | 70 | 72 | 0.003525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_337-23_0_3_line_74 | NAYY 4x150 SE | 71 | 73 | 0.030967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_337-23_0_3_line_75 | NAYY 4x150 SE | 72 | 74 | 0.0060142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_337-23_0_3_line_76 | NAYY 4x150 SE | 73 | 75 | 0.00031945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_337-23_0_3_line_77 | NAYY 4x150 SE | 74 | 97 | 0.011197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_337-23_0_3_line_78 | NAYY 4x150 SE | 75 | 101 | 0.023028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_337-23_0_3_line_79 | NAYY 4x150 SE | 76 | 77 | 0.0096293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_337-23_0_3_line_80 | NAYY 4x150 SE | 77 | 78 | 0.020703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_337-23_0_3_line_81 | NAYY 4x150 SE | 78 | 80 | 0.015714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_337-23_0_3_line_82 | NAYY 4x150 SE | 78 | 81 | 0.0047637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_337-23_0_3_line_83 | NAYY 4x150 SE | 79 | 82 | 0.019024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
84 | LV_337-23_0_3_line_84 | NAYY 4x150 SE | 80 | 83 | 0.007063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_337-23_0_3_line_85 | NAYY 4x150 SE | 81 | 84 | 0.032415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_337-23_0_3_line_86 | NAYY 4x150 SE | 82 | 85 | 0.0079451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
87 | LV_337-23_0_3_line_87 | NAYY 4x150 SE | 83 | 94 | 0.0069944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_337-23_0_3_line_88 | NAYY 4x150 SE | 84 | 95 | 0.0041338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_337-23_0_3_line_89 | NAYY 4x150 SE | 85 | 89 | 0.032403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
90 | LV_337-23_0_3_line_90 | NAYY 4x150 SE | 86 | 87 | 0.008838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_337-23_0_3_line_91 | NAYY 4x150 SE | 87 | 88 | 0.027669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_337-23_0_3_line_92 | NAYY 4x150 SE | 88 | 89 | 0.0055618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
93 | LV_337-23_0_3_line_93 | NAYY 4x150 SE | 88 | 90 | 0.013147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
94 | LV_337-23_0_3_line_94 | NAYY 4x150 SE | 90 | 91 | 0.0064563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
95 | LV_337-23_0_3_line_95 | NAYY 4x150 SE | 91 | 92 | 0.010632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_337-23_0_3_line_96 | NAYY 4x150 SE | 92 | 93 | 0.0074051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_337-23_0_3_line_97 | NAYY 4x150 SE | 95 | 99 | 0.0057328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_337-23_0_3_line_98 | NAYY 4x150 SE | 97 | 98 | 0.0073379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_337-23_0_3_line_99 | NAYY 4x150 SE | 98 | 99 | 0.0069213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_337-23_0_3_line_100 | NAYY 4x150 SE | 100 | 101 | 0.0024772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_337-23_0_3_trafo_81 | 0.25 MVA 20/0.4 kV | 102 | 43 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2629509.4836 | 1231715.6525 | 2629523.9189 | 1231716.0931 | 2629538.1622 | 1231712.3967
1 | 2629538.1622 | 1231712.3967 | 2629553.4285 | 1231708.4348 | 2629558.3487 | 1231706.2041
2 | 2629559.617 | 1231705.6291 | 2629558.3487 | 1231706.2041
3 | 2629559.617 | 1231705.6291 | 2629566.9255 | 1231702.3157
4 | 2629566.9255 | 1231702.3157 | 2629588.9167 | 1231692.3456 | 2629599.4834 | 1231685.4008
5 | 2629453.575 | 1231638.9269 | 2629458.4257 | 1231631.9841 | 2629478.014 | 1231614.3367
6 | 2629453.575 | 1231638.9269 | 2629416.0168 | 1231598.978
7 | 2629482.15 | 1231610.6106 | 2629478.014 | 1231614.3367
8 | 2629599.4834 | 1231685.4008 | 2629611.2802 | 1231677.6476
9 | 2629643.3265 | 1231652.3362 | 2629614.3522 | 1231675.6285 | 2629611.2802 | 1231677.6476
10 | 2629655.0009 | 1231642.1659 | 2629643.3265 | 1231652.3362
11 | 2629655.0009 | 1231642.1659 | 2629663.4508 | 1231635.1353
12 | 2629655.0009 | 1231642.1659 | 2629641.9474 | 1231630.6252
13 | 2629663.4508 | 1231635.1353 | 2629681.9114 | 1231619.7752 | 2629684.866 | 1231617.0039
14 | 2629641.9474 | 1231630.6252 | 2629630.3023 | 1231620.3296 | 2629620.3562 | 1231619.513 | 2629614.6394 | 1231624.8494
15 | 2629600.2994 | 1231636.5846 | 2629612.5962 | 1231626.7566 | 2629614.6394 | 1231624.8494
16 | 2629579.7742 | 1231639.787 | 2629583.1886 | 1231642.7536 | 2629590.4151 | 1231643.7901 | 2629595.4674 | 1231640.4465 | 2629600.2994 | 1231636.5846
17 | 2629570.2393 | 1231631.6798 | 2629571.4641 | 1231632.5669 | 2629579.7742 | 1231639.787
18 | 2629570.2393 | 1231631.6798 | 2629562.9236 | 1231626.3813
19 | 2629551.6997 | 1231618.2523 | 2629562.9236 | 1231626.3813
20 | 2629551.6997 | 1231618.2523 | 2629542.3479 | 1231611.4791
21 | 2629604.5231 | 1231574.7159 | 2629607.2118 | 1231576.6103 | 2629615.6082 | 1231576.9078 | 2629620.981 | 1231573.2173
22 | 2629625.4789 | 1231568.1417 | 2629622.3253 | 1231572.294 | 2629620.981 | 1231573.2173
23 | 2629604.5231 | 1231574.7159 | 2629586.5058 | 1231562.0214
24 | 2629636.6127 | 1231553.4821 | 2629625.4789 | 1231568.1417
25 | 2629586.5058 | 1231562.0214 | 2629576.4654 | 1231554.9472
26 | 2629640.8927 | 1231547.8467 | 2629636.6127 | 1231553.4821
27 | 2629558.5713 | 1231542.0031 | 2629572.2659 | 1231551.9883 | 2629576.4654 | 1231554.9472
28 | 2629640.8927 | 1231547.8467 | 2629641.6985 | 1231546.7857
29 | 2629558.5713 | 1231542.0031 | 2629557.4059 | 1231543.3018
30 | 2629647.6941 | 1231538.8914 | 2629641.6985 | 1231546.7857
31 | 2629771.7905 | 1231468.2265 | 2629773.3983 | 1231472.4064
32 | 2629771.7905 | 1231468.2265 | 2629771.0395 | 1231466.2739
33 | 2629762.3759 | 1231443.7509 | 2629771.0395 | 1231466.2739
34 | 2629660.7254 | 1231529.7702 | 2629660.7254 | 1231529.7702 | 2629668.6679 | 1231518.5064
35 | 2629651.3437 | 1231529.6234 | 2629660.7254 | 1231529.7702
36 | 2629651.3437 | 1231529.6234 | 2629650.0179 | 1231535.8317 | 2629647.6941 | 1231538.8914
37 | 2629651.3437 | 1231529.6234 | 2629647.6169 | 1231522.2559 | 2629646.1803 | 1231521.41
38 | 2629631.8893 | 1231512.9942 | 2629646.1803 | 1231521.41
39 | 2629695.4007 | 1231469.9077 | 2629692.6695 | 1231473.1803
40 | 2629698.7105 | 1231465.9417 | 2629695.4007 | 1231469.9077
41 | 2629631.8893 | 1231512.9942 | 2629638.0143 | 1231502.2488
42 | 2629631.8893 | 1231512.9942 | 2629623.0174 | 1231507.7699
43 | 2629701.4163 | 1231462.6997 | 2629698.7105 | 1231465.9417
44 | 2629640.1551 | 1231498.4932 | 2629638.0143 | 1231502.2488
45 | 2629623.0174 | 1231507.7699 | 2629616.5666 | 1231503.9712
46 | 2629757.2499 | 1231430.4245 | 2629762.3759 | 1231443.7509
47 | 2629757.2499 | 1231430.4245 | 2629752.1822 | 1231416.9975
48 | 2629752.1822 | 1231416.9975 | 2629745.3902 | 1231399.0016
49 | 2629716.2014 | 1231444.9839 | 2629722.6986 | 1231445.0164 | 2629729.58 | 1231441.8722
50 | 2629716.2014 | 1231444.9839 | 2629711.7538 | 1231440.9037 | 2629710.5182 | 1231438.4115
51 | 2629716.2014 | 1231444.9839 | 2629703.9411 | 1231459.6744
52 | 2629710.5182 | 1231438.4115 | 2629703.3045 | 1231423.8623 | 2629701.7834 | 1231422.5416
53 | 2629703.9411 | 1231459.6744 | 2629701.4163 | 1231462.6997
54 | 2629680.0279 | 1231408.2923 | 2629691.5722 | 1231413.6753 | 2629701.7834 | 1231422.5416
55 | 2629745.3902 | 1231399.0016 | 2629739.9764 | 1231384.6575
56 | 2629745.3902 | 1231399.0016 | 2629787.2554 | 1231392.1178
57 | 2629680.0279 | 1231408.2923 | 2629683.1131 | 1231400.0804 | 2629683.7544 | 1231393.3544
58 | 2629680.0279 | 1231408.2923 | 2629675.7668 | 1231406.3031 | 2629673.7846 | 1231405.7818
59 | 2629739.9764 | 1231384.6575 | 2629739.2606 | 1231382.7611 | 2629731.4072 | 1231362.5198
60 | 2629683.7544 | 1231393.3544 | 2629685.2546 | 1231377.6218 | 2629685.3218 | 1231366.0831
61 | 2629673.7846 | 1231405.7818 | 2629666.9842 | 1231403.9934
62 | 2629685.3218 | 1231366.0831 | 2629685.346 | 1231361.9361
63 | 2629665.8885 | 1231403.7053 | 2629666.9842 | 1231403.9934
64 | 2629722.5431 | 1231339.6735 | 2629731.4072 | 1231362.5198
65 | 2629722.5431 | 1231339.6735 | 2629714.4789 | 1231342.535 | 2629703.3635 | 1231343.5487
66 | 2629703.3635 | 1231343.5487 | 2629689.2803 | 1231344.833
67 | 2629685.346 | 1231361.9361 | 2629685.4124 | 1231350.5394 | 2629689.2803 | 1231344.833 | 2629689.2803 | 1231344.833
68 | 2629665.8885 | 1231403.7053 | 2629659.6091 | 1231402.0538
69 | 2629645.0507 | 1231398.3735 | 2629652.2389 | 1231400.1155 | 2629659.6091 | 1231402.0538
70 | 2629630.1304 | 1231394.7578 | 2629645.0507 | 1231398.3735
71 | 2629630.1304 | 1231394.7578 | 2629627.8595 | 1231409.8001 | 2629625.9505 | 1231415.123
72 | 2629630.1304 | 1231394.7578 | 2629630.9776 | 1231389.1442
73 | 2629625.9505 | 1231415.123 | 2629624.7605 | 1231418.4411
74 | 2629630.9776 | 1231389.1442 | 2629634.5785 | 1231365.2841 | 2629634.2858 | 1231358.4535
75 | 2629624.7605 | 1231418.4411 | 2629622.7302 | 1231424.1023
76 | 2629634.2858 | 1231358.4535 | 2629634.2722 | 1231358.1344
77 | 2629618.9504 | 1231434.6416 | 2629622.7302 | 1231424.1023
78 | 2629634.2722 | 1231358.1344 | 2629633.2864 | 1231335.1273
79 | 2629575.1429 | 1231514.7752 | 2629580.1492 | 1231506.5496
80 | 2629590.9128 | 1231488.8646 | 2629580.1492 | 1231506.5496
81 | 2629590.9128 | 1231488.8646 | 2629604.4533 | 1231496.8381
82 | 2629590.9128 | 1231488.8646 | 2629593.3676 | 1231484.7821
83 | 2629544.7001 | 1231557.4612 | 2629557.4059 | 1231543.3018
84 | 2629610.5395 | 1231500.4221 | 2629604.4533 | 1231496.8381
85 | 2629610.0712 | 1231457.0027 | 2629593.3676 | 1231484.7821
86 | 2629544.7001 | 1231557.4612 | 2629539.3938 | 1231563.3746
87 | 2629616.5666 | 1231503.9712 | 2629610.5395 | 1231500.4221
88 | 2629612.2014 | 1231453.46 | 2629610.0712 | 1231457.0027
89 | 2629539.3938 | 1231563.3746 | 2629529.6584 | 1231574.2238 | 2629516.0953 | 1231585.7913
90 | 2629482.15 | 1231610.6106 | 2629489.3433 | 1231605.4758
91 | 2629511.8635 | 1231589.4004 | 2629489.3433 | 1231605.4758
92 | 2629511.8635 | 1231589.4004 | 2629516.0953 | 1231585.7913
93 | 2629511.8635 | 1231589.4004 | 2629522.5112 | 1231597.1122
94 | 2629522.5112 | 1231597.1122 | 2629527.7401 | 1231600.8993
95 | 2629536.3505 | 1231607.1354 | 2629527.7401 | 1231600.8993
96 | 2629536.3505 | 1231607.1354 | 2629542.3479 | 1231611.4791
97 | 2629614.1367 | 1231448.0637 | 2629612.2014 | 1231453.46 | 2629612.2014 | 1231453.46
98 | 2629618.9504 | 1231434.6416 | 2629616.4732 | 1231441.5487
99 | 2629616.4732 | 1231441.5487 | 2629614.1367 | 1231448.0637
100 | 2629633.1804 | 1231332.6524 | 2629633.2864 | 1231335.1273

## bus_geodata
| x | y | coords
0 | 2629509.4836 | 1231715.6525
1 | 2629538.1622 | 1231712.3967
2 | 2629558.3487 | 1231706.2041
3 | 2629559.617 | 1231705.6291
4 | 2629566.9255 | 1231702.3157
5 | 2629453.575 | 1231638.9269
6 | 2629478.014 | 1231614.3367
7 | 2629416.0168 | 1231598.978
8 | 2629599.4834 | 1231685.4008
9 | 2629611.2802 | 1231677.6476
10 | 2629643.3265 | 1231652.3362
11 | 2629655.0009 | 1231642.1659
12 | 2629663.4508 | 1231635.1353
13 | 2629641.9474 | 1231630.6252
14 | 2629684.866 | 1231617.0039
15 | 2629614.6394 | 1231624.8494
16 | 2629600.2994 | 1231636.5846
17 | 2629579.7742 | 1231639.787
18 | 2629570.2393 | 1231631.6798
19 | 2629562.9236 | 1231626.3813
20 | 2629551.6997 | 1231618.2523
21 | 2629620.981 | 1231573.2173
22 | 2629604.5231 | 1231574.7159
23 | 2629625.4789 | 1231568.1417
24 | 2629586.5058 | 1231562.0214
25 | 2629636.6127 | 1231553.4821
26 | 2629576.4654 | 1231554.9472
27 | 2629640.8927 | 1231547.8467
28 | 2629558.5713 | 1231542.0031
29 | 2629641.6985 | 1231546.7857
30 | 2629773.3983 | 1231472.4064
31 | 2629771.7905 | 1231468.2265
32 | 2629771.0395 | 1231466.2739
33 | 2629660.7254 | 1231529.7702
34 | 2629668.6679 | 1231518.5064
35 | 2629651.3437 | 1231529.6234
36 | 2629647.6941 | 1231538.8914
37 | 2629646.1803 | 1231521.41
38 | 2629692.6695 | 1231473.1803
39 | 2629695.4007 | 1231469.9077
40 | 2629631.8893 | 1231512.9942
41 | 2629698.7105 | 1231465.9417
42 | 2629638.0143 | 1231502.2488
43 | 2629623.0174 | 1231507.7699
44 | 2629762.3759 | 1231443.7509
45 | 2629757.2499 | 1231430.4245
46 | 2629752.1822 | 1231416.9975
47 | 2629729.58 | 1231441.8722
48 | 2629716.2014 | 1231444.9839
49 | 2629710.5182 | 1231438.4115
50 | 2629703.9411 | 1231459.6744
51 | 2629701.7834 | 1231422.5416
52 | 2629701.4163 | 1231462.6997
53 | 2629745.3902 | 1231399.0016
54 | 2629680.0279 | 1231408.2923
55 | 2629739.9764 | 1231384.6575
56 | 2629787.2554 | 1231392.1178
57 | 2629683.7544 | 1231393.3544
58 | 2629673.7846 | 1231405.7819
59 | 2629685.3218 | 1231366.0831
60 | 2629666.9842 | 1231403.9934
61 | 2629731.4072 | 1231362.5198
62 | 2629722.5431 | 1231339.6735
63 | 2629703.3636 | 1231343.5487
64 | 2629685.346 | 1231361.9361
65 | 2629665.8885 | 1231403.7053
66 | 2629689.2803 | 1231344.833
67 | 2629659.6091 | 1231402.0538
68 | 2629645.0507 | 1231398.3735
69 | 2629630.1304 | 1231394.7578
70 | 2629625.9505 | 1231415.123
71 | 2629630.9776 | 1231389.1442
72 | 2629624.7605 | 1231418.4411
73 | 2629634.2858 | 1231358.4535
74 | 2629622.7302 | 1231424.1023
75 | 2629634.2722 | 1231358.1344
76 | 2629575.1429 | 1231514.7752
77 | 2629580.1492 | 1231506.5496
78 | 2629590.9128 | 1231488.8646
79 | 2629557.4059 | 1231543.3018
80 | 2629604.4533 | 1231496.8381
81 | 2629593.3676 | 1231484.7821
82 | 2629544.7001 | 1231557.4612
83 | 2629610.5395 | 1231500.4221
84 | 2629610.0712 | 1231457.0027
85 | 2629539.3938 | 1231563.3746
86 | 2629482.15 | 1231610.6106
87 | 2629489.3433 | 1231605.4758
88 | 2629511.8635 | 1231589.4004
89 | 2629516.0953 | 1231585.7913
90 | 2629522.5112 | 1231597.1122
91 | 2629527.7401 | 1231600.8993
92 | 2629536.3505 | 1231607.1355
93 | 2629542.3479 | 1231611.4791
94 | 2629616.5666 | 1231503.9712
95 | 2629612.2014 | 1231453.46
96 | 2629640.1551 | 1231498.4932
97 | 2629618.9504 | 1231434.6416
98 | 2629616.4732 | 1231441.5487
99 | 2629614.1367 | 1231448.0637
100 | 2629633.1804 | 1231332.6524
101 | 2629633.2864 | 1231335.1273
102 | 2629631.8893 | 1231512.9942

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1