## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_338-8_1_2_node_136 | 0.4 | n |  | TRUE
1 | bus_LV_338-8_1_2_node_50 | 0.4 | n |  | TRUE
2 | bus_LV_338-8_1_2_node_137 | 0.4 | n |  | TRUE
3 | bus_LV_338-8_1_2_node_16 | 0.4 | n |  | TRUE
4 | bus_LV_338-8_1_2_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_338-8_1_2_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_338-8_1_2_node_45 | 0.4 | n |  | TRUE
7 | bus_LV_338-8_1_2_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_338-8_1_2_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_338-8_1_2_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_338-8_1_2_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_338-8_1_2_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_338-8_1_2_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_338-8_1_2_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_338-8_1_2_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_338-8_1_2_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_338-8_1_2_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_338-8_1_2_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_338-8_1_2_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_338-8_1_2_node_53 | 0.4 | n |  | TRUE
20 | bus_LV_338-8_1_2_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_338-8_1_2_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_338-8_1_2_node_52 | 0.4 | n |  | TRUE
23 | bus_LV_338-8_1_2_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_338-8_1_2_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_338-8_1_2_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_338-8_1_2_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_338-8_1_2_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_338-8_1_2_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_338-8_1_2_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_338-8_1_2_node_42 | 0.4 | n |  | TRUE
31 | bus_LV_338-8_1_2_node_54 | 0.4 | n |  | TRUE
32 | bus_LV_338-8_1_2_node_49 | 0.4 | n |  | TRUE
33 | bus_LV_338-8_1_2_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_338-8_1_2_node_43 | 0.4 | n |  | TRUE
35 | bus_LV_338-8_1_2_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_338-8_1_2_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_338-8_1_2_node_91 | 0.4 | n |  | TRUE
38 | bus_LV_338-8_1_2_node_48 | 0.4 | n |  | TRUE
39 | bus_LV_338-8_1_2_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_338-8_1_2_node_58 | 0.4 | n |  | TRUE
41 | bus_LV_338-8_1_2_node_59 | 0.4 | n |  | TRUE
42 | bus_LV_338-8_1_2_node_60 | 0.4 | n |  | TRUE
43 | bus_LV_338-8_1_2_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_338-8_1_2_node_121 | 0.4 | n |  | TRUE
45 | bus_LV_338-8_1_2_node_68 | 0.4 | n |  | TRUE
46 | bus_LV_338-8_1_2_node_69 | 0.4 | n |  | TRUE
47 | bus_LV_338-8_1_2_node_70 | 0.4 | n |  | TRUE
48 | bus_LV_338-8_1_2_node_71 | 0.4 | n |  | TRUE
49 | bus_LV_338-8_1_2_node_72 | 0.4 | n |  | TRUE
50 | bus_LV_338-8_1_2_node_76 | 0.4 | n |  | TRUE
51 | bus_LV_338-8_1_2_node_77 | 0.4 | n |  | TRUE
52 | bus_LV_338-8_1_2_node_104 | 0.4 | n |  | TRUE
53 | bus_LV_338-8_1_2_node_113 | 0.4 | n |  | TRUE
54 | bus_LV_338-8_1_2_node_105 | 0.4 | n |  | TRUE
55 | bus_LV_338-8_1_2_node_106 | 0.4 | n |  | TRUE
56 | bus_LV_338-8_1_2_node_112 | 0.4 | n |  | TRUE
57 | bus_MV_476_0_node_81 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_338-8_1_2_load_136 | 0 | 0.0045169 | 0.001132 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_338-8_1_2_load_137 | 2 | 0.0038728 | 0.00097063 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_338-8_1_2_load_16 | 3 | 0.0049693 | 0.0012454 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_338-8_1_2_load_45 | 6 | 0.0064346 | 0.0016127 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_338-8_1_2_load_20 | 7 | 0.0022968 | 0.00057563 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_338-8_1_2_load_21 | 8 | 0.0087164 | 0.0021845 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_338-8_1_2_load_22 | 9 | 0.0021336 | 0.00053473 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_338-8_1_2_load_23 | 10 | 0.0034193 | 0.00085695 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_338-8_1_2_load_24 | 11 | 0.0020866 | 0.00052295 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_338-8_1_2_load_25 | 13 | 0.0020871 | 0.00052308 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_338-8_1_2_load_26 | 14 | 0.0021341 | 0.00053486 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_338-8_1_2_load_27 | 15 | 0.0017464 | 0.00043768 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_338-8_1_2_load_28 | 16 | 0.0011403 | 0.00028579 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_338-8_1_2_load_31 | 18 | 0.0021708 | 0.00054405 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_338-8_1_2_load_39 | 21 | 0.0025727 | 0.00064478 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_338-8_1_2_load_34 | 23 | 0.0042062 | 0.0010542 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_338-8_1_2_load_35 | 24 | 0.0053648 | 0.0013445 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_338-8_1_2_load_41 | 25 | 0.00064366 | 0.00016132 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_338-8_1_2_load_36 | 26 | 0.001071 | 0.00026842 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_338-8_1_2_load_40 | 29 | 0.0033652 | 0.0008434 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_338-8_1_2_load_54 | 31 | 0.00268 | 0.00067168 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_338-8_1_2_load_49 | 32 | 0.00050933 | 0.00012765 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_338-8_1_2_load_47 | 33 | 0.00070834 | 0.00017753 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_338-8_1_2_load_43 | 34 | 0.0012606 | 0.00031594 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_338-8_1_2_load_44 | 35 | 0.0040538 | 0.001016 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_338-8_1_2_load_51 | 39 | 0.0020643 | 0.00051736 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_338-8_1_2_load_58 | 40 | 0.0017082 | 0.00042813 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_338-8_1_2_load_59 | 41 | 0.001751 | 0.00043884 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_338-8_1_2_load_60 | 42 | 0.0010107 | 0.00025331 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_338-8_1_2_load_62 | 43 | 0.0011486 | 0.00028787 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_338-8_1_2_load_121 | 44 | 0.0011062 | 0.00027723 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_338-8_1_2_load_68 | 45 | 0.0009598 | 0.00024055 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_338-8_1_2_load_69 | 46 | 0.0028602 | 0.00071683 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_338-8_1_2_load_70 | 47 | 0.00076188 | 0.00019095 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_338-8_1_2_load_71 | 48 | 0.0029636 | 0.00074274 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_338-8_1_2_load_72 | 49 | 0.00099446 | 0.00024924 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_338-8_1_2_load_76 | 50 | 0.0039564 | 0.00099156 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_338-8_1_2_load_77 | 51 | 0.00091724 | 0.00022988 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_338-8_1_2_load_104 | 52 | 0.00059634 | 0.00014946 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_338-8_1_2_load_113 | 53 | 0.0012471 | 0.00031256 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_338-8_1_2_load_105 | 54 | 0.00096205 | 0.00024111 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_338-8_1_2_load_112 | 56 | 0.0010935 | 0.00027406 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_338-8_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.002443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_338-8_1_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.020134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_338-8_1_2_line_2 | NAYY 4x150 SE | 1 | 38 | 0.01793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_338-8_1_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.013965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_338-8_1_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.12412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_338-8_1_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.099655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_338-8_1_2_line_6 | NAYY 4x150 SE | 6 | 34 | 0.10506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_338-8_1_2_line_7 | NAYY 4x150 SE | 7 | 8 | 0.0048415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_338-8_1_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.012897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_338-8_1_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.0038657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_338-8_1_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.0055341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_338-8_1_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.020428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_338-8_1_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.0054727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_338-8_1_2_line_13 | NAYY 4x150 SE | 12 | 23 | 0.019429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_338-8_1_2_line_14 | NAYY 4x150 SE | 12 | 24 | 0.022671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_338-8_1_2_line_15 | NAYY 4x150 SE | 13 | 14 | 0.0027765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_338-8_1_2_line_16 | NAYY 4x150 SE | 15 | 16 | 0.027222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_338-8_1_2_line_17 | NAYY 4x150 SE | 15 | 17 | 0.010796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_338-8_1_2_line_18 | NAYY 4x150 SE | 17 | 18 | 0.031037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_338-8_1_2_line_19 | NAYY 4x150 SE | 18 | 19 | 0.0082817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_338-8_1_2_line_20 | NAYY 4x150 SE | 19 | 36 | 0.024543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_338-8_1_2_line_21 | NAYY 4x150 SE | 20 | 21 | 0.015514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_338-8_1_2_line_22 | NAYY 4x150 SE | 20 | 22 | 0.022664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_338-8_1_2_line_23 | NAYY 4x150 SE | 21 | 27 | 0.015113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_338-8_1_2_line_24 | NAYY 4x150 SE | 22 | 39 | 0.030749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_338-8_1_2_line_25 | NAYY 4x150 SE | 23 | 25 | 0.0040593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_338-8_1_2_line_26 | NAYY 4x150 SE | 25 | 28 | 0.01924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_338-8_1_2_line_27 | NAYY 4x150 SE | 26 | 27 | 0.015934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_338-8_1_2_line_28 | NAYY 4x150 SE | 26 | 28 | 0.037927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_338-8_1_2_line_29 | NAYY 4x150 SE | 27 | 29 | 0.056807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_338-8_1_2_line_30 | NAYY 4x150 SE | 28 | 30 | 0.055643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_338-8_1_2_line_31 | NAYY 4x150 SE | 29 | 31 | 0.0078065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_338-8_1_2_line_32 | NAYY 4x150 SE | 30 | 32 | 0.017024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_338-8_1_2_line_33 | NAYY 4x150 SE | 30 | 33 | 0.017575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_338-8_1_2_line_34 | NAYY 4x150 SE | 32 | 36 | 0.03342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_338-8_1_2_line_35 | NAYY 4x150 SE | 33 | 38 | 0.022808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_338-8_1_2_line_36 | NAYY 4x150 SE | 34 | 35 | 0.024267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_338-8_1_2_line_37 | NAYY 4x150 SE | 35 | 36 | 0.034929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_338-8_1_2_line_38 | NAYY 4x150 SE | 35 | 37 | 0.16977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_338-8_1_2_line_39 | NAYY 4x150 SE | 37 | 53 | 0.059976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_338-8_1_2_line_40 | NAYY 4x150 SE | 40 | 41 | 0.021743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_338-8_1_2_line_41 | NAYY 4x150 SE | 40 | 42 | 0.017425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_338-8_1_2_line_42 | NAYY 4x150 SE | 42 | 43 | 0.0078207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_338-8_1_2_line_43 | NAYY 4x150 SE | 43 | 44 | 0.016733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_338-8_1_2_line_44 | NAYY 4x150 SE | 44 | 56 | 0.0053824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_338-8_1_2_line_45 | NAYY 4x150 SE | 45 | 46 | 0.01651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_338-8_1_2_line_46 | NAYY 4x150 SE | 45 | 47 | 0.015974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_338-8_1_2_line_47 | NAYY 4x150 SE | 46 | 48 | 0.015987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_338-8_1_2_line_48 | NAYY 4x150 SE | 47 | 49 | 0.023078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_338-8_1_2_line_49 | NAYY 4x150 SE | 49 | 50 | 0.0045746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_338-8_1_2_line_50 | NAYY 4x150 SE | 50 | 51 | 0.012739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_338-8_1_2_line_51 | NAYY 4x150 SE | 51 | 52 | 0.012348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_338-8_1_2_line_52 | NAYY 4x150 SE | 52 | 54 | 0.00074546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_338-8_1_2_line_53 | NAYY 4x150 SE | 53 | 55 | 0.0035095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_338-8_1_2_line_54 | NAYY 4x150 SE | 54 | 55 | 0.017646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_338-8_1_2_line_55 | NAYY 4x150 SE | 55 | 56 | 0.017869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_338-8_1_2_trafo_43 | 0.25 MVA 20/0.4 kV | 57 | 34 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2627975.8885 | 1220722.1324 | 2627977.671 | 1220723.8084
1 | 2627977.671 | 1220723.8084 | 2627976.9154 | 1220724.7943 | 2627976.5037 | 1220726.838 | 2627975.2998 | 1220727.9553 | 2627961.2455 | 1220733.7594
2 | 2627977.671 | 1220723.8084 | 2627989.3691 | 1220718.9604 | 2627989.856 | 1220717.0505 | 2627992.942 | 1220715.7864
3 | 2627695.486 | 1220883.0963 | 2627682.7272 | 1220888.774
4 | 2627809.1798 | 1220832.551 | 2627695.486 | 1220883.0963
5 | 2627809.1798 | 1220832.551 | 2627852.5262 | 1220813.2864 | 2627891.1383 | 1220797.4464 | 2627900.9997 | 1220793.8821
6 | 2627998.7016 | 1220755.5006 | 2627978.6071 | 1220765.2259 | 2627967.1751 | 1220769.964 | 2627900.9997 | 1220793.8821
7 | 2627965.2701 | 1220672.1237 | 2627961.2749 | 1220674.8585
8 | 2627949.8417 | 1220680.6873 | 2627957.2908 | 1220677.5858 | 2627961.2749 | 1220674.8585
9 | 2627965.2701 | 1220672.1237 | 2627968.4599 | 1220669.9401
10 | 2627944.7327 | 1220682.8144 | 2627949.8417 | 1220680.6873
11 | 2627985.9346 | 1220660.3322 | 2627980.5458 | 1220662.4638 | 2627979.8474 | 1220664.1726 | 2627970.2597 | 1220668.7081 | 2627968.4599 | 1220669.9401
12 | 2627944.7327 | 1220682.8144 | 2627939.6804 | 1220684.9179
13 | 2627985.9346 | 1220660.3322 | 2628004.0027 | 1220653.188
14 | 2627975.0808 | 1220640.4141 | 2627985.9346 | 1220660.3322
15 | 2627937.1172 | 1220685.9851 | 2627939.6804 | 1220684.9179
16 | 2628136.5784 | 1220683.3013 | 2628126.1642 | 1220685.5619 | 2628113.1694 | 1220691.8599 | 2628111.0456 | 1220691.7832
17 | 2628100.8655 | 1220688.3888 | 2628107.6268 | 1220691.2223 | 2628111.0456 | 1220691.7832 | 2628111.0456 | 1220691.7832
18 | 2628100.8655 | 1220688.3888 | 2628090.6017 | 1220699.547 | 2628078.2253 | 1220709.4911
19 | 2628071.7694 | 1220714.6783 | 2628078.2253 | 1220709.4911
20 | 2628051.1925 | 1220728.145 | 2628071.7694 | 1220714.6783
21 | 2628023.9624 | 1220564.0877 | 2628017.3881 | 1220576.3085 | 2628016.8677 | 1220577.8609
22 | 2628023.9624 | 1220564.0877 | 2628009.8497 | 1220554.7605 | 2628005.6122 | 1220550.816
23 | 2628013.1472 | 1220592.4758 | 2628014.7874 | 1220584.0674 | 2628016.8677 | 1220577.8609
24 | 2628005.6122 | 1220550.816 | 2627974.8725 | 1220551.5946
25 | 2628004.0027 | 1220653.188 | 2628007.7776 | 1220651.6954
26 | 2628025.6702 | 1220644.6206 | 2628007.7776 | 1220651.6954
27 | 2628013.1472 | 1220592.4758 | 2628015.5067 | 1220602.1258 | 2628017.7382 | 1220607.6948
28 | 2628025.6702 | 1220644.6206 | 2628024.344 | 1220631.4067 | 2628022.4578 | 1220622.715 | 2628018.6711 | 1220610.0231 | 2628017.7382 | 1220607.6948
29 | 2628013.1472 | 1220592.4758 | 2628009.6719 | 1220592.6151 | 2628003.5284 | 1220592.275 | 2627994.4052 | 1220589.9419 | 2627986.1857 | 1220589.0473 | 2627977.2601 | 1220589.8614 | 2627957.2036 | 1220594.2367
30 | 2628029.9024 | 1220699.7172 | 2628031.0908 | 1220697.0546 | 2628030.9399 | 1220693.6519 | 2628025.6702 | 1220644.6206
31 | 2627954.4536 | 1220586.9306 | 2627957.2036 | 1220594.2367
32 | 2628029.9024 | 1220699.7172 | 2628033.0477 | 1220700.3657 | 2628045.84 | 1220695.1561
33 | 2628029.9024 | 1220699.7172 | 2628026.6829 | 1220701.9367 | 2628014.0414 | 1220707.1257
34 | 2628051.1925 | 1220728.145 | 2628045.84 | 1220695.1561
35 | 2627992.942 | 1220715.7864 | 2628014.0414 | 1220707.1257
36 | 2627998.7016 | 1220755.5006 | 2628001.6763 | 1220754.0609 | 2628015.9418 | 1220746.9015 | 2628020.3567 | 1220744.5524
37 | 2628051.1925 | 1220728.145 | 2628020.3567 | 1220744.5524
38 | 2628020.3567 | 1220744.5524 | 2628111.0154 | 1220888.0869
39 | 2628111.0154 | 1220888.0869 | 2628102.6929 | 1220897.8534 | 2628079.1303 | 1220938.6869
40 | 2628140.7408 | 1220944.9402 | 2628162.4493 | 1220943.7142
41 | 2628140.7408 | 1220944.9402 | 2628123.3431 | 1220945.9228
42 | 2628115.5349 | 1220946.3638 | 2628123.3431 | 1220945.9228
43 | 2628115.5349 | 1220946.3638 | 2628098.8288 | 1220947.3073
44 | 2628098.8288 | 1220947.3073 | 2628093.4549 | 1220947.6108
45 | 2627995.7483 | 1220968.3353 | 2627989.3086 | 1220969.4401 | 2627979.7383 | 1220972.2561
46 | 2627995.7483 | 1220968.3353 | 2628011.4919 | 1220965.6344
47 | 2627966.3865 | 1220980.15 | 2627972.1633 | 1220974.4849 | 2627979.7383 | 1220972.2561
48 | 2628034.0236 | 1220960.6855 | 2628017.7564 | 1220964.5597 | 2628011.4919 | 1220965.6344
49 | 2628034.0236 | 1220960.6855 | 2628038.4737 | 1220959.6257
50 | 2628050.8659 | 1220956.6744 | 2628038.4737 | 1220959.6257
51 | 2628062.4249 | 1220952.3715 | 2628052.4102 | 1220956.3066 | 2628050.8659 | 1220956.6744
52 | 2628062.4249 | 1220952.3715 | 2628063.1188 | 1220952.0989
53 | 2628077.3763 | 1220941.7266 | 2628079.1303 | 1220938.6869
54 | 2628077.3763 | 1220941.7266 | 2628069.9752 | 1220947.5507 | 2628063.1188 | 1220952.0989 | 2628063.1188 | 1220952.0989
55 | 2628077.3763 | 1220941.7266 | 2628082.1671 | 1220945.6959 | 2628086.3238 | 1220947.4165 | 2628090.8131 | 1220947.76 | 2628093.4549 | 1220947.6108

## bus_geodata
| x | y | coords
0 | 2627975.8885 | 1220722.1324
1 | 2627977.671 | 1220723.8084
2 | 2627961.2455 | 1220733.7594
3 | 2627682.7272 | 1220888.774
4 | 2627695.486 | 1220883.0963
5 | 2627809.1798 | 1220832.551
6 | 2627900.9997 | 1220793.8821
7 | 2627961.2749 | 1220674.8585
8 | 2627965.2701 | 1220672.1237
9 | 2627949.8417 | 1220680.6873
10 | 2627968.4599 | 1220669.9401
11 | 2627944.7327 | 1220682.8144
12 | 2627985.9346 | 1220660.3322
13 | 2627939.6804 | 1220684.9179
14 | 2627937.1172 | 1220685.9851
15 | 2628111.0456 | 1220691.7832
16 | 2628136.5784 | 1220683.3013
17 | 2628100.8655 | 1220688.3888
18 | 2628078.2253 | 1220709.4911
19 | 2628071.7694 | 1220714.6783
20 | 2628023.9624 | 1220564.0877
21 | 2628016.8677 | 1220577.8609
22 | 2628005.6122 | 1220550.816
23 | 2628004.0027 | 1220653.188
24 | 2627975.0808 | 1220640.4141
25 | 2628007.7776 | 1220651.6954
26 | 2628017.7382 | 1220607.6948
27 | 2628013.1472 | 1220592.4758
28 | 2628025.6702 | 1220644.6206
29 | 2627957.2036 | 1220594.2367
30 | 2628029.9024 | 1220699.7172
31 | 2627954.4536 | 1220586.9306
32 | 2628045.84 | 1220695.1561
33 | 2628014.0414 | 1220707.1257
34 | 2627998.7016 | 1220755.5006
35 | 2628020.3567 | 1220744.5524
36 | 2628051.1925 | 1220728.145
37 | 2628111.0154 | 1220888.0869
38 | 2627992.942 | 1220715.7864
39 | 2627974.8725 | 1220551.5946
40 | 2628140.7408 | 1220944.9402
41 | 2628162.4493 | 1220943.7142
42 | 2628123.3431 | 1220945.9228
43 | 2628115.5349 | 1220946.3638
44 | 2628098.8288 | 1220947.3073
45 | 2627995.7483 | 1220968.3353
46 | 2627979.7383 | 1220972.2561
47 | 2628011.4919 | 1220965.6344
48 | 2627966.3865 | 1220980.15
49 | 2628034.0236 | 1220960.6855
50 | 2628038.4737 | 1220959.6257
51 | 2628050.8659 | 1220956.6744
52 | 2628062.4249 | 1220952.3715
53 | 2628079.1303 | 1220938.6869
54 | 2628063.1188 | 1220952.0989
55 | 2628077.3763 | 1220941.7266
56 | 2628093.4549 | 1220947.6108
57 | 2628051.1925 | 1220728.145

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98922 | -0.075286 | 0.0045169 | 0.001132
1 | 0.98924 | -0.075174 | 0 | 0
2 | 0.98913 | -0.075969 | 0.0038728 | 0.00097063
3 | 0.9966 | -0.023887 | 0.0049693 | 0.0012454
4 | 0.9967 | -0.02319 | 0 | 0
5 | 0.99758 | -0.016989 | 0 | 0
6 | 0.99829 | -0.012008 | 0.0064346 | 0.0016127
7 | 0.98358 | -0.11525 | 0.0022968 | 0.00057563
8 | 0.98366 | -0.11471 | 0.0087164 | 0.0021845
9 | 0.98342 | -0.11637 | 0.0021336 | 0.00053473
10 | 0.98376 | -0.11394 | 0.0034193 | 0.00085695
11 | 0.98337 | -0.11673 | 0.0020866 | 0.00052295
12 | 0.98444 | -0.10912 | 0 | 0
13 | 0.98334 | -0.11697 | 0.0020871 | 0.00052308
14 | 0.98333 | -0.11703 | 0.0021341 | 0.00053486
15 | 0.99351 | -0.045166 | 0.0017464 | 0.00043768
16 | 0.99347 | -0.04548 | 0.0011403 | 0.00028579
17 | 0.99356 | -0.044851 | 0 | 0
18 | 0.99369 | -0.043943 | 0.0021708 | 0.00054405
19 | 0.99375 | -0.043519 | 0 | 0
20 | 0.98531 | -0.10297 | 0 | 0
21 | 0.98536 | -0.10264 | 0.0025727 | 0.00064478
22 | 0.98524 | -0.10345 | 0 | 0
23 | 0.98524 | -0.10347 | 0.0042062 | 0.0010542
24 | 0.98427 | -0.11037 | 0.0053648 | 0.0013445
25 | 0.98543 | -0.10212 | 0.00064366 | 0.00016132
26 | 0.9857 | -0.10016 | 0.001071 | 0.00026842
27 | 0.98546 | -0.10191 | 0 | 0
28 | 0.98635 | -0.09558 | 0 | 0
29 | 0.98496 | -0.10545 | 0.0033652 | 0.0008434
30 | 0.98996 | -0.070058 | 0 | 0
31 | 0.98493 | -0.10566 | 0.00268 | 0.00067168
32 | 0.99129 | -0.060712 | 0.00050933 | 0.00012765
33 | 0.98973 | -0.071688 | 0.00070834 | 0.00017753
34 | 1 | 0 | -0.10095 | -0.025236
35 | 0.99693 | -0.021306 | 0.0040538 | 0.001016
36 | 0.99392 | -0.042263 | 0 | 0
37 | 0.99104 | -0.062587 | 0 | 0
38 | 0.98946 | -0.07364 | 0 | 0
39 | 0.98515 | -0.1041 | 0.0020643 | 0.00051736
40 | 0.98832 | -0.08183 | 0.0017082 | 0.00042813
41 | 0.98827 | -0.082219 | 0.001751 | 0.00043884
42 | 0.98841 | -0.081214 | 0.0010107 | 0.00025331
43 | 0.98846 | -0.080856 | 0.0011486 | 0.00028787
44 | 0.98859 | -0.079895 | 0.0011062 | 0.00027723
45 | 0.98752 | -0.087517 | 0.0009598 | 0.00024055
46 | 0.98738 | -0.088502 | 0.0028602 | 0.00071683
47 | 0.98768 | -0.086408 | 0.00076188 | 0.00019095
48 | 0.98731 | -0.088987 | 0.0029636 | 0.00074274
49 | 0.98793 | -0.084625 | 0.00099446 | 0.00024924
50 | 0.98798 | -0.084226 | 0.0039564 | 0.00099156
51 | 0.98821 | -0.082597 | 0.00091724 | 0.00022988
52 | 0.98845 | -0.080904 | 0.00059634 | 0.00014946
53 | 0.98896 | -0.077281 | 0.0012471 | 0.00031256
54 | 0.98847 | -0.080797 | 0.00096205 | 0.00024111
55 | 0.98885 | -0.078098 | 0 | 0
56 | 0.98865 | -0.079525 | 0.0010935 | 0.00027406
57 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0045169 | -0.001132 | 0.004517 | 0.001132 | 7.0374e-08 | -4.2969e-09 | 0.0067944 | 0.0067944 | 0.0067944 | 0.98922 | -0.075286 | 0.98924 | -0.075174 | 2.5165
1 | 0.0038733 | 0.00097053 | -0.0038728 | -0.00097063 | 4.2646e-07 | -9.4437e-08 | 0.0058261 | 0.0058262 | 0.0058262 | 0.98924 | -0.075174 | 0.98913 | -0.075969 | 2.1579
2 | -0.0083902 | -0.0021026 | 0.008392 | 0.002103 | 1.782e-06 | 4.5516e-07 | 0.012621 | 0.01262 | 0.012621 | 0.98924 | -0.075174 | 0.98946 | -0.07364 | 4.6743
3 | -0.0049693 | -0.0012454 | 0.0049698 | 0.0012454 | 4.7972e-07 | 2.5211e-09 | 0.0074196 | 0.0074195 | 0.0074196 | 0.9966 | -0.023887 | 0.9967 | -0.02319 | 2.748
4 | -0.0049698 | -0.0012454 | 0.004974 | 0.0012454 | 4.2635e-06 | 2.0675e-08 | 0.0074195 | 0.007419 | 0.0074195 | 0.9967 | -0.02319 | 0.99758 | -0.016989 | 2.748
5 | -0.004974 | -0.0012454 | 0.0049774 | 0.0012455 | 3.4225e-06 | 1.4343e-08 | 0.007419 | 0.0074185 | 0.007419 | 0.99758 | -0.016989 | 0.99829 | -0.012008 | 2.7478
6 | -0.011412 | -0.0028581 | 0.011431 | 0.002864 | 1.8968e-05 | 5.9194e-06 | 0.01701 | 0.017009 | 0.01701 | 0.99829 | -0.012008 | 1 | 0 | 6.2999
7 | -0.01074 | -0.0026916 | 0.010741 | 0.0026918 | 7.9757e-07 | 2.453e-07 | 0.016248 | 0.016248 | 0.016248 | 0.98358 | -0.11525 | 0.98366 | -0.11471 | 6.0178
8 | 0.0084432 | 0.002116 | -0.0084419 | -0.0021156 | 1.3131e-06 | 3.4136e-07 | 0.012773 | 0.012773 | 0.012773 | 0.98358 | -0.11525 | 0.98342 | -0.11637 | 4.7309
9 | -0.019457 | -0.0048764 | 0.019459 | 0.0048771 | 2.0898e-06 | 7.5468e-07 | 0.029434 | 0.029434 | 0.029434 | 0.98366 | -0.11471 | 0.98376 | -0.11394 | 10.9014
10 | 0.0063083 | 0.0015809 | -0.006308 | -0.0015808 | 3.1462e-07 | 5.0794e-08 | 0.009545 | 0.009545 | 0.009545 | 0.98342 | -0.11637 | 0.98337 | -0.11673 | 3.5352
11 | -0.022879 | -0.0057341 | 0.022894 | 0.0057397 | 1.5266e-05 | 5.6118e-06 | 0.034606 | 0.034605 | 0.034606 | 0.98376 | -0.11394 | 0.98444 | -0.10912 | 12.8169
12 | 0.0042214 | 0.0010579 | -0.0042212 | -0.0010579 | 1.3934e-07 | -1.5836e-08 | 0.0063876 | 0.0063877 | 0.0063877 | 0.98337 | -0.11673 | 0.98334 | -0.11697 | 2.3658
13 | -0.02826 | -0.0070843 | 0.028282 | 0.0070926 | 2.2122e-05 | 8.2612e-06 | 0.042716 | 0.042716 | 0.042716 | 0.98444 | -0.10912 | 0.98524 | -0.10347 | 15.8207
14 | 0.0053657 | 0.0013446 | -0.0053648 | -0.0013445 | 9.3057e-07 | 6.972e-08 | 0.0081104 | 0.0081105 | 0.0081105 | 0.98444 | -0.10912 | 0.98427 | -0.11037 | 3.0039
15 | 0.0021341 | 0.00053483 | -0.0021341 | -0.00053486 | 1.8069e-08 | -2.8272e-08 | 0.0032294 | 0.0032294 | 0.0032294 | 0.98334 | -0.11697 | 0.98333 | -0.11703 | 1.1961
16 | 0.0011404 | 0.00028546 | -0.0011403 | -0.00028579 | 4.9551e-08 | -3.3345e-07 | 0.0017079 | 0.001708 | 0.001708 | 0.99351 | -0.045166 | 0.99347 | -0.04548 | 0.63259
17 | -0.0028868 | -0.00072314 | 0.0028869 | 0.00072305 | 1.2592e-07 | -9.1374e-08 | 0.0043235 | 0.0043234 | 0.0043235 | 0.99351 | -0.045166 | 0.99356 | -0.044851 | 1.6013
18 | -0.0028869 | -0.00072305 | 0.0028872 | 0.00072279 | 3.62e-07 | -2.6278e-07 | 0.0043234 | 0.0043233 | 0.0043234 | 0.99356 | -0.044851 | 0.99369 | -0.043943 | 1.6013
19 | -0.005058 | -0.0012668 | 0.0050583 | 0.0012668 | 2.9645e-07 | 6.7299e-09 | 0.007574 | 0.0075739 | 0.007574 | 0.99369 | -0.043943 | 0.99375 | -0.043519 | 2.8052
20 | -0.0050583 | -0.0012668 | 0.0050592 | 0.0012669 | 8.7851e-07 | 1.9861e-08 | 0.0075739 | 0.0075738 | 0.0075739 | 0.99375 | -0.043519 | 0.99392 | -0.042263 | 2.8052
21 | -0.0020646 | -0.0005168 | 0.0020647 | 0.00051664 | 9.4099e-08 | -1.6142e-07 | 0.0031177 | 0.0031177 | 0.0031177 | 0.98531 | -0.10297 | 0.98536 | -0.10264 | 1.1547
22 | 0.0020646 | 0.0005168 | -0.0020645 | -0.00051704 | 1.3747e-07 | -2.3577e-07 | 0.0031177 | 0.0031178 | 0.0031178 | 0.98531 | -0.10297 | 0.98524 | -0.10345 | 1.1548
23 | -0.0046374 | -0.0011614 | 0.0046378 | 0.0011614 | 4.6244e-07 | -1.466e-08 | 0.0070028 | 0.0070027 | 0.0070028 | 0.98536 | -0.10264 | 0.98546 | -0.10191 | 2.5936
24 | 0.0020645 | 0.00051704 | -0.0020643 | -0.00051736 | 1.8653e-07 | -3.1981e-07 | 0.0031178 | 0.003118 | 0.003118 | 0.98524 | -0.10345 | 0.98515 | -0.1041 | 1.1548
25 | -0.032488 | -0.0081467 | 0.032494 | 0.008149 | 6.0987e-06 | 2.2939e-06 | 0.049068 | 0.049068 | 0.049068 | 0.98524 | -0.10347 | 0.98543 | -0.10212 | 18.1735
26 | -0.033138 | -0.0083104 | 0.033168 | 0.0083217 | 3.0064e-05 | 1.1318e-05 | 0.05004 | 0.05004 | 0.05004 | 0.98543 | -0.10212 | 0.98635 | -0.09558 | 18.5335
27 | 0.010689 | 0.0026776 | -0.010686 | -0.0026768 | 2.5885e-06 | 7.9254e-07 | 0.016135 | 0.016135 | 0.016135 | 0.9857 | -0.10016 | 0.98546 | -0.10191 | 5.976
28 | -0.01176 | -0.002946 | 0.011767 | 0.0029484 | 7.4581e-06 | 2.3847e-06 | 0.017752 | 0.017752 | 0.017752 | 0.9857 | -0.10016 | 0.98635 | -0.09558 | 6.5748
29 | 0.0060483 | 0.0015154 | -0.0060453 | -0.001515 | 2.9566e-06 | 4.1376e-07 | 0.0091326 | 0.0091329 | 0.0091329 | 0.98546 | -0.10191 | 0.98496 | -0.10545 | 3.3826
30 | -0.044935 | -0.01127 | 0.045094 | 0.011331 | 0.00015957 | 6.066e-05 | 0.067792 | 0.067792 | 0.067792 | 0.98635 | -0.09558 | 0.98996 | -0.070058 | 25.1082
31 | 0.0026801 | 0.00067161 | -0.00268 | -0.00067168 | 7.9859e-08 | -6.864e-08 | 0.0040489 | 0.004049 | 0.004049 | 0.98496 | -0.10545 | 0.98493 | -0.10566 | 1.4996
32 | -0.054199 | -0.013612 | 0.05427 | 0.013639 | 7.052e-05 | 2.6904e-05 | 0.081477 | 0.081477 | 0.081477 | 0.98996 | -0.070058 | 0.99129 | -0.060712 | 30.1767
33 | 0.0091047 | 0.0022817 | -0.0091026 | -0.0022811 | 2.054e-06 | 5.6408e-07 | 0.013685 | 0.013685 | 0.013685 | 0.98996 | -0.070058 | 0.98973 | -0.071688 | 5.0686
34 | -0.054779 | -0.013767 | 0.05492 | 0.013821 | 0.00014105 | 5.3819e-05 | 0.082242 | 0.082241 | 0.082242 | 0.99129 | -0.060712 | 0.99392 | -0.042263 | 30.4599
35 | 0.0083943 | 0.0021036 | -0.008392 | -0.002103 | 2.2668e-06 | 5.7882e-07 | 0.01262 | 0.01262 | 0.01262 | 0.98973 | -0.071688 | 0.98946 | -0.07364 | 4.6742
36 | 0.08872 | 0.022371 | -0.088456 | -0.02227 | 0.0002641 | 0.00010126 | 0.13206 | 0.13206 | 0.13206 | 1 | 0 | 0.99693 | -0.021306 | 48.9129
37 | 0.060155 | 0.015155 | -0.059979 | -0.015088 | 0.00017582 | 6.717e-05 | 0.089815 | 0.089815 | 0.089815 | 0.99693 | -0.021306 | 0.99392 | -0.042263 | 33.2649
38 | 0.024247 | 0.0060993 | -0.024108 | -0.0060482 | 0.00013882 | 5.1191e-05 | 0.036199 | 0.0362 | 0.0362 | 0.99693 | -0.021306 | 0.99104 | -0.062587 | 13.4074
39 | 0.024108 | 0.0060482 | -0.024059 | -0.0060301 | 4.9043e-05 | 1.8092e-05 | 0.0362 | 0.0362 | 0.0362 | 0.99104 | -0.062587 | 0.98896 | -0.077281 | 13.4075
40 | 0.0017511 | 0.0004386 | -0.001751 | -0.00043884 | 9.4305e-08 | -2.4234e-07 | 0.0026364 | 0.0026365 | 0.0026365 | 0.98832 | -0.08183 | 0.98827 | -0.082219 | 0.97647
41 | -0.0034594 | -0.00086673 | 0.0034596 | 0.00086662 | 2.9495e-07 | -1.0988e-07 | 0.0052083 | 0.0052082 | 0.0052083 | 0.98832 | -0.08183 | 0.98841 | -0.081214 | 1.929
42 | -0.0044704 | -0.0011199 | 0.0044706 | 0.0011199 | 2.2102e-07 | -1.5234e-08 | 0.0067298 | 0.0067298 | 0.0067298 | 0.98841 | -0.081214 | 0.98846 | -0.080856 | 2.4925
43 | -0.0056192 | -0.0014078 | 0.0056199 | 0.0014079 | 7.4709e-07 | 7.2829e-08 | 0.0084589 | 0.0084588 | 0.0084589 | 0.98846 | -0.080856 | 0.98859 | -0.079895 | 3.1329
44 | -0.0067261 | -0.0016851 | 0.0067264 | 0.0016851 | 3.4423e-07 | 6.338e-08 | 0.010124 | 0.010124 | 0.010124 | 0.98859 | -0.079895 | 0.98865 | -0.079525 | 3.7496
45 | 0.0058247 | 0.0014595 | -0.0058239 | -0.0014594 | 7.9359e-07 | 9.4034e-08 | 0.0087768 | 0.0087768 | 0.0087768 | 0.98752 | -0.087517 | 0.98738 | -0.088502 | 3.2507
46 | -0.0067845 | -0.0017001 | 0.0067856 | 0.0017003 | 1.0417e-06 | 1.9626e-07 | 0.010223 | 0.010223 | 0.010223 | 0.98752 | -0.087517 | 0.98768 | -0.086408 | 3.7863
47 | 0.0029638 | 0.00074261 | -0.0029636 | -0.00074274 | 1.9901e-07 | -1.2792e-07 | 0.0044664 | 0.0044665 | 0.0044665 | 0.98738 | -0.088502 | 0.98731 | -0.088987 | 1.6543
48 | -0.0075475 | -0.0018912 | 0.0075493 | 0.0018916 | 1.8619e-06 | 4.207e-07 | 0.011371 | 0.011371 | 0.011371 | 0.98768 | -0.086408 | 0.98793 | -0.084625 | 4.2114
49 | -0.0085438 | -0.0021409 | 0.0085443 | 0.002141 | 4.7271e-07 | 1.2323e-07 | 0.012869 | 0.012869 | 0.012869 | 0.98793 | -0.084625 | 0.98798 | -0.084226 | 4.7661
50 | -0.012501 | -0.0031326 | 0.012503 | 0.0031335 | 2.8176e-06 | 9.2053e-07 | 0.018827 | 0.018827 | 0.018827 | 0.98798 | -0.084226 | 0.98821 | -0.082597 | 6.9731
51 | -0.013421 | -0.0033634 | 0.013424 | 0.0033644 | 3.1465e-06 | 1.052e-06 | 0.020208 | 0.020208 | 0.020208 | 0.98821 | -0.082597 | 0.98845 | -0.080904 | 7.4846
52 | -0.01402 | -0.0035139 | 0.01402 | 0.0035139 | 2.0721e-07 | 7.0142e-08 | 0.021106 | 0.021106 | 0.021106 | 0.98845 | -0.080904 | 0.98847 | -0.080797 | 7.817
53 | 0.022812 | 0.0057175 | -0.02281 | -0.0057166 | 2.58e-06 | 9.4727e-07 | 0.034324 | 0.034324 | 0.034324 | 0.98896 | -0.077281 | 0.98885 | -0.078098 | 12.7125
54 | -0.014982 | -0.0037551 | 0.014988 | 0.003757 | 5.6012e-06 | 1.928e-06 | 0.022554 | 0.022554 | 0.022554 | 0.98847 | -0.080797 | 0.98885 | -0.078098 | 8.3534
55 | 0.0078215 | 0.0019596 | -0.00782 | -0.0019592 | 1.5445e-06 | 3.6488e-07 | 0.01177 | 0.01177 | 0.01177 | 0.98885 | -0.078098 | 0.98865 | -0.079525 | 4.3591

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.10221 | 0.025552

## res_load
| p_mw | q_mvar
0 | 0.0045169 | 0.001132
1 | 0.0038728 | 0.00097063
2 | 0.0049693 | 0.0012454
3 | 0.0064346 | 0.0016127
4 | 0.0022968 | 0.00057563
5 | 0.0087164 | 0.0021845
6 | 0.0021336 | 0.00053473
7 | 0.0034193 | 0.00085695
8 | 0.0020866 | 0.00052295
9 | 0.0020871 | 0.00052308
10 | 0.0021341 | 0.00053486
11 | 0.0017464 | 0.00043768
12 | 0.0011403 | 0.00028579
13 | 0.0021708 | 0.00054405
14 | 0.0025727 | 0.00064478
15 | 0.0042062 | 0.0010542
16 | 0.0053648 | 0.0013445
17 | 0.00064366 | 0.00016132
18 | 0.001071 | 0.00026842
19 | 0.0033652 | 0.0008434
20 | 0.00268 | 0.00067168
21 | 0.00050933 | 0.00012765
22 | 0.00070834 | 0.00017753
23 | 0.0012606 | 0.00031594
24 | 0.0040538 | 0.001016
25 | 0.0020643 | 0.00051736
26 | 0.0017082 | 0.00042813
27 | 0.001751 | 0.00043884
28 | 0.0010107 | 0.00025331
29 | 0.0011486 | 0.00028787
30 | 0.0011062 | 0.00027723
31 | 0.0009598 | 0.00024055
32 | 0.0028602 | 0.00071683
33 | 0.00076188 | 0.00019095
34 | 0.0029636 | 0.00074274
35 | 0.00099446 | 0.00024924
36 | 0.0039564 | 0.00099156
37 | 0.00091724 | 0.00022988
38 | 0.00059634 | 0.00014946
39 | 0.0012471 | 0.00031256
40 | 0.00096205 | 0.00024111
41 | 0.0010935 | 0.00027406

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1