## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3393-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3393-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3393-6_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3393-6_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_3393-6_0_3_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_3393-6_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_3393-6_0_3_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_3393-6_0_3_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_3393-6_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_3393-6_0_3_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_3393-6_0_3_node_38 | 0.4 | n |  | TRUE
11 | bus_LV_3393-6_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_3393-6_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_3393-6_0_3_node_39 | 0.4 | n |  | TRUE
14 | bus_LV_3393-6_0_3_node_59 | 0.4 | n |  | TRUE
15 | bus_LV_3393-6_0_3_node_42 | 0.4 | n |  | TRUE
16 | bus_LV_3393-6_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_3393-6_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_3393-6_0_3_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_3393-6_0_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_3393-6_0_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_3393-6_0_3_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_3393-6_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_3393-6_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_3393-6_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_3393-6_0_3_node_69 | 0.4 | n |  | TRUE
26 | bus_LV_3393-6_0_3_node_71 | 0.4 | n |  | TRUE
27 | bus_LV_3393-6_0_3_node_67 | 0.4 | n |  | TRUE
28 | bus_LV_3393-6_0_3_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_3393-6_0_3_node_44 | 0.4 | n |  | TRUE
30 | bus_LV_3393-6_0_3_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_3393-6_0_3_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_3393-6_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_3393-6_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_3393-6_0_3_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_3393-6_0_3_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_3393-6_0_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_3393-6_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_3393-6_0_3_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_3393-6_0_3_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_3393-6_0_3_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_3393-6_0_3_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_3393-6_0_3_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_3393-6_0_3_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_3393-6_0_3_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_3393-6_0_3_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_3393-6_0_3_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_3393-6_0_3_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_3393-6_0_3_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_3393-6_0_3_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_3393-6_0_3_node_72 | 0.4 | n |  | TRUE
51 | bus_LV_3393-6_0_3_node_75 | 0.4 | n |  | TRUE
52 | bus_LV_3393-6_0_3_node_73 | 0.4 | n |  | TRUE
53 | bus_LV_3393-6_0_3_node_65 | 0.4 | n |  | TRUE
54 | bus_LV_3393-6_0_3_node_62 | 0.4 | n |  | TRUE
55 | bus_LV_3393-6_0_3_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_3393-6_0_3_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_3393-6_0_3_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_3393-6_0_3_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_3393-6_0_3_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_3393-6_0_3_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_3393-6_0_3_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_3393-6_0_3_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_3393-6_0_3_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_3393-6_0_3_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_3393-6_0_3_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_3393-6_0_3_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_3393-6_0_3_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_3393-6_0_3_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_3393-6_0_3_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_3393-6_0_3_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_3393-6_0_3_node_74 | 0.4 | n |  | TRUE
72 | bus_LV_3393-6_0_3_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_3393-6_0_3_node_70 | 0.4 | n |  | TRUE
74 | bus_MV_156_0_node_145 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3393-6_0_3_load_0 | 0 | 0.0057307 | 0.0014363 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3393-6_0_3_load_2 | 2 | 0.0044572 | 0.0011171 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3393-6_0_3_load_3 | 6 | 0.00077073 | 0.00019316 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3393-6_0_3_load_11 | 7 | 0.00024092 | 6.038e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3393-6_0_3_load_8 | 8 | 0.00038603 | 9.6748e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3393-6_0_3_load_12 | 9 | 0.0017984 | 0.00045073 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3393-6_0_3_load_38 | 10 | 0.030838 | 0.0077288 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3393-6_0_3_load_9 | 12 | 0.00060917 | 0.00015267 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3393-6_0_3_load_59 | 14 | 0.00093993 | 0.00023557 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3393-6_0_3_load_42 | 15 | 0.00089169 | 0.00022348 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3393-6_0_3_load_13 | 16 | 0.0041881 | 0.0010496 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3393-6_0_3_load_15 | 19 | 0.0058462 | 0.0014652 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3393-6_0_3_load_16 | 20 | 0.011803 | 0.0029581 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3393-6_0_3_load_20 | 21 | 0.0020389 | 0.00051099 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3393-6_0_3_load_17 | 24 | 0.003333 | 0.00083532 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3393-6_0_3_load_67 | 27 | 0.0022787 | 0.00057109 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3393-6_0_3_load_34 | 28 | 0.0039426 | 0.00098811 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3393-6_0_3_load_44 | 29 | 0.0060522 | 0.0015168 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3393-6_0_3_load_33 | 30 | 0.021217 | 0.0053176 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3393-6_0_3_load_43 | 31 | 0.0021838 | 0.00054731 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3393-6_0_3_load_22 | 32 | 0.0055207 | 0.0013836 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3393-6_0_3_load_23 | 33 | 0.00034202 | 8.5718e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3393-6_0_3_load_25 | 35 | 0.0010719 | 0.00026863 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3393-6_0_3_load_26 | 36 | 0.00049041 | 0.00012291 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3393-6_0_3_load_32 | 37 | 0.001338 | 0.00033534 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3393-6_0_3_load_27 | 39 | 0.00089813 | 0.00022509 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3393-6_0_3_load_28 | 40 | 0.0010447 | 0.00026183 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3393-6_0_3_load_31 | 42 | 0.0010984 | 0.00027529 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3393-6_0_3_load_46 | 43 | 0.00050964 | 0.00012773 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3393-6_0_3_load_41 | 44 | 0.0015087 | 0.00037813 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3393-6_0_3_load_40 | 45 | 0.0023452 | 0.00058777 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3393-6_0_3_load_47 | 46 | 0.00053265 | 0.00013349 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3393-6_0_3_load_37 | 49 | 0.012674 | 0.0031764 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3393-6_0_3_load_72 | 50 | 0.0016405 | 0.00041114 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3393-6_0_3_load_75 | 51 | 0.0049044 | 0.0012292 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3393-6_0_3_load_73 | 52 | 0.0020882 | 0.00052334 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3393-6_0_3_load_45 | 55 | 0.016347 | 0.0040969 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3393-6_0_3_load_48 | 56 | 0.00055957 | 0.00014024 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3393-6_0_3_load_49 | 57 | 0.0033081 | 0.00082908 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3393-6_0_3_load_50 | 59 | 0.0052214 | 0.0013086 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3393-6_0_3_load_52 | 60 | 0.0051281 | 0.0012852 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3393-6_0_3_load_53 | 61 | 0.0024393 | 0.00061135 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3393-6_0_3_load_57 | 62 | 0.0058345 | 0.0014623 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3393-6_0_3_load_55 | 63 | 0.0017764 | 0.0004452 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3393-6_0_3_load_56 | 64 | 0.0038941 | 0.00097595 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3393-6_0_3_load_58 | 65 | 0.001422 | 0.0003564 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3393-6_0_3_load_66 | 66 | 0.00082243 | 0.00020612 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3393-6_0_3_load_64 | 67 | 0.0010797 | 0.00027059 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3393-6_0_3_load_60 | 68 | 0.0062807 | 0.0015741 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3393-6_0_3_load_61 | 69 | 0.0019441 | 0.00048724 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3393-6_0_3_load_74 | 71 | 0.004122 | 0.0010331 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3393-6_0_3_load_68 | 72 | 0.0059513 | 0.0014915 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3393-6_0_3_load_70 | 73 | 0.023063 | 0.0057802 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3393-6_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.032265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3393-6_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.066588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3393-6_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.26992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3393-6_0_3_line_3 | NAYY 4x150 SE | 2 | 10 | 0.025156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3393-6_0_3_line_4 | NAYY 4x150 SE | 3 | 11 | 0.065787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3393-6_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.053076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3393-6_0_3_line_6 | NAYY 4x150 SE | 4 | 5 | 0.071761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3393-6_0_3_line_7 | NAYY 4x150 SE | 4 | 6 | 0.10612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3393-6_0_3_line_8 | NAYY 4x150 SE | 5 | 7 | 0.061449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3393-6_0_3_line_9 | NAYY 4x150 SE | 5 | 8 | 0.23956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3393-6_0_3_line_10 | NAYY 4x150 SE | 7 | 9 | 0.01562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3393-6_0_3_line_11 | NAYY 4x150 SE | 10 | 13 | 0.017159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3393-6_0_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.022781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3393-6_0_3_line_13 | NAYY 4x150 SE | 13 | 45 | 0.040401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3393-6_0_3_line_14 | NAYY 4x150 SE | 13 | 41 | 0.034345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3393-6_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.0010388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3393-6_0_3_line_16 | NAYY 4x150 SE | 15 | 44 | 0.024692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3393-6_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.058903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3393-6_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.10355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3393-6_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.028056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3393-6_0_3_line_20 | NAYY 4x150 SE | 17 | 20 | 0.020319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3393-6_0_3_line_21 | NAYY 4x150 SE | 18 | 21 | 0.021425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3393-6_0_3_line_22 | NAYY 4x150 SE | 19 | 22 | 0.038574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3393-6_0_3_line_23 | NAYY 4x150 SE | 22 | 23 | 0.080334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3393-6_0_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.1198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3393-6_0_3_line_25 | NAYY 4x150 SE | 23 | 28 | 0.016933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3393-6_0_3_line_26 | NAYY 4x150 SE | 23 | 29 | 0.024145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3393-6_0_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.034824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_3393-6_0_3_line_28 | NAYY 4x150 SE | 25 | 27 | 0.01556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_3393-6_0_3_line_29 | NAYY 4x150 SE | 26 | 51 | 0.013828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_3393-6_0_3_line_30 | NAYY 4x150 SE | 26 | 48 | 0.007375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_3393-6_0_3_line_31 | NAYY 4x150 SE | 27 | 72 | 0.0045452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3393-6_0_3_line_32 | NAYY 4x150 SE | 28 | 30 | 0.013338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3393-6_0_3_line_33 | NAYY 4x150 SE | 29 | 31 | 8.4076e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3393-6_0_3_line_34 | NAYY 4x150 SE | 30 | 47 | 0.025393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3393-6_0_3_line_35 | NAYY 4x150 SE | 31 | 55 | 0.033912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3393-6_0_3_line_36 | NAYY 4x150 SE | 32 | 33 | 0.019362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3393-6_0_3_line_37 | NAYY 4x150 SE | 32 | 34 | 0.028069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3393-6_0_3_line_38 | NAYY 4x150 SE | 34 | 35 | 0.027501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3393-6_0_3_line_39 | NAYY 4x150 SE | 34 | 36 | 0.013925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3393-6_0_3_line_40 | NAYY 4x150 SE | 35 | 37 | 0.0147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3393-6_0_3_line_41 | NAYY 4x150 SE | 37 | 38 | 0.012367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3393-6_0_3_line_42 | NAYY 4x150 SE | 38 | 42 | 0.0036782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3393-6_0_3_line_43 | NAYY 4x150 SE | 38 | 39 | 0.040502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3393-6_0_3_line_44 | NAYY 4x150 SE | 39 | 40 | 0.0065421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3393-6_0_3_line_45 | NAYY 4x150 SE | 40 | 41 | 0.029558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3393-6_0_3_line_46 | NAYY 4x150 SE | 41 | 43 | 0.016682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3393-6_0_3_line_47 | NAYY 4x150 SE | 42 | 44 | 0.0087195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3393-6_0_3_line_48 | NAYY 4x150 SE | 43 | 46 | 0.028471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3393-6_0_3_line_49 | NAYY 4x150 SE | 45 | 53 | 0.0033487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3393-6_0_3_line_50 | NAYY 4x150 SE | 46 | 56 | 0.0097814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3393-6_0_3_line_51 | NAYY 4x150 SE | 47 | 48 | 0.04014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_3393-6_0_3_line_52 | NAYY 4x150 SE | 47 | 49 | 0.017839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3393-6_0_3_line_53 | NAYY 4x150 SE | 48 | 50 | 0.014112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3393-6_0_3_line_54 | NAYY 4x150 SE | 50 | 52 | 0.0074171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3393-6_0_3_line_55 | NAYY 4x150 SE | 51 | 71 | 0.036439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_3393-6_0_3_line_56 | NAYY 4x150 SE | 52 | 60 | 0.0032353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3393-6_0_3_line_57 | NAYY 4x150 SE | 53 | 54 | 0.006129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3393-6_0_3_line_58 | NAYY 4x150 SE | 54 | 67 | 0.01889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3393-6_0_3_line_59 | NAYY 4x150 SE | 54 | 68 | 0.038689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3393-6_0_3_line_60 | NAYY 4x150 SE | 57 | 58 | 0.019541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3393-6_0_3_line_61 | NAYY 4x150 SE | 58 | 61 | 0.022695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3393-6_0_3_line_62 | NAYY 4x150 SE | 59 | 60 | 0.02111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3393-6_0_3_line_63 | NAYY 4x150 SE | 61 | 62 | 0.010776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3393-6_0_3_line_64 | NAYY 4x150 SE | 62 | 63 | 0.021609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3393-6_0_3_line_65 | NAYY 4x150 SE | 63 | 64 | 0.016479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3393-6_0_3_line_66 | NAYY 4x150 SE | 64 | 65 | 0.021197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3393-6_0_3_line_67 | NAYY 4x150 SE | 65 | 66 | 0.020579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3393-6_0_3_line_68 | NAYY 4x150 SE | 66 | 67 | 0.018078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3393-6_0_3_line_69 | NAYY 4x150 SE | 68 | 69 | 0.018243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_3393-6_0_3_line_70 | NAYY 4x150 SE | 69 | 70 | 0.020042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
71 | LV_3393-6_0_3_line_71 | NAYY 4x150 SE | 70 | 71 | 0.014582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
72 | LV_3393-6_0_3_line_72 | NAYY 4x150 SE | 72 | 73 | 0.021141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3393-6_0_3_trafo_67 | 0.25 MVA 20/0.4 kV | 74 | 27 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2725100.9373 | 1250499.9222 | 2725108.8779 | 1250531.1947
1 | 2725100.9373 | 1250499.9222 | 2725131.0446 | 1250491.7396 | 2725160.6895 | 1250483.6474 | 2725165.3217 | 1250483.1448
2 | 2725100.9373 | 1250499.9222 | 2724833.6965 | 1250537.8314
3 | 2725189.1766 | 1250489.6281 | 2725184.6826 | 1250486.4232 | 2725165.3217 | 1250483.1448 | 2725165.3217 | 1250483.1448
4 | 2724772.1378 | 1250529.8949 | 2724788.4039 | 1250524.1546 | 2724803.4435 | 1250523.9378 | 2724817.7367 | 1250527.9645 | 2724826.0882 | 1250532.2885 | 2724833.6965 | 1250537.8314
5 | 2724833.6965 | 1250537.8314 | 2724815.278 | 1250579.7687 | 2724813.3675 | 1250586.7856
6 | 2724792.6836 | 1250690.867 | 2724789.9156 | 1250719.7338 | 2724789.7242 | 1250728.4596 | 2724790.2253 | 1250737.2889 | 2724793.8002 | 1250762.2191
7 | 2724813.3675 | 1250586.7856 | 2724792.6836 | 1250690.867
8 | 2724793.8002 | 1250762.2191 | 2724798.8422 | 1250759.4562 | 2724801.2369 | 1250757.2603 | 2724803.7729 | 1250753.0211 | 2724820.4672 | 1250718.6985 | 2724824.095 | 1250713.8929 | 2724826.4516 | 1250711.5507
9 | 2724793.8002 | 1250762.2191 | 2724914.8834 | 1250968.9288
10 | 2724839.4028 | 1250703.0838 | 2724833.8674 | 1250705.6027 | 2724828.9927 | 1250709.0252 | 2724826.4516 | 1250711.5507
11 | 2725203.1472 | 1250499.5913 | 2725189.1766 | 1250489.6281
12 | 2724772.1378 | 1250529.8949 | 2724760.8784 | 1250536.7082 | 2724752.8402 | 1250541.9936
13 | 2725203.1472 | 1250499.5913 | 2725234.1978 | 1250525.4392
14 | 2725196.5294 | 1250533.2919 | 2725203.1472 | 1250499.5913
15 | 2725201.7347 | 1250613.9854 | 2725200.7938 | 1250614.4256
16 | 2725201.7347 | 1250613.9854 | 2725224.0999 | 1250603.5218
17 | 2725329.8707 | 1250332.5802 | 2725299.3672 | 1250348.7271 | 2725275.504 | 1250353.765
18 | 2725275.504 | 1250353.765 | 2725212.0539 | 1250271.9263
19 | 2725329.8707 | 1250332.5802 | 2725330.3371 | 1250320.1793 | 2725334.7503 | 1250316.4694 | 2725344.0334 | 1250319.8552
20 | 2725329.8707 | 1250332.5802 | 2725341.4271 | 1250349.2932
21 | 2725212.0539 | 1250271.9263 | 2725199.4455 | 1250269.9916 | 2725191.0003 | 1250271.9501
22 | 2725375.557 | 1250309.849 | 2725368.5021 | 1250309.922 | 2725363.1789 | 1250316.6597 | 2725355.6285 | 1250324.0842 | 2725344.0334 | 1250319.8552
23 | 2725406.5771 | 1250381.6565 | 2725387.0653 | 1250358.746 | 2725375.5123 | 1250311.2492 | 2725375.557 | 1250309.849
24 | 2725375.557 | 1250309.849 | 2725400.0414 | 1250192.5761
25 | 2725406.5771 | 1250381.6565 | 2725398.5407 | 1250396.5605
26 | 2725406.5771 | 1250381.6565 | 2725419.4385 | 1250361.2223
27 | 2725354.8761 | 1250462.0103 | 2725338.226 | 1250446.9674 | 2725337.3896 | 1250439.0317 | 2725337.8607 | 1250434.6156
28 | 2725337.8607 | 1250434.6156 | 2725326.3214 | 1250424.1767
29 | 2725354.8761 | 1250462.0103 | 2725342.0051 | 1250467.0649
30 | 2725354.8761 | 1250462.0103 | 2725361.0973 | 1250466.0009
31 | 2725326.3214 | 1250424.1767 | 2725322.9508 | 1250421.1275
32 | 2725392.2103 | 1250408.3004 | 2725398.5407 | 1250396.5605
33 | 2725419.4833 | 1250361.1511 | 2725419.4385 | 1250361.2223
34 | 2725380.1584 | 1250430.6512 | 2725392.2103 | 1250408.3004
35 | 2725419.4833 | 1250361.1511 | 2725425.3168 | 1250351.8827 | 2725435.7875 | 1250331.4488
36 | 2725336.0051 | 1250585.3146 | 2725326.7677 | 1250584.4556 | 2725316.7023 | 1250585.0862
37 | 2725288.688 | 1250586.8414 | 2725316.7023 | 1250585.0862
38 | 2725288.688 | 1250586.8414 | 2725261.7963 | 1250592.6002
39 | 2725288.688 | 1250586.8414 | 2725285.8314 | 1250600.4707
40 | 2725261.7963 | 1250592.6002 | 2725247.422 | 1250595.6785
41 | 2725235.3294 | 1250598.2681 | 2725247.422 | 1250595.6785
42 | 2725235.3294 | 1250598.2681 | 2725231.9977 | 1250599.8268
43 | 2725235.3294 | 1250598.2681 | 2725218.3405 | 1250561.7552 | 2725218.1763 | 1250561.5944
44 | 2725218.1763 | 1250561.5944 | 2725214.4045 | 1250557.902 | 2725213.4752 | 1250557.0454
45 | 2725196.5294 | 1250533.2919 | 2725205.2789 | 1250549.4908 | 2725213.4752 | 1250557.0454
46 | 2725196.5294 | 1250533.2919 | 2725183.2782 | 1250543.4254
47 | 2725231.9977 | 1250599.8268 | 2725224.0999 | 1250603.5218
48 | 2725183.2782 | 1250543.4254 | 2725168.383 | 1250554.8161 | 2725173.9046 | 1250562.8145
49 | 2725236.7715 | 1250527.5816 | 2725234.1978 | 1250525.4392
50 | 2725179.4616 | 1250570.864 | 2725173.9046 | 1250562.8145
51 | 2725361.0973 | 1250466.0009 | 2725380.1584 | 1250430.6512
52 | 2725380.1584 | 1250430.6512 | 2725395.7098 | 1250439.39
53 | 2725361.0973 | 1250466.0009 | 2725371.7682 | 1250475.2355
54 | 2725371.7682 | 1250475.2355 | 2725377.3768 | 1250480.0891
55 | 2725342.0051 | 1250467.0649 | 2725314.974 | 1250477.6801 | 2725307.8435 | 1250479.6515
56 | 2725379.8232 | 1250482.2062 | 2725377.3768 | 1250480.0891
57 | 2725242.3901 | 1250530.0691 | 2725236.7715 | 1250527.5816
58 | 2725242.3901 | 1250530.0691 | 2725256.9412 | 1250536.5267 | 2725259.9107 | 1250536.6005
59 | 2725242.3901 | 1250530.0691 | 2725247.0217 | 1250504.9563 | 2725258.9798 | 1250499.4794
60 | 2725389.5173 | 1250554.6458 | 2725394.1124 | 1250535.6523
61 | 2725389.5173 | 1250554.6458 | 2725382.5079 | 1250552.9405 | 2725367.4059 | 1250549.535
62 | 2725395.8621 | 1250495.9316 | 2725382.3582 | 1250484.4 | 2725379.8232 | 1250482.2062
63 | 2725367.4059 | 1250549.535 | 2725356.8937 | 1250547.1645
64 | 2725335.8139 | 1250542.411 | 2725356.8937 | 1250547.1645
65 | 2725335.8139 | 1250542.411 | 2725321.0074 | 1250539.0721 | 2725319.7085 | 1250538.9956
66 | 2725298.5479 | 1250537.7482 | 2725319.7085 | 1250538.9956
67 | 2725277.9829 | 1250537.0496 | 2725293.0487 | 1250537.424 | 2725298.5479 | 1250537.7482
68 | 2725277.9829 | 1250537.0496 | 2725259.9107 | 1250536.6005
69 | 2725258.9798 | 1250499.4794 | 2725265.1245 | 1250496.665 | 2725275.5664 | 1250491.8828
70 | 2725293.7887 | 1250483.5373 | 2725275.5664 | 1250491.8828
71 | 2725293.7887 | 1250483.5373 | 2725307.8435 | 1250479.6515
72 | 2725307.2729 | 1250406.9448 | 2725322.9508 | 1250421.1275

## bus_geodata
| x | y | coords
0 | 2725108.8779 | 1250531.1947
1 | 2725100.9373 | 1250499.9222
2 | 2725165.3217 | 1250483.1448
3 | 2724833.6965 | 1250537.8314
4 | 2724792.6836 | 1250690.867
5 | 2724793.8002 | 1250762.2191
6 | 2724813.3675 | 1250586.7856
7 | 2724826.4516 | 1250711.5507
8 | 2724914.8834 | 1250968.9288
9 | 2724839.4028 | 1250703.0838
10 | 2725189.1766 | 1250489.6281
11 | 2724772.1378 | 1250529.8949
12 | 2724752.8402 | 1250541.9936
13 | 2725203.1472 | 1250499.5913
14 | 2725200.7938 | 1250614.4256
15 | 2725201.7347 | 1250613.9854
16 | 2725275.504 | 1250353.765
17 | 2725329.8707 | 1250332.5802
18 | 2725212.0539 | 1250271.9263
19 | 2725344.0334 | 1250319.8552
20 | 2725341.4271 | 1250349.2932
21 | 2725191.0003 | 1250271.9501
22 | 2725375.557 | 1250309.849
23 | 2725406.5771 | 1250381.6565
24 | 2725400.0414 | 1250192.5761
25 | 2725337.8607 | 1250434.6156
26 | 2725354.8761 | 1250462.0103
27 | 2725326.3214 | 1250424.1767
28 | 2725398.5407 | 1250396.5605
29 | 2725419.4385 | 1250361.2223
30 | 2725392.2103 | 1250408.3004
31 | 2725419.4833 | 1250361.1511
32 | 2725316.7023 | 1250585.0862
33 | 2725336.0051 | 1250585.3146
34 | 2725288.688 | 1250586.8414
35 | 2725261.7963 | 1250592.6002
36 | 2725285.8314 | 1250600.4707
37 | 2725247.422 | 1250595.6785
38 | 2725235.3294 | 1250598.2681
39 | 2725218.1763 | 1250561.5944
40 | 2725213.4752 | 1250557.0454
41 | 2725196.5294 | 1250533.2919
42 | 2725231.9977 | 1250599.8268
43 | 2725183.2782 | 1250543.4254
44 | 2725224.0999 | 1250603.5218
45 | 2725234.1978 | 1250525.4392
46 | 2725173.9046 | 1250562.8145
47 | 2725380.1584 | 1250430.6512
48 | 2725361.0973 | 1250466.0009
49 | 2725395.7098 | 1250439.39
50 | 2725371.7682 | 1250475.2355
51 | 2725342.0051 | 1250467.0649
52 | 2725377.3768 | 1250480.0891
53 | 2725236.7715 | 1250527.5816
54 | 2725242.39 | 1250530.0691
55 | 2725435.7875 | 1250331.4488
56 | 2725179.4616 | 1250570.864
57 | 2725394.1124 | 1250535.6523
58 | 2725389.5173 | 1250554.6458
59 | 2725395.8621 | 1250495.9316
60 | 2725379.8232 | 1250482.2062
61 | 2725367.4059 | 1250549.535
62 | 2725356.8937 | 1250547.1645
63 | 2725335.8139 | 1250542.411
64 | 2725319.7085 | 1250538.9956
65 | 2725298.5479 | 1250537.7482
66 | 2725277.9829 | 1250537.0496
67 | 2725259.9107 | 1250536.6005
68 | 2725258.9798 | 1250499.4794
69 | 2725275.5664 | 1250491.8828
70 | 2725293.7887 | 1250483.5373
71 | 2725307.8435 | 1250479.6515
72 | 2725322.9508 | 1250421.1275
73 | 2725307.2729 | 1250406.9448
74 | 2725337.8607 | 1250434.6156

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1