## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_341-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_341-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_341-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_341-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_341-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_341-3_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_341-3_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_341-3_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_341-3_0_3_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_341-3_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_341-3_0_3_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_341-3_0_3_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_341-3_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_341-3_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_341-3_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_341-3_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_341-3_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_341-3_0_3_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_341-3_0_3_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_341-3_0_3_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_341-3_0_3_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_341-3_0_3_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_341-3_0_3_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_341-3_0_3_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_341-3_0_3_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_341-3_0_3_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_341-3_0_3_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_341-3_0_3_node_41 | 0.4 | n |  | TRUE
28 | bus_LV_341-3_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_341-3_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_341-3_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_341-3_0_3_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_341-3_0_3_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_341-3_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_341-3_0_3_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_341-3_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_341-3_0_3_node_70 | 0.4 | n |  | TRUE
37 | bus_LV_341-3_0_3_node_69 | 0.4 | n |  | TRUE
38 | bus_LV_341-3_0_3_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_341-3_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_341-3_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_341-3_0_3_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_341-3_0_3_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_341-3_0_3_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_341-3_0_3_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_341-3_0_3_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_341-3_0_3_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_341-3_0_3_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_341-3_0_3_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_341-3_0_3_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_341-3_0_3_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_341-3_0_3_node_84 | 0.4 | n |  | TRUE
52 | bus_LV_341-3_0_3_node_81 | 0.4 | n |  | TRUE
53 | bus_LV_341-3_0_3_node_71 | 0.4 | n |  | TRUE
54 | bus_LV_341-3_0_3_node_68 | 0.4 | n |  | TRUE
55 | bus_LV_341-3_0_3_node_89 | 0.4 | n |  | TRUE
56 | bus_LV_341-3_0_3_node_82 | 0.4 | n |  | TRUE
57 | bus_LV_341-3_0_3_node_72 | 0.4 | n |  | TRUE
58 | bus_LV_341-3_0_3_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_341-3_0_3_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_341-3_0_3_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_341-3_0_3_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_341-3_0_3_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_341-3_0_3_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_341-3_0_3_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_341-3_0_3_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_341-3_0_3_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_341-3_0_3_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_341-3_0_3_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_341-3_0_3_node_97 | 0.4 | n |  | TRUE
70 | bus_LV_341-3_0_3_node_95 | 0.4 | n |  | TRUE
71 | bus_LV_341-3_0_3_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_341-3_0_3_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_341-3_0_3_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_341-3_0_3_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_341-3_0_3_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_341-3_0_3_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_341-3_0_3_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_341-3_0_3_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_341-3_0_3_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_341-3_0_3_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_341-3_0_3_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_341-3_0_3_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_341-3_0_3_node_85 | 0.4 | n |  | TRUE
84 | bus_LV_341-3_0_3_node_86 | 0.4 | n |  | TRUE
85 | bus_LV_341-3_0_3_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_341-3_0_3_node_77 | 0.4 | n |  | TRUE
87 | bus_LV_341-3_0_3_node_78 | 0.4 | n |  | TRUE
88 | bus_LV_341-3_0_3_node_79 | 0.4 | n |  | TRUE
89 | bus_LV_341-3_0_3_node_83 | 0.4 | n |  | TRUE
90 | bus_LV_341-3_0_3_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_341-3_0_3_node_88 | 0.4 | n |  | TRUE
92 | bus_LV_341-3_0_3_node_98 | 0.4 | n |  | TRUE
93 | bus_LV_341-3_0_3_node_93 | 0.4 | n |  | TRUE
94 | bus_LV_341-3_0_3_node_102 | 0.4 | n |  | TRUE
95 | bus_LV_341-3_0_3_node_100 | 0.4 | n |  | TRUE
96 | bus_LV_341-3_0_3_node_91 | 0.4 | n |  | TRUE
97 | bus_LV_341-3_0_3_node_90 | 0.4 | n |  | TRUE
98 | bus_LV_341-3_0_3_node_92 | 0.4 | n |  | TRUE
99 | bus_LV_341-3_0_3_node_94 | 0.4 | n |  | TRUE
100 | bus_LV_341-3_0_3_node_96 | 0.4 | n |  | TRUE
101 | bus_LV_341-3_0_3_node_101 | 0.4 | n |  | TRUE
102 | bus_LV_341-3_0_3_node_104 | 0.4 | n |  | TRUE
103 | bus_LV_341-3_0_3_node_99 | 0.4 | n |  | TRUE
104 | bus_LV_341-3_0_3_node_105 | 0.4 | n |  | TRUE
105 | bus_LV_341-3_0_3_node_103 | 0.4 | n |  | TRUE
106 | bus_LV_341-3_0_3_node_106 | 0.4 | n |  | TRUE
107 | bus_LV_341-3_0_3_node_107 | 0.4 | n |  | TRUE
108 | bus_LV_341-3_0_3_node_108 | 0.4 | n |  | TRUE
109 | bus_LV_341-3_0_3_node_109 | 0.4 | n |  | TRUE
110 | bus_MV_481_0_node_80 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_341-3_0_3_load_0 | 0 | 0.0045994 | 0.0011527 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_341-3_0_3_load_1 | 1 | 0.0028018 | 0.0007022 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_341-3_0_3_load_2 | 2 | 0.002489 | 0.00062381 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_341-3_0_3_load_4 | 4 | 0.00021729 | 5.4459e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_341-3_0_3_load_5 | 5 | 0.0013316 | 0.00033374 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_341-3_0_3_load_6 | 6 | 0.0040151 | 0.0010063 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_341-3_0_3_load_7 | 7 | 0.0014053 | 0.0003522 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_341-3_0_3_load_8 | 9 | 0.0017224 | 0.00043166 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_341-3_0_3_load_15 | 10 | 0.0041103 | 0.0010301 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_341-3_0_3_load_16 | 11 | 0.0062685 | 0.001571 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_341-3_0_3_load_9 | 12 | 0.0013265 | 0.00033246 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_341-3_0_3_load_10 | 13 | 0.00062104 | 0.00015565 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_341-3_0_3_load_11 | 14 | 0.0021637 | 0.00054228 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_341-3_0_3_load_12 | 15 | 0.0036743 | 0.00092086 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_341-3_0_3_load_13 | 16 | 0.0040071 | 0.0010043 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_341-3_0_3_load_29 | 19 | 0.0025101 | 0.00062909 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_341-3_0_3_load_18 | 20 | 0.001744 | 0.00043708 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_341-3_0_3_load_19 | 21 | 0.0020404 | 0.00051137 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_341-3_0_3_load_35 | 22 | 0.0011856 | 0.00029713 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_341-3_0_3_load_32 | 23 | 0.0010037 | 0.00025155 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_341-3_0_3_load_20 | 25 | 0.0028075 | 0.00070363 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_341-3_0_3_load_40 | 26 | 0.00093007 | 0.0002331 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_341-3_0_3_load_41 | 27 | 0.0029209 | 0.00073205 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_341-3_0_3_load_21 | 28 | 0.0012877 | 0.00032272 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_341-3_0_3_load_22 | 29 | 0.00081221 | 0.00020356 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_341-3_0_3_load_23 | 30 | 0.0003017 | 7.5614e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_341-3_0_3_load_25 | 31 | 0.0008676 | 0.00021744 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_341-3_0_3_load_30 | 32 | 0.001458 | 0.00036541 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_341-3_0_3_load_26 | 33 | 0.0008227 | 0.00020619 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_341-3_0_3_load_31 | 34 | 0.0061175 | 0.0015332 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_341-3_0_3_load_27 | 35 | 0.00073924 | 0.00018527 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_341-3_0_3_load_70 | 36 | 0.00081857 | 0.00020515 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_341-3_0_3_load_69 | 37 | 0.00074288 | 0.00018618 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_341-3_0_3_load_37 | 38 | 0.0039538 | 0.00099091 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_341-3_0_3_load_33 | 39 | 0.0041952 | 0.0010514 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_341-3_0_3_load_34 | 40 | 0.00067265 | 0.00016858 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_341-3_0_3_load_36 | 41 | 0.00064687 | 0.00016212 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_341-3_0_3_load_39 | 42 | 0.0031805 | 0.00079712 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_341-3_0_3_load_38 | 43 | 0.001116 | 0.0002797 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_341-3_0_3_load_43 | 46 | 0.0029731 | 0.00074514 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_341-3_0_3_load_42 | 47 | 0.0013374 | 0.00033519 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_341-3_0_3_load_44 | 48 | 0.0017282 | 0.00043313 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_341-3_0_3_load_46 | 49 | 0.0021858 | 0.00054781 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_341-3_0_3_load_84 | 51 | 0.0024323 | 0.0006096 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_341-3_0_3_load_81 | 52 | 0.003042 | 0.0007624 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_341-3_0_3_load_71 | 53 | 0.0019542 | 0.00048977 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_341-3_0_3_load_68 | 54 | 0.010931 | 0.0027395 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_341-3_0_3_load_89 | 55 | 0.0016599 | 0.00041601 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_341-3_0_3_load_82 | 56 | 0.003769 | 0.00094459 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_341-3_0_3_load_72 | 57 | 0.0019159 | 0.00048017 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_341-3_0_3_load_49 | 58 | 0.0026054 | 0.00065298 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_341-3_0_3_load_51 | 60 | 0.0024736 | 0.00061995 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_341-3_0_3_load_53 | 62 | 0.0021136 | 0.00052971 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_341-3_0_3_load_57 | 63 | 0.0029985 | 0.00075151 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_341-3_0_3_load_54 | 64 | 0.0016538 | 0.00041448 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_341-3_0_3_load_55 | 65 | 0.00089256 | 0.0002237 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_341-3_0_3_load_56 | 66 | 0.0024784 | 0.00062115 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_341-3_0_3_load_58 | 67 | 0.0018007 | 0.00045129 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_341-3_0_3_load_97 | 69 | 0.0033466 | 0.00083873 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_341-3_0_3_load_60 | 71 | 0.0025822 | 0.00064717 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_341-3_0_3_load_62 | 73 | 0.0019244 | 0.0004823 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_341-3_0_3_load_66 | 74 | 0.0027736 | 0.00069513 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_341-3_0_3_load_63 | 75 | 0.00055326 | 0.00013866 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_341-3_0_3_load_64 | 76 | 0.0003826 | 9.5889e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_341-3_0_3_load_65 | 77 | 0.00046664 | 0.00011695 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_341-3_0_3_load_67 | 78 | 0.00048762 | 0.00012221 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_341-3_0_3_load_73 | 79 | 0.0010855 | 0.00027205 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_341-3_0_3_load_74 | 80 | 0.0019711 | 0.000494 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_341-3_0_3_load_75 | 81 | 0.0020981 | 0.00052584 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_341-3_0_3_load_76 | 82 | 0.003758 | 0.00094184 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_341-3_0_3_load_86 | 84 | 0.0022695 | 0.00056879 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_341-3_0_3_load_80 | 85 | 0.0017636 | 0.00044201 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_341-3_0_3_load_77 | 86 | 0.0037059 | 0.00092879 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_341-3_0_3_load_78 | 87 | 0.0028129 | 0.00070499 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_341-3_0_3_load_79 | 88 | 0.0043081 | 0.0010797 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_341-3_0_3_load_83 | 89 | 0.0022815 | 0.00057179 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_341-3_0_3_load_93 | 93 | 0.0028533 | 0.00071511 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_341-3_0_3_load_100 | 95 | 0.0015862 | 0.00039755 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_341-3_0_3_load_91 | 96 | 0.0027258 | 0.00068314 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_341-3_0_3_load_90 | 97 | 0.0052759 | 0.0013223 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_341-3_0_3_load_92 | 98 | 0.0027263 | 0.00068326 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_341-3_0_3_load_94 | 99 | 0.0015544 | 0.00038957 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_341-3_0_3_load_104 | 102 | 0.0041834 | 0.0010485 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_341-3_0_3_load_99 | 103 | 0.0044389 | 0.0011125 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_341-3_0_3_load_103 | 105 | 0.0020741 | 0.00051983 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_341-3_0_3_load_106 | 106 | 0.0034213 | 0.00085746 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_341-3_0_3_load_107 | 107 | 0.0021481 | 0.00053837 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_341-3_0_3_load_108 | 108 | 0.0029425 | 0.00073745 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_341-3_0_3_load_109 | 109 | 0.0038332 | 0.0009607 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_341-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.022577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_341-3_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.010744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_341-3_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.03249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_341-3_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.02907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_341-3_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.01725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_341-3_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.027119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_341-3_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0051521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_341-3_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0053635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_341-3_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.014586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_341-3_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.033436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_341-3_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.021776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_341-3_0_3_line_11 | NAYY 4x150 SE | 9 | 12 | 0.00051187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_341-3_0_3_line_12 | NAYY 4x150 SE | 11 | 20 | 0.0024339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_341-3_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.022865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_341-3_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.0020331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_341-3_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.00024939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_341-3_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.031712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_341-3_0_3_line_17 | NAYY 4x150 SE | 17 | 18 | 0.002966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_341-3_0_3_line_18 | NAYY 4x150 SE | 17 | 19 | 0.015689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_341-3_0_3_line_19 | NAYY 4x150 SE | 18 | 22 | 0.048142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_341-3_0_3_line_20 | NAYY 4x150 SE | 18 | 23 | 0.035691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_341-3_0_3_line_21 | NAYY 4x150 SE | 19 | 24 | 0.019165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_341-3_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.018256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_341-3_0_3_line_23 | NAYY 4x150 SE | 21 | 25 | 0.017128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_341-3_0_3_line_24 | NAYY 4x150 SE | 22 | 38 | 0.0028269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_341-3_0_3_line_25 | NAYY 4x150 SE | 23 | 39 | 0.0378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_341-3_0_3_line_26 | NAYY 4x150 SE | 24 | 32 | 0.043091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_341-3_0_3_line_27 | NAYY 4x150 SE | 24 | 29 | 0.015969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_341-3_0_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.0045038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_341-3_0_3_line_29 | NAYY 4x150 SE | 26 | 27 | 0.024731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_341-3_0_3_line_30 | NAYY 4x150 SE | 27 | 44 | 0.0014386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_341-3_0_3_line_31 | NAYY 4x150 SE | 28 | 29 | 0.0076308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_341-3_0_3_line_32 | NAYY 4x150 SE | 28 | 30 | 0.0039882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_341-3_0_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.016189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_341-3_0_3_line_34 | NAYY 4x150 SE | 31 | 33 | 0.0065458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_341-3_0_3_line_35 | NAYY 4x150 SE | 32 | 34 | 0.0092708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_341-3_0_3_line_36 | NAYY 4x150 SE | 33 | 35 | 0.00096352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_341-3_0_3_line_37 | NAYY 4x150 SE | 35 | 36 | 0.00064791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_341-3_0_3_line_38 | NAYY 4x150 SE | 36 | 37 | 0.021431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_341-3_0_3_line_39 | NAYY 4x150 SE | 37 | 54 | 0.0024204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_341-3_0_3_line_40 | NAYY 4x150 SE | 38 | 43 | 0.032369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_341-3_0_3_line_41 | NAYY 4x150 SE | 39 | 40 | 0.001318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_341-3_0_3_line_42 | NAYY 4x150 SE | 40 | 41 | 0.032741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_341-3_0_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.027022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_341-3_0_3_line_44 | NAYY 4x150 SE | 44 | 45 | 0.016725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_341-3_0_3_line_45 | NAYY 4x150 SE | 44 | 46 | 0.01782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_341-3_0_3_line_46 | NAYY 4x150 SE | 45 | 51 | 0.011737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_341-3_0_3_line_47 | NAYY 4x150 SE | 45 | 52 | 0.023157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_341-3_0_3_line_48 | NAYY 4x150 SE | 46 | 47 | 0.04315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_341-3_0_3_line_49 | NAYY 4x150 SE | 47 | 48 | 0.004554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_341-3_0_3_line_50 | NAYY 4x150 SE | 48 | 49 | 0.00023413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_341-3_0_3_line_51 | NAYY 4x150 SE | 49 | 50 | 0.017391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_341-3_0_3_line_52 | NAYY 4x150 SE | 50 | 53 | 0.010472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_341-3_0_3_line_53 | NAYY 4x150 SE | 50 | 54 | 0.010083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_341-3_0_3_line_54 | NAYY 4x150 SE | 51 | 55 | 0.018942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_341-3_0_3_line_55 | NAYY 4x150 SE | 52 | 56 | 0.025917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_341-3_0_3_line_56 | NAYY 4x150 SE | 53 | 57 | 0.0039393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_341-3_0_3_line_57 | NAYY 4x150 SE | 55 | 62 | 0.028014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_341-3_0_3_line_58 | NAYY 4x150 SE | 56 | 89 | 0.023457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_341-3_0_3_line_59 | NAYY 4x150 SE | 57 | 79 | 0.016961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_341-3_0_3_line_60 | NAYY 4x150 SE | 58 | 59 | 0.012958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_341-3_0_3_line_61 | NAYY 4x150 SE | 58 | 60 | 0.037727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_341-3_0_3_line_62 | NAYY 4x150 SE | 59 | 61 | 0.010877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_341-3_0_3_line_63 | NAYY 4x150 SE | 59 | 62 | 0.0034184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_341-3_0_3_line_64 | NAYY 4x150 SE | 61 | 63 | 0.014503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_341-3_0_3_line_65 | NAYY 4x150 SE | 61 | 64 | 0.0068492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_341-3_0_3_line_66 | NAYY 4x150 SE | 64 | 65 | 0.011468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_341-3_0_3_line_67 | NAYY 4x150 SE | 65 | 66 | 0.024714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_341-3_0_3_line_68 | NAYY 4x150 SE | 66 | 67 | 0.0043756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_341-3_0_3_line_69 | NAYY 4x150 SE | 67 | 68 | 0.018172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_341-3_0_3_line_70 | NAYY 4x150 SE | 68 | 71 | 0.031085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_341-3_0_3_line_71 | NAYY 4x150 SE | 68 | 72 | 0.050195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_341-3_0_3_line_72 | NAYY 4x150 SE | 69 | 70 | 0.0095155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_341-3_0_3_line_73 | NAYY 4x150 SE | 70 | 100 | 0.025787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_341-3_0_3_line_74 | NAYY 4x150 SE | 70 | 99 | 0.016588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_341-3_0_3_line_75 | NAYY 4x150 SE | 71 | 73 | 0.020157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_341-3_0_3_line_76 | NAYY 4x150 SE | 72 | 74 | 0.039687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_341-3_0_3_line_77 | NAYY 4x150 SE | 73 | 75 | 0.021084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_341-3_0_3_line_78 | NAYY 4x150 SE | 74 | 76 | 0.020897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_341-3_0_3_line_79 | NAYY 4x150 SE | 76 | 77 | 0.0096893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_341-3_0_3_line_80 | NAYY 4x150 SE | 77 | 78 | 0.0090733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_341-3_0_3_line_81 | NAYY 4x150 SE | 79 | 80 | 0.0020513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_341-3_0_3_line_82 | NAYY 4x150 SE | 80 | 81 | 0.0047298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_341-3_0_3_line_83 | NAYY 4x150 SE | 81 | 82 | 0.0098526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_341-3_0_3_line_84 | NAYY 4x150 SE | 82 | 83 | 0.018875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_341-3_0_3_line_85 | NAYY 4x150 SE | 83 | 84 | 0.0034363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_341-3_0_3_line_86 | NAYY 4x150 SE | 83 | 85 | 0.0099488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_341-3_0_3_line_87 | NAYY 4x150 SE | 85 | 88 | 0.015041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_341-3_0_3_line_88 | NAYY 4x150 SE | 86 | 87 | 0.012524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_341-3_0_3_line_89 | NAYY 4x150 SE | 87 | 88 | 0.014741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_341-3_0_3_line_90 | NAYY 4x150 SE | 89 | 90 | 0.0014268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_341-3_0_3_line_91 | NAYY 4x150 SE | 90 | 91 | 0.029802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_341-3_0_3_line_92 | NAYY 4x150 SE | 91 | 92 | 0.023933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_341-3_0_3_line_93 | NAYY 4x150 SE | 91 | 93 | 0.010929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_341-3_0_3_line_94 | NAYY 4x150 SE | 92 | 94 | 0.003595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_341-3_0_3_line_95 | NAYY 4x150 SE | 92 | 95 | 0.013638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_341-3_0_3_line_96 | NAYY 4x150 SE | 93 | 96 | 0.00098909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_341-3_0_3_line_97 | NAYY 4x150 SE | 94 | 105 | 0.010849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_341-3_0_3_line_98 | NAYY 4x150 SE | 95 | 103 | 0.023492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_341-3_0_3_line_99 | NAYY 4x150 SE | 96 | 97 | 0.014808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_341-3_0_3_line_100 | NAYY 4x150 SE | 98 | 99 | 0.0028905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_341-3_0_3_line_101 | NAYY 4x150 SE | 100 | 101 | 0.027313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_341-3_0_3_line_102 | NAYY 4x150 SE | 100 | 102 | 0.02248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_341-3_0_3_line_103 | NAYY 4x150 SE | 101 | 103 | 0.020755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_341-3_0_3_line_104 | NAYY 4x150 SE | 102 | 104 | 0.0036433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_341-3_0_3_line_105 | NAYY 4x150 SE | 104 | 106 | 0.013916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_341-3_0_3_line_106 | NAYY 4x150 SE | 104 | 107 | 0.01659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_341-3_0_3_line_107 | NAYY 4x150 SE | 106 | 108 | 0.0011113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_341-3_0_3_line_108 | NAYY 4x150 SE | 108 | 109 | 0.013028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_341-3_0_3_trafo_43 | 0.25 MVA 20/0.4 kV | 110 | 46 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2624798.5808 | 1233318.9356 | 2624800.6786 | 1233323.0328 | 2624810.0921 | 1233338.344
1 | 2624798.5808 | 1233318.9356 | 2624793.6843 | 1233309.3724
2 | 2624827.4198 | 1233365.8259 | 2624821.0566 | 1233355.96 | 2624818.0029 | 1233351.2111 | 2624810.0921 | 1233338.344
3 | 2624793.6843 | 1233309.3724 | 2624780.4358 | 1233283.4971
4 | 2624827.4198 | 1233365.8259 | 2624837.5658 | 1233363.5557 | 2624844.3911 | 1233364.1744
5 | 2624827.4198 | 1233365.8259 | 2624833.3881 | 1233383.2503 | 2624834.7339 | 1233391.8467
6 | 2624849.5221 | 1233364.6396 | 2624844.3911 | 1233364.1744
7 | 2624835.5634 | 1233397.1457 | 2624834.7339 | 1233391.8467
8 | 2624849.5221 | 1233364.6396 | 2624849.5221 | 1233364.6396 | 2624863.8922 | 1233367.1413
9 | 2624835.5634 | 1233397.1457 | 2624818.6571 | 1233397.6644 | 2624802.2174 | 1233395.2278
10 | 2624835.5634 | 1233397.1457 | 2624836.109 | 1233400.639 | 2624835.507 | 1233418.8697
11 | 2624864.3965 | 1233367.2291 | 2624863.8922 | 1233367.1413
12 | 2624835.4266 | 1233421.3022 | 2624835.507 | 1233418.8697
13 | 2624864.3965 | 1233367.2291 | 2624867.4504 | 1233367.7607 | 2624886.9864 | 1233370.7646
14 | 2624888.9958 | 1233371.0736 | 2624886.9864 | 1233370.7646
15 | 2624889.2423 | 1233371.1115 | 2624888.9958 | 1233371.0736
16 | 2624920.4189 | 1233376.8627 | 2624901.7893 | 1233373.0408 | 2624889.2423 | 1233371.1115
17 | 2624964.2103 | 1233384.498 | 2624967.1689 | 1233384.8106
18 | 2624964.2103 | 1233384.498 | 2624957.8256 | 1233398.8295
19 | 2624967.1689 | 1233384.8106 | 2624975.1594 | 1233374.8268 | 2624984.4388 | 1233369.8071 | 2624994.7923 | 1233368.6054 | 2625005.7645 | 1233369.6855 | 2625009.0777 | 1233370.2201
20 | 2624967.1689 | 1233384.8106 | 2624994.2731 | 1233387.6927 | 2625002.3521 | 1233390.1145
21 | 2624950.0266 | 1233416.3358 | 2624957.8256 | 1233398.8295
22 | 2624835.4266 | 1233421.3022 | 2624835.2771 | 1233425.8287 | 2624834.3469 | 1233439.5238
23 | 2624834.3469 | 1233439.5238 | 2624833.1861 | 1233456.6126
24 | 2625009.0777 | 1233370.2201 | 2625011.8686 | 1233370.6704
25 | 2625002.3521 | 1233390.1145 | 2625038.5604 | 1233400.9684
26 | 2624950.0266 | 1233416.3358 | 2624990.042 | 1233432.3231
27 | 2624950.0266 | 1233416.3358 | 2624946.1063 | 1233425.1247 | 2624943.5248 | 1233430.9209
28 | 2624833.1861 | 1233456.6126 | 2624832.8809 | 1233461.106
29 | 2624831.2048 | 1233485.7802 | 2624832.8809 | 1233461.106
30 | 2624831.1073 | 1233487.2155 | 2624831.2048 | 1233485.7802
31 | 2624940.4201 | 1233437.8916 | 2624943.5248 | 1233430.9209
32 | 2624940.4201 | 1233437.8916 | 2624938.7975 | 1233441.5348
33 | 2624932.2107 | 1233456.3235 | 2624938.7975 | 1233441.5348
34 | 2624932.2107 | 1233456.3235 | 2624929.5475 | 1233462.303
35 | 2624998.6511 | 1233435.7627 | 2624990.042 | 1233432.3231
36 | 2624929.1555 | 1233463.1832 | 2624929.5475 | 1233462.303
37 | 2624928.8919 | 1233463.7751 | 2624929.1555 | 1233463.1832
38 | 2624919.4825 | 1233483.0281 | 2624928.1401 | 1233465.4631 | 2624928.8919 | 1233463.7751
39 | 2624918.4124 | 1233485.1991 | 2624919.4825 | 1233483.0281
40 | 2625043.8242 | 1233375.8269 | 2625011.8686 | 1233370.6704
41 | 2625038.5604 | 1233400.9684 | 2625039.8229 | 1233401.3468
42 | 2625071.1691 | 1233410.8018 | 2625052.2024 | 1233405.0578 | 2625039.8229 | 1233401.3468
43 | 2625071.1691 | 1233410.8018 | 2625097.0315 | 1233418.6342
44 | 2624829.5239 | 1233503.8635 | 2624831.1073 | 1233487.2155
45 | 2624831.1073 | 1233487.2155 | 2624841.8542 | 1233487.8273 | 2624848.8817 | 1233488.4527
46 | 2624829.5239 | 1233503.8635 | 2624819.4167 | 1233500.5305 | 2624818.3774 | 1233500.1871
47 | 2624829.5239 | 1233503.8635 | 2624828.6234 | 1233520.103 | 2624828.019 | 1233526.9686
48 | 2624891.8622 | 1233492.2775 | 2624848.8817 | 1233488.4527
49 | 2624891.8622 | 1233492.2775 | 2624896.3983 | 1233492.6812
50 | 2624896.3983 | 1233492.6812 | 2624896.6315 | 1233492.702
51 | 2624913.9545 | 1233494.2435 | 2624896.6315 | 1233492.702
52 | 2624913.9545 | 1233494.2435 | 2624911.5794 | 1233504.4432
53 | 2624913.9545 | 1233494.2435 | 2624918.4124 | 1233485.1991
54 | 2624800.3916 | 1233494.2451 | 2624818.3774 | 1233500.1871
55 | 2624828.019 | 1233526.9686 | 2624826.7958 | 1233540.8637 | 2624826.0583 | 1233550.6999 | 2624825.8967 | 1233552.7977
56 | 2624911.5794 | 1233504.4432 | 2624910.6861 | 1233508.2799
57 | 2624774.5173 | 1233483.5145 | 2624799.5123 | 1233493.9546 | 2624800.3916 | 1233494.2451
58 | 2624825.8967 | 1233552.7977 | 2624824.095 | 1233576.1852
59 | 2624910.6861 | 1233508.2799 | 2624906.8395 | 1233524.7991 | 2624906.8395 | 1233524.7991
60 | 2624771.3629 | 1233482.197 | 2624776.2637 | 1233470.2018
61 | 2624776.2526 | 1233440.5029 | 2624785.7362 | 1233444.556 | 2624784.8081 | 1233449.2883 | 2624776.2637 | 1233470.2018
62 | 2624761.3047 | 1233477.9859 | 2624771.3629 | 1233482.197
63 | 2624771.3629 | 1233482.197 | 2624774.5173 | 1233483.5145
64 | 2624761.3047 | 1233477.9859 | 2624757.5845 | 1233492.0038
65 | 2624761.3047 | 1233477.9859 | 2624755.1127 | 1233475.0584
66 | 2624755.1127 | 1233475.0584 | 2624744.7451 | 1233470.1569
67 | 2624744.7451 | 1233470.1569 | 2624722.4025 | 1233459.5938
68 | 2624718.4467 | 1233457.7236 | 2624722.4025 | 1233459.5938
69 | 2624702.6216 | 1233448.8689 | 2624710.7 | 1233454.0611 | 2624718.4467 | 1233457.7236
70 | 2624702.6216 | 1233448.8689 | 2624714.3395 | 1233425.3031 | 2624719.0283 | 1233424.4452
71 | 2624676.8844 | 1233406.6141 | 2624683.7482 | 1233423.6085 | 2624687.0061 | 1233430.2372 | 2624691.4505 | 1233437.36 | 2624695.1334 | 1233441.9002 | 2624698.6236 | 1233445.4613 | 2624702.6216 | 1233448.8689
72 | 2624746.7774 | 1233532.7257 | 2624749.2182 | 1233523.5285
73 | 2624746.7774 | 1233532.7257 | 2624740.277 | 1233557.6806
74 | 2624746.7774 | 1233532.7257 | 2624763.0289 | 1233536.0476
75 | 2624719.0283 | 1233424.4452 | 2624726.0442 | 1233423.1615 | 2624733.0708 | 1233412.1949
76 | 2624676.8844 | 1233406.6141 | 2624699.2937 | 1233373.8598
77 | 2624744.4454 | 1233394.4425 | 2624733.0708 | 1233412.1949
78 | 2624711.0931 | 1233356.6133 | 2624699.2937 | 1233373.8598
79 | 2624711.0931 | 1233356.6133 | 2624713.6561 | 1233352.8671 | 2624715.7315 | 1233348.1535
80 | 2624719.3878 | 1233339.8496 | 2624715.7315 | 1233348.1535
81 | 2624906.3222 | 1233526.7842 | 2624906.8395 | 1233524.7991
82 | 2624906.3222 | 1233526.7842 | 2624905.1293 | 1233531.3611
83 | 2624902.6446 | 1233540.8953 | 2624905.1293 | 1233531.3611
84 | 2624897.8843 | 1233559.1605 | 2624902.6446 | 1233540.8953
85 | 2624897.8843 | 1233559.1605 | 2624897.1127 | 1233562.509
86 | 2624897.8843 | 1233559.1605 | 2624905.9358 | 1233565.0044
87 | 2624918.1085 | 1233573.8395 | 2624905.9358 | 1233565.0044
88 | 2624940.174 | 1233589.855 | 2624930.0383 | 1233582.4983
89 | 2624930.0383 | 1233582.4983 | 2624918.1085 | 1233573.8395
90 | 2624823.9855 | 1233577.6077 | 2624824.095 | 1233576.1852
91 | 2624794.746 | 1233571.4266 | 2624823.9855 | 1233577.6077
92 | 2624790.2575 | 1233594.9334 | 2624794.746 | 1233571.4266
93 | 2624794.746 | 1233571.4266 | 2624796.7969 | 1233560.6921
94 | 2624790.2575 | 1233594.9334 | 2624793.8206 | 1233595.4819
95 | 2624790.2575 | 1233594.9334 | 2624776.8594 | 1233592.3839
96 | 2624796.9825 | 1233559.7206 | 2624796.7969 | 1233560.6921
97 | 2624793.8206 | 1233595.4819 | 2624804.5436 | 1233597.1297
98 | 2624753.7817 | 1233587.9925 | 2624776.8594 | 1233592.3839
99 | 2624797.3917 | 1233545.0771 | 2624798.2438 | 1233553.1189 | 2624796.9825 | 1233559.7206
100 | 2624763.0289 | 1233536.0476 | 2624765.8608 | 1233536.6265
101 | 2624733.3921 | 1233584.1126 | 2624740.277 | 1233557.6806
102 | 2624740.277 | 1233557.6806 | 2624717.7969 | 1233557.6159
103 | 2624733.3921 | 1233584.1126 | 2624753.7817 | 1233587.9925
104 | 2624714.1535 | 1233557.6054 | 2624717.7969 | 1233557.6159
105 | 2624714.1535 | 1233557.6054 | 2624713.9372 | 1233543.6912
106 | 2624697.5151 | 1233557.5475 | 2624714.1535 | 1233557.6054
107 | 2624713.9199 | 1233542.58 | 2624713.9372 | 1233543.6912
108 | 2624713.7174 | 1233529.5531 | 2624713.9199 | 1233542.58

## bus_geodata
| x | y | coords
0 | 2624798.5808 | 1233318.9356
1 | 2624810.0921 | 1233338.344
2 | 2624793.6843 | 1233309.3724
3 | 2624827.4198 | 1233365.8259
4 | 2624780.4358 | 1233283.4971
5 | 2624844.3911 | 1233364.1744
6 | 2624834.7339 | 1233391.8467
7 | 2624849.5221 | 1233364.6396
8 | 2624835.5634 | 1233397.1457
9 | 2624863.8922 | 1233367.1413
10 | 2624802.2174 | 1233395.2278
11 | 2624835.507 | 1233418.8697
12 | 2624864.3965 | 1233367.2291
13 | 2624886.9864 | 1233370.7646
14 | 2624888.9958 | 1233371.0736
15 | 2624889.2423 | 1233371.1115
16 | 2624920.4189 | 1233376.8627
17 | 2624964.2103 | 1233384.498
18 | 2624967.1689 | 1233384.8106
19 | 2624957.8256 | 1233398.8295
20 | 2624835.4266 | 1233421.3022
21 | 2624834.3469 | 1233439.5238
22 | 2625009.0777 | 1233370.2201
23 | 2625002.3521 | 1233390.1145
24 | 2624950.0266 | 1233416.3358
25 | 2624833.1861 | 1233456.6126
26 | 2624832.8809 | 1233461.106
27 | 2624831.2048 | 1233485.7802
28 | 2624940.4201 | 1233437.8916
29 | 2624943.5248 | 1233430.9209
30 | 2624938.7975 | 1233441.5348
31 | 2624932.2107 | 1233456.3235
32 | 2624990.042 | 1233432.3231
33 | 2624929.5475 | 1233462.303
34 | 2624998.6511 | 1233435.7627
35 | 2624929.1555 | 1233463.1832
36 | 2624928.8919 | 1233463.7751
37 | 2624919.4825 | 1233483.0281
38 | 2625011.8686 | 1233370.6704
39 | 2625038.5604 | 1233400.9684
40 | 2625039.8229 | 1233401.3468
41 | 2625071.1691 | 1233410.8018
42 | 2625097.0315 | 1233418.6342
43 | 2625043.8242 | 1233375.8269
44 | 2624831.1073 | 1233487.2155
45 | 2624829.5239 | 1233503.8635
46 | 2624848.8817 | 1233488.4527
47 | 2624891.8622 | 1233492.2775
48 | 2624896.3983 | 1233492.6812
49 | 2624896.6315 | 1233492.702
50 | 2624913.9545 | 1233494.2435
51 | 2624818.3774 | 1233500.1871
52 | 2624828.019 | 1233526.9686
53 | 2624911.5794 | 1233504.4432
54 | 2624918.4124 | 1233485.1991
55 | 2624800.3916 | 1233494.2451
56 | 2624825.8967 | 1233552.7977
57 | 2624910.6861 | 1233508.2799
58 | 2624776.2637 | 1233470.2018
59 | 2624771.3629 | 1233482.197
60 | 2624776.2526 | 1233440.5029
61 | 2624761.3047 | 1233477.9859
62 | 2624774.5173 | 1233483.5145
63 | 2624757.5845 | 1233492.0038
64 | 2624755.1127 | 1233475.0584
65 | 2624744.7451 | 1233470.1569
66 | 2624722.4025 | 1233459.5938
67 | 2624718.4467 | 1233457.7236
68 | 2624702.6216 | 1233448.8689
69 | 2624749.2182 | 1233523.5285
70 | 2624746.7774 | 1233532.7257
71 | 2624719.0283 | 1233424.4452
72 | 2624676.8844 | 1233406.6141
73 | 2624733.0708 | 1233412.1949
74 | 2624699.2937 | 1233373.8598
75 | 2624744.4454 | 1233394.4425
76 | 2624711.0931 | 1233356.6133
77 | 2624715.7315 | 1233348.1535
78 | 2624719.3878 | 1233339.8496
79 | 2624906.8395 | 1233524.7991
80 | 2624906.3222 | 1233526.7842
81 | 2624905.1293 | 1233531.3611
82 | 2624902.6446 | 1233540.8953
83 | 2624897.8843 | 1233559.1605
84 | 2624897.1127 | 1233562.509
85 | 2624905.9358 | 1233565.0044
86 | 2624940.174 | 1233589.855
87 | 2624930.0383 | 1233582.4983
88 | 2624918.1085 | 1233573.8395
89 | 2624824.095 | 1233576.1852
90 | 2624823.9855 | 1233577.6077
91 | 2624794.746 | 1233571.4266
92 | 2624790.2575 | 1233594.9334
93 | 2624796.7969 | 1233560.6921
94 | 2624793.8206 | 1233595.4819
95 | 2624776.8594 | 1233592.3839
96 | 2624796.9825 | 1233559.7206
97 | 2624797.3917 | 1233545.0771
98 | 2624765.8608 | 1233536.6265
99 | 2624763.0289 | 1233536.0476
100 | 2624740.277 | 1233557.6806
101 | 2624733.3921 | 1233584.1126
102 | 2624717.7969 | 1233557.6159
103 | 2624753.7817 | 1233587.9925
104 | 2624714.1535 | 1233557.6054
105 | 2624804.5436 | 1233597.1297
106 | 2624713.9372 | 1233543.6912
107 | 2624697.5151 | 1233557.5475
108 | 2624713.9199 | 1233542.58
109 | 2624713.7174 | 1233529.5531
110 | 2624831.1073 | 1233487.2155

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1