## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_342-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_342-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_342-1_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_342-1_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_342-1_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_342-1_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_342-1_0_4_node_152 | 0.4 | n |  | TRUE
7 | bus_LV_342-1_0_4_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_342-1_0_4_node_103 | 0.4 | n |  | TRUE
9 | bus_LV_342-1_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_342-1_0_4_node_153 | 0.4 | n |  | TRUE
11 | bus_LV_342-1_0_4_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_342-1_0_4_node_84 | 0.4 | n |  | TRUE
13 | bus_LV_342-1_0_4_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_342-1_0_4_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_342-1_0_4_node_32 | 0.4 | n |  | TRUE
16 | bus_LV_342-1_0_4_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_342-1_0_4_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_342-1_0_4_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_342-1_0_4_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_342-1_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_342-1_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_342-1_0_4_node_154 | 0.4 | n |  | TRUE
23 | bus_LV_342-1_0_4_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_342-1_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_342-1_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_342-1_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_342-1_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_342-1_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_342-1_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_342-1_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_342-1_0_4_node_110 | 0.4 | n |  | TRUE
32 | bus_LV_342-1_0_4_node_109 | 0.4 | n |  | TRUE
33 | bus_LV_342-1_0_4_node_166 | 0.4 | n |  | TRUE
34 | bus_LV_342-1_0_4_node_111 | 0.4 | n |  | TRUE
35 | bus_LV_342-1_0_4_node_112 | 0.4 | n |  | TRUE
36 | bus_LV_342-1_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_342-1_0_4_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_342-1_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_342-1_0_4_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_342-1_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_342-1_0_4_node_140 | 0.4 | n |  | TRUE
42 | bus_LV_342-1_0_4_node_141 | 0.4 | n |  | TRUE
43 | bus_LV_342-1_0_4_node_113 | 0.4 | n |  | TRUE
44 | bus_LV_342-1_0_4_node_114 | 0.4 | n |  | TRUE
45 | bus_LV_342-1_0_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_342-1_0_4_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_342-1_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_342-1_0_4_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_342-1_0_4_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_342-1_0_4_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_342-1_0_4_node_65 | 0.4 | n |  | TRUE
52 | bus_LV_342-1_0_4_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_342-1_0_4_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_342-1_0_4_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_342-1_0_4_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_342-1_0_4_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_342-1_0_4_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_342-1_0_4_node_87 | 0.4 | n |  | TRUE
59 | bus_LV_342-1_0_4_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_342-1_0_4_node_71 | 0.4 | n |  | TRUE
61 | bus_LV_342-1_0_4_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_342-1_0_4_node_86 | 0.4 | n |  | TRUE
63 | bus_LV_342-1_0_4_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_342-1_0_4_node_74 | 0.4 | n |  | TRUE
65 | bus_LV_342-1_0_4_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_342-1_0_4_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_342-1_0_4_node_46 | 0.4 | n |  | TRUE
68 | bus_LV_342-1_0_4_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_342-1_0_4_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_342-1_0_4_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_342-1_0_4_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_342-1_0_4_node_104 | 0.4 | n |  | TRUE
73 | bus_LV_342-1_0_4_node_97 | 0.4 | n |  | TRUE
74 | bus_LV_342-1_0_4_node_96 | 0.4 | n |  | TRUE
75 | bus_LV_342-1_0_4_node_105 | 0.4 | n |  | TRUE
76 | bus_LV_342-1_0_4_node_106 | 0.4 | n |  | TRUE
77 | bus_LV_342-1_0_4_node_53 | 0.4 | n |  | TRUE
78 | bus_LV_342-1_0_4_node_54 | 0.4 | n |  | TRUE
79 | bus_LV_342-1_0_4_node_55 | 0.4 | n |  | TRUE
80 | bus_LV_342-1_0_4_node_56 | 0.4 | n |  | TRUE
81 | bus_LV_342-1_0_4_node_57 | 0.4 | n |  | TRUE
82 | bus_LV_342-1_0_4_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_342-1_0_4_node_61 | 0.4 | n |  | TRUE
84 | bus_LV_342-1_0_4_node_59 | 0.4 | n |  | TRUE
85 | bus_LV_342-1_0_4_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_342-1_0_4_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_342-1_0_4_node_107 | 0.4 | n |  | TRUE
88 | bus_LV_342-1_0_4_node_58 | 0.4 | n |  | TRUE
89 | bus_LV_342-1_0_4_node_60 | 0.4 | n |  | TRUE
90 | bus_LV_342-1_0_4_node_79 | 0.4 | n |  | TRUE
91 | bus_LV_342-1_0_4_node_108 | 0.4 | n |  | TRUE
92 | bus_LV_342-1_0_4_node_62 | 0.4 | n |  | TRUE
93 | bus_LV_342-1_0_4_node_63 | 0.4 | n |  | TRUE
94 | bus_LV_342-1_0_4_node_64 | 0.4 | n |  | TRUE
95 | bus_LV_342-1_0_4_node_88 | 0.4 | n |  | TRUE
96 | bus_LV_342-1_0_4_node_90 | 0.4 | n |  | TRUE
97 | bus_LV_342-1_0_4_node_78 | 0.4 | n |  | TRUE
98 | bus_LV_342-1_0_4_node_73 | 0.4 | n |  | TRUE
99 | bus_LV_342-1_0_4_node_68 | 0.4 | n |  | TRUE
100 | bus_LV_342-1_0_4_node_70 | 0.4 | n |  | TRUE
101 | bus_LV_342-1_0_4_node_72 | 0.4 | n |  | TRUE
102 | bus_LV_342-1_0_4_node_92 | 0.4 | n |  | TRUE
103 | bus_LV_342-1_0_4_node_93 | 0.4 | n |  | TRUE
104 | bus_LV_342-1_0_4_node_75 | 0.4 | n |  | TRUE
105 | bus_LV_342-1_0_4_node_76 | 0.4 | n |  | TRUE
106 | bus_LV_342-1_0_4_node_91 | 0.4 | n |  | TRUE
107 | bus_LV_342-1_0_4_node_94 | 0.4 | n |  | TRUE
108 | bus_LV_342-1_0_4_node_89 | 0.4 | n |  | TRUE
109 | bus_LV_342-1_0_4_node_80 | 0.4 | n |  | TRUE
110 | bus_LV_342-1_0_4_node_82 | 0.4 | n |  | TRUE
111 | bus_LV_342-1_0_4_node_95 | 0.4 | n |  | TRUE
112 | bus_LV_342-1_0_4_node_102 | 0.4 | n |  | TRUE
113 | bus_LV_342-1_0_4_node_85 | 0.4 | n |  | TRUE
114 | bus_LV_342-1_0_4_node_98 | 0.4 | n |  | TRUE
115 | bus_LV_342-1_0_4_node_99 | 0.4 | n |  | TRUE
116 | bus_LV_342-1_0_4_node_100 | 0.4 | n |  | TRUE
117 | bus_LV_342-1_0_4_node_101 | 0.4 | n |  | TRUE
118 | bus_LV_342-1_0_4_node_115 | 0.4 | n |  | TRUE
119 | bus_LV_342-1_0_4_node_142 | 0.4 | n |  | TRUE
120 | bus_LV_342-1_0_4_node_143 | 0.4 | n |  | TRUE
121 | bus_LV_342-1_0_4_node_146 | 0.4 | n |  | TRUE
122 | bus_LV_342-1_0_4_node_164 | 0.4 | n |  | TRUE
123 | bus_LV_342-1_0_4_node_165 | 0.4 | n |  | TRUE
124 | bus_LV_342-1_0_4_node_163 | 0.4 | n |  | TRUE
125 | bus_LV_342-1_0_4_node_116 | 0.4 | n |  | TRUE
126 | bus_LV_342-1_0_4_node_117 | 0.4 | n |  | TRUE
127 | bus_LV_342-1_0_4_node_118 | 0.4 | n |  | TRUE
128 | bus_LV_342-1_0_4_node_119 | 0.4 | n |  | TRUE
129 | bus_LV_342-1_0_4_node_120 | 0.4 | n |  | TRUE
130 | bus_LV_342-1_0_4_node_121 | 0.4 | n |  | TRUE
131 | bus_LV_342-1_0_4_node_134 | 0.4 | n |  | TRUE
132 | bus_LV_342-1_0_4_node_157 | 0.4 | n |  | TRUE
133 | bus_LV_342-1_0_4_node_162 | 0.4 | n |  | TRUE
134 | bus_LV_342-1_0_4_node_133 | 0.4 | n |  | TRUE
135 | bus_LV_342-1_0_4_node_136 | 0.4 | n |  | TRUE
136 | bus_LV_342-1_0_4_node_131 | 0.4 | n |  | TRUE
137 | bus_LV_342-1_0_4_node_156 | 0.4 | n |  | TRUE
138 | bus_LV_342-1_0_4_node_161 | 0.4 | n |  | TRUE
139 | bus_LV_342-1_0_4_node_132 | 0.4 | n |  | TRUE
140 | bus_LV_342-1_0_4_node_137 | 0.4 | n |  | TRUE
141 | bus_LV_342-1_0_4_node_122 | 0.4 | n |  | TRUE
142 | bus_LV_342-1_0_4_node_123 | 0.4 | n |  | TRUE
143 | bus_LV_342-1_0_4_node_124 | 0.4 | n |  | TRUE
144 | bus_LV_342-1_0_4_node_130 | 0.4 | n |  | TRUE
145 | bus_LV_342-1_0_4_node_125 | 0.4 | n |  | TRUE
146 | bus_LV_342-1_0_4_node_126 | 0.4 | n |  | TRUE
147 | bus_LV_342-1_0_4_node_127 | 0.4 | n |  | TRUE
148 | bus_LV_342-1_0_4_node_128 | 0.4 | n |  | TRUE
149 | bus_LV_342-1_0_4_node_129 | 0.4 | n |  | TRUE
150 | bus_LV_342-1_0_4_node_135 | 0.4 | n |  | TRUE
151 | bus_LV_342-1_0_4_node_138 | 0.4 | n |  | TRUE
152 | bus_LV_342-1_0_4_node_139 | 0.4 | n |  | TRUE
153 | bus_LV_342-1_0_4_node_145 | 0.4 | n |  | TRUE
154 | bus_LV_342-1_0_4_node_144 | 0.4 | n |  | TRUE
155 | bus_LV_342-1_0_4_node_147 | 0.4 | n |  | TRUE
156 | bus_LV_342-1_0_4_node_148 | 0.4 | n |  | TRUE
157 | bus_LV_342-1_0_4_node_150 | 0.4 | n |  | TRUE
158 | bus_LV_342-1_0_4_node_151 | 0.4 | n |  | TRUE
159 | bus_LV_342-1_0_4_node_155 | 0.4 | n |  | TRUE
160 | bus_LV_342-1_0_4_node_158 | 0.4 | n |  | TRUE
161 | bus_LV_342-1_0_4_node_159 | 0.4 | n |  | TRUE
162 | bus_MV_346_1_node_203 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_342-1_0_4_load_0 | 0 | 0.023866 | 0.0059813 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_342-1_0_4_load_152 | 6 | 0.0064922 | 0.0016271 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_342-1_0_4_load_103 | 8 | 0.0022382 | 0.00056094 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_342-1_0_4_load_5 | 9 | 0.003936 | 0.00098645 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_342-1_0_4_load_29 | 13 | 5.7472e-05 | 1.4404e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_342-1_0_4_load_7 | 17 | 0.00021902 | 5.4892e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_342-1_0_4_load_8 | 18 | 0.0015024 | 0.00037654 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_342-1_0_4_load_11 | 21 | 0.00096292 | 0.00024133 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_342-1_0_4_load_27 | 23 | 0.00096169 | 0.00024102 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_342-1_0_4_load_13 | 24 | 0.00026255 | 6.5802e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_342-1_0_4_load_14 | 25 | 0.00076348 | 0.00019135 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_342-1_0_4_load_21 | 28 | 0.0005788 | 0.00014506 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_342-1_0_4_load_20 | 29 | 0.0011107 | 0.00027837 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_342-1_0_4_load_109 | 32 | 0.00038806 | 9.7256e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_342-1_0_4_load_166 | 33 | 0.00048456 | 0.00012144 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_342-1_0_4_load_112 | 35 | 0.0016503 | 0.0004136 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_342-1_0_4_load_22 | 36 | 0.00034743 | 8.7073e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_342-1_0_4_load_23 | 37 | 0.00037784 | 9.4697e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_342-1_0_4_load_26 | 39 | 0.0011697 | 0.00029316 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_342-1_0_4_load_28 | 40 | 0.00025797 | 6.4654e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_342-1_0_4_load_140 | 41 | 0.0018837 | 0.0004721 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_342-1_0_4_load_113 | 43 | 0.0026611 | 0.00066693 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_342-1_0_4_load_114 | 44 | 0.0023631 | 0.00059226 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_342-1_0_4_load_33 | 45 | 0.0011632 | 0.00029152 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_342-1_0_4_load_34 | 46 | 0.0017852 | 0.00044741 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_342-1_0_4_load_35 | 47 | 0.0026276 | 0.00065853 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_342-1_0_4_load_44 | 50 | 0.0040885 | 0.0010247 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_342-1_0_4_load_65 | 51 | 0.0023281 | 0.00058347 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_342-1_0_4_load_50 | 52 | 0.0023621 | 0.00059201 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_342-1_0_4_load_37 | 53 | 0.003071 | 0.00076967 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_342-1_0_4_load_38 | 54 | 0.0041244 | 0.0010337 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_342-1_0_4_load_40 | 56 | 0.0022873 | 0.00057326 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_342-1_0_4_load_71 | 60 | 0.0028832 | 0.00072259 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_342-1_0_4_load_66 | 61 | 0.0014382 | 0.00036046 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_342-1_0_4_load_86 | 62 | 0.0010693 | 0.00026799 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_342-1_0_4_load_74 | 64 | 0.0016399 | 0.000411 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_342-1_0_4_load_45 | 66 | 0.0053011 | 0.0013286 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_342-1_0_4_load_46 | 67 | 0.0035692 | 0.00089451 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_342-1_0_4_load_49 | 69 | 0.0052282 | 0.0013103 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_342-1_0_4_load_51 | 70 | 0.0037094 | 0.00092967 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_342-1_0_4_load_52 | 71 | 0.0035515 | 0.00089009 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_342-1_0_4_load_97 | 73 | 0.0032852 | 0.00082335 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_342-1_0_4_load_96 | 74 | 0.0077402 | 0.0019399 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_342-1_0_4_load_105 | 75 | 0.0029905 | 0.00074949 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_342-1_0_4_load_106 | 76 | 0.0030316 | 0.00075978 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_342-1_0_4_load_53 | 77 | 0.0045947 | 0.0011515 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_342-1_0_4_load_54 | 78 | 0.0020283 | 0.00050833 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_342-1_0_4_load_55 | 79 | 0.0036799 | 0.00092227 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_342-1_0_4_load_56 | 80 | 0.0037142 | 0.00093086 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_342-1_0_4_load_67 | 82 | 0.0018596 | 0.00046606 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_342-1_0_4_load_59 | 84 | 0.0034113 | 0.00085496 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_342-1_0_4_load_77 | 85 | 0.0030255 | 0.00075826 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_342-1_0_4_load_107 | 87 | 0.00079943 | 0.00020036 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_342-1_0_4_load_58 | 88 | 0.0029794 | 0.0007467 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_342-1_0_4_load_60 | 89 | 0.0034975 | 0.00087655 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_342-1_0_4_load_79 | 90 | 0.0027699 | 0.0006942 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_342-1_0_4_load_108 | 91 | 0.0017293 | 0.0004334 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_342-1_0_4_load_62 | 92 | 0.0011911 | 0.00029852 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_342-1_0_4_load_63 | 93 | 0.0021365 | 0.00053545 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_342-1_0_4_load_64 | 94 | 0.0015051 | 0.00037722 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_342-1_0_4_load_90 | 96 | 0.0026242 | 0.00065767 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_342-1_0_4_load_73 | 98 | 0.0024782 | 0.0006211 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_342-1_0_4_load_68 | 99 | 0.0019647 | 0.00049239 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_342-1_0_4_load_70 | 100 | 0.0012438 | 0.00031172 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_342-1_0_4_load_72 | 101 | 0.0025098 | 0.00062903 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_342-1_0_4_load_92 | 102 | 0.0011293 | 0.00028303 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_342-1_0_4_load_93 | 103 | 0.0012534 | 0.00031414 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_342-1_0_4_load_75 | 104 | 0.0023293 | 0.00058379 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_342-1_0_4_load_76 | 105 | 0.0032058 | 0.00080345 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_342-1_0_4_load_91 | 106 | 0.0024772 | 0.00062084 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_342-1_0_4_load_94 | 107 | 0.0013132 | 0.00032912 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_342-1_0_4_load_89 | 108 | 0.0016907 | 0.00042374 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_342-1_0_4_load_82 | 110 | 0.00086953 | 0.00021793 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_342-1_0_4_load_102 | 112 | 0.0054236 | 0.0013593 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_342-1_0_4_load_85 | 113 | 0.00098487 | 0.00024683 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_342-1_0_4_load_98 | 114 | 0.0024325 | 0.00060964 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_342-1_0_4_load_99 | 115 | 0.0035779 | 0.00089672 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_342-1_0_4_load_100 | 116 | 0.0015292 | 0.00038326 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_342-1_0_4_load_101 | 117 | 0.0034092 | 0.00085442 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_342-1_0_4_load_115 | 118 | 0.00049348 | 0.00012368 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_342-1_0_4_load_142 | 119 | 0.00076312 | 0.00019125 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_342-1_0_4_load_143 | 120 | 0.00011121 | 2.7872e-05 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_342-1_0_4_load_146 | 121 | 0.00058179 | 0.00014581 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_342-1_0_4_load_164 | 122 | 0.0018899 | 0.00047365 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_342-1_0_4_load_163 | 124 | 0.00035701 | 8.9476e-05 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_342-1_0_4_load_116 | 125 | 0.0004153 | 0.00010408 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_342-1_0_4_load_117 | 126 | 0.00065875 | 0.0001651 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_342-1_0_4_load_134 | 131 | 0.00015009 | 3.7615e-05 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_342-1_0_4_load_157 | 132 | 0.00027297 | 6.8412e-05 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_342-1_0_4_load_133 | 134 | 0.0011218 | 0.00028116 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_342-1_0_4_load_136 | 135 | 0.00047457 | 0.00011894 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_342-1_0_4_load_131 | 136 | 0.00074965 | 0.00018788 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_342-1_0_4_load_156 | 137 | 0.00038655 | 9.6878e-05 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_342-1_0_4_load_161 | 138 | 0.0013101 | 0.00032834 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_342-1_0_4_load_132 | 139 | 0.00043917 | 0.00011007 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_342-1_0_4_load_137 | 140 | 0.00093889 | 0.00023531 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_342-1_0_4_load_122 | 141 | 0.00018112 | 4.5394e-05 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_342-1_0_4_load_123 | 142 | 0.00073174 | 0.00018339 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_342-1_0_4_load_124 | 143 | 0.0014135 | 0.00035425 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_342-1_0_4_load_130 | 144 | 0.00041146 | 0.00010312 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_342-1_0_4_load_125 | 145 | 0.00017503 | 4.3866e-05 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_342-1_0_4_load_126 | 146 | 0.00067248 | 0.00016854 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_342-1_0_4_load_128 | 148 | 0.00034746 | 8.7082e-05 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_342-1_0_4_load_129 | 149 | 0.00028802 | 7.2186e-05 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_342-1_0_4_load_135 | 150 | 0.00084219 | 0.00021107 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_342-1_0_4_load_138 | 151 | 0.00020193 | 5.061e-05 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_342-1_0_4_load_144 | 154 | 0.00018674 | 4.6801e-05 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_342-1_0_4_load_147 | 155 | 0.00055725 | 0.00013966 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_342-1_0_4_load_150 | 157 | 0.00014697 | 3.6834e-05 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_342-1_0_4_load_151 | 158 | 0.0005667 | 0.00014203 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_342-1_0_4_load_155 | 159 | 0.00023372 | 5.8577e-05 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_342-1_0_4_load_158 | 160 | 0.00078556 | 0.00019688 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_342-1_0_4_load_159 | 161 | 0.00043185 | 0.00010823 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 81 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_342-1_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0065373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_342-1_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.012654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_342-1_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.045193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_342-1_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.013028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_342-1_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.023387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_342-1_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.057198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_342-1_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.014686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_342-1_0_4_line_7 | NAYY 4x150 SE | 4 | 8 | 0.076982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_342-1_0_4_line_8 | NAYY 4x150 SE | 5 | 9 | 0.045641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_342-1_0_4_line_9 | NAYY 4x150 SE | 6 | 10 | 0.048853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_342-1_0_4_line_10 | NAYY 4x150 SE | 7 | 11 | 0.027252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_342-1_0_4_line_11 | NAYY 4x150 SE | 8 | 12 | 0.01789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_342-1_0_4_line_12 | NAYY 4x150 SE | 10 | 22 | 0.049964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_342-1_0_4_line_13 | NAYY 4x150 SE | 11 | 26 | 0.032001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_342-1_0_4_line_14 | NAYY 4x150 SE | 11 | 27 | 0.079394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_342-1_0_4_line_15 | NAYY 4x150 SE | 11 | 24 | 0.025002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_342-1_0_4_line_16 | NAYY 4x150 SE | 12 | 112 | 0.02205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_342-1_0_4_line_17 | NAYY 4x150 SE | 12 | 86 | 0.012836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_342-1_0_4_line_18 | NAYY 4x150 SE | 13 | 14 | 0.03977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_342-1_0_4_line_19 | NAYY 4x150 SE | 14 | 15 | 0.085102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_342-1_0_4_line_20 | NAYY 4x150 SE | 14 | 16 | 0.060886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_342-1_0_4_line_21 | NAYY 4x150 SE | 15 | 41 | 0.0038413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_342-1_0_4_line_22 | NAYY 4x150 SE | 16 | 37 | 0.0093328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_342-1_0_4_line_23 | NAYY 4x150 SE | 17 | 18 | 0.017478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_342-1_0_4_line_24 | NAYY 4x150 SE | 17 | 19 | 0.010931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_342-1_0_4_line_25 | NAYY 4x150 SE | 18 | 20 | 0.02205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_342-1_0_4_line_26 | NAYY 4x150 SE | 19 | 21 | 0.024302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_342-1_0_4_line_27 | NAYY 4x150 SE | 20 | 22 | 0.21636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_342-1_0_4_line_28 | NAYY 4x150 SE | 22 | 23 | 0.13455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_342-1_0_4_line_29 | NAYY 4x150 SE | 23 | 40 | 0.0035232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_342-1_0_4_line_30 | NAYY 4x150 SE | 24 | 25 | 0.0057074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_342-1_0_4_line_31 | NAYY 4x150 SE | 26 | 28 | 0.10241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_342-1_0_4_line_32 | NAYY 4x150 SE | 26 | 29 | 0.010508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_342-1_0_4_line_33 | NAYY 4x150 SE | 27 | 32 | 0.047783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_342-1_0_4_line_34 | NAYY 4x150 SE | 30 | 31 | 0.019859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_342-1_0_4_line_35 | NAYY 4x150 SE | 30 | 32 | 0.010106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_342-1_0_4_line_36 | NAYY 4x150 SE | 31 | 33 | 0.003329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_342-1_0_4_line_37 | NAYY 4x150 SE | 31 | 34 | 0.030571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_342-1_0_4_line_38 | NAYY 4x150 SE | 34 | 35 | 0.018731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_342-1_0_4_line_39 | NAYY 4x150 SE | 35 | 43 | 0.041252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_342-1_0_4_line_40 | NAYY 4x150 SE | 36 | 37 | 0.010569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_342-1_0_4_line_41 | NAYY 4x150 SE | 36 | 38 | 0.023013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_342-1_0_4_line_42 | NAYY 4x150 SE | 38 | 39 | 0.015669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_342-1_0_4_line_43 | NAYY 4x150 SE | 39 | 40 | 0.026143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_342-1_0_4_line_44 | NAYY 4x150 SE | 41 | 42 | 0.038008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_342-1_0_4_line_45 | NAYY 4x150 SE | 42 | 119 | 0.022302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_342-1_0_4_line_46 | NAYY 4x150 SE | 42 | 120 | 0.041639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_342-1_0_4_line_47 | NAYY 4x150 SE | 43 | 44 | 0.043262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_342-1_0_4_line_48 | NAYY 4x150 SE | 44 | 118 | 0.046996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_342-1_0_4_line_49 | NAYY 4x150 SE | 45 | 46 | 0.015632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_342-1_0_4_line_50 | NAYY 4x150 SE | 45 | 47 | 0.018524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_342-1_0_4_line_51 | NAYY 4x150 SE | 46 | 48 | 0.011134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_342-1_0_4_line_52 | NAYY 4x150 SE | 48 | 49 | 0.02525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_342-1_0_4_line_53 | NAYY 4x150 SE | 48 | 50 | 0.0049955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_342-1_0_4_line_54 | NAYY 4x150 SE | 49 | 51 | 0.006919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_342-1_0_4_line_55 | NAYY 4x150 SE | 50 | 52 | 0.019847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_342-1_0_4_line_56 | NAYY 4x150 SE | 51 | 57 | 0.023863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_342-1_0_4_line_57 | NAYY 4x150 SE | 52 | 65 | 0.018069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_342-1_0_4_line_58 | NAYY 4x150 SE | 53 | 54 | 0.0083926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_342-1_0_4_line_59 | NAYY 4x150 SE | 53 | 55 | 0.019038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_342-1_0_4_line_60 | NAYY 4x150 SE | 54 | 56 | 0.017754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_342-1_0_4_line_61 | NAYY 4x150 SE | 55 | 57 | 0.073346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_342-1_0_4_line_62 | NAYY 4x150 SE | 56 | 58 | 0.007027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
63 | LV_342-1_0_4_line_63 | NAYY 4x150 SE | 57 | 61 | 0.01612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_342-1_0_4_line_64 | NAYY 4x150 SE | 58 | 62 | 0.020917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_342-1_0_4_line_65 | NAYY 4x150 SE | 58 | 59 | 0.02209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_342-1_0_4_line_66 | NAYY 4x150 SE | 59 | 60 | 0.017592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
67 | LV_342-1_0_4_line_67 | NAYY 4x150 SE | 60 | 63 | 0.022471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_342-1_0_4_line_68 | NAYY 4x150 SE | 61 | 64 | 0.02809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_342-1_0_4_line_69 | NAYY 4x150 SE | 62 | 113 | 0.006506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_342-1_0_4_line_70 | NAYY 4x150 SE | 63 | 101 | 0.028583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
71 | LV_342-1_0_4_line_71 | NAYY 4x150 SE | 63 | 99 | 0.019448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_342-1_0_4_line_72 | NAYY 4x150 SE | 64 | 98 | 0.0021766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_342-1_0_4_line_73 | NAYY 4x150 SE | 65 | 70 | 0.039019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_342-1_0_4_line_74 | NAYY 4x150 SE | 65 | 71 | 0.021908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
75 | LV_342-1_0_4_line_75 | NAYY 4x150 SE | 65 | 68 | 0.038788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_342-1_0_4_line_76 | NAYY 4x150 SE | 66 | 67 | 0.0011107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_342-1_0_4_line_77 | NAYY 4x150 SE | 66 | 68 | 0.022076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_342-1_0_4_line_78 | NAYY 4x150 SE | 68 | 69 | 0.013208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_342-1_0_4_line_79 | NAYY 4x150 SE | 71 | 72 | 0.024495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_342-1_0_4_line_80 | NAYY 4x150 SE | 72 | 75 | 0.0022056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_342-1_0_4_line_81 | NAYY 4x150 SE | 72 | 76 | 0.026115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_342-1_0_4_line_82 | NAYY 4x150 SE | 73 | 74 | 0.009824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_342-1_0_4_line_83 | NAYY 4x150 SE | 74 | 111 | 0.037492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_342-1_0_4_line_84 | NAYY 4x150 SE | 75 | 117 | 0.025819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_342-1_0_4_line_85 | NAYY 4x150 SE | 77 | 78 | 0.024706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_342-1_0_4_line_86 | NAYY 4x150 SE | 77 | 79 | 0.0010486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_342-1_0_4_line_87 | NAYY 4x150 SE | 78 | 80 | 0.002919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_342-1_0_4_line_88 | NAYY 4x150 SE | 79 | 81 | 0.022278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_342-1_0_4_line_89 | NAYY 4x150 SE | 80 | 82 | 0.017086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_342-1_0_4_line_90 | NAYY 4x150 SE | 81 | 83 | 0.015755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
91 | LV_342-1_0_4_line_91 | NAYY 4x150 SE | 81 | 84 | 0.012836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_342-1_0_4_line_92 | NAYY 4x150 SE | 82 | 85 | 0.020533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_342-1_0_4_line_93 | NAYY 4x150 SE | 83 | 86 | 0.019676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
94 | LV_342-1_0_4_line_94 | NAYY 4x150 SE | 83 | 87 | 0.011133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_342-1_0_4_line_95 | NAYY 4x150 SE | 84 | 88 | 0.033801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_342-1_0_4_line_96 | NAYY 4x150 SE | 85 | 97 | 0.0057386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_342-1_0_4_line_97 | NAYY 4x150 SE | 86 | 90 | 0.026948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
98 | LV_342-1_0_4_line_98 | NAYY 4x150 SE | 87 | 91 | 0.025433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_342-1_0_4_line_99 | NAYY 4x150 SE | 88 | 89 | 0.0094026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_342-1_0_4_line_100 | NAYY 4x150 SE | 90 | 109 | 0.016716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
101 | LV_342-1_0_4_line_101 | NAYY 4x150 SE | 92 | 93 | 0.021119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_342-1_0_4_line_102 | NAYY 4x150 SE | 93 | 94 | 0.016064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_342-1_0_4_line_103 | NAYY 4x150 SE | 94 | 95 | 0.013476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_342-1_0_4_line_104 | NAYY 4x150 SE | 95 | 96 | 0.010328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_342-1_0_4_line_105 | NAYY 4x150 SE | 95 | 97 | 0.011404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_342-1_0_4_line_106 | NAYY 4x150 SE | 97 | 108 | 0.016473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_342-1_0_4_line_107 | NAYY 4x150 SE | 98 | 104 | 0.025201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_342-1_0_4_line_108 | NAYY 4x150 SE | 99 | 100 | 0.0099836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_342-1_0_4_line_109 | NAYY 4x150 SE | 101 | 102 | 0.0019098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
110 | LV_342-1_0_4_line_110 | NAYY 4x150 SE | 102 | 103 | 0.023935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
111 | LV_342-1_0_4_line_111 | NAYY 4x150 SE | 103 | 111 | 0.032016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
112 | LV_342-1_0_4_line_112 | NAYY 4x150 SE | 104 | 105 | 0.026544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_342-1_0_4_line_113 | NAYY 4x150 SE | 105 | 106 | 0.0025092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_342-1_0_4_line_114 | NAYY 4x150 SE | 106 | 107 | 0.010558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_342-1_0_4_line_115 | NAYY 4x150 SE | 109 | 110 | 0.012138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
116 | LV_342-1_0_4_line_116 | NAYY 4x150 SE | 110 | 111 | 0.0013881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
117 | LV_342-1_0_4_line_117 | NAYY 4x150 SE | 114 | 115 | 0.028858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_342-1_0_4_line_118 | NAYY 4x150 SE | 114 | 116 | 0.0094431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_342-1_0_4_line_119 | NAYY 4x150 SE | 116 | 117 | 0.015969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_342-1_0_4_line_120 | NAYY 4x150 SE | 119 | 154 | 0.029649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
121 | LV_342-1_0_4_line_121 | NAYY 4x150 SE | 120 | 121 | 0.025831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_342-1_0_4_line_122 | NAYY 4x150 SE | 122 | 123 | 0.035155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_342-1_0_4_line_123 | NAYY 4x150 SE | 122 | 124 | 0.025163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_342-1_0_4_line_124 | NAYY 4x150 SE | 123 | 156 | 0.26472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_342-1_0_4_line_125 | NAYY 4x150 SE | 124 | 152 | 0.2298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_342-1_0_4_line_126 | NAYY 4x150 SE | 125 | 126 | 0.027597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_342-1_0_4_line_127 | NAYY 4x150 SE | 125 | 127 | 0.014922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
128 | LV_342-1_0_4_line_128 | NAYY 4x150 SE | 126 | 128 | 0.0071737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_342-1_0_4_line_129 | NAYY 4x150 SE | 127 | 129 | 0.073576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_342-1_0_4_line_130 | NAYY 4x150 SE | 127 | 130 | 0.02182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
131 | LV_342-1_0_4_line_131 | NAYY 4x150 SE | 128 | 131 | 0.094973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_342-1_0_4_line_132 | NAYY 4x150 SE | 129 | 132 | 0.0091497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_342-1_0_4_line_133 | NAYY 4x150 SE | 129 | 133 | 0.049038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_342-1_0_4_line_134 | NAYY 4x150 SE | 130 | 134 | 0.021249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
135 | LV_342-1_0_4_line_135 | NAYY 4x150 SE | 130 | 135 | 0.05522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_342-1_0_4_line_136 | NAYY 4x150 SE | 131 | 136 | 0.011632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_342-1_0_4_line_137 | NAYY 4x150 SE | 132 | 137 | 0.0097536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_342-1_0_4_line_138 | NAYY 4x150 SE | 133 | 138 | 0.037838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_342-1_0_4_line_139 | NAYY 4x150 SE | 134 | 139 | 0.01651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
140 | LV_342-1_0_4_line_140 | NAYY 4x150 SE | 135 | 140 | 0.072224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
141 | LV_342-1_0_4_line_141 | NAYY 4x150 SE | 136 | 144 | 0.0045294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
142 | LV_342-1_0_4_line_142 | NAYY 4x150 SE | 137 | 159 | 0.11506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
143 | LV_342-1_0_4_line_143 | NAYY 4x150 SE | 138 | 161 | 0.0014386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
144 | LV_342-1_0_4_line_144 | NAYY 4x150 SE | 139 | 149 | 0.010489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
145 | LV_342-1_0_4_line_145 | NAYY 4x150 SE | 141 | 142 | 6.0984e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
146 | LV_342-1_0_4_line_146 | NAYY 4x150 SE | 142 | 143 | 0.027939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
147 | LV_342-1_0_4_line_147 | NAYY 4x150 SE | 143 | 144 | 0.031833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
148 | LV_342-1_0_4_line_148 | NAYY 4x150 SE | 145 | 146 | 0.0058381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
149 | LV_342-1_0_4_line_149 | NAYY 4x150 SE | 145 | 147 | 0.042593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
150 | LV_342-1_0_4_line_150 | NAYY 4x150 SE | 146 | 148 | 0.0046318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
151 | LV_342-1_0_4_line_151 | NAYY 4x150 SE | 147 | 149 | 0.085601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
152 | LV_342-1_0_4_line_152 | NAYY 4x150 SE | 148 | 150 | 0.06562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
153 | LV_342-1_0_4_line_153 | NAYY 4x150 SE | 150 | 151 | 0.029146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
154 | LV_342-1_0_4_line_154 | NAYY 4x150 SE | 151 | 152 | 0.013941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
155 | LV_342-1_0_4_line_155 | NAYY 4x150 SE | 151 | 153 | 0.20161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
156 | LV_342-1_0_4_line_156 | NAYY 4x150 SE | 153 | 154 | 0.030217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
157 | LV_342-1_0_4_line_157 | NAYY 4x150 SE | 155 | 156 | 0.075421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
158 | LV_342-1_0_4_line_158 | NAYY 4x150 SE | 156 | 157 | 0.048425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
159 | LV_342-1_0_4_line_159 | NAYY 4x150 SE | 157 | 158 | 0.01584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
160 | LV_342-1_0_4_line_160 | NAYY 4x150 SE | 160 | 161 | 0.022199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_342-1_0_4_trafo_57 | 0.25 MVA 20/0.4 kV | 162 | 81 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2623859.2747 | 1228222.7935 | 2623862.4346 | 1228218.8927 | 2623863.3877 | 1228217.7122
1 | 2623871.336 | 1228207.8662 | 2623863.3877 | 1228217.7122
2 | 2623859.2747 | 1228222.7935 | 2623840.9696 | 1228245.4561 | 2623831.6207 | 1228258.5154
3 | 2623871.336 | 1228207.8662 | 2623873.4985 | 1228205.1955 | 2623879.5368 | 1228197.7263
4 | 2623831.6207 | 1228258.5154 | 2623821.4717 | 1228272.75 | 2623817.9975 | 1228277.5501
5 | 2623831.6207 | 1228258.5154 | 2623872.4063 | 1228298.6172
6 | 2623879.5368 | 1228197.7263 | 2623872.9294 | 1228184.6031
7 | 2623879.5368 | 1228197.7263 | 2623927.239 | 1228141.3727 | 2623929.5209 | 1228139.2015
8 | 2623817.9975 | 1228277.5501 | 2623828.1095 | 1228287.7522 | 2623850.1313 | 1228309.9614
9 | 2623869.4981 | 1228333.7787 | 2623881.7154 | 1228321.4647 | 2623870.661 | 1228310.1581 | 2623876.842 | 1228302.9785 | 2623872.4063 | 1228298.6172
10 | 2623861.5953 | 1228159.8207 | 2623862.5196 | 1228161.7366 | 2623872.9294 | 1228184.6031
11 | 2623942.4813 | 1228126.8697 | 2623929.5209 | 1228139.2015
12 | 2623869.4981 | 1228333.7787 | 2623854.5032 | 1228349.1167 | 2623874.5681 | 1228369.3758
13 | 2623861.5953 | 1228159.8207 | 2623862.5196 | 1228161.7366 | 2623878.7964 | 1228136.6868
14 | 2623794.0952 | 1228176.4942 | 2623802.6147 | 1228164.3098 | 2623812.0906 | 1228170.6737 | 2623837.9901 | 1228156.9134 | 2623861.5953 | 1228159.8207
15 | 2623861.5953 | 1228159.8207 | 2623860.453 | 1228157.4702 | 2623857.429 | 1228148.2304 | 2623857.4621 | 1228139.97 | 2623858.984 | 1228135.8346
16 | 2623942.4813 | 1228126.8697 | 2623955.4246 | 1228144.7208
17 | 2623942.4813 | 1228126.8697 | 2623946.7741 | 1228123.9185 | 2623953.4567 | 1228120.1875
18 | 2623625.0152 | 1228414.4865 | 2623626.3277 | 1228425.5205 | 2623615.2851 | 1228451.9656
19 | 2623553.9981 | 1228367.2884 | 2623614.9735 | 1228407.5648 | 2623625.0152 | 1228414.4865
20 | 2623681.6719 | 1228435.5128 | 2623647.4436 | 1228427.3387 | 2623625.0152 | 1228414.4865
21 | 2623553.9981 | 1228367.2884 | 2623556.321 | 1228364.229
22 | 2623681.6719 | 1228435.5128 | 2623690.9518 | 1228436.505
23 | 2624054.4392 | 1228514.3594 | 2624038.5615 | 1228521.6661
24 | 2624064.369 | 1228509.7897 | 2624054.4392 | 1228514.3594
25 | 2624018.5304 | 1228530.8842 | 2624038.5615 | 1228521.6661
26 | 2624064.369 | 1228509.7897 | 2624062.447 | 1228534.0151
27 | 2623874.5681 | 1228369.3758 | 2624018.5304 | 1228530.8842
28 | 2623874.5681 | 1228369.3758 | 2623743.8602 | 1228401.3026
29 | 2623742.0485 | 1228404.3242 | 2623743.8602 | 1228401.3026
30 | 2623860.9551 | 1228130.4783 | 2623858.984 | 1228135.8346
31 | 2623878.7964 | 1228136.6868 | 2623886.0948 | 1228122.9856 | 2623887.6818 | 1228110.7958 | 2623859.6681 | 1228084.8014 | 2623859.4915 | 1228066.4675 | 2623859.0201 | 1228048.427
32 | 2623878.7964 | 1228136.6868 | 2623886.5411 | 1228143.7889
33 | 2623794.0952 | 1228176.4942 | 2623759.2798 | 1228153.7195 | 2623762.9867 | 1228148.7748
34 | 2623749.6508 | 1228128.7217 | 2623766.1695 | 1228139.8164
35 | 2623766.1695 | 1228139.8164 | 2623766.4096 | 1228144.2089 | 2623762.9867 | 1228148.7748
36 | 2623749.6508 | 1228128.7217 | 2623751.3745 | 1228125.8714
37 | 2623749.6508 | 1228128.7217 | 2623733.817 | 1228154.8966
38 | 2623733.817 | 1228154.8966 | 2623716.8615 | 1228146.9355
39 | 2623716.8615 | 1228146.9355 | 2623700.1216 | 1228143.8115 | 2623679.755 | 1228140.0283 | 2623676.6255 | 1228138.4419
40 | 2623690.9518 | 1228436.505 | 2623699.9234 | 1228437.4642 | 2623701.4467 | 1228437.7286
41 | 2623724.121 | 1228441.663 | 2623701.4467 | 1228437.7286
42 | 2623724.121 | 1228441.663 | 2623725.8384 | 1228432.7645 | 2623728.8888 | 1228426.9049
43 | 2623742.0485 | 1228404.3242 | 2623731.3889 | 1228422.1024 | 2623728.8888 | 1228426.9049
44 | 2623530.4434 | 1228336.4102 | 2623539.2902 | 1228346.6513 | 2623556.321 | 1228364.229
45 | 2623530.4434 | 1228336.4102 | 2623515.8618 | 1228319.5351
46 | 2623530.4434 | 1228336.4102 | 2623559.0114 | 1228314.2431 | 2623561.5233 | 1228309.3728
47 | 2623640.3444 | 1228115.2841 | 2623643.8824 | 1228118.095 | 2623656.9643 | 1228128.4753 | 2623676.6255 | 1228138.4419
48 | 2623602.1475 | 1228088.0693 | 2623608.5737 | 1228091.4725 | 2623622.8849 | 1228101.4129 | 2623640.3444 | 1228115.2841
49 | 2624167.0069 | 1227992.7979 | 2624151.3754 | 1227992.9148
50 | 2624185.5306 | 1227992.6593 | 2624167.0069 | 1227992.7979
51 | 2624140.2414 | 1227992.9981 | 2624151.3754 | 1227992.9148
52 | 2624140.2414 | 1227992.9981 | 2624130.7816 | 1227969.5792
53 | 2624140.2414 | 1227992.9981 | 2624142.1986 | 1227997.5943
54 | 2624130.7816 | 1227969.5792 | 2624125.6639 | 1227964.9229
55 | 2624149.9746 | 1228015.8546 | 2624142.1986 | 1227997.5943
56 | 2624108.013 | 1227948.8636 | 2624125.6639 | 1227964.9229
57 | 2624157.0538 | 1228032.4787 | 2624149.9746 | 1228015.8546
58 | 2624045.144 | 1227945.5002 | 2624041.3712 | 1227952.9969 | 2624041.3712 | 1227952.9969
59 | 2624056.1063 | 1227931.0321 | 2624053.5265 | 1227931.9222 | 2624050.0358 | 1227938.8567 | 2624047.8485 | 1227940.1265 | 2624045.144 | 1227945.5002
60 | 2624041.3712 | 1227952.9969 | 2624035.8224 | 1227957.3327 | 2624031.9591 | 1227964.6104 | 2624031.7493 | 1227967.0743
61 | 2624056.1063 | 1227931.0321 | 2624074.0898 | 1227939.6654 | 2624081.9268 | 1227924.0989 | 2624108.013 | 1227948.8636
62 | 2624032.6793 | 1227973.9077 | 2624031.4898 | 1227970.1229 | 2624031.7493 | 1227967.0743
63 | 2624108.013 | 1227948.8636 | 2624100.8009 | 1227963.28
64 | 2624032.6793 | 1227973.9077 | 2624028.7188 | 1227975.2036 | 2624023.8615 | 1227979.0753 | 2624015.8081 | 1227985.8716
65 | 2624032.6793 | 1227973.9077 | 2624034.0829 | 1227973.4464 | 2624039.3492 | 1227975.2465 | 2624047.8265 | 1227979.3498 | 2624052.4504 | 1227982.6482
66 | 2624052.4504 | 1227982.6482 | 2624047.1113 | 1227993.2441 | 2624044.6237 | 1227998.4025
67 | 2624034.8629 | 1228018.6433 | 2624044.6237 | 1227998.4025
68 | 2624088.233 | 1227988.402 | 2624100.8009 | 1227963.28
69 | 2624015.8081 | 1227985.8716 | 2624010.8361 | 1227990.0676
70 | 2624034.8629 | 1228018.6433 | 2624025.0979 | 1228038.8827 | 2624022.7874 | 1228044.5402
71 | 2624034.8629 | 1228018.6433 | 2624019.344 | 1228006.9219
72 | 2624087.2591 | 1227990.3486 | 2624088.233 | 1227988.402
73 | 2624157.0538 | 1228032.4787 | 2624146.5812 | 1228034.671 | 2624137.6591 | 1228037.5143 | 2624126.4828 | 1228041.338 | 2624120.0693 | 1228044.4825
74 | 2624157.0538 | 1228032.4787 | 2624163.5834 | 1228053.391
75 | 2624195.9295 | 1228031.0578 | 2624157.0538 | 1228032.4787
76 | 2624196.0133 | 1228008.9818 | 2624196.0175 | 1228007.8711
77 | 2624195.9295 | 1228031.0578 | 2624196.0133 | 1228008.9818
78 | 2624195.9295 | 1228031.0578 | 2624205.6294 | 1228030.6969 | 2624209.1284 | 1228030.8381
79 | 2624170.884 | 1228076.7724 | 2624163.5834 | 1228053.391
80 | 2624170.884 | 1228076.7724 | 2624171.5409 | 1228078.878
81 | 2624170.884 | 1228076.7724 | 2624182.068 | 1228072.9155 | 2624192.4061 | 1228074.0025 | 2624192.0863 | 1228077.8786
82 | 2624052.27 | 1228086.7743 | 2624042.7817 | 1228089.3204
83 | 2624006.5723 | 1228099.0441 | 2624025.975 | 1228093.8302 | 2624042.7817 | 1228089.3204
84 | 2624171.5409 | 1228078.878 | 2624179.2308 | 1228103.5253
85 | 2623952.5929 | 1228067.4943 | 2623967.0004 | 1228047.4244
86 | 2623952.5929 | 1228067.4943 | 2623951.9814 | 1228068.3461
87 | 2623967.0004 | 1228047.4244 | 2623968.7027 | 1228045.0532
88 | 2623944.386 | 1228088.4321 | 2623945.2854 | 1228077.6737 | 2623951.9814 | 1228068.3461
89 | 2623973.2576 | 1228030.4944 | 2623974.8087 | 1228031.5648 | 2623973.7675 | 1228037.9978 | 2623968.7027 | 1228045.0532
90 | 2623942.1942 | 1228104.0326 | 2623944.386 | 1228088.4321
91 | 2623944.386 | 1228088.4321 | 2623935.5707 | 1228079.1019
92 | 2623973.2576 | 1228030.4944 | 2623956.3577 | 1228018.8325
93 | 2623953.4567 | 1228120.1875 | 2623942.1942 | 1228104.0326
94 | 2623942.1942 | 1228104.0326 | 2623931.2985 | 1228106.3176
95 | 2623912.3571 | 1228054.5323 | 2623935.5707 | 1228079.1019
96 | 2623951.6345 | 1228015.5732 | 2623956.3577 | 1228018.8325
97 | 2623953.4567 | 1228120.1875 | 2623978.3381 | 1228109.8376
98 | 2623906.8549 | 1228100.4331 | 2623922.2824 | 1228105.8538 | 2623929.97 | 1228106.5962 | 2623931.2985 | 1228106.3176
99 | 2623905.8997 | 1228047.6977 | 2623912.3571 | 1228054.5323
100 | 2623993.7725 | 1228103.4174 | 2623978.3381 | 1228109.8376
101 | 2623979.4646 | 1227977.8447 | 2623959.9745 | 1227985.9779 | 2623959.9745 | 1227985.9779
102 | 2623959.9745 | 1227985.9779 | 2623950.8881 | 1227993.8905 | 2623948.9001 | 1227997.3788
103 | 2623942.2272 | 1228009.0871 | 2623948.9001 | 1227997.3788
104 | 2623933.8715 | 1228002.9832 | 2623942.2272 | 1228009.0871
105 | 2623951.6345 | 1228015.5732 | 2623942.2272 | 1228009.0871
106 | 2623951.6345 | 1228015.5732 | 2623942.5349 | 1228029.3048
107 | 2624087.2591 | 1227990.3486 | 2624075.9841 | 1228012.8862
108 | 2624011.3775 | 1228000.9047 | 2624019.344 | 1228006.9219
109 | 2624022.7874 | 1228044.5402 | 2624022.0654 | 1228046.3082
110 | 2624022.0654 | 1228046.3082 | 2624013.0163 | 1228068.4664
111 | 2624006.5723 | 1228099.0441 | 2624005.806 | 1228086.1221 | 2624013.0163 | 1228068.4664
112 | 2624075.9841 | 1228012.8862 | 2624064.1083 | 1228036.6249
113 | 2624062.9856 | 1228038.8689 | 2624064.1083 | 1228036.6249
114 | 2624058.262 | 1228048.311 | 2624062.9856 | 1228038.8689
115 | 2623993.7725 | 1228103.4174 | 2624005.2588 | 1228099.4929
116 | 2624006.5723 | 1228099.0441 | 2624005.2588 | 1228099.4929
117 | 2624188.244 | 1228127.231 | 2624200.2485 | 1228153.474
118 | 2624184.3159 | 1228118.6437 | 2624188.244 | 1228127.231
119 | 2624184.3159 | 1228118.6437 | 2624183.158 | 1228116.1124 | 2624179.2308 | 1228103.5253
120 | 2623515.8618 | 1228319.5351 | 2623512.0029 | 1228315.0691 | 2623492.7795 | 1228307.7779 | 2623490.0657 | 1228306.1062
121 | 2623568.8403 | 1228284.7748 | 2623564.7454 | 1228303.1258 | 2623561.5233 | 1228309.3728
122 | 2623517.2261 | 1227813.2341 | 2623521.142 | 1227848.1704
123 | 2623517.5776 | 1227873.08 | 2623521.142 | 1227848.1704 | 2623521.142 | 1227848.1704
124 | 2623253.7518 | 1227787.6077 | 2623517.2261 | 1227813.2341
125 | 2623449.0991 | 1228092.4438 | 2623517.5776 | 1227873.08
126 | 2623142.8912 | 1228025.3585 | 2623138.1505 | 1228016.5836 | 2623126.2571 | 1228003.5792
127 | 2623149.984 | 1228038.4871 | 2623142.8912 | 1228025.3585
128 | 2623121.4157 | 1227998.2856 | 2623126.2571 | 1228003.5792
129 | 2623149.984 | 1228038.4871 | 2623102.9858 | 1228067.3888 | 2623087.045 | 1228076.8883
130 | 2623162.1807 | 1228056.6009 | 2623149.984 | 1228038.4871
131 | 2623121.4157 | 1227998.2856 | 2623108.2769 | 1227992.5201 | 2623090.1217 | 1227982.8996 | 2623084.54 | 1227980.2986 | 2623070.1241 | 1227973.5944 | 2623054.5558 | 1227961.2045 | 2623050.2575 | 1227955.8736 | 2623044.1267 | 1227948.2787 | 2623043.3041 | 1227947.0049
132 | 2623087.045 | 1228076.8883 | 2623078.6678 | 1228073.2087
133 | 2623087.045 | 1228076.8883 | 2623080.5755 | 1228125.4923
134 | 2623162.1807 | 1228056.6009 | 2623183.4142 | 1228057.3995
135 | 2623162.1807 | 1228056.6009 | 2623166.7336 | 1228066.5356 | 2623190.1872 | 1228104.1081
136 | 2623036.9939 | 1227937.2334 | 2623043.3041 | 1227947.0049
137 | 2623069.7377 | 1228069.2863 | 2623078.6678 | 1228073.2087
138 | 2623080.5755 | 1228125.4923 | 2623075.804 | 1228163.0278
139 | 2623199.9129 | 1228058.0201 | 2623183.4142 | 1228057.3995
140 | 2623190.1872 | 1228104.1081 | 2623195.1592 | 1228112.0733 | 2623226.2971 | 1228166.65
141 | 2623036.9939 | 1227937.2334 | 2623036.9939 | 1227937.2334 | 2623034.86 | 1227933.2382
142 | 2623069.7377 | 1228069.2863 | 2622959.5322 | 1228102.352
143 | 2623075.6226 | 1228164.4549 | 2623075.804 | 1228163.0278
144 | 2623199.9129 | 1228058.0201 | 2623203.0598 | 1228058.1385 | 2623210.3362 | 1228059.1046
145 | 2623004.6795 | 1227881.6063 | 2623004.7119 | 1227881.658
146 | 2623019.3986 | 1227905.4251 | 2623008.3929 | 1227887.5267 | 2623004.7119 | 1227881.658
147 | 2623019.3986 | 1227905.4251 | 2623024.0098 | 1227912.9243 | 2623034.86 | 1227933.2382
148 | 2623330.8631 | 1228096.3397 | 2623336.6786 | 1228096.8531
149 | 2623291.3565 | 1228082.6196 | 2623314.8952 | 1228094.9301 | 2623330.8631 | 1228096.3397
150 | 2623336.6786 | 1228096.8531 | 2623341.2925 | 1228097.2604
151 | 2623291.3565 | 1228082.6196 | 2623257.9262 | 1228065.4233 | 2623210.3362 | 1228059.1046
152 | 2623341.2925 | 1228097.2604 | 2623390.4105 | 1228101.5965 | 2623406.5269 | 1228099.0831
153 | 2623435.3243 | 1228094.592 | 2623406.5269 | 1228099.0831
154 | 2623449.0991 | 1228092.4438 | 2623435.3243 | 1228094.592
155 | 2623435.3243 | 1228094.592 | 2623462.9125 | 1228294.3078
156 | 2623462.9125 | 1228294.3078 | 2623472.9617 | 1228295.5703 | 2623490.0657 | 1228306.1062
157 | 2623253.7518 | 1227787.6077 | 2623236.9475 | 1227835.6597 | 2623224.1146 | 1227856.5479
158 | 2623253.7518 | 1227787.6077 | 2623210.1586 | 1227766.5212
159 | 2623195.8989 | 1227759.6237 | 2623210.1586 | 1227766.5212
160 | 2623072.8232 | 1228186.4765 | 2623075.6226 | 1228164.4549

## bus_geodata
| x | y | coords
0 | 2623863.3877 | 1228217.7122
1 | 2623859.2747 | 1228222.7935
2 | 2623871.336 | 1228207.8662
3 | 2623831.6207 | 1228258.5154
4 | 2623879.5368 | 1228197.7263
5 | 2623817.9975 | 1228277.5501
6 | 2623872.4063 | 1228298.6172
7 | 2623872.9294 | 1228184.6031
8 | 2623929.5209 | 1228139.2015
9 | 2623850.1313 | 1228309.9614
10 | 2623869.4981 | 1228333.7787
11 | 2623861.5953 | 1228159.8207
12 | 2623942.4813 | 1228126.8697
13 | 2623615.2851 | 1228451.9656
14 | 2623625.0152 | 1228414.4865
15 | 2623553.9981 | 1228367.2884
16 | 2623681.6719 | 1228435.5128
17 | 2624054.4392 | 1228514.3594
18 | 2624038.5615 | 1228521.6661
19 | 2624064.369 | 1228509.7897
20 | 2624018.5304 | 1228530.8842
21 | 2624062.447 | 1228534.0151
22 | 2623874.5681 | 1228369.3758
23 | 2623743.8602 | 1228401.3026
24 | 2623858.984 | 1228135.8346
25 | 2623860.9551 | 1228130.4783
26 | 2623878.7964 | 1228136.6868
27 | 2623794.0952 | 1228176.4942
28 | 2623859.0201 | 1228048.427
29 | 2623886.5411 | 1228143.7889
30 | 2623766.1695 | 1228139.8164
31 | 2623749.6508 | 1228128.7217
32 | 2623762.9867 | 1228148.7748
33 | 2623751.3745 | 1228125.8714
34 | 2623733.817 | 1228154.8966
35 | 2623716.8615 | 1228146.9355
36 | 2623701.4467 | 1228437.7286
37 | 2623690.9518 | 1228436.505
38 | 2623724.121 | 1228441.663
39 | 2623728.8888 | 1228426.9049
40 | 2623742.0485 | 1228404.3242
41 | 2623556.321 | 1228364.229
42 | 2623530.4434 | 1228336.4102
43 | 2623676.6255 | 1228138.4419
44 | 2623640.3444 | 1228115.2841
45 | 2624167.0069 | 1227992.7979
46 | 2624151.3754 | 1227992.9148
47 | 2624185.5306 | 1227992.6593
48 | 2624140.2414 | 1227992.9981
49 | 2624130.7816 | 1227969.5792
50 | 2624142.1986 | 1227997.5943
51 | 2624125.6639 | 1227964.9229
52 | 2624149.9746 | 1228015.8546
53 | 2624045.144 | 1227945.5002
54 | 2624041.3712 | 1227952.9969
55 | 2624056.1063 | 1227931.0321
56 | 2624031.7493 | 1227967.0743
57 | 2624108.013 | 1227948.8636
58 | 2624032.6793 | 1227973.9077
59 | 2624052.4504 | 1227982.6482
60 | 2624044.6237 | 1227998.4025
61 | 2624100.8009 | 1227963.28
62 | 2624015.8081 | 1227985.8716
63 | 2624034.8629 | 1228018.6433
64 | 2624088.233 | 1227988.402
65 | 2624157.0538 | 1228032.4787
66 | 2624196.0133 | 1228008.9818
67 | 2624196.0175 | 1228007.8711
68 | 2624195.9295 | 1228031.0578
69 | 2624209.1284 | 1228030.8381
70 | 2624120.0693 | 1228044.4825
71 | 2624163.5834 | 1228053.391
72 | 2624170.884 | 1228076.7724
73 | 2624052.27 | 1228086.7743
74 | 2624042.7817 | 1228089.3204
75 | 2624171.5409 | 1228078.878
76 | 2624192.0863 | 1228077.8786
77 | 2623952.5929 | 1228067.4943
78 | 2623967.0004 | 1228047.4244
79 | 2623951.9814 | 1228068.3461
80 | 2623968.7027 | 1228045.0532
81 | 2623944.386 | 1228088.4321
82 | 2623973.2576 | 1228030.4944
83 | 2623942.1942 | 1228104.0326
84 | 2623935.5707 | 1228079.1019
85 | 2623956.3577 | 1228018.8325
86 | 2623953.4567 | 1228120.1875
87 | 2623931.2985 | 1228106.3176
88 | 2623912.3571 | 1228054.5323
89 | 2623905.8997 | 1228047.6977
90 | 2623978.3381 | 1228109.8376
91 | 2623906.8549 | 1228100.4331
92 | 2623979.4646 | 1227977.8447
93 | 2623959.9745 | 1227985.9779
94 | 2623948.9001 | 1227997.3788
95 | 2623942.2272 | 1228009.0871
96 | 2623933.8715 | 1228002.9832
97 | 2623951.6345 | 1228015.5732
98 | 2624087.2591 | 1227990.3486
99 | 2624019.344 | 1228006.9219
100 | 2624011.3775 | 1228000.9047
101 | 2624022.7874 | 1228044.5402
102 | 2624022.0654 | 1228046.3082
103 | 2624013.0163 | 1228068.4664
104 | 2624075.9841 | 1228012.8862
105 | 2624064.1083 | 1228036.6249
106 | 2624062.9856 | 1228038.8689
107 | 2624058.262 | 1228048.311
108 | 2623942.5349 | 1228029.3048
109 | 2623993.7725 | 1228103.4174
110 | 2624005.2588 | 1228099.4929
111 | 2624006.5723 | 1228099.0441
112 | 2623955.4246 | 1228144.7208
113 | 2624010.8361 | 1227990.0676
114 | 2624188.244 | 1228127.231
115 | 2624200.2485 | 1228153.474
116 | 2624184.3159 | 1228118.6437
117 | 2624179.2308 | 1228103.5253
118 | 2623602.1475 | 1228088.0693
119 | 2623515.8618 | 1228319.5351
120 | 2623561.5233 | 1228309.3728
121 | 2623568.8403 | 1228284.7748
122 | 2623521.142 | 1227848.1704
123 | 2623517.2261 | 1227813.2341
124 | 2623517.5776 | 1227873.08
125 | 2623142.8912 | 1228025.3585
126 | 2623126.2571 | 1228003.5792
127 | 2623149.984 | 1228038.4871
128 | 2623121.4157 | 1227998.2856
129 | 2623087.045 | 1228076.8883
130 | 2623162.1807 | 1228056.6009
131 | 2623043.3041 | 1227947.0049
132 | 2623078.6678 | 1228073.2087
133 | 2623080.5755 | 1228125.4923
134 | 2623183.4142 | 1228057.3995
135 | 2623190.1872 | 1228104.1081
136 | 2623036.9939 | 1227937.2334
137 | 2623069.7377 | 1228069.2863
138 | 2623075.804 | 1228163.0278
139 | 2623199.9129 | 1228058.0201
140 | 2623226.2971 | 1228166.65
141 | 2623004.6795 | 1227881.6063
142 | 2623004.7119 | 1227881.658
143 | 2623019.3986 | 1227905.4251
144 | 2623034.86 | 1227933.2382
145 | 2623330.8631 | 1228096.3397
146 | 2623336.6786 | 1228096.8531
147 | 2623291.3565 | 1228082.6196
148 | 2623341.2925 | 1228097.2604
149 | 2623210.3362 | 1228059.1046
150 | 2623406.5269 | 1228099.0831
151 | 2623435.3243 | 1228094.592
152 | 2623449.0991 | 1228092.4438
153 | 2623462.9125 | 1228294.3078
154 | 2623490.0657 | 1228306.1062
155 | 2623224.1146 | 1227856.5479
156 | 2623253.7518 | 1227787.6077
157 | 2623210.1586 | 1227766.5212
158 | 2623195.8989 | 1227759.6237
159 | 2622959.5322 | 1228102.352
160 | 2623072.8232 | 1228186.4765
161 | 2623075.6226 | 1228164.4549
162 | 2623942.1942 | 1228104.0326

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1