## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_344-1_2_2_node_129 | 0.4 | n |  | TRUE
1 | bus_LV_344-1_2_2_node_130 | 0.4 | n |  | TRUE
2 | bus_LV_344-1_2_2_node_132 | 0.4 | n |  | TRUE
3 | bus_LV_344-1_2_2_node_133 | 0.4 | n |  | TRUE
4 | bus_LV_344-1_2_2_node_170 | 0.4 | n |  | TRUE
5 | bus_LV_344-1_2_2_node_135 | 0.4 | n |  | TRUE
6 | bus_LV_344-1_2_2_node_134 | 0.4 | n |  | TRUE
7 | bus_LV_344-1_2_2_node_139 | 0.4 | n |  | TRUE
8 | bus_LV_344-1_2_2_node_119 | 0.4 | n |  | TRUE
9 | bus_LV_344-1_2_2_node_148 | 0.4 | n |  | TRUE
10 | bus_LV_344-1_2_2_node_149 | 0.4 | n |  | TRUE
11 | bus_LV_344-1_2_2_node_150 | 0.4 | n |  | TRUE
12 | bus_LV_344-1_2_2_node_164 | 0.4 | n |  | TRUE
13 | bus_LV_344-1_2_2_node_151 | 0.4 | n |  | TRUE
14 | bus_LV_344-1_2_2_node_152 | 0.4 | n |  | TRUE
15 | bus_LV_344-1_2_2_node_155 | 0.4 | n |  | TRUE
16 | bus_LV_344-1_2_2_node_156 | 0.4 | n |  | TRUE
17 | bus_LV_344-1_2_2_node_166 | 0.4 | n |  | TRUE
18 | bus_LV_344-1_2_2_node_167 | 0.4 | n |  | TRUE
19 | bus_LV_344-1_2_2_node_165 | 0.4 | n |  | TRUE
20 | bus_LV_344-1_2_2_node_172 | 0.4 | n |  | TRUE
21 | bus_LV_344-1_2_2_node_157 | 0.4 | n |  | TRUE
22 | bus_LV_344-1_2_2_node_117 | 0.4 | n |  | TRUE
23 | bus_LV_344-1_2_2_node_158 | 0.4 | n |  | TRUE
24 | bus_LV_344-1_2_2_node_159 | 0.4 | n |  | TRUE
25 | bus_LV_344-1_2_2_node_160 | 0.4 | n |  | TRUE
26 | bus_LV_344-1_2_2_node_161 | 0.4 | n |  | TRUE
27 | bus_LV_344-1_2_2_node_162 | 0.4 | n |  | TRUE
28 | bus_LV_344-1_2_2_node_163 | 0.4 | n |  | TRUE
29 | bus_LV_344-1_2_2_node_171 | 0.4 | n |  | TRUE
30 | bus_LV_344-1_2_2_node_168 | 0.4 | n |  | TRUE
31 | bus_LV_344-1_2_2_node_169 | 0.4 | n |  | TRUE
32 | bus_LV_344-1_2_2_node_118 | 0.4 | n |  | TRUE
33 | bus_LV_344-1_2_2_node_174 | 0.4 | n |  | TRUE
34 | bus_LV_344-1_2_2_node_114 | 0.4 | n |  | TRUE
35 | bus_LV_344-1_2_2_node_115 | 0.4 | n |  | TRUE
36 | bus_LV_344-1_2_2_node_116 | 0.4 | n |  | TRUE
37 | bus_MV_0_node_117 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_344-1_2_2_load_129 | 0 | 0.00035166 | 8.8134e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_344-1_2_2_load_132 | 2 | 0.0022027 | 0.00055205 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_344-1_2_2_load_133 | 3 | 0.00026702 | 6.6921e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_344-1_2_2_load_170 | 4 | 0.00021391 | 5.361e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_344-1_2_2_load_134 | 6 | 0.00078967 | 0.00019791 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_344-1_2_2_load_139 | 7 | 0.00010946 | 2.7433e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_344-1_2_2_load_148 | 9 | 0.00035345 | 8.8582e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_344-1_2_2_load_149 | 10 | 0.00051552 | 0.0001292 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_344-1_2_2_load_150 | 11 | 0.0022735 | 0.0005698 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_344-1_2_2_load_164 | 12 | 0.00037079 | 9.2928e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_344-1_2_2_load_151 | 13 | 0.00026426 | 6.6229e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_344-1_2_2_load_156 | 16 | 0.0017654 | 0.00044244 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_344-1_2_2_load_166 | 17 | 0.0017365 | 0.0004352 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_344-1_2_2_load_167 | 18 | 0.00047888 | 0.00012002 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_344-1_2_2_load_165 | 19 | 0.0011603 | 0.0002908 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_344-1_2_2_load_172 | 20 | 0.0021318 | 0.00053429 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_344-1_2_2_load_157 | 21 | 0.00046046 | 0.0001154 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_344-1_2_2_load_117 | 22 | 0.00067084 | 0.00016813 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_344-1_2_2_load_158 | 23 | 0.00018163 | 4.5522e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_344-1_2_2_load_159 | 24 | 0.00051467 | 0.00012899 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_344-1_2_2_load_161 | 26 | 0.0010214 | 0.000256 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_344-1_2_2_load_162 | 27 | 0.00019969 | 5.0047e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_344-1_2_2_load_163 | 28 | 0.0023197 | 0.00058136 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_344-1_2_2_load_171 | 29 | 0.0025647 | 0.00064278 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_344-1_2_2_load_168 | 30 | 0.00078388 | 0.00019646 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_344-1_2_2_load_169 | 31 | 0.00023334 | 5.8481e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_344-1_2_2_load_174 | 33 | 0.00032902 | 8.2459e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_344-1_2_2_load_114 | 34 | 0.0017612 | 0.00044139 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_344-1_2_2_load_115 | 35 | 0.00034517 | 8.6508e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_344-1_2_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.007735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_344-1_2_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.059823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_344-1_2_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.02342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_344-1_2_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.42423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_344-1_2_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.26555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_344-1_2_2_line_5 | NAYY 4x150 SE | 4 | 32 | 0.15038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_344-1_2_2_line_6 | NAYY 4x150 SE | 4 | 31 | 0.014715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_344-1_2_2_line_7 | NAYY 4x150 SE | 5 | 6 | 0.013194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_344-1_2_2_line_8 | NAYY 4x150 SE | 7 | 8 | 0.33383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_344-1_2_2_line_9 | NAYY 4x150 SE | 8 | 9 | 0.011327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_344-1_2_2_line_10 | NAYY 4x150 SE | 8 | 36 | 0.15972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_344-1_2_2_line_11 | NAYY 4x150 SE | 9 | 10 | 0.0834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_344-1_2_2_line_12 | NAYY 4x150 SE | 10 | 11 | 0.037997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_344-1_2_2_line_13 | NAYY 4x150 SE | 11 | 12 | 0.022142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_344-1_2_2_line_14 | NAYY 4x150 SE | 12 | 30 | 0.021898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_344-1_2_2_line_15 | NAYY 4x150 SE | 13 | 14 | 0.063721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_344-1_2_2_line_16 | NAYY 4x150 SE | 14 | 15 | 0.042578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_344-1_2_2_line_17 | NAYY 4x150 SE | 14 | 16 | 0.009514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_344-1_2_2_line_18 | NAYY 4x150 SE | 15 | 17 | 0.013611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_344-1_2_2_line_19 | NAYY 4x150 SE | 15 | 18 | 0.0066915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_344-1_2_2_line_20 | NAYY 4x150 SE | 15 | 19 | 0.087025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_344-1_2_2_line_21 | NAYY 4x150 SE | 16 | 20 | 0.021469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_344-1_2_2_line_22 | NAYY 4x150 SE | 17 | 21 | 0.030578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_344-1_2_2_line_23 | NAYY 4x150 SE | 18 | 29 | 0.03373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_344-1_2_2_line_24 | NAYY 4x150 SE | 21 | 22 | 0.094683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_344-1_2_2_line_25 | NAYY 4x150 SE | 22 | 35 | 0.056147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_344-1_2_2_line_26 | NAYY 4x150 SE | 23 | 24 | 0.019196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_344-1_2_2_line_27 | NAYY 4x150 SE | 23 | 25 | 0.046221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_344-1_2_2_line_28 | NAYY 4x150 SE | 24 | 26 | 0.11474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_344-1_2_2_line_29 | NAYY 4x150 SE | 25 | 27 | 0.012194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_344-1_2_2_line_30 | NAYY 4x150 SE | 25 | 28 | 0.029743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_344-1_2_2_line_31 | NAYY 4x150 SE | 26 | 29 | 0.064605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_344-1_2_2_line_32 | NAYY 4x150 SE | 30 | 31 | 0.0047805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_344-1_2_2_line_33 | NAYY 4x150 SE | 32 | 33 | 0.032775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_344-1_2_2_line_34 | NAYY 4x150 SE | 34 | 35 | 0.036308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_344-1_2_2_line_35 | NAYY 4x150 SE | 34 | 36 | 0.025744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_344-1_2_2_trafo_117 | 0.25 MVA 20/0.4 kV | 37 | 22 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2624848.4364 | 1219818.8872 | 2624854.8612 | 1219823.1944
1 | 2624848.4364 | 1219818.8872 | 2624840.5614 | 1219827.8151 | 2624833.9902 | 1219838.872 | 2624828.6343 | 1219847.7771 | 2624820.3967 | 1219850.878 | 2624813.8821 | 1219846.5039 | 2624810.2854 | 1219839.2625
2 | 2624848.4364 | 1219818.8872 | 2624840.4503 | 1219812.5947 | 2624831.5009 | 1219802.8204
3 | 2624435.5517 | 1220038.1143 | 2624810.2854 | 1219839.2625
4 | 2624831.5009 | 1219802.8204 | 2624762.3722 | 1219546.4269
5 | 2624379.8141 | 1219900.2911 | 2624384.5089 | 1219902.5783 | 2624386.2483 | 1219903.964 | 2624402.1739 | 1219948.5327 | 2624422.8734 | 1220005.6506 | 2624435.5517 | 1220038.1143
6 | 2624440.7019 | 1220051.8685 | 2624439.2064 | 1220048.8092 | 2624437.2896 | 1220042.5644 | 2624435.5517 | 1220038.1143
7 | 2624762.3722 | 1219546.4269 | 2624752.3046 | 1219547.9304 | 2624749.2897 | 1219547.9179
8 | 2624604.7987 | 1220520.9308 | 2624555.1454 | 1220190.812
9 | 2624555.1454 | 1220190.812 | 2624546.3805 | 1220183.6379
10 | 2624555.1454 | 1220190.812 | 2624545.1078 | 1220190.8151 | 2624534.6313 | 1220181.3332 | 2624523.2265 | 1220170.6357 | 2624510.3971 | 1220157.6532 | 2624500.7151 | 1220146.8183 | 2624493.7069 | 1220138.8738 | 2624482.8681 | 1220125.188 | 2624472.3048 | 1220110.9031 | 2624462.2449 | 1220095.9643 | 2624449.9211 | 1220076.1801
11 | 2624546.3805 | 1220183.6379 | 2624526.2453 | 1220167.1572 | 2624503.3447 | 1220142.0152 | 2624489.7234 | 1220127.851 | 2624487.6359 | 1220124.7716
12 | 2624466.4589 | 1220093.2249 | 2624472.1368 | 1220101.9083 | 2624487.6359 | 1220124.7716
13 | 2624454.2912 | 1220074.727 | 2624455.2552 | 1220076.0907 | 2624466.4589 | 1220093.2249
14 | 2624454.2912 | 1220074.727 | 2624446.4596 | 1220063.6475 | 2624442.8013 | 1220056.1634
15 | 2624176.2646 | 1220060.4008 | 2624190.5289 | 1220050.9197 | 2624198.4316 | 1220044.2145 | 2624204.8234 | 1220035.8801 | 2624208.0064 | 1220029.2891 | 2624209.3638 | 1220021.9793 | 2624209.9729 | 1220011.0242
16 | 2624176.2646 | 1220060.4008 | 2624178.8532 | 1220065.681 | 2624191.1439 | 1220088.2439 | 2624200.2534 | 1220094.4845
17 | 2624176.2646 | 1220060.4008 | 2624171.3279 | 1220052.2678
18 | 2624200.2534 | 1220094.4845 | 2624212.9554 | 1220089.5951
19 | 2624200.2534 | 1220094.4845 | 2624204.5851 | 1220099.5848
20 | 2624200.2534 | 1220094.4845 | 2624184.9967 | 1220096.1236 | 2624166.5437 | 1220098.2946 | 2624152.37 | 1220098.5485 | 2624114.7151 | 1220094.8385 | 2624113.6355 | 1220094.71
21 | 2624164.92 | 1220032.5401 | 2624164.3935 | 1220039.1181 | 2624170.3859 | 1220050.7158 | 2624171.3279 | 1220052.2678
22 | 2624212.9554 | 1220089.5951 | 2624224.6613 | 1220085.0891 | 2624233.9847 | 1220083.5149 | 2624242.5641 | 1220083.4476
23 | 2624225.9043 | 1220125.502 | 2624222.8377 | 1220123.126 | 2624215.473 | 1220115.0915 | 2624205.2371 | 1220100.3525 | 2624204.5851 | 1220099.5848
24 | 2624242.5641 | 1220083.4476 | 2624245.1912 | 1220083.427 | 2624258.4153 | 1220087.2052 | 2624278.7991 | 1220095.3595 | 2624299.0376 | 1220100.0112 | 2624316.9467 | 1220100.9958 | 2624331.7906 | 1220100.1447 | 2624334.5585 | 1220099.9108
25 | 2624390.152 | 1220092.7405 | 2624369.8302 | 1220096.9313 | 2624334.5585 | 1220099.9108
26 | 2624245.1188 | 1220263.6988 | 2624244.2263 | 1220264.8619 | 2624239.9732 | 1220271.5486 | 2624239.3496 | 1220275.6484 | 2624236.9997 | 1220280.7955
27 | 2624202.915 | 1220311.7994 | 2624205.8477 | 1220308.8985 | 2624212.1805 | 1220303.8323 | 2624221.0172 | 1220294.9741 | 2624228.2936 | 1220289.2225 | 2624236.5479 | 1220281.7851 | 2624236.9997 | 1220280.7955
28 | 2624245.1188 | 1220263.6988 | 2624250.0688 | 1220257.2479 | 2624261.3447 | 1220249.3336 | 2624275.4648 | 1220237.9288 | 2624281.5057 | 1220228.2033 | 2624285.0673 | 1220216.1885 | 2624286.079 | 1220204.3524 | 2624285.1652 | 1220192.1527 | 2624280.8532 | 1220179.7391 | 2624273.886 | 1220169.1268 | 2624273.431 | 1220168.5217
29 | 2624202.915 | 1220311.7994 | 2624191.0188 | 1220314.4789
30 | 2624229.699 | 1220320.5131 | 2624218.4672 | 1220319.478 | 2624211.4088 | 1220318.2598 | 2624204.955 | 1220315.7544 | 2624202.915 | 1220311.7994
31 | 2624225.9043 | 1220125.502 | 2624229.6749 | 1220128.4235 | 2624243.326 | 1220137.2841 | 2624254.3884 | 1220146.49 | 2624266.1209 | 1220158.8003 | 2624273.431 | 1220168.5217
32 | 2624440.7019 | 1220051.8685 | 2624442.8013 | 1220056.1634
33 | 2624379.8141 | 1219900.2911 | 2624368.8462 | 1219869.4057
34 | 2624424.9875 | 1220082.5895 | 2624414.4595 | 1220085.2958 | 2624393.3016 | 1220092.091 | 2624390.152 | 1220092.7405
35 | 2624449.9211 | 1220076.1801 | 2624424.9875 | 1220082.5895

## bus_geodata
| x | y | coords
0 | 2624854.8612 | 1219823.1944
1 | 2624848.4364 | 1219818.8872
2 | 2624810.2854 | 1219839.2625
3 | 2624831.5009 | 1219802.8204
4 | 2624435.5517 | 1220038.1143
5 | 2624762.3722 | 1219546.4269
6 | 2624749.2897 | 1219547.9179
7 | 2624604.7987 | 1220520.9308
8 | 2624555.1454 | 1220190.812
9 | 2624546.3805 | 1220183.6379
10 | 2624487.6359 | 1220124.7716
11 | 2624466.4589 | 1220093.2249
12 | 2624454.2912 | 1220074.727
13 | 2624209.9729 | 1220011.0242
14 | 2624176.2646 | 1220060.4008
15 | 2624200.2534 | 1220094.4845
16 | 2624171.3279 | 1220052.2678
17 | 2624212.9554 | 1220089.5951
18 | 2624204.5851 | 1220099.5848
19 | 2624113.6355 | 1220094.71
20 | 2624164.92 | 1220032.5401
21 | 2624242.5641 | 1220083.4477
22 | 2624334.5585 | 1220099.9108
23 | 2624236.9997 | 1220280.7955
24 | 2624245.1188 | 1220263.6988
25 | 2624202.915 | 1220311.7994
26 | 2624273.431 | 1220168.5217
27 | 2624191.0188 | 1220314.4789
28 | 2624229.699 | 1220320.5131
29 | 2624225.9043 | 1220125.502
30 | 2624442.8013 | 1220056.1634
31 | 2624440.7019 | 1220051.8685
32 | 2624379.8141 | 1219900.2911
33 | 2624368.8462 | 1219869.4057
34 | 2624424.9875 | 1220082.5895
35 | 2624390.152 | 1220092.7405
36 | 2624449.9211 | 1220076.1801
37 | 2624334.5585 | 1220099.9108

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1