## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_345-1_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_345-1_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_345-1_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_345-1_0_6_node_40 | 0.4 | n |  | TRUE
4 | bus_LV_345-1_0_6_node_25 | 0.4 | n |  | TRUE
5 | bus_LV_345-1_0_6_node_39 | 0.4 | n |  | TRUE
6 | bus_LV_345-1_0_6_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_345-1_0_6_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_345-1_0_6_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_345-1_0_6_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_345-1_0_6_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_345-1_0_6_node_4 | 0.4 | n |  | TRUE
12 | bus_LV_345-1_0_6_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_345-1_0_6_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_345-1_0_6_node_110 | 0.4 | n |  | TRUE
15 | bus_LV_345-1_0_6_node_112 | 0.4 | n |  | TRUE
16 | bus_LV_345-1_0_6_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_345-1_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_345-1_0_6_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_345-1_0_6_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_345-1_0_6_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_345-1_0_6_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_345-1_0_6_node_41 | 0.4 | n |  | TRUE
23 | bus_LV_345-1_0_6_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_345-1_0_6_node_109 | 0.4 | n |  | TRUE
25 | bus_LV_345-1_0_6_node_108 | 0.4 | n |  | TRUE
26 | bus_LV_345-1_0_6_node_107 | 0.4 | n |  | TRUE
27 | bus_LV_345-1_0_6_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_345-1_0_6_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_345-1_0_6_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_345-1_0_6_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_345-1_0_6_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_345-1_0_6_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_345-1_0_6_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_345-1_0_6_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_345-1_0_6_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_345-1_0_6_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_345-1_0_6_node_111 | 0.4 | n |  | TRUE
38 | bus_LV_345-1_0_6_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_345-1_0_6_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_345-1_0_6_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_345-1_0_6_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_345-1_0_6_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_345-1_0_6_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_345-1_0_6_node_94 | 0.4 | n |  | TRUE
45 | bus_LV_345-1_0_6_node_103 | 0.4 | n |  | TRUE
46 | bus_LV_345-1_0_6_node_100 | 0.4 | n |  | TRUE
47 | bus_LV_345-1_0_6_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_345-1_0_6_node_97 | 0.4 | n |  | TRUE
49 | bus_LV_345-1_0_6_node_92 | 0.4 | n |  | TRUE
50 | bus_LV_345-1_0_6_node_104 | 0.4 | n |  | TRUE
51 | bus_LV_345-1_0_6_node_98 | 0.4 | n |  | TRUE
52 | bus_LV_345-1_0_6_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_345-1_0_6_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_345-1_0_6_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_345-1_0_6_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_345-1_0_6_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_345-1_0_6_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_345-1_0_6_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_345-1_0_6_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_345-1_0_6_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_345-1_0_6_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_345-1_0_6_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_345-1_0_6_node_82 | 0.4 | n |  | TRUE
64 | bus_LV_345-1_0_6_node_84 | 0.4 | n |  | TRUE
65 | bus_LV_345-1_0_6_node_81 | 0.4 | n |  | TRUE
66 | bus_LV_345-1_0_6_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_345-1_0_6_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_345-1_0_6_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_345-1_0_6_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_345-1_0_6_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_345-1_0_6_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_345-1_0_6_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_345-1_0_6_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_345-1_0_6_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_345-1_0_6_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_345-1_0_6_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_345-1_0_6_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_345-1_0_6_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_345-1_0_6_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_345-1_0_6_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_345-1_0_6_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_345-1_0_6_node_68 | 0.4 | n |  | TRUE
83 | bus_LV_345-1_0_6_node_66 | 0.4 | n |  | TRUE
84 | bus_LV_345-1_0_6_node_70 | 0.4 | n |  | TRUE
85 | bus_LV_345-1_0_6_node_71 | 0.4 | n |  | TRUE
86 | bus_LV_345-1_0_6_node_74 | 0.4 | n |  | TRUE
87 | bus_LV_345-1_0_6_node_75 | 0.4 | n |  | TRUE
88 | bus_LV_345-1_0_6_node_76 | 0.4 | n |  | TRUE
89 | bus_LV_345-1_0_6_node_79 | 0.4 | n |  | TRUE
90 | bus_LV_345-1_0_6_node_77 | 0.4 | n |  | TRUE
91 | bus_LV_345-1_0_6_node_89 | 0.4 | n |  | TRUE
92 | bus_LV_345-1_0_6_node_78 | 0.4 | n |  | TRUE
93 | bus_LV_345-1_0_6_node_87 | 0.4 | n |  | TRUE
94 | bus_LV_345-1_0_6_node_80 | 0.4 | n |  | TRUE
95 | bus_LV_345-1_0_6_node_83 | 0.4 | n |  | TRUE
96 | bus_LV_345-1_0_6_node_86 | 0.4 | n |  | TRUE
97 | bus_LV_345-1_0_6_node_88 | 0.4 | n |  | TRUE
98 | bus_LV_345-1_0_6_node_96 | 0.4 | n |  | TRUE
99 | bus_LV_345-1_0_6_node_91 | 0.4 | n |  | TRUE
100 | bus_LV_345-1_0_6_node_90 | 0.4 | n |  | TRUE
101 | bus_LV_345-1_0_6_node_93 | 0.4 | n |  | TRUE
102 | bus_LV_345-1_0_6_node_95 | 0.4 | n |  | TRUE
103 | bus_LV_345-1_0_6_node_99 | 0.4 | n |  | TRUE
104 | bus_LV_345-1_0_6_node_105 | 0.4 | n |  | TRUE
105 | bus_LV_345-1_0_6_node_106 | 0.4 | n |  | TRUE
106 | bus_MV_475_1_node_274 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_345-1_0_6_load_0 | 0 | 0.02147 | 0.005381 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_345-1_0_6_load_39 | 5 | 0.00016399 | 4.1099e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_345-1_0_6_load_14 | 7 | 0.00051502 | 0.00012908 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_345-1_0_6_load_31 | 8 | 0.00046589 | 0.00011676 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_345-1_0_6_load_20 | 9 | 0.0013968 | 0.00035008 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_345-1_0_6_load_13 | 10 | 0.0013151 | 0.0003296 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_345-1_0_6_load_4 | 11 | 0.00022786 | 5.7107e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_345-1_0_6_load_5 | 12 | 0.00089107 | 0.00022332 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_345-1_0_6_load_7 | 13 | 0.0013665 | 0.00034248 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_345-1_0_6_load_112 | 15 | 0.0014807 | 0.00037111 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_345-1_0_6_load_9 | 16 | 0.001392 | 0.00034886 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_345-1_0_6_load_8 | 18 | 0.00017815 | 4.4648e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_345-1_0_6_load_16 | 19 | 0.00045752 | 0.00011467 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_345-1_0_6_load_15 | 21 | 0.0023691 | 0.00059376 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_345-1_0_6_load_41 | 22 | 0.0014904 | 0.00037352 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_345-1_0_6_load_109 | 24 | 0.00035969 | 9.0146e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_345-1_0_6_load_108 | 25 | 0.0019501 | 0.00048875 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_345-1_0_6_load_107 | 26 | 0.0021631 | 0.00054213 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_345-1_0_6_load_19 | 28 | 0.0015545 | 0.00038958 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_345-1_0_6_load_27 | 29 | 0.00046566 | 0.00011671 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_345-1_0_6_load_28 | 30 | 0.0020338 | 0.00050971 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_345-1_0_6_load_21 | 31 | 0.0011726 | 0.00029388 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_345-1_0_6_load_22 | 32 | 0.00048155 | 0.00012069 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_345-1_0_6_load_23 | 33 | 0.00066006 | 0.00016543 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_345-1_0_6_load_29 | 36 | 0.0029175 | 0.00073119 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_345-1_0_6_load_111 | 37 | 0.0041497 | 0.00104 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_345-1_0_6_load_32 | 38 | 0.00019969 | 5.0047e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_345-1_0_6_load_34 | 40 | 0.00082268 | 0.00020618 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_345-1_0_6_load_37 | 42 | 0.00017432 | 4.369e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_345-1_0_6_load_103 | 45 | 0.0002294 | 5.7494e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_345-1_0_6_load_100 | 46 | 0.0011111 | 0.00027847 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_345-1_0_6_load_38 | 47 | 0.00029847 | 7.4805e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_345-1_0_6_load_97 | 48 | 0.00092947 | 0.00023295 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_345-1_0_6_load_104 | 50 | 0.0010184 | 0.00025523 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_345-1_0_6_load_98 | 51 | 0.0007603 | 0.00019055 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_345-1_0_6_load_42 | 52 | 0.001444 | 0.0003619 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_345-1_0_6_load_43 | 53 | 0.0029515 | 0.0007397 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_345-1_0_6_load_45 | 55 | 0.0048438 | 0.001214 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_345-1_0_6_load_49 | 57 | 0.0085316 | 0.0021382 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_345-1_0_6_load_48 | 58 | 0.0026967 | 0.00067587 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_345-1_0_6_load_52 | 61 | 0.0035551 | 0.00089099 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_345-1_0_6_load_53 | 62 | 0.00085159 | 0.00021343 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_345-1_0_6_load_84 | 64 | 0.00036843 | 9.2338e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_345-1_0_6_load_54 | 66 | 0.0016491 | 0.00041331 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_345-1_0_6_load_55 | 67 | 0.0013284 | 0.00033292 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_345-1_0_6_load_56 | 68 | 0.00031256 | 7.8335e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_345-1_0_6_load_61 | 70 | 0.00082997 | 0.00020801 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_345-1_0_6_load_58 | 71 | 0.001347 | 0.0003376 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_345-1_0_6_load_72 | 72 | 0.00064372 | 0.00016133 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_345-1_0_6_load_59 | 73 | 0.0038894 | 0.00097478 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_345-1_0_6_load_60 | 74 | 0.00015153 | 3.7978e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_345-1_0_6_load_62 | 75 | 0.00064274 | 0.00016109 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_345-1_0_6_load_73 | 77 | 0.00073503 | 0.00018422 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_345-1_0_6_load_63 | 79 | 0.0021215 | 0.0005317 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_345-1_0_6_load_69 | 81 | 0.0018824 | 0.00047177 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_345-1_0_6_load_68 | 82 | 0.0023341 | 0.00058498 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_345-1_0_6_load_66 | 83 | 0.0028125 | 0.00070489 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_345-1_0_6_load_70 | 84 | 0.0011413 | 0.00028604 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_345-1_0_6_load_71 | 85 | 0.0014659 | 0.00036738 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_345-1_0_6_load_76 | 88 | 0.00012508 | 3.1347e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_345-1_0_6_load_79 | 89 | 0.00021542 | 5.399e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_345-1_0_6_load_77 | 90 | 0.0020009 | 0.00050147 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_345-1_0_6_load_89 | 91 | 0.00019934 | 4.9959e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_345-1_0_6_load_78 | 92 | 0.0015102 | 0.00037849 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_345-1_0_6_load_87 | 93 | 0.00050767 | 0.00012723 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_345-1_0_6_load_80 | 94 | 0.00033547 | 8.4077e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_345-1_0_6_load_83 | 95 | 0.00081231 | 0.00020358 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_345-1_0_6_load_88 | 97 | 0.00036416 | 9.1266e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_345-1_0_6_load_96 | 98 | 0.00016393 | 4.1084e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_345-1_0_6_load_91 | 99 | 0.00079561 | 0.0001994 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_345-1_0_6_load_90 | 100 | 0.00026692 | 6.6897e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_345-1_0_6_load_93 | 101 | 0.00037993 | 9.5219e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_345-1_0_6_load_95 | 102 | 0.00039924 | 0.00010006 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_345-1_0_6_load_99 | 103 | 0.00021383 | 5.3591e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_345-1_0_6_load_105 | 104 | 0.0011353 | 0.00028454 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_345-1_0_6_load_106 | 105 | 0.00036021 | 9.0278e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_345-1_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.04072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_345-1_0_6_line_1 | NAYY 4x150 SE | 1 | 2 | 0.14181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_345-1_0_6_line_2 | NAYY 4x150 SE | 2 | 6 | 0.097932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_345-1_0_6_line_3 | NAYY 4x150 SE | 2 | 7 | 0.063511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_345-1_0_6_line_4 | NAYY 4x150 SE | 3 | 4 | 0.63665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_345-1_0_6_line_5 | NAYY 4x150 SE | 3 | 5 | 0.079052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_345-1_0_6_line_6 | NAYY 4x150 SE | 4 | 33 | 0.030816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_345-1_0_6_line_7 | NAYY 4x150 SE | 5 | 47 | 0.0092078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_345-1_0_6_line_8 | NAYY 4x150 SE | 6 | 8 | 0.058752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_345-1_0_6_line_9 | NAYY 4x150 SE | 6 | 9 | 0.0038007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_345-1_0_6_line_10 | NAYY 4x150 SE | 7 | 10 | 0.011293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_345-1_0_6_line_11 | NAYY 4x150 SE | 9 | 27 | 0.0223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_345-1_0_6_line_12 | NAYY 4x150 SE | 11 | 12 | 0.051061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_345-1_0_6_line_13 | NAYY 4x150 SE | 12 | 13 | 0.0034843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_345-1_0_6_line_14 | NAYY 4x150 SE | 13 | 18 | 0.013247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_345-1_0_6_line_15 | NAYY 4x150 SE | 14 | 15 | 0.050425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_345-1_0_6_line_16 | NAYY 4x150 SE | 14 | 16 | 0.26486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_345-1_0_6_line_17 | NAYY 4x150 SE | 14 | 17 | 0.033988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_345-1_0_6_line_18 | NAYY 4x150 SE | 16 | 18 | 0.019814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_345-1_0_6_line_19 | NAYY 4x150 SE | 17 | 23 | 0.034989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_345-1_0_6_line_20 | NAYY 4x150 SE | 17 | 24 | 0.05254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_345-1_0_6_line_21 | NAYY 4x150 SE | 19 | 20 | 0.14558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_345-1_0_6_line_22 | NAYY 4x150 SE | 19 | 21 | 0.035902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_345-1_0_6_line_23 | NAYY 4x150 SE | 20 | 22 | 0.078767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_345-1_0_6_line_24 | NAYY 4x150 SE | 21 | 27 | 0.047842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_345-1_0_6_line_25 | NAYY 4x150 SE | 23 | 25 | 0.201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_345-1_0_6_line_26 | NAYY 4x150 SE | 25 | 26 | 0.01058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_345-1_0_6_line_27 | NAYY 4x150 SE | 26 | 60 | 0.049309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_345-1_0_6_line_28 | NAYY 4x150 SE | 27 | 28 | 0.0068535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_345-1_0_6_line_29 | NAYY 4x150 SE | 28 | 29 | 0.069087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_345-1_0_6_line_30 | NAYY 4x150 SE | 29 | 30 | 0.049753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_345-1_0_6_line_31 | NAYY 4x150 SE | 30 | 36 | 0.053814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_345-1_0_6_line_32 | NAYY 4x150 SE | 31 | 32 | 0.084209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_345-1_0_6_line_33 | NAYY 4x150 SE | 31 | 33 | 0.02084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_345-1_0_6_line_34 | NAYY 4x150 SE | 32 | 34 | 0.043054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_345-1_0_6_line_35 | NAYY 4x150 SE | 34 | 35 | 0.01238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_345-1_0_6_line_36 | NAYY 4x150 SE | 34 | 36 | 0.032254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_345-1_0_6_line_37 | NAYY 4x150 SE | 35 | 37 | 0.018677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_345-1_0_6_line_38 | NAYY 4x150 SE | 38 | 39 | 0.038077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_345-1_0_6_line_39 | NAYY 4x150 SE | 39 | 40 | 0.012066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_345-1_0_6_line_40 | NAYY 4x150 SE | 39 | 41 | 0.1156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_345-1_0_6_line_41 | NAYY 4x150 SE | 40 | 42 | 0.01523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_345-1_0_6_line_42 | NAYY 4x150 SE | 41 | 46 | 0.010314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_345-1_0_6_line_43 | NAYY 4x150 SE | 41 | 43 | 0.025433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_345-1_0_6_line_44 | NAYY 4x150 SE | 42 | 47 | 0.024898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_345-1_0_6_line_45 | NAYY 4x150 SE | 43 | 44 | 0.026314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_345-1_0_6_line_46 | NAYY 4x150 SE | 43 | 45 | 0.017068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_345-1_0_6_line_47 | NAYY 4x150 SE | 44 | 48 | 0.018329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_345-1_0_6_line_48 | NAYY 4x150 SE | 44 | 49 | 0.032363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_345-1_0_6_line_49 | NAYY 4x150 SE | 45 | 50 | 0.026327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_345-1_0_6_line_50 | NAYY 4x150 SE | 46 | 51 | 0.0019975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_345-1_0_6_line_51 | NAYY 4x150 SE | 48 | 98 | 0.019283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_345-1_0_6_line_52 | NAYY 4x150 SE | 49 | 101 | 0.044148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_345-1_0_6_line_53 | NAYY 4x150 SE | 49 | 100 | 0.015097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_345-1_0_6_line_54 | NAYY 4x150 SE | 50 | 104 | 0.025036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_345-1_0_6_line_55 | NAYY 4x150 SE | 51 | 103 | 0.034361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_345-1_0_6_line_56 | NAYY 4x150 SE | 52 | 53 | 0.0022824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_345-1_0_6_line_57 | NAYY 4x150 SE | 53 | 54 | 0.0014045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_345-1_0_6_line_58 | NAYY 4x150 SE | 54 | 55 | 0.013488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_345-1_0_6_line_59 | NAYY 4x150 SE | 54 | 56 | 0.026992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_345-1_0_6_line_60 | NAYY 4x150 SE | 56 | 57 | 0.020749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_345-1_0_6_line_61 | NAYY 4x150 SE | 56 | 58 | 0.028396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_345-1_0_6_line_62 | NAYY 4x150 SE | 57 | 59 | 0.012761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_345-1_0_6_line_63 | NAYY 4x150 SE | 59 | 60 | 0.12042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_345-1_0_6_line_64 | NAYY 4x150 SE | 59 | 61 | 0.08345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_345-1_0_6_line_65 | NAYY 4x150 SE | 61 | 62 | 0.0095141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_345-1_0_6_line_66 | NAYY 4x150 SE | 62 | 66 | 0.020848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
67 | LV_345-1_0_6_line_67 | NAYY 4x150 SE | 63 | 64 | 0.020748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_345-1_0_6_line_68 | NAYY 4x150 SE | 63 | 65 | 0.026526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_345-1_0_6_line_69 | NAYY 4x150 SE | 65 | 95 | 0.024196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_345-1_0_6_line_70 | NAYY 4x150 SE | 65 | 94 | 0.033389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_345-1_0_6_line_71 | NAYY 4x150 SE | 66 | 67 | 0.013149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
72 | LV_345-1_0_6_line_72 | NAYY 4x150 SE | 67 | 68 | 0.023535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
73 | LV_345-1_0_6_line_73 | NAYY 4x150 SE | 68 | 69 | 0.0080324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
74 | LV_345-1_0_6_line_74 | NAYY 4x150 SE | 69 | 70 | 0.018799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
75 | LV_345-1_0_6_line_75 | NAYY 4x150 SE | 69 | 71 | 0.0081392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_345-1_0_6_line_76 | NAYY 4x150 SE | 70 | 72 | 0.029971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
77 | LV_345-1_0_6_line_77 | NAYY 4x150 SE | 71 | 73 | 0.0067341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_345-1_0_6_line_78 | NAYY 4x150 SE | 72 | 77 | 0.021133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
79 | LV_345-1_0_6_line_79 | NAYY 4x150 SE | 73 | 74 | 0.0041454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_345-1_0_6_line_80 | NAYY 4x150 SE | 74 | 75 | 0.024744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_345-1_0_6_line_81 | NAYY 4x150 SE | 75 | 76 | 0.014409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_345-1_0_6_line_82 | NAYY 4x150 SE | 76 | 78 | 0.007836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_345-1_0_6_line_83 | NAYY 4x150 SE | 76 | 79 | 0.037399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_345-1_0_6_line_84 | NAYY 4x150 SE | 77 | 86 | 0.047278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
85 | LV_345-1_0_6_line_85 | NAYY 4x150 SE | 78 | 80 | 0.021408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_345-1_0_6_line_86 | NAYY 4x150 SE | 78 | 81 | 0.051244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_345-1_0_6_line_87 | NAYY 4x150 SE | 80 | 82 | 0.024122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_345-1_0_6_line_88 | NAYY 4x150 SE | 80 | 83 | 0.012118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_345-1_0_6_line_89 | NAYY 4x150 SE | 81 | 84 | 0.039123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_345-1_0_6_line_90 | NAYY 4x150 SE | 84 | 85 | 0.010802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_345-1_0_6_line_91 | NAYY 4x150 SE | 86 | 87 | 0.020186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_345-1_0_6_line_92 | NAYY 4x150 SE | 86 | 88 | 0.0511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
93 | LV_345-1_0_6_line_93 | NAYY 4x150 SE | 87 | 89 | 0.046036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_345-1_0_6_line_94 | NAYY 4x150 SE | 87 | 90 | 0.049026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_345-1_0_6_line_95 | NAYY 4x150 SE | 88 | 91 | 0.011368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
96 | LV_345-1_0_6_line_96 | NAYY 4x150 SE | 90 | 92 | 0.043014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_345-1_0_6_line_97 | NAYY 4x150 SE | 91 | 93 | 0.01807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
98 | LV_345-1_0_6_line_98 | NAYY 4x150 SE | 93 | 96 | 0.0057977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
99 | LV_345-1_0_6_line_99 | NAYY 4x150 SE | 95 | 96 | 0.033022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_345-1_0_6_line_100 | NAYY 4x150 SE | 96 | 97 | 0.020446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
101 | LV_345-1_0_6_line_101 | NAYY 4x150 SE | 97 | 99 | 0.0051132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
102 | LV_345-1_0_6_line_102 | NAYY 4x150 SE | 99 | 100 | 0.00049898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
103 | LV_345-1_0_6_line_103 | NAYY 4x150 SE | 101 | 102 | 0.0029605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_345-1_0_6_line_104 | NAYY 4x150 SE | 104 | 105 | 0.0050312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_345-1_0_6_trafo_40 | 0.25 MVA 20/0.4 kV | 106 | 3 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2626379.3648 | 1233808.747 | 2626372.4876 | 1233811.3403 | 2626368.7103 | 1233819.8955 | 2626365.8128 | 1233831.4898 | 2626363.7557 | 1233843.38
1 | 2626379.3648 | 1233808.747 | 2626397.7514 | 1233818.9903 | 2626421.625 | 1233831.137 | 2626430.0981 | 1233832.2197 | 2626436.7569 | 1233831.0708 | 2626447.3308 | 1233824.4581 | 2626489.38 | 1233788.7231 | 2626494.5555 | 1233778.9957
2 | 2626494.5555 | 1233778.9957 | 2626508.327 | 1233785.2942 | 2626519.5647 | 1233789.4245 | 2626535.2565 | 1233792.8299 | 2626566.2412 | 1233797.4375 | 2626589.5206 | 1233801.8997
3 | 2626494.5555 | 1233778.9957 | 2626483.7686 | 1233772.2325 | 2626471.8458 | 1233763.8521 | 2626448.7156 | 1233741.0798 | 2626446.2167 | 1233738.2874
4 | 2627475.1697 | 1234355.7166 | 2626916.8917 | 1234049.7005
5 | 2627475.1697 | 1234355.7166 | 2627497.4772 | 1234361.879 | 2627529.7155 | 1234374.4802 | 2627549.1588 | 1234383.1658
6 | 2626916.8917 | 1234049.7005 | 2626898.1953 | 1234039.6765 | 2626889.6995 | 1234035.2024
7 | 2627549.1588 | 1234383.1658 | 2627553.9087 | 1234385.2876 | 2627557.5013 | 1234387.0587
8 | 2626589.5206 | 1233801.8997 | 2626579.7859 | 1233823.9698 | 2626577.0537 | 1233832.3405 | 2626576.4831 | 1233839.7759 | 2626582.145 | 1233855.0661 | 2626582.9487 | 1233856.9658
9 | 2626589.5206 | 1233801.8997 | 2626593.2422 | 1233802.6711
10 | 2626446.2167 | 1233738.2874 | 2626438.6861 | 1233729.8724
11 | 2626614.8972 | 1233807.9724 | 2626599.2235 | 1233803.911 | 2626593.2422 | 1233802.6711
12 | 2627665.6726 | 1233943.7937 | 2627676.2585 | 1233946.2628 | 2627690.9803 | 1233954.5697 | 2627703.8969 | 1233973.9465
13 | 2627705.8295 | 1233976.8457 | 2627703.8969 | 1233973.9465
14 | 2627705.8295 | 1233976.8457 | 2627706.5328 | 1233977.9009 | 2627714.7832 | 1233986.5855
15 | 2627941.9098 | 1234195.8905 | 2627944.5304 | 1234192.3006 | 2627947.799 | 1234184.5334 | 2627948.4851 | 1234160.9332 | 2627949.3755 | 1234147.0177
16 | 2627949.3755 | 1234147.0177 | 2627728.4297 | 1234000.9503
17 | 2627949.3755 | 1234147.0177 | 2627954.8016 | 1234150.4453 | 2627966.9748 | 1234154.883 | 2627981.4346 | 1234157.5415
18 | 2627714.7832 | 1233986.5855 | 2627728.4297 | 1234000.9503
19 | 2627981.4346 | 1234157.5415 | 2627994.3272 | 1234155.4564 | 2628003.1924 | 1234151.8847 | 2628010.6204 | 1234146.5053 | 2628012.4397 | 1234149.1377
20 | 2627981.4346 | 1234157.5415 | 2627978.5488 | 1234177.2734 | 2627976.6113 | 1234198.1438 | 2627976.9099 | 1234202.2588 | 2627976.4641 | 1234209.7581
21 | 2626720.0393 | 1233651.1915 | 2626708.856 | 1233650.0851 | 2626700.8567 | 1233647.959 | 2626688.7192 | 1233648.6384 | 2626675.4229 | 1233651.147 | 2626660.7214 | 1233656.4177 | 2626652.7618 | 1233662.3191 | 2626649.7444 | 1233671.7891 | 2626651.0877 | 1233682.8686 | 2626654.8051 | 1233694.548 | 2626657.9245 | 1233706.2246 | 2626659.2584 | 1233717.6932 | 2626659.2248 | 1233725.2088 | 2626657.2167 | 1233730.7365 | 2626655.0137 | 1233734.6168
22 | 2626636.4138 | 1233765.3156 | 2626648.8238 | 1233745.5191 | 2626655.0137 | 1233734.6168
23 | 2626720.0393 | 1233651.1915 | 2626725.8933 | 1233660.7459 | 2626765.9698 | 1233705.7646 | 2626770.166 | 1233711.7243
24 | 2626614.8972 | 1233807.9724 | 2626620.1682 | 1233795.5439 | 2626631.9211 | 1233772.4823 | 2626636.4138 | 1233765.3156
25 | 2628012.4397 | 1234149.1377 | 2628011.6158 | 1234185.8786 | 2628006.9369 | 1234253.6539 | 2627995.9479 | 1234312.9054 | 2627989.5968 | 1234348.3945
26 | 2627987.733 | 1234358.8092 | 2627989.5968 | 1234348.3945
27 | 2627978.4967 | 1234407.237 | 2627981.4118 | 1234394.1315 | 2627987.733 | 1234358.8092
28 | 2626614.8972 | 1233807.9724 | 2626620.9942 | 1233811.1022
29 | 2626674.0678 | 1233854.1754 | 2626668.0938 | 1233847.4346 | 2626645.3283 | 1233824.6076 | 2626630.0926 | 1233815.7228 | 2626622.6534 | 1233811.9539 | 2626620.9942 | 1233811.1022
30 | 2626674.0678 | 1233854.1754 | 2626695.3576 | 1233878.1979 | 2626707.197 | 1233891.2936
31 | 2626743.7433 | 1233930.7915 | 2626719.9425 | 1233905.3915 | 2626707.197 | 1233891.2936
32 | 2626799.9619 | 1233980.8286 | 2626813.9256 | 1233991.0332 | 2626842.1317 | 1234008.938 | 2626868.8733 | 1234024.2347 | 2626871.26 | 1234025.4916
33 | 2626889.6995 | 1234035.2024 | 2626871.26 | 1234025.4916
34 | 2626767.121 | 1233953.0104 | 2626795.9695 | 1233977.911 | 2626799.9619 | 1233980.8286
35 | 2626767.121 | 1233953.0104 | 2626757.4577 | 1233960.7829
36 | 2626767.121 | 1233953.0104 | 2626744.6746 | 1233931.7854 | 2626743.7433 | 1233930.7915
37 | 2626743.1374 | 1233948.7445 | 2626754.5922 | 1233958.3685 | 2626757.4577 | 1233960.7829
38 | 2627604.3158 | 1234410.1364 | 2627606.5475 | 1234403.8651 | 2627608.6033 | 1234383.2842 | 2627608.8754 | 1234372.5506
39 | 2627604.3158 | 1234410.1364 | 2627593.4931 | 1234404.8012
40 | 2627604.3158 | 1234410.1364 | 2627691.068 | 1234459.403 | 2627683.9556 | 1234473.5453
41 | 2627579.833 | 1234398.0673 | 2627593.4931 | 1234404.8012
42 | 2627683.9556 | 1234473.5453 | 2627679.2362 | 1234482.7162
43 | 2627683.9556 | 1234473.5453 | 2627690.673 | 1234471.0861 | 2627701.5156 | 1234468.5795 | 2627703.8554 | 1234466.7448 | 2627707.578 | 1234468.641
44 | 2627579.833 | 1234398.0673 | 2627557.5013 | 1234387.0587
45 | 2627707.578 | 1234468.641 | 2627731.4506 | 1234479.8591
46 | 2627707.578 | 1234468.641 | 2627713.4345 | 1234452.6096
47 | 2627731.4506 | 1234479.8591 | 2627737.5954 | 1234462.5909
48 | 2627761.6554 | 1234491.7072 | 2627731.4506 | 1234479.8591
49 | 2627713.4345 | 1234452.6096 | 2627717.4755 | 1234441.5482 | 2627720.0434 | 1234431.3539 | 2627720.0622 | 1234427.3166
50 | 2627678.3222 | 1234484.4923 | 2627679.2362 | 1234482.7162
51 | 2627744.06 | 1234444.4236 | 2627737.5954 | 1234462.5909
52 | 2627761.6554 | 1234491.7072 | 2627770.8728 | 1234472.5384 | 2627784.7533 | 1234471.0578 | 2627787.0292 | 1234465.0647 | 2627787.6674 | 1234462.639
53 | 2627761.6554 | 1234491.7072 | 2627775.7091 | 1234497.2216
54 | 2627720.0622 | 1234427.3166 | 2627720.1196 | 1234415.0108 | 2627718.6176 | 1234407.5993 | 2627713.7978 | 1234405.7347
55 | 2627678.3222 | 1234484.4923 | 2627673.4078 | 1234494.0422 | 2627669.7463 | 1234517.3772
56 | 2628131.5702 | 1234387.3015 | 2628130.6485 | 1234389.3895
57 | 2628130.0813 | 1234390.6744 | 2628130.6485 | 1234389.3895
58 | 2628130.0813 | 1234390.6744 | 2628136.4824 | 1234392.7504 | 2628143.2247 | 1234392.28
59 | 2628116.3779 | 1234413.8907 | 2628127.7937 | 1234395.8668 | 2628130.0813 | 1234390.6744
60 | 2628116.3779 | 1234413.8907 | 2628102.7644 | 1234429.5498
61 | 2628116.3779 | 1234413.8907 | 2628127.4397 | 1234419.502 | 2628137.7451 | 1234420.2289 | 2628143.3967 | 1234419.8934
62 | 2628094.392 | 1234439.1802 | 2628102.7644 | 1234429.5498
63 | 2628094.392 | 1234439.1802 | 2628086.9069 | 1234434.253 | 2627983.6943 | 1234409.3294 | 2627978.4967 | 1234407.237
64 | 2628094.392 | 1234439.1802 | 2628084.387 | 1234448.5722 | 2628054.6128 | 1234472.3131 | 2628033.5385 | 1234490.5695 | 2628031.2243 | 1234493.5384
65 | 2628025.3751 | 1234501.0421 | 2628031.2243 | 1234493.5384
66 | 2628025.3751 | 1234501.0421 | 2628018.5831 | 1234509.7553 | 2628014.1249 | 1234518.4831
67 | 2627847.6067 | 1234457.6654 | 2627846.3869 | 1234449.8327 | 2627841.9138 | 1234446.5987 | 2627834.9431 | 1234444.4258
68 | 2627847.6067 | 1234457.6654 | 2627842.9735 | 1234483.7821
69 | 2627842.9735 | 1234483.7821 | 2627842.4294 | 1234486.837 | 2627821.6486 | 1234483.2231
70 | 2627842.9735 | 1234483.7821 | 2627851.5383 | 1234486.0458 | 2627857.5266 | 1234495.4351 | 2627859.8907 | 1234498.1034 | 2627869.5867 | 1234499.7143
71 | 2628014.1249 | 1234518.4831 | 2628008.1433 | 1234530.1932
72 | 2628008.1433 | 1234530.1932 | 2627999.0881 | 1234547.9205 | 2627996.5934 | 1234550.5553
73 | 2627991.0708 | 1234556.388 | 2627996.5934 | 1234550.5553
74 | 2627991.0708 | 1234556.388 | 2627976.8913 | 1234561.9359 | 2627973.4765 | 1234562.9875
75 | 2627991.0708 | 1234556.388 | 2627994.366 | 1234563.8303 | 2627994.366 | 1234563.8303
76 | 2627973.4765 | 1234562.9875 | 2627967.3257 | 1234564.8816 | 2627955.1003 | 1234565.3134 | 2627945.9636 | 1234563.9696 | 2627944.0337 | 1234563.228
77 | 2627994.366 | 1234563.8303 | 2627992.3271 | 1234570.2483
78 | 2627924.3449 | 1234555.5513 | 2627937.8797 | 1234560.8631 | 2627944.0337 | 1234563.228
79 | 2627992.3271 | 1234570.2483 | 2627991.072 | 1234574.1992
80 | 2627991.072 | 1234574.1992 | 2627983.5803 | 1234597.7815
81 | 2627979.3524 | 1234611.5558 | 2627983.0805 | 1234599.3547 | 2627983.5803 | 1234597.7815
82 | 2627979.3524 | 1234611.5558 | 2627978.3612 | 1234614.6975 | 2627976.5101 | 1234618.8469
83 | 2627979.3524 | 1234611.5558 | 2628000.139 | 1234618.9025 | 2628010.8244 | 1234629.9256
84 | 2627880.3349 | 1234538.2794 | 2627924.3449 | 1234555.5513
85 | 2627976.5101 | 1234618.8469 | 2627978.3828 | 1234626.2047 | 2627978.7114 | 1234640.0148
86 | 2627976.5101 | 1234618.8469 | 2627973.4396 | 1234621.5675 | 2627961.1206 | 1234629.0476 | 2627942.0982 | 1234637.6414 | 2627930.8754 | 1234641.4653
87 | 2627978.7114 | 1234640.0148 | 2627977.5581 | 1234643.8451 | 2627975.8162 | 1234648.9178 | 2627971.6453 | 1234647.4306 | 2627968.7454 | 1234657.3453
88 | 2627978.7114 | 1234640.0148 | 2627983.5439 | 1234644.04 | 2627986.1457 | 1234649.2554
89 | 2627930.8754 | 1234641.4653 | 2627911.3281 | 1234648.1257 | 2627894.2287 | 1234655.1133
90 | 2627894.2287 | 1234655.1133 | 2627884.2294 | 1234659.1995
91 | 2627882.0123 | 1234558.2774 | 2627882.5278 | 1234553.2545 | 2627880.3349 | 1234538.2794
92 | 2627880.3349 | 1234538.2794 | 2627832.7672 | 1234519.612
93 | 2627848.3659 | 1234571.9839 | 2627868.024 | 1234577.9573 | 2627870.6106 | 1234576.7465 | 2627877.5749 | 1234560.3468 | 2627882.0123 | 1234558.2774
94 | 2627882.0123 | 1234558.2774 | 2627886.9072 | 1234565.1712 | 2627892.0154 | 1234576.6022 | 2627892.4436 | 1234590.2126 | 2627888.4562 | 1234604.0843
95 | 2627832.7672 | 1234519.612 | 2627822.1846 | 1234515.459
96 | 2627863.6078 | 1234601.3622 | 2627862.9764 | 1234605.2839 | 2627863.687 | 1234610.3125 | 2627869.08 | 1234614.2624 | 2627881.7398 | 1234616.4119 | 2627886.3191 | 1234611.5192 | 2627888.4562 | 1234604.0843
97 | 2627822.1846 | 1234515.459 | 2627805.3634 | 1234508.8577
98 | 2627799.9663 | 1234506.7397 | 2627805.3634 | 1234508.8577
99 | 2627799.9663 | 1234506.7397 | 2627805.6594 | 1234496.7268 | 2627820.1574 | 1234482.9638 | 2627821.6486 | 1234483.2231
100 | 2627799.9663 | 1234506.7397 | 2627780.9334 | 1234499.2715
101 | 2627780.9334 | 1234499.2715 | 2627776.1736 | 1234497.4039
102 | 2627776.1736 | 1234497.4039 | 2627775.7091 | 1234497.2216
103 | 2627787.6674 | 1234462.639 | 2627788.4207 | 1234459.7759
104 | 2627709.1055 | 1234403.9194 | 2627713.7978 | 1234405.7347

## bus_geodata
| x | y | coords
0 | 2626363.7557 | 1233843.38
1 | 2626379.3648 | 1233808.747
2 | 2626494.5555 | 1233778.9957
3 | 2627475.1697 | 1234355.7166
4 | 2626916.8917 | 1234049.7005
5 | 2627549.1588 | 1234383.1658
6 | 2626589.5206 | 1233801.8997
7 | 2626446.2167 | 1233738.2874
8 | 2626582.9487 | 1233856.9658
9 | 2626593.2422 | 1233802.6711
10 | 2626438.6861 | 1233729.8724
11 | 2627665.6726 | 1233943.7937
12 | 2627703.8969 | 1233973.9465
13 | 2627705.8295 | 1233976.8457
14 | 2627949.3755 | 1234147.0177
15 | 2627941.9098 | 1234195.8905
16 | 2627728.4297 | 1234000.9503
17 | 2627981.4346 | 1234157.5415
18 | 2627714.7832 | 1233986.5855
19 | 2626655.0137 | 1233734.6168
20 | 2626720.0393 | 1233651.1915
21 | 2626636.4138 | 1233765.3156
22 | 2626770.166 | 1233711.7243
23 | 2628012.4397 | 1234149.1377
24 | 2627976.4641 | 1234209.7581
25 | 2627989.5968 | 1234348.3945
26 | 2627987.733 | 1234358.8092
27 | 2626614.8972 | 1233807.9724
28 | 2626620.9942 | 1233811.1022
29 | 2626674.0678 | 1233854.1754
30 | 2626707.197 | 1233891.2936
31 | 2626871.26 | 1234025.4916
32 | 2626799.9619 | 1233980.8286
33 | 2626889.6995 | 1234035.2024
34 | 2626767.121 | 1233953.0104
35 | 2626757.4577 | 1233960.7829
36 | 2626743.7433 | 1233930.7915
37 | 2626743.1374 | 1233948.7445
38 | 2627608.8754 | 1234372.5506
39 | 2627604.3158 | 1234410.1364
40 | 2627593.4931 | 1234404.8012
41 | 2627683.9556 | 1234473.5453
42 | 2627579.833 | 1234398.0673
43 | 2627707.578 | 1234468.6411
44 | 2627731.4506 | 1234479.8591
45 | 2627713.4345 | 1234452.6096
46 | 2627679.2362 | 1234482.7162
47 | 2627557.5013 | 1234387.0587
48 | 2627737.5954 | 1234462.5909
49 | 2627761.6554 | 1234491.7072
50 | 2627720.0622 | 1234427.3166
51 | 2627678.3222 | 1234484.4923
52 | 2628131.5702 | 1234387.3015
53 | 2628130.6485 | 1234389.3895
54 | 2628130.0813 | 1234390.6744
55 | 2628143.2247 | 1234392.28
56 | 2628116.3779 | 1234413.8907
57 | 2628102.7644 | 1234429.5498
58 | 2628143.3967 | 1234419.8934
59 | 2628094.392 | 1234439.1802
60 | 2627978.4967 | 1234407.237
61 | 2628031.2243 | 1234493.5384
62 | 2628025.3751 | 1234501.0421
63 | 2627847.6067 | 1234457.6654
64 | 2627834.9431 | 1234444.4258
65 | 2627842.9735 | 1234483.7821
66 | 2628014.1249 | 1234518.4831
67 | 2628008.1433 | 1234530.1932
68 | 2627996.5934 | 1234550.5553
69 | 2627991.0708 | 1234556.388
70 | 2627973.4765 | 1234562.9875
71 | 2627994.366 | 1234563.8303
72 | 2627944.0337 | 1234563.228
73 | 2627992.3271 | 1234570.2483
74 | 2627991.072 | 1234574.1992
75 | 2627983.5803 | 1234597.7815
76 | 2627979.3524 | 1234611.5558
77 | 2627924.3449 | 1234555.5513
78 | 2627976.5101 | 1234618.8469
79 | 2628010.8244 | 1234629.9256
80 | 2627978.7114 | 1234640.0148
81 | 2627930.8754 | 1234641.4653
82 | 2627968.7454 | 1234657.3453
83 | 2627986.1457 | 1234649.2554
84 | 2627894.2287 | 1234655.1133
85 | 2627884.2294 | 1234659.1995
86 | 2627880.3349 | 1234538.2794
87 | 2627882.0123 | 1234558.2774
88 | 2627832.7672 | 1234519.612
89 | 2627848.3659 | 1234571.9839
90 | 2627888.4562 | 1234604.0843
91 | 2627822.1846 | 1234515.459
92 | 2627863.6078 | 1234601.3622
93 | 2627805.3634 | 1234508.8577
94 | 2627869.5867 | 1234499.7143
95 | 2627821.6486 | 1234483.2231
96 | 2627799.9663 | 1234506.7397
97 | 2627780.9334 | 1234499.2715
98 | 2627744.06 | 1234444.4236
99 | 2627776.1736 | 1234497.4039
100 | 2627775.7091 | 1234497.2216
101 | 2627787.6674 | 1234462.639
102 | 2627788.4207 | 1234459.7759
103 | 2627669.7463 | 1234517.3772
104 | 2627713.7978 | 1234405.7347
105 | 2627709.1055 | 1234403.9194
106 | 2627604.3158 | 1234410.1364

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1