## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_345-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_345-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_345-5_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_345-5_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_345-5_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_345-5_0_4_node_50 | 0.4 | n |  | TRUE
6 | bus_LV_345-5_0_4_node_47 | 0.4 | n |  | TRUE
7 | bus_LV_345-5_0_4_node_51 | 0.4 | n |  | TRUE
8 | bus_LV_345-5_0_4_node_46 | 0.4 | n |  | TRUE
9 | bus_LV_345-5_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_345-5_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_345-5_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_345-5_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_345-5_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_345-5_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_345-5_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_345-5_0_4_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_345-5_0_4_node_45 | 0.4 | n |  | TRUE
18 | bus_LV_345-5_0_4_node_44 | 0.4 | n |  | TRUE
19 | bus_LV_345-5_0_4_node_49 | 0.4 | n |  | TRUE
20 | bus_LV_345-5_0_4_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_345-5_0_4_node_67 | 0.4 | n |  | TRUE
22 | bus_LV_345-5_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_345-5_0_4_node_48 | 0.4 | n |  | TRUE
24 | bus_LV_345-5_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_345-5_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_345-5_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_345-5_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_345-5_0_4_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_345-5_0_4_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_345-5_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_345-5_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_345-5_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_345-5_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_345-5_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_345-5_0_4_node_103 | 0.4 | n |  | TRUE
36 | bus_LV_345-5_0_4_node_102 | 0.4 | n |  | TRUE
37 | bus_LV_345-5_0_4_node_109 | 0.4 | n |  | TRUE
38 | bus_LV_345-5_0_4_node_101 | 0.4 | n |  | TRUE
39 | bus_LV_345-5_0_4_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_345-5_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_345-5_0_4_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_345-5_0_4_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_345-5_0_4_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_345-5_0_4_node_63 | 0.4 | n |  | TRUE
45 | bus_LV_345-5_0_4_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_345-5_0_4_node_64 | 0.4 | n |  | TRUE
47 | bus_LV_345-5_0_4_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_345-5_0_4_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_345-5_0_4_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_345-5_0_4_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_345-5_0_4_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_345-5_0_4_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_345-5_0_4_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_345-5_0_4_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_345-5_0_4_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_345-5_0_4_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_345-5_0_4_node_107 | 0.4 | n |  | TRUE
58 | bus_LV_345-5_0_4_node_105 | 0.4 | n |  | TRUE
59 | bus_LV_345-5_0_4_node_66 | 0.4 | n |  | TRUE
60 | bus_LV_345-5_0_4_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_345-5_0_4_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_345-5_0_4_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_345-5_0_4_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_345-5_0_4_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_345-5_0_4_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_345-5_0_4_node_104 | 0.4 | n |  | TRUE
67 | bus_LV_345-5_0_4_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_345-5_0_4_node_106 | 0.4 | n |  | TRUE
69 | bus_LV_345-5_0_4_node_92 | 0.4 | n |  | TRUE
70 | bus_LV_345-5_0_4_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_345-5_0_4_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_345-5_0_4_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_345-5_0_4_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_345-5_0_4_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_345-5_0_4_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_345-5_0_4_node_77 | 0.4 | n |  | TRUE
77 | bus_LV_345-5_0_4_node_117 | 0.4 | n |  | TRUE
78 | bus_LV_345-5_0_4_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_345-5_0_4_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_345-5_0_4_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_345-5_0_4_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_345-5_0_4_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_345-5_0_4_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_345-5_0_4_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_345-5_0_4_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_345-5_0_4_node_83 | 0.4 | n |  | TRUE
87 | bus_LV_345-5_0_4_node_116 | 0.4 | n |  | TRUE
88 | bus_LV_345-5_0_4_node_121 | 0.4 | n |  | TRUE
89 | bus_LV_345-5_0_4_node_113 | 0.4 | n |  | TRUE
90 | bus_LV_345-5_0_4_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_345-5_0_4_node_93 | 0.4 | n |  | TRUE
92 | bus_LV_345-5_0_4_node_115 | 0.4 | n |  | TRUE
93 | bus_LV_345-5_0_4_node_114 | 0.4 | n |  | TRUE
94 | bus_LV_345-5_0_4_node_119 | 0.4 | n |  | TRUE
95 | bus_LV_345-5_0_4_node_112 | 0.4 | n |  | TRUE
96 | bus_LV_345-5_0_4_node_88 | 0.4 | n |  | TRUE
97 | bus_LV_345-5_0_4_node_89 | 0.4 | n |  | TRUE
98 | bus_LV_345-5_0_4_node_94 | 0.4 | n |  | TRUE
99 | bus_LV_345-5_0_4_node_111 | 0.4 | n |  | TRUE
100 | bus_LV_345-5_0_4_node_122 | 0.4 | n |  | TRUE
101 | bus_LV_345-5_0_4_node_84 | 0.4 | n |  | TRUE
102 | bus_LV_345-5_0_4_node_85 | 0.4 | n |  | TRUE
103 | bus_LV_345-5_0_4_node_86 | 0.4 | n |  | TRUE
104 | bus_LV_345-5_0_4_node_91 | 0.4 | n |  | TRUE
105 | bus_LV_345-5_0_4_node_90 | 0.4 | n |  | TRUE
106 | bus_LV_345-5_0_4_node_95 | 0.4 | n |  | TRUE
107 | bus_LV_345-5_0_4_node_96 | 0.4 | n |  | TRUE
108 | bus_LV_345-5_0_4_node_97 | 0.4 | n |  | TRUE
109 | bus_LV_345-5_0_4_node_98 | 0.4 | n |  | TRUE
110 | bus_LV_345-5_0_4_node_99 | 0.4 | n |  | TRUE
111 | bus_LV_345-5_0_4_node_100 | 0.4 | n |  | TRUE
112 | bus_LV_345-5_0_4_node_108 | 0.4 | n |  | TRUE
113 | bus_LV_345-5_0_4_node_110 | 0.4 | n |  | TRUE
114 | bus_MV_475_1_node_203 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_345-5_0_4_load_0 | 0 | 0.001094 | 0.00027418 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_345-5_0_4_load_1 | 1 | 0.0024115 | 0.00060438 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_345-5_0_4_load_3 | 3 | 0.0035645 | 0.00089336 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_345-5_0_4_load_50 | 5 | 0.00059692 | 0.0001496 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_345-5_0_4_load_47 | 6 | 0.00092923 | 0.00023289 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_345-5_0_4_load_51 | 7 | 0.0029676 | 0.00074376 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_345-5_0_4_load_46 | 8 | 0.0012655 | 0.00031716 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_345-5_0_4_load_6 | 9 | 0.0062993 | 0.0015787 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_345-5_0_4_load_7 | 10 | 0.010002 | 0.0025068 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_345-5_0_4_load_10 | 13 | 0.0028691 | 0.00071908 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_345-5_0_4_load_12 | 15 | 0.0019922 | 0.00049928 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_345-5_0_4_load_23 | 16 | 0.0023675 | 0.00059335 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_345-5_0_4_load_45 | 17 | 0.0013445 | 0.00033696 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_345-5_0_4_load_44 | 18 | 0.0026816 | 0.00067208 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_345-5_0_4_load_49 | 19 | 0.0010467 | 0.00026233 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_345-5_0_4_load_24 | 20 | 0.0016479 | 0.00041301 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_345-5_0_4_load_67 | 21 | 0.0022875 | 0.00057331 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_345-5_0_4_load_17 | 22 | 0.0027741 | 0.00069526 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_345-5_0_4_load_48 | 23 | 0.00056185 | 0.00014081 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_345-5_0_4_load_13 | 24 | 0.0028031 | 0.00070253 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_345-5_0_4_load_14 | 25 | 0.0022856 | 0.00057282 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_345-5_0_4_load_15 | 26 | 0.0028048 | 0.00070295 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_345-5_0_4_load_16 | 27 | 0.0011867 | 0.00029742 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_345-5_0_4_load_43 | 28 | 0.0020015 | 0.00050162 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_345-5_0_4_load_42 | 29 | 0.0013809 | 0.0003461 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_345-5_0_4_load_18 | 30 | 0.0046391 | 0.0011627 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_345-5_0_4_load_19 | 31 | 0.0046378 | 0.0011623 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_345-5_0_4_load_20 | 32 | 0.0039973 | 0.0010018 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_345-5_0_4_load_103 | 35 | 0.0027306 | 0.00068436 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_345-5_0_4_load_102 | 36 | 0.0036497 | 0.00091471 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_345-5_0_4_load_109 | 37 | 0.0029371 | 0.0007361 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_345-5_0_4_load_101 | 38 | 0.0022935 | 0.0005748 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_345-5_0_4_load_26 | 39 | 0.0013817 | 0.00034629 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_345-5_0_4_load_29 | 41 | 0.0013094 | 0.00032816 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_345-5_0_4_load_30 | 42 | 0.00098026 | 0.00024568 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_345-5_0_4_load_33 | 43 | 0.00066744 | 0.00016728 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_345-5_0_4_load_63 | 44 | 0.0025028 | 0.00062726 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_345-5_0_4_load_34 | 45 | 0.0010017 | 0.00025105 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_345-5_0_4_load_64 | 46 | 0.0012924 | 0.00032391 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_345-5_0_4_load_31 | 47 | 0.0012404 | 0.00031088 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_345-5_0_4_load_62 | 48 | 0.0042903 | 0.0010752 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_345-5_0_4_load_61 | 49 | 0.0011144 | 0.0002793 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_345-5_0_4_load_35 | 50 | 0.0011255 | 0.00028208 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_345-5_0_4_load_40 | 51 | 0.0020193 | 0.00050608 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_345-5_0_4_load_36 | 53 | 0.0019063 | 0.00047776 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_345-5_0_4_load_37 | 54 | 0.00080495 | 0.00020174 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_345-5_0_4_load_39 | 55 | 0.0064612 | 0.0016193 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_345-5_0_4_load_41 | 56 | 0.0030553 | 0.00076574 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_345-5_0_4_load_107 | 57 | 0.0028756 | 0.00072069 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_345-5_0_4_load_66 | 59 | 0.0028732 | 0.00072009 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_345-5_0_4_load_52 | 60 | 0.0013947 | 0.00034955 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_345-5_0_4_load_53 | 61 | 0.0032221 | 0.00080755 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_345-5_0_4_load_56 | 64 | 0.00089111 | 0.00022333 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_345-5_0_4_load_57 | 65 | 0.00082759 | 0.00020741 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_345-5_0_4_load_104 | 66 | 0.0020791 | 0.00052106 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_345-5_0_4_load_60 | 67 | 0.00085982 | 0.00021549 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_345-5_0_4_load_106 | 68 | 0.0072597 | 0.0018195 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_345-5_0_4_load_92 | 69 | 0.0027867 | 0.00069841 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_345-5_0_4_load_65 | 70 | 0.00093542 | 0.00023444 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_345-5_0_4_load_68 | 71 | 0.0050433 | 0.001264 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_345-5_0_4_load_69 | 72 | 0.0040348 | 0.0010112 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_345-5_0_4_load_72 | 74 | 0.0026101 | 0.00065416 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_345-5_0_4_load_73 | 75 | 0.0030763 | 0.00077098 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_345-5_0_4_load_117 | 77 | 0.0019288 | 0.00048341 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_345-5_0_4_load_75 | 78 | 0.0037759 | 0.00094633 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_345-5_0_4_load_74 | 79 | 0.0042832 | 0.0010735 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_345-5_0_4_load_76 | 80 | 0.0031694 | 0.00079432 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_345-5_0_4_load_78 | 81 | 0.0022737 | 0.00056985 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_345-5_0_4_load_79 | 82 | 0.0017057 | 0.00042749 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_345-5_0_4_load_80 | 83 | 0.0018878 | 0.00047313 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_345-5_0_4_load_82 | 85 | 0.0027621 | 0.00069225 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_345-5_0_4_load_83 | 86 | 0.0020605 | 0.0005164 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_345-5_0_4_load_116 | 87 | 0.00067437 | 0.00016901 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_345-5_0_4_load_121 | 88 | 0.00059812 | 0.0001499 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_345-5_0_4_load_93 | 91 | 0.0024799 | 0.00062152 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_345-5_0_4_load_114 | 93 | 0.00065018 | 0.00016295 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_345-5_0_4_load_119 | 94 | 0.0013486 | 0.000338 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_345-5_0_4_load_112 | 95 | 0.00073281 | 0.00018366 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_345-5_0_4_load_88 | 96 | 0.0020301 | 0.00050879 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_345-5_0_4_load_89 | 97 | 0.0024063 | 0.00060308 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_345-5_0_4_load_111 | 99 | 0.00086573 | 0.00021697 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_345-5_0_4_load_122 | 100 | 0.0010221 | 0.00025617 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_345-5_0_4_load_84 | 101 | 0.0020582 | 0.00051584 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_345-5_0_4_load_85 | 102 | 0.0029673 | 0.00074368 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_345-5_0_4_load_86 | 103 | 0.0018479 | 0.00046313 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_345-5_0_4_load_91 | 104 | 0.0021375 | 0.0005357 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_345-5_0_4_load_90 | 105 | 0.0020292 | 0.00050856 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_345-5_0_4_load_95 | 106 | 0.0032104 | 0.00080461 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_345-5_0_4_load_96 | 107 | 0.0029767 | 0.00074604 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_345-5_0_4_load_97 | 108 | 0.0020968 | 0.0005255 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_345-5_0_4_load_98 | 109 | 0.0022054 | 0.00055273 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_345-5_0_4_load_99 | 110 | 0.0021618 | 0.0005418 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_345-5_0_4_load_100 | 111 | 0.0015981 | 0.00040053 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_345-5_0_4_load_108 | 112 | 0.0022363 | 0.00056048 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_345-5_0_4_load_110 | 113 | 0.0031192 | 0.00078173 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 110 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_345-5_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_345-5_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.031439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_345-5_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0091372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_345-5_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.00912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_345-5_0_4_line_4 | NAYY 4x150 SE | 4 | 5 | 0.014186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_345-5_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.02306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_345-5_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.032778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_345-5_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0051374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_345-5_0_4_line_8 | NAYY 4x150 SE | 8 | 23 | 0.0021048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_345-5_0_4_line_9 | NAYY 4x150 SE | 9 | 10 | 0.02264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_345-5_0_4_line_10 | NAYY 4x150 SE | 9 | 11 | 0.017112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_345-5_0_4_line_11 | NAYY 4x150 SE | 10 | 12 | 0.019512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_345-5_0_4_line_12 | NAYY 4x150 SE | 11 | 13 | 0.014422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_345-5_0_4_line_13 | NAYY 4x150 SE | 12 | 14 | 0.010224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_345-5_0_4_line_14 | NAYY 4x150 SE | 12 | 15 | 0.011236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_345-5_0_4_line_15 | NAYY 4x150 SE | 13 | 16 | 0.030574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_345-5_0_4_line_16 | NAYY 4x150 SE | 14 | 17 | 0.011759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_345-5_0_4_line_17 | NAYY 4x150 SE | 14 | 18 | 0.022035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_345-5_0_4_line_18 | NAYY 4x150 SE | 15 | 19 | 0.013451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_345-5_0_4_line_19 | NAYY 4x150 SE | 16 | 20 | 0.0013024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_345-5_0_4_line_20 | NAYY 4x150 SE | 17 | 21 | 0.025656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_345-5_0_4_line_21 | NAYY 4x150 SE | 18 | 22 | 0.010548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_345-5_0_4_line_22 | NAYY 4x150 SE | 19 | 23 | 0.0043579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_345-5_0_4_line_23 | NAYY 4x150 SE | 21 | 59 | 0.020643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_345-5_0_4_line_24 | NAYY 4x150 SE | 22 | 26 | 0.0094489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_345-5_0_4_line_25 | NAYY 4x150 SE | 24 | 25 | 0.012961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_345-5_0_4_line_26 | NAYY 4x150 SE | 24 | 26 | 0.0048705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_345-5_0_4_line_27 | NAYY 4x150 SE | 25 | 27 | 0.023395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_345-5_0_4_line_28 | NAYY 4x150 SE | 27 | 28 | 0.00047287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_345-5_0_4_line_29 | NAYY 4x150 SE | 28 | 29 | 0.018605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_345-5_0_4_line_30 | NAYY 4x150 SE | 29 | 55 | 0.0065831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_345-5_0_4_line_31 | NAYY 4x150 SE | 30 | 31 | 0.016985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_345-5_0_4_line_32 | NAYY 4x150 SE | 30 | 32 | 0.023067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_345-5_0_4_line_33 | NAYY 4x150 SE | 31 | 33 | 0.033224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_345-5_0_4_line_34 | NAYY 4x150 SE | 33 | 34 | 0.036079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_345-5_0_4_line_35 | NAYY 4x150 SE | 34 | 35 | 0.014519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_345-5_0_4_line_36 | NAYY 4x150 SE | 34 | 36 | 0.019501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_345-5_0_4_line_37 | NAYY 4x150 SE | 35 | 37 | 0.013231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_345-5_0_4_line_38 | NAYY 4x150 SE | 36 | 38 | 0.033461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_345-5_0_4_line_39 | NAYY 4x150 SE | 37 | 112 | 0.023924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_345-5_0_4_line_40 | NAYY 4x150 SE | 38 | 107 | 0.025304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_345-5_0_4_line_41 | NAYY 4x150 SE | 39 | 40 | 0.020042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_345-5_0_4_line_42 | NAYY 4x150 SE | 40 | 41 | 0.011094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_345-5_0_4_line_43 | NAYY 4x150 SE | 40 | 42 | 0.012074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_345-5_0_4_line_44 | NAYY 4x150 SE | 41 | 43 | 0.060517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_345-5_0_4_line_45 | NAYY 4x150 SE | 42 | 44 | 0.0072961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_345-5_0_4_line_46 | NAYY 4x150 SE | 43 | 45 | 0.020101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_345-5_0_4_line_47 | NAYY 4x150 SE | 44 | 46 | 0.058471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_345-5_0_4_line_48 | NAYY 4x150 SE | 45 | 50 | 0.00088813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_345-5_0_4_line_49 | NAYY 4x150 SE | 47 | 48 | 0.06241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_345-5_0_4_line_50 | NAYY 4x150 SE | 48 | 49 | 0.0072706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_345-5_0_4_line_51 | NAYY 4x150 SE | 49 | 67 | 0.005821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_345-5_0_4_line_52 | NAYY 4x150 SE | 50 | 51 | 0.0098378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_345-5_0_4_line_53 | NAYY 4x150 SE | 51 | 52 | 0.013114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_345-5_0_4_line_54 | NAYY 4x150 SE | 52 | 56 | 0.007849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_345-5_0_4_line_55 | NAYY 4x150 SE | 52 | 53 | 0.01251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_345-5_0_4_line_56 | NAYY 4x150 SE | 53 | 54 | 0.015465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_345-5_0_4_line_57 | NAYY 4x150 SE | 54 | 55 | 0.00042482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_345-5_0_4_line_58 | NAYY 4x150 SE | 56 | 57 | 0.012897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_345-5_0_4_line_59 | NAYY 4x150 SE | 57 | 58 | 0.0015387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_345-5_0_4_line_60 | NAYY 4x150 SE | 58 | 68 | 0.019166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_345-5_0_4_line_61 | NAYY 4x150 SE | 58 | 63 | 0.023115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_345-5_0_4_line_62 | NAYY 4x150 SE | 59 | 70 | 0.016774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_345-5_0_4_line_63 | NAYY 4x150 SE | 60 | 61 | 0.013647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_345-5_0_4_line_64 | NAYY 4x150 SE | 60 | 62 | 0.021472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_345-5_0_4_line_65 | NAYY 4x150 SE | 61 | 63 | 0.02261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_345-5_0_4_line_66 | NAYY 4x150 SE | 62 | 64 | 0.030305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_345-5_0_4_line_67 | NAYY 4x150 SE | 62 | 65 | 0.0060087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_345-5_0_4_line_68 | NAYY 4x150 SE | 63 | 66 | 0.0080844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_345-5_0_4_line_69 | NAYY 4x150 SE | 65 | 67 | 0.0024754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_345-5_0_4_line_70 | NAYY 4x150 SE | 66 | 69 | 0.0059901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_345-5_0_4_line_71 | NAYY 4x150 SE | 68 | 111 | 0.014523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
72 | LV_345-5_0_4_line_72 | NAYY 4x150 SE | 71 | 72 | 0.031771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_345-5_0_4_line_73 | NAYY 4x150 SE | 71 | 73 | 0.0062897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_345-5_0_4_line_74 | NAYY 4x150 SE | 73 | 74 | 0.014239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_345-5_0_4_line_75 | NAYY 4x150 SE | 73 | 75 | 0.016568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_345-5_0_4_line_76 | NAYY 4x150 SE | 74 | 76 | 0.0030482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_345-5_0_4_line_77 | NAYY 4x150 SE | 76 | 77 | 0.025098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_345-5_0_4_line_78 | NAYY 4x150 SE | 76 | 78 | 0.023806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_345-5_0_4_line_79 | NAYY 4x150 SE | 78 | 79 | 0.0033904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_345-5_0_4_line_80 | NAYY 4x150 SE | 79 | 80 | 0.02064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_345-5_0_4_line_81 | NAYY 4x150 SE | 80 | 81 | 0.02822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_345-5_0_4_line_82 | NAYY 4x150 SE | 81 | 82 | 0.029252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_345-5_0_4_line_83 | NAYY 4x150 SE | 82 | 83 | 0.024921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_345-5_0_4_line_84 | NAYY 4x150 SE | 83 | 84 | 0.01464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_345-5_0_4_line_85 | NAYY 4x150 SE | 84 | 85 | 0.028478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_345-5_0_4_line_86 | NAYY 4x150 SE | 84 | 86 | 0.018246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_345-5_0_4_line_87 | NAYY 4x150 SE | 85 | 90 | 0.014362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_345-5_0_4_line_88 | NAYY 4x150 SE | 86 | 91 | 0.037576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_345-5_0_4_line_89 | NAYY 4x150 SE | 86 | 92 | 0.16936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_345-5_0_4_line_90 | NAYY 4x150 SE | 87 | 88 | 0.0040443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_345-5_0_4_line_91 | NAYY 4x150 SE | 87 | 89 | 0.022057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_345-5_0_4_line_92 | NAYY 4x150 SE | 89 | 92 | 0.018924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_345-5_0_4_line_93 | NAYY 4x150 SE | 89 | 99 | 0.013598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_345-5_0_4_line_94 | NAYY 4x150 SE | 90 | 96 | 0.01816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_345-5_0_4_line_95 | NAYY 4x150 SE | 90 | 97 | 0.016149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_345-5_0_4_line_96 | NAYY 4x150 SE | 91 | 98 | 0.017964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_345-5_0_4_line_97 | NAYY 4x150 SE | 92 | 100 | 0.014772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_345-5_0_4_line_98 | NAYY 4x150 SE | 93 | 94 | 0.041744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_345-5_0_4_line_99 | NAYY 4x150 SE | 93 | 95 | 0.018837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_345-5_0_4_line_100 | NAYY 4x150 SE | 95 | 99 | 0.0019208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_345-5_0_4_line_101 | NAYY 4x150 SE | 96 | 103 | 0.025675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_345-5_0_4_line_102 | NAYY 4x150 SE | 97 | 104 | 0.020374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_345-5_0_4_line_103 | NAYY 4x150 SE | 98 | 106 | 0.030178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_345-5_0_4_line_104 | NAYY 4x150 SE | 98 | 107 | 0.022635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_345-5_0_4_line_105 | NAYY 4x150 SE | 101 | 102 | 0.025227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_345-5_0_4_line_106 | NAYY 4x150 SE | 102 | 103 | 0.00040234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_345-5_0_4_line_107 | NAYY 4x150 SE | 104 | 105 | 0.0038217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_345-5_0_4_line_108 | NAYY 4x150 SE | 106 | 108 | 0.02443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_345-5_0_4_line_109 | NAYY 4x150 SE | 108 | 109 | 0.0049578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_345-5_0_4_line_110 | NAYY 4x150 SE | 109 | 110 | 0.026053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
111 | LV_345-5_0_4_line_111 | NAYY 4x150 SE | 110 | 111 | 0.029365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
112 | LV_345-5_0_4_line_112 | NAYY 4x150 SE | 112 | 113 | 0.021594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_345-5_0_4_trafo_99 | 0.25 MVA 20/0.4 kV | 114 | 110 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2628488.5854 | 1233920.483 | 2628497.0321 | 1233906.5438 | 2628497.9559 | 1233904.9086
1 | 2628470.3278 | 1233945.8958 | 2628478.713 | 1233936.7747 | 2628488.5854 | 1233920.483
2 | 2628497.9559 | 1233904.9086 | 2628502.45 | 1233896.953
3 | 2628470.3278 | 1233945.8958 | 2628464.1567 | 1233952.626
4 | 2628464.1567 | 1233952.626 | 2628451.9948 | 1233959.9287
5 | 2628464.1567 | 1233952.626 | 2628483.7823 | 1233964.7338
6 | 2628451.9948 | 1233959.9287 | 2628423.8935 | 1233976.8022
7 | 2628488.1546 | 1233967.4312 | 2628483.7823 | 1233964.7338
8 | 2628488.1546 | 1233967.4312 | 2628489.9459 | 1233968.5363
9 | 2628490.1604 | 1234015.2189 | 2628499.9993 | 1234002.9507 | 2628504.1251 | 1233997.4033
10 | 2628479.4544 | 1234028.5681 | 2628490.1604 | 1234015.2189
11 | 2628515.7696 | 1233981.7465 | 2628504.1251 | 1233997.4033
12 | 2628479.4544 | 1234028.5681 | 2628470.3017 | 1234039.7133
13 | 2628515.7696 | 1233981.7465 | 2628520.2267 | 1233972.5399
14 | 2628515.7696 | 1233981.7465 | 2628505.5999 | 1233976.9682
15 | 2628450.8979 | 1234063.3412 | 2628470.3017 | 1234039.7133
16 | 2628520.2267 | 1233972.5399 | 2628523.9217 | 1233961.3762
17 | 2628520.2267 | 1233972.5399 | 2628528.4219 | 1233976.2259 | 2628541.123 | 1233979.2192
18 | 2628505.5999 | 1233976.9682 | 2628497.2662 | 1233973.0525 | 2628493.6547 | 1233970.8245
19 | 2628450.8979 | 1234063.3412 | 2628450.0713 | 1234064.3478
20 | 2628531.9834 | 1233937.0193 | 2628523.9217 | 1233961.3762
21 | 2628551.3902 | 1233981.6389 | 2628541.123 | 1233979.2192
22 | 2628493.6547 | 1233970.8245 | 2628489.9459 | 1233968.5363
23 | 2628531.9834 | 1233937.0193 | 2628538.0384 | 1233918.7255 | 2628538.3557 | 1233917.3896
24 | 2628560.3508 | 1233984.6007 | 2628553.6072 | 1233982.1614 | 2628551.3902 | 1233981.6389
25 | 2628577.1191 | 1233990.6659 | 2628564.9309 | 1233986.2573
26 | 2628560.3508 | 1233984.6007 | 2628564.9309 | 1233986.2573
27 | 2628599.1187 | 1233998.6233 | 2628599.1187 | 1233998.6233 | 2628577.1191 | 1233990.6659
28 | 2628599.5535 | 1233998.8093 | 2628599.1187 | 1233998.6233
29 | 2628616.6589 | 1234006.1269 | 2628599.5535 | 1233998.8093
30 | 2628616.6589 | 1234006.1269 | 2628622.7114 | 1234008.7162
31 | 2628569.0421 | 1234049.349 | 2628555.8963 | 1234060.1045
32 | 2628586.8947 | 1234034.7424 | 2628569.0421 | 1234049.349
33 | 2628530.182 | 1234081.1434 | 2628555.8963 | 1234060.1045
34 | 2628553.7881 | 1234108.4845 | 2628530.182 | 1234081.1434
35 | 2628553.7881 | 1234108.4845 | 2628563.3799 | 1234100.2921 | 2628564.8122 | 1234099.0359
36 | 2628553.7881 | 1234108.4845 | 2628566.3609 | 1234123.3919
37 | 2628574.7595 | 1234090.3114 | 2628564.8122 | 1234099.0359
38 | 2628590.7289 | 1234146.1113 | 2628574.5008 | 1234133.0435 | 2628566.3609 | 1234123.3919
39 | 2628592.746 | 1234074.5361 | 2628574.7595 | 1234090.3114
40 | 2628611.9736 | 1234159.837 | 2628592.1822 | 1234147.2816 | 2628590.7289 | 1234146.1113
41 | 2628703.0126 | 1233917.8292 | 2628714.2226 | 1233901.216
42 | 2628703.0126 | 1233917.8292 | 2628697.8485 | 1233927.6484
43 | 2628703.0126 | 1233917.8292 | 2628692.4476 | 1233911.9851
44 | 2628669.5959 | 1233981.1657 | 2628675.029 | 1233971.0382 | 2628697.8485 | 1233927.6484
45 | 2628686.0632 | 1233908.4535 | 2628692.4476 | 1233911.9851
46 | 2628669.5959 | 1233981.1657 | 2628660.0931 | 1233998.8791
47 | 2628686.0632 | 1233908.4535 | 2628634.8983 | 1233880.1515
48 | 2628660.0931 | 1233998.8791 | 2628659.6732 | 1233999.6617
49 | 2628713.9805 | 1233964.9444 | 2628770.2332 | 1233937.9138
50 | 2628713.9805 | 1233964.9444 | 2628710.5189 | 1233971.338
51 | 2628707.7475 | 1233976.4569 | 2628710.5189 | 1233971.338
52 | 2628659.6732 | 1233999.6617 | 2628655.0225 | 1234008.3308
53 | 2628648.8231 | 1234019.8865 | 2628655.0225 | 1234008.3308
54 | 2628648.8231 | 1234019.8865 | 2628655.8526 | 1234023.3782
55 | 2628648.8231 | 1234019.8865 | 2628637.321 | 1234014.966
56 | 2628637.321 | 1234014.966 | 2628623.102 | 1234008.8832
57 | 2628623.102 | 1234008.8832 | 2628622.7114 | 1234008.7162
58 | 2628655.8526 | 1234023.3782 | 2628667.4031 | 1234029.1153
59 | 2628668.7812 | 1234029.7998 | 2628667.4031 | 1234029.1153
60 | 2628668.7812 | 1234029.7998 | 2628659.773 | 1234046.7175
61 | 2628668.7812 | 1234029.7998 | 2628689.815 | 1234039.5183
62 | 2628542.2319 | 1233901.0699 | 2628538.3557 | 1233917.3896
63 | 2628696.592 | 1234004.1598 | 2628693.3123 | 1234015.9206 | 2628693.2103 | 1234017.3541
64 | 2628703.7081 | 1233983.9177 | 2628698.0032 | 1233999.0995 | 2628696.592 | 1234004.1598
65 | 2628689.815 | 1234039.5183 | 2628692.0619 | 1234033.492 | 2628693.2103 | 1234017.3541
66 | 2628703.7081 | 1233983.9177 | 2628729.5153 | 1233999.8036
67 | 2628703.7081 | 1233983.9177 | 2628706.5689 | 1233978.6337
68 | 2628689.815 | 1234039.5183 | 2628697.1372 | 1234042.9451
69 | 2628707.7475 | 1233976.4569 | 2628706.5689 | 1233978.6337
70 | 2628702.5625 | 1234045.4842 | 2628697.1372 | 1234042.9451
71 | 2628659.773 | 1234046.7175 | 2628653.6647 | 1234058.189 | 2628653.2502 | 1234059.6579
72 | 2628839.6424 | 1234224.3745 | 2628844.1662 | 1234192.927
73 | 2628838.7469 | 1234230.6 | 2628839.6424 | 1234224.3745
74 | 2628838.7469 | 1234230.6 | 2628835.3569 | 1234244.4298
75 | 2628838.7469 | 1234230.6 | 2628855.1496 | 1234232.9361
76 | 2628834.6312 | 1234247.3904 | 2628835.3569 | 1234244.4298
77 | 2628834.6312 | 1234247.3904 | 2628830.5959 | 1234272.1624
78 | 2628834.6312 | 1234247.3904 | 2628811.4088 | 1234242.1519
79 | 2628808.1015 | 1234241.4059 | 2628811.4088 | 1234242.1519
80 | 2628808.1015 | 1234241.4059 | 2628804.5617 | 1234240.6074 | 2628788.1266 | 1234236.217
81 | 2628760.8622 | 1234228.9338 | 2628788.1266 | 1234236.217
82 | 2628760.8622 | 1234228.9338 | 2628743.9055 | 1234224.4042 | 2628732.6695 | 1234221.1379
83 | 2628732.6695 | 1234221.1379 | 2628728.66 | 1234219.9723 | 2628709.618 | 1234211.7392
84 | 2628696.1805 | 1234205.9292 | 2628709.618 | 1234211.7392
85 | 2628696.1805 | 1234205.9292 | 2628701.5734 | 1234177.9668
86 | 2628696.1805 | 1234205.9292 | 2628679.2163 | 1234199.2116
87 | 2628704.2932 | 1234163.8646 | 2628701.5734 | 1234177.9668
88 | 2628679.2163 | 1234199.2116 | 2628663.5516 | 1234193.0085 | 2628646.1862 | 1234181.6918
89 | 2628679.2163 | 1234199.2116 | 2628617.0765 | 1234356.7636
90 | 2628639.6217 | 1234380.898 | 2628635.6665 | 1234380.0538
91 | 2628614.0952 | 1234375.4497 | 2628635.6665 | 1234380.0538
92 | 2628614.0952 | 1234375.4497 | 2628617.0765 | 1234356.7636
93 | 2628614.0952 | 1234375.4497 | 2628611.9088 | 1234388.8707
94 | 2628704.2932 | 1234163.8646 | 2628714.6074 | 1234164.4036 | 2628722.376 | 1234165.3984
95 | 2628704.2932 | 1234163.8646 | 2628706.4748 | 1234147.8635
96 | 2628631.1362 | 1234171.8839 | 2628646.1862 | 1234181.6918
97 | 2628617.0765 | 1234356.7636 | 2628602.2899 | 1234357.682
98 | 2628608.5712 | 1234409.358 | 2628603.9096 | 1234437.9726 | 2628599.032 | 1234438.6496 | 2628591.2582 | 1234437.7357
99 | 2628611.6 | 1234390.7665 | 2628608.5712 | 1234409.358
100 | 2628611.9088 | 1234388.8707 | 2628611.6 | 1234390.7665
101 | 2628747.8431 | 1234168.6596 | 2628722.376 | 1234165.3984
102 | 2628710.3829 | 1234127.8766 | 2628707.0396 | 1234143.721 | 2628706.4748 | 1234147.8635
103 | 2628631.1362 | 1234171.8839 | 2628634.5655 | 1234165.4965 | 2628637.7009 | 1234155.6833 | 2628639.3677 | 1234143.1671
104 | 2628631.1362 | 1234171.8839 | 2628612.8966 | 1234160.4225 | 2628611.9736 | 1234159.837
105 | 2628773.2647 | 1234171.9149 | 2628748.2422 | 1234168.7107
106 | 2628748.2422 | 1234168.7107 | 2628747.8431 | 1234168.6596
107 | 2628711.1719 | 1234124.1372 | 2628710.3829 | 1234127.8766
108 | 2628642.5927 | 1234118.9507 | 2628639.3677 | 1234143.1671
109 | 2628642.5927 | 1234118.9507 | 2628643.2471 | 1234114.0362
110 | 2628643.2471 | 1234114.0362 | 2628646.6863 | 1234088.2112
111 | 2628646.6863 | 1234088.2112 | 2628648.02 | 1234078.1964 | 2628653.2502 | 1234059.6579
112 | 2628608.9803 | 1234060.2976 | 2628592.746 | 1234074.5361

## bus_geodata
| x | y | coords
0 | 2628488.5854 | 1233920.483
1 | 2628497.9559 | 1233904.9086
2 | 2628470.3278 | 1233945.8958
3 | 2628502.45 | 1233896.953
4 | 2628464.1567 | 1233952.626
5 | 2628451.9948 | 1233959.9287
6 | 2628483.7823 | 1233964.7338
7 | 2628423.8935 | 1233976.8022
8 | 2628488.1546 | 1233967.4312
9 | 2628490.1604 | 1234015.2189
10 | 2628504.1251 | 1233997.4033
11 | 2628479.4544 | 1234028.5681
12 | 2628515.7696 | 1233981.7465
13 | 2628470.3017 | 1234039.7133
14 | 2628520.2267 | 1233972.5399
15 | 2628505.5999 | 1233976.9682
16 | 2628450.8979 | 1234063.3412
17 | 2628523.9217 | 1233961.3762
18 | 2628541.123 | 1233979.2192
19 | 2628493.6547 | 1233970.8245
20 | 2628450.0713 | 1234064.3478
21 | 2628531.9834 | 1233937.0193
22 | 2628551.3902 | 1233981.6389
23 | 2628489.9459 | 1233968.5363
24 | 2628564.9309 | 1233986.2573
25 | 2628577.1191 | 1233990.6659
26 | 2628560.3508 | 1233984.6007
27 | 2628599.1187 | 1233998.6233
28 | 2628599.5535 | 1233998.8093
29 | 2628616.6589 | 1234006.1269
30 | 2628569.0421 | 1234049.349
31 | 2628555.8963 | 1234060.1045
32 | 2628586.8947 | 1234034.7424
33 | 2628530.182 | 1234081.1434
34 | 2628553.7881 | 1234108.4845
35 | 2628564.8122 | 1234099.0359
36 | 2628566.3609 | 1234123.3919
37 | 2628574.7595 | 1234090.3115
38 | 2628590.7289 | 1234146.1113
39 | 2628714.2226 | 1233901.216
40 | 2628703.0126 | 1233917.8292
41 | 2628697.8485 | 1233927.6484
42 | 2628692.4476 | 1233911.9851
43 | 2628669.5959 | 1233981.1657
44 | 2628686.0632 | 1233908.4535
45 | 2628660.0931 | 1233998.8791
46 | 2628634.8983 | 1233880.1515
47 | 2628770.2332 | 1233937.9138
48 | 2628713.9805 | 1233964.9444
49 | 2628710.5189 | 1233971.338
50 | 2628659.6732 | 1233999.6617
51 | 2628655.0225 | 1234008.3308
52 | 2628648.8231 | 1234019.8865
53 | 2628637.321 | 1234014.966
54 | 2628623.102 | 1234008.8832
55 | 2628622.7114 | 1234008.7162
56 | 2628655.8526 | 1234023.3782
57 | 2628667.4031 | 1234029.1153
58 | 2628668.7812 | 1234029.7998
59 | 2628538.3557 | 1233917.3896
60 | 2628696.592 | 1234004.1598
61 | 2628693.2103 | 1234017.3541
62 | 2628703.7081 | 1233983.9177
63 | 2628689.815 | 1234039.5183
64 | 2628729.5153 | 1233999.8036
65 | 2628706.5689 | 1233978.6337
66 | 2628697.1372 | 1234042.9451
67 | 2628707.7475 | 1233976.4569
68 | 2628659.773 | 1234046.7174
69 | 2628702.5625 | 1234045.4842
70 | 2628542.2319 | 1233901.0699
71 | 2628839.6424 | 1234224.3745
72 | 2628844.1662 | 1234192.927
73 | 2628838.7469 | 1234230.6
74 | 2628835.3569 | 1234244.4298
75 | 2628855.1496 | 1234232.9361
76 | 2628834.6312 | 1234247.3904
77 | 2628830.5959 | 1234272.1624
78 | 2628811.4088 | 1234242.1519
79 | 2628808.1015 | 1234241.4059
80 | 2628788.1266 | 1234236.217
81 | 2628760.8622 | 1234228.9338
82 | 2628732.6695 | 1234221.1379
83 | 2628709.618 | 1234211.7392
84 | 2628696.1805 | 1234205.9292
85 | 2628701.5734 | 1234177.9668
86 | 2628679.2163 | 1234199.2116
87 | 2628635.6665 | 1234380.0538
88 | 2628639.6217 | 1234380.898
89 | 2628614.0952 | 1234375.4497
90 | 2628704.2932 | 1234163.8646
91 | 2628646.1862 | 1234181.6918
92 | 2628617.0765 | 1234356.7636
93 | 2628608.5712 | 1234409.358
94 | 2628591.2582 | 1234437.7357
95 | 2628611.6 | 1234390.7665
96 | 2628722.376 | 1234165.3984
97 | 2628706.4748 | 1234147.8635
98 | 2628631.1362 | 1234171.8839
99 | 2628611.9088 | 1234388.8707
100 | 2628602.2899 | 1234357.682
101 | 2628773.2647 | 1234171.9149
102 | 2628748.2422 | 1234168.7107
103 | 2628747.8431 | 1234168.6596
104 | 2628710.3829 | 1234127.8766
105 | 2628711.1719 | 1234124.1372
106 | 2628639.3677 | 1234143.1671
107 | 2628611.9736 | 1234159.837
108 | 2628642.5927 | 1234118.9507
109 | 2628643.2471 | 1234114.0362
110 | 2628646.6863 | 1234088.2112
111 | 2628653.2502 | 1234059.6579
112 | 2628592.746 | 1234074.5361
113 | 2628608.9803 | 1234060.2976
114 | 2628668.7812 | 1234029.7998

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1