## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_345-9_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_345-9_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_345-9_0_3_node_8 | 0.4 | n |  | TRUE
3 | bus_LV_345-9_0_3_node_12 | 0.4 | n |  | TRUE
4 | bus_LV_345-9_0_3_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_345-9_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_345-9_0_3_node_2 | 0.4 | n |  | TRUE
7 | bus_LV_345-9_0_3_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_345-9_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_345-9_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_345-9_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_345-9_0_3_node_52 | 0.4 | n |  | TRUE
12 | bus_LV_345-9_0_3_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_345-9_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_345-9_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_345-9_0_3_node_41 | 0.4 | n |  | TRUE
16 | bus_LV_345-9_0_3_node_39 | 0.4 | n |  | TRUE
17 | bus_LV_345-9_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_345-9_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_345-9_0_3_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_345-9_0_3_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_345-9_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_345-9_0_3_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_345-9_0_3_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_345-9_0_3_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_345-9_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_345-9_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_345-9_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_345-9_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_345-9_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_345-9_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_345-9_0_3_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_345-9_0_3_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_345-9_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_345-9_0_3_node_49 | 0.4 | n |  | TRUE
35 | bus_LV_345-9_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_345-9_0_3_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_345-9_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_345-9_0_3_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_345-9_0_3_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_345-9_0_3_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_345-9_0_3_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_345-9_0_3_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_345-9_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_345-9_0_3_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_345-9_0_3_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_345-9_0_3_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_345-9_0_3_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_345-9_0_3_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_345-9_0_3_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_345-9_0_3_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_345-9_0_3_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_345-9_0_3_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_345-9_0_3_node_60 | 0.4 | n |  | TRUE
54 | bus_LV_345-9_0_3_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_345-9_0_3_node_89 | 0.4 | n |  | TRUE
56 | bus_LV_345-9_0_3_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_345-9_0_3_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_345-9_0_3_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_345-9_0_3_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_345-9_0_3_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_345-9_0_3_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_345-9_0_3_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_345-9_0_3_node_88 | 0.4 | n |  | TRUE
64 | bus_LV_345-9_0_3_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_345-9_0_3_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_345-9_0_3_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_345-9_0_3_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_345-9_0_3_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_345-9_0_3_node_74 | 0.4 | n |  | TRUE
70 | bus_LV_345-9_0_3_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_345-9_0_3_node_80 | 0.4 | n |  | TRUE
72 | bus_LV_345-9_0_3_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_345-9_0_3_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_345-9_0_3_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_345-9_0_3_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_345-9_0_3_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_345-9_0_3_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_345-9_0_3_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_345-9_0_3_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_345-9_0_3_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_345-9_0_3_node_81 | 0.4 | n |  | TRUE
82 | bus_LV_345-9_0_3_node_90 | 0.4 | n |  | TRUE
83 | bus_LV_345-9_0_3_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_345-9_0_3_node_78 | 0.4 | n |  | TRUE
85 | bus_LV_345-9_0_3_node_91 | 0.4 | n |  | TRUE
86 | bus_LV_345-9_0_3_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_345-9_0_3_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_345-9_0_3_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_345-9_0_3_node_85 | 0.4 | n |  | TRUE
90 | bus_LV_345-9_0_3_node_86 | 0.4 | n |  | TRUE
91 | bus_LV_345-9_0_3_node_87 | 0.4 | n |  | TRUE
92 | bus_LV_345-9_0_3_node_92 | 0.4 | n |  | TRUE
93 | bus_LV_345-9_0_3_node_93 | 0.4 | n |  | TRUE
94 | bus_LV_345-9_0_3_node_94 | 0.4 | n |  | TRUE
95 | bus_LV_345-9_0_3_node_95 | 0.4 | n |  | TRUE
96 | bus_MV_475_1_node_212 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_345-9_0_3_load_0 | 0 | 0.0011134 | 0.00027905 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_345-9_0_3_load_12 | 3 | 0.0019282 | 0.00048326 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_345-9_0_3_load_9 | 4 | 0.00081991 | 0.00020549 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_345-9_0_3_load_7 | 5 | 0.00107 | 0.00026816 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_345-9_0_3_load_2 | 6 | 0.0015048 | 0.00037713 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_345-9_0_3_load_3 | 7 | 0.00087758 | 0.00021994 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_345-9_0_3_load_5 | 9 | 0.0012131 | 0.00030404 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_345-9_0_3_load_52 | 11 | 0.00066008 | 0.00016543 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_345-9_0_3_load_10 | 13 | 0.0018196 | 0.00045604 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_345-9_0_3_load_11 | 14 | 0.0013968 | 0.00035007 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_345-9_0_3_load_41 | 15 | 0.0022576 | 0.00056581 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_345-9_0_3_load_39 | 16 | 0.0015267 | 0.00038263 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_345-9_0_3_load_14 | 17 | 0.0023881 | 0.00059851 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_345-9_0_3_load_15 | 18 | 0.0018326 | 0.00045928 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_345-9_0_3_load_16 | 19 | 0.00083803 | 0.00021003 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_345-9_0_3_load_25 | 20 | 0.0015899 | 0.00039847 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_345-9_0_3_load_17 | 21 | 0.0017118 | 0.00042902 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_345-9_0_3_load_24 | 22 | 0.0019141 | 0.00047971 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_345-9_0_3_load_33 | 23 | 0.0009457 | 0.00023702 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_345-9_0_3_load_18 | 25 | 0.00083434 | 0.0002091 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_345-9_0_3_load_20 | 27 | 0.0029028 | 0.00072751 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_345-9_0_3_load_21 | 28 | 0.003075 | 0.00077067 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_345-9_0_3_load_22 | 29 | 0.0021292 | 0.00053362 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_345-9_0_3_load_23 | 30 | 0.0022225 | 0.00055701 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_345-9_0_3_load_30 | 32 | 0.0018813 | 0.0004715 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_345-9_0_3_load_27 | 33 | 0.002058 | 0.00051578 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_345-9_0_3_load_49 | 34 | 0.0019991 | 0.00050103 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_345-9_0_3_load_28 | 35 | 0.0017353 | 0.00043491 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_345-9_0_3_load_29 | 36 | 0.0012643 | 0.00031686 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_345-9_0_3_load_31 | 37 | 0.0011303 | 0.00028327 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_345-9_0_3_load_47 | 38 | 0.0041692 | 0.0010449 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_345-9_0_3_load_34 | 39 | 0.0020353 | 0.0005101 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_345-9_0_3_load_35 | 40 | 0.0019417 | 0.00048663 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_345-9_0_3_load_36 | 41 | 0.0017569 | 0.00044031 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_345-9_0_3_load_51 | 42 | 0.001569 | 0.00039324 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_345-9_0_3_load_37 | 43 | 0.0026289 | 0.00065886 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_345-9_0_3_load_38 | 44 | 0.0025916 | 0.00064951 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_345-9_0_3_load_40 | 45 | 0.0037076 | 0.0009292 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_345-9_0_3_load_42 | 46 | 0.0027179 | 0.00068118 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_345-9_0_3_load_43 | 47 | 0.0026649 | 0.00066788 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_345-9_0_3_load_44 | 48 | 0.00291 | 0.00072932 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_345-9_0_3_load_45 | 49 | 0.0024541 | 0.00061505 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_345-9_0_3_load_57 | 51 | 0.0023078 | 0.00057838 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_345-9_0_3_load_56 | 52 | 0.0033692 | 0.0008444 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_345-9_0_3_load_60 | 53 | 0.0031764 | 0.00079608 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_345-9_0_3_load_59 | 56 | 0.0049022 | 0.0012286 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_345-9_0_3_load_48 | 58 | 0.0035845 | 0.00089835 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_345-9_0_3_load_50 | 59 | 0.0038063 | 0.00095395 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_345-9_0_3_load_53 | 60 | 0.0068865 | 0.0017259 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_345-9_0_3_load_54 | 61 | 0.0061127 | 0.001532 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_345-9_0_3_load_61 | 62 | 0.0015629 | 0.00039169 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_345-9_0_3_load_88 | 63 | 0.0020904 | 0.00052391 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_345-9_0_3_load_62 | 64 | 0.0025046 | 0.00062771 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_345-9_0_3_load_64 | 66 | 0.0014408 | 0.0003611 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_345-9_0_3_load_66 | 67 | 0.001071 | 0.00026841 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_345-9_0_3_load_65 | 68 | 0.001496 | 0.00037493 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_345-9_0_3_load_67 | 70 | 0.0033414 | 0.00083744 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_345-9_0_3_load_80 | 71 | 0.0011841 | 0.00029677 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_345-9_0_3_load_68 | 73 | 0.0016895 | 0.00042343 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_345-9_0_3_load_69 | 74 | 0.0066528 | 0.0016674 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_345-9_0_3_load_70 | 75 | 0.0011989 | 0.00030048 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_345-9_0_3_load_71 | 76 | 0.0017828 | 0.00044681 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_345-9_0_3_load_72 | 77 | 0.0024745 | 0.00062016 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_345-9_0_3_load_79 | 79 | 0.0030455 | 0.00076328 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_345-9_0_3_load_76 | 80 | 0.0018637 | 0.00046708 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_345-9_0_3_load_81 | 81 | 0.0014806 | 0.00037107 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_345-9_0_3_load_90 | 82 | 0.0012788 | 0.00032049 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_345-9_0_3_load_78 | 84 | 0.0013366 | 0.00033499 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_345-9_0_3_load_91 | 85 | 0.0011507 | 0.0002884 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_345-9_0_3_load_82 | 86 | 0.0014473 | 0.00036274 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_345-9_0_3_load_83 | 87 | 0.0026535 | 0.00066504 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_345-9_0_3_load_84 | 88 | 0.0018083 | 0.00045319 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_345-9_0_3_load_85 | 89 | 0.0023171 | 0.00058073 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_345-9_0_3_load_86 | 90 | 0.0026572 | 0.00066595 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_345-9_0_3_load_87 | 91 | 0.002745 | 0.00068795 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_345-9_0_3_load_92 | 92 | 0.0011135 | 0.00027906 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_345-9_0_3_load_93 | 93 | 0.0017176 | 0.00043046 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_345-9_0_3_load_94 | 94 | 0.0025609 | 0.00064183 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_345-9_0_3_load_95 | 95 | 0.0030297 | 0.00075933 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_345-9_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.015493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_345-9_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.050491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_345-9_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.056108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_345-9_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.018509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_345-9_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.024282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_345-9_0_3_line_5 | NAYY 4x150 SE | 3 | 12 | 0.043909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_345-9_0_3_line_6 | NAYY 4x150 SE | 4 | 13 | 0.045797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_345-9_0_3_line_7 | NAYY 4x150 SE | 5 | 9 | 0.025082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_345-9_0_3_line_8 | NAYY 4x150 SE | 6 | 7 | 0.0098496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_345-9_0_3_line_9 | NAYY 4x150 SE | 6 | 8 | 0.044342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_345-9_0_3_line_10 | NAYY 4x150 SE | 7 | 9 | 0.019952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_345-9_0_3_line_11 | NAYY 4x150 SE | 8 | 10 | 0.017527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_345-9_0_3_line_12 | NAYY 4x150 SE | 10 | 11 | 0.058639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_345-9_0_3_line_13 | NAYY 4x150 SE | 12 | 17 | 0.014958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_345-9_0_3_line_14 | NAYY 4x150 SE | 12 | 18 | 0.020744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_345-9_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.020555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_345-9_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.015412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_345-9_0_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.0049058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_345-9_0_3_line_18 | NAYY 4x150 SE | 16 | 45 | 0.011412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_345-9_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.034406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_345-9_0_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.023428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_345-9_0_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.00018301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_345-9_0_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.015036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_345-9_0_3_line_23 | NAYY 4x150 SE | 21 | 23 | 0.013132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_345-9_0_3_line_24 | NAYY 4x150 SE | 22 | 28 | 0.02667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_345-9_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.011255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_345-9_0_3_line_26 | NAYY 4x150 SE | 24 | 39 | 0.016542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_345-9_0_3_line_27 | NAYY 4x150 SE | 24 | 40 | 0.03558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_345-9_0_3_line_28 | NAYY 4x150 SE | 24 | 37 | 0.021367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_345-9_0_3_line_29 | NAYY 4x150 SE | 25 | 26 | 0.03539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_345-9_0_3_line_30 | NAYY 4x150 SE | 26 | 27 | 0.015659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_345-9_0_3_line_31 | NAYY 4x150 SE | 26 | 28 | 0.023006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_345-9_0_3_line_32 | NAYY 4x150 SE | 27 | 29 | 0.033861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_345-9_0_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.01692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_345-9_0_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.011695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_345-9_0_3_line_35 | NAYY 4x150 SE | 31 | 33 | 0.0011372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_345-9_0_3_line_36 | NAYY 4x150 SE | 32 | 34 | 0.012626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_345-9_0_3_line_37 | NAYY 4x150 SE | 33 | 35 | 0.017502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_345-9_0_3_line_38 | NAYY 4x150 SE | 34 | 38 | 0.019453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_345-9_0_3_line_39 | NAYY 4x150 SE | 35 | 36 | 0.017622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_345-9_0_3_line_40 | NAYY 4x150 SE | 36 | 37 | 0.0045924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_345-9_0_3_line_41 | NAYY 4x150 SE | 38 | 58 | 0.0010689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_345-9_0_3_line_42 | NAYY 4x150 SE | 39 | 41 | 0.036655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_345-9_0_3_line_43 | NAYY 4x150 SE | 40 | 42 | 0.0014174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_345-9_0_3_line_44 | NAYY 4x150 SE | 41 | 43 | 0.0059535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_345-9_0_3_line_45 | NAYY 4x150 SE | 43 | 44 | 0.0102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_345-9_0_3_line_46 | NAYY 4x150 SE | 45 | 46 | 0.02526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_345-9_0_3_line_47 | NAYY 4x150 SE | 46 | 47 | 0.01215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_345-9_0_3_line_48 | NAYY 4x150 SE | 47 | 48 | 0.038668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_345-9_0_3_line_49 | NAYY 4x150 SE | 48 | 49 | 0.051986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_345-9_0_3_line_50 | NAYY 4x150 SE | 49 | 50 | 0.0079097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_345-9_0_3_line_51 | NAYY 4x150 SE | 50 | 51 | 0.025053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_345-9_0_3_line_52 | NAYY 4x150 SE | 50 | 52 | 0.017605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_345-9_0_3_line_53 | NAYY 4x150 SE | 51 | 53 | 0.020844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_345-9_0_3_line_54 | NAYY 4x150 SE | 52 | 57 | 0.0074015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_345-9_0_3_line_55 | NAYY 4x150 SE | 53 | 62 | 0.023001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_345-9_0_3_line_56 | NAYY 4x150 SE | 54 | 55 | 0.008763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_345-9_0_3_line_57 | NAYY 4x150 SE | 54 | 56 | 0.023509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_345-9_0_3_line_58 | NAYY 4x150 SE | 55 | 63 | 0.023071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_345-9_0_3_line_59 | NAYY 4x150 SE | 56 | 57 | 0.010808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_345-9_0_3_line_60 | NAYY 4x150 SE | 57 | 61 | 0.015181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_345-9_0_3_line_61 | NAYY 4x150 SE | 58 | 59 | 0.011204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_345-9_0_3_line_62 | NAYY 4x150 SE | 60 | 61 | 0.023782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_345-9_0_3_line_63 | NAYY 4x150 SE | 62 | 64 | 0.019439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_345-9_0_3_line_64 | NAYY 4x150 SE | 63 | 91 | 0.0019342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_345-9_0_3_line_65 | NAYY 4x150 SE | 64 | 65 | 0.0089276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_345-9_0_3_line_66 | NAYY 4x150 SE | 65 | 66 | 0.010982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_345-9_0_3_line_67 | NAYY 4x150 SE | 66 | 67 | 0.0055332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_345-9_0_3_line_68 | NAYY 4x150 SE | 67 | 70 | 0.010797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_345-9_0_3_line_69 | NAYY 4x150 SE | 68 | 69 | 0.013193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_345-9_0_3_line_70 | NAYY 4x150 SE | 69 | 71 | 0.010436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_345-9_0_3_line_71 | NAYY 4x150 SE | 69 | 72 | 0.008537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_345-9_0_3_line_72 | NAYY 4x150 SE | 70 | 73 | 0.0095547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_345-9_0_3_line_73 | NAYY 4x150 SE | 71 | 81 | 0.020715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_345-9_0_3_line_74 | NAYY 4x150 SE | 72 | 78 | 0.035128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_345-9_0_3_line_75 | NAYY 4x150 SE | 72 | 76 | 0.022183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_345-9_0_3_line_76 | NAYY 4x150 SE | 73 | 74 | 0.0080767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_345-9_0_3_line_77 | NAYY 4x150 SE | 75 | 76 | 0.0069282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_345-9_0_3_line_78 | NAYY 4x150 SE | 75 | 77 | 0.0066592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_345-9_0_3_line_79 | NAYY 4x150 SE | 78 | 79 | 0.011319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_345-9_0_3_line_80 | NAYY 4x150 SE | 78 | 80 | 0.0121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_345-9_0_3_line_81 | NAYY 4x150 SE | 79 | 82 | 0.017567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_345-9_0_3_line_82 | NAYY 4x150 SE | 80 | 83 | 0.028275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_345-9_0_3_line_83 | NAYY 4x150 SE | 81 | 86 | 0.0039883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_345-9_0_3_line_84 | NAYY 4x150 SE | 82 | 85 | 0.0048661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_345-9_0_3_line_85 | NAYY 4x150 SE | 83 | 84 | 0.033532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_345-9_0_3_line_86 | NAYY 4x150 SE | 85 | 92 | 0.013555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_345-9_0_3_line_87 | NAYY 4x150 SE | 86 | 87 | 0.013479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_345-9_0_3_line_88 | NAYY 4x150 SE | 87 | 88 | 0.016168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_345-9_0_3_line_89 | NAYY 4x150 SE | 88 | 89 | 0.0008066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_345-9_0_3_line_90 | NAYY 4x150 SE | 89 | 90 | 0.019679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_345-9_0_3_line_91 | NAYY 4x150 SE | 90 | 91 | 0.0091371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_345-9_0_3_line_92 | NAYY 4x150 SE | 92 | 93 | 0.01031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_345-9_0_3_line_93 | NAYY 4x150 SE | 93 | 94 | 0.020014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_345-9_0_3_line_94 | NAYY 4x150 SE | 94 | 95 | 0.0088404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_345-9_0_3_trafo_45 | 0.25 MVA 20/0.4 kV | 96 | 49 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2628673.9331 | 1234542.3405 | 2628685.8133 | 1234552.2855
1 | 2628694.4096 | 1234496.1885 | 2628673.9331 | 1234542.3405
2 | 2628694.4096 | 1234496.1885 | 2628744.5744 | 1234510.4949 | 2628748.5177 | 1234510.4673
3 | 2628694.4096 | 1234496.1885 | 2628696.0438 | 1234477.752
4 | 2628694.4096 | 1234496.1885 | 2628671.1772 | 1234489.1274
5 | 2628792.4257 | 1234510.1593 | 2628748.5177 | 1234510.4673
6 | 2628702.2368 | 1234433.2588 | 2628698.3851 | 1234439.3059 | 2628696.6755 | 1234448.5145 | 2628696.5788 | 1234471.7172 | 2628696.0438 | 1234477.752
7 | 2628647.1789 | 1234481.8336 | 2628671.1772 | 1234489.1274
8 | 2628618.6652 | 1234473.1673 | 2628628.0892 | 1234476.0315
9 | 2628577.0273 | 1234457.9892 | 2628607.3219 | 1234469.7197 | 2628618.6652 | 1234473.1673
10 | 2628628.0892 | 1234476.0315 | 2628647.1789 | 1234481.8336
11 | 2628577.0273 | 1234457.9892 | 2628578.908 | 1234449.3484 | 2628576.5185 | 1234440.9985
12 | 2628576.5185 | 1234440.9985 | 2628582.3673 | 1234436.6906 | 2628599.032 | 1234438.6496 | 2628603.9096 | 1234437.9726 | 2628608.6804 | 1234408.6878
13 | 2628792.4257 | 1234510.1593 | 2628792.9803 | 1234506.6042 | 2628796.263 | 1234495.7284
14 | 2628792.4257 | 1234510.1593 | 2628813.1684 | 1234509.8921
15 | 2628702.2368 | 1234433.2588 | 2628703.8 | 1234430.8046 | 2628714.9563 | 1234417.1343
16 | 2628714.9563 | 1234417.1343 | 2628724.7007 | 1234405.1941
17 | 2628727.8024 | 1234401.3933 | 2628724.7007 | 1234405.1941
18 | 2628727.8024 | 1234401.3933 | 2628732.1695 | 1234396.0422 | 2628735.1252 | 1234392.6422
19 | 2628796.263 | 1234495.7284 | 2628805.8878 | 1234463.8403 | 2628806.1258 | 1234462.7699
20 | 2628836.594 | 1234509.5903 | 2628813.1684 | 1234509.8921
21 | 2628806.1655 | 1234462.5912 | 2628806.1258 | 1234462.7699
22 | 2628851.5694 | 1234510.3596 | 2628845.1076 | 1234509.4806 | 2628836.594 | 1234509.5903
23 | 2628806.1655 | 1234462.5912 | 2628809.0158 | 1234449.7719
24 | 2628877.9962 | 1234513.9544 | 2628851.5694 | 1234510.3596
25 | 2628811.4587 | 1234438.7851 | 2628809.0158 | 1234449.7719
26 | 2628811.4587 | 1234438.7851 | 2628808.1475 | 1234434.8333 | 2628796.7802 | 1234434.1693
27 | 2628811.4587 | 1234438.7851 | 2628815.0055 | 1234403.3824
28 | 2628811.4587 | 1234438.7851 | 2628832.8221 | 1234439.1827
29 | 2628900.792 | 1234517.0554 | 2628929.3568 | 1234523.2202 | 2628935.2943 | 1234524.8882
30 | 2628900.792 | 1234517.0554 | 2628902.8174 | 1234506.77 | 2628902.9037 | 1234501.5943
31 | 2628900.792 | 1234517.0554 | 2628877.9962 | 1234513.9544
32 | 2628902.9037 | 1234501.5943 | 2628903.468 | 1234467.7381
33 | 2628873.669 | 1234439.9428 | 2628890.5894 | 1234439.9084
34 | 2628873.669 | 1234439.9428 | 2628874.5358 | 1234428.28
35 | 2628873.669 | 1234439.9428 | 2628872.532 | 1234439.9217
36 | 2628875.4716 | 1234415.6889 | 2628874.5358 | 1234428.28
37 | 2628872.532 | 1234439.9217 | 2628855.0331 | 1234439.596
38 | 2628876.9135 | 1234396.2896 | 2628875.4716 | 1234415.6889
39 | 2628855.0331 | 1234439.596 | 2628837.4137 | 1234439.2681
40 | 2628837.4137 | 1234439.2681 | 2628832.8221 | 1234439.1827
41 | 2628876.9135 | 1234396.2896 | 2628876.9927 | 1234395.2236
42 | 2628796.7802 | 1234434.1693 | 2628760.1879 | 1234432.0316
43 | 2628815.1468 | 1234401.9721 | 2628815.0055 | 1234403.3824
44 | 2628760.242 | 1234426.2525 | 2628760.008 | 1234432.0211 | 2628760.1879 | 1234432.0316
45 | 2628760.6552 | 1234416.0612 | 2628760.242 | 1234426.2525
46 | 2628735.1252 | 1234392.6422 | 2628744.3931 | 1234381.9814 | 2628753.5234 | 1234375.6104
47 | 2628753.5234 | 1234375.6104 | 2628757.4633 | 1234372.8612 | 2628764.4976 | 1234370.7465
48 | 2628764.4976 | 1234370.7465 | 2628792.369 | 1234362.3679 | 2628801.4922 | 1234359.4962
49 | 2628801.4922 | 1234359.4962 | 2628825.6247 | 1234351.9001 | 2628831.3828 | 1234349.1597 | 2628835.228 | 1234345.9986 | 2628838.2432 | 1234342.322 | 2628841.5588 | 1234337.5574 | 2628843.7102 | 1234333.298
50 | 2628846.1119 | 1234325.7722 | 2628844.0349 | 1234332.6552 | 2628843.7102 | 1234333.298
51 | 2628846.1119 | 1234325.7722 | 2628871.131 | 1234327.0714
52 | 2628846.1119 | 1234325.7722 | 2628841.0371 | 1234324.9471 | 2628828.7319 | 1234322.964
53 | 2628871.131 | 1234327.0714 | 2628891.9469 | 1234328.1524
54 | 2628822.2763 | 1234319.6863 | 2628824.236 | 1234321.3857 | 2628825.9421 | 1234322.3168 | 2628828.7319 | 1234322.964
55 | 2628891.9469 | 1234328.1524 | 2628902.5548 | 1234328.7033 | 2628914.9186 | 1234329.314
56 | 2628829.7632 | 1234277.2742 | 2628828.6312 | 1234285.9629
57 | 2628828.6312 | 1234285.9629 | 2628824.2777 | 1234309.0654
58 | 2628829.7632 | 1234277.2742 | 2628840.0501 | 1234278.7249 | 2628852.6732 | 1234279.945
59 | 2628822.2763 | 1234319.6863 | 2628824.2777 | 1234309.0654
60 | 2628822.2763 | 1234319.6863 | 2628807.236 | 1234321.7492
61 | 2628877.8231 | 1234384.0507 | 2628876.9927 | 1234395.2236
62 | 2628783.6747 | 1234324.9807 | 2628807.236 | 1234321.7492
63 | 2628914.9186 | 1234329.314 | 2628934.3343 | 1234330.273
64 | 2628854.5985 | 1234280.131 | 2628852.6732 | 1234279.945
65 | 2628943.251 | 1234330.7134 | 2628934.3343 | 1234330.273
66 | 2628943.251 | 1234330.7134 | 2628954.2051 | 1234331.4921
67 | 2628954.2051 | 1234331.4921 | 2628959.7244 | 1234331.8844
68 | 2628970.4947 | 1234332.65 | 2628959.7244 | 1234331.8844
69 | 2628948.5696 | 1234289.2137 | 2628946.9004 | 1234302.3003
70 | 2628948.5696 | 1234289.2137 | 2628938.1819 | 1234288.2097
71 | 2628951.7569 | 1234281.2909 | 2628948.5696 | 1234289.2137
72 | 2628980.0254 | 1234333.3275 | 2628970.4947 | 1234332.65
73 | 2628917.5628 | 1234286.2168 | 2628938.1819 | 1234288.2097
74 | 2628951.7569 | 1234281.2909 | 2628953.8114 | 1234275.9421 | 2628964.345 | 1234248.4875
75 | 2628951.7569 | 1234281.2909 | 2628973.8962 | 1234282.6881
76 | 2628988.0818 | 1234333.9002 | 2628980.0254 | 1234333.3275
77 | 2628980.8107 | 1234283.1244 | 2628973.8962 | 1234282.6881
78 | 2628987.4567 | 1234283.5438 | 2628980.8107 | 1234283.1244
79 | 2628964.345 | 1234248.4875 | 2628953.1388 | 1234246.8915
80 | 2628964.345 | 1234248.4875 | 2628968.7339 | 1234237.2118
81 | 2628935.7471 | 1234244.4146 | 2628953.1388 | 1234246.8915
82 | 2628978.4261 | 1234210.6549 | 2628976.3748 | 1234216.8821 | 2628968.8673 | 1234236.869 | 2628968.7339 | 1234237.2118
83 | 2628917.5628 | 1234286.2168 | 2628913.593 | 1234285.8331
84 | 2628935.7471 | 1234244.4146 | 2628930.9296 | 1234243.7285
85 | 2628978.4261 | 1234210.6549 | 2628962.0664 | 1234206.5617 | 2628946.0929 | 1234201.7993
86 | 2628930.9296 | 1234243.7285 | 2628917.5098 | 1234241.8173
87 | 2628900.1762 | 1234284.5363 | 2628913.593 | 1234285.8331
88 | 2628900.1762 | 1234284.5363 | 2628884.0836 | 1234282.9809
89 | 2628883.2808 | 1234282.9033 | 2628884.0836 | 1234282.9809
90 | 2628863.6932 | 1234281.0101 | 2628883.2808 | 1234282.9033
91 | 2628863.6932 | 1234281.0101 | 2628854.5985 | 1234280.131
92 | 2628907.3027 | 1234240.3636 | 2628917.5098 | 1234241.8173
93 | 2628907.3027 | 1234240.3636 | 2628887.4883 | 1234237.5417
94 | 2628887.4883 | 1234237.5417 | 2628878.7363 | 1234236.2953

## bus_geodata
| x | y | coords
0 | 2628685.8133 | 1234552.2855
1 | 2628673.9331 | 1234542.3405
2 | 2628694.4096 | 1234496.1885
3 | 2628748.5177 | 1234510.4673
4 | 2628696.0438 | 1234477.752
5 | 2628671.1772 | 1234489.1274
6 | 2628618.6652 | 1234473.1673
7 | 2628628.0892 | 1234476.0316
8 | 2628577.0273 | 1234457.9892
9 | 2628647.1789 | 1234481.8336
10 | 2628576.5185 | 1234440.9985
11 | 2628608.6804 | 1234408.6878
12 | 2628792.4257 | 1234510.1593
13 | 2628702.2368 | 1234433.2588
14 | 2628714.9563 | 1234417.1343
15 | 2628724.7007 | 1234405.1941
16 | 2628727.8024 | 1234401.3933
17 | 2628796.263 | 1234495.7284
18 | 2628813.1684 | 1234509.8921
19 | 2628806.1258 | 1234462.7699
20 | 2628836.594 | 1234509.5903
21 | 2628806.1655 | 1234462.5912
22 | 2628851.5694 | 1234510.3596
23 | 2628809.0158 | 1234449.7719
24 | 2628811.4587 | 1234438.7851
25 | 2628935.2943 | 1234524.8882
26 | 2628900.792 | 1234517.0554
27 | 2628902.9037 | 1234501.5943
28 | 2628877.9962 | 1234513.9544
29 | 2628903.468 | 1234467.7381
30 | 2628890.5894 | 1234439.9084
31 | 2628873.669 | 1234439.9428
32 | 2628874.5358 | 1234428.28
33 | 2628872.532 | 1234439.9217
34 | 2628875.4716 | 1234415.6889
35 | 2628855.0331 | 1234439.596
36 | 2628837.4137 | 1234439.2681
37 | 2628832.8221 | 1234439.1827
38 | 2628876.9135 | 1234396.2896
39 | 2628796.7802 | 1234434.1693
40 | 2628815.0055 | 1234403.3824
41 | 2628760.1879 | 1234432.0316
42 | 2628815.1468 | 1234401.9721
43 | 2628760.242 | 1234426.2525
44 | 2628760.6552 | 1234416.0612
45 | 2628735.1252 | 1234392.6422
46 | 2628753.5234 | 1234375.6104
47 | 2628764.4976 | 1234370.7465
48 | 2628801.4922 | 1234359.4962
49 | 2628843.7102 | 1234333.298
50 | 2628846.1119 | 1234325.7722
51 | 2628871.131 | 1234327.0714
52 | 2628828.7319 | 1234322.964
53 | 2628891.9469 | 1234328.1524
54 | 2628828.6312 | 1234285.9629
55 | 2628829.7632 | 1234277.2742
56 | 2628824.2777 | 1234309.0654
57 | 2628822.2763 | 1234319.6863
58 | 2628876.9927 | 1234395.2236
59 | 2628877.8231 | 1234384.0507
60 | 2628783.6747 | 1234324.9807
61 | 2628807.236 | 1234321.7492
62 | 2628914.9186 | 1234329.314
63 | 2628852.6732 | 1234279.945
64 | 2628934.3343 | 1234330.273
65 | 2628943.251 | 1234330.7134
66 | 2628954.2051 | 1234331.4921
67 | 2628959.7244 | 1234331.8844
68 | 2628946.9004 | 1234302.3003
69 | 2628948.5696 | 1234289.2137
70 | 2628970.4947 | 1234332.65
71 | 2628938.1819 | 1234288.2097
72 | 2628951.7569 | 1234281.2909
73 | 2628980.0254 | 1234333.3275
74 | 2628988.0818 | 1234333.9002
75 | 2628980.8107 | 1234283.1244
76 | 2628973.8962 | 1234282.6881
77 | 2628987.4567 | 1234283.5438
78 | 2628964.345 | 1234248.4875
79 | 2628953.1388 | 1234246.8915
80 | 2628968.7339 | 1234237.2118
81 | 2628917.5628 | 1234286.2168
82 | 2628935.7471 | 1234244.4147
83 | 2628978.4261 | 1234210.6549
84 | 2628946.0929 | 1234201.7993
85 | 2628930.9296 | 1234243.7285
86 | 2628913.593 | 1234285.8331
87 | 2628900.1762 | 1234284.5363
88 | 2628884.0836 | 1234282.9809
89 | 2628883.2808 | 1234282.9033
90 | 2628863.6932 | 1234281.0101
91 | 2628854.5985 | 1234280.131
92 | 2628917.5098 | 1234241.8173
93 | 2628907.3027 | 1234240.3636
94 | 2628887.4883 | 1234237.5417
95 | 2628878.7363 | 1234236.2953
96 | 2628846.1119 | 1234325.7722

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1