## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_383-17_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_383-17_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_383-17_0_3_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_383-17_0_3_node_18 | 0.4 | n |  | TRUE
4 | bus_LV_383-17_0_3_node_82 | 0.4 | n |  | TRUE
5 | bus_LV_383-17_0_3_node_83 | 0.4 | n |  | TRUE
6 | bus_LV_383-17_0_3_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_383-17_0_3_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_383-17_0_3_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_383-17_0_3_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_383-17_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_383-17_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_383-17_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_383-17_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_383-17_0_3_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_383-17_0_3_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_383-17_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_383-17_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_383-17_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_383-17_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_383-17_0_3_node_81 | 0.4 | n |  | TRUE
21 | bus_LV_383-17_0_3_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_383-17_0_3_node_71 | 0.4 | n |  | TRUE
23 | bus_LV_383-17_0_3_node_72 | 0.4 | n |  | TRUE
24 | bus_LV_383-17_0_3_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_383-17_0_3_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_383-17_0_3_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_383-17_0_3_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_383-17_0_3_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_383-17_0_3_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_383-17_0_3_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_383-17_0_3_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_383-17_0_3_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_383-17_0_3_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_383-17_0_3_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_383-17_0_3_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_383-17_0_3_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_383-17_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_383-17_0_3_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_383-17_0_3_node_104 | 0.4 | n |  | TRUE
40 | bus_LV_383-17_0_3_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_383-17_0_3_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_383-17_0_3_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_383-17_0_3_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_383-17_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_383-17_0_3_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_383-17_0_3_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_383-17_0_3_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_383-17_0_3_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_383-17_0_3_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_383-17_0_3_node_59 | 0.4 | n |  | TRUE
51 | bus_LV_383-17_0_3_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_383-17_0_3_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_383-17_0_3_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_383-17_0_3_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_383-17_0_3_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_383-17_0_3_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_383-17_0_3_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_383-17_0_3_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_383-17_0_3_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_383-17_0_3_node_98 | 0.4 | n |  | TRUE
61 | bus_LV_383-17_0_3_node_96 | 0.4 | n |  | TRUE
62 | bus_LV_383-17_0_3_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_383-17_0_3_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_383-17_0_3_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_383-17_0_3_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_383-17_0_3_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_383-17_0_3_node_97 | 0.4 | n |  | TRUE
68 | bus_LV_383-17_0_3_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_383-17_0_3_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_383-17_0_3_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_383-17_0_3_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_383-17_0_3_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_383-17_0_3_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_383-17_0_3_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_383-17_0_3_node_89 | 0.4 | n |  | TRUE
76 | bus_LV_383-17_0_3_node_90 | 0.4 | n |  | TRUE
77 | bus_LV_383-17_0_3_node_91 | 0.4 | n |  | TRUE
78 | bus_LV_383-17_0_3_node_88 | 0.4 | n |  | TRUE
79 | bus_LV_383-17_0_3_node_87 | 0.4 | n |  | TRUE
80 | bus_LV_383-17_0_3_node_84 | 0.4 | n |  | TRUE
81 | bus_LV_383-17_0_3_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_383-17_0_3_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_383-17_0_3_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_383-17_0_3_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_383-17_0_3_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_383-17_0_3_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_383-17_0_3_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_383-17_0_3_node_79 | 0.4 | n |  | TRUE
89 | bus_LV_383-17_0_3_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_383-17_0_3_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_383-17_0_3_node_94 | 0.4 | n |  | TRUE
92 | bus_LV_383-17_0_3_node_95 | 0.4 | n |  | TRUE
93 | bus_LV_383-17_0_3_node_103 | 0.4 | n |  | TRUE
94 | bus_LV_383-17_0_3_node_102 | 0.4 | n |  | TRUE
95 | bus_LV_383-17_0_3_node_92 | 0.4 | n |  | TRUE
96 | bus_LV_383-17_0_3_node_93 | 0.4 | n |  | TRUE
97 | bus_LV_383-17_0_3_node_100 | 0.4 | n |  | TRUE
98 | bus_LV_383-17_0_3_node_99 | 0.4 | n |  | TRUE
99 | bus_LV_383-17_0_3_node_101 | 0.4 | n |  | TRUE
100 | bus_MV_385_0_node_126 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_383-17_0_3_load_0 | 0 | 0.0014202 | 0.00035592 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_383-17_0_3_load_5 | 2 | 0.00216 | 0.00054134 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_383-17_0_3_load_82 | 4 | 0.0015986 | 0.00040066 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_383-17_0_3_load_20 | 6 | 0.0023831 | 0.00059727 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_383-17_0_3_load_19 | 8 | 0.0028655 | 0.00071816 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_383-17_0_3_load_16 | 9 | 0.0018532 | 0.00046446 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_383-17_0_3_load_6 | 10 | 0.0012816 | 0.0003212 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_383-17_0_3_load_7 | 11 | 0.0017002 | 0.00042611 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_383-17_0_3_load_15 | 14 | 0.0014546 | 0.00036456 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_383-17_0_3_load_17 | 15 | 0.0031569 | 0.00079118 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_383-17_0_3_load_13 | 16 | 0.002945 | 0.00073808 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_383-17_0_3_load_11 | 17 | 0.0028972 | 0.00072612 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_383-17_0_3_load_12 | 18 | 0.0014765 | 0.00037005 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_383-17_0_3_load_14 | 19 | 0.0028681 | 0.00071882 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_383-17_0_3_load_81 | 20 | 0.0012482 | 0.00031282 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_383-17_0_3_load_26 | 21 | 0.0026918 | 0.00067462 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_383-17_0_3_load_71 | 22 | 0.0020254 | 0.00050761 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_383-17_0_3_load_21 | 24 | 0.0031634 | 0.00079282 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_383-17_0_3_load_22 | 25 | 0.0018616 | 0.00046655 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_383-17_0_3_load_23 | 26 | 0.0029218 | 0.00073227 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_383-17_0_3_load_24 | 27 | 0.0016627 | 0.0004167 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_383-17_0_3_load_27 | 29 | 0.0013117 | 0.00032874 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_383-17_0_3_load_43 | 30 | 0.0015665 | 0.00039259 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_383-17_0_3_load_28 | 32 | 0.0025423 | 0.00063716 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_383-17_0_3_load_30 | 34 | 0.0028367 | 0.00071094 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_383-17_0_3_load_31 | 38 | 0.0050522 | 0.0012662 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_383-17_0_3_load_104 | 39 | 0.0026724 | 0.00066978 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_383-17_0_3_load_34 | 41 | 0.0013232 | 0.00033163 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_383-17_0_3_load_35 | 42 | 0.0021455 | 0.00053772 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_383-17_0_3_load_36 | 43 | 0.00094933 | 0.00023793 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_383-17_0_3_load_39 | 44 | 0.0012508 | 0.00031348 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_383-17_0_3_load_38 | 45 | 0.0023773 | 0.0005958 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_383-17_0_3_load_40 | 46 | 0.0022145 | 0.000555 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_383-17_0_3_load_44 | 47 | 0.0029446 | 0.00073798 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_383-17_0_3_load_45 | 48 | 0.0024959 | 0.00062554 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_383-17_0_3_load_47 | 49 | 0.0026094 | 0.00065398 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_383-17_0_3_load_60 | 51 | 0.0058369 | 0.0014629 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_383-17_0_3_load_58 | 52 | 0.0074201 | 0.0018596 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_383-17_0_3_load_48 | 53 | 0.0065258 | 0.0016355 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_383-17_0_3_load_49 | 54 | 0.0057599 | 0.0014436 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_383-17_0_3_load_52 | 57 | 0.0031074 | 0.00077878 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_383-17_0_3_load_57 | 59 | 0.0021671 | 0.00054312 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_383-17_0_3_load_98 | 60 | 0.0061662 | 0.0015454 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_383-17_0_3_load_96 | 61 | 0.0018489 | 0.00046337 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_383-17_0_3_load_53 | 62 | 0.0035211 | 0.00088247 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_383-17_0_3_load_55 | 64 | 0.0015743 | 0.00039455 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_383-17_0_3_load_66 | 65 | 0.0026836 | 0.00067256 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_383-17_0_3_load_65 | 66 | 0.0039237 | 0.00098336 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_383-17_0_3_load_97 | 67 | 0.0013538 | 0.00033929 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_383-17_0_3_load_61 | 68 | 0.0055471 | 0.0013902 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_383-17_0_3_load_62 | 69 | 0.0059672 | 0.0014955 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_383-17_0_3_load_63 | 70 | 0.012959 | 0.0032478 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_383-17_0_3_load_67 | 71 | 0.0027933 | 0.00070006 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_383-17_0_3_load_68 | 72 | 0.0019469 | 0.00048794 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_383-17_0_3_load_69 | 73 | 0.0012283 | 0.00030784 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_383-17_0_3_load_89 | 75 | 0.0013268 | 0.00033253 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_383-17_0_3_load_90 | 76 | 0.0020345 | 0.00050989 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_383-17_0_3_load_91 | 77 | 0.0017371 | 0.00043535 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_383-17_0_3_load_88 | 78 | 0.0047311 | 0.0011857 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_383-17_0_3_load_87 | 79 | 0.0023583 | 0.00059105 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_383-17_0_3_load_73 | 81 | 0.0020385 | 0.0005109 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_383-17_0_3_load_74 | 82 | 0.0019428 | 0.00048691 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_383-17_0_3_load_75 | 83 | 0.0017497 | 0.00043852 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_383-17_0_3_load_76 | 84 | 0.0021305 | 0.00053396 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_383-17_0_3_load_77 | 85 | 0.0023282 | 0.00058351 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_383-17_0_3_load_86 | 87 | 0.0022289 | 0.00055862 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_383-17_0_3_load_79 | 88 | 0.0021219 | 0.00053179 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_383-17_0_3_load_80 | 89 | 0.0033829 | 0.00084784 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_383-17_0_3_load_85 | 90 | 0.0021084 | 0.00052841 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_383-17_0_3_load_94 | 91 | 0.0020722 | 0.00051933 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_383-17_0_3_load_95 | 92 | 0.0049792 | 0.0012479 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_383-17_0_3_load_103 | 93 | 0.0028889 | 0.00072403 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_383-17_0_3_load_102 | 94 | 0.003006 | 0.00075337 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_383-17_0_3_load_92 | 95 | 0.0017788 | 0.0004458 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_383-17_0_3_load_93 | 96 | 0.002162 | 0.00054185 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_383-17_0_3_load_100 | 97 | 0.001563 | 0.00039173 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_383-17_0_3_load_99 | 98 | 0.0036886 | 0.00092446 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 75 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_383-17_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.020875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_383-17_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.036577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_383-17_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.014832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_383-17_0_3_line_3 | NAYY 4x150 SE | 3 | 8 | 0.016606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_383-17_0_3_line_4 | NAYY 4x150 SE | 3 | 9 | 0.018327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_383-17_0_3_line_5 | NAYY 4x150 SE | 4 | 5 | 0.031526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_383-17_0_3_line_6 | NAYY 4x150 SE | 5 | 80 | 0.043236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_383-17_0_3_line_7 | NAYY 4x150 SE | 5 | 23 | 0.011958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_383-17_0_3_line_8 | NAYY 4x150 SE | 6 | 7 | 0.0035279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_383-17_0_3_line_9 | NAYY 4x150 SE | 7 | 11 | 0.0093361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_383-17_0_3_line_10 | NAYY 4x150 SE | 8 | 22 | 0.023338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_383-17_0_3_line_11 | NAYY 4x150 SE | 9 | 15 | 0.00084452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_383-17_0_3_line_12 | NAYY 4x150 SE | 10 | 11 | 0.00036445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_383-17_0_3_line_13 | NAYY 4x150 SE | 10 | 12 | 0.013198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_383-17_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.007749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_383-17_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.015419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_383-17_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.020607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_383-17_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.0063749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_383-17_0_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.020218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_383-17_0_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.00030274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_383-17_0_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.0039662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_383-17_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.024353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_383-17_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.00012331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_383-17_0_3_line_23 | NAYY 4x150 SE | 21 | 28 | 0.0088498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_383-17_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.0094129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_383-17_0_3_line_25 | NAYY 4x150 SE | 23 | 78 | 0.02573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_383-17_0_3_line_26 | NAYY 4x150 SE | 24 | 25 | 0.0012508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_383-17_0_3_line_27 | NAYY 4x150 SE | 24 | 26 | 0.011706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_383-17_0_3_line_28 | NAYY 4x150 SE | 25 | 27 | 0.022576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_383-17_0_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.020932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_383-17_0_3_line_30 | NAYY 4x150 SE | 28 | 29 | 0.013355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_383-17_0_3_line_31 | NAYY 4x150 SE | 29 | 30 | 0.0016584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_383-17_0_3_line_32 | NAYY 4x150 SE | 30 | 31 | 0.01074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_383-17_0_3_line_33 | NAYY 4x150 SE | 31 | 44 | 0.020473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_383-17_0_3_line_34 | NAYY 4x150 SE | 31 | 40 | 0.026217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_383-17_0_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.01582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_383-17_0_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.011231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_383-17_0_3_line_37 | NAYY 4x150 SE | 34 | 35 | 0.021604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_383-17_0_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.041718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_383-17_0_3_line_39 | NAYY 4x150 SE | 35 | 37 | 0.044388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_383-17_0_3_line_40 | NAYY 4x150 SE | 36 | 39 | 0.025114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_383-17_0_3_line_41 | NAYY 4x150 SE | 36 | 40 | 0.013292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_383-17_0_3_line_42 | NAYY 4x150 SE | 37 | 38 | 0.035842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_383-17_0_3_line_43 | NAYY 4x150 SE | 40 | 43 | 0.0076802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_383-17_0_3_line_44 | NAYY 4x150 SE | 41 | 42 | 0.016699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_383-17_0_3_line_45 | NAYY 4x150 SE | 41 | 43 | 0.0098003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_383-17_0_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.019258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_383-17_0_3_line_47 | NAYY 4x150 SE | 45 | 46 | 0.01498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_383-17_0_3_line_48 | NAYY 4x150 SE | 47 | 48 | 0.0057116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_383-17_0_3_line_49 | NAYY 4x150 SE | 48 | 49 | 0.052269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_383-17_0_3_line_50 | NAYY 4x150 SE | 49 | 50 | 0.023346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_383-17_0_3_line_51 | NAYY 4x150 SE | 50 | 51 | 0.020158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_383-17_0_3_line_52 | NAYY 4x150 SE | 50 | 52 | 0.018417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_383-17_0_3_line_53 | NAYY 4x150 SE | 51 | 68 | 0.00027533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_383-17_0_3_line_54 | NAYY 4x150 SE | 52 | 59 | 0.0014813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_383-17_0_3_line_55 | NAYY 4x150 SE | 53 | 54 | 0.024314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_383-17_0_3_line_56 | NAYY 4x150 SE | 53 | 55 | 0.054859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_383-17_0_3_line_57 | NAYY 4x150 SE | 54 | 56 | 0.07119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_383-17_0_3_line_58 | NAYY 4x150 SE | 55 | 57 | 0.048219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_383-17_0_3_line_59 | NAYY 4x150 SE | 56 | 58 | 0.006585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_383-17_0_3_line_60 | NAYY 4x150 SE | 57 | 59 | 0.020067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_383-17_0_3_line_61 | NAYY 4x150 SE | 58 | 60 | 0.025812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_383-17_0_3_line_62 | NAYY 4x150 SE | 58 | 61 | 0.025265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_383-17_0_3_line_63 | NAYY 4x150 SE | 61 | 67 | 0.0036053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_383-17_0_3_line_64 | NAYY 4x150 SE | 62 | 63 | 0.039618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_383-17_0_3_line_65 | NAYY 4x150 SE | 63 | 64 | 0.012457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_383-17_0_3_line_66 | NAYY 4x150 SE | 64 | 65 | 0.0016593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_383-17_0_3_line_67 | NAYY 4x150 SE | 65 | 66 | 0.0022821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_383-17_0_3_line_68 | NAYY 4x150 SE | 66 | 71 | 0.012191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_383-17_0_3_line_69 | NAYY 4x150 SE | 67 | 76 | 0.013923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_383-17_0_3_line_70 | NAYY 4x150 SE | 68 | 69 | 0.00027863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_383-17_0_3_line_71 | NAYY 4x150 SE | 69 | 70 | 0.023151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_383-17_0_3_line_72 | NAYY 4x150 SE | 71 | 72 | 0.013138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_383-17_0_3_line_73 | NAYY 4x150 SE | 72 | 73 | 0.021655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_383-17_0_3_line_74 | NAYY 4x150 SE | 73 | 74 | 0.013441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_383-17_0_3_line_75 | NAYY 4x150 SE | 74 | 75 | 0.01089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_383-17_0_3_line_76 | NAYY 4x150 SE | 74 | 76 | 0.021015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_383-17_0_3_line_77 | NAYY 4x150 SE | 75 | 77 | 0.02978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
78 | LV_383-17_0_3_line_78 | NAYY 4x150 SE | 77 | 95 | 0.0048241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
79 | LV_383-17_0_3_line_79 | NAYY 4x150 SE | 78 | 79 | 0.018369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_383-17_0_3_line_80 | NAYY 4x150 SE | 79 | 90 | 0.013599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_383-17_0_3_line_81 | NAYY 4x150 SE | 80 | 93 | 0.038114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
82 | LV_383-17_0_3_line_82 | NAYY 4x150 SE | 81 | 82 | 0.0044743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_383-17_0_3_line_83 | NAYY 4x150 SE | 81 | 83 | 0.01793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_383-17_0_3_line_84 | NAYY 4x150 SE | 82 | 84 | 0.017097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_383-17_0_3_line_85 | NAYY 4x150 SE | 83 | 85 | 0.0052891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_383-17_0_3_line_86 | NAYY 4x150 SE | 84 | 86 | 0.016419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_383-17_0_3_line_87 | NAYY 4x150 SE | 85 | 87 | 0.016983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_383-17_0_3_line_88 | NAYY 4x150 SE | 86 | 88 | 0.0038416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_383-17_0_3_line_89 | NAYY 4x150 SE | 86 | 89 | 0.017746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_383-17_0_3_line_90 | NAYY 4x150 SE | 87 | 90 | 0.0082338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_383-17_0_3_line_91 | NAYY 4x150 SE | 88 | 91 | 0.018423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_383-17_0_3_line_92 | NAYY 4x150 SE | 91 | 92 | 0.029267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_383-17_0_3_line_93 | NAYY 4x150 SE | 93 | 94 | 0.022025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
94 | LV_383-17_0_3_line_94 | NAYY 4x150 SE | 94 | 99 | 0.012058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
95 | LV_383-17_0_3_line_95 | NAYY 4x150 SE | 95 | 96 | 0.016917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
96 | LV_383-17_0_3_line_96 | NAYY 4x150 SE | 96 | 97 | 0.0032625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
97 | LV_383-17_0_3_line_97 | NAYY 4x150 SE | 97 | 98 | 0.025428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
98 | LV_383-17_0_3_line_98 | NAYY 4x150 SE | 98 | 99 | 0.0073515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_383-17_0_3_trafo_89 | 0.25 MVA 20/0.4 kV | 100 | 75 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2595193.6093 | 1220519.7013 | 2595186.9631 | 1220528.4563 | 2595178.6428 | 1220533.7894
1 | 2595193.6093 | 1220519.7013 | 2595210.3052 | 1220536.0637 | 2595222.4449 | 1220541.2471
2 | 2595236.0852 | 1220547.0713 | 2595222.4449 | 1220541.2471
3 | 2595236.0852 | 1220547.0713 | 2595229.0361 | 1220562.1072
4 | 2595236.0852 | 1220547.0713 | 2595244.9715 | 1220531.0422
5 | 2595216.7319 | 1220602.3744 | 2595187.6738 | 1220590.1467
6 | 2595210.2043 | 1220644.6484 | 2595210.3268 | 1220636.6771 | 2595211.7076 | 1220618.3321 | 2595213.8008 | 1220608.2357 | 2595216.7319 | 1220602.3744
7 | 2595223.6654 | 1220592.6187 | 2595216.7319 | 1220602.3744
8 | 2595248.6792 | 1220501.0235 | 2595245.7684 | 1220499.0302
9 | 2595248.6792 | 1220501.0235 | 2595254.1556 | 1220499.7961 | 2595257.707 | 1220500.9161
10 | 2595229.0361 | 1220562.1072 | 2595221.5067 | 1220578.1677 | 2595221.0485 | 1220583.749
11 | 2595245.381 | 1220530.3036 | 2595244.9715 | 1220531.0422
12 | 2595257.707 | 1220500.9161 | 2595257.7221 | 1220501.2803
13 | 2595256.5192 | 1220514.3137 | 2595257.9855 | 1220507.6197 | 2595257.7221 | 1220501.2803
14 | 2595260.4013 | 1220521.0255 | 2595256.5192 | 1220514.3137
15 | 2595260.4013 | 1220521.0255 | 2595275.8168 | 1220521.3507
16 | 2595260.4013 | 1220521.0255 | 2595250.6374 | 1220520.8222 | 2595245.381 | 1220530.3036
17 | 2595275.8168 | 1220521.3507 | 2595282.1903 | 1220521.4851
18 | 2595302.376 | 1220522.5306 | 2595289.3364 | 1220521.6358 | 2595282.1903 | 1220521.4851
19 | 2595302.678 | 1220522.5514 | 2595302.376 | 1220522.5306
20 | 2595302.678 | 1220522.5514 | 2595306.6349 | 1220522.8229
21 | 2595330.9306 | 1220524.4901 | 2595306.6349 | 1220522.8229
22 | 2595331.0537 | 1220524.4986 | 2595330.9306 | 1220524.4901
23 | 2595339.8649 | 1220525.2864 | 2595336.739 | 1220524.8887 | 2595331.0537 | 1220524.4986
24 | 2595223.6654 | 1220592.6187 | 2595221.3782 | 1220587.9512 | 2595221.0485 | 1220583.749 | 2595221.0485 | 1220583.749
25 | 2595223.6654 | 1220592.6187 | 2595229.3665 | 1220587.8557 | 2595239.6956 | 1220583.5226 | 2595246.7449 | 1220582.6731
26 | 2595342.4754 | 1220480.6044 | 2595342.4024 | 1220481.853
27 | 2595343.1581 | 1220468.9181 | 2595342.4754 | 1220480.6044
28 | 2595341.0857 | 1220504.3905 | 2595342.4024 | 1220481.853
29 | 2595339.8649 | 1220525.2864 | 2595341.0857 | 1220504.3905
30 | 2595339.8649 | 1220525.2864 | 2595353.1126 | 1220526.9767
31 | 2595354.7577 | 1220527.1866 | 2595353.1126 | 1220526.9767
32 | 2595365.411 | 1220528.5458 | 2595354.7577 | 1220527.1866
33 | 2595365.411 | 1220528.5458 | 2595368.1941 | 1220508.2627
34 | 2595365.411 | 1220528.5458 | 2595391.5409 | 1220531.4713
35 | 2595409.8954 | 1220477.1368 | 2595395.2464 | 1220471.1623
36 | 2595409.8954 | 1220477.1368 | 2595412.856 | 1220479.6248 | 2595417.6701 | 1220485.197
37 | 2595431.7938 | 1220501.5449 | 2595417.6701 | 1220485.197
38 | 2595431.7938 | 1220501.5449 | 2595407.7153 | 1220531.6699 | 2595404.788 | 1220532.9618
39 | 2595431.7938 | 1220501.5449 | 2595466.2627 | 1220525.8431 | 2595468.0694 | 1220527.2648
40 | 2595404.788 | 1220532.9618 | 2595389.9707 | 1220553.2392
41 | 2595391.5409 | 1220531.4713 | 2595404.788 | 1220532.9618
42 | 2595468.0694 | 1220527.2648 | 2595464.3627 | 1220531.2032 | 2595456.4376 | 1220544.4948 | 2595449.9328 | 1220550.0808 | 2595444.0325 | 1220552.5201
43 | 2595391.5409 | 1220531.4713 | 2595392.8943 | 1220523.9113
44 | 2595394.6213 | 1220514.2644 | 2595397.564 | 1220497.8263
45 | 2595394.6213 | 1220514.2644 | 2595392.8943 | 1220523.9113
46 | 2595370.812 | 1220489.1832 | 2595368.1941 | 1220508.2627
47 | 2595372.8484 | 1220474.3422 | 2595370.812 | 1220489.1832
48 | 2595469.2845 | 1220891.261 | 2595464.8547 | 1220887.6555
49 | 2595464.8547 | 1220887.6555 | 2595432.6588 | 1220861.451 | 2595423.457 | 1220855.8794
50 | 2595402.6965 | 1220845.254 | 2595417.6769 | 1220852.3797 | 2595423.457 | 1220855.8794
51 | 2595402.6965 | 1220845.254 | 2595392.36 | 1220839.6589 | 2595384.2395 | 1220837.4929
52 | 2595402.6965 | 1220845.254 | 2595415.0586 | 1220831.6031 | 2595415.0586 | 1220831.6031
53 | 2595383.9734 | 1220837.4219 | 2595384.2395 | 1220837.4929
54 | 2595416.3544 | 1220830.8853 | 2595415.0586 | 1220831.6031
55 | 2595429.6584 | 1220774.6314 | 2595426.2021 | 1220772.7939 | 2595408.6061 | 1220762.472
56 | 2595477.385 | 1220801.5596 | 2595467.2143 | 1220794.5968 | 2595429.6584 | 1220774.6314
57 | 2595347.2015 | 1220726.4517 | 2595408.6061 | 1220762.472
58 | 2595477.385 | 1220801.5596 | 2595466.6423 | 1220810.2396 | 2595455.3501 | 1220814.662 | 2595442.5412 | 1220819.7415 | 2595434.4938 | 1220822.4828
59 | 2595347.2015 | 1220726.4517 | 2595350.2085 | 1220720.5904
60 | 2595416.3544 | 1220830.8853 | 2595426.774 | 1220825.1125 | 2595434.4938 | 1220822.4828
61 | 2595350.2085 | 1220720.5904 | 2595371.785 | 1220734.7584
62 | 2595350.2085 | 1220720.5904 | 2595361.7282 | 1220698.1049
63 | 2595361.7282 | 1220698.1049 | 2595363.372 | 1220694.8961
64 | 2595449.6734 | 1220694.5196 | 2595431.9122 | 1220729.9335
65 | 2595449.6734 | 1220694.5196 | 2595438.4124 | 1220689.1928
66 | 2595436.9124 | 1220688.4833 | 2595438.4124 | 1220689.1928
67 | 2595434.8494 | 1220687.5075 | 2595436.9124 | 1220688.4833
68 | 2595434.8494 | 1220687.5075 | 2595427.9688 | 1220684.2528 | 2595423.7721 | 1220682.4204
69 | 2595369.7205 | 1220682.5044 | 2595363.372 | 1220694.8961
70 | 2595383.7042 | 1220837.3501 | 2595383.9734 | 1220837.4219
71 | 2595383.7042 | 1220837.3501 | 2595361.3349 | 1220831.3835
72 | 2595411.7321 | 1220677.1636 | 2595423.7721 | 1220682.4204
73 | 2595411.7321 | 1220677.1636 | 2595391.8865 | 1220668.4987
74 | 2595379.3022 | 1220663.8014 | 2595388.1654 | 1220666.874 | 2595391.8865 | 1220668.4987
75 | 2595379.3022 | 1220663.8014 | 2595370.1512 | 1220661.3072 | 2595368.7993 | 1220660.9251
76 | 2595379.3022 | 1220663.8014 | 2595369.7205 | 1220682.5044
77 | 2595339.7908 | 1220654.4111 | 2595353.7157 | 1220656.662 | 2595368.7993 | 1220660.9251
78 | 2595339.7908 | 1220654.4111 | 2595335.0285 | 1220653.6413
79 | 2595246.7449 | 1220582.6731 | 2595250.7478 | 1220582.1907 | 2595265.0578 | 1220583.0796
80 | 2595278.6302 | 1220583.9227 | 2595265.0578 | 1220583.0796
81 | 2595210.2043 | 1220644.6484 | 2595248.2034 | 1220647.6018
82 | 2595326.9732 | 1220586.9257 | 2595331.4389 | 1220587.2031
83 | 2595326.9732 | 1220586.9257 | 2595309.0776 | 1220585.8141
84 | 2595348.5026 | 1220588.2631 | 2595331.4389 | 1220587.2031
85 | 2595309.0776 | 1220585.8141 | 2595303.7986 | 1220585.4861
86 | 2595364.8901 | 1220589.2811 | 2595348.5026 | 1220588.2631
87 | 2595286.8481 | 1220584.4332 | 2595303.7986 | 1220585.4861
88 | 2595364.8901 | 1220589.2811 | 2595368.7254 | 1220589.501
89 | 2595364.8901 | 1220589.2811 | 2595370.0345 | 1220572.2971
90 | 2595278.6302 | 1220583.9227 | 2595286.8481 | 1220584.4332
91 | 2595387.0993 | 1220590.8499 | 2595369.2903 | 1220589.5333 | 2595368.7254 | 1220589.501
92 | 2595410.0883 | 1220607.1669 | 2595393.0977 | 1220591.2934 | 2595387.0993 | 1220590.8499
93 | 2595248.2034 | 1220647.6018 | 2595270.1622 | 1220649.3085
94 | 2595282.1948 | 1220650.0932 | 2595270.3672 | 1220649.3245 | 2595270.1622 | 1220649.3085
95 | 2595335.0285 | 1220653.6413 | 2595333.731 | 1220653.4316 | 2595318.1611 | 1220652.423
96 | 2595318.1611 | 1220652.423 | 2595314.9054 | 1220652.2121
97 | 2595289.5309 | 1220650.5684 | 2595314.9054 | 1220652.2121
98 | 2595282.1948 | 1220650.0932 | 2595289.5309 | 1220650.5684

## bus_geodata
| x | y | coords
0 | 2595178.6428 | 1220533.7894
1 | 2595193.6093 | 1220519.7013
2 | 2595222.4449 | 1220541.2471
3 | 2595236.0852 | 1220547.0713
4 | 2595187.6738 | 1220590.1467
5 | 2595216.7319 | 1220602.3744
6 | 2595245.7684 | 1220499.0302
7 | 2595248.6792 | 1220501.0235
8 | 2595229.0361 | 1220562.1072
9 | 2595244.9715 | 1220531.0422
10 | 2595257.7221 | 1220501.2803
11 | 2595257.707 | 1220500.9161
12 | 2595256.5192 | 1220514.3137
13 | 2595260.4013 | 1220521.0255
14 | 2595275.8168 | 1220521.3507
15 | 2595245.381 | 1220530.3036
16 | 2595282.1903 | 1220521.4851
17 | 2595302.376 | 1220522.5306
18 | 2595302.678 | 1220522.5514
19 | 2595306.6349 | 1220522.8229
20 | 2595330.9306 | 1220524.4901
21 | 2595331.0537 | 1220524.4986
22 | 2595221.0485 | 1220583.749
23 | 2595223.6654 | 1220592.6187
24 | 2595342.4754 | 1220480.6044
25 | 2595342.4024 | 1220481.853
26 | 2595343.1581 | 1220468.9181
27 | 2595341.0857 | 1220504.3905
28 | 2595339.8649 | 1220525.2864
29 | 2595353.1126 | 1220526.9767
30 | 2595354.7577 | 1220527.1866
31 | 2595365.411 | 1220528.5458
32 | 2595395.2464 | 1220471.1623
33 | 2595409.8954 | 1220477.1368
34 | 2595417.6701 | 1220485.197
35 | 2595431.7938 | 1220501.5449
36 | 2595404.788 | 1220532.9618
37 | 2595468.0694 | 1220527.2648
38 | 2595444.0325 | 1220552.5201
39 | 2595389.9707 | 1220553.2392
40 | 2595391.5409 | 1220531.4713
41 | 2595394.6213 | 1220514.2644
42 | 2595397.564 | 1220497.8263
43 | 2595392.8943 | 1220523.9113
44 | 2595368.1941 | 1220508.2627
45 | 2595370.812 | 1220489.1832
46 | 2595372.8484 | 1220474.3422
47 | 2595469.2845 | 1220891.261
48 | 2595464.8547 | 1220887.6555
49 | 2595423.457 | 1220855.8794
50 | 2595402.6965 | 1220845.254
51 | 2595384.2395 | 1220837.4929
52 | 2595415.0586 | 1220831.6031
53 | 2595429.6584 | 1220774.6314
54 | 2595408.6061 | 1220762.472
55 | 2595477.385 | 1220801.5596
56 | 2595347.2015 | 1220726.4517
57 | 2595434.4938 | 1220822.4828
58 | 2595350.2085 | 1220720.5904
59 | 2595416.3544 | 1220830.8853
60 | 2595371.785 | 1220734.7583
61 | 2595361.7282 | 1220698.1049
62 | 2595431.9122 | 1220729.9335
63 | 2595449.6734 | 1220694.5196
64 | 2595438.4124 | 1220689.1928
65 | 2595436.9124 | 1220688.4833
66 | 2595434.8494 | 1220687.5075
67 | 2595363.372 | 1220694.8961
68 | 2595383.9734 | 1220837.4219
69 | 2595383.7042 | 1220837.3501
70 | 2595361.3349 | 1220831.3835
71 | 2595423.7721 | 1220682.4204
72 | 2595411.7321 | 1220677.1636
73 | 2595391.8865 | 1220668.4987
74 | 2595379.3022 | 1220663.8014
75 | 2595368.7993 | 1220660.9251
76 | 2595369.7205 | 1220682.5044
77 | 2595339.7908 | 1220654.4111
78 | 2595246.7449 | 1220582.6731
79 | 2595265.0578 | 1220583.0796
80 | 2595210.2043 | 1220644.6484
81 | 2595326.9732 | 1220586.9257
82 | 2595331.4389 | 1220587.2031
83 | 2595309.0776 | 1220585.8141
84 | 2595348.5026 | 1220588.2631
85 | 2595303.7986 | 1220585.4861
86 | 2595364.8901 | 1220589.2811
87 | 2595286.8481 | 1220584.4332
88 | 2595368.7254 | 1220589.501
89 | 2595370.0345 | 1220572.2971
90 | 2595278.6302 | 1220583.9227
91 | 2595387.0993 | 1220590.8499
92 | 2595410.0883 | 1220607.1669
93 | 2595248.2034 | 1220647.6018
94 | 2595270.1622 | 1220649.3085
95 | 2595335.0285 | 1220653.6413
96 | 2595318.1611 | 1220652.423
97 | 2595314.9054 | 1220652.2121
98 | 2595289.5309 | 1220650.5684
99 | 2595282.1948 | 1220650.0932
100 | 2595379.3022 | 1220663.8014

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1