## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_383-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_383-8_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_383-8_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_383-8_0_3_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_383-8_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_383-8_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_383-8_0_3_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_383-8_0_3_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_383-8_0_3_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_383-8_0_3_node_60 | 0.4 | n |  | TRUE
10 | bus_LV_383-8_0_3_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_383-8_0_3_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_383-8_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_383-8_0_3_node_49 | 0.4 | n |  | TRUE
14 | bus_LV_383-8_0_3_node_63 | 0.4 | n |  | TRUE
15 | bus_LV_383-8_0_3_node_67 | 0.4 | n |  | TRUE
16 | bus_LV_383-8_0_3_node_69 | 0.4 | n |  | TRUE
17 | bus_LV_383-8_0_3_node_73 | 0.4 | n |  | TRUE
18 | bus_LV_383-8_0_3_node_33 | 0.4 | n |  | TRUE
19 | bus_LV_383-8_0_3_node_59 | 0.4 | n |  | TRUE
20 | bus_LV_383-8_0_3_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_383-8_0_3_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_383-8_0_3_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_383-8_0_3_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_383-8_0_3_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_383-8_0_3_node_57 | 0.4 | n |  | TRUE
26 | bus_LV_383-8_0_3_node_48 | 0.4 | n |  | TRUE
27 | bus_LV_383-8_0_3_node_43 | 0.4 | n |  | TRUE
28 | bus_LV_383-8_0_3_node_9 | 0.4 | n |  | TRUE
29 | bus_LV_383-8_0_3_node_10 | 0.4 | n |  | TRUE
30 | bus_LV_383-8_0_3_node_11 | 0.4 | n |  | TRUE
31 | bus_LV_383-8_0_3_node_12 | 0.4 | n |  | TRUE
32 | bus_LV_383-8_0_3_node_13 | 0.4 | n |  | TRUE
33 | bus_LV_383-8_0_3_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_383-8_0_3_node_54 | 0.4 | n |  | TRUE
35 | bus_LV_383-8_0_3_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_383-8_0_3_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_383-8_0_3_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_383-8_0_3_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_383-8_0_3_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_383-8_0_3_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_383-8_0_3_node_15 | 0.4 | n |  | TRUE
42 | bus_LV_383-8_0_3_node_16 | 0.4 | n |  | TRUE
43 | bus_LV_383-8_0_3_node_17 | 0.4 | n |  | TRUE
44 | bus_LV_383-8_0_3_node_19 | 0.4 | n |  | TRUE
45 | bus_LV_383-8_0_3_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_383-8_0_3_node_72 | 0.4 | n |  | TRUE
47 | bus_LV_383-8_0_3_node_22 | 0.4 | n |  | TRUE
48 | bus_LV_383-8_0_3_node_23 | 0.4 | n |  | TRUE
49 | bus_LV_383-8_0_3_node_25 | 0.4 | n |  | TRUE
50 | bus_LV_383-8_0_3_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_383-8_0_3_node_61 | 0.4 | n |  | TRUE
52 | bus_LV_383-8_0_3_node_78 | 0.4 | n |  | TRUE
53 | bus_LV_383-8_0_3_node_71 | 0.4 | n |  | TRUE
54 | bus_LV_383-8_0_3_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_383-8_0_3_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_383-8_0_3_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_383-8_0_3_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_383-8_0_3_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_383-8_0_3_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_383-8_0_3_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_383-8_0_3_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_383-8_0_3_node_77 | 0.4 | n |  | TRUE
63 | bus_LV_383-8_0_3_node_76 | 0.4 | n |  | TRUE
64 | bus_LV_383-8_0_3_node_74 | 0.4 | n |  | TRUE
65 | bus_LV_383-8_0_3_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_383-8_0_3_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_383-8_0_3_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_383-8_0_3_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_383-8_0_3_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_383-8_0_3_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_383-8_0_3_node_68 | 0.4 | n |  | TRUE
72 | bus_MV_385_0_node_176 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_383-8_0_3_load_0 | 0 | 0.02258 | 0.0056592 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_383-8_0_3_load_1 | 1 | 0.003128 | 0.00078394 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_383-8_0_3_load_31 | 7 | 0.0055907 | 0.0014012 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_383-8_0_3_load_60 | 9 | 0.0032547 | 0.0008157 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_383-8_0_3_load_21 | 10 | 0.0064458 | 0.0016155 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_383-8_0_3_load_20 | 11 | 0.0039912 | 0.0010003 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_383-8_0_3_load_49 | 13 | 0.0035024 | 0.00087777 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_383-8_0_3_load_63 | 14 | 0.0026014 | 0.00065198 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_383-8_0_3_load_69 | 16 | 0.00096041 | 0.0002407 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_383-8_0_3_load_73 | 17 | 0.0026091 | 0.00065391 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_383-8_0_3_load_59 | 19 | 0.0018747 | 0.00046985 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_383-8_0_3_load_32 | 20 | 0.0080981 | 0.0020296 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_383-8_0_3_load_39 | 21 | 0.0084576 | 0.0021197 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_383-8_0_3_load_27 | 23 | 0.0043452 | 0.001089 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_383-8_0_3_load_57 | 25 | 0.0010843 | 0.00027175 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_383-8_0_3_load_43 | 27 | 0.0024504 | 0.00061413 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_383-8_0_3_load_9 | 28 | 0.0020847 | 0.00052247 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_383-8_0_3_load_10 | 29 | 0.0010841 | 0.0002717 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_383-8_0_3_load_14 | 33 | 0.004104 | 0.0010286 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_383-8_0_3_load_54 | 34 | 0.0036723 | 0.00092036 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_383-8_0_3_load_26 | 35 | 0.0065488 | 0.0016413 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_383-8_0_3_load_44 | 36 | 0.011939 | 0.0029921 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_383-8_0_3_load_55 | 37 | 0.0066046 | 0.0016553 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_383-8_0_3_load_24 | 38 | 0.012224 | 0.0030637 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_383-8_0_3_load_50 | 40 | 0.00081476 | 0.0002042 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_383-8_0_3_load_15 | 41 | 0.0070342 | 0.0017629 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_383-8_0_3_load_16 | 42 | 0.0089788 | 0.0022503 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_383-8_0_3_load_17 | 43 | 0.0039707 | 0.00099516 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_383-8_0_3_load_30 | 45 | 0.0036219 | 0.00090774 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_383-8_0_3_load_72 | 46 | 0.0073381 | 0.0018391 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_383-8_0_3_load_22 | 47 | 0.001679 | 0.00042081 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_383-8_0_3_load_23 | 48 | 0.0038477 | 0.00096433 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_383-8_0_3_load_25 | 49 | 0.0067336 | 0.0016876 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_383-8_0_3_load_35 | 50 | 0.0023246 | 0.00058261 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_383-8_0_3_load_61 | 51 | 0.0020571 | 0.00051556 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_383-8_0_3_load_78 | 52 | 0.0020937 | 0.00052472 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_383-8_0_3_load_71 | 53 | 0.009799 | 0.0024559 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_383-8_0_3_load_38 | 54 | 0.0023119 | 0.00057943 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_383-8_0_3_load_51 | 55 | 0.0020101 | 0.00050377 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_383-8_0_3_load_52 | 56 | 0.0020341 | 0.00050978 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_383-8_0_3_load_40 | 57 | 0.0012387 | 0.00031045 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_383-8_0_3_load_41 | 58 | 0.0054836 | 0.0013743 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_383-8_0_3_load_42 | 59 | 0.0030134 | 0.00075524 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_383-8_0_3_load_47 | 61 | 0.0094962 | 0.00238 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_383-8_0_3_load_77 | 62 | 0.0013987 | 0.00035055 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_383-8_0_3_load_76 | 63 | 0.0025864 | 0.0006482 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_383-8_0_3_load_74 | 64 | 0.00099307 | 0.00024889 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_383-8_0_3_load_66 | 65 | 0.0036894 | 0.00092466 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_383-8_0_3_load_53 | 66 | 0.0015757 | 0.0003949 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_383-8_0_3_load_58 | 67 | 0.0016424 | 0.00041162 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_383-8_0_3_load_64 | 70 | 0.0043814 | 0.0010981 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_383-8_0_3_load_68 | 71 | 0.0021153 | 0.00053014 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_383-8_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.012381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_383-8_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.041893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_383-8_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.019738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_383-8_0_3_line_3 | NAYY 4x150 SE | 3 | 10 | 0.01825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_383-8_0_3_line_4 | NAYY 4x150 SE | 3 | 11 | 0.019793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_383-8_0_3_line_5 | NAYY 4x150 SE | 4 | 5 | 0.02134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_383-8_0_3_line_6 | NAYY 4x150 SE | 4 | 6 | 0.0349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_383-8_0_3_line_7 | NAYY 4x150 SE | 4 | 7 | 0.020253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_383-8_0_3_line_8 | NAYY 4x150 SE | 5 | 8 | 0.012005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_383-8_0_3_line_9 | NAYY 4x150 SE | 5 | 9 | 0.015679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_383-8_0_3_line_10 | NAYY 4x150 SE | 6 | 21 | 0.032268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_383-8_0_3_line_11 | NAYY 4x150 SE | 6 | 17 | 0.056009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_383-8_0_3_line_12 | NAYY 4x150 SE | 7 | 20 | 0.013518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_383-8_0_3_line_13 | NAYY 4x150 SE | 8 | 22 | 0.031746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_383-8_0_3_line_14 | NAYY 4x150 SE | 9 | 24 | 0.041747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_383-8_0_3_line_15 | NAYY 4x150 SE | 10 | 25 | 0.032189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_383-8_0_3_line_16 | NAYY 4x150 SE | 12 | 13 | 0.019998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_383-8_0_3_line_17 | NAYY 4x150 SE | 12 | 14 | 0.023018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_383-8_0_3_line_18 | NAYY 4x150 SE | 13 | 26 | 0.013353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_383-8_0_3_line_19 | NAYY 4x150 SE | 14 | 27 | 0.017444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_383-8_0_3_line_20 | NAYY 4x150 SE | 15 | 16 | 0.079324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_383-8_0_3_line_21 | NAYY 4x150 SE | 15 | 17 | 0.062714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_383-8_0_3_line_22 | NAYY 4x150 SE | 16 | 71 | 0.0099397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_383-8_0_3_line_23 | NAYY 4x150 SE | 18 | 19 | 0.039979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_383-8_0_3_line_24 | NAYY 4x150 SE | 18 | 20 | 0.020024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_383-8_0_3_line_25 | NAYY 4x150 SE | 21 | 54 | 0.0063936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_383-8_0_3_line_26 | NAYY 4x150 SE | 22 | 23 | 0.0052539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_383-8_0_3_line_27 | NAYY 4x150 SE | 23 | 44 | 0.0074918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_383-8_0_3_line_28 | NAYY 4x150 SE | 24 | 37 | 0.023793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_383-8_0_3_line_29 | NAYY 4x150 SE | 24 | 51 | 0.005364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_383-8_0_3_line_30 | NAYY 4x150 SE | 25 | 31 | 0.0092326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_383-8_0_3_line_31 | NAYY 4x150 SE | 26 | 40 | 0.012944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_383-8_0_3_line_32 | NAYY 4x150 SE | 26 | 33 | 0.015088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_383-8_0_3_line_33 | NAYY 4x150 SE | 27 | 59 | 0.014849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_383-8_0_3_line_34 | NAYY 4x150 SE | 28 | 29 | 0.00023713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_383-8_0_3_line_35 | NAYY 4x150 SE | 28 | 30 | 0.033953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_383-8_0_3_line_36 | NAYY 4x150 SE | 29 | 31 | 0.023019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_383-8_0_3_line_37 | NAYY 4x150 SE | 30 | 32 | 0.005169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_383-8_0_3_line_38 | NAYY 4x150 SE | 30 | 33 | 0.015198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_383-8_0_3_line_39 | NAYY 4x150 SE | 31 | 34 | 0.039637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_383-8_0_3_line_40 | NAYY 4x150 SE | 32 | 35 | 0.015427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_383-8_0_3_line_41 | NAYY 4x150 SE | 32 | 36 | 0.020259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_383-8_0_3_line_42 | NAYY 4x150 SE | 34 | 37 | 0.024692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_383-8_0_3_line_43 | NAYY 4x150 SE | 35 | 38 | 0.0084619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_383-8_0_3_line_44 | NAYY 4x150 SE | 36 | 39 | 0.031143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_383-8_0_3_line_45 | NAYY 4x150 SE | 38 | 47 | 0.020859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_383-8_0_3_line_46 | NAYY 4x150 SE | 39 | 60 | 0.026335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_383-8_0_3_line_47 | NAYY 4x150 SE | 39 | 61 | 0.021583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_383-8_0_3_line_48 | NAYY 4x150 SE | 40 | 64 | 0.0076723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_383-8_0_3_line_49 | NAYY 4x150 SE | 41 | 42 | 0.021039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_383-8_0_3_line_50 | NAYY 4x150 SE | 41 | 43 | 0.02354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_383-8_0_3_line_51 | NAYY 4x150 SE | 43 | 44 | 0.014673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_383-8_0_3_line_52 | NAYY 4x150 SE | 44 | 45 | 0.03808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_383-8_0_3_line_53 | NAYY 4x150 SE | 45 | 46 | 0.01606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_383-8_0_3_line_54 | NAYY 4x150 SE | 46 | 53 | 0.00096115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_383-8_0_3_line_55 | NAYY 4x150 SE | 47 | 48 | 0.013419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_383-8_0_3_line_56 | NAYY 4x150 SE | 48 | 49 | 0.0020697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_383-8_0_3_line_57 | NAYY 4x150 SE | 49 | 50 | 0.014411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_383-8_0_3_line_58 | NAYY 4x150 SE | 51 | 52 | 0.010084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_383-8_0_3_line_59 | NAYY 4x150 SE | 52 | 68 | 0.018144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_383-8_0_3_line_60 | NAYY 4x150 SE | 54 | 57 | 0.011385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_383-8_0_3_line_61 | NAYY 4x150 SE | 55 | 56 | 0.018823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_383-8_0_3_line_62 | NAYY 4x150 SE | 56 | 66 | 0.024784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_383-8_0_3_line_63 | NAYY 4x150 SE | 58 | 59 | 0.024279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_383-8_0_3_line_64 | NAYY 4x150 SE | 60 | 62 | 0.013494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_383-8_0_3_line_65 | NAYY 4x150 SE | 60 | 63 | 0.0050754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_383-8_0_3_line_66 | NAYY 4x150 SE | 64 | 65 | 0.0064493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_383-8_0_3_line_67 | NAYY 4x150 SE | 65 | 67 | 0.0098084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_383-8_0_3_line_68 | NAYY 4x150 SE | 66 | 67 | 0.00012231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_383-8_0_3_line_69 | NAYY 4x150 SE | 68 | 69 | 0.017199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_383-8_0_3_line_70 | NAYY 4x150 SE | 69 | 70 | 0.026501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_383-8_0_3_trafo_21 | 0.25 MVA 20/0.4 kV | 72 | 10 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2594596.9287 | 1221009.2579 | 2594602.8045 | 1221010.4972 | 2594608.952 | 1221012.1891
1 | 2594555.9378 | 1221000.6125 | 2594596.9287 | 1221009.2579
2 | 2594555.9378 | 1221000.6125 | 2594550.5203 | 1220999.2501 | 2594556.8503 | 1220986.5925
3 | 2594556.8503 | 1220986.5925 | 2594548.1834 | 1220982.4426 | 2594540.0175 | 1220979.6185
4 | 2594556.8503 | 1220986.5925 | 2594563.1276 | 1220974.3129 | 2594566.0453 | 1220969.0678
5 | 2594507.8079 | 1221051.4755 | 2594511.8275 | 1221050.5934 | 2594517.1282 | 1221048.6763 | 2594520.5252 | 1221047.1722 | 2594524.6327 | 1221051.0151 | 2594526.606 | 1221052.0916
6 | 2594526.606 | 1221052.0916 | 2594538.4815 | 1221056.1829 | 2594559.4329 | 1221063.9346
7 | 2594526.606 | 1221052.0916 | 2594519.9299 | 1221059.6022 | 2594517.3157 | 1221069.4653
8 | 2594495.7845 | 1221051.509 | 2594500.1693 | 1221051.7383 | 2594503.8787 | 1221051.7571 | 2594507.8079 | 1221051.4755
9 | 2594507.8079 | 1221051.4755 | 2594506.0273 | 1221045.5404 | 2594499.1854 | 1221046.1138 | 2594496.5687 | 1221046.0645
10 | 2594559.4329 | 1221063.9346 | 2594557.8294 | 1221068.9501 | 2594559.7526 | 1221095.8837
11 | 2594559.4329 | 1221063.9346 | 2594611.9571 | 1221083.383
12 | 2594513.8524 | 1221082.5322 | 2594513.8524 | 1221082.5322 | 2594517.3157 | 1221069.4653
13 | 2594495.7845 | 1221051.509 | 2594483.7218 | 1221074.3001 | 2594480.1534 | 1221079.0951
14 | 2594456.0136 | 1221036.7045 | 2594476.0152 | 1221042.5668 | 2594486.5769 | 1221045.0139 | 2594493.5643 | 1221046.0079 | 2594496.5687 | 1221046.0645
15 | 2594540.0175 | 1220979.6185 | 2594531.8003 | 1220976.7768 | 2594524.5307 | 1220974.2154 | 2594518.8314 | 1220971.7749 | 2594510.2758 | 1220967.4505
16 | 2594589.1158 | 1220923.9822 | 2594569.3447 | 1220920.9767
17 | 2594589.1158 | 1220923.9822 | 2594596.415 | 1220902.1522
18 | 2594556.173 | 1220918.7874 | 2594563.6008 | 1220920.1035 | 2594569.3447 | 1220920.9767
19 | 2594601.9464 | 1220885.6088 | 2594596.415 | 1220902.1522
20 | 2594671.1692 | 1221103.9441 | 2594659.9542 | 1221116.8839 | 2594629.3619 | 1221125.9948 | 2594599.9152 | 1221133.0509
21 | 2594671.1692 | 1221103.9441 | 2594654.2866 | 1221099.0566 | 2594611.9571 | 1221083.383
22 | 2594590.25 | 1221135.3707 | 2594590.4258 | 1221135.3248 | 2594599.9152 | 1221133.0509
23 | 2594533.4803 | 1221086.4939 | 2594527.2579 | 1221116.6949 | 2594525.8351 | 1221120.2427 | 2594524.6679 | 1221121.3666 | 2594521.0046 | 1221121.9704
24 | 2594533.4803 | 1221086.4939 | 2594513.8524 | 1221082.5322
25 | 2594559.7526 | 1221095.8837 | 2594560.208 | 1221102.2611
26 | 2594480.1534 | 1221079.0951 | 2594476.4296 | 1221082.8015
27 | 2594471.1197 | 1221088.0865 | 2594476.4296 | 1221082.8015
28 | 2594456.0136 | 1221036.7045 | 2594459.3698 | 1221032.1988 | 2594461.0524 | 1221030.6074 | 2594468.1173 | 1221025.3421 | 2594471.9683 | 1221022.5258 | 2594473.4888 | 1221020.832
29 | 2594452.9455 | 1221041.11 | 2594456.0136 | 1221036.7045
30 | 2594502.036 | 1220963.2857 | 2594510.2758 | 1220967.4505
31 | 2594556.173 | 1220918.7874 | 2594560.2731 | 1220906.5099
32 | 2594556.173 | 1220918.7874 | 2594541.4829 | 1220915.3449
33 | 2594601.9464 | 1220885.6088 | 2594603.5879 | 1220880.6996 | 2594603.7649 | 1220875.2518 | 2594605.1108 | 1220871.2501
34 | 2594512.6895 | 1220942.8802 | 2594512.7993 | 1220942.6699
35 | 2594526.7254 | 1220911.7219 | 2594516.2113 | 1220936.1346 | 2594512.7993 | 1220942.6699
36 | 2594502.036 | 1220963.2857 | 2594512.6895 | 1220942.8802
37 | 2594526.7254 | 1220911.7219 | 2594521.7704 | 1220910.2034
38 | 2594526.7254 | 1220911.7219 | 2594531.2705 | 1220912.9517 | 2594541.4829 | 1220915.3449
39 | 2594502.036 | 1220963.2857 | 2594497.1821 | 1220972.5734 | 2594484.9329 | 1220999.0334
40 | 2594521.7704 | 1220910.2034 | 2594522.9885 | 1220906.8225 | 2594526.5055 | 1220895.5239 | 2594526.5055 | 1220895.5239
41 | 2594521.7704 | 1220910.2034 | 2594502.4844 | 1220904.0011
42 | 2594484.9329 | 1220999.0334 | 2594479.331 | 1221011.1345 | 2594475.1508 | 1221018.8095 | 2594473.5066 | 1221020.8122 | 2594473.4888 | 1221020.832
43 | 2594528.4405 | 1220887.2862 | 2594526.5055 | 1220895.5239
44 | 2594473.7116 | 1220892.1269 | 2594498.2621 | 1220902.6432 | 2594502.4844 | 1220904.0011
45 | 2594528.4405 | 1220887.2862 | 2594533.2105 | 1220866.9797
46 | 2594473.7116 | 1220892.1269 | 2594483.1558 | 1220867.5372
47 | 2594473.7116 | 1220892.1269 | 2594454.0073 | 1220883.3196
48 | 2594566.8905 | 1220902.6272 | 2594560.2731 | 1220906.5099
49 | 2594444.2827 | 1221115.2607 | 2594436.0265 | 1221126.2861 | 2594433.8793 | 1221133.2269
50 | 2594444.2827 | 1221115.2607 | 2594445.5572 | 1221113.5586 | 2594460.7258 | 1221098.4437
51 | 2594471.1197 | 1221088.0865 | 2594460.7258 | 1221098.4437
52 | 2594471.1197 | 1221088.0865 | 2594476.6017 | 1221125.7697
53 | 2594492.5116 | 1221123.5784 | 2594476.6017 | 1221125.7697
54 | 2594492.5116 | 1221123.5784 | 2594493.4638 | 1221123.4473
55 | 2594536.9973 | 1220854.1071 | 2594533.3361 | 1220866.4452 | 2594533.2105 | 1220866.9797
56 | 2594536.9973 | 1220854.1071 | 2594537.5861 | 1220852.123
57 | 2594537.5861 | 1220852.123 | 2594538.2364 | 1220849.9312 | 2594542.225 | 1220838.4811
58 | 2594452.9455 | 1221041.11 | 2594443.2293 | 1221038.4104
59 | 2594425.3227 | 1221037.9009 | 2594429.5396 | 1221037.1076 | 2594433.1047 | 1221036.8374 | 2594436.7915 | 1221037.034 | 2594442.0191 | 1221038.0741 | 2594443.2293 | 1221038.4104
60 | 2594561.0188 | 1221113.6173 | 2594560.208 | 1221102.2611
61 | 2594588.8599 | 1220847.5556 | 2594582.0647 | 1220865.1088
62 | 2594582.0647 | 1220865.1088 | 2594579.1839 | 1220872.5507 | 2594573.8068 | 1220888.4711
63 | 2594612.8504 | 1220848.2375 | 2594605.1108 | 1220871.2501
64 | 2594492.6596 | 1220857.9672 | 2594486.202 | 1220863.91 | 2594483.1558 | 1220867.5372
65 | 2594483.1558 | 1220867.5372 | 2594484.8781 | 1220862.763
66 | 2594570.6291 | 1220897.8797 | 2594569.5533 | 1220901.0649 | 2594566.8905 | 1220902.6272
67 | 2594570.6291 | 1220897.8797 | 2594573.7676 | 1220888.587
68 | 2594573.7676 | 1220888.587 | 2594573.8068 | 1220888.4711
69 | 2594425.3227 | 1221037.9009 | 2594421.508 | 1221038.9607 | 2594416.8597 | 1221040.7439 | 2594409.2771 | 1221044.1309
70 | 2594409.2771 | 1221044.1309 | 2594411.1169 | 1221048.3871 | 2594411.9994 | 1221051.0211 | 2594411.9718 | 1221053.8784 | 2594411.1258 | 1221057.6814 | 2594407.6689 | 1221069.5203

## bus_geodata
| x | y | coords
0 | 2594596.9287 | 1221009.2579
1 | 2594608.952 | 1221012.1891
2 | 2594555.9378 | 1221000.6125
3 | 2594556.8503 | 1220986.5925
4 | 2594526.606 | 1221052.0916
5 | 2594507.8079 | 1221051.4755
6 | 2594559.4329 | 1221063.9346
7 | 2594517.3157 | 1221069.4653
8 | 2594495.7845 | 1221051.509
9 | 2594496.5687 | 1221046.0645
10 | 2594540.0175 | 1220979.6185
11 | 2594566.0453 | 1220969.0678
12 | 2594589.1158 | 1220923.9822
13 | 2594569.3447 | 1220920.9767
14 | 2594596.4149 | 1220902.1522
15 | 2594671.1692 | 1221103.944
16 | 2594599.9152 | 1221133.0509
17 | 2594611.9571 | 1221083.383
18 | 2594533.4803 | 1221086.4939
19 | 2594521.0046 | 1221121.9704
20 | 2594513.8524 | 1221082.5322
21 | 2594559.7526 | 1221095.8837
22 | 2594480.1534 | 1221079.0951
23 | 2594476.4296 | 1221082.8015
24 | 2594456.0136 | 1221036.7045
25 | 2594510.2758 | 1220967.4505
26 | 2594556.173 | 1220918.7874
27 | 2594601.9464 | 1220885.6088
28 | 2594512.7993 | 1220942.6699
29 | 2594512.6895 | 1220942.8802
30 | 2594526.7254 | 1220911.7219
31 | 2594502.036 | 1220963.2857
32 | 2594521.7704 | 1220910.2034
33 | 2594541.4829 | 1220915.3449
34 | 2594484.9329 | 1220999.0334
35 | 2594526.5055 | 1220895.5239
36 | 2594502.4844 | 1220904.0011
37 | 2594473.4888 | 1221020.832
38 | 2594528.4405 | 1220887.2862
39 | 2594473.7116 | 1220892.1269
40 | 2594560.2731 | 1220906.5099
41 | 2594444.2827 | 1221115.2607
42 | 2594433.8793 | 1221133.2269
43 | 2594460.7258 | 1221098.4437
44 | 2594471.1197 | 1221088.0865
45 | 2594476.6017 | 1221125.7697
46 | 2594492.5116 | 1221123.5784
47 | 2594533.2105 | 1220866.9797
48 | 2594536.9973 | 1220854.1071
49 | 2594537.5861 | 1220852.123
50 | 2594542.225 | 1220838.4811
51 | 2594452.9455 | 1221041.11
52 | 2594443.2293 | 1221038.4104
53 | 2594493.4638 | 1221123.4473
54 | 2594560.208 | 1221102.2611
55 | 2594588.8599 | 1220847.5556
56 | 2594582.0647 | 1220865.1088
57 | 2594561.0188 | 1221113.6173
58 | 2594612.8504 | 1220848.2375
59 | 2594605.1108 | 1220871.2501
60 | 2594483.1558 | 1220867.5372
61 | 2594454.0073 | 1220883.3196
62 | 2594492.6596 | 1220857.9672
63 | 2594484.8781 | 1220862.763
64 | 2594566.8905 | 1220902.6272
65 | 2594570.6291 | 1220897.8797
66 | 2594573.8068 | 1220888.4711
67 | 2594573.7676 | 1220888.587
68 | 2594425.3227 | 1221037.9009
69 | 2594409.2771 | 1221044.1309
70 | 2594407.6689 | 1221069.5203
71 | 2594590.25 | 1221135.3707
72 | 2594556.8503 | 1220986.5925

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1