## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_391-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_391-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_391-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_391-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_391-5_0_3_node_66 | 0.4 | n |  | TRUE
5 | bus_LV_391-5_0_3_node_101 | 0.4 | n |  | TRUE
6 | bus_LV_391-5_0_3_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_391-5_0_3_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_391-5_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_391-5_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_391-5_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_391-5_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_391-5_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_391-5_0_3_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_391-5_0_3_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_391-5_0_3_node_47 | 0.4 | n |  | TRUE
16 | bus_LV_391-5_0_3_node_78 | 0.4 | n |  | TRUE
17 | bus_LV_391-5_0_3_node_77 | 0.4 | n |  | TRUE
18 | bus_LV_391-5_0_3_node_44 | 0.4 | n |  | TRUE
19 | bus_LV_391-5_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_391-5_0_3_node_55 | 0.4 | n |  | TRUE
21 | bus_LV_391-5_0_3_node_56 | 0.4 | n |  | TRUE
22 | bus_LV_391-5_0_3_node_60 | 0.4 | n |  | TRUE
23 | bus_LV_391-5_0_3_node_99 | 0.4 | n |  | TRUE
24 | bus_LV_391-5_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_391-5_0_3_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_391-5_0_3_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_391-5_0_3_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_391-5_0_3_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_391-5_0_3_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_391-5_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_391-5_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_391-5_0_3_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_391-5_0_3_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_391-5_0_3_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_391-5_0_3_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_391-5_0_3_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_391-5_0_3_node_81 | 0.4 | n |  | TRUE
38 | bus_LV_391-5_0_3_node_84 | 0.4 | n |  | TRUE
39 | bus_LV_391-5_0_3_node_79 | 0.4 | n |  | TRUE
40 | bus_LV_391-5_0_3_node_91 | 0.4 | n |  | TRUE
41 | bus_LV_391-5_0_3_node_95 | 0.4 | n |  | TRUE
42 | bus_LV_391-5_0_3_node_92 | 0.4 | n |  | TRUE
43 | bus_LV_391-5_0_3_node_83 | 0.4 | n |  | TRUE
44 | bus_LV_391-5_0_3_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_391-5_0_3_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_391-5_0_3_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_391-5_0_3_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_391-5_0_3_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_391-5_0_3_node_87 | 0.4 | n |  | TRUE
50 | bus_LV_391-5_0_3_node_93 | 0.4 | n |  | TRUE
51 | bus_LV_391-5_0_3_node_88 | 0.4 | n |  | TRUE
52 | bus_LV_391-5_0_3_node_89 | 0.4 | n |  | TRUE
53 | bus_LV_391-5_0_3_node_85 | 0.4 | n |  | TRUE
54 | bus_LV_391-5_0_3_node_80 | 0.4 | n |  | TRUE
55 | bus_LV_391-5_0_3_node_82 | 0.4 | n |  | TRUE
56 | bus_LV_391-5_0_3_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_391-5_0_3_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_391-5_0_3_node_67 | 0.4 | n |  | TRUE
59 | bus_LV_391-5_0_3_node_73 | 0.4 | n |  | TRUE
60 | bus_LV_391-5_0_3_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_391-5_0_3_node_37 | 0.4 | n |  | TRUE
62 | bus_LV_391-5_0_3_node_38 | 0.4 | n |  | TRUE
63 | bus_LV_391-5_0_3_node_39 | 0.4 | n |  | TRUE
64 | bus_LV_391-5_0_3_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_391-5_0_3_node_41 | 0.4 | n |  | TRUE
66 | bus_LV_391-5_0_3_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_391-5_0_3_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_391-5_0_3_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_391-5_0_3_node_97 | 0.4 | n |  | TRUE
70 | bus_LV_391-5_0_3_node_76 | 0.4 | n |  | TRUE
71 | bus_LV_391-5_0_3_node_43 | 0.4 | n |  | TRUE
72 | bus_LV_391-5_0_3_node_42 | 0.4 | n |  | TRUE
73 | bus_LV_391-5_0_3_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_391-5_0_3_node_98 | 0.4 | n |  | TRUE
75 | bus_LV_391-5_0_3_node_48 | 0.4 | n |  | TRUE
76 | bus_LV_391-5_0_3_node_49 | 0.4 | n |  | TRUE
77 | bus_LV_391-5_0_3_node_50 | 0.4 | n |  | TRUE
78 | bus_LV_391-5_0_3_node_51 | 0.4 | n |  | TRUE
79 | bus_LV_391-5_0_3_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_391-5_0_3_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_391-5_0_3_node_59 | 0.4 | n |  | TRUE
82 | bus_LV_391-5_0_3_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_391-5_0_3_node_58 | 0.4 | n |  | TRUE
84 | bus_LV_391-5_0_3_node_102 | 0.4 | n |  | TRUE
85 | bus_LV_391-5_0_3_node_57 | 0.4 | n |  | TRUE
86 | bus_LV_391-5_0_3_node_74 | 0.4 | n |  | TRUE
87 | bus_LV_391-5_0_3_node_75 | 0.4 | n |  | TRUE
88 | bus_LV_391-5_0_3_node_63 | 0.4 | n |  | TRUE
89 | bus_LV_391-5_0_3_node_64 | 0.4 | n |  | TRUE
90 | bus_LV_391-5_0_3_node_65 | 0.4 | n |  | TRUE
91 | bus_LV_391-5_0_3_node_70 | 0.4 | n |  | TRUE
92 | bus_LV_391-5_0_3_node_71 | 0.4 | n |  | TRUE
93 | bus_LV_391-5_0_3_node_72 | 0.4 | n |  | TRUE
94 | bus_LV_391-5_0_3_node_90 | 0.4 | n |  | TRUE
95 | bus_LV_391-5_0_3_node_96 | 0.4 | n |  | TRUE
96 | bus_LV_391-5_0_3_node_86 | 0.4 | n |  | TRUE
97 | bus_MV_385_0_node_186 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_391-5_0_3_load_0 | 0 | 0.00207 | 0.00051878 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_391-5_0_3_load_1 | 1 | 0.00046207 | 0.00011581 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_391-5_0_3_load_3 | 3 | 0.0014805 | 0.00037105 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_391-5_0_3_load_66 | 4 | 0.00047652 | 0.00011943 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_391-5_0_3_load_101 | 5 | 0.0075821 | 0.0019002 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_391-5_0_3_load_4 | 8 | 0.0046021 | 0.0011534 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_391-5_0_3_load_8 | 11 | 0.0023323 | 0.00058453 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_391-5_0_3_load_9 | 12 | 0.002842 | 0.00071227 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_391-5_0_3_load_20 | 13 | 0.0012711 | 0.00031857 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_391-5_0_3_load_19 | 14 | 0.00058454 | 0.0001465 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_391-5_0_3_load_47 | 15 | 0.0024523 | 0.00061462 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_391-5_0_3_load_78 | 16 | 0.00088764 | 0.00022246 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_391-5_0_3_load_77 | 17 | 0.0020227 | 0.00050694 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_391-5_0_3_load_44 | 18 | 0.0013652 | 0.00034216 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_391-5_0_3_load_55 | 20 | 0.00069233 | 0.00017351 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_391-5_0_3_load_60 | 22 | 0.0024619 | 0.00061702 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_391-5_0_3_load_16 | 24 | 0.0013485 | 0.00033795 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_391-5_0_3_load_11 | 25 | 0.002558 | 0.0006411 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_391-5_0_3_load_14 | 27 | 0.0012163 | 0.00030484 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_391-5_0_3_load_15 | 28 | 0.00067477 | 0.00016911 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_391-5_0_3_load_17 | 30 | 0.0035996 | 0.00090215 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_391-5_0_3_load_18 | 31 | 0.0019528 | 0.00048942 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_391-5_0_3_load_22 | 33 | 0.0023429 | 0.0005872 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_391-5_0_3_load_23 | 34 | 0.0097789 | 0.0024508 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_391-5_0_3_load_27 | 36 | 0.0026062 | 0.00065317 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_391-5_0_3_load_81 | 37 | 0.002499 | 0.00062631 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_391-5_0_3_load_84 | 38 | 0.0025402 | 0.00063664 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_391-5_0_3_load_79 | 39 | 0.00078727 | 0.00019731 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_391-5_0_3_load_91 | 40 | 0.002367 | 0.00059324 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_391-5_0_3_load_95 | 41 | 0.0041175 | 0.0010319 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_391-5_0_3_load_92 | 42 | 0.0039071 | 0.00097921 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_391-5_0_3_load_83 | 43 | 0.0013059 | 0.00032728 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_391-5_0_3_load_30 | 44 | 0.0010073 | 0.00025245 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_391-5_0_3_load_28 | 45 | 0.0029157 | 0.00073073 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_391-5_0_3_load_32 | 47 | 0.011374 | 0.0028506 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_391-5_0_3_load_31 | 48 | 0.0027239 | 0.00068267 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_391-5_0_3_load_93 | 50 | 0.0023182 | 0.00058101 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_391-5_0_3_load_88 | 51 | 0.0018742 | 0.00046973 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_391-5_0_3_load_89 | 52 | 0.00089476 | 0.00022425 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_391-5_0_3_load_85 | 53 | 0.0013323 | 0.00033391 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_391-5_0_3_load_80 | 54 | 0.0021863 | 0.00054795 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_391-5_0_3_load_82 | 55 | 0.00095752 | 0.00023998 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_391-5_0_3_load_34 | 56 | 0.00069987 | 0.0001754 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_391-5_0_3_load_35 | 57 | 0.0020657 | 0.00051771 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_391-5_0_3_load_53 | 60 | 0.00067413 | 0.00016895 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_391-5_0_3_load_37 | 61 | 0.0052685 | 0.0013204 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_391-5_0_3_load_38 | 62 | 0.0053103 | 0.0013309 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_391-5_0_3_load_41 | 65 | 0.00060467 | 0.00015155 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_391-5_0_3_load_52 | 66 | 0.0048816 | 0.0012234 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_391-5_0_3_load_54 | 67 | 0.00024761 | 6.2057e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_391-5_0_3_load_97 | 69 | 0.00040131 | 0.00010058 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_391-5_0_3_load_76 | 70 | 0.0017588 | 0.00044081 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_391-5_0_3_load_42 | 72 | 0.0029952 | 0.00075068 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_391-5_0_3_load_98 | 74 | 0.0015114 | 0.0003788 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_391-5_0_3_load_48 | 75 | 0.00045329 | 0.0001136 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_391-5_0_3_load_49 | 76 | 0.0012621 | 0.00031631 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_391-5_0_3_load_50 | 77 | 0.0044145 | 0.0011064 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_391-5_0_3_load_51 | 78 | 0.0023096 | 0.00057883 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_391-5_0_3_load_62 | 79 | 0.0065992 | 0.0016539 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_391-5_0_3_load_68 | 80 | 0.0018011 | 0.00045139 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_391-5_0_3_load_69 | 82 | 0.00072549 | 0.00018182 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_391-5_0_3_load_58 | 83 | 0.00086737 | 0.00021738 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_391-5_0_3_load_102 | 84 | 0.00237 | 0.00059398 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_391-5_0_3_load_57 | 85 | 0.003029 | 0.00075914 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_391-5_0_3_load_74 | 86 | 0.0042335 | 0.001061 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_391-5_0_3_load_75 | 87 | 0.0019535 | 0.00048959 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_391-5_0_3_load_63 | 88 | 0.00071879 | 0.00018015 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_391-5_0_3_load_64 | 89 | 0.0016007 | 0.00040118 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_391-5_0_3_load_65 | 90 | 0.00027216 | 6.8209e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_391-5_0_3_load_71 | 92 | 0.0011472 | 0.00028752 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_391-5_0_3_load_72 | 93 | 0.0018355 | 0.00046001 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_391-5_0_3_load_90 | 94 | 0.0016869 | 0.00042277 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_391-5_0_3_load_96 | 95 | 0.0016024 | 0.0004016 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_391-5_0_3_load_86 | 96 | 0.0013452 | 0.00033715 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 77 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_391-5_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.027527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_391-5_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.04286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_391-5_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.031534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_391-5_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.026694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_391-5_0_3_line_4 | NAYY 4x150 SE | 4 | 7 | 0.025173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_391-5_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.17109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_391-5_0_3_line_6 | NAYY 4x150 SE | 6 | 35 | 0.029972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_391-5_0_3_line_7 | NAYY 4x150 SE | 6 | 36 | 0.016098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_391-5_0_3_line_8 | NAYY 4x150 SE | 6 | 34 | 0.020244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_391-5_0_3_line_9 | NAYY 4x150 SE | 7 | 58 | 0.012657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_391-5_0_3_line_10 | NAYY 4x150 SE | 7 | 57 | 0.025944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_391-5_0_3_line_11 | NAYY 4x150 SE | 8 | 9 | 0.098547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_391-5_0_3_line_12 | NAYY 4x150 SE | 9 | 10 | 0.020045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_391-5_0_3_line_13 | NAYY 4x150 SE | 10 | 15 | 0.021262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_391-5_0_3_line_14 | NAYY 4x150 SE | 10 | 16 | 0.021322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_391-5_0_3_line_15 | NAYY 4x150 SE | 11 | 12 | 0.028334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_391-5_0_3_line_16 | NAYY 4x150 SE | 12 | 19 | 0.01416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_391-5_0_3_line_17 | NAYY 4x150 SE | 13 | 14 | 0.0062419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_391-5_0_3_line_18 | NAYY 4x150 SE | 14 | 30 | 0.0093836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_391-5_0_3_line_19 | NAYY 4x150 SE | 16 | 17 | 0.084433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_391-5_0_3_line_20 | NAYY 4x150 SE | 17 | 18 | 0.031765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_391-5_0_3_line_21 | NAYY 4x150 SE | 18 | 71 | 0.014481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_391-5_0_3_line_22 | NAYY 4x150 SE | 19 | 20 | 0.0077366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_391-5_0_3_line_23 | NAYY 4x150 SE | 19 | 21 | 0.061972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_391-5_0_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.014001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_391-5_0_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.018046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_391-5_0_3_line_26 | NAYY 4x150 SE | 21 | 24 | 0.04602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_391-5_0_3_line_27 | NAYY 4x150 SE | 22 | 83 | 0.00093463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_391-5_0_3_line_28 | NAYY 4x150 SE | 23 | 84 | 0.017922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_391-5_0_3_line_29 | NAYY 4x150 SE | 24 | 26 | 0.017437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_391-5_0_3_line_30 | NAYY 4x150 SE | 25 | 26 | 0.014445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_391-5_0_3_line_31 | NAYY 4x150 SE | 26 | 27 | 0.024166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_391-5_0_3_line_32 | NAYY 4x150 SE | 26 | 28 | 0.018107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_391-5_0_3_line_33 | NAYY 4x150 SE | 27 | 32 | 0.017984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_391-5_0_3_line_34 | NAYY 4x150 SE | 28 | 33 | 0.0033007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_391-5_0_3_line_35 | NAYY 4x150 SE | 29 | 30 | 0.01191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_391-5_0_3_line_36 | NAYY 4x150 SE | 29 | 31 | 0.0092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_391-5_0_3_line_37 | NAYY 4x150 SE | 31 | 32 | 0.031412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_391-5_0_3_line_38 | NAYY 4x150 SE | 35 | 40 | 0.018466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_391-5_0_3_line_39 | NAYY 4x150 SE | 35 | 38 | 0.033731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_391-5_0_3_line_40 | NAYY 4x150 SE | 36 | 41 | 0.022073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_391-5_0_3_line_41 | NAYY 4x150 SE | 37 | 38 | 0.048026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_391-5_0_3_line_42 | NAYY 4x150 SE | 37 | 39 | 0.004823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_391-5_0_3_line_43 | NAYY 4x150 SE | 38 | 43 | 0.028498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_391-5_0_3_line_44 | NAYY 4x150 SE | 39 | 54 | 0.01608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_391-5_0_3_line_45 | NAYY 4x150 SE | 40 | 42 | 0.005923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_391-5_0_3_line_46 | NAYY 4x150 SE | 41 | 44 | 0.015365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_391-5_0_3_line_47 | NAYY 4x150 SE | 44 | 46 | 0.026196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_391-5_0_3_line_48 | NAYY 4x150 SE | 45 | 46 | 0.011263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_391-5_0_3_line_49 | NAYY 4x150 SE | 45 | 47 | 0.023985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_391-5_0_3_line_50 | NAYY 4x150 SE | 46 | 48 | 0.0071733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_391-5_0_3_line_51 | NAYY 4x150 SE | 48 | 49 | 0.015362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_391-5_0_3_line_52 | NAYY 4x150 SE | 49 | 52 | 0.012158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_391-5_0_3_line_53 | NAYY 4x150 SE | 49 | 53 | 0.010671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_391-5_0_3_line_54 | NAYY 4x150 SE | 50 | 51 | 0.044955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_391-5_0_3_line_55 | NAYY 4x150 SE | 51 | 96 | 0.0042533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_391-5_0_3_line_56 | NAYY 4x150 SE | 52 | 95 | 7.9656e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_391-5_0_3_line_57 | NAYY 4x150 SE | 53 | 96 | 0.01096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_391-5_0_3_line_58 | NAYY 4x150 SE | 54 | 55 | 0.018937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_391-5_0_3_line_59 | NAYY 4x150 SE | 55 | 94 | 0.0017164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_391-5_0_3_line_60 | NAYY 4x150 SE | 56 | 57 | 0.0070484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_391-5_0_3_line_61 | NAYY 4x150 SE | 58 | 59 | 0.050778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_391-5_0_3_line_62 | NAYY 4x150 SE | 58 | 60 | 0.027084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_391-5_0_3_line_63 | NAYY 4x150 SE | 59 | 90 | 0.013597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_391-5_0_3_line_64 | NAYY 4x150 SE | 60 | 64 | 0.029196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_391-5_0_3_line_65 | NAYY 4x150 SE | 61 | 62 | 0.0045544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_391-5_0_3_line_66 | NAYY 4x150 SE | 61 | 63 | 0.0096821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_391-5_0_3_line_67 | NAYY 4x150 SE | 62 | 64 | 0.01765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_391-5_0_3_line_68 | NAYY 4x150 SE | 63 | 65 | 0.0010209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_391-5_0_3_line_69 | NAYY 4x150 SE | 64 | 66 | 0.015176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_391-5_0_3_line_70 | NAYY 4x150 SE | 64 | 67 | 0.044424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_391-5_0_3_line_71 | NAYY 4x150 SE | 65 | 68 | 0.039156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_391-5_0_3_line_72 | NAYY 4x150 SE | 67 | 69 | 0.0011095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_391-5_0_3_line_73 | NAYY 4x150 SE | 68 | 70 | 0.0099962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_391-5_0_3_line_74 | NAYY 4x150 SE | 68 | 71 | 0.00869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_391-5_0_3_line_75 | NAYY 4x150 SE | 69 | 74 | 0.0082059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_391-5_0_3_line_76 | NAYY 4x150 SE | 70 | 73 | 0.023371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_391-5_0_3_line_77 | NAYY 4x150 SE | 71 | 72 | 0.013648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_391-5_0_3_line_78 | NAYY 4x150 SE | 73 | 86 | 0.024623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_391-5_0_3_line_79 | NAYY 4x150 SE | 73 | 81 | 0.01056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_391-5_0_3_line_80 | NAYY 4x150 SE | 75 | 76 | 0.009289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_391-5_0_3_line_81 | NAYY 4x150 SE | 75 | 77 | 0.022863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_391-5_0_3_line_82 | NAYY 4x150 SE | 77 | 78 | 0.032901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
83 | LV_391-5_0_3_line_83 | NAYY 4x150 SE | 78 | 79 | 0.021423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_391-5_0_3_line_84 | NAYY 4x150 SE | 78 | 80 | 0.025204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
85 | LV_391-5_0_3_line_85 | NAYY 4x150 SE | 79 | 81 | 0.027312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_391-5_0_3_line_86 | NAYY 4x150 SE | 80 | 82 | 0.017643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
87 | LV_391-5_0_3_line_87 | NAYY 4x150 SE | 81 | 85 | 0.017054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_391-5_0_3_line_88 | NAYY 4x150 SE | 82 | 91 | 0.036896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
89 | LV_391-5_0_3_line_89 | NAYY 4x150 SE | 83 | 85 | 0.025487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_391-5_0_3_line_90 | NAYY 4x150 SE | 86 | 87 | 0.0039586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_391-5_0_3_line_91 | NAYY 4x150 SE | 88 | 89 | 0.028449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_391-5_0_3_line_92 | NAYY 4x150 SE | 89 | 90 | 0.010962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_391-5_0_3_line_93 | NAYY 4x150 SE | 91 | 92 | 0.033179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
94 | LV_391-5_0_3_line_94 | NAYY 4x150 SE | 91 | 93 | 0.016477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_391-5_0_3_line_95 | NAYY 4x150 SE | 92 | 94 | 0.017007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_391-5_0_3_trafo_50 | 0.25 MVA 20/0.4 kV | 97 | 77 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2597631.404 | 1219988.8087 | 2597617.7265 | 1220012.6968
1 | 2597596.4301 | 1220049.8915 | 2597617.7265 | 1220012.6968
2 | 2597596.4301 | 1220049.8915 | 2597596.023 | 1220037.9404 | 2597593.0811 | 1220024.0892 | 2597590.4141 | 1220019.3761
3 | 2597590.4141 | 1220019.3761 | 2597580.2191 | 1220001.3594 | 2597575.6519 | 1219997.4787
4 | 2597555.4621 | 1219982.7591 | 2597562.0187 | 1219985.8248 | 2597566.9976 | 1219990.1251 | 2597575.6519 | 1219997.4787
5 | 2597543.6027 | 1220266.5602 | 2597711.7277 | 1220234.8285
6 | 2597543.6027 | 1220266.5602 | 2597540.2746 | 1220236.7778
7 | 2597543.6027 | 1220266.5602 | 2597527.5177 | 1220265.9229
8 | 2597543.6027 | 1220266.5602 | 2597545.4811 | 1220286.7169
9 | 2597548.7976 | 1219993.3903 | 2597551.6869 | 1219990.1538 | 2597553.8704 | 1219986.5842 | 2597555.4621 | 1219982.7591
10 | 2597555.4621 | 1219982.7591 | 2597555.787 | 1219979.5572 | 2597555.4663 | 1219974.7212 | 2597552.4029 | 1219957.1069
11 | 2597356.9146 | 1219898.7761 | 2597258.5133 | 1219893.4108
12 | 2597376.9364 | 1219896.9659 | 2597356.9146 | 1219898.7761
13 | 2597376.9364 | 1219896.9659 | 2597398.0201 | 1219894.2215
14 | 2597376.9364 | 1219896.9659 | 2597378.8084 | 1219918.2052
15 | 2597342.788 | 1220020.6266 | 2597345.5537 | 1220025.1092 | 2597346.6549 | 1220027.31 | 2597347.0351 | 1220029.2109 | 2597346.907 | 1220031.1343 | 2597343.8039 | 1220047.5842
16 | 2597341.3065 | 1220061.5209 | 2597341.995 | 1220057.1736 | 2597343.8039 | 1220047.5842
17 | 2597160.1091 | 1220021.4839 | 2597158.1185 | 1220015.7816 | 2597158.0599 | 1220015.5881
18 | 2597160.1091 | 1220021.4839 | 2597160.1091 | 1220021.4839 | 2597168.3628 | 1220025.9479
19 | 2597387.1048 | 1220002.2292 | 2597378.8084 | 1219918.2052
20 | 2597387.1048 | 1220002.2292 | 2597388.2314 | 1220009.403 | 2597388.6341 | 1220010.6146 | 2597389.3098 | 1220011.6038 | 2597390.2433 | 1220012.2704 | 2597391.6471 | 1220012.7145 | 2597409.1442 | 1220015.5305 | 2597410.8252 | 1220015.6746
21 | 2597425.2895 | 1220015.5788 | 2597413.9166 | 1220015.9397 | 2597410.8252 | 1220015.6746
22 | 2597341.3065 | 1220061.5209 | 2597349.0203 | 1220062.1152
23 | 2597279.5461 | 1220056.9025 | 2597295.6535 | 1220057.1951 | 2597313.3018 | 1220059.1769 | 2597341.3065 | 1220061.5209
24 | 2597349.0203 | 1220062.1152 | 2597362.5357 | 1220063.1566 | 2597362.9802 | 1220063.1861
25 | 2597275.9278 | 1220074.581 | 2597279.5461 | 1220056.9025
26 | 2597279.5461 | 1220056.9025 | 2597253.1739 | 1220057.4708 | 2597233.8033 | 1220060.7251
27 | 2597362.9802 | 1220063.1861 | 2597363.9128 | 1220063.2481
28 | 2597275.9278 | 1220074.581 | 2597258.6318 | 1220079.4586
29 | 2597216.6074 | 1220063.614 | 2597233.8033 | 1220060.7251
30 | 2597216.6074 | 1220063.614 | 2597211.8155 | 1220054.3221 | 2597208.8264 | 1220051.6791
31 | 2597216.6074 | 1220063.614 | 2597192.9334 | 1220068.4633
32 | 2597216.6074 | 1220063.614 | 2597217.2863 | 1220081.708
33 | 2597175.3154 | 1220072.0721 | 2597192.9334 | 1220068.4633
34 | 2597217.41 | 1220085.0064 | 2597217.2863 | 1220081.708
35 | 2597178.8389 | 1220031.6139 | 2597168.3628 | 1220025.9479
36 | 2597178.8389 | 1220031.6139 | 2597178.0772 | 1220040.7823
37 | 2597175.3154 | 1220072.0721 | 2597176.6137 | 1220058.397 | 2597178.0772 | 1220040.7823
38 | 2597540.2746 | 1220236.7778 | 2597521.8237 | 1220236.0366
39 | 2597540.2746 | 1220236.7778 | 2597538.3662 | 1220209.2073 | 2597538.2682 | 1220203.1132
40 | 2597505.4616 | 1220265.0491 | 2597527.5177 | 1220265.9229
41 | 2597491.1931 | 1220193.605 | 2597538.2682 | 1220203.1132
42 | 2597486.3741 | 1220193.4097 | 2597491.1931 | 1220193.605
43 | 2597539.3196 | 1220174.6511 | 2597538.1324 | 1220194.6657 | 2597538.2682 | 1220203.1132
44 | 2597486.3741 | 1220193.4097 | 2597470.3078 | 1220192.7587
45 | 2597515.9055 | 1220235.7988 | 2597521.8237 | 1220236.0366
46 | 2597505.4616 | 1220265.0491 | 2597490.1087 | 1220264.4409
47 | 2597463.9329 | 1220263.4039 | 2597490.1087 | 1220264.4409
48 | 2597463.9329 | 1220263.4039 | 2597463.9356 | 1220269.6852 | 2597461.0308 | 1220271.6543 | 2597459.5595 | 1220271.7023
49 | 2597459.5595 | 1220271.7023 | 2597450.6121 | 1220293.9558
50 | 2597463.9329 | 1220263.4039 | 2597463.9418 | 1220256.2305
51 | 2597463.9609 | 1220240.8687 | 2597463.9418 | 1220256.2305
52 | 2597463.9609 | 1220240.8687 | 2597476.1188 | 1220240.8744
53 | 2597463.9609 | 1220240.8687 | 2597453.2951 | 1220240.5251
54 | 2597398.0913 | 1220260.5557 | 2597438.0896 | 1220240.0352
55 | 2597438.0896 | 1220240.0352 | 2597442.3407 | 1220240.1721
56 | 2597476.1984 | 1220240.8745 | 2597476.1188 | 1220240.8744
57 | 2597453.2951 | 1220240.5251 | 2597442.3407 | 1220240.1721
58 | 2597451.386 | 1220191.9919 | 2597470.3078 | 1220192.7587
59 | 2597451.386 | 1220191.9919 | 2597449.671 | 1220191.9224
60 | 2597551.1822 | 1219950.165 | 2597551.4429 | 1219951.5874 | 2597552.4029 | 1219957.1069
61 | 2597548.7976 | 1219993.3903 | 2597547.6867 | 1220021.7514 | 2597547.1424 | 1220044.1311
62 | 2597548.7976 | 1219993.3903 | 2597544.2767 | 1219995.9158 | 2597538.428 | 1219998.0195 | 2597530.3865 | 1219999.8907 | 2597523.0751 | 1220001.2317
63 | 2597547.1424 | 1220044.1311 | 2597543.3631 | 1220042.0204 | 2597534.1195 | 1220041.3408
64 | 2597494.3582 | 1220006.4989 | 2597523.0751 | 1220001.2317
65 | 2597472.6288 | 1220011.0557 | 2597477.0707 | 1220010.0497
66 | 2597463.277 | 1220013.5498 | 2597469.4825 | 1220011.7683 | 2597472.6288 | 1220011.0557
67 | 2597494.3582 | 1220006.4989 | 2597481.0896 | 1220009.1395 | 2597477.0707 | 1220010.0497
68 | 2597463.277 | 1220013.5498 | 2597462.3215 | 1220013.9093
69 | 2597494.3582 | 1220006.4989 | 2597493.8482 | 1220021.6664
70 | 2597494.3582 | 1220006.4989 | 2597496.69 | 1219994.7467 | 2597502.5002 | 1219973.7321 | 2597502.6234 | 1219963.0931
71 | 2597424.7547 | 1220024.2507 | 2597433.1152 | 1220023.3687 | 2597439.207 | 1220022.0319 | 2597447.0358 | 1220019.6604 | 2597462.3215 | 1220013.9093
72 | 2597502.6363 | 1219961.9836 | 2597502.6234 | 1219963.0931
73 | 2597424.7547 | 1220024.2507 | 2597423.8923 | 1220030.0655 | 2597423.0619 | 1220034.0987
74 | 2597424.7547 | 1220024.2507 | 2597425.2895 | 1220015.5788
75 | 2597504.0015 | 1219953.9646 | 2597502.6757 | 1219958.5789 | 2597502.6363 | 1219961.9836
76 | 2597414.7234 | 1220055.6398 | 2597417.0967 | 1220052.3814 | 2597418.81 | 1220049.3678 | 2597420.1968 | 1220045.5761 | 2597422.1662 | 1220038.4489 | 2597423.0619 | 1220034.0987
77 | 2597425.2895 | 1220015.5788 | 2597425.2304 | 1220001.9309
78 | 2597414.7234 | 1220055.6398 | 2597418.154 | 1220058.451 | 2597420.8785 | 1220060.1953 | 2597424.096 | 1220061.4501 | 2597437.455 | 1220063.387
79 | 2597406.0465 | 1220061.5916 | 2597409.0503 | 1220060.0338 | 2597412.2207 | 1220057.9201 | 2597414.7234 | 1220055.6398
80 | 2597456.5273 | 1220107.8276 | 2597457.2935 | 1220105.7831 | 2597458.6171 | 1220098.8018
81 | 2597456.5273 | 1220107.8276 | 2597456.081 | 1220109.0188 | 2597454.0712 | 1220110.7651 | 2597448.935 | 1220111.0564 | 2597442.9256 | 1220109.9696 | 2597436.4457 | 1220108.4716 | 2597435.4216 | 1220108.4003
82 | 2597402.677 | 1220110.2098 | 2597421.833 | 1220107.9 | 2597428.3502 | 1220107.9082 | 2597435.4216 | 1220108.4003
83 | 2597402.677 | 1220110.2098 | 2597404.1581 | 1220088.8385
84 | 2597402.677 | 1220110.2098 | 2597401.6811 | 1220135.3942
85 | 2597406.0465 | 1220061.5916 | 2597404.1581 | 1220088.8385
86 | 2597401.6811 | 1220135.3942 | 2597400.984 | 1220153.0234
87 | 2597406.0465 | 1220061.5916 | 2597403.2777 | 1220062.5156 | 2597398.0129 | 1220063.7742 | 2597392.065 | 1220064.6218 | 2597389.3511 | 1220064.6625
88 | 2597399.5262 | 1220189.8903 | 2597400.984 | 1220153.0234
89 | 2597389.3511 | 1220064.6625 | 2597385.9499 | 1220064.7135 | 2597363.9128 | 1220063.2481
90 | 2597441.3727 | 1220063.955 | 2597437.455 | 1220063.387
91 | 2597496.2287 | 1220043.7291 | 2597498.5384 | 1220040.7389 | 2597518.1051 | 1220040.1635 | 2597523.1868 | 1220040.5371
92 | 2597523.1868 | 1220040.5371 | 2597534.1195 | 1220041.3408
93 | 2597399.5262 | 1220189.8903 | 2597432.6777 | 1220191.2337
94 | 2597399.5262 | 1220189.8903 | 2597399.1917 | 1220206.3641
95 | 2597449.671 | 1220191.9224 | 2597432.6777 | 1220191.2337

## bus_geodata
| x | y | coords
0 | 2597617.7265 | 1220012.6968
1 | 2597631.404 | 1219988.8087
2 | 2597596.4301 | 1220049.8915
3 | 2597590.4141 | 1220019.3761
4 | 2597575.6519 | 1219997.4787
5 | 2597711.7277 | 1220234.8285
6 | 2597543.6027 | 1220266.5602
7 | 2597555.4621 | 1219982.7591
8 | 2597258.5133 | 1219893.4108
9 | 2597356.9146 | 1219898.7761
10 | 2597376.9364 | 1219896.9659
11 | 2597342.788 | 1220020.6266
12 | 2597343.8039 | 1220047.5842
13 | 2597158.0599 | 1220015.5881
14 | 2597160.1091 | 1220021.4839
15 | 2597398.0201 | 1219894.2215
16 | 2597378.8084 | 1219918.2052
17 | 2597387.1048 | 1220002.2292
18 | 2597410.8252 | 1220015.6746
19 | 2597341.3065 | 1220061.5209
20 | 2597349.0203 | 1220062.1152
21 | 2597279.5461 | 1220056.9025
22 | 2597362.9802 | 1220063.1861
23 | 2597275.9278 | 1220074.581
24 | 2597233.8033 | 1220060.7251
25 | 2597208.8264 | 1220051.6791
26 | 2597216.6074 | 1220063.614
27 | 2597192.9334 | 1220068.4633
28 | 2597217.2863 | 1220081.708
29 | 2597178.8389 | 1220031.6139
30 | 2597168.3628 | 1220025.9479
31 | 2597178.0772 | 1220040.7823
32 | 2597175.3154 | 1220072.0721
33 | 2597217.41 | 1220085.0064
34 | 2597545.4811 | 1220286.7169
35 | 2597540.2746 | 1220236.7778
36 | 2597527.5177 | 1220265.9229
37 | 2597491.1931 | 1220193.605
38 | 2597538.2682 | 1220203.1132
39 | 2597486.3741 | 1220193.4097
40 | 2597521.8237 | 1220236.0366
41 | 2597505.4616 | 1220265.0491
42 | 2597515.9055 | 1220235.7988
43 | 2597539.3196 | 1220174.6511
44 | 2597490.1087 | 1220264.4409
45 | 2597459.5595 | 1220271.7023
46 | 2597463.9329 | 1220263.4039
47 | 2597450.6121 | 1220293.9558
48 | 2597463.9418 | 1220256.2305
49 | 2597463.9609 | 1220240.8687
50 | 2597398.0913 | 1220260.5557
51 | 2597438.0896 | 1220240.0352
52 | 2597476.1188 | 1220240.8744
53 | 2597453.2951 | 1220240.5251
54 | 2597470.3078 | 1220192.7587
55 | 2597451.386 | 1220191.9919
56 | 2597551.1822 | 1219950.165
57 | 2597552.4029 | 1219957.1069
58 | 2597548.7976 | 1219993.3903
59 | 2597547.1424 | 1220044.1311
60 | 2597523.0751 | 1220001.2317
61 | 2597472.6288 | 1220011.0557
62 | 2597477.0707 | 1220010.0497
63 | 2597463.277 | 1220013.5498
64 | 2597494.3582 | 1220006.4989
65 | 2597462.3215 | 1220013.9093
66 | 2597493.8482 | 1220021.6664
67 | 2597502.6234 | 1219963.0931
68 | 2597424.7547 | 1220024.2507
69 | 2597502.6363 | 1219961.9836
70 | 2597423.0619 | 1220034.0987
71 | 2597425.2895 | 1220015.5788
72 | 2597425.2304 | 1220001.9309
73 | 2597414.7234 | 1220055.6398
74 | 2597504.0015 | 1219953.9646
75 | 2597456.5273 | 1220107.8276
76 | 2597458.6171 | 1220098.8018
77 | 2597435.4216 | 1220108.4003
78 | 2597402.677 | 1220110.2098
79 | 2597404.1581 | 1220088.8385
80 | 2597401.6811 | 1220135.3942
81 | 2597406.0465 | 1220061.5916
82 | 2597400.984 | 1220153.0234
83 | 2597363.9128 | 1220063.2481
84 | 2597258.6318 | 1220079.4586
85 | 2597389.3511 | 1220064.6625
86 | 2597437.455 | 1220063.387
87 | 2597441.3727 | 1220063.955
88 | 2597496.2287 | 1220043.7291
89 | 2597523.1868 | 1220040.5371
90 | 2597534.1195 | 1220041.3408
91 | 2597399.5262 | 1220189.8903
92 | 2597432.6777 | 1220191.2337
93 | 2597399.1917 | 1220206.3641
94 | 2597449.671 | 1220191.9224
95 | 2597476.1984 | 1220240.8745
96 | 2597442.3407 | 1220240.1721
97 | 2597402.677 | 1220110.2098

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1