## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4076-3_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4076-3_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4076-3_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4076-3_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4076-3_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4076-3_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4076-3_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4076-3_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_4076-3_0_6_node_71 | 0.4 | n |  | TRUE
9 | bus_LV_4076-3_0_6_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_4076-3_0_6_node_73 | 0.4 | n |  | TRUE
11 | bus_LV_4076-3_0_6_node_76 | 0.4 | n |  | TRUE
12 | bus_LV_4076-3_0_6_node_72 | 0.4 | n |  | TRUE
13 | bus_LV_4076-3_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_4076-3_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_4076-3_0_6_node_39 | 0.4 | n |  | TRUE
16 | bus_LV_4076-3_0_6_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_4076-3_0_6_node_38 | 0.4 | n |  | TRUE
18 | bus_LV_4076-3_0_6_node_34 | 0.4 | n |  | TRUE
19 | bus_LV_4076-3_0_6_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_4076-3_0_6_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_4076-3_0_6_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_4076-3_0_6_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_4076-3_0_6_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_4076-3_0_6_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_4076-3_0_6_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_4076-3_0_6_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_4076-3_0_6_node_69 | 0.4 | n |  | TRUE
28 | bus_LV_4076-3_0_6_node_70 | 0.4 | n |  | TRUE
29 | bus_LV_4076-3_0_6_node_68 | 0.4 | n |  | TRUE
30 | bus_LV_4076-3_0_6_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_4076-3_0_6_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_4076-3_0_6_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_4076-3_0_6_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_4076-3_0_6_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_4076-3_0_6_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_4076-3_0_6_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_4076-3_0_6_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_4076-3_0_6_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_4076-3_0_6_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_4076-3_0_6_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_4076-3_0_6_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_4076-3_0_6_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_4076-3_0_6_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_4076-3_0_6_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_4076-3_0_6_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_4076-3_0_6_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_4076-3_0_6_node_67 | 0.4 | n |  | TRUE
48 | bus_LV_4076-3_0_6_node_52 | 0.4 | n |  | TRUE
49 | bus_LV_4076-3_0_6_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_4076-3_0_6_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_4076-3_0_6_node_101 | 0.4 | n |  | TRUE
52 | bus_LV_4076-3_0_6_node_100 | 0.4 | n |  | TRUE
53 | bus_LV_4076-3_0_6_node_96 | 0.4 | n |  | TRUE
54 | bus_LV_4076-3_0_6_node_98 | 0.4 | n |  | TRUE
55 | bus_LV_4076-3_0_6_node_94 | 0.4 | n |  | TRUE
56 | bus_LV_4076-3_0_6_node_99 | 0.4 | n |  | TRUE
57 | bus_LV_4076-3_0_6_node_104 | 0.4 | n |  | TRUE
58 | bus_LV_4076-3_0_6_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_4076-3_0_6_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_4076-3_0_6_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_4076-3_0_6_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_4076-3_0_6_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_4076-3_0_6_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_4076-3_0_6_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_4076-3_0_6_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_4076-3_0_6_node_77 | 0.4 | n |  | TRUE
67 | bus_LV_4076-3_0_6_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_4076-3_0_6_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_4076-3_0_6_node_93 | 0.4 | n |  | TRUE
70 | bus_LV_4076-3_0_6_node_102 | 0.4 | n |  | TRUE
71 | bus_LV_4076-3_0_6_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_4076-3_0_6_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_4076-3_0_6_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_4076-3_0_6_node_57 | 0.4 | n |  | TRUE
75 | bus_LV_4076-3_0_6_node_58 | 0.4 | n |  | TRUE
76 | bus_LV_4076-3_0_6_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_4076-3_0_6_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_4076-3_0_6_node_84 | 0.4 | n |  | TRUE
79 | bus_LV_4076-3_0_6_node_83 | 0.4 | n |  | TRUE
80 | bus_LV_4076-3_0_6_node_64 | 0.4 | n |  | TRUE
81 | bus_LV_4076-3_0_6_node_61 | 0.4 | n |  | TRUE
82 | bus_LV_4076-3_0_6_node_85 | 0.4 | n |  | TRUE
83 | bus_LV_4076-3_0_6_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_4076-3_0_6_node_66 | 0.4 | n |  | TRUE
85 | bus_LV_4076-3_0_6_node_62 | 0.4 | n |  | TRUE
86 | bus_LV_4076-3_0_6_node_63 | 0.4 | n |  | TRUE
87 | bus_LV_4076-3_0_6_node_89 | 0.4 | n |  | TRUE
88 | bus_LV_4076-3_0_6_node_87 | 0.4 | n |  | TRUE
89 | bus_LV_4076-3_0_6_node_88 | 0.4 | n |  | TRUE
90 | bus_LV_4076-3_0_6_node_86 | 0.4 | n |  | TRUE
91 | bus_LV_4076-3_0_6_node_75 | 0.4 | n |  | TRUE
92 | bus_LV_4076-3_0_6_node_78 | 0.4 | n |  | TRUE
93 | bus_LV_4076-3_0_6_node_80 | 0.4 | n |  | TRUE
94 | bus_LV_4076-3_0_6_node_79 | 0.4 | n |  | TRUE
95 | bus_LV_4076-3_0_6_node_81 | 0.4 | n |  | TRUE
96 | bus_LV_4076-3_0_6_node_90 | 0.4 | n |  | TRUE
97 | bus_LV_4076-3_0_6_node_91 | 0.4 | n |  | TRUE
98 | bus_LV_4076-3_0_6_node_92 | 0.4 | n |  | TRUE
99 | bus_LV_4076-3_0_6_node_95 | 0.4 | n |  | TRUE
100 | bus_LV_4076-3_0_6_node_97 | 0.4 | n |  | TRUE
101 | bus_LV_4076-3_0_6_node_103 | 0.4 | n |  | TRUE
102 | bus_MV_470_0_node_349 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4076-3_0_6_load_0 | 0 | 0.0027314 | 0.00068456 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4076-3_0_6_load_1 | 1 | 0.0046026 | 0.0011535 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4076-3_0_6_load_2 | 2 | 0.0044373 | 0.0011121 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4076-3_0_6_load_5 | 5 | 0.00080691 | 0.00020223 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4076-3_0_6_load_7 | 7 | 0.00095767 | 0.00024002 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4076-3_0_6_load_71 | 8 | 0.0069032 | 0.0017301 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4076-3_0_6_load_8 | 9 | 0.0037851 | 0.00094864 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4076-3_0_6_load_73 | 10 | 0.0058422 | 0.0014642 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4076-3_0_6_load_76 | 11 | 0.0055535 | 0.0013918 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4076-3_0_6_load_9 | 13 | 0.0061719 | 0.0015468 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4076-3_0_6_load_10 | 14 | 0.0034085 | 0.00085426 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4076-3_0_6_load_39 | 15 | 0.0067547 | 0.0016929 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4076-3_0_6_load_38 | 17 | 0.0042523 | 0.0010657 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4076-3_0_6_load_34 | 18 | 0.0013431 | 0.0003366 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4076-3_0_6_load_11 | 19 | 0.0013791 | 0.00034563 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4076-3_0_6_load_12 | 20 | 0.0028344 | 0.00071037 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4076-3_0_6_load_15 | 22 | 0.00095221 | 0.00023865 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4076-3_0_6_load_16 | 23 | 0.0066612 | 0.0016694 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4076-3_0_6_load_31 | 24 | 0.0021838 | 0.00054731 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4076-3_0_6_load_17 | 26 | 0.0020616 | 0.00051669 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4076-3_0_6_load_69 | 27 | 0.003868 | 0.00096941 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4076-3_0_6_load_70 | 28 | 0.0020817 | 0.00052172 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4076-3_0_6_load_68 | 29 | 0.0072656 | 0.0018209 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4076-3_0_6_load_18 | 30 | 0.0051561 | 0.0012923 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4076-3_0_6_load_19 | 31 | 0.0013207 | 0.00033099 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4076-3_0_6_load_21 | 33 | 0.0011435 | 0.00028658 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4076-3_0_6_load_22 | 34 | 0.0024819 | 0.00062202 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4076-3_0_6_load_23 | 35 | 0.0045779 | 0.0011473 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4076-3_0_6_load_24 | 36 | 0.0054464 | 0.001365 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4076-3_0_6_load_47 | 37 | 0.0026039 | 0.0006526 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4076-3_0_6_load_45 | 38 | 0.00074828 | 0.00018754 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4076-3_0_6_load_25 | 39 | 0.0010837 | 0.00027161 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4076-3_0_6_load_29 | 42 | 0.0025175 | 0.00063095 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4076-3_0_6_load_30 | 43 | 0.0018033 | 0.00045196 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4076-3_0_6_load_32 | 44 | 0.0032676 | 0.00081893 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4076-3_0_6_load_33 | 45 | 0.0059905 | 0.0015014 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4076-3_0_6_load_51 | 46 | 0.0031555 | 0.00079085 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4076-3_0_6_load_67 | 47 | 0.0039645 | 0.00099359 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4076-3_0_6_load_52 | 48 | 0.0042275 | 0.0010595 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4076-3_0_6_load_35 | 49 | 0.0022736 | 0.00056981 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4076-3_0_6_load_37 | 50 | 0.0012367 | 0.00030995 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4076-3_0_6_load_101 | 51 | 0.003285 | 0.0008233 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4076-3_0_6_load_96 | 53 | 0.0010471 | 0.00026244 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4076-3_0_6_load_94 | 55 | 0.00078296 | 0.00019623 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4076-3_0_6_load_104 | 57 | 0.0054849 | 0.0013747 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4076-3_0_6_load_40 | 58 | 0.0012284 | 0.00030787 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4076-3_0_6_load_41 | 59 | 0.003058 | 0.00076641 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4076-3_0_6_load_43 | 61 | 0.0018636 | 0.00046707 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4076-3_0_6_load_44 | 62 | 0.0015903 | 0.00039858 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4076-3_0_6_load_48 | 64 | 0.0015599 | 0.00039095 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4076-3_0_6_load_77 | 66 | 0.0026131 | 0.0006549 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4076-3_0_6_load_53 | 68 | 0.0049151 | 0.0012318 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4076-3_0_6_load_65 | 71 | 0.0024142 | 0.00060506 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4076-3_0_6_load_55 | 72 | 0.0028302 | 0.00070932 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4076-3_0_6_load_57 | 74 | 0.0035602 | 0.00089227 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4076-3_0_6_load_58 | 75 | 0.0043412 | 0.001088 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4076-3_0_6_load_84 | 78 | 0.0019599 | 0.00049121 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4076-3_0_6_load_83 | 79 | 0.0011379 | 0.00028518 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4076-3_0_6_load_64 | 80 | 0.0055135 | 0.0013818 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4076-3_0_6_load_61 | 81 | 0.0022609 | 0.00056664 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4076-3_0_6_load_85 | 82 | 0.0044345 | 0.0011114 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4076-3_0_6_load_82 | 83 | 0.0015505 | 0.00038858 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4076-3_0_6_load_66 | 84 | 0.0019235 | 0.00048207 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4076-3_0_6_load_62 | 85 | 0.0024617 | 0.00061697 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4076-3_0_6_load_63 | 86 | 0.0055561 | 0.0013925 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4076-3_0_6_load_89 | 87 | 0.0011526 | 0.00028887 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4076-3_0_6_load_87 | 88 | 0.0011533 | 0.00028905 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4076-3_0_6_load_88 | 89 | 0.00041711 | 0.00010454 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4076-3_0_6_load_86 | 90 | 0.0068922 | 0.0017273 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4076-3_0_6_load_75 | 91 | 0.0032919 | 0.00082503 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4076-3_0_6_load_78 | 92 | 0.0040477 | 0.0010145 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4076-3_0_6_load_80 | 93 | 0.0028294 | 0.0007091 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4076-3_0_6_load_79 | 94 | 0.0059389 | 0.0014884 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4076-3_0_6_load_81 | 95 | 0.0030288 | 0.0007591 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4076-3_0_6_load_90 | 96 | 0.0012654 | 0.00031714 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4076-3_0_6_load_92 | 98 | 0.0025231 | 0.00063236 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4076-3_0_6_load_95 | 99 | 0.00085458 | 0.00021418 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4076-3_0_6_load_97 | 100 | 0.00064414 | 0.00016144 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4076-3_0_6_load_103 | 101 | 0.0010915 | 0.00027355 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 98 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4076-3_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.035714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_4076-3_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.012099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_4076-3_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.017128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_4076-3_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.022499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_4076-3_0_6_line_4 | NAYY 4x150 SE | 3 | 5 | 0.014016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4076-3_0_6_line_5 | NAYY 4x150 SE | 3 | 6 | 0.014421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_4076-3_0_6_line_6 | NAYY 4x150 SE | 4 | 7 | 0.025583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_4076-3_0_6_line_7 | NAYY 4x150 SE | 6 | 8 | 0.031846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_4076-3_0_6_line_8 | NAYY 4x150 SE | 7 | 9 | 0.037746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_4076-3_0_6_line_9 | NAYY 4x150 SE | 8 | 12 | 0.023376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_4076-3_0_6_line_10 | NAYY 4x150 SE | 9 | 13 | 0.022088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_4076-3_0_6_line_11 | NAYY 4x150 SE | 10 | 11 | 0.024169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4076-3_0_6_line_12 | NAYY 4x150 SE | 11 | 57 | 0.048294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4076-3_0_6_line_13 | NAYY 4x150 SE | 12 | 67 | 0.030599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_4076-3_0_6_line_14 | NAYY 4x150 SE | 12 | 91 | 0.017083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4076-3_0_6_line_15 | NAYY 4x150 SE | 13 | 14 | 0.035623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_4076-3_0_6_line_16 | NAYY 4x150 SE | 14 | 15 | 0.006824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4076-3_0_6_line_17 | NAYY 4x150 SE | 14 | 16 | 0.013433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_4076-3_0_6_line_18 | NAYY 4x150 SE | 16 | 17 | 0.006126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4076-3_0_6_line_19 | NAYY 4x150 SE | 16 | 18 | 0.010373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_4076-3_0_6_line_20 | NAYY 4x150 SE | 17 | 52 | 0.026461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4076-3_0_6_line_21 | NAYY 4x150 SE | 18 | 49 | 0.013046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_4076-3_0_6_line_22 | NAYY 4x150 SE | 19 | 20 | 0.02331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4076-3_0_6_line_23 | NAYY 4x150 SE | 19 | 21 | 0.028238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4076-3_0_6_line_24 | NAYY 4x150 SE | 21 | 22 | 0.045256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4076-3_0_6_line_25 | NAYY 4x150 SE | 22 | 23 | 0.020294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4076-3_0_6_line_26 | NAYY 4x150 SE | 23 | 24 | 0.020486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4076-3_0_6_line_27 | NAYY 4x150 SE | 24 | 25 | 0.0043225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4076-3_0_6_line_28 | NAYY 4x150 SE | 25 | 40 | 0.031008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4076-3_0_6_line_29 | NAYY 4x150 SE | 26 | 27 | 0.06397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4076-3_0_6_line_30 | NAYY 4x150 SE | 27 | 28 | 0.013065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4076-3_0_6_line_31 | NAYY 4x150 SE | 27 | 29 | 0.015346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4076-3_0_6_line_32 | NAYY 4x150 SE | 28 | 88 | 0.028962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4076-3_0_6_line_33 | NAYY 4x150 SE | 29 | 47 | 0.010879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4076-3_0_6_line_34 | NAYY 4x150 SE | 30 | 31 | 0.001458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4076-3_0_6_line_35 | NAYY 4x150 SE | 30 | 32 | 0.021921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4076-3_0_6_line_36 | NAYY 4x150 SE | 31 | 33 | 0.0078781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4076-3_0_6_line_37 | NAYY 4x150 SE | 32 | 34 | 0.039089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4076-3_0_6_line_38 | NAYY 4x150 SE | 33 | 35 | 0.013047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4076-3_0_6_line_39 | NAYY 4x150 SE | 34 | 36 | 0.071981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4076-3_0_6_line_40 | NAYY 4x150 SE | 35 | 37 | 0.0074082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4076-3_0_6_line_41 | NAYY 4x150 SE | 37 | 38 | 0.021144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4076-3_0_6_line_42 | NAYY 4x150 SE | 38 | 60 | 0.012921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4076-3_0_6_line_43 | NAYY 4x150 SE | 39 | 40 | 0.03029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4076-3_0_6_line_44 | NAYY 4x150 SE | 39 | 41 | 0.0037115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4076-3_0_6_line_45 | NAYY 4x150 SE | 41 | 42 | 0.028262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4076-3_0_6_line_46 | NAYY 4x150 SE | 41 | 43 | 0.0091426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4076-3_0_6_line_47 | NAYY 4x150 SE | 42 | 44 | 0.013255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4076-3_0_6_line_48 | NAYY 4x150 SE | 43 | 45 | 0.010201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4076-3_0_6_line_49 | NAYY 4x150 SE | 44 | 46 | 0.007572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4076-3_0_6_line_50 | NAYY 4x150 SE | 45 | 47 | 0.017126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4076-3_0_6_line_51 | NAYY 4x150 SE | 46 | 48 | 0.010154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4076-3_0_6_line_52 | NAYY 4x150 SE | 48 | 68 | 0.02581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4076-3_0_6_line_53 | NAYY 4x150 SE | 49 | 50 | 0.0023483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_4076-3_0_6_line_54 | NAYY 4x150 SE | 50 | 51 | 0.011623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_4076-3_0_6_line_55 | NAYY 4x150 SE | 51 | 56 | 0.026177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_4076-3_0_6_line_56 | NAYY 4x150 SE | 52 | 57 | 0.061748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4076-3_0_6_line_57 | NAYY 4x150 SE | 53 | 54 | 0.031855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_4076-3_0_6_line_58 | NAYY 4x150 SE | 53 | 55 | 0.039132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
59 | LV_4076-3_0_6_line_59 | NAYY 4x150 SE | 54 | 56 | 0.010345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_4076-3_0_6_line_60 | NAYY 4x150 SE | 55 | 99 | 0.029605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4076-3_0_6_line_61 | NAYY 4x150 SE | 55 | 98 | 0.06664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
62 | LV_4076-3_0_6_line_62 | NAYY 4x150 SE | 58 | 59 | 0.011777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4076-3_0_6_line_63 | NAYY 4x150 SE | 58 | 60 | 0.019688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4076-3_0_6_line_64 | NAYY 4x150 SE | 59 | 61 | 0.01877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4076-3_0_6_line_65 | NAYY 4x150 SE | 60 | 62 | 0.016554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4076-3_0_6_line_66 | NAYY 4x150 SE | 62 | 63 | 0.048562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
67 | LV_4076-3_0_6_line_67 | NAYY 4x150 SE | 63 | 64 | 0.021171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_4076-3_0_6_line_68 | NAYY 4x150 SE | 64 | 65 | 0.01301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
69 | LV_4076-3_0_6_line_69 | NAYY 4x150 SE | 65 | 66 | 0.024939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_4076-3_0_6_line_70 | NAYY 4x150 SE | 66 | 67 | 0.010236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
71 | LV_4076-3_0_6_line_71 | NAYY 4x150 SE | 69 | 70 | 0.006262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4076-3_0_6_line_72 | NAYY 4x150 SE | 69 | 71 | 0.047419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4076-3_0_6_line_73 | NAYY 4x150 SE | 70 | 101 | 0.046509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4076-3_0_6_line_74 | NAYY 4x150 SE | 71 | 86 | 0.013709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4076-3_0_6_line_75 | NAYY 4x150 SE | 72 | 73 | 0.031977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4076-3_0_6_line_76 | NAYY 4x150 SE | 73 | 74 | 0.016969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4076-3_0_6_line_77 | NAYY 4x150 SE | 73 | 75 | 0.018037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4076-3_0_6_line_78 | NAYY 4x150 SE | 74 | 76 | 0.047603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4076-3_0_6_line_79 | NAYY 4x150 SE | 75 | 77 | 0.0064088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4076-3_0_6_line_80 | NAYY 4x150 SE | 76 | 78 | 0.028183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4076-3_0_6_line_81 | NAYY 4x150 SE | 76 | 79 | 0.017537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4076-3_0_6_line_82 | NAYY 4x150 SE | 77 | 80 | 0.025162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4076-3_0_6_line_83 | NAYY 4x150 SE | 77 | 81 | 0.017513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4076-3_0_6_line_84 | NAYY 4x150 SE | 78 | 82 | 0.029015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4076-3_0_6_line_85 | NAYY 4x150 SE | 79 | 83 | 0.0020192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4076-3_0_6_line_86 | NAYY 4x150 SE | 80 | 84 | 0.012603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4076-3_0_6_line_87 | NAYY 4x150 SE | 81 | 85 | 0.0052215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4076-3_0_6_line_88 | NAYY 4x150 SE | 82 | 90 | 0.0024078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4076-3_0_6_line_89 | NAYY 4x150 SE | 84 | 87 | 0.0033962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4076-3_0_6_line_90 | NAYY 4x150 SE | 85 | 86 | 0.019321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4076-3_0_6_line_91 | NAYY 4x150 SE | 88 | 89 | 0.024016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
92 | LV_4076-3_0_6_line_92 | NAYY 4x150 SE | 88 | 90 | 0.027991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4076-3_0_6_line_93 | NAYY 4x150 SE | 89 | 96 | 0.023236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
94 | LV_4076-3_0_6_line_94 | NAYY 4x150 SE | 91 | 92 | 0.034246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4076-3_0_6_line_95 | NAYY 4x150 SE | 92 | 93 | 0.013145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4076-3_0_6_line_96 | NAYY 4x150 SE | 93 | 94 | 0.02359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4076-3_0_6_line_97 | NAYY 4x150 SE | 94 | 95 | 0.0018532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4076-3_0_6_line_98 | NAYY 4x150 SE | 96 | 97 | 0.028792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
99 | LV_4076-3_0_6_line_99 | NAYY 4x150 SE | 97 | 98 | 0.050482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
100 | LV_4076-3_0_6_line_100 | NAYY 4x150 SE | 99 | 100 | 0.032765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4076-3_0_6_trafo_92 | 0.25 MVA 20/0.4 kV | 102 | 98 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2661055.3634 | 1240136.7788 | 2661042.1174 | 1240135.7509 | 2661019.8286 | 1240133.255
1 | 2661055.3634 | 1240136.7788 | 2661067.4262 | 1240137.7148
2 | 2661002.866 | 1240130.9444 | 2661009.101 | 1240132.0537 | 2661019.8286 | 1240133.255
3 | 2661089.8573 | 1240139.4554 | 2661067.4262 | 1240137.7148
4 | 2661002.866 | 1240130.9444 | 2661003.4413 | 1240144.9489
5 | 2661002.866 | 1240130.9444 | 2660988.6539 | 1240128.2633
6 | 2661089.8573 | 1240139.4554 | 2661090.5059 | 1240124.1962 | 2661090.6666 | 1240113.8876
7 | 2660988.6539 | 1240128.2633 | 2660957.4548 | 1240121.8771
8 | 2661090.6666 | 1240113.8876 | 2661090.9731 | 1240094.2365 | 2661089.4534 | 1240089.7956 | 2661086.8017 | 1240086.5995 | 2661078.1307 | 1240083.3913
9 | 2660934.5541 | 1240117.1895 | 2660957.4548 | 1240121.8771
10 | 2661057.7613 | 1240075.1446 | 2661059.1684 | 1240076.3752 | 2661078.1307 | 1240083.3913
11 | 2660991.368 | 1240050.8797 | 2660990.7924 | 1240026.7176
12 | 2660990.7924 | 1240026.7176 | 2661002.071 | 1239979.7589
13 | 2660934.5541 | 1240117.1895 | 2660904.2408 | 1240112.4087
14 | 2660934.5541 | 1240117.1895 | 2660932.2513 | 1240100.2624
15 | 2661024.1486 | 1240066.7088 | 2661039.9898 | 1240066.8828 | 2661054.9488 | 1240072.6849 | 2661057.7613 | 1240075.1446
16 | 2661024.1486 | 1240066.7088 | 2661024.4037 | 1240073.5271
17 | 2661024.1486 | 1240066.7088 | 2661024.3623 | 1240053.2798
18 | 2661024.0773 | 1240047.1616 | 2661024.3623 | 1240053.2798
19 | 2661024.3623 | 1240053.2798 | 2661034.7306 | 1240053.5844
20 | 2661024.0773 | 1240047.1616 | 2661033.7532 | 1240022.5334
21 | 2661047.3737 | 1240056.027 | 2661041.2438 | 1240053.7758 | 2661034.7306 | 1240053.5844
22 | 2661109.9368 | 1239793.4976 | 2661086.9761 | 1239789.4796
23 | 2661137.737 | 1239798.4524 | 2661118.4351 | 1239794.9848 | 2661109.9368 | 1239793.4976
24 | 2661137.737 | 1239798.4524 | 2661171.5617 | 1239803.8821 | 2661182.5342 | 1239804.6282
25 | 2661182.5342 | 1239804.6282 | 2661190.4475 | 1239805.1664 | 2661202.7901 | 1239805.8705
26 | 2661223.2427 | 1239807.0373 | 2661202.7901 | 1239805.8705
27 | 2661227.5582 | 1239807.2835 | 2661223.2427 | 1239807.0373
28 | 2661258.6073 | 1239809.0493 | 2661227.5582 | 1239807.2835
29 | 2661226.3694 | 1239900.1376 | 2661167.8 | 1239874.412
30 | 2661221.3061 | 1239912.1817 | 2661226.3694 | 1239900.1376
31 | 2661232.2439 | 1239885.9607 | 2661228.1722 | 1239895.8493 | 2661226.3694 | 1239900.1376
32 | 2661208.9485 | 1239938.3686 | 2661219.2179 | 1239917.1491 | 2661221.3061 | 1239912.1817
33 | 2661236.3645 | 1239875.8929 | 2661236.1773 | 1239876.4077 | 2661232.2439 | 1239885.9607
34 | 2660802.7152 | 1239979.1291 | 2660803.1022 | 1239980.5348
35 | 2660796.896 | 1239957.9942 | 2660802.7152 | 1239979.1291
36 | 2660805.1935 | 1239988.1303 | 2660803.1022 | 1239980.5348
37 | 2660796.896 | 1239957.9942 | 2660759.0955 | 1239967.9478
38 | 2660805.1935 | 1239988.1303 | 2660808.6569 | 1240000.7091
39 | 2660757.5936 | 1240025.4979 | 2660752.3697 | 1240008.1167 | 2660742.3462 | 1239976.6709 | 2660743.6113 | 1239972.0251 | 2660759.0955 | 1239967.9478
40 | 2660810.6235 | 1240007.8516 | 2660808.6569 | 1240000.7091
41 | 2660816.2362 | 1240028.2367 | 2660810.6235 | 1240007.8516
42 | 2660819.6661 | 1240040.6939 | 2660816.2362 | 1240028.2367
43 | 2661258.6073 | 1239809.0493 | 2661256.1924 | 1239818.0749 | 2661249.5054 | 1239837.9255
44 | 2661248.3206 | 1239841.4428 | 2661249.5054 | 1239837.9255
45 | 2661248.3206 | 1239841.4428 | 2661265.0647 | 1239845.0512 | 2661271.798 | 1239836.1845
46 | 2661248.3206 | 1239841.4428 | 2661245.443 | 1239850.1207
47 | 2661271.798 | 1239836.1845 | 2661279.8143 | 1239825.6284
48 | 2661242.2163 | 1239859.7976 | 2661242.4196 | 1239859.2383 | 2661245.443 | 1239850.1207
49 | 2661284.3937 | 1239819.5981 | 2661279.8143 | 1239825.6284
50 | 2661236.3645 | 1239875.8929 | 2661242.2163 | 1239859.7976
51 | 2661284.3937 | 1239819.5981 | 2661286.4782 | 1239816.8532 | 2661291.2569 | 1239812.1469
52 | 2661291.2569 | 1239812.1469 | 2661298.3436 | 1239805.1678 | 2661306.4957 | 1239798.6142 | 2661310.7072 | 1239795.2273
53 | 2661049.5781 | 1240056.8366 | 2661047.3737 | 1240056.027
54 | 2661049.5781 | 1240056.8366 | 2661060.7585 | 1240060.0139
55 | 2661060.7585 | 1240060.0139 | 2661064.5338 | 1240034.1131
56 | 2661033.7532 | 1240022.5334 | 2661016.7689 | 1240017.3109 | 2661005.094 | 1240009.0855 | 2661001.7955 | 1239994.4974 | 2661002.071 | 1239979.7589
57 | 2661074.5803 | 1240036.6959 | 2661070.9215 | 1240017.4565 | 2661070.1955 | 1240009.3658 | 2661071.346 | 1240005.3814
58 | 2661066.7395 | 1239967.8352 | 2661074.2656 | 1239989.372 | 2661072.9323 | 1239999.8876 | 2661071.346 | 1240005.3814
59 | 2661064.5338 | 1240034.1131 | 2661067.0903 | 1240034.8065 | 2661074.5803 | 1240036.6959
60 | 2661066.7395 | 1239967.8352 | 2661056.973 | 1239939.8874
61 | 2661133.0338 | 1239974.6111 | 2661066.7395 | 1239967.8352
62 | 2660850.4279 | 1240034.0799 | 2660838.9137 | 1240036.5555
63 | 2660819.6661 | 1240040.6939 | 2660838.9137 | 1240036.5555
64 | 2660868.7782 | 1240030.1344 | 2660850.4279 | 1240034.0799
65 | 2660819.6661 | 1240040.6939 | 2660824.016 | 1240056.6661
66 | 2660835.5433 | 1240103.7655 | 2660834.439 | 1240094.9372 | 2660824.016 | 1240056.6661
67 | 2660835.5433 | 1240103.7655 | 2660851.3001 | 1240104.0494 | 2660856.6458 | 1240104.8947
68 | 2660869.4956 | 1240106.9266 | 2660856.6458 | 1240104.8947
69 | 2660869.4956 | 1240106.9266 | 2660894.1295 | 1240110.8134
70 | 2660904.2408 | 1240112.4087 | 2660894.1295 | 1240110.8134
71 | 2661396.6205 | 1239804.3934 | 2661390.69 | 1239802.3307
72 | 2661390.69 | 1239802.3307 | 2661387.1407 | 1239807.6865 | 2661382.9621 | 1239813.9253 | 2661368.0055 | 1239826.1456 | 2661356.7573 | 1239834.7653
73 | 2661396.6205 | 1239804.3934 | 2661414.2279 | 1239825.434 | 2661425.1961 | 1239841.0383
74 | 2661346.1774 | 1239843.4272 | 2661347.7054 | 1239841.7019 | 2661356.7573 | 1239834.7653
75 | 2661315.5655 | 1239901.6325 | 2661345.0004 | 1239914.1263
76 | 2661315.5655 | 1239901.6325 | 2661309.6972 | 1239917.5549
77 | 2661315.5655 | 1239901.6325 | 2661321.8001 | 1239884.707
78 | 2661293.2354 | 1239962.2205 | 2661309.6972 | 1239917.5549
79 | 2661324.0154 | 1239878.6932 | 2661321.8001 | 1239884.707
80 | 2661293.2354 | 1239962.2205 | 2661266.1171 | 1239954.5465
81 | 2661293.2354 | 1239962.2205 | 2661287.4173 | 1239978.7641
82 | 2661324.0154 | 1239878.6932 | 2661346.765 | 1239889.443
83 | 2661324.0154 | 1239878.6932 | 2661327.9057 | 1239868.1374 | 2661331.3484 | 1239862.9051
84 | 2661238.1986 | 1239946.6459 | 2661266.1171 | 1239954.5465
85 | 2661286.7475 | 1239980.6689 | 2661287.4173 | 1239978.7641
86 | 2661346.765 | 1239889.443 | 2661358.1597 | 1239894.8273
87 | 2661331.3484 | 1239862.9051 | 2661334.2184 | 1239858.5431
88 | 2661238.1986 | 1239946.6459 | 2661235.8817 | 1239945.9903
89 | 2661361.2303 | 1239896.2783 | 2661358.1597 | 1239894.8273
90 | 2661346.1774 | 1239843.4272 | 2661338.3472 | 1239852.2679 | 2661334.2184 | 1239858.5431
91 | 2661208.9485 | 1239938.3686 | 2661198.1533 | 1239959.8218
92 | 2661208.9485 | 1239938.3686 | 2661235.8817 | 1239945.9903
93 | 2661198.1533 | 1239959.8218 | 2661197.0818 | 1239961.9511 | 2661186.0197 | 1239979.6277
94 | 2660932.2513 | 1240100.2624 | 2660927.6349 | 1240066.3288 | 2660927.6349 | 1240066.3288
95 | 2660937.1524 | 1240060.8504 | 2660937.1315 | 1240064.2804 | 2660927.6349 | 1240066.3288
96 | 2660937.2957 | 1240037.2605 | 2660937.1524 | 1240060.8504
97 | 2660937.3069 | 1240035.4073 | 2660937.2957 | 1240037.2605
98 | 2661170.191 | 1240003.6687 | 2661178.0283 | 1239992.3975 | 2661186.0197 | 1239979.6277
99 | 2661170.191 | 1240003.6687 | 2661148.495 | 1239988.9355 | 2661136.9771 | 1239984.5695 | 2661132.7532 | 1239981.2905 | 2661133.0338 | 1239974.6111
100 | 2661056.973 | 1239939.8874 | 2661046.1641 | 1239908.9566

## bus_geodata
| x | y | coords
0 | 2661055.3634 | 1240136.7788
1 | 2661019.8286 | 1240133.255
2 | 2661067.4262 | 1240137.7148
3 | 2661002.866 | 1240130.9444
4 | 2661089.8573 | 1240139.4554
5 | 2661003.4413 | 1240144.9489
6 | 2660988.6539 | 1240128.2633
7 | 2661090.6666 | 1240113.8876
8 | 2660957.4548 | 1240121.8771
9 | 2661078.1307 | 1240083.3913
10 | 2660991.368 | 1240050.8797
11 | 2660990.7924 | 1240026.7176
12 | 2660934.5541 | 1240117.1895
13 | 2661057.7613 | 1240075.1446
14 | 2661024.1486 | 1240066.7088
15 | 2661024.4037 | 1240073.5271
16 | 2661024.3623 | 1240053.2798
17 | 2661024.0773 | 1240047.1616
18 | 2661034.7306 | 1240053.5844
19 | 2661109.9368 | 1239793.4976
20 | 2661086.9761 | 1239789.4796
21 | 2661137.737 | 1239798.4524
22 | 2661182.5342 | 1239804.6282
23 | 2661202.7901 | 1239805.8705
24 | 2661223.2427 | 1239807.0373
25 | 2661227.5582 | 1239807.2835
26 | 2661167.8 | 1239874.412
27 | 2661226.3694 | 1239900.1376
28 | 2661221.3061 | 1239912.1817
29 | 2661232.2439 | 1239885.9607
30 | 2660802.7152 | 1239979.1291
31 | 2660803.1022 | 1239980.5348
32 | 2660796.896 | 1239957.9942
33 | 2660805.1935 | 1239988.1303
34 | 2660759.0955 | 1239967.9478
35 | 2660808.6569 | 1240000.7091
36 | 2660757.5936 | 1240025.4979
37 | 2660810.6235 | 1240007.8516
38 | 2660816.2362 | 1240028.2367
39 | 2661249.5054 | 1239837.9255
40 | 2661258.6073 | 1239809.0493
41 | 2661248.3206 | 1239841.4428
42 | 2661271.798 | 1239836.1845
43 | 2661245.443 | 1239850.1207
44 | 2661279.8143 | 1239825.6284
45 | 2661242.2163 | 1239859.7976
46 | 2661284.3937 | 1239819.5981
47 | 2661236.3645 | 1239875.8929
48 | 2661291.2569 | 1239812.1469
49 | 2661047.3737 | 1240056.027
50 | 2661049.5781 | 1240056.8366
51 | 2661060.7585 | 1240060.0139
52 | 2661033.7532 | 1240022.5334
53 | 2661071.346 | 1240005.3814
54 | 2661074.5803 | 1240036.6959
55 | 2661066.7395 | 1239967.8352
56 | 2661064.5338 | 1240034.1131
57 | 2661002.071 | 1239979.7589
58 | 2660838.9137 | 1240036.5555
59 | 2660850.4279 | 1240034.0799
60 | 2660819.6661 | 1240040.6939
61 | 2660868.7782 | 1240030.1344
62 | 2660824.016 | 1240056.6661
63 | 2660835.5433 | 1240103.7655
64 | 2660856.6458 | 1240104.8947
65 | 2660869.4956 | 1240106.9266
66 | 2660894.1295 | 1240110.8134
67 | 2660904.2408 | 1240112.4087
68 | 2661310.7072 | 1239795.2273
69 | 2661390.69 | 1239802.3307
70 | 2661396.6205 | 1239804.3934
71 | 2661356.7573 | 1239834.7653
72 | 2661345.0004 | 1239914.1263
73 | 2661315.5655 | 1239901.6325
74 | 2661309.6972 | 1239917.5549
75 | 2661321.8001 | 1239884.707
76 | 2661293.2354 | 1239962.2205
77 | 2661324.0154 | 1239878.6932
78 | 2661266.1171 | 1239954.5465
79 | 2661287.4173 | 1239978.7641
80 | 2661346.765 | 1239889.443
81 | 2661331.3484 | 1239862.9051
82 | 2661238.1986 | 1239946.6459
83 | 2661286.7475 | 1239980.6689
84 | 2661358.1597 | 1239894.8273
85 | 2661334.2184 | 1239858.5431
86 | 2661346.1774 | 1239843.4272
87 | 2661361.2303 | 1239896.2783
88 | 2661208.9485 | 1239938.3686
89 | 2661198.1533 | 1239959.8218
90 | 2661235.8817 | 1239945.9903
91 | 2660932.2513 | 1240100.2624
92 | 2660927.6349 | 1240066.3288
93 | 2660937.1523 | 1240060.8504
94 | 2660937.2957 | 1240037.2605
95 | 2660937.3069 | 1240035.4073
96 | 2661186.0197 | 1239979.6277
97 | 2661170.191 | 1240003.6687
98 | 2661133.0338 | 1239974.6111
99 | 2661056.973 | 1239939.8874
100 | 2661046.1641 | 1239908.9566
101 | 2661425.1961 | 1239841.0383
102 | 2661170.191 | 1240003.6687

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1