## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4076-8_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4076-8_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4076-8_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4076-8_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4076-8_0_6_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_4076-8_0_6_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_4076-8_0_6_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_4076-8_0_6_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_4076-8_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4076-8_0_6_node_43 | 0.4 | n |  | TRUE
10 | bus_LV_4076-8_0_6_node_46 | 0.4 | n |  | TRUE
11 | bus_LV_4076-8_0_6_node_77 | 0.4 | n |  | TRUE
12 | bus_LV_4076-8_0_6_node_68 | 0.4 | n |  | TRUE
13 | bus_LV_4076-8_0_6_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_4076-8_0_6_node_79 | 0.4 | n |  | TRUE
15 | bus_LV_4076-8_0_6_node_80 | 0.4 | n |  | TRUE
16 | bus_LV_4076-8_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_4076-8_0_6_node_76 | 0.4 | n |  | TRUE
18 | bus_LV_4076-8_0_6_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_4076-8_0_6_node_56 | 0.4 | n |  | TRUE
20 | bus_LV_4076-8_0_6_node_59 | 0.4 | n |  | TRUE
21 | bus_LV_4076-8_0_6_node_8 | 0.4 | n |  | TRUE
22 | bus_LV_4076-8_0_6_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_4076-8_0_6_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_4076-8_0_6_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_4076-8_0_6_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_4076-8_0_6_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_4076-8_0_6_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_4076-8_0_6_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_4076-8_0_6_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_4076-8_0_6_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_4076-8_0_6_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_4076-8_0_6_node_67 | 0.4 | n |  | TRUE
33 | bus_LV_4076-8_0_6_node_78 | 0.4 | n |  | TRUE
34 | bus_LV_4076-8_0_6_node_58 | 0.4 | n |  | TRUE
35 | bus_LV_4076-8_0_6_node_75 | 0.4 | n |  | TRUE
36 | bus_LV_4076-8_0_6_node_60 | 0.4 | n |  | TRUE
37 | bus_LV_4076-8_0_6_node_14 | 0.4 | n |  | TRUE
38 | bus_LV_4076-8_0_6_node_15 | 0.4 | n |  | TRUE
39 | bus_LV_4076-8_0_6_node_17 | 0.4 | n |  | TRUE
40 | bus_LV_4076-8_0_6_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_4076-8_0_6_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_4076-8_0_6_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_4076-8_0_6_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_4076-8_0_6_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_4076-8_0_6_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_4076-8_0_6_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_4076-8_0_6_node_72 | 0.4 | n |  | TRUE
48 | bus_LV_4076-8_0_6_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_4076-8_0_6_node_19 | 0.4 | n |  | TRUE
50 | bus_LV_4076-8_0_6_node_20 | 0.4 | n |  | TRUE
51 | bus_LV_4076-8_0_6_node_22 | 0.4 | n |  | TRUE
52 | bus_LV_4076-8_0_6_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_4076-8_0_6_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_4076-8_0_6_node_30 | 0.4 | n |  | TRUE
55 | bus_LV_4076-8_0_6_node_28 | 0.4 | n |  | TRUE
56 | bus_LV_4076-8_0_6_node_29 | 0.4 | n |  | TRUE
57 | bus_LV_4076-8_0_6_node_65 | 0.4 | n |  | TRUE
58 | bus_LV_4076-8_0_6_node_66 | 0.4 | n |  | TRUE
59 | bus_LV_4076-8_0_6_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_4076-8_0_6_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_4076-8_0_6_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_4076-8_0_6_node_64 | 0.4 | n |  | TRUE
63 | bus_LV_4076-8_0_6_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_4076-8_0_6_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_4076-8_0_6_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_4076-8_0_6_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_4076-8_0_6_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_4076-8_0_6_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_4076-8_0_6_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_4076-8_0_6_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_4076-8_0_6_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_4076-8_0_6_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_4076-8_0_6_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_4076-8_0_6_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_4076-8_0_6_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_4076-8_0_6_node_81 | 0.4 | n |  | TRUE
77 | bus_MV_470_0_node_310 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4076-8_0_6_load_0 | 0 | 0.0011766 | 0.00029488 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4076-8_0_6_load_4 | 3 | 0.0022877 | 0.00057335 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4076-8_0_6_load_7 | 5 | 0.0022136 | 0.00055478 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4076-8_0_6_load_43 | 9 | 0.0021826 | 0.00054702 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4076-8_0_6_load_46 | 10 | 0.00080218 | 0.00020104 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4076-8_0_6_load_77 | 11 | 0.010506 | 0.002633 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4076-8_0_6_load_68 | 12 | 0.011045 | 0.0027682 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4076-8_0_6_load_80 | 15 | 0.010857 | 0.002721 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4076-8_0_6_load_59 | 20 | 0.0026431 | 0.00066242 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4076-8_0_6_load_27 | 22 | 0.00092031 | 0.00023065 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4076-8_0_6_load_23 | 23 | 0.0010356 | 0.00025954 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4076-8_0_6_load_33 | 24 | 0.00094554 | 0.00023698 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4076-8_0_6_load_40 | 25 | 0.0012059 | 0.00030223 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4076-8_0_6_load_42 | 26 | 0.0030717 | 0.00076985 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4076-8_0_6_load_47 | 27 | 0.0015231 | 0.00038172 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4076-8_0_6_load_25 | 28 | 0.0063517 | 0.0015919 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4076-8_0_6_load_21 | 29 | 0.0010156 | 0.00025454 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4076-8_0_6_load_34 | 30 | 0.006418 | 0.0016085 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4076-8_0_6_load_38 | 31 | 0.0016885 | 0.00042318 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4076-8_0_6_load_67 | 32 | 0.0061662 | 0.0015454 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4076-8_0_6_load_78 | 33 | 0.011058 | 0.0027715 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4076-8_0_6_load_58 | 34 | 0.0098961 | 0.0024802 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4076-8_0_6_load_75 | 35 | 0.011291 | 0.0028298 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4076-8_0_6_load_14 | 37 | 0.00039031 | 9.782e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4076-8_0_6_load_37 | 41 | 0.038666 | 0.0096907 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4076-8_0_6_load_41 | 42 | 0.00094884 | 0.0002378 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4076-8_0_6_load_24 | 43 | 0.0004091 | 0.00010253 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4076-8_0_6_load_36 | 44 | 0.03999 | 0.010022 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4076-8_0_6_load_39 | 45 | 0.0016396 | 0.00041092 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4076-8_0_6_load_72 | 47 | 0.0024455 | 0.00061289 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4076-8_0_6_load_19 | 49 | 0.00093254 | 0.00023372 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4076-8_0_6_load_20 | 50 | 0.00097417 | 0.00024415 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4076-8_0_6_load_22 | 51 | 0.001269 | 0.00031803 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4076-8_0_6_load_30 | 54 | 0.0009783 | 0.00024519 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4076-8_0_6_load_28 | 55 | 0.0012228 | 0.00030646 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4076-8_0_6_load_29 | 56 | 0.00087375 | 0.00021898 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4076-8_0_6_load_65 | 57 | 0.00084943 | 0.00021289 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4076-8_0_6_load_66 | 58 | 0.0010581 | 0.00026518 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4076-8_0_6_load_44 | 59 | 0.003005 | 0.00075313 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4076-8_0_6_load_45 | 60 | 0.0028753 | 0.00072062 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4076-8_0_6_load_63 | 61 | 0.0015265 | 0.00038257 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4076-8_0_6_load_64 | 62 | 0.0018982 | 0.00047574 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4076-8_0_6_load_48 | 63 | 0.0024043 | 0.00060258 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4076-8_0_6_load_49 | 64 | 0.0012888 | 0.000323 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4076-8_0_6_load_54 | 67 | 0.0043613 | 0.001093 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4076-8_0_6_load_73 | 69 | 0.0011086 | 0.00027785 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4076-8_0_6_load_57 | 70 | 0.006723 | 0.0016849 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4076-8_0_6_load_62 | 71 | 0.0044846 | 0.0011239 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4076-8_0_6_load_74 | 72 | 0.0018812 | 0.00047147 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4076-8_0_6_load_71 | 75 | 0.0020485 | 0.0005134 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4076-8_0_6_load_81 | 76 | 0.0066776 | 0.0016736 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4076-8_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.045289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4076-8_0_6_line_1 | NAYY 4x150 SE | 1 | 2 | 0.004862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_4076-8_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.020922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_4076-8_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.13945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_4076-8_0_6_line_4 | NAYY 4x150 SE | 2 | 5 | 0.061854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4076-8_0_6_line_5 | NAYY 4x150 SE | 3 | 6 | 0.10592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_4076-8_0_6_line_6 | NAYY 4x150 SE | 4 | 11 | 0.020748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_4076-8_0_6_line_7 | NAYY 4x150 SE | 4 | 12 | 0.015763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4076-8_0_6_line_8 | NAYY 4x150 SE | 6 | 7 | 0.30593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_4076-8_0_6_line_9 | NAYY 4x150 SE | 7 | 25 | 0.1107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_4076-8_0_6_line_10 | NAYY 4x150 SE | 8 | 9 | 0.012434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4076-8_0_6_line_11 | NAYY 4x150 SE | 8 | 10 | 0.060571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4076-8_0_6_line_12 | NAYY 4x150 SE | 9 | 26 | 0.012053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4076-8_0_6_line_13 | NAYY 4x150 SE | 10 | 27 | 0.013292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4076-8_0_6_line_14 | NAYY 4x150 SE | 11 | 16 | 0.018124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_4076-8_0_6_line_15 | NAYY 4x150 SE | 12 | 32 | 0.037458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4076-8_0_6_line_16 | NAYY 4x150 SE | 13 | 14 | 0.005595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4076-8_0_6_line_17 | NAYY 4x150 SE | 13 | 15 | 0.022818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4076-8_0_6_line_18 | NAYY 4x150 SE | 14 | 33 | 0.013161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4076-8_0_6_line_19 | NAYY 4x150 SE | 14 | 34 | 0.018006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4076-8_0_6_line_20 | NAYY 4x150 SE | 15 | 19 | 0.02079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4076-8_0_6_line_21 | NAYY 4x150 SE | 16 | 17 | 0.030904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_4076-8_0_6_line_22 | NAYY 4x150 SE | 17 | 35 | 0.019074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_4076-8_0_6_line_23 | NAYY 4x150 SE | 18 | 19 | 0.034081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4076-8_0_6_line_24 | NAYY 4x150 SE | 18 | 20 | 0.023145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4076-8_0_6_line_25 | NAYY 4x150 SE | 20 | 36 | 0.029241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4076-8_0_6_line_26 | NAYY 4x150 SE | 21 | 22 | 0.026195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4076-8_0_6_line_27 | NAYY 4x150 SE | 21 | 23 | 0.030348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4076-8_0_6_line_28 | NAYY 4x150 SE | 21 | 24 | 0.012337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4076-8_0_6_line_29 | NAYY 4x150 SE | 22 | 28 | 0.014565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4076-8_0_6_line_30 | NAYY 4x150 SE | 23 | 29 | 0.014237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4076-8_0_6_line_31 | NAYY 4x150 SE | 24 | 30 | 0.016845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4076-8_0_6_line_32 | NAYY 4x150 SE | 25 | 31 | 0.015487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_4076-8_0_6_line_33 | NAYY 4x150 SE | 26 | 59 | 0.0088094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4076-8_0_6_line_34 | NAYY 4x150 SE | 28 | 43 | 0.010898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4076-8_0_6_line_35 | NAYY 4x150 SE | 29 | 49 | 0.011349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4076-8_0_6_line_36 | NAYY 4x150 SE | 31 | 45 | 0.011353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_4076-8_0_6_line_37 | NAYY 4x150 SE | 32 | 73 | 0.030515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4076-8_0_6_line_38 | NAYY 4x150 SE | 34 | 68 | 0.015091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4076-8_0_6_line_39 | NAYY 4x150 SE | 35 | 70 | 0.012372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_4076-8_0_6_line_40 | NAYY 4x150 SE | 36 | 71 | 0.041096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4076-8_0_6_line_41 | NAYY 4x150 SE | 37 | 38 | 0.031004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4076-8_0_6_line_42 | NAYY 4x150 SE | 38 | 39 | 0.063261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4076-8_0_6_line_43 | NAYY 4x150 SE | 39 | 40 | 0.026937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_4076-8_0_6_line_44 | NAYY 4x150 SE | 39 | 41 | 0.024058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4076-8_0_6_line_45 | NAYY 4x150 SE | 39 | 42 | 0.017828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_4076-8_0_6_line_46 | NAYY 4x150 SE | 40 | 43 | 0.030007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4076-8_0_6_line_47 | NAYY 4x150 SE | 41 | 44 | 0.012532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4076-8_0_6_line_48 | NAYY 4x150 SE | 42 | 45 | 0.0081386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_4076-8_0_6_line_49 | NAYY 4x150 SE | 46 | 47 | 0.015641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4076-8_0_6_line_50 | NAYY 4x150 SE | 46 | 48 | 0.014421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4076-8_0_6_line_51 | NAYY 4x150 SE | 47 | 69 | 0.020433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4076-8_0_6_line_52 | NAYY 4x150 SE | 48 | 64 | 0.0086403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4076-8_0_6_line_53 | NAYY 4x150 SE | 49 | 50 | 0.020925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4076-8_0_6_line_54 | NAYY 4x150 SE | 50 | 51 | 0.0024872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4076-8_0_6_line_55 | NAYY 4x150 SE | 51 | 52 | 0.023234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4076-8_0_6_line_56 | NAYY 4x150 SE | 52 | 53 | 0.00437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4076-8_0_6_line_57 | NAYY 4x150 SE | 52 | 54 | 0.046804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4076-8_0_6_line_58 | NAYY 4x150 SE | 53 | 57 | 0.020346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4076-8_0_6_line_59 | NAYY 4x150 SE | 54 | 56 | 0.017775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4076-8_0_6_line_60 | NAYY 4x150 SE | 55 | 56 | 0.018301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4076-8_0_6_line_61 | NAYY 4x150 SE | 57 | 58 | 0.005513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4076-8_0_6_line_62 | NAYY 4x150 SE | 59 | 60 | 0.018031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4076-8_0_6_line_63 | NAYY 4x150 SE | 60 | 61 | 0.015809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4076-8_0_6_line_64 | NAYY 4x150 SE | 61 | 62 | 0.012418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4076-8_0_6_line_65 | NAYY 4x150 SE | 62 | 72 | 0.010448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4076-8_0_6_line_66 | NAYY 4x150 SE | 63 | 64 | 0.0049409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4076-8_0_6_line_67 | NAYY 4x150 SE | 63 | 65 | 0.04164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4076-8_0_6_line_68 | NAYY 4x150 SE | 65 | 66 | 0.030599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
69 | LV_4076-8_0_6_line_69 | NAYY 4x150 SE | 66 | 67 | 0.024702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_4076-8_0_6_line_70 | NAYY 4x150 SE | 67 | 68 | 0.018646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
71 | LV_4076-8_0_6_line_71 | NAYY 4x150 SE | 68 | 70 | 0.014551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
72 | LV_4076-8_0_6_line_72 | NAYY 4x150 SE | 69 | 72 | 0.0043911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4076-8_0_6_line_73 | NAYY 4x150 SE | 73 | 74 | 0.009771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4076-8_0_6_line_74 | NAYY 4x150 SE | 73 | 75 | 0.01419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4076-8_0_6_line_75 | NAYY 4x150 SE | 74 | 76 | 0.037033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4076-8_0_6_trafo_5 | 0.25 MVA 20/0.4 kV | 77 | 6 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2660845.0612 | 1240352.6524 | 2660800.3881 | 1240360.0931
1 | 2660844.9598 | 1240347.7925 | 2660845.0612 | 1240352.6524
2 | 2660845.0612 | 1240352.6524 | 2660848.5391 | 1240373.2832
3 | 2660844.9598 | 1240347.7925 | 2660841.34 | 1240239.8496 | 2660859.8887 | 1240240.6958 | 2660872.5778 | 1240238.491
4 | 2660844.9598 | 1240347.7925 | 2660841.1877 | 1240348.3988 | 2660822.3638 | 1240350.8298 | 2660799.8056 | 1240354.6236 | 2660792.4495 | 1240358.1507 | 2660784.4743 | 1240358.9959
5 | 2660866.1466 | 1240477.7303 | 2660848.5391 | 1240373.2832
6 | 2660872.5778 | 1240238.491 | 2660868.5063 | 1240218.1467
7 | 2660872.5778 | 1240238.491 | 2660877.82 | 1240237.5886 | 2660888.1915 | 1240236.4719 | 2660888.2037 | 1240236.4739
8 | 2660866.1466 | 1240477.7303 | 2660881.3862 | 1240568.1473 | 2660885.6202 | 1240593.2631 | 2660887.3595 | 1240603.5657 | 2660893.4039 | 1240639.4184 | 2660935.5541 | 1240637.0047 | 2660959.4796 | 1240637.6729 | 2660983.8594 | 1240633.8651 | 2661034.1122 | 1240624.4416
9 | 2661034.1122 | 1240624.4416 | 2661020.1393 | 1240699.3707 | 2661017.9957 | 1240718.1168 | 2661017.2047 | 1240733.711
10 | 2661019.7787 | 1240243.8718 | 2661016.5563 | 1240235.8778 | 2661016.6682 | 1240232.0641
11 | 2661019.7787 | 1240243.8718 | 2661072.45 | 1240213.9619
12 | 2661017.0218 | 1240220.0163 | 2661017.0218 | 1240220.0163 | 2661016.6682 | 1240232.0641
13 | 2661072.45 | 1240213.9619 | 2661079.9539 | 1240209.7007 | 2661084.2553 | 1240207.9007
14 | 2660868.9719 | 1240200.0282 | 2660868.5063 | 1240218.1467
15 | 2660925.405 | 1240236.4953 | 2660916.5463 | 1240236.7629 | 2660900.7012 | 1240238.4793 | 2660888.2037 | 1240236.4739
16 | 2660866.0821 | 1240148.5085 | 2660866.9026 | 1240154.0428
17 | 2660866.0821 | 1240148.5085 | 2660865.4882 | 1240144.4774 | 2660868.5447 | 1240131.0775 | 2660865.2864 | 1240127.2861
18 | 2660866.9026 | 1240154.0428 | 2660868.3097 | 1240163.5747 | 2660867.4508 | 1240166.9942
19 | 2660866.9026 | 1240154.0428 | 2660884.908 | 1240154.2335
20 | 2660869.4956 | 1240106.9266 | 2660865.2864 | 1240127.2861
21 | 2660868.9719 | 1240200.0282 | 2660899.9653 | 1240200.3906
22 | 2660899.9653 | 1240200.3906 | 2660899.9791 | 1240181.3164
23 | 2660835.5433 | 1240103.7655 | 2660851.3001 | 1240104.0494 | 2660869.4956 | 1240106.9266
24 | 2660835.5433 | 1240103.7655 | 2660812.8217 | 1240108.175
25 | 2660784.1162 | 1240113.7457 | 2660812.8217 | 1240108.175
26 | 2660915.6185 | 1240800.1433 | 2660941.5926 | 1240796.751
27 | 2660915.6185 | 1240800.1433 | 2660920.8961 | 1240830.0291
28 | 2660915.6185 | 1240800.1433 | 2660903.3772 | 1240801.6734
29 | 2660941.5926 | 1240796.751 | 2660956.0352 | 1240794.8647
30 | 2660923.3719 | 1240844.0488 | 2660920.8961 | 1240830.0291
31 | 2660903.3772 | 1240801.6734 | 2660886.6621 | 1240803.7628
32 | 2661017.0267 | 1240749.1665 | 2661016.6395 | 1240744.8542 | 2661017.2047 | 1240733.711
33 | 2661017.0218 | 1240220.0163 | 2661012.2914 | 1240216.7322 | 2661009.2407 | 1240216.7264
34 | 2660956.0352 | 1240794.8647 | 2660966.8415 | 1240793.4534
35 | 2660923.3719 | 1240844.0488 | 2660925.3456 | 1240855.2248
36 | 2661017.0267 | 1240749.1665 | 2661017.6097 | 1240755.6604 | 2661018.5124 | 1240760.408
37 | 2660955.8316 | 1240237.4664 | 2660945.4614 | 1240237.7157 | 2660932.7568 | 1240236.2733 | 2660925.405 | 1240236.4953
38 | 2660899.9986 | 1240154.3934 | 2660884.908 | 1240154.2335
39 | 2660899.9881 | 1240168.9449 | 2660899.9791 | 1240181.3164
40 | 2660784.1162 | 1240113.7457 | 2660772.2877 | 1240074.3892
41 | 2661086.4073 | 1240778.7943 | 2661086.7438 | 1240757.1276 | 2661087.0182 | 1240747.7968
42 | 2661023.3629 | 1240785.9176 | 2661086.4073 | 1240778.7943
43 | 2661023.3629 | 1240785.9176 | 2660996.5959 | 1240789.5673
44 | 2661023.3629 | 1240785.9176 | 2661030.018 | 1240809.0367
45 | 2661023.3629 | 1240785.9176 | 2661020.0327 | 1240768.4033
46 | 2660996.5959 | 1240789.5673 | 2660966.8415 | 1240793.4534
47 | 2661033.4846 | 1240821.0792 | 2661030.018 | 1240809.0367
48 | 2661018.5124 | 1240760.408 | 2661020.0327 | 1240768.4033
49 | 2661002.866 | 1240130.9444 | 2661003.508 | 1240146.5726
50 | 2661002.866 | 1240130.9444 | 2660988.6539 | 1240128.2633
51 | 2661003.508 | 1240146.5726 | 2661004.3468 | 1240166.9881
52 | 2660988.6539 | 1240128.2633 | 2660980.1891 | 1240126.5306
53 | 2660925.3456 | 1240855.2248 | 2660928.9845 | 1240875.8312
54 | 2660929.4171 | 1240878.2805 | 2660928.9845 | 1240875.8312
55 | 2660933.4544 | 1240901.161 | 2660931.8682 | 1240892.1608 | 2660929.4171 | 1240878.2805
56 | 2660933.4544 | 1240901.161 | 2660934.1057 | 1240905.4817
57 | 2660933.4544 | 1240901.161 | 2660940.3207 | 1240898.1516 | 2660962.6221 | 1240877.9558 | 2660968.9968 | 1240871.2936
58 | 2660934.1057 | 1240905.4817 | 2660931.5069 | 1240907.4674 | 2660927.8034 | 1240912.4773 | 2660921.9647 | 1240921.617
59 | 2660981.2853 | 1240858.451 | 2660968.9968 | 1240871.2936
60 | 2660993.0198 | 1240844.4204 | 2660983.7559 | 1240855.869 | 2660981.2853 | 1240858.451
61 | 2660918.9968 | 1240926.2629 | 2660921.9647 | 1240921.617
62 | 2660997.8451 | 1240208.322 | 2660997.9301 | 1240213.1378 | 2661000.3284 | 1240216.7093 | 2661009.2407 | 1240216.7264
63 | 2660997.8451 | 1240208.322 | 2660997.5661 | 1240192.5151
64 | 2661001.842 | 1240181.1083 | 2660998.4023 | 1240187.0585 | 2660997.543 | 1240191.208 | 2660997.5661 | 1240192.5151
65 | 2661004.527 | 1240171.3755 | 2661004.7049 | 1240175.7045 | 2661002.121 | 1240180.6257 | 2661001.842 | 1240181.1083
66 | 2660975.3486 | 1240125.5398 | 2660980.1891 | 1240126.5306
67 | 2660934.5541 | 1240117.1895 | 2660975.3486 | 1240125.5398
68 | 2660934.5541 | 1240117.1895 | 2660904.2408 | 1240112.4087
69 | 2660904.2408 | 1240112.4087 | 2660902.7767 | 1240118.7535 | 2660902.4774 | 1240136.9414
70 | 2660899.9986 | 1240154.3934 | 2660899.9972 | 1240150.8466 | 2660902.2745 | 1240149.2689 | 2660902.4774 | 1240136.9414
71 | 2660899.9986 | 1240154.3934 | 2660899.9881 | 1240168.9449
72 | 2661004.527 | 1240171.3755 | 2661004.3468 | 1240166.9881
73 | 2660955.8316 | 1240237.4664 | 2660955.3187 | 1240232.1798 | 2660952.2516 | 1240228.935
74 | 2660970.0594 | 1240237.1233 | 2660955.8316 | 1240237.4664
75 | 2660952.2516 | 1240228.935 | 2660966.9778 | 1240216.1443 | 2660967.3396 | 1240198.5917

## bus_geodata
| x | y | coords
0 | 2660800.3881 | 1240360.0931
1 | 2660845.0612 | 1240352.6524
2 | 2660844.9598 | 1240347.7925
3 | 2660848.5391 | 1240373.2832
4 | 2660872.5778 | 1240238.491
5 | 2660784.4743 | 1240358.9959
6 | 2660866.1466 | 1240477.7303
7 | 2661034.1122 | 1240624.4416
8 | 2661019.7787 | 1240243.8718
9 | 2661016.6682 | 1240232.0641
10 | 2661072.45 | 1240213.9619
11 | 2660868.5063 | 1240218.1467
12 | 2660888.2036 | 1240236.4739
13 | 2660866.0821 | 1240148.5085
14 | 2660866.9026 | 1240154.0428
15 | 2660865.2864 | 1240127.2861
16 | 2660868.9719 | 1240200.0282
17 | 2660899.9653 | 1240200.3906
18 | 2660835.5433 | 1240103.7655
19 | 2660869.4956 | 1240106.9266
20 | 2660812.8217 | 1240108.175
21 | 2660915.6185 | 1240800.1433
22 | 2660941.5926 | 1240796.751
23 | 2660920.8961 | 1240830.0291
24 | 2660903.3772 | 1240801.6734
25 | 2661017.2047 | 1240733.711
26 | 2661017.0218 | 1240220.0163
27 | 2661084.2553 | 1240207.9007
28 | 2660956.0352 | 1240794.8647
29 | 2660923.3719 | 1240844.0488
30 | 2660886.6621 | 1240803.7628
31 | 2661017.0267 | 1240749.1665
32 | 2660925.405 | 1240236.4953
33 | 2660867.4508 | 1240166.9942
34 | 2660884.908 | 1240154.2335
35 | 2660899.9791 | 1240181.3164
36 | 2660784.1162 | 1240113.7457
37 | 2661087.0182 | 1240747.7968
38 | 2661086.4073 | 1240778.7943
39 | 2661023.3629 | 1240785.9176
40 | 2660996.5959 | 1240789.5673
41 | 2661030.018 | 1240809.0367
42 | 2661020.0327 | 1240768.4033
43 | 2660966.8415 | 1240793.4534
44 | 2661033.4846 | 1240821.0792
45 | 2661018.5124 | 1240760.408
46 | 2661002.866 | 1240130.9444
47 | 2661003.508 | 1240146.5726
48 | 2660988.6539 | 1240128.2633
49 | 2660925.3455 | 1240855.2248
50 | 2660928.9845 | 1240875.8312
51 | 2660929.4171 | 1240878.2805
52 | 2660933.4544 | 1240901.161
53 | 2660934.1057 | 1240905.4817
54 | 2660968.9968 | 1240871.2936
55 | 2660993.0198 | 1240844.4204
56 | 2660981.2853 | 1240858.451
57 | 2660921.9647 | 1240921.617
58 | 2660918.9968 | 1240926.2629
59 | 2661009.2407 | 1240216.7264
60 | 2660997.8451 | 1240208.322
61 | 2660997.5661 | 1240192.5151
62 | 2661001.842 | 1240181.1083
63 | 2660975.3486 | 1240125.5398
64 | 2660980.1891 | 1240126.5306
65 | 2660934.5541 | 1240117.1895
66 | 2660904.2408 | 1240112.4087
67 | 2660902.4774 | 1240136.9414
68 | 2660899.9986 | 1240154.3934
69 | 2661004.3468 | 1240166.9881
70 | 2660899.9881 | 1240168.9449
71 | 2660772.2877 | 1240074.3892
72 | 2661004.527 | 1240171.3755
73 | 2660955.8316 | 1240237.4664
74 | 2660952.2516 | 1240228.935
75 | 2660970.0594 | 1240237.1233
76 | 2660967.3396 | 1240198.5917
77 | 2660937.4635 | 1240470.9237

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1