## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_413-15_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_413-15_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_413-15_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_413-15_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_413-15_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_413-15_0_2_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_413-15_0_2_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_413-15_0_2_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_413-15_0_2_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_413-15_0_2_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_413-15_0_2_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_413-15_0_2_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_413-15_0_2_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_413-15_0_2_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_413-15_0_2_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_413-15_0_2_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_413-15_0_2_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_413-15_0_2_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_413-15_0_2_node_92 | 0.4 | n |  | TRUE
19 | bus_LV_413-15_0_2_node_91 | 0.4 | n |  | TRUE
20 | bus_LV_413-15_0_2_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_413-15_0_2_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_413-15_0_2_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_413-15_0_2_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_413-15_0_2_node_89 | 0.4 | n |  | TRUE
25 | bus_LV_413-15_0_2_node_88 | 0.4 | n |  | TRUE
26 | bus_LV_413-15_0_2_node_53 | 0.4 | n |  | TRUE
27 | bus_LV_413-15_0_2_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_413-15_0_2_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_413-15_0_2_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_413-15_0_2_node_67 | 0.4 | n |  | TRUE
31 | bus_LV_413-15_0_2_node_54 | 0.4 | n |  | TRUE
32 | bus_LV_413-15_0_2_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_413-15_0_2_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_413-15_0_2_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_413-15_0_2_node_75 | 0.4 | n |  | TRUE
36 | bus_LV_413-15_0_2_node_82 | 0.4 | n |  | TRUE
37 | bus_LV_413-15_0_2_node_76 | 0.4 | n |  | TRUE
38 | bus_LV_413-15_0_2_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_413-15_0_2_node_83 | 0.4 | n |  | TRUE
40 | bus_LV_413-15_0_2_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_413-15_0_2_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_413-15_0_2_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_413-15_0_2_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_413-15_0_2_node_71 | 0.4 | n |  | TRUE
45 | bus_LV_413-15_0_2_node_81 | 0.4 | n |  | TRUE
46 | bus_LV_413-15_0_2_node_74 | 0.4 | n |  | TRUE
47 | bus_LV_413-15_0_2_node_79 | 0.4 | n |  | TRUE
48 | bus_LV_413-15_0_2_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_413-15_0_2_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_413-15_0_2_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_413-15_0_2_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_413-15_0_2_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_413-15_0_2_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_413-15_0_2_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_413-15_0_2_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_413-15_0_2_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_413-15_0_2_node_93 | 0.4 | n |  | TRUE
58 | bus_LV_413-15_0_2_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_413-15_0_2_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_413-15_0_2_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_413-15_0_2_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_413-15_0_2_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_413-15_0_2_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_413-15_0_2_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_413-15_0_2_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_413-15_0_2_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_413-15_0_2_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_413-15_0_2_node_73 | 0.4 | n |  | TRUE
69 | bus_LV_413-15_0_2_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_413-15_0_2_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_413-15_0_2_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_413-15_0_2_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_413-15_0_2_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_413-15_0_2_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_413-15_0_2_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_413-15_0_2_node_77 | 0.4 | n |  | TRUE
77 | bus_LV_413-15_0_2_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_413-15_0_2_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_413-15_0_2_node_68 | 0.4 | n |  | TRUE
80 | bus_LV_413-15_0_2_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_413-15_0_2_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_413-15_0_2_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_413-15_0_2_node_85 | 0.4 | n |  | TRUE
84 | bus_LV_413-15_0_2_node_86 | 0.4 | n |  | TRUE
85 | bus_LV_413-15_0_2_node_84 | 0.4 | n |  | TRUE
86 | bus_LV_413-15_0_2_node_87 | 0.4 | n |  | TRUE
87 | bus_MV_386_1_node_251 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_413-15_0_2_load_0 | 0 | 0.0013563 | 0.00033993 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_413-15_0_2_load_1 | 1 | 0.00022677 | 5.6834e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_413-15_0_2_load_2 | 2 | 0.00053101 | 0.00013308 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_413-15_0_2_load_3 | 3 | 0.00019336 | 4.8461e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_413-15_0_2_load_4 | 4 | 0.00016392 | 4.1082e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_413-15_0_2_load_22 | 7 | 0.00094849 | 0.00023771 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_413-15_0_2_load_7 | 8 | 0.0057376 | 0.001438 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_413-15_0_2_load_8 | 9 | 0.014692 | 0.0036821 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_413-15_0_2_load_34 | 16 | 0.0059623 | 0.0014943 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_413-15_0_2_load_24 | 17 | 0.0018055 | 0.00045249 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_413-15_0_2_load_92 | 18 | 0.0060141 | 0.0015073 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_413-15_0_2_load_91 | 19 | 0.012339 | 0.0030925 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_413-15_0_2_load_13 | 22 | 0.026588 | 0.0066636 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_413-15_0_2_load_89 | 24 | 0.001951 | 0.00048898 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_413-15_0_2_load_88 | 25 | 0.0016722 | 0.00041909 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_413-15_0_2_load_53 | 26 | 0.0045731 | 0.0011461 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_413-15_0_2_load_35 | 28 | 0.025512 | 0.0063938 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_413-15_0_2_load_23 | 29 | 0.0017501 | 0.00043862 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_413-15_0_2_load_54 | 31 | 0.00059742 | 0.00014973 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_413-15_0_2_load_27 | 32 | 0.0004254 | 0.00010661 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_413-15_0_2_load_82 | 36 | 0.0018144 | 0.00045473 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_413-15_0_2_load_76 | 37 | 0.0019245 | 0.00048233 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_413-15_0_2_load_32 | 38 | 0.0018633 | 0.000467 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_413-15_0_2_load_83 | 39 | 0.0026291 | 0.00065891 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_413-15_0_2_load_29 | 40 | 0.0012431 | 0.00031156 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_413-15_0_2_load_31 | 42 | 0.0011924 | 0.00029886 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_413-15_0_2_load_81 | 45 | 0.0023048 | 0.00057765 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_413-15_0_2_load_74 | 46 | 0.0014044 | 0.00035197 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_413-15_0_2_load_79 | 47 | 0.0019075 | 0.00047807 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_413-15_0_2_load_36 | 48 | 0.0010889 | 0.00027291 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_413-15_0_2_load_37 | 49 | 0.00052231 | 0.0001309 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_413-15_0_2_load_39 | 51 | 0.00090632 | 0.00022715 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_413-15_0_2_load_40 | 52 | 0.0012038 | 0.00030171 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_413-15_0_2_load_46 | 53 | 0.0011029 | 0.00027642 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_413-15_0_2_load_51 | 54 | 0.00071406 | 0.00017896 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_413-15_0_2_load_93 | 57 | 0.0015218 | 0.0003814 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_413-15_0_2_load_47 | 60 | 0.0015978 | 0.00040045 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_413-15_0_2_load_42 | 61 | 0.0019835 | 0.00049711 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_413-15_0_2_load_43 | 62 | 0.0026303 | 0.00065921 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_413-15_0_2_load_57 | 64 | 0.0051697 | 0.0012956 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_413-15_0_2_load_55 | 65 | 0.0044591 | 0.0011176 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_413-15_0_2_load_66 | 66 | 0.0011133 | 0.00027901 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_413-15_0_2_load_64 | 67 | 0.0068554 | 0.0017181 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_413-15_0_2_load_73 | 68 | 0.0006357 | 0.00015932 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_413-15_0_2_load_58 | 69 | 0.00068859 | 0.00017258 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_413-15_0_2_load_59 | 70 | 0.0021613 | 0.00054168 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_413-15_0_2_load_61 | 72 | 0.0030602 | 0.00076696 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_413-15_0_2_load_63 | 74 | 0.00052084 | 0.00013053 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_413-15_0_2_load_77 | 76 | 0.00052736 | 0.00013217 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_413-15_0_2_load_72 | 77 | 0.00052713 | 0.00013211 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_413-15_0_2_load_70 | 78 | 0.0022428 | 0.00056211 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_413-15_0_2_load_68 | 79 | 0.0020008 | 0.00050144 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_413-15_0_2_load_78 | 80 | 0.00056686 | 0.00014207 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_413-15_0_2_load_80 | 81 | 0.00068862 | 0.00017258 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_413-15_0_2_load_65 | 82 | 0.00079225 | 0.00019856 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_413-15_0_2_load_85 | 83 | 0.0019269 | 0.00048293 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_413-15_0_2_load_86 | 84 | 0.0019249 | 0.00048242 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_413-15_0_2_load_84 | 85 | 0.0033695 | 0.00084449 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_413-15_0_2_load_87 | 86 | 0.0026854 | 0.00067301 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_413-15_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0029949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_413-15_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.002025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_413-15_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.012061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_413-15_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0013877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_413-15_0_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.05873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_413-15_0_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.02093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_413-15_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.047485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_413-15_0_2_line_7 | NAYY 4x150 SE | 6 | 32 | 0.011926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_413-15_0_2_line_8 | NAYY 4x150 SE | 8 | 9 | 0.021764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_413-15_0_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.013429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_413-15_0_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.0072534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_413-15_0_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.01847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_413-15_0_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.026715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_413-15_0_2_line_13 | NAYY 4x150 SE | 11 | 14 | 0.007912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_413-15_0_2_line_14 | NAYY 4x150 SE | 12 | 15 | 0.02587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_413-15_0_2_line_15 | NAYY 4x150 SE | 12 | 16 | 0.012524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_413-15_0_2_line_16 | NAYY 4x150 SE | 13 | 18 | 0.024886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_413-15_0_2_line_17 | NAYY 4x150 SE | 13 | 19 | 0.014069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_413-15_0_2_line_18 | NAYY 4x150 SE | 14 | 22 | 0.005412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_413-15_0_2_line_19 | NAYY 4x150 SE | 14 | 20 | 0.034698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_413-15_0_2_line_20 | NAYY 4x150 SE | 15 | 17 | 0.035498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_413-15_0_2_line_21 | NAYY 4x150 SE | 16 | 27 | 0.012929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_413-15_0_2_line_22 | NAYY 4x150 SE | 17 | 29 | 0.02567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_413-15_0_2_line_23 | NAYY 4x150 SE | 20 | 21 | 0.0549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_413-15_0_2_line_24 | NAYY 4x150 SE | 21 | 26 | 0.037658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_413-15_0_2_line_25 | NAYY 4x150 SE | 23 | 24 | 0.037568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_413-15_0_2_line_26 | NAYY 4x150 SE | 23 | 25 | 0.04546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_413-15_0_2_line_27 | NAYY 4x150 SE | 25 | 30 | 0.011121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_413-15_0_2_line_28 | NAYY 4x150 SE | 26 | 31 | 0.0058398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_413-15_0_2_line_29 | NAYY 4x150 SE | 27 | 28 | 0.00236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_413-15_0_2_line_30 | NAYY 4x150 SE | 29 | 33 | 0.010817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_413-15_0_2_line_31 | NAYY 4x150 SE | 30 | 44 | 0.04283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_413-15_0_2_line_32 | NAYY 4x150 SE | 30 | 82 | 0.019451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_413-15_0_2_line_33 | NAYY 4x150 SE | 32 | 33 | 0.10484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_413-15_0_2_line_34 | NAYY 4x150 SE | 33 | 34 | 0.001907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_413-15_0_2_line_35 | NAYY 4x150 SE | 34 | 35 | 0.021476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_413-15_0_2_line_36 | NAYY 4x150 SE | 34 | 36 | 0.0080026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_413-15_0_2_line_37 | NAYY 4x150 SE | 35 | 37 | 0.037822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_413-15_0_2_line_38 | NAYY 4x150 SE | 35 | 38 | 0.010469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_413-15_0_2_line_39 | NAYY 4x150 SE | 36 | 39 | 0.025364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_413-15_0_2_line_40 | NAYY 4x150 SE | 38 | 41 | 0.014773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_413-15_0_2_line_41 | NAYY 4x150 SE | 39 | 85 | 0.020653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_413-15_0_2_line_42 | NAYY 4x150 SE | 40 | 41 | 0.01283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_413-15_0_2_line_43 | NAYY 4x150 SE | 40 | 42 | 0.021606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_413-15_0_2_line_44 | NAYY 4x150 SE | 41 | 43 | 0.020508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_413-15_0_2_line_45 | NAYY 4x150 SE | 43 | 44 | 0.04035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_413-15_0_2_line_46 | NAYY 4x150 SE | 43 | 45 | 0.016631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_413-15_0_2_line_47 | NAYY 4x150 SE | 44 | 46 | 0.022579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_413-15_0_2_line_48 | NAYY 4x150 SE | 45 | 47 | 0.0076292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_413-15_0_2_line_49 | NAYY 4x150 SE | 46 | 68 | 0.011057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_413-15_0_2_line_50 | NAYY 4x150 SE | 47 | 81 | 0.023585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_413-15_0_2_line_51 | NAYY 4x150 SE | 48 | 49 | 0.0062441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_413-15_0_2_line_52 | NAYY 4x150 SE | 48 | 50 | 0.014174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_413-15_0_2_line_53 | NAYY 4x150 SE | 49 | 51 | 0.013583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_413-15_0_2_line_54 | NAYY 4x150 SE | 50 | 52 | 0.027319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_413-15_0_2_line_55 | NAYY 4x150 SE | 51 | 53 | 0.0037026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_413-15_0_2_line_56 | NAYY 4x150 SE | 52 | 54 | 0.022132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_413-15_0_2_line_57 | NAYY 4x150 SE | 53 | 58 | 0.027801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_413-15_0_2_line_58 | NAYY 4x150 SE | 54 | 59 | 0.039721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_413-15_0_2_line_59 | NAYY 4x150 SE | 55 | 56 | 0.074323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_413-15_0_2_line_60 | NAYY 4x150 SE | 55 | 57 | 0.11815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_413-15_0_2_line_61 | NAYY 4x150 SE | 56 | 60 | 0.0031235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_413-15_0_2_line_62 | NAYY 4x150 SE | 58 | 60 | 0.012324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_413-15_0_2_line_63 | NAYY 4x150 SE | 58 | 61 | 0.0237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_413-15_0_2_line_64 | NAYY 4x150 SE | 59 | 66 | 0.018046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_413-15_0_2_line_65 | NAYY 4x150 SE | 61 | 62 | 0.071446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_413-15_0_2_line_66 | NAYY 4x150 SE | 63 | 64 | 0.045301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_413-15_0_2_line_67 | NAYY 4x150 SE | 63 | 65 | 0.014396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_413-15_0_2_line_68 | NAYY 4x150 SE | 64 | 68 | 0.029922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_413-15_0_2_line_69 | NAYY 4x150 SE | 66 | 67 | 0.013299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_413-15_0_2_line_70 | NAYY 4x150 SE | 67 | 82 | 0.0065048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_413-15_0_2_line_71 | NAYY 4x150 SE | 69 | 70 | 0.024536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_413-15_0_2_line_72 | NAYY 4x150 SE | 69 | 71 | 0.013132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_413-15_0_2_line_73 | NAYY 4x150 SE | 70 | 72 | 0.003957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_413-15_0_2_line_74 | NAYY 4x150 SE | 71 | 73 | 0.003148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_413-15_0_2_line_75 | NAYY 4x150 SE | 71 | 74 | 0.01574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_413-15_0_2_line_76 | NAYY 4x150 SE | 72 | 75 | 0.018055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_413-15_0_2_line_77 | NAYY 4x150 SE | 73 | 76 | 0.015646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_413-15_0_2_line_78 | NAYY 4x150 SE | 74 | 77 | 0.00054143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_413-15_0_2_line_79 | NAYY 4x150 SE | 75 | 78 | 0.014666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_413-15_0_2_line_80 | NAYY 4x150 SE | 75 | 79 | 0.011994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_413-15_0_2_line_81 | NAYY 4x150 SE | 78 | 83 | 0.019984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_413-15_0_2_line_82 | NAYY 4x150 SE | 80 | 81 | 0.007766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_413-15_0_2_line_83 | NAYY 4x150 SE | 83 | 84 | 0.004796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_413-15_0_2_line_84 | NAYY 4x150 SE | 84 | 86 | 0.020038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_413-15_0_2_line_85 | NAYY 4x150 SE | 85 | 86 | 0.0036023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_413-15_0_2_trafo_35 | 0.25 MVA 20/0.4 kV | 87 | 28 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2612439.335 | 1220545.0084 | 2612436.3514 | 1220545.2684
1 | 2612439.335 | 1220545.0084 | 2612441.3523 | 1220544.8325
2 | 2612436.3514 | 1220545.2684 | 2612424.3357 | 1220546.3156
3 | 2612441.3523 | 1220544.8325 | 2612442.7348 | 1220544.7121
4 | 2612501.2428 | 1220539.6129 | 2612442.7348 | 1220544.7121
5 | 2612522.2176 | 1220540.4572 | 2612501.2428 | 1220539.6129
6 | 2612501.2428 | 1220539.6129 | 2612499.8116 | 1220492.1499
7 | 2612522.2176 | 1220540.4572 | 2612534.0529 | 1220541.9241
8 | 2612642.1024 | 1220434.4934 | 2612642.2223 | 1220412.7295
9 | 2612642.0284 | 1220447.9224 | 2612642.1024 | 1220434.4934
10 | 2612642.2622 | 1220405.4762 | 2612642.2223 | 1220412.7295
11 | 2612642.0284 | 1220447.9224 | 2612646.0276 | 1220454.568 | 2612646.005 | 1220465.2852
12 | 2612636.3637 | 1220385.6746 | 2612642.3741 | 1220384.8312 | 2612642.2622 | 1220405.4762
13 | 2612642.2622 | 1220405.4762 | 2612644.781 | 1220405.4815 | 2612646.5411 | 1220405.4853 | 2612650.1979 | 1220405.4485
14 | 2612637.592 | 1220482.9999 | 2612646.1961 | 1220482.5289 | 2612646.3708 | 1220478.8494 | 2612646.005 | 1220465.2852
15 | 2612646.005 | 1220465.2852 | 2612658.5285 | 1220465.3993
16 | 2612636.3637 | 1220385.6746 | 2612636.2646 | 1220360.7934
17 | 2612636.3637 | 1220385.6746 | 2612629.1163 | 1220386.7043 | 2612622.4339 | 1220387.6495
18 | 2612650.1979 | 1220405.4485 | 2612652.6609 | 1220410.2676
19 | 2612650.1979 | 1220405.4485 | 2612652.6184 | 1220394.4918 | 2612652.6139 | 1220393.0465 | 2612674.7068 | 1220392.7153
20 | 2612637.592 | 1220482.9999 | 2612637.1955 | 1220518.4957
21 | 2612671.4573 | 1220465.517 | 2612658.5285 | 1220465.3993
22 | 2612637.1955 | 1220518.4957 | 2612636.9558 | 1220539.9536 | 2612638.07 | 1220544.0138
23 | 2612674.7068 | 1220392.7153 | 2612679.7217 | 1220392.6369 | 2612680.5114 | 1220385.1676 | 2612679.708 | 1220377.6616 | 2612683.5034 | 1220376.6469 | 2612686.8207 | 1220375.7534 | 2612693.9567 | 1220373.6006 | 2612697.8359 | 1220372.4526 | 2612698.6036 | 1220375.3781 | 2612701.0268 | 1220384.6108 | 2612704.4022 | 1220384.9404
24 | 2612704.4022 | 1220384.9404 | 2612727.5291 | 1220390.7151 | 2612727.1798 | 1220404.5318
25 | 2612722.3617 | 1220466.0586 | 2612750.5152 | 1220469.665 | 2612751.8081 | 1220478.8397
26 | 2612722.3617 | 1220466.0586 | 2612733.7274 | 1220510.0748
27 | 2612736.5078 | 1220520.8425 | 2612733.7274 | 1220510.0748
28 | 2612727.0321 | 1220410.3698 | 2612727.1798 | 1220404.5318
29 | 2612673.8242 | 1220465.5442 | 2612671.4573 | 1220465.517
30 | 2612638.1003 | 1220554.8312 | 2612638.0846 | 1220547.905 | 2612638.07 | 1220544.0138
31 | 2612736.5078 | 1220520.8425 | 2612747.2225 | 1220562.3114
32 | 2612736.5078 | 1220520.8425 | 2612755.9276 | 1220521.942
33 | 2612638.1003 | 1220554.8312 | 2612549.6809 | 1220543.8611 | 2612534.0529 | 1220541.9241
34 | 2612638.1003 | 1220554.8312 | 2612639.9964 | 1220555.0798
35 | 2612661.3847 | 1220557.6154 | 2612639.9964 | 1220555.0798
36 | 2612639.9964 | 1220555.0798 | 2612642.117 | 1220562.7963
37 | 2612665.1817 | 1220519.9906 | 2612661.3847 | 1220557.6154
38 | 2612661.3847 | 1220557.6154 | 2612671.781 | 1220558.8455
39 | 2612642.117 | 1220562.7963 | 2612648.8382 | 1220587.2535
40 | 2612686.4515 | 1220560.5813 | 2612671.781 | 1220558.8455
41 | 2612654.3111 | 1220607.1682 | 2612648.8382 | 1220587.2535
42 | 2612686.4515 | 1220560.5813 | 2612687.985 | 1220547.8436
43 | 2612690.5676 | 1220526.3925 | 2612687.985 | 1220547.8436
44 | 2612686.4515 | 1220560.5813 | 2612706.8766 | 1220562.9927
45 | 2612747.2225 | 1220562.3114 | 2612744.1193 | 1220562.4827 | 2612734.732 | 1220563.8746 | 2612706.8766 | 1220562.9927
46 | 2612706.8766 | 1220562.9927 | 2612710.8096 | 1220579.1516
47 | 2612747.2225 | 1220562.3114 | 2612753.0547 | 1220584.1243
48 | 2612712.6138 | 1220586.5643 | 2612710.8096 | 1220579.1516
49 | 2612753.0547 | 1220584.1243 | 2612755.9107 | 1220594.8062
50 | 2612712.6138 | 1220586.5643 | 2612718.1914 | 1220609.4801
51 | 2612831.9809 | 1220446.7368 | 2612837.9686 | 1220448.5079
52 | 2612818.3889 | 1220442.7167 | 2612831.9809 | 1220446.7368
53 | 2612850.994 | 1220452.3604 | 2612837.9686 | 1220448.5079
54 | 2612818.3889 | 1220442.7167 | 2612810.7962 | 1220468.9598
55 | 2612850.994 | 1220452.3604 | 2612854.5445 | 1220453.4105
56 | 2612810.7962 | 1220468.9598 | 2612809.0796 | 1220474.8931 | 2612804.6486 | 1220490.2206
57 | 2612881.2036 | 1220461.2956 | 2612854.5445 | 1220453.4105
58 | 2612793.0263 | 1220528.2006 | 2612800.7028 | 1220503.8696 | 2612804.6486 | 1220490.2206
59 | 2612916.4532 | 1220379.2799 | 2612912.781 | 1220396.9821 | 2612889.6155 | 1220440.8797 | 2612887.0835 | 1220447.0111
60 | 2612916.4532 | 1220379.2799 | 2612917.3068 | 1220395.0575 | 2612915.9866 | 1220405.6385 | 2612912.491 | 1220415.3588 | 2612904.622 | 1220433.7302 | 2612900.5934 | 1220451.3538 | 2612899.5428 | 1220467.1162 | 2612900.6662 | 1220480.9266 | 2612903.2855 | 1220494.308
61 | 2612887.0835 | 1220447.0111 | 2612885.8946 | 1220449.8995
62 | 2612881.2036 | 1220461.2956 | 2612885.8946 | 1220449.8995
63 | 2612881.2036 | 1220461.2956 | 2612881.5427 | 1220484.9936
64 | 2612793.0263 | 1220528.2006 | 2612775.6622 | 1220523.2856
65 | 2612881.5427 | 1220484.9936 | 2612881.6388 | 1220491.7029 | 2612881.7309 | 1220498.2625 | 2612879.5423 | 1220552.8336 | 2612880.5135 | 1220556.2599
66 | 2612775.3407 | 1220667.4764 | 2612763.6395 | 1220623.7125
67 | 2612775.3407 | 1220667.4764 | 2612778.974 | 1220681.4061
68 | 2612763.6395 | 1220623.7125 | 2612755.9107 | 1220594.8062
69 | 2612762.422 | 1220522.3097 | 2612774.663 | 1220523.0028 | 2612775.6622 | 1220523.2856
70 | 2612762.422 | 1220522.3097 | 2612755.9276 | 1220521.942
71 | 2612715.9932 | 1220655.9639 | 2612692.2916 | 1220662.308
72 | 2612728.6789 | 1220652.5684 | 2612715.9932 | 1220655.9639
73 | 2612692.2916 | 1220662.308 | 2612688.4692 | 1220663.3311
74 | 2612727.9344 | 1220649.5095 | 2612728.6789 | 1220652.5684
75 | 2612728.6789 | 1220652.5684 | 2612733.1678 | 1220667.655
76 | 2612671.0284 | 1220667.9994 | 2612688.4692 | 1220663.3311
77 | 2612727.9344 | 1220649.5095 | 2612743.1952 | 1220646.0604
78 | 2612733.3222 | 1220668.1739 | 2612733.1678 | 1220667.655
79 | 2612671.0284 | 1220667.9994 | 2612667.1419 | 1220653.8572
80 | 2612671.0284 | 1220667.9994 | 2612659.5241 | 1220671.3931
81 | 2612667.1419 | 1220653.8572 | 2612661.8463 | 1220634.5877
82 | 2612718.1914 | 1220609.4801 | 2612720.028 | 1220617.0258
83 | 2612661.8463 | 1220634.5877 | 2612660.5754 | 1220629.9631
84 | 2612655.2656 | 1220610.6417 | 2612660.5754 | 1220629.9631
85 | 2612655.2656 | 1220610.6417 | 2612654.3111 | 1220607.1682

## bus_geodata
| x | y | coords
0 | 2612439.335 | 1220545.0084
1 | 2612436.3514 | 1220545.2684
2 | 2612441.3523 | 1220544.8326
3 | 2612424.3357 | 1220546.3156
4 | 2612442.7348 | 1220544.7121
5 | 2612501.2428 | 1220539.6129
6 | 2612522.2176 | 1220540.4572
7 | 2612499.8116 | 1220492.1499
8 | 2612642.1024 | 1220434.4934
9 | 2612642.2223 | 1220412.7295
10 | 2612642.0284 | 1220447.9224
11 | 2612642.2622 | 1220405.4762
12 | 2612646.005 | 1220465.2852
13 | 2612636.3637 | 1220385.6746
14 | 2612650.1979 | 1220405.4485
15 | 2612637.592 | 1220482.9999
16 | 2612658.5285 | 1220465.3993
17 | 2612637.1955 | 1220518.4957
18 | 2612636.2646 | 1220360.7934
19 | 2612622.4339 | 1220387.6495
20 | 2612674.7068 | 1220392.7153
21 | 2612704.4022 | 1220384.9404
22 | 2612652.6609 | 1220410.2676
23 | 2612722.3617 | 1220466.0586
24 | 2612751.8082 | 1220478.8397
25 | 2612733.7274 | 1220510.0748
26 | 2612727.1798 | 1220404.5318
27 | 2612671.4573 | 1220465.517
28 | 2612673.8242 | 1220465.5442
29 | 2612638.07 | 1220544.0138
30 | 2612736.5078 | 1220520.8425
31 | 2612727.0321 | 1220410.3698
32 | 2612534.0529 | 1220541.9241
33 | 2612638.1003 | 1220554.8312
34 | 2612639.9964 | 1220555.0798
35 | 2612661.3847 | 1220557.6154
36 | 2612642.117 | 1220562.7963
37 | 2612665.1817 | 1220519.9906
38 | 2612671.781 | 1220558.8455
39 | 2612648.8382 | 1220587.2535
40 | 2612687.985 | 1220547.8436
41 | 2612686.4515 | 1220560.5813
42 | 2612690.5676 | 1220526.3925
43 | 2612706.8766 | 1220562.9927
44 | 2612747.2225 | 1220562.3114
45 | 2612710.8096 | 1220579.1516
46 | 2612753.0547 | 1220584.1243
47 | 2612712.6138 | 1220586.5643
48 | 2612831.9809 | 1220446.7369
49 | 2612837.9686 | 1220448.5079
50 | 2612818.3889 | 1220442.7167
51 | 2612850.994 | 1220452.3604
52 | 2612810.7962 | 1220468.9598
53 | 2612854.5445 | 1220453.4105
54 | 2612804.6486 | 1220490.2206
55 | 2612916.4532 | 1220379.2799
56 | 2612887.0835 | 1220447.0111
57 | 2612903.2855 | 1220494.308
58 | 2612881.2036 | 1220461.2956
59 | 2612793.0263 | 1220528.2006
60 | 2612885.8946 | 1220449.8995
61 | 2612881.5427 | 1220484.9936
62 | 2612880.5135 | 1220556.2599
63 | 2612775.3407 | 1220667.4764
64 | 2612763.6395 | 1220623.7125
65 | 2612778.974 | 1220681.4061
66 | 2612775.6622 | 1220523.2856
67 | 2612762.422 | 1220522.3097
68 | 2612755.9107 | 1220594.8062
69 | 2612715.9932 | 1220655.9639
70 | 2612692.2916 | 1220662.308
71 | 2612728.6789 | 1220652.5684
72 | 2612688.4692 | 1220663.3311
73 | 2612727.9344 | 1220649.5095
74 | 2612733.1678 | 1220667.655
75 | 2612671.0284 | 1220667.9994
76 | 2612743.1952 | 1220646.0604
77 | 2612733.3222 | 1220668.1739
78 | 2612667.1419 | 1220653.8572
79 | 2612659.5241 | 1220671.3931
80 | 2612720.028 | 1220617.0258
81 | 2612718.1914 | 1220609.4801
82 | 2612755.9276 | 1220521.942
83 | 2612661.8463 | 1220634.5877
84 | 2612660.5754 | 1220629.9631
85 | 2612654.3111 | 1220607.1682
86 | 2612655.2656 | 1220610.6417
87 | 2612671.4573 | 1220465.517

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1