## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4132-3_1_4_node_38 | 0.4 | n |  | TRUE
1 | bus_LV_4132-3_1_4_node_39 | 0.4 | n |  | TRUE
2 | bus_LV_4132-3_1_4_node_24 | 0.4 | n |  | TRUE
3 | bus_LV_4132-3_1_4_node_25 | 0.4 | n |  | TRUE
4 | bus_LV_4132-3_1_4_node_88 | 0.4 | n |  | TRUE
5 | bus_LV_4132-3_1_4_node_56 | 0.4 | n |  | TRUE
6 | bus_LV_4132-3_1_4_node_57 | 0.4 | n |  | TRUE
7 | bus_LV_4132-3_1_4_node_55 | 0.4 | n |  | TRUE
8 | bus_LV_4132-3_1_4_node_89 | 0.4 | n |  | TRUE
9 | bus_LV_4132-3_1_4_node_58 | 0.4 | n |  | TRUE
10 | bus_LV_4132-3_1_4_node_47 | 0.4 | n |  | TRUE
11 | bus_LV_4132-3_1_4_node_46 | 0.4 | n |  | TRUE
12 | bus_LV_4132-3_1_4_node_54 | 0.4 | n |  | TRUE
13 | bus_LV_4132-3_1_4_node_50 | 0.4 | n |  | TRUE
14 | bus_LV_4132-3_1_4_node_48 | 0.4 | n |  | TRUE
15 | bus_LV_4132-3_1_4_node_59 | 0.4 | n |  | TRUE
16 | bus_LV_4132-3_1_4_node_104 | 0.4 | n |  | TRUE
17 | bus_LV_4132-3_1_4_node_61 | 0.4 | n |  | TRUE
18 | bus_LV_4132-3_1_4_node_98 | 0.4 | n |  | TRUE
19 | bus_LV_4132-3_1_4_node_99 | 0.4 | n |  | TRUE
20 | bus_LV_4132-3_1_4_node_100 | 0.4 | n |  | TRUE
21 | bus_LV_4132-3_1_4_node_101 | 0.4 | n |  | TRUE
22 | bus_LV_4132-3_1_4_node_103 | 0.4 | n |  | TRUE
23 | bus_LV_4132-3_1_4_node_102 | 0.4 | n |  | TRUE
24 | bus_LV_4132-3_1_4_node_73 | 0.4 | n |  | TRUE
25 | bus_LV_4132-3_1_4_node_93 | 0.4 | n |  | TRUE
26 | bus_LV_4132-3_1_4_node_97 | 0.4 | n |  | TRUE
27 | bus_LV_4132-3_1_4_node_109 | 0.4 | n |  | TRUE
28 | bus_LV_4132-3_1_4_node_110 | 0.4 | n |  | TRUE
29 | bus_LV_4132-3_1_4_node_107 | 0.4 | n |  | TRUE
30 | bus_LV_4132-3_1_4_node_71 | 0.4 | n |  | TRUE
31 | bus_LV_4132-3_1_4_node_90 | 0.4 | n |  | TRUE
32 | bus_LV_4132-3_1_4_node_91 | 0.4 | n |  | TRUE
33 | bus_LV_4132-3_1_4_node_92 | 0.4 | n |  | TRUE
34 | bus_LV_4132-3_1_4_node_105 | 0.4 | n |  | TRUE
35 | bus_LV_4132-3_1_4_node_106 | 0.4 | n |  | TRUE
36 | bus_LV_4132-3_1_4_node_108 | 0.4 | n |  | TRUE
37 | bus_LV_4132-3_1_4_node_111 | 0.4 | n |  | TRUE
38 | bus_LV_4132-3_1_4_node_62 | 0.4 | n |  | TRUE
39 | bus_LV_4132-3_1_4_node_63 | 0.4 | n |  | TRUE
40 | bus_LV_4132-3_1_4_node_64 | 0.4 | n |  | TRUE
41 | bus_LV_4132-3_1_4_node_65 | 0.4 | n |  | TRUE
42 | bus_LV_4132-3_1_4_node_66 | 0.4 | n |  | TRUE
43 | bus_LV_4132-3_1_4_node_72 | 0.4 | n |  | TRUE
44 | bus_LV_4132-3_1_4_node_68 | 0.4 | n |  | TRUE
45 | bus_LV_4132-3_1_4_node_75 | 0.4 | n |  | TRUE
46 | bus_LV_4132-3_1_4_node_70 | 0.4 | n |  | TRUE
47 | bus_LV_4132-3_1_4_node_67 | 0.4 | n |  | TRUE
48 | bus_LV_4132-3_1_4_node_69 | 0.4 | n |  | TRUE
49 | bus_LV_4132-3_1_4_node_74 | 0.4 | n |  | TRUE
50 | bus_LV_4132-3_1_4_node_85 | 0.4 | n |  | TRUE
51 | bus_LV_4132-3_1_4_node_82 | 0.4 | n |  | TRUE
52 | bus_LV_4132-3_1_4_node_76 | 0.4 | n |  | TRUE
53 | bus_LV_4132-3_1_4_node_96 | 0.4 | n |  | TRUE
54 | bus_LV_4132-3_1_4_node_83 | 0.4 | n |  | TRUE
55 | bus_LV_4132-3_1_4_node_77 | 0.4 | n |  | TRUE
56 | bus_LV_4132-3_1_4_node_78 | 0.4 | n |  | TRUE
57 | bus_LV_4132-3_1_4_node_79 | 0.4 | n |  | TRUE
58 | bus_LV_4132-3_1_4_node_80 | 0.4 | n |  | TRUE
59 | bus_LV_4132-3_1_4_node_81 | 0.4 | n |  | TRUE
60 | bus_LV_4132-3_1_4_node_86 | 0.4 | n |  | TRUE
61 | bus_LV_4132-3_1_4_node_87 | 0.4 | n |  | TRUE
62 | bus_LV_4132-3_1_4_node_84 | 0.4 | n |  | TRUE
63 | bus_LV_4132-3_1_4_node_94 | 0.4 | n |  | TRUE
64 | bus_LV_4132-3_1_4_node_112 | 0.4 | n |  | TRUE
65 | bus_LV_4132-3_1_4_node_95 | 0.4 | n |  | TRUE
66 | bus_MV_474_0_node_11 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4132-3_1_4_load_38 | 0 | 0.003412 | 0.00085512 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4132-3_1_4_load_39 | 1 | 0.0033863 | 0.00084868 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4132-3_1_4_load_24 | 2 | 0.0020232 | 0.00050706 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4132-3_1_4_load_25 | 3 | 0.0027033 | 0.0006775 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4132-3_1_4_load_56 | 5 | 0.001144 | 0.00028671 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4132-3_1_4_load_57 | 6 | 0.00077131 | 0.00019331 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4132-3_1_4_load_55 | 7 | 0.00047175 | 0.00011823 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4132-3_1_4_load_89 | 8 | 0.0069028 | 0.00173 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4132-3_1_4_load_58 | 9 | 0.00097733 | 0.00024494 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4132-3_1_4_load_47 | 10 | 0.001606 | 0.0004025 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4132-3_1_4_load_46 | 11 | 0.00099254 | 0.00024876 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4132-3_1_4_load_54 | 12 | 0.00071325 | 0.00017876 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4132-3_1_4_load_50 | 13 | 0.00084619 | 0.00021207 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4132-3_1_4_load_48 | 14 | 0.0011691 | 0.000293 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4132-3_1_4_load_59 | 15 | 0.0013172 | 0.00033012 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4132-3_1_4_load_104 | 16 | 0.0080386 | 0.0020147 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4132-3_1_4_load_61 | 17 | 0.0010007 | 0.0002508 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4132-3_1_4_load_98 | 18 | 0.0015876 | 0.00039788 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4132-3_1_4_load_99 | 19 | 0.00099655 | 0.00024976 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4132-3_1_4_load_100 | 20 | 0.00044771 | 0.00011221 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4132-3_1_4_load_101 | 21 | 0.0011692 | 0.00029302 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4132-3_1_4_load_103 | 22 | 0.0027447 | 0.00068788 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4132-3_1_4_load_102 | 23 | 0.018764 | 0.0047026 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4132-3_1_4_load_73 | 24 | 0.0028621 | 0.00071731 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4132-3_1_4_load_93 | 25 | 0.00093905 | 0.00023535 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4132-3_1_4_load_97 | 26 | 0.00038727 | 9.7058e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4132-3_1_4_load_109 | 27 | 0.00072781 | 0.00018241 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4132-3_1_4_load_110 | 28 | 0.00064666 | 0.00016207 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4132-3_1_4_load_90 | 31 | 0.00049175 | 0.00012324 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4132-3_1_4_load_91 | 32 | 0.001108 | 0.00027769 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4132-3_1_4_load_92 | 33 | 0.00034602 | 8.6721e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4132-3_1_4_load_105 | 34 | 0.00070455 | 0.00017658 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4132-3_1_4_load_106 | 35 | 0.00081405 | 0.00020402 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4132-3_1_4_load_108 | 36 | 0.00060825 | 0.00015244 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4132-3_1_4_load_111 | 37 | 0.0013503 | 0.00033841 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4132-3_1_4_load_62 | 38 | 0.0020839 | 0.00052227 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4132-3_1_4_load_63 | 39 | 0.00096607 | 0.00024212 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4132-3_1_4_load_64 | 40 | 0.00071169 | 0.00017837 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4132-3_1_4_load_65 | 41 | 0.00061991 | 0.00015536 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4132-3_1_4_load_66 | 42 | 0.0010686 | 0.00026781 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4132-3_1_4_load_68 | 44 | 0.0021628 | 0.00054205 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4132-3_1_4_load_75 | 45 | 0.0017955 | 0.00045 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4132-3_1_4_load_70 | 46 | 0.0024368 | 0.00061073 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4132-3_1_4_load_67 | 47 | 0.0015216 | 0.00038136 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4132-3_1_4_load_69 | 48 | 0.0040907 | 0.0010252 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4132-3_1_4_load_85 | 50 | 0.0010457 | 0.00026207 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4132-3_1_4_load_82 | 51 | 0.0017566 | 0.00044026 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4132-3_1_4_load_76 | 52 | 0.0040978 | 0.001027 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4132-3_1_4_load_96 | 53 | 0.00079773 | 0.00019993 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4132-3_1_4_load_83 | 54 | 0.0040197 | 0.0010074 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4132-3_1_4_load_78 | 56 | 0.002905 | 0.00072806 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4132-3_1_4_load_79 | 57 | 0.0024025 | 0.00060213 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4132-3_1_4_load_80 | 58 | 0.0010238 | 0.00025659 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4132-3_1_4_load_81 | 59 | 0.0016832 | 0.00042185 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4132-3_1_4_load_86 | 60 | 0.0016825 | 0.00042168 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4132-3_1_4_load_87 | 61 | 0.0025844 | 0.00064772 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4132-3_1_4_load_84 | 62 | 0.0034783 | 0.00087174 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4132-3_1_4_load_94 | 63 | 0.00061703 | 0.00015464 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4132-3_1_4_load_112 | 64 | 0.00081402 | 0.00020401 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4132-3_1_4_load_95 | 65 | 0.00058237 | 0.00014596 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4132-3_1_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.092856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4132-3_1_4_line_1 | NAYY 4x150 SE | 1 | 4 | 0.074227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4132-3_1_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.015085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4132-3_1_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.011261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4132-3_1_4_line_4 | NAYY 4x150 SE | 4 | 8 | 0.019411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4132-3_1_4_line_5 | NAYY 4x150 SE | 5 | 6 | 0.032651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4132-3_1_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0079033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4132-3_1_4_line_7 | NAYY 4x150 SE | 6 | 9 | 0.051692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4132-3_1_4_line_8 | NAYY 4x150 SE | 7 | 12 | 0.022535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4132-3_1_4_line_9 | NAYY 4x150 SE | 8 | 16 | 0.028204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4132-3_1_4_line_10 | NAYY 4x150 SE | 9 | 15 | 0.068658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4132-3_1_4_line_11 | NAYY 4x150 SE | 10 | 11 | 0.055988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4132-3_1_4_line_12 | NAYY 4x150 SE | 11 | 14 | 0.034464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4132-3_1_4_line_13 | NAYY 4x150 SE | 12 | 13 | 0.010611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4132-3_1_4_line_14 | NAYY 4x150 SE | 13 | 14 | 0.0044087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4132-3_1_4_line_15 | NAYY 4x150 SE | 15 | 17 | 0.10416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_4132-3_1_4_line_16 | NAYY 4x150 SE | 16 | 22 | 0.015957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4132-3_1_4_line_17 | NAYY 4x150 SE | 17 | 24 | 0.075263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_4132-3_1_4_line_18 | NAYY 4x150 SE | 18 | 19 | 0.028565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4132-3_1_4_line_19 | NAYY 4x150 SE | 18 | 20 | 0.0071507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4132-3_1_4_line_20 | NAYY 4x150 SE | 20 | 21 | 0.047479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4132-3_1_4_line_21 | NAYY 4x150 SE | 21 | 28 | 0.032234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4132-3_1_4_line_22 | NAYY 4x150 SE | 22 | 23 | 0.050992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_4132-3_1_4_line_23 | NAYY 4x150 SE | 23 | 26 | 0.013969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_4132-3_1_4_line_24 | NAYY 4x150 SE | 24 | 30 | 0.0071646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_4132-3_1_4_line_25 | NAYY 4x150 SE | 25 | 26 | 0.012718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_4132-3_1_4_line_26 | NAYY 4x150 SE | 25 | 27 | 0.062599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_4132-3_1_4_line_27 | NAYY 4x150 SE | 27 | 29 | 0.033573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_4132-3_1_4_line_28 | NAYY 4x150 SE | 28 | 29 | 0.018584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4132-3_1_4_line_29 | NAYY 4x150 SE | 29 | 34 | 0.017477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_4132-3_1_4_line_30 | NAYY 4x150 SE | 30 | 49 | 0.01462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_4132-3_1_4_line_31 | NAYY 4x150 SE | 30 | 48 | 0.015775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4132-3_1_4_line_32 | NAYY 4x150 SE | 31 | 32 | 0.0086829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4132-3_1_4_line_33 | NAYY 4x150 SE | 31 | 33 | 0.0072749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4132-3_1_4_line_34 | NAYY 4x150 SE | 33 | 63 | 0.019264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_4132-3_1_4_line_35 | NAYY 4x150 SE | 33 | 64 | 0.082284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_4132-3_1_4_line_36 | NAYY 4x150 SE | 34 | 35 | 0.041071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_4132-3_1_4_line_37 | NAYY 4x150 SE | 35 | 36 | 0.019232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_4132-3_1_4_line_38 | NAYY 4x150 SE | 36 | 37 | 0.027745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_4132-3_1_4_line_39 | NAYY 4x150 SE | 37 | 64 | 0.0037689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_4132-3_1_4_line_40 | NAYY 4x150 SE | 38 | 39 | 0.0046936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4132-3_1_4_line_41 | NAYY 4x150 SE | 38 | 40 | 0.028411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4132-3_1_4_line_42 | NAYY 4x150 SE | 39 | 41 | 0.030217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4132-3_1_4_line_43 | NAYY 4x150 SE | 40 | 42 | 0.032465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4132-3_1_4_line_44 | NAYY 4x150 SE | 41 | 43 | 0.022084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4132-3_1_4_line_45 | NAYY 4x150 SE | 42 | 44 | 0.018526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4132-3_1_4_line_46 | NAYY 4x150 SE | 43 | 45 | 0.021868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4132-3_1_4_line_47 | NAYY 4x150 SE | 43 | 46 | 0.0076191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4132-3_1_4_line_48 | NAYY 4x150 SE | 44 | 47 | 0.051367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4132-3_1_4_line_49 | NAYY 4x150 SE | 45 | 52 | 0.046659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4132-3_1_4_line_50 | NAYY 4x150 SE | 46 | 48 | 0.0012487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4132-3_1_4_line_51 | NAYY 4x150 SE | 49 | 50 | 0.032303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_4132-3_1_4_line_52 | NAYY 4x150 SE | 49 | 51 | 0.024075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4132-3_1_4_line_53 | NAYY 4x150 SE | 50 | 53 | 0.12115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_4132-3_1_4_line_54 | NAYY 4x150 SE | 51 | 54 | 0.0021867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4132-3_1_4_line_55 | NAYY 4x150 SE | 52 | 55 | 0.055021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4132-3_1_4_line_56 | NAYY 4x150 SE | 53 | 65 | 0.038387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_4132-3_1_4_line_57 | NAYY 4x150 SE | 54 | 62 | 0.029226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4132-3_1_4_line_58 | NAYY 4x150 SE | 55 | 56 | 0.063283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4132-3_1_4_line_59 | NAYY 4x150 SE | 57 | 58 | 0.012296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4132-3_1_4_line_60 | NAYY 4x150 SE | 58 | 59 | 0.00029311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4132-3_1_4_line_61 | NAYY 4x150 SE | 59 | 60 | 0.00061438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4132-3_1_4_line_62 | NAYY 4x150 SE | 60 | 61 | 0.020605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4132-3_1_4_line_63 | NAYY 4x150 SE | 61 | 62 | 0.0064031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4132-3_1_4_line_64 | NAYY 4x150 SE | 63 | 65 | 0.00075508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4132-3_1_4_trafo_59 | 0.25 MVA 20/0.4 kV | 66 | 15 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2657473.2094 | 1238671.6821 | 2657472.292 | 1238701.584 | 2657470.3887 | 1238743.4933 | 2657468.6549 | 1238764.4091
1 | 2657475.4856 | 1238597.4904 | 2657473.2094 | 1238671.6821
2 | 2657479.9524 | 1238607.7648 | 2657483.1297 | 1238622.0362 | 2657483.1855 | 1238622.4965
3 | 2657475.4856 | 1238597.4904 | 2657479.4111 | 1238605.3336 | 2657479.9524 | 1238607.7648
4 | 2657475.4856 | 1238597.4904 | 2657475.9933 | 1238578.0861
5 | 2657348.5644 | 1238634.5644 | 2657348.5961 | 1238632.9544 | 2657348.0693 | 1238601.9186
6 | 2657348.5644 | 1238634.5644 | 2657348.4087 | 1238642.4661
7 | 2657348.0693 | 1238601.9186 | 2657347.4295 | 1238564.2199 | 2657348.3471 | 1238550.2619
8 | 2657348.4087 | 1238642.4661 | 2657347.965 | 1238664.9966
9 | 2657476.7311 | 1238549.8922 | 2657475.9933 | 1238578.0861
10 | 2657348.3471 | 1238550.2619 | 2657351.8097 | 1238497.5959 | 2657352.9057 | 1238481.7557
11 | 2657346.9906 | 1238714.4713 | 2657346.2508 | 1238752.0328 | 2657342.1696 | 1238769.994
12 | 2657346.9906 | 1238714.4713 | 2657347.6692 | 1238680.0138
13 | 2657347.7561 | 1238675.6059 | 2657347.965 | 1238664.9966
14 | 2657347.6692 | 1238680.0138 | 2657347.7561 | 1238675.6059
15 | 2657356.0986 | 1238377.7803 | 2657356.0986 | 1238377.7803 | 2657357.4627 | 1238415.8964 | 2657352.9057 | 1238481.7557
16 | 2657476.7311 | 1238549.8922 | 2657476.9503 | 1238541.512 | 2657477.0585 | 1238533.9385
17 | 2657356.0986 | 1238377.7803 | 2657347.7331 | 1238330.724 | 2657339.6834 | 1238308.9096 | 2657336.889 | 1238305.752
18 | 2657581.6209 | 1238539.3802 | 2657580.8103 | 1238549.6564 | 2657576.5474 | 1238567.4091
19 | 2657581.6209 | 1238539.3802 | 2657582.1832 | 1238532.2517
20 | 2657571.4364 | 1238486.1546 | 2657573.3602 | 1238499.6733 | 2657582.2765 | 1238531.0694 | 2657582.1832 | 1238532.2517
21 | 2657571.4364 | 1238486.1546 | 2657568.9271 | 1238468.5208 | 2657567.9004 | 1238454.1351
22 | 2657477.7867 | 1238482.952 | 2657477.0585 | 1238533.9385
23 | 2657477.7867 | 1238482.952 | 2657477.9862 | 1238468.9848
24 | 2657332.1407 | 1238300.3868 | 2657336.889 | 1238305.752
25 | 2657478.1679 | 1238456.2678 | 2657477.9862 | 1238468.9848
26 | 2657478.1679 | 1238456.2678 | 2657534.8852 | 1238429.7766
27 | 2657534.8852 | 1238429.7766 | 2657539.3431 | 1238427.1736 | 2657566.5685 | 1238435.5984
28 | 2657566.5685 | 1238435.5984 | 2657567.561 | 1238449.4839 | 2657567.8416 | 1238453.3114 | 2657567.9004 | 1238454.1351
29 | 2657566.5685 | 1238435.5984 | 2657570.2134 | 1238418.506
30 | 2657333.9752 | 1238285.8838 | 2657332.1407 | 1238300.3868
31 | 2657332.1407 | 1238300.3868 | 2657325.1982 | 1238311.9719 | 2657323.6165 | 1238313.5991
32 | 2657479.9271 | 1238333.0986 | 2657479.8031 | 1238341.7807
33 | 2657479.9271 | 1238333.0986 | 2657479.955 | 1238331.1464 | 2657480.2754 | 1238325.8336
34 | 2657481.4352 | 1238306.6044 | 2657480.2754 | 1238325.8336
35 | 2657480.2754 | 1238325.8336 | 2657562.4478 | 1238330.1256
36 | 2657570.2134 | 1238418.506 | 2657576.3475 | 1238389.7406 | 2657577.9573 | 1238378.193
37 | 2657573.7294 | 1238359.5508 | 2657576.2881 | 1238366.2245 | 2657577.9573 | 1238378.193 | 2657577.9573 | 1238378.193
38 | 2657573.7294 | 1238359.5508 | 2657563.797 | 1238333.6447
39 | 2657562.4478 | 1238330.1256 | 2657563.797 | 1238333.6447
40 | 2657324.6811 | 1238376.4896 | 2657324.6741 | 1238376.4428 | 2657324.0835 | 1238371.8343
41 | 2657324.6811 | 1238376.4896 | 2657328.5187 | 1238402.0968 | 2657328.4809 | 1238404.6142
42 | 2657320.2427 | 1238341.8626 | 2657324.0835 | 1238371.8343
43 | 2657320.3088 | 1238435.2174 | 2657320.4996 | 1238430.4048 | 2657326.3299 | 1238420.3989 | 2657328.3498 | 1238413.3248 | 2657328.4809 | 1238404.6142
44 | 2657317.4356 | 1238319.9578 | 2657320.2427 | 1238341.8626
45 | 2657320.3088 | 1238435.2174 | 2657320.1296 | 1238439.7408 | 2657319.2999 | 1238453.7157
46 | 2657317.4356 | 1238319.9578 | 2657296.2461 | 1238314.554
47 | 2657317.4356 | 1238319.9578 | 2657322.7462 | 1238314.4945
48 | 2657316.2557 | 1238504.9921 | 2657319.2999 | 1238453.7157
49 | 2657296.2461 | 1238314.554 | 2657290.2026 | 1238313.0128 | 2657278.056 | 1238311.2501 | 2657250.3911 | 1238316.4466
50 | 2657323.6165 | 1238313.5991 | 2657322.7462 | 1238314.4945
51 | 2657333.9752 | 1238285.8838 | 2657357.0485 | 1238274.7547 | 2657362.6917 | 1238271.1686
52 | 2657333.9752 | 1238285.8838 | 2657337.3461 | 1238265.8142 | 2657337.1038 | 1238262.0973
53 | 2657362.6917 | 1238271.1686 | 2657483.7917 | 1238267.5329
54 | 2657337.1038 | 1238262.0973 | 2657336.9616 | 1238259.9152
55 | 2657197.4017 | 1238331.1196 | 2657241.7415 | 1238318.0713 | 2657250.3911 | 1238316.4466
56 | 2657483.7917 | 1238267.5329 | 2657481.4806 | 1238305.8507
57 | 2657331.1909 | 1238231.4432 | 2657331.6971 | 1238233.5161 | 2657333.4882 | 1238238.3922 | 2657336.259 | 1238249.1371 | 2657336.9616 | 1238259.9152
58 | 2657197.4017 | 1238331.1196 | 2657212.3017 | 1238390.9804 | 2657212.628 | 1238392.5426
59 | 2657326.7416 | 1238191.5843 | 2657327.6069 | 1238203.8498
60 | 2657327.6275 | 1238204.1421 | 2657327.6069 | 1238203.8498
61 | 2657327.6707 | 1238204.755 | 2657327.6275 | 1238204.1421
62 | 2657327.6707 | 1238204.755 | 2657328.8883 | 1238222.0147 | 2657329.6718 | 1238225.223
63 | 2657329.6718 | 1238225.223 | 2657331.1909 | 1238231.4432
64 | 2657481.4806 | 1238305.8507 | 2657481.4352 | 1238306.6044

## bus_geodata
| x | y | coords
0 | 2657468.6549 | 1238764.4091
1 | 2657473.2094 | 1238671.6821
2 | 2657483.1855 | 1238622.4965
3 | 2657479.9524 | 1238607.7648
4 | 2657475.4856 | 1238597.4904
5 | 2657348.5644 | 1238634.5644
6 | 2657348.0693 | 1238601.9186
7 | 2657348.4087 | 1238642.4661
8 | 2657475.9933 | 1238578.0861
9 | 2657348.3471 | 1238550.2619
10 | 2657342.1696 | 1238769.994
11 | 2657346.9906 | 1238714.4713
12 | 2657347.965 | 1238664.9966
13 | 2657347.7561 | 1238675.6059
14 | 2657347.6692 | 1238680.0138
15 | 2657352.9057 | 1238481.7557
16 | 2657476.7311 | 1238549.8922
17 | 2657356.0986 | 1238377.7803
18 | 2657581.6209 | 1238539.3802
19 | 2657576.5474 | 1238567.4091
20 | 2657582.1832 | 1238532.2517
21 | 2657571.4364 | 1238486.1546
22 | 2657477.0585 | 1238533.9385
23 | 2657477.7867 | 1238482.952
24 | 2657336.889 | 1238305.752
25 | 2657478.1679 | 1238456.2678
26 | 2657477.9862 | 1238468.9848
27 | 2657534.8852 | 1238429.7766
28 | 2657567.9004 | 1238454.1351
29 | 2657566.5685 | 1238435.5984
30 | 2657332.1407 | 1238300.3868
31 | 2657479.9271 | 1238333.0986
32 | 2657479.8031 | 1238341.7807
33 | 2657480.2754 | 1238325.8336
34 | 2657570.2134 | 1238418.506
35 | 2657577.9573 | 1238378.193
36 | 2657573.7294 | 1238359.5508
37 | 2657563.797 | 1238333.6447
38 | 2657324.6811 | 1238376.4896
39 | 2657324.0835 | 1238371.8343
40 | 2657328.4809 | 1238404.6142
41 | 2657320.2427 | 1238341.8626
42 | 2657320.3088 | 1238435.2174
43 | 2657317.4356 | 1238319.9578
44 | 2657319.2999 | 1238453.7157
45 | 2657296.2461 | 1238314.554
46 | 2657322.7462 | 1238314.4945
47 | 2657316.2557 | 1238504.9921
48 | 2657323.6165 | 1238313.5991
49 | 2657333.9752 | 1238285.8838
50 | 2657362.6917 | 1238271.1686
51 | 2657337.1038 | 1238262.0973
52 | 2657250.3911 | 1238316.4466
53 | 2657483.7917 | 1238267.5329
54 | 2657336.9616 | 1238259.9152
55 | 2657197.4017 | 1238331.1196
56 | 2657212.628 | 1238392.5426
57 | 2657326.7416 | 1238191.5843
58 | 2657327.6069 | 1238203.8498
59 | 2657327.6275 | 1238204.1421
60 | 2657327.6707 | 1238204.755
61 | 2657329.6718 | 1238225.223
62 | 2657331.1909 | 1238231.4432
63 | 2657481.4352 | 1238306.6044
64 | 2657562.4478 | 1238330.1256
65 | 2657481.4806 | 1238305.8507
66 | 2657332.1407 | 1238300.3868

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1