## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4135-11_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4135-11_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4135-11_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4135-11_0_3_node_23 | 0.4 | n |  | TRUE
4 | bus_LV_4135-11_0_3_node_50 | 0.4 | n |  | TRUE
5 | bus_LV_4135-11_0_3_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_4135-11_0_3_node_48 | 0.4 | n |  | TRUE
7 | bus_LV_4135-11_0_3_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_4135-11_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_4135-11_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_4135-11_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_4135-11_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4135-11_0_3_node_52 | 0.4 | n |  | TRUE
13 | bus_LV_4135-11_0_3_node_79 | 0.4 | n |  | TRUE
14 | bus_LV_4135-11_0_3_node_53 | 0.4 | n |  | TRUE
15 | bus_LV_4135-11_0_3_node_58 | 0.4 | n |  | TRUE
16 | bus_LV_4135-11_0_3_node_89 | 0.4 | n |  | TRUE
17 | bus_LV_4135-11_0_3_node_91 | 0.4 | n |  | TRUE
18 | bus_LV_4135-11_0_3_node_57 | 0.4 | n |  | TRUE
19 | bus_LV_4135-11_0_3_node_80 | 0.4 | n |  | TRUE
20 | bus_LV_4135-11_0_3_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_4135-11_0_3_node_8 | 0.4 | n |  | TRUE
22 | bus_LV_4135-11_0_3_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_4135-11_0_3_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_4135-11_0_3_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_4135-11_0_3_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_4135-11_0_3_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_4135-11_0_3_node_46 | 0.4 | n |  | TRUE
28 | bus_LV_4135-11_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_4135-11_0_3_node_56 | 0.4 | n |  | TRUE
30 | bus_LV_4135-11_0_3_node_47 | 0.4 | n |  | TRUE
31 | bus_LV_4135-11_0_3_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_4135-11_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_4135-11_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_4135-11_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_4135-11_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_4135-11_0_3_node_15 | 0.4 | n |  | TRUE
37 | bus_LV_4135-11_0_3_node_17 | 0.4 | n |  | TRUE
38 | bus_LV_4135-11_0_3_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_4135-11_0_3_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_4135-11_0_3_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_4135-11_0_3_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_4135-11_0_3_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_4135-11_0_3_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_4135-11_0_3_node_20 | 0.4 | n |  | TRUE
45 | bus_LV_4135-11_0_3_node_22 | 0.4 | n |  | TRUE
46 | bus_LV_4135-11_0_3_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_4135-11_0_3_node_71 | 0.4 | n |  | TRUE
48 | bus_LV_4135-11_0_3_node_72 | 0.4 | n |  | TRUE
49 | bus_LV_4135-11_0_3_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_4135-11_0_3_node_63 | 0.4 | n |  | TRUE
51 | bus_LV_4135-11_0_3_node_65 | 0.4 | n |  | TRUE
52 | bus_LV_4135-11_0_3_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_4135-11_0_3_node_61 | 0.4 | n |  | TRUE
54 | bus_LV_4135-11_0_3_node_66 | 0.4 | n |  | TRUE
55 | bus_LV_4135-11_0_3_node_31 | 0.4 | n |  | TRUE
56 | bus_LV_4135-11_0_3_node_32 | 0.4 | n |  | TRUE
57 | bus_LV_4135-11_0_3_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_4135-11_0_3_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_4135-11_0_3_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_4135-11_0_3_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_4135-11_0_3_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_4135-11_0_3_node_64 | 0.4 | n |  | TRUE
63 | bus_LV_4135-11_0_3_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_4135-11_0_3_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_4135-11_0_3_node_41 | 0.4 | n |  | TRUE
66 | bus_LV_4135-11_0_3_node_42 | 0.4 | n |  | TRUE
67 | bus_LV_4135-11_0_3_node_43 | 0.4 | n |  | TRUE
68 | bus_LV_4135-11_0_3_node_44 | 0.4 | n |  | TRUE
69 | bus_LV_4135-11_0_3_node_45 | 0.4 | n |  | TRUE
70 | bus_LV_4135-11_0_3_node_83 | 0.4 | n |  | TRUE
71 | bus_LV_4135-11_0_3_node_87 | 0.4 | n |  | TRUE
72 | bus_LV_4135-11_0_3_node_84 | 0.4 | n |  | TRUE
73 | bus_LV_4135-11_0_3_node_88 | 0.4 | n |  | TRUE
74 | bus_LV_4135-11_0_3_node_49 | 0.4 | n |  | TRUE
75 | bus_LV_4135-11_0_3_node_51 | 0.4 | n |  | TRUE
76 | bus_LV_4135-11_0_3_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_4135-11_0_3_node_76 | 0.4 | n |  | TRUE
78 | bus_LV_4135-11_0_3_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_4135-11_0_3_node_59 | 0.4 | n |  | TRUE
80 | bus_LV_4135-11_0_3_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_4135-11_0_3_node_90 | 0.4 | n |  | TRUE
82 | bus_LV_4135-11_0_3_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_4135-11_0_3_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_4135-11_0_3_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_4135-11_0_3_node_70 | 0.4 | n |  | TRUE
86 | bus_LV_4135-11_0_3_node_68 | 0.4 | n |  | TRUE
87 | bus_LV_4135-11_0_3_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_4135-11_0_3_node_78 | 0.4 | n |  | TRUE
89 | bus_LV_4135-11_0_3_node_82 | 0.4 | n |  | TRUE
90 | bus_LV_4135-11_0_3_node_81 | 0.4 | n |  | TRUE
91 | bus_LV_4135-11_0_3_node_85 | 0.4 | n |  | TRUE
92 | bus_MV_482_0_node_3 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4135-11_0_3_load_0 | 0 | 0.0012359 | 0.00030974 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4135-11_0_3_load_1 | 1 | 0.0017365 | 0.00043521 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4135-11_0_3_load_23 | 3 | 0.0026705 | 0.0006693 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4135-11_0_3_load_21 | 5 | 0.0022822 | 0.00057197 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4135-11_0_3_load_48 | 6 | 0.002188 | 0.00054837 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4135-11_0_3_load_3 | 7 | 0.00093211 | 0.00023361 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4135-11_0_3_load_4 | 8 | 0.0013342 | 0.00033438 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4135-11_0_3_load_5 | 9 | 0.00055306 | 0.00013861 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4135-11_0_3_load_6 | 10 | 0.0027961 | 0.00070076 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4135-11_0_3_load_52 | 12 | 0.0020826 | 0.00052196 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4135-11_0_3_load_53 | 14 | 0.0036535 | 0.00091564 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4135-11_0_3_load_91 | 17 | 0.0030844 | 0.00077303 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4135-11_0_3_load_80 | 19 | 0.0020561 | 0.00051531 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4135-11_0_3_load_33 | 20 | 0.0012907 | 0.00032349 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4135-11_0_3_load_8 | 21 | 0.0064979 | 0.0016285 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4135-11_0_3_load_9 | 22 | 0.0064992 | 0.0016289 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4135-11_0_3_load_11 | 24 | 0.0065005 | 0.0016292 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4135-11_0_3_load_12 | 25 | 0.0065005 | 0.0016292 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4135-11_0_3_load_46 | 27 | 0.0058876 | 0.0014756 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4135-11_0_3_load_16 | 28 | 0.0034301 | 0.00085966 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4135-11_0_3_load_56 | 29 | 0.0049658 | 0.0012446 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4135-11_0_3_load_47 | 30 | 0.0058543 | 0.0014672 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4135-11_0_3_load_14 | 31 | 0.00343 | 0.00085964 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4135-11_0_3_load_26 | 33 | 0.0013544 | 0.00033944 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4135-11_0_3_load_27 | 34 | 0.0053858 | 0.0013498 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4135-11_0_3_load_28 | 35 | 0.0033046 | 0.0008282 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4135-11_0_3_load_15 | 36 | 0.0034298 | 0.0008596 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4135-11_0_3_load_19 | 39 | 0.0018211 | 0.0004564 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4135-11_0_3_load_30 | 40 | 0.00033494 | 8.3944e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4135-11_0_3_load_54 | 41 | 0.0020507 | 0.00051396 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4135-11_0_3_load_29 | 42 | 0.0036435 | 0.00091315 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4135-11_0_3_load_55 | 43 | 0.0059454 | 0.00149 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4135-11_0_3_load_20 | 44 | 0.0017602 | 0.00044114 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4135-11_0_3_load_24 | 46 | 0.0035851 | 0.00089851 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4135-11_0_3_load_71 | 47 | 0.0037535 | 0.00094072 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4135-11_0_3_load_34 | 49 | 0.0058793 | 0.0014735 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4135-11_0_3_load_63 | 50 | 0.0014553 | 0.00036473 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4135-11_0_3_load_35 | 52 | 0.0013938 | 0.00034931 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4135-11_0_3_load_61 | 53 | 0.0043793 | 0.0010976 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4135-11_0_3_load_32 | 56 | 0.00045333 | 0.00011362 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4135-11_0_3_load_36 | 57 | 0.002055 | 0.00051502 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4135-11_0_3_load_37 | 58 | 0.0021785 | 0.00054598 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4135-11_0_3_load_38 | 59 | 0.00086697 | 0.00021728 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4135-11_0_3_load_64 | 62 | 0.0014734 | 0.00036927 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4135-11_0_3_load_60 | 63 | 0.0019147 | 0.00047988 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4135-11_0_3_load_40 | 64 | 0.0034972 | 0.00087648 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4135-11_0_3_load_41 | 65 | 0.0023295 | 0.00058384 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4135-11_0_3_load_43 | 67 | 0.0058609 | 0.0014689 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4135-11_0_3_load_44 | 68 | 0.0051308 | 0.0012859 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4135-11_0_3_load_45 | 69 | 0.0025318 | 0.00063454 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4135-11_0_3_load_83 | 70 | 0.0022472 | 0.00056319 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4135-11_0_3_load_87 | 71 | 0.00098904 | 0.00024788 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4135-11_0_3_load_84 | 72 | 0.0018692 | 0.00046847 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4135-11_0_3_load_88 | 73 | 0.00087023 | 0.0002181 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4135-11_0_3_load_49 | 74 | 0.0012422 | 0.00031131 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4135-11_0_3_load_51 | 75 | 0.0013314 | 0.00033368 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4135-11_0_3_load_67 | 76 | 0.0014856 | 0.00037232 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4135-11_0_3_load_76 | 77 | 0.0012087 | 0.00030293 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4135-11_0_3_load_77 | 78 | 0.0045042 | 0.0011289 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4135-11_0_3_load_59 | 79 | 0.0010764 | 0.00026977 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4135-11_0_3_load_75 | 83 | 0.0011336 | 0.0002841 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4135-11_0_3_load_70 | 85 | 0.0022473 | 0.00056322 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4135-11_0_3_load_68 | 86 | 0.0016933 | 0.00042439 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4135-11_0_3_load_86 | 87 | 0.0020753 | 0.00052012 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4135-11_0_3_load_78 | 88 | 0.0012916 | 0.00032371 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4135-11_0_3_load_82 | 89 | 0.010458 | 0.002621 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4135-11_0_3_load_81 | 90 | 0.0044603 | 0.0011179 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4135-11_0_3_load_85 | 91 | 0.0016821 | 0.00042158 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4135-11_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0015571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4135-11_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.020937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4135-11_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.013905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4135-11_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.034991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4135-11_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4135-11_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.016441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4135-11_0_3_line_6 | NAYY 4x150 SE | 5 | 44 | 0.02629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4135-11_0_3_line_7 | NAYY 4x150 SE | 6 | 74 | 0.0097734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4135-11_0_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.014064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4135-11_0_3_line_9 | NAYY 4x150 SE | 7 | 9 | 0.013953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4135-11_0_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.013475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4135-11_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.01939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4135-11_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.019612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4135-11_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.001661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4135-11_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.010707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4135-11_0_3_line_15 | NAYY 4x150 SE | 13 | 19 | 0.016665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_4135-11_0_3_line_16 | NAYY 4x150 SE | 13 | 20 | 0.036784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_4135-11_0_3_line_17 | NAYY 4x150 SE | 14 | 78 | 0.0040598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4135-11_0_3_line_18 | NAYY 4x150 SE | 15 | 16 | 0.022776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4135-11_0_3_line_19 | NAYY 4x150 SE | 15 | 17 | 0.029869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4135-11_0_3_line_20 | NAYY 4x150 SE | 15 | 18 | 0.00975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4135-11_0_3_line_21 | NAYY 4x150 SE | 16 | 73 | 0.0074975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4135-11_0_3_line_22 | NAYY 4x150 SE | 17 | 81 | 0.035893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_4135-11_0_3_line_23 | NAYY 4x150 SE | 18 | 79 | 0.023463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4135-11_0_3_line_24 | NAYY 4x150 SE | 19 | 81 | 0.014018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_4135-11_0_3_line_25 | NAYY 4x150 SE | 20 | 55 | 0.023239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_4135-11_0_3_line_26 | NAYY 4x150 SE | 21 | 22 | 0.028244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4135-11_0_3_line_27 | NAYY 4x150 SE | 21 | 23 | 0.017797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4135-11_0_3_line_28 | NAYY 4x150 SE | 22 | 24 | 0.0088528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4135-11_0_3_line_29 | NAYY 4x150 SE | 23 | 25 | 0.021822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4135-11_0_3_line_30 | NAYY 4x150 SE | 23 | 26 | 0.025011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4135-11_0_3_line_31 | NAYY 4x150 SE | 23 | 27 | 0.034734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4135-11_0_3_line_32 | NAYY 4x150 SE | 24 | 28 | 0.028936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4135-11_0_3_line_33 | NAYY 4x150 SE | 26 | 29 | 0.0042012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4135-11_0_3_line_34 | NAYY 4x150 SE | 27 | 30 | 0.035993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4135-11_0_3_line_35 | NAYY 4x150 SE | 28 | 31 | 0.00044597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4135-11_0_3_line_36 | NAYY 4x150 SE | 31 | 36 | 0.03284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4135-11_0_3_line_37 | NAYY 4x150 SE | 32 | 33 | 0.030067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4135-11_0_3_line_38 | NAYY 4x150 SE | 32 | 34 | 0.01889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4135-11_0_3_line_39 | NAYY 4x150 SE | 32 | 35 | 0.016012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4135-11_0_3_line_40 | NAYY 4x150 SE | 33 | 49 | 0.038411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4135-11_0_3_line_41 | NAYY 4x150 SE | 34 | 50 | 0.0061026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4135-11_0_3_line_42 | NAYY 4x150 SE | 35 | 51 | 0.018636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4135-11_0_3_line_43 | NAYY 4x150 SE | 36 | 37 | 0.014136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4135-11_0_3_line_44 | NAYY 4x150 SE | 37 | 38 | 0.022862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4135-11_0_3_line_45 | NAYY 4x150 SE | 37 | 39 | 0.007148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4135-11_0_3_line_46 | NAYY 4x150 SE | 38 | 40 | 0.013033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4135-11_0_3_line_47 | NAYY 4x150 SE | 39 | 41 | 0.029193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4135-11_0_3_line_48 | NAYY 4x150 SE | 40 | 42 | 0.020428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_4135-11_0_3_line_49 | NAYY 4x150 SE | 41 | 43 | 0.0070663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4135-11_0_3_line_50 | NAYY 4x150 SE | 42 | 55 | 0.021143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_4135-11_0_3_line_51 | NAYY 4x150 SE | 43 | 60 | 0.017933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4135-11_0_3_line_52 | NAYY 4x150 SE | 44 | 45 | 0.0093289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4135-11_0_3_line_53 | NAYY 4x150 SE | 45 | 46 | 0.018314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4135-11_0_3_line_54 | NAYY 4x150 SE | 46 | 47 | 0.025938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4135-11_0_3_line_55 | NAYY 4x150 SE | 47 | 48 | 0.022392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4135-11_0_3_line_56 | NAYY 4x150 SE | 48 | 82 | 0.004287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4135-11_0_3_line_57 | NAYY 4x150 SE | 49 | 52 | 0.036853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4135-11_0_3_line_58 | NAYY 4x150 SE | 50 | 53 | 0.019145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4135-11_0_3_line_59 | NAYY 4x150 SE | 51 | 54 | 0.034665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4135-11_0_3_line_60 | NAYY 4x150 SE | 52 | 57 | 0.020369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4135-11_0_3_line_61 | NAYY 4x150 SE | 53 | 63 | 0.021813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4135-11_0_3_line_62 | NAYY 4x150 SE | 54 | 87 | 0.01559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4135-11_0_3_line_63 | NAYY 4x150 SE | 55 | 56 | 0.044821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4135-11_0_3_line_64 | NAYY 4x150 SE | 58 | 59 | 0.013628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4135-11_0_3_line_65 | NAYY 4x150 SE | 59 | 60 | 0.016248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4135-11_0_3_line_66 | NAYY 4x150 SE | 60 | 61 | 0.005788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4135-11_0_3_line_67 | NAYY 4x150 SE | 61 | 62 | 0.019815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4135-11_0_3_line_68 | NAYY 4x150 SE | 61 | 63 | 0.043961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4135-11_0_3_line_69 | NAYY 4x150 SE | 62 | 84 | 0.031368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4135-11_0_3_line_70 | NAYY 4x150 SE | 64 | 65 | 0.023992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4135-11_0_3_line_71 | NAYY 4x150 SE | 64 | 66 | 0.0012632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4135-11_0_3_line_72 | NAYY 4x150 SE | 65 | 67 | 0.012123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4135-11_0_3_line_73 | NAYY 4x150 SE | 66 | 68 | 0.027545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4135-11_0_3_line_74 | NAYY 4x150 SE | 66 | 69 | 0.021397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4135-11_0_3_line_75 | NAYY 4x150 SE | 68 | 70 | 0.02153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4135-11_0_3_line_76 | NAYY 4x150 SE | 69 | 71 | 0.0040486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4135-11_0_3_line_77 | NAYY 4x150 SE | 70 | 72 | 0.0048694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4135-11_0_3_line_78 | NAYY 4x150 SE | 71 | 73 | 0.019701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4135-11_0_3_line_79 | NAYY 4x150 SE | 72 | 91 | 0.0029372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4135-11_0_3_line_80 | NAYY 4x150 SE | 74 | 75 | 0.021129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4135-11_0_3_line_81 | NAYY 4x150 SE | 75 | 76 | 0.0079153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4135-11_0_3_line_82 | NAYY 4x150 SE | 76 | 77 | 0.025637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4135-11_0_3_line_83 | NAYY 4x150 SE | 77 | 88 | 0.028304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4135-11_0_3_line_84 | NAYY 4x150 SE | 79 | 80 | 0.016543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4135-11_0_3_line_85 | NAYY 4x150 SE | 80 | 82 | 0.031161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4135-11_0_3_line_86 | NAYY 4x150 SE | 80 | 83 | 0.018946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4135-11_0_3_line_87 | NAYY 4x150 SE | 82 | 89 | 0.022987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4135-11_0_3_line_88 | NAYY 4x150 SE | 84 | 85 | 0.011067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4135-11_0_3_line_89 | NAYY 4x150 SE | 84 | 86 | 0.015971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4135-11_0_3_line_90 | NAYY 4x150 SE | 89 | 90 | 0.041225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4135-11_0_3_trafo_91 | 0.25 MVA 20/0.4 kV | 92 | 17 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2653576.0929 | 1236648.5029 | 2653576.2436 | 1236646.9531
1 | 2653578.2691 | 1236626.1146 | 2653576.2436 | 1236646.9531
2 | 2653578.2691 | 1236626.1146 | 2653564.3648 | 1236625.9892
3 | 2653578.2691 | 1236626.1146 | 2653613.3633 | 1236626.031
4 | 2653564.3648 | 1236625.9892 | 2653557.758 | 1236625.9296 | 2653538.763 | 1236627.8653
5 | 2653613.3633 | 1236626.031 | 2653615.4865 | 1236609.7281
6 | 2653512.6085 | 1236630.5306 | 2653538.763 | 1236627.8653
7 | 2653615.4865 | 1236609.7281 | 2653616.7487 | 1236600.0366
8 | 2653479.755 | 1236494.7922 | 2653493.814 | 1236494.4194
9 | 2653479.755 | 1236494.7922 | 2653465.8068 | 1236495.1621
10 | 2653507.2839 | 1236494.0623 | 2653493.814 | 1236494.4194
11 | 2653446.4238 | 1236495.6761 | 2653465.8068 | 1236495.1621
12 | 2653507.2839 | 1236494.0623 | 2653507.4635 | 1236494.0575 | 2653526.8854 | 1236493.4302
13 | 2653446.4238 | 1236495.6761 | 2653446.5597 | 1236494.0206
14 | 2653537.5868 | 1236493.0845 | 2653526.8854 | 1236493.4302
15 | 2653446.5597 | 1236494.0206 | 2653439.6994 | 1236494.5704 | 2653434.4352 | 1236496.0018 | 2653432.3829 | 1236499.8121
16 | 2653446.5597 | 1236494.0206 | 2653449.538 | 1236457.3569
17 | 2653541.6445 | 1236492.9535 | 2653537.5868 | 1236493.0845
18 | 2653465.0896 | 1236551.2801 | 2653442.2469 | 1236551.1857
19 | 2653442.2469 | 1236551.1857 | 2653435.6854 | 1236552.1718 | 2653424.4574 | 1236552.0819 | 2653424.193 | 1236549.5112 | 2653428.7042 | 1236541.2408
20 | 2653441.5239 | 1236560.9078 | 2653442.2469 | 1236551.1857
21 | 2653465.0896 | 1236551.2801 | 2653471.533 | 1236547.4467
22 | 2653428.3055 | 1236512.9133 | 2653436.1821 | 1236515.4635 | 2653436.6862 | 1236521.6721 | 2653435.3639 | 1236529.0316 | 2653428.7042 | 1236541.2408
23 | 2653441.5239 | 1236560.9078 | 2653439.9891 | 1236584.3203
24 | 2653428.3055 | 1236512.9133 | 2653428.8332 | 1236506.4027 | 2653432.3829 | 1236499.8121
25 | 2653450.5489 | 1236434.1398 | 2653449.538 | 1236457.3569
26 | 2653370.695 | 1236539.3213 | 2653370.3204 | 1236532.494 | 2653369.7384 | 1236524.0054 | 2653369.3781 | 1236514.4182 | 2653368.3865 | 1236511.2669
27 | 2653371.1284 | 1236557.095 | 2653371.3672 | 1236551.5713 | 2653370.695 | 1236539.3213
28 | 2653368.3865 | 1236511.2669 | 2653365.7292 | 1236502.8223 | 2653365.7292 | 1236502.8223
29 | 2653371.1284 | 1236557.095 | 2653366.1151 | 1236555.8825 | 2653356.919 | 1236553.6541 | 2653349.9073 | 1236552.0085
30 | 2653396.0381 | 1236559.5648 | 2653375.4773 | 1236558.1458 | 2653371.1284 | 1236557.095
31 | 2653371.1284 | 1236557.095 | 2653370.4474 | 1236591.8218
32 | 2653370.1512 | 1236474.6887 | 2653369.9257 | 1236482.1021 | 2653365.2568 | 1236495.6134 | 2653365.7292 | 1236502.8223
33 | 2653396.0381 | 1236559.5648 | 2653400.2375 | 1236559.6887
34 | 2653370.4474 | 1236591.8218 | 2653345.6579 | 1236590.11 | 2653335.392 | 1236585.7719
35 | 2653370.1648 | 1236474.243 | 2653370.1512 | 1236474.6887
36 | 2653370.1648 | 1236474.243 | 2653370.3338 | 1236468.6859 | 2653371.1794 | 1236455.4182 | 2653369.8159 | 1236446.3223 | 2653371.2963 | 1236441.7687
37 | 2653294.2411 | 1236540.5944 | 2653290.7488 | 1236540.2073 | 2653288.4011 | 1236539.5969 | 2653285.436 | 1236538.6364 | 2653281.8439 | 1236537.5702 | 2653265.1207 | 1236533.2847
38 | 2653294.2411 | 1236540.5944 | 2653301.8575 | 1236523.3082
39 | 2653294.2411 | 1236540.5944 | 2653288.1846 | 1236551.9252 | 2653286.7677 | 1236554.7543
40 | 2653227.5021 | 1236525.7795 | 2653237.6745 | 1236526.9453 | 2653247.8013 | 1236529.1819 | 2653257.5202 | 1236531.337 | 2653265.1207 | 1236533.2847
41 | 2653304.3181 | 1236517.7236 | 2653301.8575 | 1236523.3082
42 | 2653278.4229 | 1236571.417 | 2653286.7677 | 1236554.7543
43 | 2653373.2652 | 1236427.9191 | 2653373.092 | 1236436.2452 | 2653371.2963 | 1236441.7687
44 | 2653396.1232 | 1236429.7256 | 2653373.2652 | 1236427.9191
45 | 2653373.2652 | 1236427.9191 | 2653366.1395 | 1236427.3546
46 | 2653396.1232 | 1236429.7256 | 2653409.114 | 1236430.7792
47 | 2653366.1395 | 1236427.3546 | 2653340.3354 | 1236425.3107 | 2653337.0286 | 1236425.2096
48 | 2653429.4752 | 1236432.4306 | 2653409.114 | 1236430.7792
49 | 2653329.9656 | 1236424.9937 | 2653337.0286 | 1236425.2096
50 | 2653450.5489 | 1236434.1398 | 2653429.4752 | 1236432.4306
51 | 2653313.2632 | 1236428.5032 | 2653318.708 | 1236424.6495 | 2653329.9656 | 1236424.9937
52 | 2653503.3277 | 1236631.4763 | 2653512.6085 | 1236630.5306
53 | 2653503.3277 | 1236631.4763 | 2653485.0788 | 1236633.0222
54 | 2653485.0788 | 1236633.0222 | 2653459.2332 | 1236635.2116
55 | 2653436.9042 | 1236636.2152 | 2653443.6507 | 1236636.5316 | 2653459.2332 | 1236635.2116
56 | 2653437.1773 | 1236631.9371 | 2653436.9042 | 1236636.2152
57 | 2653227.5021 | 1236525.7795 | 2653218.2029 | 1236524.7139 | 2653190.9334 | 1236521.2138
58 | 2653308.6089 | 1236499.1153 | 2653305.2786 | 1236515.5437 | 2653304.3181 | 1236517.7236
59 | 2653278.4229 | 1236571.417 | 2653267.9182 | 1236592.759 | 2653266.1044 | 1236603.4942
60 | 2653190.9334 | 1236521.2138 | 2653182.2573 | 1236520.1003 | 2653170.7768 | 1236518.2923
61 | 2653312.9426 | 1236477.7366 | 2653308.6089 | 1236499.1153
62 | 2653266.1044 | 1236603.4942 | 2653264.5461 | 1236603.4468 | 2653257.4282 | 1236603.2051 | 2653250.5192 | 1236603.2877
63 | 2653450.5489 | 1236434.1398 | 2653495.3231 | 1236432.1023
64 | 2653318.412 | 1236399.4124 | 2653316.759 | 1236402.3731 | 2653314.4822 | 1236412.354
65 | 2653313.2632 | 1236428.5032 | 2653313.6635 | 1236415.9431 | 2653314.4822 | 1236412.354
66 | 2653311.1642 | 1236433.899 | 2653313.2632 | 1236428.5032
67 | 2653311.1642 | 1236433.899 | 2653308.5072 | 1236434.8647 | 2653303.8809 | 1236436.0462 | 2653292.0496 | 1236439.0754
68 | 2653311.1642 | 1236433.899 | 2653312.7617 | 1236450.6576 | 2653313.3462 | 1236475.7458 | 2653312.9426 | 1236477.7366
69 | 2653262.7326 | 1236430.1846 | 2653271.9165 | 1236436.3265 | 2653292.0496 | 1236439.0754
70 | 2653517.734 | 1236544.9556 | 2653541.7258 | 1236545.0719
71 | 2653516.4709 | 1236544.9495 | 2653517.734 | 1236544.9556
72 | 2653553.8482 | 1236545.1307 | 2653541.7258 | 1236545.0719
73 | 2653516.4709 | 1236544.9495 | 2653518.0617 | 1236553.9808 | 2653518.7362 | 1236572.3432
74 | 2653516.4709 | 1236544.9495 | 2653495.0741 | 1236544.8487
75 | 2653540.2414 | 1236571.3131 | 2653518.7362 | 1236572.3432 | 2653518.7362 | 1236572.3432
76 | 2653495.0741 | 1236544.8487 | 2653491.0256 | 1236544.8297
77 | 2653540.2414 | 1236571.3131 | 2653545.1052 | 1236571.0801
78 | 2653471.533 | 1236547.4467 | 2653488.0217 | 1236544.8155 | 2653491.0256 | 1236544.8297
79 | 2653548.039 | 1236570.9396 | 2653545.1052 | 1236571.0801
80 | 2653616.7487 | 1236600.0366 | 2653616.8836 | 1236599.0007 | 2653616.0028 | 1236578.9353
81 | 2653616.0028 | 1236578.9353 | 2653615.6557 | 1236571.0276
82 | 2653614.582 | 1236545.4135 | 2653614.6493 | 1236548.103 | 2653615.6557 | 1236571.0276
83 | 2653614.582 | 1236545.4135 | 2653613.8738 | 1236517.1185
84 | 2653438.9931 | 1236600.8332 | 2653439.9891 | 1236584.3203
85 | 2653438.9931 | 1236600.8332 | 2653437.1773 | 1236631.9371
86 | 2653438.9931 | 1236600.8332 | 2653457.9381 | 1236600.6703
87 | 2653437.1773 | 1236631.9371 | 2653426.5011 | 1236631.9189 | 2653414.1912 | 1236631.7487
88 | 2653262.7326 | 1236430.1846 | 2653256.2656 | 1236439.177
89 | 2653262.7326 | 1236430.1846 | 2653265.1673 | 1236414.4008
90 | 2653372.9699 | 1236631.1786 | 2653414.1912 | 1236631.7487

## bus_geodata
| x | y | coords
0 | 2653576.0929 | 1236648.5029
1 | 2653576.2436 | 1236646.9531
2 | 2653578.2691 | 1236626.1146
3 | 2653564.3648 | 1236625.9892
4 | 2653613.3633 | 1236626.031
5 | 2653538.763 | 1236627.8653
6 | 2653615.4865 | 1236609.7281
7 | 2653479.755 | 1236494.7922
8 | 2653493.814 | 1236494.4194
9 | 2653465.8068 | 1236495.1621
10 | 2653507.2839 | 1236494.0623
11 | 2653446.4238 | 1236495.6761
12 | 2653526.8854 | 1236493.4302
13 | 2653446.5597 | 1236494.0206
14 | 2653537.5868 | 1236493.0845
15 | 2653442.2469 | 1236551.1857
16 | 2653465.0896 | 1236551.2801
17 | 2653428.7042 | 1236541.2408
18 | 2653441.5239 | 1236560.9078
19 | 2653432.3829 | 1236499.8121
20 | 2653449.538 | 1236457.3569
21 | 2653370.695 | 1236539.3213
22 | 2653368.3865 | 1236511.2669
23 | 2653371.1284 | 1236557.095
24 | 2653365.7292 | 1236502.8223
25 | 2653349.9073 | 1236552.0085
26 | 2653396.0381 | 1236559.5648
27 | 2653370.4474 | 1236591.8218
28 | 2653370.1512 | 1236474.6887
29 | 2653400.2375 | 1236559.6887
30 | 2653335.392 | 1236585.7719
31 | 2653370.1648 | 1236474.243
32 | 2653294.2411 | 1236540.5944
33 | 2653265.1207 | 1236533.2847
34 | 2653301.8575 | 1236523.3082
35 | 2653286.7677 | 1236554.7543
36 | 2653371.2963 | 1236441.7687
37 | 2653373.2652 | 1236427.9191
38 | 2653396.1232 | 1236429.7256
39 | 2653366.1395 | 1236427.3546
40 | 2653409.114 | 1236430.7792
41 | 2653337.0286 | 1236425.2096
42 | 2653429.4752 | 1236432.4306
43 | 2653329.9656 | 1236424.9937
44 | 2653512.6085 | 1236630.5306
45 | 2653503.3277 | 1236631.4763
46 | 2653485.0788 | 1236633.0222
47 | 2653459.2332 | 1236635.2116
48 | 2653436.9042 | 1236636.2152
49 | 2653227.5021 | 1236525.7795
50 | 2653304.3181 | 1236517.7236
51 | 2653278.4229 | 1236571.417
52 | 2653190.9334 | 1236521.2138
53 | 2653308.6089 | 1236499.1153
54 | 2653266.1044 | 1236603.4942
55 | 2653450.5489 | 1236434.1398
56 | 2653495.3231 | 1236432.1023
57 | 2653170.7768 | 1236518.2923
58 | 2653318.412 | 1236399.4124
59 | 2653314.4822 | 1236412.354
60 | 2653313.2632 | 1236428.5032
61 | 2653311.1642 | 1236433.899
62 | 2653292.0496 | 1236439.0754
63 | 2653312.9426 | 1236477.7366
64 | 2653517.734 | 1236544.9556
65 | 2653541.7258 | 1236545.0719
66 | 2653516.4709 | 1236544.9495
67 | 2653553.8482 | 1236545.1307
68 | 2653518.7362 | 1236572.3432
69 | 2653495.0741 | 1236544.8487
70 | 2653540.2414 | 1236571.3131
71 | 2653491.0256 | 1236544.8297
72 | 2653545.1052 | 1236571.0801
73 | 2653471.533 | 1236547.4467
74 | 2653616.7487 | 1236600.0366
75 | 2653616.0028 | 1236578.9353
76 | 2653615.6557 | 1236571.0276
77 | 2653614.582 | 1236545.4135
78 | 2653541.6445 | 1236492.9535
79 | 2653439.9891 | 1236584.3203
80 | 2653438.9931 | 1236600.8332
81 | 2653428.3055 | 1236512.9133
82 | 2653437.1773 | 1236631.9371
83 | 2653457.9381 | 1236600.6703
84 | 2653262.7326 | 1236430.1846
85 | 2653256.2656 | 1236439.177
86 | 2653265.1673 | 1236414.4008
87 | 2653250.5192 | 1236603.2877
88 | 2653613.8738 | 1236517.1185
89 | 2653414.1912 | 1236631.7487
90 | 2653372.9699 | 1236631.1786
91 | 2653548.039 | 1236570.9396
92 | 2653442.2469 | 1236551.1857

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1