## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4135-1_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4135-1_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4135-1_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4135-1_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4135-1_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4135-1_0_6_node_79 | 0.4 | n |  | TRUE
6 | bus_LV_4135-1_0_6_node_39 | 0.4 | n |  | TRUE
7 | bus_LV_4135-1_0_6_node_78 | 0.4 | n |  | TRUE
8 | bus_LV_4135-1_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_4135-1_0_6_node_74 | 0.4 | n |  | TRUE
10 | bus_LV_4135-1_0_6_node_84 | 0.4 | n |  | TRUE
11 | bus_LV_4135-1_0_6_node_75 | 0.4 | n |  | TRUE
12 | bus_LV_4135-1_0_6_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_4135-1_0_6_node_83 | 0.4 | n |  | TRUE
14 | bus_LV_4135-1_0_6_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_4135-1_0_6_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_4135-1_0_6_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_4135-1_0_6_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_4135-1_0_6_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_4135-1_0_6_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_4135-1_0_6_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_4135-1_0_6_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_4135-1_0_6_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_4135-1_0_6_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_4135-1_0_6_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_4135-1_0_6_node_67 | 0.4 | n |  | TRUE
26 | bus_LV_4135-1_0_6_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_4135-1_0_6_node_80 | 0.4 | n |  | TRUE
28 | bus_LV_4135-1_0_6_node_77 | 0.4 | n |  | TRUE
29 | bus_LV_4135-1_0_6_node_66 | 0.4 | n |  | TRUE
30 | bus_LV_4135-1_0_6_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_4135-1_0_6_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_4135-1_0_6_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_4135-1_0_6_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_4135-1_0_6_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_4135-1_0_6_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_4135-1_0_6_node_58 | 0.4 | n |  | TRUE
37 | bus_LV_4135-1_0_6_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_4135-1_0_6_node_59 | 0.4 | n |  | TRUE
39 | bus_LV_4135-1_0_6_node_60 | 0.4 | n |  | TRUE
40 | bus_LV_4135-1_0_6_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_4135-1_0_6_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_4135-1_0_6_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_4135-1_0_6_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_4135-1_0_6_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_4135-1_0_6_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_4135-1_0_6_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_4135-1_0_6_node_81 | 0.4 | n |  | TRUE
48 | bus_LV_4135-1_0_6_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_4135-1_0_6_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_4135-1_0_6_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_4135-1_0_6_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_4135-1_0_6_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_4135-1_0_6_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_4135-1_0_6_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_4135-1_0_6_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_4135-1_0_6_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_4135-1_0_6_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_4135-1_0_6_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_4135-1_0_6_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_4135-1_0_6_node_72 | 0.4 | n |  | TRUE
61 | bus_LV_4135-1_0_6_node_70 | 0.4 | n |  | TRUE
62 | bus_LV_4135-1_0_6_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_4135-1_0_6_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_4135-1_0_6_node_42 | 0.4 | n |  | TRUE
65 | bus_LV_4135-1_0_6_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_4135-1_0_6_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_4135-1_0_6_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_4135-1_0_6_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_4135-1_0_6_node_89 | 0.4 | n |  | TRUE
70 | bus_LV_4135-1_0_6_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_4135-1_0_6_node_46 | 0.4 | n |  | TRUE
72 | bus_LV_4135-1_0_6_node_47 | 0.4 | n |  | TRUE
73 | bus_LV_4135-1_0_6_node_48 | 0.4 | n |  | TRUE
74 | bus_LV_4135-1_0_6_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_4135-1_0_6_node_87 | 0.4 | n |  | TRUE
76 | bus_LV_4135-1_0_6_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_4135-1_0_6_node_82 | 0.4 | n |  | TRUE
78 | bus_LV_4135-1_0_6_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_4135-1_0_6_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_4135-1_0_6_node_62 | 0.4 | n |  | TRUE
81 | bus_LV_4135-1_0_6_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_4135-1_0_6_node_85 | 0.4 | n |  | TRUE
83 | bus_LV_4135-1_0_6_node_86 | 0.4 | n |  | TRUE
84 | bus_LV_4135-1_0_6_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_4135-1_0_6_node_71 | 0.4 | n |  | TRUE
86 | bus_MV_482_0_node_14 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4135-1_0_6_load_0 | 0 | 0.024896 | 0.0062395 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4135-1_0_6_load_1 | 1 | 0.0098499 | 0.0024686 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4135-1_0_6_load_2 | 2 | 0.012911 | 0.0032358 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4135-1_0_6_load_3 | 3 | 0.02254 | 0.0056491 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4135-1_0_6_load_4 | 4 | 0.0048793 | 0.0012229 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4135-1_0_6_load_78 | 7 | 0.00077903 | 0.00019524 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4135-1_0_6_load_5 | 8 | 0.0028974 | 0.00072616 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4135-1_0_6_load_75 | 11 | 0.0010879 | 0.00027265 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4135-1_0_6_load_10 | 12 | 0.00087255 | 0.00021868 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4135-1_0_6_load_83 | 13 | 0.012713 | 0.0031862 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4135-1_0_6_load_6 | 14 | 0.0010731 | 0.00026896 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4135-1_0_6_load_7 | 15 | 0.00073107 | 0.00018322 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4135-1_0_6_load_9 | 17 | 0.0012292 | 0.00030806 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4135-1_0_6_load_37 | 18 | 0.0011736 | 0.00029413 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4135-1_0_6_load_38 | 19 | 0.0010289 | 0.00025787 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4135-1_0_6_load_12 | 20 | 0.0085696 | 0.0021477 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4135-1_0_6_load_13 | 21 | 0.0018133 | 0.00045445 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4135-1_0_6_load_14 | 22 | 0.0011513 | 0.00028855 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4135-1_0_6_load_15 | 23 | 0.0059331 | 0.001487 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4135-1_0_6_load_16 | 24 | 0.0011785 | 0.00029536 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4135-1_0_6_load_29 | 26 | 0.0021377 | 0.00053576 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4135-1_0_6_load_80 | 27 | 0.0021763 | 0.00054543 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4135-1_0_6_load_77 | 28 | 0.00086196 | 0.00021603 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4135-1_0_6_load_66 | 29 | 0.0011328 | 0.0002839 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4135-1_0_6_load_28 | 30 | 0.0056013 | 0.0014038 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4135-1_0_6_load_18 | 31 | 0.00094832 | 0.00023767 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4135-1_0_6_load_19 | 32 | 0.00073166 | 0.00018337 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4135-1_0_6_load_20 | 33 | 0.00059533 | 0.0001492 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4135-1_0_6_load_21 | 34 | 0.00063411 | 0.00015892 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4135-1_0_6_load_22 | 35 | 0.0020633 | 0.00051712 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4135-1_0_6_load_53 | 37 | 0.00071196 | 0.00017843 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4135-1_0_6_load_59 | 38 | 0.0015385 | 0.00038559 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4135-1_0_6_load_60 | 39 | 0.0015969 | 0.00040021 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4135-1_0_6_load_57 | 40 | 0.00062924 | 0.0001577 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4135-1_0_6_load_23 | 41 | 0.0011301 | 0.00028322 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4135-1_0_6_load_24 | 42 | 0.0004811 | 0.00012057 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4135-1_0_6_load_25 | 43 | 0.00071914 | 0.00018023 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4135-1_0_6_load_26 | 44 | 0.0011561 | 0.00028976 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4135-1_0_6_load_27 | 45 | 0.00091469 | 0.00022924 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4135-1_0_6_load_61 | 46 | 0.0005795 | 0.00014524 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4135-1_0_6_load_81 | 47 | 0.00043926 | 0.00011009 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4135-1_0_6_load_30 | 48 | 0.0013629 | 0.00034158 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4135-1_0_6_load_49 | 52 | 0.0040735 | 0.0010209 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4135-1_0_6_load_43 | 54 | 0.029778 | 0.0074631 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4135-1_0_6_load_32 | 55 | 0.0018933 | 0.0004745 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4135-1_0_6_load_33 | 56 | 0.00078248 | 0.00019611 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4135-1_0_6_load_34 | 57 | 0.0012939 | 0.00032429 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4135-1_0_6_load_35 | 58 | 0.0057793 | 0.0014484 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4135-1_0_6_load_72 | 60 | 0.00091015 | 0.0002281 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4135-1_0_6_load_70 | 61 | 0.0009801 | 0.00024564 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4135-1_0_6_load_40 | 62 | 0.0028858 | 0.00072326 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4135-1_0_6_load_41 | 63 | 0.0046375 | 0.0011623 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4135-1_0_6_load_44 | 65 | 0.001633 | 0.00040926 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4135-1_0_6_load_45 | 66 | 0.002237 | 0.00056064 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4135-1_0_6_load_55 | 67 | 0.0017948 | 0.00044983 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4135-1_0_6_load_68 | 68 | 0.0051852 | 0.0012995 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4135-1_0_6_load_89 | 69 | 0.0033536 | 0.00084049 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4135-1_0_6_load_56 | 70 | 0.00075682 | 0.00018968 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4135-1_0_6_load_46 | 71 | 0.0036533 | 0.0009156 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4135-1_0_6_load_47 | 72 | 0.00038504 | 9.65e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4135-1_0_6_load_48 | 73 | 0.0011368 | 0.0002849 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4135-1_0_6_load_69 | 74 | 0.0010068 | 0.00025232 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4135-1_0_6_load_87 | 75 | 0.00021295 | 5.337e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4135-1_0_6_load_82 | 77 | 0.00079483 | 0.0001992 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4135-1_0_6_load_64 | 78 | 0.00038643 | 9.6849e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4135-1_0_6_load_62 | 80 | 0.00045113 | 0.00011306 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4135-1_0_6_load_63 | 81 | 0.0015947 | 0.00039967 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4135-1_0_6_load_85 | 82 | 0.0045507 | 0.0011405 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4135-1_0_6_load_86 | 83 | 0.0025601 | 0.00064162 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4135-1_0_6_load_76 | 84 | 0.00047352 | 0.00011868 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4135-1_0_6_load_71 | 85 | 0.0020364 | 0.00051038 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4135-1_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_4135-1_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.05286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_4135-1_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.010123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_4135-1_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0044612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4135-1_0_6_line_4 | NAYY 4x150 SE | 3 | 8 | 0.026522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_4135-1_0_6_line_5 | NAYY 4x150 SE | 5 | 6 | 0.3069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_4135-1_0_6_line_6 | NAYY 4x150 SE | 5 | 7 | 0.070607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_4135-1_0_6_line_7 | NAYY 4x150 SE | 6 | 19 | 0.091861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_4135-1_0_6_line_8 | NAYY 4x150 SE | 7 | 84 | 0.0049508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_4135-1_0_6_line_9 | NAYY 4x150 SE | 8 | 9 | 0.020517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_4135-1_0_6_line_10 | NAYY 4x150 SE | 8 | 10 | 0.037312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4135-1_0_6_line_11 | NAYY 4x150 SE | 9 | 11 | 0.015536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4135-1_0_6_line_12 | NAYY 4x150 SE | 9 | 12 | 0.039604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_4135-1_0_6_line_13 | NAYY 4x150 SE | 10 | 13 | 0.033659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4135-1_0_6_line_14 | NAYY 4x150 SE | 12 | 16 | 0.011217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_4135-1_0_6_line_15 | NAYY 4x150 SE | 14 | 15 | 0.01645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_4135-1_0_6_line_16 | NAYY 4x150 SE | 14 | 16 | 0.036188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_4135-1_0_6_line_17 | NAYY 4x150 SE | 15 | 17 | 0.021365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_4135-1_0_6_line_18 | NAYY 4x150 SE | 17 | 18 | 0.035721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_4135-1_0_6_line_19 | NAYY 4x150 SE | 18 | 19 | 0.0019388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_4135-1_0_6_line_20 | NAYY 4x150 SE | 20 | 21 | 0.026835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4135-1_0_6_line_21 | NAYY 4x150 SE | 20 | 22 | 0.0097692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4135-1_0_6_line_22 | NAYY 4x150 SE | 21 | 23 | 0.0037582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4135-1_0_6_line_23 | NAYY 4x150 SE | 22 | 24 | 0.0010728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4135-1_0_6_line_24 | NAYY 4x150 SE | 23 | 25 | 0.039717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4135-1_0_6_line_25 | NAYY 4x150 SE | 24 | 26 | 0.012654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4135-1_0_6_line_26 | NAYY 4x150 SE | 25 | 27 | 0.013903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4135-1_0_6_line_27 | NAYY 4x150 SE | 25 | 28 | 0.021165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_4135-1_0_6_line_28 | NAYY 4x150 SE | 25 | 29 | 0.017434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4135-1_0_6_line_29 | NAYY 4x150 SE | 26 | 30 | 0.015765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4135-1_0_6_line_30 | NAYY 4x150 SE | 27 | 69 | 0.040459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4135-1_0_6_line_31 | NAYY 4x150 SE | 28 | 84 | 0.00010846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_4135-1_0_6_line_32 | NAYY 4x150 SE | 29 | 73 | 0.02028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4135-1_0_6_line_33 | NAYY 4x150 SE | 30 | 48 | 0.0017376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4135-1_0_6_line_34 | NAYY 4x150 SE | 31 | 32 | 0.022744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4135-1_0_6_line_35 | NAYY 4x150 SE | 31 | 33 | 0.019126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4135-1_0_6_line_36 | NAYY 4x150 SE | 32 | 34 | 0.026632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4135-1_0_6_line_37 | NAYY 4x150 SE | 33 | 35 | 0.046906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4135-1_0_6_line_38 | NAYY 4x150 SE | 34 | 36 | 0.029782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4135-1_0_6_line_39 | NAYY 4x150 SE | 35 | 37 | 0.065941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4135-1_0_6_line_40 | NAYY 4x150 SE | 36 | 38 | 0.01576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4135-1_0_6_line_41 | NAYY 4x150 SE | 36 | 39 | 0.049417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4135-1_0_6_line_42 | NAYY 4x150 SE | 36 | 40 | 0.01798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4135-1_0_6_line_43 | NAYY 4x150 SE | 38 | 58 | 0.029745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4135-1_0_6_line_44 | NAYY 4x150 SE | 40 | 49 | 0.10694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4135-1_0_6_line_45 | NAYY 4x150 SE | 41 | 42 | 0.017512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4135-1_0_6_line_46 | NAYY 4x150 SE | 41 | 43 | 0.037304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4135-1_0_6_line_47 | NAYY 4x150 SE | 42 | 44 | 0.020654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4135-1_0_6_line_48 | NAYY 4x150 SE | 43 | 45 | 0.0063246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4135-1_0_6_line_49 | NAYY 4x150 SE | 45 | 46 | 0.052774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4135-1_0_6_line_50 | NAYY 4x150 SE | 46 | 47 | 0.023768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4135-1_0_6_line_51 | NAYY 4x150 SE | 47 | 79 | 0.092725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4135-1_0_6_line_52 | NAYY 4x150 SE | 48 | 49 | 0.077774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4135-1_0_6_line_53 | NAYY 4x150 SE | 50 | 51 | 0.12788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4135-1_0_6_line_54 | NAYY 4x150 SE | 50 | 52 | 0.044955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4135-1_0_6_line_55 | NAYY 4x150 SE | 51 | 74 | 0.077337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4135-1_0_6_line_56 | NAYY 4x150 SE | 52 | 53 | 0.01495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4135-1_0_6_line_57 | NAYY 4x150 SE | 53 | 54 | 0.010995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4135-1_0_6_line_58 | NAYY 4x150 SE | 54 | 63 | 0.0074435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4135-1_0_6_line_59 | NAYY 4x150 SE | 55 | 56 | 0.0054218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4135-1_0_6_line_60 | NAYY 4x150 SE | 55 | 57 | 0.0027559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4135-1_0_6_line_61 | NAYY 4x150 SE | 56 | 58 | 0.029065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4135-1_0_6_line_62 | NAYY 4x150 SE | 57 | 59 | 0.036449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4135-1_0_6_line_63 | NAYY 4x150 SE | 59 | 60 | 0.016659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4135-1_0_6_line_64 | NAYY 4x150 SE | 60 | 61 | 0.010789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4135-1_0_6_line_65 | NAYY 4x150 SE | 61 | 85 | 0.0050731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4135-1_0_6_line_66 | NAYY 4x150 SE | 62 | 63 | 0.033964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4135-1_0_6_line_67 | NAYY 4x150 SE | 62 | 64 | 0.0056274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4135-1_0_6_line_68 | NAYY 4x150 SE | 64 | 65 | 0.027162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4135-1_0_6_line_69 | NAYY 4x150 SE | 64 | 66 | 0.016882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4135-1_0_6_line_70 | NAYY 4x150 SE | 65 | 67 | 0.0014311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4135-1_0_6_line_71 | NAYY 4x150 SE | 65 | 68 | 0.076963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4135-1_0_6_line_72 | NAYY 4x150 SE | 66 | 69 | 0.015644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4135-1_0_6_line_73 | NAYY 4x150 SE | 67 | 70 | 0.038544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4135-1_0_6_line_74 | NAYY 4x150 SE | 70 | 76 | 0.017476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4135-1_0_6_line_75 | NAYY 4x150 SE | 71 | 72 | 0.01758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4135-1_0_6_line_76 | NAYY 4x150 SE | 72 | 73 | 0.01651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4135-1_0_6_line_77 | NAYY 4x150 SE | 74 | 75 | 0.021953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4135-1_0_6_line_78 | NAYY 4x150 SE | 76 | 77 | 0.010942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4135-1_0_6_line_79 | NAYY 4x150 SE | 76 | 78 | 0.01125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4135-1_0_6_line_80 | NAYY 4x150 SE | 78 | 80 | 0.0097715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4135-1_0_6_line_81 | NAYY 4x150 SE | 79 | 85 | 0.080854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4135-1_0_6_line_82 | NAYY 4x150 SE | 80 | 81 | 0.022082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4135-1_0_6_line_83 | NAYY 4x150 SE | 81 | 82 | 0.17091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4135-1_0_6_line_84 | NAYY 4x150 SE | 82 | 83 | 0.026312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4135-1_0_6_trafo_79 | 0.25 MVA 20/0.4 kV | 86 | 5 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2653455.0887 | 1235883.7885 | 2653458.5643 | 1235881.453 | 2653471.1498 | 1235876.4878
1 | 2653455.0887 | 1235883.7885 | 2653452.6866 | 1235885.4027 | 2653446.7835 | 1235889.6635 | 2653438.3651 | 1235897.6152 | 2653432.338 | 1235903.8873 | 2653427.6554 | 1235909.5933 | 2653422.9073 | 1235916.6997 | 2653419.6546 | 1235922.3026
2 | 2653471.1498 | 1235876.4878 | 2653480.0565 | 1235872.9741 | 2653480.519 | 1235872.6797
3 | 2653417.4147 | 1235926.1607 | 2653419.6546 | 1235922.3026
4 | 2653500.5937 | 1235855.4253 | 2653484.0523 | 1235870.4306 | 2653480.519 | 1235872.6797
5 | 2653655.8357 | 1235320.5222 | 2653620.1706 | 1235625.3423
6 | 2653655.8357 | 1235320.5222 | 2653654.7028 | 1235298.4754 | 2653649.7452 | 1235262.4852 | 2653647.2552 | 1235250.5406
7 | 2653620.1706 | 1235625.3423 | 2653626.1137 | 1235629.2652 | 2653626.3094 | 1235646.1557 | 2653621.0128 | 1235678.7624 | 2653614.642 | 1235696.2385 | 2653612.6367 | 1235699.5781 | 2653606.2415 | 1235710.105
8 | 2653646.2449 | 1235245.694 | 2653647.2552 | 1235250.5406
9 | 2653500.5937 | 1235855.4253 | 2653514.2399 | 1235840.0715
10 | 2653463.2958 | 1235854.3335 | 2653478.8549 | 1235855.9745 | 2653487.3425 | 1235856.3178 | 2653500.5937 | 1235855.4253
11 | 2653514.2399 | 1235840.0715 | 2653526.9424 | 1235849.0168
12 | 2653514.2399 | 1235840.0715 | 2653517.3134 | 1235834.0731 | 2653521.1949 | 1235824.9021 | 2653525.8775 | 1235812.4917 | 2653528.8632 | 1235803.3251
13 | 2653463.2958 | 1235854.3335 | 2653475.6046 | 1235842.114 | 2653486.7389 | 1235830.1895
14 | 2653532.3373 | 1235792.6593 | 2653528.8632 | 1235803.3251
15 | 2653569.9943 | 1235756.4953 | 2653560.1738 | 1235767.9829 | 2653559.2424 | 1235768.9416
16 | 2653532.3373 | 1235792.6593 | 2653538.3645 | 1235789.7561 | 2653542.3456 | 1235786.3342 | 2653559.2424 | 1235768.9416
17 | 2653569.9943 | 1235756.4953 | 2653583.8771 | 1235740.2559
18 | 2653583.8771 | 1235740.2559 | 2653597.8646 | 1235723.894 | 2653605.2349 | 1235711.762
19 | 2653606.2415 | 1235710.105 | 2653605.2349 | 1235711.762
20 | 2653639.6665 | 1235154.6347 | 2653639.5632 | 1235181.47
21 | 2653639.6665 | 1235154.6347 | 2653639.7041 | 1235144.8656
22 | 2653639.5488 | 1235185.2282 | 2653639.5632 | 1235181.47
23 | 2653639.7082 | 1235143.7927 | 2653639.7041 | 1235144.8656
24 | 2653641.9036 | 1235224.8678 | 2653641.0441 | 1235211.9295 | 2653639.5352 | 1235188.7675 | 2653639.5488 | 1235185.2282
25 | 2653639.7082 | 1235143.7927 | 2653639.7569 | 1235131.1387
26 | 2653641.9036 | 1235224.8678 | 2653647.3858 | 1235217.8572 | 2653649.6014 | 1235213.3716
27 | 2653641.9036 | 1235224.8678 | 2653646.2228 | 1235245.5878
28 | 2653641.9036 | 1235224.8678 | 2653624.4715 | 1235225.1219
29 | 2653639.7569 | 1235131.1387 | 2653639.8176 | 1235115.374
30 | 2653667.5192 | 1235177.0967 | 2653649.6014 | 1235213.3716
31 | 2653646.2228 | 1235245.5878 | 2653646.2449 | 1235245.694
32 | 2653604.8444 | 1235224.5667 | 2653609.0404 | 1235223.3704 | 2653617.1007 | 1235222.5315 | 2653624.4715 | 1235225.1219 | 2653624.4715 | 1235225.1219
33 | 2653639.8243 | 1235113.6364 | 2653639.8176 | 1235115.374
34 | 2653494.0831 | 1235088.1006 | 2653499.2311 | 1235071.3496 | 2653500.5753 | 1235066.3061
35 | 2653494.0831 | 1235088.1006 | 2653493.2509 | 1235090.8084 | 2653489.6933 | 1235106.7084
36 | 2653500.5753 | 1235066.3061 | 2653500.7743 | 1235065.5597 | 2653501.9432 | 1235060.1445 | 2653510.8315 | 1235041.8719
37 | 2653484.2374 | 1235153.231 | 2653484.3403 | 1235151.6231 | 2653487.6126 | 1235116.0073 | 2653489.6933 | 1235106.7084
38 | 2653523.8587 | 1235015.0904 | 2653510.8315 | 1235041.8719
39 | 2653484.2374 | 1235153.231 | 2653482.4291 | 1235181.4919 | 2653480.5917 | 1235219.0693
40 | 2653523.8587 | 1235015.0904 | 2653509.8907 | 1235007.7928
41 | 2653523.8587 | 1235015.0904 | 2653532.2112 | 1235004.5255 | 2653557.1503 | 1234978.6336
42 | 2653523.8587 | 1235015.0904 | 2653540.9759 | 1235020.5919
43 | 2653509.8907 | 1235007.7928 | 2653500.732 | 1235003.0078 | 2653484.0392 | 1234993.1008
44 | 2653646.3812 | 1235036.5753 | 2653635.6815 | 1235033.8214 | 2653623.6962 | 1235031.7786 | 2653594.8918 | 1235029.1061 | 2653573.7912 | 1235027.3703 | 2653553.5776 | 1235024.642 | 2653540.9759 | 1235020.5919
45 | 2653342.3858 | 1235134.1829 | 2653325.2414 | 1235137.7516
46 | 2653376.0043 | 1235119.4223 | 2653370.6267 | 1235124.5281 | 2653347.0033 | 1235133.2217 | 2653342.3858 | 1235134.1829
47 | 2653305.761 | 1235131.9786 | 2653317.1175 | 1235137.234 | 2653325.2414 | 1235137.7516 | 2653325.2414 | 1235137.7516
48 | 2653376.0043 | 1235119.4223 | 2653380.3594 | 1235115.2873 | 2653380.4464 | 1235114.9802
49 | 2653380.4464 | 1235114.9802 | 2653383.2124 | 1235105.2175 | 2653383.5877 | 1235089.5552 | 2653380.5562 | 1235074.8518 | 2653373.2061 | 1235065.4321
50 | 2653355.7422 | 1235049.5286 | 2653368.779 | 1235059.7585 | 2653373.2061 | 1235065.4321
51 | 2653315.4613 | 1234978.5277 | 2653311.7878 | 1234985.5771 | 2653309.0978 | 1234992.6797 | 2653308.3378 | 1235004.0025 | 2653322.0474 | 1235018.8572 | 2653335.7277 | 1235032.7445 | 2653351.0348 | 1235045.8347 | 2653355.7422 | 1235049.5286
52 | 2653646.3812 | 1235036.5753 | 2653643.4505 | 1235046.8221 | 2653642.6276 | 1235049.9501 | 2653640.0018 | 1235067.5044 | 2653639.8243 | 1235113.6364
53 | 2653721.359 | 1235036.9748 | 2653849.6174 | 1235035.9122
54 | 2653721.359 | 1235036.9748 | 2653713.2548 | 1235061.0727 | 2653707.1437 | 1235079.6227
55 | 2653849.6174 | 1235035.9122 | 2653870.4855 | 1235035.7344 | 2653889.0295 | 1235033.9458 | 2653908.6143 | 1235033.3896 | 2653920.6027 | 1235035.0772 | 2653926.4537 | 1235036.9355
56 | 2653700.3954 | 1235092.9438 | 2653706.7179 | 1235080.9154 | 2653707.1437 | 1235079.6227
57 | 2653700.3954 | 1235092.9438 | 2653696.5597 | 1235103.2476
58 | 2653696.5597 | 1235103.2476 | 2653693.9628 | 1235110.2234
59 | 2653459.0449 | 1234978.267 | 2653454.3824 | 1234975.4998
60 | 2653452.0124 | 1234974.0933 | 2653454.3824 | 1234975.4998
61 | 2653484.0392 | 1234993.1008 | 2653459.0449 | 1234978.267
62 | 2653420.6676 | 1234955.4905 | 2653452.0124 | 1234974.0933
63 | 2653420.6676 | 1234955.4905 | 2653412.843 | 1234960.39 | 2653406.3758 | 1234964.0411
64 | 2653397.6751 | 1234970.3647 | 2653403.4024 | 1234965.7198 | 2653406.3758 | 1234964.0411
65 | 2653397.6751 | 1234970.3647 | 2653393.735 | 1234973.5602
66 | 2653683.6045 | 1235142.5644 | 2653692.4835 | 1235114.1972 | 2653693.9628 | 1235110.2234
67 | 2653681.9235 | 1235147.9348 | 2653683.6045 | 1235142.5644
68 | 2653681.9235 | 1235147.9348 | 2653691.3657 | 1235173.4032
69 | 2653681.9235 | 1235147.9348 | 2653674.4473 | 1235163.0706
70 | 2653691.3657 | 1235173.4032 | 2653691.3657 | 1235173.4032 | 2653691.3967 | 1235174.834
71 | 2653691.3657 | 1235173.4032 | 2653767.8851 | 1235165.1548
72 | 2653674.4473 | 1235163.0706 | 2653667.5192 | 1235177.0967
73 | 2653692.2316 | 1235213.3688 | 2653691.3967 | 1235174.834
74 | 2653692.6101 | 1235230.8405 | 2653692.2316 | 1235213.3688
75 | 2653579.5995 | 1235236.9889 | 2653581.8882 | 1235237.3236 | 2653597.1251 | 1235238.2835
76 | 2653604.8444 | 1235224.5667 | 2653604.8444 | 1235224.5667 | 2653600.4956 | 1235235.9793 | 2653597.9541 | 1235238.3357 | 2653597.1251 | 1235238.2835
77 | 2653945.615 | 1235047.3948 | 2653931.3418 | 1235038.4879 | 2653926.4537 | 1235036.9355
78 | 2653692.6101 | 1235230.8405 | 2653696.3969 | 1235230.5412 | 2653701.6983 | 1235235.3294
79 | 2653692.6101 | 1235230.8405 | 2653692.8874 | 1235242.0869
80 | 2653693.1282 | 1235251.8554 | 2653692.8874 | 1235242.0869
81 | 2653315.4613 | 1234978.5277 | 2653335.8797 | 1234984.6147 | 2653354.9942 | 1234985.031 | 2653375.4923 | 1234979.7115 | 2653393.735 | 1234973.5602
82 | 2653693.1282 | 1235251.8554 | 2653693.6724 | 1235273.9303
83 | 2653693.6724 | 1235273.9303 | 2653858.4073 | 1235319.4643
84 | 2653858.4073 | 1235319.4643 | 2653882.6095 | 1235329.7887

## bus_geodata
| x | y | coords
0 | 2653455.0887 | 1235883.7885
1 | 2653471.1498 | 1235876.4878
2 | 2653419.6546 | 1235922.3026
3 | 2653480.519 | 1235872.6797
4 | 2653417.4147 | 1235926.1607
5 | 2653655.8357 | 1235320.5222
6 | 2653620.1706 | 1235625.3423
7 | 2653647.2552 | 1235250.5406
8 | 2653500.5937 | 1235855.4253
9 | 2653514.2399 | 1235840.0715
10 | 2653463.2958 | 1235854.3335
11 | 2653526.9424 | 1235849.0168
12 | 2653528.8632 | 1235803.3251
13 | 2653486.7389 | 1235830.1895
14 | 2653559.2424 | 1235768.9416
15 | 2653569.9943 | 1235756.4953
16 | 2653532.3373 | 1235792.6593
17 | 2653583.8771 | 1235740.2559
18 | 2653605.2349 | 1235711.762
19 | 2653606.2415 | 1235710.105
20 | 2653639.6665 | 1235154.6347
21 | 2653639.5632 | 1235181.47
22 | 2653639.7041 | 1235144.8656
23 | 2653639.5488 | 1235185.2282
24 | 2653639.7082 | 1235143.7927
25 | 2653641.9036 | 1235224.8678
26 | 2653639.7569 | 1235131.1387
27 | 2653649.6014 | 1235213.3716
28 | 2653646.2228 | 1235245.5878
29 | 2653624.4715 | 1235225.1219
30 | 2653639.8176 | 1235115.374
31 | 2653494.0831 | 1235088.1006
32 | 2653500.5753 | 1235066.3061
33 | 2653489.6933 | 1235106.7084
34 | 2653510.8315 | 1235041.8719
35 | 2653484.2374 | 1235153.231
36 | 2653523.8587 | 1235015.0904
37 | 2653480.5917 | 1235219.0693
38 | 2653509.8907 | 1235007.7928
39 | 2653557.1503 | 1234978.6336
40 | 2653540.9759 | 1235020.5919
41 | 2653342.3858 | 1235134.1829
42 | 2653325.2414 | 1235137.7516
43 | 2653376.0043 | 1235119.4223
44 | 2653305.761 | 1235131.9786
45 | 2653380.4464 | 1235114.9802
46 | 2653373.2061 | 1235065.4321
47 | 2653355.7422 | 1235049.5286
48 | 2653639.8243 | 1235113.6364
49 | 2653646.3812 | 1235036.5753
50 | 2653721.359 | 1235036.9748
51 | 2653849.6174 | 1235035.9122
52 | 2653707.1437 | 1235079.6227
53 | 2653700.3954 | 1235092.9438
54 | 2653696.5597 | 1235103.2476
55 | 2653454.3824 | 1234975.4998
56 | 2653459.0449 | 1234978.267
57 | 2653452.0124 | 1234974.0933
58 | 2653484.0392 | 1234993.1008
59 | 2653420.6676 | 1234955.4905
60 | 2653406.3758 | 1234964.0411
61 | 2653397.6751 | 1234970.3647
62 | 2653683.6045 | 1235142.5644
63 | 2653693.9628 | 1235110.2234
64 | 2653681.9235 | 1235147.9348
65 | 2653691.3657 | 1235173.4032
66 | 2653674.4472 | 1235163.0706
67 | 2653691.3967 | 1235174.834
68 | 2653767.8851 | 1235165.1548
69 | 2653667.5192 | 1235177.0967
70 | 2653692.2316 | 1235213.3688
71 | 2653579.5995 | 1235236.9889
72 | 2653597.1251 | 1235238.2835
73 | 2653604.8444 | 1235224.5667
74 | 2653926.4537 | 1235036.9355
75 | 2653945.615 | 1235047.3948
76 | 2653692.6101 | 1235230.8405
77 | 2653701.6983 | 1235235.3294
78 | 2653692.8874 | 1235242.0869
79 | 2653315.4613 | 1234978.5277
80 | 2653693.1282 | 1235251.8554
81 | 2653693.6724 | 1235273.9303
82 | 2653858.4073 | 1235319.4643
83 | 2653882.6095 | 1235329.7887
84 | 2653646.2449 | 1235245.694
85 | 2653393.735 | 1234973.5602
86 | 2653629.2914 | 1235319.9823

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1