## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4135-4_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4135-4_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4135-4_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4135-4_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4135-4_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4135-4_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4135-4_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4135-4_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_4135-4_0_2_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_4135-4_0_2_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_4135-4_0_2_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_4135-4_0_2_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_4135-4_0_2_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_4135-4_0_2_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_4135-4_0_2_node_62 | 0.4 | n |  | TRUE
15 | bus_LV_4135-4_0_2_node_140 | 0.4 | n |  | TRUE
16 | bus_LV_4135-4_0_2_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_4135-4_0_2_node_75 | 0.4 | n |  | TRUE
18 | bus_LV_4135-4_0_2_node_77 | 0.4 | n |  | TRUE
19 | bus_LV_4135-4_0_2_node_66 | 0.4 | n |  | TRUE
20 | bus_LV_4135-4_0_2_node_73 | 0.4 | n |  | TRUE
21 | bus_LV_4135-4_0_2_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_4135-4_0_2_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_4135-4_0_2_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_4135-4_0_2_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_4135-4_0_2_node_87 | 0.4 | n |  | TRUE
26 | bus_LV_4135-4_0_2_node_88 | 0.4 | n |  | TRUE
27 | bus_LV_4135-4_0_2_node_64 | 0.4 | n |  | TRUE
28 | bus_LV_4135-4_0_2_node_61 | 0.4 | n |  | TRUE
29 | bus_LV_4135-4_0_2_node_160 | 0.4 | n |  | TRUE
30 | bus_LV_4135-4_0_2_node_147 | 0.4 | n |  | TRUE
31 | bus_LV_4135-4_0_2_node_159 | 0.4 | n |  | TRUE
32 | bus_LV_4135-4_0_2_node_172 | 0.4 | n |  | TRUE
33 | bus_LV_4135-4_0_2_node_146 | 0.4 | n |  | TRUE
34 | bus_LV_4135-4_0_2_node_144 | 0.4 | n |  | TRUE
35 | bus_LV_4135-4_0_2_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_4135-4_0_2_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_4135-4_0_2_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_4135-4_0_2_node_142 | 0.4 | n |  | TRUE
39 | bus_LV_4135-4_0_2_node_143 | 0.4 | n |  | TRUE
40 | bus_LV_4135-4_0_2_node_148 | 0.4 | n |  | TRUE
41 | bus_LV_4135-4_0_2_node_141 | 0.4 | n |  | TRUE
42 | bus_LV_4135-4_0_2_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_4135-4_0_2_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_4135-4_0_2_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_4135-4_0_2_node_74 | 0.4 | n |  | TRUE
46 | bus_LV_4135-4_0_2_node_76 | 0.4 | n |  | TRUE
47 | bus_LV_4135-4_0_2_node_78 | 0.4 | n |  | TRUE
48 | bus_LV_4135-4_0_2_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_4135-4_0_2_node_71 | 0.4 | n |  | TRUE
50 | bus_LV_4135-4_0_2_node_103 | 0.4 | n |  | TRUE
51 | bus_LV_4135-4_0_2_node_72 | 0.4 | n |  | TRUE
52 | bus_LV_4135-4_0_2_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_4135-4_0_2_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_4135-4_0_2_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_4135-4_0_2_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_4135-4_0_2_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_4135-4_0_2_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_4135-4_0_2_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_4135-4_0_2_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_4135-4_0_2_node_167 | 0.4 | n |  | TRUE
61 | bus_LV_4135-4_0_2_node_170 | 0.4 | n |  | TRUE
62 | bus_LV_4135-4_0_2_node_171 | 0.4 | n |  | TRUE
63 | bus_LV_4135-4_0_2_node_164 | 0.4 | n |  | TRUE
64 | bus_LV_4135-4_0_2_node_169 | 0.4 | n |  | TRUE
65 | bus_LV_4135-4_0_2_node_166 | 0.4 | n |  | TRUE
66 | bus_LV_4135-4_0_2_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_4135-4_0_2_node_100 | 0.4 | n |  | TRUE
68 | bus_LV_4135-4_0_2_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_4135-4_0_2_node_104 | 0.4 | n |  | TRUE
70 | bus_LV_4135-4_0_2_node_105 | 0.4 | n |  | TRUE
71 | bus_LV_4135-4_0_2_node_106 | 0.4 | n |  | TRUE
72 | bus_LV_4135-4_0_2_node_97 | 0.4 | n |  | TRUE
73 | bus_LV_4135-4_0_2_node_98 | 0.4 | n |  | TRUE
74 | bus_LV_4135-4_0_2_node_99 | 0.4 | n |  | TRUE
75 | bus_LV_4135-4_0_2_node_101 | 0.4 | n |  | TRUE
76 | bus_LV_4135-4_0_2_node_165 | 0.4 | n |  | TRUE
77 | bus_LV_4135-4_0_2_node_162 | 0.4 | n |  | TRUE
78 | bus_LV_4135-4_0_2_node_149 | 0.4 | n |  | TRUE
79 | bus_LV_4135-4_0_2_node_155 | 0.4 | n |  | TRUE
80 | bus_LV_4135-4_0_2_node_153 | 0.4 | n |  | TRUE
81 | bus_LV_4135-4_0_2_node_152 | 0.4 | n |  | TRUE
82 | bus_LV_4135-4_0_2_node_154 | 0.4 | n |  | TRUE
83 | bus_LV_4135-4_0_2_node_156 | 0.4 | n |  | TRUE
84 | bus_LV_4135-4_0_2_node_176 | 0.4 | n |  | TRUE
85 | bus_LV_4135-4_0_2_node_173 | 0.4 | n |  | TRUE
86 | bus_LV_4135-4_0_2_node_161 | 0.4 | n |  | TRUE
87 | bus_LV_4135-4_0_2_node_163 | 0.4 | n |  | TRUE
88 | bus_LV_4135-4_0_2_node_174 | 0.4 | n |  | TRUE
89 | bus_LV_4135-4_0_2_node_175 | 0.4 | n |  | TRUE
90 | bus_LV_4135-4_0_2_node_168 | 0.4 | n |  | TRUE
91 | bus_MV_482_0_node_9 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4135-4_0_2_load_0 | 0 | 0.0022349 | 0.00056013 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4135-4_0_2_load_1 | 1 | 0.0020217 | 0.00050669 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4135-4_0_2_load_4 | 4 | 0.002692 | 0.00067469 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4135-4_0_2_load_5 | 5 | 0.0055588 | 0.0013932 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4135-4_0_2_load_6 | 6 | 0.0040782 | 0.0010221 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4135-4_0_2_load_7 | 7 | 0.0014501 | 0.00036343 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4135-4_0_2_load_8 | 8 | 0.0017931 | 0.0004494 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4135-4_0_2_load_35 | 11 | 0.0017819 | 0.00044659 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4135-4_0_2_load_33 | 12 | 0.001699 | 0.0004258 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4135-4_0_2_load_19 | 13 | 0.0015939 | 0.00039946 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4135-4_0_2_load_62 | 14 | 0.0011197 | 0.00028061 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4135-4_0_2_load_140 | 15 | 0.0017149 | 0.00042979 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4135-4_0_2_load_34 | 16 | 0.0025992 | 0.00065141 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4135-4_0_2_load_77 | 18 | 0.0010876 | 0.00027257 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4135-4_0_2_load_66 | 19 | 0.00071507 | 0.00017921 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4135-4_0_2_load_73 | 20 | 0.0018002 | 0.00045117 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4135-4_0_2_load_21 | 23 | 0.0010951 | 0.00027445 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4135-4_0_2_load_22 | 24 | 0.0017676 | 0.00044301 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4135-4_0_2_load_87 | 25 | 0.0014309 | 0.00035863 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4135-4_0_2_load_64 | 27 | 0.0009574 | 0.00023995 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4135-4_0_2_load_61 | 28 | 0.0020972 | 0.00052561 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4135-4_0_2_load_160 | 29 | 0.0012447 | 0.00031194 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4135-4_0_2_load_147 | 30 | 0.0015444 | 0.00038707 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4135-4_0_2_load_159 | 31 | 0.0016909 | 0.00042377 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4135-4_0_2_load_172 | 32 | 0.0011805 | 0.00029585 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4135-4_0_2_load_144 | 34 | 0.00018722 | 4.6922e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4135-4_0_2_load_30 | 35 | 0.00054961 | 0.00013774 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4135-4_0_2_load_32 | 37 | 0.00022036 | 5.5228e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4135-4_0_2_load_143 | 39 | 0.00059619 | 0.00014942 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4135-4_0_2_load_148 | 40 | 0.0014842 | 0.00037198 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4135-4_0_2_load_36 | 42 | 0.00087847 | 0.00022017 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4135-4_0_2_load_37 | 43 | 0.00040026 | 0.00010032 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4135-4_0_2_load_38 | 44 | 0.0014834 | 0.00037177 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4135-4_0_2_load_76 | 46 | 0.00059226 | 0.00014844 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4135-4_0_2_load_78 | 47 | 0.00079397 | 0.00019899 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4135-4_0_2_load_41 | 48 | 0.0013834 | 0.00034672 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4135-4_0_2_load_71 | 49 | 0.001584 | 0.00039699 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4135-4_0_2_load_103 | 50 | 0.0014329 | 0.00035911 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4135-4_0_2_load_72 | 51 | 0.0018607 | 0.00046634 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4135-4_0_2_load_53 | 52 | 0.00085472 | 0.00021421 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4135-4_0_2_load_54 | 53 | 0.0006559 | 0.00016438 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4135-4_0_2_load_57 | 56 | 0.0014108 | 0.00035359 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4135-4_0_2_load_58 | 57 | 0.0019718 | 0.00049418 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4135-4_0_2_load_60 | 59 | 0.00073061 | 0.00018311 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4135-4_0_2_load_170 | 61 | 0.0011566 | 0.00028986 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4135-4_0_2_load_171 | 62 | 0.00061146 | 0.00015325 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4135-4_0_2_load_169 | 64 | 0.0006559 | 0.00016438 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4135-4_0_2_load_166 | 65 | 0.00068112 | 0.0001707 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4135-4_0_2_load_63 | 66 | 0.0033405 | 0.0008372 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4135-4_0_2_load_100 | 67 | 0.0010295 | 0.00025801 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4135-4_0_2_load_65 | 68 | 0.00093221 | 0.00023363 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4135-4_0_2_load_104 | 69 | 0.0011256 | 0.00028211 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4135-4_0_2_load_105 | 70 | 0.0019784 | 0.00049584 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4135-4_0_2_load_106 | 71 | 0.002394 | 0.00059999 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4135-4_0_2_load_97 | 72 | 0.0034934 | 0.00087554 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4135-4_0_2_load_98 | 73 | 0.0036302 | 0.00090981 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4135-4_0_2_load_99 | 74 | 0.0016125 | 0.00040412 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4135-4_0_2_load_101 | 75 | 0.0027849 | 0.00069797 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4135-4_0_2_load_162 | 77 | 0.0043299 | 0.0010852 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4135-4_0_2_load_155 | 79 | 0.00081231 | 0.00020358 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4135-4_0_2_load_153 | 80 | 0.0012671 | 0.00031756 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4135-4_0_2_load_152 | 81 | 0.0004144 | 0.00010386 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4135-4_0_2_load_176 | 84 | 0.00058591 | 0.00014684 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4135-4_0_2_load_173 | 85 | 0.0012299 | 0.00030825 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4135-4_0_2_load_161 | 86 | 0.0044251 | 0.001109 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4135-4_0_2_load_163 | 87 | 0.001423 | 0.00035664 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4135-4_0_2_load_174 | 88 | 0.0016994 | 0.0004259 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4135-4_0_2_load_175 | 89 | 0.0024455 | 0.0006129 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4135-4_0_2_load_168 | 90 | 0.00063069 | 0.00015807 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4135-4_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0045822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4135-4_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.042987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4135-4_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.033011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4135-4_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.024311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4135-4_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.012938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4135-4_0_2_line_5 | NAYY 4x150 SE | 2 | 6 | 0.026086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4135-4_0_2_line_6 | NAYY 4x150 SE | 3 | 7 | 0.018341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4135-4_0_2_line_7 | NAYY 4x150 SE | 3 | 8 | 0.0084565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4135-4_0_2_line_8 | NAYY 4x150 SE | 4 | 9 | 0.020388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4135-4_0_2_line_9 | NAYY 4x150 SE | 5 | 10 | 0.035276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4135-4_0_2_line_10 | NAYY 4x150 SE | 7 | 11 | 0.0081031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4135-4_0_2_line_11 | NAYY 4x150 SE | 8 | 12 | 0.034988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4135-4_0_2_line_12 | NAYY 4x150 SE | 9 | 13 | 0.014204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4135-4_0_2_line_13 | NAYY 4x150 SE | 10 | 14 | 0.034362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4135-4_0_2_line_14 | NAYY 4x150 SE | 11 | 15 | 0.041365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4135-4_0_2_line_15 | NAYY 4x150 SE | 12 | 16 | 0.025589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4135-4_0_2_line_16 | NAYY 4x150 SE | 13 | 24 | 0.021437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4135-4_0_2_line_17 | NAYY 4x150 SE | 14 | 27 | 0.021636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4135-4_0_2_line_18 | NAYY 4x150 SE | 14 | 28 | 0.033762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4135-4_0_2_line_19 | NAYY 4x150 SE | 15 | 41 | 0.012909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4135-4_0_2_line_20 | NAYY 4x150 SE | 17 | 18 | 0.009068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4135-4_0_2_line_21 | NAYY 4x150 SE | 17 | 19 | 0.052882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4135-4_0_2_line_22 | NAYY 4x150 SE | 17 | 20 | 0.029757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4135-4_0_2_line_23 | NAYY 4x150 SE | 19 | 27 | 0.013588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4135-4_0_2_line_24 | NAYY 4x150 SE | 20 | 45 | 0.01627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4135-4_0_2_line_25 | NAYY 4x150 SE | 21 | 22 | 0.024983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4135-4_0_2_line_26 | NAYY 4x150 SE | 21 | 23 | 0.024107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4135-4_0_2_line_27 | NAYY 4x150 SE | 22 | 29 | 0.018825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4135-4_0_2_line_28 | NAYY 4x150 SE | 22 | 30 | 0.041829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4135-4_0_2_line_29 | NAYY 4x150 SE | 23 | 31 | 0.0069443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4135-4_0_2_line_30 | NAYY 4x150 SE | 25 | 26 | 0.012256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4135-4_0_2_line_31 | NAYY 4x150 SE | 26 | 72 | 0.031025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4135-4_0_2_line_32 | NAYY 4x150 SE | 26 | 67 | 0.0085534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4135-4_0_2_line_33 | NAYY 4x150 SE | 28 | 66 | 0.047807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4135-4_0_2_line_34 | NAYY 4x150 SE | 28 | 67 | 0.031041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4135-4_0_2_line_35 | NAYY 4x150 SE | 29 | 32 | 0.00097671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4135-4_0_2_line_36 | NAYY 4x150 SE | 30 | 33 | 0.018056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4135-4_0_2_line_37 | NAYY 4x150 SE | 31 | 34 | 0.18296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4135-4_0_2_line_38 | NAYY 4x150 SE | 32 | 85 | 0.022162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4135-4_0_2_line_39 | NAYY 4x150 SE | 33 | 40 | 0.037973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4135-4_0_2_line_40 | NAYY 4x150 SE | 34 | 39 | 0.1047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4135-4_0_2_line_41 | NAYY 4x150 SE | 35 | 36 | 0.010199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4135-4_0_2_line_42 | NAYY 4x150 SE | 36 | 37 | 0.017234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4135-4_0_2_line_43 | NAYY 4x150 SE | 37 | 38 | 0.10244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4135-4_0_2_line_44 | NAYY 4x150 SE | 38 | 39 | 0.012561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4135-4_0_2_line_45 | NAYY 4x150 SE | 40 | 78 | 0.039657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4135-4_0_2_line_46 | NAYY 4x150 SE | 41 | 63 | 0.026927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4135-4_0_2_line_47 | NAYY 4x150 SE | 41 | 58 | 0.002914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4135-4_0_2_line_48 | NAYY 4x150 SE | 42 | 43 | 0.0051598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4135-4_0_2_line_49 | NAYY 4x150 SE | 43 | 44 | 0.019171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4135-4_0_2_line_50 | NAYY 4x150 SE | 44 | 48 | 0.0010898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4135-4_0_2_line_51 | NAYY 4x150 SE | 45 | 46 | 0.012942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4135-4_0_2_line_52 | NAYY 4x150 SE | 46 | 47 | 0.036866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4135-4_0_2_line_53 | NAYY 4x150 SE | 47 | 50 | 0.030096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4135-4_0_2_line_54 | NAYY 4x150 SE | 48 | 49 | 0.021872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4135-4_0_2_line_55 | NAYY 4x150 SE | 49 | 51 | 0.00086094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4135-4_0_2_line_56 | NAYY 4x150 SE | 50 | 69 | 0.033334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4135-4_0_2_line_57 | NAYY 4x150 SE | 51 | 69 | 0.046524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4135-4_0_2_line_58 | NAYY 4x150 SE | 52 | 53 | 0.021712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4135-4_0_2_line_59 | NAYY 4x150 SE | 52 | 54 | 0.016373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4135-4_0_2_line_60 | NAYY 4x150 SE | 53 | 55 | 0.017504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4135-4_0_2_line_61 | NAYY 4x150 SE | 54 | 56 | 0.010598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4135-4_0_2_line_62 | NAYY 4x150 SE | 54 | 57 | 0.02445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4135-4_0_2_line_63 | NAYY 4x150 SE | 55 | 58 | 0.028077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4135-4_0_2_line_64 | NAYY 4x150 SE | 55 | 59 | 0.012456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4135-4_0_2_line_65 | NAYY 4x150 SE | 59 | 60 | 0.016053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4135-4_0_2_line_66 | NAYY 4x150 SE | 60 | 64 | 0.011218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4135-4_0_2_line_67 | NAYY 4x150 SE | 60 | 65 | 0.01214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4135-4_0_2_line_68 | NAYY 4x150 SE | 61 | 62 | 0.0034908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4135-4_0_2_line_69 | NAYY 4x150 SE | 62 | 78 | 0.013269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4135-4_0_2_line_70 | NAYY 4x150 SE | 63 | 76 | 0.004468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4135-4_0_2_line_71 | NAYY 4x150 SE | 63 | 77 | 0.011453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4135-4_0_2_line_72 | NAYY 4x150 SE | 65 | 90 | 0.010511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4135-4_0_2_line_73 | NAYY 4x150 SE | 66 | 68 | 0.0086797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4135-4_0_2_line_74 | NAYY 4x150 SE | 69 | 70 | 0.029925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4135-4_0_2_line_75 | NAYY 4x150 SE | 70 | 71 | 0.0091143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4135-4_0_2_line_76 | NAYY 4x150 SE | 72 | 73 | 0.017683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4135-4_0_2_line_77 | NAYY 4x150 SE | 73 | 74 | 0.016453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4135-4_0_2_line_78 | NAYY 4x150 SE | 74 | 75 | 0.011314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4135-4_0_2_line_79 | NAYY 4x150 SE | 76 | 85 | 0.022789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4135-4_0_2_line_80 | NAYY 4x150 SE | 76 | 88 | 0.015966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4135-4_0_2_line_81 | NAYY 4x150 SE | 77 | 86 | 0.0098594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4135-4_0_2_line_82 | NAYY 4x150 SE | 78 | 79 | 0.044941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4135-4_0_2_line_83 | NAYY 4x150 SE | 79 | 80 | 0.040462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4135-4_0_2_line_84 | NAYY 4x150 SE | 80 | 81 | 0.045287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4135-4_0_2_line_85 | NAYY 4x150 SE | 81 | 82 | 0.054384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4135-4_0_2_line_86 | NAYY 4x150 SE | 82 | 83 | 0.014227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4135-4_0_2_line_87 | NAYY 4x150 SE | 83 | 84 | 0.072578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4135-4_0_2_line_88 | NAYY 4x150 SE | 86 | 87 | 0.012781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4135-4_0_2_line_89 | NAYY 4x150 SE | 88 | 89 | 0.0089699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4135-4_0_2_trafo_0 | 0.25 MVA 20/0.4 kV | 91 | 0 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2653383.3486 | 1235353.0503 | 2653383.0516 | 1235348.4777
1 | 2653382.3857 | 1235396.0094 | 2653383.068 | 1235383.2517 | 2653383.5333 | 1235355.8937 | 2653383.3486 | 1235353.0503
2 | 2653375.569 | 1235316.5856 | 2653382.2834 | 1235336.6478 | 2653383.0516 | 1235348.4777
3 | 2653382.3857 | 1235396.0094 | 2653368.1305 | 1235402.4189 | 2653359.5169 | 1235403.4969
4 | 2653382.3857 | 1235396.0094 | 2653393.173 | 1235388.8653
5 | 2653382.3857 | 1235396.0094 | 2653375.1254 | 1235421.0644
6 | 2653375.569 | 1235316.5856 | 2653357.5616 | 1235313.1056
7 | 2653375.569 | 1235316.5856 | 2653375.1541 | 1235308.1394
8 | 2653339.2865 | 1235406.029 | 2653359.5169 | 1235403.4969
9 | 2653420.0076 | 1235366.4393 | 2653410.3116 | 1235377.5149 | 2653393.173 | 1235388.8653
10 | 2653349.6057 | 1235311.568 | 2653357.5616 | 1235313.1056
11 | 2653369.8197 | 1235274.1609 | 2653369.878 | 1235282.0122 | 2653374.3406 | 1235291.5806 | 2653375.1541 | 1235308.1394
12 | 2653339.2865 | 1235406.029 | 2653334.6009 | 1235419.4383
13 | 2653420.0076 | 1235366.4393 | 2653452.1894 | 1235378.4845
14 | 2653349.6057 | 1235311.568 | 2653349.5645 | 1235311.5601 | 2653321.5975 | 1235305.95 | 2653308.9033 | 1235304.3194
15 | 2653369.8197 | 1235274.1609 | 2653369.6294 | 1235248.5729
16 | 2653327.6479 | 1235439.7158 | 2653331.0295 | 1235429.6591 | 2653334.6009 | 1235419.4383
17 | 2653452.1894 | 1235378.4845 | 2653453.436 | 1235361.3809 | 2653453.6897 | 1235356.9014
18 | 2653449.7353 | 1235412.157 | 2653452.1894 | 1235378.4845
19 | 2653296.0994 | 1235302.6748 | 2653308.9033 | 1235304.3194
20 | 2653457.4488 | 1235290.5378 | 2653452.5088 | 1235298.142
21 | 2653457.4488 | 1235290.5378 | 2653454.4582 | 1235343.3349
22 | 2653457.4488 | 1235290.5378 | 2653469.4612 | 1235271.8448 | 2653471.9237 | 1235264.7216
23 | 2653454.4582 | 1235343.3349 | 2653453.6897 | 1235356.9014
24 | 2653477.2395 | 1235249.3447 | 2653471.9237 | 1235264.7216
25 | 2653290.346 | 1235402.4211 | 2653282.5374 | 1235400.5499 | 2653267.0405 | 1235393.5176
26 | 2653290.346 | 1235402.4211 | 2653280.9915 | 1235424.6391
27 | 2653267.0405 | 1235393.5176 | 2653274.121 | 1235376.0748
28 | 2653267.0405 | 1235393.5176 | 2653256.6728 | 1235390.923 | 2653234.3483 | 1235381.4948 | 2653227.9338 | 1235378.9305
29 | 2653278.2968 | 1235431.0393 | 2653280.9915 | 1235424.6391
30 | 2653413.5781 | 1235417.4034 | 2653415.3464 | 1235411.8045 | 2653415.999 | 1235405.4536
31 | 2653413.5781 | 1235417.4034 | 2653407.6186 | 1235436.3177 | 2653403.1009 | 1235446.5595
32 | 2653413.5781 | 1235417.4034 | 2653420.4612 | 1235422.4812
33 | 2653449.7353 | 1235412.157 | 2653448.6874 | 1235426.536 | 2653457.6736 | 1235439.6586 | 2653472.3714 | 1235449.1305
34 | 2653420.4612 | 1235422.4812 | 2653449.7353 | 1235412.157
35 | 2653274.4883 | 1235375.1699 | 2653274.121 | 1235376.0748
36 | 2653213.1502 | 1235369.6529 | 2653216.7097 | 1235374.4434 | 2653227.9338 | 1235378.9305
37 | 2653278.2968 | 1235431.0393 | 2653170.1736 | 1235578.6314
38 | 2653274.4883 | 1235375.1699 | 2653282.8239 | 1235354.6351
39 | 2653213.1502 | 1235369.6529 | 2653214.3637 | 1235346.5488 | 2653215.4215 | 1235331.7491
40 | 2653067.924 | 1235601.1465 | 2653170.1736 | 1235578.6314
41 | 2652966.659 | 1235518.8927 | 2652960.6931 | 1235510.6204
42 | 2652966.659 | 1235518.8927 | 2652979.123 | 1235530.7949
43 | 2653055.5475 | 1235599.0038 | 2652979.123 | 1235530.7949
44 | 2653055.5475 | 1235599.0038 | 2653067.924 | 1235601.1465
45 | 2653218.2487 | 1235292.1928 | 2653215.4215 | 1235331.7491
46 | 2653292.8561 | 1235329.2963 | 2653295.5708 | 1235316.8904 | 2653296.0994 | 1235302.6748
47 | 2653296.2088 | 1235299.7628 | 2653296.0994 | 1235302.6748
48 | 2653557.4897 | 1235291.7421 | 2653556.7825 | 1235296.8532
49 | 2653554.1548 | 1235315.8436 | 2653556.7825 | 1235296.8532
50 | 2653554.1548 | 1235315.8436 | 2653554.0054 | 1235316.9232
51 | 2653477.2395 | 1235249.3447 | 2653479.9824 | 1235261.9926
52 | 2653479.9824 | 1235261.9926 | 2653487.7957 | 1235298.0208
53 | 2653498.0023 | 1235326.2659 | 2653493.5361 | 1235316.3569 | 2653488.3792 | 1235300.7115 | 2653487.7957 | 1235298.0208
54 | 2653552.4137 | 1235338.7112 | 2653552.9236 | 1235324.7414 | 2653554.0054 | 1235316.9232
55 | 2653552.3822 | 1235339.5716 | 2653552.4137 | 1235338.7112
56 | 2653509.3509 | 1235357.2579 | 2653509.4865 | 1235355.3701 | 2653506.8875 | 1235344.7955 | 2653500.1176 | 1235330.9589 | 2653498.0023 | 1235326.2659
57 | 2653552.3822 | 1235339.5716 | 2653509.3509 | 1235357.2579
58 | 2653297.8954 | 1235254.2174 | 2653298.699 | 1235232.52
59 | 2653299.305 | 1235216.1587 | 2653298.699 | 1235232.52
60 | 2653297.2476 | 1235271.7095 | 2653297.8954 | 1235254.2174
61 | 2653299.305 | 1235216.1587 | 2653299.6958 | 1235205.5683
62 | 2653274.7883 | 1235215.6497 | 2653299.305 | 1235216.1587
63 | 2653297.2476 | 1235271.7095 | 2653296.2088 | 1235299.7628
64 | 2653297.2476 | 1235271.7095 | 2653284.8107 | 1235271.0199
65 | 2653268.7825 | 1235270.1311 | 2653284.8107 | 1235271.0199
66 | 2653268.7825 | 1235270.1311 | 2653268.2179 | 1235281.3354
67 | 2653268.7825 | 1235270.1311 | 2653269.1347 | 1235257.996
68 | 2653231.4559 | 1235293.4753 | 2653234.9304 | 1235293.8126
69 | 2653218.2487 | 1235292.1928 | 2653231.4559 | 1235293.4753
70 | 2653292.8561 | 1235329.2963 | 2653291.3954 | 1235333.5193
71 | 2653292.8561 | 1235329.2963 | 2653303.5899 | 1235333.292
72 | 2653269.4396 | 1235247.489 | 2653269.1347 | 1235257.996
73 | 2653479.6673 | 1235453.8322 | 2653472.3714 | 1235449.1305
74 | 2653509.3509 | 1235357.2579 | 2653508.128 | 1235374.2813 | 2653506.8883 | 1235387.0791
75 | 2653502.5719 | 1235394.5777 | 2653506.5677 | 1235390.3888 | 2653506.8883 | 1235387.0791
76 | 2653403.1009 | 1235446.5595 | 2653395.9646 | 1235462.7381
77 | 2653389.3244 | 1235477.7918 | 2653395.9646 | 1235462.7381
78 | 2653384.7582 | 1235488.1437 | 2653389.3244 | 1235477.7918
79 | 2653291.3954 | 1235333.5193 | 2653282.8239 | 1235354.6351
80 | 2653291.3954 | 1235333.5193 | 2653275.844 | 1235329.9058
81 | 2653312.8298 | 1235336.7316 | 2653303.5899 | 1235333.292
82 | 2653218.2487 | 1235292.1928 | 2653221.4579 | 1235247.3669
83 | 2653228.0808 | 1235207.5228 | 2653226.3088 | 1235213.6253 | 2653221.8992 | 1235241.2036 | 2653221.4579 | 1235247.3669
84 | 2653228.0808 | 1235207.5228 | 2653239.3113 | 1235168.8461 | 2653240.6473 | 1235164.0144
85 | 2653231.6931 | 1235113.5866 | 2653242.8863 | 1235132.2211 | 2653245.3811 | 1235146.8862 | 2653243.7306 | 1235152.8642 | 2653240.6473 | 1235164.0144
86 | 2653218.5748 | 1235118.9059 | 2653224.9016 | 1235115.5715 | 2653227.5044 | 1235114.8054 | 2653231.6931 | 1235113.5866
87 | 2653218.5748 | 1235118.9059 | 2653192.3346 | 1235186.5926
88 | 2653324.808 | 1235341.1905 | 2653312.8298 | 1235336.7316
89 | 2653267.1069 | 1235327.8757 | 2653275.844 | 1235329.9058

## bus_geodata
| x | y | coords
0 | 2653383.3486 | 1235353.0503
1 | 2653383.0516 | 1235348.4777
2 | 2653382.3857 | 1235396.0094
3 | 2653375.569 | 1235316.5856
4 | 2653359.5169 | 1235403.4969
5 | 2653393.173 | 1235388.8653
6 | 2653375.1254 | 1235421.0644
7 | 2653357.5616 | 1235313.1056
8 | 2653375.1541 | 1235308.1394
9 | 2653339.2865 | 1235406.029
10 | 2653420.0076 | 1235366.4393
11 | 2653349.6057 | 1235311.568
12 | 2653369.8197 | 1235274.1609
13 | 2653334.6009 | 1235419.4383
14 | 2653452.1894 | 1235378.4845
15 | 2653308.9033 | 1235304.3194
16 | 2653369.6294 | 1235248.5729
17 | 2653457.4488 | 1235290.5378
18 | 2653452.5088 | 1235298.142
19 | 2653454.4582 | 1235343.3349
20 | 2653471.9237 | 1235264.7216
21 | 2653290.346 | 1235402.4211
22 | 2653267.0405 | 1235393.5176
23 | 2653280.9915 | 1235424.6391
24 | 2653327.6479 | 1235439.7158
25 | 2653415.999 | 1235405.4536
26 | 2653413.5781 | 1235417.4034
27 | 2653453.6897 | 1235356.9014
28 | 2653449.7353 | 1235412.157
29 | 2653274.121 | 1235376.0748
30 | 2653227.9338 | 1235378.9305
31 | 2653278.2968 | 1235431.0393
32 | 2653274.4883 | 1235375.1699
33 | 2653213.1502 | 1235369.6529
34 | 2653170.1736 | 1235578.6314
35 | 2652960.6931 | 1235510.6204
36 | 2652966.659 | 1235518.8927
37 | 2652979.123 | 1235530.7949
38 | 2653055.5475 | 1235599.0038
39 | 2653067.924 | 1235601.1465
40 | 2653215.4215 | 1235331.7491
41 | 2653296.0994 | 1235302.6748
42 | 2653557.4897 | 1235291.7421
43 | 2653556.7825 | 1235296.8532
44 | 2653554.1548 | 1235315.8436
45 | 2653477.2395 | 1235249.3447
46 | 2653479.9824 | 1235261.9926
47 | 2653487.7957 | 1235298.0208
48 | 2653554.0054 | 1235316.9232
49 | 2653552.4137 | 1235338.7112
50 | 2653498.0023 | 1235326.2659
51 | 2653552.3822 | 1235339.5716
52 | 2653298.699 | 1235232.52
53 | 2653297.8954 | 1235254.2174
54 | 2653299.305 | 1235216.1587
55 | 2653297.2476 | 1235271.7095
56 | 2653299.6958 | 1235205.5683
57 | 2653274.7883 | 1235215.6497
58 | 2653296.2088 | 1235299.7628
59 | 2653284.8107 | 1235271.0199
60 | 2653268.7825 | 1235270.1311
61 | 2653234.9304 | 1235293.8126
62 | 2653231.4559 | 1235293.4753
63 | 2653292.8561 | 1235329.2963
64 | 2653268.2179 | 1235281.3354
65 | 2653269.1347 | 1235257.996
66 | 2653472.3714 | 1235449.1305
67 | 2653420.4612 | 1235422.4812
68 | 2653479.6673 | 1235453.8322
69 | 2653509.3509 | 1235357.2579
70 | 2653506.8883 | 1235387.0791
71 | 2653502.5719 | 1235394.5777
72 | 2653403.1009 | 1235446.5595
73 | 2653395.9646 | 1235462.7381
74 | 2653389.3244 | 1235477.7918
75 | 2653384.7582 | 1235488.1437
76 | 2653291.3954 | 1235333.5193
77 | 2653303.5899 | 1235333.292
78 | 2653218.2487 | 1235292.1928
79 | 2653221.4579 | 1235247.3669
80 | 2653228.0808 | 1235207.5228
81 | 2653240.6473 | 1235164.0144
82 | 2653231.6931 | 1235113.5866
83 | 2653218.5748 | 1235118.9059
84 | 2653192.3346 | 1235186.5926
85 | 2653282.8239 | 1235354.6351
86 | 2653312.8298 | 1235336.7316
87 | 2653324.808 | 1235341.1905
88 | 2653275.844 | 1235329.9058
89 | 2653267.1069 | 1235327.8757
90 | 2653269.4396 | 1235247.489
91 | 2653375.569 | 1235316.5856

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1