## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4135-5_1_3_node_159 | 0.4 | n |  | TRUE
1 | bus_LV_4135-5_1_3_node_158 | 0.4 | n |  | TRUE
2 | bus_LV_4135-5_1_3_node_10 | 0.4 | n |  | TRUE
3 | bus_LV_4135-5_1_3_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_4135-5_1_3_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_4135-5_1_3_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_4135-5_1_3_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_4135-5_1_3_node_121 | 0.4 | n |  | TRUE
8 | bus_LV_4135-5_1_3_node_42 | 0.4 | n |  | TRUE
9 | bus_LV_4135-5_1_3_node_122 | 0.4 | n |  | TRUE
10 | bus_LV_4135-5_1_3_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_4135-5_1_3_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_4135-5_1_3_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_4135-5_1_3_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_4135-5_1_3_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_4135-5_1_3_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_4135-5_1_3_node_140 | 0.4 | n |  | TRUE
17 | bus_LV_4135-5_1_3_node_52 | 0.4 | n |  | TRUE
18 | bus_LV_4135-5_1_3_node_68 | 0.4 | n |  | TRUE
19 | bus_LV_4135-5_1_3_node_119 | 0.4 | n |  | TRUE
20 | bus_LV_4135-5_1_3_node_49 | 0.4 | n |  | TRUE
21 | bus_LV_4135-5_1_3_node_69 | 0.4 | n |  | TRUE
22 | bus_LV_4135-5_1_3_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_4135-5_1_3_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_4135-5_1_3_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_4135-5_1_3_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_4135-5_1_3_node_73 | 0.4 | n |  | TRUE
27 | bus_LV_4135-5_1_3_node_70 | 0.4 | n |  | TRUE
28 | bus_LV_4135-5_1_3_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_4135-5_1_3_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_4135-5_1_3_node_163 | 0.4 | n |  | TRUE
31 | bus_LV_4135-5_1_3_node_137 | 0.4 | n |  | TRUE
32 | bus_LV_4135-5_1_3_node_139 | 0.4 | n |  | TRUE
33 | bus_LV_4135-5_1_3_node_71 | 0.4 | n |  | TRUE
34 | bus_LV_4135-5_1_3_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_4135-5_1_3_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_4135-5_1_3_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_4135-5_1_3_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_4135-5_1_3_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_4135-5_1_3_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_4135-5_1_3_node_154 | 0.4 | n |  | TRUE
41 | bus_LV_4135-5_1_3_node_138 | 0.4 | n |  | TRUE
42 | bus_LV_4135-5_1_3_node_155 | 0.4 | n |  | TRUE
43 | bus_LV_4135-5_1_3_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_4135-5_1_3_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_4135-5_1_3_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_4135-5_1_3_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_4135-5_1_3_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_4135-5_1_3_node_98 | 0.4 | n |  | TRUE
49 | bus_LV_4135-5_1_3_node_136 | 0.4 | n |  | TRUE
50 | bus_LV_4135-5_1_3_node_99 | 0.4 | n |  | TRUE
51 | bus_LV_4135-5_1_3_node_103 | 0.4 | n |  | TRUE
52 | bus_LV_4135-5_1_3_node_101 | 0.4 | n |  | TRUE
53 | bus_LV_4135-5_1_3_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_4135-5_1_3_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_4135-5_1_3_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_4135-5_1_3_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_4135-5_1_3_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_4135-5_1_3_node_143 | 0.4 | n |  | TRUE
59 | bus_LV_4135-5_1_3_node_87 | 0.4 | n |  | TRUE
60 | bus_LV_4135-5_1_3_node_157 | 0.4 | n |  | TRUE
61 | bus_LV_4135-5_1_3_node_85 | 0.4 | n |  | TRUE
62 | bus_LV_4135-5_1_3_node_86 | 0.4 | n |  | TRUE
63 | bus_LV_4135-5_1_3_node_97 | 0.4 | n |  | TRUE
64 | bus_LV_4135-5_1_3_node_95 | 0.4 | n |  | TRUE
65 | bus_LV_4135-5_1_3_node_93 | 0.4 | n |  | TRUE
66 | bus_LV_4135-5_1_3_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_4135-5_1_3_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_4135-5_1_3_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_4135-5_1_3_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_4135-5_1_3_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_4135-5_1_3_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_4135-5_1_3_node_102 | 0.4 | n |  | TRUE
73 | bus_LV_4135-5_1_3_node_126 | 0.4 | n |  | TRUE
74 | bus_LV_4135-5_1_3_node_152 | 0.4 | n |  | TRUE
75 | bus_LV_4135-5_1_3_node_100 | 0.4 | n |  | TRUE
76 | bus_LV_4135-5_1_3_node_125 | 0.4 | n |  | TRUE
77 | bus_LV_4135-5_1_3_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_4135-5_1_3_node_96 | 0.4 | n |  | TRUE
79 | bus_LV_4135-5_1_3_node_94 | 0.4 | n |  | TRUE
80 | bus_LV_4135-5_1_3_node_118 | 0.4 | n |  | TRUE
81 | bus_LV_4135-5_1_3_node_116 | 0.4 | n |  | TRUE
82 | bus_LV_4135-5_1_3_node_117 | 0.4 | n |  | TRUE
83 | bus_LV_4135-5_1_3_node_153 | 0.4 | n |  | TRUE
84 | bus_LV_4135-5_1_3_node_156 | 0.4 | n |  | TRUE
85 | bus_LV_4135-5_1_3_node_127 | 0.4 | n |  | TRUE
86 | bus_LV_4135-5_1_3_node_128 | 0.4 | n |  | TRUE
87 | bus_LV_4135-5_1_3_node_129 | 0.4 | n |  | TRUE
88 | bus_LV_4135-5_1_3_node_130 | 0.4 | n |  | TRUE
89 | bus_LV_4135-5_1_3_node_131 | 0.4 | n |  | TRUE
90 | bus_MV_0_node_17 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4135-5_1_3_load_159 | 0 | 0.0019752 | 0.00049503 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4135-5_1_3_load_158 | 1 | 0.0019773 | 0.00049556 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4135-5_1_3_load_10 | 2 | 0.00049569 | 0.00012423 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4135-5_1_3_load_11 | 3 | 0.00037777 | 9.4679e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4135-5_1_3_load_12 | 4 | 0.00033403 | 8.3717e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4135-5_1_3_load_13 | 5 | 0.00025513 | 6.3943e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4135-5_1_3_load_14 | 6 | 0.00067204 | 0.00016843 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4135-5_1_3_load_121 | 7 | 0.00040072 | 0.00010043 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4135-5_1_3_load_42 | 8 | 0.00061636 | 0.00015448 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4135-5_1_3_load_15 | 10 | 0.00070823 | 0.0001775 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4135-5_1_3_load_16 | 11 | 0.00052126 | 0.00013064 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4135-5_1_3_load_19 | 14 | 0.00024995 | 6.2644e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4135-5_1_3_load_20 | 15 | 0.00057195 | 0.00014335 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4135-5_1_3_load_140 | 16 | 0.00091147 | 0.00022843 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4135-5_1_3_load_52 | 17 | 0.00028546 | 7.1542e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4135-5_1_3_load_68 | 18 | 0.00034732 | 8.7046e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4135-5_1_3_load_119 | 19 | 0.001014 | 0.00025414 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4135-5_1_3_load_69 | 21 | 0.00055279 | 0.00013854 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4135-5_1_3_load_21 | 22 | 0.00057794 | 0.00014485 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4135-5_1_3_load_26 | 25 | 0.00065915 | 0.0001652 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4135-5_1_3_load_73 | 26 | 0.00073852 | 0.00018509 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4135-5_1_3_load_70 | 27 | 0.00040008 | 0.00010027 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4135-5_1_3_load_23 | 28 | 0.00033016 | 8.2747e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4135-5_1_3_load_163 | 30 | 0.0006228 | 0.00015609 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4135-5_1_3_load_137 | 31 | 0.00028914 | 7.2465e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4135-5_1_3_load_139 | 32 | 0.0002293 | 5.7468e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4135-5_1_3_load_71 | 33 | 0.0003838 | 9.619e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4135-5_1_3_load_32 | 34 | 0.0023305 | 0.00058409 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4135-5_1_3_load_33 | 35 | 0.0021432 | 0.00053715 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4135-5_1_3_load_35 | 37 | 0.0030172 | 0.00075618 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4135-5_1_3_load_37 | 39 | 0.00034604 | 8.6725e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4135-5_1_3_load_154 | 40 | 0.00084841 | 0.00021263 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4135-5_1_3_load_47 | 43 | 0.00041991 | 0.00010524 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4135-5_1_3_load_50 | 45 | 0.0016405 | 0.00041114 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4135-5_1_3_load_51 | 46 | 0.00030404 | 7.6201e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4135-5_1_3_load_53 | 47 | 0.00030423 | 7.6247e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4135-5_1_3_load_98 | 48 | 0.0019303 | 0.00048379 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4135-5_1_3_load_136 | 49 | 0.00046175 | 0.00011573 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4135-5_1_3_load_99 | 50 | 0.0010163 | 0.0002547 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4135-5_1_3_load_103 | 51 | 0.00055355 | 0.00013873 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4135-5_1_3_load_101 | 52 | 0.00051133 | 0.00012815 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4135-5_1_3_load_54 | 53 | 0.0015944 | 0.0003996 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4135-5_1_3_load_55 | 54 | 0.00062675 | 0.00015708 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4135-5_1_3_load_56 | 55 | 0.001375 | 0.0003446 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4135-5_1_3_load_58 | 57 | 0.0004215 | 0.00010564 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4135-5_1_3_load_143 | 58 | 0.00070556 | 0.00017683 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4135-5_1_3_load_157 | 60 | 0.00058213 | 0.0001459 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4135-5_1_3_load_85 | 61 | 0.0032388 | 0.00081171 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4135-5_1_3_load_95 | 64 | 0.00063729 | 0.00015972 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4135-5_1_3_load_93 | 65 | 0.0038635 | 0.00096827 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4135-5_1_3_load_62 | 66 | 0.0013389 | 0.00033557 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4135-5_1_3_load_63 | 67 | 0.00092957 | 0.00023297 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4135-5_1_3_load_65 | 69 | 0.0010003 | 0.0002507 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4135-5_1_3_load_67 | 71 | 0.00032777 | 8.2147e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4135-5_1_3_load_102 | 72 | 0.00074278 | 0.00018616 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4135-5_1_3_load_126 | 73 | 0.0014435 | 0.00036177 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4135-5_1_3_load_152 | 74 | 0.0015423 | 0.00038654 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4135-5_1_3_load_100 | 75 | 0.0010024 | 0.00025123 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4135-5_1_3_load_125 | 76 | 0.00033475 | 8.3896e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4135-5_1_3_load_72 | 77 | 0.00029594 | 7.4169e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4135-5_1_3_load_94 | 79 | 0.00058718 | 0.00014716 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4135-5_1_3_load_118 | 80 | 0.00079638 | 0.00019959 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4135-5_1_3_load_116 | 81 | 0.00051271 | 0.0001285 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4135-5_1_3_load_117 | 82 | 0.00062619 | 0.00015694 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4135-5_1_3_load_153 | 83 | 0.00018515 | 4.6402e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4135-5_1_3_load_127 | 85 | 0.00076072 | 0.00019066 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4135-5_1_3_load_128 | 86 | 0.00062269 | 0.00015606 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4135-5_1_3_load_129 | 87 | 0.0012159 | 0.00030473 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4135-5_1_3_load_130 | 88 | 0.00044364 | 0.00011119 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4135-5_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.068547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4135-5_1_3_line_1 | NAYY 4x150 SE | 1 | 42 | 0.03241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4135-5_1_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.027856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4135-5_1_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0051592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4135-5_1_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0091206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4135-5_1_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.012288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4135-5_1_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.096594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4135-5_1_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0042453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4135-5_1_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.057072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4135-5_1_3_line_9 | NAYY 4x150 SE | 9 | 83 | 0.019202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4135-5_1_3_line_10 | NAYY 4x150 SE | 10 | 11 | 0.0028948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4135-5_1_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.059311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4135-5_1_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.016363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4135-5_1_3_line_13 | NAYY 4x150 SE | 12 | 14 | 0.076068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4135-5_1_3_line_14 | NAYY 4x150 SE | 12 | 15 | 0.087906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4135-5_1_3_line_15 | NAYY 4x150 SE | 13 | 16 | 0.032987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4135-5_1_3_line_16 | NAYY 4x150 SE | 14 | 17 | 0.0036163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4135-5_1_3_line_17 | NAYY 4x150 SE | 15 | 18 | 0.0037446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4135-5_1_3_line_18 | NAYY 4x150 SE | 16 | 19 | 0.021863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4135-5_1_3_line_19 | NAYY 4x150 SE | 17 | 20 | 0.051996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4135-5_1_3_line_20 | NAYY 4x150 SE | 18 | 21 | 0.022714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4135-5_1_3_line_21 | NAYY 4x150 SE | 19 | 77 | 0.019166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4135-5_1_3_line_22 | NAYY 4x150 SE | 20 | 47 | 0.023197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4135-5_1_3_line_23 | NAYY 4x150 SE | 20 | 43 | 0.0049541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4135-5_1_3_line_24 | NAYY 4x150 SE | 21 | 38 | 0.0030061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4135-5_1_3_line_25 | NAYY 4x150 SE | 22 | 23 | 0.035731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4135-5_1_3_line_26 | NAYY 4x150 SE | 23 | 24 | 0.072612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4135-5_1_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.030184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4135-5_1_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.02789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4135-5_1_3_line_29 | NAYY 4x150 SE | 24 | 27 | 0.035558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4135-5_1_3_line_30 | NAYY 4x150 SE | 26 | 32 | 0.010774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4135-5_1_3_line_31 | NAYY 4x150 SE | 27 | 33 | 0.019476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4135-5_1_3_line_32 | NAYY 4x150 SE | 28 | 29 | 0.092436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4135-5_1_3_line_33 | NAYY 4x150 SE | 29 | 30 | 0.088055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4135-5_1_3_line_34 | NAYY 4x150 SE | 30 | 31 | 0.011407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4135-5_1_3_line_35 | NAYY 4x150 SE | 31 | 49 | 0.032265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4135-5_1_3_line_36 | NAYY 4x150 SE | 32 | 78 | 0.20528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4135-5_1_3_line_37 | NAYY 4x150 SE | 33 | 77 | 0.03839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4135-5_1_3_line_38 | NAYY 4x150 SE | 34 | 35 | 0.0009085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4135-5_1_3_line_39 | NAYY 4x150 SE | 34 | 36 | 0.027313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4135-5_1_3_line_40 | NAYY 4x150 SE | 35 | 37 | 0.080621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4135-5_1_3_line_41 | NAYY 4x150 SE | 36 | 38 | 0.028606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4135-5_1_3_line_42 | NAYY 4x150 SE | 36 | 39 | 0.0095175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4135-5_1_3_line_43 | NAYY 4x150 SE | 38 | 40 | 0.030234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4135-5_1_3_line_44 | NAYY 4x150 SE | 40 | 41 | 0.037392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4135-5_1_3_line_45 | NAYY 4x150 SE | 41 | 42 | 0.005843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4135-5_1_3_line_46 | NAYY 4x150 SE | 41 | 89 | 0.080792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4135-5_1_3_line_47 | NAYY 4x150 SE | 43 | 44 | 0.051741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4135-5_1_3_line_48 | NAYY 4x150 SE | 44 | 45 | 0.039858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4135-5_1_3_line_49 | NAYY 4x150 SE | 44 | 46 | 0.0033932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4135-5_1_3_line_50 | NAYY 4x150 SE | 45 | 48 | 0.078636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4135-5_1_3_line_51 | NAYY 4x150 SE | 46 | 49 | 0.073365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4135-5_1_3_line_52 | NAYY 4x150 SE | 48 | 50 | 0.066418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4135-5_1_3_line_53 | NAYY 4x150 SE | 50 | 80 | 0.041111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4135-5_1_3_line_54 | NAYY 4x150 SE | 51 | 52 | 0.051329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4135-5_1_3_line_55 | NAYY 4x150 SE | 52 | 75 | 0.03541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4135-5_1_3_line_56 | NAYY 4x150 SE | 53 | 54 | 0.05031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4135-5_1_3_line_57 | NAYY 4x150 SE | 53 | 55 | 0.013459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4135-5_1_3_line_58 | NAYY 4x150 SE | 54 | 56 | 0.13999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4135-5_1_3_line_59 | NAYY 4x150 SE | 55 | 57 | 0.01391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4135-5_1_3_line_60 | NAYY 4x150 SE | 56 | 58 | 0.030374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4135-5_1_3_line_61 | NAYY 4x150 SE | 57 | 59 | 0.1773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4135-5_1_3_line_62 | NAYY 4x150 SE | 58 | 60 | 0.0049117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4135-5_1_3_line_63 | NAYY 4x150 SE | 59 | 63 | 0.15961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4135-5_1_3_line_64 | NAYY 4x150 SE | 59 | 62 | 0.10894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4135-5_1_3_line_65 | NAYY 4x150 SE | 60 | 84 | 0.14432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4135-5_1_3_line_66 | NAYY 4x150 SE | 61 | 62 | 0.0093806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4135-5_1_3_line_67 | NAYY 4x150 SE | 63 | 64 | 0.068824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4135-5_1_3_line_68 | NAYY 4x150 SE | 64 | 65 | 0.021632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4135-5_1_3_line_69 | NAYY 4x150 SE | 65 | 79 | 0.0033302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4135-5_1_3_line_70 | NAYY 4x150 SE | 66 | 67 | 0.028658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4135-5_1_3_line_71 | NAYY 4x150 SE | 66 | 68 | 0.0099303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4135-5_1_3_line_72 | NAYY 4x150 SE | 67 | 69 | 0.016668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4135-5_1_3_line_73 | NAYY 4x150 SE | 68 | 70 | 0.010639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4135-5_1_3_line_74 | NAYY 4x150 SE | 68 | 71 | 0.04591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4135-5_1_3_line_75 | NAYY 4x150 SE | 69 | 72 | 0.024485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4135-5_1_3_line_76 | NAYY 4x150 SE | 70 | 73 | 0.033468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4135-5_1_3_line_77 | NAYY 4x150 SE | 70 | 74 | 0.01482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4135-5_1_3_line_78 | NAYY 4x150 SE | 72 | 75 | 0.015716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4135-5_1_3_line_79 | NAYY 4x150 SE | 73 | 76 | 0.024919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4135-5_1_3_line_80 | NAYY 4x150 SE | 76 | 85 | 0.010212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4135-5_1_3_line_81 | NAYY 4x150 SE | 78 | 79 | 0.013987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4135-5_1_3_line_82 | NAYY 4x150 SE | 80 | 81 | 0.013337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4135-5_1_3_line_83 | NAYY 4x150 SE | 81 | 82 | 0.13335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4135-5_1_3_line_84 | NAYY 4x150 SE | 83 | 84 | 0.011693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4135-5_1_3_line_85 | NAYY 4x150 SE | 85 | 86 | 0.043718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4135-5_1_3_line_86 | NAYY 4x150 SE | 86 | 87 | 0.028107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4135-5_1_3_line_87 | NAYY 4x150 SE | 87 | 88 | 0.0037838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4135-5_1_3_line_88 | NAYY 4x150 SE | 88 | 89 | 0.015355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4135-5_1_3_trafo_17 | 0.25 MVA 20/0.4 kV | 90 | 12 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2653113.8374 | 1236434.9109 | 2653101.6319 | 1236438.3374 | 2653071.0105 | 1236450.0604 | 2653048.3151 | 1236454.2625
1 | 2653017.4908 | 1236461.1234 | 2653022.8851 | 1236456.9688 | 2653041.5652 | 1236455.5123 | 2653048.3151 | 1236454.2625
2 | 2652988.1671 | 1236138.7164 | 2652999.1231 | 1236113.1057
3 | 2652986.1379 | 1236143.4598 | 2652986.1379 | 1236143.4598 | 2652988.1671 | 1236138.7164
4 | 2653002.7103 | 1236104.7202 | 2652999.1231 | 1236113.1057
5 | 2652986.1379 | 1236143.4598 | 2652997.878 | 1236147.087
6 | 2653002.7103 | 1236104.7202 | 2653040.7021 | 1236015.9109
7 | 2652997.878 | 1236147.087 | 2653001.9342 | 1236148.3402
8 | 2653009.5922 | 1235980.2075 | 2653015.1709 | 1235985.116 | 2653023.4348 | 1235988.4585 | 2653040.4227 | 1235995.3145 | 2653043.9681 | 1235999.9714 | 2653043.6836 | 1236008.9414 | 2653040.7021 | 1236015.9109
9 | 2653009.5922 | 1235980.2075 | 2652992.5317 | 1235989.02
10 | 2652811.1955 | 1236328.39 | 2652813.446 | 1236330.2108 | 2652813.446 | 1236330.2108
11 | 2652849.9945 | 1236376.9215 | 2652834.57 | 1236356.8825 | 2652813.446 | 1236330.2108
12 | 2652798.1122 | 1236318.6671 | 2652800.8019 | 1236319.9807 | 2652811.1955 | 1236328.39
13 | 2652849.9945 | 1236376.9215 | 2652832.6322 | 1236397.803 | 2652827.6758 | 1236408.0322 | 2652826.7413 | 1236421.2214 | 2652825.118 | 1236445.4894
14 | 2652849.9945 | 1236376.9215 | 2652873.5886 | 1236387.8829 | 2652927.4805 | 1236413.2234 | 2652929.5517 | 1236414.3077
15 | 2652798.1122 | 1236318.6671 | 2652785.5679 | 1236312.5295 | 2652767.8089 | 1236305.7138
16 | 2652824.022 | 1236448.9356 | 2652825.118 | 1236445.4894
17 | 2652929.5517 | 1236414.3077 | 2652932.8692 | 1236416.0443
18 | 2652767.8089 | 1236305.7138 | 2652747.3977 | 1236297.8802
19 | 2652786.5726 | 1236480.4696 | 2652798.3199 | 1236477.4831 | 2652810.0688 | 1236470.9166 | 2652816.4032 | 1236463.9795 | 2652821.8564 | 1236455.7448 | 2652824.022 | 1236448.9356
20 | 2652952.993 | 1236426.5787 | 2652932.8692 | 1236416.0443
21 | 2652729.8411 | 1236290.2034 | 2652744.2271 | 1236296.6633 | 2652747.3977 | 1236297.8802
22 | 2652786.5726 | 1236480.4696 | 2652796.1021 | 1236485.2351 | 2652806.0844 | 1236492.8287
23 | 2652786.5726 | 1236480.4696 | 2652781.653 | 1236481.0534
24 | 2652955.6562 | 1236427.9728 | 2652952.993 | 1236426.5787
25 | 2652602.5521 | 1236293.2502 | 2652600.6733 | 1236299.482 | 2652600.1622 | 1236318.7455 | 2652602.4358 | 1236328.4338
26 | 2652649.9123 | 1236242.1363 | 2652643.3722 | 1236244.1019 | 2652636.7657 | 1236246.7228 | 2652629.7156 | 1236250.7297 | 2652616.2072 | 1236269.6779 | 2652603.8463 | 1236288.9477 | 2652602.5521 | 1236293.2502
27 | 2652602.5521 | 1236293.2502 | 2652594.868 | 1236296.2285 | 2652584.3373 | 1236300.2268 | 2652578.8007 | 1236302.5238 | 2652574.1185 | 1236302.6705
28 | 2652649.9123 | 1236242.1363 | 2652660.1703 | 1236236.4791 | 2652666.0272 | 1236233.0621 | 2652670.2983 | 1236225.0058 | 2652670.4129 | 1236224.7544
29 | 2652649.9123 | 1236242.1363 | 2652667.1159 | 1236251.9395 | 2652679.9022 | 1236261.1484
30 | 2652670.4129 | 1236224.7544 | 2652674.8822 | 1236214.951 | 2652674.8822 | 1236214.951
31 | 2652679.9022 | 1236261.1484 | 2652683.5899 | 1236263.8043 | 2652693.1106 | 1236269.6036 | 2652696.3487 | 1236271.56
32 | 2652633.156 | 1236674.5908 | 2652629.0889 | 1236657.1101 | 2652620.2613 | 1236635.4734 | 2652616.6089 | 1236629.2482 | 2652613.7083 | 1236615.0244 | 2652617.4313 | 1236588.5068 | 2652617.6298 | 1236585.9055
33 | 2652633.156 | 1236674.5908 | 2652635.7504 | 1236660.1822 | 2652636.5153 | 1236639.6089 | 2652639.7705 | 1236620.6365 | 2652644.9065 | 1236605.461 | 2652656.6567 | 1236592.4163
34 | 2652656.6567 | 1236592.4163 | 2652664.2911 | 1236583.9409
35 | 2652685.8855 | 1236559.9674 | 2652664.2911 | 1236583.9409
36 | 2652674.8822 | 1236214.951 | 2652569.4054 | 1236038.8365
37 | 2652696.3487 | 1236271.56 | 2652719.5741 | 1236285.593 | 2652729.8411 | 1236290.2034
38 | 2653009.7675 | 1236416.0874 | 2653010.6745 | 1236416.0355
39 | 2652983.6099 | 1236421.7957 | 2652993.0577 | 1236417.0435 | 2653009.7675 | 1236416.0874
40 | 2653090.2184 | 1236413.2636 | 2653073.7656 | 1236417.7974 | 2653053.8094 | 1236420.6322 | 2653012.0524 | 1236415.9566 | 2653010.6745 | 1236416.0355
41 | 2652983.6099 | 1236421.7957 | 2652972.3214 | 1236423.3739 | 2652955.6562 | 1236427.9728
42 | 2652983.6099 | 1236421.7957 | 2652989.2271 | 1236428.2833 | 2652989.7722 | 1236429.0442
43 | 2652955.6562 | 1236427.9728 | 2652961.6438 | 1236431.106 | 2652981.3045 | 1236443.9359
44 | 2653012.6192 | 1236464.3709 | 2652981.3045 | 1236443.9359
45 | 2653012.6192 | 1236464.3709 | 2653017.4908 | 1236461.1234
46 | 2653012.6192 | 1236464.3709 | 2653045.6078 | 1236485.7902 | 2653084.0935 | 1236501.6997
47 | 2652737.2579 | 1236502.9354 | 2652749.2403 | 1236489.6553 | 2652765.303 | 1236482.9935 | 2652781.653 | 1236481.0534
48 | 2652737.2579 | 1236502.9354 | 2652750.0641 | 1236522.9954 | 2652759.4294 | 1236536.0405
49 | 2652737.2579 | 1236502.9354 | 2652734.9869 | 1236505.4565
50 | 2652790.9004 | 1236604.2853 | 2652782.189 | 1236600.82 | 2652778.0634 | 1236593.3674 | 2652771.0976 | 1236562.3632 | 2652763.1663 | 1236541.2457 | 2652759.4294 | 1236536.0405
51 | 2652685.8855 | 1236559.9674 | 2652734.9869 | 1236505.4565
52 | 2652852.8129 | 1236628.3263 | 2652831.0809 | 1236619.8667 | 2652809.2344 | 1236611.5783 | 2652790.9004 | 1236604.2853
53 | 2652852.8129 | 1236628.3263 | 2652858.294 | 1236630.46 | 2652868.6581 | 1236634.0878 | 2652887.246 | 1236649.6596
54 | 2652914.7972 | 1236602.3505 | 2652894.8121 | 1236571.5799 | 2652884.8985 | 1236560.8098
55 | 2652936.8471 | 1236629.9855 | 2652919.6379 | 1236609.8035 | 2652914.7972 | 1236602.3505
56 | 2652736.9 | 1235857.0912 | 2652746.7362 | 1235862.3708 | 2652755.3297 | 1235868.6845 | 2652767.0964 | 1235878.9845 | 2652774.6522 | 1235889.3724
57 | 2652723.9301 | 1235853.4949 | 2652736.9 | 1235857.0912 | 2652736.9 | 1235857.0912
58 | 2652829.9425 | 1236015.2976 | 2652811.2185 | 1235989.2032 | 2652799.255 | 1235971.2853 | 2652794.6735 | 1235961.4272 | 2652784.136 | 1235908.1991 | 2652778.3779 | 1235894.4946 | 2652774.6522 | 1235889.3724
59 | 2652723.9301 | 1235853.4949 | 2652718.8808 | 1235852.0948 | 2652710.375 | 1235850.4132
60 | 2652829.9425 | 1236015.2976 | 2652843.7393 | 1236033.8212 | 2652849.2195 | 1236038.6091
61 | 2652710.375 | 1235850.4132 | 2652539.5737 | 1235802.8644
62 | 2652853.2381 | 1236041.3974 | 2652850.7076 | 1236039.9093 | 2652849.2195 | 1236038.6091
63 | 2652507.1145 | 1235951.2292 | 2652522.8128 | 1235904.5932 | 2652534.4787 | 1235870.7077 | 2652535.0257 | 1235847.3641 | 2652534.4325 | 1235819.4519 | 2652531.3597 | 1235804.9487 | 2652539.5737 | 1235802.8644
64 | 2652433.6527 | 1235806.9763 | 2652452.1965 | 1235810.8758 | 2652474.082 | 1235815.1272 | 2652489.0891 | 1235816.7608 | 2652511.1062 | 1235812.975 | 2652531.3597 | 1235804.9487 | 2652539.5737 | 1235802.8644
65 | 2652981.4294 | 1235992.6312 | 2652968.9852 | 1235996.4227 | 2652938.9577 | 1236012.6102 | 2652900.2796 | 1236039.1608 | 2652889.4782 | 1236045.4466 | 2652878.9693 | 1236047.7768 | 2652868.2126 | 1236047.3364 | 2652859.327 | 1236044.9781 | 2652853.2381 | 1236041.3974
66 | 2652433.6527 | 1235806.9763 | 2652428.3861 | 1235799.2137
67 | 2652507.1145 | 1235951.2292 | 2652516.3499 | 1235968.8333 | 2652543.3157 | 1236001.8152 | 2652546.9689 | 1236006.9991
68 | 2652546.9689 | 1236006.9991 | 2652559.4297 | 1236024.681
69 | 2652559.4297 | 1236024.681 | 2652561.3481 | 1236027.4031
70 | 2653005.0493 | 1236660.3959 | 2652993.4083 | 1236666.9646 | 2652978.1176 | 1236667.1319
71 | 2653013.6978 | 1236655.5158 | 2653005.0493 | 1236660.3959
72 | 2652978.1176 | 1236667.1319 | 2652974.9369 | 1236667.1667 | 2652963.6972 | 1236659.712
73 | 2653013.6978 | 1236655.5158 | 2653020.212 | 1236647.0907
74 | 2653013.6978 | 1236655.5158 | 2653007.6013 | 1236679.0212 | 2653004.1497 | 1236700.3709
75 | 2652947.0445 | 1236641.9445 | 2652960.239 | 1236657.4183 | 2652963.6972 | 1236659.712
76 | 2653020.212 | 1236647.0907 | 2653024.0753 | 1236636.4293 | 2653031.8174 | 1236615.6996
77 | 2653020.212 | 1236647.0907 | 2653033.6461 | 1236653.3475
78 | 2652936.8471 | 1236629.9855 | 2652947.0445 | 1236641.9445
79 | 2653040.395 | 1236592.3049 | 2653038.7882 | 1236597.035 | 2653031.8174 | 1236615.6996
80 | 2653040.395 | 1236592.3049 | 2653043.6795 | 1236582.6357
81 | 2652569.4054 | 1236038.8365 | 2652561.3481 | 1236027.4031
82 | 2652897.8715 | 1236657.7159 | 2652888.5383 | 1236650.7422 | 2652887.246 | 1236649.6596
83 | 2652897.8715 | 1236657.7159 | 2652905.4051 | 1236663.3449 | 2652915.694 | 1236671.1527 | 2652906.3215 | 1236696.3857 | 2652890.3207 | 1236738.6263 | 2652892.6085 | 1236747.6636 | 2652887.8049 | 1236776.8946
84 | 2652981.4294 | 1235992.6312 | 2652991.4378 | 1235989.5851 | 2652992.5317 | 1235989.02
85 | 2653060.9382 | 1236542.8116 | 2653053.2963 | 1236554.3256 | 2653043.6795 | 1236582.6357
86 | 2653075.2964 | 1236518.6968 | 2653069.4643 | 1236529.9652 | 2653060.9382 | 1236542.8116
87 | 2653075.2964 | 1236518.6968 | 2653077.0357 | 1236515.3364
88 | 2653084.0935 | 1236501.6997 | 2653077.0357 | 1236515.3364

## bus_geodata
| x | y | coords
0 | 2653113.8374 | 1236434.9109
1 | 2653048.3151 | 1236454.2625
2 | 2652988.1671 | 1236138.7164
3 | 2652999.1231 | 1236113.1057
4 | 2652986.1379 | 1236143.4598
5 | 2653002.7103 | 1236104.7202
6 | 2652997.878 | 1236147.087
7 | 2653040.7021 | 1236015.9109
8 | 2653001.9342 | 1236148.3402
9 | 2653009.5922 | 1235980.2075
10 | 2652813.446 | 1236330.2108
11 | 2652811.1955 | 1236328.39
12 | 2652849.9945 | 1236376.9215
13 | 2652798.1122 | 1236318.6671
14 | 2652825.118 | 1236445.4894
15 | 2652929.5517 | 1236414.3077
16 | 2652767.8089 | 1236305.7138
17 | 2652824.022 | 1236448.9356
18 | 2652932.8692 | 1236416.0443
19 | 2652747.3977 | 1236297.8802
20 | 2652786.5726 | 1236480.4696
21 | 2652952.993 | 1236426.5787
22 | 2652602.4358 | 1236328.4338
23 | 2652602.5521 | 1236293.2502
24 | 2652649.9123 | 1236242.1363
25 | 2652574.1185 | 1236302.6705
26 | 2652670.4129 | 1236224.7544
27 | 2652679.9022 | 1236261.1484
28 | 2652617.6298 | 1236585.9055
29 | 2652633.156 | 1236674.5908
30 | 2652656.6567 | 1236592.4163
31 | 2652664.2911 | 1236583.9409
32 | 2652674.8822 | 1236214.951
33 | 2652696.3487 | 1236271.56
34 | 2653009.7675 | 1236416.0874
35 | 2653010.6745 | 1236416.0355
36 | 2652983.6099 | 1236421.7957
37 | 2653090.2184 | 1236413.2636
38 | 2652955.6562 | 1236427.9728
39 | 2652989.7722 | 1236429.0442
40 | 2652981.3045 | 1236443.9359
41 | 2653012.6192 | 1236464.3709
42 | 2653017.4908 | 1236461.1234
43 | 2652781.653 | 1236481.0534
44 | 2652737.2579 | 1236502.9354
45 | 2652759.4294 | 1236536.0405
46 | 2652734.9869 | 1236505.4565
47 | 2652806.0844 | 1236492.8287
48 | 2652790.9004 | 1236604.2853
49 | 2652685.8855 | 1236559.9674
50 | 2652852.8129 | 1236628.3263
51 | 2652884.8985 | 1236560.8098
52 | 2652914.7972 | 1236602.3504
53 | 2652736.9 | 1235857.0912
54 | 2652774.6522 | 1235889.3724
55 | 2652723.9301 | 1235853.4949
56 | 2652829.9425 | 1236015.2976
57 | 2652710.375 | 1235850.4132
58 | 2652849.2195 | 1236038.6091
59 | 2652539.5737 | 1235802.8644
60 | 2652853.2381 | 1236041.3974
61 | 2652428.3861 | 1235799.2137
62 | 2652433.6527 | 1235806.9763
63 | 2652507.1145 | 1235951.2292
64 | 2652546.9689 | 1236006.9991
65 | 2652559.4297 | 1236024.681
66 | 2653005.0493 | 1236660.3959
67 | 2652978.1175 | 1236667.1319
68 | 2653013.6978 | 1236655.5158
69 | 2652963.6972 | 1236659.712
70 | 2653020.212 | 1236647.0907
71 | 2653004.1497 | 1236700.3709
72 | 2652947.0445 | 1236641.9445
73 | 2653031.8174 | 1236615.6996
74 | 2653033.6461 | 1236653.3475
75 | 2652936.8471 | 1236629.9855
76 | 2653040.395 | 1236592.3049
77 | 2652729.8411 | 1236290.2034
78 | 2652569.4054 | 1236038.8365
79 | 2652561.3481 | 1236027.4031
80 | 2652887.246 | 1236649.6596
81 | 2652897.8715 | 1236657.7159
82 | 2652887.8049 | 1236776.8946
83 | 2652992.5317 | 1235989.02
84 | 2652981.4294 | 1235992.6312
85 | 2653043.6795 | 1236582.6357
86 | 2653060.9382 | 1236542.8116
87 | 2653075.2964 | 1236518.6968
88 | 2653077.0357 | 1236515.3364
89 | 2653084.0935 | 1236501.6997
90 | 2652849.9945 | 1236376.9215

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1