## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4142-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4142-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4142-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4142-3_0_3_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_4142-3_0_3_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_4142-3_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_4142-3_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_4142-3_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4142-3_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4142-3_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_4142-3_0_3_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_4142-3_0_3_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_4142-3_0_3_node_100 | 0.4 | n |  | TRUE
13 | bus_LV_4142-3_0_3_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_4142-3_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_4142-3_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_4142-3_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_4142-3_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_4142-3_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_4142-3_0_3_node_45 | 0.4 | n |  | TRUE
20 | bus_LV_4142-3_0_3_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_4142-3_0_3_node_54 | 0.4 | n |  | TRUE
22 | bus_LV_4142-3_0_3_node_50 | 0.4 | n |  | TRUE
23 | bus_LV_4142-3_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_4142-3_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_4142-3_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_4142-3_0_3_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_4142-3_0_3_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_4142-3_0_3_node_56 | 0.4 | n |  | TRUE
29 | bus_LV_4142-3_0_3_node_96 | 0.4 | n |  | TRUE
30 | bus_LV_4142-3_0_3_node_83 | 0.4 | n |  | TRUE
31 | bus_LV_4142-3_0_3_node_85 | 0.4 | n |  | TRUE
32 | bus_LV_4142-3_0_3_node_102 | 0.4 | n |  | TRUE
33 | bus_LV_4142-3_0_3_node_74 | 0.4 | n |  | TRUE
34 | bus_LV_4142-3_0_3_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_4142-3_0_3_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_4142-3_0_3_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_4142-3_0_3_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_4142-3_0_3_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_4142-3_0_3_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_4142-3_0_3_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_4142-3_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_4142-3_0_3_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_4142-3_0_3_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_4142-3_0_3_node_63 | 0.4 | n |  | TRUE
45 | bus_LV_4142-3_0_3_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_4142-3_0_3_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_4142-3_0_3_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_4142-3_0_3_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_4142-3_0_3_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_4142-3_0_3_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_4142-3_0_3_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_4142-3_0_3_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_4142-3_0_3_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_4142-3_0_3_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_4142-3_0_3_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_4142-3_0_3_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_4142-3_0_3_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_4142-3_0_3_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_4142-3_0_3_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_4142-3_0_3_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_4142-3_0_3_node_79 | 0.4 | n |  | TRUE
62 | bus_LV_4142-3_0_3_node_89 | 0.4 | n |  | TRUE
63 | bus_LV_4142-3_0_3_node_77 | 0.4 | n |  | TRUE
64 | bus_LV_4142-3_0_3_node_70 | 0.4 | n |  | TRUE
65 | bus_LV_4142-3_0_3_node_75 | 0.4 | n |  | TRUE
66 | bus_LV_4142-3_0_3_node_76 | 0.4 | n |  | TRUE
67 | bus_LV_4142-3_0_3_node_91 | 0.4 | n |  | TRUE
68 | bus_LV_4142-3_0_3_node_44 | 0.4 | n |  | TRUE
69 | bus_LV_4142-3_0_3_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_4142-3_0_3_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_4142-3_0_3_node_94 | 0.4 | n |  | TRUE
72 | bus_LV_4142-3_0_3_node_88 | 0.4 | n |  | TRUE
73 | bus_LV_4142-3_0_3_node_92 | 0.4 | n |  | TRUE
74 | bus_LV_4142-3_0_3_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_4142-3_0_3_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_4142-3_0_3_node_52 | 0.4 | n |  | TRUE
77 | bus_LV_4142-3_0_3_node_53 | 0.4 | n |  | TRUE
78 | bus_LV_4142-3_0_3_node_55 | 0.4 | n |  | TRUE
79 | bus_LV_4142-3_0_3_node_82 | 0.4 | n |  | TRUE
80 | bus_LV_4142-3_0_3_node_101 | 0.4 | n |  | TRUE
81 | bus_LV_4142-3_0_3_node_87 | 0.4 | n |  | TRUE
82 | bus_LV_4142-3_0_3_node_60 | 0.4 | n |  | TRUE
83 | bus_LV_4142-3_0_3_node_62 | 0.4 | n |  | TRUE
84 | bus_LV_4142-3_0_3_node_64 | 0.4 | n |  | TRUE
85 | bus_LV_4142-3_0_3_node_65 | 0.4 | n |  | TRUE
86 | bus_LV_4142-3_0_3_node_66 | 0.4 | n |  | TRUE
87 | bus_LV_4142-3_0_3_node_67 | 0.4 | n |  | TRUE
88 | bus_LV_4142-3_0_3_node_68 | 0.4 | n |  | TRUE
89 | bus_LV_4142-3_0_3_node_69 | 0.4 | n |  | TRUE
90 | bus_LV_4142-3_0_3_node_99 | 0.4 | n |  | TRUE
91 | bus_LV_4142-3_0_3_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_4142-3_0_3_node_90 | 0.4 | n |  | TRUE
93 | bus_LV_4142-3_0_3_node_72 | 0.4 | n |  | TRUE
94 | bus_LV_4142-3_0_3_node_78 | 0.4 | n |  | TRUE
95 | bus_LV_4142-3_0_3_node_80 | 0.4 | n |  | TRUE
96 | bus_LV_4142-3_0_3_node_95 | 0.4 | n |  | TRUE
97 | bus_LV_4142-3_0_3_node_98 | 0.4 | n |  | TRUE
98 | bus_MV_482_0_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4142-3_0_3_load_0 | 0 | 0.00045619 | 0.00011433 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4142-3_0_3_load_9 | 3 | 0.00015144 | 3.7953e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4142-3_0_3_load_8 | 4 | 0.0001197 | 2.9999e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4142-3_0_3_load_3 | 5 | 0.00046854 | 0.00011743 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4142-3_0_3_load_4 | 6 | 0.0020244 | 0.00050737 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4142-3_0_3_load_26 | 10 | 0.002139 | 0.00053607 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4142-3_0_3_load_24 | 11 | 0.0028647 | 0.00071796 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4142-3_0_3_load_100 | 12 | 0.0035757 | 0.00089616 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4142-3_0_3_load_10 | 14 | 0.0040441 | 0.0010136 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4142-3_0_3_load_11 | 15 | 0.0019384 | 0.00048581 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4142-3_0_3_load_12 | 16 | 0.0017638 | 0.00044205 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4142-3_0_3_load_45 | 19 | 0.0049159 | 0.001232 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4142-3_0_3_load_50 | 22 | 0.012973 | 0.0032513 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4142-3_0_3_load_15 | 23 | 0.0023111 | 0.00057921 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4142-3_0_3_load_16 | 24 | 0.0021976 | 0.00055077 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4142-3_0_3_load_17 | 25 | 0.0045517 | 0.0011408 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4142-3_0_3_load_18 | 26 | 0.0022217 | 0.00055681 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4142-3_0_3_load_19 | 27 | 0.0035447 | 0.00088837 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4142-3_0_3_load_96 | 29 | 0.001206 | 0.00030225 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4142-3_0_3_load_83 | 30 | 0.0014782 | 0.00037048 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4142-3_0_3_load_85 | 31 | 0.0034097 | 0.00085455 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4142-3_0_3_load_74 | 33 | 0.0012301 | 0.0003083 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4142-3_0_3_load_20 | 34 | 0.00041884 | 0.00010497 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4142-3_0_3_load_23 | 36 | 0.0025071 | 0.00062834 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4142-3_0_3_load_46 | 38 | 0.00044963 | 0.00011269 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4142-3_0_3_load_27 | 41 | 0.00089236 | 0.00022365 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4142-3_0_3_load_28 | 42 | 0.0012441 | 0.00031181 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4142-3_0_3_load_48 | 43 | 0.0019008 | 0.00047638 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4142-3_0_3_load_63 | 44 | 0.0011453 | 0.00028703 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4142-3_0_3_load_49 | 45 | 0.0019764 | 0.00049533 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4142-3_0_3_load_61 | 46 | 0.00080758 | 0.0002024 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4142-3_0_3_load_29 | 47 | 0.0034274 | 0.00085899 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4142-3_0_3_load_30 | 48 | 0.0024932 | 0.00062485 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4142-3_0_3_load_31 | 49 | 0.0026735 | 0.00067004 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4142-3_0_3_load_32 | 50 | 0.0037344 | 0.00093593 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4142-3_0_3_load_33 | 51 | 0.0050233 | 0.001259 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4142-3_0_3_load_41 | 52 | 0.0062435 | 0.0015648 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4142-3_0_3_load_42 | 53 | 0.0019164 | 0.00048029 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4142-3_0_3_load_43 | 55 | 0.0012093 | 0.00030309 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4142-3_0_3_load_34 | 56 | 0.0023962 | 0.00060054 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4142-3_0_3_load_35 | 57 | 0.00046709 | 0.00011706 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4142-3_0_3_load_36 | 58 | 0.0029675 | 0.00074372 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4142-3_0_3_load_37 | 59 | 0.00047587 | 0.00011926 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4142-3_0_3_load_79 | 61 | 0.0021256 | 0.00053272 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4142-3_0_3_load_89 | 62 | 0.0019756 | 0.00049514 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4142-3_0_3_load_77 | 63 | 0.0012252 | 0.00030707 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4142-3_0_3_load_75 | 65 | 0.00011206 | 2.8084e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4142-3_0_3_load_76 | 66 | 0.00048016 | 0.00012034 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4142-3_0_3_load_91 | 67 | 0.00545 | 0.0013659 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4142-3_0_3_load_59 | 70 | 0.00054492 | 0.00013657 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4142-3_0_3_load_88 | 72 | 0.006453 | 0.0016173 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4142-3_0_3_load_92 | 73 | 0.0014751 | 0.00036969 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4142-3_0_3_load_73 | 74 | 0.0013376 | 0.00033523 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4142-3_0_3_load_71 | 75 | 0.0029163 | 0.00073089 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4142-3_0_3_load_52 | 76 | 0.0027849 | 0.00069796 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4142-3_0_3_load_53 | 77 | 0.0022711 | 0.0005692 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4142-3_0_3_load_101 | 80 | 0.0037204 | 0.00093241 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4142-3_0_3_load_87 | 81 | 0.0028348 | 0.00071047 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4142-3_0_3_load_60 | 82 | 0.00043492 | 0.000109 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4142-3_0_3_load_62 | 83 | 0.00039726 | 9.9563e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4142-3_0_3_load_64 | 84 | 0.00043483 | 0.00010898 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4142-3_0_3_load_65 | 85 | 0.0018232 | 0.00045693 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4142-3_0_3_load_66 | 86 | 0.0031651 | 0.00079326 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4142-3_0_3_load_68 | 88 | 0.0013486 | 0.00033798 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4142-3_0_3_load_69 | 89 | 0.0020431 | 0.00051204 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4142-3_0_3_load_99 | 90 | 0.0028861 | 0.00072332 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4142-3_0_3_load_86 | 91 | 0.002706 | 0.0006782 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4142-3_0_3_load_90 | 92 | 0.001519 | 0.00038071 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4142-3_0_3_load_72 | 93 | 0.001727 | 0.00043283 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4142-3_0_3_load_78 | 94 | 0.0019546 | 0.00048987 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4142-3_0_3_load_80 | 95 | 0.0030386 | 0.00076156 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4142-3_0_3_load_95 | 96 | 0.0043215 | 0.0010831 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4142-3_0_3_load_98 | 97 | 0.0033349 | 0.00083581 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4142-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4142-3_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.18174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4142-3_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.10582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4142-3_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.03029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4142-3_0_3_line_4 | NAYY 4x150 SE | 4 | 9 | 0.053021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4142-3_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.00025762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4142-3_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.022404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4142-3_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.15202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4142-3_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.01517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4142-3_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.18673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4142-3_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.028664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4142-3_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.068743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4142-3_0_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.024837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4142-3_0_3_line_13 | NAYY 4x150 SE | 13 | 41 | 0.037486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4142-3_0_3_line_14 | NAYY 4x150 SE | 13 | 42 | 0.014039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4142-3_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.012886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4142-3_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.005386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4142-3_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.013763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4142-3_0_3_line_18 | NAYY 4x150 SE | 17 | 20 | 0.054366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4142-3_0_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.021969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4142-3_0_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.034351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4142-3_0_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.021817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4142-3_0_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.086256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4142-3_0_3_line_23 | NAYY 4x150 SE | 21 | 28 | 0.005563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4142-3_0_3_line_24 | NAYY 4x150 SE | 21 | 54 | 0.016603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4142-3_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.0094871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4142-3_0_3_line_26 | NAYY 4x150 SE | 23 | 25 | 0.015555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4142-3_0_3_line_27 | NAYY 4x150 SE | 24 | 26 | 0.0067261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4142-3_0_3_line_28 | NAYY 4x150 SE | 25 | 27 | 0.040878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4142-3_0_3_line_29 | NAYY 4x150 SE | 26 | 28 | 0.030337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4142-3_0_3_line_30 | NAYY 4x150 SE | 27 | 29 | 0.0096449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4142-3_0_3_line_31 | NAYY 4x150 SE | 27 | 30 | 0.060534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4142-3_0_3_line_32 | NAYY 4x150 SE | 28 | 31 | 0.029219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4142-3_0_3_line_33 | NAYY 4x150 SE | 29 | 32 | 0.18636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4142-3_0_3_line_34 | NAYY 4x150 SE | 30 | 33 | 0.023641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4142-3_0_3_line_35 | NAYY 4x150 SE | 32 | 97 | 0.023089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4142-3_0_3_line_36 | NAYY 4x150 SE | 33 | 93 | 0.020983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4142-3_0_3_line_37 | NAYY 4x150 SE | 34 | 35 | 0.069573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4142-3_0_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.014346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4142-3_0_3_line_39 | NAYY 4x150 SE | 36 | 40 | 0.11838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4142-3_0_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.18027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4142-3_0_3_line_41 | NAYY 4x150 SE | 37 | 39 | 0.28535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4142-3_0_3_line_42 | NAYY 4x150 SE | 38 | 59 | 0.016579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4142-3_0_3_line_43 | NAYY 4x150 SE | 39 | 65 | 0.023408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4142-3_0_3_line_44 | NAYY 4x150 SE | 39 | 40 | 0.030132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4142-3_0_3_line_45 | NAYY 4x150 SE | 41 | 43 | 0.029402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4142-3_0_3_line_46 | NAYY 4x150 SE | 42 | 44 | 0.011917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4142-3_0_3_line_47 | NAYY 4x150 SE | 43 | 45 | 0.034615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4142-3_0_3_line_48 | NAYY 4x150 SE | 44 | 46 | 0.0071683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4142-3_0_3_line_49 | NAYY 4x150 SE | 45 | 74 | 0.040197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4142-3_0_3_line_50 | NAYY 4x150 SE | 46 | 82 | 0.0078324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4142-3_0_3_line_51 | NAYY 4x150 SE | 47 | 48 | 0.010479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4142-3_0_3_line_52 | NAYY 4x150 SE | 47 | 49 | 0.01881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4142-3_0_3_line_53 | NAYY 4x150 SE | 48 | 50 | 0.045923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4142-3_0_3_line_54 | NAYY 4x150 SE | 49 | 51 | 0.013466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4142-3_0_3_line_55 | NAYY 4x150 SE | 50 | 52 | 0.0078397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_4142-3_0_3_line_56 | NAYY 4x150 SE | 51 | 53 | 0.017961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4142-3_0_3_line_57 | NAYY 4x150 SE | 52 | 54 | 0.024682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_4142-3_0_3_line_58 | NAYY 4x150 SE | 53 | 55 | 0.0032154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4142-3_0_3_line_59 | NAYY 4x150 SE | 54 | 67 | 0.015099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4142-3_0_3_line_60 | NAYY 4x150 SE | 55 | 68 | 0.0087742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4142-3_0_3_line_61 | NAYY 4x150 SE | 56 | 57 | 0.03027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4142-3_0_3_line_62 | NAYY 4x150 SE | 56 | 58 | 0.06978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4142-3_0_3_line_63 | NAYY 4x150 SE | 57 | 59 | 0.010122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4142-3_0_3_line_64 | NAYY 4x150 SE | 58 | 60 | 0.017424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4142-3_0_3_line_65 | NAYY 4x150 SE | 60 | 61 | 0.048829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4142-3_0_3_line_66 | NAYY 4x150 SE | 60 | 62 | 0.023678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4142-3_0_3_line_67 | NAYY 4x150 SE | 61 | 63 | 0.017474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4142-3_0_3_line_68 | NAYY 4x150 SE | 62 | 64 | 0.014727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4142-3_0_3_line_69 | NAYY 4x150 SE | 63 | 94 | 0.00946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4142-3_0_3_line_70 | NAYY 4x150 SE | 64 | 92 | 0.031946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4142-3_0_3_line_71 | NAYY 4x150 SE | 64 | 67 | 0.017766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4142-3_0_3_line_72 | NAYY 4x150 SE | 64 | 87 | 0.041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4142-3_0_3_line_73 | NAYY 4x150 SE | 65 | 66 | 0.017481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4142-3_0_3_line_74 | NAYY 4x150 SE | 68 | 69 | 0.005358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4142-3_0_3_line_75 | NAYY 4x150 SE | 68 | 70 | 0.074517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4142-3_0_3_line_76 | NAYY 4x150 SE | 69 | 71 | 0.045835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4142-3_0_3_line_77 | NAYY 4x150 SE | 69 | 72 | 0.016522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4142-3_0_3_line_78 | NAYY 4x150 SE | 70 | 73 | 0.00075879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4142-3_0_3_line_79 | NAYY 4x150 SE | 71 | 80 | 0.0061059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4142-3_0_3_line_80 | NAYY 4x150 SE | 72 | 81 | 0.035072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4142-3_0_3_line_81 | NAYY 4x150 SE | 74 | 75 | 0.025548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4142-3_0_3_line_82 | NAYY 4x150 SE | 75 | 93 | 0.021909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4142-3_0_3_line_83 | NAYY 4x150 SE | 76 | 77 | 0.021439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4142-3_0_3_line_84 | NAYY 4x150 SE | 77 | 78 | 0.028855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4142-3_0_3_line_85 | NAYY 4x150 SE | 78 | 79 | 0.012189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4142-3_0_3_line_86 | NAYY 4x150 SE | 79 | 80 | 0.010597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4142-3_0_3_line_87 | NAYY 4x150 SE | 82 | 83 | 0.01471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4142-3_0_3_line_88 | NAYY 4x150 SE | 83 | 84 | 0.0020709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4142-3_0_3_line_89 | NAYY 4x150 SE | 85 | 86 | 0.0014652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4142-3_0_3_line_90 | NAYY 4x150 SE | 85 | 87 | 0.044598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4142-3_0_3_line_91 | NAYY 4x150 SE | 86 | 88 | 0.035525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4142-3_0_3_line_92 | NAYY 4x150 SE | 87 | 89 | 0.014279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4142-3_0_3_line_93 | NAYY 4x150 SE | 88 | 90 | 0.0026033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4142-3_0_3_line_94 | NAYY 4x150 SE | 89 | 91 | 0.010346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4142-3_0_3_line_95 | NAYY 4x150 SE | 94 | 95 | 0.045326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4142-3_0_3_line_96 | NAYY 4x150 SE | 95 | 96 | 0.01186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4142-3_0_3_trafo_32 | 0.25 MVA 20/0.4 kV | 98 | 50 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2649660.4597 | 1237472.8943 | 2649412.5689 | 1237465.5244
1 | 2649659.2343 | 1237565.1771 | 2649656.0805 | 1237562.3489 | 2649657.7854 | 1237559.3168 | 2649670.6178 | 1237536.487 | 2649673.0752 | 1237532.1158 | 2649661.9854 | 1237537.4377 | 2649652.0603 | 1237546.4273 | 2649650.6071 | 1237547.4158 | 2649641.5525 | 1237542.7705 | 2649614.2648 | 1237506.5303 | 2649615.7216 | 1237501.4836 | 2649649.6391 | 1237474.0602 | 2649654.3167 | 1237472.8874 | 2649660.4597 | 1237472.8943
2 | 2649659.2343 | 1237565.1771 | 2649656.281 | 1237570.0445 | 2649645.5616 | 1237584.4643 | 2649635.3006 | 1237597.4537 | 2649618.9666 | 1237617.4636 | 2649608.1522 | 1237632.4163 | 2649599.1313 | 1237647.2951 | 2649597.2585 | 1237650.7458
3 | 2649582.8094 | 1237677.3679 | 2649597.2585 | 1237650.7458
4 | 2649552.3093 | 1237720.0294 | 2649561.0458 | 1237711.997 | 2649565.842 | 1237707.4674 | 2649575.2287 | 1237691.3353 | 2649582.8094 | 1237677.3679
5 | 2649580.8392 | 1237741.6333 | 2649580.5916 | 1237741.562
6 | 2649559.8932 | 1237733.1789 | 2649572.5518 | 1237739.244 | 2649580.5916 | 1237741.562
7 | 2649559.8932 | 1237733.1789 | 2649511.689 | 1237753.1457 | 2649497.8102 | 1237765.5047 | 2649489.4355 | 1237776.4309 | 2649469.5239 | 1237816.48 | 2649465.4274 | 1237828.7539 | 2649462.6314 | 1237838.3813
8 | 2649559.8932 | 1237733.1789 | 2649552.3093 | 1237720.0294
9 | 2649462.6314 | 1237838.3813 | 2649469.3852 | 1237839.4938 | 2649471.8447 | 1237838.4691 | 2649475.0789 | 1237833.4483 | 2649480.2031 | 1237824.0294 | 2649487.4443 | 1237817.4854 | 2649506.3673 | 1237803.4895 | 2649517.6988 | 1237799.0366 | 2649524.164 | 1237798.4678 | 2649530.5943 | 1237801.1676 | 2649535.335 | 1237806.0103 | 2649541.9035 | 1237815.7269 | 2649554.1848 | 1237842.5022 | 2649561.8538 | 1237854.5072 | 2649579.0902 | 1237873.0964 | 2649589.0423 | 1237882.989
10 | 2649462.6314 | 1237838.3813 | 2649461.0123 | 1237847.4959 | 2649460.5443 | 1237857.3651 | 2649462.0294 | 1237866.775
11 | 2649643.6044 | 1237924.5127 | 2649626.997 | 1237913.0777 | 2649600.1723 | 1237894.0525 | 2649589.0423 | 1237882.989
12 | 2649464.3993 | 1237891.3414 | 2649465.0281 | 1237885.7764 | 2649462.0294 | 1237866.775
13 | 2649464.3993 | 1237891.3414 | 2649460.4046 | 1237897.7568 | 2649448.4823 | 1237905.9629 | 2649434.228 | 1237911.9352
14 | 2649464.3993 | 1237891.3414 | 2649470.5656 | 1237901.2102 | 2649471.8511 | 1237903.2395
15 | 2649145.1606 | 1238016.2294 | 2649145.1606 | 1238016.2294 | 2649138.949 | 1238004.9389
16 | 2649136.3528 | 1238000.2198 | 2649138.949 | 1238004.9389
17 | 2649129.7188 | 1237988.1614 | 2649136.3528 | 1238000.2198
18 | 2649082.4901 | 1238015.0107 | 2649104.9432 | 1238001.1317 | 2649111.6044 | 1237997.8735 | 2649129.7188 | 1237988.1614
19 | 2649149.2887 | 1237978.0944 | 2649144.6877 | 1237980.1244 | 2649129.7188 | 1237988.1614
20 | 2649149.2887 | 1237978.0944 | 2649167.1157 | 1237970.2257 | 2649181.4911 | 1237966.4434
21 | 2649202.6322 | 1237961.0581 | 2649193.7864 | 1237963.2085 | 2649181.4911 | 1237966.4434
22 | 2649082.4901 | 1238015.0107 | 2649076.6767 | 1238029.2053 | 2649069.2937 | 1238039.2619 | 2649072.065 | 1238047.1788 | 2649082.0932 | 1238061.2152 | 2649094.632 | 1238066.1775 | 2649105.3815 | 1238067.0669 | 2649113.0828 | 1238063.3963
23 | 2649205.9159 | 1237965.5549 | 2649202.6322 | 1237961.0581
24 | 2649192.788 | 1237947.6679 | 2649202.6322 | 1237961.0581
25 | 2649221.1442 | 1237999.2584 | 2649221.1442 | 1237999.2584 | 2649221.8071 | 1238008.7222
26 | 2649223.9536 | 1238024.0945 | 2649222.3279 | 1238016.1569 | 2649221.8071 | 1238008.7222
27 | 2649221.1442 | 1237999.2584 | 2649218.6853 | 1237992.9979
28 | 2649232.779 | 1238064.0078 | 2649225.3161 | 1238030.7467 | 2649223.9536 | 1238024.0945
29 | 2649205.9159 | 1237965.5549 | 2649212.6097 | 1237977.5292 | 2649218.6853 | 1237992.9979
30 | 2649232.779 | 1238064.0078 | 2649234.5696 | 1238073.485
31 | 2649232.779 | 1238064.0078 | 2649248.5323 | 1238060.8029 | 2649256.3333 | 1238056.0089 | 2649269.5181 | 1238035.9719 | 2649277.6734 | 1238028.1271
32 | 2649205.9159 | 1237965.5549 | 2649221.0108 | 1237958.7644 | 2649232.3293 | 1237953.0767
33 | 2649234.5696 | 1238073.485 | 2649316.7683 | 1238240.741
34 | 2649294.9651 | 1238012.0184 | 2649290.0993 | 1238016.1742 | 2649277.6734 | 1238028.1271
35 | 2649316.7683 | 1238240.741 | 2649339.8323 | 1238239.6599
36 | 2649310.9209 | 1237998.3909 | 2649294.9651 | 1238012.0184
37 | 2648686.9749 | 1237618.0452 | 2648674.5983 | 1237607.8928 | 2648660.0171 | 1237600.8911 | 2648646.5784 | 1237596.645 | 2648640.7097 | 1237591.7939 | 2648640.1191 | 1237585.3849 | 2648643.9178 | 1237576.955
38 | 2648686.9749 | 1237618.0452 | 2648692.3558 | 1237621.4804 | 2648698.693 | 1237626.3001
39 | 2648740.7257 | 1237733.2046 | 2648730.3363 | 1237709.5597 | 2648726.3037 | 1237687.479 | 2648724.2738 | 1237663.8026 | 2648720.8406 | 1237654.424 | 2648715.7971 | 1237643.9759 | 2648705.6856 | 1237631.6184 | 2648698.693 | 1237626.3001
40 | 2648839.1117 | 1238008.7795 | 2648852.7752 | 1237999.3746 | 2648912.9858 | 1237967.7049 | 2648944.0775 | 1237952.9068 | 2648973.2986 | 1237942.9855 | 2649002.483 | 1237934.623
41 | 2648839.1117 | 1238008.7795 | 2648770.8011 | 1237731.7282
42 | 2649018.3508 | 1237929.8329 | 2649013.8809 | 1237931.357 | 2649002.483 | 1237934.623
43 | 2648770.8011 | 1237731.7282 | 2648779.0252 | 1237728.8493 | 2648789.8192 | 1237725.3134 | 2648792.676 | 1237723.5909
44 | 2648770.8011 | 1237731.7282 | 2648759.1995 | 1237733.1895 | 2648746.069 | 1237733.8377 | 2648740.7257 | 1237733.2046
45 | 2649434.228 | 1237911.9352 | 2649410.3895 | 1237921.9231 | 2649407.2514 | 1237923.5942
46 | 2649471.8511 | 1237903.2395 | 2649478.2282 | 1237913.3066
47 | 2649407.2514 | 1237923.5942 | 2649391.477 | 1237931.9946 | 2649378.4969 | 1237942.5707
48 | 2649482.0642 | 1237919.3622 | 2649482.0642 | 1237919.3622 | 2649478.2282 | 1237913.3066
49 | 2649347.3343 | 1237967.9614 | 2649378.4969 | 1237942.5707
50 | 2649488.9757 | 1237915.6775 | 2649482.0642 | 1237919.3622
51 | 2649248.7435 | 1237879.6162 | 2649248.259 | 1237880.2837 | 2649243.0964 | 1237888.4418
52 | 2649248.7435 | 1237879.6162 | 2649259.7928 | 1237864.3931
53 | 2649243.0964 | 1237888.4418 | 2649226.9114 | 1237914.0176 | 2649215.0801 | 1237924.272
54 | 2649267.703 | 1237853.4948 | 2649259.7928 | 1237864.3931
55 | 2649209.1559 | 1237929.4067 | 2649215.0801 | 1237924.272
56 | 2649278.2533 | 1237838.9593 | 2649267.703 | 1237853.4948
57 | 2649192.788 | 1237947.6679 | 2649200.7995 | 1237936.6494 | 2649209.1559 | 1237929.4067
58 | 2649278.2533 | 1237838.9593 | 2649280.142 | 1237836.3571
59 | 2649192.788 | 1237947.6679 | 2649182.0633 | 1237937.0393
60 | 2649285.5066 | 1237829.4151 | 2649281.1638 | 1237834.9493 | 2649280.142 | 1237836.3571
61 | 2649056.5466 | 1237916.6997 | 2649053.1997 | 1237917.9505 | 2649027.9311 | 1237926.5663
62 | 2649056.5466 | 1237916.6997 | 2649070.9257 | 1237911.3259 | 2649087.5765 | 1237902.9913 | 2649107.334 | 1237896.7838 | 2649121.6897 | 1237896.1465 | 2649122.3988 | 1237896.3205
63 | 2649018.3508 | 1237929.8329 | 2649027.9311 | 1237926.5663
64 | 2649139.1774 | 1237900.972 | 2649132.7572 | 1237898.862 | 2649122.3988 | 1237896.3205
65 | 2649139.1774 | 1237900.972 | 2649177.7889 | 1237871.0821
66 | 2649139.1774 | 1237900.972 | 2649146.8295 | 1237905.9607 | 2649158.2726 | 1237914.9371
67 | 2649191.6062 | 1237860.3858 | 2649177.7889 | 1237871.0821
68 | 2649169.2473 | 1237924.7361 | 2649162.0568 | 1237917.9055 | 2649158.2726 | 1237914.9371
69 | 2649191.6062 | 1237860.3858 | 2649199.0867 | 1237854.595
70 | 2649169.2473 | 1237924.7361 | 2649194.5772 | 1237905.1775
71 | 2649169.2473 | 1237924.7361 | 2649179.0197 | 1237934.0229 | 2649182.0633 | 1237937.0393
72 | 2649169.2473 | 1237924.7361 | 2649133.9651 | 1237945.7912
73 | 2648792.676 | 1237723.5909 | 2648801.4436 | 1237718.3043 | 2648807.6553 | 1237714.5798
74 | 2649285.5066 | 1237829.4151 | 2649290.7389 | 1237830.6371
75 | 2649285.5066 | 1237829.4151 | 2649246.5209 | 1237765.9102
76 | 2649290.7389 | 1237830.6371 | 2649294.967 | 1237831.6283 | 2649317.9644 | 1237866.2193
77 | 2649290.7389 | 1237830.6371 | 2649300.8534 | 1237817.5728
78 | 2649246.5209 | 1237765.9102 | 2649246.124 | 1237765.2636
79 | 2649317.9644 | 1237866.2193 | 2649321.3458 | 1237871.3035
80 | 2649322.3242 | 1237789.8404 | 2649300.8534 | 1237817.5728
81 | 2649327.5809 | 1237984.162 | 2649330.2726 | 1237981.863 | 2649347.3343 | 1237967.9614
82 | 2649327.5809 | 1237984.162 | 2649310.9209 | 1237998.3909
83 | 2649290.2021 | 1237915.3222 | 2649308.7871 | 1237904.6347
84 | 2649333.8619 | 1237890.3558 | 2649308.7871 | 1237904.6347 | 2649308.7871 | 1237904.6347
85 | 2649333.8619 | 1237890.3558 | 2649327.2142 | 1237880.1273
86 | 2649327.2142 | 1237880.1273 | 2649321.3458 | 1237871.3035
87 | 2649488.9757 | 1237915.6775 | 2649501.9566 | 1237908.7572
88 | 2649503.7841 | 1237907.783 | 2649501.9566 | 1237908.7572
89 | 2649095.7678 | 1237968.8123 | 2649094.5129 | 1237969.5686
90 | 2649133.9651 | 1237945.7912 | 2649095.7678 | 1237968.8123
91 | 2649064.0866 | 1237987.9061 | 2649094.5129 | 1237969.5686
92 | 2649133.9651 | 1237945.7912 | 2649127.006 | 1237933.323
93 | 2649064.0866 | 1237987.9061 | 2649061.8569 | 1237989.2499
94 | 2649121.9638 | 1237924.2892 | 2649127.006 | 1237933.323
95 | 2649199.0867 | 1237854.595 | 2649234.9281 | 1237826.8495
96 | 2649244.3066 | 1237819.5894 | 2649234.9281 | 1237826.8495

## bus_geodata
| x | y | coords
0 | 2649412.5689 | 1237465.5244
1 | 2649660.4597 | 1237472.8943
2 | 2649659.2343 | 1237565.1771
3 | 2649597.2585 | 1237650.7458
4 | 2649582.8094 | 1237677.3679
5 | 2649580.5916 | 1237741.562
6 | 2649580.8392 | 1237741.6333
7 | 2649559.8932 | 1237733.1789
8 | 2649462.6314 | 1237838.3813
9 | 2649552.3093 | 1237720.0294
10 | 2649589.0423 | 1237882.989
11 | 2649462.0294 | 1237866.775
12 | 2649643.6044 | 1237924.5127
13 | 2649464.3993 | 1237891.3414
14 | 2649138.949 | 1238004.9389
15 | 2649145.1606 | 1238016.2294
16 | 2649136.3528 | 1238000.2198
17 | 2649129.7188 | 1237988.1614
18 | 2649149.2887 | 1237978.0944
19 | 2649181.4911 | 1237966.4434
20 | 2649082.4901 | 1238015.0107
21 | 2649202.6322 | 1237961.0581
22 | 2649113.0828 | 1238063.3963
23 | 2649221.8071 | 1238008.7222
24 | 2649221.1442 | 1237999.2584
25 | 2649223.9536 | 1238024.0945
26 | 2649218.6853 | 1237992.9979
27 | 2649232.779 | 1238064.0078
28 | 2649205.9159 | 1237965.5549
29 | 2649234.5696 | 1238073.485
30 | 2649277.6734 | 1238028.1271
31 | 2649232.3293 | 1237953.0767
32 | 2649316.7683 | 1238240.741
33 | 2649294.9651 | 1238012.0184
34 | 2648643.9178 | 1237576.955
35 | 2648686.9749 | 1237618.0452
36 | 2648698.693 | 1237626.3001
37 | 2648839.1117 | 1238008.7795
38 | 2649002.483 | 1237934.623
39 | 2648770.8011 | 1237731.7282
40 | 2648740.7257 | 1237733.2046
41 | 2649434.228 | 1237911.9352
42 | 2649471.8511 | 1237903.2395
43 | 2649407.2514 | 1237923.5942
44 | 2649478.2282 | 1237913.3066
45 | 2649378.4969 | 1237942.5707
46 | 2649482.0642 | 1237919.3622
47 | 2649248.7435 | 1237879.6162
48 | 2649243.0964 | 1237888.4418
49 | 2649259.7928 | 1237864.3931
50 | 2649215.0801 | 1237924.272
51 | 2649267.703 | 1237853.4948
52 | 2649209.1559 | 1237929.4067
53 | 2649278.2533 | 1237838.9593
54 | 2649192.788 | 1237947.6679
55 | 2649280.142 | 1237836.3571
56 | 2649056.5466 | 1237916.6997
57 | 2649027.9311 | 1237926.5663
58 | 2649122.3988 | 1237896.3205
59 | 2649018.3508 | 1237929.8329
60 | 2649139.1774 | 1237900.972
61 | 2649177.7889 | 1237871.0821
62 | 2649158.2726 | 1237914.9371
63 | 2649191.6062 | 1237860.3858
64 | 2649169.2473 | 1237924.7361
65 | 2648792.676 | 1237723.5909
66 | 2648807.6553 | 1237714.5798
67 | 2649182.0633 | 1237937.0393
68 | 2649285.5066 | 1237829.4151
69 | 2649290.7389 | 1237830.637
70 | 2649246.5209 | 1237765.9102
71 | 2649317.9644 | 1237866.2193
72 | 2649300.8534 | 1237817.5728
73 | 2649246.124 | 1237765.2636
74 | 2649347.3343 | 1237967.9614
75 | 2649327.5809 | 1237984.162
76 | 2649290.2021 | 1237915.3222
77 | 2649308.7871 | 1237904.6347
78 | 2649333.8619 | 1237890.3558
79 | 2649327.2142 | 1237880.1273
80 | 2649321.3458 | 1237871.3035
81 | 2649322.3242 | 1237789.8404
82 | 2649488.9757 | 1237915.6775
83 | 2649501.9566 | 1237908.7572
84 | 2649503.7841 | 1237907.783
85 | 2649095.7678 | 1237968.8123
86 | 2649094.5129 | 1237969.5686
87 | 2649133.9651 | 1237945.7912
88 | 2649064.0866 | 1237987.9061
89 | 2649127.006 | 1237933.323
90 | 2649061.8569 | 1237989.2499
91 | 2649121.9638 | 1237924.2892
92 | 2649194.5772 | 1237905.1775
93 | 2649310.9209 | 1237998.3909
94 | 2649199.0867 | 1237854.595
95 | 2649234.9281 | 1237826.8495
96 | 2649244.3066 | 1237819.5894
97 | 2649339.8323 | 1238239.6599
98 | 2649192.788 | 1237947.6679

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1