## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4146-2_1_4_node_26 | 0.4 | n |  | TRUE
1 | bus_LV_4146-2_1_4_node_27 | 0.4 | n |  | TRUE
2 | bus_LV_4146-2_1_4_node_28 | 0.4 | n |  | TRUE
3 | bus_LV_4146-2_1_4_node_29 | 0.4 | n |  | TRUE
4 | bus_LV_4146-2_1_4_node_30 | 0.4 | n |  | TRUE
5 | bus_LV_4146-2_1_4_node_31 | 0.4 | n |  | TRUE
6 | bus_LV_4146-2_1_4_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_4146-2_1_4_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_4146-2_1_4_node_34 | 0.4 | n |  | TRUE
9 | bus_LV_4146-2_1_4_node_35 | 0.4 | n |  | TRUE
10 | bus_LV_4146-2_1_4_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_4146-2_1_4_node_37 | 0.4 | n |  | TRUE
12 | bus_LV_4146-2_1_4_node_109 | 0.4 | n |  | TRUE
13 | bus_LV_4146-2_1_4_node_65 | 0.4 | n |  | TRUE
14 | bus_LV_4146-2_1_4_node_112 | 0.4 | n |  | TRUE
15 | bus_LV_4146-2_1_4_node_40 | 0.4 | n |  | TRUE
16 | bus_LV_4146-2_1_4_node_93 | 0.4 | n |  | TRUE
17 | bus_LV_4146-2_1_4_node_90 | 0.4 | n |  | TRUE
18 | bus_LV_4146-2_1_4_node_110 | 0.4 | n |  | TRUE
19 | bus_LV_4146-2_1_4_node_113 | 0.4 | n |  | TRUE
20 | bus_LV_4146-2_1_4_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_4146-2_1_4_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_4146-2_1_4_node_95 | 0.4 | n |  | TRUE
23 | bus_LV_4146-2_1_4_node_91 | 0.4 | n |  | TRUE
24 | bus_LV_4146-2_1_4_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_4146-2_1_4_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_4146-2_1_4_node_43 | 0.4 | n |  | TRUE
27 | bus_LV_4146-2_1_4_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_4146-2_1_4_node_102 | 0.4 | n |  | TRUE
29 | bus_LV_4146-2_1_4_node_75 | 0.4 | n |  | TRUE
30 | bus_LV_4146-2_1_4_node_103 | 0.4 | n |  | TRUE
31 | bus_LV_4146-2_1_4_node_74 | 0.4 | n |  | TRUE
32 | bus_LV_4146-2_1_4_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_4146-2_1_4_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_4146-2_1_4_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_4146-2_1_4_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_4146-2_1_4_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_4146-2_1_4_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_4146-2_1_4_node_51 | 0.4 | n |  | TRUE
39 | bus_LV_4146-2_1_4_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_4146-2_1_4_node_53 | 0.4 | n |  | TRUE
41 | bus_LV_4146-2_1_4_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_4146-2_1_4_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_4146-2_1_4_node_56 | 0.4 | n |  | TRUE
44 | bus_LV_4146-2_1_4_node_57 | 0.4 | n |  | TRUE
45 | bus_LV_4146-2_1_4_node_72 | 0.4 | n |  | TRUE
46 | bus_LV_4146-2_1_4_node_70 | 0.4 | n |  | TRUE
47 | bus_LV_4146-2_1_4_node_88 | 0.4 | n |  | TRUE
48 | bus_LV_4146-2_1_4_node_68 | 0.4 | n |  | TRUE
49 | bus_LV_4146-2_1_4_node_89 | 0.4 | n |  | TRUE
50 | bus_LV_4146-2_1_4_node_86 | 0.4 | n |  | TRUE
51 | bus_LV_4146-2_1_4_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_4146-2_1_4_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_4146-2_1_4_node_60 | 0.4 | n |  | TRUE
54 | bus_LV_4146-2_1_4_node_62 | 0.4 | n |  | TRUE
55 | bus_LV_4146-2_1_4_node_64 | 0.4 | n |  | TRUE
56 | bus_LV_4146-2_1_4_node_63 | 0.4 | n |  | TRUE
57 | bus_LV_4146-2_1_4_node_96 | 0.4 | n |  | TRUE
58 | bus_LV_4146-2_1_4_node_97 | 0.4 | n |  | TRUE
59 | bus_LV_4146-2_1_4_node_111 | 0.4 | n |  | TRUE
60 | bus_LV_4146-2_1_4_node_117 | 0.4 | n |  | TRUE
61 | bus_LV_4146-2_1_4_node_99 | 0.4 | n |  | TRUE
62 | bus_LV_4146-2_1_4_node_158 | 0.4 | n |  | TRUE
63 | bus_LV_4146-2_1_4_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_4146-2_1_4_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_4146-2_1_4_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_4146-2_1_4_node_71 | 0.4 | n |  | TRUE
67 | bus_LV_4146-2_1_4_node_76 | 0.4 | n |  | TRUE
68 | bus_LV_4146-2_1_4_node_73 | 0.4 | n |  | TRUE
69 | bus_LV_4146-2_1_4_node_77 | 0.4 | n |  | TRUE
70 | bus_LV_4146-2_1_4_node_78 | 0.4 | n |  | TRUE
71 | bus_LV_4146-2_1_4_node_79 | 0.4 | n |  | TRUE
72 | bus_LV_4146-2_1_4_node_80 | 0.4 | n |  | TRUE
73 | bus_LV_4146-2_1_4_node_81 | 0.4 | n |  | TRUE
74 | bus_LV_4146-2_1_4_node_82 | 0.4 | n |  | TRUE
75 | bus_LV_4146-2_1_4_node_83 | 0.4 | n |  | TRUE
76 | bus_LV_4146-2_1_4_node_84 | 0.4 | n |  | TRUE
77 | bus_LV_4146-2_1_4_node_85 | 0.4 | n |  | TRUE
78 | bus_LV_4146-2_1_4_node_87 | 0.4 | n |  | TRUE
79 | bus_LV_4146-2_1_4_node_107 | 0.4 | n |  | TRUE
80 | bus_LV_4146-2_1_4_node_105 | 0.4 | n |  | TRUE
81 | bus_LV_4146-2_1_4_node_150 | 0.4 | n |  | TRUE
82 | bus_LV_4146-2_1_4_node_92 | 0.4 | n |  | TRUE
83 | bus_LV_4146-2_1_4_node_94 | 0.4 | n |  | TRUE
84 | bus_LV_4146-2_1_4_node_100 | 0.4 | n |  | TRUE
85 | bus_LV_4146-2_1_4_node_101 | 0.4 | n |  | TRUE
86 | bus_LV_4146-2_1_4_node_118 | 0.4 | n |  | TRUE
87 | bus_LV_4146-2_1_4_node_104 | 0.4 | n |  | TRUE
88 | bus_LV_4146-2_1_4_node_116 | 0.4 | n |  | TRUE
89 | bus_LV_4146-2_1_4_node_114 | 0.4 | n |  | TRUE
90 | bus_LV_4146-2_1_4_node_115 | 0.4 | n |  | TRUE
91 | bus_LV_4146-2_1_4_node_141 | 0.4 | n |  | TRUE
92 | bus_LV_4146-2_1_4_node_157 | 0.4 | n |  | TRUE
93 | bus_LV_4146-2_1_4_node_149 | 0.4 | n |  | TRUE
94 | bus_LV_4146-2_1_4_node_127 | 0.4 | n |  | TRUE
95 | bus_LV_4146-2_1_4_node_128 | 0.4 | n |  | TRUE
96 | bus_LV_4146-2_1_4_node_129 | 0.4 | n |  | TRUE
97 | bus_LV_4146-2_1_4_node_148 | 0.4 | n |  | TRUE
98 | bus_LV_4146-2_1_4_node_151 | 0.4 | n |  | TRUE
99 | bus_LV_4146-2_1_4_node_152 | 0.4 | n |  | TRUE
100 | bus_MV_482_0_node_73 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4146-2_1_4_load_26 | 0 | 0.0015283 | 0.00038303 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4146-2_1_4_load_27 | 1 | 0.00075035 | 0.00018806 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4146-2_1_4_load_29 | 3 | 0.0019836 | 0.00049713 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4146-2_1_4_load_31 | 5 | 0.002585 | 0.00064787 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4146-2_1_4_load_32 | 6 | 0.0025 | 0.00062656 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4146-2_1_4_load_33 | 7 | 0.0011474 | 0.00028756 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4146-2_1_4_load_34 | 8 | 0.0016044 | 0.00040209 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4146-2_1_4_load_35 | 9 | 0.0017269 | 0.0004328 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4146-2_1_4_load_36 | 10 | 0.0025876 | 0.00064852 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4146-2_1_4_load_109 | 12 | 0.0010775 | 0.00027004 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4146-2_1_4_load_65 | 13 | 0.0018173 | 0.00045547 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4146-2_1_4_load_112 | 14 | 0.0014309 | 0.00035862 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4146-2_1_4_load_93 | 16 | 0.0013866 | 0.00034752 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4146-2_1_4_load_90 | 17 | 0.0017167 | 0.00043025 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4146-2_1_4_load_110 | 18 | 0.0014374 | 0.00036024 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4146-2_1_4_load_113 | 19 | 0.001674 | 0.00041954 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4146-2_1_4_load_42 | 20 | 0.0011489 | 0.00028795 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4146-2_1_4_load_38 | 21 | 0.0050088 | 0.0012553 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4146-2_1_4_load_95 | 22 | 0.0013254 | 0.00033218 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4146-2_1_4_load_91 | 23 | 0.0014683 | 0.000368 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4146-2_1_4_load_39 | 24 | 0.0010628 | 0.00026637 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4146-2_1_4_load_41 | 25 | 0.0010625 | 0.00026629 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4146-2_1_4_load_43 | 26 | 0.0010625 | 0.00026629 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4146-2_1_4_load_44 | 27 | 0.0018796 | 0.00047107 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4146-2_1_4_load_102 | 28 | 0.0010625 | 0.00026629 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4146-2_1_4_load_75 | 29 | 0.0027573 | 0.00069104 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4146-2_1_4_load_74 | 31 | 0.0064116 | 0.0016069 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4146-2_1_4_load_45 | 32 | 0.001879 | 0.00047093 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4146-2_1_4_load_48 | 35 | 0.00067471 | 0.0001691 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4146-2_1_4_load_49 | 36 | 0.0012619 | 0.00031626 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4146-2_1_4_load_50 | 37 | 0.00078128 | 0.00019581 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4146-2_1_4_load_51 | 38 | 0.00059838 | 0.00014997 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4146-2_1_4_load_52 | 39 | 0.00048679 | 0.000122 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4146-2_1_4_load_53 | 40 | 0.00080854 | 0.00020264 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4146-2_1_4_load_54 | 41 | 0.00093002 | 0.00023308 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4146-2_1_4_load_55 | 42 | 0.0016066 | 0.00040266 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4146-2_1_4_load_56 | 43 | 0.00098543 | 0.00024697 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4146-2_1_4_load_57 | 44 | 0.00086175 | 0.00021597 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4146-2_1_4_load_72 | 45 | 0.0010706 | 0.00026832 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4146-2_1_4_load_70 | 46 | 0.0011088 | 0.0002779 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4146-2_1_4_load_88 | 47 | 0.00197 | 0.00049373 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4146-2_1_4_load_68 | 48 | 0.00077672 | 0.00019466 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4146-2_1_4_load_89 | 49 | 0.0016642 | 0.00041709 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4146-2_1_4_load_58 | 51 | 0.0015759 | 0.00039496 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4146-2_1_4_load_59 | 52 | 0.0020242 | 0.00050731 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4146-2_1_4_load_60 | 53 | 0.00067013 | 0.00016795 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4146-2_1_4_load_64 | 55 | 0.0013332 | 0.00033414 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4146-2_1_4_load_63 | 56 | 0.0026516 | 0.00066455 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4146-2_1_4_load_96 | 57 | 0.0018514 | 0.000464 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4146-2_1_4_load_111 | 59 | 0.0014918 | 0.00037388 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4146-2_1_4_load_117 | 60 | 0.0013445 | 0.00033697 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4146-2_1_4_load_99 | 61 | 0.0020247 | 0.00050744 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4146-2_1_4_load_158 | 62 | 0.0017441 | 0.00043711 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4146-2_1_4_load_66 | 63 | 0.0037495 | 0.00093972 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4146-2_1_4_load_67 | 64 | 0.0045543 | 0.0011414 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4146-2_1_4_load_69 | 65 | 0.0031377 | 0.00078638 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4146-2_1_4_load_71 | 66 | 0.0017128 | 0.00042926 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4146-2_1_4_load_73 | 68 | 0.007028 | 0.0017614 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4146-2_1_4_load_77 | 69 | 0.00093712 | 0.00023486 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4146-2_1_4_load_78 | 70 | 0.00065008 | 0.00016292 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4146-2_1_4_load_81 | 73 | 0.001083 | 0.00027143 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4146-2_1_4_load_82 | 74 | 0.00042908 | 0.00010754 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4146-2_1_4_load_83 | 75 | 0.0010273 | 0.00025747 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4146-2_1_4_load_84 | 76 | 0.0018617 | 0.00046659 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4146-2_1_4_load_85 | 77 | 0.0018088 | 0.00045332 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4146-2_1_4_load_87 | 78 | 0.0018532 | 0.00046445 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4146-2_1_4_load_107 | 79 | 0.0016102 | 0.00040354 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4146-2_1_4_load_105 | 80 | 0.00061213 | 0.00015341 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4146-2_1_4_load_92 | 82 | 0.00318 | 0.00079699 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4146-2_1_4_load_94 | 83 | 0.0015535 | 0.00038933 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4146-2_1_4_load_100 | 84 | 0.002816 | 0.00070576 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4146-2_1_4_load_101 | 85 | 0.0047023 | 0.0011785 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4146-2_1_4_load_118 | 86 | 0.0010518 | 0.00026362 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4146-2_1_4_load_104 | 87 | 0.00030368 | 7.611e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4146-2_1_4_load_116 | 88 | 0.0013044 | 0.00032691 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4146-2_1_4_load_114 | 89 | 0.00079431 | 0.00019907 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4146-2_1_4_load_115 | 90 | 0.0016118 | 0.00040397 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4146-2_1_4_load_157 | 92 | 0.0010102 | 0.00025318 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4146-2_1_4_load_149 | 93 | 0.0011127 | 0.00027887 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4146-2_1_4_load_128 | 95 | 0.00044532 | 0.00011161 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4146-2_1_4_load_129 | 96 | 0.00054721 | 0.00013714 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4146-2_1_4_load_148 | 97 | 0.0014335 | 0.00035928 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4146-2_1_4_load_152 | 99 | 0.0017031 | 0.00042684 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4146-2_1_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.012921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4146-2_1_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.018713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4146-2_1_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0087742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4146-2_1_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.068756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_4146-2_1_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.02562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_4146-2_1_4_line_5 | NAYY 4x150 SE | 2 | 6 | 0.0083552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4146-2_1_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.006016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4146-2_1_4_line_7 | NAYY 4x150 SE | 4 | 8 | 0.016105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4146-2_1_4_line_8 | NAYY 4x150 SE | 4 | 9 | 0.0223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_4146-2_1_4_line_9 | NAYY 4x150 SE | 5 | 10 | 0.016305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_4146-2_1_4_line_10 | NAYY 4x150 SE | 6 | 11 | 0.022366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4146-2_1_4_line_11 | NAYY 4x150 SE | 7 | 12 | 0.041892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4146-2_1_4_line_12 | NAYY 4x150 SE | 8 | 13 | 0.020135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4146-2_1_4_line_13 | NAYY 4x150 SE | 9 | 14 | 0.017981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_4146-2_1_4_line_14 | NAYY 4x150 SE | 10 | 15 | 0.065505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_4146-2_1_4_line_15 | NAYY 4x150 SE | 11 | 16 | 0.01643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4146-2_1_4_line_16 | NAYY 4x150 SE | 11 | 17 | 0.024946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4146-2_1_4_line_17 | NAYY 4x150 SE | 12 | 18 | 0.012103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4146-2_1_4_line_18 | NAYY 4x150 SE | 14 | 19 | 0.016608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_4146-2_1_4_line_19 | NAYY 4x150 SE | 15 | 20 | 0.023147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4146-2_1_4_line_20 | NAYY 4x150 SE | 15 | 21 | 0.0044723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_4146-2_1_4_line_21 | NAYY 4x150 SE | 16 | 22 | 0.0032676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4146-2_1_4_line_22 | NAYY 4x150 SE | 17 | 23 | 0.018951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4146-2_1_4_line_23 | NAYY 4x150 SE | 19 | 89 | 0.021855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4146-2_1_4_line_24 | NAYY 4x150 SE | 20 | 27 | 0.01013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4146-2_1_4_line_25 | NAYY 4x150 SE | 21 | 24 | 0.00059258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_4146-2_1_4_line_26 | NAYY 4x150 SE | 22 | 84 | 0.027939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4146-2_1_4_line_27 | NAYY 4x150 SE | 23 | 82 | 0.0047516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4146-2_1_4_line_28 | NAYY 4x150 SE | 24 | 25 | 0.014342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_4146-2_1_4_line_29 | NAYY 4x150 SE | 25 | 26 | 0.021705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_4146-2_1_4_line_30 | NAYY 4x150 SE | 26 | 28 | 0.016014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_4146-2_1_4_line_31 | NAYY 4x150 SE | 27 | 29 | 0.056011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4146-2_1_4_line_32 | NAYY 4x150 SE | 28 | 30 | 0.013191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_4146-2_1_4_line_33 | NAYY 4x150 SE | 29 | 31 | 0.019713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4146-2_1_4_line_34 | NAYY 4x150 SE | 30 | 67 | 0.011738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_4146-2_1_4_line_35 | NAYY 4x150 SE | 31 | 68 | 0.021524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4146-2_1_4_line_36 | NAYY 4x150 SE | 32 | 33 | 0.039794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_4146-2_1_4_line_37 | NAYY 4x150 SE | 32 | 34 | 0.019043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_4146-2_1_4_line_38 | NAYY 4x150 SE | 33 | 35 | 0.013232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4146-2_1_4_line_39 | NAYY 4x150 SE | 33 | 36 | 0.01729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_4146-2_1_4_line_40 | NAYY 4x150 SE | 33 | 37 | 0.017358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4146-2_1_4_line_41 | NAYY 4x150 SE | 34 | 38 | 0.011005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_4146-2_1_4_line_42 | NAYY 4x150 SE | 34 | 39 | 0.042903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4146-2_1_4_line_43 | NAYY 4x150 SE | 35 | 40 | 0.021853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4146-2_1_4_line_44 | NAYY 4x150 SE | 36 | 41 | 0.0025704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_4146-2_1_4_line_45 | NAYY 4x150 SE | 37 | 42 | 0.010275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4146-2_1_4_line_46 | NAYY 4x150 SE | 38 | 43 | 0.0047922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_4146-2_1_4_line_47 | NAYY 4x150 SE | 39 | 44 | 0.010905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4146-2_1_4_line_48 | NAYY 4x150 SE | 40 | 45 | 0.0082704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4146-2_1_4_line_49 | NAYY 4x150 SE | 41 | 46 | 0.022295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_4146-2_1_4_line_50 | NAYY 4x150 SE | 43 | 47 | 0.106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_4146-2_1_4_line_51 | NAYY 4x150 SE | 46 | 48 | 0.07071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_4146-2_1_4_line_52 | NAYY 4x150 SE | 47 | 49 | 0.055417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_4146-2_1_4_line_53 | NAYY 4x150 SE | 47 | 50 | 0.012945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_4146-2_1_4_line_54 | NAYY 4x150 SE | 48 | 63 | 0.020358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_4146-2_1_4_line_55 | NAYY 4x150 SE | 49 | 81 | 0.18051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_4146-2_1_4_line_56 | NAYY 4x150 SE | 50 | 74 | 0.019094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_4146-2_1_4_line_57 | NAYY 4x150 SE | 51 | 52 | 0.0013941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4146-2_1_4_line_58 | NAYY 4x150 SE | 51 | 53 | 0.014937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4146-2_1_4_line_59 | NAYY 4x150 SE | 53 | 54 | 0.0063973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4146-2_1_4_line_60 | NAYY 4x150 SE | 54 | 55 | 0.020705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4146-2_1_4_line_61 | NAYY 4x150 SE | 55 | 59 | 0.0040848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4146-2_1_4_line_62 | NAYY 4x150 SE | 56 | 57 | 0.04674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
63 | LV_4146-2_1_4_line_63 | NAYY 4x150 SE | 56 | 58 | 0.23281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4146-2_1_4_line_64 | NAYY 4x150 SE | 57 | 60 | 0.019168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_4146-2_1_4_line_65 | NAYY 4x150 SE | 58 | 61 | 0.083265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4146-2_1_4_line_66 | NAYY 4x150 SE | 59 | 62 | 0.021116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4146-2_1_4_line_67 | NAYY 4x150 SE | 60 | 86 | 0.032239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_4146-2_1_4_line_68 | NAYY 4x150 SE | 62 | 88 | 0.0010265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4146-2_1_4_line_69 | NAYY 4x150 SE | 63 | 64 | 0.066346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_4146-2_1_4_line_70 | NAYY 4x150 SE | 64 | 65 | 0.035867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
71 | LV_4146-2_1_4_line_71 | NAYY 4x150 SE | 65 | 66 | 0.028129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
72 | LV_4146-2_1_4_line_72 | NAYY 4x150 SE | 66 | 67 | 0.015948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
73 | LV_4146-2_1_4_line_73 | NAYY 4x150 SE | 69 | 70 | 0.085122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4146-2_1_4_line_74 | NAYY 4x150 SE | 69 | 71 | 0.1569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4146-2_1_4_line_75 | NAYY 4x150 SE | 70 | 72 | 0.036014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4146-2_1_4_line_76 | NAYY 4x150 SE | 71 | 73 | 0.094136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4146-2_1_4_line_77 | NAYY 4x150 SE | 71 | 74 | 0.11326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
78 | LV_4146-2_1_4_line_78 | NAYY 4x150 SE | 72 | 75 | 0.027818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4146-2_1_4_line_79 | NAYY 4x150 SE | 72 | 76 | 0.047434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4146-2_1_4_line_80 | NAYY 4x150 SE | 73 | 77 | 0.0043533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4146-2_1_4_line_81 | NAYY 4x150 SE | 75 | 78 | 0.004461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4146-2_1_4_line_82 | NAYY 4x150 SE | 78 | 79 | 0.026918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4146-2_1_4_line_83 | NAYY 4x150 SE | 79 | 80 | 0.033456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4146-2_1_4_line_84 | NAYY 4x150 SE | 80 | 87 | 0.024427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4146-2_1_4_line_85 | NAYY 4x150 SE | 81 | 98 | 0.032178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4146-2_1_4_line_86 | NAYY 4x150 SE | 81 | 95 | 0.0078778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
87 | LV_4146-2_1_4_line_87 | NAYY 4x150 SE | 82 | 83 | 0.010627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4146-2_1_4_line_88 | NAYY 4x150 SE | 84 | 85 | 0.01075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4146-2_1_4_line_89 | NAYY 4x150 SE | 86 | 91 | 0.14713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
90 | LV_4146-2_1_4_line_90 | NAYY 4x150 SE | 88 | 90 | 0.02041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4146-2_1_4_line_91 | NAYY 4x150 SE | 89 | 90 | 0.022703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4146-2_1_4_line_92 | NAYY 4x150 SE | 91 | 92 | 0.06375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4146-2_1_4_line_93 | NAYY 4x150 SE | 91 | 93 | 0.078508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
94 | LV_4146-2_1_4_line_94 | NAYY 4x150 SE | 93 | 97 | 0.093447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
95 | LV_4146-2_1_4_line_95 | NAYY 4x150 SE | 94 | 95 | 0.0452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
96 | LV_4146-2_1_4_line_96 | NAYY 4x150 SE | 94 | 96 | 0.10252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
97 | LV_4146-2_1_4_line_97 | NAYY 4x150 SE | 96 | 97 | 0.026961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
98 | LV_4146-2_1_4_line_98 | NAYY 4x150 SE | 98 | 99 | 0.025274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4146-2_1_4_trafo_113 | 0.25 MVA 20/0.4 kV | 100 | 19 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2650328.2504 | 1240610.7722 | 2650315.3385 | 1240610.2966
1 | 2650346.9504 | 1240611.4611 | 2650328.2504 | 1240610.7722
2 | 2650306.5703 | 1240609.9736 | 2650315.3385 | 1240610.2966
3 | 2650346.9504 | 1240611.4611 | 2650288.2411 | 1240647.5208
4 | 2650346.9504 | 1240611.4611 | 2650368.0682 | 1240596.9555
5 | 2650346.9504 | 1240611.4611 | 2650351.7275 | 1240616.1046 | 2650353.3881 | 1240616.4348
6 | 2650288.2411 | 1240647.5208 | 2650282.2452 | 1240647.0299
7 | 2650288.2411 | 1240647.5208 | 2650283.1931 | 1240650.7468 | 2650276.5703 | 1240658.3906
8 | 2650288.2411 | 1240647.5208 | 2650307.3187 | 1240659.0677
9 | 2650368.0682 | 1240596.9555 | 2650381.5079 | 1240587.7238
10 | 2650375.3245 | 1240620.7967 | 2650353.3881 | 1240616.4348
11 | 2650241.9392 | 1240635.8566 | 2650278.8489 | 1240646.7519 | 2650282.2452 | 1240647.0299
12 | 2650262.7145 | 1240672.8649 | 2650266.0657 | 1240670.5148 | 2650276.5703 | 1240658.3906
13 | 2650318.266 | 1240672.8847 | 2650315.6459 | 1240666.8322 | 2650307.3187 | 1240659.0677 | 2650307.3187 | 1240659.0677
14 | 2650441.4827 | 1240564.2543 | 2650433.2595 | 1240564.7181 | 2650400.2739 | 1240574.8337 | 2650381.5079 | 1240587.7238
15 | 2650375.3245 | 1240620.7967 | 2650391.1719 | 1240616.4601
16 | 2650375.3245 | 1240620.7967 | 2650367.9579 | 1240644.6303
17 | 2650241.9392 | 1240635.8566 | 2650230.3315 | 1240632.4301
18 | 2650318.266 | 1240672.8847 | 2650319.124 | 1240674.8669 | 2650320.6759 | 1240683.5747 | 2650320.9656 | 1240689.17
19 | 2650441.4827 | 1240564.2543 | 2650433.0835 | 1240559.6244 | 2650419.8481 | 1240556.6934
20 | 2650441.4827 | 1240564.2543 | 2650445.8549 | 1240565.1952
21 | 2650391.1719 | 1240616.4601 | 2650394.3236 | 1240615.5976
22 | 2650367.9579 | 1240644.6303 | 2650367.9074 | 1240644.7939 | 2650360.337 | 1240661.9799
23 | 2650315.6334 | 1240710.2383 | 2650321.0917 | 1240691.6057 | 2650320.9656 | 1240689.17
24 | 2650419.8481 | 1240556.6934 | 2650409.9575 | 1240554.5032
25 | 2650445.8549 | 1240565.1952 | 2650446.4342 | 1240565.3199
26 | 2650420.8326 | 1240606.8466 | 2650404.5261 | 1240612.8058 | 2650394.3236 | 1240615.5976
27 | 2650358.4216 | 1240666.3283 | 2650360.337 | 1240661.9799
28 | 2650460.3117 | 1240568.8199 | 2650457.242 | 1240567.6459 | 2650446.4342 | 1240565.3199
29 | 2650480.5845 | 1240576.5737 | 2650460.3117 | 1240568.8199
30 | 2650480.5845 | 1240576.5737 | 2650493.811 | 1240581.6325 | 2650495.5281 | 1240582.3291
31 | 2650409.9575 | 1240554.5032 | 2650405.1512 | 1240553.4388 | 2650379.6989 | 1240549.9428 | 2650363.0161 | 1240551.1021 | 2650354.7615 | 1240553.7675
32 | 2650507.7514 | 1240587.288 | 2650495.5281 | 1240582.3291
33 | 2650336.0019 | 1240559.825 | 2650354.7615 | 1240553.7675
34 | 2650507.7514 | 1240587.288 | 2650499.5438 | 1240595.7016
35 | 2650315.5188 | 1240566.4389 | 2650336.0019 | 1240559.825
36 | 2650332.718 | 1240803.422 | 2650334.8711 | 1240816.1153 | 2650340.1916 | 1240825.3331 | 2650347.4167 | 1240830.1753 | 2650354.8245 | 1240831.7732
37 | 2650373.4396 | 1240835.7885 | 2650354.8245 | 1240831.7732
38 | 2650332.718 | 1240803.422 | 2650345.9498 | 1240803.4121
39 | 2650332.718 | 1240803.422 | 2650339.2416 | 1240787.4101
40 | 2650332.718 | 1240803.422 | 2650328.6175 | 1240800.1296 | 2650317.278 | 1240795.9088
41 | 2650373.4396 | 1240835.7885 | 2650378.9265 | 1240841.4165 | 2650380.6176 | 1240844.068
42 | 2650373.4396 | 1240835.7885 | 2650381.324 | 1240835.9999 | 2650404.789 | 1240828.5163 | 2650414.7136 | 1240831.5782
43 | 2650367.8032 | 1240803.3957 | 2650345.9498 | 1240803.4121
44 | 2650339.2416 | 1240787.4101 | 2650340.2114 | 1240785.0297
45 | 2650307.6487 | 1240792.3246 | 2650317.278 | 1240795.9088
46 | 2650380.6176 | 1240844.068 | 2650383.1945 | 1240848.1084
47 | 2650414.7136 | 1240831.5782 | 2650425.1344 | 1240834.7932
48 | 2650376.0736 | 1240803.3895 | 2650367.8032 | 1240803.3957
49 | 2650340.2114 | 1240785.0297 | 2650341.5209 | 1240781.8158 | 2650347.7639 | 1240764.0562
50 | 2650388.3169 | 1240947.4658 | 2650390.9599 | 1240942.5183 | 2650398.8211 | 1240913.377 | 2650401.2925 | 1240899.2553 | 2650401.5255 | 1240887.8387 | 2650399.4655 | 1240875.7799 | 2650396.1913 | 1240867.7914 | 2650388.0597 | 1240855.7367 | 2650383.1945 | 1240848.1084
51 | 2650378.6911 | 1240700.7182 | 2650378.0995 | 1240701.8734 | 2650360.4248 | 1240731.7765 | 2650348.8118 | 1240761.0751 | 2650347.7639 | 1240764.0562
52 | 2650333.4268 | 1240940.9739 | 2650355.9595 | 1240941.7321 | 2650370.2876 | 1240942.5986 | 2650381.6497 | 1240945.508 | 2650388.3169 | 1240947.4658
53 | 2650380.1193 | 1240957.4584 | 2650384.4524 | 1240952.9144 | 2650388.3169 | 1240947.4658
54 | 2650387.9702 | 1240682.5975 | 2650378.6911 | 1240700.7182
55 | 2650333.4268 | 1240940.9739 | 2650210.4872 | 1241073.1536
56 | 2650380.1193 | 1240957.4584 | 2650393.41 | 1240971.1668
57 | 2650219.0568 | 1240697.1885 | 2650217.7747 | 1240697.736
58 | 2650219.0568 | 1240697.1885 | 2650220.5079 | 1240696.5688 | 2650232.9877 | 1240691.8027
59 | 2650238.9641 | 1240689.5203 | 2650232.9877 | 1240691.8027
60 | 2650238.9641 | 1240689.5203 | 2650243.444 | 1240698.0193 | 2650249.2077 | 1240702.2486 | 2650252.9889 | 1240703.385
61 | 2650256.9009 | 1240704.5607 | 2650252.9889 | 1240703.385
62 | 2650054.1812 | 1240857.6965 | 2650060.9056 | 1240839.1152 | 2650073.7585 | 1240820.4001 | 2650076.2644 | 1240816.9352
63 | 2650076.2644 | 1240816.9352 | 2649939.5001 | 1240628.5329
64 | 2650047.6585 | 1240875.7208 | 2650054.1812 | 1240857.6965
65 | 2649939.5001 | 1240628.5329 | 2649923.8571 | 1240641.8546 | 2649894.3717 | 1240659.4184 | 2649885.8919 | 1240660.7481 | 2649880.3493 | 1240661.6688 | 2649871.0462 | 1240661.9909 | 2649866.2009 | 1240661.3503
66 | 2650277.1231 | 1240710.6381 | 2650256.9009 | 1240704.5607
67 | 2650047.6585 | 1240875.7208 | 2650046.7775 | 1240878.1551 | 2650034.2901 | 1240905.0477
68 | 2650278.1062 | 1240710.9335 | 2650277.1231 | 1240710.6381
69 | 2650387.9702 | 1240682.5975 | 2650397.4981 | 1240663.9909 | 2650408.973 | 1240654.5598 | 2650423.7488 | 1240648.2144 | 2650437.6032 | 1240643.909
70 | 2650437.6032 | 1240643.909 | 2650451.087 | 1240639.7187 | 2650465.1498 | 1240630.9657 | 2650468.7684 | 1240627.2556
71 | 2650488.4085 | 1240607.1187 | 2650468.7684 | 1240627.2556
72 | 2650499.5438 | 1240595.7016 | 2650488.4085 | 1240607.1187
73 | 2650489.5359 | 1240892.5378 | 2650490.1074 | 1240888.1578 | 2650496.4958 | 1240871.3455 | 2650505.7151 | 1240856.8477 | 2650519.6092 | 1240840.3217 | 2650537.6238 | 1240824.5424
74 | 2650473.6134 | 1241048.6231 | 2650487.2523 | 1240910.0368 | 2650489.5359 | 1240892.5378
75 | 2650564.7148 | 1240800.8129 | 2650537.6238 | 1240824.5424
76 | 2650473.6134 | 1241048.6231 | 2650467.9633 | 1241099.5753 | 2650463.8173 | 1241117.6853 | 2650457.2186 | 1241136.1525 | 2650455.0861 | 1241140.3212
77 | 2650473.6134 | 1241048.6231 | 2650467.7153 | 1241047.8169 | 2650463.4172 | 1241044.6783 | 2650450.8743 | 1241030.3957 | 2650408.5609 | 1240991.5888 | 2650401.3491 | 1240982.5327 | 2650397.3359 | 1240975.2161 | 2650393.41 | 1240971.1668
78 | 2650564.7148 | 1240800.8129 | 2650574.7029 | 1240784.8541 | 2650578.6493 | 1240776.7748
79 | 2650564.7148 | 1240800.8129 | 2650566.6777 | 1240812.7041 | 2650568.8849 | 1240826.0872 | 2650574.4367 | 1240833.8507 | 2650585.8482 | 1240838.3692
80 | 2650453.1036 | 1241144.1969 | 2650455.0861 | 1241140.3212
81 | 2650578.6493 | 1240776.7748 | 2650580.6072 | 1240772.7664
82 | 2650580.6072 | 1240772.7664 | 2650592.4217 | 1240748.5794
83 | 2650614.6228 | 1240724.6283 | 2650603.2669 | 1240731.8625 | 2650595.1034 | 1240743.0893 | 2650592.4217 | 1240748.5794
84 | 2650638.6898 | 1240723.6939 | 2650627.288 | 1240722.2053 | 2650615.0127 | 1240724.3799 | 2650614.6228 | 1240724.6283
85 | 2650180.6117 | 1241060.9821 | 2650210.4872 | 1241073.1536
86 | 2650210.4872 | 1241073.1536 | 2650204.6768 | 1241078.4733
87 | 2650354.1377 | 1240676.0533 | 2650358.4216 | 1240666.3283
88 | 2650430.9291 | 1240603.1569 | 2650420.8326 | 1240606.8466
89 | 2649946.7823 | 1241022.953 | 2649959.087 | 1241008.2023 | 2649971.6653 | 1240990.5854 | 2649992.255 | 1240965.2643 | 2650012.5312 | 1240939.4847 | 2650030.2748 | 1240913.695 | 2650034.2901 | 1240905.0477
90 | 2650278.1062 | 1240710.9335 | 2650297.653 | 1240716.808
91 | 2650315.6334 | 1240710.2383 | 2650315.6334 | 1240710.2383 | 2650312.5661 | 1240716.1829 | 2650306.082 | 1240719.3412 | 2650297.653 | 1240716.808
92 | 2649962.7986 | 1240962.4702 | 2649961.8463 | 1240987.5786 | 2649959.5284 | 1240997.0765 | 2649951.2669 | 1241012.9508 | 2649946.7823 | 1241022.953
93 | 2649946.7823 | 1241022.953 | 2649950.0631 | 1241101.3928
94 | 2649950.0631 | 1241101.3928 | 2649952.8181 | 1241100.8549 | 2650001.8175 | 1241085.7795 | 2650013.7335 | 1241084.857 | 2650038.7933 | 1241087.1251 | 2650041.0491 | 1241087.258
95 | 2650168.984 | 1241105.6243 | 2650182.8961 | 1241098.4148 | 2650204.6768 | 1241078.4733
96 | 2650168.984 | 1241105.6243 | 2650131.9153 | 1241097.3837 | 2650075.9887 | 1241089.3177 | 2650067.9633 | 1241088.8446
97 | 2650041.0491 | 1241087.258 | 2650067.9633 | 1241088.8446
98 | 2650155.9369 | 1241055.1921 | 2650180.6117 | 1241060.9821

## bus_geodata
| x | y | coords
0 | 2650328.2504 | 1240610.7722
1 | 2650315.3385 | 1240610.2966
2 | 2650346.9504 | 1240611.4611
3 | 2650306.5703 | 1240609.9736
4 | 2650288.2411 | 1240647.5208
5 | 2650368.0682 | 1240596.9555
6 | 2650353.3881 | 1240616.4348
7 | 2650282.2452 | 1240647.0299
8 | 2650276.5703 | 1240658.3906
9 | 2650307.3187 | 1240659.0677
10 | 2650381.5079 | 1240587.7238
11 | 2650375.3245 | 1240620.7967
12 | 2650241.9392 | 1240635.8566
13 | 2650262.7145 | 1240672.8649
14 | 2650318.266 | 1240672.8847
15 | 2650441.4827 | 1240564.2543
16 | 2650391.1719 | 1240616.4601
17 | 2650367.9579 | 1240644.6303
18 | 2650230.3315 | 1240632.4301
19 | 2650320.9656 | 1240689.17
20 | 2650419.8481 | 1240556.6934
21 | 2650445.8549 | 1240565.1952
22 | 2650394.3236 | 1240615.5976
23 | 2650360.337 | 1240661.9799
24 | 2650446.4342 | 1240565.3199
25 | 2650460.3117 | 1240568.8199
26 | 2650480.5845 | 1240576.5737
27 | 2650409.9575 | 1240554.5032
28 | 2650495.5281 | 1240582.3291
29 | 2650354.7615 | 1240553.7675
30 | 2650507.7514 | 1240587.288
31 | 2650336.0019 | 1240559.825
32 | 2650354.8245 | 1240831.7732
33 | 2650332.718 | 1240803.422
34 | 2650373.4396 | 1240835.7885
35 | 2650345.9498 | 1240803.4121
36 | 2650339.2416 | 1240787.4101
37 | 2650317.278 | 1240795.9088
38 | 2650380.6176 | 1240844.068
39 | 2650414.7136 | 1240831.5782
40 | 2650367.8032 | 1240803.3957
41 | 2650340.2114 | 1240785.0297
42 | 2650307.6487 | 1240792.3246
43 | 2650383.1945 | 1240848.1084
44 | 2650425.1344 | 1240834.7932
45 | 2650376.0736 | 1240803.3895
46 | 2650347.7639 | 1240764.0562
47 | 2650388.3169 | 1240947.4658
48 | 2650378.6911 | 1240700.7182
49 | 2650333.4268 | 1240940.9739
50 | 2650380.1193 | 1240957.4584
51 | 2650219.0568 | 1240697.1885
52 | 2650217.7747 | 1240697.736
53 | 2650232.9877 | 1240691.8027
54 | 2650238.9641 | 1240689.5203
55 | 2650252.9889 | 1240703.385
56 | 2650076.2644 | 1240816.9352
57 | 2650054.1812 | 1240857.6965
58 | 2649939.5001 | 1240628.5329
59 | 2650256.9009 | 1240704.5607
60 | 2650047.6585 | 1240875.7208
61 | 2649866.2009 | 1240661.3503
62 | 2650277.1231 | 1240710.6381
63 | 2650387.9702 | 1240682.5975
64 | 2650437.6032 | 1240643.909
65 | 2650468.7684 | 1240627.2556
66 | 2650488.4085 | 1240607.1187
67 | 2650499.5438 | 1240595.7016
68 | 2650315.5188 | 1240566.4389
69 | 2650489.5359 | 1240892.5378
70 | 2650537.6238 | 1240824.5424
71 | 2650473.6134 | 1241048.6231
72 | 2650564.7148 | 1240800.8129
73 | 2650455.0861 | 1241140.3212
74 | 2650393.41 | 1240971.1668
75 | 2650578.6493 | 1240776.7748
76 | 2650585.8482 | 1240838.3692
77 | 2650453.1036 | 1241144.1969
78 | 2650580.6072 | 1240772.7664
79 | 2650592.4217 | 1240748.5794
80 | 2650614.6228 | 1240724.6283
81 | 2650210.4872 | 1241073.1536
82 | 2650358.4216 | 1240666.3283
83 | 2650354.1377 | 1240676.0533
84 | 2650420.8326 | 1240606.8466
85 | 2650430.9291 | 1240603.1569
86 | 2650034.2901 | 1240905.0477
87 | 2650638.6898 | 1240723.6939
88 | 2650278.1062 | 1240710.9335
89 | 2650315.6334 | 1240710.2383
90 | 2650297.653 | 1240716.808
91 | 2649946.7823 | 1241022.953
92 | 2649962.7986 | 1240962.4702
93 | 2649950.0631 | 1241101.3928
94 | 2650168.984 | 1241105.6243
95 | 2650204.6768 | 1241078.4733
96 | 2650067.9633 | 1241088.8446
97 | 2650041.0491 | 1241087.258
98 | 2650180.6117 | 1241060.9821
99 | 2650155.9369 | 1241055.1921
100 | 2650288.2411 | 1240647.5208

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1