## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4146-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4146-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4146-3_0_3_node_16 | 0.4 | n |  | TRUE
3 | bus_LV_4146-3_0_3_node_21 | 0.4 | n |  | TRUE
4 | bus_LV_4146-3_0_3_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_4146-3_0_3_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_4146-3_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_4146-3_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4146-3_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4146-3_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_4146-3_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_4146-3_0_3_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_4146-3_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_4146-3_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_4146-3_0_3_node_67 | 0.4 | n |  | TRUE
15 | bus_LV_4146-3_0_3_node_77 | 0.4 | n |  | TRUE
16 | bus_LV_4146-3_0_3_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_4146-3_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_4146-3_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_4146-3_0_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_4146-3_0_3_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_4146-3_0_3_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_4146-3_0_3_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_4146-3_0_3_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_4146-3_0_3_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_4146-3_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_4146-3_0_3_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_4146-3_0_3_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_4146-3_0_3_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_4146-3_0_3_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_4146-3_0_3_node_75 | 0.4 | n |  | TRUE
31 | bus_LV_4146-3_0_3_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_4146-3_0_3_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_4146-3_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_4146-3_0_3_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_4146-3_0_3_node_73 | 0.4 | n |  | TRUE
36 | bus_LV_4146-3_0_3_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_4146-3_0_3_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_4146-3_0_3_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_4146-3_0_3_node_85 | 0.4 | n |  | TRUE
40 | bus_LV_4146-3_0_3_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_4146-3_0_3_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_4146-3_0_3_node_59 | 0.4 | n |  | TRUE
43 | bus_LV_4146-3_0_3_node_60 | 0.4 | n |  | TRUE
44 | bus_LV_4146-3_0_3_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_4146-3_0_3_node_64 | 0.4 | n |  | TRUE
46 | bus_LV_4146-3_0_3_node_58 | 0.4 | n |  | TRUE
47 | bus_LV_4146-3_0_3_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_4146-3_0_3_node_74 | 0.4 | n |  | TRUE
49 | bus_LV_4146-3_0_3_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_4146-3_0_3_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_4146-3_0_3_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_4146-3_0_3_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_4146-3_0_3_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_4146-3_0_3_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_4146-3_0_3_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_4146-3_0_3_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_4146-3_0_3_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_4146-3_0_3_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_4146-3_0_3_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_4146-3_0_3_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_4146-3_0_3_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_4146-3_0_3_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_4146-3_0_3_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_4146-3_0_3_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_4146-3_0_3_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_4146-3_0_3_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_4146-3_0_3_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_4146-3_0_3_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_4146-3_0_3_node_78 | 0.4 | n |  | TRUE
70 | bus_LV_4146-3_0_3_node_79 | 0.4 | n |  | TRUE
71 | bus_LV_4146-3_0_3_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_4146-3_0_3_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_4146-3_0_3_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_4146-3_0_3_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_4146-3_0_3_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_4146-3_0_3_node_84 | 0.4 | n |  | TRUE
77 | bus_LV_4146-3_0_3_node_76 | 0.4 | n |  | TRUE
78 | bus_LV_4146-3_0_3_node_83 | 0.4 | n |  | TRUE
79 | bus_LV_4146-3_0_3_node_81 | 0.4 | n |  | TRUE
80 | bus_LV_4146-3_0_3_node_82 | 0.4 | n |  | TRUE
81 | bus_MV_482_0_node_145 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4146-3_0_3_load_0 | 0 | 0.00046947 | 0.00011766 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4146-3_0_3_load_1 | 1 | 0.00093971 | 0.00023551 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4146-3_0_3_load_16 | 2 | 0.00042624 | 0.00010683 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4146-3_0_3_load_21 | 3 | 0.00021721 | 5.4438e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4146-3_0_3_load_17 | 4 | 0.0018032 | 0.00045192 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4146-3_0_3_load_10 | 5 | 0.00014576 | 3.653e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4146-3_0_3_load_4 | 6 | 0.00062286 | 0.0001561 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4146-3_0_3_load_5 | 7 | 0.00027301 | 6.8422e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4146-3_0_3_load_7 | 9 | 0.00038534 | 9.6576e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4146-3_0_3_load_8 | 10 | 0.00051665 | 0.00012948 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4146-3_0_3_load_11 | 11 | 0.00029943 | 7.5045e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4146-3_0_3_load_9 | 12 | 0.00014589 | 3.6564e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4146-3_0_3_load_12 | 13 | 0.0011737 | 0.00029415 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4146-3_0_3_load_77 | 15 | 0.0002603 | 6.5239e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4146-3_0_3_load_18 | 16 | 0.00047806 | 0.00011981 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4146-3_0_3_load_13 | 17 | 0.00049062 | 0.00012296 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4146-3_0_3_load_14 | 18 | 0.0015218 | 0.00038139 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4146-3_0_3_load_31 | 20 | 0.00033879 | 8.4909e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4146-3_0_3_load_32 | 21 | 0.001295 | 0.00032455 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4146-3_0_3_load_33 | 22 | 0.001858 | 0.00046566 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4146-3_0_3_load_38 | 23 | 0.00068602 | 0.00017193 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4146-3_0_3_load_19 | 25 | 0.0015607 | 0.00039115 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4146-3_0_3_load_20 | 26 | 0.00086151 | 0.00021591 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4146-3_0_3_load_35 | 27 | 0.00029879 | 7.4884e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4146-3_0_3_load_37 | 28 | 0.0018086 | 0.00045327 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4146-3_0_3_load_30 | 29 | 0.0027717 | 0.00069466 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4146-3_0_3_load_75 | 30 | 0.00025738 | 6.4505e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4146-3_0_3_load_27 | 31 | 0.00060752 | 0.00015226 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4146-3_0_3_load_28 | 32 | 0.00077335 | 0.00019382 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4146-3_0_3_load_26 | 33 | 0.0012085 | 0.00030288 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4146-3_0_3_load_29 | 34 | 0.00076598 | 0.00019197 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4146-3_0_3_load_73 | 35 | 0.00094036 | 0.00023568 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4146-3_0_3_load_25 | 36 | 0.00084091 | 0.00021075 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4146-3_0_3_load_22 | 37 | 0.0035778 | 0.00089669 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4146-3_0_3_load_85 | 39 | 0.0013699 | 0.00034333 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4146-3_0_3_load_42 | 41 | 0.0022279 | 0.00055837 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4146-3_0_3_load_59 | 42 | 0.0017364 | 0.00043518 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4146-3_0_3_load_60 | 43 | 0.0044594 | 0.0011176 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4146-3_0_3_load_40 | 44 | 0.0013252 | 0.00033214 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4146-3_0_3_load_64 | 45 | 0.00072322 | 0.00018126 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4146-3_0_3_load_58 | 46 | 0.0021756 | 0.00054525 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4146-3_0_3_load_74 | 48 | 0.00089196 | 0.00022355 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4146-3_0_3_load_39 | 49 | 0.0021144 | 0.00052992 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4146-3_0_3_load_50 | 52 | 0.0018671 | 0.00046794 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4146-3_0_3_load_49 | 53 | 0.0098728 | 0.0024744 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4146-3_0_3_load_53 | 54 | 0.0016471 | 0.00041281 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4146-3_0_3_load_62 | 55 | 0.0022174 | 0.00055572 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4146-3_0_3_load_47 | 56 | 0.0067035 | 0.0016801 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4146-3_0_3_load_51 | 57 | 0.0021675 | 0.00054322 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4146-3_0_3_load_45 | 58 | 0.0089882 | 0.0022527 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4146-3_0_3_load_46 | 59 | 0.0054439 | 0.0013644 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4146-3_0_3_load_48 | 60 | 0.0089031 | 0.0022313 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4146-3_0_3_load_55 | 61 | 0.0053556 | 0.0013422 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4146-3_0_3_load_56 | 62 | 0.0084987 | 0.00213 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4146-3_0_3_load_63 | 63 | 0.0034299 | 0.00085962 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4146-3_0_3_load_52 | 64 | 0.0014465 | 0.00036253 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4146-3_0_3_load_54 | 65 | 0.0016701 | 0.00041857 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4146-3_0_3_load_61 | 66 | 0.002847 | 0.00071352 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4146-3_0_3_load_57 | 67 | 0.0037516 | 0.00094023 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4146-3_0_3_load_66 | 68 | 0.0010163 | 0.00025471 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4146-3_0_3_load_78 | 69 | 0.00099467 | 0.00024929 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4146-3_0_3_load_79 | 70 | 0.00060788 | 0.00015235 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4146-3_0_3_load_68 | 71 | 0.0048063 | 0.0012046 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4146-3_0_3_load_69 | 72 | 0.0014656 | 0.00036731 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4146-3_0_3_load_70 | 73 | 0.0016363 | 0.0004101 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4146-3_0_3_load_71 | 74 | 0.0023821 | 0.00059701 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4146-3_0_3_load_72 | 75 | 0.0019492 | 0.00048851 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4146-3_0_3_load_84 | 76 | 0.0021159 | 0.00053029 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4146-3_0_3_load_76 | 77 | 0.00080001 | 0.0002005 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4146-3_0_3_load_83 | 78 | 0.0024556 | 0.00061542 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4146-3_0_3_load_81 | 79 | 0.00080625 | 0.00020207 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4146-3_0_3_load_82 | 80 | 0.00097066 | 0.00024327 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4146-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.01084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_4146-3_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.087615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_4146-3_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.10023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_4146-3_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.064851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_4146-3_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.015346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_4146-3_0_3_line_5 | NAYY 4x150 SE | 4 | 16 | 0.052027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_4146-3_0_3_line_6 | NAYY 4x150 SE | 5 | 12 | 0.0080185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_4146-3_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.014064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_4146-3_0_3_line_8 | NAYY 4x150 SE | 6 | 8 | 0.021745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_4146-3_0_3_line_9 | NAYY 4x150 SE | 7 | 9 | 0.026133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_4146-3_0_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.010703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_4146-3_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.089274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_4146-3_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.0084877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_4146-3_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.049358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_4146-3_0_3_line_14 | NAYY 4x150 SE | 13 | 17 | 0.05261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_4146-3_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.11247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_4146-3_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.016449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_4146-3_0_3_line_17 | NAYY 4x150 SE | 15 | 23 | 0.019122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_4146-3_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.028512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_4146-3_0_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.093607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_4146-3_0_3_line_20 | NAYY 4x150 SE | 19 | 25 | 0.013969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_4146-3_0_3_line_21 | NAYY 4x150 SE | 19 | 26 | 0.039084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4146-3_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 5.7704e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4146-3_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.0083957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4146-3_0_3_line_24 | NAYY 4x150 SE | 22 | 27 | 0.0037221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4146-3_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.099338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_4146-3_0_3_line_26 | NAYY 4x150 SE | 24 | 28 | 0.03758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4146-3_0_3_line_27 | NAYY 4x150 SE | 24 | 29 | 0.060838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_4146-3_0_3_line_28 | NAYY 4x150 SE | 25 | 30 | 0.04766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_4146-3_0_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.02532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4146-3_0_3_line_30 | NAYY 4x150 SE | 29 | 34 | 0.067385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_4146-3_0_3_line_31 | NAYY 4x150 SE | 30 | 35 | 0.024175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_4146-3_0_3_line_32 | NAYY 4x150 SE | 31 | 32 | 0.036864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_4146-3_0_3_line_33 | NAYY 4x150 SE | 31 | 33 | 0.013605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4146-3_0_3_line_34 | NAYY 4x150 SE | 32 | 34 | 0.061433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_4146-3_0_3_line_35 | NAYY 4x150 SE | 33 | 36 | 0.03568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4146-3_0_3_line_36 | NAYY 4x150 SE | 35 | 48 | 0.048908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_4146-3_0_3_line_37 | NAYY 4x150 SE | 37 | 38 | 0.05761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4146-3_0_3_line_38 | NAYY 4x150 SE | 37 | 39 | 0.041141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4146-3_0_3_line_39 | NAYY 4x150 SE | 38 | 40 | 0.034334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4146-3_0_3_line_40 | NAYY 4x150 SE | 40 | 41 | 0.058443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4146-3_0_3_line_41 | NAYY 4x150 SE | 40 | 42 | 0.030056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4146-3_0_3_line_42 | NAYY 4x150 SE | 40 | 43 | 0.047429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4146-3_0_3_line_43 | NAYY 4x150 SE | 41 | 44 | 0.042027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4146-3_0_3_line_44 | NAYY 4x150 SE | 42 | 45 | 0.0041018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4146-3_0_3_line_45 | NAYY 4x150 SE | 44 | 49 | 0.020574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4146-3_0_3_line_46 | NAYY 4x150 SE | 46 | 47 | 0.038316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4146-3_0_3_line_47 | NAYY 4x150 SE | 47 | 54 | 0.035757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_4146-3_0_3_line_48 | NAYY 4x150 SE | 47 | 50 | 0.015542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_4146-3_0_3_line_49 | NAYY 4x150 SE | 48 | 77 | 0.02322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_4146-3_0_3_line_50 | NAYY 4x150 SE | 49 | 50 | 0.025977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4146-3_0_3_line_51 | NAYY 4x150 SE | 50 | 51 | 0.048873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_4146-3_0_3_line_52 | NAYY 4x150 SE | 51 | 52 | 0.010781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_4146-3_0_3_line_53 | NAYY 4x150 SE | 51 | 53 | 0.015122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4146-3_0_3_line_54 | NAYY 4x150 SE | 52 | 55 | 0.028262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_4146-3_0_3_line_55 | NAYY 4x150 SE | 53 | 56 | 0.0060836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4146-3_0_3_line_56 | NAYY 4x150 SE | 54 | 57 | 0.029546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_4146-3_0_3_line_57 | NAYY 4x150 SE | 55 | 63 | 0.015775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_4146-3_0_3_line_58 | NAYY 4x150 SE | 56 | 58 | 0.021593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4146-3_0_3_line_59 | NAYY 4x150 SE | 57 | 64 | 0.032282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_4146-3_0_3_line_60 | NAYY 4x150 SE | 58 | 59 | 0.013942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4146-3_0_3_line_61 | NAYY 4x150 SE | 59 | 60 | 0.012116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4146-3_0_3_line_62 | NAYY 4x150 SE | 60 | 61 | 0.023222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4146-3_0_3_line_63 | NAYY 4x150 SE | 61 | 62 | 0.0039277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4146-3_0_3_line_64 | NAYY 4x150 SE | 62 | 67 | 0.013902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4146-3_0_3_line_65 | NAYY 4x150 SE | 63 | 68 | 0.0070684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_4146-3_0_3_line_66 | NAYY 4x150 SE | 64 | 65 | 0.023929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
67 | LV_4146-3_0_3_line_67 | NAYY 4x150 SE | 65 | 66 | 0.014319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_4146-3_0_3_line_68 | NAYY 4x150 SE | 68 | 69 | 0.024754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
69 | LV_4146-3_0_3_line_69 | NAYY 4x150 SE | 69 | 70 | 0.0079881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_4146-3_0_3_line_70 | NAYY 4x150 SE | 70 | 79 | 0.021823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
71 | LV_4146-3_0_3_line_71 | NAYY 4x150 SE | 71 | 72 | 0.017873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
72 | LV_4146-3_0_3_line_72 | NAYY 4x150 SE | 71 | 73 | 0.032183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
73 | LV_4146-3_0_3_line_73 | NAYY 4x150 SE | 72 | 74 | 0.028262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
74 | LV_4146-3_0_3_line_74 | NAYY 4x150 SE | 73 | 75 | 0.012703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
75 | LV_4146-3_0_3_line_75 | NAYY 4x150 SE | 74 | 76 | 0.00061912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
76 | LV_4146-3_0_3_line_76 | NAYY 4x150 SE | 75 | 77 | 0.013505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
77 | LV_4146-3_0_3_line_77 | NAYY 4x150 SE | 76 | 78 | 0.027601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
78 | LV_4146-3_0_3_line_78 | NAYY 4x150 SE | 78 | 80 | 0.0024399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
79 | LV_4146-3_0_3_line_79 | NAYY 4x150 SE | 79 | 80 | 0.027791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4146-3_0_3_trafo_61 | 0.25 MVA 20/0.4 kV | 81 | 66 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2652191.7137 | 1240916.2829 | 2652186.8775 | 1240915.3076 | 2652181.0698 | 1240916.2683 | 2652181.0525 | 1240916.2783
1 | 2652266.1208 | 1240870.0239 | 2652191.7137 | 1240916.2829
2 | 2652147.7844 | 1241010.8314 | 2652181.0525 | 1240916.2783
3 | 2652229.9242 | 1240816.2336 | 2652257.978 | 1240858.9845 | 2652266.1208 | 1240870.0239
4 | 2652133.0364 | 1241006.6123 | 2652142.1212 | 1241009.4433 | 2652147.7844 | 1241010.8314
5 | 2652229.9242 | 1240816.2336 | 2652224.0302 | 1240807.2518 | 2652204.1102 | 1240771.0918
6 | 2652125.381 | 1241004.2268 | 2652133.0364 | 1241006.6123
7 | 2652086.3614 | 1240991.8511 | 2652072.9605 | 1240987.5825
8 | 2652107.059 | 1240998.5173 | 2652101.9477 | 1240996.8158 | 2652086.3614 | 1240991.8511
9 | 2652047.9785 | 1240979.9911 | 2652050.3677 | 1240980.3861 | 2652072.9605 | 1240987.5825
10 | 2652107.059 | 1240998.5173 | 2652117.2776 | 1241001.7016
11 | 2652047.9785 | 1240979.9911 | 2652012.7915 | 1240974.175 | 2652001.4409 | 1240971.774 | 2651991.1384 | 1240967.1141 | 2651984.6163 | 1240960.7306 | 2651980.8446 | 1240952.8146 | 2651976.0466 | 1240940.9422
12 | 2652125.381 | 1241004.2268 | 2652117.2776 | 1241001.7016
13 | 2651976.0466 | 1240940.9422 | 2651974.1619 | 1240936.2785 | 2651966.7956 | 1240925.2735 | 2651953.1508 | 1240907.6759 | 2651947.4391 | 1240900.9586
14 | 2651915.1638 | 1240859.4976 | 2651922.4543 | 1240868.6484 | 2651931.5295 | 1240882.2478 | 2651947.4391 | 1240900.9586
15 | 2652196.1736 | 1240756.6847 | 2652191.4308 | 1240753.4631 | 2652184.6001 | 1240752.9361 | 2652161.5924 | 1240765.7202 | 2652155.6851 | 1240768.5258 | 2652148.6777 | 1240770.043 | 2652141.2079 | 1240769.9774 | 2652131.2143 | 1240767.9884 | 2652093.3095 | 1240749.4456
16 | 2652196.1736 | 1240756.6847 | 2652204.1102 | 1240771.0918
17 | 2652076.1331 | 1240741.043 | 2652076.1331 | 1240741.043 | 2652093.3095 | 1240749.4456
18 | 2651915.1638 | 1240859.4976 | 2651909.4932 | 1240852.38 | 2651894.4386 | 1240840.1249
19 | 2651819.5233 | 1240784.0494 | 2651847.2396 | 1240803.4151 | 2651890.4539 | 1240836.8812 | 2651894.4386 | 1240840.1249
20 | 2651819.5233 | 1240784.0494 | 2651808.3607 | 1240775.6513
21 | 2651810.8809 | 1240822.1657 | 2651819.5233 | 1240784.0494
22 | 2652118.4524 | 1240624.4491 | 2652118.3976 | 1240624.4312
23 | 2652118.3976 | 1240624.4312 | 2652118.2752 | 1240624.3913 | 2652110.2343 | 1240626.3114
24 | 2652106.6885 | 1240627.4157 | 2652108.4399 | 1240626.7399 | 2652110.2343 | 1240626.3114
25 | 2652047.5784 | 1240646.586 | 2652047.1661 | 1240653.9428 | 2652050.3926 | 1240667.1242 | 2652058.0985 | 1240694.6099 | 2652064.7596 | 1240714.4813 | 2652071.61 | 1240730.8633 | 2652076.1331 | 1240741.043
26 | 2652047.5784 | 1240646.586 | 2652054.7161 | 1240647.4714 | 2652075.7018 | 1240639.3722 | 2652083.0663 | 1240636.5306
27 | 2652047.5784 | 1240646.586 | 2652044.8139 | 1240646.2505 | 2652034.0165 | 1240639.3291 | 2652024.1972 | 1240629.5033 | 2652015.8001 | 1240616.1543 | 2652010.1427 | 1240602.518 | 2652010.0215 | 1240601.7246
28 | 2651770.6426 | 1240746.5206 | 2651770.6426 | 1240746.5206 | 2651796.0788 | 1240766.411 | 2651808.3607 | 1240775.6513
29 | 2652106.6885 | 1240627.4157 | 2652083.0663 | 1240636.5306
30 | 2652038 | 1240543.071 | 2652027.3997 | 1240557.4395 | 2652014.1983 | 1240579.7719 | 2652008.3119 | 1240590.5385 | 2652010.0215 | 1240601.7246
31 | 2651752.4239 | 1240730.6306 | 2651770.6426 | 1240746.5206
32 | 2652063.5522 | 1240453.6369 | 2652063.865 | 1240454.3911 | 2652068.8325 | 1240471.6794 | 2652069.7646 | 1240481.7942 | 2652067.4447 | 1240489.348
33 | 2652063.5522 | 1240453.6369 | 2652060.1995 | 1240445.5532 | 2652057.5085 | 1240441.5138
34 | 2652067.4447 | 1240489.348 | 2652067.0403 | 1240490.665 | 2652062.9964 | 1240499.1129 | 2652054.0923 | 1240517.6916 | 2652043.8217 | 1240535.1798 | 2652038 | 1240543.071
35 | 2652029.9617 | 1240419.0669 | 2652055.8409 | 1240439.0107 | 2652057.5085 | 1240441.5138
36 | 2651752.4239 | 1240730.6306 | 2651720.8749 | 1240703.1141 | 2651716.2881 | 1240697.7672
37 | 2651398.1899 | 1240360.877 | 2651365.5505 | 1240373.4808 | 2651344.2914 | 1240381.212
38 | 2651344.2914 | 1240381.212 | 2651326.6883 | 1240418.3966
39 | 2651398.1899 | 1240360.877 | 2651398.6072 | 1240360.7139 | 2651403.9485 | 1240358.6476 | 2651413.1365 | 1240355.0915 | 2651417.0222 | 1240345.6078 | 2651419.5615 | 1240337.9136
40 | 2651419.5615 | 1240337.9136 | 2651416.976 | 1240355.3026 | 2651417.0879 | 1240361.5966 | 2651418.3775 | 1240370.7249 | 2651419.8028 | 1240380.766 | 2651422.2519 | 1240395.7748
41 | 2651419.5615 | 1240337.9136 | 2651399.4098 | 1240323.9078 | 2651395.2829 | 1240320.2485
42 | 2651419.5615 | 1240337.9136 | 2651431.5586 | 1240325.2091 | 2651450.8291 | 1240308.2648 | 2651454.7137 | 1240306.4327
43 | 2651451.3108 | 1240420.0338 | 2651441.1969 | 1240417.1752 | 2651429.9083 | 1240412.7078 | 2651423.946 | 1240406.1519 | 2651423.2638 | 1240401.9766 | 2651422.2519 | 1240395.7748
44 | 2651395.2829 | 1240320.2485 | 2651392.2138 | 1240317.5272
45 | 2651471.109 | 1240425.6295 | 2651451.3108 | 1240420.0338
46 | 2651495.7707 | 1240413.5012 | 2651495.4196 | 1240399.9225 | 2651494.7814 | 1240389.8104 | 2651494.1109 | 1240385.1682 | 2651489.3696 | 1240376.4658
47 | 2651495.7707 | 1240413.5012 | 2651503.4695 | 1240414.2462 | 2651511.3736 | 1240416.6052 | 2651527.8869 | 1240427.4817
48 | 2651495.7707 | 1240413.5012 | 2651496.6115 | 1240429.0187
49 | 2651716.2881 | 1240697.7672 | 2651701.1697 | 1240680.1431
50 | 2651496.6115 | 1240429.0187 | 2651493.5859 | 1240429.1258 | 2651483.1593 | 1240429.0354 | 2651471.109 | 1240425.6295
51 | 2651496.6115 | 1240429.0187 | 2651501.2488 | 1240447.093 | 2651512.5065 | 1240475.1424
52 | 2651512.5065 | 1240475.1424 | 2651518.4639 | 1240484.1274
53 | 2651512.5065 | 1240475.1424 | 2651504.2693 | 1240476.3273 | 2651497.8886 | 1240473.9776
54 | 2651518.4639 | 1240484.1274 | 2651521.493 | 1240488.6959 | 2651537.2897 | 1240505.1092
55 | 2651497.8886 | 1240473.9776 | 2651492.1798 | 1240471.8753
56 | 2651552.5615 | 1240443.7338 | 2651527.8869 | 1240427.4817
57 | 2651537.2897 | 1240505.1092 | 2651546.0206 | 1240514.181 | 2651548.0025 | 1240516.6738
58 | 2651471.9171 | 1240464.4135 | 2651492.1798 | 1240471.8753
59 | 2651552.5615 | 1240443.7338 | 2651560.8611 | 1240449.2004 | 2651577.7121 | 1240463.8732
60 | 2651471.9171 | 1240464.4135 | 2651458.8344 | 1240459.5957
61 | 2651458.8344 | 1240459.5957 | 2651447.4648 | 1240455.4089
62 | 2651425.6733 | 1240447.3841 | 2651447.4648 | 1240455.4089
63 | 2651425.6733 | 1240447.3841 | 2651421.9876 | 1240446.0268
64 | 2651408.9425 | 1240441.2229 | 2651421.9876 | 1240446.0268
65 | 2651552.4014 | 1240522.2066 | 2651548.0025 | 1240516.6738
66 | 2651595.7585 | 1240479.5868 | 2651577.7121 | 1240463.8732
67 | 2651606.5576 | 1240488.99 | 2651595.7585 | 1240479.5868
68 | 2651552.4014 | 1240522.2066 | 2651567.8067 | 1240541.5832
69 | 2651572.475 | 1240548.0622 | 2651568.8788 | 1240542.9316 | 2651567.8067 | 1240541.5832
70 | 2651585.7557 | 1240565.3207 | 2651580.9933 | 1240560.2148 | 2651572.475 | 1240548.0622
71 | 2651661.6698 | 1240637.1506 | 2651658.9202 | 1240634.2074 | 2651648.6449 | 1240624.9287
72 | 2651661.6698 | 1240637.1506 | 2651683.6395 | 1240660.668
73 | 2651648.6449 | 1240624.9287 | 2651627.6689 | 1240605.9874
74 | 2651692.3114 | 1240669.9508 | 2651683.6395 | 1240660.668
75 | 2651627.6689 | 1240605.9874 | 2651627.2094 | 1240605.5725
76 | 2651701.1697 | 1240680.1431 | 2651693.7183 | 1240671.4568 | 2651692.3114 | 1240669.9508
77 | 2651606.7242 | 1240587.0744 | 2651627.2094 | 1240605.5725
78 | 2651606.7242 | 1240587.0744 | 2651604.9133 | 1240585.4392
79 | 2651585.7557 | 1240565.3207 | 2651602.4268 | 1240583.1939 | 2651604.9133 | 1240585.4392

## bus_geodata
| x | y | coords
0 | 2652191.7137 | 1240916.2829
1 | 2652181.0525 | 1240916.2783
2 | 2652266.1208 | 1240870.0239
3 | 2652147.7844 | 1241010.8314
4 | 2652229.9242 | 1240816.2336
5 | 2652133.0364 | 1241006.6123
6 | 2652086.3614 | 1240991.8511
7 | 2652072.9605 | 1240987.5825
8 | 2652107.059 | 1240998.5173
9 | 2652047.9785 | 1240979.9911
10 | 2652117.2776 | 1241001.7016
11 | 2651976.0466 | 1240940.9422
12 | 2652125.381 | 1241004.2268
13 | 2651947.4391 | 1240900.9586
14 | 2652196.1736 | 1240756.6847
15 | 2652093.3095 | 1240749.4456
16 | 2652204.1102 | 1240771.0918
17 | 2651915.1638 | 1240859.4976
18 | 2651894.4386 | 1240840.1249
19 | 2651819.5233 | 1240784.0494
20 | 2652118.3976 | 1240624.4312
21 | 2652118.4524 | 1240624.4491
22 | 2652110.2343 | 1240626.3114
23 | 2652076.1331 | 1240741.043
24 | 2652047.5784 | 1240646.586
25 | 2651808.3607 | 1240775.6513
26 | 2651810.8809 | 1240822.1657
27 | 2652106.6885 | 1240627.4157
28 | 2652083.0663 | 1240636.5306
29 | 2652010.0215 | 1240601.7246
30 | 2651770.6426 | 1240746.5206
31 | 2652063.5522 | 1240453.6369
32 | 2652067.4447 | 1240489.348
33 | 2652057.5085 | 1240441.5138
34 | 2652038 | 1240543.071
35 | 2651752.4239 | 1240730.6306
36 | 2652029.9617 | 1240419.0669
37 | 2651344.2914 | 1240381.212
38 | 2651398.1899 | 1240360.877
39 | 2651326.6883 | 1240418.3966
40 | 2651419.5615 | 1240337.9136
41 | 2651422.2519 | 1240395.7748
42 | 2651395.2829 | 1240320.2485
43 | 2651454.7137 | 1240306.4327
44 | 2651451.3108 | 1240420.0338
45 | 2651392.2138 | 1240317.5272
46 | 2651489.3696 | 1240376.4658
47 | 2651495.7707 | 1240413.5012
48 | 2651716.2881 | 1240697.7672
49 | 2651471.109 | 1240425.6295
50 | 2651496.6115 | 1240429.0187
51 | 2651512.5065 | 1240475.1424
52 | 2651518.4639 | 1240484.1274
53 | 2651497.8886 | 1240473.9776
54 | 2651527.8869 | 1240427.4817
55 | 2651537.2897 | 1240505.1092
56 | 2651492.1798 | 1240471.8753
57 | 2651552.5615 | 1240443.7338
58 | 2651471.9171 | 1240464.4135
59 | 2651458.8344 | 1240459.5957
60 | 2651447.4648 | 1240455.4089
61 | 2651425.6733 | 1240447.3841
62 | 2651421.9876 | 1240446.0268
63 | 2651548.0025 | 1240516.6738
64 | 2651577.7121 | 1240463.8732
65 | 2651595.7585 | 1240479.5868
66 | 2651606.5576 | 1240488.99
67 | 2651408.9425 | 1240441.2229
68 | 2651552.4014 | 1240522.2066
69 | 2651567.8067 | 1240541.5832
70 | 2651572.475 | 1240548.0622
71 | 2651661.6698 | 1240637.1506
72 | 2651648.6449 | 1240624.9287
73 | 2651683.6395 | 1240660.668
74 | 2651627.6689 | 1240605.9874
75 | 2651692.3114 | 1240669.9508
76 | 2651627.2094 | 1240605.5725
77 | 2651701.1697 | 1240680.1431
78 | 2651606.7242 | 1240587.0744
79 | 2651585.7557 | 1240565.3207
80 | 2651604.9133 | 1240585.4392
81 | 2651495.7707 | 1240413.5012

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1