## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4146-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4146-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4146-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4146-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4146-5_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4146-5_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4146-5_0_3_node_33 | 0.4 | n |  | TRUE
7 | bus_LV_4146-5_0_3_node_30 | 0.4 | n |  | TRUE
8 | bus_LV_4146-5_0_3_node_75 | 0.4 | n |  | TRUE
9 | bus_LV_4146-5_0_3_node_63 | 0.4 | n |  | TRUE
10 | bus_LV_4146-5_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_4146-5_0_3_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_4146-5_0_3_node_76 | 0.4 | n |  | TRUE
13 | bus_LV_4146-5_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_4146-5_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_4146-5_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_4146-5_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_4146-5_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4146-5_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_4146-5_0_3_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_4146-5_0_3_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_4146-5_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_4146-5_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_4146-5_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_4146-5_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_4146-5_0_3_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_4146-5_0_3_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_4146-5_0_3_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_4146-5_0_3_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_4146-5_0_3_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_4146-5_0_3_node_82 | 0.4 | n |  | TRUE
31 | bus_LV_4146-5_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_4146-5_0_3_node_80 | 0.4 | n |  | TRUE
33 | bus_LV_4146-5_0_3_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_4146-5_0_3_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_4146-5_0_3_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_4146-5_0_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_4146-5_0_3_node_98 | 0.4 | n |  | TRUE
38 | bus_LV_4146-5_0_3_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_4146-5_0_3_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_4146-5_0_3_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_4146-5_0_3_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_4146-5_0_3_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_4146-5_0_3_node_97 | 0.4 | n |  | TRUE
44 | bus_LV_4146-5_0_3_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_4146-5_0_3_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_4146-5_0_3_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_4146-5_0_3_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_4146-5_0_3_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_4146-5_0_3_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_4146-5_0_3_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_4146-5_0_3_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_4146-5_0_3_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_4146-5_0_3_node_99 | 0.4 | n |  | TRUE
54 | bus_LV_4146-5_0_3_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_4146-5_0_3_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_4146-5_0_3_node_91 | 0.4 | n |  | TRUE
57 | bus_LV_4146-5_0_3_node_90 | 0.4 | n |  | TRUE
58 | bus_LV_4146-5_0_3_node_89 | 0.4 | n |  | TRUE
59 | bus_LV_4146-5_0_3_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_4146-5_0_3_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_4146-5_0_3_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_4146-5_0_3_node_64 | 0.4 | n |  | TRUE
63 | bus_LV_4146-5_0_3_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_4146-5_0_3_node_92 | 0.4 | n |  | TRUE
65 | bus_LV_4146-5_0_3_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_4146-5_0_3_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_4146-5_0_3_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_4146-5_0_3_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_4146-5_0_3_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_4146-5_0_3_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_4146-5_0_3_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_4146-5_0_3_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_4146-5_0_3_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_4146-5_0_3_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_4146-5_0_3_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_4146-5_0_3_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_4146-5_0_3_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_4146-5_0_3_node_93 | 0.4 | n |  | TRUE
79 | bus_LV_4146-5_0_3_node_94 | 0.4 | n |  | TRUE
80 | bus_LV_4146-5_0_3_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_4146-5_0_3_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_4146-5_0_3_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_4146-5_0_3_node_71 | 0.4 | n |  | TRUE
84 | bus_LV_4146-5_0_3_node_72 | 0.4 | n |  | TRUE
85 | bus_LV_4146-5_0_3_node_73 | 0.4 | n |  | TRUE
86 | bus_LV_4146-5_0_3_node_74 | 0.4 | n |  | TRUE
87 | bus_LV_4146-5_0_3_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_4146-5_0_3_node_78 | 0.4 | n |  | TRUE
89 | bus_LV_4146-5_0_3_node_79 | 0.4 | n |  | TRUE
90 | bus_LV_4146-5_0_3_node_81 | 0.4 | n |  | TRUE
91 | bus_LV_4146-5_0_3_node_95 | 0.4 | n |  | TRUE
92 | bus_LV_4146-5_0_3_node_85 | 0.4 | n |  | TRUE
93 | bus_LV_4146-5_0_3_node_96 | 0.4 | n |  | TRUE
94 | bus_LV_4146-5_0_3_node_83 | 0.4 | n |  | TRUE
95 | bus_LV_4146-5_0_3_node_84 | 0.4 | n |  | TRUE
96 | bus_LV_4146-5_0_3_node_86 | 0.4 | n |  | TRUE
97 | bus_LV_4146-5_0_3_node_87 | 0.4 | n |  | TRUE
98 | bus_LV_4146-5_0_3_node_88 | 0.4 | n |  | TRUE
99 | bus_MV_482_0_node_77 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4146-5_0_3_load_0 | 0 | 0.0077606 | 0.001945 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4146-5_0_3_load_1 | 1 | 0.0022157 | 0.00055532 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4146-5_0_3_load_4 | 4 | 0.0021985 | 0.00055099 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4146-5_0_3_load_5 | 5 | 0.003185 | 0.00079823 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4146-5_0_3_load_33 | 6 | 0.003903 | 0.0009782 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4146-5_0_3_load_30 | 7 | 0.0042124 | 0.0010557 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4146-5_0_3_load_75 | 8 | 0.0014526 | 0.00036406 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4146-5_0_3_load_63 | 9 | 0.0018424 | 0.00046174 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4146-5_0_3_load_10 | 10 | 0.0051554 | 0.0012921 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4146-5_0_3_load_31 | 11 | 0.0039028 | 0.00097813 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4146-5_0_3_load_76 | 12 | 0.0015328 | 0.00038416 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4146-5_0_3_load_6 | 13 | 0.00073012 | 0.00018298 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4146-5_0_3_load_9 | 16 | 0.00081233 | 0.00020359 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4146-5_0_3_load_11 | 17 | 0.00072356 | 0.00018134 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4146-5_0_3_load_12 | 18 | 0.0030473 | 0.00076373 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4146-5_0_3_load_38 | 20 | 0.0041108 | 0.0010303 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4146-5_0_3_load_14 | 22 | 0.0029534 | 0.00074018 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4146-5_0_3_load_15 | 23 | 0.0026083 | 0.00065369 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4146-5_0_3_load_16 | 24 | 0.0017925 | 0.00044925 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4146-5_0_3_load_27 | 25 | 0.00052434 | 0.00013141 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4146-5_0_3_load_36 | 27 | 0.0026109 | 0.00065436 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4146-5_0_3_load_20 | 28 | 0.001747 | 0.00043783 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4146-5_0_3_load_28 | 29 | 0.0018753 | 0.00046999 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4146-5_0_3_load_82 | 30 | 0.0025262 | 0.00063312 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4146-5_0_3_load_18 | 31 | 0.0024451 | 0.0006128 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4146-5_0_3_load_80 | 32 | 0.0023928 | 0.00059968 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4146-5_0_3_load_17 | 33 | 0.00051154 | 0.0001282 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4146-5_0_3_load_19 | 34 | 0.00077667 | 0.00019465 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4146-5_0_3_load_21 | 35 | 0.00070225 | 0.000176 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4146-5_0_3_load_26 | 36 | 0.00058023 | 0.00014542 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4146-5_0_3_load_98 | 37 | 0.0014147 | 0.00035457 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4146-5_0_3_load_22 | 38 | 0.001948 | 0.00048822 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4146-5_0_3_load_39 | 40 | 0.0067792 | 0.001699 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4146-5_0_3_load_46 | 42 | 0.0037859 | 0.00094884 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4146-5_0_3_load_97 | 43 | 0.0075945 | 0.0019034 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4146-5_0_3_load_42 | 44 | 0.0047029 | 0.0011787 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4146-5_0_3_load_34 | 46 | 0.0044148 | 0.0011065 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4146-5_0_3_load_35 | 47 | 0.0026104 | 0.00065422 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4146-5_0_3_load_37 | 48 | 0.0030331 | 0.00076016 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4146-5_0_3_load_47 | 49 | 0.0081326 | 0.0020382 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4146-5_0_3_load_40 | 51 | 0.0018731 | 0.00046945 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4146-5_0_3_load_41 | 52 | 0.00082844 | 0.00020763 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4146-5_0_3_load_99 | 53 | 0.010842 | 0.0027172 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4146-5_0_3_load_45 | 55 | 0.0061194 | 0.0015337 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4146-5_0_3_load_89 | 58 | 0.001283 | 0.00032156 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4146-5_0_3_load_49 | 59 | 0.0048708 | 0.0012207 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4146-5_0_3_load_50 | 60 | 0.0011207 | 0.00028088 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4146-5_0_3_load_64 | 62 | 0.0013196 | 0.00033071 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4146-5_0_3_load_60 | 63 | 0.0011053 | 0.00027702 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4146-5_0_3_load_61 | 65 | 0.0018707 | 0.00046885 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4146-5_0_3_load_52 | 66 | 0.0028544 | 0.00071539 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4146-5_0_3_load_53 | 67 | 0.00094771 | 0.00023752 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4146-5_0_3_load_54 | 68 | 0.0010892 | 0.00027298 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4146-5_0_3_load_55 | 69 | 0.0011511 | 0.00028849 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4146-5_0_3_load_56 | 70 | 0.0013399 | 0.00033581 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4146-5_0_3_load_58 | 72 | 0.0015387 | 0.00038563 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4146-5_0_3_load_59 | 73 | 0.0032921 | 0.00082507 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4146-5_0_3_load_65 | 74 | 0.00073246 | 0.00018357 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4146-5_0_3_load_69 | 75 | 0.0050622 | 0.0012687 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4146-5_0_3_load_67 | 76 | 0.0066144 | 0.0016577 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4146-5_0_3_load_62 | 77 | 0.0017492 | 0.00043838 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4146-5_0_3_load_93 | 78 | 0.0014276 | 0.00035778 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4146-5_0_3_load_94 | 79 | 0.0027829 | 0.00069745 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4146-5_0_3_load_66 | 80 | 0.0041711 | 0.0010454 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4146-5_0_3_load_68 | 81 | 0.0046971 | 0.0011772 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4146-5_0_3_load_70 | 82 | 0.0027709 | 0.00069446 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4146-5_0_3_load_71 | 83 | 0.0028949 | 0.00072552 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4146-5_0_3_load_72 | 84 | 0.0019807 | 0.0004964 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4146-5_0_3_load_73 | 85 | 0.0024717 | 0.00061947 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4146-5_0_3_load_74 | 86 | 0.0038024 | 0.00095296 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4146-5_0_3_load_77 | 87 | 0.0023019 | 0.00057691 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4146-5_0_3_load_78 | 88 | 0.0014163 | 0.00035496 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4146-5_0_3_load_79 | 89 | 0.0015272 | 0.00038275 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4146-5_0_3_load_81 | 90 | 0.0020293 | 0.00050859 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4146-5_0_3_load_95 | 91 | 0.0024554 | 0.00061539 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4146-5_0_3_load_85 | 92 | 0.0019104 | 0.00047879 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4146-5_0_3_load_96 | 93 | 0.0017785 | 0.00044574 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4146-5_0_3_load_83 | 94 | 0.0013025 | 0.00032643 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4146-5_0_3_load_84 | 95 | 0.0027863 | 0.0006983 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4146-5_0_3_load_86 | 96 | 0.001155 | 0.00028947 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4146-5_0_3_load_87 | 97 | 0.0017186 | 0.00043072 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4146-5_0_3_load_88 | 98 | 0.001917 | 0.00048045 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4146-5_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0059483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_4146-5_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.022461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4146-5_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.031574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_4146-5_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.037331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4146-5_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.010793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4146-5_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0022211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_4146-5_0_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.021118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4146-5_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.00085383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4146-5_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.033117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4146-5_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.020531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_4146-5_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.022601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4146-5_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.017004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4146-5_0_3_line_12 | NAYY 4x150 SE | 10 | 14 | 0.012473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_4146-5_0_3_line_13 | NAYY 4x150 SE | 11 | 41 | 0.0073741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4146-5_0_3_line_14 | NAYY 4x150 SE | 12 | 87 | 0.0099554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4146-5_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.027313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_4146-5_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.0019966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_4146-5_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.014418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4146-5_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.018605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4146-5_0_3_line_19 | NAYY 4x150 SE | 15 | 18 | 0.01127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_4146-5_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.016262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4146-5_0_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.021786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_4146-5_0_3_line_22 | NAYY 4x150 SE | 19 | 25 | 0.022169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4146-5_0_3_line_23 | NAYY 4x150 SE | 19 | 26 | 0.003294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4146-5_0_3_line_24 | NAYY 4x150 SE | 20 | 27 | 0.020172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_4146-5_0_3_line_25 | NAYY 4x150 SE | 21 | 22 | 0.010619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4146-5_0_3_line_26 | NAYY 4x150 SE | 21 | 23 | 0.028869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4146-5_0_3_line_27 | NAYY 4x150 SE | 21 | 24 | 0.0066639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4146-5_0_3_line_28 | NAYY 4x150 SE | 22 | 28 | 0.0080528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4146-5_0_3_line_29 | NAYY 4x150 SE | 23 | 29 | 0.0022964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4146-5_0_3_line_30 | NAYY 4x150 SE | 24 | 30 | 0.032864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4146-5_0_3_line_31 | NAYY 4x150 SE | 25 | 38 | 0.053245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4146-5_0_3_line_32 | NAYY 4x150 SE | 26 | 39 | 0.047006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4146-5_0_3_line_33 | NAYY 4x150 SE | 27 | 46 | 0.02348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_4146-5_0_3_line_34 | NAYY 4x150 SE | 28 | 31 | 0.016048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4146-5_0_3_line_35 | NAYY 4x150 SE | 30 | 32 | 0.029995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4146-5_0_3_line_36 | NAYY 4x150 SE | 31 | 33 | 0.013428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4146-5_0_3_line_37 | NAYY 4x150 SE | 32 | 88 | 0.013967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4146-5_0_3_line_38 | NAYY 4x150 SE | 33 | 34 | 0.032243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4146-5_0_3_line_39 | NAYY 4x150 SE | 34 | 35 | 0.023809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4146-5_0_3_line_40 | NAYY 4x150 SE | 35 | 36 | 0.024572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4146-5_0_3_line_41 | NAYY 4x150 SE | 36 | 37 | 0.063454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4146-5_0_3_line_42 | NAYY 4x150 SE | 39 | 40 | 0.02243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4146-5_0_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.016726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4146-5_0_3_line_44 | NAYY 4x150 SE | 42 | 43 | 0.0020992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4146-5_0_3_line_45 | NAYY 4x150 SE | 43 | 58 | 0.01854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4146-5_0_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.027251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4146-5_0_3_line_47 | NAYY 4x150 SE | 45 | 50 | 0.024596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4146-5_0_3_line_48 | NAYY 4x150 SE | 45 | 55 | 0.024266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4146-5_0_3_line_49 | NAYY 4x150 SE | 46 | 47 | 0.019028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4146-5_0_3_line_50 | NAYY 4x150 SE | 47 | 48 | 0.0023728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4146-5_0_3_line_51 | NAYY 4x150 SE | 48 | 49 | 0.030074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4146-5_0_3_line_52 | NAYY 4x150 SE | 49 | 50 | 0.021706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4146-5_0_3_line_53 | NAYY 4x150 SE | 50 | 54 | 0.03479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4146-5_0_3_line_54 | NAYY 4x150 SE | 51 | 52 | 0.013733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4146-5_0_3_line_55 | NAYY 4x150 SE | 51 | 53 | 0.076067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4146-5_0_3_line_56 | NAYY 4x150 SE | 52 | 54 | 0.014633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4146-5_0_3_line_57 | NAYY 4x150 SE | 55 | 56 | 0.0013532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4146-5_0_3_line_58 | NAYY 4x150 SE | 56 | 57 | 0.01638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4146-5_0_3_line_59 | NAYY 4x150 SE | 57 | 82 | 0.0044915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4146-5_0_3_line_60 | NAYY 4x150 SE | 58 | 86 | 0.0021424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4146-5_0_3_line_61 | NAYY 4x150 SE | 59 | 60 | 0.0098121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4146-5_0_3_line_62 | NAYY 4x150 SE | 60 | 61 | 0.014239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4146-5_0_3_line_63 | NAYY 4x150 SE | 61 | 62 | 0.011927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4146-5_0_3_line_64 | NAYY 4x150 SE | 61 | 63 | 0.049695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4146-5_0_3_line_65 | NAYY 4x150 SE | 62 | 64 | 0.013427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4146-5_0_3_line_66 | NAYY 4x150 SE | 63 | 65 | 0.013245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4146-5_0_3_line_67 | NAYY 4x150 SE | 64 | 78 | 0.0088993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4146-5_0_3_line_68 | NAYY 4x150 SE | 64 | 79 | 0.020143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4146-5_0_3_line_69 | NAYY 4x150 SE | 65 | 77 | 0.014107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4146-5_0_3_line_70 | NAYY 4x150 SE | 66 | 67 | 0.013612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4146-5_0_3_line_71 | NAYY 4x150 SE | 66 | 68 | 0.012363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4146-5_0_3_line_72 | NAYY 4x150 SE | 67 | 69 | 0.013871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4146-5_0_3_line_73 | NAYY 4x150 SE | 68 | 70 | 0.00037264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4146-5_0_3_line_74 | NAYY 4x150 SE | 69 | 71 | 0.019524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4146-5_0_3_line_75 | NAYY 4x150 SE | 71 | 72 | 0.030856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4146-5_0_3_line_76 | NAYY 4x150 SE | 71 | 73 | 0.052903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4146-5_0_3_line_77 | NAYY 4x150 SE | 72 | 74 | 0.017974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4146-5_0_3_line_78 | NAYY 4x150 SE | 73 | 75 | 0.012149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4146-5_0_3_line_79 | NAYY 4x150 SE | 75 | 76 | 0.012123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4146-5_0_3_line_80 | NAYY 4x150 SE | 76 | 80 | 0.034049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4146-5_0_3_line_81 | NAYY 4x150 SE | 78 | 98 | 0.0068962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4146-5_0_3_line_82 | NAYY 4x150 SE | 79 | 87 | 0.013614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4146-5_0_3_line_83 | NAYY 4x150 SE | 80 | 81 | 0.018785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4146-5_0_3_line_84 | NAYY 4x150 SE | 81 | 82 | 0.017492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4146-5_0_3_line_85 | NAYY 4x150 SE | 83 | 84 | 0.013552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4146-5_0_3_line_86 | NAYY 4x150 SE | 83 | 85 | 0.027234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4146-5_0_3_line_87 | NAYY 4x150 SE | 84 | 86 | 0.017708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4146-5_0_3_line_88 | NAYY 4x150 SE | 88 | 89 | 0.021365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4146-5_0_3_line_89 | NAYY 4x150 SE | 89 | 90 | 0.035181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4146-5_0_3_line_90 | NAYY 4x150 SE | 89 | 91 | 0.035372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4146-5_0_3_line_91 | NAYY 4x150 SE | 90 | 92 | 0.016042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4146-5_0_3_line_92 | NAYY 4x150 SE | 90 | 93 | 0.033209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4146-5_0_3_line_93 | NAYY 4x150 SE | 92 | 94 | 0.024998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4146-5_0_3_line_94 | NAYY 4x150 SE | 94 | 95 | 0.0062935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4146-5_0_3_line_95 | NAYY 4x150 SE | 95 | 96 | 0.011151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4146-5_0_3_line_96 | NAYY 4x150 SE | 96 | 97 | 0.011067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4146-5_0_3_line_97 | NAYY 4x150 SE | 97 | 98 | 0.022436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4146-5_0_3_trafo_0 | 0.25 MVA 20/0.4 kV | 99 | 0 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2651142.2755 | 1240515.2806 | 2651142.3922 | 1240509.3335
1 | 2651147.1223 | 1240536.9368 | 2651144.5064 | 1240531.633 | 2651142.217 | 1240518.2601 | 2651142.2755 | 1240515.2806
2 | 2651152.1174 | 1240479.3642 | 2651144.6723 | 1240499.202 | 2651142.3922 | 1240509.3335
3 | 2651147.1223 | 1240536.9368 | 2651156.7719 | 1240550.8401 | 2651164.2261 | 1240564.1575 | 2651164.3209 | 1240569.3026
4 | 2651147.1223 | 1240536.9368 | 2651143.6201 | 1240544.1002 | 2651142.8937 | 1240546.8248
5 | 2651152.1174 | 1240479.3642 | 2651154.1861 | 1240480.1727
6 | 2651152.1174 | 1240479.3642 | 2651132.2487 | 1240472.2079
7 | 2651164.3209 | 1240569.3026 | 2651164.3367 | 1240570.1563
8 | 2651134.4007 | 1240578.8346 | 2651136.3766 | 1240571.2668 | 2651142.8937 | 1240546.8248
9 | 2651173.3081 | 1240487.6465 | 2651154.1861 | 1240480.1727
10 | 2651132.2487 | 1240472.2079 | 2651110.9845 | 1240464.5491
11 | 2651164.3367 | 1240570.1563 | 2651164.4528 | 1240576.4565 | 2651162.5176 | 1240585.1677 | 2651161.9617 | 1240586.8575
12 | 2651184.0754 | 1240493.9379 | 2651173.4975 | 1240487.7205 | 2651173.3081 | 1240487.6465
13 | 2651104.0466 | 1240462.0502 | 2651110.9845 | 1240464.5491
14 | 2651158.8505 | 1240596.3143 | 2651161.9617 | 1240586.8575
15 | 2651184.0754 | 1240493.9379 | 2651196.0125 | 1240469.3713
16 | 2651196.8851 | 1240467.5755 | 2651196.0125 | 1240469.3713
17 | 2651184.0754 | 1240493.9379 | 2651192.8817 | 1240505.3545
18 | 2651196.8851 | 1240467.5755 | 2651205.2489 | 1240450.9566
19 | 2651196.8851 | 1240467.5755 | 2651186.2252 | 1240463.9164
20 | 2651213.3544 | 1240436.8639 | 2651206.3787 | 1240448.7116 | 2651205.2489 | 1240450.9566
21 | 2651186.2252 | 1240463.9164 | 2651165.6197 | 1240456.8434
22 | 2651213.3544 | 1240436.8639 | 2651219.7066 | 1240428.0462 | 2651228.3447 | 1240420.7159
23 | 2651213.3544 | 1240436.8639 | 2651210.4568 | 1240435.2823
24 | 2651165.6197 | 1240456.8434 | 2651146.5402 | 1240450.2942
25 | 2651222.6303 | 1240544.9038 | 2651226.5649 | 1240535.0402
26 | 2651222.6303 | 1240544.9038 | 2651240.2433 | 1240561.2775 | 2651243.8807 | 1240564.4417
27 | 2651222.6303 | 1240544.9038 | 2651221.8984 | 1240551.5273
28 | 2651226.5649 | 1240535.0402 | 2651229.5485 | 1240527.5605
29 | 2651243.8807 | 1240564.4417 | 2651245.6133 | 1240565.9489
30 | 2651221.8984 | 1240551.5273 | 2651218.2888 | 1240584.1923
31 | 2651228.3447 | 1240420.7159 | 2651259.2414 | 1240377.3517
32 | 2651166.2623 | 1240419.1465 | 2651173.8132 | 1240423.0252 | 2651206.7479 | 1240433.9717 | 2651210.4568 | 1240435.2823
33 | 2651124.3325 | 1240442.6712 | 2651146.5402 | 1240450.2942
34 | 2651229.5485 | 1240527.5605 | 2651235.4947 | 1240512.6542
35 | 2651218.2888 | 1240584.1923 | 2651217.2663 | 1240593.445 | 2651214.6951 | 1240604.8748 | 2651211.4162 | 1240613.2245
36 | 2651240.4697 | 1240500.1823 | 2651235.4947 | 1240512.6542
37 | 2651206.3019 | 1240626.2215 | 2651206.732 | 1240625.1528 | 2651211.4162 | 1240613.2245
38 | 2651253.3673 | 1240470.6339 | 2651241.9984 | 1240496.35 | 2651240.4697 | 1240500.1823
39 | 2651265.2638 | 1240450.2697 | 2651265.0484 | 1240450.5299 | 2651259.1271 | 1240457.6057 | 2651253.3673 | 1240470.6339
40 | 2651265.2638 | 1240450.2697 | 2651270.2215 | 1240444.2815 | 2651277.3231 | 1240438.0054 | 2651283.4165 | 1240433.9486
41 | 2651283.4165 | 1240433.9486 | 2651325.8352 | 1240386.7573
42 | 2651166.2623 | 1240419.1465 | 2651156.5336 | 1240414.404 | 2651145.5637 | 1240410.6119
43 | 2651104.0466 | 1240462.0502 | 2651098.89 | 1240477.9612
44 | 2651098.2428 | 1240479.9581 | 2651098.89 | 1240477.9612
45 | 2651092.5269 | 1240497.5952 | 2651098.2428 | 1240479.9581
46 | 2651048.9304 | 1240442.7192 | 2651074.6457 | 1240451.7384
47 | 2651048.9304 | 1240442.7192 | 2651055.1163 | 1240418.9122
48 | 2651048.9304 | 1240442.7192 | 2651043.6845 | 1240466.4112
49 | 2651124.3325 | 1240442.6712 | 2651106.3353 | 1240436.4936
50 | 2651104.0911 | 1240435.7232 | 2651106.3353 | 1240436.4936
51 | 2651104.0911 | 1240435.7232 | 2651075.6462 | 1240425.9593
52 | 2651055.1163 | 1240418.9122 | 2651075.6462 | 1240425.9593
53 | 2651055.1163 | 1240418.9122 | 2651062.6827 | 1240384.955
54 | 2651089.6954 | 1240393.6118 | 2651076.6174 | 1240389.4207
55 | 2651089.6954 | 1240393.6118 | 2651114.7968 | 1240321.8062
56 | 2651062.6827 | 1240384.955 | 2651076.6174 | 1240389.4207
57 | 2651043.3919 | 1240467.7324 | 2651043.6845 | 1240466.4112
58 | 2651043.3919 | 1240467.7324 | 2651040.2367 | 1240483.8048
59 | 2651040.2367 | 1240483.8048 | 2651039.3273 | 1240488.2033
60 | 2651091.8664 | 1240499.6332 | 2651092.5269 | 1240497.5952
61 | 2651101.0738 | 1240611.7472 | 2651110.2734 | 1240615.1596
62 | 2651123.6233 | 1240620.1114 | 2651110.2734 | 1240615.1596
63 | 2651123.6233 | 1240620.1114 | 2651134.934 | 1240623.8962
64 | 2651123.6233 | 1240620.1114 | 2651114.5034 | 1240638.6562 | 2651101.6967 | 1240664.7072
65 | 2651147.6671 | 1240628.157 | 2651134.934 | 1240623.8962
66 | 2651101.6967 | 1240664.7072 | 2651095.8533 | 1240676.5937
67 | 2651147.6671 | 1240628.157 | 2651144.1076 | 1240636.3134
68 | 2651147.6671 | 1240628.157 | 2651153.5338 | 1240612.475 | 2651154.5961 | 1240609.2459
69 | 2651089.6298 | 1240689.2533 | 2651095.8533 | 1240676.5937
70 | 2651052.5199 | 1240650.0937 | 2651039.8937 | 1240645.0088
71 | 2651052.5199 | 1240650.0937 | 2651063.9876 | 1240654.7121
72 | 2651027.027 | 1240639.8269 | 2651039.8937 | 1240645.0088
73 | 2651064.3333 | 1240654.8513 | 2651063.9876 | 1240654.7121
74 | 2651008.9168 | 1240632.5335 | 2651027.027 | 1240639.8269
75 | 2651008.9168 | 1240632.5335 | 2651001.8368 | 1240662.5665
76 | 2651008.9168 | 1240632.5335 | 2651020.0042 | 1240580.8055
77 | 2650997.7373 | 1240680.0666 | 2651000.3161 | 1240669.0169 | 2651001.8368 | 1240662.5665
78 | 2651020.0042 | 1240580.8055 | 2651022.5503 | 1240568.9267
79 | 2651025.0888 | 1240557.0726 | 2651025.0257 | 1240557.378 | 2651022.5503 | 1240568.9267
80 | 2651031.9825 | 1240523.7289 | 2651025.0888 | 1240557.0726
81 | 2651144.1076 | 1240636.3134 | 2651141.3493 | 1240642.634
82 | 2651158.8505 | 1240596.3143 | 2651154.5961 | 1240609.2459
83 | 2651031.9825 | 1240523.7289 | 2651035.7857 | 1240505.3334
84 | 2651039.3273 | 1240488.2033 | 2651035.7857 | 1240505.3334
85 | 2651082.2288 | 1240529.3705 | 2651086.4068 | 1240516.4789
86 | 2651082.2288 | 1240529.3705 | 2651073.8326 | 1240555.2777
87 | 2651086.4068 | 1240516.4789 | 2651091.8664 | 1240499.6332
88 | 2651206.3019 | 1240626.2215 | 2651198.3252 | 1240646.0412
89 | 2651185.0267 | 1240678.6087 | 2651187.2139 | 1240673.6498 | 2651198.3252 | 1240646.0412
90 | 2651198.3252 | 1240646.0412 | 2651231.1183 | 1240659.2999
91 | 2651185.0267 | 1240678.6087 | 2651183.2422 | 1240682.6548 | 2651179.7615 | 1240686.4495 | 2651173.8635 | 1240689.1116
92 | 2651185.0267 | 1240678.6087 | 2651213.7182 | 1240695.3315
93 | 2651150.6265 | 1240680.9976 | 2651167.0988 | 1240688.7975 | 2651173.8635 | 1240689.1116 | 2651173.8635 | 1240689.1116
94 | 2651150.6265 | 1240680.9976 | 2651144.9384 | 1240678.3042
95 | 2651134.8606 | 1240673.5321 | 2651134.8606 | 1240673.5321 | 2651144.9384 | 1240678.3042
96 | 2651134.8606 | 1240673.5321 | 2651132.0236 | 1240669.316 | 2651132.5985 | 1240664.8959 | 2651133.014 | 1240663.4252
97 | 2651133.014 | 1240663.4252 | 2651134.3689 | 1240658.6292 | 2651141.3493 | 1240642.634

## bus_geodata
| x | y | coords
0 | 2651142.2755 | 1240515.2806
1 | 2651142.3922 | 1240509.3335
2 | 2651147.1223 | 1240536.9368
3 | 2651152.1174 | 1240479.3642
4 | 2651164.3209 | 1240569.3026
5 | 2651142.8937 | 1240546.8248
6 | 2651154.1861 | 1240480.1727
7 | 2651132.2487 | 1240472.2079
8 | 2651164.3367 | 1240570.1563
9 | 2651134.4007 | 1240578.8346
10 | 2651173.3081 | 1240487.6465
11 | 2651110.9845 | 1240464.5491
12 | 2651161.9617 | 1240586.8575
13 | 2651196.0125 | 1240469.3713
14 | 2651184.0754 | 1240493.9379
15 | 2651196.8851 | 1240467.5755
16 | 2651192.8817 | 1240505.3545
17 | 2651205.2489 | 1240450.9566
18 | 2651186.2252 | 1240463.9164
19 | 2651213.3544 | 1240436.8639
20 | 2651165.6197 | 1240456.8434
21 | 2651222.6303 | 1240544.9038
22 | 2651226.5649 | 1240535.0402
23 | 2651243.8807 | 1240564.4417
24 | 2651221.8984 | 1240551.5273
25 | 2651228.3447 | 1240420.7159
26 | 2651210.4568 | 1240435.2823
27 | 2651146.5402 | 1240450.2942
28 | 2651229.5485 | 1240527.5605
29 | 2651245.6133 | 1240565.9489
30 | 2651218.2888 | 1240584.1923
31 | 2651235.4947 | 1240512.6542
32 | 2651211.4162 | 1240613.2245
33 | 2651240.4697 | 1240500.1823
34 | 2651253.3673 | 1240470.6339
35 | 2651265.2638 | 1240450.2697
36 | 2651283.4165 | 1240433.9486
37 | 2651325.8352 | 1240386.7573
38 | 2651259.2414 | 1240377.3517
39 | 2651166.2623 | 1240419.1465
40 | 2651145.5637 | 1240410.6119
41 | 2651104.0466 | 1240462.0502
42 | 2651098.89 | 1240477.9612
43 | 2651098.2428 | 1240479.9581
44 | 2651074.6457 | 1240451.7384
45 | 2651048.9304 | 1240442.7192
46 | 2651124.3325 | 1240442.6712
47 | 2651106.3353 | 1240436.4936
48 | 2651104.0911 | 1240435.7232
49 | 2651075.6462 | 1240425.9593
50 | 2651055.1163 | 1240418.9122
51 | 2651089.6954 | 1240393.6118
52 | 2651076.6174 | 1240389.4207
53 | 2651114.7968 | 1240321.8062
54 | 2651062.6827 | 1240384.955
55 | 2651043.6845 | 1240466.4112
56 | 2651043.3919 | 1240467.7324
57 | 2651040.2367 | 1240483.8048
58 | 2651092.5269 | 1240497.5952
59 | 2651101.0738 | 1240611.7472
60 | 2651110.2734 | 1240615.1596
61 | 2651123.6233 | 1240620.1114
62 | 2651134.934 | 1240623.8962
63 | 2651101.6967 | 1240664.7072
64 | 2651147.6671 | 1240628.157
65 | 2651095.8533 | 1240676.5937
66 | 2651052.5199 | 1240650.0937
67 | 2651039.8937 | 1240645.0088
68 | 2651063.9876 | 1240654.7121
69 | 2651027.027 | 1240639.8269
70 | 2651064.3333 | 1240654.8513
71 | 2651008.9168 | 1240632.5335
72 | 2651001.8368 | 1240662.5665
73 | 2651020.0042 | 1240580.8055
74 | 2650997.7373 | 1240680.0666
75 | 2651022.5503 | 1240568.9267
76 | 2651025.0888 | 1240557.0726
77 | 2651089.6298 | 1240689.2533
78 | 2651144.1076 | 1240636.3134
79 | 2651154.5961 | 1240609.2459
80 | 2651031.9825 | 1240523.7289
81 | 2651035.7857 | 1240505.3334
82 | 2651039.3273 | 1240488.2033
83 | 2651082.2288 | 1240529.3705
84 | 2651086.4068 | 1240516.4789
85 | 2651073.8326 | 1240555.2777
86 | 2651091.8664 | 1240499.6332
87 | 2651158.8505 | 1240596.3143
88 | 2651206.3019 | 1240626.2215
89 | 2651198.3252 | 1240646.0412
90 | 2651185.0267 | 1240678.6087
91 | 2651231.1183 | 1240659.2999
92 | 2651173.8635 | 1240689.1116
93 | 2651213.7182 | 1240695.3315
94 | 2651150.6265 | 1240680.9976
95 | 2651144.9384 | 1240678.3042
96 | 2651134.8606 | 1240673.5321
97 | 2651133.014 | 1240663.4252
98 | 2651141.3493 | 1240642.634
99 | 2651147.1223 | 1240536.9368

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1