## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4147-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4147-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4147-1_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4147-1_0_3_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_4147-1_0_3_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_4147-1_0_3_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_4147-1_0_3_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_4147-1_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4147-1_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4147-1_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_4147-1_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_4147-1_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_4147-1_0_3_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_4147-1_0_3_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_4147-1_0_3_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_4147-1_0_3_node_91 | 0.4 | n |  | TRUE
16 | bus_LV_4147-1_0_3_node_32 | 0.4 | n |  | TRUE
17 | bus_LV_4147-1_0_3_node_40 | 0.4 | n |  | TRUE
18 | bus_LV_4147-1_0_3_node_30 | 0.4 | n |  | TRUE
19 | bus_LV_4147-1_0_3_node_39 | 0.4 | n |  | TRUE
20 | bus_LV_4147-1_0_3_node_55 | 0.4 | n |  | TRUE
21 | bus_LV_4147-1_0_3_node_52 | 0.4 | n |  | TRUE
22 | bus_LV_4147-1_0_3_node_46 | 0.4 | n |  | TRUE
23 | bus_LV_4147-1_0_3_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_4147-1_0_3_node_54 | 0.4 | n |  | TRUE
25 | bus_LV_4147-1_0_3_node_102 | 0.4 | n |  | TRUE
26 | bus_LV_4147-1_0_3_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_4147-1_0_3_node_62 | 0.4 | n |  | TRUE
28 | bus_LV_4147-1_0_3_node_63 | 0.4 | n |  | TRUE
29 | bus_LV_4147-1_0_3_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_4147-1_0_3_node_65 | 0.4 | n |  | TRUE
31 | bus_LV_4147-1_0_3_node_72 | 0.4 | n |  | TRUE
32 | bus_LV_4147-1_0_3_node_81 | 0.4 | n |  | TRUE
33 | bus_LV_4147-1_0_3_node_71 | 0.4 | n |  | TRUE
34 | bus_LV_4147-1_0_3_node_80 | 0.4 | n |  | TRUE
35 | bus_LV_4147-1_0_3_node_107 | 0.4 | n |  | TRUE
36 | bus_LV_4147-1_0_3_node_106 | 0.4 | n |  | TRUE
37 | bus_LV_4147-1_0_3_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_4147-1_0_3_node_56 | 0.4 | n |  | TRUE
39 | bus_LV_4147-1_0_3_node_57 | 0.4 | n |  | TRUE
40 | bus_LV_4147-1_0_3_node_58 | 0.4 | n |  | TRUE
41 | bus_LV_4147-1_0_3_node_59 | 0.4 | n |  | TRUE
42 | bus_LV_4147-1_0_3_node_60 | 0.4 | n |  | TRUE
43 | bus_LV_4147-1_0_3_node_85 | 0.4 | n |  | TRUE
44 | bus_LV_4147-1_0_3_node_104 | 0.4 | n |  | TRUE
45 | bus_LV_4147-1_0_3_node_82 | 0.4 | n |  | TRUE
46 | bus_LV_4147-1_0_3_node_83 | 0.4 | n |  | TRUE
47 | bus_LV_4147-1_0_3_node_84 | 0.4 | n |  | TRUE
48 | bus_LV_4147-1_0_3_node_94 | 0.4 | n |  | TRUE
49 | bus_LV_4147-1_0_3_node_86 | 0.4 | n |  | TRUE
50 | bus_LV_4147-1_0_3_node_87 | 0.4 | n |  | TRUE
51 | bus_LV_4147-1_0_3_node_97 | 0.4 | n |  | TRUE
52 | bus_LV_4147-1_0_3_node_93 | 0.4 | n |  | TRUE
53 | bus_LV_4147-1_0_3_node_89 | 0.4 | n |  | TRUE
54 | bus_LV_4147-1_0_3_node_90 | 0.4 | n |  | TRUE
55 | bus_LV_4147-1_0_3_node_92 | 0.4 | n |  | TRUE
56 | bus_LV_4147-1_0_3_node_101 | 0.4 | n |  | TRUE
57 | bus_LV_4147-1_0_3_node_95 | 0.4 | n |  | TRUE
58 | bus_LV_4147-1_0_3_node_96 | 0.4 | n |  | TRUE
59 | bus_LV_4147-1_0_3_node_100 | 0.4 | n |  | TRUE
60 | bus_LV_4147-1_0_3_node_98 | 0.4 | n |  | TRUE
61 | bus_LV_4147-1_0_3_node_99 | 0.4 | n |  | TRUE
62 | bus_LV_4147-1_0_3_node_18 | 0.4 | n |  | TRUE
63 | bus_LV_4147-1_0_3_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_4147-1_0_3_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_4147-1_0_3_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_4147-1_0_3_node_23 | 0.4 | n |  | TRUE
67 | bus_LV_4147-1_0_3_node_24 | 0.4 | n |  | TRUE
68 | bus_LV_4147-1_0_3_node_25 | 0.4 | n |  | TRUE
69 | bus_LV_4147-1_0_3_node_26 | 0.4 | n |  | TRUE
70 | bus_LV_4147-1_0_3_node_27 | 0.4 | n |  | TRUE
71 | bus_LV_4147-1_0_3_node_28 | 0.4 | n |  | TRUE
72 | bus_LV_4147-1_0_3_node_29 | 0.4 | n |  | TRUE
73 | bus_LV_4147-1_0_3_node_31 | 0.4 | n |  | TRUE
74 | bus_LV_4147-1_0_3_node_33 | 0.4 | n |  | TRUE
75 | bus_LV_4147-1_0_3_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_4147-1_0_3_node_103 | 0.4 | n |  | TRUE
77 | bus_MV_482_0_node_92 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4147-1_0_3_load_0 | 0 | 0.014017 | 0.0035129 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4147-1_0_3_load_1 | 1 | 0.0012452 | 0.00031207 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4147-1_0_3_load_3 | 2 | 0.0011056 | 0.00027709 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4147-1_0_3_load_14 | 3 | 0.0054672 | 0.0013702 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4147-1_0_3_load_12 | 5 | 0.0010602 | 0.0002657 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4147-1_0_3_load_13 | 6 | 0.00083835 | 0.00021011 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4147-1_0_3_load_5 | 7 | 0.003211 | 0.00080474 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4147-1_0_3_load_9 | 10 | 0.0064685 | 0.0016212 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4147-1_0_3_load_10 | 11 | 0.0032996 | 0.00082695 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4147-1_0_3_load_15 | 13 | 0.036626 | 0.0091794 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4147-1_0_3_load_21 | 14 | 0.0024628 | 0.00061723 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4147-1_0_3_load_91 | 15 | 0.0014124 | 0.00035399 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4147-1_0_3_load_30 | 18 | 0.0027192 | 0.0006815 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4147-1_0_3_load_55 | 20 | 0.0027575 | 0.00069109 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4147-1_0_3_load_52 | 21 | 0.0026359 | 0.00066062 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4147-1_0_3_load_46 | 22 | 0.0028229 | 0.00070749 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4147-1_0_3_load_53 | 23 | 0.0012727 | 0.00031896 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4147-1_0_3_load_54 | 24 | 0.0014445 | 0.00036203 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4147-1_0_3_load_102 | 25 | 0.0017712 | 0.00044391 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4147-1_0_3_load_61 | 26 | 0.0014039 | 0.00035184 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4147-1_0_3_load_62 | 27 | 0.0018149 | 0.00045485 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4147-1_0_3_load_63 | 28 | 0.00072625 | 0.00018202 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4147-1_0_3_load_64 | 29 | 0.0023579 | 0.00059094 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4147-1_0_3_load_65 | 30 | 0.00065742 | 0.00016477 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4147-1_0_3_load_72 | 31 | 0.0020951 | 0.00052508 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4147-1_0_3_load_81 | 32 | 0.0013086 | 0.00032796 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4147-1_0_3_load_71 | 33 | 0.0021213 | 0.00053165 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4147-1_0_3_load_80 | 34 | 0.00093625 | 0.00023465 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4147-1_0_3_load_107 | 35 | 0.0026791 | 0.00067145 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4147-1_0_3_load_106 | 36 | 0.0029187 | 0.00073149 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4147-1_0_3_load_22 | 37 | 0.0011326 | 0.00028385 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4147-1_0_3_load_56 | 38 | 0.0057728 | 0.0014468 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4147-1_0_3_load_58 | 40 | 0.0022757 | 0.00057034 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4147-1_0_3_load_59 | 41 | 0.0012573 | 0.00031511 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4147-1_0_3_load_60 | 42 | 0.0029416 | 0.00073723 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4147-1_0_3_load_104 | 44 | 0.0017074 | 0.0004279 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4147-1_0_3_load_83 | 46 | 0.0033909 | 0.00084984 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4147-1_0_3_load_84 | 47 | 0.0013261 | 0.00033236 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4147-1_0_3_load_94 | 48 | 0.0021669 | 0.00054308 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4147-1_0_3_load_87 | 50 | 0.0074147 | 0.0018583 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4147-1_0_3_load_97 | 51 | 0.0065609 | 0.0016443 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4147-1_0_3_load_93 | 52 | 0.001143 | 0.00028648 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4147-1_0_3_load_89 | 53 | 0.0014684 | 0.00036802 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4147-1_0_3_load_90 | 54 | 0.0013993 | 0.0003507 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4147-1_0_3_load_92 | 55 | 0.0012377 | 0.00031019 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4147-1_0_3_load_101 | 56 | 0.0010169 | 0.00025486 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4147-1_0_3_load_95 | 57 | 0.0005831 | 0.00014614 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4147-1_0_3_load_96 | 58 | 0.0026846 | 0.00067283 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4147-1_0_3_load_100 | 59 | 0.0015683 | 0.00039307 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4147-1_0_3_load_99 | 61 | 0.0022707 | 0.00056908 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4147-1_0_3_load_18 | 62 | 0.00079465 | 0.00019916 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4147-1_0_3_load_41 | 64 | 0.0008861 | 0.00022208 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4147-1_0_3_load_45 | 65 | 0.0012117 | 0.00030368 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4147-1_0_3_load_23 | 66 | 0.00056835 | 0.00014244 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4147-1_0_3_load_24 | 67 | 0.0010063 | 0.00025219 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4147-1_0_3_load_25 | 68 | 0.00093728 | 0.0002349 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4147-1_0_3_load_27 | 70 | 0.0023305 | 0.00058408 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4147-1_0_3_load_28 | 71 | 0.0028436 | 0.00071268 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4147-1_0_3_load_29 | 72 | 0.0016729 | 0.00041926 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4147-1_0_3_load_31 | 73 | 0.0030561 | 0.00076594 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4147-1_0_3_load_33 | 74 | 0.0011456 | 0.00028711 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4147-1_0_3_load_70 | 75 | 0.0014073 | 0.0003527 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4147-1_0_3_load_103 | 76 | 0.0038476 | 0.0009643 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4147-1_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4147-1_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0074899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4147-1_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.0012589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4147-1_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.041831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4147-1_0_3_line_4 | NAYY 4x150 SE | 4 | 13 | 0.016451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4147-1_0_3_line_5 | NAYY 4x150 SE | 4 | 8 | 0.02598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4147-1_0_3_line_6 | NAYY 4x150 SE | 5 | 6 | 0.0030327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4147-1_0_3_line_7 | NAYY 4x150 SE | 6 | 12 | 0.013323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4147-1_0_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.04759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4147-1_0_3_line_9 | NAYY 4x150 SE | 7 | 9 | 0.0002043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4147-1_0_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.019338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4147-1_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.022918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4147-1_0_3_line_12 | NAYY 4x150 SE | 9 | 12 | 0.017925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4147-1_0_3_line_13 | NAYY 4x150 SE | 11 | 14 | 0.026809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4147-1_0_3_line_14 | NAYY 4x150 SE | 13 | 15 | 0.1834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_4147-1_0_3_line_15 | NAYY 4x150 SE | 14 | 37 | 0.023657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4147-1_0_3_line_16 | NAYY 4x150 SE | 15 | 52 | 0.030597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4147-1_0_3_line_17 | NAYY 4x150 SE | 15 | 53 | 0.0067623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_4147-1_0_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.006225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4147-1_0_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.017355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4147-1_0_3_line_20 | NAYY 4x150 SE | 17 | 22 | 0.026798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4147-1_0_3_line_21 | NAYY 4x150 SE | 17 | 20 | 0.005518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4147-1_0_3_line_22 | NAYY 4x150 SE | 18 | 72 | 0.0338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4147-1_0_3_line_23 | NAYY 4x150 SE | 19 | 20 | 0.009703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4147-1_0_3_line_24 | NAYY 4x150 SE | 19 | 21 | 0.025366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4147-1_0_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.011263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4147-1_0_3_line_26 | NAYY 4x150 SE | 22 | 70 | 0.04235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4147-1_0_3_line_27 | NAYY 4x150 SE | 23 | 24 | 0.022128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4147-1_0_3_line_28 | NAYY 4x150 SE | 24 | 25 | 0.0067927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4147-1_0_3_line_29 | NAYY 4x150 SE | 25 | 56 | 0.01765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4147-1_0_3_line_30 | NAYY 4x150 SE | 26 | 27 | 0.0027117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4147-1_0_3_line_31 | NAYY 4x150 SE | 26 | 28 | 0.012723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4147-1_0_3_line_32 | NAYY 4x150 SE | 27 | 29 | 0.021629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4147-1_0_3_line_33 | NAYY 4x150 SE | 28 | 30 | 0.0064857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4147-1_0_3_line_34 | NAYY 4x150 SE | 29 | 31 | 0.0052076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4147-1_0_3_line_35 | NAYY 4x150 SE | 30 | 32 | 0.0041339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4147-1_0_3_line_36 | NAYY 4x150 SE | 31 | 33 | 0.019218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4147-1_0_3_line_37 | NAYY 4x150 SE | 32 | 34 | 0.01355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4147-1_0_3_line_38 | NAYY 4x150 SE | 34 | 45 | 0.031877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4147-1_0_3_line_39 | NAYY 4x150 SE | 35 | 36 | 0.068502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4147-1_0_3_line_40 | NAYY 4x150 SE | 36 | 47 | 0.00063248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4147-1_0_3_line_41 | NAYY 4x150 SE | 37 | 66 | 0.0064036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4147-1_0_3_line_42 | NAYY 4x150 SE | 38 | 39 | 0.030061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4147-1_0_3_line_43 | NAYY 4x150 SE | 38 | 40 | 0.018982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4147-1_0_3_line_44 | NAYY 4x150 SE | 39 | 41 | 0.01142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4147-1_0_3_line_45 | NAYY 4x150 SE | 39 | 42 | 0.014304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4147-1_0_3_line_46 | NAYY 4x150 SE | 41 | 43 | 0.036514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4147-1_0_3_line_47 | NAYY 4x150 SE | 42 | 44 | 0.018326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4147-1_0_3_line_48 | NAYY 4x150 SE | 43 | 49 | 0.016214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4147-1_0_3_line_49 | NAYY 4x150 SE | 43 | 50 | 0.017413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4147-1_0_3_line_50 | NAYY 4x150 SE | 44 | 59 | 0.008711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4147-1_0_3_line_51 | NAYY 4x150 SE | 45 | 46 | 0.0051688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4147-1_0_3_line_52 | NAYY 4x150 SE | 45 | 47 | 0.023053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4147-1_0_3_line_53 | NAYY 4x150 SE | 46 | 48 | 0.015719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4147-1_0_3_line_54 | NAYY 4x150 SE | 48 | 57 | 0.0074802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4147-1_0_3_line_55 | NAYY 4x150 SE | 49 | 51 | 0.040252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4147-1_0_3_line_56 | NAYY 4x150 SE | 50 | 52 | 0.036665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4147-1_0_3_line_57 | NAYY 4x150 SE | 51 | 60 | 0.014185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4147-1_0_3_line_58 | NAYY 4x150 SE | 53 | 54 | 0.018416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_4147-1_0_3_line_59 | NAYY 4x150 SE | 54 | 55 | 0.029872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_4147-1_0_3_line_60 | NAYY 4x150 SE | 55 | 56 | 0.0072263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4147-1_0_3_line_61 | NAYY 4x150 SE | 57 | 58 | 0.010911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4147-1_0_3_line_62 | NAYY 4x150 SE | 58 | 59 | 0.045841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4147-1_0_3_line_63 | NAYY 4x150 SE | 60 | 61 | 0.03667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4147-1_0_3_line_64 | NAYY 4x150 SE | 62 | 63 | 0.04308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4147-1_0_3_line_65 | NAYY 4x150 SE | 63 | 65 | 0.054828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4147-1_0_3_line_66 | NAYY 4x150 SE | 63 | 66 | 0.024206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4147-1_0_3_line_67 | NAYY 4x150 SE | 63 | 64 | 0.054731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4147-1_0_3_line_68 | NAYY 4x150 SE | 67 | 68 | 0.011428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4147-1_0_3_line_69 | NAYY 4x150 SE | 67 | 69 | 0.010286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4147-1_0_3_line_70 | NAYY 4x150 SE | 69 | 70 | 0.0043617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4147-1_0_3_line_71 | NAYY 4x150 SE | 69 | 71 | 0.018272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4147-1_0_3_line_72 | NAYY 4x150 SE | 72 | 73 | 0.00090701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4147-1_0_3_line_73 | NAYY 4x150 SE | 73 | 74 | 0.030206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4147-1_0_3_line_74 | NAYY 4x150 SE | 74 | 75 | 0.019341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4147-1_0_3_line_75 | NAYY 4x150 SE | 75 | 76 | 0.016686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4147-1_0_3_trafo_92 | 0.25 MVA 20/0.4 kV | 77 | 55 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2654025.1275 | 1237145.3239 | 2654030.697 | 1237154.677 | 2654033.4059 | 1237161.9542
1 | 2654036.0187 | 1237168.9736 | 2654033.4059 | 1237161.9542
2 | 2654036.4579 | 1237170.1534 | 2654036.0187 | 1237168.9736
3 | 2654062.5986 | 1237194.9601 | 2654050.3141 | 1237193.0471 | 2654044.8349 | 1237191.5518 | 2654040.2917 | 1237186.9742 | 2654037.0632 | 1237171.7794 | 2654036.4579 | 1237170.1534
4 | 2654062.5986 | 1237194.9601 | 2654058.8944 | 1237210.9881
5 | 2654066.5925 | 1237169.2907 | 2654063.4099 | 1237189.7863 | 2654062.5986 | 1237194.9601
6 | 2654058.4147 | 1237099.1923 | 2654055.3832 | 1237099.1096
7 | 2654070.7218 | 1237103.8189 | 2654066.8846 | 1237101.4602 | 2654062.6621 | 1237099.8763 | 2654059.0517 | 1237099.2097 | 2654058.4147 | 1237099.1923
8 | 2654066.5925 | 1237169.2907 | 2654067.1071 | 1237141.8442 | 2654067.8746 | 1237121.7199
9 | 2654067.8746 | 1237121.7199 | 2654067.8823 | 1237121.5157
10 | 2654066.5925 | 1237169.2907 | 2654083.4897 | 1237168.9887 | 2654085.9185 | 1237168.7797
11 | 2654067.8823 | 1237121.5157 | 2654077.8582 | 1237118.5824 | 2654085.7211 | 1237108.8395
12 | 2654070.7218 | 1237103.8189 | 2654067.8823 | 1237121.5157
13 | 2654105.8871 | 1237091.3405 | 2654089.2064 | 1237104.5209 | 2654085.7211 | 1237108.8395
14 | 2654058.8944 | 1237210.9881 | 2654176.4643 | 1237351.7438
15 | 2654124.4486 | 1237076.674 | 2654105.8871 | 1237091.3405
16 | 2654154.4534 | 1237372.9949 | 2654175.8763 | 1237352.2499 | 2654176.4643 | 1237351.7438
17 | 2654181.5896 | 1237347.3324 | 2654176.4643 | 1237351.7438
18 | 2654299.0226 | 1237247.85 | 2654294.5837 | 1237243.4732
19 | 2654294.5837 | 1237243.4732 | 2654302.5642 | 1237228.0623
20 | 2654299.0226 | 1237247.85 | 2654320.1379 | 1237231.3485
21 | 2654299.0226 | 1237247.85 | 2654294.9539 | 1237251.5774
22 | 2654318.1071 | 1237198.0478 | 2654302.5642 | 1237228.0623
23 | 2654287.7994 | 1237258.1319 | 2654294.9539 | 1237251.5774
24 | 2654287.7994 | 1237258.1319 | 2654279.7959 | 1237265.4747 | 2654268.6348 | 1237274.7379
25 | 2654268.6348 | 1237274.7379 | 2654259.9676 | 1237281.9312
26 | 2654355.7157 | 1237209.4319 | 2654350.102 | 1237210.2923 | 2654334.6851 | 1237219.9799 | 2654320.1379 | 1237231.3485
27 | 2654242.9399 | 1237296.0633 | 2654259.9676 | 1237281.9312
28 | 2654242.9399 | 1237296.0633 | 2654237.713 | 1237300.4014
29 | 2654224.1312 | 1237311.6736 | 2654237.713 | 1237300.4014
30 | 2654314.9256 | 1237306.0042 | 2654316.2038 | 1237303.6126
31 | 2654314.9256 | 1237306.0042 | 2654308.9286 | 1237317.2248
32 | 2654316.2038 | 1237303.6126 | 2654326.3991 | 1237284.5369
33 | 2654308.9286 | 1237317.2248 | 2654305.8715 | 1237322.9448
34 | 2654328.8538 | 1237279.9441 | 2654326.3991 | 1237284.5369
35 | 2654303.9229 | 1237326.5906 | 2654305.8715 | 1237322.9448
36 | 2654337.9127 | 1237262.9947 | 2654328.8538 | 1237279.9441
37 | 2654297.5358 | 1237338.5412 | 2654303.9229 | 1237326.5906
38 | 2654282.5102 | 1237366.6546 | 2654297.5358 | 1237338.5412
39 | 2654306.0527 | 1237369.0769 | 2654318.9436 | 1237368.5665 | 2654327.6699 | 1237368.2238 | 2654345.4134 | 1237365.4953 | 2654353.2798 | 1237362.3875 | 2654372.3124 | 1237354.8846
40 | 2654305.4207 | 1237369.1019 | 2654306.0527 | 1237369.0769
41 | 2654124.4486 | 1237076.674 | 2654129.473 | 1237072.7039
42 | 2654165.8242 | 1237400.0784 | 2654190.9235 | 1237416.6227
43 | 2654206.7721 | 1237427.0694 | 2654190.9235 | 1237416.6227
44 | 2654165.8242 | 1237400.0784 | 2654156.4833 | 1237406.6484
45 | 2654165.8242 | 1237400.0784 | 2654177.5252 | 1237391.8514
46 | 2654121.6903 | 1237415.4864 | 2654132.2827 | 1237415.405 | 2654152.8874 | 1237409.1776 | 2654156.4833 | 1237406.6484
47 | 2654192.8297 | 1237381.7991 | 2654186.9769 | 1237385.206 | 2654177.5252 | 1237391.8514
48 | 2654105.4475 | 1237416.2723 | 2654121.6903 | 1237415.4864
49 | 2654121.6903 | 1237415.4864 | 2654130.235 | 1237400.3135
50 | 2654192.8297 | 1237381.7991 | 2654200.3581 | 1237377.4168
51 | 2654282.5102 | 1237366.6546 | 2654277.357 | 1237366.2538
52 | 2654282.5102 | 1237366.6546 | 2654304.3444 | 1237369.1445 | 2654305.4207 | 1237369.1019
53 | 2654261.6856 | 1237365.0349 | 2654277.357 | 1237366.2538
54 | 2654261.6856 | 1237365.0349 | 2654254.2279 | 1237364.4548
55 | 2654105.4475 | 1237416.2723 | 2654115.8042 | 1237425.4615 | 2654126.1397 | 1237431.9933 | 2654138.1335 | 1237439.5578
56 | 2654154.4534 | 1237372.9949 | 2654151.5347 | 1237375.8212 | 2654133.0714 | 1237395.2768 | 2654130.235 | 1237400.3135
57 | 2654150.1817 | 1237447.0443 | 2654144.7421 | 1237443.7259 | 2654138.1335 | 1237439.5578
58 | 2654181.5896 | 1237347.3324 | 2654195.5475 | 1237335.3188
59 | 2654218.5634 | 1237316.2799 | 2654202.0927 | 1237329.6853 | 2654195.5475 | 1237335.3188
60 | 2654218.5634 | 1237316.2799 | 2654219.4791 | 1237315.5346 | 2654224.1312 | 1237311.6736
61 | 2654254.2279 | 1237364.4548 | 2654250.9237 | 1237364.1979 | 2654243.3396 | 1237364.6396
62 | 2654200.3581 | 1237377.4168 | 2654214.6778 | 1237369.0814 | 2654223.8624 | 1237365.7741 | 2654243.3396 | 1237364.6396
63 | 2654150.1817 | 1237447.0443 | 2654186.9283 | 1237448.5803
64 | 2654148.4658 | 1237057.6966 | 2654125.6033 | 1237021.184
65 | 2654148.4658 | 1237057.6966 | 2654163.124 | 1237049.9029 | 2654189.0792 | 1237036.2083 | 2654197.0731 | 1237032.34
66 | 2654148.4658 | 1237057.6966 | 2654129.473 | 1237072.7039
67 | 2654148.4658 | 1237057.6966 | 2654157.2091 | 1237044.7456 | 2654177.9949 | 1237018.807 | 2654182.3278 | 1237014.854
68 | 2654370.3269 | 1237189.6709 | 2654365.1541 | 1237199.8615
69 | 2654360.0271 | 1237208.771 | 2654363.668 | 1237202.7893 | 2654365.1541 | 1237199.8615
70 | 2654360.0271 | 1237208.771 | 2654355.7157 | 1237209.4319
71 | 2654360.0271 | 1237208.771 | 2654371.2566 | 1237211.0419 | 2654377.7028 | 1237213.2541
72 | 2654318.1071 | 1237198.0478 | 2654318.5242 | 1237197.2424
73 | 2654318.5242 | 1237197.2424 | 2654322.9955 | 1237188.6081 | 2654333.5004 | 1237171.0247
74 | 2654343.4198 | 1237154.4213 | 2654333.5004 | 1237171.0247
75 | 2654351.9776 | 1237140.097 | 2654343.4198 | 1237154.4213

## bus_geodata
| x | y | coords
0 | 2654025.1275 | 1237145.3239
1 | 2654033.4059 | 1237161.9542
2 | 2654036.0187 | 1237168.9736
3 | 2654036.4579 | 1237170.1534
4 | 2654062.5986 | 1237194.9601
5 | 2654055.3832 | 1237099.1096
6 | 2654058.4147 | 1237099.1923
7 | 2654067.8746 | 1237121.7199
8 | 2654066.5925 | 1237169.2907
9 | 2654067.8823 | 1237121.5157
10 | 2654085.9185 | 1237168.7797
11 | 2654085.7211 | 1237108.8395
12 | 2654070.7218 | 1237103.8189
13 | 2654058.8944 | 1237210.9881
14 | 2654105.8871 | 1237091.3405
15 | 2654176.4643 | 1237351.7438
16 | 2654294.5837 | 1237243.4732
17 | 2654299.0226 | 1237247.85
18 | 2654302.5642 | 1237228.0623
19 | 2654287.7994 | 1237258.1319
20 | 2654294.9539 | 1237251.5774
21 | 2654268.6348 | 1237274.7379
22 | 2654320.1379 | 1237231.3485
23 | 2654259.9676 | 1237281.9312
24 | 2654242.9399 | 1237296.0633
25 | 2654237.713 | 1237300.4014
26 | 2654314.9256 | 1237306.0042
27 | 2654316.2038 | 1237303.6126
28 | 2654308.9286 | 1237317.2248
29 | 2654326.3991 | 1237284.5369
30 | 2654305.8715 | 1237322.9448
31 | 2654328.8538 | 1237279.9441
32 | 2654303.9229 | 1237326.5906
33 | 2654337.9127 | 1237262.9947
34 | 2654297.5358 | 1237338.5412
35 | 2654372.3124 | 1237354.8846
36 | 2654306.0527 | 1237369.0769
37 | 2654124.4486 | 1237076.674
38 | 2654190.9235 | 1237416.6227
39 | 2654165.8242 | 1237400.0784
40 | 2654206.7721 | 1237427.0694
41 | 2654156.4833 | 1237406.6484
42 | 2654177.5252 | 1237391.8514
43 | 2654121.6903 | 1237415.4864
44 | 2654192.8297 | 1237381.7991
45 | 2654282.5102 | 1237366.6546
46 | 2654277.357 | 1237366.2538
47 | 2654305.4207 | 1237369.1019
48 | 2654261.6856 | 1237365.0349
49 | 2654105.4475 | 1237416.2723
50 | 2654130.235 | 1237400.3135
51 | 2654138.1335 | 1237439.5578
52 | 2654154.4534 | 1237372.9949
53 | 2654181.5896 | 1237347.3324
54 | 2654195.5475 | 1237335.3188
55 | 2654218.5634 | 1237316.2799
56 | 2654224.1312 | 1237311.6736
57 | 2654254.2279 | 1237364.4548
58 | 2654243.3396 | 1237364.6396
59 | 2654200.3581 | 1237377.4168
60 | 2654150.1817 | 1237447.0443
61 | 2654186.9283 | 1237448.5803
62 | 2654125.6033 | 1237021.184
63 | 2654148.4658 | 1237057.6966
64 | 2654182.3278 | 1237014.854
65 | 2654197.0731 | 1237032.34
66 | 2654129.473 | 1237072.7039
67 | 2654365.1541 | 1237199.8615
68 | 2654370.3269 | 1237189.6709
69 | 2654360.0271 | 1237208.771
70 | 2654355.7157 | 1237209.4319
71 | 2654377.7028 | 1237213.2541
72 | 2654318.1071 | 1237198.0478
73 | 2654318.5242 | 1237197.2424
74 | 2654333.5004 | 1237171.0247
75 | 2654343.4198 | 1237154.4213
76 | 2654351.9776 | 1237140.097
77 | 2654287.7994 | 1237258.1319

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1