## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_415-10_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_415-10_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_415-10_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_415-10_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_415-10_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_415-10_0_4_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_415-10_0_4_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_415-10_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_415-10_0_4_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_415-10_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_415-10_0_4_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_415-10_0_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_415-10_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_415-10_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_415-10_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_415-10_0_4_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_415-10_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_415-10_0_4_node_46 | 0.4 | n |  | TRUE
18 | bus_LV_415-10_0_4_node_85 | 0.4 | n |  | TRUE
19 | bus_LV_415-10_0_4_node_47 | 0.4 | n |  | TRUE
20 | bus_LV_415-10_0_4_node_86 | 0.4 | n |  | TRUE
21 | bus_LV_415-10_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_415-10_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_415-10_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_415-10_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_415-10_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_415-10_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_415-10_0_4_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_415-10_0_4_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_415-10_0_4_node_63 | 0.4 | n |  | TRUE
30 | bus_LV_415-10_0_4_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_415-10_0_4_node_65 | 0.4 | n |  | TRUE
32 | bus_LV_415-10_0_4_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_415-10_0_4_node_62 | 0.4 | n |  | TRUE
34 | bus_LV_415-10_0_4_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_415-10_0_4_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_415-10_0_4_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_415-10_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_415-10_0_4_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_415-10_0_4_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_415-10_0_4_node_53 | 0.4 | n |  | TRUE
41 | bus_LV_415-10_0_4_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_415-10_0_4_node_67 | 0.4 | n |  | TRUE
43 | bus_LV_415-10_0_4_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_415-10_0_4_node_58 | 0.4 | n |  | TRUE
45 | bus_LV_415-10_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_415-10_0_4_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_415-10_0_4_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_415-10_0_4_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_415-10_0_4_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_415-10_0_4_node_60 | 0.4 | n |  | TRUE
51 | bus_LV_415-10_0_4_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_415-10_0_4_node_76 | 0.4 | n |  | TRUE
53 | bus_LV_415-10_0_4_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_415-10_0_4_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_415-10_0_4_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_415-10_0_4_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_415-10_0_4_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_415-10_0_4_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_415-10_0_4_node_61 | 0.4 | n |  | TRUE
60 | bus_LV_415-10_0_4_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_415-10_0_4_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_415-10_0_4_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_415-10_0_4_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_415-10_0_4_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_415-10_0_4_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_415-10_0_4_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_415-10_0_4_node_82 | 0.4 | n |  | TRUE
68 | bus_LV_415-10_0_4_node_83 | 0.4 | n |  | TRUE
69 | bus_LV_415-10_0_4_node_71 | 0.4 | n |  | TRUE
70 | bus_LV_415-10_0_4_node_78 | 0.4 | n |  | TRUE
71 | bus_LV_415-10_0_4_node_77 | 0.4 | n |  | TRUE
72 | bus_LV_415-10_0_4_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_415-10_0_4_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_415-10_0_4_node_81 | 0.4 | n |  | TRUE
75 | bus_LV_415-10_0_4_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_415-10_0_4_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_415-10_0_4_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_415-10_0_4_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_415-10_0_4_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_415-10_0_4_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_415-10_0_4_node_91 | 0.4 | n |  | TRUE
82 | bus_LV_415-10_0_4_node_90 | 0.4 | n |  | TRUE
83 | bus_LV_415-10_0_4_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_415-10_0_4_node_87 | 0.4 | n |  | TRUE
85 | bus_LV_415-10_0_4_node_88 | 0.4 | n |  | TRUE
86 | bus_LV_415-10_0_4_node_89 | 0.4 | n |  | TRUE
87 | bus_MV_446_1_node_12 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_415-10_0_4_load_0 | 0 | 0.0030564 | 0.000766 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_415-10_0_4_load_1 | 1 | 0.0015014 | 0.0003763 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_415-10_0_4_load_2 | 2 | 0.0031538 | 0.00079042 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_415-10_0_4_load_4 | 4 | 0.0051091 | 0.0012805 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_415-10_0_4_load_5 | 7 | 0.0018117 | 0.00045405 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_415-10_0_4_load_24 | 8 | 0.0028949 | 0.00072553 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_415-10_0_4_load_8 | 9 | 0.0028356 | 0.00071067 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_415-10_0_4_load_14 | 10 | 0.0043052 | 0.001079 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_415-10_0_4_load_9 | 12 | 0.0028817 | 0.00072222 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_415-10_0_4_load_12 | 14 | 0.0039327 | 0.00098562 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_415-10_0_4_load_13 | 15 | 0.0076936 | 0.0019282 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_415-10_0_4_load_15 | 16 | 0.0042713 | 0.0010705 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_415-10_0_4_load_46 | 17 | 0.00648 | 0.001624 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_415-10_0_4_load_85 | 18 | 0.0091282 | 0.0022878 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_415-10_0_4_load_86 | 20 | 0.0082685 | 0.0020723 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_415-10_0_4_load_16 | 21 | 0.0021133 | 0.00052965 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_415-10_0_4_load_17 | 22 | 0.0013838 | 0.0003468 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_415-10_0_4_load_19 | 24 | 0.0018208 | 0.00045633 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_415-10_0_4_load_20 | 25 | 0.00057339 | 0.00014371 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_415-10_0_4_load_21 | 26 | 0.0015238 | 0.0003819 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_415-10_0_4_load_25 | 27 | 0.0030392 | 0.00076168 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_415-10_0_4_load_41 | 28 | 0.00067242 | 0.00016852 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_415-10_0_4_load_40 | 30 | 0.0075031 | 0.0018804 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_415-10_0_4_load_65 | 31 | 0.0024551 | 0.00061531 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_415-10_0_4_load_39 | 32 | 0.0014812 | 0.00037123 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_415-10_0_4_load_62 | 33 | 0.002587 | 0.00064836 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_415-10_0_4_load_23 | 34 | 0.0013094 | 0.00032817 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_415-10_0_4_load_44 | 36 | 0.0030608 | 0.0007671 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_415-10_0_4_load_28 | 38 | 0.0045913 | 0.0011507 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_415-10_0_4_load_53 | 40 | 0.0046557 | 0.0011668 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_415-10_0_4_load_50 | 41 | 0.0036392 | 0.00091208 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_415-10_0_4_load_67 | 42 | 0.0031067 | 0.0007786 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_415-10_0_4_load_51 | 43 | 0.0031313 | 0.00078477 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_415-10_0_4_load_29 | 45 | 0.00099363 | 0.00024903 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_415-10_0_4_load_30 | 46 | 0.00059175 | 0.00014831 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_415-10_0_4_load_32 | 48 | 0.00092995 | 0.00023307 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_415-10_0_4_load_34 | 49 | 0.0010262 | 0.00025719 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_415-10_0_4_load_76 | 52 | 0.001926 | 0.00048271 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_415-10_0_4_load_43 | 54 | 0.0024645 | 0.00061767 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_415-10_0_4_load_35 | 55 | 0.0029818 | 0.00074732 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_415-10_0_4_load_36 | 56 | 0.0012192 | 0.00030556 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_415-10_0_4_load_37 | 57 | 0.0023657 | 0.00059291 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_415-10_0_4_load_38 | 58 | 0.0027105 | 0.00067932 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_415-10_0_4_load_61 | 59 | 0.011301 | 0.0028322 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_415-10_0_4_load_59 | 61 | 0.007436 | 0.0018636 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_415-10_0_4_load_57 | 62 | 0.0082736 | 0.0020736 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_415-10_0_4_load_54 | 63 | 0.00362 | 0.00090725 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_415-10_0_4_load_48 | 64 | 0.0020367 | 0.00051046 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_415-10_0_4_load_49 | 65 | 0.014478 | 0.0036286 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_415-10_0_4_load_82 | 67 | 0.0075689 | 0.0018969 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_415-10_0_4_load_71 | 69 | 0.00094543 | 0.00023695 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_415-10_0_4_load_78 | 70 | 0.00024574 | 6.1587e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_415-10_0_4_load_77 | 71 | 0.0010149 | 0.00025435 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_415-10_0_4_load_81 | 74 | 0.00072734 | 0.00018229 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_415-10_0_4_load_75 | 75 | 0.0021969 | 0.00055059 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_415-10_0_4_load_73 | 76 | 0.003199 | 0.00080174 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_415-10_0_4_load_68 | 77 | 0.0007617 | 0.0001909 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_415-10_0_4_load_69 | 78 | 0.0036128 | 0.00090544 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_415-10_0_4_load_70 | 79 | 0.0019981 | 0.00050076 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_415-10_0_4_load_79 | 80 | 0.00023803 | 5.9656e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_415-10_0_4_load_91 | 81 | 0.0019981 | 0.00050076 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_415-10_0_4_load_90 | 82 | 0.002196 | 0.00055037 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_415-10_0_4_load_84 | 83 | 0.0093963 | 0.0023549 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_415-10_0_4_load_87 | 84 | 0.0021969 | 0.0005506 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_415-10_0_4_load_88 | 85 | 0.0019957 | 0.00050016 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_415-10_0_4_load_89 | 86 | 0.004195 | 0.0010514 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_415-10_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0080093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_415-10_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.012815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_415-10_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.038889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_415-10_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.028232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_415-10_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.022549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_415-10_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0054052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_415-10_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.018927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_415-10_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.013553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_415-10_0_4_line_8 | NAYY 4x150 SE | 8 | 36 | 0.0088538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_415-10_0_4_line_9 | NAYY 4x150 SE | 9 | 10 | 0.008346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_415-10_0_4_line_10 | NAYY 4x150 SE | 10 | 11 | 0.0062296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_415-10_0_4_line_11 | NAYY 4x150 SE | 11 | 16 | 0.030883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_415-10_0_4_line_12 | NAYY 4x150 SE | 11 | 12 | 0.021847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_415-10_0_4_line_13 | NAYY 4x150 SE | 12 | 13 | 0.014686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_415-10_0_4_line_14 | NAYY 4x150 SE | 13 | 14 | 0.0028567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_415-10_0_4_line_15 | NAYY 4x150 SE | 13 | 15 | 0.017758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_415-10_0_4_line_16 | NAYY 4x150 SE | 14 | 17 | 0.034795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_415-10_0_4_line_17 | NAYY 4x150 SE | 15 | 18 | 0.01833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_415-10_0_4_line_18 | NAYY 4x150 SE | 17 | 19 | 0.016812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_415-10_0_4_line_19 | NAYY 4x150 SE | 18 | 20 | 0.01237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_415-10_0_4_line_20 | NAYY 4x150 SE | 19 | 64 | 0.012859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_415-10_0_4_line_21 | NAYY 4x150 SE | 19 | 65 | 0.016889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_415-10_0_4_line_22 | NAYY 4x150 SE | 21 | 22 | 0.0030996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_415-10_0_4_line_23 | NAYY 4x150 SE | 21 | 23 | 0.01545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_415-10_0_4_line_24 | NAYY 4x150 SE | 22 | 24 | 0.010819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_415-10_0_4_line_25 | NAYY 4x150 SE | 23 | 25 | 0.023181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_415-10_0_4_line_26 | NAYY 4x150 SE | 23 | 26 | 0.011056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_415-10_0_4_line_27 | NAYY 4x150 SE | 24 | 27 | 0.0084661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_415-10_0_4_line_28 | NAYY 4x150 SE | 25 | 28 | 0.0010102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_415-10_0_4_line_29 | NAYY 4x150 SE | 26 | 29 | 0.035291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_415-10_0_4_line_30 | NAYY 4x150 SE | 28 | 30 | 0.024614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_415-10_0_4_line_31 | NAYY 4x150 SE | 29 | 31 | 0.017455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_415-10_0_4_line_32 | NAYY 4x150 SE | 29 | 32 | 0.016468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_415-10_0_4_line_33 | NAYY 4x150 SE | 29 | 33 | 0.032849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_415-10_0_4_line_34 | NAYY 4x150 SE | 30 | 51 | 0.0074183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_415-10_0_4_line_35 | NAYY 4x150 SE | 31 | 72 | 0.023887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_415-10_0_4_line_36 | NAYY 4x150 SE | 32 | 57 | 0.019692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_415-10_0_4_line_37 | NAYY 4x150 SE | 34 | 35 | 0.020979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_415-10_0_4_line_38 | NAYY 4x150 SE | 35 | 37 | 0.006955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_415-10_0_4_line_39 | NAYY 4x150 SE | 35 | 38 | 0.016499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_415-10_0_4_line_40 | NAYY 4x150 SE | 36 | 39 | 0.019564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_415-10_0_4_line_41 | NAYY 4x150 SE | 37 | 40 | 0.062217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_415-10_0_4_line_42 | NAYY 4x150 SE | 37 | 41 | 0.034043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_415-10_0_4_line_43 | NAYY 4x150 SE | 38 | 42 | 0.011055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_415-10_0_4_line_44 | NAYY 4x150 SE | 39 | 59 | 0.004493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_415-10_0_4_line_45 | NAYY 4x150 SE | 39 | 60 | 0.032629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_415-10_0_4_line_46 | NAYY 4x150 SE | 41 | 43 | 0.037288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_415-10_0_4_line_47 | NAYY 4x150 SE | 42 | 44 | 0.003708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_415-10_0_4_line_48 | NAYY 4x150 SE | 43 | 53 | 0.0085481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_415-10_0_4_line_49 | NAYY 4x150 SE | 44 | 61 | 0.018336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_415-10_0_4_line_50 | NAYY 4x150 SE | 45 | 46 | 0.012802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_415-10_0_4_line_51 | NAYY 4x150 SE | 45 | 47 | 0.053697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_415-10_0_4_line_52 | NAYY 4x150 SE | 46 | 48 | 0.025916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_415-10_0_4_line_53 | NAYY 4x150 SE | 47 | 49 | 0.023432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_415-10_0_4_line_54 | NAYY 4x150 SE | 48 | 50 | 0.021753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_415-10_0_4_line_55 | NAYY 4x150 SE | 49 | 51 | 0.017654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_415-10_0_4_line_56 | NAYY 4x150 SE | 50 | 52 | 0.053748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_415-10_0_4_line_57 | NAYY 4x150 SE | 50 | 53 | 0.021878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_415-10_0_4_line_58 | NAYY 4x150 SE | 51 | 54 | 0.015621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_415-10_0_4_line_59 | NAYY 4x150 SE | 52 | 71 | 0.0066291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_415-10_0_4_line_60 | NAYY 4x150 SE | 53 | 69 | 0.018424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_415-10_0_4_line_61 | NAYY 4x150 SE | 55 | 56 | 0.0056071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_415-10_0_4_line_62 | NAYY 4x150 SE | 55 | 57 | 0.00082984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_415-10_0_4_line_63 | NAYY 4x150 SE | 56 | 58 | 0.0093192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_415-10_0_4_line_64 | NAYY 4x150 SE | 60 | 62 | 0.014992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_415-10_0_4_line_65 | NAYY 4x150 SE | 60 | 63 | 0.021781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_415-10_0_4_line_66 | NAYY 4x150 SE | 61 | 66 | 0.0067453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
67 | LV_415-10_0_4_line_67 | NAYY 4x150 SE | 63 | 66 | 0.012274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_415-10_0_4_line_68 | NAYY 4x150 SE | 64 | 66 | 0.024043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_415-10_0_4_line_69 | NAYY 4x150 SE | 65 | 67 | 0.031428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_415-10_0_4_line_70 | NAYY 4x150 SE | 67 | 68 | 0.019459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_415-10_0_4_line_71 | NAYY 4x150 SE | 68 | 83 | 0.0064892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_415-10_0_4_line_72 | NAYY 4x150 SE | 69 | 70 | 0.020941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_415-10_0_4_line_73 | NAYY 4x150 SE | 70 | 80 | 0.018903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_415-10_0_4_line_74 | NAYY 4x150 SE | 71 | 73 | 0.01602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_415-10_0_4_line_75 | NAYY 4x150 SE | 72 | 75 | 0.013674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_415-10_0_4_line_76 | NAYY 4x150 SE | 72 | 76 | 0.0020079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_415-10_0_4_line_77 | NAYY 4x150 SE | 73 | 74 | 0.016905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_415-10_0_4_line_78 | NAYY 4x150 SE | 75 | 81 | 0.018091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_415-10_0_4_line_79 | NAYY 4x150 SE | 76 | 79 | 0.016726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_415-10_0_4_line_80 | NAYY 4x150 SE | 77 | 78 | 0.0020318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_415-10_0_4_line_81 | NAYY 4x150 SE | 78 | 79 | 0.016123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_415-10_0_4_line_82 | NAYY 4x150 SE | 81 | 82 | 0.0043473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_415-10_0_4_line_83 | NAYY 4x150 SE | 82 | 85 | 0.019359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_415-10_0_4_line_84 | NAYY 4x150 SE | 84 | 85 | 0.0043472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_415-10_0_4_line_85 | NAYY 4x150 SE | 84 | 86 | 0.006201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_415-10_0_4_trafo_4 | 0.25 MVA 20/0.4 kV | 87 | 4 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2610834.7499 | 1212605.981 | 2610837.3565 | 1212598.4076
1 | 2610834.7499 | 1212605.981 | 2610830.5792 | 1212618.0985
2 | 2610843.7804 | 1212562.1434 | 2610843.1054 | 1212565.722 | 2610845.8728 | 1212568.6842 | 2610837.021 | 1212594.894 | 2610837.3565 | 1212598.4076 | 2610837.3565 | 1212598.4076
3 | 2610830.5792 | 1212618.0985 | 2610821.3911 | 1212644.7935
4 | 2610862.3459 | 1212575.0175 | 2610843.7804 | 1212562.1434
5 | 2610819.632 | 1212649.9045 | 2610821.3911 | 1212644.7935
6 | 2610862.3459 | 1212575.0175 | 2610876.0864 | 1212584.381 | 2610877.9777 | 1212585.6898
7 | 2610819.632 | 1212649.9045 | 2610832.5591 | 1212653.976
8 | 2610832.5591 | 1212653.976 | 2610841.0039 | 1212656.6357 | 2610841.0039 | 1212656.6357
9 | 2610899.8023 | 1212634.0169 | 2610901.2401 | 1212625.7956
10 | 2610898.7291 | 1212640.1533 | 2610899.8023 | 1212634.0169
11 | 2610898.7291 | 1212640.1533 | 2610868.5333 | 1212633.6726
12 | 2610898.7291 | 1212640.1533 | 2610895.0013 | 1212661.6802
13 | 2610892.4954 | 1212676.151 | 2610895.0013 | 1212661.6802
14 | 2610892.4954 | 1212676.151 | 2610892.0631 | 1212678.9749
15 | 2610892.4954 | 1212676.151 | 2610910.0933 | 1212678.5339
16 | 2610886.7981 | 1212713.3688 | 2610892.0631 | 1212678.9749
17 | 2610928.2578 | 1212680.9936 | 2610910.0933 | 1212678.5339
18 | 2610887.7347 | 1212729.261 | 2610885.023 | 1212724.9648 | 2610886.7981 | 1212713.3688
19 | 2610928.2578 | 1212680.9936 | 2610940.516 | 1212682.6534
20 | 2610887.7347 | 1212729.261 | 2610875.0136 | 1212727.3815
21 | 2610887.7347 | 1212729.261 | 2610900.5721 | 1212729.5401 | 2610904.6185 | 1212729.6613
22 | 2610660.8119 | 1212498.9009 | 2610659.8221 | 1212501.8382
23 | 2610654.8885 | 1212516.4794 | 2610659.8221 | 1212501.8382
24 | 2610660.8119 | 1212498.9009 | 2610664.2668 | 1212488.6481
25 | 2610654.8885 | 1212516.4794 | 2610677.9114 | 1212519.1808
26 | 2610654.8885 | 1212516.4794 | 2610643.9108 | 1212515.1658
27 | 2610666.9702 | 1212480.6253 | 2610664.2668 | 1212488.6481
28 | 2610678.9147 | 1212519.2985 | 2610677.9114 | 1212519.1808
29 | 2610608.8701 | 1212510.9726 | 2610643.9108 | 1212515.1658
30 | 2610703.2449 | 1212522.7715 | 2610699.145 | 1212521.6722 | 2610678.9147 | 1212519.2985
31 | 2610608.8701 | 1212510.9726 | 2610591.5865 | 1212508.5294
32 | 2610608.8701 | 1212510.9726 | 2610615.3622 | 1212495.8378
33 | 2610608.8701 | 1212510.9726 | 2610610.0918 | 1212516.022 | 2610597.7998 | 1212540.7944
34 | 2610710.329 | 1212524.9606 | 2610706.1989 | 1212523.5636 | 2610703.2449 | 1212522.7715
35 | 2610567.9343 | 1212505.186 | 2610591.5865 | 1212508.5294
36 | 2610623.1252 | 1212477.7401 | 2610615.3622 | 1212495.8378
37 | 2610797.3163 | 1212707.3965 | 2610804.9074 | 1212687.8395
38 | 2610790.7954 | 1212704.9278 | 2610797.3163 | 1212707.3965
39 | 2610797.3163 | 1212707.3965 | 2610801.4231 | 1212708.9714 | 2610812.8055 | 1212713.0769
40 | 2610836.5863 | 1212675.694 | 2610841.0039 | 1212656.6357
41 | 2610790.7954 | 1212704.9278 | 2610783.2582 | 1212726.9488 | 2610774.2803 | 1212730.568 | 2610770.7589 | 1212741.4011 | 2610772.731 | 1212743.0723 | 2610787.315 | 1212747.6513
42 | 2610790.7954 | 1212704.9278 | 2610778.4597 | 1212700.2475 | 2610759.3763 | 1212691.8506
43 | 2610812.8055 | 1212713.0769 | 2610815.642 | 1212714.0999 | 2610823.3738 | 1212716.3051
44 | 2610836.5863 | 1212675.694 | 2610832.3502 | 1212674.1632
45 | 2610858.2421 | 1212689.2296 | 2610834.6723 | 1212683.9507 | 2610836.5863 | 1212675.694
46 | 2610759.3763 | 1212691.8506 | 2610725.5391 | 1212676.9618 | 2610725.2469 | 1212676.8323
47 | 2610826.9396 | 1212717.3221 | 2610823.3738 | 1212716.3051
48 | 2610717.4325 | 1212673.3675 | 2610725.2469 | 1212676.8323
49 | 2610826.9396 | 1212717.3221 | 2610844.8647 | 1212721.1825
50 | 2610726.2752 | 1212609.392 | 2610721.0249 | 1212621.0677
51 | 2610734.6656 | 1212556.355 | 2610731.1253 | 1212577.7273 | 2610726.2752 | 1212609.392
52 | 2610721.0249 | 1212621.0677 | 2610714.4765 | 1212635.63 | 2610709.9466 | 1212644.4884
53 | 2610734.6656 | 1212556.355 | 2610731.6444 | 1212555.0934 | 2610729.073 | 1212552.9542 | 2610721.6843 | 1212537.8515
54 | 2610701.9743 | 1212664.4794 | 2610702.9351 | 1212658.1998 | 2610709.9466 | 1212644.4884
55 | 2610710.329 | 1212524.9606 | 2610718.3326 | 1212531.0005 | 2610721.6843 | 1212537.8515
56 | 2610701.9743 | 1212664.4794 | 2610692.5832 | 1212661.3164 | 2610686.7504 | 1212656.281 | 2610666.6247 | 1212644.95 | 2610655.3954 | 1212638.3279
57 | 2610701.9743 | 1212664.4794 | 2610701.2057 | 1212669.5142 | 2610713.159 | 1212671.4811 | 2610717.4325 | 1212673.3675
58 | 2610710.329 | 1212524.9606 | 2610721.204 | 1212518.3208 | 2610724.0345 | 1212517.7909
59 | 2610655.3954 | 1212638.3279 | 2610649.6852 | 1212634.9606
60 | 2610717.4325 | 1212673.3675 | 2610710.4957 | 1212686.8071 | 2610708.9447 | 1212689.7198
61 | 2610623.4524 | 1212476.9774 | 2610625.6628 | 1212471.8244
62 | 2610623.4524 | 1212476.9774 | 2610623.1252 | 1212477.7401
63 | 2610629.3365 | 1212463.2599 | 2610625.6628 | 1212471.8244
64 | 2610858.2421 | 1212689.2296 | 2610860.8633 | 1212676.3716 | 2610859.0716 | 1212675.8236
65 | 2610858.2421 | 1212689.2296 | 2610853.9037 | 1212710.5742
66 | 2610851.4588 | 1212722.6027 | 2610844.8647 | 1212721.1825
67 | 2610851.4588 | 1212722.6027 | 2610853.9037 | 1212710.5742
68 | 2610851.4588 | 1212722.6027 | 2610870.5183 | 1212726.7173 | 2610875.0136 | 1212727.3815
69 | 2610936.0329 | 1212730.6026 | 2610904.6185 | 1212729.6613
70 | 2610955.4834 | 1212731.1855 | 2610936.0329 | 1212730.6026
71 | 2610955.4834 | 1212731.1855 | 2610961.9643 | 1212731.5113
72 | 2610699.5232 | 1212708.4026 | 2610701.4408 | 1212703.8116 | 2610708.9447 | 1212689.7198
73 | 2610699.5232 | 1212708.4026 | 2610692.2379 | 1212725.8451
74 | 2610636.0739 | 1212626.5187 | 2610643.5176 | 1212631.3235 | 2610649.6852 | 1212634.9606
75 | 2610567.9343 | 1212505.186 | 2610573.3173 | 1212492.616
76 | 2610567.9343 | 1212505.186 | 2610565.9492 | 1212504.8844
77 | 2610636.0739 | 1212626.5187 | 2610626.881 | 1212640.7056
78 | 2610580.4388 | 1212475.9862 | 2610573.3173 | 1212492.616
79 | 2610565.9492 | 1212504.8844 | 2610549.4129 | 1212502.3724
80 | 2610532.2308 | 1212496.6744 | 2610534.1363 | 1212497.3795
81 | 2610534.1363 | 1212497.3795 | 2610546.3883 | 1212501.9129 | 2610549.4129 | 1212502.3724
82 | 2610582.1502 | 1212471.9899 | 2610580.4388 | 1212475.9862
83 | 2610589.771 | 1212454.1943 | 2610582.1502 | 1212471.9899
84 | 2610591.4823 | 1212450.1981 | 2610589.771 | 1212454.1943
85 | 2610593.9234 | 1212444.4979 | 2610591.4823 | 1212450.1981

## bus_geodata
| x | y | coords
0 | 2610834.7499 | 1212605.981
1 | 2610837.3565 | 1212598.4076
2 | 2610830.5792 | 1212618.0985
3 | 2610843.7804 | 1212562.1434
4 | 2610821.3911 | 1212644.7935
5 | 2610862.3459 | 1212575.0175
6 | 2610819.632 | 1212649.9045
7 | 2610877.9777 | 1212585.6898
8 | 2610832.5591 | 1212653.976
9 | 2610901.2401 | 1212625.7956
10 | 2610899.8023 | 1212634.0169
11 | 2610898.7291 | 1212640.1533
12 | 2610895.0013 | 1212661.6802
13 | 2610892.4954 | 1212676.151
14 | 2610892.0631 | 1212678.9749
15 | 2610910.0933 | 1212678.5339
16 | 2610868.5333 | 1212633.6726
17 | 2610886.7981 | 1212713.3688
18 | 2610928.2578 | 1212680.9936
19 | 2610887.7347 | 1212729.261
20 | 2610940.516 | 1212682.6534
21 | 2610659.8221 | 1212501.8382
22 | 2610660.8119 | 1212498.9009
23 | 2610654.8885 | 1212516.4794
24 | 2610664.2668 | 1212488.6481
25 | 2610677.9114 | 1212519.1808
26 | 2610643.9108 | 1212515.1658
27 | 2610666.9702 | 1212480.6253
28 | 2610678.9147 | 1212519.2985
29 | 2610608.8701 | 1212510.9726
30 | 2610703.2449 | 1212522.7715
31 | 2610591.5865 | 1212508.5294
32 | 2610615.3622 | 1212495.8378
33 | 2610597.7998 | 1212540.7944
34 | 2610804.9074 | 1212687.8395
35 | 2610797.3163 | 1212707.3965
36 | 2610841.0039 | 1212656.6357
37 | 2610790.7954 | 1212704.9278
38 | 2610812.8055 | 1212713.0769
39 | 2610836.5863 | 1212675.694
40 | 2610787.315 | 1212747.6513
41 | 2610759.3763 | 1212691.8506
42 | 2610823.3738 | 1212716.3051
43 | 2610725.2469 | 1212676.8323
44 | 2610826.9396 | 1212717.3221
45 | 2610726.2752 | 1212609.3919
46 | 2610721.0249 | 1212621.0677
47 | 2610734.6656 | 1212556.355
48 | 2610709.9466 | 1212644.4884
49 | 2610721.6843 | 1212537.8515
50 | 2610701.9743 | 1212664.4794
51 | 2610710.329 | 1212524.9606
52 | 2610655.3954 | 1212638.3279
53 | 2610717.4325 | 1212673.3675
54 | 2610724.0345 | 1212517.7909
55 | 2610623.4524 | 1212476.9774
56 | 2610625.6628 | 1212471.8244
57 | 2610623.1252 | 1212477.7401
58 | 2610629.3365 | 1212463.2599
59 | 2610832.3502 | 1212674.1632
60 | 2610858.2421 | 1212689.2296
61 | 2610844.8647 | 1212721.1825
62 | 2610859.0716 | 1212675.8236
63 | 2610853.9037 | 1212710.5742
64 | 2610875.0136 | 1212727.3815
65 | 2610904.6185 | 1212729.6613
66 | 2610851.4588 | 1212722.6027
67 | 2610936.0329 | 1212730.6026
68 | 2610955.4834 | 1212731.1855
69 | 2610708.9447 | 1212689.7198
70 | 2610699.5232 | 1212708.4026
71 | 2610649.6852 | 1212634.9606
72 | 2610567.9343 | 1212505.186
73 | 2610636.0739 | 1212626.5187
74 | 2610626.8811 | 1212640.7056
75 | 2610573.3173 | 1212492.616
76 | 2610565.9492 | 1212504.8844
77 | 2610532.2308 | 1212496.6744
78 | 2610534.1363 | 1212497.3795
79 | 2610549.4129 | 1212502.3724
80 | 2610692.2379 | 1212725.8452
81 | 2610580.4388 | 1212475.9862
82 | 2610582.1502 | 1212471.9899
83 | 2610961.9643 | 1212731.5113
84 | 2610591.4823 | 1212450.1981
85 | 2610589.771 | 1212454.1943
86 | 2610593.9234 | 1212444.4979
87 | 2610819.632 | 1212649.9045

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1