## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4169-1_1_2_node_5 | 0.4 | n |  | TRUE
1 | bus_LV_4169-1_1_2_node_6 | 0.4 | n |  | TRUE
2 | bus_LV_4169-1_1_2_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_4169-1_1_2_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_4169-1_1_2_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_4169-1_1_2_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_4169-1_1_2_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_4169-1_1_2_node_35 | 0.4 | n |  | TRUE
8 | bus_LV_4169-1_1_2_node_33 | 0.4 | n |  | TRUE
9 | bus_LV_4169-1_1_2_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_4169-1_1_2_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_4169-1_1_2_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_4169-1_1_2_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_4169-1_1_2_node_57 | 0.4 | n |  | TRUE
14 | bus_LV_4169-1_1_2_node_65 | 0.4 | n |  | TRUE
15 | bus_LV_4169-1_1_2_node_64 | 0.4 | n |  | TRUE
16 | bus_LV_4169-1_1_2_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_4169-1_1_2_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_4169-1_1_2_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_4169-1_1_2_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_4169-1_1_2_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_4169-1_1_2_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_4169-1_1_2_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_4169-1_1_2_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_4169-1_1_2_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_4169-1_1_2_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_4169-1_1_2_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_4169-1_1_2_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_4169-1_1_2_node_58 | 0.4 | n |  | TRUE
29 | bus_LV_4169-1_1_2_node_59 | 0.4 | n |  | TRUE
30 | bus_LV_4169-1_1_2_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_4169-1_1_2_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_4169-1_1_2_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_4169-1_1_2_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_4169-1_1_2_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_4169-1_1_2_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_4169-1_1_2_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_4169-1_1_2_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_4169-1_1_2_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_4169-1_1_2_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_4169-1_1_2_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_4169-1_1_2_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_4169-1_1_2_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_4169-1_1_2_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_4169-1_1_2_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_4169-1_1_2_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_4169-1_1_2_node_88 | 0.4 | n |  | TRUE
47 | bus_LV_4169-1_1_2_node_84 | 0.4 | n |  | TRUE
48 | bus_LV_4169-1_1_2_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_4169-1_1_2_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_4169-1_1_2_node_91 | 0.4 | n |  | TRUE
51 | bus_LV_4169-1_1_2_node_86 | 0.4 | n |  | TRUE
52 | bus_LV_4169-1_1_2_node_94 | 0.4 | n |  | TRUE
53 | bus_LV_4169-1_1_2_node_82 | 0.4 | n |  | TRUE
54 | bus_LV_4169-1_1_2_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_4169-1_1_2_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_4169-1_1_2_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_4169-1_1_2_node_66 | 0.4 | n |  | TRUE
58 | bus_LV_4169-1_1_2_node_67 | 0.4 | n |  | TRUE
59 | bus_LV_4169-1_1_2_node_61 | 0.4 | n |  | TRUE
60 | bus_LV_4169-1_1_2_node_62 | 0.4 | n |  | TRUE
61 | bus_LV_4169-1_1_2_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_4169-1_1_2_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_4169-1_1_2_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_4169-1_1_2_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_4169-1_1_2_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_4169-1_1_2_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_4169-1_1_2_node_68 | 0.4 | n |  | TRUE
68 | bus_LV_4169-1_1_2_node_69 | 0.4 | n |  | TRUE
69 | bus_LV_4169-1_1_2_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_4169-1_1_2_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_4169-1_1_2_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_4169-1_1_2_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_4169-1_1_2_node_111 | 0.4 | n |  | TRUE
74 | bus_LV_4169-1_1_2_node_114 | 0.4 | n |  | TRUE
75 | bus_LV_4169-1_1_2_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_4169-1_1_2_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_4169-1_1_2_node_76 | 0.4 | n |  | TRUE
78 | bus_LV_4169-1_1_2_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_4169-1_1_2_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_4169-1_1_2_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_4169-1_1_2_node_97 | 0.4 | n |  | TRUE
82 | bus_LV_4169-1_1_2_node_89 | 0.4 | n |  | TRUE
83 | bus_LV_4169-1_1_2_node_107 | 0.4 | n |  | TRUE
84 | bus_LV_4169-1_1_2_node_115 | 0.4 | n |  | TRUE
85 | bus_LV_4169-1_1_2_node_110 | 0.4 | n |  | TRUE
86 | bus_LV_4169-1_1_2_node_90 | 0.4 | n |  | TRUE
87 | bus_LV_4169-1_1_2_node_106 | 0.4 | n |  | TRUE
88 | bus_LV_4169-1_1_2_node_80 | 0.4 | n |  | TRUE
89 | bus_LV_4169-1_1_2_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_4169-1_1_2_node_83 | 0.4 | n |  | TRUE
91 | bus_LV_4169-1_1_2_node_96 | 0.4 | n |  | TRUE
92 | bus_LV_4169-1_1_2_node_92 | 0.4 | n |  | TRUE
93 | bus_LV_4169-1_1_2_node_85 | 0.4 | n |  | TRUE
94 | bus_LV_4169-1_1_2_node_87 | 0.4 | n |  | TRUE
95 | bus_LV_4169-1_1_2_node_108 | 0.4 | n |  | TRUE
96 | bus_LV_4169-1_1_2_node_104 | 0.4 | n |  | TRUE
97 | bus_LV_4169-1_1_2_node_105 | 0.4 | n |  | TRUE
98 | bus_LV_4169-1_1_2_node_120 | 0.4 | n |  | TRUE
99 | bus_LV_4169-1_1_2_node_109 | 0.4 | n |  | TRUE
100 | bus_LV_4169-1_1_2_node_93 | 0.4 | n |  | TRUE
101 | bus_LV_4169-1_1_2_node_95 | 0.4 | n |  | TRUE
102 | bus_LV_4169-1_1_2_node_98 | 0.4 | n |  | TRUE
103 | bus_LV_4169-1_1_2_node_99 | 0.4 | n |  | TRUE
104 | bus_LV_4169-1_1_2_node_100 | 0.4 | n |  | TRUE
105 | bus_LV_4169-1_1_2_node_101 | 0.4 | n |  | TRUE
106 | bus_LV_4169-1_1_2_node_102 | 0.4 | n |  | TRUE
107 | bus_LV_4169-1_1_2_node_103 | 0.4 | n |  | TRUE
108 | bus_LV_4169-1_1_2_node_116 | 0.4 | n |  | TRUE
109 | bus_LV_4169-1_1_2_node_124 | 0.4 | n |  | TRUE
110 | bus_LV_4169-1_1_2_node_119 | 0.4 | n |  | TRUE
111 | bus_LV_4169-1_1_2_node_121 | 0.4 | n |  | TRUE
112 | bus_LV_4169-1_1_2_node_117 | 0.4 | n |  | TRUE
113 | bus_LV_4169-1_1_2_node_126 | 0.4 | n |  | TRUE
114 | bus_LV_4169-1_1_2_node_118 | 0.4 | n |  | TRUE
115 | bus_LV_4169-1_1_2_node_122 | 0.4 | n |  | TRUE
116 | bus_LV_4169-1_1_2_node_142 | 0.4 | n |  | TRUE
117 | bus_LV_4169-1_1_2_node_144 | 0.4 | n |  | TRUE
118 | bus_LV_4169-1_1_2_node_123 | 0.4 | n |  | TRUE
119 | bus_LV_4169-1_1_2_node_135 | 0.4 | n |  | TRUE
120 | bus_LV_4169-1_1_2_node_141 | 0.4 | n |  | TRUE
121 | bus_LV_4169-1_1_2_node_140 | 0.4 | n |  | TRUE
122 | bus_LV_4169-1_1_2_node_125 | 0.4 | n |  | TRUE
123 | bus_LV_4169-1_1_2_node_127 | 0.4 | n |  | TRUE
124 | bus_LV_4169-1_1_2_node_128 | 0.4 | n |  | TRUE
125 | bus_LV_4169-1_1_2_node_129 | 0.4 | n |  | TRUE
126 | bus_LV_4169-1_1_2_node_130 | 0.4 | n |  | TRUE
127 | bus_LV_4169-1_1_2_node_131 | 0.4 | n |  | TRUE
128 | bus_LV_4169-1_1_2_node_133 | 0.4 | n |  | TRUE
129 | bus_LV_4169-1_1_2_node_134 | 0.4 | n |  | TRUE
130 | bus_LV_4169-1_1_2_node_136 | 0.4 | n |  | TRUE
131 | bus_LV_4169-1_1_2_node_137 | 0.4 | n |  | TRUE
132 | bus_LV_4169-1_1_2_node_139 | 0.4 | n |  | TRUE
133 | bus_LV_4169-1_1_2_node_148 | 0.4 | n |  | TRUE
134 | bus_LV_4169-1_1_2_node_138 | 0.4 | n |  | TRUE
135 | bus_LV_4169-1_1_2_node_149 | 0.4 | n |  | TRUE
136 | bus_LV_4169-1_1_2_node_153 | 0.4 | n |  | TRUE
137 | bus_LV_4169-1_1_2_node_151 | 0.4 | n |  | TRUE
138 | bus_MV_483_0_node_107 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4169-1_1_2_load_5 | 0 | 9.9774e-05 | 2.5006e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4169-1_1_2_load_6 | 1 | 0.0023632 | 0.00059227 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4169-1_1_2_load_7 | 2 | 0.00015162 | 3.7999e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4169-1_1_2_load_9 | 5 | 0.0068789 | 0.001724 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4169-1_1_2_load_34 | 6 | 0.001966 | 0.00049272 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4169-1_1_2_load_35 | 7 | 0.0016267 | 0.00040768 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4169-1_1_2_load_33 | 8 | 0.001003 | 0.00025139 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4169-1_1_2_load_30 | 9 | 0.00017208 | 4.3126e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4169-1_1_2_load_12 | 11 | 0.00081869 | 0.00020518 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4169-1_1_2_load_13 | 12 | 0.0012634 | 0.00031665 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4169-1_1_2_load_57 | 13 | 0.00065212 | 0.00016344 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4169-1_1_2_load_65 | 14 | 0.00061422 | 0.00015394 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4169-1_1_2_load_64 | 15 | 0.00064407 | 0.00016142 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4169-1_1_2_load_14 | 16 | 0.00018251 | 4.5741e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4169-1_1_2_load_15 | 17 | 0.00018409 | 4.6138e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4169-1_1_2_load_17 | 18 | 0.00021497 | 5.3877e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4169-1_1_2_load_44 | 19 | 0.0005762 | 0.00014441 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4169-1_1_2_load_42 | 20 | 0.0004964 | 0.00012441 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4169-1_1_2_load_18 | 21 | 0.0001267 | 3.1753e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4169-1_1_2_load_19 | 22 | 0.00014229 | 3.5661e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4169-1_1_2_load_20 | 23 | 0.00014728 | 3.6913e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4169-1_1_2_load_21 | 24 | 0.00012898 | 3.2326e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4169-1_1_2_load_25 | 26 | 0.00051413 | 0.00012885 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4169-1_1_2_load_23 | 27 | 0.00012467 | 3.1244e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4169-1_1_2_load_58 | 28 | 0.0013238 | 0.00033178 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4169-1_1_2_load_59 | 29 | 0.00088772 | 0.00022248 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4169-1_1_2_load_26 | 30 | 0.0011894 | 0.0002981 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4169-1_1_2_load_27 | 31 | 0.00095265 | 0.00023876 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4169-1_1_2_load_28 | 32 | 0.0011067 | 0.00027736 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4169-1_1_2_load_29 | 33 | 0.0010574 | 0.00026502 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4169-1_1_2_load_50 | 34 | 0.00083071 | 0.00020819 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4169-1_1_2_load_51 | 35 | 0.00072288 | 0.00018117 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4169-1_1_2_load_31 | 36 | 0.0014182 | 0.00035542 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4169-1_1_2_load_32 | 37 | 0.001015 | 0.00025438 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4169-1_1_2_load_36 | 38 | 0.0036702 | 0.00091983 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4169-1_1_2_load_39 | 41 | 0.0011136 | 0.00027909 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4169-1_1_2_load_40 | 42 | 0.00096929 | 0.00024293 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4169-1_1_2_load_41 | 43 | 0.0021018 | 0.00052677 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4169-1_1_2_load_43 | 44 | 0.00051793 | 0.00012981 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4169-1_1_2_load_60 | 48 | 0.00066002 | 0.00016542 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4169-1_1_2_load_47 | 49 | 0.0012478 | 0.00031273 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4169-1_1_2_load_91 | 50 | 0.001437 | 0.00036014 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4169-1_1_2_load_86 | 51 | 0.002764 | 0.00069272 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4169-1_1_2_load_82 | 53 | 0.0032226 | 0.00080767 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4169-1_1_2_load_45 | 54 | 0.00112 | 0.00028069 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4169-1_1_2_load_46 | 55 | 0.0015959 | 0.00039998 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4169-1_1_2_load_48 | 56 | 0.0017824 | 0.00044671 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4169-1_1_2_load_66 | 57 | 0.00078839 | 0.00019759 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4169-1_1_2_load_67 | 58 | 0.0016758 | 0.00041999 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4169-1_1_2_load_61 | 59 | 0.0010989 | 0.00027541 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4169-1_1_2_load_62 | 60 | 0.0008027 | 0.00020118 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4169-1_1_2_load_52 | 61 | 0.0021388 | 0.00053603 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4169-1_1_2_load_53 | 62 | 0.001142 | 0.00028621 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4169-1_1_2_load_54 | 63 | 0.0011051 | 0.00027697 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4169-1_1_2_load_55 | 64 | 0.0015855 | 0.00039735 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4169-1_1_2_load_56 | 65 | 0.0010659 | 0.00026713 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4169-1_1_2_load_63 | 66 | 0.00082691 | 0.00020724 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4169-1_1_2_load_68 | 67 | 0.0012265 | 0.0003074 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4169-1_1_2_load_69 | 68 | 0.00071215 | 0.00017848 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4169-1_1_2_load_70 | 69 | 0.0011343 | 0.00028428 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4169-1_1_2_load_71 | 70 | 0.00077877 | 0.00019518 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4169-1_1_2_load_72 | 71 | 0.0015603 | 0.00039105 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4169-1_1_2_load_73 | 72 | 0.001104 | 0.00027668 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4169-1_1_2_load_111 | 73 | 0.00066786 | 0.00016738 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4169-1_1_2_load_114 | 74 | 0.00076596 | 0.00019197 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4169-1_1_2_load_74 | 75 | 0.0034067 | 0.00085381 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4169-1_1_2_load_75 | 76 | 0.00056626 | 0.00014192 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4169-1_1_2_load_77 | 78 | 0.0021544 | 0.00053994 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4169-1_1_2_load_78 | 79 | 0.0007692 | 0.00019278 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4169-1_1_2_load_79 | 80 | 0.00045248 | 0.0001134 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4169-1_1_2_load_89 | 82 | 0.00095388 | 0.00023906 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4169-1_1_2_load_107 | 83 | 0.0024103 | 0.00060409 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4169-1_1_2_load_115 | 84 | 0.00273 | 0.0006842 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4169-1_1_2_load_110 | 85 | 0.0045249 | 0.0011341 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4169-1_1_2_load_106 | 87 | 0.00084066 | 0.00021069 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4169-1_1_2_load_80 | 88 | 0.0030029 | 0.00075259 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4169-1_1_2_load_81 | 89 | 0.0026897 | 0.0006741 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4169-1_1_2_load_83 | 90 | 0.0011144 | 0.00027929 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4169-1_1_2_load_96 | 91 | 0.0011305 | 0.00028334 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4169-1_1_2_load_92 | 92 | 0.00059173 | 0.0001483 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4169-1_1_2_load_85 | 93 | 0.003884 | 0.00097343 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4169-1_1_2_load_87 | 94 | 0.0071562 | 0.0017935 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4169-1_1_2_load_108 | 95 | 0.0013575 | 0.00034022 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4169-1_1_2_load_104 | 96 | 0.0018743 | 0.00046974 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4169-1_1_2_load_105 | 97 | 0.00039806 | 9.9763e-05 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4169-1_1_2_load_120 | 98 | 0.0037271 | 0.0009341 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4169-1_1_2_load_109 | 99 | 0.0019905 | 0.00049887 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4169-1_1_2_load_93 | 100 | 0.00088892 | 0.00022278 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4169-1_1_2_load_95 | 101 | 0.00059828 | 0.00014994 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4169-1_1_2_load_98 | 102 | 0.00081979 | 0.00020546 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4169-1_1_2_load_99 | 103 | 0.00089706 | 0.00022482 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4169-1_1_2_load_101 | 105 | 0.0038502 | 0.00096494 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4169-1_1_2_load_102 | 106 | 0.00056398 | 0.00014135 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4169-1_1_2_load_116 | 108 | 0.00094095 | 0.00023582 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4169-1_1_2_load_124 | 109 | 0.0010865 | 0.00027229 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4169-1_1_2_load_119 | 110 | 0.00061446 | 0.000154 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4169-1_1_2_load_121 | 111 | 0.00097218 | 0.00024365 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4169-1_1_2_load_117 | 112 | 0.00088667 | 0.00022222 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4169-1_1_2_load_126 | 113 | 0.00092831 | 0.00023266 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4169-1_1_2_load_118 | 114 | 0.0010418 | 0.0002611 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4169-1_1_2_load_122 | 115 | 0.0022685 | 0.00056854 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4169-1_1_2_load_142 | 116 | 0.0019354 | 0.00048505 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4169-1_1_2_load_144 | 117 | 0.001705 | 0.00042732 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4169-1_1_2_load_123 | 118 | 0.0014572 | 0.00036522 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4169-1_1_2_load_141 | 120 | 0.0023781 | 0.00059602 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4169-1_1_2_load_140 | 121 | 0.0024253 | 0.00060784 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4169-1_1_2_load_125 | 122 | 0.00095669 | 0.00023977 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4169-1_1_2_load_127 | 123 | 0.0026684 | 0.00066877 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4169-1_1_2_load_128 | 124 | 0.0013566 | 0.00033999 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4169-1_1_2_load_129 | 125 | 0.0011543 | 0.00028928 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4169-1_1_2_load_133 | 128 | 0.0013181 | 0.00033035 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4169-1_1_2_load_134 | 129 | 0.0020658 | 0.00051774 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4169-1_1_2_load_136 | 130 | 0.00094892 | 0.00023782 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4169-1_1_2_load_137 | 131 | 0.0010855 | 0.00027204 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4169-1_1_2_load_139 | 132 | 0.0011792 | 0.00029552 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_4169-1_1_2_load_148 | 133 | 0.00097328 | 0.00024393 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_4169-1_1_2_load_138 | 134 | 0.00087746 | 0.00021991 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_4169-1_1_2_load_151 | 137 | 0.00056151 | 0.00014073 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 84 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4169-1_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.029818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4169-1_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.010187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4169-1_1_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.02435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4169-1_1_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.4711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4169-1_1_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.11838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4169-1_1_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.22122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4169-1_1_2_line_6 | NAYY 4x150 SE | 6 | 7 | 0.0074668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4169-1_1_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.014164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4169-1_1_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.075418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4169-1_1_2_line_9 | NAYY 4x150 SE | 8 | 37 | 0.01769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4169-1_1_2_line_10 | NAYY 4x150 SE | 9 | 32 | 0.024917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4169-1_1_2_line_11 | NAYY 4x150 SE | 10 | 11 | 0.054056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4169-1_1_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.025139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4169-1_1_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.023718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4169-1_1_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.0005075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4169-1_1_2_line_15 | NAYY 4x150 SE | 14 | 15 | 0.016929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4169-1_1_2_line_16 | NAYY 4x150 SE | 15 | 66 | 0.0044693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4169-1_1_2_line_17 | NAYY 4x150 SE | 16 | 17 | 0.085138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4169-1_1_2_line_18 | NAYY 4x150 SE | 17 | 18 | 0.02781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4169-1_1_2_line_19 | NAYY 4x150 SE | 18 | 19 | 0.020399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4169-1_1_2_line_20 | NAYY 4x150 SE | 19 | 20 | 0.013926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4169-1_1_2_line_21 | NAYY 4x150 SE | 20 | 40 | 0.036296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4169-1_1_2_line_22 | NAYY 4x150 SE | 21 | 22 | 0.016719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4169-1_1_2_line_23 | NAYY 4x150 SE | 21 | 23 | 0.012048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4169-1_1_2_line_24 | NAYY 4x150 SE | 22 | 24 | 0.0033409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4169-1_1_2_line_25 | NAYY 4x150 SE | 23 | 25 | 0.019965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4169-1_1_2_line_26 | NAYY 4x150 SE | 25 | 26 | 0.032932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4169-1_1_2_line_27 | NAYY 4x150 SE | 25 | 27 | 0.012533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4169-1_1_2_line_28 | NAYY 4x150 SE | 26 | 28 | 0.020348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4169-1_1_2_line_29 | NAYY 4x150 SE | 28 | 29 | 0.025317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4169-1_1_2_line_30 | NAYY 4x150 SE | 29 | 44 | 0.023849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4169-1_1_2_line_31 | NAYY 4x150 SE | 30 | 31 | 0.020772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4169-1_1_2_line_32 | NAYY 4x150 SE | 30 | 32 | 0.008116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4169-1_1_2_line_33 | NAYY 4x150 SE | 31 | 33 | 0.004096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4169-1_1_2_line_34 | NAYY 4x150 SE | 33 | 34 | 0.016378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4169-1_1_2_line_35 | NAYY 4x150 SE | 34 | 35 | 0.0067935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4169-1_1_2_line_36 | NAYY 4x150 SE | 35 | 60 | 0.0067725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4169-1_1_2_line_37 | NAYY 4x150 SE | 36 | 37 | 0.00013805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4169-1_1_2_line_38 | NAYY 4x150 SE | 38 | 39 | 0.028784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4169-1_1_2_line_39 | NAYY 4x150 SE | 38 | 40 | 0.012023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4169-1_1_2_line_40 | NAYY 4x150 SE | 39 | 41 | 0.036894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_4169-1_1_2_line_41 | NAYY 4x150 SE | 39 | 42 | 0.085807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_4169-1_1_2_line_42 | NAYY 4x150 SE | 39 | 43 | 0.023062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4169-1_1_2_line_43 | NAYY 4x150 SE | 40 | 44 | 0.04003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4169-1_1_2_line_44 | NAYY 4x150 SE | 41 | 45 | 0.030982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4169-1_1_2_line_45 | NAYY 4x150 SE | 42 | 46 | 0.0089053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_4169-1_1_2_line_46 | NAYY 4x150 SE | 43 | 47 | 0.00074893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4169-1_1_2_line_47 | NAYY 4x150 SE | 45 | 48 | 0.033645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4169-1_1_2_line_48 | NAYY 4x150 SE | 45 | 49 | 0.016892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4169-1_1_2_line_49 | NAYY 4x150 SE | 46 | 50 | 0.0036676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_4169-1_1_2_line_50 | NAYY 4x150 SE | 46 | 51 | 0.02972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4169-1_1_2_line_51 | NAYY 4x150 SE | 47 | 52 | 0.037301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4169-1_1_2_line_52 | NAYY 4x150 SE | 47 | 53 | 0.018524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4169-1_1_2_line_53 | NAYY 4x150 SE | 48 | 59 | 0.019035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4169-1_1_2_line_54 | NAYY 4x150 SE | 49 | 54 | 0.026204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4169-1_1_2_line_55 | NAYY 4x150 SE | 50 | 95 | 0.013184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_4169-1_1_2_line_56 | NAYY 4x150 SE | 51 | 93 | 0.013661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4169-1_1_2_line_57 | NAYY 4x150 SE | 52 | 91 | 0.012761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4169-1_1_2_line_58 | NAYY 4x150 SE | 52 | 92 | 0.010518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4169-1_1_2_line_59 | NAYY 4x150 SE | 53 | 88 | 0.0040896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4169-1_1_2_line_60 | NAYY 4x150 SE | 54 | 55 | 0.017801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4169-1_1_2_line_61 | NAYY 4x150 SE | 55 | 56 | 0.029569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4169-1_1_2_line_62 | NAYY 4x150 SE | 56 | 57 | 0.0014867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4169-1_1_2_line_63 | NAYY 4x150 SE | 57 | 58 | 0.035068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4169-1_1_2_line_64 | NAYY 4x150 SE | 58 | 67 | 0.011019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4169-1_1_2_line_65 | NAYY 4x150 SE | 58 | 64 | 0.026057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4169-1_1_2_line_66 | NAYY 4x150 SE | 59 | 60 | 0.013112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4169-1_1_2_line_67 | NAYY 4x150 SE | 61 | 62 | 0.025548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4169-1_1_2_line_68 | NAYY 4x150 SE | 61 | 63 | 0.0088981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4169-1_1_2_line_69 | NAYY 4x150 SE | 62 | 64 | 0.0035634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4169-1_1_2_line_70 | NAYY 4x150 SE | 63 | 65 | 0.0039015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4169-1_1_2_line_71 | NAYY 4x150 SE | 65 | 66 | 0.081662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4169-1_1_2_line_72 | NAYY 4x150 SE | 67 | 68 | 0.026581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4169-1_1_2_line_73 | NAYY 4x150 SE | 69 | 70 | 0.014768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4169-1_1_2_line_74 | NAYY 4x150 SE | 69 | 71 | 0.00068829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4169-1_1_2_line_75 | NAYY 4x150 SE | 70 | 72 | 0.0077734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4169-1_1_2_line_76 | NAYY 4x150 SE | 72 | 73 | 0.0024578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4169-1_1_2_line_77 | NAYY 4x150 SE | 73 | 74 | 0.013468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4169-1_1_2_line_78 | NAYY 4x150 SE | 74 | 91 | 0.0069081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4169-1_1_2_line_79 | NAYY 4x150 SE | 75 | 76 | 0.018326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
80 | LV_4169-1_1_2_line_80 | NAYY 4x150 SE | 75 | 77 | 0.0054684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4169-1_1_2_line_81 | NAYY 4x150 SE | 76 | 78 | 0.01163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
82 | LV_4169-1_1_2_line_82 | NAYY 4x150 SE | 77 | 79 | 0.010742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4169-1_1_2_line_83 | NAYY 4x150 SE | 77 | 80 | 0.0072463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4169-1_1_2_line_84 | NAYY 4x150 SE | 78 | 81 | 0.019053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
85 | LV_4169-1_1_2_line_85 | NAYY 4x150 SE | 79 | 82 | 0.0052552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4169-1_1_2_line_86 | NAYY 4x150 SE | 80 | 83 | 0.043184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4169-1_1_2_line_87 | NAYY 4x150 SE | 81 | 84 | 0.029447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
88 | LV_4169-1_1_2_line_88 | NAYY 4x150 SE | 81 | 85 | 0.0013666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
89 | LV_4169-1_1_2_line_89 | NAYY 4x150 SE | 82 | 86 | 0.019758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4169-1_1_2_line_90 | NAYY 4x150 SE | 83 | 87 | 0.055966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4169-1_1_2_line_91 | NAYY 4x150 SE | 85 | 99 | 0.015416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
92 | LV_4169-1_1_2_line_92 | NAYY 4x150 SE | 86 | 96 | 0.040616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4169-1_1_2_line_93 | NAYY 4x150 SE | 86 | 97 | 0.030234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4169-1_1_2_line_94 | NAYY 4x150 SE | 87 | 105 | 0.038639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4169-1_1_2_line_95 | NAYY 4x150 SE | 88 | 89 | 0.026164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4169-1_1_2_line_96 | NAYY 4x150 SE | 89 | 90 | 0.014307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4169-1_1_2_line_97 | NAYY 4x150 SE | 92 | 100 | 0.022484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4169-1_1_2_line_98 | NAYY 4x150 SE | 93 | 94 | 0.013353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4169-1_1_2_line_99 | NAYY 4x150 SE | 95 | 99 | 0.028153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
100 | LV_4169-1_1_2_line_100 | NAYY 4x150 SE | 97 | 98 | 0.0064106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_4169-1_1_2_line_101 | NAYY 4x150 SE | 100 | 101 | 0.0045143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_4169-1_1_2_line_102 | NAYY 4x150 SE | 102 | 103 | 0.036506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_4169-1_1_2_line_103 | NAYY 4x150 SE | 102 | 104 | 0.012293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_4169-1_1_2_line_104 | NAYY 4x150 SE | 103 | 105 | 0.030886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_4169-1_1_2_line_105 | NAYY 4x150 SE | 104 | 106 | 0.044519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_4169-1_1_2_line_106 | NAYY 4x150 SE | 104 | 107 | 0.058316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_4169-1_1_2_line_107 | NAYY 4x150 SE | 106 | 108 | 0.0058414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_4169-1_1_2_line_108 | NAYY 4x150 SE | 107 | 109 | 0.011385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_4169-1_1_2_line_109 | NAYY 4x150 SE | 107 | 110 | 0.019431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_4169-1_1_2_line_110 | NAYY 4x150 SE | 107 | 111 | 0.012497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_4169-1_1_2_line_111 | NAYY 4x150 SE | 108 | 112 | 0.025616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_4169-1_1_2_line_112 | NAYY 4x150 SE | 109 | 113 | 0.012986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_4169-1_1_2_line_113 | NAYY 4x150 SE | 110 | 114 | 0.007088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_4169-1_1_2_line_114 | NAYY 4x150 SE | 111 | 115 | 0.025719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_4169-1_1_2_line_115 | NAYY 4x150 SE | 113 | 122 | 0.031039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_4169-1_1_2_line_116 | NAYY 4x150 SE | 115 | 118 | 0.0078263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_4169-1_1_2_line_117 | NAYY 4x150 SE | 116 | 117 | 0.012987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_4169-1_1_2_line_118 | NAYY 4x150 SE | 117 | 136 | 0.20563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_4169-1_1_2_line_119 | NAYY 4x150 SE | 118 | 119 | 0.0088835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_4169-1_1_2_line_120 | NAYY 4x150 SE | 119 | 120 | 0.029173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_4169-1_1_2_line_121 | NAYY 4x150 SE | 119 | 121 | 0.015623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_4169-1_1_2_line_122 | NAYY 4x150 SE | 121 | 128 | 0.02851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_4169-1_1_2_line_123 | NAYY 4x150 SE | 123 | 124 | 0.0075957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_4169-1_1_2_line_124 | NAYY 4x150 SE | 123 | 125 | 0.015016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_4169-1_1_2_line_125 | NAYY 4x150 SE | 124 | 126 | 0.012423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_4169-1_1_2_line_126 | NAYY 4x150 SE | 125 | 127 | 0.024815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_4169-1_1_2_line_127 | NAYY 4x150 SE | 126 | 128 | 0.0098751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_4169-1_1_2_line_128 | NAYY 4x150 SE | 126 | 129 | 0.12233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_4169-1_1_2_line_129 | NAYY 4x150 SE | 127 | 130 | 0.011472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_4169-1_1_2_line_130 | NAYY 4x150 SE | 127 | 131 | 0.0084611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_4169-1_1_2_line_131 | NAYY 4x150 SE | 130 | 132 | 0.009096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_4169-1_1_2_line_132 | NAYY 4x150 SE | 131 | 133 | 0.02384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_4169-1_1_2_line_133 | NAYY 4x150 SE | 132 | 134 | 0.0096375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_4169-1_1_2_line_134 | NAYY 4x150 SE | 133 | 135 | 0.10932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_4169-1_1_2_line_135 | NAYY 4x150 SE | 135 | 137 | 0.16969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_4169-1_1_2_line_136 | NAYY 4x150 SE | 136 | 137 | 0.095516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4169-1_1_2_trafo_115 | 0.25 MVA 20/0.4 kV | 138 | 84 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2646636.6142 | 1264667.0714 | 2646642.0692 | 1264671.4086 | 2646659.6965 | 1264685.9469 | 2646659.6965 | 1264685.9469
1 | 2646636.6142 | 1264667.0714 | 2646628.6406 | 1264660.7316
2 | 2646670.7404 | 1264707.3717 | 2646665.347 | 1264693.2523 | 2646659.6965 | 1264685.9469
3 | 2646344.7736 | 1265047.488 | 2646670.7404 | 1264707.3717
4 | 2646344.7736 | 1265047.488 | 2646319.7515 | 1265074.3559 | 2646288.4728 | 1265110.7485 | 2646273.6728 | 1265130.4469 | 2646269.0553 | 1265138.2161
5 | 2646424.0211 | 1265296.0897 | 2646269.0553 | 1265138.2161
6 | 2646424.0211 | 1265296.0897 | 2646429.2694 | 1265290.7785
7 | 2646424.0211 | 1265296.0897 | 2646414.0657 | 1265306.1644
8 | 2646491.2744 | 1265306.0643 | 2646491.3476 | 1265305.9578 | 2646492.5175 | 1265301.7751 | 2646489.928 | 1265298.8081 | 2646486.1882 | 1265297.5334 | 2646447.1155 | 1265282.2822 | 2646441.329 | 1265281.7808 | 2646436.0858 | 1265284.0079 | 2646432.0793 | 1265287.9349 | 2646429.2694 | 1265290.7785
9 | 2646401.6319 | 1265318.7472 | 2646414.0657 | 1265306.1644
10 | 2646491.2744 | 1265306.0643 | 2646487.0973 | 1265312.1511 | 2646475.2392 | 1265325.0677
11 | 2646099.6026 | 1265368.9157 | 2646078.2318 | 1265386.5063 | 2646059.761 | 1265399.1494 | 2646056.2919 | 1265401.127
12 | 2646099.6026 | 1265368.9157 | 2646105.2194 | 1265377.6546 | 2646110.2457 | 1265391.5222
13 | 2646035.6868 | 1265412.8733 | 2646056.2919 | 1265401.127
14 | 2646110.2457 | 1265391.5222 | 2646110.4187 | 1265391.9994
15 | 2646118.5164 | 1265406.5951 | 2646113.4602 | 1265400.3908 | 2646110.4187 | 1265391.9994
16 | 2646121.4679 | 1265409.9095 | 2646120.993 | 1265409.634 | 2646118.5164 | 1265406.5951
17 | 2646539.0451 | 1265340.8401 | 2646541.8836 | 1265337.0442 | 2646550.3928 | 1265318.798 | 2646558.0066 | 1265291.8718 | 2646562.0617 | 1265278.9277 | 2646568.2472 | 1265267.9573 | 2646571.9504 | 1265263.079
18 | 2646539.0451 | 1265340.8401 | 2646530.6667 | 1265352.0446 | 2646520.5879 | 1265361.4994
19 | 2646520.5879 | 1265361.4994 | 2646505.7106 | 1265375.4555
20 | 2646496.5926 | 1265385.8651 | 2646499.9523 | 1265380.8573 | 2646505.7106 | 1265375.4555
21 | 2646486.5664 | 1265419.8914 | 2646486.7064 | 1265407.8282 | 2646492.5391 | 1265391.907 | 2646496.5926 | 1265385.8651
22 | 2646604.3288 | 1265371.7103 | 2646594.6264 | 1265358.0943
23 | 2646611.3202 | 1265381.5218 | 2646604.3288 | 1265371.7103
24 | 2646592.6876 | 1265355.3734 | 2646594.6264 | 1265358.0943
25 | 2646622.9064 | 1265397.7816 | 2646611.3202 | 1265381.5218
26 | 2646622.9064 | 1265397.7816 | 2646593.4721 | 1265412.5505
27 | 2646622.9064 | 1265397.7816 | 2646634.2859 | 1265392.5305
28 | 2646575.0397 | 1265421.1214 | 2646580.951 | 1265418.833 | 2646593.4721 | 1265412.5505
29 | 2646575.0397 | 1265421.1214 | 2646569.9166 | 1265423.1047 | 2646559.3652 | 1265424.3671 | 2646550.1684 | 1265424.4105
30 | 2646550.1684 | 1265424.4105 | 2646547.0086 | 1265424.4254 | 2646526.4369 | 1265422.2233
31 | 2646469.7506 | 1265331.0464 | 2646455.703 | 1265346.348
32 | 2646469.7506 | 1265331.0464 | 2646475.2392 | 1265325.0677
33 | 2646452.9221 | 1265349.3551 | 2646453.3689 | 1265348.8905 | 2646455.703 | 1265346.348
34 | 2646452.9221 | 1265349.3551 | 2646441.5704 | 1265361.1603
35 | 2646441.5704 | 1265361.1603 | 2646436.8617 | 1265366.0572
36 | 2646432.0137 | 1265370.7772 | 2646433.8962 | 1265369.1411 | 2646436.8617 | 1265366.0572
37 | 2646401.5348 | 1265318.8454 | 2646401.6319 | 1265318.7472
38 | 2646448.296 | 1265433.9232 | 2646475.005 | 1265423.1918
39 | 2646486.5664 | 1265419.8914 | 2646475.005 | 1265423.1918
40 | 2646448.296 | 1265433.9232 | 2646445.6465 | 1265426.1412 | 2646442.5004 | 1265421.1796 | 2646438.2826 | 1265417.4994 | 2646433.4748 | 1265414.1703 | 2646426.1769 | 1265412.4674 | 2646422.3349 | 1265412.8275
41 | 2646448.296 | 1265433.9232 | 2646415.717 | 1265454.8159 | 2646392.051 | 1265468.3178 | 2646374.4195 | 1265477.4527
42 | 2646448.296 | 1265433.9232 | 2646450.7278 | 1265439.702 | 2646459.2857 | 1265454.1498
43 | 2646486.5664 | 1265419.8914 | 2646500.0332 | 1265419.3968 | 2646526.4369 | 1265422.2233
44 | 2646392.0398 | 1265418.8931 | 2646405.7433 | 1265417.0326 | 2646419.7192 | 1265413.0727 | 2646422.3349 | 1265412.8275
45 | 2646366.5124 | 1265481.5494 | 2646374.4195 | 1265477.4527
46 | 2646459.2857 | 1265454.1498 | 2646459.6673 | 1265454.7942
47 | 2646392.0398 | 1265418.8931 | 2646391.3018 | 1265412.1936 | 2646392.2584 | 1265407.3532 | 2646398.6351 | 1265399.7866 | 2646407.7498 | 1265391.865
48 | 2646392.0398 | 1265418.8931 | 2646377.424 | 1265419.9571 | 2646375.1993 | 1265419.7143
49 | 2646366.5124 | 1265481.5494 | 2646362.9861 | 1265482.5574
50 | 2646366.5124 | 1265481.5494 | 2646375.3406 | 1265500.2877 | 2646378.2328 | 1265508.8165
51 | 2646459.6673 | 1265454.7942 | 2646461.0867 | 1265457.1848 | 2646476.0273 | 1265477.061 | 2646482.7716 | 1265484.0301
52 | 2646459.6673 | 1265454.7942 | 2646452.6478 | 1265460.799 | 2646444.2654 | 1265464.7955
53 | 2646407.7498 | 1265391.865 | 2646422.1173 | 1265379.3782
54 | 2646349.1298 | 1265417.1597 | 2646352.8382 | 1265417.2736 | 2646375.1993 | 1265419.7143
55 | 2646350.3094 | 1265486.1808 | 2646362.9861 | 1265482.5574
56 | 2646369.7398 | 1265518.3734 | 2646376.9594 | 1265513.7323 | 2646378.2328 | 1265508.8165
57 | 2646482.7716 | 1265484.0301 | 2646487.633 | 1265480.5436 | 2646492.8637 | 1265476.232
58 | 2646482.7716 | 1265484.0301 | 2646489.7468 | 1265491.9032
59 | 2646440.5739 | 1265466.5556 | 2646444.2654 | 1265464.7955
60 | 2646349.1298 | 1265417.1597 | 2646335.3361 | 1265416.7361 | 2646331.36 | 1265417.1833
61 | 2646331.36 | 1265417.1833 | 2646322.3963 | 1265418.1914 | 2646302.2481 | 1265422.2308
62 | 2646300.7904 | 1265422.523 | 2646302.2481 | 1265422.2308
63 | 2646266.5247 | 1265429.9738 | 2646290.7976 | 1265424.5264 | 2646300.7904 | 1265422.523
64 | 2646266.5247 | 1265429.9738 | 2646266.641 | 1265418.9557
65 | 2646266.5247 | 1265429.9738 | 2646240.4815 | 1265430.808
66 | 2646432.0137 | 1265370.7772 | 2646422.1173 | 1265379.3782
67 | 2646211.3795 | 1265430.7624 | 2646229.9743 | 1265431.1445 | 2646236.9199 | 1265430.9221
68 | 2646211.3795 | 1265430.7624 | 2646210.7619 | 1265430.7497 | 2646202.4824 | 1265430.6267
69 | 2646236.9199 | 1265430.9221 | 2646240.4815 | 1265430.808
70 | 2646198.5814 | 1265430.5687 | 2646202.4824 | 1265430.6267
71 | 2646121.4679 | 1265409.9095 | 2646142.5806 | 1265422.1558 | 2646162.3138 | 1265429.1592 | 2646174.4659 | 1265430.2104 | 2646198.5814 | 1265430.5687
72 | 2646266.641 | 1265418.9557 | 2646270.9813 | 1265413.7303 | 2646280.0168 | 1265407.9635 | 2646286.5696 | 1265401.6932
73 | 2646527.7743 | 1265447.2473 | 2646516.4496 | 1265456.726
74 | 2646527.7743 | 1265447.2473 | 2646528.3021 | 1265446.8056
75 | 2646516.4496 | 1265456.726 | 2646511.3771 | 1265460.9716 | 2646510.4831 | 1265461.7085
76 | 2646508.5865 | 1265463.2718 | 2646510.4831 | 1265461.7085
77 | 2646498.1943 | 1265471.838 | 2646508.5865 | 1265463.2718
78 | 2646492.8637 | 1265476.232 | 2646498.1943 | 1265471.838
79 | 2646259.8183 | 1265511.3908 | 2646272.5832 | 1265508.2555 | 2646277.5676 | 1265506.8408
80 | 2646254.5078 | 1265512.6952 | 2646259.8183 | 1265511.3908
81 | 2646277.5676 | 1265506.8408 | 2646288.7558 | 1265503.6652
82 | 2646254.5078 | 1265512.6952 | 2646257.1212 | 1265523.1148
83 | 2646254.5078 | 1265512.6952 | 2646247.4705 | 1265514.4232
84 | 2646307.0848 | 1265498.4629 | 2646288.7558 | 1265503.6652
85 | 2646257.1212 | 1265523.1148 | 2646258.3996 | 1265528.2121
86 | 2646247.4705 | 1265514.4232 | 2646205.5326 | 1265524.7212
87 | 2646299.1974 | 1265470.1251 | 2646302.4689 | 1265479.2684 | 2646307.0848 | 1265498.4629
88 | 2646307.0848 | 1265498.4629 | 2646308.3995 | 1265498.0898
89 | 2646263.204 | 1265547.3771 | 2646261.8897 | 1265542.1408 | 2646260.5463 | 1265536.7709 | 2646258.3996 | 1265528.2121
90 | 2646150.6193 | 1265535.4719 | 2646168.9612 | 1265531.5184 | 2646202.8994 | 1265525.3677 | 2646205.5326 | 1265524.7212
91 | 2646323.2302 | 1265493.8814 | 2646308.3995 | 1265498.0898
92 | 2646263.204 | 1265547.3771 | 2646260.6234 | 1265552.8943 | 2646243.6845 | 1265559.3332 | 2646246.7958 | 1265575.4914
93 | 2646263.204 | 1265547.3771 | 2646276.1764 | 1265544.5988 | 2646280.3445 | 1265544.0532 | 2646282.2933 | 1265546.1478 | 2646284.9564 | 1265555.6857
94 | 2646150.6193 | 1265535.4719 | 2646149.8946 | 1265535.6281 | 2646130.3218 | 1265538.0328 | 2646112.2601 | 1265540.0877
95 | 2646440.5739 | 1265466.5556 | 2646437.8495 | 1265467.8546 | 2646427.5366 | 1265474.2338 | 2646418.2065 | 1265480.0964
96 | 2646406.0921 | 1265487.7086 | 2646418.2065 | 1265480.0964
97 | 2646489.7468 | 1265491.9032 | 2646490.7574 | 1265493.0438 | 2646496.8408 | 1265499.7965 | 2646501.3679 | 1265508.1826 | 2646502.2551 | 1265510.3493
98 | 2646357.7225 | 1265524.178 | 2646369.0134 | 1265518.8404 | 2646369.7398 | 1265518.3734
99 | 2646350.3094 | 1265486.1808 | 2646342.2808 | 1265488.4757 | 2646323.2302 | 1265493.8814
100 | 2646286.6804 | 1265561.8601 | 2646284.9564 | 1265555.6857
101 | 2646503.9657 | 1265514.5269 | 2646502.2551 | 1265510.3493
102 | 2646045.0447 | 1265539.1819 | 2646061.6744 | 1265541.1001 | 2646081.4332 | 1265541.6192
103 | 2646032.8323 | 1265537.7733 | 2646045.0447 | 1265539.1819
104 | 2646081.4332 | 1265541.6192 | 2646086.9531 | 1265541.7642 | 2646110.8409 | 1265540.2492 | 2646112.2601 | 1265540.0877
105 | 2646032.8323 | 1265537.7733 | 2646033.2655 | 1265534.3631 | 2646035.8324 | 1265501.5705 | 2646043.9744 | 1265502.44
106 | 2646030.1272 | 1265572.8553 | 2646025.5406 | 1265562.3676 | 2646015.3346 | 1265544.4531 | 2646014.4237 | 1265536.6959 | 2646024.8766 | 1265537.4 | 2646032.8323 | 1265537.7733
107 | 2646043.9744 | 1265502.44 | 2646049.7828 | 1265503.0602
108 | 2646030.1272 | 1265572.8553 | 2646041.5122 | 1265572.7581
109 | 2646030.1272 | 1265572.8553 | 2646010.6992 | 1265573.1913
110 | 2646030.1272 | 1265572.8553 | 2646035.8804 | 1265583.9489
111 | 2646075.2542 | 1265505.7804 | 2646049.7828 | 1265503.0602
112 | 2646041.5122 | 1265572.7581 | 2646045.1117 | 1265572.7274 | 2646054.4882 | 1265573.1531
113 | 2646003.6123 | 1265573.3139 | 2646010.6992 | 1265573.1913
114 | 2646047.7558 | 1265606.7603 | 2646047.5373 | 1265606.4262 | 2646035.8804 | 1265583.9489
115 | 2646054.4882 | 1265573.1531 | 2646056.9363 | 1265573.2643 | 2646085.4949 | 1265574.5755
116 | 2646047.7558 | 1265606.7603 | 2646052.0389 | 1265613.3106
117 | 2646479.0781 | 1265738.3405 | 2646481.184 | 1265725.5252
118 | 2646479.0781 | 1265738.3405 | 2646306.3573 | 1265849.9224
119 | 2646054.8797 | 1265621.7277 | 2646052.0389 | 1265613.3106
120 | 2646054.8797 | 1265621.7277 | 2646057.4299 | 1265621.0471 | 2646083.9509 | 1265621.8661
121 | 2646054.8797 | 1265621.7277 | 2646057.0868 | 1265629.3282 | 2646057.4728 | 1265637.0273
122 | 2646057.9071 | 1265665.5155 | 2646058.2012 | 1265651.5529 | 2646057.4728 | 1265637.0273
123 | 2646058.6682 | 1265695.3703 | 2646058.0116 | 1265687.803
124 | 2646058.6682 | 1265695.3703 | 2646059.9663 | 1265710.33
125 | 2646057.6992 | 1265675.3884 | 2646057.8366 | 1265685.7859 | 2646058.0116 | 1265687.803
126 | 2646064.186 | 1265734.7819 | 2646060.006 | 1265710.7875 | 2646059.9663 | 1265710.33
127 | 2646057.6992 | 1265675.3884 | 2646057.9071 | 1265665.5155
128 | 2646057.6992 | 1265675.3884 | 2646076.9547 | 1265674.9936 | 2646092.2593 | 1265672.411 | 2646111.5062 | 1265666.3566 | 2646120.8724 | 1265662.5268 | 2646128.583 | 1265662.4536 | 2646131.8069 | 1265665.1696 | 2646131.6293 | 1265670.561 | 2646116.9548 | 1265696.6098 | 2646110.3238 | 1265704.1396
129 | 2646064.186 | 1265734.7819 | 2646075.6269 | 1265733.9327
130 | 2646064.186 | 1265734.7819 | 2646066.1443 | 1265743.0132
131 | 2646075.6269 | 1265733.9327 | 2646084.698 | 1265733.2595
132 | 2646066.1443 | 1265743.0132 | 2646071.6618 | 1265766.2057
133 | 2646094.309 | 1265732.5461 | 2646084.698 | 1265733.2595
134 | 2646081.7313 | 1265874.5529 | 2646081.3381 | 1265869.9354 | 2646080.5999 | 1265863.2248 | 2646079.1353 | 1265851.1713 | 2646080.3856 | 1265825.9962 | 2646076.9632 | 1265787.8976 | 2646072.4387 | 1265769.4712 | 2646071.6618 | 1265766.2057
135 | 2646081.7313 | 1265874.5529 | 2646244.8895 | 1265921.1816
136 | 2646306.3573 | 1265849.9224 | 2646284.2679 | 1265884.4189 | 2646276.3281 | 1265896.4989 | 2646271.1566 | 1265902.1514 | 2646247.5478 | 1265919.2014 | 2646244.8895 | 1265921.1816

## bus_geodata
| x | y | coords
0 | 2646636.6142 | 1264667.0714
1 | 2646659.6965 | 1264685.9469
2 | 2646628.6406 | 1264660.7316
3 | 2646670.7404 | 1264707.3717
4 | 2646344.7736 | 1265047.488
5 | 2646269.0553 | 1265138.2161
6 | 2646424.0211 | 1265296.0897
7 | 2646429.2693 | 1265290.7785
8 | 2646414.0657 | 1265306.1644
9 | 2646491.2744 | 1265306.0643
10 | 2646099.6026 | 1265368.9157
11 | 2646056.2919 | 1265401.127
12 | 2646110.2457 | 1265391.5222
13 | 2646035.6868 | 1265412.8733
14 | 2646110.4187 | 1265391.9994
15 | 2646118.5164 | 1265406.5951
16 | 2646571.9504 | 1265263.079
17 | 2646539.0451 | 1265340.8401
18 | 2646520.5879 | 1265361.4994
19 | 2646505.7106 | 1265375.4555
20 | 2646496.5926 | 1265385.8651
21 | 2646604.3288 | 1265371.7103
22 | 2646594.6264 | 1265358.0943
23 | 2646611.3202 | 1265381.5218
24 | 2646592.6876 | 1265355.3734
25 | 2646622.9064 | 1265397.7816
26 | 2646593.4721 | 1265412.5505
27 | 2646634.2859 | 1265392.5305
28 | 2646575.0397 | 1265421.1214
29 | 2646550.1684 | 1265424.4105
30 | 2646469.7506 | 1265331.0464
31 | 2646455.703 | 1265346.348
32 | 2646475.2392 | 1265325.0677
33 | 2646452.9221 | 1265349.3551
34 | 2646441.5704 | 1265361.1603
35 | 2646436.8617 | 1265366.0572
36 | 2646401.5348 | 1265318.8454
37 | 2646401.6319 | 1265318.7472
38 | 2646475.005 | 1265423.1918
39 | 2646448.296 | 1265433.9232
40 | 2646486.5664 | 1265419.8914
41 | 2646422.3349 | 1265412.8275
42 | 2646374.4195 | 1265477.4527
43 | 2646459.2857 | 1265454.1498
44 | 2646526.4369 | 1265422.2233
45 | 2646392.0398 | 1265418.8931
46 | 2646366.5124 | 1265481.5494
47 | 2646459.6673 | 1265454.7942
48 | 2646407.7498 | 1265391.865
49 | 2646375.1993 | 1265419.7143
50 | 2646362.9861 | 1265482.5574
51 | 2646378.2328 | 1265508.8165
52 | 2646482.7716 | 1265484.0301
53 | 2646444.2654 | 1265464.7955
54 | 2646349.1298 | 1265417.1597
55 | 2646331.36 | 1265417.1833
56 | 2646302.2481 | 1265422.2308
57 | 2646300.7904 | 1265422.523
58 | 2646266.5247 | 1265429.9738
59 | 2646422.1173 | 1265379.3782
60 | 2646432.0137 | 1265370.7772
61 | 2646211.3795 | 1265430.7624
62 | 2646236.9199 | 1265430.9221
63 | 2646202.4824 | 1265430.6267
64 | 2646240.4815 | 1265430.808
65 | 2646198.5814 | 1265430.5687
66 | 2646121.4679 | 1265409.9095
67 | 2646266.641 | 1265418.9557
68 | 2646286.5696 | 1265401.6932
69 | 2646527.7743 | 1265447.2473
70 | 2646516.4496 | 1265456.726
71 | 2646528.3021 | 1265446.8056
72 | 2646510.4831 | 1265461.7085
73 | 2646508.5865 | 1265463.2718
74 | 2646498.1943 | 1265471.838
75 | 2646259.8183 | 1265511.3908
76 | 2646277.5676 | 1265506.8408
77 | 2646254.5078 | 1265512.6952
78 | 2646288.7558 | 1265503.6652
79 | 2646257.1212 | 1265523.1148
80 | 2646247.4705 | 1265514.4232
81 | 2646307.0848 | 1265498.4629
82 | 2646258.3996 | 1265528.2121
83 | 2646205.5326 | 1265524.7212
84 | 2646299.1974 | 1265470.1251
85 | 2646308.3995 | 1265498.0898
86 | 2646263.204 | 1265547.3771
87 | 2646150.6193 | 1265535.4719
88 | 2646440.5739 | 1265466.5556
89 | 2646418.2065 | 1265480.0964
90 | 2646406.0921 | 1265487.7086
91 | 2646492.8637 | 1265476.232
92 | 2646489.7468 | 1265491.9032
93 | 2646369.7398 | 1265518.3734
94 | 2646357.7225 | 1265524.178
95 | 2646350.3094 | 1265486.1808
96 | 2646246.7958 | 1265575.4914
97 | 2646284.9564 | 1265555.6857
98 | 2646286.6804 | 1265561.8601
99 | 2646323.2302 | 1265493.8814
100 | 2646502.2551 | 1265510.3493
101 | 2646503.9657 | 1265514.5269
102 | 2646045.0447 | 1265539.1819
103 | 2646081.4332 | 1265541.6192
104 | 2646032.8323 | 1265537.7733
105 | 2646112.2601 | 1265540.0877
106 | 2646043.9744 | 1265502.44
107 | 2646030.1272 | 1265572.8553
108 | 2646049.7828 | 1265503.0602
109 | 2646041.5122 | 1265572.7581
110 | 2646010.6992 | 1265573.1913
111 | 2646035.8804 | 1265583.9489
112 | 2646075.2542 | 1265505.7804
113 | 2646054.4882 | 1265573.1531
114 | 2646003.6123 | 1265573.3139
115 | 2646047.7558 | 1265606.7603
116 | 2646481.184 | 1265725.5252
117 | 2646479.0781 | 1265738.3405
118 | 2646052.0389 | 1265613.3106
119 | 2646054.8797 | 1265621.7277
120 | 2646083.9509 | 1265621.8661
121 | 2646057.4728 | 1265637.0273
122 | 2646085.4949 | 1265574.5755
123 | 2646058.6682 | 1265695.3703
124 | 2646058.0116 | 1265687.803
125 | 2646059.9663 | 1265710.33
126 | 2646057.6992 | 1265675.3884
127 | 2646064.186 | 1265734.7819
128 | 2646057.9071 | 1265665.5155
129 | 2646110.3238 | 1265704.1396
130 | 2646075.6269 | 1265733.9327
131 | 2646066.1443 | 1265743.0132
132 | 2646084.698 | 1265733.2595
133 | 2646071.6618 | 1265766.2057
134 | 2646094.309 | 1265732.5461
135 | 2646081.7313 | 1265874.5529
136 | 2646306.3573 | 1265849.9224
137 | 2646244.8895 | 1265921.1816
138 | 2646307.0848 | 1265498.4629

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1