## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4169-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4169-7_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4169-7_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4169-7_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4169-7_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4169-7_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4169-7_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4169-7_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_4169-7_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_4169-7_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_4169-7_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_4169-7_0_4_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_4169-7_0_4_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_4169-7_0_4_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_4169-7_0_4_node_76 | 0.4 | n |  | TRUE
15 | bus_LV_4169-7_0_4_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_4169-7_0_4_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_4169-7_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4169-7_0_4_node_77 | 0.4 | n |  | TRUE
19 | bus_LV_4169-7_0_4_node_75 | 0.4 | n |  | TRUE
20 | bus_LV_4169-7_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_4169-7_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_4169-7_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_4169-7_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_4169-7_0_4_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_4169-7_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_4169-7_0_4_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_4169-7_0_4_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_4169-7_0_4_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_4169-7_0_4_node_125 | 0.4 | n |  | TRUE
30 | bus_LV_4169-7_0_4_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_4169-7_0_4_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_4169-7_0_4_node_92 | 0.4 | n |  | TRUE
33 | bus_LV_4169-7_0_4_node_70 | 0.4 | n |  | TRUE
34 | bus_LV_4169-7_0_4_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_4169-7_0_4_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_4169-7_0_4_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_4169-7_0_4_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_4169-7_0_4_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_4169-7_0_4_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_4169-7_0_4_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_4169-7_0_4_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_4169-7_0_4_node_122 | 0.4 | n |  | TRUE
43 | bus_LV_4169-7_0_4_node_117 | 0.4 | n |  | TRUE
44 | bus_LV_4169-7_0_4_node_114 | 0.4 | n |  | TRUE
45 | bus_LV_4169-7_0_4_node_126 | 0.4 | n |  | TRUE
46 | bus_LV_4169-7_0_4_node_123 | 0.4 | n |  | TRUE
47 | bus_LV_4169-7_0_4_node_112 | 0.4 | n |  | TRUE
48 | bus_LV_4169-7_0_4_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_4169-7_0_4_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_4169-7_0_4_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_4169-7_0_4_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_4169-7_0_4_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_4169-7_0_4_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_4169-7_0_4_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_4169-7_0_4_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_4169-7_0_4_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_4169-7_0_4_node_82 | 0.4 | n |  | TRUE
58 | bus_LV_4169-7_0_4_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_4169-7_0_4_node_83 | 0.4 | n |  | TRUE
60 | bus_LV_4169-7_0_4_node_84 | 0.4 | n |  | TRUE
61 | bus_LV_4169-7_0_4_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_4169-7_0_4_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_4169-7_0_4_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_4169-7_0_4_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_4169-7_0_4_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_4169-7_0_4_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_4169-7_0_4_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_4169-7_0_4_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_4169-7_0_4_node_106 | 0.4 | n |  | TRUE
70 | bus_LV_4169-7_0_4_node_104 | 0.4 | n |  | TRUE
71 | bus_LV_4169-7_0_4_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_4169-7_0_4_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_4169-7_0_4_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_4169-7_0_4_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_4169-7_0_4_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_4169-7_0_4_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_4169-7_0_4_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_4169-7_0_4_node_111 | 0.4 | n |  | TRUE
79 | bus_LV_4169-7_0_4_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_4169-7_0_4_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_4169-7_0_4_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_4169-7_0_4_node_89 | 0.4 | n |  | TRUE
83 | bus_LV_4169-7_0_4_node_98 | 0.4 | n |  | TRUE
84 | bus_LV_4169-7_0_4_node_80 | 0.4 | n |  | TRUE
85 | bus_LV_4169-7_0_4_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_4169-7_0_4_node_85 | 0.4 | n |  | TRUE
87 | bus_LV_4169-7_0_4_node_72 | 0.4 | n |  | TRUE
88 | bus_LV_4169-7_0_4_node_73 | 0.4 | n |  | TRUE
89 | bus_LV_4169-7_0_4_node_74 | 0.4 | n |  | TRUE
90 | bus_LV_4169-7_0_4_node_91 | 0.4 | n |  | TRUE
91 | bus_LV_4169-7_0_4_node_109 | 0.4 | n |  | TRUE
92 | bus_LV_4169-7_0_4_node_110 | 0.4 | n |  | TRUE
93 | bus_LV_4169-7_0_4_node_108 | 0.4 | n |  | TRUE
94 | bus_LV_4169-7_0_4_node_107 | 0.4 | n |  | TRUE
95 | bus_LV_4169-7_0_4_node_100 | 0.4 | n |  | TRUE
96 | bus_LV_4169-7_0_4_node_101 | 0.4 | n |  | TRUE
97 | bus_LV_4169-7_0_4_node_102 | 0.4 | n |  | TRUE
98 | bus_LV_4169-7_0_4_node_118 | 0.4 | n |  | TRUE
99 | bus_LV_4169-7_0_4_node_119 | 0.4 | n |  | TRUE
100 | bus_LV_4169-7_0_4_node_103 | 0.4 | n |  | TRUE
101 | bus_LV_4169-7_0_4_node_105 | 0.4 | n |  | TRUE
102 | bus_LV_4169-7_0_4_node_113 | 0.4 | n |  | TRUE
103 | bus_LV_4169-7_0_4_node_115 | 0.4 | n |  | TRUE
104 | bus_LV_4169-7_0_4_node_116 | 0.4 | n |  | TRUE
105 | bus_LV_4169-7_0_4_node_121 | 0.4 | n |  | TRUE
106 | bus_LV_4169-7_0_4_node_120 | 0.4 | n |  | TRUE
107 | bus_LV_4169-7_0_4_node_124 | 0.4 | n |  | TRUE
108 | bus_LV_4169-7_0_4_node_130 | 0.4 | n |  | TRUE
109 | bus_LV_4169-7_0_4_node_127 | 0.4 | n |  | TRUE
110 | bus_LV_4169-7_0_4_node_128 | 0.4 | n |  | TRUE
111 | bus_LV_4169-7_0_4_node_129 | 0.4 | n |  | TRUE
112 | bus_LV_4169-7_0_4_node_131 | 0.4 | n |  | TRUE
113 | bus_MV_483_0_node_21 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4169-7_0_4_load_0 | 0 | 0.0039676 | 0.00099437 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4169-7_0_4_load_1 | 1 | 0.0012237 | 0.00030669 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4169-7_0_4_load_3 | 3 | 0.0026619 | 0.00066713 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4169-7_0_4_load_4 | 4 | 0.0021654 | 0.0005427 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4169-7_0_4_load_5 | 5 | 0.0021092 | 0.00052861 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4169-7_0_4_load_6 | 6 | 0.00064566 | 0.00016182 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4169-7_0_4_load_7 | 7 | 0.0076544 | 0.0019184 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4169-7_0_4_load_8 | 8 | 0.0021928 | 0.00054958 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4169-7_0_4_load_9 | 9 | 0.0022558 | 0.00056535 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4169-7_0_4_load_10 | 10 | 0.011169 | 0.0027992 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4169-7_0_4_load_16 | 11 | 0.0025183 | 0.00063115 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4169-7_0_4_load_21 | 12 | 0.0010646 | 0.00026681 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4169-7_0_4_load_22 | 16 | 0.0014413 | 0.00036122 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4169-7_0_4_load_11 | 17 | 0.002214 | 0.00055489 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4169-7_0_4_load_77 | 18 | 0.0010187 | 0.00025532 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4169-7_0_4_load_75 | 19 | 0.0037344 | 0.00093593 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4169-7_0_4_load_12 | 20 | 0.0017644 | 0.0004422 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4169-7_0_4_load_14 | 21 | 0.0045436 | 0.0011387 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4169-7_0_4_load_18 | 22 | 0.0035831 | 0.00089801 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4169-7_0_4_load_24 | 24 | 0.0011914 | 0.00029859 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4169-7_0_4_load_36 | 26 | 0.00043939 | 0.00011012 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4169-7_0_4_load_32 | 27 | 0.00081274 | 0.00020369 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4169-7_0_4_load_125 | 29 | 0.0041021 | 0.0010281 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4169-7_0_4_load_31 | 30 | 0.0023931 | 0.00059978 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4169-7_0_4_load_27 | 34 | 0.0022159 | 0.00055536 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4169-7_0_4_load_26 | 35 | 0.0033567 | 0.00084127 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4169-7_0_4_load_30 | 36 | 0.0022477 | 0.00056333 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4169-7_0_4_load_34 | 38 | 0.00047386 | 0.00011876 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4169-7_0_4_load_35 | 39 | 0.00097848 | 0.00024523 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4169-7_0_4_load_37 | 40 | 0.00051913 | 0.00013011 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4169-7_0_4_load_122 | 42 | 0.0016878 | 0.00042301 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4169-7_0_4_load_117 | 43 | 0.0016616 | 0.00041645 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4169-7_0_4_load_126 | 45 | 0.0008319 | 0.00020849 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4169-7_0_4_load_123 | 46 | 0.0006492 | 0.0001627 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4169-7_0_4_load_112 | 47 | 0.0034801 | 0.0008722 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4169-7_0_4_load_39 | 48 | 0.00055008 | 0.00013786 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4169-7_0_4_load_40 | 49 | 0.00076302 | 0.00019123 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4169-7_0_4_load_42 | 51 | 0.00077556 | 0.00019437 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4169-7_0_4_load_43 | 52 | 0.00056549 | 0.00014173 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4169-7_0_4_load_44 | 53 | 0.00057587 | 0.00014433 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4169-7_0_4_load_45 | 54 | 0.0010401 | 0.00026067 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4169-7_0_4_load_46 | 55 | 0.0011411 | 0.00028597 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4169-7_0_4_load_82 | 57 | 0.00099515 | 0.00024941 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4169-7_0_4_load_48 | 61 | 0.000389 | 9.7493e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4169-7_0_4_load_49 | 62 | 0.0012424 | 0.00031137 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4169-7_0_4_load_50 | 63 | 0.00071613 | 0.00017948 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4169-7_0_4_load_51 | 64 | 0.00082386 | 0.00020648 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4169-7_0_4_load_56 | 66 | 0.00062157 | 0.00015578 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4169-7_0_4_load_55 | 67 | 0.0019785 | 0.00049585 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4169-7_0_4_load_62 | 68 | 0.00039218 | 9.8288e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4169-7_0_4_load_106 | 69 | 0.00072261 | 0.0001811 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4169-7_0_4_load_104 | 70 | 0.00038773 | 9.7175e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4169-7_0_4_load_63 | 71 | 0.0022721 | 0.00056944 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4169-7_0_4_load_64 | 72 | 0.0025478 | 0.00063854 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4169-7_0_4_load_66 | 74 | 0.0032403 | 0.00081211 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4169-7_0_4_load_67 | 75 | 0.00030146 | 7.5553e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4169-7_0_4_load_111 | 78 | 0.0033154 | 0.00083091 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4169-7_0_4_load_78 | 80 | 0.0028342 | 0.00071031 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4169-7_0_4_load_79 | 81 | 0.00515 | 0.0012907 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4169-7_0_4_load_98 | 83 | 0.030403 | 0.0076197 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4169-7_0_4_load_80 | 84 | 0.00045348 | 0.00011365 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4169-7_0_4_load_81 | 85 | 0.0032492 | 0.00081432 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4169-7_0_4_load_85 | 86 | 0.00052293 | 0.00013106 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4169-7_0_4_load_72 | 87 | 0.0067968 | 0.0017034 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4169-7_0_4_load_73 | 88 | 0.0076942 | 0.0019284 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4169-7_0_4_load_74 | 89 | 0.010454 | 0.00262 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4169-7_0_4_load_91 | 90 | 0.00044421 | 0.00011133 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4169-7_0_4_load_109 | 91 | 0.0020314 | 0.00050912 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4169-7_0_4_load_110 | 92 | 0.0013691 | 0.00034312 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4169-7_0_4_load_108 | 93 | 0.00059233 | 0.00014845 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4169-7_0_4_load_107 | 94 | 0.00038451 | 9.6368e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4169-7_0_4_load_101 | 96 | 0.00071241 | 0.00017855 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4169-7_0_4_load_102 | 97 | 0.0031593 | 0.0007918 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4169-7_0_4_load_118 | 98 | 0.0015489 | 0.00038819 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4169-7_0_4_load_119 | 99 | 0.0030667 | 0.0007686 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4169-7_0_4_load_103 | 100 | 0.00084438 | 0.00021162 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4169-7_0_4_load_105 | 101 | 0.00042187 | 0.00010573 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4169-7_0_4_load_115 | 103 | 0.002121 | 0.00053157 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4169-7_0_4_load_116 | 104 | 0.007437 | 0.0018639 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4169-7_0_4_load_121 | 105 | 0.0013679 | 0.00034283 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4169-7_0_4_load_120 | 106 | 0.0015349 | 0.00038469 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4169-7_0_4_load_124 | 107 | 0.0011704 | 0.00029332 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4169-7_0_4_load_130 | 108 | 0.0026927 | 0.00067486 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4169-7_0_4_load_127 | 109 | 0.0076056 | 0.0019061 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4169-7_0_4_load_128 | 110 | 0.0013994 | 0.00035071 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4169-7_0_4_load_129 | 111 | 0.0025174 | 0.00063092 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4169-7_0_4_load_131 | 112 | 0.0010735 | 0.00026905 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 87 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4169-7_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0027574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4169-7_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.018921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4169-7_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.01077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4169-7_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.021361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_4169-7_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.012049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4169-7_0_4_line_5 | NAYY 4x150 SE | 2 | 6 | 0.038215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_4169-7_0_4_line_6 | NAYY 4x150 SE | 3 | 7 | 0.0086516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4169-7_0_4_line_7 | NAYY 4x150 SE | 4 | 8 | 0.005434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_4169-7_0_4_line_8 | NAYY 4x150 SE | 5 | 9 | 0.0076655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4169-7_0_4_line_9 | NAYY 4x150 SE | 6 | 10 | 0.0067391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_4169-7_0_4_line_10 | NAYY 4x150 SE | 7 | 11 | 0.0029021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4169-7_0_4_line_11 | NAYY 4x150 SE | 8 | 12 | 0.014847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_4169-7_0_4_line_12 | NAYY 4x150 SE | 9 | 13 | 0.019623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4169-7_0_4_line_13 | NAYY 4x150 SE | 10 | 14 | 0.015613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_4169-7_0_4_line_14 | NAYY 4x150 SE | 11 | 15 | 0.010057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4169-7_0_4_line_15 | NAYY 4x150 SE | 12 | 16 | 0.020672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_4169-7_0_4_line_16 | NAYY 4x150 SE | 13 | 17 | 0.010168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4169-7_0_4_line_17 | NAYY 4x150 SE | 14 | 18 | 0.010004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4169-7_0_4_line_18 | NAYY 4x150 SE | 14 | 19 | 0.014629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_4169-7_0_4_line_19 | NAYY 4x150 SE | 15 | 22 | 0.019326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4169-7_0_4_line_20 | NAYY 4x150 SE | 16 | 31 | 0.052477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_4169-7_0_4_line_21 | NAYY 4x150 SE | 17 | 20 | 0.013564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4169-7_0_4_line_22 | NAYY 4x150 SE | 18 | 79 | 0.030921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4169-7_0_4_line_23 | NAYY 4x150 SE | 19 | 88 | 0.016723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_4169-7_0_4_line_24 | NAYY 4x150 SE | 20 | 21 | 0.00066587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4169-7_0_4_line_25 | NAYY 4x150 SE | 22 | 23 | 0.015319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4169-7_0_4_line_26 | NAYY 4x150 SE | 23 | 24 | 0.026321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4169-7_0_4_line_27 | NAYY 4x150 SE | 23 | 25 | 0.041655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4169-7_0_4_line_28 | NAYY 4x150 SE | 24 | 28 | 0.037067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4169-7_0_4_line_29 | NAYY 4x150 SE | 25 | 26 | 0.012483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4169-7_0_4_line_30 | NAYY 4x150 SE | 25 | 27 | 0.030824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4169-7_0_4_line_31 | NAYY 4x150 SE | 26 | 29 | 0.012204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4169-7_0_4_line_32 | NAYY 4x150 SE | 27 | 30 | 0.013456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4169-7_0_4_line_33 | NAYY 4x150 SE | 28 | 34 | 0.019645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4169-7_0_4_line_34 | NAYY 4x150 SE | 28 | 35 | 0.020444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4169-7_0_4_line_35 | NAYY 4x150 SE | 29 | 45 | 0.0059563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4169-7_0_4_line_36 | NAYY 4x150 SE | 30 | 37 | 0.014351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4169-7_0_4_line_37 | NAYY 4x150 SE | 31 | 32 | 0.042017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_4169-7_0_4_line_38 | NAYY 4x150 SE | 32 | 33 | 0.055762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_4169-7_0_4_line_39 | NAYY 4x150 SE | 33 | 74 | 0.044479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_4169-7_0_4_line_40 | NAYY 4x150 SE | 34 | 36 | 0.016552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4169-7_0_4_line_41 | NAYY 4x150 SE | 37 | 38 | 0.015595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4169-7_0_4_line_42 | NAYY 4x150 SE | 37 | 39 | 0.0096896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4169-7_0_4_line_43 | NAYY 4x150 SE | 38 | 40 | 0.0033303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4169-7_0_4_line_44 | NAYY 4x150 SE | 39 | 41 | 0.012675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4169-7_0_4_line_45 | NAYY 4x150 SE | 40 | 42 | 0.001257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4169-7_0_4_line_46 | NAYY 4x150 SE | 41 | 43 | 0.033078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4169-7_0_4_line_47 | NAYY 4x150 SE | 41 | 44 | 0.023609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4169-7_0_4_line_48 | NAYY 4x150 SE | 42 | 46 | 0.035345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4169-7_0_4_line_49 | NAYY 4x150 SE | 44 | 47 | 0.028915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4169-7_0_4_line_50 | NAYY 4x150 SE | 45 | 109 | 0.01602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4169-7_0_4_line_51 | NAYY 4x150 SE | 46 | 107 | 0.010319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4169-7_0_4_line_52 | NAYY 4x150 SE | 47 | 102 | 0.024967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4169-7_0_4_line_53 | NAYY 4x150 SE | 48 | 49 | 0.012639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4169-7_0_4_line_54 | NAYY 4x150 SE | 48 | 50 | 0.010005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4169-7_0_4_line_55 | NAYY 4x150 SE | 49 | 51 | 0.030101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4169-7_0_4_line_56 | NAYY 4x150 SE | 50 | 52 | 0.02568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4169-7_0_4_line_57 | NAYY 4x150 SE | 50 | 53 | 0.030813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4169-7_0_4_line_58 | NAYY 4x150 SE | 51 | 54 | 0.031677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4169-7_0_4_line_59 | NAYY 4x150 SE | 52 | 55 | 0.025114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4169-7_0_4_line_60 | NAYY 4x150 SE | 54 | 56 | 0.041439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4169-7_0_4_line_61 | NAYY 4x150 SE | 55 | 57 | 0.0046039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4169-7_0_4_line_62 | NAYY 4x150 SE | 56 | 58 | 0.017894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4169-7_0_4_line_63 | NAYY 4x150 SE | 57 | 59 | 0.038635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4169-7_0_4_line_64 | NAYY 4x150 SE | 58 | 65 | 0.071294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4169-7_0_4_line_65 | NAYY 4x150 SE | 58 | 64 | 0.038415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4169-7_0_4_line_66 | NAYY 4x150 SE | 59 | 60 | 0.023886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4169-7_0_4_line_67 | NAYY 4x150 SE | 60 | 86 | 0.058314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4169-7_0_4_line_68 | NAYY 4x150 SE | 60 | 77 | 0.036938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4169-7_0_4_line_69 | NAYY 4x150 SE | 61 | 62 | 0.029177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4169-7_0_4_line_70 | NAYY 4x150 SE | 61 | 63 | 0.020877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4169-7_0_4_line_71 | NAYY 4x150 SE | 62 | 64 | 0.03172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4169-7_0_4_line_72 | NAYY 4x150 SE | 65 | 66 | 0.011508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4169-7_0_4_line_73 | NAYY 4x150 SE | 66 | 67 | 0.009444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4169-7_0_4_line_74 | NAYY 4x150 SE | 68 | 69 | 0.0068497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4169-7_0_4_line_75 | NAYY 4x150 SE | 69 | 70 | 0.01299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4169-7_0_4_line_76 | NAYY 4x150 SE | 70 | 100 | 0.017285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4169-7_0_4_line_77 | NAYY 4x150 SE | 71 | 72 | 0.059518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
78 | LV_4169-7_0_4_line_78 | NAYY 4x150 SE | 71 | 73 | 0.024397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4169-7_0_4_line_79 | NAYY 4x150 SE | 72 | 74 | 0.005066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
80 | LV_4169-7_0_4_line_80 | NAYY 4x150 SE | 73 | 75 | 0.02495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4169-7_0_4_line_81 | NAYY 4x150 SE | 73 | 76 | 0.046146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4169-7_0_4_line_82 | NAYY 4x150 SE | 75 | 77 | 0.005723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4169-7_0_4_line_83 | NAYY 4x150 SE | 76 | 78 | 0.049023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4169-7_0_4_line_84 | NAYY 4x150 SE | 77 | 82 | 0.049248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4169-7_0_4_line_85 | NAYY 4x150 SE | 79 | 80 | 0.021547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4169-7_0_4_line_86 | NAYY 4x150 SE | 79 | 81 | 0.021815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4169-7_0_4_line_87 | NAYY 4x150 SE | 80 | 84 | 0.048276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4169-7_0_4_line_88 | NAYY 4x150 SE | 81 | 85 | 0.046912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4169-7_0_4_line_89 | NAYY 4x150 SE | 82 | 83 | 0.054958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4169-7_0_4_line_90 | NAYY 4x150 SE | 84 | 90 | 0.021033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4169-7_0_4_line_91 | NAYY 4x150 SE | 85 | 91 | 0.027761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4169-7_0_4_line_92 | NAYY 4x150 SE | 86 | 93 | 0.020394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4169-7_0_4_line_93 | NAYY 4x150 SE | 87 | 88 | 0.016185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
94 | LV_4169-7_0_4_line_94 | NAYY 4x150 SE | 87 | 89 | 0.0081176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4169-7_0_4_line_95 | NAYY 4x150 SE | 91 | 92 | 0.027633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4169-7_0_4_line_96 | NAYY 4x150 SE | 92 | 97 | 0.0011225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4169-7_0_4_line_97 | NAYY 4x150 SE | 93 | 94 | 0.0020762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4169-7_0_4_line_98 | NAYY 4x150 SE | 94 | 101 | 0.021095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4169-7_0_4_line_99 | NAYY 4x150 SE | 95 | 96 | 0.022392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_4169-7_0_4_line_100 | NAYY 4x150 SE | 95 | 97 | 0.02619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_4169-7_0_4_line_101 | NAYY 4x150 SE | 96 | 98 | 0.0013942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_4169-7_0_4_line_102 | NAYY 4x150 SE | 98 | 99 | 0.025365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_4169-7_0_4_line_103 | NAYY 4x150 SE | 100 | 101 | 0.0033717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_4169-7_0_4_line_104 | NAYY 4x150 SE | 102 | 103 | 0.016154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_4169-7_0_4_line_105 | NAYY 4x150 SE | 103 | 104 | 0.028657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_4169-7_0_4_line_106 | NAYY 4x150 SE | 104 | 105 | 0.016074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_4169-7_0_4_line_107 | NAYY 4x150 SE | 105 | 106 | 0.0013728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_4169-7_0_4_line_108 | NAYY 4x150 SE | 107 | 108 | 0.010009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_4169-7_0_4_line_109 | NAYY 4x150 SE | 109 | 110 | 0.015119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_4169-7_0_4_line_110 | NAYY 4x150 SE | 110 | 111 | 0.0080808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_4169-7_0_4_line_111 | NAYY 4x150 SE | 111 | 112 | 0.014768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4169-7_0_4_trafo_72 | 0.25 MVA 20/0.4 kV | 113 | 87 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2645609.6824 | 1265704.5885 | 2645609.4266 | 1265707.334
1 | 2645610.0793 | 1265685.6726 | 2645609.7015 | 1265704.3832 | 2645609.6824 | 1265704.5885
2 | 2645608.4273 | 1265718.0579 | 2645609.4266 | 1265707.334
3 | 2645610.0793 | 1265685.6726 | 2645607.9466 | 1265664.4182
4 | 2645610.0793 | 1265685.6726 | 2645620.0622 | 1265679.9343 | 2645620.5038 | 1265679.6328
5 | 2645610.0793 | 1265685.6726 | 2645603.4592 | 1265688.846 | 2645599.3339 | 1265689.726 | 2645590.6874 | 1265690.0929 | 2645583.3369 | 1265690.3476 | 2645572.7512 | 1265691.4858
6 | 2645608.4273 | 1265718.0579 | 2645607.6247 | 1265726.6721
7 | 2645607.9466 | 1265664.4182 | 2645607.73 | 1265662.2598 | 2645607.5111 | 1265659.0024
8 | 2645620.5038 | 1265679.6328 | 2645626.7306 | 1265675.3824 | 2645626.8287 | 1265675.3029
9 | 2645566.0507 | 1265692.2062 | 2645572.7512 | 1265691.4858
10 | 2645607.69 | 1265729.5735 | 2645607.6247 | 1265726.6721 | 2645607.6247 | 1265726.6721
11 | 2645607.5111 | 1265659.0024 | 2645606.5153 | 1265644.1884
12 | 2645642.0734 | 1265662.9473 | 2645626.8287 | 1265675.3029
13 | 2645550.5273 | 1265693.8752 | 2645566.0507 | 1265692.2062
14 | 2645607.9162 | 1265739.6282 | 2645607.69 | 1265729.5735
15 | 2645606.5153 | 1265644.1884 | 2645606.0347 | 1265637.0396 | 2645607.1826 | 1265624.8841 | 2645607.5156 | 1265623.6302
16 | 2645642.0734 | 1265662.9473 | 2645649.1444 | 1265670.2543
17 | 2645550.5273 | 1265693.8752 | 2645544.1442 | 1265693.6593 | 2645540.6543 | 1265692.7068
18 | 2645550.5273 | 1265693.8752 | 2645547.374 | 1265705.4148 | 2645546.769 | 1265708.0114
19 | 2645607.9162 | 1265739.6282 | 2645610.4327 | 1265752.0899 | 2645613.2902 | 1265758.0536
20 | 2645634.2036 | 1265579.2818 | 2645622.447 | 1265593.3568 | 2645615.6371 | 1265602.5665 | 2645610.1294 | 1265613.7877 | 2645607.5156 | 1265623.6302
21 | 2645649.1444 | 1265670.2543 | 2645655.8848 | 1265677.2198 | 2645659.3601 | 1265678.9259
22 | 2645510.8683 | 1265684.4076 | 2645529.6808 | 1265689.7118 | 2645540.6543 | 1265692.7068
23 | 2645542.9591 | 1265724.2932 | 2645542.9901 | 1265724.228 | 2645546.769 | 1265708.0114
24 | 2645659.3601 | 1265678.9259 | 2645659.9578 | 1265679.2193 | 2645659.9578 | 1265679.2193
25 | 2645621.4754 | 1265770.9665 | 2645614.7749 | 1265761.1522 | 2645613.2902 | 1265758.0536
26 | 2645621.4754 | 1265770.9665 | 2645634.95 | 1265782.0339 | 2645642.7628 | 1265786.2639
27 | 2645601.8629 | 1265806.9635 | 2645605.69 | 1265794.951 | 2645608.231 | 1265788.6104 | 2645611.7466 | 1265781.8549 | 2645621.4754 | 1265770.9665
28 | 2645674.8517 | 1265804.8028 | 2645653.9719 | 1265792.3326 | 2645642.7628 | 1265786.2639
29 | 2645601.8629 | 1265806.9635 | 2645589.8503 | 1265803.5689
30 | 2645601.8629 | 1265806.9635 | 2645599.4069 | 1265816.9184 | 2645597.1335 | 1265833.4684 | 2645597.1547 | 1265837.3338
31 | 2645589.8503 | 1265803.5689 | 2645578.1059 | 1265800.25
32 | 2645597.2286 | 1265850.7898 | 2645597.1547 | 1265837.3338
33 | 2645674.8517 | 1265804.8028 | 2645691.6186 | 1265815.0396
34 | 2645674.8517 | 1265804.8028 | 2645666.0246 | 1265823.2425
35 | 2645572.3389 | 1265798.7617 | 2645577.0258 | 1265799.9448 | 2645578.1059 | 1265800.25
36 | 2645597.4614 | 1265865.1383 | 2645597.2713 | 1265858.5543 | 2645597.2286 | 1265850.7898
37 | 2645596.9968 | 1265560.2701 | 2645602.9778 | 1265561.884 | 2645612.5204 | 1265565.4157 | 2645623.9269 | 1265572.3197 | 2645634.2036 | 1265579.2818
38 | 2645543.8669 | 1265560.5722 | 2645546.0645 | 1265561.6677 | 2645548.9072 | 1265563.0906 | 2645549.9723 | 1265563.6214 | 2645553.8605 | 1265562.2503 | 2645561.2175 | 1265557.27 | 2645583.6534 | 1265558.4882 | 2645596.9968 | 1265560.2701
39 | 2645543.8669 | 1265560.5722 | 2645534.0919 | 1265571.5493 | 2645525.7663 | 1265576.1997 | 2645512.4874 | 1265581.6793 | 2645507.9856 | 1265585.4598
40 | 2645691.6186 | 1265815.0396 | 2645705.7456 | 1265823.6645
41 | 2645597.4614 | 1265865.1383 | 2645581.8749 | 1265864.6237
42 | 2645597.4614 | 1265865.1383 | 2645598.5452 | 1265874.7671
43 | 2645578.5464 | 1265864.5138 | 2645581.8749 | 1265864.6237
44 | 2645599.9628 | 1265887.3625 | 2645598.5452 | 1265874.7671
45 | 2645578.5464 | 1265864.5138 | 2645577.2901 | 1265864.4723
46 | 2645629.3448 | 1265877.115 | 2645618.3521 | 1265877.1525 | 2645616.2316 | 1265878.7595 | 2645610.8 | 1265885.0221 | 2645607.1587 | 1265886.6286 | 2645599.9628 | 1265887.3625
47 | 2645601.2717 | 1265910.9341 | 2645600.506 | 1265896.9736 | 2645599.9628 | 1265887.3625
48 | 2645542.0139 | 1265862.2974 | 2645572.8552 | 1265864.3259 | 2645577.2901 | 1265864.4723
49 | 2645601.2717 | 1265910.9341 | 2645583.1511 | 1265912.6735 | 2645572.5637 | 1265914.2956
50 | 2645572.3389 | 1265798.7617 | 2645564.3037 | 1265796.7334 | 2645556.7591 | 1265795.808 | 2645556.6292 | 1265795.8286
51 | 2645542.0139 | 1265862.2974 | 2645531.7167 | 1265861.6201
52 | 2645548.8247 | 1265921.7045 | 2645566.1532 | 1265915.2777 | 2645572.5637 | 1265914.2956
53 | 2645391.1318 | 1265539.278 | 2645395.9508 | 1265527.5939
54 | 2645387.3172 | 1265548.5271 | 2645391.1318 | 1265539.278
55 | 2645395.9508 | 1265527.5939 | 2645396.9766 | 1265525.1066 | 2645408.0677 | 1265500.0401
56 | 2645387.3172 | 1265548.5271 | 2645385.2695 | 1265562.2213 | 2645392.4151 | 1265568.0803 | 2645394.8834 | 1265568.8746
57 | 2645387.3172 | 1265548.5271 | 2645381.3716 | 1265557.9883 | 2645371.87 | 1265569.6906 | 2645369.0974 | 1265573.3174
58 | 2645420.885 | 1265471.0724 | 2645408.0677 | 1265500.0401
59 | 2645392.3808 | 1265587.957 | 2645400.8611 | 1265574.2274 | 2645399.5654 | 1265570.3813 | 2645394.8834 | 1265568.8746
60 | 2645435.1721 | 1265432.2217 | 2645426.6459 | 1265458.0526 | 2645420.885 | 1265471.0724
61 | 2645389.9614 | 1265591.874 | 2645392.3808 | 1265587.957
62 | 2645418.8111 | 1265425.2577 | 2645423.5681 | 1265426.4617 | 2645433.4364 | 1265430.7628 | 2645435.1721 | 1265432.2217
63 | 2645364.5176 | 1265619.2477 | 2645370.4372 | 1265616.102 | 2645375.5508 | 1265613.9841 | 2645384.6064 | 1265600.5439 | 2645389.9614 | 1265591.874
64 | 2645418.8111 | 1265425.2577 | 2645416.3533 | 1265423.7044 | 2645412.3307 | 1265422.9618 | 2645406.6376 | 1265424.0411 | 2645400.6296 | 1265427.8756 | 2645389.2177 | 1265442.1984 | 2645383.032 | 1265448.6 | 2645378.621 | 1265452.3466 | 2645373.3119 | 1265456.3755 | 2645368.2206 | 1265457.5261 | 2645361.5948 | 1265457.5087
65 | 2645418.8111 | 1265425.2577 | 2645410.0749 | 1265427.4589 | 2645404.629 | 1265431.6423 | 2645397.6348 | 1265439.3942 | 2645390.8416 | 1265449.4045
66 | 2645364.5176 | 1265619.2477 | 2645369.4568 | 1265622.1877 | 2645384.8705 | 1265631.8463
67 | 2645384.8705 | 1265631.8463 | 2645391.8209 | 1265632.7224 | 2645397.9583 | 1265631.6132 | 2645402.2798 | 1265626.7539 | 2645405.403 | 1265621.0627 | 2645409.7502 | 1265612.8568 | 2645423.1411 | 1265594.4153
68 | 2645384.8705 | 1265631.8463 | 2645399.6855 | 1265639.0651 | 2645414.1487 | 1265644.0464 | 2645418.3713 | 1265647.17
69 | 2645355.2709 | 1265497.9642 | 2645359.3191 | 1265493.0613 | 2645364.8999 | 1265489.9352 | 2645373.307 | 1265475.8278
70 | 2645343.2637 | 1265514.9874 | 2645349.5758 | 1265504.8618 | 2645355.2709 | 1265497.9642
71 | 2645373.307 | 1265475.8278 | 2645376.1661 | 1265471.0301 | 2645390.8416 | 1265449.4045
72 | 2645361.5948 | 1265457.5087 | 2645363.2109 | 1265448.0476 | 2645363.1948 | 1265446.1373
73 | 2645362.4029 | 1265436.7528 | 2645363.1557 | 1265441.498 | 2645363.1948 | 1265446.1373
74 | 2645469.8788 | 1265532.9858 | 2645473.5922 | 1265527.23
75 | 2645469.8788 | 1265532.9858 | 2645467.7962 | 1265536.214 | 2645462.141 | 1265543.4052
76 | 2645451.4565 | 1265556.9919 | 2645462.141 | 1265543.4052
77 | 2645464.8891 | 1265633.5324 | 2645480.7974 | 1265615.7713 | 2645500.9919 | 1265593.1769 | 2645504.4763 | 1265589.0907
78 | 2645448.6118 | 1265651.7055 | 2645464.8891 | 1265633.5324
79 | 2645504.4763 | 1265589.0907 | 2645506.5308 | 1265586.6815 | 2645507.9856 | 1265585.4598
80 | 2645448.6118 | 1265651.7055 | 2645433.3166 | 1265648.1966 | 2645424.0808 | 1265647.5621
81 | 2645443.4157 | 1265684.1445 | 2645461.914 | 1265659.8135 | 2645457.8142 | 1265657.3691 | 2645451.1906 | 1265653.1708 | 2645448.6118 | 1265651.7055
82 | 2645418.3713 | 1265647.17 | 2645424.0808 | 1265647.5621
83 | 2645443.4157 | 1265684.1445 | 2645434.0758 | 1265696.3705 | 2645425.445 | 1265711.3595 | 2645422.2924 | 1265721.8651 | 2645421.6097 | 1265727.1945
84 | 2645372.1053 | 1265661.6699 | 2645379.4399 | 1265657.6121 | 2645389.0051 | 1265652.315 | 2645401.6139 | 1265648.7647 | 2645418.3713 | 1265647.17
85 | 2645510.8683 | 1265684.4076 | 2645522.7016 | 1265666.4002
86 | 2645510.8683 | 1265684.4076 | 2645500.8439 | 1265698.4963 | 2645498.4905 | 1265702.3601
87 | 2645522.7016 | 1265666.4002 | 2645529.2976 | 1265656.3625 | 2645550.7753 | 1265627.1419
88 | 2645498.4905 | 1265702.3601 | 2645488.7039 | 1265718.4284 | 2645481.3217 | 1265735.5396 | 2645477.248 | 1265744.08
89 | 2645372.1053 | 1265661.6699 | 2645370.0678 | 1265672.084 | 2645358.7476 | 1265714.9608
90 | 2645563.0555 | 1265610.0681 | 2645557.0099 | 1265618.6597 | 2645550.7753 | 1265627.1419
91 | 2645477.248 | 1265744.08 | 2645471.5034 | 1265756.1234 | 2645466.6388 | 1265769.6954
92 | 2645435.1241 | 1265577.9127 | 2645423.1411 | 1265594.4153
93 | 2645536.1716 | 1265738.9804 | 2645537.1737 | 1265736.4587 | 2645542.9591 | 1265724.2932
94 | 2645533.1735 | 1265746.5241 | 2645536.1716 | 1265738.9804
95 | 2645466.6388 | 1265769.6954 | 2645465.1402 | 1265773.8762 | 2645460.2029 | 1265796.5364
96 | 2645459.9639 | 1265797.6332 | 2645460.2029 | 1265796.5364
97 | 2645435.1241 | 1265577.9127 | 2645436.344 | 1265576.2327
98 | 2645449.3722 | 1265559.6422 | 2645436.5675 | 1265575.9249 | 2645436.344 | 1265576.2327
99 | 2645454.942 | 1265823.3336 | 2645453.4409 | 1265844.2594 | 2645453.2331 | 1265845.6564
100 | 2645454.942 | 1265823.3336 | 2645457.8117 | 1265807.5109 | 2645459.9639 | 1265797.6332
101 | 2645453.028 | 1265847.0355 | 2645453.2331 | 1265845.6564
102 | 2645450.6592 | 1265872.269 | 2645451.718 | 1265855.8434 | 2645453.028 | 1265847.0355
103 | 2645451.4565 | 1265556.9919 | 2645449.3722 | 1265559.6422
104 | 2645548.8247 | 1265921.7045 | 2645545.0191 | 1265918.2505 | 2645537.5839 | 1265914.8686 | 2645534.7434 | 1265914.6899
105 | 2645534.7434 | 1265914.6899 | 2645518.447 | 1265913.6649 | 2645506.1446 | 1265912.8609
106 | 2645490.4871 | 1265909.509 | 2645501.8615 | 1265912.581 | 2645506.1446 | 1265912.8609
107 | 2645490.4871 | 1265909.509 | 2645489.1618 | 1265909.1511
108 | 2645521.7289 | 1265860.9632 | 2645531.7167 | 1265861.6201
109 | 2645556.6292 | 1265795.8286 | 2645551.9497 | 1265796.5715 | 2645547.3962 | 1265798.3043 | 2645543.4544 | 1265801.7765 | 2645543.2713 | 1265801.9546
110 | 2645537.4803 | 1265807.5905 | 2645543.2713 | 1265801.9546
111 | 2645530.1885 | 1265820.2878 | 2645535.5422 | 1265809.4767 | 2645537.4803 | 1265807.5905

## bus_geodata
| x | y | coords
0 | 2645609.6824 | 1265704.5885
1 | 2645609.4266 | 1265707.334
2 | 2645610.0793 | 1265685.6726
3 | 2645608.4273 | 1265718.0579
4 | 2645607.9466 | 1265664.4182
5 | 2645620.5038 | 1265679.6328
6 | 2645572.7512 | 1265691.4858
7 | 2645607.6247 | 1265726.6721
8 | 2645607.5111 | 1265659.0024
9 | 2645626.8287 | 1265675.3029
10 | 2645566.0507 | 1265692.2062
11 | 2645607.69 | 1265729.5735
12 | 2645606.5153 | 1265644.1884
13 | 2645642.0734 | 1265662.9473
14 | 2645550.5273 | 1265693.8752
15 | 2645607.9162 | 1265739.6282
16 | 2645607.5156 | 1265623.6302
17 | 2645649.1444 | 1265670.2543
18 | 2645540.6543 | 1265692.7068
19 | 2645546.769 | 1265708.0114
20 | 2645659.3601 | 1265678.9259
21 | 2645659.9578 | 1265679.2193
22 | 2645613.2902 | 1265758.0536
23 | 2645621.4754 | 1265770.9665
24 | 2645642.7628 | 1265786.2639
25 | 2645601.8629 | 1265806.9635
26 | 2645589.8503 | 1265803.5689
27 | 2645597.1547 | 1265837.3338
28 | 2645674.8517 | 1265804.8028
29 | 2645578.1059 | 1265800.25
30 | 2645597.2286 | 1265850.7898
31 | 2645634.2036 | 1265579.2818
32 | 2645596.9968 | 1265560.2701
33 | 2645543.8669 | 1265560.5722
34 | 2645691.6186 | 1265815.0396
35 | 2645666.0246 | 1265823.2425
36 | 2645705.7456 | 1265823.6645
37 | 2645597.4614 | 1265865.1383
38 | 2645581.8749 | 1265864.6237
39 | 2645598.5452 | 1265874.7671
40 | 2645578.5464 | 1265864.5138
41 | 2645599.9628 | 1265887.3625
42 | 2645577.2901 | 1265864.4723
43 | 2645629.3448 | 1265877.115
44 | 2645601.2717 | 1265910.9341
45 | 2645572.3389 | 1265798.7617
46 | 2645542.0139 | 1265862.2974
47 | 2645572.5637 | 1265914.2956
48 | 2645391.1318 | 1265539.278
49 | 2645395.9508 | 1265527.5939
50 | 2645387.3172 | 1265548.5271
51 | 2645408.0677 | 1265500.0401
52 | 2645394.8834 | 1265568.8746
53 | 2645369.0974 | 1265573.3174
54 | 2645420.885 | 1265471.0724
55 | 2645392.3808 | 1265587.957
56 | 2645435.1721 | 1265432.2217
57 | 2645389.9614 | 1265591.874
58 | 2645418.8111 | 1265425.2577
59 | 2645364.5176 | 1265619.2477
60 | 2645384.8705 | 1265631.8463
61 | 2645355.2709 | 1265497.9642
62 | 2645373.307 | 1265475.8278
63 | 2645343.2637 | 1265514.9874
64 | 2645390.8416 | 1265449.4045
65 | 2645361.5948 | 1265457.5087
66 | 2645363.1948 | 1265446.1373
67 | 2645362.4029 | 1265436.7528
68 | 2645473.5922 | 1265527.23
69 | 2645469.8788 | 1265532.9858
70 | 2645462.141 | 1265543.4052
71 | 2645464.8891 | 1265633.5324
72 | 2645504.4763 | 1265589.0907
73 | 2645448.6118 | 1265651.7055
74 | 2645507.9856 | 1265585.4598
75 | 2645424.0808 | 1265647.5621
76 | 2645443.4157 | 1265684.1445
77 | 2645418.3713 | 1265647.17
78 | 2645421.6097 | 1265727.1945
79 | 2645510.8683 | 1265684.4076
80 | 2645522.7016 | 1265666.4002
81 | 2645498.4905 | 1265702.3601
82 | 2645372.1053 | 1265661.6699
83 | 2645358.7476 | 1265714.9608
84 | 2645550.7753 | 1265627.1419
85 | 2645477.248 | 1265744.08
86 | 2645423.1411 | 1265594.4153
87 | 2645536.1716 | 1265738.9804
88 | 2645542.9591 | 1265724.2932
89 | 2645533.1735 | 1265746.5241
90 | 2645563.0555 | 1265610.0681
91 | 2645466.6388 | 1265769.6954
92 | 2645460.2029 | 1265796.5364
93 | 2645435.1241 | 1265577.9127
94 | 2645436.344 | 1265576.2327
95 | 2645454.942 | 1265823.3336
96 | 2645453.2331 | 1265845.6564
97 | 2645459.9639 | 1265797.6332
98 | 2645453.028 | 1265847.0355
99 | 2645450.6592 | 1265872.269
100 | 2645451.4565 | 1265556.9919
101 | 2645449.3722 | 1265559.6422
102 | 2645548.8247 | 1265921.7045
103 | 2645534.7434 | 1265914.6899
104 | 2645506.1446 | 1265912.8609
105 | 2645490.4871 | 1265909.509
106 | 2645489.1618 | 1265909.1511
107 | 2645531.7167 | 1265861.6201
108 | 2645521.7289 | 1265860.9632
109 | 2645556.6292 | 1265795.8286
110 | 2645543.2713 | 1265801.9546
111 | 2645537.4803 | 1265807.5905
112 | 2645530.1885 | 1265820.2878
113 | 2645533.1735 | 1265746.5241

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1