## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4170-9_1_3_node_13 | 0.4 | n |  | TRUE
1 | bus_LV_4170-9_1_3_node_14 | 0.4 | n |  | TRUE
2 | bus_LV_4170-9_1_3_node_17 | 0.4 | n |  | TRUE
3 | bus_LV_4170-9_1_3_node_16 | 0.4 | n |  | TRUE
4 | bus_LV_4170-9_1_3_node_19 | 0.4 | n |  | TRUE
5 | bus_LV_4170-9_1_3_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_4170-9_1_3_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_4170-9_1_3_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_4170-9_1_3_node_40 | 0.4 | n |  | TRUE
9 | bus_LV_4170-9_1_3_node_37 | 0.4 | n |  | TRUE
10 | bus_LV_4170-9_1_3_node_41 | 0.4 | n |  | TRUE
11 | bus_LV_4170-9_1_3_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_4170-9_1_3_node_59 | 0.4 | n |  | TRUE
13 | bus_LV_4170-9_1_3_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_4170-9_1_3_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_4170-9_1_3_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_4170-9_1_3_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_4170-9_1_3_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_4170-9_1_3_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_4170-9_1_3_node_35 | 0.4 | n |  | TRUE
20 | bus_LV_4170-9_1_3_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_4170-9_1_3_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_4170-9_1_3_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_4170-9_1_3_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_4170-9_1_3_node_34 | 0.4 | n |  | TRUE
25 | bus_LV_4170-9_1_3_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_4170-9_1_3_node_64 | 0.4 | n |  | TRUE
27 | bus_LV_4170-9_1_3_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_4170-9_1_3_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_4170-9_1_3_node_47 | 0.4 | n |  | TRUE
30 | bus_LV_4170-9_1_3_node_65 | 0.4 | n |  | TRUE
31 | bus_LV_4170-9_1_3_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_4170-9_1_3_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_4170-9_1_3_node_58 | 0.4 | n |  | TRUE
34 | bus_LV_4170-9_1_3_node_57 | 0.4 | n |  | TRUE
35 | bus_LV_4170-9_1_3_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_4170-9_1_3_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_4170-9_1_3_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_4170-9_1_3_node_48 | 0.4 | n |  | TRUE
39 | bus_LV_4170-9_1_3_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_4170-9_1_3_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_4170-9_1_3_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_4170-9_1_3_node_52 | 0.4 | n |  | TRUE
43 | bus_LV_4170-9_1_3_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_4170-9_1_3_node_54 | 0.4 | n |  | TRUE
45 | bus_LV_4170-9_1_3_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_4170-9_1_3_node_56 | 0.4 | n |  | TRUE
47 | bus_LV_4170-9_1_3_node_61 | 0.4 | n |  | TRUE
48 | bus_LV_4170-9_1_3_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_4170-9_1_3_node_75 | 0.4 | n |  | TRUE
50 | bus_LV_4170-9_1_3_node_62 | 0.4 | n |  | TRUE
51 | bus_LV_4170-9_1_3_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_4170-9_1_3_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_4170-9_1_3_node_67 | 0.4 | n |  | TRUE
54 | bus_LV_4170-9_1_3_node_68 | 0.4 | n |  | TRUE
55 | bus_LV_4170-9_1_3_node_69 | 0.4 | n |  | TRUE
56 | bus_LV_4170-9_1_3_node_70 | 0.4 | n |  | TRUE
57 | bus_LV_4170-9_1_3_node_71 | 0.4 | n |  | TRUE
58 | bus_LV_4170-9_1_3_node_76 | 0.4 | n |  | TRUE
59 | bus_LV_4170-9_1_3_node_83 | 0.4 | n |  | TRUE
60 | bus_LV_4170-9_1_3_node_72 | 0.4 | n |  | TRUE
61 | bus_LV_4170-9_1_3_node_73 | 0.4 | n |  | TRUE
62 | bus_LV_4170-9_1_3_node_74 | 0.4 | n |  | TRUE
63 | bus_LV_4170-9_1_3_node_77 | 0.4 | n |  | TRUE
64 | bus_LV_4170-9_1_3_node_78 | 0.4 | n |  | TRUE
65 | bus_LV_4170-9_1_3_node_80 | 0.4 | n |  | TRUE
66 | bus_LV_4170-9_1_3_node_87 | 0.4 | n |  | TRUE
67 | bus_LV_4170-9_1_3_node_79 | 0.4 | n |  | TRUE
68 | bus_LV_4170-9_1_3_node_82 | 0.4 | n |  | TRUE
69 | bus_LV_4170-9_1_3_node_84 | 0.4 | n |  | TRUE
70 | bus_LV_4170-9_1_3_node_85 | 0.4 | n |  | TRUE
71 | bus_LV_4170-9_1_3_node_86 | 0.4 | n |  | TRUE
72 | bus_LV_4170-9_1_3_node_88 | 0.4 | n |  | TRUE
73 | bus_LV_4170-9_1_3_node_89 | 0.4 | n |  | TRUE
74 | bus_MV_302_0_node_170 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4170-9_1_3_load_13 | 0 | 0.003472 | 0.00087016 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4170-9_1_3_load_19 | 4 | 0.0011826 | 0.00029639 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4170-9_1_3_load_20 | 5 | 0.00097428 | 0.00024418 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4170-9_1_3_load_21 | 6 | 0.005044 | 0.0012641 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4170-9_1_3_load_22 | 7 | 0.0011135 | 0.00027906 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4170-9_1_3_load_40 | 8 | 0.001014 | 0.00025413 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4170-9_1_3_load_37 | 9 | 0.0020937 | 0.00052472 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4170-9_1_3_load_23 | 11 | 0.0016289 | 0.00040825 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4170-9_1_3_load_24 | 13 | 0.0010726 | 0.00026882 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4170-9_1_3_load_25 | 14 | 0.0014282 | 0.00035794 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4170-9_1_3_load_26 | 15 | 0.00054386 | 0.0001363 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4170-9_1_3_load_27 | 16 | 0.0014301 | 0.00035843 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4170-9_1_3_load_28 | 17 | 0.0021529 | 0.00053957 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4170-9_1_3_load_29 | 18 | 0.00075704 | 0.00018973 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4170-9_1_3_load_35 | 19 | 0.0015491 | 0.00038825 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4170-9_1_3_load_30 | 20 | 0.0011708 | 0.00029343 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4170-9_1_3_load_31 | 21 | 0.0010591 | 0.00026542 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4170-9_1_3_load_32 | 22 | 0.0011089 | 0.00027792 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4170-9_1_3_load_33 | 23 | 0.00093985 | 0.00023555 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4170-9_1_3_load_34 | 24 | 0.0014127 | 0.00035405 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4170-9_1_3_load_36 | 25 | 0.0014448 | 0.00036211 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4170-9_1_3_load_64 | 26 | 0.0015158 | 0.00037991 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4170-9_1_3_load_39 | 28 | 0.0011681 | 0.00029275 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4170-9_1_3_load_47 | 29 | 0.001452 | 0.00036391 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4170-9_1_3_load_65 | 30 | 0.0010846 | 0.00027182 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4170-9_1_3_load_42 | 31 | 0.0017847 | 0.00044729 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4170-9_1_3_load_57 | 34 | 0.0014297 | 0.00035831 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4170-9_1_3_load_44 | 35 | 0.001834 | 0.00045964 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4170-9_1_3_load_45 | 36 | 0.0011396 | 0.00028562 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4170-9_1_3_load_48 | 38 | 0.0018136 | 0.00045453 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4170-9_1_3_load_49 | 39 | 0.0047861 | 0.0011995 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4170-9_1_3_load_50 | 40 | 0.002491 | 0.00062431 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4170-9_1_3_load_51 | 41 | 0.00086472 | 0.00021672 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4170-9_1_3_load_53 | 43 | 0.003507 | 0.00087894 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4170-9_1_3_load_54 | 44 | 0.001321 | 0.00033106 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4170-9_1_3_load_55 | 45 | 0.0024957 | 0.00062549 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4170-9_1_3_load_56 | 46 | 0.0018748 | 0.00046986 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4170-9_1_3_load_61 | 47 | 0.0022836 | 0.00057233 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4170-9_1_3_load_60 | 48 | 0.0030423 | 0.00076248 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4170-9_1_3_load_62 | 50 | 0.0012466 | 0.00031242 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4170-9_1_3_load_63 | 51 | 0.00091697 | 0.00022981 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4170-9_1_3_load_66 | 52 | 0.020681 | 0.0051831 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4170-9_1_3_load_67 | 53 | 0.0024255 | 0.00060788 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4170-9_1_3_load_68 | 54 | 0.0046102 | 0.0011554 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4170-9_1_3_load_69 | 55 | 0.0011921 | 0.00029876 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4170-9_1_3_load_70 | 56 | 0.0038372 | 0.0009617 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4170-9_1_3_load_71 | 57 | 0.00090591 | 0.00022704 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4170-9_1_3_load_83 | 59 | 0.0013413 | 0.00033615 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4170-9_1_3_load_72 | 60 | 0.007353 | 0.0018428 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4170-9_1_3_load_74 | 62 | 0.014189 | 0.0035561 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4170-9_1_3_load_77 | 63 | 0.0042674 | 0.0010695 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4170-9_1_3_load_78 | 64 | 0.0018312 | 0.00045894 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4170-9_1_3_load_80 | 65 | 0.0036176 | 0.00090667 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4170-9_1_3_load_87 | 66 | 0.0039462 | 0.00098901 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4170-9_1_3_load_79 | 67 | 0.0021201 | 0.00053134 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4170-9_1_3_load_82 | 68 | 0.00046426 | 0.00011635 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4170-9_1_3_load_84 | 69 | 0.00051278 | 0.00012851 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4170-9_1_3_load_85 | 70 | 0.00063913 | 0.00016018 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4170-9_1_3_load_86 | 71 | 0.00073979 | 0.00018541 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4170-9_1_3_load_88 | 72 | 0.00051028 | 0.00012789 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4170-9_1_3_load_89 | 73 | 0.0010605 | 0.00026579 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4170-9_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.022448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4170-9_1_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.029906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4170-9_1_3_line_2 | NAYY 4x150 SE | 2 | 6 | 0.064142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4170-9_1_3_line_3 | NAYY 4x150 SE | 2 | 7 | 0.043497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4170-9_1_3_line_4 | NAYY 4x150 SE | 3 | 4 | 0.024908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4170-9_1_3_line_5 | NAYY 4x150 SE | 3 | 5 | 0.023331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4170-9_1_3_line_6 | NAYY 4x150 SE | 4 | 8 | 0.025088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4170-9_1_3_line_7 | NAYY 4x150 SE | 5 | 9 | 0.021202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4170-9_1_3_line_8 | NAYY 4x150 SE | 7 | 10 | 0.0078763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4170-9_1_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.0090874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4170-9_1_3_line_10 | NAYY 4x150 SE | 10 | 31 | 0.024016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4170-9_1_3_line_11 | NAYY 4x150 SE | 11 | 12 | 0.023626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4170-9_1_3_line_12 | NAYY 4x150 SE | 12 | 33 | 0.056637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_4170-9_1_3_line_13 | NAYY 4x150 SE | 13 | 14 | 0.019155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4170-9_1_3_line_14 | NAYY 4x150 SE | 13 | 15 | 0.01968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4170-9_1_3_line_15 | NAYY 4x150 SE | 14 | 16 | 0.0037124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4170-9_1_3_line_16 | NAYY 4x150 SE | 15 | 17 | 0.019529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4170-9_1_3_line_17 | NAYY 4x150 SE | 16 | 18 | 0.030748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4170-9_1_3_line_18 | NAYY 4x150 SE | 18 | 19 | 0.011298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4170-9_1_3_line_19 | NAYY 4x150 SE | 19 | 23 | 0.012466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4170-9_1_3_line_20 | NAYY 4x150 SE | 20 | 21 | 0.015016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4170-9_1_3_line_21 | NAYY 4x150 SE | 20 | 22 | 0.0078964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4170-9_1_3_line_22 | NAYY 4x150 SE | 21 | 23 | 0.016023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4170-9_1_3_line_23 | NAYY 4x150 SE | 22 | 24 | 0.015645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4170-9_1_3_line_24 | NAYY 4x150 SE | 24 | 25 | 0.0060528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4170-9_1_3_line_25 | NAYY 4x150 SE | 25 | 26 | 0.016962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4170-9_1_3_line_26 | NAYY 4x150 SE | 26 | 50 | 0.0080403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4170-9_1_3_line_27 | NAYY 4x150 SE | 27 | 28 | 0.023989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4170-9_1_3_line_28 | NAYY 4x150 SE | 27 | 29 | 0.048329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4170-9_1_3_line_29 | NAYY 4x150 SE | 28 | 30 | 0.0044409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4170-9_1_3_line_30 | NAYY 4x150 SE | 29 | 36 | 0.043146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4170-9_1_3_line_31 | NAYY 4x150 SE | 30 | 51 | 0.021969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4170-9_1_3_line_32 | NAYY 4x150 SE | 31 | 32 | 0.015739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4170-9_1_3_line_33 | NAYY 4x150 SE | 32 | 33 | 0.081284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_4170-9_1_3_line_34 | NAYY 4x150 SE | 32 | 34 | 0.038015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4170-9_1_3_line_35 | NAYY 4x150 SE | 33 | 48 | 0.019528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4170-9_1_3_line_36 | NAYY 4x150 SE | 34 | 46 | 0.024744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4170-9_1_3_line_37 | NAYY 4x150 SE | 35 | 36 | 0.025198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4170-9_1_3_line_38 | NAYY 4x150 SE | 35 | 37 | 0.010389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4170-9_1_3_line_39 | NAYY 4x150 SE | 37 | 38 | 0.01035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4170-9_1_3_line_40 | NAYY 4x150 SE | 37 | 39 | 0.018691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4170-9_1_3_line_41 | NAYY 4x150 SE | 38 | 40 | 0.0033234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4170-9_1_3_line_42 | NAYY 4x150 SE | 39 | 41 | 0.016196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4170-9_1_3_line_43 | NAYY 4x150 SE | 40 | 42 | 0.021082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4170-9_1_3_line_44 | NAYY 4x150 SE | 42 | 43 | 0.043264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4170-9_1_3_line_45 | NAYY 4x150 SE | 42 | 44 | 0.016884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4170-9_1_3_line_46 | NAYY 4x150 SE | 43 | 45 | 0.0019888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4170-9_1_3_line_47 | NAYY 4x150 SE | 44 | 46 | 0.003607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4170-9_1_3_line_48 | NAYY 4x150 SE | 45 | 47 | 0.016091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4170-9_1_3_line_49 | NAYY 4x150 SE | 48 | 49 | 0.01833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4170-9_1_3_line_50 | NAYY 4x150 SE | 49 | 63 | 0.020975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4170-9_1_3_line_51 | NAYY 4x150 SE | 49 | 61 | 0.039671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4170-9_1_3_line_52 | NAYY 4x150 SE | 50 | 51 | 0.0090619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4170-9_1_3_line_53 | NAYY 4x150 SE | 52 | 53 | 0.027161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4170-9_1_3_line_54 | NAYY 4x150 SE | 52 | 54 | 0.017242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4170-9_1_3_line_55 | NAYY 4x150 SE | 53 | 55 | 0.016966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4170-9_1_3_line_56 | NAYY 4x150 SE | 54 | 56 | 0.0036051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4170-9_1_3_line_57 | NAYY 4x150 SE | 55 | 57 | 0.016872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4170-9_1_3_line_58 | NAYY 4x150 SE | 56 | 58 | 0.014652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4170-9_1_3_line_59 | NAYY 4x150 SE | 57 | 59 | 0.0087959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4170-9_1_3_line_60 | NAYY 4x150 SE | 58 | 64 | 0.05993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4170-9_1_3_line_61 | NAYY 4x150 SE | 58 | 61 | 0.053149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4170-9_1_3_line_62 | NAYY 4x150 SE | 59 | 68 | 0.016885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4170-9_1_3_line_63 | NAYY 4x150 SE | 60 | 61 | 0.023142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4170-9_1_3_line_64 | NAYY 4x150 SE | 60 | 62 | 0.019616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4170-9_1_3_line_65 | NAYY 4x150 SE | 63 | 65 | 0.014816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4170-9_1_3_line_66 | NAYY 4x150 SE | 64 | 66 | 0.035014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4170-9_1_3_line_67 | NAYY 4x150 SE | 65 | 67 | 0.033049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4170-9_1_3_line_68 | NAYY 4x150 SE | 66 | 72 | 0.062521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4170-9_1_3_line_69 | NAYY 4x150 SE | 68 | 69 | 0.0097281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4170-9_1_3_line_70 | NAYY 4x150 SE | 69 | 70 | 0.024593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4170-9_1_3_line_71 | NAYY 4x150 SE | 70 | 71 | 0.02195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4170-9_1_3_line_72 | NAYY 4x150 SE | 72 | 73 | 0.020157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4170-9_1_3_trafo_59 | 0.25 MVA 20/0.4 kV | 74 | 12 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2649051.8732 | 1267358.4289 | 2649051.5862 | 1267349.4756 | 2649050.5095 | 1267338.6254 | 2649049.9502 | 1267336.1004
1 | 2649052.0619 | 1267388.2857 | 2649052.6289 | 1267383.4647 | 2649052.3733 | 1267368.0068 | 2649051.8732 | 1267358.4289
2 | 2649052.0619 | 1267388.2857 | 2649038.6277 | 1267386.2617 | 2649017.1762 | 1267383.4262 | 2649012.2153 | 1267384.3969 | 2649006.9711 | 1267388.6566 | 2649002.6401 | 1267405.344
3 | 2649052.0619 | 1267388.2857 | 2649051.2601 | 1267395.1063 | 2649049.4123 | 1267403.7084 | 2649046.4057 | 1267413.1792 | 2649041.7403 | 1267424.7935 | 2649039.1296 | 1267429.4958
4 | 2649087.2542 | 1267413.3294 | 2649080.5838 | 1267413.4852 | 2649072.5722 | 1267414.7308 | 2649064.929 | 1267416.9245 | 2649063.0344 | 1267417.9947
5 | 2649087.2542 | 1267413.3294 | 2649089.28 | 1267396.9008 | 2649090.4894 | 1267390.2316
6 | 2649043.7473 | 1267433.8373 | 2649048.2531 | 1267430.018 | 2649052.2396 | 1267425.8258 | 2649058.2361 | 1267420.7051 | 2649063.0344 | 1267417.9947
7 | 2649090.5192 | 1267369.1352 | 2649091.3941 | 1267385.2432 | 2649090.4894 | 1267390.2316
8 | 2649035.3063 | 1267436.382 | 2649039.1296 | 1267429.4958
9 | 2649035.3063 | 1267436.382 | 2649041.9007 | 1267435.4026 | 2649043.7473 | 1267433.8373
10 | 2649035.3063 | 1267436.382 | 2649026.1338 | 1267452.351 | 2649023.0233 | 1267457.0082
11 | 2648967.5829 | 1267413.9266 | 2648977.2547 | 1267399.4628 | 2648980.923 | 1267394.4314
12 | 2648967.5829 | 1267413.9266 | 2648962.038 | 1267412.702 | 2648958.2857 | 1267414.0608 | 2648948.3215 | 1267431.1242 | 2648935.5293 | 1267455.2026
13 | 2649148.9403 | 1267320.3048 | 2649147.7402 | 1267313.1028 | 2649146.0008 | 1267301.3774
14 | 2649143.6989 | 1267281.8364 | 2649145.1671 | 1267295.7576 | 2649146.0008 | 1267301.3774
15 | 2649148.9403 | 1267320.3048 | 2649149.5504 | 1267323.9668
16 | 2649141.6506 | 1267262.4151 | 2649143.6989 | 1267281.8364
17 | 2649149.5504 | 1267323.9668 | 2649151.4397 | 1267335.3053 | 2649154.6463 | 1267354.2894
18 | 2649156.528 | 1267365.4294 | 2649154.6463 | 1267354.2894
19 | 2649158.7459 | 1267377.6929 | 2649158.1975 | 1267375.313 | 2649156.528 | 1267365.4294
20 | 2649167.5093 | 1267407.3444 | 2649163.45 | 1267398.1067 | 2649162.3439 | 1267393.3067
21 | 2649170.2722 | 1267414.7063 | 2649169.84 | 1267412.6483 | 2649167.5093 | 1267407.3444
22 | 2649158.7459 | 1267377.6929 | 2649162.3439 | 1267393.3067
23 | 2649174.446 | 1267429.7353 | 2649172.1859 | 1267423.8204 | 2649170.2722 | 1267414.7063
24 | 2649174.446 | 1267429.7353 | 2649176.6065 | 1267435.3894
25 | 2649182.8799 | 1267451.147 | 2649179.8325 | 1267443.832 | 2649176.6065 | 1267435.3894
26 | 2649185.9718 | 1267458.569 | 2649182.8799 | 1267451.147
27 | 2649196.3195 | 1267514.0317 | 2649200.2765 | 1267507.9712 | 2649201.1112 | 1267502.6409 | 2649200.1202 | 1267495.105 | 2649199.1054 | 1267491.4897
28 | 2649180.9069 | 1267559.837 | 2649196.3195 | 1267514.0317
29 | 2649197.9052 | 1267487.2141 | 2649197.9052 | 1267487.2141 | 2649199.1054 | 1267491.4897
30 | 2649180.9069 | 1267559.837 | 2649169.0223 | 1267558.8708 | 2649161.3113 | 1267555.671 | 2649151.0496 | 1267548.7251 | 2649143.3651 | 1267541.5961
31 | 2649189.4566 | 1267466.934 | 2649197.9052 | 1267487.2141
32 | 2649013.0109 | 1267469.0767 | 2649019.4648 | 1267462.3363 | 2649023.0233 | 1267457.0082
33 | 2649013.0109 | 1267469.0767 | 2649007.077 | 1267472.1075 | 2648994.726 | 1267473.8064 | 2648986.6225 | 1267473.439 | 2648972.1785 | 1267468.8382 | 2648958.4847 | 1267463.6432 | 2648937.2774 | 1267455.8843 | 2648935.5293 | 1267455.2026
34 | 2649013.0109 | 1267469.0767 | 2649021.7405 | 1267478.3558 | 2649031.6143 | 1267485.8209 | 2649042.6269 | 1267492.5335
35 | 2648935.5293 | 1267455.2026 | 2648918.5669 | 1267449.3024 | 2648917.0697 | 1267448.8351
36 | 2649042.6269 | 1267492.5335 | 2649063.7554 | 1267505.4121
37 | 2649120.6697 | 1267532.6164 | 2649125.6743 | 1267532.658 | 2649134.1086 | 1267534.8742 | 2649140.951 | 1267539.3565 | 2649143.3651 | 1267541.5961
38 | 2649110.611 | 1267534.6789 | 2649117.079 | 1267532.5866 | 2649120.6697 | 1267532.6164
39 | 2649110.611 | 1267534.6789 | 2649101.8683 | 1267529.1394
40 | 2649110.611 | 1267534.6789 | 2649125.9984 | 1267545.2887
41 | 2649099.061 | 1267527.3607 | 2649101.8683 | 1267529.1394
42 | 2649139.0153 | 1267554.8787 | 2649136.4011 | 1267552.4617 | 2649125.9984 | 1267545.2887
43 | 2649081.2522 | 1267516.077 | 2649099.061 | 1267527.3607
44 | 2649081.2522 | 1267516.077 | 2649103.6244 | 1267479.0469
45 | 2649081.2522 | 1267516.077 | 2649066.8354 | 1267507.2894
46 | 2649104.6528 | 1267477.3447 | 2649103.6244 | 1267479.0469
47 | 2649063.7554 | 1267505.4121 | 2649066.8354 | 1267507.2894
48 | 2649110.4923 | 1267462.9253 | 2649110.643 | 1267467.4298 | 2649104.6528 | 1267477.3447
49 | 2648899.5724 | 1267443.3743 | 2648917.0697 | 1267448.8351
50 | 2648899.5724 | 1267443.3743 | 2648899.5804 | 1267422.3997
51 | 2648899.5724 | 1267443.3743 | 2648872.6657 | 1267436.6915 | 2648860.8296 | 1267434.3809
52 | 2649185.9718 | 1267458.569 | 2649189.4566 | 1267466.934
53 | 2648803.3264 | 1267391.0743 | 2648803.3264 | 1267391.0743 | 2648792.5841 | 1267385.7262 | 2648780.1981 | 1267381.6322 | 2648778.0829 | 1267381.6003
54 | 2648803.3264 | 1267391.0743 | 2648806.8396 | 1267401.3442 | 2648807.1946 | 1267407.7222
55 | 2648761.1184 | 1267381.3443 | 2648778.0829 | 1267381.6003
56 | 2648807.395 | 1267411.3217 | 2648807.1946 | 1267407.7222
57 | 2648744.2781 | 1267382.018 | 2648754.1799 | 1267381.2396 | 2648761.1184 | 1267381.3443
58 | 2648808.2095 | 1267425.9513 | 2648807.395 | 1267411.3217
59 | 2648744.2781 | 1267382.018 | 2648735.5093 | 1267382.7073
60 | 2648808.2095 | 1267425.9513 | 2648788.3129 | 1267425.3311 | 2648755.7679 | 1267425.0625 | 2648748.3062 | 1267425.5524
61 | 2648808.2095 | 1267425.9513 | 2648843.8608 | 1267431.0605 | 2648860.8296 | 1267434.3809
62 | 2648718.6758 | 1267384.0306 | 2648735.5093 | 1267382.7073
63 | 2648860.8296 | 1267434.3809 | 2648864.7255 | 1267411.5695
64 | 2648870.4842 | 1267392.8302 | 2648864.9428 | 1267410.2972 | 2648864.7255 | 1267411.5695
65 | 2648899.5804 | 1267422.3997 | 2648899.586 | 1267407.5832
66 | 2648713.367 | 1267427.8465 | 2648748.3062 | 1267425.5524
67 | 2648900.4806 | 1267374.5537 | 2648899.5909 | 1267394.75 | 2648899.586 | 1267407.5832
68 | 2648713.367 | 1267427.8465 | 2648709.2779 | 1267428.115 | 2648672.2074 | 1267432.6242 | 2648651.3599 | 1267435.7397
69 | 2648718.6758 | 1267384.0306 | 2648708.9777 | 1267384.793
70 | 2648684.46 | 1267386.7204 | 2648708.9777 | 1267384.793
71 | 2648684.46 | 1267386.7204 | 2648674.039 | 1267387.5396 | 2648662.5454 | 1267387.8139
72 | 2648651.3599 | 1267435.7397 | 2648644.564 | 1267436.7553 | 2648631.4633 | 1267438.9658

## bus_geodata
| x | y | coords
0 | 2649049.9502 | 1267336.1004
1 | 2649051.8732 | 1267358.4289
2 | 2649052.0619 | 1267388.2857
3 | 2649087.2542 | 1267413.3294
4 | 2649063.0344 | 1267417.9947
5 | 2649090.4894 | 1267390.2316
6 | 2649002.6401 | 1267405.344
7 | 2649039.1296 | 1267429.4958
8 | 2649043.7473 | 1267433.8373
9 | 2649090.5192 | 1267369.1352
10 | 2649035.3063 | 1267436.382
11 | 2648980.923 | 1267394.4314
12 | 2648967.5829 | 1267413.9266
13 | 2649146.0008 | 1267301.3774
14 | 2649148.9403 | 1267320.3048
15 | 2649143.6989 | 1267281.8364
16 | 2649149.5504 | 1267323.9668
17 | 2649141.6506 | 1267262.4151
18 | 2649154.6463 | 1267354.2894
19 | 2649156.528 | 1267365.4294
20 | 2649167.5093 | 1267407.3444
21 | 2649162.3439 | 1267393.3067
22 | 2649170.2722 | 1267414.7063
23 | 2649158.7459 | 1267377.6929
24 | 2649174.446 | 1267429.7353
25 | 2649176.6065 | 1267435.3894
26 | 2649182.8799 | 1267451.147
27 | 2649196.3195 | 1267514.0317
28 | 2649199.1054 | 1267491.4897
29 | 2649180.9069 | 1267559.837
30 | 2649197.9052 | 1267487.2141
31 | 2649023.0233 | 1267457.0082
32 | 2649013.0109 | 1267469.0767
33 | 2648935.5293 | 1267455.2026
34 | 2649042.6269 | 1267492.5335
35 | 2649120.6697 | 1267532.6164
36 | 2649143.3651 | 1267541.5961
37 | 2649110.611 | 1267534.6789
38 | 2649101.8683 | 1267529.1394
39 | 2649125.9984 | 1267545.2887
40 | 2649099.061 | 1267527.3607
41 | 2649139.0153 | 1267554.8787
42 | 2649081.2522 | 1267516.077
43 | 2649103.6244 | 1267479.0469
44 | 2649066.8354 | 1267507.2894
45 | 2649104.6528 | 1267477.3447
46 | 2649063.7554 | 1267505.4121
47 | 2649110.4923 | 1267462.9253
48 | 2648917.0697 | 1267448.8351
49 | 2648899.5724 | 1267443.3743
50 | 2649185.9718 | 1267458.569
51 | 2649189.4566 | 1267466.934
52 | 2648803.3264 | 1267391.0743
53 | 2648778.0829 | 1267381.6003
54 | 2648807.1946 | 1267407.7222
55 | 2648761.1184 | 1267381.3443
56 | 2648807.395 | 1267411.3217
57 | 2648744.2781 | 1267382.018
58 | 2648808.2095 | 1267425.9513
59 | 2648735.5093 | 1267382.7073
60 | 2648864.7255 | 1267411.5695
61 | 2648860.8296 | 1267434.3809
62 | 2648870.4842 | 1267392.8302
63 | 2648899.5804 | 1267422.3997
64 | 2648748.3062 | 1267425.5524
65 | 2648899.586 | 1267407.5832
66 | 2648713.367 | 1267427.8465
67 | 2648900.4806 | 1267374.5537
68 | 2648718.6758 | 1267384.0306
69 | 2648708.9777 | 1267384.793
70 | 2648684.46 | 1267386.7204
71 | 2648662.5454 | 1267387.8139
72 | 2648651.36 | 1267435.7397
73 | 2648631.4633 | 1267438.9658
74 | 2648935.5293 | 1267455.2026

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1