## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4175-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4175-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4175-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4175-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4175-2_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4175-2_0_4_node_29 | 0.4 | n |  | TRUE
6 | bus_LV_4175-2_0_4_node_55 | 0.4 | n |  | TRUE
7 | bus_LV_4175-2_0_4_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_4175-2_0_4_node_54 | 0.4 | n |  | TRUE
9 | bus_LV_4175-2_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_4175-2_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_4175-2_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4175-2_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_4175-2_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_4175-2_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_4175-2_0_4_node_31 | 0.4 | n |  | TRUE
16 | bus_LV_4175-2_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_4175-2_0_4_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_4175-2_0_4_node_33 | 0.4 | n |  | TRUE
19 | bus_LV_4175-2_0_4_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_4175-2_0_4_node_37 | 0.4 | n |  | TRUE
21 | bus_LV_4175-2_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_4175-2_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_4175-2_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_4175-2_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_4175-2_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_4175-2_0_4_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_4175-2_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_4175-2_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_4175-2_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_4175-2_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_4175-2_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_4175-2_0_4_node_44 | 0.4 | n |  | TRUE
33 | bus_LV_4175-2_0_4_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_4175-2_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_4175-2_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_4175-2_0_4_node_75 | 0.4 | n |  | TRUE
37 | bus_LV_4175-2_0_4_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_4175-2_0_4_node_96 | 0.4 | n |  | TRUE
39 | bus_LV_4175-2_0_4_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_4175-2_0_4_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_4175-2_0_4_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_4175-2_0_4_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_4175-2_0_4_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_4175-2_0_4_node_107 | 0.4 | n |  | TRUE
45 | bus_LV_4175-2_0_4_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_4175-2_0_4_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_4175-2_0_4_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_4175-2_0_4_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_4175-2_0_4_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_4175-2_0_4_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_4175-2_0_4_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_4175-2_0_4_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_4175-2_0_4_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_4175-2_0_4_node_60 | 0.4 | n |  | TRUE
55 | bus_LV_4175-2_0_4_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_4175-2_0_4_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_4175-2_0_4_node_73 | 0.4 | n |  | TRUE
58 | bus_LV_4175-2_0_4_node_108 | 0.4 | n |  | TRUE
59 | bus_LV_4175-2_0_4_node_102 | 0.4 | n |  | TRUE
60 | bus_LV_4175-2_0_4_node_97 | 0.4 | n |  | TRUE
61 | bus_LV_4175-2_0_4_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_4175-2_0_4_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_4175-2_0_4_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_4175-2_0_4_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_4175-2_0_4_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_4175-2_0_4_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_4175-2_0_4_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_4175-2_0_4_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_4175-2_0_4_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_4175-2_0_4_node_82 | 0.4 | n |  | TRUE
71 | bus_LV_4175-2_0_4_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_4175-2_0_4_node_81 | 0.4 | n |  | TRUE
73 | bus_LV_4175-2_0_4_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_4175-2_0_4_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_4175-2_0_4_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_4175-2_0_4_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_4175-2_0_4_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_4175-2_0_4_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_4175-2_0_4_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_4175-2_0_4_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_4175-2_0_4_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_4175-2_0_4_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_4175-2_0_4_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_4175-2_0_4_node_78 | 0.4 | n |  | TRUE
85 | bus_LV_4175-2_0_4_node_76 | 0.4 | n |  | TRUE
86 | bus_LV_4175-2_0_4_node_109 | 0.4 | n |  | TRUE
87 | bus_LV_4175-2_0_4_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_4175-2_0_4_node_83 | 0.4 | n |  | TRUE
89 | bus_LV_4175-2_0_4_node_84 | 0.4 | n |  | TRUE
90 | bus_LV_4175-2_0_4_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_4175-2_0_4_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_4175-2_0_4_node_87 | 0.4 | n |  | TRUE
93 | bus_LV_4175-2_0_4_node_88 | 0.4 | n |  | TRUE
94 | bus_LV_4175-2_0_4_node_89 | 0.4 | n |  | TRUE
95 | bus_LV_4175-2_0_4_node_95 | 0.4 | n |  | TRUE
96 | bus_LV_4175-2_0_4_node_92 | 0.4 | n |  | TRUE
97 | bus_LV_4175-2_0_4_node_90 | 0.4 | n |  | TRUE
98 | bus_LV_4175-2_0_4_node_101 | 0.4 | n |  | TRUE
99 | bus_LV_4175-2_0_4_node_93 | 0.4 | n |  | TRUE
100 | bus_LV_4175-2_0_4_node_91 | 0.4 | n |  | TRUE
101 | bus_LV_4175-2_0_4_node_100 | 0.4 | n |  | TRUE
102 | bus_LV_4175-2_0_4_node_99 | 0.4 | n |  | TRUE
103 | bus_LV_4175-2_0_4_node_106 | 0.4 | n |  | TRUE
104 | bus_LV_4175-2_0_4_node_104 | 0.4 | n |  | TRUE
105 | bus_LV_4175-2_0_4_node_103 | 0.4 | n |  | TRUE
106 | bus_LV_4175-2_0_4_node_98 | 0.4 | n |  | TRUE
107 | bus_MV_304_0_node_220 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4175-2_0_4_load_0 | 0 | 0.00083207 | 0.00020854 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4175-2_0_4_load_4 | 4 | 0.00091787 | 0.00023004 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4175-2_0_4_load_29 | 5 | 0.0023003 | 0.0005765 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4175-2_0_4_load_55 | 6 | 0.0051722 | 0.0012963 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4175-2_0_4_load_27 | 7 | 0.0030006 | 0.00075201 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4175-2_0_4_load_54 | 8 | 0.0012898 | 0.00032326 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4175-2_0_4_load_5 | 9 | 0.0076403 | 0.0019148 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4175-2_0_4_load_6 | 10 | 0.0037869 | 0.00094909 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4175-2_0_4_load_7 | 11 | 0.00087151 | 0.00021842 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4175-2_0_4_load_8 | 12 | 0.0016526 | 0.00041419 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4175-2_0_4_load_9 | 13 | 0.0030356 | 0.00076079 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4175-2_0_4_load_10 | 14 | 0.001092 | 0.00027367 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4175-2_0_4_load_11 | 16 | 0.0011502 | 0.00028826 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4175-2_0_4_load_32 | 17 | 0.0010877 | 0.00027259 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4175-2_0_4_load_33 | 18 | 0.0058888 | 0.0014759 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4175-2_0_4_load_38 | 19 | 0.0011051 | 0.00027697 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4175-2_0_4_load_37 | 20 | 0.0010345 | 0.00025928 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4175-2_0_4_load_12 | 21 | 0.0017133 | 0.0004294 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4175-2_0_4_load_13 | 22 | 0.0012074 | 0.00030261 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4175-2_0_4_load_14 | 23 | 0.0020165 | 0.00050538 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4175-2_0_4_load_15 | 24 | 0.0018477 | 0.00046308 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4175-2_0_4_load_16 | 25 | 0.0010752 | 0.00026946 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4175-2_0_4_load_39 | 26 | 0.0011633 | 0.00029156 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4175-2_0_4_load_17 | 27 | 0.00086765 | 0.00021745 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4175-2_0_4_load_18 | 28 | 0.0026686 | 0.0006688 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4175-2_0_4_load_19 | 29 | 0.0034629 | 0.00086788 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4175-2_0_4_load_20 | 30 | 0.0018945 | 0.0004748 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4175-2_0_4_load_47 | 33 | 0.0027883 | 0.0006988 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4175-2_0_4_load_22 | 34 | 0.0026957 | 0.0006756 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4175-2_0_4_load_23 | 35 | 0.0039402 | 0.00098751 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4175-2_0_4_load_75 | 36 | 0.0030417 | 0.00076233 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4175-2_0_4_load_42 | 37 | 0.002822 | 0.00070727 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4175-2_0_4_load_96 | 38 | 0.0028774 | 0.00072115 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4175-2_0_4_load_24 | 39 | 0.00091415 | 0.00022911 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4175-2_0_4_load_45 | 41 | 0.003829 | 0.00095965 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4175-2_0_4_load_46 | 42 | 0.0033997 | 0.00085203 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4175-2_0_4_load_48 | 43 | 0.0041464 | 0.0010392 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4175-2_0_4_load_26 | 45 | 0.00075771 | 0.0001899 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4175-2_0_4_load_28 | 46 | 0.0016799 | 0.00042102 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4175-2_0_4_load_30 | 47 | 0.003012 | 0.00075487 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4175-2_0_4_load_35 | 48 | 0.0041796 | 0.0010475 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4175-2_0_4_load_43 | 50 | 0.002703 | 0.00067743 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4175-2_0_4_load_36 | 51 | 0.0010436 | 0.00026154 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4175-2_0_4_load_41 | 52 | 0.0016613 | 0.00041636 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4175-2_0_4_load_60 | 54 | 0.0056785 | 0.0014232 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4175-2_0_4_load_56 | 55 | 0.0034998 | 0.00087713 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4175-2_0_4_load_40 | 56 | 0.0011139 | 0.00027916 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4175-2_0_4_load_108 | 58 | 0.0040793 | 0.0010224 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4175-2_0_4_load_102 | 59 | 0.0016436 | 0.00041194 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4175-2_0_4_load_97 | 60 | 0.0037115 | 0.0009302 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4175-2_0_4_load_49 | 61 | 0.00053718 | 0.00013463 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4175-2_0_4_load_50 | 62 | 0.00094615 | 0.00023713 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4175-2_0_4_load_51 | 63 | 0.0016493 | 0.00041336 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4175-2_0_4_load_52 | 64 | 0.0014072 | 0.00035267 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4175-2_0_4_load_53 | 65 | 0.00027626 | 6.9238e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4175-2_0_4_load_66 | 66 | 0.00092645 | 0.00023219 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4175-2_0_4_load_57 | 67 | 0.0045173 | 0.0011321 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4175-2_0_4_load_59 | 68 | 0.00053553 | 0.00013422 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4175-2_0_4_load_64 | 69 | 0.00065728 | 0.00016473 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4175-2_0_4_load_82 | 70 | 0.0041716 | 0.0010455 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4175-2_0_4_load_62 | 71 | 0.00091917 | 0.00023037 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4175-2_0_4_load_81 | 72 | 0.003266 | 0.00081853 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4175-2_0_4_load_61 | 73 | 0.0012886 | 0.00032296 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4175-2_0_4_load_65 | 75 | 0.0018808 | 0.00047137 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4175-2_0_4_load_68 | 76 | 0.0048369 | 0.0012122 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4175-2_0_4_load_69 | 77 | 0.0040703 | 0.0010201 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4175-2_0_4_load_70 | 78 | 0.0016588 | 0.00041573 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4175-2_0_4_load_71 | 79 | 0.0049036 | 0.001229 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4175-2_0_4_load_72 | 80 | 0.00070621 | 0.00017699 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4175-2_0_4_load_79 | 83 | 0.011166 | 0.0027985 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4175-2_0_4_load_78 | 84 | 0.0017901 | 0.00044864 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4175-2_0_4_load_76 | 85 | 0.0056119 | 0.0014065 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4175-2_0_4_load_109 | 86 | 0.00058409 | 0.00014639 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4175-2_0_4_load_77 | 87 | 0.0015901 | 0.0003985 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4175-2_0_4_load_83 | 88 | 0.00081784 | 0.00020497 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4175-2_0_4_load_84 | 89 | 0.0012754 | 0.00031964 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4175-2_0_4_load_85 | 90 | 0.0015222 | 0.0003815 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4175-2_0_4_load_86 | 91 | 0.00096208 | 0.00024112 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4175-2_0_4_load_87 | 92 | 0.0012291 | 0.00030804 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4175-2_0_4_load_89 | 94 | 0.0029281 | 0.00073386 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4175-2_0_4_load_95 | 95 | 0.0024811 | 0.00062181 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4175-2_0_4_load_92 | 96 | 0.0020717 | 0.00051922 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4175-2_0_4_load_90 | 97 | 0.0010298 | 0.0002581 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4175-2_0_4_load_101 | 98 | 0.0020006 | 0.0005014 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4175-2_0_4_load_93 | 99 | 0.0013894 | 0.00034822 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4175-2_0_4_load_91 | 100 | 0.0010952 | 0.00027449 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4175-2_0_4_load_100 | 101 | 0.0034087 | 0.00085431 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4175-2_0_4_load_99 | 102 | 0.0016325 | 0.00040914 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4175-2_0_4_load_106 | 103 | 0.0008589 | 0.00021526 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4175-2_0_4_load_104 | 104 | 0.0010139 | 0.0002541 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4175-2_0_4_load_103 | 105 | 0.00081522 | 0.00020431 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4175-2_0_4_load_98 | 106 | 0.00312 | 0.00078195 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4175-2_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0061032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4175-2_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.024812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4175-2_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.048414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4175-2_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.05397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4175-2_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.032236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4175-2_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.011624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4175-2_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0035683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4175-2_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.014262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4175-2_0_4_line_8 | NAYY 4x150 SE | 7 | 45 | 0.0042487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4175-2_0_4_line_9 | NAYY 4x150 SE | 8 | 64 | 0.017244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4175-2_0_4_line_10 | NAYY 4x150 SE | 9 | 10 | 0.0099113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4175-2_0_4_line_11 | NAYY 4x150 SE | 9 | 11 | 0.0061087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4175-2_0_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.018392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4175-2_0_4_line_13 | NAYY 4x150 SE | 11 | 13 | 0.001031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4175-2_0_4_line_14 | NAYY 4x150 SE | 12 | 14 | 0.055403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4175-2_0_4_line_15 | NAYY 4x150 SE | 13 | 15 | 0.019312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4175-2_0_4_line_16 | NAYY 4x150 SE | 14 | 16 | 0.0070564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4175-2_0_4_line_17 | NAYY 4x150 SE | 15 | 17 | 0.014812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4175-2_0_4_line_18 | NAYY 4x150 SE | 15 | 18 | 0.0061632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4175-2_0_4_line_19 | NAYY 4x150 SE | 16 | 19 | 0.0070993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4175-2_0_4_line_20 | NAYY 4x150 SE | 17 | 49 | 0.0086203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4175-2_0_4_line_21 | NAYY 4x150 SE | 18 | 50 | 0.019745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4175-2_0_4_line_22 | NAYY 4x150 SE | 19 | 20 | 0.0034958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4175-2_0_4_line_23 | NAYY 4x150 SE | 20 | 26 | 0.0036453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4175-2_0_4_line_24 | NAYY 4x150 SE | 21 | 22 | 0.037371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4175-2_0_4_line_25 | NAYY 4x150 SE | 21 | 23 | 0.0068078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4175-2_0_4_line_26 | NAYY 4x150 SE | 22 | 24 | 0.007427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4175-2_0_4_line_27 | NAYY 4x150 SE | 23 | 25 | 0.015355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4175-2_0_4_line_28 | NAYY 4x150 SE | 25 | 26 | 0.0030777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4175-2_0_4_line_29 | NAYY 4x150 SE | 27 | 28 | 0.0025327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4175-2_0_4_line_30 | NAYY 4x150 SE | 27 | 29 | 0.024413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4175-2_0_4_line_31 | NAYY 4x150 SE | 28 | 30 | 0.0045772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4175-2_0_4_line_32 | NAYY 4x150 SE | 29 | 31 | 0.0055692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4175-2_0_4_line_33 | NAYY 4x150 SE | 31 | 32 | 0.010303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4175-2_0_4_line_34 | NAYY 4x150 SE | 31 | 33 | 0.010565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4175-2_0_4_line_35 | NAYY 4x150 SE | 32 | 36 | 0.012656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_4175-2_0_4_line_36 | NAYY 4x150 SE | 32 | 37 | 0.029164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_4175-2_0_4_line_37 | NAYY 4x150 SE | 33 | 38 | 0.013114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4175-2_0_4_line_38 | NAYY 4x150 SE | 34 | 35 | 0.0096703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4175-2_0_4_line_39 | NAYY 4x150 SE | 35 | 39 | 0.015285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4175-2_0_4_line_40 | NAYY 4x150 SE | 36 | 57 | 0.0081518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_4175-2_0_4_line_41 | NAYY 4x150 SE | 37 | 56 | 0.00068361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4175-2_0_4_line_42 | NAYY 4x150 SE | 38 | 60 | 0.00025503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4175-2_0_4_line_43 | NAYY 4x150 SE | 39 | 40 | 0.00073979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4175-2_0_4_line_44 | NAYY 4x150 SE | 40 | 41 | 0.0062385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4175-2_0_4_line_45 | NAYY 4x150 SE | 40 | 42 | 0.011577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4175-2_0_4_line_46 | NAYY 4x150 SE | 41 | 43 | 0.028368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4175-2_0_4_line_47 | NAYY 4x150 SE | 42 | 44 | 0.010571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4175-2_0_4_line_48 | NAYY 4x150 SE | 44 | 58 | 0.020881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4175-2_0_4_line_49 | NAYY 4x150 SE | 44 | 59 | 0.023412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4175-2_0_4_line_50 | NAYY 4x150 SE | 45 | 46 | 0.010306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4175-2_0_4_line_51 | NAYY 4x150 SE | 46 | 47 | 0.0023448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4175-2_0_4_line_52 | NAYY 4x150 SE | 47 | 48 | 0.0046552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4175-2_0_4_line_53 | NAYY 4x150 SE | 48 | 49 | 0.01977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4175-2_0_4_line_54 | NAYY 4x150 SE | 49 | 51 | 0.023745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4175-2_0_4_line_55 | NAYY 4x150 SE | 50 | 52 | 0.00093782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4175-2_0_4_line_56 | NAYY 4x150 SE | 51 | 53 | 0.01029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4175-2_0_4_line_57 | NAYY 4x150 SE | 52 | 56 | 0.0083341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4175-2_0_4_line_58 | NAYY 4x150 SE | 53 | 54 | 0.01836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4175-2_0_4_line_59 | NAYY 4x150 SE | 53 | 55 | 0.017527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4175-2_0_4_line_60 | NAYY 4x150 SE | 54 | 70 | 0.0035309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4175-2_0_4_line_61 | NAYY 4x150 SE | 55 | 67 | 0.0042174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4175-2_0_4_line_62 | NAYY 4x150 SE | 57 | 82 | 0.033537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4175-2_0_4_line_63 | NAYY 4x150 SE | 57 | 79 | 0.030274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4175-2_0_4_line_64 | NAYY 4x150 SE | 59 | 98 | 0.014974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4175-2_0_4_line_65 | NAYY 4x150 SE | 60 | 106 | 0.0085071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4175-2_0_4_line_66 | NAYY 4x150 SE | 61 | 62 | 0.017107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4175-2_0_4_line_67 | NAYY 4x150 SE | 61 | 63 | 0.01009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4175-2_0_4_line_68 | NAYY 4x150 SE | 62 | 64 | 0.02759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4175-2_0_4_line_69 | NAYY 4x150 SE | 63 | 65 | 0.0005509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4175-2_0_4_line_70 | NAYY 4x150 SE | 65 | 66 | 0.019855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4175-2_0_4_line_71 | NAYY 4x150 SE | 67 | 68 | 0.024071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4175-2_0_4_line_72 | NAYY 4x150 SE | 68 | 69 | 0.017112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4175-2_0_4_line_73 | NAYY 4x150 SE | 69 | 71 | 0.0035927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4175-2_0_4_line_74 | NAYY 4x150 SE | 70 | 72 | 0.004537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4175-2_0_4_line_75 | NAYY 4x150 SE | 71 | 73 | 0.024925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4175-2_0_4_line_76 | NAYY 4x150 SE | 72 | 88 | 0.014411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4175-2_0_4_line_77 | NAYY 4x150 SE | 73 | 74 | 0.01103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4175-2_0_4_line_78 | NAYY 4x150 SE | 74 | 75 | 0.0079934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4175-2_0_4_line_79 | NAYY 4x150 SE | 76 | 77 | 0.035101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4175-2_0_4_line_80 | NAYY 4x150 SE | 76 | 78 | 0.0045392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4175-2_0_4_line_81 | NAYY 4x150 SE | 77 | 79 | 0.024593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4175-2_0_4_line_82 | NAYY 4x150 SE | 78 | 80 | 0.027897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4175-2_0_4_line_83 | NAYY 4x150 SE | 80 | 81 | 0.0192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4175-2_0_4_line_84 | NAYY 4x150 SE | 81 | 83 | 0.055334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4175-2_0_4_line_85 | NAYY 4x150 SE | 82 | 84 | 0.023326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4175-2_0_4_line_86 | NAYY 4x150 SE | 82 | 85 | 0.022087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4175-2_0_4_line_87 | NAYY 4x150 SE | 84 | 86 | 0.029395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4175-2_0_4_line_88 | NAYY 4x150 SE | 85 | 87 | 0.030918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4175-2_0_4_line_89 | NAYY 4x150 SE | 88 | 89 | 0.0054624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4175-2_0_4_line_90 | NAYY 4x150 SE | 90 | 91 | 0.0044172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4175-2_0_4_line_91 | NAYY 4x150 SE | 90 | 92 | 0.019565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4175-2_0_4_line_92 | NAYY 4x150 SE | 91 | 93 | 0.01573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4175-2_0_4_line_93 | NAYY 4x150 SE | 92 | 94 | 0.00024621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4175-2_0_4_line_94 | NAYY 4x150 SE | 93 | 95 | 0.0086611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4175-2_0_4_line_95 | NAYY 4x150 SE | 93 | 96 | 0.010807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4175-2_0_4_line_96 | NAYY 4x150 SE | 94 | 97 | 0.0070432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4175-2_0_4_line_97 | NAYY 4x150 SE | 95 | 98 | 0.0025247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4175-2_0_4_line_98 | NAYY 4x150 SE | 96 | 99 | 0.013053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4175-2_0_4_line_99 | NAYY 4x150 SE | 97 | 100 | 0.0061094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_4175-2_0_4_line_100 | NAYY 4x150 SE | 99 | 103 | 0.054269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_4175-2_0_4_line_101 | NAYY 4x150 SE | 100 | 101 | 0.0031594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_4175-2_0_4_line_102 | NAYY 4x150 SE | 101 | 102 | 0.0022706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_4175-2_0_4_line_103 | NAYY 4x150 SE | 102 | 106 | 0.014597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_4175-2_0_4_line_104 | NAYY 4x150 SE | 103 | 104 | 0.010623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_4175-2_0_4_line_105 | NAYY 4x150 SE | 104 | 105 | 0.021119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4175-2_0_4_trafo_73 | 0.25 MVA 20/0.4 kV | 107 | 57 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2643366.8602 | 1263360.8858 | 2643360.7723 | 1263360.4541
1 | 2643366.8602 | 1263360.8858 | 2643375.1974 | 1263346.6367 | 2643379.3928 | 1263339.4512
2 | 2643366.8602 | 1263360.8858 | 2643388.8541 | 1263361.9255 | 2643407.2367 | 1263362.3939 | 2643415.3613 | 1263361.7308
3 | 2643379.3928 | 1263339.4512 | 2643402.6275 | 1263299.7155 | 2643406.9424 | 1263293.0507
4 | 2643415.3613 | 1263361.7308 | 2643423.2849 | 1263356.6409 | 2643439.5248 | 1263346.3193 | 2643442.8525 | 1263345.0094
5 | 2643415.3613 | 1263361.7308 | 2643413.0482 | 1263373.1219
6 | 2643442.8525 | 1263345.0094 | 2643446.1727 | 1263343.7025
7 | 2643405.7532 | 1263385.3772 | 2643406.0781 | 1263384.7902 | 2643413.0482 | 1263373.1219
8 | 2643450.229 | 1263342.5119 | 2643448.3706 | 1263342.8373 | 2643446.1727 | 1263343.7025
9 | 2643405.7532 | 1263385.3772 | 2643397.4021 | 1263400.4645
10 | 2643501.66 | 1263292.3225 | 2643501.5241 | 1263290.7796 | 2643500.4242 | 1263285.6901 | 2643499.233 | 1263282.7681 | 2643499.233 | 1263282.7681
11 | 2643501.66 | 1263292.3225 | 2643502.1958 | 1263298.4077
12 | 2643499.233 | 1263282.7681 | 2643489.2099 | 1263271.164 | 2643487.3679 | 1263268.7218
13 | 2643502.2763 | 1263299.4354 | 2643502.254 | 1263299.0686 | 2643502.1958 | 1263298.4077
14 | 2643509.4572 | 1263231.6745 | 2643486.2059 | 1263244.3451 | 2643482.4189 | 1263248.1978 | 2643480.1684 | 1263252.0729 | 2643479.8171 | 1263255.8063 | 2643480.4225 | 1263259.5134 | 2643487.3679 | 1263268.7218
15 | 2643502.3204 | 1263318.7164 | 2643502.8452 | 1263308.8132 | 2643502.2763 | 1263299.4354
16 | 2643509.4572 | 1263231.6745 | 2643515.6533 | 1263228.298
17 | 2643502.3204 | 1263318.7164 | 2643496.0901 | 1263325.0196 | 2643492.2826 | 1263329.5909
18 | 2643502.3204 | 1263318.7164 | 2643508.124 | 1263316.6417
19 | 2643515.6533 | 1263228.298 | 2643521.8871 | 1263224.9009
20 | 2643486.7657 | 1263336.2146 | 2643492.2826 | 1263329.5909
21 | 2643508.124 | 1263316.6417 | 2643516.0653 | 1263313.8028 | 2643527.3735 | 1263313.5292
22 | 2643524.9567 | 1263223.2282 | 2643521.8871 | 1263224.9009
23 | 2643524.9567 | 1263223.2282 | 2643528.1576 | 1263221.4839
24 | 2643550.3204 | 1263209.4052 | 2643552.0164 | 1263208.4812 | 2643565.9201 | 1263198.3985 | 2643572.5861 | 1263193.3106 | 2643577.987 | 1263188.169 | 2643579.6211 | 1263186.381
25 | 2643544.3423 | 1263212.6622 | 2643550.3204 | 1263209.4052
26 | 2643584.6315 | 1263180.8987 | 2643579.6211 | 1263186.381
27 | 2643544.3423 | 1263212.6622 | 2643538.948 | 1263215.6012 | 2643531.4836 | 1263219.6714 | 2643530.86 | 1263220.0112
28 | 2643528.1576 | 1263221.4839 | 2643530.86 | 1263220.0112
29 | 2643595.691 | 1263286.4819 | 2643597.3648 | 1263284.5811
30 | 2643579.5572 | 1263304.8041 | 2643595.691 | 1263286.4819
31 | 2643600.9856 | 1263281.797 | 2643597.6768 | 1263284.2268 | 2643597.3648 | 1263284.5811
32 | 2643575.8767 | 1263308.9839 | 2643579.5572 | 1263304.8041
33 | 2643566.4908 | 1263313.1733 | 2643569.2936 | 1263312.0376 | 2643572.8425 | 1263310.8518 | 2643575.8767 | 1263308.9839
34 | 2643575.8767 | 1263308.9839 | 2643579.1026 | 1263311.7652 | 2643583.989 | 1263315.7503
35 | 2643566.4908 | 1263313.1733 | 2643565.8983 | 1263325.8158
36 | 2643566.4908 | 1263313.1733 | 2643537.3284 | 1263313.4268
37 | 2643583.989 | 1263315.7503 | 2643585.7064 | 1263317.151 | 2643595.6248 | 1263321.6661
38 | 2643622.8377 | 1263266.488 | 2643631.0283 | 1263261.3471
39 | 2643643.9745 | 1263253.2213 | 2643631.0283 | 1263261.3471
40 | 2643565.5167 | 1263333.9587 | 2643565.8983 | 1263325.8158
41 | 2643537.3284 | 1263313.4268 | 2643536.6448 | 1263313.4327
42 | 2643595.6248 | 1263321.6661 | 2643595.8569 | 1263321.7717
43 | 2643643.9745 | 1263253.2213 | 2643644.6011 | 1263252.828
44 | 2643644.6011 | 1263252.828 | 2643649.7943 | 1263249.3711
45 | 2643644.6011 | 1263252.828 | 2643651.1868 | 1263262.3496
46 | 2643649.7943 | 1263249.3711 | 2643658.5442 | 1263243.5465 | 2643673.2685 | 1263233.4443
47 | 2643657.2266 | 1263271.023 | 2643657.0697 | 1263270.855 | 2643651.1868 | 1263262.3496
48 | 2643677.0045 | 1263270.2683 | 2643666.7475 | 1263274.0732 | 2643657.2266 | 1263271.023
49 | 2643657.2266 | 1263271.023 | 2643660.8659 | 1263274.9415 | 2643669.7755 | 1263290.6553
50 | 2643460.3807 | 1263340.7339 | 2643450.229 | 1263342.5119
51 | 2643460.3807 | 1263340.7339 | 2643462.6903 | 1263340.3295
52 | 2643462.6903 | 1263340.3295 | 2643467.2758 | 1263339.5264
53 | 2643486.7657 | 1263336.2146 | 2643476.0947 | 1263337.9819 | 2643467.2758 | 1263339.5264
54 | 2643486.7657 | 1263336.2146 | 2643489.7051 | 1263343.1411 | 2643492.7143 | 1263352.859 | 2643493.0591 | 1263358.8961
55 | 2643528.311 | 1263313.5065 | 2643527.3735 | 1263313.5292
56 | 2643491.0687 | 1263368.7138 | 2643493.3216 | 1263363.4933 | 2643493.0591 | 1263358.8961
57 | 2643536.6448 | 1263313.4327 | 2643528.3978 | 1263313.5044 | 2643528.311 | 1263313.5065
58 | 2643491.0687 | 1263368.7138 | 2643508.192 | 1263370.4075 | 2643509.3437 | 1263370.4688
59 | 2643491.0687 | 1263368.7138 | 2643484.1262 | 1263384.8076
60 | 2643512.8696 | 1263370.6565 | 2643509.3437 | 1263370.4688
61 | 2643484.1262 | 1263384.8076 | 2643484.018 | 1263389.0236
62 | 2643565.5167 | 1263333.9587 | 2643588.1414 | 1263358.7763
63 | 2643565.5167 | 1263333.9587 | 2643563.5346 | 1263344.3404 | 2643564.324 | 1263362.9484 | 2643564.3342 | 1263364.0288
64 | 2643669.7755 | 1263290.6553 | 2643673.3947 | 1263297.0385 | 2643673.7754 | 1263304.6647
65 | 2643603.6518 | 1263325.1732 | 2643601.2235 | 1263324.2147 | 2643595.8569 | 1263321.7717
66 | 2643379.8734 | 1263441.3273 | 2643379.8734 | 1263441.3273 | 2643384.7353 | 1263424.9256
67 | 2643379.8734 | 1263441.3273 | 2643379.3035 | 1263451.4017
68 | 2643384.7353 | 1263424.9256 | 2643385.3723 | 1263422.7766 | 2643394.3152 | 1263406.0414 | 2643397.4021 | 1263400.4645
69 | 2643379.3035 | 1263451.4017 | 2643379.2724 | 1263451.9517
70 | 2643379.2724 | 1263451.9517 | 2643378.2551 | 1263469.9358 | 2643378.1765 | 1263471.776
71 | 2643484.018 | 1263389.0236 | 2643483.894 | 1263393.8568 | 2643485.0716 | 1263400.6814 | 2643484.7904 | 1263412.9893
72 | 2643484.3997 | 1263430.0964 | 2643484.7904 | 1263412.9893
73 | 2643484.3997 | 1263430.0964 | 2643484.3176 | 1263433.6881
74 | 2643517.4002 | 1263370.8978 | 2643512.8696 | 1263370.6565
75 | 2643484.3445 | 1263458.6089 | 2643484.0942 | 1263443.4713 | 2643484.3176 | 1263433.6881
76 | 2643517.4002 | 1263370.8978 | 2643517.4002 | 1263370.8978 | 2643529.0701 | 1263379.3529
77 | 2643484.527 | 1263469.6376 | 2643484.3445 | 1263458.6089
78 | 2643484.527 | 1263469.6376 | 2643484.5635 | 1263471.8394 | 2643484.2289 | 1263477.621
79 | 2643560.6808 | 1263423.4709 | 2643560.9159 | 1263408.4335 | 2643563.6816 | 1263388.5636
80 | 2643560.6808 | 1263423.4709 | 2643560.6099 | 1263428.0095
81 | 2643564.3342 | 1263364.0288 | 2643564.5106 | 1263382.6082 | 2643563.6816 | 1263388.5636
82 | 2643561.2115 | 1263455.8519 | 2643561.7671 | 1263446.2556 | 2643560.6025 | 1263428.4788 | 2643560.6099 | 1263428.0095
83 | 2643560.1016 | 1263475.0194 | 2643561.2115 | 1263455.8519
84 | 2643560.1016 | 1263475.0194 | 2643559.2133 | 1263485.1867 | 2643557.3806 | 1263491.6445 | 2643551.5115 | 1263495.96 | 2643525.9963 | 1263502.6771 | 2643521.6782 | 1263504.6465
85 | 2643588.1414 | 1263358.7763 | 2643606.6476 | 1263359.8467 | 2643611.3585 | 1263360.7098
86 | 2643588.1414 | 1263358.7763 | 2643594.1196 | 1263380.0385
87 | 2643638.7528 | 1263370.477 | 2643624.3545 | 1263363.0906 | 2643611.3585 | 1263360.7098
88 | 2643594.1196 | 1263380.0385 | 2643599.6795 | 1263399.8127 | 2643605.5526 | 1263408.3676
89 | 2643533.4935 | 1263382.5577 | 2643529.0701 | 1263379.3529
90 | 2643654.6071 | 1263317.7498 | 2643658.8928 | 1263316.6801
91 | 2643654.6071 | 1263317.7498 | 2643651.1961 | 1263318.6013 | 2643635.9599 | 1263323.6442
92 | 2643674.333 | 1263315.8366 | 2643666.296 | 1263314.8322 | 2643658.8928 | 1263316.6801
93 | 2643635.7262 | 1263323.7215 | 2643635.9599 | 1263323.6442
94 | 2643674.333 | 1263315.8366 | 2643673.9012 | 1263307.1863
95 | 2643674.333 | 1263315.8366 | 2643679.8566 | 1263316.5223 | 2643684.8536 | 1263318.1043
96 | 2643635.7262 | 1263323.7215 | 2643629.0397 | 1263325.9346
97 | 2643673.9012 | 1263307.1863 | 2643673.7754 | 1263304.6647
98 | 2643684.8536 | 1263318.1043 | 2643690.2494 | 1263319.8125 | 2643696.6527 | 1263323.509
99 | 2643623.0455 | 1263326.949 | 2643627.3058 | 1263326.5085 | 2643629.0397 | 1263325.9346
100 | 2643696.6527 | 1263323.509 | 2643732.1787 | 1263282.4844
101 | 2643619.9029 | 1263327.2738 | 2643623.0455 | 1263326.949
102 | 2643617.6443 | 1263327.5073 | 2643619.9029 | 1263327.2738
103 | 2643603.6518 | 1263325.1732 | 2643611.2423 | 1263328.1691 | 2643617.6443 | 1263327.5073
104 | 2643732.1787 | 1263282.4844 | 2643742.4437 | 1263279.7479
105 | 2643762.8497 | 1263274.3079 | 2643742.4437 | 1263279.7479

## bus_geodata
| x | y | coords
0 | 2643360.7723 | 1263360.4541
1 | 2643366.8602 | 1263360.8858
2 | 2643379.3928 | 1263339.4512
3 | 2643415.3613 | 1263361.7308
4 | 2643406.9424 | 1263293.0507
5 | 2643442.8525 | 1263345.0094
6 | 2643413.0482 | 1263373.1219
7 | 2643446.1727 | 1263343.7025
8 | 2643405.7532 | 1263385.3772
9 | 2643501.66 | 1263292.3225
10 | 2643499.233 | 1263282.7681
11 | 2643502.1958 | 1263298.4077
12 | 2643487.3679 | 1263268.7218
13 | 2643502.2763 | 1263299.4354
14 | 2643509.4572 | 1263231.6745
15 | 2643502.3204 | 1263318.7164
16 | 2643515.6533 | 1263228.298
17 | 2643492.2826 | 1263329.5909
18 | 2643508.124 | 1263316.6417
19 | 2643521.8871 | 1263224.9009
20 | 2643524.9567 | 1263223.2282
21 | 2643550.3204 | 1263209.4052
22 | 2643579.6211 | 1263186.381
23 | 2643544.3423 | 1263212.6622
24 | 2643584.6315 | 1263180.8987
25 | 2643530.86 | 1263220.0112
26 | 2643528.1576 | 1263221.4839
27 | 2643595.691 | 1263286.4819
28 | 2643597.3648 | 1263284.5811
29 | 2643579.5572 | 1263304.8041
30 | 2643600.9856 | 1263281.797
31 | 2643575.8767 | 1263308.9839
32 | 2643566.4908 | 1263313.1733
33 | 2643583.989 | 1263315.7503
34 | 2643622.8377 | 1263266.488
35 | 2643631.0283 | 1263261.3471
36 | 2643565.8983 | 1263325.8158
37 | 2643537.3284 | 1263313.4268
38 | 2643595.6248 | 1263321.6661
39 | 2643643.9745 | 1263253.2213
40 | 2643644.6011 | 1263252.828
41 | 2643649.7943 | 1263249.3711
42 | 2643651.1868 | 1263262.3496
43 | 2643673.2685 | 1263233.4443
44 | 2643657.2266 | 1263271.023
45 | 2643450.229 | 1263342.5119
46 | 2643460.3807 | 1263340.7339
47 | 2643462.6903 | 1263340.3295
48 | 2643467.2758 | 1263339.5264
49 | 2643486.7657 | 1263336.2146
50 | 2643527.3735 | 1263313.5292
51 | 2643493.0591 | 1263358.8961
52 | 2643528.311 | 1263313.5065
53 | 2643491.0687 | 1263368.7138
54 | 2643509.3437 | 1263370.4688
55 | 2643484.1262 | 1263384.8076
56 | 2643536.6448 | 1263313.4327
57 | 2643565.5167 | 1263333.9587
58 | 2643677.0045 | 1263270.2683
59 | 2643669.7755 | 1263290.6553
60 | 2643595.8569 | 1263321.7717
61 | 2643379.8734 | 1263441.3273
62 | 2643384.7353 | 1263424.9256
63 | 2643379.3035 | 1263451.4017
64 | 2643397.4021 | 1263400.4645
65 | 2643379.2724 | 1263451.9517
66 | 2643378.1765 | 1263471.776
67 | 2643484.018 | 1263389.0236
68 | 2643484.7904 | 1263412.9893
69 | 2643484.3997 | 1263430.0964
70 | 2643512.8696 | 1263370.6565
71 | 2643484.3176 | 1263433.6881
72 | 2643517.4002 | 1263370.8978
73 | 2643484.3445 | 1263458.6089
74 | 2643484.527 | 1263469.6376
75 | 2643484.2289 | 1263477.621
76 | 2643560.6808 | 1263423.4709
77 | 2643563.6816 | 1263388.5636
78 | 2643560.6099 | 1263428.0095
79 | 2643564.3342 | 1263364.0288
80 | 2643561.2115 | 1263455.8519
81 | 2643560.1016 | 1263475.0194
82 | 2643588.1414 | 1263358.7763
83 | 2643521.6782 | 1263504.6465
84 | 2643611.3585 | 1263360.7098
85 | 2643594.1196 | 1263380.0385
86 | 2643638.7528 | 1263370.477
87 | 2643605.5526 | 1263408.3676
88 | 2643529.0701 | 1263379.3529
89 | 2643533.4935 | 1263382.5577
90 | 2643654.6071 | 1263317.7498
91 | 2643658.8928 | 1263316.6801
92 | 2643635.9599 | 1263323.6442
93 | 2643674.333 | 1263315.8366
94 | 2643635.7262 | 1263323.7215
95 | 2643673.9012 | 1263307.1863
96 | 2643684.8536 | 1263318.1043
97 | 2643629.0397 | 1263325.9346
98 | 2643673.7754 | 1263304.6647
99 | 2643696.6527 | 1263323.509
100 | 2643623.0455 | 1263326.949
101 | 2643619.9029 | 1263327.2738
102 | 2643617.6443 | 1263327.5073
103 | 2643732.1787 | 1263282.4844
104 | 2643742.4437 | 1263279.7479
105 | 2643762.8497 | 1263274.3079
106 | 2643603.6518 | 1263325.1732
107 | 2643566.4908 | 1263313.1733

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1