## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4176-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4176-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4176-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4176-1_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4176-1_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_4176-1_0_2_node_97 | 0.4 | n |  | TRUE
6 | bus_LV_4176-1_0_2_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_4176-1_0_2_node_95 | 0.4 | n |  | TRUE
8 | bus_LV_4176-1_0_2_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_4176-1_0_2_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_4176-1_0_2_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_4176-1_0_2_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4176-1_0_2_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_4176-1_0_2_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_4176-1_0_2_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_4176-1_0_2_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_4176-1_0_2_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_4176-1_0_2_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_4176-1_0_2_node_33 | 0.4 | n |  | TRUE
19 | bus_LV_4176-1_0_2_node_36 | 0.4 | n |  | TRUE
20 | bus_LV_4176-1_0_2_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_4176-1_0_2_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_4176-1_0_2_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_4176-1_0_2_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_4176-1_0_2_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_4176-1_0_2_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_4176-1_0_2_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_4176-1_0_2_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_4176-1_0_2_node_63 | 0.4 | n |  | TRUE
29 | bus_LV_4176-1_0_2_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_4176-1_0_2_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_4176-1_0_2_node_64 | 0.4 | n |  | TRUE
32 | bus_LV_4176-1_0_2_node_74 | 0.4 | n |  | TRUE
33 | bus_LV_4176-1_0_2_node_76 | 0.4 | n |  | TRUE
34 | bus_LV_4176-1_0_2_node_72 | 0.4 | n |  | TRUE
35 | bus_LV_4176-1_0_2_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_4176-1_0_2_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_4176-1_0_2_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_4176-1_0_2_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_4176-1_0_2_node_75 | 0.4 | n |  | TRUE
40 | bus_LV_4176-1_0_2_node_73 | 0.4 | n |  | TRUE
41 | bus_LV_4176-1_0_2_node_96 | 0.4 | n |  | TRUE
42 | bus_LV_4176-1_0_2_node_103 | 0.4 | n |  | TRUE
43 | bus_LV_4176-1_0_2_node_100 | 0.4 | n |  | TRUE
44 | bus_LV_4176-1_0_2_node_102 | 0.4 | n |  | TRUE
45 | bus_LV_4176-1_0_2_node_98 | 0.4 | n |  | TRUE
46 | bus_LV_4176-1_0_2_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_4176-1_0_2_node_99 | 0.4 | n |  | TRUE
48 | bus_LV_4176-1_0_2_node_101 | 0.4 | n |  | TRUE
49 | bus_LV_4176-1_0_2_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_4176-1_0_2_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_4176-1_0_2_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_4176-1_0_2_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_4176-1_0_2_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_4176-1_0_2_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_4176-1_0_2_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_4176-1_0_2_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_4176-1_0_2_node_77 | 0.4 | n |  | TRUE
58 | bus_LV_4176-1_0_2_node_78 | 0.4 | n |  | TRUE
59 | bus_LV_4176-1_0_2_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_4176-1_0_2_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_4176-1_0_2_node_41 | 0.4 | n |  | TRUE
62 | bus_LV_4176-1_0_2_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_4176-1_0_2_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_4176-1_0_2_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_4176-1_0_2_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_4176-1_0_2_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_4176-1_0_2_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_4176-1_0_2_node_49 | 0.4 | n |  | TRUE
69 | bus_LV_4176-1_0_2_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_4176-1_0_2_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_4176-1_0_2_node_54 | 0.4 | n |  | TRUE
72 | bus_LV_4176-1_0_2_node_53 | 0.4 | n |  | TRUE
73 | bus_LV_4176-1_0_2_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_4176-1_0_2_node_51 | 0.4 | n |  | TRUE
75 | bus_LV_4176-1_0_2_node_52 | 0.4 | n |  | TRUE
76 | bus_LV_4176-1_0_2_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_4176-1_0_2_node_58 | 0.4 | n |  | TRUE
78 | bus_LV_4176-1_0_2_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_4176-1_0_2_node_65 | 0.4 | n |  | TRUE
80 | bus_LV_4176-1_0_2_node_89 | 0.4 | n |  | TRUE
81 | bus_LV_4176-1_0_2_node_86 | 0.4 | n |  | TRUE
82 | bus_LV_4176-1_0_2_node_91 | 0.4 | n |  | TRUE
83 | bus_LV_4176-1_0_2_node_90 | 0.4 | n |  | TRUE
84 | bus_LV_4176-1_0_2_node_70 | 0.4 | n |  | TRUE
85 | bus_LV_4176-1_0_2_node_66 | 0.4 | n |  | TRUE
86 | bus_LV_4176-1_0_2_node_67 | 0.4 | n |  | TRUE
87 | bus_LV_4176-1_0_2_node_68 | 0.4 | n |  | TRUE
88 | bus_LV_4176-1_0_2_node_69 | 0.4 | n |  | TRUE
89 | bus_LV_4176-1_0_2_node_71 | 0.4 | n |  | TRUE
90 | bus_LV_4176-1_0_2_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_4176-1_0_2_node_92 | 0.4 | n |  | TRUE
92 | bus_LV_4176-1_0_2_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_4176-1_0_2_node_93 | 0.4 | n |  | TRUE
94 | bus_LV_4176-1_0_2_node_79 | 0.4 | n |  | TRUE
95 | bus_LV_4176-1_0_2_node_84 | 0.4 | n |  | TRUE
96 | bus_LV_4176-1_0_2_node_83 | 0.4 | n |  | TRUE
97 | bus_LV_4176-1_0_2_node_80 | 0.4 | n |  | TRUE
98 | bus_LV_4176-1_0_2_node_82 | 0.4 | n |  | TRUE
99 | bus_LV_4176-1_0_2_node_81 | 0.4 | n |  | TRUE
100 | bus_LV_4176-1_0_2_node_85 | 0.4 | n |  | TRUE
101 | bus_LV_4176-1_0_2_node_94 | 0.4 | n |  | TRUE
102 | bus_MV_302_0_node_103 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4176-1_0_2_load_0 | 0 | 0.0024925 | 0.00062468 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4176-1_0_2_load_4 | 3 | 0.0012019 | 0.00030121 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4176-1_0_2_load_5 | 4 | 0.00050234 | 0.0001259 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4176-1_0_2_load_97 | 5 | 0.0025366 | 0.00063573 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4176-1_0_2_load_22 | 8 | 0.00069425 | 0.000174 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4176-1_0_2_load_24 | 9 | 0.0015767 | 0.00039517 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4176-1_0_2_load_20 | 10 | 0.00099043 | 0.00024823 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4176-1_0_2_load_7 | 11 | 0.0013323 | 0.00033391 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4176-1_0_2_load_6 | 12 | 0.00047343 | 0.00011865 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4176-1_0_2_load_9 | 13 | 0.0036579 | 0.00091675 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4176-1_0_2_load_10 | 14 | 0.0028359 | 0.00071074 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4176-1_0_2_load_12 | 16 | 0.0037488 | 0.00093954 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4176-1_0_2_load_13 | 17 | 0.0013386 | 0.00033548 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4176-1_0_2_load_36 | 19 | 0.0024507 | 0.00061419 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4176-1_0_2_load_14 | 21 | 0.0037143 | 0.0009309 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4176-1_0_2_load_15 | 22 | 0.0016902 | 0.00042359 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4176-1_0_2_load_16 | 23 | 0.00077103 | 0.00019324 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4176-1_0_2_load_17 | 24 | 0.0023379 | 0.00058593 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4176-1_0_2_load_19 | 26 | 0.0039497 | 0.00098988 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4176-1_0_2_load_25 | 27 | 0.0010551 | 0.00026444 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4176-1_0_2_load_63 | 28 | 0.0031115 | 0.00077982 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4176-1_0_2_load_31 | 29 | 0.00063203 | 0.0001584 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4176-1_0_2_load_26 | 30 | 0.0017814 | 0.00044647 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4176-1_0_2_load_64 | 31 | 0.0039212 | 0.00098275 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4176-1_0_2_load_74 | 32 | 0.0022489 | 0.00056362 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4176-1_0_2_load_76 | 33 | 0.0014875 | 0.0003728 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4176-1_0_2_load_72 | 34 | 0.0011921 | 0.00029877 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4176-1_0_2_load_21 | 35 | 0.0013907 | 0.00034855 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4176-1_0_2_load_23 | 36 | 0.0015311 | 0.00038372 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4176-1_0_2_load_27 | 37 | 0.0019575 | 0.0004906 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4176-1_0_2_load_29 | 38 | 0.001772 | 0.00044409 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4176-1_0_2_load_75 | 39 | 0.002876 | 0.00072081 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4176-1_0_2_load_73 | 40 | 0.0019811 | 0.00049651 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4176-1_0_2_load_96 | 41 | 0.0024592 | 0.00061633 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4176-1_0_2_load_103 | 42 | 0.0023288 | 0.00058366 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4176-1_0_2_load_100 | 43 | 0.0024714 | 0.00061939 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4176-1_0_2_load_102 | 44 | 0.0019653 | 0.00049256 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4176-1_0_2_load_98 | 45 | 0.00099564 | 0.00024953 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4176-1_0_2_load_30 | 46 | 0.0015023 | 0.00037652 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4176-1_0_2_load_99 | 47 | 0.0011407 | 0.00028588 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4176-1_0_2_load_101 | 48 | 0.0014055 | 0.00035225 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4176-1_0_2_load_32 | 49 | 0.0015886 | 0.00039813 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4176-1_0_2_load_39 | 50 | 0.0022992 | 0.00057625 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4176-1_0_2_load_40 | 51 | 0.0020153 | 0.00050508 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4176-1_0_2_load_34 | 53 | 0.00095103 | 0.00023835 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4176-1_0_2_load_35 | 54 | 0.00096157 | 0.00024099 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4176-1_0_2_load_60 | 55 | 0.0011229 | 0.00028143 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4176-1_0_2_load_59 | 56 | 0.00239 | 0.000599 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4176-1_0_2_load_77 | 57 | 0.00091863 | 0.00023023 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4176-1_0_2_load_78 | 58 | 0.00079277 | 0.00019869 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4176-1_0_2_load_38 | 59 | 0.0067516 | 0.0016921 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4176-1_0_2_load_42 | 60 | 0.0024874 | 0.0006234 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4176-1_0_2_load_41 | 61 | 0.0024886 | 0.0006237 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4176-1_0_2_load_43 | 62 | 0.0051172 | 0.0012825 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4176-1_0_2_load_44 | 63 | 0.0024874 | 0.0006234 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4176-1_0_2_load_45 | 64 | 0.0040085 | 0.0010046 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4176-1_0_2_load_46 | 65 | 0.0013942 | 0.00034943 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4176-1_0_2_load_47 | 66 | 0.0020899 | 0.00052378 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4176-1_0_2_load_50 | 69 | 0.0010856 | 0.00027208 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4176-1_0_2_load_56 | 70 | 0.0019122 | 0.00047925 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4176-1_0_2_load_54 | 71 | 0.0021397 | 0.00053625 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4176-1_0_2_load_53 | 72 | 0.00191 | 0.0004787 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4176-1_0_2_load_51 | 74 | 0.0014644 | 0.00036702 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4176-1_0_2_load_52 | 75 | 0.0021363 | 0.00053542 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4176-1_0_2_load_58 | 77 | 0.0016512 | 0.00041382 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4176-1_0_2_load_61 | 78 | 0.002026 | 0.00050776 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4176-1_0_2_load_65 | 79 | 0.004776 | 0.001197 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4176-1_0_2_load_89 | 80 | 0.0022492 | 0.00056371 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4176-1_0_2_load_86 | 81 | 0.0059934 | 0.0015021 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4176-1_0_2_load_70 | 84 | 0.0042185 | 0.0010573 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4176-1_0_2_load_66 | 85 | 0.0018636 | 0.00046705 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4176-1_0_2_load_67 | 86 | 0.0020196 | 0.00050615 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4176-1_0_2_load_69 | 88 | 0.0017367 | 0.00043527 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4176-1_0_2_load_71 | 89 | 0.0040832 | 0.0010234 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4176-1_0_2_load_87 | 90 | 0.0026266 | 0.00065828 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4176-1_0_2_load_92 | 91 | 0.0035088 | 0.00087938 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4176-1_0_2_load_88 | 92 | 0.0060852 | 0.0015251 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4176-1_0_2_load_93 | 93 | 0.0013903 | 0.00034843 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4176-1_0_2_load_79 | 94 | 0.002148 | 0.00053834 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4176-1_0_2_load_84 | 95 | 0.0010116 | 0.00025354 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4176-1_0_2_load_83 | 96 | 0.00046889 | 0.00011752 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4176-1_0_2_load_80 | 97 | 0.0013977 | 0.0003503 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4176-1_0_2_load_82 | 98 | 0.0019831 | 0.00049702 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4176-1_0_2_load_81 | 99 | 0.00053679 | 0.00013453 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4176-1_0_2_load_85 | 100 | 0.0022786 | 0.00057106 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4176-1_0_2_load_94 | 101 | 0.0023555 | 0.00059035 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4176-1_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.023968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4176-1_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.015508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4176-1_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.040201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4176-1_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.019212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4176-1_0_2_line_4 | NAYY 4x150 SE | 3 | 6 | 0.026165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4176-1_0_2_line_5 | NAYY 4x150 SE | 4 | 11 | 0.013721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4176-1_0_2_line_6 | NAYY 4x150 SE | 5 | 6 | 0.44175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4176-1_0_2_line_7 | NAYY 4x150 SE | 5 | 7 | 0.039298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4176-1_0_2_line_8 | NAYY 4x150 SE | 7 | 41 | 0.019945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4176-1_0_2_line_9 | NAYY 4x150 SE | 7 | 39 | 0.016144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4176-1_0_2_line_10 | NAYY 4x150 SE | 8 | 9 | 0.0051854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4176-1_0_2_line_11 | NAYY 4x150 SE | 8 | 10 | 0.034945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4176-1_0_2_line_12 | NAYY 4x150 SE | 9 | 38 | 0.02398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4176-1_0_2_line_13 | NAYY 4x150 SE | 10 | 35 | 0.0043373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4176-1_0_2_line_14 | NAYY 4x150 SE | 11 | 12 | 0.0227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4176-1_0_2_line_15 | NAYY 4x150 SE | 13 | 14 | 0.025771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4176-1_0_2_line_16 | NAYY 4x150 SE | 13 | 15 | 0.041787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4176-1_0_2_line_17 | NAYY 4x150 SE | 14 | 16 | 0.043895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4176-1_0_2_line_18 | NAYY 4x150 SE | 15 | 17 | 0.024416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4176-1_0_2_line_19 | NAYY 4x150 SE | 16 | 18 | 0.014611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4176-1_0_2_line_20 | NAYY 4x150 SE | 18 | 19 | 0.014882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4176-1_0_2_line_21 | NAYY 4x150 SE | 18 | 20 | 0.005044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4176-1_0_2_line_22 | NAYY 4x150 SE | 19 | 52 | 0.025236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4176-1_0_2_line_23 | NAYY 4x150 SE | 20 | 29 | 0.020816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4176-1_0_2_line_24 | NAYY 4x150 SE | 20 | 25 | 0.050063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4176-1_0_2_line_25 | NAYY 4x150 SE | 21 | 22 | 0.0040364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4176-1_0_2_line_26 | NAYY 4x150 SE | 21 | 23 | 0.010915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4176-1_0_2_line_27 | NAYY 4x150 SE | 22 | 24 | 0.02597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4176-1_0_2_line_28 | NAYY 4x150 SE | 23 | 25 | 0.011737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4176-1_0_2_line_29 | NAYY 4x150 SE | 24 | 26 | 0.0038074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4176-1_0_2_line_30 | NAYY 4x150 SE | 25 | 27 | 0.012362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4176-1_0_2_line_31 | NAYY 4x150 SE | 26 | 28 | 0.00776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4176-1_0_2_line_32 | NAYY 4x150 SE | 27 | 30 | 0.050064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4176-1_0_2_line_33 | NAYY 4x150 SE | 28 | 31 | 0.010405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4176-1_0_2_line_34 | NAYY 4x150 SE | 29 | 49 | 0.0094015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4176-1_0_2_line_35 | NAYY 4x150 SE | 30 | 37 | 0.025235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4176-1_0_2_line_36 | NAYY 4x150 SE | 31 | 79 | 0.017568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4176-1_0_2_line_37 | NAYY 4x150 SE | 32 | 33 | 0.0029902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4176-1_0_2_line_38 | NAYY 4x150 SE | 32 | 34 | 0.021732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4176-1_0_2_line_39 | NAYY 4x150 SE | 33 | 80 | 0.033278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4176-1_0_2_line_40 | NAYY 4x150 SE | 34 | 40 | 0.017964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4176-1_0_2_line_41 | NAYY 4x150 SE | 35 | 36 | 0.007744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4176-1_0_2_line_42 | NAYY 4x150 SE | 36 | 37 | 0.033085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4176-1_0_2_line_43 | NAYY 4x150 SE | 38 | 46 | 0.023318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4176-1_0_2_line_44 | NAYY 4x150 SE | 39 | 40 | 0.028674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4176-1_0_2_line_45 | NAYY 4x150 SE | 41 | 42 | 0.011061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4176-1_0_2_line_46 | NAYY 4x150 SE | 42 | 44 | 0.0056736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4176-1_0_2_line_47 | NAYY 4x150 SE | 43 | 44 | 0.012859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4176-1_0_2_line_48 | NAYY 4x150 SE | 43 | 45 | 0.0020631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4176-1_0_2_line_49 | NAYY 4x150 SE | 45 | 47 | 0.014903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4176-1_0_2_line_50 | NAYY 4x150 SE | 46 | 50 | 0.00088755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4176-1_0_2_line_51 | NAYY 4x150 SE | 47 | 48 | 0.0002457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4176-1_0_2_line_52 | NAYY 4x150 SE | 50 | 51 | 0.022305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4176-1_0_2_line_53 | NAYY 4x150 SE | 52 | 59 | 0.014322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4176-1_0_2_line_54 | NAYY 4x150 SE | 53 | 54 | 0.028041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4176-1_0_2_line_55 | NAYY 4x150 SE | 53 | 55 | 0.089252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4176-1_0_2_line_56 | NAYY 4x150 SE | 55 | 56 | 0.03199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4176-1_0_2_line_57 | NAYY 4x150 SE | 56 | 76 | 0.018327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4176-1_0_2_line_58 | NAYY 4x150 SE | 57 | 58 | 0.010912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4176-1_0_2_line_59 | NAYY 4x150 SE | 58 | 94 | 0.013798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4176-1_0_2_line_60 | NAYY 4x150 SE | 59 | 60 | 0.0015793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4176-1_0_2_line_61 | NAYY 4x150 SE | 60 | 61 | 0.00059808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4176-1_0_2_line_62 | NAYY 4x150 SE | 61 | 62 | 0.016454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4176-1_0_2_line_63 | NAYY 4x150 SE | 62 | 63 | 0.019209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4176-1_0_2_line_64 | NAYY 4x150 SE | 63 | 64 | 0.013645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4176-1_0_2_line_65 | NAYY 4x150 SE | 64 | 65 | 0.02335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4176-1_0_2_line_66 | NAYY 4x150 SE | 65 | 66 | 0.0087385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4176-1_0_2_line_67 | NAYY 4x150 SE | 66 | 67 | 0.053265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4176-1_0_2_line_68 | NAYY 4x150 SE | 67 | 68 | 0.007191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4176-1_0_2_line_69 | NAYY 4x150 SE | 67 | 69 | 0.008776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4176-1_0_2_line_70 | NAYY 4x150 SE | 68 | 70 | 0.016618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4176-1_0_2_line_71 | NAYY 4x150 SE | 68 | 71 | 0.027122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4176-1_0_2_line_72 | NAYY 4x150 SE | 70 | 72 | 0.020541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4176-1_0_2_line_73 | NAYY 4x150 SE | 71 | 73 | 0.0020307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4176-1_0_2_line_74 | NAYY 4x150 SE | 72 | 75 | 0.02093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4176-1_0_2_line_75 | NAYY 4x150 SE | 73 | 76 | 0.022044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4176-1_0_2_line_76 | NAYY 4x150 SE | 73 | 77 | 0.01767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4176-1_0_2_line_77 | NAYY 4x150 SE | 74 | 75 | 0.020779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4176-1_0_2_line_78 | NAYY 4x150 SE | 77 | 78 | 0.026662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4176-1_0_2_line_79 | NAYY 4x150 SE | 79 | 81 | 0.0054653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4176-1_0_2_line_80 | NAYY 4x150 SE | 79 | 82 | 0.083681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4176-1_0_2_line_81 | NAYY 4x150 SE | 80 | 83 | 0.013643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4176-1_0_2_line_82 | NAYY 4x150 SE | 81 | 84 | 0.0088964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4176-1_0_2_line_83 | NAYY 4x150 SE | 82 | 83 | 0.012553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4176-1_0_2_line_84 | NAYY 4x150 SE | 84 | 87 | 0.0064576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4176-1_0_2_line_85 | NAYY 4x150 SE | 85 | 86 | 0.010272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4176-1_0_2_line_86 | NAYY 4x150 SE | 85 | 87 | 0.025241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_4176-1_0_2_line_87 | NAYY 4x150 SE | 86 | 88 | 0.016805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4176-1_0_2_line_88 | NAYY 4x150 SE | 87 | 89 | 0.014186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4176-1_0_2_line_89 | NAYY 4x150 SE | 88 | 90 | 0.020917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4176-1_0_2_line_90 | NAYY 4x150 SE | 89 | 91 | 0.0096131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4176-1_0_2_line_91 | NAYY 4x150 SE | 90 | 92 | 0.0060253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_4176-1_0_2_line_92 | NAYY 4x150 SE | 91 | 93 | 0.0066374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_4176-1_0_2_line_93 | NAYY 4x150 SE | 93 | 101 | 0.012989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_4176-1_0_2_line_94 | NAYY 4x150 SE | 94 | 95 | 0.012958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_4176-1_0_2_line_95 | NAYY 4x150 SE | 95 | 96 | 0.0043609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_4176-1_0_2_line_96 | NAYY 4x150 SE | 96 | 100 | 0.019991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_4176-1_0_2_line_97 | NAYY 4x150 SE | 96 | 99 | 0.028328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_4176-1_0_2_line_98 | NAYY 4x150 SE | 97 | 98 | 0.091451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_4176-1_0_2_line_99 | NAYY 4x150 SE | 98 | 99 | 0.001167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_4176-1_0_2_line_100 | NAYY 4x150 SE | 100 | 101 | 0.016306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4176-1_0_2_trafo_15 | 0.25 MVA 20/0.4 kV | 102 | 22 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2652878.6635 | 1269851.4914 | 2652868.6969 | 1269851.1686 | 2652855.6244 | 1269856.1682
1 | 2652841.1397 | 1269861.7079 | 2652855.6244 | 1269856.1682
2 | 2652878.6635 | 1269851.4914 | 2652879.7271 | 1269873.0392 | 2652884.305 | 1269883.5991 | 2652887.8079 | 1269889.7946
3 | 2652841.1397 | 1269861.7079 | 2652840.8934 | 1269858.1141 | 2652841.6255 | 1269842.5219
4 | 2652903.8614 | 1269909.4934 | 2652900.8266 | 1269908.0986 | 2652896.178 | 1269904.5988 | 2652887.8079 | 1269889.7946
5 | 2652842.2691 | 1269828.8157 | 2652841.6255 | 1269842.5219
6 | 2652818.4675 | 1270342.9128 | 2652903.8614 | 1269909.4934
7 | 2652814.1729 | 1270381.7329 | 2652813.9226 | 1270366.8195 | 2652815.9968 | 1270351.9269 | 2652818.4675 | 1270342.9128
8 | 2652814.1729 | 1270381.7329 | 2652821.5688 | 1270380.0088 | 2652827.6861 | 1270379.9301 | 2652833.6433 | 1270381.7625
9 | 2652814.1729 | 1270381.7329 | 2652815.1901 | 1270387.4463 | 2652816.6997 | 1270392.786 | 2652818.5619 | 1270397.2014
10 | 2652681.159 | 1270439.0553 | 2652686.2345 | 1270440.1171
11 | 2652686.2345 | 1270440.1171 | 2652690.0425 | 1270440.9137 | 2652695.6101 | 1270444.2547 | 2652716.3657 | 1270457.3873
12 | 2652681.159 | 1270439.0553 | 2652681.159 | 1270439.0553 | 2652674.0379 | 1270439.5033 | 2652662.1779 | 1270444.0788 | 2652658.4577 | 1270445.8787
13 | 2652720.031 | 1270459.7064 | 2652716.3657 | 1270457.3873
14 | 2652862.4011 | 1269819.5626 | 2652855.0587 | 1269825.6165 | 2652842.2691 | 1269828.8157 | 2652842.2691 | 1269828.8157
15 | 2652680.3516 | 1270578.7068 | 2652657.5425 | 1270566.7123
16 | 2652620.5572 | 1270547.263 | 2652657.5425 | 1270566.7123
17 | 2652718.9474 | 1270599.6073 | 2652699.0248 | 1270588.5264 | 2652680.3516 | 1270578.7068
18 | 2652620.5572 | 1270547.263 | 2652604.0084 | 1270538.5648 | 2652598.891 | 1270536.0074
19 | 2652731.7161 | 1270606.7093 | 2652718.9474 | 1270599.6073
20 | 2652731.7161 | 1270606.7093 | 2652723.1794 | 1270618.8994
21 | 2652735.9343 | 1270609.4935 | 2652731.7161 | 1270606.7093
22 | 2652704.8956 | 1270636.27 | 2652708.3104 | 1270632.9757 | 2652722.7394 | 1270619.5277 | 2652723.1794 | 1270618.8994
23 | 2652735.9343 | 1270609.4935 | 2652753.586 | 1270620.5254
24 | 2652735.9343 | 1270609.4935 | 2652741.5936 | 1270601.6937 | 2652750.3438 | 1270589.8185 | 2652758.0083 | 1270578.2115 | 2652765.3583 | 1270568.9591
25 | 2652786.7709 | 1270562.3129 | 2652790.7845 | 1270561.8846
26 | 2652776.0965 | 1270564.3038 | 2652779.9536 | 1270563.0406 | 2652786.7709 | 1270562.3129
27 | 2652816.6405 | 1270559.4664 | 2652798.4105 | 1270561.0706 | 2652790.7845 | 1270561.8846
28 | 2652765.3583 | 1270568.9591 | 2652771.6915 | 1270565.7466 | 2652776.0965 | 1270564.3038
29 | 2652820.4332 | 1270559.1326 | 2652816.6405 | 1270559.4664
30 | 2652765.3583 | 1270568.9591 | 2652756.0301 | 1270560.8466
31 | 2652827.83 | 1270561.4789 | 2652820.4332 | 1270559.1326 | 2652820.4332 | 1270559.1326
32 | 2652741.3067 | 1270515.5622 | 2652740.2924 | 1270525.0025 | 2652740.6758 | 1270533.4567 | 2652743.4885 | 1270543.6783 | 2652746.8418 | 1270550.6468 | 2652752.9437 | 1270558.1624 | 2652756.0301 | 1270560.8466
33 | 2652827.83 | 1270561.4789 | 2652837.7476 | 1270564.6248
34 | 2652753.586 | 1270620.5254 | 2652761.5586 | 1270625.5081
35 | 2652741.3067 | 1270515.5622 | 2652741.7283 | 1270511.6387 | 2652742.6374 | 1270492.3991 | 2652742.8947 | 1270490.3877
36 | 2652837.7476 | 1270564.6248 | 2652837.7476 | 1270564.6248 | 2652852.0341 | 1270574.8489
37 | 2652860.2299 | 1270454.6674 | 2652858.2874 | 1270452.3941
38 | 2652844.1697 | 1270435.8719 | 2652858.2874 | 1270452.3941
39 | 2652880.9273 | 1270480.7236 | 2652861.9232 | 1270456.6491 | 2652860.2299 | 1270454.6674
40 | 2652844.1697 | 1270435.8719 | 2652833.2286 | 1270423.0674 | 2652832.6242 | 1270422.1221
41 | 2652720.031 | 1270459.7064 | 2652723.0432 | 1270461.6123 | 2652726.4766 | 1270463.9956
42 | 2652742.8947 | 1270490.3877 | 2652743.3491 | 1270486.8346 | 2652741.2977 | 1270479.8221 | 2652739.7431 | 1270476.15 | 2652734.9541 | 1270469.8803 | 2652726.4766 | 1270463.9956
43 | 2652637.467 | 1270456.0341 | 2652658.4577 | 1270445.8787
44 | 2652818.5619 | 1270397.2014 | 2652819.1898 | 1270398.6904 | 2652823.7761 | 1270408.283 | 2652832.6242 | 1270422.1221
45 | 2652833.6433 | 1270381.7625 | 2652833.6433 | 1270381.7625 | 2652838.8347 | 1270385.1003 | 2652842.0399 | 1270388.7925
46 | 2652842.0399 | 1270388.7925 | 2652845.7593 | 1270393.0769
47 | 2652845.7593 | 1270393.0769 | 2652849.4387 | 1270397.3153 | 2652853.9202 | 1270403.0098
48 | 2652855.1961 | 1270404.631 | 2652853.9202 | 1270403.0098
49 | 2652855.1961 | 1270404.631 | 2652860.5077 | 1270411.3804 | 2652864.8595 | 1270415.9552
50 | 2652636.668 | 1270456.4207 | 2652637.467 | 1270456.0341
51 | 2652865.0289 | 1270416.1332 | 2652864.8595 | 1270415.9552
52 | 2652636.668 | 1270456.4207 | 2652628.214 | 1270460.5108 | 2652616.6851 | 1270466.3288
53 | 2652704.8956 | 1270636.27 | 2652699.2273 | 1270642.5575 | 2652696.0994 | 1270647.5093
54 | 2652891.2855 | 1270706.5844 | 2652915.0645 | 1270721.4458
55 | 2652810.6557 | 1270744.8571 | 2652891.2855 | 1270706.5844
56 | 2652796.2902 | 1270773.4405 | 2652810.6557 | 1270744.8571
57 | 2652788.0602 | 1270789.816 | 2652796.2902 | 1270773.4405
58 | 2652971.441 | 1270649.6473 | 2652962.8027 | 1270642.9807
59 | 2652952.7755 | 1270633.5048 | 2652962.4964 | 1270642.7443 | 2652962.8027 | 1270642.9807
60 | 2652695.256 | 1270648.8445 | 2652696.0994 | 1270647.5093
61 | 2652694.9366 | 1270649.3502 | 2652695.256 | 1270648.8445
62 | 2652694.9366 | 1270649.3502 | 2652690.4899 | 1270656.3899 | 2652687.5943 | 1270663.8919 | 2652687.5732 | 1270663.9751
63 | 2652683.9562 | 1270682.7148 | 2652683.8281 | 1270678.7473 | 2652687.5732 | 1270663.9751
64 | 2652683.9562 | 1270682.7148 | 2652684.2407 | 1270691.5272 | 2652685.7809 | 1270696.103
65 | 2652697.6017 | 1270716.059 | 2652694.947 | 1270712.4939 | 2652687.4654 | 1270701.1075 | 2652685.7809 | 1270696.103
66 | 2652697.6017 | 1270716.059 | 2652702.8208 | 1270723.0678
67 | 2652735.0834 | 1270765.447 | 2652724.2647 | 1270751.1954 | 2652713.9183 | 1270737.971 | 2652702.8208 | 1270723.0678
68 | 2652741.7928 | 1270768.0867 | 2652735.0834 | 1270765.447
69 | 2652735.0834 | 1270765.447 | 2652732.112 | 1270771.3249 | 2652731.775 | 1270773.4886
70 | 2652741.7928 | 1270768.0867 | 2652742.7556 | 1270764.7372 | 2652748.8394 | 1270753.0988
71 | 2652741.7928 | 1270768.0867 | 2652761.0906 | 1270778.867 | 2652765.8314 | 1270780.5083
72 | 2652748.8394 | 1270753.0988 | 2652758.3552 | 1270734.8953
73 | 2652767.7504 | 1270781.1726 | 2652765.8314 | 1270780.5083
74 | 2652758.3552 | 1270734.8953 | 2652768.0511 | 1270716.347
75 | 2652767.7504 | 1270781.1726 | 2652781.3178 | 1270787.5096 | 2652788.0602 | 1270789.816
76 | 2652767.7504 | 1270781.1726 | 2652774.9813 | 1270765.0493
77 | 2652777.6775 | 1270697.9318 | 2652768.0511 | 1270716.347
78 | 2652785.8917 | 1270740.7214 | 2652774.9813 | 1270765.0493
79 | 2652852.0341 | 1270574.8489 | 2652856.4785 | 1270578.0295
80 | 2652852.0341 | 1270574.8489 | 2652894.6498 | 1270502.832
81 | 2652889.3803 | 1270491.4319 | 2652880.9273 | 1270480.7236
82 | 2652863.7132 | 1270583.207 | 2652856.4785 | 1270578.0295
83 | 2652889.3803 | 1270491.4319 | 2652892.0283 | 1270497.3378 | 2652894.6498 | 1270502.832
84 | 2652868.9645 | 1270586.9651 | 2652863.7132 | 1270583.207
85 | 2652855.7194 | 1270608.4476 | 2652849.819 | 1270615.4485 | 2652848.7031 | 1270615.4285
86 | 2652868.9645 | 1270586.9651 | 2652855.9021 | 1270608.2309 | 2652855.7194 | 1270608.4476
87 | 2652832.2066 | 1270613.6004 | 2652836.2494 | 1270615.2048 | 2652848.7031 | 1270615.4285
88 | 2652868.9645 | 1270586.9651 | 2652880.7087 | 1270594.9225
89 | 2652832.2066 | 1270613.6004 | 2652824.3824 | 1270610.4952 | 2652814.0751 | 1270603.4256
90 | 2652889.467 | 1270598.7946 | 2652882.2526 | 1270595.9685 | 2652880.7087 | 1270594.9225
91 | 2652809.1063 | 1270600.0175 | 2652814.0751 | 1270603.4256
92 | 2652889.467 | 1270598.7946 | 2652895.6472 | 1270601.2155
93 | 2652895.6472 | 1270601.2155 | 2652907.7415 | 1270605.9531
94 | 2652952.7755 | 1270633.5048 | 2652943.3831 | 1270624.5777
95 | 2652940.2222 | 1270621.5733 | 2652943.3831 | 1270624.5777
96 | 2652940.2222 | 1270621.5733 | 2652930.0623 | 1270614.4325 | 2652922.9492 | 1270611.8354
97 | 2652940.2222 | 1270621.5733 | 2652939.9435 | 1270609.0281 | 2652941.0828 | 1270598.5861 | 2652940.6939 | 1270593.325
98 | 2652940.6078 | 1270592.1611 | 2653028.7386 | 1270567.7445
99 | 2652940.6939 | 1270593.325 | 2652940.6078 | 1270592.1611
100 | 2652907.7415 | 1270605.9531 | 2652920.1341 | 1270610.8076 | 2652922.9492 | 1270611.8354

## bus_geodata
| x | y | coords
0 | 2652855.6244 | 1269856.1682
1 | 2652878.6635 | 1269851.4914
2 | 2652841.1397 | 1269861.7079
3 | 2652887.8079 | 1269889.7946
4 | 2652841.6255 | 1269842.5219
5 | 2652818.4675 | 1270342.9128
6 | 2652903.8614 | 1269909.4934
7 | 2652814.1729 | 1270381.7329
8 | 2652686.2345 | 1270440.1171
9 | 2652681.159 | 1270439.0553
10 | 2652716.3657 | 1270457.3873
11 | 2652842.2691 | 1269828.8157
12 | 2652862.4011 | 1269819.5626
13 | 2652657.5425 | 1270566.7123
14 | 2652680.3516 | 1270578.7068
15 | 2652620.5572 | 1270547.263
16 | 2652718.9474 | 1270599.6073
17 | 2652598.891 | 1270536.0074
18 | 2652731.7161 | 1270606.7093
19 | 2652723.1794 | 1270618.8994
20 | 2652735.9343 | 1270609.4935
21 | 2652786.7709 | 1270562.3129
22 | 2652790.7845 | 1270561.8845
23 | 2652776.0965 | 1270564.3038
24 | 2652816.6405 | 1270559.4664
25 | 2652765.3583 | 1270568.9591
26 | 2652820.4332 | 1270559.1326
27 | 2652756.0301 | 1270560.8466
28 | 2652827.83 | 1270561.4789
29 | 2652753.586 | 1270620.5254
30 | 2652741.3067 | 1270515.5622
31 | 2652837.7476 | 1270564.6248
32 | 2652858.2874 | 1270452.3941
33 | 2652860.2299 | 1270454.6674
34 | 2652844.1697 | 1270435.8719
35 | 2652720.031 | 1270459.7064
36 | 2652726.4766 | 1270463.9956
37 | 2652742.8947 | 1270490.3877
38 | 2652658.4577 | 1270445.8787
39 | 2652818.5619 | 1270397.2014
40 | 2652832.6242 | 1270422.1221
41 | 2652833.6433 | 1270381.7625
42 | 2652842.0399 | 1270388.7925
43 | 2652853.9202 | 1270403.0098
44 | 2652845.7593 | 1270393.0769
45 | 2652855.1961 | 1270404.631
46 | 2652637.467 | 1270456.0341
47 | 2652864.8595 | 1270415.9552
48 | 2652865.0289 | 1270416.1332
49 | 2652761.5586 | 1270625.5081
50 | 2652636.668 | 1270456.4207
51 | 2652616.6851 | 1270466.3288
52 | 2652704.8956 | 1270636.27
53 | 2652891.2855 | 1270706.5844
54 | 2652915.0645 | 1270721.4458
55 | 2652810.6557 | 1270744.8571
56 | 2652796.2902 | 1270773.4405
57 | 2652971.441 | 1270649.6473
58 | 2652962.8027 | 1270642.9807
59 | 2652696.0994 | 1270647.5093
60 | 2652695.256 | 1270648.8445
61 | 2652694.9366 | 1270649.3502
62 | 2652687.5732 | 1270663.9751
63 | 2652683.9562 | 1270682.7148
64 | 2652685.7809 | 1270696.103
65 | 2652697.6017 | 1270716.059
66 | 2652702.8208 | 1270723.0678
67 | 2652735.0834 | 1270765.447
68 | 2652741.7928 | 1270768.0867
69 | 2652731.775 | 1270773.4886
70 | 2652748.8394 | 1270753.0988
71 | 2652765.8314 | 1270780.5083
72 | 2652758.3552 | 1270734.8953
73 | 2652767.7504 | 1270781.1726
74 | 2652777.6775 | 1270697.9318
75 | 2652768.0511 | 1270716.347
76 | 2652788.0602 | 1270789.816
77 | 2652774.9813 | 1270765.0493
78 | 2652785.8917 | 1270740.7214
79 | 2652852.0341 | 1270574.8489
80 | 2652880.9273 | 1270480.7236
81 | 2652856.4785 | 1270578.0295
82 | 2652894.6498 | 1270502.832
83 | 2652889.3803 | 1270491.4319
84 | 2652863.7132 | 1270583.207
85 | 2652855.7194 | 1270608.4476
86 | 2652848.7031 | 1270615.4285
87 | 2652868.9645 | 1270586.9651
88 | 2652832.2066 | 1270613.6004
89 | 2652880.7087 | 1270594.9225
90 | 2652814.0751 | 1270603.4256
91 | 2652889.467 | 1270598.7946
92 | 2652809.1063 | 1270600.0175
93 | 2652895.6472 | 1270601.2155
94 | 2652952.7755 | 1270633.5048
95 | 2652943.3831 | 1270624.5777
96 | 2652940.2222 | 1270621.5733
97 | 2653028.7386 | 1270567.7445
98 | 2652940.6078 | 1270592.1611
99 | 2652940.6939 | 1270593.325
100 | 2652922.9492 | 1270611.8354
101 | 2652907.7415 | 1270605.9531
102 | 2652765.3583 | 1270568.9591

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1