## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4176-3_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4176-3_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4176-3_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4176-3_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4176-3_0_2_node_68 | 0.4 | n |  | TRUE
5 | bus_LV_4176-3_0_2_node_67 | 0.4 | n |  | TRUE
6 | bus_LV_4176-3_0_2_node_69 | 0.4 | n |  | TRUE
7 | bus_LV_4176-3_0_2_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_4176-3_0_2_node_60 | 0.4 | n |  | TRUE
9 | bus_LV_4176-3_0_2_node_43 | 0.4 | n |  | TRUE
10 | bus_LV_4176-3_0_2_node_34 | 0.4 | n |  | TRUE
11 | bus_LV_4176-3_0_2_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_4176-3_0_2_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_4176-3_0_2_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_4176-3_0_2_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_4176-3_0_2_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4176-3_0_2_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_4176-3_0_2_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_4176-3_0_2_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_4176-3_0_2_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_4176-3_0_2_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_4176-3_0_2_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_4176-3_0_2_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_4176-3_0_2_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_4176-3_0_2_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_4176-3_0_2_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_4176-3_0_2_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_4176-3_0_2_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_4176-3_0_2_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_4176-3_0_2_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_4176-3_0_2_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_4176-3_0_2_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_4176-3_0_2_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_4176-3_0_2_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_4176-3_0_2_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_4176-3_0_2_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_4176-3_0_2_node_51 | 0.4 | n |  | TRUE
37 | bus_LV_4176-3_0_2_node_63 | 0.4 | n |  | TRUE
38 | bus_LV_4176-3_0_2_node_77 | 0.4 | n |  | TRUE
39 | bus_LV_4176-3_0_2_node_74 | 0.4 | n |  | TRUE
40 | bus_LV_4176-3_0_2_node_78 | 0.4 | n |  | TRUE
41 | bus_LV_4176-3_0_2_node_75 | 0.4 | n |  | TRUE
42 | bus_LV_4176-3_0_2_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_4176-3_0_2_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_4176-3_0_2_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_4176-3_0_2_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_4176-3_0_2_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_4176-3_0_2_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_4176-3_0_2_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_4176-3_0_2_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_4176-3_0_2_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_4176-3_0_2_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_4176-3_0_2_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_4176-3_0_2_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_4176-3_0_2_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_4176-3_0_2_node_64 | 0.4 | n |  | TRUE
56 | bus_LV_4176-3_0_2_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_4176-3_0_2_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_4176-3_0_2_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_4176-3_0_2_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_4176-3_0_2_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_4176-3_0_2_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_4176-3_0_2_node_80 | 0.4 | n |  | TRUE
63 | bus_LV_4176-3_0_2_node_72 | 0.4 | n |  | TRUE
64 | bus_LV_4176-3_0_2_node_82 | 0.4 | n |  | TRUE
65 | bus_LV_4176-3_0_2_node_76 | 0.4 | n |  | TRUE
66 | bus_LV_4176-3_0_2_node_71 | 0.4 | n |  | TRUE
67 | bus_LV_4176-3_0_2_node_83 | 0.4 | n |  | TRUE
68 | bus_LV_4176-3_0_2_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_4176-3_0_2_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_4176-3_0_2_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_4176-3_0_2_node_81 | 0.4 | n |  | TRUE
72 | bus_LV_4176-3_0_2_node_53 | 0.4 | n |  | TRUE
73 | bus_LV_4176-3_0_2_node_54 | 0.4 | n |  | TRUE
74 | bus_LV_4176-3_0_2_node_55 | 0.4 | n |  | TRUE
75 | bus_LV_4176-3_0_2_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_4176-3_0_2_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_4176-3_0_2_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_4176-3_0_2_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_4176-3_0_2_node_88 | 0.4 | n |  | TRUE
80 | bus_LV_4176-3_0_2_node_86 | 0.4 | n |  | TRUE
81 | bus_LV_4176-3_0_2_node_84 | 0.4 | n |  | TRUE
82 | bus_LV_4176-3_0_2_node_85 | 0.4 | n |  | TRUE
83 | bus_LV_4176-3_0_2_node_87 | 0.4 | n |  | TRUE
84 | bus_LV_4176-3_0_2_node_90 | 0.4 | n |  | TRUE
85 | bus_LV_4176-3_0_2_node_91 | 0.4 | n |  | TRUE
86 | bus_LV_4176-3_0_2_node_92 | 0.4 | n |  | TRUE
87 | bus_MV_302_0_node_108 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4176-3_0_2_load_0 | 0 | 0.0018247 | 0.00045732 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4176-3_0_2_load_68 | 4 | 0.0015686 | 0.00039312 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4176-3_0_2_load_67 | 5 | 0.00060875 | 0.00015257 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4176-3_0_2_load_69 | 6 | 0.0011804 | 0.00029583 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4176-3_0_2_load_36 | 7 | 0.0014191 | 0.00035566 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4176-3_0_2_load_43 | 9 | 0.00097196 | 0.0002436 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4176-3_0_2_load_34 | 10 | 0.0013235 | 0.00033171 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4176-3_0_2_load_5 | 11 | 0.00093107 | 0.00023335 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4176-3_0_2_load_8 | 14 | 0.0029435 | 0.00073771 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4176-3_0_2_load_9 | 15 | 0.001088 | 0.00027269 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4176-3_0_2_load_10 | 16 | 0.0013011 | 0.00032608 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4176-3_0_2_load_24 | 18 | 0.0016827 | 0.00042173 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4176-3_0_2_load_28 | 19 | 0.00044422 | 0.00011133 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4176-3_0_2_load_26 | 20 | 0.003874 | 0.00097092 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4176-3_0_2_load_23 | 22 | 0.00060614 | 0.00015191 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4176-3_0_2_load_11 | 23 | 0.0020674 | 0.00051814 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4176-3_0_2_load_12 | 24 | 0.0028776 | 0.00072119 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4176-3_0_2_load_13 | 25 | 0.00060716 | 0.00015217 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4176-3_0_2_load_14 | 26 | 0.001141 | 0.00028595 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4176-3_0_2_load_15 | 27 | 0.0028113 | 0.00070459 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4176-3_0_2_load_16 | 28 | 0.00061258 | 0.00015353 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4176-3_0_2_load_19 | 29 | 0.002235 | 0.00056014 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4176-3_0_2_load_38 | 33 | 0.00062236 | 0.00015598 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4176-3_0_2_load_50 | 34 | 0.0013698 | 0.00034331 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4176-3_0_2_load_51 | 36 | 0.0035137 | 0.00088062 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4176-3_0_2_load_63 | 37 | 0.0011444 | 0.00028683 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4176-3_0_2_load_77 | 38 | 0.0012853 | 0.00032213 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4176-3_0_2_load_74 | 39 | 0.0011382 | 0.00028525 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4176-3_0_2_load_78 | 40 | 0.0023368 | 0.00058565 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4176-3_0_2_load_75 | 41 | 0.00067259 | 0.00016857 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4176-3_0_2_load_29 | 42 | 0.00079696 | 0.00019974 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4176-3_0_2_load_30 | 43 | 0.00096074 | 0.00024078 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4176-3_0_2_load_31 | 44 | 0.0018921 | 0.00047422 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4176-3_0_2_load_42 | 47 | 0.00373 | 0.00093482 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4176-3_0_2_load_62 | 48 | 0.001059 | 0.00026541 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4176-3_0_2_load_35 | 50 | 0.00060196 | 0.00015086 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4176-3_0_2_load_57 | 51 | 0.0012622 | 0.00031635 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4176-3_0_2_load_39 | 52 | 0.0016688 | 0.00041825 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4176-3_0_2_load_40 | 53 | 0.0021017 | 0.00052672 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4176-3_0_2_load_61 | 54 | 0.0059093 | 0.001481 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4176-3_0_2_load_64 | 55 | 0.0021014 | 0.00052667 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4176-3_0_2_load_44 | 56 | 0.00096991 | 0.00024308 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4176-3_0_2_load_45 | 57 | 0.0021672 | 0.00054314 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4176-3_0_2_load_48 | 59 | 0.0010588 | 0.00026536 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4176-3_0_2_load_49 | 60 | 0.0014537 | 0.00036433 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4176-3_0_2_load_47 | 61 | 0.00079028 | 0.00019806 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4176-3_0_2_load_80 | 62 | 0.0010434 | 0.0002615 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4176-3_0_2_load_72 | 63 | 0.0034976 | 0.00087657 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4176-3_0_2_load_82 | 64 | 0.00082182 | 0.00020597 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4176-3_0_2_load_76 | 65 | 0.00093535 | 0.00023442 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4176-3_0_2_load_71 | 66 | 0.0018144 | 0.00045473 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4176-3_0_2_load_83 | 67 | 0.0018547 | 0.00046484 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4176-3_0_2_load_73 | 69 | 0.0021914 | 0.00054923 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4176-3_0_2_load_70 | 70 | 0.0030755 | 0.00077079 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4176-3_0_2_load_81 | 71 | 0.0019799 | 0.00049622 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4176-3_0_2_load_53 | 72 | 0.0016697 | 0.00041846 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4176-3_0_2_load_54 | 73 | 0.0015738 | 0.00039443 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4176-3_0_2_load_55 | 74 | 0.0007998 | 0.00020045 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4176-3_0_2_load_56 | 75 | 0.001727 | 0.00043284 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4176-3_0_2_load_58 | 76 | 0.001941 | 0.00048645 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4176-3_0_2_load_79 | 78 | 0.00063236 | 0.00015848 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4176-3_0_2_load_88 | 79 | 0.00078413 | 0.00019652 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4176-3_0_2_load_84 | 81 | 0.00049145 | 0.00012317 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4176-3_0_2_load_85 | 82 | 0.0019034 | 0.00047705 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4176-3_0_2_load_90 | 84 | 0.0024117 | 0.00060442 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4176-3_0_2_load_91 | 85 | 0.00063798 | 0.00015989 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4176-3_0_2_load_92 | 86 | 0.0025337 | 0.000635 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4176-3_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4176-3_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.10627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4176-3_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.031658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4176-3_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.016494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4176-3_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.035117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4176-3_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.033956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4176-3_0_2_line_6 | NAYY 4x150 SE | 3 | 7 | 0.032127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4176-3_0_2_line_7 | NAYY 4x150 SE | 4 | 8 | 0.059069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4176-3_0_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.044074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4176-3_0_2_line_9 | NAYY 4x150 SE | 7 | 10 | 0.0061208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4176-3_0_2_line_10 | NAYY 4x150 SE | 8 | 77 | 0.096623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4176-3_0_2_line_11 | NAYY 4x150 SE | 9 | 45 | 0.021964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4176-3_0_2_line_12 | NAYY 4x150 SE | 10 | 50 | 0.0072412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4176-3_0_2_line_13 | NAYY 4x150 SE | 11 | 12 | 0.011658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4176-3_0_2_line_14 | NAYY 4x150 SE | 11 | 13 | 0.026952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4176-3_0_2_line_15 | NAYY 4x150 SE | 12 | 14 | 0.025426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4176-3_0_2_line_16 | NAYY 4x150 SE | 13 | 15 | 0.012907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4176-3_0_2_line_17 | NAYY 4x150 SE | 13 | 16 | 0.010891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4176-3_0_2_line_18 | NAYY 4x150 SE | 14 | 17 | 0.048133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4176-3_0_2_line_19 | NAYY 4x150 SE | 15 | 18 | 0.027849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4176-3_0_2_line_20 | NAYY 4x150 SE | 16 | 19 | 0.017829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4176-3_0_2_line_21 | NAYY 4x150 SE | 17 | 20 | 0.025652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4176-3_0_2_line_22 | NAYY 4x150 SE | 17 | 21 | 0.062634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4176-3_0_2_line_23 | NAYY 4x150 SE | 19 | 22 | 0.013494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4176-3_0_2_line_24 | NAYY 4x150 SE | 20 | 37 | 0.010103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4176-3_0_2_line_25 | NAYY 4x150 SE | 21 | 38 | 0.015463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4176-3_0_2_line_26 | NAYY 4x150 SE | 21 | 39 | 0.0252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4176-3_0_2_line_27 | NAYY 4x150 SE | 22 | 30 | 0.025134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4176-3_0_2_line_28 | NAYY 4x150 SE | 23 | 24 | 0.0078206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4176-3_0_2_line_29 | NAYY 4x150 SE | 23 | 25 | 0.016616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4176-3_0_2_line_30 | NAYY 4x150 SE | 24 | 26 | 0.013004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4176-3_0_2_line_31 | NAYY 4x150 SE | 25 | 27 | 0.019282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4176-3_0_2_line_32 | NAYY 4x150 SE | 26 | 28 | 0.0012854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4176-3_0_2_line_33 | NAYY 4x150 SE | 27 | 29 | 0.013193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4176-3_0_2_line_34 | NAYY 4x150 SE | 29 | 30 | 0.022657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4176-3_0_2_line_35 | NAYY 4x150 SE | 30 | 31 | 0.012431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4176-3_0_2_line_36 | NAYY 4x150 SE | 30 | 32 | 0.014647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4176-3_0_2_line_37 | NAYY 4x150 SE | 31 | 33 | 0.0029608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4176-3_0_2_line_38 | NAYY 4x150 SE | 32 | 34 | 0.0079219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4176-3_0_2_line_39 | NAYY 4x150 SE | 33 | 35 | 0.034874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4176-3_0_2_line_40 | NAYY 4x150 SE | 34 | 36 | 0.016363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4176-3_0_2_line_41 | NAYY 4x150 SE | 35 | 50 | 0.0051832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4176-3_0_2_line_42 | NAYY 4x150 SE | 36 | 68 | 0.0073612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4176-3_0_2_line_43 | NAYY 4x150 SE | 38 | 40 | 0.019009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4176-3_0_2_line_44 | NAYY 4x150 SE | 39 | 41 | 0.0042068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4176-3_0_2_line_45 | NAYY 4x150 SE | 40 | 78 | 0.0019654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4176-3_0_2_line_46 | NAYY 4x150 SE | 41 | 65 | 0.015664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4176-3_0_2_line_47 | NAYY 4x150 SE | 42 | 43 | 0.0061391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4176-3_0_2_line_48 | NAYY 4x150 SE | 42 | 44 | 0.011014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4176-3_0_2_line_49 | NAYY 4x150 SE | 43 | 45 | 0.020683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4176-3_0_2_line_50 | NAYY 4x150 SE | 44 | 46 | 0.014808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4176-3_0_2_line_51 | NAYY 4x150 SE | 45 | 47 | 0.016776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4176-3_0_2_line_52 | NAYY 4x150 SE | 46 | 48 | 0.015268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4176-3_0_2_line_53 | NAYY 4x150 SE | 47 | 49 | 0.021556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4176-3_0_2_line_54 | NAYY 4x150 SE | 48 | 51 | 0.00092643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4176-3_0_2_line_55 | NAYY 4x150 SE | 49 | 54 | 0.021444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4176-3_0_2_line_56 | NAYY 4x150 SE | 49 | 53 | 0.022268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4176-3_0_2_line_57 | NAYY 4x150 SE | 51 | 74 | 0.046613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4176-3_0_2_line_58 | NAYY 4x150 SE | 52 | 53 | 0.013071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4176-3_0_2_line_59 | NAYY 4x150 SE | 54 | 55 | 0.0074468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4176-3_0_2_line_60 | NAYY 4x150 SE | 56 | 57 | 0.0027295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4176-3_0_2_line_61 | NAYY 4x150 SE | 56 | 58 | 0.013765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4176-3_0_2_line_62 | NAYY 4x150 SE | 58 | 59 | 0.0017865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4176-3_0_2_line_63 | NAYY 4x150 SE | 58 | 60 | 0.030401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4176-3_0_2_line_64 | NAYY 4x150 SE | 59 | 63 | 0.016371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4176-3_0_2_line_65 | NAYY 4x150 SE | 60 | 64 | 0.011483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4176-3_0_2_line_66 | NAYY 4x150 SE | 61 | 62 | 0.019941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4176-3_0_2_line_67 | NAYY 4x150 SE | 62 | 65 | 0.0040668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4176-3_0_2_line_68 | NAYY 4x150 SE | 63 | 66 | 0.024894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4176-3_0_2_line_69 | NAYY 4x150 SE | 64 | 67 | 0.0046691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4176-3_0_2_line_70 | NAYY 4x150 SE | 66 | 70 | 0.008622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4176-3_0_2_line_71 | NAYY 4x150 SE | 67 | 79 | 0.01044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4176-3_0_2_line_72 | NAYY 4x150 SE | 68 | 69 | 0.015132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4176-3_0_2_line_73 | NAYY 4x150 SE | 68 | 70 | 0.011127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4176-3_0_2_line_74 | NAYY 4x150 SE | 69 | 71 | 0.0019249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4176-3_0_2_line_75 | NAYY 4x150 SE | 72 | 73 | 0.0064224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4176-3_0_2_line_76 | NAYY 4x150 SE | 72 | 74 | 0.010007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4176-3_0_2_line_77 | NAYY 4x150 SE | 73 | 75 | 0.020851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4176-3_0_2_line_78 | NAYY 4x150 SE | 76 | 77 | 0.072401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4176-3_0_2_line_79 | NAYY 4x150 SE | 79 | 80 | 0.014682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4176-3_0_2_line_80 | NAYY 4x150 SE | 80 | 83 | 0.03273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4176-3_0_2_line_81 | NAYY 4x150 SE | 80 | 81 | 0.013257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4176-3_0_2_line_82 | NAYY 4x150 SE | 81 | 82 | 0.044131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4176-3_0_2_line_83 | NAYY 4x150 SE | 83 | 84 | 0.017295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4176-3_0_2_line_84 | NAYY 4x150 SE | 84 | 85 | 0.014968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4176-3_0_2_line_85 | NAYY 4x150 SE | 85 | 86 | 0.034235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4176-3_0_2_trafo_71 | 0.25 MVA 20/0.4 kV | 87 | 66 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2653267.8626 | 1270912.5909 | 2653257.759 | 1270907.5303
1 | 2653267.8626 | 1270912.5909 | 2653274.9203 | 1270898.266 | 2653279.2605 | 1270901.6521 | 2653290.5766 | 1270900.62 | 2653305.94 | 1270906.2406 | 2653317.9094 | 1270908.6726 | 2653322.7216 | 1270900.5989 | 2653316.5673 | 1270889.0124 | 2653309.6123 | 1270867.7782
2 | 2653267.8626 | 1270912.5909 | 2653282.3229 | 1270919.9268 | 2653296.1018 | 1270926.9007
3 | 2653309.6123 | 1270867.7782 | 2653298.9943 | 1270855.1565
4 | 2653309.6123 | 1270867.7782 | 2653330.7583 | 1270895.815
5 | 2653296.1018 | 1270926.9007 | 2653326.4217 | 1270942.1876
6 | 2653296.1018 | 1270926.9007 | 2653287.3522 | 1270957.8132
7 | 2653324.0438 | 1270803.3268 | 2653297.4058 | 1270853.2683 | 2653298.9943 | 1270855.1565
8 | 2653365.7765 | 1270962.0299 | 2653326.4217 | 1270942.1876
9 | 2653285.6852 | 1270963.7026 | 2653287.3522 | 1270957.8132
10 | 2653401.6944 | 1270860.8154 | 2653396.6434 | 1270857.0114 | 2653379.8017 | 1270845.1392 | 2653324.0438 | 1270803.3268
11 | 2653385.3886 | 1270971.9181 | 2653365.7765 | 1270962.0299
12 | 2653285.6852 | 1270963.7026 | 2653283.7131 | 1270970.67
13 | 2653207.9685 | 1271112.7348 | 2653212.4101 | 1271105.6918 | 2653214.177 | 1271102.8672
14 | 2653227.1591 | 1271079.2714 | 2653218.829 | 1271095.4308 | 2653214.177 | 1271102.8672
15 | 2653207.9685 | 1271112.7348 | 2653226.0736 | 1271130.5862
16 | 2653227.1591 | 1271079.2714 | 2653215.8112 | 1271073.1214
17 | 2653227.1591 | 1271079.2714 | 2653232.7432 | 1271069.921
18 | 2653260.0523 | 1271164.6763 | 2653236.3767 | 1271140.745 | 2653226.0736 | 1271130.5862
19 | 2653215.8112 | 1271073.1214 | 2653208.0474 | 1271068.9138 | 2653190.8165 | 1271060.8652
20 | 2653232.7432 | 1271069.921 | 2653241.8844 | 1271054.6143
21 | 2653260.0523 | 1271164.6763 | 2653272.9697 | 1271142.5144
22 | 2653260.0523 | 1271164.6763 | 2653304.1524 | 1271209.2852
23 | 2653248.803 | 1271043.0293 | 2653241.8844 | 1271054.6143
24 | 2653272.9697 | 1271142.5144 | 2653278.0571 | 1271133.7861
25 | 2653304.1524 | 1271209.2852 | 2653314.7647 | 1271220.5313
26 | 2653304.1524 | 1271209.2852 | 2653317.3174 | 1271187.7978
27 | 2653261.6901 | 1271021.4503 | 2653248.803 | 1271043.0293
28 | 2653198.8258 | 1270986.8671 | 2653191.9736 | 1270983.0976
29 | 2653198.8258 | 1270986.8671 | 2653213.3846 | 1270994.8763
30 | 2653191.9736 | 1270983.0976 | 2653180.5797 | 1270976.8295
31 | 2653230.2788 | 1271004.1702 | 2653213.3846 | 1270994.8763
32 | 2653180.5797 | 1270976.8295 | 2653179.4535 | 1270976.21
33 | 2653230.2788 | 1271004.1702 | 2653241.8384 | 1271010.5294
34 | 2653261.6901 | 1271021.4503 | 2653241.8384 | 1271010.5294
35 | 2653266.7949 | 1271010.11 | 2653261.6901 | 1271021.4503
36 | 2653272.5237 | 1271031.3442 | 2653261.6901 | 1271021.4503
37 | 2653266.7949 | 1271010.11 | 2653268.0982 | 1271007.4514
38 | 2653272.5237 | 1271031.3442 | 2653279.038 | 1271035.852
39 | 2653282.3015 | 1270975.6573 | 2653278.8423 | 1270985.5335 | 2653268.0982 | 1271007.4514
40 | 2653279.038 | 1271035.852 | 2653280.3061 | 1271036.7295 | 2653291.6751 | 1271046.2378
41 | 2653282.3015 | 1270975.6573 | 2653283.7131 | 1270970.67
42 | 2653297.3217 | 1271050.9603 | 2653291.6751 | 1271046.2378
43 | 2653314.7647 | 1271220.5313 | 2653327.8111 | 1271234.3568
44 | 2653317.3174 | 1271187.7978 | 2653319.5151 | 1271184.2108
45 | 2653329.16 | 1271235.7862 | 2653327.8111 | 1271234.3568
46 | 2653319.5151 | 1271184.2108 | 2653327.6982 | 1271170.8547
47 | 2653371.053 | 1270992.4374 | 2653376.9729 | 1270990.8118
48 | 2653371.053 | 1270992.4374 | 2653371.053 | 1270992.4374 | 2653365.6943 | 1271002.0594
49 | 2653385.3886 | 1270971.9181 | 2653376.9729 | 1270990.8118
50 | 2653358.4894 | 1271014.9964 | 2653365.6943 | 1271002.0594
51 | 2653385.3886 | 1270971.9181 | 2653400.3686 | 1270979.4712
52 | 2653358.4894 | 1271014.9964 | 2653372.2243 | 1271021.6649
53 | 2653419.7107 | 1270988.9855 | 2653402.5673 | 1270980.5798 | 2653400.3686 | 1270979.4712
54 | 2653372.2243 | 1271021.6649 | 2653373.0577 | 1271022.0695
55 | 2653419.7107 | 1270988.9855 | 2653438.9663 | 1270998.4241
56 | 2653419.7107 | 1270988.9855 | 2653410.0392 | 1271009.0435
57 | 2653373.0577 | 1271022.0695 | 2653414.9894 | 1271042.4279
58 | 2653404.3623 | 1271020.8172 | 2653410.0392 | 1271009.0435
59 | 2653445.679 | 1271001.6478 | 2653441.2503 | 1270999.5437 | 2653438.9663 | 1270998.4241
60 | 2653343.0904 | 1271096.0942 | 2653341.6336 | 1271098.4025
61 | 2653350.437 | 1271084.4536 | 2653343.0904 | 1271096.0942
62 | 2653350.437 | 1271084.4536 | 2653348.9018 | 1271083.5401
63 | 2653350.437 | 1271084.4536 | 2653376.5689 | 1271099.9897
64 | 2653334.899 | 1271075.062 | 2653338.0463 | 1271077.0807 | 2653348.9018 | 1271083.5401
65 | 2653376.5689 | 1271099.9897 | 2653386.4391 | 1271105.8578
66 | 2653329.8228 | 1271167.387 | 2653336.0435 | 1271157.2339 | 2653340.3923 | 1271150.4792
67 | 2653329.8228 | 1271167.387 | 2653327.6982 | 1271170.8547
68 | 2653313.945 | 1271061.6223 | 2653334.899 | 1271075.062
69 | 2653386.4391 | 1271105.8578 | 2653390.4525 | 1271108.2439
70 | 2653306.6875 | 1271056.9674 | 2653313.945 | 1271061.6223
71 | 2653399.4261 | 1271113.579 | 2653390.4525 | 1271108.2439
72 | 2653297.3217 | 1271050.9603 | 2653292.9471 | 1271061.4065 | 2653290.767 | 1271064.5272
73 | 2653297.3217 | 1271050.9603 | 2653306.6875 | 1271056.9674
74 | 2653290.767 | 1271064.5272 | 2653289.6646 | 1271066.1052
75 | 2653423.9918 | 1271046.7986 | 2653429.7692 | 1271049.6036
76 | 2653423.9918 | 1271046.7986 | 2653414.9894 | 1271042.4279
77 | 2653429.7692 | 1271049.6036 | 2653448.5262 | 1271058.7103
78 | 2653401.6944 | 1270860.8154 | 2653425.2607 | 1270878.5862 | 2653435.7319 | 1270884.4631 | 2653447.0428 | 1270889.8249 | 2653463.9219 | 1270897.0501
79 | 2653412.0464 | 1271121.0821 | 2653399.4261 | 1271113.579
80 | 2653412.0464 | 1271121.0821 | 2653439.8882 | 1271138.4246
81 | 2653412.0464 | 1271121.0821 | 2653405.2518 | 1271132.4653
82 | 2653405.2518 | 1271132.4653 | 2653382.6336 | 1271170.3589
83 | 2653439.8882 | 1271138.4246 | 2653430.6662 | 1271153.0554
84 | 2653430.6662 | 1271153.0554 | 2653422.6849 | 1271165.7178
85 | 2653404.43 | 1271194.6796 | 2653422.6849 | 1271165.7178

## bus_geodata
| x | y | coords
0 | 2653257.759 | 1270907.5303
1 | 2653267.8626 | 1270912.5909
2 | 2653309.6123 | 1270867.7782
3 | 2653296.1018 | 1270926.9007
4 | 2653298.9943 | 1270855.1565
5 | 2653330.7583 | 1270895.815
6 | 2653326.4217 | 1270942.1876
7 | 2653287.3522 | 1270957.8132
8 | 2653324.0438 | 1270803.3268
9 | 2653365.7765 | 1270962.0299
10 | 2653285.6852 | 1270963.7026
11 | 2653214.177 | 1271102.8672
12 | 2653207.9685 | 1271112.7348
13 | 2653227.1591 | 1271079.2714
14 | 2653226.0736 | 1271130.5862
15 | 2653215.8112 | 1271073.1214
16 | 2653232.7432 | 1271069.921
17 | 2653260.0523 | 1271164.6763
18 | 2653190.8165 | 1271060.8652
19 | 2653241.8844 | 1271054.6143
20 | 2653272.9697 | 1271142.5144
21 | 2653304.1524 | 1271209.2852
22 | 2653248.803 | 1271043.0293
23 | 2653198.8258 | 1270986.8671
24 | 2653191.9736 | 1270983.0976
25 | 2653213.3846 | 1270994.8763
26 | 2653180.5797 | 1270976.8295
27 | 2653230.2788 | 1271004.1702
28 | 2653179.4535 | 1270976.21
29 | 2653241.8384 | 1271010.5294
30 | 2653261.6901 | 1271021.4503
31 | 2653266.7949 | 1271010.11
32 | 2653272.5237 | 1271031.3442
33 | 2653268.0982 | 1271007.4514
34 | 2653279.038 | 1271035.852
35 | 2653282.3015 | 1270975.6573
36 | 2653291.6751 | 1271046.2378
37 | 2653278.0571 | 1271133.7861
38 | 2653314.7647 | 1271220.5313
39 | 2653317.3174 | 1271187.7978
40 | 2653327.8111 | 1271234.3568
41 | 2653319.5151 | 1271184.2108
42 | 2653371.053 | 1270992.4374
43 | 2653376.9729 | 1270990.8118
44 | 2653365.6943 | 1271002.0594
45 | 2653385.3886 | 1270971.9181
46 | 2653358.4894 | 1271014.9964
47 | 2653400.3686 | 1270979.4712
48 | 2653372.2243 | 1271021.6649
49 | 2653419.7107 | 1270988.9855
50 | 2653283.7131 | 1270970.67
51 | 2653373.0577 | 1271022.0695
52 | 2653404.3623 | 1271020.8172
53 | 2653410.0392 | 1271009.0435
54 | 2653438.9663 | 1270998.4241
55 | 2653445.679 | 1271001.6478
56 | 2653343.0904 | 1271096.0942
57 | 2653341.6336 | 1271098.4025
58 | 2653350.437 | 1271084.4536
59 | 2653348.9018 | 1271083.5401
60 | 2653376.5689 | 1271099.9897
61 | 2653340.3923 | 1271150.4792
62 | 2653329.8228 | 1271167.387
63 | 2653334.899 | 1271075.062
64 | 2653386.4391 | 1271105.8578
65 | 2653327.6982 | 1271170.8547
66 | 2653313.945 | 1271061.6223
67 | 2653390.4525 | 1271108.2439
68 | 2653297.3217 | 1271050.9603
69 | 2653290.767 | 1271064.5272
70 | 2653306.6875 | 1271056.9674
71 | 2653289.6646 | 1271066.1052
72 | 2653423.9918 | 1271046.7986
73 | 2653429.7692 | 1271049.6036
74 | 2653414.9894 | 1271042.4279
75 | 2653448.5262 | 1271058.7103
76 | 2653463.9219 | 1270897.0501
77 | 2653401.6944 | 1270860.8154
78 | 2653329.16 | 1271235.7862
79 | 2653399.4261 | 1271113.579
80 | 2653412.0464 | 1271121.0821
81 | 2653405.2518 | 1271132.4653
82 | 2653382.6336 | 1271170.3589
83 | 2653439.8882 | 1271138.4246
84 | 2653430.6662 | 1271153.0554
85 | 2653422.6849 | 1271165.7178
86 | 2653404.43 | 1271194.6796
87 | 2653297.3217 | 1271050.9603

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1