## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4192-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4192-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4192-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4192-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4192-3_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4192-3_0_4_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_4192-3_0_4_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_4192-3_0_4_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_4192-3_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4192-3_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_4192-3_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_4192-3_0_4_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_4192-3_0_4_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_4192-3_0_4_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_4192-3_0_4_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_4192-3_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_4192-3_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_4192-3_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_4192-3_0_4_node_41 | 0.4 | n |  | TRUE
19 | bus_LV_4192-3_0_4_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_4192-3_0_4_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_4192-3_0_4_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_4192-3_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_4192-3_0_4_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_4192-3_0_4_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_4192-3_0_4_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_4192-3_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_4192-3_0_4_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_4192-3_0_4_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_4192-3_0_4_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_4192-3_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_4192-3_0_4_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_4192-3_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_4192-3_0_4_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_4192-3_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_4192-3_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_4192-3_0_4_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_4192-3_0_4_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_4192-3_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_4192-3_0_4_node_54 | 0.4 | n |  | TRUE
40 | bus_LV_4192-3_0_4_node_53 | 0.4 | n |  | TRUE
41 | bus_LV_4192-3_0_4_node_92 | 0.4 | n |  | TRUE
42 | bus_LV_4192-3_0_4_node_91 | 0.4 | n |  | TRUE
43 | bus_LV_4192-3_0_4_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_4192-3_0_4_node_93 | 0.4 | n |  | TRUE
45 | bus_LV_4192-3_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_4192-3_0_4_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_4192-3_0_4_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_4192-3_0_4_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_4192-3_0_4_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_4192-3_0_4_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_4192-3_0_4_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_4192-3_0_4_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_4192-3_0_4_node_61 | 0.4 | n |  | TRUE
54 | bus_LV_4192-3_0_4_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_4192-3_0_4_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_4192-3_0_4_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_4192-3_0_4_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_4192-3_0_4_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_4192-3_0_4_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_4192-3_0_4_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_4192-3_0_4_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_4192-3_0_4_node_90 | 0.4 | n |  | TRUE
63 | bus_LV_4192-3_0_4_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_4192-3_0_4_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_4192-3_0_4_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_4192-3_0_4_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_4192-3_0_4_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_4192-3_0_4_node_87 | 0.4 | n |  | TRUE
69 | bus_LV_4192-3_0_4_node_85 | 0.4 | n |  | TRUE
70 | bus_LV_4192-3_0_4_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_4192-3_0_4_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_4192-3_0_4_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_4192-3_0_4_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_4192-3_0_4_node_81 | 0.4 | n |  | TRUE
75 | bus_LV_4192-3_0_4_node_77 | 0.4 | n |  | TRUE
76 | bus_LV_4192-3_0_4_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_4192-3_0_4_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_4192-3_0_4_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_4192-3_0_4_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_4192-3_0_4_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_4192-3_0_4_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_4192-3_0_4_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_4192-3_0_4_node_94 | 0.4 | n |  | TRUE
84 | bus_LV_4192-3_0_4_node_84 | 0.4 | n |  | TRUE
85 | bus_LV_4192-3_0_4_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_4192-3_0_4_node_76 | 0.4 | n |  | TRUE
87 | bus_LV_4192-3_0_4_node_78 | 0.4 | n |  | TRUE
88 | bus_LV_4192-3_0_4_node_79 | 0.4 | n |  | TRUE
89 | bus_LV_4192-3_0_4_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_4192-3_0_4_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_4192-3_0_4_node_83 | 0.4 | n |  | TRUE
92 | bus_LV_4192-3_0_4_node_86 | 0.4 | n |  | TRUE
93 | bus_LV_4192-3_0_4_node_88 | 0.4 | n |  | TRUE
94 | bus_LV_4192-3_0_4_node_89 | 0.4 | n |  | TRUE
95 | bus_MV_427_1_node_100 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4192-3_0_4_load_0 | 0 | 0.0021431 | 0.00053712 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4192-3_0_4_load_1 | 1 | 0.001723 | 0.00043183 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4192-3_0_4_load_2 | 2 | 0.0016763 | 0.00042011 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4192-3_0_4_load_3 | 3 | 0.0019768 | 0.00049543 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4192-3_0_4_load_15 | 5 | 0.0015722 | 0.00039403 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4192-3_0_4_load_17 | 6 | 0.0037542 | 0.00094089 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4192-3_0_4_load_14 | 7 | 0.0017171 | 0.00043035 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4192-3_0_4_load_6 | 8 | 0.0012097 | 0.00030318 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4192-3_0_4_load_7 | 9 | 0.0017509 | 0.0004388 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4192-3_0_4_load_5 | 10 | 0.0029048 | 0.00072802 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4192-3_0_4_load_13 | 12 | 0.001386 | 0.00034735 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4192-3_0_4_load_21 | 13 | 0.0024529 | 0.00061475 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4192-3_0_4_load_32 | 14 | 0.0027643 | 0.0006928 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4192-3_0_4_load_11 | 16 | 0.0022257 | 0.00055782 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4192-3_0_4_load_9 | 17 | 0.0026003 | 0.00065169 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4192-3_0_4_load_41 | 18 | 0.0012386 | 0.00031043 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4192-3_0_4_load_42 | 19 | 0.0014112 | 0.00035368 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4192-3_0_4_load_8 | 20 | 0.002707 | 0.00067845 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4192-3_0_4_load_19 | 21 | 0.0018359 | 0.00046011 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4192-3_0_4_load_20 | 23 | 0.0012774 | 0.00032015 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4192-3_0_4_load_37 | 24 | 0.0021892 | 0.00054866 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4192-3_0_4_load_36 | 25 | 0.0020335 | 0.00050965 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4192-3_0_4_load_33 | 27 | 0.0037426 | 0.00093798 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4192-3_0_4_load_31 | 28 | 0.0027972 | 0.00070103 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4192-3_0_4_load_34 | 29 | 0.0017568 | 0.0004403 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4192-3_0_4_load_22 | 30 | 0.0023512 | 0.00058926 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4192-3_0_4_load_23 | 31 | 0.0014101 | 0.00035341 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4192-3_0_4_load_24 | 32 | 0.0029694 | 0.0007442 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4192-3_0_4_load_25 | 33 | 0.0017403 | 0.00043616 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4192-3_0_4_load_26 | 34 | 0.0042313 | 0.0010605 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4192-3_0_4_load_27 | 35 | 0.0019519 | 0.00048919 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4192-3_0_4_load_30 | 38 | 0.005987 | 0.0015005 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4192-3_0_4_load_54 | 39 | 0.0044475 | 0.0011147 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4192-3_0_4_load_53 | 40 | 0.0021735 | 0.00054473 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4192-3_0_4_load_91 | 42 | 0.001852 | 0.00046414 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4192-3_0_4_load_51 | 43 | 0.0022146 | 0.00055502 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4192-3_0_4_load_93 | 44 | 0.0037959 | 0.00095134 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4192-3_0_4_load_35 | 45 | 0.0031486 | 0.00078911 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4192-3_0_4_load_47 | 46 | 0.003023 | 0.00075763 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4192-3_0_4_load_48 | 47 | 0.0033434 | 0.00083794 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4192-3_0_4_load_46 | 48 | 0.0032341 | 0.00081054 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4192-3_0_4_load_39 | 50 | 0.0040969 | 0.0010268 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4192-3_0_4_load_40 | 51 | 0.0016936 | 0.00042447 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4192-3_0_4_load_61 | 53 | 0.0025562 | 0.00064065 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4192-3_0_4_load_44 | 54 | 0.0020248 | 0.00050745 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4192-3_0_4_load_45 | 55 | 0.0015262 | 0.00038249 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4192-3_0_4_load_60 | 56 | 0.0016843 | 0.00042212 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4192-3_0_4_load_49 | 57 | 0.0027863 | 0.00069831 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4192-3_0_4_load_62 | 58 | 0.00068158 | 0.00017082 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4192-3_0_4_load_63 | 59 | 0.0019884 | 0.00049833 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4192-3_0_4_load_50 | 60 | 0.0029564 | 0.00074094 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4192-3_0_4_load_52 | 61 | 0.0015985 | 0.00040061 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4192-3_0_4_load_55 | 63 | 0.0016991 | 0.00042584 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4192-3_0_4_load_56 | 64 | 0.0015418 | 0.00038642 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4192-3_0_4_load_57 | 65 | 0.00072864 | 0.00018261 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4192-3_0_4_load_58 | 66 | 0.0015411 | 0.00038623 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4192-3_0_4_load_59 | 67 | 0.0018753 | 0.00046999 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4192-3_0_4_load_87 | 68 | 0.0010885 | 0.00027279 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4192-3_0_4_load_64 | 70 | 0.0018821 | 0.0004717 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4192-3_0_4_load_69 | 73 | 0.0030722 | 0.00076997 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4192-3_0_4_load_81 | 74 | 0.001742 | 0.00043658 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4192-3_0_4_load_77 | 75 | 0.0014785 | 0.00037054 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4192-3_0_4_load_67 | 76 | 0.0013349 | 0.00033455 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4192-3_0_4_load_66 | 77 | 0.0024368 | 0.00061071 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4192-3_0_4_load_68 | 78 | 0.00071516 | 0.00017924 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4192-3_0_4_load_70 | 79 | 0.0019482 | 0.00048825 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4192-3_0_4_load_72 | 80 | 0.0019274 | 0.00048305 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4192-3_0_4_load_71 | 81 | 0.0021617 | 0.00054176 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4192-3_0_4_load_94 | 83 | 0.00081166 | 0.00020342 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4192-3_0_4_load_84 | 84 | 0.0019495 | 0.00048859 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4192-3_0_4_load_75 | 85 | 0.0021556 | 0.00054024 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4192-3_0_4_load_76 | 86 | 0.0030625 | 0.00076753 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4192-3_0_4_load_78 | 87 | 0.002769 | 0.00069397 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4192-3_0_4_load_79 | 88 | 0.002613 | 0.00065487 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4192-3_0_4_load_80 | 89 | 0.0027472 | 0.0006885 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4192-3_0_4_load_82 | 90 | 0.0020789 | 0.00052102 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4192-3_0_4_load_83 | 91 | 0.0016043 | 0.00040208 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4192-3_0_4_load_86 | 92 | 0.00070035 | 0.00017552 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4192-3_0_4_load_88 | 93 | 0.0015728 | 0.00039418 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4192-3_0_4_load_89 | 94 | 0.0010684 | 0.00026778 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4192-3_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4192-3_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0038465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4192-3_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0089871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4192-3_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.018517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4192-3_0_4_line_4 | NAYY 4x150 SE | 4 | 11 | 0.01765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4192-3_0_4_line_5 | NAYY 4x150 SE | 4 | 12 | 0.0071548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4192-3_0_4_line_6 | NAYY 4x150 SE | 5 | 6 | 0.010148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4192-3_0_4_line_7 | NAYY 4x150 SE | 5 | 7 | 0.0084528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4192-3_0_4_line_8 | NAYY 4x150 SE | 7 | 22 | 0.016502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4192-3_0_4_line_9 | NAYY 4x150 SE | 8 | 9 | 0.024557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4192-3_0_4_line_10 | NAYY 4x150 SE | 8 | 10 | 0.0052446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4192-3_0_4_line_11 | NAYY 4x150 SE | 9 | 15 | 0.015064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4192-3_0_4_line_12 | NAYY 4x150 SE | 11 | 13 | 0.01494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4192-3_0_4_line_13 | NAYY 4x150 SE | 12 | 14 | 0.043099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4192-3_0_4_line_14 | NAYY 4x150 SE | 13 | 23 | 0.0028236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4192-3_0_4_line_15 | NAYY 4x150 SE | 14 | 28 | 0.00029407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4192-3_0_4_line_16 | NAYY 4x150 SE | 15 | 16 | 0.021772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4192-3_0_4_line_17 | NAYY 4x150 SE | 15 | 17 | 0.022237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4192-3_0_4_line_18 | NAYY 4x150 SE | 16 | 21 | 0.020962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4192-3_0_4_line_19 | NAYY 4x150 SE | 17 | 20 | 0.0053561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4192-3_0_4_line_20 | NAYY 4x150 SE | 18 | 19 | 0.00902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4192-3_0_4_line_21 | NAYY 4x150 SE | 19 | 57 | 0.019453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4192-3_0_4_line_22 | NAYY 4x150 SE | 21 | 22 | 0.017951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4192-3_0_4_line_23 | NAYY 4x150 SE | 22 | 26 | 0.031186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4192-3_0_4_line_24 | NAYY 4x150 SE | 23 | 30 | 0.011777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_4192-3_0_4_line_25 | NAYY 4x150 SE | 24 | 25 | 0.0078049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4192-3_0_4_line_26 | NAYY 4x150 SE | 25 | 49 | 0.020404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4192-3_0_4_line_27 | NAYY 4x150 SE | 26 | 27 | 0.017003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4192-3_0_4_line_28 | NAYY 4x150 SE | 26 | 28 | 0.016146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4192-3_0_4_line_29 | NAYY 4x150 SE | 27 | 29 | 0.044671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4192-3_0_4_line_30 | NAYY 4x150 SE | 29 | 45 | 0.0010861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4192-3_0_4_line_31 | NAYY 4x150 SE | 30 | 31 | 0.0059679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_4192-3_0_4_line_32 | NAYY 4x150 SE | 31 | 32 | 0.01683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_4192-3_0_4_line_33 | NAYY 4x150 SE | 32 | 33 | 0.00052097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_4192-3_0_4_line_34 | NAYY 4x150 SE | 33 | 34 | 0.021424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_4192-3_0_4_line_35 | NAYY 4x150 SE | 34 | 35 | 0.01974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_4192-3_0_4_line_36 | NAYY 4x150 SE | 35 | 36 | 0.038637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_4192-3_0_4_line_37 | NAYY 4x150 SE | 36 | 37 | 0.023067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_4192-3_0_4_line_38 | NAYY 4x150 SE | 36 | 38 | 0.026825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4192-3_0_4_line_39 | NAYY 4x150 SE | 37 | 39 | 0.0081303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_4192-3_0_4_line_40 | NAYY 4x150 SE | 37 | 40 | 0.020874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4192-3_0_4_line_41 | NAYY 4x150 SE | 38 | 41 | 0.0075853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4192-3_0_4_line_42 | NAYY 4x150 SE | 39 | 42 | 0.02875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_4192-3_0_4_line_43 | NAYY 4x150 SE | 40 | 43 | 0.0065875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4192-3_0_4_line_44 | NAYY 4x150 SE | 41 | 44 | 0.011102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4192-3_0_4_line_45 | NAYY 4x150 SE | 42 | 62 | 0.038152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_4192-3_0_4_line_46 | NAYY 4x150 SE | 43 | 60 | 0.023345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4192-3_0_4_line_47 | NAYY 4x150 SE | 46 | 47 | 0.014072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4192-3_0_4_line_48 | NAYY 4x150 SE | 46 | 48 | 0.011802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4192-3_0_4_line_49 | NAYY 4x150 SE | 47 | 57 | 0.013612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4192-3_0_4_line_50 | NAYY 4x150 SE | 48 | 54 | 0.017346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4192-3_0_4_line_51 | NAYY 4x150 SE | 49 | 50 | 0.012666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_4192-3_0_4_line_52 | NAYY 4x150 SE | 49 | 51 | 0.013681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_4192-3_0_4_line_53 | NAYY 4x150 SE | 50 | 52 | 0.013186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_4192-3_0_4_line_54 | NAYY 4x150 SE | 51 | 53 | 0.020207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4192-3_0_4_line_55 | NAYY 4x150 SE | 52 | 54 | 0.016954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4192-3_0_4_line_56 | NAYY 4x150 SE | 52 | 55 | 0.0093265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_4192-3_0_4_line_57 | NAYY 4x150 SE | 53 | 56 | 0.0097802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4192-3_0_4_line_58 | NAYY 4x150 SE | 55 | 58 | 0.0041698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
59 | LV_4192-3_0_4_line_59 | NAYY 4x150 SE | 56 | 67 | 0.010313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4192-3_0_4_line_60 | NAYY 4x150 SE | 58 | 59 | 0.019821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
61 | LV_4192-3_0_4_line_61 | NAYY 4x150 SE | 59 | 70 | 0.00076702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
62 | LV_4192-3_0_4_line_62 | NAYY 4x150 SE | 60 | 61 | 0.015137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4192-3_0_4_line_63 | NAYY 4x150 SE | 62 | 94 | 0.020174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
64 | LV_4192-3_0_4_line_64 | NAYY 4x150 SE | 63 | 64 | 0.0089589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4192-3_0_4_line_65 | NAYY 4x150 SE | 63 | 65 | 0.0082515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4192-3_0_4_line_66 | NAYY 4x150 SE | 64 | 66 | 0.020915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4192-3_0_4_line_67 | NAYY 4x150 SE | 65 | 67 | 0.0042356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4192-3_0_4_line_68 | NAYY 4x150 SE | 68 | 69 | 0.019054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4192-3_0_4_line_69 | NAYY 4x150 SE | 69 | 92 | 0.0012123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_4192-3_0_4_line_70 | NAYY 4x150 SE | 69 | 91 | 0.011494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
71 | LV_4192-3_0_4_line_71 | NAYY 4x150 SE | 70 | 71 | 0.017161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
72 | LV_4192-3_0_4_line_72 | NAYY 4x150 SE | 71 | 72 | 0.02316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
73 | LV_4192-3_0_4_line_73 | NAYY 4x150 SE | 71 | 73 | 0.018265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4192-3_0_4_line_74 | NAYY 4x150 SE | 72 | 74 | 0.013643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
75 | LV_4192-3_0_4_line_75 | NAYY 4x150 SE | 72 | 75 | 0.014916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4192-3_0_4_line_76 | NAYY 4x150 SE | 73 | 76 | 0.022254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4192-3_0_4_line_77 | NAYY 4x150 SE | 74 | 84 | 0.025476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
78 | LV_4192-3_0_4_line_78 | NAYY 4x150 SE | 75 | 85 | 0.0061304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4192-3_0_4_line_79 | NAYY 4x150 SE | 76 | 77 | 0.0021073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4192-3_0_4_line_80 | NAYY 4x150 SE | 77 | 78 | 0.022976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4192-3_0_4_line_81 | NAYY 4x150 SE | 78 | 79 | 0.0016444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4192-3_0_4_line_82 | NAYY 4x150 SE | 79 | 80 | 0.022694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4192-3_0_4_line_83 | NAYY 4x150 SE | 80 | 81 | 0.002988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4192-3_0_4_line_84 | NAYY 4x150 SE | 81 | 82 | 0.037723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4192-3_0_4_line_85 | NAYY 4x150 SE | 82 | 83 | 0.06608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4192-3_0_4_line_86 | NAYY 4x150 SE | 84 | 90 | 0.0034445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
87 | LV_4192-3_0_4_line_87 | NAYY 4x150 SE | 85 | 86 | 0.017571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_4192-3_0_4_line_88 | NAYY 4x150 SE | 86 | 87 | 0.016207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_4192-3_0_4_line_89 | NAYY 4x150 SE | 87 | 88 | 0.025616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_4192-3_0_4_line_90 | NAYY 4x150 SE | 88 | 89 | 0.012402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_4192-3_0_4_line_91 | NAYY 4x150 SE | 90 | 91 | 0.023505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
92 | LV_4192-3_0_4_line_92 | NAYY 4x150 SE | 92 | 93 | 0.031493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
93 | LV_4192-3_0_4_line_93 | NAYY 4x150 SE | 93 | 94 | 0.011209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4192-3_0_4_trafo_40 | 0.25 MVA 20/0.4 kV | 95 | 51 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2656875.6216 | 1241007.4841 | 2656874.1097 | 1241020.9789 | 2656873.1187 | 1241025.81
1 | 2656875.6216 | 1241007.4841 | 2656876.0499 | 1241003.6615
2 | 2656871.3128 | 1241034.6138 | 2656873.1187 | 1241025.81
3 | 2656878.1115 | 1240985.2601 | 2656876.0499 | 1241003.6615
4 | 2656878.1115 | 1240985.2601 | 2656860.8967 | 1240981.1481
5 | 2656878.1115 | 1240985.2601 | 2656885.0636 | 1240986.9512
6 | 2656928.046 | 1241033.1927 | 2656931.777 | 1241024.9452 | 2656931.9114 | 1241023.8581
7 | 2656931.9114 | 1241023.8581 | 2656932.9487 | 1241015.4692
8 | 2656934.9738 | 1240999.0919 | 2656932.9487 | 1241015.4692
9 | 2656993.8774 | 1241027.9308 | 2656993.5562 | 1241052.4861
10 | 2656993.4877 | 1241057.7302 | 2656993.5562 | 1241052.4861
11 | 2656994.0744 | 1241012.868 | 2656993.8774 | 1241027.9308
12 | 2656860.8967 | 1240981.1481 | 2656846.3259 | 1240977.8482
13 | 2656885.0636 | 1240986.9512 | 2656922.7339 | 1240966.0106
14 | 2656843.572 | 1240977.2246 | 2656846.3259 | 1240977.8482
15 | 2656922.7339 | 1240966.0106 | 2656923.0259 | 1240966.0454
16 | 2656994.0744 | 1241012.868 | 2656972.8708 | 1241007.9255
17 | 2656994.0744 | 1241012.868 | 2657015.9368 | 1241016.9347
18 | 2656952.4565 | 1241003.1671 | 2656972.8708 | 1241007.9255
19 | 2657015.9368 | 1241016.9347 | 2657021.2026 | 1241017.9142
20 | 2657001.5393 | 1240909.0513 | 2657003.4008 | 1240910.1445 | 2657004.6895 | 1240916.8836
21 | 2656982.6544 | 1240905.7371 | 2656998.4159 | 1240907.217 | 2657001.5393 | 1240909.0513
22 | 2656934.9738 | 1240999.0919 | 2656952.4565 | 1241003.1671
23 | 2656934.9738 | 1240999.0919 | 2656938.6817 | 1240981.4379 | 2656938.7651 | 1240972.744 | 2656939.0119 | 1240968.299
24 | 2656843.572 | 1240977.2246 | 2656832.0863 | 1240974.6234
25 | 2656883.9284 | 1240938.8151 | 2656880.001 | 1240945.5599
26 | 2656894.1956 | 1240921.1825 | 2656883.9284 | 1240938.8151
27 | 2656939.0119 | 1240968.299 | 2656953.576 | 1240972.0856 | 2656955.5194 | 1240972.2962
28 | 2656939.0119 | 1240968.299 | 2656929.2953 | 1240966.7937 | 2656923.0259 | 1240966.0454
29 | 2656955.5194 | 1240972.2962 | 2656999.4545 | 1240964.2199
30 | 2656999.4545 | 1240964.2199 | 2656999.5739 | 1240963.1404
31 | 2656826.2658 | 1240973.3053 | 2656832.0863 | 1240974.6234
32 | 2656826.2658 | 1240973.3053 | 2656809.8514 | 1240969.5879
33 | 2656809.3432 | 1240969.4729 | 2656809.8514 | 1240969.5879
34 | 2656788.4481 | 1240964.7408 | 2656809.3432 | 1240969.4729
35 | 2656788.4481 | 1240964.7408 | 2656769.1953 | 1240960.3806
36 | 2656731.5128 | 1240951.8468 | 2656769.1953 | 1240960.3806
37 | 2656731.5128 | 1240951.8468 | 2656733.6982 | 1240928.8857
38 | 2656731.5128 | 1240951.8468 | 2656727.4693 | 1240978.3657
39 | 2656733.6982 | 1240928.8857 | 2656734.709 | 1240920.8184
40 | 2656733.6982 | 1240928.8857 | 2656754.1847 | 1240932.8906
41 | 2656726.3259 | 1240985.8643 | 2656727.4693 | 1240978.3657
42 | 2656738.2835 | 1240892.2912 | 2656734.709 | 1240920.8184
43 | 2656754.1847 | 1240932.8906 | 2656760.6498 | 1240934.1544
44 | 2656726.3259 | 1240985.8643 | 2656737.2539 | 1240987.9924
45 | 2656742.735 | 1240854.4001 | 2656738.2985 | 1240892.1718 | 2656738.2835 | 1240892.2912
46 | 2656783.5615 | 1240938.6334 | 2656760.6498 | 1240934.1544
47 | 2656969.1016 | 1240904.4646 | 2656955.0916 | 1240903.1492
48 | 2656943.341 | 1240902.0459 | 2656955.0916 | 1240903.1492
49 | 2656969.1016 | 1240904.4646 | 2656982.6544 | 1240905.7371
50 | 2656943.341 | 1240902.0459 | 2656926.0713 | 1240900.4245
51 | 2656894.1956 | 1240921.1825 | 2656901.0182 | 1240910.5115
52 | 2656894.1956 | 1240921.1825 | 2656880.6404 | 1240919.3296
53 | 2656909.2597 | 1240900.4352 | 2656905.6485 | 1240903.2692 | 2656901.0182 | 1240910.5115
54 | 2656880.6404 | 1240919.3296 | 2656860.6195 | 1240916.593
55 | 2656909.2597 | 1240900.4352 | 2656915.054 | 1240899.3901 | 2656926.0713 | 1240900.4245
56 | 2656909.2597 | 1240900.4352 | 2656908.9256 | 1240891.1147 | 2656908.9256 | 1240891.1147
57 | 2656850.9294 | 1240915.2684 | 2656860.6195 | 1240916.593
58 | 2656908.9256 | 1240891.1147 | 2656909.4619 | 1240886.9795
59 | 2656850.9294 | 1240915.2684 | 2656840.7114 | 1240913.8717
60 | 2656909.9703 | 1240867.3316 | 2656911.024 | 1240874.9351 | 2656909.4619 | 1240886.9795
61 | 2656909.865 | 1240866.5718 | 2656909.9703 | 1240867.3316
62 | 2656783.5615 | 1240938.6334 | 2656798.4169 | 1240941.5375
63 | 2656742.735 | 1240854.4001 | 2656750.2426 | 1240854.4719 | 2656762.9033 | 1240854.1151
64 | 2656828.3394 | 1240912.1806 | 2656819.463 | 1240910.9672
65 | 2656828.3394 | 1240912.1806 | 2656836.5148 | 1240913.2981
66 | 2656806.4914 | 1240898.5218 | 2656806.4715 | 1240901.463 | 2656808.3568 | 1240906.7179 | 2656812.061 | 1240909.9555 | 2656819.463 | 1240910.9672
67 | 2656840.7114 | 1240913.8717 | 2656836.5148 | 1240913.2981
68 | 2656806.8004 | 1240852.8782 | 2656806.6714 | 1240871.9315
69 | 2656806.8004 | 1240852.8782 | 2656805.5886 | 1240852.9123
70 | 2656806.8004 | 1240852.8782 | 2656818.2924 | 1240852.6488
71 | 2656907.5093 | 1240849.5734 | 2656909.865 | 1240866.5718
72 | 2656884.3476 | 1240851.3305 | 2656907.5093 | 1240849.5734
73 | 2656907.5093 | 1240849.5734 | 2656925.5612 | 1240846.7925
74 | 2656884.3476 | 1240851.3305 | 2656870.7073 | 1240851.6027
75 | 2656884.3476 | 1240851.3305 | 2656884.0632 | 1240836.4177
76 | 2656925.5612 | 1240846.7925 | 2656947.5561 | 1240843.4041
77 | 2656870.7073 | 1240851.6027 | 2656845.2363 | 1240852.1111
78 | 2656883.9463 | 1240830.2884 | 2656884.0632 | 1240836.4177
79 | 2656949.6389 | 1240843.0832 | 2656947.5561 | 1240843.4041
80 | 2656949.6389 | 1240843.0832 | 2656966.5512 | 1240840.4778 | 2656972.3658 | 1240839.7172
81 | 2656973.9963 | 1240839.5039 | 2656972.3658 | 1240839.7172
82 | 2656996.2223 | 1240835.1121 | 2656983.9714 | 1240838.199 | 2656973.9963 | 1240839.5039
83 | 2656999.1197 | 1240834.382 | 2656996.2223 | 1240835.1121
84 | 2657033.7136 | 1240820.409 | 2657026.3813 | 1240825.6977 | 2657014.8732 | 1240830.4126 | 2656999.1197 | 1240834.382
85 | 2657033.7136 | 1240820.409 | 2657097.5329 | 1240837.5469
86 | 2656841.7924 | 1240852.1798 | 2656845.2363 | 1240852.1111
87 | 2656883.9463 | 1240830.2884 | 2656883.633 | 1240813.8654 | 2656884.2338 | 1240812.8903
88 | 2656899.0731 | 1240810.0868 | 2656885.7375 | 1240810.4499 | 2656884.2338 | 1240812.8903
89 | 2656899.0731 | 1240810.0868 | 2656924.6793 | 1240809.3896
90 | 2656937.0766 | 1240809.052 | 2656924.6793 | 1240809.3896
91 | 2656841.7924 | 1240852.1798 | 2656818.2924 | 1240852.6488
92 | 2656774.1082 | 1240853.7994 | 2656805.5886 | 1240852.9123
93 | 2656774.1082 | 1240853.7994 | 2656762.9033 | 1240854.1151

## bus_geodata
| x | y | coords
0 | 2656875.6216 | 1241007.4841
1 | 2656873.1187 | 1241025.81
2 | 2656876.0499 | 1241003.6615
3 | 2656871.3128 | 1241034.6138
4 | 2656878.1115 | 1240985.2601
5 | 2656931.9114 | 1241023.8581
6 | 2656928.046 | 1241033.1927
7 | 2656932.9487 | 1241015.4692
8 | 2656993.5562 | 1241052.4861
9 | 2656993.8774 | 1241027.9308
10 | 2656993.4877 | 1241057.7302
11 | 2656860.8967 | 1240981.1481
12 | 2656885.0636 | 1240986.9512
13 | 2656846.3259 | 1240977.8482
14 | 2656922.7339 | 1240966.0106
15 | 2656994.0744 | 1241012.868
16 | 2656972.8708 | 1241007.9255
17 | 2657015.9368 | 1241016.9347
18 | 2657004.6895 | 1240916.8836
19 | 2657001.5393 | 1240909.0513
20 | 2657021.2026 | 1241017.9142
21 | 2656952.4565 | 1241003.1671
22 | 2656934.9738 | 1240999.0919
23 | 2656843.572 | 1240977.2246
24 | 2656880.001 | 1240945.5599
25 | 2656883.9284 | 1240938.8151
26 | 2656939.0119 | 1240968.299
27 | 2656955.5194 | 1240972.2962
28 | 2656923.0259 | 1240966.0454
29 | 2656999.4545 | 1240964.2199
30 | 2656832.0863 | 1240974.6234
31 | 2656826.2658 | 1240973.3053
32 | 2656809.8514 | 1240969.5879
33 | 2656809.3432 | 1240969.4729
34 | 2656788.4481 | 1240964.7408
35 | 2656769.1953 | 1240960.3806
36 | 2656731.5128 | 1240951.8468
37 | 2656733.6982 | 1240928.8857
38 | 2656727.4693 | 1240978.3657
39 | 2656734.709 | 1240920.8184
40 | 2656754.1847 | 1240932.8906
41 | 2656726.3259 | 1240985.8643
42 | 2656738.2835 | 1240892.2912
43 | 2656760.6498 | 1240934.1544
44 | 2656737.2539 | 1240987.9924
45 | 2656999.5739 | 1240963.1404
46 | 2656955.0916 | 1240903.1492
47 | 2656969.1016 | 1240904.4646
48 | 2656943.341 | 1240902.0459
49 | 2656894.1956 | 1240921.1825
50 | 2656901.0182 | 1240910.5115
51 | 2656880.6404 | 1240919.3296
52 | 2656909.2597 | 1240900.4352
53 | 2656860.6195 | 1240916.593
54 | 2656926.0713 | 1240900.4245
55 | 2656908.9256 | 1240891.1147
56 | 2656850.9294 | 1240915.2684
57 | 2656982.6544 | 1240905.7371
58 | 2656909.4619 | 1240886.9795
59 | 2656909.9703 | 1240867.3316
60 | 2656783.5615 | 1240938.6334
61 | 2656798.4169 | 1240941.5375
62 | 2656742.735 | 1240854.4001
63 | 2656828.3394 | 1240912.1806
64 | 2656819.463 | 1240910.9672
65 | 2656836.5148 | 1240913.2981
66 | 2656806.4914 | 1240898.5218
67 | 2656840.7114 | 1240913.8717
68 | 2656806.6714 | 1240871.9315
69 | 2656806.8004 | 1240852.8782
70 | 2656909.865 | 1240866.5718
71 | 2656907.5093 | 1240849.5734
72 | 2656884.3476 | 1240851.3305
73 | 2656925.5612 | 1240846.7925
74 | 2656870.7073 | 1240851.6027
75 | 2656884.0632 | 1240836.4177
76 | 2656947.5561 | 1240843.4041
77 | 2656949.6389 | 1240843.0832
78 | 2656972.3658 | 1240839.7172
79 | 2656973.9963 | 1240839.5039
80 | 2656996.2223 | 1240835.1121
81 | 2656999.1197 | 1240834.382
82 | 2657033.7136 | 1240820.409
83 | 2657097.5329 | 1240837.5469
84 | 2656845.2363 | 1240852.1111
85 | 2656883.9463 | 1240830.2884
86 | 2656884.2338 | 1240812.8903
87 | 2656899.0731 | 1240810.0868
88 | 2656924.6793 | 1240809.3896
89 | 2656937.0766 | 1240809.052
90 | 2656841.7924 | 1240852.1798
91 | 2656818.2924 | 1240852.6488
92 | 2656805.5886 | 1240852.9123
93 | 2656774.1082 | 1240853.7994
94 | 2656762.9033 | 1240854.1151
95 | 2656894.1956 | 1240921.1825

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1