## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4192-6_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4192-6_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4192-6_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4192-6_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4192-6_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4192-6_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4192-6_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4192-6_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_4192-6_0_2_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_4192-6_0_2_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_4192-6_0_2_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_4192-6_0_2_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_4192-6_0_2_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_4192-6_0_2_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_4192-6_0_2_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_4192-6_0_2_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_4192-6_0_2_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_4192-6_0_2_node_94 | 0.4 | n |  | TRUE
18 | bus_LV_4192-6_0_2_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_4192-6_0_2_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_4192-6_0_2_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_4192-6_0_2_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_4192-6_0_2_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_4192-6_0_2_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_4192-6_0_2_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_4192-6_0_2_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_4192-6_0_2_node_96 | 0.4 | n |  | TRUE
27 | bus_LV_4192-6_0_2_node_92 | 0.4 | n |  | TRUE
28 | bus_LV_4192-6_0_2_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_4192-6_0_2_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_4192-6_0_2_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_4192-6_0_2_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_4192-6_0_2_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_4192-6_0_2_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_4192-6_0_2_node_61 | 0.4 | n |  | TRUE
35 | bus_LV_4192-6_0_2_node_60 | 0.4 | n |  | TRUE
36 | bus_LV_4192-6_0_2_node_57 | 0.4 | n |  | TRUE
37 | bus_LV_4192-6_0_2_node_58 | 0.4 | n |  | TRUE
38 | bus_LV_4192-6_0_2_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_4192-6_0_2_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_4192-6_0_2_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_4192-6_0_2_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_4192-6_0_2_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_4192-6_0_2_node_50 | 0.4 | n |  | TRUE
44 | bus_LV_4192-6_0_2_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_4192-6_0_2_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_4192-6_0_2_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_4192-6_0_2_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_4192-6_0_2_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_4192-6_0_2_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_4192-6_0_2_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_4192-6_0_2_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_4192-6_0_2_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_4192-6_0_2_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_4192-6_0_2_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_4192-6_0_2_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_4192-6_0_2_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_4192-6_0_2_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_4192-6_0_2_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_4192-6_0_2_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_4192-6_0_2_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_4192-6_0_2_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_4192-6_0_2_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_4192-6_0_2_node_93 | 0.4 | n |  | TRUE
64 | bus_LV_4192-6_0_2_node_95 | 0.4 | n |  | TRUE
65 | bus_LV_4192-6_0_2_node_97 | 0.4 | n |  | TRUE
66 | bus_LV_4192-6_0_2_node_98 | 0.4 | n |  | TRUE
67 | bus_LV_4192-6_0_2_node_99 | 0.4 | n |  | TRUE
68 | bus_LV_4192-6_0_2_node_102 | 0.4 | n |  | TRUE
69 | bus_LV_4192-6_0_2_node_112 | 0.4 | n |  | TRUE
70 | bus_LV_4192-6_0_2_node_100 | 0.4 | n |  | TRUE
71 | bus_LV_4192-6_0_2_node_113 | 0.4 | n |  | TRUE
72 | bus_LV_4192-6_0_2_node_101 | 0.4 | n |  | TRUE
73 | bus_LV_4192-6_0_2_node_103 | 0.4 | n |  | TRUE
74 | bus_LV_4192-6_0_2_node_104 | 0.4 | n |  | TRUE
75 | bus_LV_4192-6_0_2_node_105 | 0.4 | n |  | TRUE
76 | bus_LV_4192-6_0_2_node_106 | 0.4 | n |  | TRUE
77 | bus_LV_4192-6_0_2_node_114 | 0.4 | n |  | TRUE
78 | bus_MV_427_1_node_109 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4192-6_0_2_load_0 | 0 | 0.0010364 | 0.00025974 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4192-6_0_2_load_4 | 4 | 0.00048276 | 0.00012099 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4192-6_0_2_load_6 | 6 | 0.005781 | 0.0014489 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4192-6_0_2_load_7 | 7 | 0.00045386 | 0.00011375 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4192-6_0_2_load_12 | 9 | 0.0022459 | 0.00056287 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4192-6_0_2_load_8 | 10 | 0.0029922 | 0.00074992 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4192-6_0_2_load_9 | 11 | 0.00055111 | 0.00013812 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4192-6_0_2_load_14 | 14 | 0.0024938 | 0.00062501 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4192-6_0_2_load_18 | 15 | 0.00079127 | 0.00019831 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4192-6_0_2_load_15 | 16 | 0.0017609 | 0.00044133 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4192-6_0_2_load_16 | 18 | 0.00090086 | 0.00022578 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4192-6_0_2_load_20 | 20 | 0.0013803 | 0.00034592 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4192-6_0_2_load_22 | 22 | 0.00043678 | 0.00010947 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4192-6_0_2_load_19 | 23 | 0.00051334 | 0.00012865 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4192-6_0_2_load_23 | 24 | 0.00052309 | 0.0001311 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4192-6_0_2_load_24 | 25 | 0.0016374 | 0.00041036 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4192-6_0_2_load_96 | 26 | 0.00076421 | 0.00019153 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4192-6_0_2_load_92 | 27 | 0.0007975 | 0.00019987 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4192-6_0_2_load_28 | 28 | 0.001392 | 0.00034888 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4192-6_0_2_load_33 | 29 | 0.0023404 | 0.00058656 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4192-6_0_2_load_29 | 30 | 0.00069812 | 0.00017496 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4192-6_0_2_load_36 | 31 | 0.001416 | 0.00035488 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4192-6_0_2_load_37 | 32 | 0.0014107 | 0.00035357 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4192-6_0_2_load_61 | 34 | 0.00061325 | 0.00015369 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4192-6_0_2_load_60 | 35 | 0.00060145 | 0.00015074 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4192-6_0_2_load_57 | 36 | 0.0015381 | 0.00038548 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4192-6_0_2_load_58 | 37 | 0.00041421 | 0.00010381 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4192-6_0_2_load_30 | 38 | 0.0015394 | 0.00038582 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4192-6_0_2_load_32 | 39 | 0.0012053 | 0.00030208 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4192-6_0_2_load_34 | 40 | 0.0014063 | 0.00035246 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4192-6_0_2_load_50 | 43 | 0.0057473 | 0.0014404 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4192-6_0_2_load_52 | 44 | 0.0027482 | 0.00068877 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4192-6_0_2_load_38 | 46 | 0.00084597 | 0.00021202 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4192-6_0_2_load_39 | 47 | 0.00099725 | 0.00024993 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4192-6_0_2_load_40 | 48 | 0.0012673 | 0.00031761 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4192-6_0_2_load_41 | 49 | 0.0013866 | 0.0003475 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4192-6_0_2_load_42 | 50 | 0.001322 | 0.00033131 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4192-6_0_2_load_44 | 52 | 0.0026642 | 0.00066772 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4192-6_0_2_load_45 | 53 | 0.0029837 | 0.00074778 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4192-6_0_2_load_48 | 54 | 0.0045116 | 0.0011307 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4192-6_0_2_load_47 | 55 | 0.0026899 | 0.00067416 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4192-6_0_2_load_49 | 56 | 0.001322 | 0.00033132 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4192-6_0_2_load_53 | 57 | 0.0024 | 0.00060151 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4192-6_0_2_load_54 | 58 | 0.0058938 | 0.0014771 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4192-6_0_2_load_55 | 59 | 0.0030566 | 0.00076606 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4192-6_0_2_load_56 | 60 | 0.0021998 | 0.00055131 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4192-6_0_2_load_62 | 61 | 0.0010768 | 0.00026986 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4192-6_0_2_load_59 | 62 | 0.0010672 | 0.00026747 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4192-6_0_2_load_93 | 63 | 0.0003344 | 8.3809e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4192-6_0_2_load_97 | 65 | 0.00031265 | 7.8358e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4192-6_0_2_load_98 | 66 | 0.00071565 | 0.00017936 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4192-6_0_2_load_99 | 67 | 0.00075025 | 0.00018803 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4192-6_0_2_load_112 | 69 | 0.0014364 | 0.00036 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4192-6_0_2_load_100 | 70 | 0.002049 | 0.00051352 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4192-6_0_2_load_113 | 71 | 0.00020011 | 5.0153e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4192-6_0_2_load_101 | 72 | 0.0017981 | 0.00045064 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4192-6_0_2_load_104 | 74 | 0.00049017 | 0.00012285 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4192-6_0_2_load_106 | 76 | 0.00047106 | 0.00011806 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4192-6_0_2_load_114 | 77 | 0.00021743 | 5.4492e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4192-6_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0079504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4192-6_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.044106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4192-6_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.019648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4192-6_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.017181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4192-6_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.014845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4192-6_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.036209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4192-6_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.049323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4192-6_0_2_line_7 | NAYY 4x150 SE | 7 | 8 | 0.023973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4192-6_0_2_line_8 | NAYY 4x150 SE | 8 | 9 | 0.087263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4192-6_0_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.042272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4192-6_0_2_line_10 | NAYY 4x150 SE | 10 | 11 | 0.022465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4192-6_0_2_line_11 | NAYY 4x150 SE | 11 | 12 | 0.016929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4192-6_0_2_line_12 | NAYY 4x150 SE | 12 | 13 | 0.046027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4192-6_0_2_line_13 | NAYY 4x150 SE | 12 | 14 | 0.038246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4192-6_0_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.029179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4192-6_0_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.042088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4192-6_0_2_line_16 | NAYY 4x150 SE | 15 | 17 | 0.016498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4192-6_0_2_line_17 | NAYY 4x150 SE | 16 | 18 | 0.0060538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4192-6_0_2_line_18 | NAYY 4x150 SE | 17 | 26 | 0.02145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4192-6_0_2_line_19 | NAYY 4x150 SE | 17 | 27 | 0.043242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4192-6_0_2_line_20 | NAYY 4x150 SE | 18 | 19 | 0.014413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4192-6_0_2_line_21 | NAYY 4x150 SE | 19 | 20 | 0.021572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4192-6_0_2_line_22 | NAYY 4x150 SE | 19 | 21 | 0.0358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4192-6_0_2_line_23 | NAYY 4x150 SE | 20 | 22 | 0.029272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4192-6_0_2_line_24 | NAYY 4x150 SE | 20 | 23 | 0.027461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4192-6_0_2_line_25 | NAYY 4x150 SE | 21 | 24 | 0.017239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4192-6_0_2_line_26 | NAYY 4x150 SE | 21 | 25 | 0.020266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4192-6_0_2_line_27 | NAYY 4x150 SE | 22 | 28 | 0.0043552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4192-6_0_2_line_28 | NAYY 4x150 SE | 25 | 29 | 0.0045274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4192-6_0_2_line_29 | NAYY 4x150 SE | 26 | 67 | 0.013036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4192-6_0_2_line_30 | NAYY 4x150 SE | 27 | 63 | 0.00067363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4192-6_0_2_line_31 | NAYY 4x150 SE | 28 | 30 | 0.023839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4192-6_0_2_line_32 | NAYY 4x150 SE | 29 | 33 | 0.018611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4192-6_0_2_line_33 | NAYY 4x150 SE | 30 | 36 | 0.0059508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4192-6_0_2_line_34 | NAYY 4x150 SE | 31 | 32 | 0.0071079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4192-6_0_2_line_35 | NAYY 4x150 SE | 32 | 46 | 0.018173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4192-6_0_2_line_36 | NAYY 4x150 SE | 33 | 40 | 0.050868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4192-6_0_2_line_37 | NAYY 4x150 SE | 33 | 38 | 0.047258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4192-6_0_2_line_38 | NAYY 4x150 SE | 34 | 35 | 0.018227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4192-6_0_2_line_39 | NAYY 4x150 SE | 35 | 62 | 0.027594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4192-6_0_2_line_40 | NAYY 4x150 SE | 36 | 37 | 0.05202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4192-6_0_2_line_41 | NAYY 4x150 SE | 37 | 62 | 0.021526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4192-6_0_2_line_42 | NAYY 4x150 SE | 38 | 39 | 0.00060801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4192-6_0_2_line_43 | NAYY 4x150 SE | 40 | 41 | 0.014292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4192-6_0_2_line_44 | NAYY 4x150 SE | 41 | 42 | 0.011283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4192-6_0_2_line_45 | NAYY 4x150 SE | 41 | 43 | 0.029344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4192-6_0_2_line_46 | NAYY 4x150 SE | 42 | 44 | 0.032218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4192-6_0_2_line_47 | NAYY 4x150 SE | 43 | 45 | 0.010118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4192-6_0_2_line_48 | NAYY 4x150 SE | 44 | 57 | 0.0027205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4192-6_0_2_line_49 | NAYY 4x150 SE | 45 | 54 | 0.018598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4192-6_0_2_line_50 | NAYY 4x150 SE | 45 | 53 | 0.028065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4192-6_0_2_line_51 | NAYY 4x150 SE | 46 | 47 | 0.023808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4192-6_0_2_line_52 | NAYY 4x150 SE | 47 | 48 | 0.010586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4192-6_0_2_line_53 | NAYY 4x150 SE | 48 | 49 | 0.017928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4192-6_0_2_line_54 | NAYY 4x150 SE | 49 | 50 | 0.0033522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4192-6_0_2_line_55 | NAYY 4x150 SE | 50 | 51 | 0.015599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4192-6_0_2_line_56 | NAYY 4x150 SE | 51 | 52 | 0.0080702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4192-6_0_2_line_57 | NAYY 4x150 SE | 51 | 53 | 0.034188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4192-6_0_2_line_58 | NAYY 4x150 SE | 54 | 55 | 0.0014717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4192-6_0_2_line_59 | NAYY 4x150 SE | 55 | 56 | 0.0090936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4192-6_0_2_line_60 | NAYY 4x150 SE | 57 | 58 | 0.074503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4192-6_0_2_line_61 | NAYY 4x150 SE | 58 | 59 | 0.0032201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4192-6_0_2_line_62 | NAYY 4x150 SE | 59 | 60 | 0.035641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4192-6_0_2_line_63 | NAYY 4x150 SE | 60 | 61 | 0.015931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4192-6_0_2_line_64 | NAYY 4x150 SE | 63 | 64 | 0.011464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4192-6_0_2_line_65 | NAYY 4x150 SE | 64 | 65 | 0.024684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4192-6_0_2_line_66 | NAYY 4x150 SE | 64 | 66 | 0.012452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4192-6_0_2_line_67 | NAYY 4x150 SE | 65 | 68 | 0.0031471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4192-6_0_2_line_68 | NAYY 4x150 SE | 67 | 69 | 0.0087897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4192-6_0_2_line_69 | NAYY 4x150 SE | 68 | 70 | 0.027102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4192-6_0_2_line_70 | NAYY 4x150 SE | 69 | 71 | 0.0044058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4192-6_0_2_line_71 | NAYY 4x150 SE | 70 | 72 | 0.036058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4192-6_0_2_line_72 | NAYY 4x150 SE | 71 | 77 | 0.017061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4192-6_0_2_line_73 | NAYY 4x150 SE | 72 | 73 | 0.027019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4192-6_0_2_line_74 | NAYY 4x150 SE | 73 | 74 | 0.052317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4192-6_0_2_line_75 | NAYY 4x150 SE | 73 | 75 | 0.022048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4192-6_0_2_line_76 | NAYY 4x150 SE | 75 | 76 | 0.0043787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4192-6_0_2_trafo_24 | 0.25 MVA 20/0.4 kV | 78 | 25 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2656838.5719 | 1240222.0177 | 2656842.3301 | 1240215.0117
1 | 2656863.1795 | 1240176.145 | 2656842.3301 | 1240215.0117
2 | 2656838.5719 | 1240222.0177 | 2656822.1453 | 1240211.1645
3 | 2656863.1795 | 1240176.145 | 2656878.331 | 1240184.3288
4 | 2656869.8779 | 1240162.8892 | 2656863.1795 | 1240176.145
5 | 2656822.1453 | 1240211.1645 | 2656840.232 | 1240179.7968
6 | 2656869.8779 | 1240162.8892 | 2656892.1255 | 1240118.8689
7 | 2656902.9387 | 1240097.4734 | 2656892.1255 | 1240118.8689
8 | 2656902.9387 | 1240097.4734 | 2656889.157 | 1240089.9364 | 2656898.4504 | 1240072.6362 | 2656877.6685 | 1240060.9071 | 2656871.0382 | 1240059.9319 | 2656859.7865 | 1240067.7405 | 2656856.1844 | 1240074.4965
9 | 2656902.9387 | 1240097.4734 | 2656915.9735 | 1240071.6923 | 2656922.0555 | 1240059.7707
10 | 2656922.0555 | 1240059.7707 | 2656932.2645 | 1240039.7598
11 | 2656939.9579 | 1240024.6798 | 2656932.2645 | 1240039.7598
12 | 2656899.1996 | 1240003.1527 | 2656907.3337 | 1240006.6107 | 2656939.9579 | 1240024.6798
13 | 2656939.9579 | 1240024.6798 | 2656946.2936 | 1240027.1978 | 2656952.3002 | 1240025.3986 | 2656959.3379 | 1240013.069 | 2656966.4177 | 1240004.7002
14 | 2656899.1996 | 1240003.1527 | 2656891.1831 | 1239994.5258 | 2656892.5043 | 1239984.4984 | 2656894.4061 | 1239978.5905 | 2656894.9599 | 1239977.6613
15 | 2656966.4177 | 1240004.7002 | 2656993.6007 | 1239972.5677
16 | 2656903.4063 | 1239963.4889 | 2656894.9599 | 1239977.6613
17 | 2656993.6007 | 1239972.5677 | 2656997.3768 | 1239968.104 | 2656997.5203 | 1239967.9546
18 | 2656903.4063 | 1239963.4889 | 2656884.7589 | 1239952.889
19 | 2656903.4063 | 1239963.4889 | 2656924.6472 | 1239925.8232
20 | 2657007.5057 | 1239957.5609 | 2656997.5203 | 1239967.9546
21 | 2657007.5057 | 1239957.5609 | 2657021.9802 | 1239941.5656
22 | 2657035.6192 | 1239979.1451 | 2657020.6377 | 1239964.2469 | 2657007.5057 | 1239957.5609
23 | 2657043.1095 | 1239921.4485 | 2657032.7216 | 1239929.6955 | 2657021.9802 | 1239941.5656
24 | 2657021.9802 | 1239941.5656 | 2656998.3991 | 1239927.4934
25 | 2657035.6192 | 1239979.1451 | 2657025.1507 | 1239992.8421
26 | 2657035.6192 | 1239979.1451 | 2657050.5027 | 1239990.8625 | 2657051.6337 | 1239991.5502
27 | 2657043.1095 | 1239921.4485 | 2657046.5205 | 1239918.7405
28 | 2657055.5021 | 1239993.9025 | 2657051.6337 | 1239991.5502
29 | 2656884.7589 | 1239952.889 | 2656873.4259 | 1239946.447
30 | 2656924.6472 | 1239925.8232 | 2656924.9781 | 1239925.2365
31 | 2657062.8077 | 1239901.6903 | 2657056.5357 | 1239910.7894 | 2657046.5205 | 1239918.7405
32 | 2657071.4037 | 1240003.5717 | 2657055.5021 | 1239993.9025
33 | 2657062.8077 | 1239901.6903 | 2657065.946 | 1239897.1374 | 2657066.1847 | 1239896.7905
34 | 2657017.9068 | 1240039.5988 | 2657012.6523 | 1240034.8121
35 | 2657017.9068 | 1240039.5988 | 2657031.3414 | 1240051.8374
36 | 2657071.4037 | 1240003.5717 | 2657085.5397 | 1240008.8555 | 2657100.1738 | 1240010.3082 | 2657121.188 | 1240011.8487
37 | 2657071.4037 | 1240003.5717 | 2657075.48 | 1239996.4617 | 2657080.1716 | 1239989.0797 | 2657082.6268 | 1239978.3294 | 2657082.0541 | 1239969.4736 | 2657079.3928 | 1239959.4051
38 | 2657123.3491 | 1239813.3849 | 2657134.2957 | 1239798.8111
39 | 2657107.4695 | 1239835.9315 | 2657113.9187 | 1239825.9401 | 2657123.3491 | 1239813.3849
40 | 2657066.1847 | 1239896.7905 | 2657095.6675 | 1239853.9323
41 | 2657095.6675 | 1239853.9323 | 2657098.634 | 1239849.62 | 2657107.4695 | 1239835.9315
42 | 2657079.3928 | 1239959.4051 | 2657079.2375 | 1239958.8172
43 | 2657135.442 | 1240012.8935 | 2657121.188 | 1240011.8487
44 | 2657144.8642 | 1240006.6467 | 2657135.442 | 1240012.8935
45 | 2657135.442 | 1240012.8935 | 2657132.5009 | 1240025.4069 | 2657124.1486 | 1240039.6242
46 | 2657144.8642 | 1240006.6467 | 2657161.0822 | 1239978.8087
47 | 2657119.0235 | 1240048.3481 | 2657124.1486 | 1240039.6242
48 | 2657162.4516 | 1239976.458 | 2657161.0822 | 1239978.8087
49 | 2657119.0235 | 1240048.3481 | 2657106.3066 | 1240040.1982 | 2657103.1452 | 1240038.7118
50 | 2657119.0235 | 1240048.3481 | 2657103.2476 | 1240071.5591
51 | 2657031.3414 | 1240051.8374 | 2657048.9413 | 1240067.8703
52 | 2657056.7667 | 1240074.9992 | 2657048.9413 | 1240067.8703
53 | 2657056.7667 | 1240074.9992 | 2657070.0201 | 1240087.0726
54 | 2657072.4982 | 1240089.3301 | 2657070.0201 | 1240087.0726
55 | 2657084.0295 | 1240099.8348 | 2657072.4982 | 1240089.3301
56 | 2657084.0295 | 1240099.8348 | 2657080.0898 | 1240106.878
57 | 2657084.0295 | 1240099.8348 | 2657103.2476 | 1240071.5591
58 | 2657101.8134 | 1240038.0856 | 2657103.1452 | 1240038.7118
59 | 2657093.584 | 1240034.2163 | 2657101.8134 | 1240038.0856
60 | 2657162.4516 | 1239976.458 | 2657170.5007 | 1239962.6419 | 2657181.8331 | 1239937.1007 | 2657197.2241 | 1239910.6872
61 | 2657197.2241 | 1239910.6872 | 2657198.8453 | 1239907.905
62 | 2657198.8453 | 1239907.905 | 2657206.1859 | 1239895.3074 | 2657220.4388 | 1239879.8019
63 | 2657220.4388 | 1239879.8019 | 2657223.9854 | 1239875.9437 | 2657229.7689 | 1239866.9526
64 | 2656930.6093 | 1239915.2508 | 2656924.9781 | 1239925.2365
65 | 2656930.6093 | 1239915.2508 | 2656921.0959 | 1239908.9332 | 2656913.0864 | 1239898.3604
66 | 2656930.6093 | 1239915.2508 | 2656938.1248 | 1239912.2542 | 2656942.4846 | 1239912.1367
67 | 2656911.1861 | 1239895.8518 | 2656913.0864 | 1239898.3604
68 | 2656865.7845 | 1239942.1033 | 2656865.7845 | 1239942.1033 | 2656873.4259 | 1239946.447
69 | 2656911.1861 | 1239895.8518 | 2656918.5634 | 1239884.3927 | 2656926.0964 | 1239873.2219
70 | 2656865.7845 | 1239942.1033 | 2656867.7647 | 1239938.1676
71 | 2656926.0964 | 1239873.2219 | 2656934.0139 | 1239861.4811 | 2656941.4533 | 1239852.2351 | 2656949.3676 | 1239846.0746
72 | 2656875.433 | 1239922.9272 | 2656867.7647 | 1239938.1676
73 | 2656970.6888 | 1239829.4781 | 2656949.3676 | 1239846.0746
74 | 2656970.6888 | 1239829.4781 | 2656980.0884 | 1239839.7862 | 2656997.5558 | 1239873.9465
75 | 2656985.6728 | 1239813.4445 | 2656982.0874 | 1239815.8895 | 2656970.6888 | 1239829.4781
76 | 2656985.6728 | 1239813.4445 | 2656989.2926 | 1239810.9808

## bus_geodata
| x | y | coords
0 | 2656842.3301 | 1240215.0117
1 | 2656838.5719 | 1240222.0177
2 | 2656863.1795 | 1240176.145
3 | 2656822.1453 | 1240211.1645
4 | 2656878.331 | 1240184.3288
5 | 2656869.8779 | 1240162.8892
6 | 2656840.232 | 1240179.7968
7 | 2656892.1255 | 1240118.8689
8 | 2656902.9387 | 1240097.4734
9 | 2656856.1844 | 1240074.4965
10 | 2656922.0555 | 1240059.7707
11 | 2656932.2645 | 1240039.7598
12 | 2656939.9579 | 1240024.6798
13 | 2656899.1996 | 1240003.1527
14 | 2656966.4177 | 1240004.7002
15 | 2656894.9599 | 1239977.6613
16 | 2656993.6007 | 1239972.5677
17 | 2656903.4063 | 1239963.4889
18 | 2656997.5203 | 1239967.9546
19 | 2657007.5057 | 1239957.5609
20 | 2657021.9802 | 1239941.5656
21 | 2657035.6192 | 1239979.1451
22 | 2657043.1095 | 1239921.4485
23 | 2656998.3991 | 1239927.4934
24 | 2657025.1507 | 1239992.8421
25 | 2657051.6337 | 1239991.5502
26 | 2656884.7589 | 1239952.889
27 | 2656924.6472 | 1239925.8232
28 | 2657046.5205 | 1239918.7405
29 | 2657055.5021 | 1239993.9025
30 | 2657062.8077 | 1239901.6903
31 | 2657012.6523 | 1240034.8121
32 | 2657017.9068 | 1240039.5988
33 | 2657071.4037 | 1240003.5717
34 | 2657134.2957 | 1239798.8111
35 | 2657123.3491 | 1239813.3849
36 | 2657066.1847 | 1239896.7905
37 | 2657095.6675 | 1239853.9323
38 | 2657079.3928 | 1239959.4051
39 | 2657079.2375 | 1239958.8172
40 | 2657121.188 | 1240011.8487
41 | 2657135.442 | 1240012.8935
42 | 2657144.8642 | 1240006.6467
43 | 2657124.1486 | 1240039.6242
44 | 2657161.0822 | 1239978.8087
45 | 2657119.0235 | 1240048.3481
46 | 2657031.3414 | 1240051.8374
47 | 2657048.9413 | 1240067.8703
48 | 2657056.7667 | 1240074.9992
49 | 2657070.0201 | 1240087.0726
50 | 2657072.4982 | 1240089.3301
51 | 2657084.0295 | 1240099.8348
52 | 2657080.0898 | 1240106.878
53 | 2657103.2476 | 1240071.5591
54 | 2657103.1452 | 1240038.7118
55 | 2657101.8134 | 1240038.0856
56 | 2657093.584 | 1240034.2163
57 | 2657162.4516 | 1239976.458
58 | 2657197.2241 | 1239910.6872
59 | 2657198.8453 | 1239907.905
60 | 2657220.4388 | 1239879.8019
61 | 2657229.7689 | 1239866.9526
62 | 2657107.4695 | 1239835.9315
63 | 2656924.9781 | 1239925.2365
64 | 2656930.6093 | 1239915.2508
65 | 2656913.0864 | 1239898.3604
66 | 2656942.4846 | 1239912.1367
67 | 2656873.4259 | 1239946.447
68 | 2656911.1861 | 1239895.8518
69 | 2656865.7845 | 1239942.1033
70 | 2656926.0964 | 1239873.2219
71 | 2656867.7647 | 1239938.1676
72 | 2656949.3676 | 1239846.0746
73 | 2656970.6888 | 1239829.4781
74 | 2656997.5558 | 1239873.9465
75 | 2656985.6728 | 1239813.4445
76 | 2656989.2926 | 1239810.9808
77 | 2656875.433 | 1239922.9272
78 | 2657035.6192 | 1239979.1451

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1