## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4196-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4196-2_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4196-2_0_4_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_4196-2_0_4_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_4196-2_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_4196-2_0_4_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_4196-2_0_4_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_4196-2_0_4_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_4196-2_0_4_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_4196-2_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_4196-2_0_4_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_4196-2_0_4_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_4196-2_0_4_node_41 | 0.4 | n |  | TRUE
13 | bus_LV_4196-2_0_4_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_4196-2_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_4196-2_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4196-2_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_4196-2_0_4_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_4196-2_0_4_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_4196-2_0_4_node_39 | 0.4 | n |  | TRUE
20 | bus_LV_4196-2_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_4196-2_0_4_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_4196-2_0_4_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_4196-2_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_4196-2_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_4196-2_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_4196-2_0_4_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_4196-2_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_4196-2_0_4_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_4196-2_0_4_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_4196-2_0_4_node_42 | 0.4 | n |  | TRUE
31 | bus_LV_4196-2_0_4_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_4196-2_0_4_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_4196-2_0_4_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_4196-2_0_4_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_4196-2_0_4_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_4196-2_0_4_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_4196-2_0_4_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_4196-2_0_4_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_4196-2_0_4_node_60 | 0.4 | n |  | TRUE
40 | bus_LV_4196-2_0_4_node_58 | 0.4 | n |  | TRUE
41 | bus_LV_4196-2_0_4_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_4196-2_0_4_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_4196-2_0_4_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_4196-2_0_4_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_4196-2_0_4_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_4196-2_0_4_node_71 | 0.4 | n |  | TRUE
47 | bus_LV_4196-2_0_4_node_68 | 0.4 | n |  | TRUE
48 | bus_LV_4196-2_0_4_node_70 | 0.4 | n |  | TRUE
49 | bus_LV_4196-2_0_4_node_67 | 0.4 | n |  | TRUE
50 | bus_LV_4196-2_0_4_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_4196-2_0_4_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_4196-2_0_4_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_4196-2_0_4_node_62 | 0.4 | n |  | TRUE
54 | bus_LV_4196-2_0_4_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_4196-2_0_4_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_4196-2_0_4_node_66 | 0.4 | n |  | TRUE
57 | bus_LV_4196-2_0_4_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_4196-2_0_4_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_4196-2_0_4_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_4196-2_0_4_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_4196-2_0_4_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_4196-2_0_4_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_4196-2_0_4_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_4196-2_0_4_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_4196-2_0_4_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_4196-2_0_4_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_4196-2_0_4_node_69 | 0.4 | n |  | TRUE
68 | bus_MV_470_0_node_338 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4196-2_0_4_load_0 | 0 | 0.0061058 | 0.0015302 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4196-2_0_4_load_5 | 2 | 0.0036579 | 0.00091676 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4196-2_0_4_load_3 | 4 | 0.0030463 | 0.00076347 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4196-2_0_4_load_10 | 5 | 0.0033363 | 0.00083617 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4196-2_0_4_load_12 | 6 | 0.0068925 | 0.0017274 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4196-2_0_4_load_16 | 7 | 0.0041958 | 0.0010516 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4196-2_0_4_load_13 | 8 | 0.0092424 | 0.0023164 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4196-2_0_4_load_8 | 9 | 0.0013787 | 0.00034553 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4196-2_0_4_load_21 | 10 | 0.0048757 | 0.001222 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4196-2_0_4_load_19 | 11 | 0.00073902 | 0.00018522 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4196-2_0_4_load_41 | 12 | 0.0036061 | 0.00090377 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4196-2_0_4_load_14 | 13 | 0.0026275 | 0.0006585 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4196-2_0_4_load_7 | 14 | 0.0027215 | 0.00068206 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4196-2_0_4_load_9 | 15 | 0.0055338 | 0.0013869 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4196-2_0_4_load_11 | 16 | 0.0016191 | 0.00040579 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4196-2_0_4_load_39 | 19 | 0.0052991 | 0.0013281 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4196-2_0_4_load_15 | 20 | 0.0028124 | 0.00070486 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4196-2_0_4_load_31 | 21 | 0.0012191 | 0.00030555 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4196-2_0_4_load_32 | 22 | 0.0018514 | 0.000464 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4196-2_0_4_load_17 | 23 | 0.00053113 | 0.00013311 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4196-2_0_4_load_18 | 24 | 0.0020182 | 0.0005058 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4196-2_0_4_load_20 | 25 | 0.0018062 | 0.00045267 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4196-2_0_4_load_23 | 26 | 0.0010304 | 0.00025824 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4196-2_0_4_load_40 | 29 | 0.0036952 | 0.00092612 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4196-2_0_4_load_42 | 30 | 0.00074467 | 0.00018663 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4196-2_0_4_load_47 | 31 | 0.0016635 | 0.00041692 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4196-2_0_4_load_25 | 32 | 0.0037332 | 0.00093563 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4196-2_0_4_load_46 | 36 | 0.0047002 | 0.001178 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4196-2_0_4_load_43 | 37 | 0.0032539 | 0.00081551 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4196-2_0_4_load_44 | 38 | 0.0027247 | 0.00068287 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4196-2_0_4_load_60 | 39 | 0.0064272 | 0.0016108 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4196-2_0_4_load_33 | 41 | 0.0038247 | 0.00095857 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4196-2_0_4_load_34 | 42 | 0.0014158 | 0.00035484 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4196-2_0_4_load_36 | 43 | 0.0038269 | 0.0009591 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4196-2_0_4_load_45 | 45 | 0.0012187 | 0.00030544 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4196-2_0_4_load_71 | 46 | 0.0013208 | 0.00033102 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4196-2_0_4_load_68 | 47 | 0.0012125 | 0.00030389 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4196-2_0_4_load_70 | 48 | 0.0025144 | 0.00063018 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4196-2_0_4_load_67 | 49 | 0.0012233 | 0.00030658 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4196-2_0_4_load_49 | 51 | 0.0021693 | 0.00054369 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4196-2_0_4_load_59 | 52 | 0.0027322 | 0.00068474 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4196-2_0_4_load_55 | 55 | 0.0047576 | 0.0011924 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4196-2_0_4_load_66 | 56 | 0.0015414 | 0.0003863 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4196-2_0_4_load_61 | 57 | 0.001986 | 0.00049775 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4196-2_0_4_load_51 | 58 | 0.0016378 | 0.00041046 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4196-2_0_4_load_52 | 59 | 0.0011521 | 0.00028874 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4196-2_0_4_load_53 | 60 | 0.0041062 | 0.0010291 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4196-2_0_4_load_54 | 61 | 0.0015086 | 0.0003781 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4196-2_0_4_load_63 | 62 | 0.0019989 | 0.00050098 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4196-2_0_4_load_57 | 64 | 0.0025435 | 0.00063746 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4196-2_0_4_load_65 | 65 | 0.0024974 | 0.00062591 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4196-2_0_4_load_64 | 66 | 0.00165 | 0.00041353 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4196-2_0_4_load_69 | 67 | 0.0038363 | 0.00096146 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4196-2_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.019147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4196-2_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.031964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4196-2_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.009712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4196-2_0_4_line_3 | NAYY 4x150 SE | 2 | 6 | 0.01974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4196-2_0_4_line_4 | NAYY 4x150 SE | 3 | 7 | 0.017079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4196-2_0_4_line_5 | NAYY 4x150 SE | 3 | 8 | 0.0055112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4196-2_0_4_line_6 | NAYY 4x150 SE | 4 | 5 | 0.0067998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4196-2_0_4_line_7 | NAYY 4x150 SE | 5 | 9 | 0.011265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4196-2_0_4_line_8 | NAYY 4x150 SE | 7 | 12 | 0.0030821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4196-2_0_4_line_9 | NAYY 4x150 SE | 8 | 13 | 0.026537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4196-2_0_4_line_10 | NAYY 4x150 SE | 9 | 14 | 0.0096487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4196-2_0_4_line_11 | NAYY 4x150 SE | 10 | 11 | 0.0048664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4196-2_0_4_line_12 | NAYY 4x150 SE | 11 | 23 | 0.011503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4196-2_0_4_line_13 | NAYY 4x150 SE | 12 | 18 | 0.023461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4196-2_0_4_line_14 | NAYY 4x150 SE | 13 | 20 | 0.017208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4196-2_0_4_line_15 | NAYY 4x150 SE | 14 | 15 | 0.0019151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4196-2_0_4_line_16 | NAYY 4x150 SE | 15 | 16 | 0.0044559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4196-2_0_4_line_17 | NAYY 4x150 SE | 16 | 17 | 0.01864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4196-2_0_4_line_18 | NAYY 4x150 SE | 17 | 18 | 0.011241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4196-2_0_4_line_19 | NAYY 4x150 SE | 17 | 19 | 0.035467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4196-2_0_4_line_20 | NAYY 4x150 SE | 18 | 28 | 0.012745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_4196-2_0_4_line_21 | NAYY 4x150 SE | 19 | 29 | 0.034183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4196-2_0_4_line_22 | NAYY 4x150 SE | 20 | 21 | 0.0098498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4196-2_0_4_line_23 | NAYY 4x150 SE | 21 | 22 | 0.01782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4196-2_0_4_line_24 | NAYY 4x150 SE | 22 | 34 | 0.019561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4196-2_0_4_line_25 | NAYY 4x150 SE | 23 | 24 | 0.015749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4196-2_0_4_line_26 | NAYY 4x150 SE | 24 | 25 | 0.0038055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4196-2_0_4_line_27 | NAYY 4x150 SE | 25 | 26 | 0.021736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4196-2_0_4_line_28 | NAYY 4x150 SE | 26 | 27 | 0.012945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4196-2_0_4_line_29 | NAYY 4x150 SE | 27 | 30 | 0.0087299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4196-2_0_4_line_30 | NAYY 4x150 SE | 27 | 29 | 0.018205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4196-2_0_4_line_31 | NAYY 4x150 SE | 28 | 44 | 0.036609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_4196-2_0_4_line_32 | NAYY 4x150 SE | 28 | 41 | 0.0031213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4196-2_0_4_line_33 | NAYY 4x150 SE | 30 | 31 | 0.019926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4196-2_0_4_line_34 | NAYY 4x150 SE | 31 | 50 | 0.029227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4196-2_0_4_line_35 | NAYY 4x150 SE | 32 | 33 | 0.0205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4196-2_0_4_line_36 | NAYY 4x150 SE | 33 | 34 | 0.014301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4196-2_0_4_line_37 | NAYY 4x150 SE | 35 | 36 | 0.0042374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4196-2_0_4_line_38 | NAYY 4x150 SE | 35 | 37 | 0.024065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4196-2_0_4_line_39 | NAYY 4x150 SE | 37 | 38 | 0.0076578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4196-2_0_4_line_40 | NAYY 4x150 SE | 38 | 45 | 0.021326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4196-2_0_4_line_41 | NAYY 4x150 SE | 39 | 40 | 0.028788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4196-2_0_4_line_42 | NAYY 4x150 SE | 40 | 63 | 0.060822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4196-2_0_4_line_43 | NAYY 4x150 SE | 41 | 42 | 0.019847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4196-2_0_4_line_44 | NAYY 4x150 SE | 42 | 43 | 0.0081379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4196-2_0_4_line_45 | NAYY 4x150 SE | 43 | 45 | 0.0090733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4196-2_0_4_line_46 | NAYY 4x150 SE | 44 | 46 | 0.018683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4196-2_0_4_line_47 | NAYY 4x150 SE | 44 | 47 | 0.020334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4196-2_0_4_line_48 | NAYY 4x150 SE | 46 | 48 | 0.017459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4196-2_0_4_line_49 | NAYY 4x150 SE | 47 | 49 | 0.00027465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4196-2_0_4_line_50 | NAYY 4x150 SE | 48 | 62 | 0.0094155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4196-2_0_4_line_51 | NAYY 4x150 SE | 49 | 67 | 0.0070844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4196-2_0_4_line_52 | NAYY 4x150 SE | 50 | 51 | 0.020769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4196-2_0_4_line_53 | NAYY 4x150 SE | 51 | 52 | 0.019181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4196-2_0_4_line_54 | NAYY 4x150 SE | 51 | 53 | 0.031599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4196-2_0_4_line_55 | NAYY 4x150 SE | 52 | 54 | 0.05369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4196-2_0_4_line_56 | NAYY 4x150 SE | 53 | 56 | 0.012722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4196-2_0_4_line_57 | NAYY 4x150 SE | 53 | 57 | 0.009822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4196-2_0_4_line_58 | NAYY 4x150 SE | 54 | 55 | 0.027349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4196-2_0_4_line_59 | NAYY 4x150 SE | 56 | 65 | 0.0089647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4196-2_0_4_line_60 | NAYY 4x150 SE | 57 | 64 | 0.00078874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4196-2_0_4_line_61 | NAYY 4x150 SE | 58 | 59 | 0.004822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4196-2_0_4_line_62 | NAYY 4x150 SE | 58 | 60 | 0.0038227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4196-2_0_4_line_63 | NAYY 4x150 SE | 59 | 61 | 0.00086203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4196-2_0_4_line_64 | NAYY 4x150 SE | 61 | 62 | 0.012473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4196-2_0_4_line_65 | NAYY 4x150 SE | 63 | 64 | 0.058249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4196-2_0_4_line_66 | NAYY 4x150 SE | 65 | 66 | 0.0037365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4196-2_0_4_trafo_37 | 0.25 MVA 20/0.4 kV | 68 | 44 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2660685.7867 | 1238457.021 | 2660701.9052 | 1238467.3555
1 | 2660685.7867 | 1238457.021 | 2660676.9877 | 1238470.5068 | 2660679.8568 | 1238486.1066
2 | 2660677.7643 | 1238451.5132 | 2660685.7867 | 1238457.021
3 | 2660681.4365 | 1238505.7716 | 2660680.2125 | 1238488.0403 | 2660679.8568 | 1238486.1066
4 | 2660677.7643 | 1238451.5132 | 2660690.6552 | 1238440.3094
5 | 2660677.7643 | 1238451.5132 | 2660673.5341 | 1238447.9807
6 | 2660733.4291 | 1238481.1209 | 2660731.6725 | 1238476.2027 | 2660731.2532 | 1238474.6821
7 | 2660728.2591 | 1238463.8225 | 2660731.2532 | 1238474.6821
8 | 2660692.9815 | 1238438.2875 | 2660690.6552 | 1238440.3094
9 | 2660653.1651 | 1238430.9711 | 2660673.5341 | 1238447.9807
10 | 2660725.6946 | 1238454.5209 | 2660728.2591 | 1238463.8225
11 | 2660798.602 | 1238476.5599 | 2660798.9782 | 1238481.4118
12 | 2660798.602 | 1238476.5599 | 2660797.7128 | 1238465.091
13 | 2660710.6895 | 1238422.8971 | 2660692.9815 | 1238438.2875
14 | 2660640.2211 | 1238419.6324 | 2660653.0431 | 1238430.8692 | 2660653.1651 | 1238430.9711
15 | 2660725.6946 | 1238454.5209 | 2660725.1856 | 1238452.6747
16 | 2660724.0013 | 1238448.3791 | 2660725.1856 | 1238452.6747
17 | 2660719.047 | 1238430.4098 | 2660724.0013 | 1238448.3791
18 | 2660719.047 | 1238430.4098 | 2660715.1166 | 1238426.4114 | 2660710.6895 | 1238422.8971
19 | 2660719.047 | 1238430.4098 | 2660723.1807 | 1238427.8392 | 2660730.3297 | 1238415.9376 | 2660733.774 | 1238412.0036 | 2660740.0466 | 1238408.1318 | 2660744.0976 | 1238407.4039
20 | 2660706.9711 | 1238410.7399 | 2660708.192 | 1238413.3986 | 2660710.6895 | 1238422.8971
21 | 2660744.0976 | 1238407.4039 | 2660747.3067 | 1238406.8274 | 2660755.3092 | 1238406.887 | 2660768.1942 | 1238407.3524 | 2660778.1619 | 1238408.4334
22 | 2660640.2211 | 1238419.6324 | 2660632.8134 | 1238413.1405
23 | 2660619.4118 | 1238401.3957 | 2660632.8134 | 1238413.1405
24 | 2660604.7005 | 1238388.5032 | 2660619.4118 | 1238401.3957
25 | 2660797.7128 | 1238465.091 | 2660797.242 | 1238459.0174 | 2660797.0146 | 1238449.3634
26 | 2660796.925 | 1238445.5589 | 2660797.0146 | 1238449.3634
27 | 2660796.925 | 1238445.5589 | 2660796.7464 | 1238437.9761 | 2660796.4606 | 1238423.8278
28 | 2660796.1993 | 1238410.8857 | 2660796.4606 | 1238423.8278
29 | 2660796.1993 | 1238410.8857 | 2660801.9585 | 1238404.3251
30 | 2660796.1993 | 1238410.8857 | 2660781.4399 | 1238408.7889 | 2660778.1619 | 1238408.4334
31 | 2660738.3345 | 1238393.5935 | 2660724.0194 | 1238398.3503 | 2660717.1073 | 1238406.3072 | 2660706.9711 | 1238410.7399
32 | 2660706.9711 | 1238410.7399 | 2660705.669 | 1238407.9032
33 | 2660801.9585 | 1238404.3251 | 2660803.1641 | 1238402.9517 | 2660816.8607 | 1238391.3842 | 2660816.9934 | 1238391.2767
34 | 2660839.6983 | 1238372.8723 | 2660816.9934 | 1238391.2767
35 | 2660609.6019 | 1238375.1999 | 2660621.6334 | 1238361.469 | 2660623.2162 | 1238359.8787
36 | 2660609.6019 | 1238375.1999 | 2660608.2349 | 1238381.6569 | 2660604.7005 | 1238388.5032
37 | 2660666.4745 | 1238326.7703 | 2660664.2652 | 1238323.1544
38 | 2660666.4745 | 1238326.7703 | 2660676.8955 | 1238348.462
39 | 2660676.8955 | 1238348.462 | 2660680.2116 | 1238355.3646
40 | 2660680.2116 | 1238355.3646 | 2660689.4467 | 1238374.5878
41 | 2660735.6683 | 1238226.0768 | 2660708.5953 | 1238235.8633
42 | 2660735.6683 | 1238226.0768 | 2660752.5605 | 1238246.0072 | 2660780.0284 | 1238267.3579
43 | 2660705.669 | 1238407.9032 | 2660703.9817 | 1238404.2272 | 2660697.8871 | 1238392.1569 | 2660696.8997 | 1238390.1015
44 | 2660693.3757 | 1238382.7662 | 2660696.8997 | 1238390.1015
45 | 2660693.3757 | 1238382.7662 | 2660689.4467 | 1238374.5878
46 | 2660738.3345 | 1238393.5935 | 2660733.7042 | 1238375.4937
47 | 2660738.3345 | 1238393.5935 | 2660746.5727 | 1238394.2782 | 2660758.6403 | 1238394.2152
48 | 2660729.3771 | 1238358.579 | 2660733.7042 | 1238375.4937
49 | 2660758.6403 | 1238394.2152 | 2660758.9149 | 1238394.2137
50 | 2660737.3052 | 1238354.8061 | 2660729.1916 | 1238357.854 | 2660729.3771 | 1238358.579
51 | 2660765.9992 | 1238394.1767 | 2660758.9149 | 1238394.2137
52 | 2660839.6983 | 1238372.8723 | 2660835.1419 | 1238363.5306 | 2660830.4941 | 1238354.2435
53 | 2660830.4941 | 1238354.2435 | 2660842.7699 | 1238339.5058
54 | 2660814.4339 | 1238327.0053 | 2660830.4941 | 1238354.2435
55 | 2660872.2476 | 1238294.7203 | 2660861.6794 | 1238311.7456 | 2660848.9057 | 1238332.1395 | 2660842.7699 | 1238339.5058
56 | 2660814.4339 | 1238327.0053 | 2660802.6062 | 1238331.6918
57 | 2660814.4339 | 1238327.0053 | 2660810.8947 | 1238320.9984 | 2660809.4811 | 1238318.5237
58 | 2660872.2476 | 1238294.7203 | 2660845.9743 | 1238287.1239
59 | 2660802.6062 | 1238331.6918 | 2660794.272 | 1238334.9942
60 | 2660809.4811 | 1238318.5237 | 2660809.0899 | 1238317.8388
61 | 2660753.6278 | 1238346.9126 | 2660749.3548 | 1238349.1472
62 | 2660757.0152 | 1238345.1411 | 2660753.6278 | 1238346.9126
63 | 2660749.3548 | 1238349.1472 | 2660748.591 | 1238349.5467
64 | 2660737.3052 | 1238354.8061 | 2660741.668 | 1238353.1673 | 2660748.591 | 1238349.5467
65 | 2660780.0284 | 1238267.3579 | 2660792.1455 | 1238288.1736 | 2660809.0899 | 1238317.8388
66 | 2660790.7982 | 1238336.3706 | 2660794.272 | 1238334.9942

## bus_geodata
| x | y | coords
0 | 2660701.9052 | 1238467.3555
1 | 2660685.7867 | 1238457.021
2 | 2660679.8568 | 1238486.1066
3 | 2660677.7643 | 1238451.5132
4 | 2660733.4291 | 1238481.1209
5 | 2660731.2532 | 1238474.6821
6 | 2660681.4365 | 1238505.7716
7 | 2660690.6552 | 1238440.3094
8 | 2660673.5341 | 1238447.9807
9 | 2660728.2591 | 1238463.8225
10 | 2660798.9782 | 1238481.4118
11 | 2660798.602 | 1238476.5599
12 | 2660692.9815 | 1238438.2875
13 | 2660653.1651 | 1238430.9711
14 | 2660725.6946 | 1238454.5209
15 | 2660725.1856 | 1238452.6747
16 | 2660724.0013 | 1238448.3791
17 | 2660719.047 | 1238430.4098
18 | 2660710.6895 | 1238422.8971
19 | 2660744.0976 | 1238407.4039
20 | 2660640.2211 | 1238419.6324
21 | 2660632.8134 | 1238413.1405
22 | 2660619.4118 | 1238401.3957
23 | 2660797.7128 | 1238465.091
24 | 2660797.0146 | 1238449.3634
25 | 2660796.925 | 1238445.5589
26 | 2660796.4606 | 1238423.8278
27 | 2660796.1993 | 1238410.8857
28 | 2660706.9711 | 1238410.7399
29 | 2660778.1619 | 1238408.4334
30 | 2660801.9585 | 1238404.3251
31 | 2660816.9934 | 1238391.2767
32 | 2660623.2162 | 1238359.8787
33 | 2660609.6019 | 1238375.1999
34 | 2660604.7005 | 1238388.5032
35 | 2660666.4745 | 1238326.7703
36 | 2660664.2652 | 1238323.1544
37 | 2660676.8955 | 1238348.462
38 | 2660680.2116 | 1238355.3646
39 | 2660708.5953 | 1238235.8633
40 | 2660735.6683 | 1238226.0768
41 | 2660705.669 | 1238407.9032
42 | 2660696.8997 | 1238390.1015
43 | 2660693.3757 | 1238382.7662
44 | 2660738.3345 | 1238393.5935
45 | 2660689.4467 | 1238374.5878
46 | 2660733.7042 | 1238375.4937
47 | 2660758.6403 | 1238394.2152
48 | 2660729.3771 | 1238358.579
49 | 2660758.9149 | 1238394.2137
50 | 2660839.6983 | 1238372.8723
51 | 2660830.4941 | 1238354.2435
52 | 2660842.7699 | 1238339.5058
53 | 2660814.4339 | 1238327.0053
54 | 2660872.2476 | 1238294.7203
55 | 2660845.9743 | 1238287.1239
56 | 2660802.6062 | 1238331.6918
57 | 2660809.4811 | 1238318.5237
58 | 2660753.6278 | 1238346.9126
59 | 2660749.3548 | 1238349.1472
60 | 2660757.0152 | 1238345.1411
61 | 2660748.591 | 1238349.5467
62 | 2660737.3052 | 1238354.8061
63 | 2660780.0284 | 1238267.3579
64 | 2660809.0899 | 1238317.8388
65 | 2660794.272 | 1238334.9942
66 | 2660790.7982 | 1238336.3706
67 | 2660765.9992 | 1238394.1767
68 | 2660765.9992 | 1238394.1767

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1