## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4196-3_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4196-3_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4196-3_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4196-3_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4196-3_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4196-3_0_2_node_70 | 0.4 | n |  | TRUE
6 | bus_LV_4196-3_0_2_node_73 | 0.4 | n |  | TRUE
7 | bus_LV_4196-3_0_2_node_71 | 0.4 | n |  | TRUE
8 | bus_LV_4196-3_0_2_node_72 | 0.4 | n |  | TRUE
9 | bus_LV_4196-3_0_2_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_4196-3_0_2_node_39 | 0.4 | n |  | TRUE
11 | bus_LV_4196-3_0_2_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_4196-3_0_2_node_37 | 0.4 | n |  | TRUE
13 | bus_LV_4196-3_0_2_node_65 | 0.4 | n |  | TRUE
14 | bus_LV_4196-3_0_2_node_5 | 0.4 | n |  | TRUE
15 | bus_LV_4196-3_0_2_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_4196-3_0_2_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_4196-3_0_2_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_4196-3_0_2_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_4196-3_0_2_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_4196-3_0_2_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_4196-3_0_2_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_4196-3_0_2_node_69 | 0.4 | n |  | TRUE
23 | bus_LV_4196-3_0_2_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_4196-3_0_2_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_4196-3_0_2_node_67 | 0.4 | n |  | TRUE
26 | bus_LV_4196-3_0_2_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_4196-3_0_2_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_4196-3_0_2_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_4196-3_0_2_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_4196-3_0_2_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_4196-3_0_2_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_4196-3_0_2_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_4196-3_0_2_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_4196-3_0_2_node_43 | 0.4 | n |  | TRUE
35 | bus_LV_4196-3_0_2_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_4196-3_0_2_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_4196-3_0_2_node_16 | 0.4 | n |  | TRUE
38 | bus_LV_4196-3_0_2_node_17 | 0.4 | n |  | TRUE
39 | bus_LV_4196-3_0_2_node_18 | 0.4 | n |  | TRUE
40 | bus_LV_4196-3_0_2_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_4196-3_0_2_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_4196-3_0_2_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_4196-3_0_2_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_4196-3_0_2_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_4196-3_0_2_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_4196-3_0_2_node_64 | 0.4 | n |  | TRUE
47 | bus_LV_4196-3_0_2_node_66 | 0.4 | n |  | TRUE
48 | bus_LV_4196-3_0_2_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_4196-3_0_2_node_68 | 0.4 | n |  | TRUE
50 | bus_LV_4196-3_0_2_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_4196-3_0_2_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_4196-3_0_2_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_4196-3_0_2_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_4196-3_0_2_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_4196-3_0_2_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_4196-3_0_2_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_4196-3_0_2_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_4196-3_0_2_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_4196-3_0_2_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_4196-3_0_2_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_4196-3_0_2_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_4196-3_0_2_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_4196-3_0_2_node_82 | 0.4 | n |  | TRUE
64 | bus_LV_4196-3_0_2_node_79 | 0.4 | n |  | TRUE
65 | bus_LV_4196-3_0_2_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_4196-3_0_2_node_86 | 0.4 | n |  | TRUE
67 | bus_LV_4196-3_0_2_node_81 | 0.4 | n |  | TRUE
68 | bus_LV_4196-3_0_2_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_4196-3_0_2_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_4196-3_0_2_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_4196-3_0_2_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_4196-3_0_2_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_4196-3_0_2_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_4196-3_0_2_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_4196-3_0_2_node_85 | 0.4 | n |  | TRUE
76 | bus_LV_4196-3_0_2_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_4196-3_0_2_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_4196-3_0_2_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_4196-3_0_2_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_4196-3_0_2_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_4196-3_0_2_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_4196-3_0_2_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_4196-3_0_2_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_4196-3_0_2_node_78 | 0.4 | n |  | TRUE
85 | bus_LV_4196-3_0_2_node_84 | 0.4 | n |  | TRUE
86 | bus_MV_470_0_node_228 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4196-3_0_2_load_0 | 0 | 0.0070731 | 0.0017727 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4196-3_0_2_load_1 | 1 | 0.0078693 | 0.0019722 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4196-3_0_2_load_3 | 3 | 0.0037806 | 0.00094751 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4196-3_0_2_load_4 | 4 | 0.00057194 | 0.00014334 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4196-3_0_2_load_73 | 6 | 0.0010854 | 0.00027203 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4196-3_0_2_load_71 | 7 | 0.0025396 | 0.00063649 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4196-3_0_2_load_72 | 8 | 0.0017249 | 0.00043231 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4196-3_0_2_load_25 | 9 | 0.0010845 | 0.0002718 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4196-3_0_2_load_23 | 11 | 0.0023324 | 0.00058456 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4196-3_0_2_load_37 | 12 | 0.0019784 | 0.00049584 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4196-3_0_2_load_65 | 13 | 0.0010619 | 0.00026613 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4196-3_0_2_load_5 | 14 | 0.0013218 | 0.00033127 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4196-3_0_2_load_6 | 15 | 0.0013062 | 0.00032736 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4196-3_0_2_load_8 | 17 | 0.0016544 | 0.00041464 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4196-3_0_2_load_9 | 18 | 0.0029529 | 0.00074006 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4196-3_0_2_load_10 | 19 | 0.0037846 | 0.00094851 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4196-3_0_2_load_20 | 20 | 0.0011415 | 0.0002861 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4196-3_0_2_load_27 | 21 | 0.0024303 | 0.00060909 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4196-3_0_2_load_69 | 22 | 0.0011356 | 0.0002846 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4196-3_0_2_load_19 | 23 | 0.0036042 | 0.00090331 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4196-3_0_2_load_26 | 24 | 0.0011491 | 0.00028799 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4196-3_0_2_load_67 | 25 | 0.00044471 | 0.00011146 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4196-3_0_2_load_41 | 26 | 0.0038213 | 0.0009577 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4196-3_0_2_load_11 | 27 | 0.00062892 | 0.00015762 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4196-3_0_2_load_12 | 28 | 0.0015737 | 0.00039439 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4196-3_0_2_load_13 | 29 | 0.0031357 | 0.00078587 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4196-3_0_2_load_14 | 30 | 0.00099448 | 0.00024924 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4196-3_0_2_load_15 | 31 | 0.0010046 | 0.00025177 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4196-3_0_2_load_33 | 32 | 0.00094242 | 0.00023619 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4196-3_0_2_load_43 | 34 | 0.0062436 | 0.0015648 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4196-3_0_2_load_29 | 35 | 0.0012951 | 0.00032457 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4196-3_0_2_load_30 | 36 | 0.00064613 | 0.00016194 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4196-3_0_2_load_16 | 37 | 0.0025095 | 0.00062893 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4196-3_0_2_load_17 | 38 | 0.0084756 | 0.0021242 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4196-3_0_2_load_18 | 39 | 0.0034951 | 0.00087596 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4196-3_0_2_load_38 | 40 | 0.0020333 | 0.0005096 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4196-3_0_2_load_40 | 41 | 0.0010058 | 0.00025207 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4196-3_0_2_load_44 | 42 | 0.0056397 | 0.0014134 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4196-3_0_2_load_21 | 43 | 0.00085421 | 0.00021408 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4196-3_0_2_load_22 | 44 | 0.0024052 | 0.00060279 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4196-3_0_2_load_24 | 45 | 0.0012263 | 0.00030734 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4196-3_0_2_load_66 | 47 | 0.0011039 | 0.00027667 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4196-3_0_2_load_62 | 48 | 0.00034579 | 8.6662e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4196-3_0_2_load_68 | 49 | 0.0011485 | 0.00028785 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4196-3_0_2_load_31 | 50 | 0.0029543 | 0.00074041 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4196-3_0_2_load_32 | 51 | 0.0022927 | 0.00057459 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4196-3_0_2_load_34 | 52 | 0.0034404 | 0.00086225 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4196-3_0_2_load_35 | 53 | 0.0018832 | 0.00047199 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4196-3_0_2_load_42 | 54 | 0.0012719 | 0.00031876 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4196-3_0_2_load_36 | 55 | 0.0021058 | 0.00052775 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4196-3_0_2_load_45 | 56 | 0.0020555 | 0.00051517 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4196-3_0_2_load_46 | 57 | 0.0018213 | 0.00045647 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4196-3_0_2_load_48 | 59 | 0.0022454 | 0.00056276 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4196-3_0_2_load_49 | 60 | 0.0011498 | 0.00028817 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4196-3_0_2_load_50 | 61 | 0.0011618 | 0.00029118 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4196-3_0_2_load_51 | 62 | 0.00068291 | 0.00017115 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4196-3_0_2_load_79 | 64 | 0.0014521 | 0.00036394 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4196-3_0_2_load_52 | 65 | 0.0018838 | 0.00047213 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4196-3_0_2_load_86 | 66 | 0.0038267 | 0.00095905 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4196-3_0_2_load_81 | 67 | 0.0019536 | 0.00048962 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4196-3_0_2_load_53 | 68 | 0.00040588 | 0.00010172 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4196-3_0_2_load_54 | 69 | 0.0042669 | 0.0010694 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4196-3_0_2_load_56 | 71 | 0.0025843 | 0.00064768 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4196-3_0_2_load_57 | 72 | 0.0011099 | 0.00027816 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4196-3_0_2_load_85 | 75 | 0.0054617 | 0.0013688 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4196-3_0_2_load_63 | 76 | 0.0013385 | 0.00033547 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4196-3_0_2_load_60 | 77 | 0.00035718 | 8.9517e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4196-3_0_2_load_59 | 78 | 0.00254 | 0.00063658 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4196-3_0_2_load_75 | 79 | 0.0016976 | 0.00042546 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4196-3_0_2_load_74 | 80 | 0.0038219 | 0.00095786 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4196-3_0_2_load_76 | 81 | 0.0011916 | 0.00029864 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4196-3_0_2_load_78 | 84 | 0.0010753 | 0.0002695 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4196-3_0_2_load_84 | 85 | 0.0014711 | 0.00036869 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4196-3_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.045883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4196-3_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.020692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4196-3_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.033765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4196-3_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0043728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4196-3_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.022974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_4196-3_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.031504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_4196-3_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.046965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4196-3_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.022367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4196-3_0_2_line_8 | NAYY 4x150 SE | 6 | 13 | 0.012672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_4196-3_0_2_line_9 | NAYY 4x150 SE | 7 | 67 | 0.015089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_4196-3_0_2_line_10 | NAYY 4x150 SE | 8 | 79 | 0.035705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4196-3_0_2_line_11 | NAYY 4x150 SE | 9 | 10 | 0.040733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4196-3_0_2_line_12 | NAYY 4x150 SE | 9 | 11 | 0.025902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_4196-3_0_2_line_13 | NAYY 4x150 SE | 10 | 12 | 0.020539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4196-3_0_2_line_14 | NAYY 4x150 SE | 11 | 43 | 0.001826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_4196-3_0_2_line_15 | NAYY 4x150 SE | 12 | 40 | 0.037148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4196-3_0_2_line_16 | NAYY 4x150 SE | 13 | 46 | 0.0087945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4196-3_0_2_line_17 | NAYY 4x150 SE | 14 | 15 | 0.02382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_4196-3_0_2_line_18 | NAYY 4x150 SE | 14 | 16 | 0.011662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4196-3_0_2_line_19 | NAYY 4x150 SE | 15 | 17 | 0.0088375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4196-3_0_2_line_20 | NAYY 4x150 SE | 16 | 18 | 0.019627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_4196-3_0_2_line_21 | NAYY 4x150 SE | 16 | 19 | 0.043048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4196-3_0_2_line_22 | NAYY 4x150 SE | 17 | 20 | 0.015029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4196-3_0_2_line_23 | NAYY 4x150 SE | 18 | 21 | 0.016752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4196-3_0_2_line_24 | NAYY 4x150 SE | 19 | 22 | 0.028772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4196-3_0_2_line_25 | NAYY 4x150 SE | 20 | 23 | 0.013852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4196-3_0_2_line_26 | NAYY 4x150 SE | 21 | 24 | 0.0077252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4196-3_0_2_line_27 | NAYY 4x150 SE | 22 | 25 | 0.0035775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4196-3_0_2_line_28 | NAYY 4x150 SE | 22 | 26 | 0.057566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4196-3_0_2_line_29 | NAYY 4x150 SE | 23 | 39 | 0.0094394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4196-3_0_2_line_30 | NAYY 4x150 SE | 24 | 33 | 0.020493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4196-3_0_2_line_31 | NAYY 4x150 SE | 25 | 49 | 0.011478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4196-3_0_2_line_32 | NAYY 4x150 SE | 26 | 45 | 0.0015939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4196-3_0_2_line_33 | NAYY 4x150 SE | 27 | 28 | 0.018805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4196-3_0_2_line_34 | NAYY 4x150 SE | 27 | 29 | 0.010069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4196-3_0_2_line_35 | NAYY 4x150 SE | 28 | 30 | 0.00042525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4196-3_0_2_line_36 | NAYY 4x150 SE | 29 | 31 | 0.0088379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4196-3_0_2_line_37 | NAYY 4x150 SE | 30 | 32 | 0.012118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4196-3_0_2_line_38 | NAYY 4x150 SE | 31 | 33 | 0.019406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4196-3_0_2_line_39 | NAYY 4x150 SE | 32 | 34 | 0.098651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4196-3_0_2_line_40 | NAYY 4x150 SE | 33 | 35 | 0.011619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4196-3_0_2_line_41 | NAYY 4x150 SE | 33 | 36 | 0.029169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4196-3_0_2_line_42 | NAYY 4x150 SE | 34 | 54 | 0.017638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4196-3_0_2_line_43 | NAYY 4x150 SE | 35 | 50 | 0.032813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4196-3_0_2_line_44 | NAYY 4x150 SE | 37 | 38 | 0.0053366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4196-3_0_2_line_45 | NAYY 4x150 SE | 37 | 39 | 0.020546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4196-3_0_2_line_46 | NAYY 4x150 SE | 40 | 41 | 0.0055857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4196-3_0_2_line_47 | NAYY 4x150 SE | 41 | 42 | 0.0073349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4196-3_0_2_line_48 | NAYY 4x150 SE | 43 | 44 | 0.035059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4196-3_0_2_line_49 | NAYY 4x150 SE | 44 | 45 | 0.0021781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4196-3_0_2_line_50 | NAYY 4x150 SE | 46 | 47 | 0.0053386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4196-3_0_2_line_51 | NAYY 4x150 SE | 46 | 48 | 0.010654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4196-3_0_2_line_52 | NAYY 4x150 SE | 47 | 49 | 0.012805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4196-3_0_2_line_53 | NAYY 4x150 SE | 48 | 76 | 0.0092811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4196-3_0_2_line_54 | NAYY 4x150 SE | 50 | 51 | 0.0003941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4196-3_0_2_line_55 | NAYY 4x150 SE | 51 | 52 | 0.029137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4196-3_0_2_line_56 | NAYY 4x150 SE | 52 | 53 | 0.00014109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4196-3_0_2_line_57 | NAYY 4x150 SE | 53 | 55 | 0.016544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4196-3_0_2_line_58 | NAYY 4x150 SE | 56 | 57 | 0.027846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4196-3_0_2_line_59 | NAYY 4x150 SE | 56 | 58 | 0.0095832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4196-3_0_2_line_60 | NAYY 4x150 SE | 57 | 59 | 0.0023611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4196-3_0_2_line_61 | NAYY 4x150 SE | 58 | 60 | 0.047079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4196-3_0_2_line_62 | NAYY 4x150 SE | 58 | 61 | 0.014921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4196-3_0_2_line_63 | NAYY 4x150 SE | 59 | 62 | 0.011871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4196-3_0_2_line_64 | NAYY 4x150 SE | 60 | 63 | 0.057389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4196-3_0_2_line_65 | NAYY 4x150 SE | 61 | 64 | 0.034439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4196-3_0_2_line_66 | NAYY 4x150 SE | 62 | 65 | 0.0085644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4196-3_0_2_line_67 | NAYY 4x150 SE | 63 | 66 | 0.061007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4196-3_0_2_line_68 | NAYY 4x150 SE | 65 | 67 | 0.016167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4196-3_0_2_line_69 | NAYY 4x150 SE | 68 | 69 | 0.015719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4196-3_0_2_line_70 | NAYY 4x150 SE | 68 | 70 | 0.011648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4196-3_0_2_line_71 | NAYY 4x150 SE | 69 | 71 | 0.0025558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4196-3_0_2_line_72 | NAYY 4x150 SE | 70 | 72 | 0.017729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4196-3_0_2_line_73 | NAYY 4x150 SE | 70 | 73 | 0.0337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4196-3_0_2_line_74 | NAYY 4x150 SE | 72 | 74 | 0.016119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4196-3_0_2_line_75 | NAYY 4x150 SE | 73 | 75 | 0.025582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4196-3_0_2_line_76 | NAYY 4x150 SE | 74 | 76 | 0.020851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4196-3_0_2_line_77 | NAYY 4x150 SE | 74 | 77 | 0.029723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4196-3_0_2_line_78 | NAYY 4x150 SE | 77 | 78 | 0.0011055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4196-3_0_2_line_79 | NAYY 4x150 SE | 79 | 80 | 0.023926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4196-3_0_2_line_80 | NAYY 4x150 SE | 80 | 81 | 0.020002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4196-3_0_2_line_81 | NAYY 4x150 SE | 81 | 82 | 0.030014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4196-3_0_2_line_82 | NAYY 4x150 SE | 82 | 83 | 0.022279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4196-3_0_2_line_83 | NAYY 4x150 SE | 82 | 84 | 0.0065907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4196-3_0_2_line_84 | NAYY 4x150 SE | 83 | 85 | 0.032858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4196-3_0_2_trafo_67 | 0.25 MVA 20/0.4 kV | 86 | 25 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2660913.6491 | 1238749.1234 | 2660930.6294 | 1238791.7492
1 | 2660905.9916 | 1238729.901 | 2660913.6491 | 1238749.1234
2 | 2660905.9916 | 1238729.901 | 2660897.0453 | 1238729.7202 | 2660886.3815 | 1238725.8862 | 2660874.9378 | 1238718.7531
3 | 2660905.9916 | 1238729.901 | 2660909.9191 | 1238727.9785
4 | 2660852.7602 | 1238722.873 | 2660864.7916 | 1238718.7268 | 2660874.3936 | 1238718.4139 | 2660874.9378 | 1238718.7531
5 | 2660909.9191 | 1238727.9785 | 2660938.2155 | 1238714.1279
6 | 2660852.7602 | 1238722.873 | 2660875.4339 | 1238764.0022
7 | 2660852.7602 | 1238722.873 | 2660843.999 | 1238727.4975 | 2660840.3188 | 1238733.0635 | 2660839.4222 | 1238738.7815
8 | 2660938.2155 | 1238714.1279 | 2660949.5975 | 1238708.5566
9 | 2660875.4339 | 1238764.0022 | 2660882.7188 | 1238777.2166
10 | 2660832.3049 | 1238773.7057 | 2660835.9325 | 1238761.0372 | 2660839.4222 | 1238738.7815
11 | 2660886.9474 | 1238623.5014 | 2660901.3672 | 1238661.5968
12 | 2660925.6965 | 1238652.7081 | 2660901.3672 | 1238661.5968
13 | 2660886.9474 | 1238623.5014 | 2660905.6234 | 1238614.9541
14 | 2660925.6965 | 1238652.7081 | 2660927.4116 | 1238652.0815
15 | 2660905.6234 | 1238614.9541 | 2660939.4023 | 1238599.4948
16 | 2660957.4965 | 1238704.6902 | 2660949.5975 | 1238708.5566
17 | 2661048.8352 | 1238651.0129 | 2661039.6273 | 1238629.0445
18 | 2661053.3431 | 1238661.7679 | 2661048.8352 | 1238651.0129
19 | 2661039.6273 | 1238629.0445 | 2661036.2111 | 1238620.894
20 | 2661053.3431 | 1238661.7679 | 2661071.2755 | 1238653.7907
21 | 2661053.3431 | 1238661.7679 | 2661014.0546 | 1238679.3622
22 | 2661036.2111 | 1238620.894 | 2661030.4016 | 1238607.0336
23 | 2661071.2755 | 1238653.7907 | 2661086.5817 | 1238646.9818
24 | 2661014.0546 | 1238679.3622 | 2660987.7957 | 1238691.1215
25 | 2661025.0472 | 1238594.2587 | 2661030.4016 | 1238607.0336
26 | 2661093.64 | 1238643.842 | 2661086.5817 | 1238646.9818
27 | 2660984.5307 | 1238692.5837 | 2660987.7957 | 1238691.1215
28 | 2660987.7957 | 1238691.1215 | 2660963.8844 | 1238638.7561
29 | 2661025.0472 | 1238594.2587 | 2661021.3983 | 1238585.5531
30 | 2661112.3636 | 1238635.5128 | 2661093.64 | 1238643.842
31 | 2660984.5307 | 1238692.5837 | 2660974.0555 | 1238697.2747
32 | 2660963.8844 | 1238638.7561 | 2660962.3873 | 1238639.3031
33 | 2661132.4848 | 1238668.0997 | 2661142.6656 | 1238683.9104
34 | 2661127.0758 | 1238659.6065 | 2661130.9553 | 1238665.7243 | 2661132.4848 | 1238668.0997
35 | 2661142.8958 | 1238684.268 | 2661142.6656 | 1238683.9104
36 | 2661127.0758 | 1238659.6065 | 2661122.3427 | 1238652.1429
37 | 2661149.4561 | 1238694.4561 | 2661142.8958 | 1238684.268
38 | 2661112.3636 | 1238635.5128 | 2661115.3914 | 1238641.1811 | 2661122.3427 | 1238652.1429
39 | 2661149.4561 | 1238694.4561 | 2661187.772 | 1238785.362
40 | 2661112.3636 | 1238635.5128 | 2661107.3956 | 1238625.0098
41 | 2661112.3636 | 1238635.5128 | 2661120.0113 | 1238632.5339 | 2661132.7925 | 1238631.2757 | 2661140.9066 | 1238630.9923
42 | 2661187.772 | 1238785.362 | 2661204.7246 | 1238780.4938 | 2661204.7246 | 1238780.4938
43 | 2661093.3654 | 1238595.3479 | 2661107.3956 | 1238625.0098
44 | 2661011.393 | 1238561.6821 | 2661013.4559 | 1238566.6039
45 | 2661021.3983 | 1238585.5531 | 2661013.4559 | 1238566.6039
46 | 2660939.4023 | 1238599.4948 | 2660944.4813 | 1238597.1703
47 | 2660951.1509 | 1238594.1179 | 2660944.4813 | 1238597.1703
48 | 2660960.3414 | 1238640.0506 | 2660927.4116 | 1238652.0815
49 | 2660960.3414 | 1238640.0506 | 2660962.3873 | 1238639.3031
50 | 2660957.4965 | 1238704.6902 | 2660962.3689 | 1238702.5082
51 | 2660957.4965 | 1238704.6902 | 2660960.8583 | 1238714.7997
52 | 2660962.3689 | 1238702.5082 | 2660974.0555 | 1238697.2747
53 | 2660960.8583 | 1238714.7997 | 2660963.7869 | 1238723.6066
54 | 2661093.3654 | 1238595.3479 | 2661093.1969 | 1238594.9917
55 | 2661081.0795 | 1238568.4962 | 2661086.9118 | 1238581.704 | 2661093.1969 | 1238594.9917
56 | 2661081.0795 | 1238568.4962 | 2661081.0225 | 1238568.3671
57 | 2661074.3396 | 1238553.2331 | 2661081.0225 | 1238568.3671
58 | 2660914.973 | 1238835.7244 | 2660901.5295 | 1238811.3384
59 | 2660919.5996 | 1238844.1168 | 2660914.973 | 1238835.7244
60 | 2660900.3896 | 1238809.2707 | 2660901.5295 | 1238811.3384
61 | 2660919.5996 | 1238844.1168 | 2660942.3672 | 1238885.3248
62 | 2660919.5996 | 1238844.1168 | 2660906.2373 | 1238850.7558
63 | 2660900.3896 | 1238809.2707 | 2660894.6586 | 1238798.8749
64 | 2660969.9501 | 1238935.6501 | 2660961.3179 | 1238919.6285 | 2660959.224 | 1238915.8267 | 2660952.7635 | 1238904.1415 | 2660942.3672 | 1238885.3248
65 | 2660906.2373 | 1238850.7558 | 2660875.3952 | 1238866.0795
66 | 2660894.6586 | 1238798.8749 | 2660890.5239 | 1238791.3747
67 | 2660969.9501 | 1238935.6501 | 2661008.5867 | 1238888.4374
68 | 2660882.7188 | 1238777.2166 | 2660890.5239 | 1238791.3747
69 | 2660992.1104 | 1238771.8842 | 2661007.0477 | 1238766.9878
70 | 2660981.042 | 1238775.5124 | 2660992.1104 | 1238771.8842
71 | 2661009.4764 | 1238766.1917 | 2661007.0477 | 1238766.9878
72 | 2660981.042 | 1238775.5124 | 2660975.4503 | 1238758.6886
73 | 2660991.6736 | 1238807.4985 | 2660981.042 | 1238775.5124
74 | 2660970.3664 | 1238743.3925 | 2660975.4503 | 1238758.6886
75 | 2660991.6736 | 1238807.4985 | 2661016.0948 | 1238799.6552
76 | 2660970.3664 | 1238743.3925 | 2660963.7869 | 1238723.6066
77 | 2660970.3664 | 1238743.3925 | 2660998.946 | 1238735.2285
78 | 2661000.009 | 1238734.9248 | 2660998.946 | 1238735.2285
79 | 2660826.5284 | 1238796.9177 | 2660830.355 | 1238780.5154 | 2660832.3049 | 1238773.7057
80 | 2660826.5284 | 1238796.9177 | 2660821.9842 | 1238816.3963
81 | 2660815.1652 | 1238845.6256 | 2660821.9842 | 1238816.3963
82 | 2660809.1893 | 1238867.0898 | 2660815.1652 | 1238845.6256
83 | 2660815.1652 | 1238845.6256 | 2660818.5001 | 1238849.3955 | 2660819.1384 | 1238850.8161
84 | 2660809.1893 | 1238867.0898 | 2660806.394 | 1238863.0696 | 2660794.6363 | 1238837.7005

## bus_geodata
| x | y | coords
0 | 2660913.6491 | 1238749.1234
1 | 2660930.6294 | 1238791.7492
2 | 2660905.9916 | 1238729.901
3 | 2660874.9378 | 1238718.7531
4 | 2660909.9191 | 1238727.9785
5 | 2660852.7602 | 1238722.873
6 | 2660938.2155 | 1238714.1279
7 | 2660875.4339 | 1238764.0022
8 | 2660839.4222 | 1238738.7815
9 | 2660901.3672 | 1238661.5968
10 | 2660886.9474 | 1238623.5014
11 | 2660925.6965 | 1238652.7081
12 | 2660905.6234 | 1238614.9541
13 | 2660949.5975 | 1238708.5566
14 | 2661048.8352 | 1238651.0129
15 | 2661039.6273 | 1238629.0445
16 | 2661053.3431 | 1238661.7679
17 | 2661036.2111 | 1238620.894
18 | 2661071.2755 | 1238653.7907
19 | 2661014.0546 | 1238679.3622
20 | 2661030.4016 | 1238607.0336
21 | 2661086.5817 | 1238646.9818
22 | 2660987.7957 | 1238691.1215
23 | 2661025.0472 | 1238594.2587
24 | 2661093.64 | 1238643.842
25 | 2660984.5307 | 1238692.5837
26 | 2660963.8844 | 1238638.7561
27 | 2661132.4848 | 1238668.0997
28 | 2661142.6656 | 1238683.9104
29 | 2661127.0758 | 1238659.6065
30 | 2661142.8958 | 1238684.268
31 | 2661122.3427 | 1238652.1429
32 | 2661149.4561 | 1238694.4561
33 | 2661112.3636 | 1238635.5128
34 | 2661187.772 | 1238785.362
35 | 2661107.3956 | 1238625.0098
36 | 2661140.9066 | 1238630.9923
37 | 2661013.4559 | 1238566.6039
38 | 2661011.393 | 1238561.6821
39 | 2661021.3983 | 1238585.5531
40 | 2660939.4023 | 1238599.4948
41 | 2660944.4813 | 1238597.1703
42 | 2660951.1509 | 1238594.1179
43 | 2660927.4116 | 1238652.0815
44 | 2660960.3414 | 1238640.0506
45 | 2660962.3873 | 1238639.3031
46 | 2660957.4965 | 1238704.6902
47 | 2660962.3689 | 1238702.5082
48 | 2660960.8583 | 1238714.7997
49 | 2660974.0555 | 1238697.2747
50 | 2661093.3654 | 1238595.3479
51 | 2661093.1969 | 1238594.9917
52 | 2661081.0795 | 1238568.4962
53 | 2661081.0225 | 1238568.3671
54 | 2661204.7246 | 1238780.4938
55 | 2661074.3396 | 1238553.2331
56 | 2660914.973 | 1238835.7244
57 | 2660901.5295 | 1238811.3384
58 | 2660919.5996 | 1238844.1168
59 | 2660900.3896 | 1238809.2707
60 | 2660942.3672 | 1238885.3248
61 | 2660906.2373 | 1238850.7558
62 | 2660894.6586 | 1238798.8749
63 | 2660969.9501 | 1238935.6501
64 | 2660875.3952 | 1238866.0795
65 | 2660890.5239 | 1238791.3747
66 | 2661008.5867 | 1238888.4374
67 | 2660882.7188 | 1238777.2166
68 | 2660992.1104 | 1238771.8842
69 | 2661007.0477 | 1238766.9878
70 | 2660981.042 | 1238775.5124
71 | 2661009.4764 | 1238766.1917
72 | 2660975.4503 | 1238758.6886
73 | 2660991.6736 | 1238807.4985
74 | 2660970.3664 | 1238743.3925
75 | 2661016.0948 | 1238799.6552
76 | 2660963.7869 | 1238723.6066
77 | 2660998.946 | 1238735.2285
78 | 2661000.009 | 1238734.9248
79 | 2660832.3049 | 1238773.7057
80 | 2660826.5284 | 1238796.9177
81 | 2660821.9842 | 1238816.3963
82 | 2660815.1652 | 1238845.6256
83 | 2660809.1893 | 1238867.0898
84 | 2660819.1384 | 1238850.8161
85 | 2660794.6363 | 1238837.7005
86 | 2660984.5307 | 1238692.5837

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1