## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4196-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4196-8_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4196-8_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4196-8_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4196-8_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4196-8_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4196-8_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4196-8_0_3_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_4196-8_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_4196-8_0_3_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_4196-8_0_3_node_89 | 0.4 | n |  | TRUE
11 | bus_LV_4196-8_0_3_node_37 | 0.4 | n |  | TRUE
12 | bus_LV_4196-8_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_4196-8_0_3_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_4196-8_0_3_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_4196-8_0_3_node_90 | 0.4 | n |  | TRUE
16 | bus_LV_4196-8_0_3_node_60 | 0.4 | n |  | TRUE
17 | bus_LV_4196-8_0_3_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_4196-8_0_3_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_4196-8_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_4196-8_0_3_node_58 | 0.4 | n |  | TRUE
21 | bus_LV_4196-8_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_4196-8_0_3_node_57 | 0.4 | n |  | TRUE
23 | bus_LV_4196-8_0_3_node_49 | 0.4 | n |  | TRUE
24 | bus_LV_4196-8_0_3_node_81 | 0.4 | n |  | TRUE
25 | bus_LV_4196-8_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_4196-8_0_3_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_4196-8_0_3_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_4196-8_0_3_node_45 | 0.4 | n |  | TRUE
29 | bus_LV_4196-8_0_3_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_4196-8_0_3_node_80 | 0.4 | n |  | TRUE
31 | bus_LV_4196-8_0_3_node_79 | 0.4 | n |  | TRUE
32 | bus_LV_4196-8_0_3_node_78 | 0.4 | n |  | TRUE
33 | bus_LV_4196-8_0_3_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_4196-8_0_3_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_4196-8_0_3_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_4196-8_0_3_node_66 | 0.4 | n |  | TRUE
37 | bus_LV_4196-8_0_3_node_14 | 0.4 | n |  | TRUE
38 | bus_LV_4196-8_0_3_node_15 | 0.4 | n |  | TRUE
39 | bus_LV_4196-8_0_3_node_18 | 0.4 | n |  | TRUE
40 | bus_LV_4196-8_0_3_node_19 | 0.4 | n |  | TRUE
41 | bus_LV_4196-8_0_3_node_20 | 0.4 | n |  | TRUE
42 | bus_LV_4196-8_0_3_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_4196-8_0_3_node_59 | 0.4 | n |  | TRUE
44 | bus_LV_4196-8_0_3_node_76 | 0.4 | n |  | TRUE
45 | bus_LV_4196-8_0_3_node_22 | 0.4 | n |  | TRUE
46 | bus_LV_4196-8_0_3_node_23 | 0.4 | n |  | TRUE
47 | bus_LV_4196-8_0_3_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_4196-8_0_3_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_4196-8_0_3_node_26 | 0.4 | n |  | TRUE
50 | bus_LV_4196-8_0_3_node_27 | 0.4 | n |  | TRUE
51 | bus_LV_4196-8_0_3_node_88 | 0.4 | n |  | TRUE
52 | bus_LV_4196-8_0_3_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_4196-8_0_3_node_85 | 0.4 | n |  | TRUE
54 | bus_LV_4196-8_0_3_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_4196-8_0_3_node_77 | 0.4 | n |  | TRUE
56 | bus_LV_4196-8_0_3_node_67 | 0.4 | n |  | TRUE
57 | bus_LV_4196-8_0_3_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_4196-8_0_3_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_4196-8_0_3_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_4196-8_0_3_node_31 | 0.4 | n |  | TRUE
61 | bus_LV_4196-8_0_3_node_32 | 0.4 | n |  | TRUE
62 | bus_LV_4196-8_0_3_node_33 | 0.4 | n |  | TRUE
63 | bus_LV_4196-8_0_3_node_34 | 0.4 | n |  | TRUE
64 | bus_LV_4196-8_0_3_node_35 | 0.4 | n |  | TRUE
65 | bus_LV_4196-8_0_3_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_4196-8_0_3_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_4196-8_0_3_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_4196-8_0_3_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_4196-8_0_3_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_4196-8_0_3_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_4196-8_0_3_node_41 | 0.4 | n |  | TRUE
72 | bus_LV_4196-8_0_3_node_50 | 0.4 | n |  | TRUE
73 | bus_LV_4196-8_0_3_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_4196-8_0_3_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_4196-8_0_3_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_4196-8_0_3_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_4196-8_0_3_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_4196-8_0_3_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_4196-8_0_3_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_4196-8_0_3_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_4196-8_0_3_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_4196-8_0_3_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_4196-8_0_3_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_4196-8_0_3_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_4196-8_0_3_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_4196-8_0_3_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_4196-8_0_3_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_4196-8_0_3_node_87 | 0.4 | n |  | TRUE
89 | bus_MV_470_0_node_239 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4196-8_0_3_load_0 | 0 | 0.00054437 | 0.00013643 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4196-8_0_3_load_1 | 1 | 0.0013417 | 0.00033626 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4196-8_0_3_load_3 | 3 | 0.00030197 | 7.568e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4196-8_0_3_load_4 | 4 | 0.0010471 | 0.00026242 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4196-8_0_3_load_5 | 5 | 0.0012064 | 0.00030236 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4196-8_0_3_load_6 | 6 | 0.00062005 | 0.0001554 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4196-8_0_3_load_36 | 7 | 0.0033211 | 0.00083233 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4196-8_0_3_load_7 | 8 | 0.00048623 | 0.00012186 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4196-8_0_3_load_37 | 11 | 0.0010807 | 0.00027084 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4196-8_0_3_load_8 | 12 | 0.00041758 | 0.00010466 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4196-8_0_3_load_30 | 14 | 0.0012624 | 0.00031639 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4196-8_0_3_load_90 | 15 | 0.0013081 | 0.00032784 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4196-8_0_3_load_60 | 16 | 0.0010964 | 0.00027477 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4196-8_0_3_load_17 | 17 | 0.0017732 | 0.00044442 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4196-8_0_3_load_9 | 18 | 0.0012158 | 0.0003047 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4196-8_0_3_load_10 | 19 | 0.0016688 | 0.00041824 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4196-8_0_3_load_58 | 20 | 0.0029972 | 0.00075116 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4196-8_0_3_load_57 | 22 | 0.0025153 | 0.00063039 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4196-8_0_3_load_49 | 23 | 0.0026862 | 0.00067322 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4196-8_0_3_load_81 | 24 | 0.0090774 | 0.002275 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4196-8_0_3_load_42 | 26 | 0.0010299 | 0.00025812 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4196-8_0_3_load_39 | 27 | 0.00089567 | 0.00022448 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4196-8_0_3_load_45 | 28 | 0.0038624 | 0.00096801 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4196-8_0_3_load_40 | 29 | 0.0023698 | 0.00059392 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4196-8_0_3_load_80 | 30 | 0.0014215 | 0.00035627 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4196-8_0_3_load_79 | 31 | 0.00155 | 0.00038846 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4196-8_0_3_load_78 | 32 | 0.0027633 | 0.00069255 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4196-8_0_3_load_46 | 33 | 0.0031346 | 0.00078561 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4196-8_0_3_load_47 | 34 | 0.0015797 | 0.00039591 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4196-8_0_3_load_14 | 37 | 0.00094341 | 0.00023644 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4196-8_0_3_load_15 | 38 | 0.0013064 | 0.00032741 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4196-8_0_3_load_18 | 39 | 0.0048597 | 0.0012179 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4196-8_0_3_load_19 | 40 | 0.0040544 | 0.0010161 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4196-8_0_3_load_20 | 41 | 0.0030732 | 0.00077021 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4196-8_0_3_load_21 | 42 | 0.0016439 | 0.000412 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4196-8_0_3_load_59 | 43 | 0.0011302 | 0.00028326 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4196-8_0_3_load_76 | 44 | 0.0045822 | 0.0011484 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4196-8_0_3_load_22 | 45 | 0.0014405 | 0.00036101 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4196-8_0_3_load_23 | 46 | 0.0016016 | 0.0004014 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4196-8_0_3_load_25 | 48 | 0.0013263 | 0.00033241 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4196-8_0_3_load_26 | 49 | 0.00048513 | 0.00012159 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4196-8_0_3_load_27 | 50 | 0.0013247 | 0.00033199 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4196-8_0_3_load_88 | 51 | 0.0019238 | 0.00048216 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4196-8_0_3_load_85 | 53 | 0.0017821 | 0.00044664 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4196-8_0_3_load_38 | 54 | 0.0021585 | 0.00054097 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4196-8_0_3_load_77 | 55 | 0.0040352 | 0.0010113 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4196-8_0_3_load_67 | 56 | 0.00070513 | 0.00017672 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4196-8_0_3_load_61 | 57 | 0.0011357 | 0.00028465 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4196-8_0_3_load_62 | 59 | 0.0046148 | 0.0011566 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4196-8_0_3_load_31 | 60 | 0.0015155 | 0.00037981 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4196-8_0_3_load_32 | 61 | 0.0018239 | 0.0004571 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4196-8_0_3_load_33 | 62 | 0.0018432 | 0.00046196 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4196-8_0_3_load_34 | 63 | 0.0016228 | 0.00040671 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4196-8_0_3_load_35 | 64 | 0.0012687 | 0.00031797 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4196-8_0_3_load_43 | 65 | 0.0021037 | 0.00052723 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4196-8_0_3_load_54 | 66 | 0.0016547 | 0.0004147 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4196-8_0_3_load_55 | 67 | 0.0023896 | 0.00059888 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4196-8_0_3_load_53 | 68 | 0.0005066 | 0.00012697 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4196-8_0_3_load_51 | 69 | 0.0013179 | 0.00033029 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4196-8_0_3_load_52 | 70 | 0.0007792 | 0.00019529 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4196-8_0_3_load_41 | 71 | 0.0020623 | 0.00051686 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4196-8_0_3_load_50 | 72 | 0.0025926 | 0.00064977 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4196-8_0_3_load_56 | 73 | 0.00091064 | 0.00022823 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4196-8_0_3_load_63 | 75 | 0.0016025 | 0.00040163 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4196-8_0_3_load_65 | 76 | 0.0012668 | 0.00031748 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4196-8_0_3_load_69 | 77 | 0.0029061 | 0.00072833 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4196-8_0_3_load_68 | 78 | 0.0031685 | 0.00079409 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4196-8_0_3_load_70 | 79 | 0.0015439 | 0.00038693 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4196-8_0_3_load_71 | 80 | 0.0022293 | 0.00055871 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4196-8_0_3_load_75 | 81 | 0.0024662 | 0.00061808 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4196-8_0_3_load_72 | 82 | 0.0022732 | 0.00056973 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4196-8_0_3_load_73 | 83 | 0.00093952 | 0.00023547 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4196-8_0_3_load_82 | 84 | 0.00091601 | 0.00022957 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4196-8_0_3_load_83 | 85 | 0.0013922 | 0.00034892 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4196-8_0_3_load_86 | 87 | 0.00062028 | 0.00015546 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4196-8_0_3_load_87 | 88 | 0.0016909 | 0.00042377 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4196-8_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.005273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_4196-8_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.01931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_4196-8_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.023664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_4196-8_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.018578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_4196-8_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.012525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_4196-8_0_3_line_5 | NAYY 4x150 SE | 2 | 6 | 0.042518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_4196-8_0_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.013558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_4196-8_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.018089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_4196-8_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.022741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_4196-8_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.014842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_4196-8_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.024145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_4196-8_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.035094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_4196-8_0_3_line_12 | NAYY 4x150 SE | 9 | 13 | 0.021342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_4196-8_0_3_line_13 | NAYY 4x150 SE | 9 | 14 | 0.013156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_4196-8_0_3_line_14 | NAYY 4x150 SE | 10 | 15 | 0.032969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_4196-8_0_3_line_15 | NAYY 4x150 SE | 11 | 68 | 0.059629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_4196-8_0_3_line_16 | NAYY 4x150 SE | 12 | 16 | 0.036051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_4196-8_0_3_line_17 | NAYY 4x150 SE | 13 | 55 | 0.017539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_4196-8_0_3_line_18 | NAYY 4x150 SE | 13 | 56 | 0.028707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_4196-8_0_3_line_19 | NAYY 4x150 SE | 14 | 57 | 0.021724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_4196-8_0_3_line_20 | NAYY 4x150 SE | 15 | 87 | 0.00057066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_4196-8_0_3_line_21 | NAYY 4x150 SE | 16 | 17 | 0.018121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_4196-8_0_3_line_22 | NAYY 4x150 SE | 17 | 38 | 0.04781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_4196-8_0_3_line_23 | NAYY 4x150 SE | 18 | 19 | 0.0010982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_4196-8_0_3_line_24 | NAYY 4x150 SE | 18 | 20 | 0.033376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_4196-8_0_3_line_25 | NAYY 4x150 SE | 19 | 21 | 0.016412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_4196-8_0_3_line_26 | NAYY 4x150 SE | 20 | 22 | 0.0082625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_4196-8_0_3_line_27 | NAYY 4x150 SE | 21 | 26 | 0.030892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_4196-8_0_3_line_28 | NAYY 4x150 SE | 21 | 27 | 0.020568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_4196-8_0_3_line_29 | NAYY 4x150 SE | 22 | 23 | 0.0064787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_4196-8_0_3_line_30 | NAYY 4x150 SE | 23 | 35 | 0.013627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_4196-8_0_3_line_31 | NAYY 4x150 SE | 24 | 25 | 0.02819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_4196-8_0_3_line_32 | NAYY 4x150 SE | 25 | 32 | 0.045965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_4196-8_0_3_line_33 | NAYY 4x150 SE | 26 | 28 | 0.0058046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_4196-8_0_3_line_34 | NAYY 4x150 SE | 27 | 29 | 0.034741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_4196-8_0_3_line_35 | NAYY 4x150 SE | 28 | 49 | 0.0064889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_4196-8_0_3_line_36 | NAYY 4x150 SE | 29 | 71 | 0.021703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_4196-8_0_3_line_37 | NAYY 4x150 SE | 30 | 31 | 0.0086156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_4196-8_0_3_line_38 | NAYY 4x150 SE | 31 | 55 | 0.023683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_4196-8_0_3_line_39 | NAYY 4x150 SE | 32 | 36 | 0.028133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_4196-8_0_3_line_40 | NAYY 4x150 SE | 33 | 34 | 0.0031717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_4196-8_0_3_line_41 | NAYY 4x150 SE | 33 | 35 | 0.01776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_4196-8_0_3_line_42 | NAYY 4x150 SE | 36 | 77 | 0.009572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_4196-8_0_3_line_43 | NAYY 4x150 SE | 36 | 58 | 0.020607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_4196-8_0_3_line_44 | NAYY 4x150 SE | 37 | 38 | 0.018335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_4196-8_0_3_line_45 | NAYY 4x150 SE | 39 | 40 | 0.0379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_4196-8_0_3_line_46 | NAYY 4x150 SE | 39 | 41 | 0.077247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_4196-8_0_3_line_47 | NAYY 4x150 SE | 40 | 42 | 0.037474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_4196-8_0_3_line_48 | NAYY 4x150 SE | 42 | 43 | 0.019647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_4196-8_0_3_line_49 | NAYY 4x150 SE | 43 | 44 | 0.0042603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_4196-8_0_3_line_50 | NAYY 4x150 SE | 44 | 74 | 0.013267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_4196-8_0_3_line_51 | NAYY 4x150 SE | 45 | 46 | 0.019619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_4196-8_0_3_line_52 | NAYY 4x150 SE | 45 | 47 | 0.0057383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_4196-8_0_3_line_53 | NAYY 4x150 SE | 46 | 48 | 0.0056083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_4196-8_0_3_line_54 | NAYY 4x150 SE | 47 | 49 | 0.016733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_4196-8_0_3_line_55 | NAYY 4x150 SE | 48 | 50 | 0.022099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_4196-8_0_3_line_56 | NAYY 4x150 SE | 50 | 54 | 0.001053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_4196-8_0_3_line_57 | NAYY 4x150 SE | 51 | 52 | 0.030918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_4196-8_0_3_line_58 | NAYY 4x150 SE | 51 | 53 | 0.011164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_4196-8_0_3_line_59 | NAYY 4x150 SE | 52 | 54 | 0.029963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_4196-8_0_3_line_60 | NAYY 4x150 SE | 53 | 85 | 0.0056101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_4196-8_0_3_line_61 | NAYY 4x150 SE | 56 | 58 | 0.011002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_4196-8_0_3_line_62 | NAYY 4x150 SE | 57 | 59 | 0.010466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_4196-8_0_3_line_63 | NAYY 4x150 SE | 58 | 75 | 0.025125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_4196-8_0_3_line_64 | NAYY 4x150 SE | 60 | 61 | 0.020243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_4196-8_0_3_line_65 | NAYY 4x150 SE | 60 | 62 | 0.0073884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_4196-8_0_3_line_66 | NAYY 4x150 SE | 61 | 63 | 0.026186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_4196-8_0_3_line_67 | NAYY 4x150 SE | 62 | 64 | 0.025487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_4196-8_0_3_line_68 | NAYY 4x150 SE | 63 | 65 | 0.024571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_4196-8_0_3_line_69 | NAYY 4x150 SE | 64 | 66 | 0.009819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_4196-8_0_3_line_70 | NAYY 4x150 SE | 66 | 67 | 0.016729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_4196-8_0_3_line_71 | NAYY 4x150 SE | 67 | 73 | 0.01837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_4196-8_0_3_line_72 | NAYY 4x150 SE | 68 | 70 | 0.0036014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_4196-8_0_3_line_73 | NAYY 4x150 SE | 69 | 70 | 0.023306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_4196-8_0_3_line_74 | NAYY 4x150 SE | 71 | 72 | 0.014669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_4196-8_0_3_line_75 | NAYY 4x150 SE | 72 | 73 | 0.001728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_4196-8_0_3_line_76 | NAYY 4x150 SE | 74 | 81 | 0.015387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_4196-8_0_3_line_77 | NAYY 4x150 SE | 74 | 82 | 0.024718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_4196-8_0_3_line_78 | NAYY 4x150 SE | 75 | 76 | 0.020667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_4196-8_0_3_line_79 | NAYY 4x150 SE | 77 | 78 | 0.010286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_4196-8_0_3_line_80 | NAYY 4x150 SE | 78 | 79 | 0.010333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_4196-8_0_3_line_81 | NAYY 4x150 SE | 79 | 80 | 0.019042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_4196-8_0_3_line_82 | NAYY 4x150 SE | 80 | 81 | 0.011762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_4196-8_0_3_line_83 | NAYY 4x150 SE | 82 | 83 | 0.00071239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_4196-8_0_3_line_84 | NAYY 4x150 SE | 84 | 85 | 0.017062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_4196-8_0_3_line_85 | NAYY 4x150 SE | 84 | 86 | 0.0020516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_4196-8_0_3_line_86 | NAYY 4x150 SE | 86 | 87 | 0.029753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
87 | LV_4196-8_0_3_line_87 | NAYY 4x150 SE | 86 | 88 | 0.009414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4196-8_0_3_trafo_77 | 0.25 MVA 20/0.4 kV | 89 | 55 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2661190.8384 | 1238316.0549 | 2661192.2645 | 1238310.9784
1 | 2661189.9809 | 1238335.1556 | 2661189.4066 | 1238321.1515 | 2661190.8384 | 1238316.0549
2 | 2661205.9785 | 1238292.0856 | 2661196.9062 | 1238301.7602 | 2661193.0973 | 1238308.0141 | 2661192.2645 | 1238310.9784
3 | 2661189.9809 | 1238335.1556 | 2661199.5829 | 1238331.9635 | 2661207.9697 | 1238330.8575
4 | 2661189.9809 | 1238335.1556 | 2661178.6345 | 1238340.4609
5 | 2661189.9809 | 1238335.1556 | 2661192.3588 | 1238366.4566 | 2661193.3109 | 1238377.5425
6 | 2661205.9785 | 1238292.0856 | 2661215.2525 | 1238282.1957
7 | 2661207.9697 | 1238330.8575 | 2661220.8529 | 1238329.1586 | 2661225.9063 | 1238328.5136
8 | 2661158.2408 | 1238350.5169 | 2661170.8792 | 1238344.0871 | 2661178.6345 | 1238340.4609
9 | 2661194.5808 | 1238392.3301 | 2661193.3109 | 1238377.5425
10 | 2661215.2525 | 1238282.1957 | 2661218.8808 | 1238278.3265 | 2661232.894 | 1238265.7323
11 | 2661225.9063 | 1238328.5136 | 2661254.1428 | 1238324.91 | 2661260.4844 | 1238322.9812
12 | 2661158.2408 | 1238350.5169 | 2661150.8685 | 1238353.8877 | 2661142.7953 | 1238355.5501 | 2661137.7614 | 1238355.1536
13 | 2661158.2408 | 1238350.5169 | 2661157.7464 | 1238337.3697
14 | 2661194.5808 | 1238392.3301 | 2661227.4041 | 1238389.2341
15 | 2661232.894 | 1238265.7323 | 2661277.2438 | 1238225.8733
16 | 2661294.9752 | 1238312.4912 | 2661260.4844 | 1238322.9812
17 | 2661137.7614 | 1238355.1536 | 2661134.6393 | 1238372.4127
18 | 2661137.7614 | 1238355.1536 | 2661131.4426 | 1238354.6549 | 2661118.2853 | 1238351.2395 | 2661110.1708 | 1238347.9001
19 | 2661157.7464 | 1238337.3697 | 2661156.9299 | 1238315.6606
20 | 2661227.4041 | 1238389.2341 | 2661227.9722 | 1238389.1805
21 | 2661312.4056 | 1238307.6202 | 2661309.3709 | 1238308.1129 | 2661294.9752 | 1238312.4912
22 | 2661312.4056 | 1238307.6202 | 2661340.4073 | 1238303.0743 | 2661359.8312 | 1238302.2388
23 | 2661114.4289 | 1238462.7965 | 2661115.5271 | 1238462.8078
24 | 2661114.4289 | 1238462.7965 | 2661095.3873 | 1238490.2078
25 | 2661131.9385 | 1238462.9768 | 2661115.5271 | 1238462.8078
26 | 2661095.3873 | 1238490.2078 | 2661094.5824 | 1238498.4311
27 | 2661131.9385 | 1238462.9768 | 2661162.8162 | 1238462.028
28 | 2661131.9385 | 1238462.9768 | 2661134.469 | 1238483.3883
29 | 2661093.9513 | 1238504.879 | 2661094.5824 | 1238498.4311
30 | 2661089.1575 | 1238516.3612 | 2661091.7798 | 1238515.1318 | 2661093.1303 | 1238513.2667 | 2661093.9513 | 1238504.879
31 | 2661054.9798 | 1238409.1939 | 2661057.997 | 1238410.7593 | 2661061.2414 | 1238413.7724 | 2661067.4635 | 1238423.6652 | 2661075.1365 | 1238427.716
32 | 2661054.9798 | 1238409.1939 | 2661064.8436 | 1238387.1473 | 2661070.7854 | 1238372.0761 | 2661072.4937 | 1238366.7303
33 | 2661162.8162 | 1238462.028 | 2661168.6181 | 1238461.8497
34 | 2661134.469 | 1238483.3883 | 2661136.7925 | 1238502.1306 | 2661139.976 | 1238517.6626
35 | 2661168.6181 | 1238461.8497 | 2661175.1039 | 1238461.6505
36 | 2661139.976 | 1238517.6626 | 2661139.976 | 1238517.6626 | 2661143.716 | 1238521.7594 | 2661149.9604 | 1238522.1128 | 2661159.8494 | 1238521.6176
37 | 2661128.8901 | 1238404.1951 | 2661130.4238 | 1238395.717
38 | 2661130.4238 | 1238395.717 | 2661134.6393 | 1238372.4127
39 | 2661079.7509 | 1238339.5688 | 2661075.6548 | 1238356.8382 | 2661072.4937 | 1238366.7303
40 | 2661096.1529 | 1238532.6856 | 2661097.4021 | 1238535.6009
41 | 2661089.1575 | 1238516.3612 | 2661096.1529 | 1238532.6856
42 | 2661079.7509 | 1238339.5688 | 2661079.9587 | 1238329.999
43 | 2661099.9962 | 1238343.713 | 2661079.7509 | 1238339.5688
44 | 2661378.1488 | 1238301.4509 | 2661359.8312 | 1238302.2388
45 | 2661111.7769 | 1238203.9589 | 2661114.8812 | 1238189.5744 | 2661116.784 | 1238170.8037 | 2661116.7432 | 1238166.4861
46 | 2661116.7432 | 1238166.4861 | 2661127.5727 | 1238090.0016
47 | 2661111.7769 | 1238203.9589 | 2661109.7338 | 1238213.4263 | 2661102.9647 | 1238229.4674 | 2661095.3597 | 1238236.5287
48 | 2661095.3597 | 1238236.5287 | 2661087.8881 | 1238243.4661 | 2661081.3034 | 1238250.2466
49 | 2661081.3034 | 1238250.2466 | 2661078.3354 | 1238253.3029
50 | 2661070.9501 | 1238264.1391 | 2661074.2789 | 1238257.48 | 2661078.3354 | 1238253.3029
51 | 2661197.5645 | 1238460.9479 | 2661217.1729 | 1238460.3028
52 | 2661191.8293 | 1238461.1365 | 2661197.5645 | 1238460.9479
53 | 2661222.7782 | 1238460.1184 | 2661217.1729 | 1238460.3028
54 | 2661191.8293 | 1238461.1365 | 2661175.1039 | 1238461.6505
55 | 2661222.7782 | 1238460.1184 | 2661234.5445 | 1238459.7313 | 2661244.745 | 1238458.1269
56 | 2661244.745 | 1238458.1269 | 2661245.7852 | 1238457.9633
57 | 2661263.1278 | 1238421.8451 | 2661274.7232 | 1238450.506
58 | 2661263.1278 | 1238421.8451 | 2661261.406 | 1238410.8142
59 | 2661274.7232 | 1238450.506 | 2661256.5698 | 1238456.2671 | 2661245.7852 | 1238457.9633
60 | 2661261.406 | 1238410.8142 | 2661260.5409 | 1238405.2712
61 | 2661099.9962 | 1238343.713 | 2661110.1708 | 1238347.9001
62 | 2661156.5366 | 1238305.2024 | 2661156.9299 | 1238315.6606
63 | 2661099.9962 | 1238343.713 | 2661096.188 | 1238366.0888 | 2661095.5737 | 1238368.4377
64 | 2661274.1403 | 1238515.8942 | 2661253.9224 | 1238516.9067
65 | 2661246.5433 | 1238517.2762 | 2661253.9224 | 1238516.9067
66 | 2661274.1403 | 1238515.8942 | 2661284.1821 | 1238515.3914 | 2661289.4266 | 1238514.4226 | 2661291.0675 | 1238510.8149 | 2661291.5493 | 1238503.9969
67 | 2661221.0887 | 1238518.5509 | 2661246.5433 | 1238517.2762
68 | 2661293.2813 | 1238479.4875 | 2661291.5493 | 1238503.9969
69 | 2661211.2819 | 1238519.042 | 2661221.0887 | 1238518.5509
70 | 2661211.2819 | 1238519.042 | 2661194.5735 | 1238519.8787
71 | 2661194.5735 | 1238519.8787 | 2661176.226 | 1238520.7975
72 | 2661279.9858 | 1238223.5394 | 2661278.1392 | 1238225.0686 | 2661277.2438 | 1238225.8733
73 | 2661297.9359 | 1238208.6751 | 2661279.9858 | 1238223.5394
74 | 2661159.8494 | 1238521.6176 | 2661174.5001 | 1238520.8839
75 | 2661174.5001 | 1238520.8839 | 2661176.226 | 1238520.7975
76 | 2661070.9501 | 1238264.1391 | 2661071.9571 | 1238279.493
77 | 2661070.9501 | 1238264.1391 | 2661058.3204 | 1238265.2989 | 2661046.3268 | 1238264.3014
78 | 2661090.3452 | 1238388.4325 | 2661095.5737 | 1238368.4377
79 | 2661080.1821 | 1238319.7155 | 2661080.1821 | 1238319.7155 | 2661079.9587 | 1238329.999
80 | 2661080.1821 | 1238319.7155 | 2661078.6328 | 1238309.499
81 | 2661075.2153 | 1238290.7952 | 2661076.4417 | 1238295.0495 | 2661078.6328 | 1238309.499
82 | 2661075.2153 | 1238290.7952 | 2661071.9571 | 1238279.493 | 2661071.9571 | 1238279.493
83 | 2661045.6169 | 1238264.2423 | 2661046.3268 | 1238264.3014
84 | 2661257.9098 | 1238388.4137 | 2661260.5409 | 1238405.2712
85 | 2661257.5934 | 1238386.3866 | 2661257.9098 | 1238388.4137
86 | 2661257.5934 | 1238386.3866 | 2661227.9722 | 1238389.1805
87 | 2661257.3349 | 1238376.9776 | 2661257.5934 | 1238386.3866

## bus_geodata
| x | y | coords
0 | 2661190.8384 | 1238316.0549
1 | 2661192.2645 | 1238310.9784
2 | 2661189.9809 | 1238335.1556
3 | 2661205.9785 | 1238292.0856
4 | 2661207.9697 | 1238330.8575
5 | 2661178.6345 | 1238340.4609
6 | 2661193.3109 | 1238377.5425
7 | 2661215.2525 | 1238282.1957
8 | 2661225.9063 | 1238328.5136
9 | 2661158.2408 | 1238350.5169
10 | 2661194.5808 | 1238392.3301
11 | 2661232.894 | 1238265.7323
12 | 2661260.4844 | 1238322.9812
13 | 2661137.7614 | 1238355.1536
14 | 2661157.7464 | 1238337.3697
15 | 2661227.4041 | 1238389.2341
16 | 2661294.9752 | 1238312.4912
17 | 2661312.4056 | 1238307.6202
18 | 2661114.4289 | 1238462.7965
19 | 2661115.5271 | 1238462.8078
20 | 2661095.3873 | 1238490.2078
21 | 2661131.9385 | 1238462.9768
22 | 2661094.5824 | 1238498.4311
23 | 2661093.9513 | 1238504.879
24 | 2661075.1365 | 1238427.716
25 | 2661054.9798 | 1238409.1939
26 | 2661162.8162 | 1238462.028
27 | 2661134.469 | 1238483.3883
28 | 2661168.6181 | 1238461.8497
29 | 2661139.976 | 1238517.6626
30 | 2661128.8901 | 1238404.1951
31 | 2661130.4238 | 1238395.717
32 | 2661072.4937 | 1238366.7303
33 | 2661096.1529 | 1238532.6856
34 | 2661097.4021 | 1238535.6009
35 | 2661089.1575 | 1238516.3612
36 | 2661079.7509 | 1238339.5688
37 | 2661378.1488 | 1238301.4509
38 | 2661359.8312 | 1238302.2388
39 | 2661116.7432 | 1238166.4861
40 | 2661111.7769 | 1238203.9589
41 | 2661127.5727 | 1238090.0016
42 | 2661095.3597 | 1238236.5287
43 | 2661081.3034 | 1238250.2466
44 | 2661078.3354 | 1238253.3029
45 | 2661197.5645 | 1238460.9479
46 | 2661217.1729 | 1238460.3028
47 | 2661191.8293 | 1238461.1365
48 | 2661222.7782 | 1238460.1184
49 | 2661175.1039 | 1238461.6504
50 | 2661244.745 | 1238458.1269
51 | 2661263.1278 | 1238421.8451
52 | 2661274.7232 | 1238450.506
53 | 2661261.406 | 1238410.8142
54 | 2661245.7852 | 1238457.9633
55 | 2661134.6393 | 1238372.4127
56 | 2661110.1708 | 1238347.9001
57 | 2661156.9299 | 1238315.6606
58 | 2661099.9962 | 1238343.713
59 | 2661156.5366 | 1238305.2024
60 | 2661253.9224 | 1238516.9067
61 | 2661274.1403 | 1238515.8942
62 | 2661246.5433 | 1238517.2762
63 | 2661291.5493 | 1238503.9969
64 | 2661221.0887 | 1238518.5509
65 | 2661293.2813 | 1238479.4875
66 | 2661211.2819 | 1238519.042
67 | 2661194.5735 | 1238519.8787
68 | 2661277.2438 | 1238225.8733
69 | 2661297.9359 | 1238208.6751
70 | 2661279.9858 | 1238223.5394
71 | 2661159.8494 | 1238521.6176
72 | 2661174.5001 | 1238520.8839
73 | 2661176.226 | 1238520.7975
74 | 2661070.9501 | 1238264.1391
75 | 2661095.5737 | 1238368.4377
76 | 2661090.3452 | 1238388.4325
77 | 2661079.9587 | 1238329.999
78 | 2661080.1821 | 1238319.7155
79 | 2661078.6328 | 1238309.499
80 | 2661075.2153 | 1238290.7952
81 | 2661071.9571 | 1238279.493
82 | 2661046.3268 | 1238264.3014
83 | 2661045.6169 | 1238264.2423
84 | 2661257.9098 | 1238388.4137
85 | 2661260.5409 | 1238405.2713
86 | 2661257.5934 | 1238386.3866
87 | 2661227.9722 | 1238389.1805
88 | 2661257.3349 | 1238376.9776
89 | 2661137.7614 | 1238355.1536

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1